## WINTER 2007-08 Detailed
| DELHI TRANSCO LTD. | [7 empty] | ANNEXURE-2
(STATE LOAD DESPATCH CENTER)
DETAILED ANTICIPATED POWER SUPPLY POSITION OF DELHI AS A WHOLE FOR DECEMBER 2009 & JANUARY 2010
As on 13-10-2009
All figures in MW at Delhi periphery
S. | DETAILS |  | DECEMBER 2009 | [6 empty] | JANUARY, 2010
NO. |  |  | 1st Fortnight |  |  |  | 2nd fortnight |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
1 | DEMAND PROFILE
A | UNRESTRICTED DEMAND DURING THE MONTH IN 2000 |  | 2739 |  | 2623 |  | 2703 |  | 2611 |  | 3054 |  | 2893 |  | 3072 |  | 2844
B | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2703 |  | 2576 |  | 2778 |  | 2754 |  | 3018 |  | 2919 |  | 3060 |  | 2910
C | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 2894 |  | 2782 |  | 2926 |  | 2733 |  | 3356 |  | 3191 |  | 3417 |  | 3319
D | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 2960 |  | 2831 |  | 3354 |  | 3115 |  | 3372 |  | 3233 |  | 3149 |  | 3048
E | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 2870 |  | 2848 |  | 3168 |  | 2940 |  | 3168 |  | 3006 |  | 3282 |  | 3112
F | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 3086 |  | 3107 |  | 3394 |  | 3094 |  | 3516 |  | 3375 |  | 3166 |  | 2990
G | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 2986 |  | 3033 |  | 3059 |  | 2972 |  | 3293 |  | 3125 |  | 3240 |  | 3049
H | UNRESTRICTED DEMAND DURING THE MONTH IN 2007 |  | 3015 |  | 2913 |  | 3229 |  | 3005 |  | 3353 |  | 3132 |  | 3301 |  | 3318
I | UNRESTRICTED DEMAND DURING THE MONTH IN 2008 | 1415 | 2866 | 2390 | 2874 | 1416 | 3182 | 2659 | 2970 | 1567 | 3229 | 3055 | 3074 | 1519 | 3187 | 3187 | 3020
2 | ANTICIPATED PEAK HOUR DEMAND FOR 2009-10 AS PER NRPC METHODOLOGY |  | 2821 |  | 2839 |  | 3192 |  | 2962 |  | 3193 |  | 3044 |  | 3167 |  | 2993
3 | ANTICIPATED DEMAND ROUNDED OFF (Assuming 5% increase on maximum Demand of Last 8 Years) | 1450 | 3300 | 2400 | 3300 | 1450 | 3500 | 2700 | 3400 | 1600 | 3500 | 3100 | 3500 | 1550 | 3400 | 3200 | 3400
AVAILABILITY FROM OWN SOURCES
A | BTPS | 550 | 550 | 550 | 550 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630
B | RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
C | GT | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
D | PRAGATI | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
4 | TOTAL WITHIN DELHI with BTPS @ 95% availibility and other stations at 90% availibility. | 1040 | 1040 | 1040 | 1040 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116 | 1116
AVAILIBILITY FROM CENTRAL SECTOR STATIONS
A | AVAILABILITY FROM FIRM ALLOCATION ** | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003
B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118
5 | TOTAL | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121
6 | AVAILIBILITY FROM UPCOMING CENTRAL SECTOR STATIONS
A | Dadri Stage-II Unit # 1 (490 MW) w.e.f January 2010 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384
7 | BILATERAL AGREEMENTS
A | DVC | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
B | BRPL Arrangement with J&K (Return of Banked Power 110 MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -110 | -110 | -110 | -110 | -110 | -110 | -110 | -110
C | BRPL Arrangement with HP (Forward Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -17 | -17 | -17 | -13 | -17 | -17 | -17 | -13
D | BYPL Arrangement with HP (Forward Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38 | -38 | -38 | -26 | -38 | -38 | -38 | -26
E | NDPL Bilateral Arrangement from Haryana (Return Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | 56 | 0 | 0
| TOTAL | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | -73 | -17 | -73 | -57 | -73 | -17 | -73 | -57
8 | TOTAL AVAILABILITY (4+5+6+7) | 2807 | 3253 | 2807 | 3253 | 2883 | 3329 | 2883 | 3329 | 3102 | 3604 | 3102 | 3564 | 3102 | 3604 | 3102 | 3564
9 | SURPLUS (+) / SHORTAGE (-) (8) - (3) | 1357 | -47 | 407 | -47 | 1433 | -171 | 183 | -71 | 1502 | 104 | 2 | 64 | 1552 | 204 | -98 | 164
NOTE
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | BTPS UNIT # 2 (95 MW) SHALL BE UNDER MAINTENANCE FROM 24TH OCTOBER TO 10TH DECEMBER 2009.
5 | Additional availibility of 440 MW from upcoming Dadri(Th) Stage-II Project has been considered w.e.f. 1st January 2010.
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
| DETAILED ANTICIPATED POWER SUPPLY POSITION OF DELHI AS A WHOLE FOR FEBRUARY - MARCH, 2010 | [13 empty] | As on 13-10-2009
All figures in MW at Delhi periphery
S. | DETAILS | FEBRUARY 2010 | [7 empty] | MARCH 2010
NO. |  | 1st fortnight |  |  |  | 2nd fortnight |  |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
1 | DEMAND PROFILE
A | UNRESTRICTED DEMAND DURING THE MONTH IN 2000 |  | 2931 |  | 2714 |  | 2751 |  | 2452 |  | 2516 |  | 2319 |  | 2370 |  | 2449
B | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2960 |  | 2785 |  | 2792 |  | 2536 |  | 2605 |  | 2479 |  | 2374 |  | 2511
C | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 3000 |  | 2768 |  | 3434 |  | 2660 |  | 2664 |  | 2527 |  | 2429 |  | 2596
D | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 3213 |  | 3016 |  | 2927 |  | 2683 |  | 2713 |  | 2757 |  | 2607 |  | 2947
E | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 3138 |  | 2939 |  | 3017 |  | 2738 |  | 2813 |  | 2871 |  | 2584 |  | 2898
F | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 3086 |  | 2973 |  | 2804 |  | 3075 |  | 2837 |  | 2932 |  | 2659 |  | 2946
G | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 3021 |  | 2880 |  | 2961 |  | 2918 |  | 2879 |  | 2827 |  | 2911 |  | 3107
H | UNRESTRICTED DEMAND DURING THE MONTH IN 2007 |  | 3395 |  | 3135 |  | 3126 |  | 2862 |  | 2754 |  | 3012 |  | 2655 |  | 3158
I | UNRESTRICTED DEMAND DURING THE MONTH IN 2008 | 1467 | 3105 | 2542 | 2873 | 1487 | 3037 | 2644 | 2858 | 1560 | 2802 | 2552 | 2878 | 1778 | 2698 | 2623 | 2999
2 | ANTICIPATED PEAK HOUR DEMAND FOR 2009-10 AS PER NRPC METHODOLOGY |  | 3102 |  | 2844 |  | 3063 |  | 2850 |  | 2799 |  | 2883 |  | 2693 |  | 2989
3 | ANTICIPATED DEMAND ROUNDED OFF | 1550 | 3300 | 2600 | 3300 | 1550 | 3100 | 2700 | 2850 | 1600 | 2800 | 2600 | 2900 | 1850 | 2700 | 2700 | 3500
AVAILABILITY FROM OWN SOURCES
A | BTPS | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 550 | 550 | 550 | 550
B | RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 47.5 | 47.5 | 47.5 | 47.5
C | GT | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
D | PRAGATI | 300 | 300 | 300 | 300 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 300 | 300 | 300 | 300
4 | TOTAL WITHIN DELHI with BTPS @ 95% availibility and other stations at 90% availibility. | 917.5 | 917.5 | 917.5 | 917.5 | 782.5 | 782.5 | 782.5 | 782.5 | 782.5 | 782.5 | 782.5 | 782.5 | 979.25 | 979.25 | 979.25 | 979.25
AVAILIBILITY FROM CENTRAL SECTOR STATIONS
A | AVAILABILITY FROM FIRM ALLOCATION ** | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1675 | 2003 | 1510 | 1838 | 1510 | 1838
B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118 | 0 | 118
5 | TOTAL | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1675 | 2121 | 1510 | 1956 | 1510 | 1956
6 | AVAILIBILITY FROM UPCOMING CENTRAL SECTOR STATIONS
A | Dadri Stage-II Unit # 1 (490 MW) w.e.f January 2010 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384
| TOTAL | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384 | 384
BILATERAL AGREEMENTS
A | DVC | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
B | NDPL Bilateral Arrangement from Haryana (Return Banking) | 0 | 52 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | BRPL Forward Banking with HP | -47 | -47 | -47 | -34 | -47 | -47 | -47 | -34 | -47 | -47 | -47 | -24 | -47 | -47 | -47 | -24
D | BYPL Forward Banking with HP | -17 | -17 | -17 | 0 | -17 | -17 | -17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | TOTAL BILATERAL | 28 | 80 | 28 | 58 | 28 | 80 | 28 | 58 | 45 | 45 | 45 | 68 | 45 | 45 | 45 | 68
8 | TOTAL AVAILABILITY (4+5+6+7) | 3004.5 | 3502.5 | 3004.5 | 3480.5 | 2869.5 | 3367.5 | 2869.5 | 3345.5 | 2886.5 | 3332.5 | 2886.5 | 3355.5 | 2918.25 | 3364.25 | 2918.25 | 3387.25
9 | SURPLUS (+) / SHORTAGE (-) (8) - (3) | 1454.5 | 202.5 | 404.5 | 180.5 | 1319.5 | 267.5 | 169.5 | 495.5 | 1286.5 | 532.5 | 286.5 | 455.5 | 1068.25 | 664.25 | 218.25 | -112.75
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | BTPS 95 MW UNIT # 3 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 16TH MARCH TO 11TH APRIL 2010.
5 | BTPS 210 MW UNIT # 5 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 1ST FEB TO 15TH MARCH 2010.
6 | DADRI (Th) UNIT # 1 (210 MW) WILL BE UNDER PLANNED MAINTENANCE FROM 15TH MARCH TO 20TH APRIL 2010.
7 | Additional availibility of 440 MW from upcoming Dadri(Th) Stage-II Project has been considered w.e.f. 1st January 2010.

## Discom Combined
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
ANTICIPATED POWER SUPPLY POSITION DURING PEAK HOURS FOR WINTER 2009-10
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [14 empty] | As on 13-10-2009
S. | DETAILS | DECEMBER 2009 | [7 empty] | JANUARY, 2010
NO. |  | 1st Fortnight |  |  |  | 2nd fortnight |  |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
A | ANTICIPATED DEMAND FOR 2009-10 AS PER NRPC METHOD | 1450 | 3300 | 2400 | 3300 | 1450 | 3500 | 2700 | 3400 | 1600 | 3500 | 3100 | 3500 | 1550 | 3400 | 3200 | 3400
B | Reducing peak demand for NDMC & MES from A | 1335 | 3070 | 2220 | 3120 | 1335 | 3270 | 2520 | 3220 | 1485 | 3250 | 2900 | 3300 | 1435 | 3150 | 3000 | 3200
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 389.553 | 895.826 | 647.796 | 910.416 | 389.553 | 954.186 | 735.336 | 939.596 | 433.323 | 948.35 | 846.22 | 962.94 | 418.733 | 919.17 | 875.4 | 933.76
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 618.8642 | 749.007 | 618.8642 | 749.007 | 631.747 | 761.8898 | 631.747 | 761.8898 | 743.7982 | 873.941 | 743.7982 | 873.941 | 743.7982 | 873.941 | 743.7982 | 873.941
2 | Through un-allocated quota available with GNCTD | 89.404 | 89.404 | 89.404 | 89.404 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1
3 | Through DVC | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456
4 | Bilateral Arrangement of NDPL from Haryana (Return Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | 56 | 0 | 0
5 | TOTAL AVAILIBILITY | 735.1139 | 865.2567 | 735.1139 | 865.2567 | 751.6926 | 881.8354 | 751.6926 | 881.8354 | 863.7438 | 1049.8866 | 863.7438 | 993.8866 | 863.7438 | 1049.8866 | 863.7438 | 993.8866
| Anticipated Shortages (-) /Surplus (+) for NDPL area | 345.5609 | -30.5693 | 87.3179 | -45.1593 | 362.1396 | -72.3506 | 16.3566 | -57.7606 | 430.4208 | 101.5366 | 17.5238 | 30.9466 | 445.0108 | 130.7166 | -11.6562 | 60.1266
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 363.654 | 836.268 | 604.728 | 849.888 | 363.654 | 890.748 | 686.448 | 877.128 | 404.514 | 885.3 | 789.96 | 898.92 | 390.894 | 858.06 | 817.2 | 871.68
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 577.7197 | 699.2101 | 577.7197 | 699.2101 | 589.746 | 711.2364 | 589.746 | 711.2364 | 694.3476 | 815.838 | 694.3476 | 815.838 | 694.3476 | 815.838 | 694.3476 | 815.838
2 | Through un-allocated quota available with GNCTD | 140.492 | 140.492 | 140.492 | 140.492 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3
3 | Through DVC | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608
4 | BYPL Arrangement with HP (Forward Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38 | -38 | -38 | -26 | -38 | -38 | -38 | -26
5 | TOTAL AVAILIBILITY | 743.2726 | 864.763 | 743.2726 | 864.763 | 761.1068 | 882.5972 | 761.1068 | 882.5972 | 827.7084 | 949.1988 | 827.7084 | 961.1988 | 827.7084 | 949.1988 | 827.7084 | 961.1988
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | 379.6186 | 28.495 | 138.5446 | 14.875 | 397.4528 | -8.1508 | 74.6588 | 5.4692 | 423.1944 | 63.8988 | 37.7484 | 62.2788 | 436.8144 | 91.1388 | 10.5084 | 89.5188
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 581.793 | 1337.906 | 967.476 | 1359.696 | 581.793 | 1425.066 | 1098.216 | 1403.276 | 647.163 | 1416.35 | 1263.82 | 1438.14 | 625.373 | 1372.77 | 1307.4 | 1394.56
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 924.2668 | 1118.6336 | 924.2668 | 1118.6336 | 943.507 | 1137.8738 | 943.507 | 1137.8738 | 1110.8542 | 1305.221 | 1110.8542 | 1305.221 | 1110.8542 | 1305.221 | 1110.8542 | 1305.221
2 | Through un-allocated quota available with GNCTD | 70.272 | 70.272 | 70.272 | 70.272 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6
3 | Through DVC | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936
4 | BRPL Arrangement with J&K (Return of Banked Power 110 MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -110 | -110 | -110 | -110 | -110 | -110 | -110 | -110
5 | BRPL Arrangement with HP (Forward Banking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -17 | -17 | -17 | -13 | -17 | -17 | -17 | -13
6 | TOTAL AVAILIBILITY | 1034.6324 | 1228.9992 | 1034.6324 | 1228.9992 | 1057.2006 | 1251.5674 | 1057.2006 | 1251.5674 | 1097.5478 | 1291.9146 | 1097.5478 | 1295.9146 | 1097.5478 | 1291.9146 | 1097.5478 | 1295.9146
| Anticipated Shortages (-) /Surplus (+) for BRPL area. | 452.8394 | -108.9068 | 67.1564 | -130.6968 | 475.4076 | -173.4986 | -41.0154 | -151.7086 | 450.3848 | -124.4354 | -166.2722 | -142.2254 | 472.1748 | -80.8554 | -209.8522 | -98.6454
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 100 | 200 | 160 | 150 | 100 | 200 | 160 | 150 | 100 | 220 | 180 | 170 | 100 | 220 | 180 | 170
| AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 299.773 | 299.773 | 299.773 | 299.773 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315
| Less 15% power towards UA Quota of GNCTD | 44.728 | 44.728 | 44.728 | 44.728 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47
| Net Availibility for NDMC | 255.045 | 255.045 | 255.045 | 255.045 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | 155.045 | 55.045 | 95.045 | 105.045 | 168 | 68 | 108 | 118 | 168 | 48 | 88 | 98 | 168 | 48 | 88 | 98
MES POSITION
(v) | Anticipated Demand of MES | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30
| AVAILABILITY FOR MES from BTPS | 38.9362 | 38.9362 | 38.9362 | 38.9362 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Anticipated Shortages (-) /Surplus (+) for MES area. | 23.9362 | 8.9362 | 18.9362 | 8.9362 | 30 | 15 | 25 | 15 | 30 | 15 | 25 | 15 | 30 | 15 | 25 | 15
| OVERALL SHORTGES(-) / SURPLUS(+) for DELHI | 1357 | -47 | 407 | -47 | 1433 | -171 | 183 | -71 | 1502 | 104 | 2 | 64 | 1552 | 204 | -98 | 164
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
ANTICIPATED POWER SUPPLY POSITION DURING PEAK HOURS FOR WINTER 2008-09
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [14 empty] | As on 13-10-2009
S. |  | FEBRUARY 2009 | [7 empty] | MARCH 2009
NO. | DETAILS | 1st fortnight |  |  |  | 2nd fortnight |  |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
A | ANTICIPATED DEMAND FOR 2009-10 AS PER NRPC METHOD | 1550 | 3300 | 2600 | 3300 | 1550 | 3100 | 2700 | 2850 | 1600 | 2800 | 2600 | 2900 | 1850 | 2700 | 2700 | 3500
B | Reducing peak demand for NDMC & MES from A | 1435 | 3050 | 2400 | 3110 | 1435 | 2850 | 2500 | 2660 | 1485 | 2550 | 2380 | 2700 | 1735 | 2450 | 2480 | 3300
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 418.733 | 889.99 | 700.32 | 907.498 | 418.733 | 831.63 | 729.5 | 776.188 | 433.323 | 744.09 | 694.484 | 787.86 | 506.273 | 714.91 | 723.664 | 962.94
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 685.8759 | 816.0187 | 685.8759 | 816.0187 | 667.0276 | 797.1704 | 667.0276 | 797.1704 | 681.6448 | 811.7876 | 681.6448 | 811.7876 | 681.8482 | 811.991 | 681.8482 | 811.991
2 | Through un-allocated quota available with GNCTD | 93.1 | 93.1 | 93.1 | 93.1 | 84.9299 | 84.9299 | 84.9299 | 84.9299 | 76.7598 | 76.7598 | 76.7598 | 76.7598 | 78.6078 | 78.6078 | 78.6078 | 78.6078
3 | Through DVC | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456 | 26.8456
4 | NDPL Bilateral Arrangement from Haryana (Return Banking) | 0 | 52 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | TOTAL AVAILIBILITY | 805.8215 | 987.9643 | 805.8215 | 935.9643 | 778.8032 | 960.946 | 778.8032 | 908.946 | 785.2502 | 915.393 | 785.2502 | 915.393 | 787.3016 | 917.4444 | 787.3016 | 917.4444
| Anticipated Shortages (-) /Surplus (+) for NDPL area | 387.0885 | 97.9743 | 105.5015 | 28.4663 | 360.0702 | 129.316 | 49.3032 | 132.758 | 351.9272 | 171.303 | 90.7662 | 127.533 | 281.0286 | 202.5344 | 63.6376 | -45.4956
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 390.894 | 830.82 | 653.76 | 847.164 | 390.894 | 776.34 | 681 | 724.584 | 404.514 | 694.62 | 648.312 | 735.48 | 472.614 | 667.38 | 675.552 | 898.92
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 640.2762 | 761.7666 | 640.2762 | 761.7666 | 622.681 | 744.1714 | 622.681 | 744.1714 | 636.3264 | 757.8168 | 636.3264 | 757.8168 | 636.5163 | 758.0067 | 636.5163 | 758.0067
2 | Through un-allocated quota available with GNCTD | 146.3 | 146.3 | 146.3 | 146.3 | 133.4613 | 133.4613 | 133.4613 | 133.4613 | 120.6226 | 120.6226 | 120.6226 | 120.6226 | 123.5266 | 123.5266 | 123.5266 | 123.5266
3 | Through DVC | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608 | 25.0608
4 | BYPL Forward Banking with HP | -17 | -17 | -17 | 0 | -17 | -17 | -17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | TOTAL AVAILIBILITY | 794.637 | 916.1274 | 794.637 | 933.1274 | 764.2031 | 885.6935 | 764.2031 | 902.6935 | 782.0098 | 903.5002 | 782.0098 | 903.5002 | 785.1037 | 906.5941 | 785.1037 | 906.5941
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | 403.743 | 85.3074 | 140.877 | 85.9634 | 373.3091 | 109.3535 | 83.2031 | 178.1095 | 377.4958 | 208.8802 | 133.6978 | 168.0202 | 312.4897 | 239.2141 | 109.5517 | 7.6741
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 625.373 | 1329.19 | 1045.92 | 1355.338 | 625.373 | 1242.03 | 1089.5 | 1159.228 | 647.163 | 1111.29 | 1037.204 | 1176.66 | 756.113 | 1067.71 | 1080.784 | 1438.14
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 1024.3479 | 1218.7147 | 1024.3479 | 1218.7147 | 996.1982 | 1190.565 | 996.1982 | 1190.565 | 1018.0288 | 1212.3956 | 1018.0288 | 1212.3956 | 1018.3325 | 1212.6993 | 1018.3325 | 1212.6993
2 | Through un-allocated quota available with GNCTD | 73.6 | 73.6 | 73.6 | 73.6 | 66.2435 | 66.2435 | 66.2435 | 66.2435 | 59.9179 | 59.9179 | 59.9179 | 59.9179 | 63.1962 | 63.1962 | 63.1962 | 63.1962
3 | Through DVC | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936 | 40.0936
4 | BRPL Forward Banking with HP | -47 | -47 | -47 | -34 | -47 | -47 | -47 | -34 | -47 | -47 | -47 | -24 | -47 | -47 | -47 | -24
5 | TOTAL AVAILIBILITY | 1091.0415 | 1285.4083 | 1091.0415 | 1298.4083 | 1055.5353 | 1249.9021 | 1055.5353 | 1262.9021 | 1071.0403 | 1265.4071 | 1071.0403 | 1288.4071 | 1074.6223 | 1268.9891 | 1074.6223 | 1291.9891
| Anticipated Shortages (-) /Surplus (+) for BRPL area. | 465.6685 | -43.7817 | 45.1215 | -56.9297 | 430.1623 | 7.8721 | -33.9647 | 103.6741 | 423.8773 | 154.1171 | 33.8363 | 111.7471 | 318.5093 | 201.2791 | -6.1617 | -146.1509
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 100 | 220 | 180 | 160 | 100 | 220 | 180 | 160 | 100 | 220 | 200 | 170 | 100 | 220 | 200 | 170
| AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 315 | 315 | 315 | 315 | 281.3404 | 281.3404 | 281.3404 | 281.3404 | 254.5904 | 254.5904 | 254.5904 | 254.5904 | 273.023 | 273.023 | 273.023 | 273.023
| Less 15% power towards UA Quota of GNCTD | 47 | 47 | 47 | 47 | 41.9778 | 41.9778 | 41.9778 | 41.9778 | 37.9865 | 37.9865 | 37.9865 | 37.9865 | 40.7368 | 40.7368 | 40.7368 | 40.7368
| Net Availibility for NDMC | 268 | 268 | 268 | 268 | 239.3626 | 239.3626 | 239.3626 | 239.3626 | 216.6039 | 216.6039 | 216.6039 | 216.6039 | 232.2863 | 232.2863 | 232.2863 | 232.2863
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | 168 | 48 | 88 | 108 | 139.3626 | 19.3626 | 59.3626 | 79.3626 | 116.6039 | -3.3961 | 16.6039 | 46.6039 | 132.2863 | 12.2863 | 32.2863 | 62.2863
MES POSITION
(v) | Anticipated Demand of MES | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30
| AVAILABILITY FOR MES from BTPS | 45 | 45 | 45 | 45 | 31.5957 | 31.5957 | 31.5957 | 31.5957 | 31.5957 | 31.5957 | 31.5957 | 31.5957 | 38.9362 | 38.9362 | 38.9362 | 38.9362
| Anticipated Shortages (-) /Surplus (+) for MES area. | 30 | 15 | 25 | 15 | 16.5957 | 1.5957 | 11.5957 | 1.5957 | 16.5957 | 1.5957 | 11.5957 | 1.5957 | 23.9362 | 8.9362 | 18.9362 | 8.9362
| OVERALL SHORTGES(-) / SURPLUS(+) for DELHI | 1454.5 | 202.5 | 404.5 | 180.5 | 1319.5 | 267.5 | 169.5 | 495.5 | 1286.5 | 532.5 | 286.5 | 455.5 | 1068.25 | 664.25 | 218.25 | -112.75