|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149, 23221099, 23221098 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207/10-11/DGM(SO)/479 | Dated : 11.11.2011 |

- Chairperson, NDMC, Palika Kendra, Sansad Marg, New Delhi-110001

- Managing Director, PPCL, Himadri, Rajghat Power House, New Delhi-110002

- Director (Finance), DTL, Shakti Sadan, Kotla Road, New Delhi-110002

- Director (Technical), IPGCL, Himadri Building, Rajghat, New Delhi-110002

- Executive Director (Engineering), DERC, Shivalik, New Delhi-110017

- Executive Director (Tech), DTL, Jhandewalan, New Delhi

- CEO, BRPL,  BSES Bhawan, Nehru Place, New Delhi-110019

- CEO, BYPL, Shakti Kiran Bldg., Karkardooma, New Delhi-110092

- M. D., NDPL, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

- CE (Utilities),CWE, MES, Kotwali Rd, Delhi Cantt  New Delhi-110010

- General Manager, NRLDC, Katwaria Sarai, New Delhi-110016

- G. M. (SLDC), SLDC Building, Minto Road, New Delhi-110002

- G. M. (Commercial), DTL, IP Estate, New Delhi-110002

- G. M. (O&M), DTL, 220kV Park Street Grid S/Stn, New Delhi-110001

- Chief Engineer (SO), Punjab SLDC, PSTCL, SLDC Complex, Near 220kV Grid S/Stn Ablowal, Patiala, Punjab-147001, Fax No. 0175-2365340, 0175-2367490

- Chief Engineer (System Operation), Haryana SLDC, HVPNL, Shakti Bhawan, Sector-6, Panchkula-134109, Fax No. 0172-2560622

- General Manager, Bawana CCGP Plant, New Delhi-110039

- General Manager (Commercial), NTPC, Noida Fax No. 95120-24100563

- C.E. HPPC, Panchkula, Fax No. 0172-3019169

- S.E. M&P Circle, HVPNL, Vidyut Nagar, Hissar, Haryana-125001 (Fax-01662-223017)

MEETING NOTICE

Date – 22.11.2011  Time  : 11.00AM

To be Chaired by Director (Operations / Finance), DTL

Venue : Conference hall,  1st Floor, SLDC Building, Tagore

Lane, Minto Road, New Delhi-110002

Subject    :	Scheduling and other related issues of Bawana 1500MW CCGT Plant

Sir,

Director (Technical), IPGCL / PPCL vide letter no.Dir(T)/F.21/177 dated 02.11.2011 has intimated that Gas Turbine Unit-I of Bawana CCGT is ready for continuous operation in Open Cycle mode and they intend to declare its CoD within a week time.  Before, declaring CoD, certain issues are required to be sorted out.  The issues are listed as under:-

---2---

1	CoD in Open Cycle operation

The relevant portions of Tariff Regulations for the period 01.04.2009 to 31.03.2014 notified by CERC on 19.01.2009, the CoD related definitions are reproduced hereunder :-

(7)	‘block’ in relation to a combined cycle thermal generating station includes combustion turbine-generator, associated waste heat recovery boiler, connected steam turbine- generator and auxiliaries;

(12) 	‘date of commercial operation’ or ‘COD’ means

(a) 	in relation to a unit or block of the thermal generating station, the date declared by the generating company after demonstrating the maximum continuous rating (MCR) or the installed capacity (IC) through a successful trial run after  notice to the beneficiaries, from 0000 hour of which scheduling process as per the Indian Electricity Grid Code (IEGC) is fully implemented, and in relation to the generating station as a whole, the date of commercial operation of the last unit or block of the generating station;

(b) 	in relation to a unit of hydro generating station, the date declared by the generating company from 0000 hour of which, after notice to the beneficiaries, scheduling process in accordance with the Indian Electricity Grid Code is fully implemented, and in relation to the generating station as a whole, the date declared by the generating company after demonstrating peaking capability corresponding to installed capacity of the generating station through a successful trial run, after notice to the beneficiaries:

Note

1. 	In case the hydro generating station with pondage or storage is not able to demonstrate peaking capability corresponding to the installed capacity for the reasons of insufficient reservoir or pond level, the date of commercial operation of the last unit of the generating station shall be considered as the date of commercial operation of the generating station as a whole, provided that it will be mandatory for such hydro generating station to demonstrate peaking capability equivalent to installed capacity of the generating unit or the generating station as and when such reservoir /pond level is achieved.

2. 	In case of purely run-of-river hydro generating station if the unit or the generating station is declared under commercial operation during lean inflows period when the water is not sufficient for such demonstration, it shall be mandatory for such hydro generating station or unit to demonstrate peaking capability equivalent to installed capacity as and when sufficient inflow is available.

--3—

(c) 	in relation to the transmission system, the date declared by the transmission licensee from 0000 hour of which an element of the transmission system is in regular service after successful charging and trial operation:

Provided that the date shall be the first day of a calendar month and transmission charge for the element shall be payable and its availability shall be accounted for, from that date:

Provided further that in case an element of the transmission system is ready for regular service but is prevented from providing such service for reasons not attributable to the transmission licensee, its suppliers or contractors, the Commission may approve the date of commercial operation prior to the element coming into regular service.

(41)	'Unit' in relation to a thermal generating station other than combined cycle thermal generating station means steam generator, turbine-generator and auxiliaries, or in relation to a combined cycle thermal generating station, means turbine-generator and auxiliaries; and in relation to a hydro generating station means turbine-generator and its auxiliaries;

In view of the above stipulations, the declaration of Bawana CCGT under Open Cycle mode may be discussed.

2	Allocation of Power from Bawana CCGT

In the meeting held on 11.10.2010 at SLDC, the allocation of power from the station has been fixed as under :-

| S. No. | State | With merchant power |
| --- | --- | --- |
|  |  | In percentage | In MW |
| 1 | Delhi |  |  |
|  | BRPL | 26.53 | 363.70 |
|  | BYPL | 16.58 | 227.33 |
|  | NDPL | 17.77 | 243.52 |
|  | NDMC | 7.3 | 100 |
|  | MES | 1.82 | 25 |
|  | Total | 70.00 | 959.56 |
| 2 | Haryana | 10 | 137.08 |
| 3 | Punjab | 10 | 137.08 |
| 4 | Merchant Power | 10 | 137.08 |
|  | Total | 100 | 1370.80 |

The decision regarding scheduling of Merchant Power to be taken before CoD of the Station by PPCL as all the beneficiaries of Delhi has decided not to avail the Merchant Power.

--4--

3	Evacuation of Haryana and Punjab share from Bawana CCGT

While granting open access by CTU for evacuation of Punjab, Haryana and drawee of merchant power, it was stipulated that for transfer of power to various states as well as to provide Grid connectivity to Bawana Generation project, PPCL shall make necessary arrangements for shifting Bawana – Bahadurgarh 400kV Ckt. and 400kV Bawana – Hissar Ckt. from existing 400kV Bawana Sub-station of DTL to Bawana CCGT 400kV Bus at PPCL’s cost.  This shifting is required to be carried out after the completion of 400kV Bahadurgarh – Sonepat – Abdullapur D/C lines.  It is understood that the 400kV Bahadurgarh – Sonepat – Abdullapur D/C link has not been completed so far.   Further PPCL has not shifted the 400kV Bawana – Bahadurgarh Ckt. and 400kV Bawana – Hissar Ckts. on 400kV Bus at Bawana PPCL.  In the meeting held on 19.08.2010 at SLDC, it was decided that till 400kV lines are shifted to Bawana CCGT bus, the Punjab and Haryana share would be evacuated through inter connectors and 400/220kV ICTs at Bawana CCGT.

Commercial modalities need to be discussed and decided.

4	Payment of RLDC Charges

As per RLDC Fees and Charges Regulations notified on 18.09.2009, the System Operation Charges of NRLDC is also required to be shared by PPCL for supply of 20% capacity to Punjab and Haryana from the date of Commercial Operation.  At present, only Market Operation Charges are paid by PPCL as per the decision taken in the meeting convened on 05.04.2011 by Director (Operations).  After the Commercial Operation, these charges are to be directly paid as per NRLDC accounts by PPCL.

May be deliberated.

5)	Approximate energy charges

As per the Indian Electricity Grid Code, the scheduling responsibility of Bawana CCGT rests with Delhi SLDC.  For economics scheduling and dispatch of electricity from the station, SLDC and beneficiaries should have the knowledge of fixed charges, variable charges and other charges in Open Cycle and Combined Cycle mode.

PPCL is requested to provide the details.

---5---

6)	Any other issues with the permission of Chair.

You are requested to kindly attend or detail a responsible officer in the meeting to resolve the issues.

Thanking you,

भवदीय /  Yours faithfully

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Copy to :-

1	Dy. G.M. (Metering & Protection), DTL 	: With request to attend the meeting

2	Dy. G.M. (SCADA), Delhi SLDC		:	------do------

3	Manager (Communication), Delhi SLDC	:	------do------

4	Manager (Software), Delhi SLDC		:	------do------

Copy for favour of kind information to :

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - CMD, DTL

  - Executive Director (PGCIL)-NR-II, Fax No. 0191-2477413 – with request to depute the concerned officer for enabling the discussions with regard to shifting of 400kV Hissar and Bahadurgarh Ckt. from Bawana DTL sub-station to Bawana CCGT and completion of 400kV Bahadurgarh – Sonepat – Abdullapur D/C link.

  - Member Secretary, NRPC, Katwaria Sarai, New Delhi-110016

  - CMD, PSTCL, Patiala, Punjab, Fax No. 0175-2212053

  - G.M. NRLDC : With a request to depute representative from NRLDC in the meeting for sharing the experiences with regard to scheduling and day to day operation of Bawana CCGT.

  - Managing Director, HVPNL, Fax No. 0172-2560579

  - Director (Operations), DTL

  - Director (Finance),IPGCL/PPCL

  - Joint Secretary (Power), GNCTD