|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207 )/08-09/DGM(SO)/373 | Dated : 15.11.2008 |

Subject  : 	Agenda of the 2nd meeting of Grid Coordination Committee

Dear Sir,   /  महोदय

The agenda of the 2nd Meeting of Grid Coordination Committee to be held on  25.11.2008 at 10.30hrs. in the conference hall of DTL Headquarters, 4th Floor, Shakti Sadan, New Delhi-110002 is enclosed herewith

You are requested to make it convenient to attend the meeting

Thanking you,

भवदीय   /  Yours faithfully

Encl : As above

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

List of addresses

| 01 | Sh. S. R. Sethi, Director (Operations), Chairman, GCC. Delhi Transco Ltd.,2nd floor, Shakti Sadan Building, Kotla Road, New Delhi-110002, Office-Phone- 011-23232715, Fax : 23232721 |
| --- | --- |
| 02 | Sh. V. P. Dutta, General Manager (O&M), Delhi Transco Limited, 220kV Parkstreet S/stn Building, Opp. Talkatora Stadium, Near RML Hospital, Park Street, New Delhi-1, Office Phone - 011-23366462 Fax: 011-23366160 |
| 03 | Sh. A. K. Kaul, General Manager (SLDC), SLDC Delhi SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002, Phone Office:011-23221091, Fax:011-23221069 |
| 04 | Sh. V. K. Agrawal, General Manager (NRLDC), 18-A, SJSS Marg, New Delhi-16, Office Phone : 011-26537351, Fax: 011-26852747 |
| 05 | Sh. S. R. Narsimhan, Chief Manager (Tech Services), NRLDC, 18-A, SJSS Marg, New Delhi-16, Office Phone: 011-26854585. Fax-26852747 |

| 06 | Sh. Viney Kumar, Director(Tech), IPGCL, Himadri Building, Rajghat Power House, New Delhi-2. Office Phone : 011-23273544 Fax: 011-23270590 |
| --- | --- |
| 07 | Sh. Sunil Kakkar, DGM (PMG), BRPL PMG Office, 3rd Floor, BSES Bhawan, No. 20, Nehru Place, New Delhi – 110019. Phone Office: 011- 39996052, Fax: 011- 39996055 |
| 08 | Sh. R. Pillai, HOD(PSC&AM), NDPL Shakti Nagar District Office, Nangia Park, New Delhi. Phone Office: 011- 66111401 Fax: 011- 66111406 |
| 09 | Sh. K. Sheshadri, AVP(SO), BSES SCADA Control Room, 33 kV Balaji Grid, Behind NIIT, Balaji Estate, Kalkaji, New Delhi – 110019. Office: 011- 39996549 Fax: 011- 39996551 |
| 10 | Sh. V. N. Choudhary, General Manager, NTPC, Badarpur BTPS, New Delhi-44 Office Phone: 011- 26949523, Fax: 011- 26949532 |
| 11 | Col. G. K. Pandita, CWE, CWE (Utilities), MES, Delhi Cantt, New Delhi – 110010. Phone Office: 011- 25692364 Fax: 011- 25687850 |
| 12 | Sh. K. L. Sehgal Addl. Chief Engineer (Elect-I),NDMC Room No. 1714, 17th Floor, Palika Kendra, Parliament Street, New Delhi-110001 Phone Office: 011-41501449, Fax: 011-41501449 |

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-92

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-10

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, 23221175, Fax 23221012, 59

Subject 	Agenda for the 2nd meeting of GCC

1	Confirmation of the minutes of 1st meeting of GCC held on 12.09.2008.

The minute of the 1st meeting of GCC held on 12.09.2008 have been circulated vide letter no. F.DTL/207/2008-09/DGM(OS)/313 dt. 23.09.2008. No comments have been received so far.

GCC is requested to confirm the meeting.

2	Finalization of conduct of business of Delhi Grid Co-ordination Committee (conduct of business Rule 2008)

As per the provision of 6.2.3 of Delhi Grid Code (DGC) the committee will have to frame its own rule of business for the conduct of its meetings and other related matters. The draft conduct of business has been forwarded separately and along with the minutes of the 1st meeting of GCC held on 12.09.2008.

So far no comments have been received from any quarters except BTPS. The gist of the comments of BTPS are as under:

- In the clause 8.1 (procedure for conducting GCC meetings) at the end of the para “notice will be sent through E_mails also” is proposed to be added.

- Clause 13.2 the word “Authority” is proposed to be replaced with Chairperson as Authority as per the definition is Central Electricity Authority.

- Composition of Operation Co-ordination Committee (clause 17.2.1, 17.2.2) – it is proposed to include to the level of Manager also eligible to attend the meeting in all Sub-Committees as it is not always not possible to spare DGMs for every time. The OCC meeting should be chaired by General Manager (SLDC) as the real time operation and the issues related to it is under the preview of SLDC as per the Electricity Act 2003.

- Composition of Commercial Sub-committee (clause 18.2) – the nominated representative shall have adequate knowledge of the subject mentioned in clause 8.1 is proposed to be added in the clause.

- System study Sub-committee – In addition to the proposed system studies to be carried by system study sub-committee it is proposed that islanding scheme of generators should also be included.

---2---

It is to mention that Member Secretary, GCC is not envisaged in DGC. As such in the draft business rules circulated along with the minutes of the meeting wherever Member Secretary, GCC appears it has already been replaced with Convenor, GCC.

SLDC also intends to change the clause 14.2 wherein audio and Video recording of the proceedings of GCC is envisaged. As it is felt that the Video recording of each proceedings of GCC is practically very difficult. It is proposed that the recording of GCC is restricted to Audio only. In RPC proceedings also such Video recording facility is not enforced.

GCC may decide on other issues suggested by BTPS.

3    	Nominations to the Sub-committees

The following Sub-committees are envisaged to assist GCC

- Operation Co-ordination Sub-committee (OCC)

- Commercial Sub-committee (CC) (Metering Committee as its sub-committee)

- Protection Sub-committee (PC)

- System Study Sub-committee.

SLDC vide its letter dated 23.09.2008 requested all utilities to nominate suitable officers as early as possible as per the requirement of each sub-committees of GCC. So far, only NDPL and IPGCL / PPCL have made the nominations.  The copies of the nominations sent by NDPL, IPGCL / PPCL are enclosed as Annexure-1 and 2 respectively.  In order to avoid further delay all utilities are requested to bring the name of main and alternate members of each sub-committee so that the notification and formation of every sub-committee can be notified in this meeting.

4    	APPROVAL OF METERING PROCEDURES

As per the provision 33.2 of DGC a metering procedure shall have to be developed by STU and submitted to the Commission for its approval within 60days of notification of DGC. Accordingly DTL developed the metering procedure in May 2008 and forwarded the same to SLDC for the circulation and consultation with the utilities for its approval. SLDC circulated the documents to all utilities during June 2008 for comments. Thereafter the document was discussed thread bear in the meeting specially convened for this purpose on 22.08.2008 at BTPS. As decide in the meeting the revised documents prepared on the basis of the discussion in the meeting was further discussed in the subsequent meetings held on 06.10.2008 and 10.10.2008 at SLDC with all the stake holders. As decided in the meeting held on 10.10.2008 the revised documents is placed before the GCC. The final metering procedure document is enclosed as Annexure-4.

---3---

Chairman, GCC has suggested following:-

i)	The Clause-5.2 (Following Responsibility) of the Metering Procedure, should be in accordance with the `Ownership Clause’ of Regulations for Installation and Operation of Meters notified by CEA.  The same is reproduced is hereunder :-

5.   	Ownership of meters. -

(1)   	Interface meters

(a) 	All interface meters installed at the points of interconnection with Inter-State Transmission System (ISTS) for the purpose of electricity accounting and billing shall be owned by CTU.

(b) 	All interface meters installed at the points of interconnection with Intra-State

Transmission System excluding the system covered under sub-clause (a) above for the purpose of electricity accounting and billing shall be owned by STU.

(c) 	All interface meters installed at the points of inter connection between the two licensees excluding those covered under sub-clauses (a) and (b) above for the purpose of electricity accounting and billing shall be owned by respective licensee of each end.

(d) 	All interface meters installed at the points of inter connection for the purpose of electricity accounting and billing not covered under sub-clauses (a), (b) and (c) above shall be owned by supplier of electricity.

(2) 	Consumer meters

(a) 	Consumer meters shall generally be owned by the licensee.

(b) 	If any consumer elects to purchase a meter, the same may be purchased by him. Meter purchased by the consumer shall be tested, installed and sealed by the licensee. The consumer shall claim the meter purchased by him as his asset only after it is permanently removed from the system of the licensee.

(c) 	All consumer meters shall bear BIS mark, meet the requirements of these regulations and have additional features as approved by the Appropriate Commission or pursuant to the reforms programme of the Appropriate Government. To facilitate this, the licensee shall provide a list of makes and models of the meters.

(3) 	Energy accounting and audit meters

Energy accounting and audit meters shall be owned by the generating company or licensee, as the case may be.

Keeping in view of the above suggestion, the Clause 5.2 of the Metering Procedure is proposed to be modified as under :-

--4--

“

5.2	Ownership of Meters

(1) 	Interface meters

(a) 	All interface meters installed at the points of interconnection with Intra-State Transmission System for the purpose of electricity accounting and billing shall be owned by STU (DTL).

(c) 	All interface meters installed at the points of inter connection between the two licensees excluding those covered under sub-clauses (a) above for the purpose of electricity accounting and billing shall be owned by respective licensee of each end.

(d) 	All interface meters installed at the points of inter connection for the purpose of electricity accounting and billing not covered under sub-clauses (a) and (b) above shall be owned by supplier of electricity.

(2) 	Energy accounting and audit meters

Energy accounting and audit meters shall be owned by the generating company or licensee, as the case may be.

Following installation, the Main meters and the Check meter shall be the property of concerned licensees and respective licensees shall be responsible for the cost of their maintenance, replacement and calibration. All the meters mentioned in this clause 3.1 shall be under the joint custody of the parties.

Notwithstanding the above metering system, parties expressly agree and accept that DTL shall own the 66kV bus bars (or the 33kV bus bars in case the point of supply is at 33kV) at the 400kV or 220kV substations on which any point of supply is situated and shall be responsible for their operation and maintenance.

ii)	Clause-10.3.4 – Voltage Transformer Fusing

Chairman, GCC is of the view that the PT fuses of the meters should be replaced with MCBs with alarm.

GCC is requested to consider the suggestions and approve the document for sending the same to DERC for its approval after incorporating the above suggestions.

6	APPROVAL OF PROTECTION PLAN.

DGC clause 16.3.2 says “Relay setting coordination is being done at regional level by the NRPC, whereas provision of protections and relay settings shall be coordinated periodically throughout the State grid, as per a plan to be separately finalized by the STU.” Accordingly DTL formulated protection plan and circulated the same along with the metering procedures as mentioned above. The protection plan formulated by DTL was also discussed in the meeting held on 22.07.08 at BTPS. None of the utilities echoed anything against the protection plan.

---5---

GCC is requested to approve the same so that the same can be forwarded to DERC for its approval.

7	CONNECTIVITY ISSUES BETWEEN DISCOM AND SLDC

Chairman GCC in the first meeting had asked  the Distribution Licensees and the Generating companies for providing connectivity with SLDC to get the Real Time data for secured and economic operation of the Grid and the following data was required to be transacted on real time basis to SLDC from inter exchange points.

DERC while hearing the petition on ARR of SLDC for the year 2008-09 has ordered on 30.9.2008 to organize a meeting with all the beneficiaries to discuss various issues and the respective time schedule in respect of mutual data communication/connectivity as per requirement.  Accordingly, in a meeting convened on 21.10.2008 with all stake holders including PGCIL who is the consultant of NDMC it was decided that all data communication would be provided through ICCP server to be provided by all Discoms which would be configured at SLDC as per the protocol and the advise of RLDC/PGCIL.  It was given to understand that this would take around 5 to 6 months time.  In the mean time a sub-group was constituted to freeze out the data requirement to be transacted and its volume so that the data base availability could be ascertained before the final decision on the mode of transaction of data is taken.  On 05.11.2008, the Group met and decided to exchange the active power (MW), reactive power (MVAR) and Voltage at exchange points.  NDPL requested for circuit breaker status of all 11kV feeders emanating from 220kV Sub-Stations.  The feasibility of same shall be studied by O&M Department for compatibility of circuit breakers status.   Further discoms intimated that the data of distribution transformers is not integrated on real time basis and SLDC also indicated that the present SCADA system of SLDC was not designed for integration of 11kV system parameters.

8	GRID OPERATION (CURBING OF OVERDRAWAL UNDER LOW FREQUENCY REGIME IN VIEW OF THE CERC ORDER ON 16.10.2008 ON PETITION 155/08 SUO MOTO)

The order on suo-moto petition No. 155/08 of Hon’ble Central Electricity Regulatory Commission for implementation the grid discipline and subsequently petition filed by NRLDC for grid indiscipline in Northern Regional constituents have been forwarded to all Distribution Licensees for comments and further necessary action to avoid over drawal during low frequency regime and for furnishing the details sought by CERC in prescribed format for meeting the demand.

The main intent of the petition of NRLDC was that in spite of knowing the demand and supply gap the constituents are not making adequate arrangements to meet the gap and

---6—

depending upon grid under UI mechanism.  This attitude of the constituents cause sustained low frequency operation of the grid leading to vulnerable situation.  SLDC in its part has been intimating regularly to the licensees regarding availability and demand scenario and prompt them to make adequate arrangement for meeting the shortages.  In spite of regular back up from SLDC Distribution Licensees  are following same pattern of other states for depending upon the drawal from the grid under UI causing grave indiscipline by Delhi which is evident from the data provided in the petition of NRLDC.

All licensees are requested to make the arrangement to meet the peak demand either through banking or through bilateral arrangement through Power Exchange etc. to avoid the situation of consistent grid indiscipline and attraction of penal action by the Regulatory Commission.

Delhi Grid Code notified by DERC on 22.04.2008 also specifies the demand forecast as under :-

“23 Demand forecast

23.1	The SLDC shall set out the responsibilities for short term (one day to 52 weeks) demand estimation of active power as well as reactive power. It shall also provide for procedures as well as timelines to be followed for exchange of information between concerned entities for arriving at these estimates/forecasts:

Provided that the SLDC shall refer to the demand forecast considered by the STU while developing the transmission system plan under Regulation 9 of these Regulations.

23.2	The demand estimation shall cover the time scales as applicable for operational purposes. The time scales should be decided after giving due considerations to the requirements under other existing Regulations for furnishing demand forecast related information.

All the distribution licensees are requested to furnish the information with respect to demand estimations and plans to meet the demand for the next year by 30th September every year.  The monthly demand variation and availability be supplied by 20th of every month for the succeeding month.

Discoms however were requested by SLDC vide letter dated 08.09.2008 to furnish the anticipated demand to forecast the demand for the year 2008-09 & 2009-10.

GCC may consider the above and advise accordingly.

----7---

Sub : Agenda for the 2nd meeting of GCC

1st meeting of the GCC was held on 12.09.2008.

It is proposed to convene the 2nd meeting of GCC in the 1st week of November 2008. The agenda has been attempted and placed opposite for kind perusal please.

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

General Manager (SLDC)