|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207/10-11/DGM(SO)/287 | Dated : 19.10.2010 |

Subject  : 	Additional agenda of the 5th meeting of Grid Coordination Committee

Dear Sir, /  महोदय

This is in continuation to our letter no. F.DTL/207/09-10/DGM(SO)/269 dated 08.10.2010 regarding the subject.

Stakeholders were requested to forward any agenda for the meeting by 15.10.2010.  No such request has been received sofar.  However, additional agenda is proposed from SLDC and enclosed herewith for discussion and consideration.

As intimated earlier, the meeting is proposed to be held on 25.10.2010 at 11:00hrs at Hotel Stallions, B-14, East of Kailash, Okhla Mandi Road, New Delhi.  For any further information Sh. Sanjay Srivastav, AVP (PMG) BRPL, Tel No.  9312147045 may be contacted.

You are requested to make it convenient to attend the meeting

Thanking you,

भवदीय   /  Yours faithfully

Encl : As above

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

| 01 | Sh. A. K. Kaul, Director (Operations), Chairman, GCC. Delhi Transco Ltd, 1st floor, Shakti Sadan Building, Kotla Road, New Delhi-110002, Office-Phone- 011-23232715, Fax : 23232721 |
| --- | --- |
| 02 | Sh. Raj Bhartiya Executive Director, Shakti Deep Building, Jhandewalan, Delhi-110055 |
| 03 | Sh. Bhupender Nath, General Manager (O&M), Delhi Transco Limited, 220kV Parkstreet S/stn Building, Opp. Talkatora Stadium, Near RML Hospital, Park Street, New Delhi-1, Office Phone - 011-23366462 Fax: 011-23366160 |
| 04 | Sh. Nirmaljeet Singh General Manager (Commercial), Delhi Transco Ltd, IP Estate Bldg, New Delhi-110002 |
| 05 | Sh. Roop Kumar General Manager (SLDC), SLDC Delhi SLDC Building, 33kV Grid S/Stn Duilding, Minto Road, New Delhi-110002, Phone Office:011-23221091, Fax:011-23221069 |
| 06 | Ms. Kiran Saini Dy. General Manager (SCADA), SLDC Delhi SLDC Building, 33kV Grid S/Stn Building, Minto Road, New Delhi-110002 |

---2---

| 07 | Sh. V. K. Agrawal, General Manager (NRLDC), 18-A, SJSS Marg, New Delhi-16, Office Phone : 011-26537351, Fax: 011-26852747 |
| --- | --- |
| 08 | Sh. P.K. Ray Director(Tech), IPGCL, Himadri Building, Rajghat Power House, New Delhi-2. Office Phone : 011-23273544 Fax: 011-23270590 |
| 09 | Sh. S.C. Sharma, Advisor, BYPL Shakti Kiran Building, Karkardooma, Delhi |
| 10 | Sh. Chandermohan Vice President& Head, Network Operation, BRPL BSES Bhawan, Nehru Place, New Delhi |
| 11 | Sh. R. Pillai, HOD(PSC&AM), NDPL Shakti Nagar District Office, Nangia Park, New Delhi. Phone Office: 011- 66111401 Fax: 011- 66111406 |
| 12 | Sh. K. Sheshadri, AVP(SO), BSES SCADA Control Room, 33 kV Balaji Grid, Behind NIIT, Balaji Estate, Kalkaji, New Delhi – 110019. Office: 011- 39996549 Fax: 011- 39996551 |
| 13 | Sh. N. K. Kothari, General Manager, NTPC, Badarpur BTPS, New Delhi-44 Office Phone: 011- 26949523, Fax: 011- 26949532 |
| 14 | Col. C. Stephens, CWE, CWE (Utilities), MES, Delhi Cantt, New Delhi – 110010. Phone Office: 011- 25692364 Fax: 011- 25687850 |
| 15 | Sh. R. R. Singh Chief Engineer (Elect-I),NDMC Room No. 1701, 17th Floor, Palika Kendra, Sansad Marg, New Delhi-110001 Mobile 9818507832 |
| 16 | Sh. Anish Garg Joint Director (Eng.), DERC Viniyamak Bhawan, C-Blk, Shivalik, New Delhi-17 |
| 17 | Sh. Surender Babbar |
|  | Dy. General Manager (Finance-I), DTL, Shakti Sadan, New Delhi 110002 |
| 18 | Sh. D.N.Sondhi |
|  | Dy. General Manager (Finance-II), DTL, Shakti Sadan, New Delhi 110002 |
| 19 | Ms. Poonam Taneja |
| CC : | Dy. General Manager (Finance-III), DTL, RPH Complex, New Delhi 110002 Chief Executive Officer, Arawali Power Company Pvt. Ltd. 5th Floor, Engineering Office Complex, A-8A, Sec. 24, Noida, 201301 (U.P.)-fax no. 0120-2410361 : With request to please attend the meeting. |

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - Member Secretary, NRPC, Katwaria Sarai, New Delhi-110016

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-92

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-10

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

  - Director (Finance), DTL, Shakti Sadan, New Delhi 110002

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, 23221175, Fax 23221012, 59

ADDITIONAL AGENDA

FOR

5th MEETING OF GRID CO-ORDINATION COMMITTEE (GCC)

Time & Date of GCC meeting 	: 11.00 Hrs. on 25.10.2010

Venue : Hotel Stallions,B-14,East of Kailash, Okhla Mandi Road, New Delhi

1	ESTABLISHMENT OF LC AGAINST DEFAULT OF UI PAYMENT.

CERC notified the revised UI Regulations applicable from 03.05.2010.  As per the regulations, LC is required to be established if any payment is defaulted during the previous year.  The relevant clause of the regulation is reproduced hereunder :-

10. Schedule of Payment of Unscheduled Interchange Charges and Payment

Security

(1)	The payment of UI charges shall have a high priority and the concerned constituent shall pay the indicated amounts within 10 (ten) days of the issue of statement of Unscheduled Interchange charges including Additional Unscheduled Interchange charges by the Secretariat of the respective Regional Power Committee into the “Regional Unscheduled Interchange Pool Account Fund” of the concerned region.

(2)	If payments against the Unscheduled Interchange charges including Additional Unscheduled Interchange charges are delayed by more than two days, i.e., beyond twelve (12) days from the date of issue of the statement by the Secretariat of the respective Regional Power Committee, the defaulting constituent shall have to pay simple interest @ 0.04% for each day of delay.

(3)	All payments to the entities entitled to receive any amount on account of UI charges shall be made within 2 working days of receipt of the payments in the “Regional Unscheduled Interchange Pool Account Fund” of the concerned region.

--2—

Provided that in case of delay in the UI Payment into the respective regional UI Pool Account Fund and interest there on if any, beyond 12 days from the date of issue of the Statement of UI charges then the regional entities who have to receive UI payment or interest thereon shall be paid from the balance available if any, in the regional UI Pool Account Fund of the region. In case the balance available is not sufficient to meet the payment to the constituents, then the payment from the regional UI Pool Accounts Fund shall be made on pro rata basis from the balance available in the Fund.

Provided further that the liability to pay interest for the delay in payments to the “Regional UI Pool Account Fund” shall remain till interest is not paid; irrespective of the fact that constituents who have to receive payments have been paid from the “Regional UI pool account Fund” in part or full.

(4)	All regional entities which had at any time during the previous financial year failed to make payment of Unscheduled Interchange charges including Additional Unscheduled Interchange charges within the time specified in these regulations shall be required to open a Letter of Credit (LC) equal to 110% of its average payable weekly UI liability in the previous financial year, in favour of the concerned RLDC within a fortnight from the date these Regulations come into force.

Provided that if any regional entity fails to make payment of Unscheduled Interchange Charges including Additional Unscheduled Interchange Charges by the time specified in these regulations during the current financial year, it shall be required to open a Letter of Credit equal to 110% of weekly outstanding liability in favour of respective Regional Load Despatch Centre within a fortnight from the due date of payment.

Provided further that LC amount shall be increased to 110% of the payable weekly UI liability in any week during the year, if it exceeds the previous LC amount by more than 50%.

Illustration : If the average payable weekly UI liability of a regional entity during

2009-10 is Rs. 20 crore, the regional entity shall open LC for 22 crore

in 2010-11. If the weekly payable liability during any week in 2010-11

is Rs. 35 crore which is more than 50% of the previous financial year’s

average payable weekly liability, the concerned regional entity shall

increase the LC amount to Rs. 35 Crore by adding Rs. 13 Crore.

(5)	In case of failure to pay into the “UI Pool Account Fund” within the specified time of 12 days from the date of issue of statement of UI charges, the RLDC shall be entitled to encash the LC of the concerned constituent to the extent of the default and the concerned constituent shall recoup the LC amount within 3 days.

--3--

10. Amendment of Regulation 11 of the Principal Regulations –

Sub- clause (1) of Regulation 11 of the principal regulations shall be substituted as under, namely

“11. Application of fund collected through UI

(1)	The amount left in the UI pool account fund after final settlement of claims of Unscheduled Interchange charges of the generating station and the beneficiaries shall be transferred to a separate fund as may be specified by the Commission and shall be utilised, with the prior approval of the Commission for either or both of the following activities:

(a)	Servicing of investment for transmission schemes of strategic importance, provided that the Central Transmission Utility in consultation with a Central Electricity Authority shall identify the inter-State transmission schemes of strategic importance, not being utilised up to optimum level and seek prior approval of the Commission for servicing of capital costs during the initial years. Provided further that when utilisation of such transmission line or transmission system included in the transmission schemes of strategic importance reaches the optimum level of utilisation, the cost of such scheme shall be recovered from the users of the scheme in accordance with the methodology specified by the Commission

(b)	Providing ancillary services including but not limited to ‘load generation balancing’ during low grid frequency as identified by the Regional Load Despatch Centre, in accordance with the procedure prepared by it, to ensure grid security and safety:

(2)	The amount of fund, allocable for the purposes specified under clause (1) of this regulation, shall be decided by the Commission from time to time.”

The matter was discussed in the 7th Commercial sub-Committee meeting held on 22.09.2010.  All members except BRPL agreed and opined that the LC should be opened at Intrastate level also on same principles mentioned in the UI Regulations of CERC as a back up mechanism for UI payment.

BRPL was of the view that LC is not required to be opened as Delhi as a whole and BRPL particularly is now passing through surplus regime.   It further requested SLDC to impress upon UP, J&K etc. to open LC at regional level as they are the major defaulters.  After the detailed deliberations, Chair decided that SLDC shall issue letters to defaulting constituents for opening LCs.  As regard to opening of LC by UP, J&K etc. Discoms should raise the issue at NRPC as they are also the members of NRPC.

--4--

As per the above decisions, the details of LC requirement has been worked out by SLDC as detailed hereunder :-

Details of LC Amount requirement for 2010-11 based on default in payment during 2009-10

| Utility | Week of 2009-10 | Amount for Week in Rs | Adjustment for the previous week (s) in Rs | Total dues for the Week in Rs | Average Weekly payable in Rs | LC Amount' @ 110% of average Payable in Rs Crores |
| --- | --- | --- | --- | --- | --- | --- |
| IPGCL | 32 | 3490224 | 4202684 | 7692908 |  |  |
|  | 33 | 1205991 | 35853768 | 37059759 |  |  |
|  | 34 | -1626701 | 15418761 | 13792060 |  |  |
| Total IPGCL |  |  |  | 58544727 | 19514909 | 2.15 |
| PPCL | 33 | -2019678 | 15191338 | 13171660 | 28362998 | 3.12 |
| BYPL | 26 | 46722135 | 0 | 46722135 |  |  |
|  | 27 | 19781683 | 0 | 19781683 |  |  |
|  | 34 | -429685 | 1934271 | 1504586 |  |  |
| Total BYPL |  |  |  | 68008404 | 22669468 | 2.49 |
| BRPL | 26 | 494374 |  | 494374 |  |  |
|  | 32 | -6243312 | 9597966 | 3354654 |  |  |
|  | 33 | -2054279 | 78626947 | 76572668 |  |  |
|  | 34 | 6063036 | 20514679 | 26577715 |  |  |
| Total BRPL |  |  |  | 106999411 | 26749853 | 2.94 |

As far as, LC for defaulting states of Northern Region are concerned, this issue is figured NRPC’s Commercial Committee meeting on regular basis.  The extracts of the latest meeting i.e. 17th Commercial Sub-Committee meeting held on 14.09.2010 are as under :

“

B.6 	OPENING OF LETTER OF CREDIT (LC) AGAINST UI CHARGES

LIABILITY

SE (Commercial), NRPC informed that CERC has issued Unscheduled Interchange charges and related matters (Amendment) Regulations, 2010 vide notification no.L-1(1)/ 2009-CERC dated 28th April, 2010 implemented w.e.f. 03.05.2010. As per Regulation 10(4) of the principal Regulations all regional entities which had at any time during the previous financial year failed to make payment of unscheduled Interchange charges including Additional Unscheduled Interchange charges within the time specified in this regulation shall have to open a Letter of Credit (LC) equal to 110% of its average payable weekly UI liability in the previous financial year, in favour of the concerned RLDC within a fortnight from the date these Regulations come into force.

He further stated that the matter was also deliberated in the 16th Commercial sub committee meeting held on 14.6.2010.

--5—

Representative of NRLDC intimated that only HVPNLand NHPC had opened the L.C. Representative of UPPCL intimated that the case was with their finance Department and after its approval LC would be opened within a month time.

Representative of HPSEB Ltd. intimated that opening of LC was under process.

Representative of RVPNL intimated that only one day delay was there in last year and requested to exempt them from LC opening. Representative of NRLDC replied that the one day delay happened 5 times in last year. Thus LC had to be opened by RVPNL as per CERC Regulations.

Representative of PSPCL intimated that the outstanding UI Charges would be first be cleared and then L.C. will be opened.

Representative of BSES, Delhi expressed that the status of L.C. opening should be informed to CERC.

It was decided that the status of opening of L.C should be informed to CERC on monthly basis by NRLDC.”

GCC may deliberate and decide.

2	SCHEDULING AND DESPATCH PROCEDURES FOR UPCOMING BAWANA CCGT, RITHALA GT AND JHAJJAR TPS.

There were three meetings (on 19.08.2010, 08.09.2010 and 11.10.2010) held in SLDC under the Chairmanship of Director (Operations), DTL.  The following are gist of the discussions in the meetings :-

1	Bawana CCGT

i)	Allocation of power to beneficiaries

In the meeting held on 08.09.2010, the beneficiaries indicated that the decision of the merchant power should be taken as early as possible. It was further explained that if the decision to dispose off the merchant power was taken on later stage it would be disadvantageous to the consumers as the fixed charges of the station in initial years would be much more. Since, the decision to dispose off the merchant power has not taken yet, all Delhi beneficiaries were univocal in the refusal of the off take of the merchant power proposed to be allocated to them in case it is not disposed off outside Delhi.

--6--

Accordingly, it was decided that for scheduling and other accounting purposes the 10% of the Capacity of the Station would be treated as merchant power and hence the allocation of the station would be as under:-

| Sr. No | State |  |
| --- | --- | --- |
|  |  | Allocation of power |
|  |  | In percentage | In MW |
| 1 | Delhi |  |  |
|  | BRPL | 26.53 | 363.70 |
|  | BYPL | 16.58 | 227.33 |
|  | NDPL | 17.77 | 243.52 |
|  | NDMC | 7.3 | 100 |
|  | MES | 1.82 | 25 |
|  | Total | 70.00 | 959.56 |
| 2 | Haryana | 10 | 137.08 |
| 3 | Punjab | 10 | 137.08 |
| 4 | Merchant Power | 10 | 137.08 |
|  | Total | 100 | 1370.80 |

ii)	Demarcation of responsibility of Scheduling of Bawana Power

In the meeting held on 08.09.2010, it was decided to approach NRLDC for carrying out real time scheduling activities in view of fact that Punjab and Haryana are having share in the project. Accordingly, NRLDC was approached to schedule the power.  NRLDC vide its letter dated 23.09.2010 indicated that real time scheduling of Bawana comes under the purview of SLDC Delhi as the state is having 70% share in the project, as per the IEGC 2010. In view of the stand taken by NRLDC, Delhi SLDC would be carrying out real time scheduling and energy accounting activities. The details of the scheduling activities already finalized in the meeting held on 19.08.2010 are  reiterated hereunder:-

Scheduling Procedure

The process of scheduling of Bawana CCGT is as under :

Process for Scheduling (for succeeding day)

By 09:00 Hrs -	Bawana CCGT shall advise Delhi SLDC MW and MWh

capabilities of the station as per IEGC provisions.

By 10:00 Hrs - 	Delhi SLDC shall post entitlement of the beneficiaries from

Bawana in the Delhi SLDC’s website www.delhisldc.org

By 13:00 Hrs - 	Beneficiaries shall intimate Delhi SLDC the requirement of

power from Bawana CCGT in terms of MW and MWh in 15 minutes time block.

By 15:00 Hrs -	SLDC shall assess the requirement of power from all beneficiaries and intimate the same to Bawana CCGT through website.

--7--

While computing Generation Schedule, Delhi SLDC shall take care the minimum requirement to run the units of the station.  As per the decision taken in the meeting held on 08.09.2010, if the requisitions from the station by beneficiaries is less than 75%, the unit shall be closed down as to maintain the environmental stipulations the station units cannot be operated below 75% capacity as stipulated by the OEM. The intraday revision of scheduling is also permissible as per IEGC provisions.

Delhi SLDC shall inform NRLDC and NRPC depending upon the day to day operations of the Bawana CCGT and indicate the transactions of Bawana CCGT to Haryana and Punjab according to the allocation on weekly basis to incorporate the same in the Weekly UI Accounts to be issued by NRPC. As per the IEGC stipulations, the scheduled drawal of Punjab and Haryana at Bawana CCGT Bus would be intimated to NRLDC on real time basis and NRPC by Tuesday evening for the entire week of Monday to Sunday for incorporating the same for drawing out state drawal schedule for UI Accounts.

SLDC, Delhi requested to NRPC to apply the frequency correction as per existing practice to other Gas Stations so that the UI Accounts at Regional level may not be delayed as at present UI Bills preparations at Intra State Level is Lagging behind of 10 weeks. It was also clarified that even at RLDC level also the data provided to NRPC for UI Accounts preparations does not contain the frequency corrections.

NRPC representative expressed its inability to incorporate the frequency correction in the drawal schedule of Punjab and Haryana as the data is not coming through NRLDC. Delhi SLDC was of the view that NRPC should treat Delhi SLDC in same way as that of RLDC. All Delhi beneficiaries also supported the views of Delhi SLDC, they were of the view that as per the Electricity Act-2003, the Energy Accounting is the responsibilities of RLDCs and SLDCs, the responsibility of Energy Accounting is entrusted to RPCs in a consensual approach. It was made by Delhi SLDC that in case NRPC does not apply the frequency correction the Drawal Schedule would be changed as and when the frequency data is made available to SLDC and corrected drawal schedules are issued by Delhi SLDC at later stage. In such scenario NRPC has to revise the Regional the UI accounts and the entire accounting system would be disturbed. The NRPC representative advised Delhi SLDC to put up the matter to Regional Commercial Sub-Committee for appropriate decision. Delhi SLDC was of the view that no such decision has been taken for carrying out of UI Accounts of Anta, Auriya and Dadri Gas stations of NTPC and hence it is felt that there is no need to approach Regional Commercial Sub-Committee.

--8--

SLDC further indicated that Monthly Energy Accounting including Plant Availability, Plant Load Factor, Scheduled Energy from the station to different utilities shall be drawn out provisionally by 6th day of every month for the previous month.  Final Accounts shall be issued after the entire months’ SEM data is made available to SLDC

Open Cycle certification would be done by Delhi SLDC on quarterly basis after the entire Quarter’s SEM data is made available to SLDC.

It was decided that the Chair would be take up the matter with Member Secretary  NRPC  for resolving the issue of frequency correction application in the drawal schedule of Punjab and Haryana from Bawana CCGT.

iii)	Metering Issues

According to the amended regulations notified by CEA, the metering system of Bawana CCGT would be as under

| S.No. | Element | Meter status | Installation responsibility |
| --- | --- | --- | --- |
| 1 | 400/220kV 315MVA ICT-I | 400kV side Main meter | At 220kV side stand by meters. | DTL |
| 2 | 400/220kV 315MVA ICT-II | -do- | -do- | DTL |
| 3 | 400/220kV 315MVA ICT-III | -do- | -do- | DTL |
| 4 | 400/220kV 315MVA ICT-IV | -do- | -do- | DTL |
| 5 | 400kV Bahadurgarh | Main and check meter at Bawana and standby meter at Bahadurgarh | Already covered under Regional Energy Accounting system | PGCIL |
| 6 | 400kV Hissar | Main and check meter at Bawana and standby meter at Hissar | -do- | PGCIL |
| 7 | Inter connector-I from Bawana, DTL | Main and check meter at Bawana CCGT | Stand by meter at Bawana, DTL | PGCIL |
| 8 | Inter connector-I from Bawana, DTL | Main and check meter at Bawana CCGT | Stand by meter at Bawana, DTL | PGCIL |
| 9 | GT-I 400/16.5kV | At 400kV Standby meter | Since, at Bawana CCGT the Aux. Tr. is not connected at 400kV there is no need to install meters on High voltage side of Aux. Trs. The aux. needs of the G.Ts. are met through 16.5kV Voltage | DTL |
| 10 | GT-II 400/16.5kV |  |  |  |
| 11 | GT-III 400/16.5kV |  |  |  |
| 12 | GT-IV 400/16.5kV |  |  |  |
| 13 | STG-I 400/16.5kV |  |  |  |
| 14 | STG-II 400/16.5kV |  |  |  |

--9--

iv)	Telemetry issues

PPCL requested Delhi SLDC to carry out the data integration work on their behalf. Accordingly SCADA engineers of SLDC Delhi visited the site. It was explained that there is no provision of fiber connectivity between Bawana CCGT and Bawana DTL S/Stn. Only PLCC link is available at present. PLCC system is not effective for short distance as Bawana CCGT and 400kV Bawana DTL S/stn is electrically at same point. For efficient data integration fiber optic is required to be laid between Bawana CCGT and 400kV Bawana DTL S/stn and inter-acting facilities should be provided at 400kV Bawana control room of DTL. The cost estimation would be worked out by Delhi SLDC within a week and provided to PPCL. PPCL undertook that the payment would be released at the earliest so that the process of the establishment of data connectivity of Bawana CCGT with Delhi SLDC can be established. It would take three months to establish the regular data communication from Bawana CCGT to SLDC.  By the time the attempt would be made to establish data communication link through Microwave Link, though the efficiency and reliability would be much less then OFC.

v)	Other Issues

Transmission Losses

As far as the system losses is concerned for Delhi Discoms only Intrastate Losses would be applicable while drawing out drawal schedules of discoms from Bawana CCGT. For other utilities the pooled losses applicable for regional system as per the relevant CERC regulations shall prevail.

2	Rithala GT Station (108MW) to be commissioned in NDPL area.

Rithala G.T. Station has already started generation.  The first unit of the station was synchronized on 03.10.2010 at 18:15hrs.  From 04.10.2010, the unit has been continuously generating.  The station has been established by the generating wing of NDPL. The entire output of the station is dedicated to NDPL. NDPL requested Delhi SLDC to carry out the scheduling and the Energy Accounting activities of Rithala G.T. Station. SLDC Delhi was of the view that, since the power is being generated and consumed by the same distribution company, the scheduling and dispatch of the electricity from the station should be responsibility of the concerned Discom.  However, on the request of NDPL, the representative of SLDC and NDPL visited Maharashtra SLDC and Gujarat SLDC to understand the scheduling and dispatch of power from the generating stations established by the Distribution Company in those states.  The scheduling procedures adopted in such cases are explained hereunder :-

--10--

The scheduling procedures adopted in Gujarat

Gujarat having a Ahmadabad Electricity Company (AECO) as generating company which generates 500MW and consumed by its own Discom.  Scheduling this generator is not done by SLDC Gujarat.

AECO itself is one Discom and it consumes entire 500MW of its own generation.  SLDC is only monitoring generation data of AECO generation plant but scheduling is not done by Gujarat SLDC.

The telemetry connectivity has already been established for monitoring the generation of the station by AECO and SLDC Gujarat co-ordinates with them and guide for any trouble shooting if required.

Torrent has another power plant of the installed capacity 1147.5MW and ex bus availability is 1120MW. The plant’s allocation is as under :-.

Sr. No. 	Discom		Capacity Allocation

- AECO			: 468.5MW

- SECO			: 468.5MW

- TORRENT SEZ		: 15MW

- Rest through 		: STOA

Torrant power supplies power to two Discoms.  This power is scheduled by SLDC, Gujarat.  This Plant is under UI Mechanism as per ABT Intrastate regulation as it supplies power to more than one Discom and scheduling is done by SLDC.

The scheduling procedures adopted in Maharashtra

Mumbai is having two generating companies i.e. Tata Power and Reliance Energy Power Ltd. Reliance (G) is a generating company registered under Company’s Act.  It is having installed capacity 500MW at Dhanu and its entire power is allocated to Reliance infra Distribution Company as a separate entity registered as a Distribution Company.  Maharashtra SLDC is scheduling power for the generator of Reliance Generating Company and Distribution company of Reliance.  Since, both companies are distinct and power purchase agreements exist, the scheduling is done by SLDC.

Tata Power is a generating company having 1774 MW of install capacity as under

Trambay (Th.) 500 x 2	= 	1000MW

Hydro (Gen) 			= 	444MW

Trambay (G) 			= 	180MW

Trambay Unit 8 		= 	250MW out of this 100MW is

merchant power.

This power i.e. 1774MW is allocated to three discoms as under.

BEST 				= 	900MW

TATA (D) 			=	527MW

Reliance (D) 			=	347MW

---11---

Since, Tata Power Generating Company’s generating output is allocated to more than one Discom, the scheduling is done by SLDC Maharashtra.

In addition to the above, about 50MW wind power or renewable energy capacity is also available with Discoms but is also not scheduled by Maharashtra SLDC as the entire output is consumed by the concerned Discoms.  If the same power is traded through SOTA, then scheduling is done by Maharashtra SLDC. At present, the generators are not covered under UI Mechanism in Maharastra. The energy balancing and settlement for Maharashtra Discoms, is done on monthly basis through the system called a ‘marginal price basis’ which is also done by Maharastra SLDC.  The energy underdrawal by TPC-D, Infra-D, BEST and MSEDCL which are the Distribution Companies operating in Maharashtra State, get adjusted with over drawing Discoms.  The average purchase cost of under drawing Discoms get adjusted to over drawing discoms taking average purchase cost of under drawing discoms so that the pool account remains zero. The RLDC UI of Maharashtra State gets adjusted with MSEDCL a State owned Distribution company as the all Central Sector generation is allocated to MSEDCL only.

Considering the above scheduling procedures adopted at Gujarat and Maharashtra, members were of the view that since the entire generation of Rithala GT Station is dedicated to NDPL, the scheduling should be done by concerned Area Load Despatch Center of the Distribution Licensee i.e. NDPL as there is no separate company has been registered for generation for Rithala, only a separate wing of a Distribution Company is dealing the generation.

It was decided accordingly.

a)	Connectivity of the Station with the Grid.

In the last meeting, it was indicated that NDPL has to provide data connectivity on RS101 Protocol at Rohini 220kV Gris S/Stn so that DTL / SLDC can integrate the generation data to SLDC’s real time SCADA system.  NDPL indicated that at present, the data is provided in Web Description Language files (WSDL files) which has already been integrated in the SCADA at SLDC though the data updation is done in five minutes intervals.  Since, the scheduling responsibility is with NDPL, it requested to continue with the existing mode of data transfer to SLDC as the real time transfer of data through ICCP server is already under process to avoid additional incurring of expenses in providing data through RS101 Protocol for the interregnum.  SLDC indicated that it is statutorily obliged to provide the data to CEA for the daily monitoring of generating stations by CEA for entire country, the details of the trippings, generation, auxiliary consumption etc. are required on daily basis for which NDPL agreed to provide the data alongwith daily reports already being mailed to SLDC.

It was decided to accept the proposal of NDPL.

---12---

3	Scheduling of Jhajjar Plant of Aravali Power Company Pvt. Ltd.

One Unit of Jhajjar Power Plant was synchronized at 23.28hrs. on 10.10.2010.  According to SLDC, the scheduling responsibility as per IEGC-2010 version is of NRLDC.  It reiterated the Clause-6.4.2(iii)

(iii) 	If a generating station is connected both to ISTS and the State network, scheduling and other functions performed by the system operator of a control area will be done by SLDC,, only .if state has more than 50% Share of power, the role of concerned RLDC, in such a case, shall be limited to consideration of the schedule for inter state exchange of power on account of this ISGS while determining the net drawal schedules of the respective states. If the State has a Share of 50% or less, the scheduling and other functions shall be performed by RLDC.

NRLDC representative reiterated the stand taken by G.M., NRLDC in his communication to APCPL dated 30.09.2010 in which certain queries raised.  Without obtaining the satisfactory reply to the queries, NRLDC can not commit on the taking the responsibility of the Station.  The main queries are

- The anticipated time duration for which this temporary arrangement is likely to continue and the settlement of infirm power injected under this configuration

(At present the Jhajjar Power Station is connected with 400kV Bhiwadi Sub-Station using portion of 400kV Bhiwadi – Moga Line and keeping the other portion of 400kV Moga – Bhiwadi Line idle charged from Moga.  This temporarily arrangement has been agreed due to the non completion of evacuation system i.e. dedicated 400kV Jhajjar – Mundka double circuit line by DTL and 400kV Jhajjar – Daulatabad double circuit by HVPNL).

ii)	Treatment of IGSTPP for the purposes of scheduling, operation, metering, energy accounting, settlement of deviations and other related aspects after restoration of the network configuration to the form as planned.

iii) 	The views of SLDC Haryana regarding the treatment of variation of drawal by Haryana State due the generation of Jhajjar.

NRLDC is also of the view that more discussion is required on the issue that whether Jhajjar would be regional or state control area entity.  According to NRLDC perspective, the scheduling of Jhajjar should be the responsibility of SLDC as the evacuation system is planned through the state network namely

---13---

400kV Jhajjar – Mundka double circuit of DTL and 400kV Jhajjar – Daulata Bad double circuit of HVPNL.  Section 6.4.2(ii) of IEGC-2010 version has been taken as a base for advancing the position.  For clarity, the section is reproduced hereunder:-

6.4.2	The following generating stations shall come under the respective Regional ISTS control area and hence the respective RLDC shall coordinate the scheduling of the following generating stations :

a)     	Central Generating Stations (excluding stations where full Share is allocated to host state),

b)	Ultra-Mega power projects

c)	In other cases, the control area shall be decided on the following criteria:

- If a generating station is connected only to the ISTS, RLDC shall coordinate the scheduling, except for Central Generating Stations where full Share is allocated to one State.

- If a generating station is connected only to the State transmission network, the SLDC shall coordinate scheduling, except for the case as at (a) above.

SLDC Delhi still emphasized that the scheduling responsibility should be taken by RLDC as per the Section 6.4.2(iii) of IEGC-2010 as Delhi and Haryana have 50% share each in the Station.  All other members including the representative of Aravali Power Company Pvt Ltd supported the views of Delhi SLDC.

SLDC requested the Chair to take up the matter with G.M. NRLDC on the issue of scheduling responsibility of the station as one unit of the station has already started generation.  During the course of the meeting, Chair talked to G.M, NRLDC and latter requested for earlier reply to the queries raised by him in the above referred letter so that the decision can be taken in this regard.

With regard to telemetry issue, the representative of Aravali Company indicated that since Jhajjar is an ISGS, the telemetry responsibility lies with PGCIL.  It was also assured by the representative that all possible help shall be extended to PGCIL to establish the telemetry for data integration with NRLDC for overall interest of the Grid operation.

Aravali Power Company Pvt. Ltd was advised to clarify the queries of NRLDC immediately and to register the company with NRLDC as per the provisions of the Central Electricity Regulatory Commission (Fees and Charges of Regional Load

--14--

Despatch Centers and other related matters) Regulations-2009 notified on 18.09.2009

It was also requested that the telemetry issue should also be get resolved before the commercial operation of the unit as this is very important for the Load Despatchers for economic and efficient dispatcher of electricity of the station.

NRLDC, Aravali Power Company and Bawana CCGT may update the status.