## NDPL
DELHI TRANSCO LIMITED | [15 empty] | February-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969606 | 971410 | -1804 | 1804000 | 1.804 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7472 | 6038 | 1434 | -1434000 | -1.434 | 173 | 172 | 1 | -1000 | -0.001
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974950 | 977586 | -2636 | 2636000 | 2.636 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999248 | 999671 | -423 | 423000 | 0.423 | 999987 | 999987 | 0 | 0 | 0
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 707 | 550 | 157 | -157000 | -0.157 | 0 | 0 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23357 | 23173 | 184 | -184000 | -0.184 | 17857 | 17857 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999958 | 999887 | 71 | -71000 | -0.071 | 999997 | 999997 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13026 | 13197 | -171 | 213750 | 0.21375 | 993244 | 993244 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996953 | 997964 | -1011 | 1011000 | 1.011 | 982506 | 982506 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000008 | 999824 | 184 | -184000 | -0.184 | 0 | 0 | 0 | 0 | 0
11 | Tx.-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 694 | 176 | 518 | -518000 | -0.518 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/01/2016
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981495 | 982534 | -1039 | 1039000 | 1.039 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974465 | 978758 | -4293 | -4293000 | -4.293 | 999999 | 999999 | 0 | 0 | 0
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983505 | 983981 | -476 | 476000 | 0.476 | 16835 | 16835 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4898 | 4338 | 560 | -560000 | -0.56 | 20178 | 20178 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10845 | 9862 | 983 | -983000 | -0.983 | 0 | 0 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 109 | 123 | -14 | -2800 | -0.0028 | 980809 | 981308 | -499 | -99800 | -0.0998
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 778 | 782 | -4 | -4000 | -0.004 | 28858 | 28923 | -65 | -65000 | -0.065
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6034 | 5993 | 41 | 4100 | 0.0041 | 169094 | 167700 | 1394 | 139400 | 0.1394
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 41249 | 41160 | 89 | 8900 | 0.0089 | 250919 | 249657 | 1262 | 126200 | 0.1262
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 999074 | 999521 | -447 | -447000 | -0.447
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 4537 | 4783 | -246 | -246000 | -0.246
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 999911 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0
[10 empty] | -0.078 |  |  |  |  | 0 | Assessment
|  | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 999088 | 1000000 | -912 | -91200 | -0.0912 | 0 | 0 | 0 | 0 | 0 | w.e.f 12/02/2016
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 629404 | 632566 | -3162 | -3162000 | -3.162 | 830233 | 830233 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 5457 | 5532 | -75 | -30000 | -0.03 | 999007 | 999007 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5302 | 5136 | 166 | 83000 | 0.083 | 3391 | 3391 | 0 | 0 | 0
KANJAWALA
29 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24651 | 23410 | 1241 | -1241000 | -1.241 | 980930 | 980930 | 0 | 0 | 0
30 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11040 | 9306 | 1734 | -1734000 | -1.734 | 996752 | 996752 | 0 | 0 | 0
31 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997022 | 1000000 | -2978 | 2978000 | 2.978 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 08/01/2016
BAWANA
32 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3500 | 2588 | 912 | -912000 | -0.912 | 999997 | 999997 | 0 | 0 | 0
DSIDC BAWANA
33 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8074 | 3451 | 4623 | -4623000 | -4.623 | 999999 | 999999 | 0 | 0 | 0
34 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6835 | 6082 | 753 | -753000 | -0.753 | 998827 | 998827 | 0 | 0 | 0
35 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13466 | 11296 | 2170 | -2170000 | -2.17 | 1503 | 1503 | 0 | 0 | 0
ROHINI-II
36 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5264 | 5127 | 137 | -137000 | -0.137 | 998683 | 998683 | 0 | 0 | 0
37 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3750 | 3302 | 448 | -448000 | -0.448 | 999996 | 999996 | 0 | 0 | 0
WAZIRPUR
38 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993543 | 993603 | -60 | 60000 | 0.06 | 999493 | 999493 | 0 | 0 | 0
39 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8421 | 7789 | 632 | -632000 | -0.632 | 999992 | 999992 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
40 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2074 | 2080 | -6 | -6000 | -0.006 | 24800 | 24761 | 39 | 39000 | 0.039
41 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150 | 156 | -6 | -6000 | -0.006 | 999417 | 999633 | -216 | -216000 | -0.216
| NDPL(+) continue | [14 empty] | February-2016
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
43 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 177938 | 177022 | 916 | 114500 | 0.1145 | 261553 | 261484 | 69 | 8625 | 0.008625
VISHAL
44 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9241 | 9304 | -63 | -6300 | -0.0063 | 32281 | 32296 | -15 | -1500 | -0.0015
45 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11389 | 11557 | -168 | -16800 | -0.0168 | 64410 | 64558 | -148 | -14800 | -0.0148
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 439 | 233 | 206 | 20600 | 0.0206 | 744 | 498 | 246 | 24600 | 0.0246
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 10536 | 9922 | 614 | 61400 | 0.0614 | 6328 | 6324 | 4 | 400 | 0.0004
48 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16249 | 16468 | -219 | -21900 | -0.0219 | 21218 | 21215 | 3 | 300 | 0.0003
53 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 991510 | 992704 | -1194 | -53061.36 | -0.053061 | 773 | 774 | -1 | -44.44 | -4.444e-05
B.G.ROAD
54 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5434 | 5445 | -11 | -5500 | -0.0055 | 33321 | 33224 | 97 | 48500 | 0.0485
55 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999897 | 999921 | -24 | -12000 | -0.012 | 167 | 175 | -8 | -4000 | -0.004
56 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 7015 | 7015 | 0 | 0 | 0 | 14988 | 14988 | 0 | 0 | 0
[10 empty] | 0.029 |  |  |  |  | 0 | Assessment
57 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2370 | 2319 | 51 | 34000 | 0.034 | 1084 | 1084 | 0 | 0 | 0
D.M.S.
58 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998385 | 998415 | -30 | -3000 | -0.003 | 26 | 27 | -1 | -100 | -0.0001
59 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999774 | 999800 | -26 | -2600 | -0.0026 | 999986 | 999986 | 0 | 0 | 0
60 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23393 | 23724 | -331 | -33100 | -0.0331 | 57243 | 57211 | 32 | 3200 | 0.0032
61 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999785 | 999807 | -22 | -2200 | -0.0022 | 999990 | 999991 | -1 | -100 | -0.0001
63 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
64 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1871 | 1836 | 35 | 3500 | 0.0035 | 1895 | 1356 | 539 | 53900 | 0.0539
65 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 26385 | 25741 | 644 | 64400 | 0.0644 | 66470 | 66469 | 1 | 100 | 0.0001
| MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3934 | 3311 | 623 | 62300 | 0.0623 | 64 | 62 | 2 | 200 | 0.0002
66 | KASHMIRI GATE
67 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 181496 | 178986 | 2510 | 251000 | 0.251 | 20593 | 20593 | 0 | 0 | 0
68 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24307 | 24209 | 98 | 9800 | 0.0098 | 47850 | 47849 | 1 | 100 | 0.0001
69 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
70 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
71 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999922 | 999922 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
72 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 973563 | 974315 | -752 | -601600 | -0.6016 | 254 | 254 | 0 | 0 | 0
73 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2042 | 2009 | 33 | 66000 | 0.066 | 30 | 30 | 0 | 0 | 0
PEERAGARHI
74 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999889 | 1000311 | -422 | -42200 | -0.0422 | 176 | 175 | 1 | 100 | 0.0001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -13.761 |  |  |  |  | -0.64972
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | February-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 22990 | 22695 | 295 | -29500 | -0.0295 | 21666 | 21665 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13878 | 13906 | -28 | 28000 | 0.028 | 7863 | 7863 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11000 | 10278 | 722 | -144400 | -0.1444 | 21483 | 21483 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85924 | 85906 | 18 | -18000 | -0.018 | 120117 | 120117 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 8328 | 8578 | -250 | 25000 | 0.025 | 61313 | 61313 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 996169 | 998823 | -2654 | 2123200 | 2.1232 | 999999 | 999999 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.9843 |  |  |  |  | -0.0001
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -13.761 |  |  |  |  | -0.64972
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.9843 |  |  |  |  | -0.0001
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.2002 |  |  |  |  | 0.056328
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -10.5766 |  |  |  |  | -0.59349
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.5766 | (REACTIVE MUs) |  |  |  | -0.59349 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.4146 | (REACTIVE MUs) |  |  |  | -2.9419 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.162 | (REACTIVE MUs) |  |  |  | -3.5354 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | February-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 5346 | 6280 | -934 | -93400 | -0.0934 | 1000235 | 999989 | 246 | 24600 | 0.0246
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 2981 | 2887 | 94 | 28200 | 0.0282 | 839 | 144 | 695 | 208500 | 0.2085
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 18079 | 17443 | 636 | 63600 | 0.0636 | 34369 | 33097 | 1272 | 127200 | 0.1272
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999679 | 999881 | -202 | -60600 | -0.0606 | 5354 | 5361 | -7 | -2100 | -0.0021
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1619 | 1627 | -8 | -10666.4 | -0.010666 | 2743 | 2710 | 33 | 43998.9 | 0.043999
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33737 | 34085 | -348 | -34800 | -0.0348 | 172772 | 172658 | 114 | 11400 | 0.0114
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 18005 | 18847 | -842 | -84200 | -0.0842 | 87 | 256 | -169 | -16900 | -0.0169
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989538 | 989820 | -282 | -282000 | -0.282 | 1680 | 1680 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997676 | 997729 | -53 | -53000 | -0.053 | 2879 | 2878 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 546 | 389 | 157 | 157000 | 0.157 | 1299 | 1299 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997301 | 997067 | 234 | 234000 | 0.234 | 2126 | 2126 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995662 | 996106 | -444 | -444000 | -0.444 | 4872 | 4872 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998802 | 999171 | -369 | -369000 | -0.369 | 999531 | 999531 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999277 | 999285 | -8 | -8000 | -0.008 | 17370 | 17370 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 363 | 419 | -56 | -56000 | -0.056 | 38810 | 38810 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999717 | 999864 | -147 | -147000 | -0.147 | 28365 | 28365 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1431 | 1461 | -30 | -30000 | -0.03 | 9503 | 9503 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11803 | 11699 | 104 | 10400 | 0.0104 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998204 | 998215 | -11 | -11000 | -0.011 | 15142 | 15142 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 978333 | 981128 | -2795 | -3843125 | -3.8431
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 691068 | 695287 | -4219 | -4640900 | -4.6409
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981275 | 981635 | -360 | -360000 | -0.36 | 8327 | 8329 | -2 | -2000 | -0.002
| KASHMIRI GATE | [8 empty] | -1.3586 |  |  |  |  | -8.485
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951524 | 952562 | -1038 | 1038000 | 1.038 | 945635 | 945635 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960585 | 961250 | -665 | 665000 | 0.665 | 955082 | 955082 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 838 | 826 | 12 | 12000 | 0.012 | 6601 | 6083 | 518 | 518000 | 0.518
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69065 | 65266 | 3799 | -3799000 | -3.799 | 974952 | 974952 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51682 | 49460 | 2222 | -2222000 | -2.222 | 970415 | 970434 | -19 | 19000 | 0.019
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994572 | 995123 | -551 | 551000 | 0.551 | 994608 | 994609 | -1 | 1000 | 0.001
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997722 | 998223 | -501 | 501000 | 0.501 | 999549 | 999549 | 0 | 0 | 0
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4613 | 4108 | 505 | -1010000 | -1.01 | 999597 | 999597 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999393 | 999206 | 187 | -374000 | -0.374 | 999932 | 999932 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999471 | 999097 | 374 | -374000 | -0.374 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11000 | 10278 | 722 | 144400 | 0.1444 | 21483 | 21483 | 0 | 0 | 0
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85924 | 85906 | 18 | 18000 | 0.018 | 120117 | 120117 | 0 | 0 | 0
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94788 | 95246 | -458 | -45800 | -0.0458 | 1061 | 1061 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150112 | 150785 | -673 | -67300 | -0.0673 | 17518 | 17518 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -6.5132 |  |  |  |  | -7.5503
| (A) NET ENERGY TO CENTRAL | [8 empty] | -6.5132 |  |  |  |  | -7.5503
February-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981402 | 981406 | -4 | 4000 | 0.004 | 895601 | 895821 | -220 | 220000 | 0.22
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5521 | 5404 | 117 | -117000 | -0.117 | 916281 | 916525 | -244 | 244000 | 0.244
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980346 | 980536 | -190 | 190000 | 0.19 | 961058 | 961280 | -222 | 222000 | 0.222
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996265 | 995713 | 552 | -1104000 | -1.104 | 984122 | 984124 | -2 | 4000 | 0.004
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996112 | 995437 | 675 | -675000 | -0.675 | 999869 | 999876 | -7 | 7000 | 0.007
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993720 | 993332 | 388 | -388000 | -0.388 | 999606 | 999606 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8383 | 7853 | 530 | -530000 | -0.53 | 984095 | 984095 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998138 | 998623 | -485 | 485000 | 0.485 | 999569 | 999569 | 0 | 0 | 0 | Till 22/02
|  | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997538 | 997585 | -47 | 47000 | 0.047 | 970146 | 970146 | 0 | 0 | 0 | Check Meter Data
10 | 100MVA Tx.4 (33 KV) | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987273 | 987819 | -546 | 546000 | 0.546 | 938363 | 938363 | 0 | 0 | 0 | Check Meter Data
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980141 | 980141 | 0 | 0 | 0 | 973502 | 973502 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959320 | 958732 | 588 | -588000 | -0.588 | 847502 | 848747 | -1245 | 1245000 | 1.245
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14343 | 13698 | 645 | -645000 | -0.645 | 34566 | 34566 | 0 | 0 | 0
14 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21552 | 20940 | 612 | -612000 | -0.612 | 44358 | 44358 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18916 | 18397 | 519 | -519000 | -0.519 | 994313 | 994313 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -3.906 |  |  |  |  | 1.942
| (B) NET ENERGY TO EAST | [8 empty] | -3.906 |  |  |  |  | 1.942
February-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 5457 | 5532 | -75 | 30000 | 0.03 | 999007 | 999007 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5302 | 5136 | 166 | -83000 | -0.083 | 3391 | 3391 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 53782 | 53520 | 262 | -52400 | -0.0524 | 81611 | 81611 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72843 | 73191 | -348 | 34800 | 0.0348 | 139943 | 139943 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976985 | 977256 | -271 | 54200 | 0.0542 | 997259 | 997259 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 84112 | 83212 | 900 | -180000 | -0.18 | 102355 | 102355 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14407 | 13942 | 465 | -372000 | -0.372 | 7150 | 7150 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14105 | 14104 | 1 | -2000 | -0.002 | 2927 | 2927 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 978254 | 978910 | -656 | 524800 | 0.5248 | 989706 | 989706 | 0 | 0 | 0
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 971535 | 972968 | -1433 | 1146400 | 1.1464 | 983783 | 983783 | 0 | 0 | 0 | Data till 22/02,
[10 empty] | 0.37 |  |  |  |  | 0 | Assessment
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 983051 | 983881 | -830 | 664000 | 0.664 | 992934 | 992934 | 0 | 0 | 0 | Check Meter Data
|  | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 999604 | 1000000 | -396 | 316800 | 0.3168 | 999999 | 1000000 | -1 | 800 | 0.0008 | W.E.f 18/02/2016
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985168 | 985952 | -784 | 784000 | 0.784 | 994524 | 994524 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984813 | 985804 | -991 | 991000 | 0.991 | 35162 | 35170 | -8 | 8000 | 0.008
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2074 | 2080 | -6 | 6000 | 0.006 | 24800 | 24761 | 39 | -39000 | -0.039
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150 | 156 | -6 | 6000 | 0.006 | 999417 | 999633 | -216 | 216000 | 0.216
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5434 | 5445 | -11 | 5500 | 0.0055 | 33321 | 33224 | 97 | -48500 | -0.0485
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999897 | 999921 | -24 | 12000 | 0.012 | 167 | 175 | -8 | 4000 | 0.004
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 7015 | 7015 | 0 | 0 | 0 | 14988 | 14988 | 0 | 0 | 0
[10 empty] | -0.029 |  |  |  |  | 0 | Assessment
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2370 | 2319 | 51 | -34000 | -0.034 | 1084 | 1084 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 181496 | 178986 | 2510 | -251000 | -0.251 | 20593 | 20593 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24307 | 24209 | 98 | -9800 | -0.0098 | 47850 | 47849 | 1 | -100 | -0.0001
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998385 | 998415 | -30 | 3000 | 0.003 | 26 | 27 | -1 | 100 | 0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999774 | 999800 | -26 | 2600 | 0.0026 | 999986 | 999986 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23393 | 23724 | -331 | 33100 | 0.0331 | 57243 | 57211 | 32 | -3200 | -0.0032
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999785 | 999807 | -22 | 2200 | 0.0022 | 999990 | 999991 | -1 | 100 | 0.0001
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1871 | 1836 | 35 | -3500 | -0.0035 | 1895 | 1356 | 539 | -53900 | -0.0539
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 26385 | 25741 | 644 | -64400 | -0.0644 | 66470 | 66469 | 1 | -100 | -0.0001
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3934 | 3311 | 623 | -62300 | -0.0623 | 64 | 62 | 2 | -200 | -0.0002
[10 empty] | 3.843 |  |  |  |  | 0.084
February-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -6.5132 |  |  |  |  | -7.5503
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.843 |  |  |  |  | 0.084
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.4291 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.0992 |  |  |  |  | -7.4663
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -3.906 |  |  |  |  | 1.942
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -8.0052 |  |  |  |  | -5.5243
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.0052 | (REACTIVE MUs) |  |  |  | -5.5243 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.28981 | (REACTIVE MUs) |  |  |  | -2.0565 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.7154 | (REACTIVE MUs) |  |  |  | -7.5808 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | February-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999729 | 999750 | -21 | -105000 | -0.105 | 999877 | 999912 | -35 | -175000 | -0.175
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984261 | 984337 | -76 | -101333.08 | -0.10133 | 673035 | 673108 | -73 | -97333.09 | -0.097333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10016 | 10030 | -14 | -70000 | -0.07 | 71125 | 71142 | -17 | -85000 | -0.085
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14865 | 14910 | -45 | -45000 | -0.045 | 167 | 190 | -23 | -23000 | -0.023
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 9729 | 9795 | -66 | -6600 | -0.0066 | 348 | 416 | -68 | -6800 | -0.0068
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 704178 | 707654 | -3476 | -260700 | -0.2607 | 27094 | 27974 | -880 | -66000 | -0.066
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 990300 | 990897 | -597 | -44775 | -0.044775 | 999121 | 999605 | -484 | -36300 | -0.0363
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997528 | 997666 | -138 | -124200 | -0.1242 | 998564 | 998688 | -124 | -111600 | -0.1116
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2378 | 355 | 2023 | -1011500 | -1.0115 | 994666 | 994675 | -9 | 4500 | 0.0045
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988154 | 987827 | 327 | -327000 | -0.327 | 948088 | 948088 | 0 | 0 | 0
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995933 | 995605 | 328 | -328000 | -0.328 | 996157 | 996168 | -11 | 11000 | 0.011
13 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992412 | 992412 | 0 | 0 | 0 | 75418 | 75712 | -294 | 294000 | 0.294 | Check meter Data
|  | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 287 | 0 | 287 | -287000 | -0.287 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 03/02/2016
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998903 | 1000000 | -1097 | 1097000 | 1.097 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/02/2016
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981176 | 980546 | 630 | -630000 | -0.63 | 969967 | 969967 | 0 | 0 | 0
16 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49696 | 47103 | 2593 | -2593000 | -2.593 | 983893 | 983893 | 0 | 0 | 0
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36479 | 36306 | 173 | -173000 | -0.173 | 992400 | 992400 | 0 | 0 | 0
| Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999903 | 999609 | 294 | -294000 | -0.294 | 999999 | 999997 | 2 | -2000 | -0.002
NAJAFGARH
18 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 1331 | 910 | 421 | -210500 | -0.2105 | 996462 | 996470 | -8 | 4000 | 0.004
19 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996903 | 998468 | -1565 | 1565000 | 1.565 | 995525 | 995528 | -3 | 3000 | 0.003
20 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20688 | 20571 | 117 | -117000 | -0.117 | 1317 | 1321 | -4 | 4000 | 0.004
21 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12077 | 11257 | 820 | -820000 | -0.82 | 999726 | 999728 | -2 | 2000 | 0.002
IMPORT
MANGOLPURI
22 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13878 | 13906 | -28 | -28000 | -0.028 | 7863 | 7863 | 0 | 0 | 0
LODHI ROAD
23 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986034 | 986236 | -202 | 202000 | 0.202 | 993431 | 993431 | 0 | 0 | 0
24 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993633 | 993771 | -138 | 138000 | 0.138 | 994355 | 994367 | -12 | 12000 | 0.012
OKHLA
25 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996259 | 996246 | 13 | -13000 | -0.013 | 997140 | 997141 | -1 | 1000 | 0.001
26 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992182 | 992754 | -572 | 572000 | 0.572 | 942426 | 942426 | 0 | 0 | 0
27 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998960 | 998574 | 386 | -386000 | -0.386 | 37024 | 37024 | 0 | 0 | 0
28 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999800 | 999783 | 17 | -17000 | -0.017 | 998110 | 998110 | 0 | 0 | 0
29 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996661 | 996691 | -30 | 30000 | 0.03 | 864737 | 864737 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | February-2016
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996028 | 996118 | -90 | 90000 | 0.09 | 972328 | 972330 | -2 | 2000 | 0.002
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 997712 | 997901 | -189 | 94500 | 0.0945 | 999220 | 999221 | -1 | 500 | 0.0005
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7321 | 6504 | 817 | -1634000 | -1.634 | 969686 | 969686 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993845 | 993454 | 391 | -391000 | -0.391 | 906172 | 906180 | -8 | 8000 | 0.008
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994500 | 994500 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997715 | 997304 | 411 | -411000 | -0.411 | 991278 | 991285 | -7 | 7000 | 0.007
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977801 | 977842 | -41 | 41000 | 0.041 | 980667 | 980667 | 0 | 0 | 0
[10 empty] | 0.041 |  |  |  |  | 0 | Assessment
|  | 5126469 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977274 | 977347 | -73 | 73000 | 0.073 | 981152 | 981152 | 0 | 0 | 0 | Check meter Data w.e.f 16/02
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970183 | 969954 | 229 | -152666.514 | -0.15267 | 977045 | 977045 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992536 | 992567 | -31 | 77500 | 0.0775 | 481 | 481 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4552 | 4297 | 255 | -510000 | -0.51 | 2025 | 2025 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1423 | 1155 | 268 | -536000 | -0.536 | 1069 | 1069 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 924136 | 925222 | -1086 | 1086000 | 1.086 | 988355 | 988356 | -1 | 1000 | 0.001
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932389 | 933603 | -1214 | 1214000 | 1.214 | 991924 | 991924 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30808 | 31040 | -232 | -185600 | -0.1856 | 1682 | 1682 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 907112 | 907618 | -506 | -404800 | -0.4048 | 999534 | 999534 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
47 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999955 | 999982 | -27 | -21600 | -0.0216 | 999999 | 999999 | 0 | 0 | 0
48 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999939 | 999982 | -43 | -43000 | -0.043 | 999999 | 999999 | 0 | 0 | 0
PARK STREET
49 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984813 | 985804 | -991 | -991000 | -0.991 | 35162 | 35170 | -8 | -8000 | -0.008
50 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
51 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36724 | 36126 | 598 | -598000 | -0.598 | 973272 | 973272 | 0 | 0 | 0
52 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2444 | 791 | 1653 | -1653000 | -1.653 | 25 | 23 | 2 | -2000 | -0.002
53 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2324 | 1608 | 716 | -716000 | -0.716 | 999999 | 999999 | 0 | 0 | 0 | from 04/01/2016
NARAINA
54 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 22990 | 22695 | 295 | 29500 | 0.0295 | 21666 | 21665 | 1 | 100 | 0.0001
SUDARSHAN PARK
55 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 8328 | 8578 | -250 | -25000 | -0.025 | 61313 | 61313 | 0 | 0 | 0
REWARI LINE
56 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
57 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 996169 | 998823 | -2654 | -2123200 | -2.1232 | 999999 | 999999 | 0 | 0 | 0
A.I.I.M.S.
58 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3303 | 3071 | 232 | 17400 | 0.0174 | 7025 | 7024 | 1 | 75 | 7.5e-05
59 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 929 | 849 | 80 | 8000 | 0.008 | 1530 | 1529 | 1 | 100 | 0.0001
PEERGARHI
60 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 1000040 | -49 | -49000 | -0.049 | 999993 | 999994 | -1 | -1000 | -0.001
61 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 422 | 371 | 51 | 51000 | 0.051 | 159 | 156 | 3 | 3000 | 0.003
62 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998598 | 998822 | -224 | -224000 | -0.224 | 69 | 68 | 1 | 1000 | 0.001
63 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1186 | 1128 | 58 | 58000 | 0.058 | 541 | 537 | 4 | 4000 | 0.004
64 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
65 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999053 | 999964 | -911 | -91100 | -0.0911 | 86 | 39 | 47 | 4700 | 0.0047
66 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 517 | 538 | -21 | -21000 | -0.021 | 36 | 34 | 2 | 2000 | 0.002
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -12.2887 |  |  |  |  | -0.24406
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | February-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 129581 | 122530 | 7051 | -705100 | -0.7051 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 94788 | 95246 | -458 | 45800 | 0.0458 | 1061 | 1061 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150112 | 150785 | -673 | 67300 | 0.0673 | 17518 | 17518 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996364 | 996368 | -4 | 400 | 0.0004 | 135 | 135 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6257 | 6219 | 38 | -76000 | -0.076 | 73946 | 73946 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14538 | 14342 | 196 | -196000 | -0.196 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906589 | 906463 | 126 | -63000 | -0.063 | 56966 | 56966 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 995119 | -283 | 113200 | 0.1132 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79077 | 79082 | -5 | 500 | 0.0005 | 68418 | 68418 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 86584 | 85971 | 613 | -61300 | -0.0613 | 66994 | 66994 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 16707 | 16267 | 440 | -88000 | -0.088 | 10633 | 10625 | 8 | -1600 | -0.0016
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999583 | 999583 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 371612 | 368829 | 2783 | -278300 | -0.2783 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4091 | 4091 | 0 | 0 | 0 | 23636 | 23478 | 158 | -15800 | -0.0158
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 177938 | 177022 | 916 | -114500 | -0.1145 | 261553 | 261484 | 69 | -8625 | -0.008625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9241 | 9304 | -63 | 6300 | 0.0063 | 32281 | 32296 | -15 | 1500 | 0.0015
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11389 | 11557 | -168 | 16800 | 0.0168 | 64410 | 64558 | -148 | 14800 | 0.0148
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 439 | 233 | 206 | -20600 | -0.0206 | 744 | 498 | 246 | -24600 | -0.0246
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 10536 | 9922 | 614 | -61400 | -0.0614 | 6328 | 6324 | 4 | -400 | -0.0004
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16249 | 16468 | -219 | 21900 | 0.0219 | 21218 | 21215 | 3 | -300 | -0.0003
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 991510 | 992704 | -1194 | 53061.36 | 0.053061 | 773 | 774 | -1 | 44.44 | 4.444e-05
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999922 | 999922 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.3389 |  |  |  |  | -0.034981
February-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -12.2887 |  |  |  |  | -0.24406
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.3389 |  |  |  |  | -0.034981
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.51991 |  |  |  |  | 0.051669
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0787 |  |  |  |  | -0.059375
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -14.2262 |  |  |  |  | -0.28674
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.2262 | (REACTIVE MUs) |  |  |  | -0.28674 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.51668 | (REACTIVE MUs) |  |  |  | -3.6663 | (REACTIVE MUs)
[9 empty] | TOTAL | -13.7095 | (REACTIVE MUs) |  |  |  | -3.9531 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | February-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 53782 | 53520 | 262 | 52400 | 0.0524 | 81611 | 81611 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72843 | 73191 | -348 | -34800 | -0.0348 | 139943 | 139943 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976985 | 977256 | -271 | -54200 | -0.0542 | 997259 | 997259 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 84112 | 83212 | 900 | 180000 | 0.18 | 102355 | 102355 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14407 | 13942 | 465 | 372000 | 0.372 | 7150 | 7150 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14105 | 14104 | 1 | 2000 | 0.002 | 2927 | 2927 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 978254 | 978910 | -656 | -524800 | -0.5248 | 989706 | 989706 | 0 | 0 | 0
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 971535 | 972968 | -1433 | -1146400 | -1.1464 | 983783 | 983783 | 0 | 0 | 0 | Data till 22/02, Meter Faulty
[10 empty] | -0.37 |  |  |  |  | 0 | Assessment
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 983051 | 983881 | -830 | -664000 | -0.664 | 992934 | 992934 | 0 | 0 | 0 | Check Meter Data
|  | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 999604 | 1000000 | -396 | -316800 | -0.3168 | 999999 | 1000000 | -1 | -800 | -0.0008 | w.e.f 18/02/2016
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 985168 | 985952 | -784 | -627200 | -0.6272 | 994524 | 994524 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4656 | 4832 | -176 | -17600 | -0.0176 | 398167 | 397947 | 220 | 22000 | 0.022
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 988351 | 988700 | -349 | -26175 | -0.026175 | 3196 | 3257 | -61 | -4575 | -0.004575
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24879 | 24974 | -95 | -9500 | -0.0095 | 377683 | 377524 | 159 | 15900 | 0.0159
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998717 | 998779 | -62 | -23250 | -0.02325 | 999909 | 999981 | -72 | -27000 | -0.027
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991245 | 991608 | -363 | -36300 | -0.0363 | 315345 | 315375 | -30 | -3000 | -0.003
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 3758 | 3521 | 237 | 23700 | 0.0237 | 195241 | 194696 | 545 | 54500 | 0.0545
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 7705 | 8109 | -404 | -40400 | -0.0404 | 258367 | 258470 | -103 | -10300 | -0.0103
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 68721 | 69129 | -408 | -40800 | -0.0408 | 714028 | 714130 | -102 | -10200 | -0.0102
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 98741 | 99135 | -394 | -433400 | -0.4334
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 88 | 290 | -202 | -202000 | -0.202 | 42504 | 42512 | -8 | -8000 | -0.008
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146909 | 147273 | -364 | -400400 | -0.4004
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3016 | 3125 | -109 | -109000 | -0.109 | 56282 | 56275 | 7 | 7000 | 0.007
[10 empty] | -0.311 |  |  |  |  | -0.8348
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6257 | 6219 | 38 | 76000 | 0.076 | 73946 | 73946 | 0 | 0 | 0
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14538 | 14342 | 196 | 196000 | 0.196 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906589 | 906463 | 126 | 63000 | 0.063 | 56966 | 56966 | 0 | 0 | 0
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 995119 | -283 | -113200 | -0.1132 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999583 | 999583 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
February-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955952 | 957379 | -1427 | 1427000 | 1.427 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991567 | 992955 | -1388 | 1388000 | 1.388 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967655 | 968482 | -827 | 827000 | 0.827 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982691 | 983566 | -875 | 875000 | 0.875 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 371612 | 368829 | 2783 | 278300 | 0.2783 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4091 | 4091 | 0 | 0 | 0 | 23636 | 23478 | 158 | 15800 | 0.0158
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79077 | 79082 | -5 | -500 | -0.0005 | 68418 | 68418 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 86584 | 85971 | 613 | 61300 | 0.0613 | 66994 | 66994 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 16707 | 16267 | 440 | 44000 | 0.044 | 10633 | 10625 | 8 | 800 | 0.0008
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 129581 | 122530 | 7051 | 705100 | 0.7051 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3303 | 3071 | 232 | -17400 | -0.0174 | 7025 | 7024 | 1 | -75 | -7.5e-05
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 929 | 849 | 80 | -8000 | -0.008 | 1530 | 1529 | 1 | -100 | -0.0001
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1885 |  |  |  |  | -0.78185
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.1885 |  |  |  |  | -0.78185
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.070021 |  |  |  |  | -0.49686
| TOTAL ENERGY TO NDMC | [8 empty] | 2.2585 |  |  |  |  | -1.2787

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | February-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2460 | 19 | 19000 | 0.019 | 31453 | 31384 | 69 | 69000 | 0.069
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 32430 | 32404 | 26 | 26000 | 0.026
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3940 | 9 | 9000 | 0.009 | 40993 | 40806 | 187 | 187000 | 0.187
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 11120 | 10692 | 428 | 57066.524 | 0.057067
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5488 | 5444 | 44 | 44000 | 0.044 | 11028 | 11028 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12645 | 12641 | 4 | 2000 | 0.002 | 60850 | 60842 | 8 | 4000 | 0.004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996364 | 996368 | -4 | -400 | -0.0004 | 135 | 135 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0736 |  |  |  |  | 0.34307
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55374 | 55203 | 171 | 17100 | 0.0171 | 80748 | 80616 | 132 | 13200 | 0.0132
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13942 | 13641 | 301 | 30100 | 0.0301
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55404 | 54788 | 616 | 61600 | 0.0616 | 83240 | 83212 | 28 | 2800 | 0.0028
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 596 | 0 | 0 | 0 | 324 | 147 | 177 | 13275 | 0.013275
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9847 | 9735 | 112 | 11200 | 0.0112 | 3197 | 3192 | 5 | 500 | 0.0005
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0787 |  |  |  |  | 0.059375
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0787 |  |  |  |  | 0.059375
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0736 |  |  |  |  | 0.34307
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1523 |  |  |  |  | 0.40244
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1523 | (REACTIVE MUs) |  |  |  | 0.40244 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.01328 | (REACTIVE MUs) |  |  |  | -0.094234 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.16558 | (REACTIVE MUs) |  |  |  | 0.30821 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | February-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 11451 | 12741 | -1290 | -129000 | -0.129 | 2465 | 2465 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 2715 | 660 | 2055 | 205500 | 0.2055 | 0 | 0 | 0 | 0 | 0
[10 empty] | -0.576 |  |  |  |  | 0 | Assesment due to wrong MF
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 100 | 1445 | 1206 | 239 | 23900 | 0.0239 | 999982 | 999982 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 39390 | 39761 | -371 | -347812.5 | -0.34781 | 19105 | 19105 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 998632 | 999637 | -1005 | 67003.35 | 0.067003 | 998955 | 999748 | -793 | 52869.31 | 0.052869
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 986022 | 986495 | -473 | 236500 | 0.2365 | 976501 | 976501 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999999 | 1000003 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.51991 |  |  |  |  | 0.051669
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994674 | 996213 | -1539 | -307800 | -0.3078 | 999934 | 999934 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 930574 | 933564 | -2990 | -1121250 | -1.1213 | 997625 | 997625 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.4291 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 276306 | 274160 | 2146 | 429200 | 0.4292 | 266015 | 266015 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 150 | 9784 | 7415 | 2369 | 355350 | 0.35535 | 809 | 809 | 0 | 0 | 0 | Check meter Data
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 223195 | 220515 | 2680 | 268000 | 0.268 | 75810 | 75810 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 384 | 378 | 6 | 6000 | 0.006 | 999983 | 999983 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998911 | 999015 | -104 | -15600 | -0.0156 | 405 | 271 | 134 | 20100 | 0.0201
[10 empty] | -0.0478 |  |  |  |  | 0.035028 | Assessment last month
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999534 | 999616 | -82 | 205000 | 0.205 | 3072 | 3072 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999999 | 1000003 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | 1.2002 |  |  |  |  | 0.056328
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.51991 |  |  |  |  | 0.051669
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.4291 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.2002 |  |  |  |  | 0.056328

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | February-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 25598 | 24861 | 737 | 1474000 | 1.474 | 1601 | 1589 | 12 | 24000 | 0.024
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 1547 | 1247 | 300 | 1500000 | 1.5 | 999927 | 999919 | 8 | 40000 | 0.04
[7 empty] | NET REACTIVE ENERGY |  |  | 2.974 |  | NET REACTIVE ENERGY |  |  | 0.064
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.974 |  |  |  |  | 0.064
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.3586 |  |  |  |  | -8.485
[7 empty] | NDMC = |  |  | -0.311 |  |  |  |  | -0.8348
MES =
[7 empty] | 2)TOTAL |  |  | -1.6696 |  |  |  |  | -9.3198
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.3044 |  |  |  |  | -9.2558
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.7847 | % |  |  | 0.4146 |  |  |  |  | -2.9419
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.6109 | % |  |  | 0.51668 |  |  |  |  | -3.6663
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.2182 | % |  |  | 0.28981 |  |  |  |  | -2.0565
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3681 | % |  |  | 0.070021 |  |  |  |  | -0.49686
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0181 | % |  |  | 0.01328 |  |  |  |  | -0.094234
Note :Sharing taken from wk-46 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st February-2016 TO 1st March-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -10.162 |  | -3.5354
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -13.7095 |  | -3.9531
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.7154 |  | -7.5808
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.2585 |  | -1.2787
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.16558 | + | 0.30821
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2016 | INTIAL READING 01/02/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953412 | 953167 | 245 | 367500 | 0.3675 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992867 | 992612 | 255 | 382500 | 0.3825 | 992897 | 992897 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 898171 | 907640 | -9469 | -7101750 | -7.1018 | 999301 | 999302 | -1 | -750 | -0.00075
[8 empty] | NET REACTIVE ENERGY |  | -6.3518 |  |  | NET REACTIVE ENERGY |  | -0.00075
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997898 | 997898 | 0 | 0 | 0 | 30934 | 30690 | 244 | 1220000 | 1.22
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999960 | 999960 | 0 | 0 | 0 | 975245 | 975131 | 114 | 114000 | 0.114
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978812 | 978795 | 17 | 17000 | 0.017 | 991267 | 991233 | 34 | 34000 | 0.034
[8 empty] | NET REACTIVE ENERGY |  | 0.017 |  |  | NET REACTIVE ENERGY |  | 1.368