## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18819 | 19000 | -181 | 181000 | 0.181 | 979242 | 979262 | -20 | 20000 | 0.02
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999196 | 999265 | -69 | 69000 | 0.069 | 992307 | 992857 | -550 | 550000 | 0.55
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20533 | 20714 | -181 | 181000 | 0.181 | 1254 | 1259 | -5 | 5000 | 0.005
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975060 | 975058 | 2 | -2000 | -0.002 | 987386 | 987887 | -501 | 501000 | 0.501
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923381 | 923583 | -202 | 202000 | 0.202 | 959623 | 960164 | -541 | 541000 | 0.541
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18228 | 18182 | 46 | -46000 | -0.046 | 12819 | 12430 | 389 | -389000 | -0.389
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19249 | 19188 | 61 | -61000 | -0.061 | 9447 | 9132 | 315 | -315000 | -0.315
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17119 | 17119 | 0 | 0 | 0 | 996676 | 997186 | -510 | 510000 | 0.51
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11980 | 11980 | 0 | 0 | 0 | 987765 | 988459 | -694 | 694000 | 0.694
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35702 | 35824 | -122 | 122000 | 0.122 | 9901 | 9908 | -7 | 7000 | 0.007
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2774 | 3394 | -620 | 620000 | 0.62 | 4234 | 4235 | -1 | 1000 | 0.001
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998835 | 999089 | -254 | 254000 | 0.254 | 999960 | 999963 | -3 | 3000 | 0.003
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966588 | 968733 | -2145 | -2145000 | -2.145 | 920612 | 920612 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997491 | 997491 | 0 | 0 | 0 | 16034 | 16316 | -282 | 282000 | 0.282
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998345 | 998366 | -21 | 21000 | 0.021 | 18428 | 18437 | -9 | 9000 | 0.009
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1108 | 1102 | 6 | -6000 | -0.006 | 20970 | 20905 | 65 | -65000 | -0.065
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999622 | -56 | -56000 | -0.056 | 31270 | 31417 | -147 | -147000 | -0.147
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 186 | 156 | 30 | 30000 | 0.03 | 26261 | 25995 | 266 | 266000 | 0.266
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1726 | 1722 | 4 | 400 | 0.0004 | 101485 | 100146 | 1339 | 133900 | 0.1339
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2852 | 2720 | 132 | 13200 | 0.0132 | 157425 | 155929 | 1496 | 149600 | 0.1496
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996102 | 996101 | 1 | 1000 | 0.001 | 998343 | 998360 | -17 | -17000 | -0.017
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999937 | 999933 | 4 | 4000 | 0.004 | 1000063 | 999972 | 91 | 91000 | 0.091 | ROLL OVER
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655117 | 655317 | -200 | -200000 | -0.2 | 803228 | 803250 | -22 | -22000 | -0.022
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662500 | 662597 | -97 | -97000 | -0.097 | 834737 | 834741 | -4 | -4000 | -0.004
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992082 | 992446 | -364 | -364000 | -0.364 | 998673 | 998661 | 12 | 12000 | 0.012
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999842 | 1000000 | -158 | -79000 | -0.079 | 45 | 0 | 45 | 22500 | 0.0225 | ROLL OVER
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6305 | 6301 | 4 | -4000 | -0.004 | 981619 | 981704 | -85 | 85000 | 0.085
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996563 | 996578 | -15 | 15000 | 0.015 | 949406 | 949646 | -240 | 240000 | 0.24
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992791 | 993067 | -276 | 276000 | 0.276 | 952139 | 952637 | -498 | 498000 | 0.498
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
30 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 590 | 529 | 61 | 61000 | 0.061 | 14367 | 14199 | 168 | 168000 | 0.168
31 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998912 | 998887 | 25 | 25000 | 0.025 | 3522 | 3516 | 6 | 6000 | 0.006
| NDPL(+) continue | [14 empty] | APRIL-2011
DMS
32 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 678 | 607 | 71 | 71000 | 0.071 | 51379 | 51056 | 323 | 323000 | 0.323
REWARI LINE
33 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9629 | 9192 | 437 | 43700 | 0.0437 | 46928 | 44885 | 2043 | 204300 | 0.2043
VISHAL
34 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6503 | 6231 | 272 | 27200 | 0.0272 | 8442 | 8141 | 301 | 30100 | 0.0301
35 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8405 | 8264 | 141 | 14100 | 0.0141 | 26636 | 26496 | 140 | 14000 | 0.014
36 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
37 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 29747 | 28912 | 835 | 83500 | 0.0835 | 8531 | 8523 | 8 | 800 | 0.0008
38 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
39 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
40 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14289 | 13825 | 464 | 46400 | 0.0464 | 8468 | 8414 | 54 | 5400 | 0.0054
43 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997991 | 997829 | 162 | 16200 | 0.0162 | 999978 | 999975 | 3 | 300 | 0.0003
B.G.ROAD
44 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3438 | 3437 | 1 | 500 | 0.0005 | 26790 | 26459 | 331 | 165500 | 0.1655
45 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3185 | 3183 | 2 | 1000 | 0.001 | 18294 | 18011 | 283 | 141500 | 0.1415
46 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3231 | 3225 | 6 | 3000 | 0.003 | 12304 | 12176 | 128 | 64000 | 0.064
47 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3181 | 3179 | 2 | 1000 | 0.001 | 14055 | 13881 | 174 | 87000 | 0.087
D.M.S.
48 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999548 | 999533 | 15 | 1500 | 0.0015 | 4757 | 4740 | 17 | 1700 | 0.0017
49 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2235 | 2046 | 189 | 18900 | 0.0189 | 11726 | 11593 | 133 | 13300 | 0.0133
50 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 5109 | 4694 | 415 | 41500 | 0.0415 | 44619 | 44307 | 312 | 31200 | 0.0312
51 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8211 | 8211 | 0 | 0 | 0 | 19022 | 19022 | 0 | 0 | 0
52 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999726 | 999751 | -25 | -2500 | -0.0025 | 280 | 282 | -2 | -200 | -0.0002
53 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
54 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 975 | 963 | 12 | 1200 | 0.0012 | 55928 | 55073 | 855 | 85500 | 0.0855
55 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 785 | 673 | 112 | 11200 | 0.0112 | 50099 | 49801 | 298 | 29800 | 0.0298
56 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 1084 | 898 | 186 | 18600 | 0.0186 | 72175 | 71613 | 562 | 56200 | 0.0562
KASHMIRI GATE
57 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 87069 | 85941 | 1128 | 112800 | 0.1128 | 25897 | 25947 | -50 | -5000 | -0.005
58 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 8254 | 8118 | 136 | 13600 | 0.0136 | 29690 | 28896 | 794 | 79400 | 0.0794
59 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999951 | 1 | -300 | -0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
60 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4567 | 4567 | 0 | 0 | 0 | 12600 | 12600 | 0 | 0 | 0
61 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999321 | 999377 | -56 | -5600 | -0.0056 | 999155 | 999145 | 10 | 1000 | 0.001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.4656 |  |  |  |  | 5.1645
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | APRIL-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4294 | 4214 | 80 | -8000 | -0.008 | 7638 | 7583 | 55 | -5500 | -0.0055
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5744 | 5745 | -1 | 1000 | 0.001 | 3915 | 3919 | -4 | 4000 | 0.004
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3514 | 3536 | -22 | 4400 | 0.0044 | 3042 | 3141 | -99 | 19800 | 0.0198
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12806 | 12742 | 64 | -64000 | -0.064 | 12025 | 11231 | 794 | -794000 | -0.794
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 36743 | 36227 | 516 | -51600 | -0.0516 | 146590 | 146577 | 13 | -1300 | -0.0013
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999975 | -3 | 3000 | 0.003
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982997 | 983068 | -71 | 71000 | 0.071 | 993139 | 993320 | -181 | 181000 | 0.181
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998287 | 998287 | 0 | 0 | 0 | 1000072 | 999974 | 98 | -122500 | -0.1225 | ROLL OVER
| ASSESSMENT OF GHEBRA FOR THE MARCH MONTH | 4902502 |  |  | -1250 | 998287 | 998227 | 60 | -75000 | -0.075
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.1222 |  |  |  |  | -0.7155
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.4656 |  |  |  |  | 5.1645
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.1222 |  |  |  |  | -0.7155
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.4879 |  |  |  |  | -0.01005
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.90014 |  |  |  |  | 4.4389
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.90014 | (REACTIVE MUs) |  |  |  | 4.4389 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10072 | (REACTIVE MUs) |  |  |  | 0.40571 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.79941 | (REACTIVE MUs) |  |  |  | 4.8447 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 994774 | 995030 | -256 | -25600 | -0.0256 | 72436 | 72118 | 318 | 31800 | 0.0318
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14118 | 14322 | -204 | -20400 | -0.0204 | 996634 | 996606 | 28 | 2800 | 0.0028
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21822 | 22046 | -224 | -22400 | -0.0224 | 29397 | 29357 | 40 | 4000 | 0.004
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998775 | 998890 | -115 | -11500 | -0.0115 | 999874 | 999475 | 399 | 39900 | 0.0399 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8909 | 8880 | 29 | 2900 | 0.0029 | 69823 | 69570 | 253 | 25300 | 0.0253
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 596 | 81 | 515 | 51500 | 0.0515 | 47033 | 47610 | -577 | -57700 | -0.0577
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999984 | 999984 | 0 | 0 | 0 | 214 | 214 | 0 | 0 | 0 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999907 | 999907 | 0 | 0 | 0 | 2297 | 2296 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 104 | 104 | 0 | 0 | 0 | 1422 | 1431 | -9 | -9000 | -0.009
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 156 | 156 | 0 | 0 | 0 | 2630 | 2630 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 201 | 205 | -4 | -4000 | -0.004 | 1741 | 1745 | -4 | -4000 | -0.004
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 319 | 2 | 2000 | 0.002 | 1373 | 1358 | 15 | 15000 | 0.015 | ROLL OVER
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 32 | 32 | 0 | 0 | 0 | 13525 | 13503 | 22 | 22000 | 0.022
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 153 | 10 | 10000 | 0.01 | 33649 | 33649 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 261 | 0 | 0 | 0 | 8362 | 8184 | 178 | 178000 | 0.178
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 194 | 194 | 0 | 0 | 0 | 5045 | 5040 | 5 | 5000 | 0.005
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 28821 | 28711 | 110 | 11000 | 0.011 | 418 | 418 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998958 | 998958 | 0 | 0 | 0 | 5029 | 5029 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 859827 | 864589 | -4762 | -5238200 | -5.2382
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 898229 | 900438 | -2209 | -2429900 | -2.4299
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996018 | 996522 | -504 | -504000 | -0.504 | 10116 | 10117 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -0.485 |  |  |  |  | -7.4611
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967306 | 967111 | 195 | -195000 | -0.195 | 980037 | 980297 | -260 | 260000 | 0.26
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985952 | 986196 | -244 | 244000 | 0.244 | 986601 | 986718 | -117 | 117000 | 0.117
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999951 | 1 | 300 | 0.0003
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 893 | 35 | 35000 | 0.035 | 49688 | 49311 | 377 | 377000 | 0.377
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 554 | 553 | 1 | -1000 | -0.001 | 979559 | 980284 | -725 | 725000 | 0.725
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3043 | 2960 | 83 | -83000 | -0.083 | 984159 | 984569 | -410 | 410000 | 0.41
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996652 | 997140 | -488 | 488000 | 0.488 | 991860 | 992132 | -272 | 272000 | 0.272
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998276 | 998332 | -56 | 56000 | 0.056 | 996823 | 996892 | -69 | 69000 | 0.069
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3514 | 3536 | -22 | -4400 | -0.0044 | 3042 | 3141 | -99 | -19800 | -0.0198
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12806 | 12742 | 64 | 64000 | 0.064 | 12025 | 11231 | 794 | 794000 | 0.794
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 71143 | 68087 | 3056 | 305600 | 0.3056 | 1644 | 1644 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 42731 | 38966 | 3765 | 376500 | 0.3765 | 999406 | 999406 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.7752 |  |  |  |  | -4.4105
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.7752 |  |  |  |  | -4.4105
APRIL-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997839 | 997899 | -60 | 60000 | 0.06 | 953196 | 953907 | -711 | 711000 | 0.711
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15671 | 15718 | -47 | 47000 | 0.047 | 970237 | 970810 | -573 | 573000 | 0.573
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14299 | 14373 | -74 | 74000 | 0.074 | 961056 | 961778 | -722 | 722000 | 0.722
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981052 | 982873 | -1821 | 1821000 | 1.821 | 993801 | 993822 | -21 | 21000 | 0.021
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972443 | 974268 | -1825 | 1825000 | 1.825 | 992091 | 992110 | -19 | 19000 | 0.019
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1685 | 1679 | 6 | -6000 | -0.006 | 994500 | 995143 | -643 | 643000 | 0.643
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1518 | 1502 | 16 | -16000 | -0.016 | 985158 | 985122 | 36 | -36000 | -0.036
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 632 | 630 | 2 | -2000 | -0.002 | 992213 | 993459 | -1246 | 1246000 | 1.246
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999750 | 999750 | 0 | 0 | 0 | 978016 | 979728 | -1712 | 1712000 | 1.712
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13618 | 13570 | 48 | -48000 | -0.048 | 967695 | 968077 | -382 | 382000 | 0.382
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970470 | 970606 | -136 | 136000 | 0.136 | 923737 | 925070 | -1333 | 1333000 | 1.333
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20898 | 20898 | 0 | 0 | 0 | 21859 | 21816 | 43 | -43000 | -0.043
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14725 | 14708 | 17 | -17000 | -0.017 | 30670 | 30735 | -65 | 65000 | 0.065
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.874 |  |  |  |  | 7.348
| (B) NET ENERGY TO EAST | [8 empty] | 3.874 |  |  |  |  | 7.348
6
APRIL-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992082 | 992446 | -364 | 364000 | 0.364 | 998673 | 998661 | 12 | -12000 | -0.012
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999842 | 1000000 | -158 | 79000 | 0.079 | 45 | 0 | 45 | -22500 | -0.0225 | ROLL OVER
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 6907 | 6329 | 578 | -57800 | -0.0578 | 58861 | 56376 | 2485 | -248500 | -0.2485
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 11887 | 11151 | 736 | -73600 | -0.0736 | 117292 | 114025 | 3267 | -326700 | -0.3267
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995585 | 995584 | 1 | -100 | -0.0001 | 4311 | 4311 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 15419 | 13501 | 1918 | -191800 | -0.1918 | 77751 | 76009 | 1742 | -174200 | -0.1742
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41495 | 38081 | 3414 | -3414000 | -3.414 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO SOUTH & WEST
9 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999666 | 999741 | -75 | 75000 | 0.075 | 35473 | 35621 | -148 | 148000 | 0.148
10 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999589 | 999651 | -62 | 82666.46 | 0.082666 | 252 | 323 | -71 | 94666.43 | 0.094666
EXPORT TO NORTH from SHASTRI PARK
11 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 590 | 529 | 61 | -61000 | -0.061 | 14367 | 14199 | 168 | -168000 | -0.168
12 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998912 | 998887 | 25 | -25000 | -0.025 | 3522 | 3516 | 6 | -6000 | -0.006
DMS
13 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 678 | 607 | 71 | -71000 | -0.071 | 51379 | 51056 | 323 | -323000 | -0.323
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
14 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3438 | 3437 | 1 | -500 | -0.0005 | 26790 | 26459 | 331 | -165500 | -0.1655
15 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3185 | 3183 | 2 | -1000 | -0.001 | 18294 | 18011 | 283 | -141500 | -0.1415
16 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3231 | 3225 | 6 | -3000 | -0.003 | 12304 | 12176 | 128 | -64000 | -0.064
17 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3181 | 3179 | 2 | -1000 | -0.001 | 14055 | 13881 | 174 | -87000 | -0.087
KASHMIRI GATE
18 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 87069 | 85941 | 1128 | -112800 | -0.1128 | 25897 | 25947 | -50 | 5000 | 0.005
19 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 8254 | 8118 | 136 | -13600 | -0.0136 | 29690 | 28896 | 794 | -79400 | -0.0794
D.M.S.
20 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999548 | 999533 | 15 | -1500 | -0.0015 | 4757 | 4740 | 17 | -1700 | -0.0017
21 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2235 | 2046 | 189 | -18900 | -0.0189 | 11726 | 11593 | 133 | -13300 | -0.0133
22 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 5109 | 4694 | 415 | -41500 | -0.0415 | 44619 | 44307 | 312 | -31200 | -0.0312
23 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8211 | 8211 | 0 | 0 | 0 | 19022 | 19022 | 0 | 0 | 0
24 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999726 | 999751 | -25 | 2500 | 0.0025 | 280 | 282 | -2 | 200 | 0.0002
25 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
26 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 975 | 963 | 12 | -1200 | -0.0012 | 55928 | 55073 | 855 | -85500 | -0.0855
27 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 785 | 673 | 112 | -11200 | -0.0112 | 50099 | 49801 | 298 | -29800 | -0.0298
28 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 1084 | 898 | 186 | -18600 | -0.0186 | 72175 | 71613 | 562 | -56200 | -0.0562
[10 empty] | -3.5159 |  |  |  |  | -1.7881
APRIL-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.7752 |  |  |  |  | -4.4105
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -3.5159 |  |  |  |  | -1.7881
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1407 |  |  |  |  | -0.0004
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.8814 |  |  |  |  | -6.199
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.874 |  |  |  |  | 7.348
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.99257 |  |  |  |  | 1.149
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.99257 | (REACTIVE MUs) |  |  |  | 1.149 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.085706 | (REACTIVE MUs) |  |  |  | 0.34522 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.90686 | (REACTIVE MUs) |  |  |  | 1.4942 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999206 | 999169 | 37 | 37000 | 0.037 | 11494 | 11518 | -24 | -24000 | -0.024
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 995391 | 998736 | -3345 | -334500 | -0.3345 | 680322 | 680756 | -434 | -43400 | -0.0434
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4803 | 4794 | 9 | 9000 | 0.009 | 43682 | 43456 | 226 | 226000 | 0.226
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9604 | 9547 | 57 | 57000 | 0.057 | 654 | 605 | 49 | 49000 | 0.049
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 578 | 441 | 137 | 41100 | 0.0411 | 366 | 250 | 116 | 34800 | 0.0348
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 5544 | 5436 | 108 | 10800 | 0.0108 | 79591 | 79320 | 271 | 27100 | 0.0271
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 29583 | 23692 | 5891 | 589100 | 0.5891 | 269227 | 268998 | 229 | 22900 | 0.0229
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 2337 | 1819 | 518 | 51800 | 0.0518 | 330617 | 329086 | 1531 | 153100 | 0.1531
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999848 | 999856 | -8 | -8000 | -0.008 | 10657 | 10641 | 16 | 16000 | 0.016
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994935 | 995028 | -93 | 93000 | 0.093 | 965417 | 966805 | -1388 | 1388000 | 1.388
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993535 | 993647 | -112 | 112000 | 0.112 | 967763 | 968929 | -1166 | 1166000 | 1.166
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989921 | 990649 | -728 | 728000 | 0.728 | 958792 | 959771 | -979 | 979000 | 0.979
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999365 | 999517 | -152 | 152000 | 0.152 | 969529 | 970089 | -560 | 560000 | 0.56
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12373 | 11092 | 1281 | -1281000 | -1.281 | 31644 | 31734 | -90 | 90000 | 0.09
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997739 | 998283 | -544 | 544000 | 0.544 | 978753 | 978850 | -97 | 97000 | 0.097
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38052 | 37609 | 443 | -443000 | -0.443 | 27395 | 27521 | -126 | 126000 | 0.126
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3382 | 3382 | 0 | 0 | 0 | 12834 | 12869 | -35 | 35000 | 0.035
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23174 | 22799 | 375 | -375000 | -0.375 | 14343 | 14403 | -60 | 60000 | 0.06
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9878 | 9297 | 581 | -581000 | -0.581 | 40128 | 40097 | 31 | -31000 | -0.031
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5744 | 5745 | -1 | -1000 | -0.001 | 3915 | 3919 | -4 | -4000 | -0.004
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973089 | 976482 | -3393 | 3393000 | 3.393 | 910088 | 910094 | -6 | 6000 | 0.006
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993959 | 994478 | -519 | 519000 | 0.519 | 886215 | 887629 | -1414 | 1414000 | 1.414
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 1070 | 2910 | -1840 | 1840000 | 1.84
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 448 | 0 | 0 | 0 | 993848 | 995557 | -1709 | 1709000 | 1.709
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997847 | 997750 | 97 | -97000 | -0.097 | 959360 | 959548 | -188 | 188000 | 0.188
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999631 | 999631 | 0 | 0 | 0 | 950632 | 954100 | -3468 | 3468000 | 3.468
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999031 | 999031 | 0 | 0 | 0 | 942053 | 946468 | -4415 | 4415000 | 4.415
BRPL(+) continue | [14 empty] | APRIL-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998786 | 998778 | 8 | -8000 | -0.008 | 976312 | 977134 | -822 | 822000 | 0.822
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29 | 22 | 7 | -7000 | -0.007 | 992962 | 993729 | -767 | 767000 | 0.767
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989892 | 989863 | 29 | -58000 | -0.058 | 980174 | 981402 | -1228 | 2456000 | 2.456
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998261 | 998261 | 0 | 0 | 0 | 948509 | 948551 | -42 | 42000 | 0.042
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1169 | 1007 | 162 | -162000 | -0.162 | 962599 | 964038 | -1439 | 1439000 | 1.439
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998455 | 998482 | -27 | 27000 | 0.027 | 951645 | 954226 | -2581 | 2581000 | 2.581
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991974 | 993260 | -1286 | 857332.476 | 0.85733 | 996458 | 997307 | -849 | 565999.434 | 0.566
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 179 | 161 | 18 | -36000 | -0.036 | 474 | 451 | 23 | -46000 | -0.046
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996895 | 996871 | 24 | -48000 | -0.048 | 999795 | 999777 | 18 | -36000 | -0.036
PARK STREET
40 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999666 | 999741 | -75 | -75000 | -0.075 | 35473 | 35621 | -148 | -148000 | -0.148
41 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999589 | 999651 | -62 | -82666.46 | -0.082666 | 252 | 323 | -71 | -94666.43 | -0.094666
SARITA VIHAR
42 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2902 | 2846 | 56 | -56000 | -0.056 | 982029 | 982001 | 28 | -28000 | -0.028
43 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999342 | 999110 | 232 | -232000 | -0.232 | 988246 | 988192 | 54 | -54000 | -0.054
NARAINA
44 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4294 | 4214 | 80 | 8000 | 0.008 | 7638 | 7583 | 55 | 5500 | 0.0055
SUDARSHAN PARK
45 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 36743 | 36227 | 516 | 51600 | 0.0516 | 146590 | 146577 | 13 | 1300 | 0.0013
REWARI LINE
46 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999975 | -3 | -3000 | -0.003
KANJAWALA
47 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982997 | 983068 | -71 | -71000 | -0.071 | 993139 | 993320 | -181 | -181000 | -0.181
A.I.I.M.S.
48 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999561 | 999473 | 88 | 8800 | 0.0088 | 1545 | 1101 | 444 | 44400 | 0.0444
49 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3052 | 2865 | 187 | 18700 | 0.0187 | 4601 | 3599 | 1002 | 100200 | 0.1002
66KV GHEBRA
50 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998287 | 998287 | 0 | 0 | 0 | 1000072 | 999974 | 98 | 122500 | 0.1225 | ROLL OVER
| ASSESSMENT OF GHEBRA FOR THE MARCH MONTH | 4902502 |  |  | 1250 | 998287 | 998227 | 60 | 75000 | 0.075
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.4271 |  |  |  |  | 26.3237
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | APRIL-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 977196 | 980806 | -3610 | -361000 | -0.361 | 858665 | 858865 | -200 | -20000 | -0.02
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 71143 | 68087 | 3056 | -305600 | -0.3056 | 1644 | 1644 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 42731 | 38966 | 3765 | -376500 | -0.3765 | 999406 | 999406 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 337 | 14 | -1400 | -0.0014 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 567 | 562 | 5 | -500 | -0.0005 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 722353 | 705618 | 16735 | -1673500 | -1.6735 | 43485 | 43485 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2989 | 2599 | 390 | -390000 | -0.39 | 1147 | 935 | 212 | -212000 | -0.212
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 735152 | 719509 | 15643 | -1564300 | -1.5643 | 38229 | 38222 | 7 | -700 | -0.0007
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 14419 | 13278 | 1141 | -114100 | -0.1141 | 48628 | 48622 | 6 | -600 | -0.0006
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 14188 | 13329 | 859 | -85900 | -0.0859 | 48224 | 47642 | 582 | -58200 | -0.0582
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 34711 | 31508 | 3203 | -640600 | -0.6406 | 100700 | 100697 | 3 | -600 | -0.0006
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 14500 | 13240 | 1260 | -126000 | -0.126 | 3279 | 2451 | 828 | -82800 | -0.0828
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 14100 | 12710 | 1390 | -139000 | -0.139 | 607569 | 606081 | 1488 | -148800 | -0.1488
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 85331 | 84571 | 760 | -76000 | -0.076 | 173032 | 165295 | 7737 | -773700 | -0.7737
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 158560 | 154597 | 3963 | 396300 | 0.3963 | 27519 | 25378 | 2141 | 214100 | 0.2141
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 723 | 728 | -5 | 500 | 0.0005 | 11452 | 11343 | 109 | -10900 | -0.0109
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9629 | 9192 | 437 | -43700 | -0.0437 | 46928 | 44885 | 2043 | -204300 | -0.2043
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6503 | 6231 | 272 | -27200 | -0.0272 | 8442 | 8141 | 301 | -30100 | -0.0301
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8405 | 8264 | 141 | -14100 | -0.0141 | 26636 | 26496 | 140 | -14000 | -0.014
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 29747 | 28912 | 835 | -83500 | -0.0835 | 8531 | 8523 | 8 | -800 | -0.0008
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14289 | 13825 | 464 | -46400 | -0.0464 | 8468 | 8414 | 54 | -5400 | -0.0054
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997991 | 997829 | 162 | -16200 | -0.0162 | 999978 | 999975 | 3 | -300 | -0.0003
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4567 | 4567 | 0 | 0 | 0 | 12600 | 12600 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999321 | 999377 | -56 | 5600 | 0.0056 | 999155 | 999145 | 10 | -1000 | -0.001
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.6831 |  |  |  |  | -1.3501
APRIL-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.4271 |  |  |  |  | 26.3237
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.6831 |  |  |  |  | -1.3501
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.5963 |  |  |  |  | 0.2725
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1489 |  |  |  |  | -0.35825
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.80863 |  |  |  |  | 24.8879
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.80863 | (REACTIVE MUs) |  |  |  | 24.8879 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.14629 | (REACTIVE MUs) |  |  |  | 0.58924 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.95492 | (REACTIVE MUs) |  |  |  | 25.4771 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 6907 | 6329 | 578 | 57800 | 0.0578 | 58861 | 56376 | 2485 | 248500 | 0.2485
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 11887 | 11151 | 736 | 73600 | 0.0736 | 117292 | 114025 | 3267 | 326700 | 0.3267
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995585 | 995584 | 1 | 100 | 0.0001 | 4311 | 4311 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 15419 | 13501 | 1918 | 191800 | 0.1918 | 77751 | 76009 | 1742 | 174200 | 0.1742
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 41495 | 38081 | 3414 | 3414000 | 3.414 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997836 | 997827 | 9 | 900 | 0.0009 | 269972 | 268805 | 1167 | 116700 | 0.1167
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 3475 | 3458 | 17 | 1700 | 0.0017 | 402282 | 400708 | 1574 | 157400 | 0.1574
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 8400 | 7945 | 455 | 45500 | 0.0455 | 180603 | 179582 | 1021 | 102100 | 0.1021
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 3893 | 3868 | 25 | 2500 | 0.0025 | 297033 | 294480 | 2553 | 255300 | 0.2553
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998846 | 998852 | -6 | -600 | -0.0006 | 204166 | 201239 | 2927 | 292700 | 0.2927
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998341 | 998489 | -148 | -14800 | -0.0148 | 122588 | 122729 | -141 | -14100 | -0.0141
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 8251 | 7989 | 262 | 26200 | 0.0262 | 181220 | 180093 | 1127 | 112700 | 0.1127
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 6630 | 6420 | 210 | 21000 | 0.021 | 218926 | 218019 | 907 | 90700 | 0.0907
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 51935 | 48879 | 3056 | 3361600 | 3.3616
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4790 | 5168 | -378 | -378000 | -0.378 | 36109 | 36122 | -13 | -13000 | -0.013
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 119047 | 118071 | 976 | 1073600 | 1.0736
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8071 | 7674 | 397 | 397000 | 0.397 | 48134 | 48093 | 41 | 41000 | 0.041
[10 empty] | 0.019 |  |  |  |  | 4.4632
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 722353 | 705618 | 16735 | 1673500 | 1.6735 | 43485 | 43485 | 0 | 0 | 0
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2989 | 2599 | 390 | 390000 | 0.39 | 1147 | 935 | 212 | 212000 | 0.212
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 735152 | 719509 | 15643 | 1564300 | 1.5643 | 38229 | 38222 | 7 | 700 | 0.0007
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 14500 | 13240 | 1260 | 126000 | 0.126 | 3279 | 2451 | 828 | 82800 | 0.0828
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 14100 | 12710 | 1390 | 139000 | 0.139 | 607569 | 606081 | 1488 | 148800 | 0.1488
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 85331 | 84571 | 760 | 76000 | 0.076 | 173032 | 165295 | 7737 | 773700 | 0.7737
APRIL-2011
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 158560 | 154597 | 3963 | -396300 | -0.3963 | 27519 | 25378 | 2141 | -214100 | -0.2141
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 723 | 728 | -5 | -500 | -0.0005 | 11452 | 11343 | 109 | 10900 | 0.0109
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 14419 | 13278 | 1141 | 114100 | 0.1141 | 48628 | 48622 | 6 | 600 | 0.0006
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 14188 | 13329 | 859 | 85900 | 0.0859 | 48224 | 47642 | 582 | 58200 | 0.0582
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 34711 | 31508 | 3203 | 640600 | 0.6406 | 100700 | 100697 | 3 | 600 | 0.0006 | CT RATIO FOUND 800/5 IN CT RATIO TESTING SO M.F. IS DOUBLED
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 977196 | 980806 | -3610 | 361000 | 0.361 | 858665 | 858865 | -200 | 20000 | 0.02
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999561 | 999473 | 88 | -8800 | -0.0088 | 1545 | 1101 | 444 | -44400 | -0.0444
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3052 | 2865 | 187 | -18700 | -0.0187 | 4601 | 3599 | 1002 | -100200 | -0.1002
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 8.5848 |  |  |  |  | 7.2757
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 8.5848 |  |  |  |  | 7.2757
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.018447 |  |  |  |  | 0.074304
| TOTAL ENERGY TO NDMC | [8 empty] | 8.5664 |  |  |  |  | 7.35

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 542 | 538 | 4 | 4000 | 0.004 | 12190 | 12154 | 36 | 36000 | 0.036
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 374 | 369 | 5 | 5000 | 0.005 | 16561 | 16519 | 42 | 42000 | 0.042
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659 | 651 | 8 | 8000 | 0.008 | 23678 | 23615 | 63 | 63000 | 0.063
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 405 | 404 | 1 | 1000 | 0.001 | 12420 | 12372 | 48 | 48000 | 0.048
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1236 | 1174 | 62 | 62000 | 0.062 | 6050 | 6045 | 5 | 5000 | 0.005
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 337 | 14 | 1400 | 0.0014 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 567 | 562 | 5 | 500 | 0.0005 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0819 |  |  |  |  | 0.194
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3223 | 3211 | 12 | 1200 | 0.0012 | 32120 | 32058 | 62 | 6200 | 0.0062
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 23344 | 22944 | 400 | 40000 | 0.04 | 53085 | 52448 | 637 | 63700 | 0.0637
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 63635 | 63249 | 386 | 38600 | 0.0386 | 5965 | 5552 | 413 | 41300 | 0.0413
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 14935 | 14712 | 223 | 22300 | 0.0223 | 37557 | 36949 | 608 | 60800 | 0.0608
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999777 | 999777 | 0 | 0 | 0 | 14145 | 13926 | 219 | 21900 | 0.0219
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69027 | 68611 | 416 | 41600 | 0.0416 | 29963 | 28495 | 1468 | 146800 | 0.1468
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 672 | 643 | 29 | 2900 | 0.0029 | 1223 | 1048 | 175 | 17500 | 0.0175
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1466 |  |  |  |  | 0.3582
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7403 | 7449 | -46 | -2300 | -0.0023 | 18540 | 18541 | -1 | -50 | -5e-05
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.0023 |  |  |  |  | -5e-05
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1489 |  |  |  |  | 0.35825
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0819 |  |  |  |  | 0.194
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.2308 |  |  |  |  | 0.55225
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2308 | (REACTIVE MUs) |  |  |  | 0.55225 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0028175 | (REACTIVE MUs) |  |  |  | 0.011349 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.22798 | (REACTIVE MUs) |  |  |  | 0.5636 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 69266 | 70120 | -854 | -85400 | -0.0854 | 76607 | 76607 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 17122 | 13659 | 3463 | 346300 | 0.3463 | 999951 | 999939 | 12 | 1200 | 0.0012
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 143956 | 132957 | 10999 | 1099900 | 1.0999 | 86465 | 86465 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13286 | 13085 | 201 | 201000 | 0.201 | 16889 | 16889 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993867 | 993912 | -45 | 22500 | 0.0225 | 959301 | 959780 | -479 | 239500 | 0.2395
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994442 | 994466 | -24 | 12000 | 0.012 | 989299 | 989368 | -69 | 34500 | 0.0345
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999895 | 999904 | -9 | -2700 | -0.0027
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.5963 |  |  |  |  | 0.2725
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 959057 | 959581 | -524 | -104800 | -0.1048 | 990934 | 990930 | 4 | 800 | 0.0008
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 930113 | 930472 | -359 | -35900 | -0.0359 | 931320 | 931332 | -12 | -1200 | -0.0012
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1407 |  |  |  |  | -0.0004
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 154707 | 150759 | 3948 | 789600 | 0.7896 | 252446 | 252424 | 22 | 4400 | 0.0044
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 33673 | 28477 | 5196 | 1039200 | 1.0392 | 38989 | 38987 | 2 | 400 | 0.0004
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 34989 | 25174 | 9815 | 981500 | 0.9815 | 67698 | 67695 | 3 | 300 | 0.0003
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989597 | 991137 | -1540 | -1540000 | -1.54 | 997645 | 997644 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 984141 | 985169 | -1028 | -102800 | -0.1028 | 7831 | 7832 | -1 | -100 | -0.0001
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 129 | 144 | -15 | -14062.5 | -0.014063 | 15 | 35 | -20 | -18750 | -0.01875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 994190 | 994859 | -669 | 334500 | 0.3345 | 995902 | 995902 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999895 | 999904 | -9 | 2700 | 0.0027
| TOTAL NDPL | [8 empty] | 1.4879 |  |  |  |  | -0.01005
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.5963 |  |  |  |  | 0.2725
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1407 |  |  |  |  | -0.0004
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.4879 |  |  |  |  | -0.01005

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6999 | 6759 | 240 | 480000 | 0.48 | 999922 | 999918 | 4 | 8000 | 0.008
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5922 | 5752 | 170 | 340000 | 0.34 | 999660 | 999699 | -39 | -78000 | -0.078
[7 empty] | NET REACTIVE ENERGY |  |  | 0.82 |  | NET REACTIVE ENERGY |  |  | -0.07
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999658 | 999658 | 0 | 0 | 0 | 42298 | 42182 | 116 | 116000 | 0.116
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991408 | 991408 | 0 | 0 | 0 | 988846 | 987320 | 1526 | 1526000 | 1.526
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | 1.642
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.82 |  |  |  |  | 1.572
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.485 |  |  |  |  | -7.4611
[7 empty] | NDMC = |  |  | 0.019 |  |  |  |  | 4.4632
MES =
[7 empty] | 2)TOTAL |  |  | -0.466 |  |  |  |  | -2.9979
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.354 |  |  |  |  | -1.4259
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.453 | % |  |  | 0.10072 |  |  |  |  | -0.40571
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3239 | % |  |  | 0.14629 |  |  |  |  | -0.58924
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.2108 | % |  |  | 0.085706 |  |  |  |  | -0.34522
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.211 | % |  |  | 0.018447 |  |  |  |  | -0.074304
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7959 | % |  |  | 0.0028175 |  |  |  |  | -0.011349
Note :Sharing taken from wk-2 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2011 TO 30th APRIL-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.79941 | + | 4.8447
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.95492 | + | 25.4771
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.90686 | + | 1.4942
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 8.5664 | + | 7.35
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.22798 | + | 0.5636
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/11 | INTIAL READING 01/04/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990585 | 990490 | 95 | 142500 | 0.1425 | 981725 | 981729 | -4 | -6000 | -0.006
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 986323 | 987177 | -854 | -1281000 | -1.281 | 987354 | 987365 | -11 | -16500 | -0.0165
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 950154 | 950323 | -169 | -253500 | -0.2535 | 971559 | 971577 | -18 | -27000 | -0.027
[8 empty] | NET REACTIVE ENERGY |  | -1.392 |  |  | NET REACTIVE ENERGY |  | -0.0495
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 996979 | 996987 | -8 | -40000 | -0.04 | 37806 | 37855 | -49 | -245000 | -0.245 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999536 | 999547 | -11 | -11000 | -0.011 | 8861 | 9006 | -145 | -145000 | -0.145 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 979818 | 980519 | -701 | -701000 | -0.701 | 992475 | 992508 | -33 | -33000 | -0.033
[8 empty] | NET REACTIVE ENERGY |  | -0.752 |  |  | NET REACTIVE ENERGY |  | -0.423