## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RPH
1 | CIVIL LINE-3 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| GOPAL PUR | [8 empty] | 0 |  |  |  |  | 0
2 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23498 | 23486 | 12 | -12000 | -0.012 | 975166 | 977437 | -2271 | 2271000 | 2.271
3 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998663 | 998652 | 11 | -11000 | -0.011 | 990217 | 987170 | 3047 | -3047000 | -3.047
4 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20369 | 20253 | 116 | -116000 | -0.116 | 1436 | 1786 | -350 | 350000 | 0.35
SUBZI MANDI
5 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974221 | 974227 | -6 | 6000 | 0.006 | 993917 | 995424 | -1507 | 1507000 | 1.507
6 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929464 | 929562 | -98 | 98000 | 0.098 | 979134 | 981564 | -2430 | 2430000 | 2.43
ROHINI
7 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14813 | 14809 | 4 | -4000 | -0.004 | 7299 | 5935 | 1364 | -1364000 | -1.364
8 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15703 | 15699 | 4 | -4000 | -0.004 | 4781 | 3521 | 1260 | -1260000 | -1.26
9 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6709 | 6687 | 22 | -22000 | -0.022 | 994749 | 994698 | 51 | -51000 | -0.051
10 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4887 | 4888 | -1 | 1000 | 0.001 | 987846 | 988001 | -155 | 155000 | 0.155
SHALIMAR BAGH
11 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33229 | 33029 | 200 | -200000 | -0.2 | 9189 | 8904 | 285 | -285000 | -0.285
12 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4939 | 4920 | 19 | -19000 | -0.019 | 3167 | 3021 | 146 | -146000 | -0.146
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988145 | 988579 | -434 | -434000 | -0.434 | 921376 | 921540 | -164 | -164000 | -0.164
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 178 | 178 | 0 | 0 | 0 | 10280 | 7476 | 2804 | -2804000 | -2.804
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999263 | 999334 | -71 | 71000 | 0.071 | 14254 | 13309 | 945 | -945000 | -0.945
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1306 | 1308 | -2 | 2000 | 0.002 | 17074 | 15408 | 1666 | -1666000 | -1.666
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 130 | 132 | -2 | -2000 | -0.002 | 31117 | 30981 | 136 | 136000 | 0.136
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 283 | 281 | 2 | 2000 | 0.002 | 23799 | 23625 | 174 | 174000 | 0.174
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 554 | 554 | 0 | 0 | 0 | 83954 | 81548 | 2406 | 240600 | 0.2406
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1430 | 1430 | 0 | 0 | 0 | 126780 | 126780 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997111 | 997119 | -8 | -8000 | -0.008 | 1995 | 2743 | -748 | -748000 | -0.748
KASHMIRI GATE
22 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659525 | 659525 | 0 | 0 | 0 | 870046 | 888778 | -18732 | -936600 | -0.9366
23 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666476 | 666476 | 0 | 0 | 0 | 896907 | 918230 | -21323 | -1066150 | -1.0661
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993452 | 993449 | 3 | 3000 | 0.003 | 998726 | 998782 | -56 | -56000 | -0.056
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 395 | 358 | 37 | -37000 | -0.037 | 979054 | 978845 | 209 | -209000 | -0.209
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996368 | 996433 | -65 | 65000 | 0.065 | 950870 | 951469 | -599 | 599000 | 0.599
BAWANA
28 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998101 | 998138 | -37 | 37000 | 0.037 | 967113 | 969802 | -2689 | 2689000 | 2.689
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
29 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 191 | 187 | 4 | 4000 | 0.004 | 11339 | 11022 | 317 | 317000 | 0.317
30 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998825 | 998815 | 10 | 10000 | 0.01 | 2970 | 2825 | 145 | 145000 | 0.145
| NDPL(+) continue | [14 empty] | MAY 2010
DMS
31 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 6 | 1 | 1000 | 0.001 | 44030 | 42552 | 1478 | 1478000 | 1.478
REWARI LINE
32 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7125 | 7101 | 24 | 2400 | 0.0024 | 24542 | 24407 | 135 | 13500 | 0.0135
VISHAL
33 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | 100 | 3466 | 3309 | 157 | 15700 | 0.0157 | 14081 | 13061 | 1020 | 102000 | 0.102
34 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 6252 | 6020 | 232 | 23200 | 0.0232 | 19907 | 18429 | 1478 | 147800 | 0.1478
35 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 8441 | 7340 | 1101 | 110100 | 0.1101 | 29280 | 27563 | 1717 | 171700 | 0.1717
S.B.MILL
36 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 22002 | 21584 | 418 | 41800 | 0.0418 | 7572 | 7185 | 387 | 38700 | 0.0387
37 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 747 | 746 | 1 | 100 | 0.0001 | 165 | 160 | 5 | 500 | 0.0005
38 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
39 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 8538 | 8468 | 70 | 7000 | 0.007 | 6936 | 6344 | 592 | 59200 | 0.0592
42 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998154 | 998159 | -5 | -500 | -0.0005 | 40 | 39 | 1 | 100 | 0.0001
B.G.ROAD
43 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3063 | 3063 | 0 | 0 | 0 | 23474 | 22909 | 565 | 282500 | 0.2825
44 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2847 | 2846 | 1 | 500 | 0.0005 | 15847 | 15280 | 567 | 283500 | 0.2835
45 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2855 | 2855 | 0 | 0 | 0 | 10898 | 10811 | 87 | 43500 | 0.0435
46 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2938 | 2938 | 0 | 0 | 0 | 12431 | 12124 | 307 | 153500 | 0.1535
D.M.S.
47 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999734 | 999739 | -5 | -500 | -0.0005 | 3846 | 3720 | 126 | 12600 | 0.0126
48 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 711 | 703 | 8 | 800 | 0.0008 | 9153 | 8370 | 783 | 78300 | 0.0783
49 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 1540 | 1512 | 28 | 2800 | 0.0028 | 37056 | 35426 | 1630 | 163000 | 0.163
50 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 3764 | 3672 | 92 | 9200 | 0.0092 | 15559 | 13778 | 1781 | 178100 | 0.1781
51 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 328 | 328 | 0 | 0 | 0
52 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
53 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 17 | 17 | 0 | 0 | 0 | 46770 | 43477 | 3293 | 329300 | 0.3293
54 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 55 | 48 | 7 | 700 | 0.0007 | 43632 | 41633 | 1999 | 199900 | 0.1999
55 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 67 | 57 | 10 | 1000 | 0.001 | 61159 | 58812 | 2347 | 234700 | 0.2347
KASHMIRI GATE
56 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 60274 | 60189 | 85 | 8500 | 0.0085 | 24350 | 24188 | 162 | 16200 | 0.0162
57 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 4836 | 4799 | 37 | 3700 | 0.0037 | 19848 | 17260 | 2588 | 258800 | 0.2588
58 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999923 | 999917 | 6 | -1800 | -0.0018
REWARI LINE (11KV TRANSFER OF ENERGY)
59 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 288 | 53 | -5300 | -0.0053 | 836 | 810 | 26 | -2600 | -0.0026
60 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999550 | 999550 | 0 | 0 | 0 | 999136 | 999136 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.3478 |  |  |  |  | 0.50685
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 2937 | 2865 | 72 | -7200 | -0.0072 | 5788 | 5544 | 244 | -24400 | -0.0244
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3240 | 3231 | 9 | -9000 | -0.009 | 3217 | 2923 | 294 | -294000 | -0.294
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3600 | 3589 | 11 | -11000 | -0.011 | 3393 | 3093 | 300 | -300000 | -0.3
4 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9846 | 9841 | 5 | -5000 | -0.005 | 3583 | 2940 | 643 | -643000 | -0.643
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9443 | 9405 | 38 | -38000 | -0.038 | 6250 | 5664 | 586 | -586000 | -0.586
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 27098 | 26831 | 267 | -26700 | -0.0267 | 131715 | 119400 | 12315 | -1231500 | -1.2315
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992523 | 993141 | -618 | 618000 | 0.618 | 995181 | 995385 | -204 | 204000 | 0.204
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5211 |  |  |  |  | -2.8749
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.3478 |  |  |  |  | 0.50685
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5211 |  |  |  |  | -2.8749
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.1531 |  |  |  |  | 1.8273
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.3264 |  |  |  |  | -0.54075
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3264 | (REACTIVE MUs) |  |  |  | -0.54075 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.12625 | (REACTIVE MUs) |  |  |  | 1.4655 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.45265 | (REACTIVE MUs) |  |  |  | 0.92475 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 999665 | 1000007 | -342 | -34200 | -0.0342 | 69797 | 71454 | -1657 | -165700 | -0.1657 | ROLL OVER
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000078 | 999993 | 85 | 8500 | 0.0085 | 991735 | 990861 | 874 | 87400 | 0.0874 | ROLL OVER
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 2037 | 235 | 1802 | 180200 | 0.1802 | 12332 | 11616 | 716 | 71600 | 0.0716
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999996 | 999987 | 9 | 900 | 0.0009 | 996510 | 996070 | 440 | 44000 | 0.044
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 999732 | 1000028 | -296 | -29600 | -0.0296 | 57798 | 56865 | 933 | 93300 | 0.0933 | ROLL OVER
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999880 | 1000012 | -132 | -13200 | -0.0132 | 51416 | 54454 | -3038 | -303800 | -0.3038 | ROLL OVER
RPH
8 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999948 | -3 | -3000 | -0.003 | 2763 | 2720 | 43 | 43000 | 0.043
9 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 81 | 87 | -6 | -6000 | -0.006 | 1546 | 1723 | -177 | -177000 | -0.177
10 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 229 | 214 | 15 | 15000 | 0.015 | 1950 | 1642 | 308 | 308000 | 0.308
11 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 220 | 225 | -5 | -5000 | -0.005 | 1297 | 1077 | 220 | 220000 | 0.22
12 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 290 | 285 | 5 | 5000 | 0.005 | 999205 | 999319 | -114 | -114000 | -0.114
13 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 11712 | 11744 | -32 | -32000 | -0.032
14 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 111 | 111 | 0 | 0 | 0 | 28497 | 28083 | 414 | 414000 | 0.414
15 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 3822 | 3750 | 72 | 72000 | 0.072
16 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 273 | 272 | 1 | 1000 | 0.001 | 3594 | 3399 | 195 | 195000 | 0.195
17 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26043 | 25646 | 397 | 39700 | 0.0397 | 323 | 296 | 27 | 2700 | 0.0027
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998987 | 999003 | -16 | -16000 | -0.016 | 3595 | 3225 | 370 | 370000 | 0.37
| GT | [8 empty] | 0.0307 |  |  |  |  | 1.3017
19 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 907390 | 910530 | -3140 | -3454000 | -3.454
20 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 928162 | 929536 | -1374 | -1511400 | -1.5114
KASHMIRI GATE
21 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970419 | 970431 | -12 | 12000 | 0.012 | 983225 | 985529 | -2304 | 2304000 | 2.304
22 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992658 | 992684 | -26 | 26000 | 0.026 | 990155 | 990574 | -419 | 419000 | 0.419
23 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999923 | 999917 | 6 | 1800 | 0.0018
NARAINA
24 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 108 | 108 | 0 | 0 | 0 | 40397 | 38448 | 1949 | 1949000 | 1.949
PARK STREET
25 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 305 | 297 | 8 | -8000 | -0.008 | 982733 | 983400 | -667 | 667000 | 0.667
26 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1681 | 1606 | 75 | -75000 | -0.075 | 988024 | 988009 | 15 | -15000 | -0.015
27 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | TX.-2(33KV) | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 617 | 609 | 8 | -8000 | -0.008 | 994409 | 994446 | -37 | 37000 | 0.037 | FROM 01/05/10 TO 26/05/10
|  | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 15 | -15000 | -0.015
IMPORTS
SUBZI MANDI
29 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9846 | 9841 | 5 | 5000 | 0.005 | 3583 | 2940 | 643 | 643000 | 0.643
30 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9443 | 9405 | 38 | 38000 | 0.038 | 6250 | 5664 | 586 | 586000 | 0.586
RIDGE VALLEY
31 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 50912 | 38048 | 12864 | 1286400 | 1.2864 | 1667 | 1633 | 34 | 3400 | 0.0034
32 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 999753 | 992261 | 7492 | 749200 | 0.7492 | 999395 | 999327 | 68 | 6800 | 0.0068
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.1689 |  |  |  |  | 2.7501
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.1689 |  |  |  |  | 2.7501
MAY 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 989902 | 992547 | -2645 | 2645000 | 2.645
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 991003 | 993074 | -2071 | 2071000 | 2.071
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 984738 | 987602 | -2864 | 2864000 | 2.864
PPG
4 | Tx.1 (66 KV) | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27243 | 27393 | -150 | 150000 | 0.15 | 1350 | 1273 | 77 | -77000 | -0.077
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981239 | 981406 | -167 | 167000 | 0.167 | 991147 | 991072 | 75 | -75000 | -0.075
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1657 | 1657 | 0 | 0 | 0 | 994968 | 993771 | 1197 | -1197000 | -1.197
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1050 | 1050 | 0 | 0 | 0 | 986894 | 986827 | 67 | -67000 | -0.067
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999922 | 999922 | 0 | 0 | 0 | 989063 | 988941 | 122 | -122000 | -0.122
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13781 | 13779 | 2 | -2000 | -0.002 | 983626 | 987340 | -3714 | 3714000 | 3.714
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973517 | 973517 | 0 | 0 | 0 | 954708 | 959851 | -5143 | 5143000 | 5.143
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21009 | 21009 | 0 | 0 | 0 | 11568 | 8316 | 3252 | -3252000 | -3.252
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14258 | 14235 | 23 | -23000 | -0.023 | 20720 | 17730 | 2990 | -2990000 | -2.99
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.292 |  |  |  |  | 8.657
| (B) NET ENERGY TO EAST | [8 empty] | 0.292 |  |  |  |  | 8.657
MAY 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993452 | 993449 | 3 | -3000 | -0.003 | 998726 | 998782 | -56 | 56000 | 0.056
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 1338 | 1386 | -48 | 4800 | 0.0048 | 44213 | 43785 | 428 | -42800 | -0.0428
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1130 | 1139 | -9 | 900 | 0.0009 | 97333 | 93529 | 3804 | -380400 | -0.3804
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999807 | 999809 | -2 | 200 | 0.0002 | 6797 | 5787 | 1010 | -101000 | -0.101
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 2719 | 2639 | 80 | -8000 | -0.008 | 53110 | 49883 | 3227 | -322700 | -0.3227
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21845 | 19999 | 1846 | -1846000 | -1.846 | 194 | 194 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999978 | 999977 | 1 | -1000 | -0.001 | 34451 | 33454 | 997 | -997000 | -0.997
9 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999910 | 999910 | 0 | 0 | 0 | 22064 | 21585 | 479 | -479000 | -0.479
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 191 | 187 | 4 | -4000 | -0.004 | 11339 | 11022 | 317 | -317000 | -0.317
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998825 | 998815 | 10 | -10000 | -0.01 | 2970 | 2825 | 145 | -145000 | -0.145
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7 | 6 | 1 | -1000 | -0.001 | 44030 | 42552 | 1478 | -1478000 | -1.478
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3063 | 3063 | 0 | 0 | 0 | 23474 | 22909 | 565 | -282500 | -0.2825
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2847 | 2846 | 1 | -500 | -0.0005 | 15847 | 15280 | 567 | -283500 | -0.2835
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2855 | 2855 | 0 | 0 | 0 | 10898 | 10811 | 87 | -43500 | -0.0435
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2938 | 2938 | 0 | 0 | 0 | 12431 | 12124 | 307 | -153500 | -0.1535
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 60274 | 60189 | 85 | -8500 | -0.0085 | 24350 | 24188 | 162 | -16200 | -0.0162
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 4836 | 4799 | 37 | -3700 | -0.0037 | 19848 | 17260 | 2588 | -258800 | -0.2588
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999734 | 999739 | -5 | 500 | 0.0005 | 3846 | 3720 | 126 | -12600 | -0.0126
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 711 | 703 | 8 | -800 | -0.0008 | 9153 | 8370 | 783 | -78300 | -0.0783
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 1540 | 1512 | 28 | -2800 | -0.0028 | 37056 | 35426 | 1630 | -163000 | -0.163
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 3764 | 3672 | 92 | -9200 | -0.0092 | 15559 | 13778 | 1781 | -178100 | -0.1781
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999989 | 999989 | 0 | 0 | 0 | 328 | 328 | 0 | 0 | 0
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 17 | 17 | 0 | 0 | 0 | 46770 | 43477 | 3293 | -329300 | -0.3293
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 55 | 48 | 7 | -700 | -0.0007 | 43632 | 41633 | 1999 | -199900 | -0.1999
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 67 | 57 | 10 | -1000 | -0.001 | 61159 | 58812 | 2347 | -234700 | -0.2347
[10 empty] | -1.8938 |  |  |  |  | -6.4408
MAY 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.1689 |  |  |  |  | 2.7501
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.8938 |  |  |  |  | -6.4408
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0283 |  |  |  |  | -0.252
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.2468 |  |  |  |  | -3.9427
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.292 |  |  |  |  | 8.657
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.5388 |  |  |  |  | 4.7143
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.5388 | (REACTIVE MUs) |  |  |  | 4.7143 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10703 | (REACTIVE MUs) |  |  |  | 1.2425 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.64583 | (REACTIVE MUs) |  |  |  | 5.9568 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [15 empty] | MAY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999981 | 999998 | -17 | -17000 | -0.017 | 11358 | 11210 | 148 | 148000 | 0.148
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 1007717 | 999926 | 7791 | 779100 | 0.7791 | 681741 | 680396 | 1345 | 134500 | 0.1345
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000327 | 999993 | 334 | 334000 | 0.334 | 41013 | 40347 | 666 | 666000 | 0.666
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 614 | 0 | 614 | 184200 | 0.1842 | 328 | 256 | 72 | 21600 | 0.0216
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 996580 | 996224 | 356 | 71200 | 0.0712 | 987156 | 986853 | 303 | 60600 | 0.0606
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 545 | 28 | 517 | 51700 | 0.0517 | 66467 | 64885 | 1582 | 158200 | 0.1582
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 7582 | 248 | 7334 | 733400 | 0.7334 | 268486 | 267514 | 972 | 97200 | 0.0972
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999993 | 999979 | 14 | 1400 | 0.0014 | 309363 | 307069 | 2294 | 229400 | 0.2294
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999996 | -18 | -18000 | -0.018 | 7003 | 7437 | -434 | -434000 | -0.434
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998549 | 998548 | 1 | -1000 | -0.001 | 977446 | 979038 | -1592 | 1592000 | 1.592
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997777 | 997777 | 0 | 0 | 0 | 978618 | 980199 | -1581 | 1581000 | 1.581
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997962 | 997973 | -11 | 11000 | 0.011 | 973507 | 976611 | -3104 | 3104000 | 3.104
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998432 | 998414 | 18 | -18000 | -0.018 | 977591 | 978436 | -845 | 845000 | 0.845
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2337 | 2331 | 6 | -6000 | -0.006 | 30854 | 31978 | -1124 | 1124000 | 1.124
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999866 | 999829 | 37 | -37000 | -0.037 | 983367 | 984054 | -687 | 687000 | 0.687
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34401 | 34057 | 344 | -344000 | -0.344 | 22852 | 22403 | 449 | -449000 | -0.449
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5200 | 5118 | 82 | -82000 | -0.082 | 14925 | 14973 | -48 | 48000 | 0.048
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21821 | 21443 | 378 | -378000 | -0.378 | 11124 | 10862 | 262 | -262000 | -0.262
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8157 | 8018 | 139 | -139000 | -0.139 | 33688 | 31551 | 2137 | -2137000 | -2.137
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3240 | 3231 | 9 | 9000 | 0.009 | 3217 | 2923 | 294 | 294000 | 0.294
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3600 | 3589 | 11 | 11000 | 0.011 | 3393 | 3093 | 300 | 300000 | 0.3
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988689 | 988762 | -73 | 73000 | 0.073 | 921763 | 926039 | -4276 | 4276000 | 4.276
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998717 | 998716 | 1 | -1000 | -0.001 | 906093 | 912185 | -6092 | 6092000 | 6.092
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 4748 | 669 | 4079 | -4079000 | -4.079
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 999224 | 995087 | 4137 | -4137000 | -4.137
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996158 | 996158 | 0 | 0 | 0 | 968809 | 971276 | -2467 | 2467000 | 2.467
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977658 | 979843 | -2185 | 2185000 | 2.185
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 975966 | 975740 | 226 | -226000 | -0.226
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 974743 | 974788 | -45 | 45000 | 0.045
BRPL(+) continue | [15 empty] | MAY 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 588 | 584 | 4 | -4000 | -0.004 | 988205 | 987490 | 715 | -715000 | -0.715
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1802 | 1799 | 3 | -3000 | -0.003 | 4111 | 3245 | 866 | -866000 | -0.866
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989189 | 989139 | 50 | -50000 | -0.05 | 982764 | 982202 | 562 | -562000 | -0.562
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999703 | 999701 | 2 | -2000 | -0.002 | 960841 | 965648 | -4807 | 4807000 | 4.807
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2965 | 2802 | 163 | -163000 | -0.163 | 975621 | 976093 | -472 | 472000 | 0.472
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 999876 | 3 | -3000 | -0.003 | 979241 | 982784 | -3543 | 3543000 | 3.543
PARK STREET
36 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999977 | 1 | 1000 | 0.001 | 34451 | 33454 | 997 | 997000 | 0.997
37 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 22064 | 21585 | 479 | 479000 | 0.479
SARITA VIHAR
38 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 750 | 709 | 41 | -41000 | -0.041 | 985669 | 985331 | 338 | -338000 | -0.338
39 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 310 | 310 | 0 | 0 | 0 | 985452 | 982469 | 2983 | -2983000 | -2.983
NARAINA
40 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 2937 | 2865 | 72 | 7200 | 0.0072 | 5788 | 5544 | 244 | 24400 | 0.0244
SUDARSHAN PARK
41 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 27098 | 26831 | 267 | 26700 | 0.0267 | 131715 | 119400 | 12315 | 1231500 | 1.2315
REWARI LINE
43 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
44 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992523 | 993141 | -618 | -618000 | -0.618 | 995181 | 995385 | -204 | -204000 | -0.204
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.3689 |  |  |  |  | 20.3174
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 996354 | 996592 | -238 | -23800 | -0.0238 | 877183 | 883083 | -5900 | -590000 | -0.59
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 50912 | 38048 | 12864 | -1286400 | -1.2864 | 1667 | 1633 | 34 | -3400 | -0.0034
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 999753 | 992261 | 7492 | -749200 | -0.7492 | 999395 | 999327 | 68 | -6800 | -0.0068
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 365 | 368 | -3 | 300 | 0.0003 | 999997 | 999997 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 215 | 222 | -7 | 700 | 0.0007 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 607417 | 595311 | 12106 | -1210600 | -1.2106 | 42428 | 42360 | 68 | -6800 | -0.0068 | ROLL OVER
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000082 | 999942 | 140 | -140000 | -0.14 | 453 | 279 | 174 | -174000 | -0.174 | ROLL OVER
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 563096 | 552230 | 10866 | -1086600 | -1.0866 | 37421 | 37353 | 68 | -6800 | -0.0068
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 3403 | 3379 | 24 | -2400 | -0.0024 | 42739 | 41170 | 1569 | -156900 | -0.1569
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6537 | 6498 | 39 | -3900 | -0.0039 | 40006 | 38300 | 1706 | -170600 | -0.1706
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 27893 | 27750 | 143 | -14300 | -0.0143 | 85992 | 81655 | 4337 | -433700 | -0.4337
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 1566 | 1187 | 379 | -37900 | -0.0379 | 590885 | 581520 | 9365 | -936500 | -0.9365
13 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 62477 | 60172 | 2305 | -230500 | -0.2305 | 114446 | 109725 | 4721 | -472100 | -0.4721
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145888 | 145818 | 70 | 7000 | 0.007 | 24470 | 24460 | 10 | 1000 | 0.001
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 709 | 590 | 119 | -11900 | -0.0119 | 10432 | 10392 | 40 | -4000 | -0.004
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7125 | 7101 | 24 | -2400 | -0.0024 | 24542 | 24407 | 135 | -13500 | -0.0135
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | -100 | 3466 | 3309 | 157 | -15700 | -0.0157 | 14081 | 13061 | 1020 | -102000 | -0.102
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 6252 | 6020 | 232 | -23200 | -0.0232 | 19907 | 18429 | 1478 | -147800 | -0.1478
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 8441 | 7340 | 1101 | -110100 | -0.1101 | 29280 | 27563 | 1717 | -171700 | -0.1717
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 22002 | 21584 | 418 | -41800 | -0.0418 | 7572 | 7185 | 387 | -38700 | -0.0387
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 747 | 746 | 1 | -100 | -0.0001 | 165 | 160 | 5 | -500 | -0.0005
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 8538 | 8468 | 70 | -7000 | -0.007 | 6936 | 6344 | 592 | -59200 | -0.0592
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998154 | 998159 | -5 | 500 | 0.0005 | 40 | 39 | 1 | -100 | -0.0001
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 288 | 53 | 5300 | 0.0053 | 836 | 810 | 26 | 2600 | 0.0026
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999550 | 999550 | 0 | 0 | 0 | 999136 | 999136 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.984 |  |  |  |  | -3.4915
MAY 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.3689 |  |  |  |  | 20.3174
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.984 |  |  |  |  | -3.4915
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.1851 |  |  |  |  | 3.7341
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0476 |  |  |  |  | -0.48345
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.4776 |  |  |  |  | 20.0765
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.4776 | (REACTIVE MUs) |  |  |  | 20.0765 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18758 | (REACTIVE MUs) |  |  |  | 2.1775 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.29 | (REACTIVE MUs) |  |  |  | 22.254 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 1338 | 1386 | -48 | -4800 | -0.0048 | 44213 | 43785 | 428 | 42800 | 0.0428
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1130 | 1139 | -9 | -900 | -0.0009 | 97333 | 93529 | 3804 | 380400 | 0.3804
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999807 | 999809 | -2 | -200 | -0.0002 | 6797 | 5787 | 1010 | 101000 | 0.101
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 2719 | 2639 | 80 | 8000 | 0.008 | 53110 | 49883 | 3227 | 322700 | 0.3227
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 21845 | 19999 | 1846 | 1846000 | 1.846 | 194 | 194 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 2 | 0 | 2 | 200 | 0.0002 | 245794 | 238711 | 7083 | 708300 | 0.7083
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 51 | 12 | 39 | 3900 | 0.0039 | 370364 | 362065 | 8299 | 829900 | 0.8299
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 198 | 65 | 133 | 13300 | 0.0133 | 157890 | 154940 | 2950 | 295000 | 0.295
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 62 | 16 | 46 | 4600 | 0.0046 | 275555 | 270914 | 4641 | 464100 | 0.4641
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 37 | 3 | 34 | 3400 | 0.0034 | 175700 | 168619 | 7081 | 708100 | 0.7081
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 116 | 42 | 74 | 7400 | 0.0074 | 124235 | 120402 | 3833 | 383300 | 0.3833
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 96 | 1 | 95 | 9500 | 0.0095 | 158330 | 153697 | 4633 | 463300 | 0.4633
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 109 | 20 | 89 | 8900 | 0.0089 | 196684 | 195200 | 1484 | 148400 | 0.1484
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 29183 | 25336 | 3847 | 4231700 | 4.2317
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4683 | 4687 | -4 | -4000 | -0.004 | 35991 | 35989 | 2 | 2000 | 0.002
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 98707 | 95714 | 2993 | 3292300 | 3.2923
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6342 | 6124 | 218 | 218000 | 0.218 | 47964 | 47933 | 31 | 31000 | 0.031
[10 empty] | 0.214 |  |  |  |  | 7.557
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 607417 | 595311 | 12106 | 1210600 | 1.2106 | 42428 | 42360 | 68 | 6800 | 0.0068 | ROLL OVER
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000082 | 999942 | 140 | 140000 | 0.14 | 453 | 279 | 174 | 174000 | 0.174
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 563096 | 552230 | 10866 | 1086600 | 1.0866 | 37421 | 37353 | 68 | 6800 | 0.0068
A.I.I.M.S.
21 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 1566 | 1187 | 379 | 37900 | 0.0379 | 590885 | 581520 | 9365 | 936500 | 0.9365
22 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 62477 | 60172 | 2305 | 230500 | 0.2305 | 114446 | 109725 | 4721 | 472100 | 0.4721
| NDMC(+) Continue… | [14 empty] | MAY 2010
KIDWAI NAGAR
23 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145888 | 145818 | 70 | -7000 | -0.007 | 24470 | 24460 | 10 | -1000 | -0.001
EXHIBITION I
24 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 709 | 590 | 119 | 11900 | 0.0119 | 10432 | 10392 | 40 | 4000 | 0.004
25 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
26 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 3403 | 3379 | 24 | 2400 | 0.0024 | 42739 | 41170 | 1569 | 156900 | 0.1569
27 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6537 | 6498 | 39 | 3900 | 0.0039 | 40006 | 38300 | 1706 | 170600 | 0.1706
28 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 27893 | 27750 | 143 | 14300 | 0.0143 | 85992 | 81655 | 4337 | 433700 | 0.4337
TILAK MARG
29 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 996354 | 996592 | -238 | 23800 | 0.0238 | 877183 | 883083 | -5900 | 590000 | 0.59
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.8682 |  |  |  |  | 15.3547
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.8682 |  |  |  |  | 15.3547
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.023005 |  |  |  |  | 0.26705
| TOTAL ENERGY TO NDMC | [8 empty] | 4.8912 |  |  |  |  | 15.6217

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 210 | 210 | 0 | 0 | 0 | 10199 | 9425 | 774 | 774000 | 0.774
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 122 | 122 | 0 | 0 | 0 | 13103 | 12565 | 538 | 538000 | 0.538
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 19515 | 18256 | 1259 | 1259000 | 1.259
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 10166 | 9586 | 580 | 580000 | 0.58
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 278 | 255 | 23 | 23000 | 0.023 | 4166 | 3853 | 313 | 313000 | 0.313
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 365 | 368 | -3 | -300 | -0.0003 | 999997 | 999997 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 215 | 222 | -7 | -700 | -0.0007 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.022 |  |  |  |  | 3.464
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3021 | 3020 | 1 | 100 | 0.0001 | 31258 | 30998 | 260 | 26000 | 0.026
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 18735 | 18625 | 110 | 11000 | 0.011 | 45826 | 44648 | 1178 | 117800 | 0.1178
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61083 | 60803 | 280 | 28000 | 0.028 | 4691 | 4385 | 306 | 30600 | 0.0306
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 9316 | 9309 | 7 | 700 | 0.0007 | 30392 | 28709 | 1683 | 168300 | 0.1683
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999918 | 999917 | 1 | 100 | 0.0001 | 12542 | 12240 | 302 | 30200 | 0.0302
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 63658 | 63568 | 90 | 9000 | 0.009 | 18429 | 17078 | 1351 | 135100 | 0.1351
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 203 | 203 | 0 | 0 | 0 | 758 | 39 | 719 | 71900 | 0.0719
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0489 |  |  |  |  | 0.5799
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 2842 | 2816 | 26 | 1300 | 0.0013 | 14457 | 12528 | 1929 | 96450 | 0.09645
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0013 |  |  |  |  | 0.09645
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0476 |  |  |  |  | 0.48345
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.022 |  |  |  |  | 3.464
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0696 |  |  |  |  | 3.9474
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0696 | (REACTIVE MUs) |  |  |  | 3.9474 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0034277 | (REACTIVE MUs) |  |  |  | 0.039789 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.073028 | (REACTIVE MUs) |  |  |  | 3.9872 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55587 | 55121 | 466 | 46600 | 0.0466 | 65826 | 60555 | 5271 | 527100 | 0.5271
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6999 | 7102 | -103 | -10300 | -0.0103 | 838 | 1053 | -215 | -21500 | -0.0215
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 119740 | 118807 | 933 | 93300 | 0.0933 | 73609 | 64648 | 8961 | 896100 | 0.8961
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9075 | 9060 | 15 | 15000 | 0.015 | 15202 | 14851 | 351 | 351000 | 0.351
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994835 | 994844 | -9 | 4500 | 0.0045 | 973489 | 977097 | -3608 | 1804000 | 1.804
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 996386 | 996458 | -72 | 36000 | 0.036 | 992413 | 992769 | -356 | 178000 | 0.178
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999990 | 999990 | 0 | 0 | 0 | 999905 | 999907 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.1851 |  |  |  |  | 3.7341
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 967686 | 967637 | 49 | 4900 | 0.0049 | 992715 | 992968 | -253 | -25300 | -0.0253
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 961213 | 961545 | -332 | -33200 | -0.0332 | 938399 | 940666 | -2267 | -226700 | -0.2267
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0283 |  |  |  |  | -0.252
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 100 | 122746 | 121273 | 1473 | 147300 | 0.1473 | 227314 | 214505 | 12809 | 1280900 | 1.2809
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22176 | 22077 | 99 | 19800 | 0.0198 | 35232 | 33967 | 1265 | 253000 | 0.253
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 13520 | 13383 | 137 | 13700 | 0.0137 | 61146 | 58838 | 2308 | 230800 | 0.2308
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993707 | 993744 | -37 | -37000 | -0.037 | 997454 | 997498 | -44 | -44000 | -0.044
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 990304 | 990361 | -57 | -5700 | -0.0057 | 8684 | 8994 | -310 | -31000 | -0.031
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 997102 | 997132 | -30 | 15000 | 0.015 | 996372 | 996646 | -274 | 137000 | 0.137
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999990 | 999990 | 0 | 0 | 0 | 999905 | 999907 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 0.1531 |  |  |  |  | 1.8273
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.1851 |  |  |  |  | 3.7341
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0283 |  |  |  |  | -0.252
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.1531 |  |  |  |  | 1.8273

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (lag) | 2000 | 5055 | 5395 | -340 | -680000 | -0.68 | 999731 | 999727 | 4 | 8000 | 0.008
2 | IBT-2 | 4902498 | ELSTER | kvarh (lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.68 |  |  | NET REACTIVE ENERGY |  | 0.008
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 35282 | 45779 | -10497 | -10497000 | -10.497
4 | IBT-2 | 4902506 | ELSTER | kvarh (lag) | 1000 | 991579 | 991591 | -12 | -12000 | -0.012 | 988154 | 991716 | -3562 | -3562000 | -3.562
[8 empty] | NET REACTIVE ENERGY |  | -0.012 |  |  | NET REACTIVE ENERGY |  | -14.059
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.692 |  |  |  |  | -14.051
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0307 |  |  |  |  | 1.3017
[7 empty] | NDMC = |  |  | 0.214 |  |  |  |  | 7.557
MES =
[7 empty] | 2)TOTAL |  |  | 0.2447 |  |  |  |  | 8.8587
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.4473 |  |  |  |  | -5.1923
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.2244 | % |  |  | -0.12625 |  |  |  |  | -1.4655
2) | BRPL 40.7430% | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9366 | % |  |  | -0.18758 |  |  |  |  | -2.1775
3) | BYPL 25.8884% | (ACTIVE ENERGY DRAWL= |  |  |  | 23.9291 | % |  |  | -0.10703 |  |  |  |  | -1.2425
4) | NDMC 4.9951% | (ACTIVE ENERGY DRAWL= |  |  |  | 5.1431 | % |  |  | -0.023005 |  |  |  |  | -0.26705
5) | MES 1.0301% | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7663 | % |  |  | -0.0034277 |  |  |  |  | -0.039789
Note :Sharing taken from wk-7 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2010 TO 31st MAY-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.45265 | + | 0.92475
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.29 | + | 22.254
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.64583 | + | 5.9568
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.8912 | + | 15.6217
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.073028 | + | 3.9872
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/10 | INTIAL READING 01/05/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 991700 | 991715 | -15 | -22500 | -0.0225 | 984826 | 985937 | -1111 | -1666500 | -1.6665
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 992895 | 992956 | -61 | -91500 | -0.0915 | 989921 | 990570 | -649 | -973500 | -0.9735
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 955338 | 955374 | -36 | -54000 | -0.054 | 976582 | 978185 | -1603 | -2404500 | -2.4045
[8 empty] | NET REACTIVE ENERGY |  | -0.168 |  |  | NET REACTIVE ENERGY |  | -5.0445
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 999927 | 999997 | -70 | -70000 | -0.07 | 38426 | 38089 | 337 | 337000 | 0.337
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 187 | 72 | 115 | 115000 | 0.115 | 13391 | 12462 | 929 | 929000 | 0.929
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 997466 | 1000113 | -2647 | -2647000 | -2.647 | 994116 | 994798 | -682 | -682000 | -0.682
[8 empty] | NET REACTIVE ENERGY |  | -2.602 |  |  | NET REACTIVE ENERGY |  | 0.584