## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RPH
1 | CIVIL LINE-3 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| GOPAL PUR | [8 empty] | 0 |  |  |  |  | 0
2 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23610 | 23588 | 22 | -22000 | -0.022 | 979295 | 979100 | 195 | -195000 | -0.195
3 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998898 | 998813 | 85 | -85000 | -0.085 | 995920 | 995314 | 606 | -606000 | -0.606
4 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20334 | 20309 | 25 | -25000 | -0.025 | 1329 | 1304 | 25 | -25000 | -0.025
SUBZI MANDI
5 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973978 | 974221 | -243 | 243000 | 0.243 | 989514 | 990591 | -1077 | 1077000 | 1.077
6 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928886 | 929333 | -447 | 447000 | 0.447 | 964272 | 969299 | -5027 | 5027000 | 5.027
ROHINI
7 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14831 | 14827 | 4 | -4000 | -0.004 | 8946 | 8972 | -26 | 26000 | 0.026
8 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15723 | 15719 | 4 | -4000 | -0.004 | 6202 | 6268 | -66 | 66000 | 0.066
9 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8316 | 7511 | 805 | -805000 | -0.805 | 995925 | 995871 | 54 | -54000 | -0.054
10 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6051 | 5510 | 541 | -541000 | -0.541 | 988366 | 988370 | -4 | 4000 | 0.004
SHALIMAR BAGH
11 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33525 | 33264 | 261 | -261000 | -0.261 | 9999 | 10057 | -58 | 58000 | 0.058
12 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5859 | 5480 | 379 | -379000 | -0.379 | 4244 | 4243 | 1 | -1000 | -0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985442 | 986730 | -1288 | -1288000 | -1.288 | 920614 | 920627 | -13 | -13000 | -0.013
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999129 | 1000150 | -1021 | 1021000 | 1.021 | 15315 | 15178 | 137 | -137000 | -0.137 | ROLL OVER
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998476 | 999150 | -674 | 674000 | 0.674 | 18252 | 18048 | 204 | -204000 | -0.204
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 837 | 1237 | -400 | 400000 | 0.4 | 20019 | 19934 | 85 | -85000 | -0.085
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 131 | 131 | 0 | 0 | 0 | 32178 | 32600 | -422 | -422000 | -0.422
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 286 | 286 | 0 | 0 | 0 | 26128 | 25872 | 256 | 256000 | 0.256
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 568 | 559 | 9 | 900 | 0.0009 | 94260 | 90851 | 3409 | 340900 | 0.3409
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1430 | 1430 | 0 | 0 | 0 | 143556 | 135454 | 8102 | 810200 | 0.8102
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997056 | 997097 | -41 | -41000 | -0.041 | 999069 | 999780 | -711 | -711000 | -0.711
KASHMIRI GATE
22 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659482 | 659482 | 0 | 0 | 0 | 808558 | 812971 | -4413 | -220650 | -0.22065
23 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666406 | 666406 | 0 | 0 | 0 | 839082 | 865480 | -26398 | -1319900 | -1.3199
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993376 | 993413 | -37 | -37000 | -0.037 | 998659 | 998651 | 8 | 8000 | 0.008
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 994800 | 994882 | -82 | -8200 | -0.0082 | 11903 | 11552 | 351 | 35100 | 0.0351
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983 | 655 | 328 | -328000 | -0.328 | 979641 | 979449 | 192 | -192000 | -0.192
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996808 | 996663 | 145 | -145000 | -0.145 | 951089 | 951271 | -182 | 182000 | 0.182
BAWANA
28 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997734 | 997974 | -240 | 240000 | 0.24 | 960075 | 961365 | -1290 | 1290000 | 1.29
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
29 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 256 | 216 | 40 | 40000 | 0.04 | 12301 | 12154 | 147 | 147000 | 0.147
30 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998907 | 998869 | 38 | 38000 | 0.038 | 3104 | 3085 | 19 | 19000 | 0.019
| NDPL(+) continue | [14 empty] | AUGUST 2010
DMS
31 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13 | 12 | 1 | 1000 | 0.001 | 48152 | 47396 | 756 | 756000 | 0.756
REWARI LINE
32 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7113 | 7148 | -35 | -3500 | -0.0035 | 42069 | 39714 | 2355 | 235500 | 0.2355
VISHAL
| RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | 100 | 4418 | 4407 | 11 | 1100 | 0.0011 | 15473 | 15436 | 37 | 3700 | 0.0037
33 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 5318 | 5296 | 22 | 2200 | 0.0022 | 5845 | 5022 | 823 | 82300 | 0.0823 | Insatalled on 09/08/10
34 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 7015 | 6993 | 22 | 2200 | 0.0022 | 24475 | 23593 | 882 | 88200 | 0.0882
35 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 11253 | 10322 | 931 | 93100 | 0.0931 | 31573 | 30961 | 612 | 61200 | 0.0612
S.B.MILL
36 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 23277 | 22919 | 358 | 35800 | 0.0358 | 8450 | 8252 | 198 | 19800 | 0.0198
37 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 768 | 759 | 9 | 900 | 0.0009 | 184 | 182 | 2 | 200 | 0.0002
38 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
39 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 8938 | 8777 | 161 | 16100 | 0.0161 | 8201 | 7972 | 229 | 22900 | 0.0229
42 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998027 | 998059 | -32 | -3200 | -0.0032 | 999961 | 999970 | -9 | -900 | -0.0009
B.G.ROAD
43 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3064 | 3060 | 4 | 2000 | 0.002 | 25136 | 24657 | 479 | 239500 | 0.2395
44 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2849 | 2848 | 1 | 500 | 0.0005 | 17111 | 16836 | 275 | 137500 | 0.1375
45 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2856 | 2855 | 1 | 500 | 0.0005 | 11768 | 11564 | 204 | 102000 | 0.102
46 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2938 | 2938 | 0 | 0 | 0 | 13187 | 12978 | 209 | 104500 | 0.1045
D.M.S.
47 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999659 | 999712 | -53 | -5300 | -0.0053 | 4519 | 4412 | 107 | 10700 | 0.0107
48 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 755 | 735 | 20 | 2000 | 0.002 | 11123 | 10692 | 431 | 43100 | 0.0431
49 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 1940 | 1675 | 265 | 26500 | 0.0265 | 43158 | 41946 | 1212 | 121200 | 0.1212
50 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 4555 | 4300 | 255 | 25500 | 0.0255 | 18492 | 18124 | 368 | 36800 | 0.0368
51 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999971 | 999982 | -11 | -1100 | -0.0011 | 277 | 289 | -12 | -1200 | -0.0012
52 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
53 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 88 | 39 | 49 | 4900 | 0.0049 | 50897 | 49608 | 1289 | 128900 | 0.1289
54 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 132 | 95 | 37 | 3700 | 0.0037 | 47111 | 46519 | 592 | 59200 | 0.0592
55 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 165 | 112 | 53 | 5300 | 0.0053 | 65461 | 64538 | 923 | 92300 | 0.0923
KASHMIRI GATE
56 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 64249 | 62063 | 2186 | 218600 | 0.2186 | 25573 | 25638 | -65 | -6500 | -0.0065
57 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 6152 | 5523 | 629 | 62900 | 0.0629 | 24670 | 23313 | 1357 | 135700 | 0.1357
58 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999947 | 999924 | 23 | -6900 | -0.0069
REWARI LINE (11KV TRANSFER OF ENERGY)
59 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
60 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999508 | 999508 | 0 | 0 | 0 | 999135 | 999135 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.3776 |  |  |  |  | 7.6264
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3475 | 3380 | 95 | -9500 | -0.0095 | 6965 | 6900 | 65 | -6500 | -0.0065
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3338 | 3247 | 91 | -91000 | -0.091 | 3254 | 3238 | 16 | -16000 | -0.016
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3734 | 3615 | 119 | -119000 | -0.119 | 3546 | 3508 | 38 | -38000 | -0.038
4 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9909 | 9864 | 45 | -45000 | -0.045 | 6627 | 5878 | 749 | -749000 | -0.749
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9600 | 9488 | 112 | -112000 | -0.112 | 9805 | 8876 | 929 | -929000 | -0.929
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 27619 | 27611 | 8 | -800 | -0.0008 | 146848 | 144979 | 1869 | -186900 | -0.1869
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990392 | 991396 | -1004 | 1004000 | 1.004 | 994160 | 994247 | -87 | 87000 | 0.087
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.6267 |  |  |  |  | -1.8384
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.3776 |  |  |  |  | 7.6264
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.6267 |  |  |  |  | -1.8384
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.0096 |  |  |  |  | 0.7122
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.2395 |  |  |  |  | 6.5002
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2395 | (REACTIVE MUs) |  |  |  | 6.5002 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.016481 | (REACTIVE MUs) |  |  |  | -2.088 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.22302 | (REACTIVE MUs) |  |  |  | 4.4121 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 997144 | 999301 | -2157 | -215700 | -0.2157 | 63439 | 63724 | -285 | -28500 | -0.0285
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 3431 | 186 | 3245 | 324500 | 0.3245 | 995069 | 994885 | 184 | 18400 | 0.0184
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 13519 | 9551 | 3968 | 396800 | 0.3968 | 24687 | 23346 | 1341 | 134100 | 0.1341
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 150 | 429 | -279 | -27900 | -0.0279 | 996503 | 996533 | -30 | -3000 | -0.003
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 5706 | 3373 | 2333 | 233300 | 0.2333 | 58751 | 58557 | 194 | 19400 | 0.0194
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 998735 | 999735 | -1000 | -100000 | -0.1 | 45257 | 45630 | -373 | -37300 | -0.0373
RPH
8 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999937 | 999942 | -5 | -5000 | -0.005 | 2390 | 2440 | -50 | -50000 | -0.05
9 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 78 | 81 | -3 | -3000 | -0.003 | 792 | 836 | -44 | -44000 | -0.044
10 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 238 | 237 | 1 | 1000 | 0.001 | 2712 | 2597 | 115 | 115000 | 0.115
11 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 221 | 220 | 1 | 1000 | 0.001 | 1443 | 1390 | 53 | 53000 | 0.053
12 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 291 | 290 | 1 | 1000 | 0.001 | 998616 | 998581 | 35 | 35000 | 0.035
13 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12833 | 12650 | 183 | 183000 | 0.183
14 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 112 | 111 | 1 | 1000 | 0.001 | 31195 | 30923 | 272 | 272000 | 0.272
15 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 5591 | 4464 | 1127 | 1127000 | 1.127
16 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 279 | 273 | 6 | 6000 | 0.006 | 4353 | 4211 | 142 | 142000 | 0.142
17 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26439 | 26433 | 6 | 600 | 0.0006 | 416 | 416 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998964 | 998973 | -9 | -9000 | -0.009 | 3667 | 3559 | 108 | 108000 | 0.108
| GT | [8 empty] | -0.0064 |  |  |  |  | 1.941
19 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 897080 | 900802 | -3722 | -4094200 | -4.0942
20 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 920799 | 923458 | -2659 | -2924900 | -2.9249
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999815 | 1000000 | -185 | -185000 | -0.185 | 10127 | 10128 | -1 | -1000 | -0.001
KASHMIRI GATE
22 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970025 | 970198 | -173 | 173000 | 0.173 | 980678 | 981229 | -551 | 551000 | 0.551
23 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992028 | 992373 | -345 | 345000 | 0.345 | 987859 | 988381 | -522 | 522000 | 0.522
24 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999947 | 999924 | 23 | 6900 | 0.0069
NARAINA
25 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 118 | 111 | 7 | 7000 | 0.007 | 46250 | 45100 | 1150 | 1150000 | 1.15
PARK STREET
26 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 314 | 314 | 0 | 0 | 0 | 981378 | 981958 | -580 | 580000 | 0.58
27 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1753 | 1765 | -12 | 12000 | 0.012 | 989149 | 989213 | -64 | 64000 | 0.064
28 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
29 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18 | 18 | 0 | 0 | 0 | 998847 | 999790 | -943 | 943000 | 0.943
IMPORTS
SUBZI MANDI
30 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9909 | 9864 | 45 | 45000 | 0.045 | 6627 | 5878 | 749 | 749000 | 0.749
31 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9600 | 9488 | 112 | 112000 | 0.112 | 9805 | 8876 | 929 | 929000 | 0.929
RIDGE VALLEY
32 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 60360 | 56949 | 3411 | 341100 | 0.3411 | 1651 | 1640 | 11 | 1100 | 0.0011
33 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 25583 | 17416 | 8167 | 816700 | 0.8167 | 999411 | 999416 | -5 | -500 | -0.0005
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.2714 |  |  |  |  | 0.5195
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.2714 |  |  |  |  | 0.5195
AUGUST 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 975229 | 981071 | -5842 | 5842000 | 5.842
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 979057 | 983411 | -4354 | 4354000 | 4.354
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 970739 | 975568 | -4829 | 4829000 | 4.829
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990010 | 990535 | -525 | 525000 | 0.525 | 993861 | 993802 | 59 | -59000 | -0.059
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980384 | 981040 | -656 | 656000 | 0.656 | 992131 | 992077 | 54 | -54000 | -0.054
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1642 | 1658 | -16 | 16000 | 0.016 | 998149 | 997433 | 716 | -716000 | -0.716
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 1051 | 0 | 0 | 0 | 985450 | 986703 | -1253 | 1253000 | 1.253
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999922 | -1 | 1000 | 0.001 | 988734 | 989111 | -377 | 377000 | 0.377
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13800 | 13800 | 0 | 0 | 0 | 974395 | 976907 | -2512 | 2512000 | 2.512
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973527 | 973525 | 2 | -2000 | -0.002 | 940656 | 944190 | -3534 | 3534000 | 3.534
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21092 | 21027 | 65 | -65000 | -0.065 | 20404 | 19235 | 1169 | -1169000 | -1.169
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14715 | 14343 | 372 | -372000 | -0.372 | 28568 | 27610 | 958 | -958000 | -0.958
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.759 |  |  |  |  | 19.745
| (B) NET ENERGY TO EAST | [8 empty] | 0.759 |  |  |  |  | 19.745
AUGUST 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993376 | 993413 | -37 | 37000 | 0.037 | 998659 | 998651 | 8 | -8000 | -0.008
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 994800 | 994882 | -82 | 8200 | 0.0082 | 11903 | 11552 | 351 | -35100 | -0.0351
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 1449 | 1410 | 39 | -3900 | -0.0039 | 51316 | 46607 | 4709 | -470900 | -0.4709
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1359 | 1229 | 130 | -13000 | -0.013 | 110446 | 106602 | 3844 | -384400 | -0.3844
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999756 | 999797 | -41 | 4100 | 0.0041 | 4509 | 5628 | -1119 | 111900 | 0.1119
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 3100 | 3011 | 89 | -8900 | -0.0089 | 72314 | 67888 | 4426 | -442600 | -0.4426
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27783 | 25671 | 2112 | -2112000 | -2.112 | 232 | 232 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999981 | 999978 | 3 | -3000 | -0.003 | 36474 | 36203 | 271 | -271000 | -0.271
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 23 | 1 | 22 | -29333.26 | -0.029333 | 819 | 496 | 323 | -430665.59 | -0.43067
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 256 | 216 | 40 | -40000 | -0.04 | 12301 | 12154 | 147 | -147000 | -0.147
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998907 | 998869 | 38 | -38000 | -0.038 | 3104 | 3085 | 19 | -19000 | -0.019
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13 | 12 | 1 | -1000 | -0.001 | 48152 | 47396 | 756 | -756000 | -0.756
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3064 | 3063 | 1 | -500 | -0.0005 | 25136 | 24657 | 479 | -239500 | -0.2395
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2849 | 2848 | 1 | -500 | -0.0005 | 17107 | 16836 | 271 | -135500 | -0.1355
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2856 | 2855 | 1 | -500 | -0.0005 | 11768 | 11564 | 204 | -102000 | -0.102
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2938 | 2938 | 0 | 0 | 0 | 13187 | 12978 | 209 | -104500 | -0.1045
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 64249 | 62063 | 2186 | -218600 | -0.2186 | 25573 | 25638 | -65 | 6500 | 0.0065
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 6152 | 5523 | 629 | -62900 | -0.0629 | 24670 | 23313 | 1357 | -135700 | -0.1357
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999659 | 999712 | -53 | 5300 | 0.0053 | 4519 | 4412 | 107 | -10700 | -0.0107
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 755 | 735 | 20 | -2000 | -0.002 | 11123 | 10692 | 431 | -43100 | -0.0431
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 1940 | 1675 | 265 | -26500 | -0.0265 | 43158 | 41946 | 1212 | -121200 | -0.1212
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 4555 | 4300 | 255 | -25500 | -0.0255 | 18492 | 18124 | 368 | -36800 | -0.0368
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999971 | 999982 | -11 | 1100 | 0.0011 | 277 | 289 | -12 | 1200 | 0.0012
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 88 | 39 | 49 | -4900 | -0.0049 | 50897 | 49608 | 1289 | -128900 | -0.1289
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 132 | 95 | 37 | -3700 | -0.0037 | 47111 | 46519 | 592 | -59200 | -0.0592
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 165 | 112 | 53 | -5300 | -0.0053 | 65461 | 64538 | 923 | -92300 | -0.0923
[10 empty] | -2.5443 |  |  |  |  | -4.0545
AUGUST 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.2714 |  |  |  |  | 0.5195
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.5443 |  |  |  |  | -4.0545
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1798 |  |  |  |  | -0.0916
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.45273 |  |  |  |  | -3.6266
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.759 |  |  |  |  | 19.745
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.30627 |  |  |  |  | 16.1184
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.30627 | (REACTIVE MUs) |  |  |  | 16.1184 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.013993 | (REACTIVE MUs) |  |  |  | -1.7728 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.29227 | (REACTIVE MUs) |  |  |  | 14.3456 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999926 | 999982 | -56 | -56000 | -0.056 | 12122 | 12157 | -35 | -35000 | -0.035
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 15913 | 14612 | 1301 | 130100 | 0.1301 | 682530 | 682513 | 17 | 1700 | 0.0017
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2866 | 1268 | 1598 | 1598000 | 1.598 | 42891 | 42796 | 95 | 95000 | 0.095
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 7688 | 4399 | 3289 | 986700 | 0.9867 | 321 | 289 | 32 | 9600 | 0.0096
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 1001323 | 999493 | 1830 | 366000 | 0.366 | 986871 | 986856 | 15 | 3000 | 0.003 | ROLL OVER
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2463 | 2384 | 79 | 7900 | 0.0079 | 76489 | 75075 | 1414 | 141400 | 0.1414
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 20176 | 13913 | 6263 | 626300 | 0.6263 | 269552 | 269529 | 23 | 2300 | 0.0023
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 68 | 35 | 33 | 3300 | 0.0033 | 318348 | 312078 | 6270 | 627000 | 0.627
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999989 | 999978 | 11 | 11000 | 0.011 | 8862 | 8622 | 240 | 240000 | 0.24
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998538 | 998538 | 0 | 0 | 0 | 970868 | 972292 | -1424 | 1424000 | 1.424
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997763 | 997763 | 0 | 0 | 0 | 972106 | 973513 | -1407 | 1407000 | 1.407
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997908 | 997908 | 0 | 0 | 0 | 964962 | 966097 | -1135 | 1135000 | 1.135
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998447 | 998446 | 1 | -1000 | -0.001 | 972682 | 973716 | -1034 | 1034000 | 1.034
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2358 | 2347 | 11 | -11000 | -0.011 | 31606 | 31463 | 143 | -143000 | -0.143
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 520 | 20 | 500 | -500000 | -0.5 | 979817 | 979972 | -155 | 155000 | 0.155
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34934 | 34730 | 204 | -204000 | -0.204 | 27788 | 26308 | 1480 | -1480000 | -1.48
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5291 | 5282 | 9 | -9000 | -0.009 | 14278 | 14590 | -312 | 312000 | 0.312
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22358 | 22156 | 202 | -202000 | -0.202 | 14779 | 13744 | 1035 | -1035000 | -1.035
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8282 | 8269 | 13 | -13000 | -0.013 | 39750 | 38517 | 1233 | -1233000 | -1.233
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3338 | 3247 | 91 | 91000 | 0.091 | 3254 | 3238 | 16 | 16000 | 0.016
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3734 | 3615 | 119 | 119000 | 0.119 | 3546 | 3508 | 38 | 38000 | 0.038
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987981 | 988622 | -641 | 641000 | 0.641 | 913258 | 914938 | -1680 | 1680000 | 1.68
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998679 | 998712 | -33 | 33000 | 0.033 | 894388 | 899829 | -5441 | 5441000 | 5.441
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 11987 | 12334 | -347 | 347000 | 0.347
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 6858 | 7118 | -260 | 260000 | 0.26
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996081 | 996157 | -76 | 76000 | 0.076 | 961507 | 964130 | -2623 | 2623000 | 2.623
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 973852 | 975756 | -1904 | 1904000 | 1.904
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 973005 | 973857 | -852 | 852000 | 0.852
BRPL(+) continue | [15 empty] | AUGUST 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 589 | 589 | 0 | 0 | 0 | 984447 | 987677 | -3230 | 3230000 | 3.23
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1802 | 1802 | 0 | 0 | 0 | 978 | 4557 | -3579 | 3579000 | 3.579
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989458 | 989406 | 52 | -52000 | -0.052 | 984075 | 984639 | -564 | 564000 | 0.564
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999703 | 999703 | 0 | 0 | 0 | 953809 | 953809 | 0 | 0 | 0 | Off from 19/07/10
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3837 | 3753 | 84 | -84000 | -0.084 | 972650 | 975186 | -2536 | 2536000 | 2.536
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 999879 | 0 | 0 | 0 | 964695 | 970866 | -6171 | 6171000 | 6.171
PARK STREET
36 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999981 | 999978 | 3 | 3000 | 0.003 | 36474 | 36203 | 271 | 271000 | 0.271
37 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 23 | 1 | 22 | 29333.26 | 0.029333 | 819 | 496 | 323 | 430665.59 | 0.43067
SARITA VIHAR
38 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 751 | 750 | 1 | -1000 | -0.001 | 984852 | 985622 | -770 | 770000 | 0.77
39 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 384 | 326 | 58 | -58000 | -0.058 | 989595 | 989508 | 87 | -87000 | -0.087
NARAINA
40 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3475 | 3380 | 95 | 9500 | 0.0095 | 6965 | 6900 | 65 | 6500 | 0.0065
SUDARSHAN PARK
41 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 27619 | 27611 | 8 | 800 | 0.0008 | 146848 | 144979 | 1869 | 186900 | 0.1869
REWARI LINE
43 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
44 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990392 | 991396 | -1004 | -1004000 | -1.004 | 994160 | 994247 | -87 | -87000 | -0.087
A.I.I.M.S.
45 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 12 | 0 | 12 | 1200 | 0.0012 | 730 | 0 | 730 | 73000 | 0.073 | Loaded on 02/08/10
46 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 55 | 0 | 55 | 5500 | 0.0055 | 1276 | 0 | 1276 | 127600 | 0.1276 | Loaded on 02/08/10
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.5436 |  |  |  |  | 33.5937
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 993700 | 996201 | -2501 | -250100 | -0.2501 | 866020 | 868202 | -2182 | -218200 | -0.2182
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 60360 | 56949 | 3411 | -341100 | -0.3411 | 1651 | 1640 | 11 | -1100 | -0.0011
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 25583 | 17416 | 8167 | -816700 | -0.8167 | 999411 | 999416 | -5 | 500 | 0.0005
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999997 | -23 | 2300 | 0.0023
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 513 | 513 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 654690 | 637555 | 17135 | -1713500 | -1.7135 | 43062 | 42996 | 66 | -6600 | -0.0066
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 270 | 252 | 18 | -18000 | -0.018 | 567 | 558 | 9 | -9000 | -0.009
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 619832 | 598080 | 21752 | -2175200 | -2.1752 | 38142 | 37993 | 149 | -14900 | -0.0149
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 3658 | 3458 | 200 | -20000 | -0.02 | 47493 | 46729 | 764 | -76400 | -0.0764
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6702 | 6658 | 44 | -4400 | -0.0044 | 45713 | 44519 | 1194 | -119400 | -0.1194
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 28157 | 28007 | 150 | -15000 | -0.015 | 99377 | 96598 | 2779 | -277900 | -0.2779
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 5452 | 4400 | 1052 | -105200 | -0.1052 | 608608 | 605406 | 3202 | -320200 | -0.3202
13 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 65536 | 64587 | 949 | -94900 | -0.0949 | 147353 | 134826 | 12527 | -1252700 | -1.2527
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145832 | 145866 | -34 | -3400 | -0.0034 | 24296 | 24342 | -46 | -4600 | -0.0046
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 788 | 739 | 49 | -4900 | -0.0049 | 10768 | 10651 | 117 | -11700 | -0.0117
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7113 | 7148 | -35 | 3500 | 0.0035 | 42069 | 39714 | 2355 | -235500 | -0.2355
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | -100 | 4418 | 4407 | 11 | -1100 | -0.0011 | 15473 | 15436 | 37 | -3700 | -0.0037
| RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 5318 | 5296 | 22 | -2200 | -0.0022 | 5845 | 5022 | 823 | -82300 | -0.0823 | Insatalled on 09/08/10
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 7015 | 6993 | 22 | -2200 | -0.0022 | 24475 | 23593 | 882 | -88200 | -0.0882
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 11253 | 10322 | 931 | -93100 | -0.0931 | 31573 | 30961 | 612 | -61200 | -0.0612
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 23277 | 22919 | 358 | -35800 | -0.0358 | 8450 | 8252 | 198 | -19800 | -0.0198
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 768 | 759 | 9 | -900 | -0.0009 | 184 | 182 | 2 | -200 | -0.0002
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 8938 | 8777 | 161 | -16100 | -0.0161 | 8201 | 7972 | 229 | -22900 | -0.0229
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998027 | 998059 | -32 | 3200 | 0.0032 | 999961 | 999970 | -9 | 900 | 0.0009
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999508 | 999508 | 0 | 0 | 0 | 999135 | 999135 | 0 | 0 | 0
A.I.I.M.S.
32 | TX-I | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 1207 | 138 | 1069 | -106900 | -0.1069 | 1469 | 86 | 1383 | -138300 | -0.1383 | Loaded on 02/08/10
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.814 |  |  |  |  | -2.9611
AUGUST 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.5436 |  |  |  |  | 33.5937
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.814 |  |  |  |  | -2.9611
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.3569 |  |  |  |  | 1.6002
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2703 |  |  |  |  | -0.3433
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.1838 |  |  |  |  | 31.8895
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.1838 | (REACTIVE MUs) |  |  |  | 31.8895 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.023782 | (REACTIVE MUs) |  |  |  | -3.0131 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.2075 | (REACTIVE MUs) |  |  |  | 28.8764 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 1449 | 1410 | 39 | 3900 | 0.0039 | 51316 | 46607 | 4709 | 470900 | 0.4709
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1359 | 1229 | 130 | 13000 | 0.013 | 110446 | 106602 | 3844 | 384400 | 0.3844
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999756 | 999797 | -41 | -4100 | -0.0041 | 4509 | 5628 | -1119 | -111900 | -0.1119
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 3100 | 3011 | 89 | 8900 | 0.0089 | 72314 | 67888 | 4426 | 442600 | 0.4426
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 27783 | 25671 | 2112 | 2112000 | 2.112 | 232 | 232 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 81 | 19 | 62 | 6200 | 0.0062 | 265187 | 260838 | 4349 | 434900 | 0.4349
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 442 | 114 | 328 | 32800 | 0.0328 | 387903 | 383308 | 4595 | 459500 | 0.4595
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 1057 | 349 | 708 | 70800 | 0.0708 | 166468 | 164889 | 1579 | 157900 | 0.1579
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 599 | 170 | 429 | 42900 | 0.0429 | 287380 | 285015 | 2365 | 236500 | 0.2365
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999994 | 1000073 | -79 | -7900 | -0.0079 | 189237 | 186350 | 2887 | 288700 | 0.2887 | ROLL OVER
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 617 | 71 | 546 | 54600 | 0.0546 | 124432 | 122959 | 1473 | 147300 | 0.1473
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 311 | 279 | 32 | 3200 | 0.0032 | 165385 | 165402 | -17 | -1700 | -0.0017
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 1145 | 306 | 839 | 83900 | 0.0839 | 208028 | 206012 | 2016 | 201600 | 0.2016
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 38264 | 36153 | 2111 | 2322100 | 2.3221
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4793 | 4635 | 158 | 158000 | 0.158 | 36005 | 35996 | 9 | 9000 | 0.009
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 107433 | 104767 | 2666 | 2932600 | 2.9326
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7162 | 6924 | 238 | 238000 | 0.238 | 48028 | 48027 | 1 | 1000 | 0.001
[10 empty] | 0.396 |  |  |  |  | 5.2647
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 654690 | 637555 | 17135 | 1713500 | 1.7135 | 43062 | 42996 | 66 | 6600 | 0.0066
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 270 | 252 | 18 | 18000 | 0.018 | 569 | 558 | 11 | 11000 | 0.011
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 619832 | 598080 | 21752 | 2175200 | 2.1752 | 38142 | 37993 | 149 | 14900 | 0.0149
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 1207 | 138 | 1069 | 106900 | 0.1069 | 1469 | 86 | 1383 | 138300 | 0.1383 | Loaded on 02/08/10
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 5452 | 4400 | 1052 | 105200 | 0.1052 | 608608 | 605406 | 3202 | 320200 | 0.3202
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 65527 | 64587 | 940 | 94000 | 0.094 | 143879 | 134826 | 9053 | 905300 | 0.9053
AUGUST 2010
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145832 | 145866 | -34 | 3400 | 0.0034 | 24296 | 24342 | -46 | 4600 | 0.0046
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 788 | 739 | 49 | 4900 | 0.0049 | 10768 | 10651 | 117 | 11700 | 0.0117
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 3658 | 3458 | 200 | 20000 | 0.02 | 47493 | 46729 | 764 | 76400 | 0.0764
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6702 | 6658 | 44 | 4400 | 0.0044 | 45713 | 44519 | 1194 | 119400 | 0.1194
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 28157 | 28007 | 150 | 15000 | 0.015 | 99377 | 96598 | 2779 | 277900 | 0.2779
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 993700 | 996201 | -2501 | 250100 | 0.2501 | 866020 | 868202 | -2182 | 218200 | 0.2182
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | 7113 | 7148 | DIFF. | CONSP. | REACTIVE MUs | 7113 | 7148 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 12 | 0 | 12 | -1200 | -0.0012 | 730 | 0 | 730 | -73000 | -0.073 | Loaded on 02/08/10
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 55 | 0 | 55 | -5500 | -0.0055 | 1276 | 0 | 1276 | -127600 | -0.1276 | Loaded on 02/08/10
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.3201 |  |  |  |  | 10.2793
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.3201 |  |  |  |  | 10.2793
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.002898 |  |  |  |  | -0.36716
| TOTAL ENERGY TO NDMC | [8 empty] | 7.3172 |  |  |  |  | 9.9121

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 226 | 214 | 12 | 12000 | 0.012 | 11248 | 10980 | 268 | 268000 | 0.268
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 123 | 123 | 0 | 0 | 0 | 15647 | 15074 | 573 | 573000 | 0.573
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 22407 | 21553 | 854 | 854000 | 0.854
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 11716 | 11269 | 447 | 447000 | 0.447
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 444 | 390 | 54 | 54000 | 0.054 | 5795 | 5409 | 386 | 386000 | 0.386
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999997 | -23 | -2300 | -0.0023
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 513 | 513 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.066 |  |  |  |  | 2.5257
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3023 | 3020 | 3 | 300 | 0.0003 | 31863 | 31380 | 483 | 48300 | 0.0483
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 20322 | 19334 | 988 | 98800 | 0.0988 | 50362 | 49484 | 878 | 87800 | 0.0878
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61618 | 61110 | 508 | 50800 | 0.0508 | 5077 | 4732 | 345 | 34500 | 0.0345
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 11095 | 9962 | 1133 | 113300 | 0.1133 | 34072 | 33374 | 698 | 69800 | 0.0698
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999914 | 999915 | -1 | -100 | -0.0001 | 13666 | 13305 | 361 | 36100 | 0.0361
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 64823 | 64431 | 392 | 39200 | 0.0392 | 23371 | 22304 | 1067 | 106700 | 0.1067
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 257 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3023 |  |  |  |  | 0.3832
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 3658 | 3018 | 640 | 32000 | 0.032 | 18230 | 17432 | 798 | 39900 | 0.0399
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.032 |  |  |  |  | 0.0399
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2703 |  |  |  |  | 0.3433
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.066 |  |  |  |  | 2.5257
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3363 |  |  |  |  | 2.869
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3363 | (REACTIVE MUs) |  |  |  | 2.869 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.00044692 | (REACTIVE MUs) |  |  |  | -0.056623 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.33585 | (REACTIVE MUs) |  |  |  | 2.8124 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 58957 | 57700 | 1257 | 125700 | 0.1257 | 76306 | 74728 | 1578 | 157800 | 0.1578
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6254 | 6522 | -268 | -26800 | -0.0268 | 999374 | 999516 | -142 | -14200 | -0.0142
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 122573 | 122828 | -255 | -25500 | -0.0255 | 84933 | 84002 | 931 | 93100 | 0.0931
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9115 | 8938 | 177 | 177000 | 0.177 | 16606 | 16430 | 176 | 176000 | 0.176
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994819 | 994819 | 0 | 0 | 0 | 965398 | 967667 | -2269 | 1134500 | 1.1345
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 995869 | 996082 | -213 | 106500 | 0.1065 | 991668 | 991774 | -106 | 53000 | 0.053
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999904 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.3569 |  |  |  |  | 1.6002
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 966658 | 966999 | -341 | -68200 | -0.0682 | 991000 | 990955 | 45 | 9000 | 0.009
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 959134 | 960250 | -1116 | -111600 | -0.1116 | 932256 | 933262 | -1006 | -100600 | -0.1006
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1798 |  |  |  |  | -0.0916
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 129719 | 128341 | 1378 | 275600 | 0.2756 | 247121 | 245103 | 2018 | 403600 | 0.4036
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22109 | 22424 | -315 | -63000 | -0.063 | 38282 | 37752 | 530 | 106000 | 0.106
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 13246 | 13923 | -677 | -67700 | -0.0677 | 66607 | 65700 | 907 | 90700 | 0.0907
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993344 | 993517 | -173 | -173000 | -0.173 | 997548 | 997447 | 101 | 101000 | 0.101
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 989946 | 990081 | -135 | -13500 | -0.0135 | 7950 | 8036 | -86 | -8600 | -0.0086
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 996934 | 996998 | -64 | 32000 | 0.032 | 995946 | 995985 | -39 | 19500 | 0.0195
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999904 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.0096 |  |  |  |  | 0.7122
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.3569 |  |  |  |  | 1.6002
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1798 |  |  |  |  | -0.0916
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.0096 |  |  |  |  | 0.7122

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 4381 | 4526 | -145 | -290000 | -0.29 | 999845 | 999840 | 5 | 10000 | 0.01
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.29 |  |  | NET REACTIVE ENERGY |  | 0.01
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 40183 | 39794 | 389 | 389000 | 0.389
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991533 | 991575 | -42 | -42000 | -0.042 | 986740 | 987047 | -307 | -307000 | -0.307
[8 empty] | NET REACTIVE ENERGY |  | -0.042 |  |  | NET REACTIVE ENERGY |  | 0.082
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.332 |  |  |  |  | 0.092
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0064 |  |  |  |  | 1.941
[7 empty] | NDMC = |  |  | 0.396 |  |  |  |  | 5.2647
MES =
[7 empty] | 2)TOTAL |  |  | 0.3896 |  |  |  |  | 7.2057
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.0576 |  |  |  |  | 7.2977
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.612 | % |  |  | 0.016481 |  |  |  |  | 2.088
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.2879 | % |  |  | 0.023782 |  |  |  |  | 3.0131
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.293 | % |  |  | 0.013993 |  |  |  |  | 1.7728
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0312 | % |  |  | 0.002898 |  |  |  |  | 0.36716
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7759 | % |  |  | 0.00044692 |  |  |  |  | 0.056623
Note :Sharing taken from wk-22 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2010 TO 31th AUGUST-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.22302 | + | 4.4121
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.2075 | + | 28.8764
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.29227 | + | 14.3456
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.3172 | + | 9.9121
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.33585 | + | 2.8124
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/10 | INTIAL READING 01/08/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 991025 | 991520 | -495 | -742500 | -0.7425 | 982015 | 982132 | -117 | -175500 | -0.1755
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 992079 | 992734 | -655 | -982500 | -0.9825 | 987407 | 987596 | -189 | -283500 | -0.2835
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 954144 | 955027 | -883 | -1324500 | -1.3245 | 971909 | 972102 | -193 | -289500 | -0.2895
[8 empty] | NET REACTIVE ENERGY |  | -3.0495 |  |  | NET REACTIVE ENERGY |  | -0.7485
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997919 | 998792 | -873 | -873000 | -0.873 | 38345 | 38445 | -100 | -100000 | -0.1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 68 | 207 | -139 | -139000 | -0.139 | 13990 | 14390 | -400 | -400000 | -0.4
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 987337 | 992694 | -5357 | -5357000 | -5.357 | 992912 | 992933 | -21 | -21000 | -0.021
[8 empty] | NET REACTIVE ENERGY |  | -6.369 |  |  | NET REACTIVE ENERGY |  | -0.521