## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966203 | 966305 | -102 | 102000 | 0.102 | 995443 | 995525 | -82 | 82000 | 0.082
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8744 | 8653 | 91 | -91000 | -0.091 | 999678 | 1000252 | -574 | 574000 | 0.574
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969712 | 970159 | -447 | 447000 | 0.447 | 995875 | 996032 | -157 | 157000 | 0.157
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 998991 | 0 | 0 | 0 | 997629 | 999162 | -1533 | 1533000 | 1.533
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 577 | 540 | 37 | -37000 | -0.037 | 998858 | 1000000 | -1142 | 1142000 | 1.142
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24016 | 24042 | -26 | 26000 | 0.026 | 17784 | 17856 | -72 | 72000 | 0.072
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 425 | 454 | -29 | 29000 | 0.029 | 999917 | 999996 | -79 | 79000 | 0.079
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12168 | 12195 | -27 | 33750 | 0.03375 | 992576 | 993107 | -531 | 663750 | 0.66375
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995082 | 995183 | -101 | 101000 | 0.101 | 981835 | 982406 | -571 | 571000 | 0.571
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999754 | 999858 | -104 | 104000 | 0.104 | 999997 | 999999 | -2 | 2000 | 0.002
11 | Tx.-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992259 | 992280 | -21 | 21000 | 0.021 | 999984 | 999999 | -15 | 15000 | 0.015
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979130 | 979309 | -179 | 179000 | 0.179 | 997762 | 997759 | 3 | -3000 | -0.003
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965112 | 966820 | -1708 | -1708000 | -1.708 | 999988 | 999999 | -11 | -11000 | -0.011
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982697 | 982806 | -109 | 109000 | 0.109 | 16867 | 16805 | 62 | -62000 | -0.062
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5326 | 5250 | 76 | -76000 | -0.076 | 20308 | 20169 | 139 | -139000 | -0.139
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11856 | 11728 | 128 | -128000 | -0.128 | 39 | 2 | 37 | -37000 | -0.037
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 97 | 97 | 0 | 0 | 0 | 978104 | 979327 | -1223 | -244600 | -0.2446 | Data till 20/05
[10 empty] | 0 |  |  |  |  | -0.1223 | Assessment
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 780 | 778 | 2 | 2000 | 0.002 | 28234 | 28536 | -302 | -302000 | -0.302
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6290 | 6202 | 88 | 8800 | 0.0088 | 173720 | 170844 | 2876 | 287600 | 0.2876
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 42513 | 41820 | 693 | 69300 | 0.0693 | 253776 | 251722 | 2054 | 205400 | 0.2054
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 995848 | 996920 | -1072 | -1072000 | -1.072
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 2751 | 3210 | -459 | -459000 | -0.459
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001226 | 999633 | 1593 | 159300 | 0.1593 | 3683 | 309 | 3374 | 337400 | 0.3374
24 | MayaPuri-1 | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/05/2016
25 | MayaPuri-2 | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/05/2016
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634367 | 634414 | -47 | -47000 | -0.047 | 796786 | 797046 | -260 | -260000 | -0.26
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627301 | 627370 | -69 | -69000 | -0.069 | 829921 | 830232 | -311 | -311000 | -0.311
26 | CIVIL LINE | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 999044 | 998928 | 116 | 23200 | 0.0232 | 999977 | 999999 | -22 | -4400 | -0.0044 | Check Meter Data
|  | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 42 | 0 | 42 | 16800 | 0.0168 | 999744 | 1000000 | -256 | -102400 | -0.1024 | w.e.f 11/05/2016
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5449 | 5440 | 9 | 4500 | 0.0045 | 3142 | 3362 | -220 | -110000 | -0.11
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24813 | 24919 | -106 | 106000 | 0.106 | 980884 | 980900 | -16 | 16000 | 0.016
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11812 | 11730 | 82 | -82000 | -0.082 | 996747 | 996748 | -1 | 1000 | 0.001
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995270 | 995680 | -410 | 410000 | 0.41 | 999959 | 999989 | -30 | 30000 | 0.03
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4611 | 4538 | 73 | -73000 | -0.073 | 999863 | 999997 | -134 | 134000 | 0.134
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18934 | 16626 | 2308 | -2308000 | -2.308 | 1000042 | 999999 | 43 | -43000 | -0.043
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8467 | 7986 | 481 | -481000 | -0.481 | 998827 | 998823 | 4 | -4000 | -0.004
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17667 | 16705 | 962 | -962000 | -0.962 | 1581 | 1506 | 75 | -75000 | -0.075
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5843 | 5795 | 48 | -48000 | -0.048 | 998453 | 998654 | -201 | 201000 | 0.201
36 | Tx.2 | 5295172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1237 | 22 | 1215 | -1215000 | -1.215 | 5 | 5 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993377 | -23 | 23000 | 0.023 | 999078 | 999482 | -404 | 404000 | 0.404
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9105 | 9102 | 3 | -3000 | -0.003 | 1000207 | 999992 | 215 | -215000 | -0.215
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2073 | 2073 | 0 | 0 | 0 | 25487 | 25099 | 388 | 388000 | 0.388
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 5793 | 456 | 5337 | 533700 | 0.5337
| NDPL(+) continue | [14 empty] | MAY-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 176808 | 177176 | -368 | -46000 | -0.046 | 261658 | 260987 | 671 | 83875 | 0.083875
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9224 | 9225 | -1 | -100 | -0.0001 | 37525 | 35387 | 2138 | 213800 | 0.2138
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11391 | 11370 | 21 | 2100 | 0.0021 | 67887 | 66598 | 1289 | 128900 | 0.1289
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 628 | 589 | 39 | 3900 | 0.0039 | 4713 | 3055 | 1658 | 165800 | 0.1658
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 10975 | 10799 | 176 | 17600 | 0.0176 | 10704 | 8073 | 2631 | 263100 | 0.2631
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16082 | 16101 | -19 | -1900 | -0.0019 | 21684 | 21368 | 316 | 31600 | 0.0316
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 990926 | 991086 | -160 | -7110.4 | -0.0071104 | 306 | 545 | -239 | -10621.16 | -0.010621
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5432 | 5432 | 0 | 0 | 0 | 34081 | 33689 | 392 | 196000 | 0.196
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999891 | 999891 | 0 | 0 | 0 | 368 | 222 | 146 | 73000 | 0.073
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 42 | 27 | 15 | 10000.05 | 0.01 | 37 | 8 | 29 | 19333.43 | 0.019333
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2477 | 2452 | 25 | 16666.6667 | 0.016667 | 1156 | 1103 | 53 | 35333.3333 | 0.035333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998407 | 998351 | 56 | 5600 | 0.0056 | 659 | 86 | 573 | 57300 | 0.0573
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999746 | 999749 | -3 | -300 | -0.0003 | 999955 | 999974 | -19 | -1900 | -0.0019
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23646 | 23255 | 391 | 39100 | 0.0391 | 57658 | 57658 | 0 | 0 | 0
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1848 | 1843 | 5 | 500 | 0.0005 | 3873 | 2897 | 976 | 97600 | 0.0976
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27047 | 27017 | 30 | 3000 | 0.003 | 66971 | 66662 | 309 | 30900 | 0.0309
| MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 4758 | 4692 | 66 | 6600 | 0.0066 | 928 | 344 | 584 | 58400 | 0.0584
65 | KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 187602 | 185937 | 1665 | 166500 | 0.1665 | 20416 | 20599 | -183 | -18300 | -0.0183
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24476 | 24466 | 10 | 1000 | 0.001 | 48742 | 48045 | 697 | 69700 | 0.0697
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 457 | 455 | 2 | -600 | -0.0006
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995607 | 995602 | 5 | -2000 | -0.002 | 54 | 54 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972919 | 972932 | -13 | -10400 | -0.0104 | 999329 | 1000232 | -903 | -722400 | -0.7224
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2076 | 2077 | -1 | -2000 | -0.002 | 342 | 35 | 307 | 614000 | 0.614
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 577 | 775 | -198 | -19800 | -0.0198
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -5.1506 |  |  |  |  | 5.2172
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 23691 | 23333 | 358 | -35800 | -0.0358 | 24805 | 23361 | 1444 | -144400 | -0.1444
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13849 | 13849 | 0 | 0 | 0 | 7850 | 7865 | -15 | 15000 | 0.015
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11770 | 11770 | 0 | 0 | 0 | 20656 | 22183 | -1527 | 305400 | 0.3054
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86052 | 86052 | 0 | 0 | 0 | 121189 | 120269 | 920 | -920000 | -0.92
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19790 | 19676 | 114 | -11400 | -0.0114 | 142790 | 142789 | 1 | -100 | -0.0001 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 993302 | 994364 | -1062 | 849600 | 0.8496 | 999973 | 999982 | -9 | 7200 | 0.0072
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.8024 |  |  |  |  | -0.7369
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -5.1506 |  |  |  |  | 5.2172
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.8024 |  |  |  |  | -0.7369
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.25811 |  |  |  |  | -0.13245
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -4.6063 |  |  |  |  | 4.3478
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.6063 | (REACTIVE MUs) |  |  |  | 4.3478 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.24819 | (REACTIVE MUs) |  |  |  | -1.1937 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.3581 | (REACTIVE MUs) |  |  |  | 3.1541 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 10772 | 5689 | 5083 | 508300 | 0.5083 | 1777 | 507 | 1270 | 127000 | 0.127
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 4058 | 3685 | 373 | 111900 | 0.1119 | 817 | 547 | 270 | 81000 | 0.081
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 18899 | 17529 | 1370 | 137000 | 0.137 | 35221 | 35410 | -189 | -18900 | -0.0189
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999238 | 999268 | -30 | -9000 | -0.009 | 5425 | 5330 | 95 | 28500 | 0.0285
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1588 | 1589 | -1 | -1333.3 | -0.0013333 | 2660 | 2660 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 32197 | 33318 | -1121 | -112100 | -0.1121 | 172920 | 173197 | -277 | -27700 | -0.0277
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 17907 | 16527 | 1380 | 138000 | 0.138 | 998712 | 998824 | -112 | -11200 | -0.0112
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989370 | 989402 | -32 | -32000 | -0.032 | 1675 | 1714 | -39 | -39000 | -0.039
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997573 | 997576 | -3 | -3000 | -0.003 | 3104 | 2916 | 188 | 188000 | 0.188
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 221 | 259 | -38 | -38000 | -0.038 | 1031 | 1329 | -298 | -298000 | -0.298
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997258 | 997324 | -66 | -66000 | -0.066 | 2048 | 2122 | -74 | -74000 | -0.074
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995069 | 995127 | -58 | -58000 | -0.058 | 4923 | 4872 | 51 | 51000 | 0.051
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998527 | -43 | -43000 | -0.043 | 999468 | 999530 | -62 | -62000 | -0.062
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999336 | 999342 | -6 | -6000 | -0.006 | 17213 | 17318 | -105 | -105000 | -0.105
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999933 | 999922 | 11 | 8800 | 0.0088 | 1000093 | 999989 | 104 | 83200 | 0.0832
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999727 | 999728 | -1 | -1000 | -0.001 | 28837 | 28526 | 311 | 311000 | 0.311
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1353 | 1358 | -5 | -5000 | -0.005 | 9592 | 9503 | 89 | 89000 | 0.089
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11987 | 11970 | 17 | 1700 | 0.0017 | 343 | 338 | 5 | 500 | 0.0005
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998195 | 998125 | 70 | 70000 | 0.07 | 15338 | 15200 | 138 | 138000 | 0.138
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 971021 | 973181 | -2160 | -2970000 | -2.97
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 679380 | 683076 | -3696 | -4065600 | -4.0656
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980757 | 980958 | -201 | -201000 | -0.201 | 8219 | 8294 | -75 | -75000 | -0.075
| KASHMIRI GATE | [8 empty] | -0.3725 |  |  |  |  | -6.8279
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950102 | 950112 | -10 | 10000 | 0.01 | 944875 | 945604 | -729 | 729000 | 0.729
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960017 | 959769 | 248 | -248000 | -0.248 | 955032 | 955059 | -27 | 27000 | 0.027
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 457 | 455 | 2 | 600 | 0.0006
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 857 | 847 | 10 | 10000 | 0.01 | 7871 | 7389 | 482 | 482000 | 0.482
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73998 | 73800 | 198 | -198000 | -0.198 | 974689 | 974928 | -239 | 239000 | 0.239
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53499 | 53445 | 54 | -54000 | -0.054 | 970082 | 970203 | -121 | 121000 | 0.121
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994139 | 994078 | 61 | -61000 | -0.061 | 993408 | 993843 | -435 | 435000 | 0.435
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997615 | 997524 | 91 | -91000 | -0.091 | 999477 | 999426 | 51 | -51000 | -0.051
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4638 | 4718 | -80 | 160000 | 0.16 | 999510 | 999529 | -19 | 38000 | 0.038
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999127 | 999190 | -63 | 126000 | 0.126 | 999918 | 999931 | -13 | 26000 | 0.026
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998069 | 998200 | -131 | 131000 | 0.131 | 999905 | 999919 | -14 | 14000 | 0.014
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11770 | 11770 | 0 | 0 | 0 | 20656 | 22183 | -1527 | -305400 | -0.3054
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86052 | 86052 | 0 | 0 | 0 | 121189 | 120269 | 920 | 920000 | 0.92
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94559 | 94568 | -9 | -900 | -0.0009 | 964 | 961 | 3 | 300 | 0.0003
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150145 | 149698 | 447 | 44700 | 0.0447 | 23099 | 19562 | 3537 | 353700 | 0.3537
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.22907 |  |  |  |  | -3.62
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.22907 |  |  |  |  | -3.62
MAY-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981304 | 981309 | -5 | 5000 | 0.005 | 889864 | 893419 | -3555 | 3555000 | 3.555
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999995 | 999999 | -4 | 4000 | 0.004 | 993504 | 998264 | -4760 | 4760000 | 4.76
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980134 | 980142 | -8 | 8000 | 0.008 | 955499 | 958888 | -3389 | 3389000 | 3.389
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996317 | 996362 | -45 | 90000 | 0.09 | 983254 | 983810 | -556 | 1112000 | 1.112
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996974 | 996973 | 1 | -1000 | -0.001 | 999699 | 999681 | 18 | -18000 | -0.018
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993737 | 993736 | 1 | -1000 | -0.001 | 999367 | 999415 | -48 | 48000 | 0.048
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8367 | 8371 | -4 | 4000 | 0.004 | 983965 | 984027 | -62 | 62000 | 0.062
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997881 | 998151 | -270 | 270000 | 0.27 | 996502 | 996665 | -163 | 163000 | 0.163
10 | 100MVA Tx.4 (33 KV) | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985770 | 985787 | -17 | 17000 | 0.017 | 938149 | 938256 | -107 | 107000 | 0.107 | Check Meter Data till 10/05
|  | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 1000000 | -121 | 121000 | 0.121 | 999878 | 1000000 | -122 | 122000 | 0.122 | w.e.f 11/05/2016
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980087 | 980141 | -54 | 54000 | 0.054 | 973276 | 973502 | -226 | 226000 | 0.226
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959098 | 959055 | 43 | -43000 | -0.043 | 838814 | 843037 | -4223 | 4223000 | 4.223
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14961 | 14946 | 15 | -15000 | -0.015 | 34160 | 34517 | -357 | 357000 | 0.357
14 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22089 | 22055 | 34 | -34000 | -0.034 | 44299 | 44344 | -45 | 45000 | 0.045 | Data till 17/05
|  | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13576 | 13562 | 14 | -14000 | -0.014 | 48363 | 48221 | 142 | -142000 | -0.142 | Check Meter Data since 18/05
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18446 | 18880 | -434 | 434000 | 0.434 | 993861 | 994260 | -399 | 399000 | 0.399
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.899 |  |  |  |  | 18.408
| (B) NET ENERGY TO EAST | [8 empty] | 0.899 |  |  |  |  | 18.408
MAY-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 999044 | 998928 | 116 | -23200 | -0.0232 | 999977 | 999999 | -22 | 4400 | 0.0044 | Check Meter Data till 10/05
|  | 4902506 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42 | 0 | 42 | -42000 | -0.042 | 999744 | 1000000 | -256 | 256000 | 0.256 | w.e.f 11/05/2016
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5449 | 5440 | 9 | -4500 | -0.0045 | 3142 | 3362 | -220 | 110000 | 0.11
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54273 | 54229 | 44 | -8800 | -0.0088 | 82928 | 81915 | 1013 | -202600 | -0.2026
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72483 | 72501 | -18 | 1800 | 0.0018 | 139687 | 139850 | -163 | 16300 | 0.0163
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976871 | 976866 | 5 | -1000 | -0.001 | 997853 | 997535 | 318 | -63600 | -0.0636
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 85044 | 84978 | 66 | -13200 | -0.0132 | 104418 | 102895 | 1523 | -304600 | -0.3046
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14748 | 14722 | 26 | -20800 | -0.0208 | 7876 | 7205 | 671 | -536800 | -0.5368
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14189 | 14185 | 4 | -8000 | -0.008 | 3064 | 2941 | 123 | -246000 | -0.246
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977675 | 977695 | -20 | 16000 | 0.016 | 989398 | 989670 | -272 | 217600 | 0.2176
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997636 | 997729 | -93 | -74400 | -0.0744 | 998745 | 999867 | -1122 | -897600 | -0.8976
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998077 | 998115 | -38 | 30400 | 0.0304 | 999674 | 999949 | -275 | 220000 | 0.22
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984194 | 984226 | -32 | 25600 | 0.0256 | 994683 | 994489 | 194 | -155200 | -0.1552
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983792 | 983824 | -32 | 32000 | 0.032 | 34816 | 34976 | -160 | 160000 | 0.16
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2073 | 2073 | 0 | 0 | 0 | 25487 | 25099 | 388 | -388000 | -0.388
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 5793 | 456 | 5337 | -533700 | -0.5337
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5432 | 5432 | 0 | 0 | 0 | 34081 | 33689 | 392 | -196000 | -0.196
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999891 | 999891 | 0 | 0 | 0 | 368 | 222 | 146 | -73000 | -0.073
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.66 | 42 | 27 | 15 | -9999.9 | -0.0099999 | 37 | 8 | 29 | -19333.14 | -0.019333
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2477 | 2452 | 25 | -16666.6667 | -0.016667 | 1156 | 1103 | 53 | -35333.3333 | -0.035333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 187602 | 185937 | 1665 | -166500 | -0.1665 | 20416 | 20599 | -183 | 18300 | 0.0183
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24476 | 24466 | 10 | -1000 | -0.001 | 48742 | 48045 | 697 | -69700 | -0.0697
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998407 | 998351 | 56 | -5600 | -0.0056 | 659 | 86 | 573 | -57300 | -0.0573
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999746 | 999749 | -3 | 300 | 0.0003 | 999955 | 999974 | -19 | 1900 | 0.0019
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23646 | 23255 | 391 | -39100 | -0.0391 | 57658 | 57658 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1848 | 1843 | 5 | -500 | -0.0005 | 3873 | 2897 | 976 | -97600 | -0.0976
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27047 | 27017 | 30 | -3000 | -0.003 | 66971 | 66662 | 309 | -30900 | -0.0309
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 4758 | 4692 | 66 | -6600 | -0.0066 | 928 | 344 | 584 | -58400 | -0.0584
[10 empty] | -0.33877 |  |  |  |  | -2.9612
MAY-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.22907 |  |  |  |  | -3.62
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.33877 |  |  |  |  | -2.9612
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.12133 |  |  |  |  | 0.000275
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.011625 |  |  |  |  | -6.5809
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.899 |  |  |  |  | 18.408
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.91063 |  |  |  |  | 11.8271
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.91063 | (REACTIVE MUs) |  |  |  | 11.8271 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.20246 | (REACTIVE MUs) |  |  |  | -0.9738 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1131 | (REACTIVE MUs) |  |  |  | 10.8533 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999706 | 999710 | -4 | -20000 | -0.02 | 999777 | 999769 | 8 | 40000 | 0.04
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984432 | 984294 | 138 | 183999.54 | 0.184 | 673077 | 673020 | 57 | 75999.81 | 0.076
3 | BAY-13 | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1011 | 1004 | 7 | 7000 | 0.007 | 1894 | 1893 | 1 | 1000 | 0.001 | Check Meter Data till 18/05
|  | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 5793 | 456 | 5337 | 533700 | 0.5337 | w.e.f 19/05/2016
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15227 | 14943 | 284 | 284000 | 0.284 | 208 | 99 | 109 | 109000 | 0.109
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10860 | 10075 | 785 | 78500 | 0.0785 | 1781 | 1116 | 665 | 66500 | 0.0665
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 710101 | 705128 | 4973 | 372975 | 0.37298 | 27317 | 26722 | 595 | 44625 | 0.044625
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 988887 | 989592 | -705 | -52875 | -0.052875 | 997765 | 997942 | -177 | -13275 | -0.013275
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997515 | 997397 | 118 | 106200 | 0.1062 | 998347 | 998305 | 42 | 37800 | 0.0378
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2373 | 2380 | -7 | 3500 | 0.0035 | 993934 | 994659 | -725 | 362500 | 0.3625
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988934 | 988807 | 127 | -127000 | -0.127 | 948219 | 948018 | 201 | -201000 | -0.201
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996444 | 996328 | 116 | -116000 | -0.116 | 996476 | 996305 | 171 | -171000 | -0.171
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 913 | 780 | 133 | -133000 | -0.133 | 263 | 123 | 140 | -140000 | -0.14
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998395 | 998395 | 0 | 0 | 0 | 993936 | 998410 | -4474 | 4474000 | 4.474
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981907 | 981943 | -36 | 36000 | 0.036 | 968370 | 969683 | -1313 | 1313000 | 1.313
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247 | 0 | 247 | -247000 | -0.247 | 1724 | 173 | 1551 | -1551000 | -1.551
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36549 | 36600 | -51 | 51000 | 0.051 | 989904 | 991806 | -1902 | 1902000 | 1.902
| Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999681 | 1000072 | -391 | 391000 | 0.391 | 997754 | 999652 | -1898 | 1898000 | 1.898
NAJAFGARH
18 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 721 | 595 | 126 | -63000 | -0.063 | 994854 | 996187 | -1333 | 666500 | 0.6665
19 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996887 | 996554 | 333 | -333000 | -0.333 | 995495 | 995461 | 34 | -34000 | -0.034
20 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20020 | 19968 | 52 | -52000 | -0.052 | 109 | 1127 | -1018 | 1018000 | 1.018
21 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12923 | 12610 | 313 | -313000 | -0.313 | 999696 | 999665 | 31 | -31000 | -0.031
IMPORT
MANGOLPURI
22 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13849 | 13849 | 0 | 0 | 0 | 7850 | 7865 | -15 | -15000 | -0.015
LODHI ROAD
23 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985671 | 985826 | -155 | 155000 | 0.155 | 991141 | 993188 | -2047 | 2047000 | 2.047
24 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993415 | 993450 | -35 | 35000 | 0.035 | 992139 | 993880 | -1741 | 1741000 | 1.741
OKHLA
25 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995465 | 995466 | -1 | 1000 | 0.001 | 995732 | 996904 | -1172 | 1172000 | 1.172
26 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990780 | 990795 | -15 | 15000 | 0.015 | 939659 | 941896 | -2237 | 2237000 | 2.237
27 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999731 | 999680 | 51 | -51000 | -0.051 | 36404 | 36989 | -585 | 585000 | 0.585
28 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998845 | 999002 | -157 | 157000 | 0.157 | 997607 | 998083 | -476 | 476000 | 0.476
29 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996158 | 996173 | -15 | 15000 | 0.015 | 863405 | 864419 | -1014 | 1014000 | 1.014
BRPL(+) continue | [14 empty] | MAY-2016
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996296 | 996150 | 146 | -146000 | -0.146 | 972363 | 972326 | 37 | -37000 | -0.037
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 998374 | 998018 | 356 | -178000 | -0.178 | 999253 | 999207 | 46 | -23000 | -0.023 | MF Change
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7691 | 7715 | -24 | 48000 | 0.048 | 969616 | 969690 | -74 | 148000 | 0.148
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994025 | 994026 | -1 | 1000 | 0.001 | 905791 | 906122 | -331 | 331000 | 0.331
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994492 | 994500 | -8 | 8000 | 0.008 | 927502 | 927516 | -14 | 14000 | 0.014
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997918 | 997916 | 2 | -2000 | -0.002 | 990937 | 991237 | -300 | 300000 | 0.3
36 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999937 | 1000023 | -86 | 86000 | 0.086 | 18070 | 18376 | -306 | 306000 | 0.306 | w.e.f 07/04/2016
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969913 | 970008 | -95 | 63333.27 | 0.063333 | 974421 | 976732 | -2311 | 1540665.126 | 1.5407
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992061 | 992017 | 44 | -110000 | -0.11 | 421 | 477 | -56 | 140000 | 0.14
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4702 | 4694 | 8 | -16000 | -0.016 | 1994 | 2035 | -41 | 82000 | 0.082
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1596 | 1588 | 8 | -16000 | -0.016 | 1039 | 1077 | -38 | 76000 | 0.076
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921446 | 921554 | -108 | 108000 | 0.108 | 987467 | 988342 | -875 | 875000 | 0.875
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929644 | 929784 | -140 | 140000 | 0.14 | 991151 | 991898 | -747 | 747000 | 0.747
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30613 | 30611 | 2 | 1600 | 0.0016 | 2455 | 1704 | 751 | 600800 | 0.6008
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905811 | 905818 | -7 | -5600 | -0.0056 | 999165 | 999513 | -348 | -278400 | -0.2784
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
47 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999891 | 0 | 0 | 0 | 999952 | 999997 | -45 | -36000 | -0.036
48 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999944 | 1 | 1000 | 0.001 | 157 | 10 | 147 | 147000 | 0.147
PARK STREET
49 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983792 | 983824 | -32 | -32000 | -0.032 | 34816 | 34976 | -160 | -160000 | -0.16
50 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
51 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37967 | 37916 | 51 | -51000 | -0.051 | 973389 | 973313 | 76 | -76000 | -0.076
52 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2684 | 2675 | 9 | -9000 | -0.009 | 460 | 95 | 365 | -365000 | -0.365
53 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14380 | 14085 | 295 | -295000 | -0.295 | 10 | 23 | -13 | 13000 | 0.013
NARAINA
54 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 23691 | 23333 | 358 | 35800 | 0.0358 | 24805 | 23361 | 1444 | 144400 | 0.1444
SUDARSHAN PARK
55 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19790 | 19676 | 114 | 11400 | 0.0114 | 142790 | 142789 | 1 | 100 | 0.0001 | Check Meter Data
REWARI LINE
56 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
57 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 993302 | 994364 | -1062 | -849600 | -0.8496 | 999973 | 999982 | -9 | -7200 | -0.0072
A.I.I.M.S.
58 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3562 | 3554 | 8 | 600 | 0.0006 | 8777 | 7505 | 1272 | 95400 | 0.0954
59 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1047 | 1042 | 5 | 500 | 0.0005 | 2568 | 1820 | 748 | 74800 | 0.0748
PEERGARHI
60 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999953 | 0 | 0 | 0 | 768 | 188 | 580 | 580000 | 0.58
61 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 921 | 263 | 658 | 658000 | 0.658
62 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998409 | 0 | 0 | 0 | 999812 | 1000050 | -238 | -238000 | -0.238
63 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 2068 | 780 | 1288 | 1288000 | 1.288
64 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
65 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 13584 | 441 | 13143 | 1314300 | 1.3143
66 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 520 | 0 | 0 | 0 | 1036 | 93 | 943 | 943000 | 0.943
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.82067 |  |  |  |  | 28.8562
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 139941 | 139013 | 928 | -92800 | -0.0928 | 911861 | 910763 | 1098 | -109800 | -0.1098
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 94559 | 94568 | -9 | 900 | 0.0009 | 964 | 961 | 3 | -300 | -0.0003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150145 | 149698 | 447 | -44700 | -0.0447 | 23099 | 19562 | 3537 | -353700 | -0.3537
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 223 | 189 | 34 | -3400 | -0.0034
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6309 | 6305 | 4 | -8000 | -0.008 | 74026 | 73938 | 88 | -176000 | -0.176
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14788 | 14823 | -35 | 35000 | 0.035 | 279 | 422 | -143 | 143000 | 0.143
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906633 | 906622 | 11 | -5500 | -0.0055 | 58674 | 58070 | 604 | -302000 | -0.302
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79337 | 79278 | 59 | -5900 | -0.0059 | 69113 | 68584 | 529 | -52900 | -0.0529
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87605 | 87542 | 63 | -6300 | -0.0063 | 68558 | 67375 | 1183 | -118300 | -0.1183
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 17583 | 17533 | 50 | -5000 | -0.005 | 13990 | 11637 | 2353 | -235300 | -0.2353
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 378985 | 382998 | -4013 | 401300 | 0.4013 | 49451 | 49584 | -133 | 13300 | 0.0133
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4208 | 4091 | 117 | -11700 | -0.0117 | 24040 | 23741 | 299 | -29900 | -0.0299
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 176808 | 177176 | -368 | 46000 | 0.046 | 261658 | 260987 | 671 | -83875 | -0.083875
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9224 | 9225 | -1 | 100 | 0.0001 | 37525 | 35387 | 2138 | -213800 | -0.2138
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11391 | 11370 | 21 | -2100 | -0.0021 | 67887 | 66598 | 1289 | -128900 | -0.1289
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 628 | 589 | 39 | -3900 | -0.0039 | 4713 | 3055 | 1658 | -165800 | -0.1658
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 10975 | 10799 | 176 | -17600 | -0.0176 | 10704 | 8073 | 2631 | -263100 | -0.2631
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16082 | 16101 | -19 | 1900 | 0.0019 | 21684 | 21368 | 316 | -31600 | -0.0316
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 990926 | 991086 | -160 | 7110.4 | 0.0071104 | 306 | 545 | -239 | 10621.16 | 0.010621
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995607 | 995602 | 5 | 2000 | 0.002 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.29081 |  |  |  |  | -2.1018
MAY-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.82067 |  |  |  |  | 28.8562
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.29081 |  |  |  |  | -2.1018
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.90648 |  |  |  |  | 0.67169
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0015 |  |  |  |  | -0.64185
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.37513 |  |  |  |  | 26.7843
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.37513 | (REACTIVE MUs) |  |  |  | 26.7843 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.36081 | (REACTIVE MUs) |  |  |  | -1.7354 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.73594 | (REACTIVE MUs) |  |  |  | 25.0489 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54273 | 54229 | 44 | 8800 | 0.0088 | 82928 | 81915 | 1013 | 202600 | 0.2026
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72483 | 72501 | -18 | -1800 | -0.0018 | 139687 | 139850 | -163 | -16300 | -0.0163
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976871 | 976866 | 5 | 1000 | 0.001 | 997853 | 997535 | 318 | 63600 | 0.0636
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 85044 | 84978 | 66 | 13200 | 0.0132 | 104418 | 102895 | 1523 | 304600 | 0.3046
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14748 | 14722 | 26 | 20800 | 0.0208 | 7876 | 7205 | 671 | 536800 | 0.5368
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14189 | 14185 | 4 | 8000 | 0.008 | 3064 | 2941 | 123 | 246000 | 0.246
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977675 | 977695 | -20 | -16000 | -0.016 | 989398 | 989670 | -272 | -217600 | -0.2176
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997636 | 997729 | -93 | -74400 | -0.0744 | 998745 | 999867 | -1122 | -897600 | -0.8976
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998077 | 998115 | -38 | -30400 | -0.0304 | 999674 | 999949 | -275 | -220000 | -0.22
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984194 | 984226 | -32 | -25600 | -0.0256 | 994683 | 994489 | 194 | 155200 | 0.1552
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 5131 | 4774 | 357 | 35700 | 0.0357 | 401614 | 400312 | 1302 | 130200 | 0.1302
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989718 | 988792 | 926 | 69450 | 0.06945 | 4781 | 4153 | 628 | 47100 | 0.0471
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 26107 | 25216 | 891 | 89100 | 0.0891 | 380272 | 379265 | 1007 | 100700 | 0.1007
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998604 | 998637 | -33 | -12375 | -0.012375 | 999751 | 999727 | 24 | 9000 | 0.009
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991058 | 991035 | 23 | 2300 | 0.0023 | 315859 | 315452 | 407 | 40700 | 0.0407
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 4094 | 4278 | -184 | -18400 | -0.0184 | 198155 | 198241 | -86 | -8600 | -0.0086
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 6551 | 7123 | -572 | -57200 | -0.0572 | 257985 | 258062 | -77 | -7700 | -0.0077
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 70246 | 68259 | 1987 | 198700 | 0.1987 | 714526 | 713798 | 728 | 72800 | 0.0728
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 100269 | 98474 | 1795 | 1974500 | 1.9745
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999986 | 1000009 | -23 | -23000 | -0.023 | 42761 | 42506 | 255 | 255000 | 0.255
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146366 | 146376 | -10 | -11000 | -0.011
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2897 | 2881 | 16 | 16000 | 0.016 | 56675 | 56379 | 296 | 296000 | 0.296
[10 empty] | -0.007 |  |  |  |  | 2.5145
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6309 | 6305 | 4 | 8000 | 0.008 | 74026 | 73938 | 88 | 176000 | 0.176
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14788 | 14823 | -35 | -35000 | -0.035 | 279 | 422 | -143 | -143000 | -0.143
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906633 | 906622 | 11 | 5500 | 0.0055 | 58674 | 58070 | 604 | 302000 | 0.302
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAY-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951254 | 951810 | -556 | 556000 | 0.556 | 972775 | 973046 | -271 | 271000 | 0.271
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986991 | 987522 | -531 | 531000 | 0.531 | 996787 | 997074 | -287 | 287000 | 0.287
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964809 | 965229 | -420 | 420000 | 0.42 | 980710 | 981319 | -609 | 609000 | 0.609
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979720 | 980159 | -439 | 439000 | 0.439 | 992514 | 993117 | -603 | 603000 | 0.603
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 378985 | 382998 | -4013 | -401300 | -0.4013 | 49451 | 49584 | -133 | -13300 | -0.0133
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4208 | 4091 | 117 | 11700 | 0.0117 | 24040 | 23741 | 299 | 29900 | 0.0299
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79337 | 79278 | 59 | 5900 | 0.0059 | 69113 | 68584 | 529 | 52900 | 0.0529
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87605 | 87542 | 63 | 6300 | 0.0063 | 68558 | 67375 | 1183 | 118300 | 0.1183
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17583 | 17533 | 50 | 5000 | 0.005 | 13990 | 11637 | 2353 | 235300 | 0.2353
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 139941 | 139013 | 928 | 92800 | 0.0928 | 911861 | 910763 | 1098 | 109800 | 0.1098
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3562 | 3554 | 8 | -600 | -0.0006 | 8777 | 7505 | 1272 | -95400 | -0.0954
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1047 | 1042 | 5 | -500 | -0.0005 | 2568 | 1820 | 748 | -74800 | -0.0748
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.8477 |  |  |  |  | 5.5237
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.8477 |  |  |  |  | 5.5237
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.04479 |  |  |  |  | -0.21543
| TOTAL ENERGY TO NDMC | [8 empty] | 1.8925 |  |  |  |  | 5.3083

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2479 | 0 | 0 | 0 | 33841 | 32653 | 1188 | 1188000 | 1.188
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 34511 | 33478 | 1033 | 1033000 | 1.033
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 42904 | 42144 | 760 | 760000 | 0.76
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 24345 | 17546 | 6799 | 906531.067 | 0.90653
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5619 | 5567 | 52 | 52000 | 0.052 | 11226 | 11077 | 149 | 149000 | 0.149
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12641 | 12642 | -1 | -500 | -0.0005 | 61096 | 61142 | -46 | -23000 | -0.023
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 223 | 189 | 34 | 3400 | 0.0034
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0515 |  |  |  |  | 4.0169
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3437 | 1 | 100 | 0.0001 | 34469 | 34371 | 98 | 9800 | 0.0098
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55456 | 55442 | 14 | 1400 | 0.0014 | 85453 | 83298 | 2155 | 215500 | 0.2155
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76641 | 76641 | 0 | 0 | 0 | 14298 | 14197 | 101 | 10100 | 0.0101
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55535 | 55535 | 0 | 0 | 0 | 92642 | 88864 | 3778 | 377800 | 0.3778
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 596 | 0 | 0 | 0 | 967 | 585 | 382 | 28650 | 0.02865
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9847 | 9847 | 0 | 0 | 0 | 3198 | 3198 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0015 |  |  |  |  | 0.64185
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0015 |  |  |  |  | 0.64185
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0515 |  |  |  |  | 4.0169
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.053 |  |  |  |  | 4.6588
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.053 | (REACTIVE MUs) |  |  |  | 4.6588 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0062411 | (REACTIVE MUs) |  |  |  | -0.030018 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.059241 | (REACTIVE MUs) |  |  |  | 4.6288 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3933 | 5213 | -1280 | -128000 | -0.128 | 2446 | 2464 | -18 | -1800 | -0.0018
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 20456 | 16154 | 4302 | 430200 | 0.4302 | 126 | 6 | 120 | 12000 | 0.012
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3170 | 2640 | 530 | 265000 | 0.265 | 1000123 | 999985 | 138 | 69000 | 0.069
[10 empty] | 0.252 |  |  |  |  | 0 | Assessment
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38544 | 38668 | -124 | -116250 | -0.11625 | 19102 | 19104 | -2 | -1875 | -0.001875
AT 33/11 KV LEVEL
5 | TX.-I | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 997492 | 997500 | -8 | 533.36 | 0.00053336 | 986199 | 995144 | -8945 | 596363.15 | 0.59636
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 984117 | 984523 | -406 | 203000 | 0.203 | 976504 | 976500 | 4 | -2000 | -0.002
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.90648 |  |  |  |  | 0.67169
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994668 | 993767 | 901 | 180200 | 0.1802 | 1000046 | 999949 | 97 | 19400 | 0.0194
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 924790 | 924947 | -157 | -58875 | -0.058875 | 997575 | 997626 | -51 | -19125 | -0.019125
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.12133 |  |  |  |  | 0.000275
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 281051 | 280667 | 384 | 76800 | 0.0768 | 266112 | 266027 | 85 | 17000 | 0.017
[10 empty] | -0.3136 |  |  |  |  | -0.0002 | Assessment for March
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 65072 | 62746 | 2326 | 232600 | 0.2326 | 999955 | 1000190 | -235 | -23500 | -0.0235
[10 empty] | -0.5375 |  |  |  |  | 0 | Assessment for March
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 28735 | 24856 | 3879 | 242437.5 | 0.24244 | 999946 | 1000238 | -292 | -18250 | -0.01825
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979 | 909 | 70 | 70000 | 0.07 | 1000003 | 999979 | 24 | 24000 | 0.024
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997243 | 997749 | -506 | -50600 | -0.0506 | 999900 | 999910 | -10 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999045 | 45 | 6750 | 0.00675 | 12 | 882 | -870 | -130500 | -0.1305
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999243 | 999249 | -6 | 15000 | 0.015 | 3072 | 3072 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.25811 |  |  |  |  | -0.13245
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.90648 |  |  |  |  | 0.67169
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.12133 |  |  |  |  | 0.000275
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.25811 |  |  |  |  | -0.13245

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 26793 | 26642 | 151 | 302000 | 0.302 | 1611 | 1616 | -5 | -10000 | -0.01
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2265 | 2077 | 188 | 940000 | 0.94 | 69 | 34 | 35 | 175000 | 0.175
[7 empty] | NET REACTIVE ENERGY |  |  | 1.242 |  | NET REACTIVE ENERGY |  |  | 0.165
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.242 |  |  |  |  | 0.165
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3725 |  |  |  |  | -6.8279
[7 empty] | NDMC = |  |  | -0.007 |  |  |  |  | 2.5145
MES =
[7 empty] | 2)TOTAL |  |  | -0.3795 |  |  |  |  | -4.3134
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.8625 |  |  |  |  | -4.1484
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.7759 | % |  |  | 0.24819 |  |  |  |  | -1.1937
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8333 | % |  |  | 0.36081 |  |  |  |  | -1.7354
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4741 | % |  |  | 0.20246 |  |  |  |  | -0.9738
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.193 | % |  |  | 0.04479 |  |  |  |  | -0.21543
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7236 | % |  |  | 0.0062411 |  |  |  |  | -0.030018
Note :Sharing taken from wk-9 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st May-2016 TO 1st June-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -4.3581 |  | 3.1541
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.73594 | + | 25.0489
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.1131 | + | 10.8533
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.8925 | + | 5.3083
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.059241 | + | 4.6288
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2016 | INTIAL READING 01/05/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954073 | 953912 | 161 | 241500 | 0.2415 | 979216 | 979229 | -13 | -19500 | -0.0195
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992217 | 992542 | -325 | -487500 | -0.4875 | 992874 | 992897 | -23 | -34500 | -0.0345
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 894214 | 895353 | -1139 | -854250 | -0.85425 | 999324 | 999301 | 23 | 17250 | 0.01725
[8 empty] | NET REACTIVE ENERGY |  | -1.1002 |  |  | NET REACTIVE ENERGY |  | -0.03675
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 375 | 999464 | 999463 | 1 | 375 | 0.000375 | 4220 | 3153 | 1067 | 400125 | 0.40013 | Check Meter Data
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999960 | 4 | 4000 | 0.004 | 972003 | 976347 | -4344 | -4344000 | -4.344
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977204 | 978475 | -1271 | -1271000 | -1.271 | 991925 | 992009 | -84 | -84000 | -0.084
[8 empty] | NET REACTIVE ENERGY |  | -1.2666 |  |  | NET REACTIVE ENERGY |  | -4.0279