## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976905 | 977162 | -257 | 257000 | 0.257 | 995585 | 995617 | -32 | 32000 | 0.032
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995362 | 995350 | 12 | -12000 | -0.012 | 996401 | 996352 | 49 | -49000 | -0.049
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988162 | 988445 | -283 | 283000 | 0.283 | 996139 | 996151 | -12 | 12000 | 0.012
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 998698 | 999600 | -902 | 902000 | 0.902 | w.e.f 20/05/2015
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918414 | 917778 | 636 | -636000 | -0.636 | 933824 | 933707 | 117 | -117000 | -0.117
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22976 | 22955 | 21 | -21000 | -0.021 | 17892 | 17869 | 23 | -23000 | -0.023
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8254 | 8225 | 29 | -29000 | -0.029 | 11568 | 11553 | 15 | -15000 | -0.015
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13432 | 13440 | -8 | 10000 | 0.01 | 993682 | 993919 | -237 | 296250 | 0.29625
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 714 | 741 | -27 | 27000 | 0.027 | 982945 | 983235 | -290 | 290000 | 0.29
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26244 | 26311 | -67 | 67000 | 0.067 | 8754 | 8832 | -78 | 78000 | 0.078
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987228 | 987330 | -102 | 102000 | 0.102 | 3128 | 3194 | -66 | 66000 | 0.066
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986253 | 986300 | -47 | 47000 | 0.047 | 997794 | 997811 | -17 | 17000 | 0.017
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 868739 | 869526 | -787 | -787000 | -0.787 | 920488 | 920488 | 0 | 0 | 0 | datat upto 18/06/2015
[10 empty] | -0.524 |  |  |  |  | 0 | Assessment
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984431 | 984438 | -7 | 7000 | 0.007 | 16829 | 16832 | -3 | 3000 | 0.003
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 739 | 658 | 81 | -81000 | -0.081 | 20153 | 20151 | 2 | -2000 | -0.002
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4917 | 4812 | 105 | -105000 | -0.105 | 999984 | 999980 | 4 | -4000 | -0.004
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999998 | 0 | 0 | 0 | 984017 | 985182 | -1165 | -233000 | -0.233
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 713 | 0 | 0 | 0 | 29354 | 29429 | -75 | -75000 | -0.075
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5578 | 5578 | 0 | 0 | 0 | 163417 | 162405 | 1012 | 101200 | 0.1012
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 33052 | 33052 | 0 | 0 | 0 | 244056 | 242888 | 1168 | 116800 | 0.1168
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996478 | 996478 | 0 | 0 | 0 | 2297 | 2861 | -564 | -564000 | -0.564
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 557 | 557 | 0 | 0 | 0 | 6854 | 7251 | -397 | -397000 | -0.397
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999849 | 999846 | 3 | 3000 | 0.003 | 44 | 14 | 30 | 30000 | 0.03
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634696 | 634699 | -3 | -3000 | -0.003 | 797315 | 797369 | -54 | -54000 | -0.054
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640601 | 640671 | -70 | -70000 | -0.07 | 830456 | 830683 | -227 | -227000 | -0.227
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4502 | 4488 | 14 | 5600 | 0.0056 | 999215 | 999501 | -286 | -114400 | -0.1144
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4012 | 4010 | 2 | 1000 | 0.001 | 3828 | 4101 | -273 | -136500 | -0.1365
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23535 | 23505 | 30 | -30000 | -0.03 | 981051 | 981069 | -18 | 18000 | 0.018
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7184 | 7185 | -1 | 1000 | 0.001 | 996999 | 997510 | -511 | 511000 | 0.511
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6824 | 6762 | 62 | -62000 | -0.062 | 924135 | 924227 | -92 | 92000 | 0.092
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89 | 39 | 50 | -50000 | -0.05 | 999264 | 999788 | -524 | 524000 | 0.524
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 152 | 39 | 113 | -113000 | -0.113 | 627 | 144 | 483 | -483000 | -0.483
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3021 | 3107 | -86 | 86000 | 0.086 | 998696 | 998720 | -24 | 24000 | 0.024
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3309 | 3309 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996321 | 996399 | -78 | 78000 | 0.078 | 999775 | 999913 | -138 | 138000 | 0.138
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4565 | 4558 | 7 | -7000 | -0.007 | 999993 | 999995 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2135 | 2133 | 2 | 2000 | 0.002 | 23932 | 23681 | 251 | 251000 | 0.251
38 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626 | 626 | 0 | 0 | 0 | 2819 | 2819 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.027 |  |  |  |  | -0.01 | Assessment
| NDPL(+) continue | [14 empty] | JUNE-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61314 | -5 | -5000 | -0.005
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173477 | 173982 | -505 | -63125 | -0.063125 | 261318 | 261694 | -376 | -47000 | -0.047
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9231 | 9227 | 4 | 400 | 0.0004 | 30051 | 29553 | 498 | 49800 | 0.0498
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11048 | 11030 | 18 | 1800 | 0.0018 | 61106 | 59230 | 1876 | 187600 | 0.1876
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18376 | 18174 | 202 | 20200 | 0.0202 | 64796 | 63986 | 810 | 81000 | 0.081
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 7409 | 7024 | 385 | 38500 | 0.0385 | 5008 | 4804 | 204 | 20400 | 0.0204
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17265 | 17262 | 3 | 300 | 0.0003 | 20090 | 19875 | 215 | 21500 | 0.0215
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995322 | 995431 | -109 | -4843.96 | -0.004844 | 447 | 366 | 81 | 3599.64 | 0.0035996
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 31962 | 31699 | 263 | 131500 | 0.1315
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3706 | 3706 | 0 | 0 | 0 | 29380 | 29265 | 115 | 57500 | 0.0575
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6618 | 6589 | 29 | 14500 | 0.0145 | 14921 | 14909 | 12 | 6000 | 0.006
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1853 | 1796 | 57 | 38000 | 0.038 | 1010 | 978 | 32 | 21333.3333 | 0.021333
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998537 | 998574 | -37 | -3700 | -0.0037 | 25 | 26 | -1 | -100 | -0.0001
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999931 | 999937 | -6 | -600 | -0.0006 | 999998 | 999999 | -1 | -100 | -0.0001
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23568 | 23574 | -6 | -600 | -0.0006 | 57143 | 57144 | -1 | -100 | -0.0001
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999975 | 999984 | -9 | -900 | -0.0009 | 999998 | 999999 | -1 | -100 | -0.0001
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 178864 | 178610 | 254 | 25400 | 0.0254 | 53498 | 52342 | 1156 | 115600 | 0.1156
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 19636 | 18671 | 965 | 96500 | 0.0965 | 66231 | 66225 | 6 | 600 | 0.0006
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 8274 | 6987 | 1287 | 128700 | 0.1287 | 4603 | 4599 | 4 | 400 | 0.0004
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 167957 | 167337 | 620 | 62000 | 0.062 | 20743 | 20819 | -76 | -7600 | -0.0076
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23862 | 23862 | 0 | 0 | 0 | 46056 | 45156 | 900 | 90000 | 0.09
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976877 | 976985 | -108 | -86400 | -0.0864 | 246 | 258 | -12 | -9600 | -0.0096
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 283 | 191 | 92 | 184000 | 0.184 | 18 | 6 | 12 | 24000 | 0.024
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 5269783 | ELSTER | Kvarh(Lead/Lag) | 1000 | 173 | 106 | 67 | 67000 | 0.067 | 156 | 73 | 83 | 83000 | 0.083
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.0083 |  |  |  |  | 1.8246
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20666 | 20649 | 17 | -1700 | -0.0017 | 19105 | 17688 | 1417 | -141700 | -0.1417
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13290 | 13269 | 21 | -21000 | -0.021 | 7825 | 7746 | 79 | -79000 | -0.079
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9457 | 9457 | 0 | 0 | 0 | 22839 | 19457 | 3382 | -676400 | -0.6764
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85721 | 85721 | 0 | 0 | 0 | 118155 | 118057 | 98 | -98000 | -0.098
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9510 | 9549 | -39 | 3900 | 0.0039 | 61390 | 61392 | -2 | 200 | 0.0002
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919629 | 919875 | -246 | 246000 | 0.246 | 991939 | 991943 | -4 | 4000 | 0.004
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2272 |  |  |  |  | -0.9909
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.0083 |  |  |  |  | 1.8246
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2272 |  |  |  |  | -0.9909
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.62964 |  |  |  |  | -0.14241
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.15143 |  |  |  |  | 0.69127
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.15143 | (REACTIVE MUs) |  |  |  | 0.69127 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.041256 | (REACTIVE MUs) |  |  |  | -1.3714 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.11018 | (REACTIVE MUs) |  |  |  | -0.68013 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 998310 | 998146 | 164 | 16400 | 0.0164 | 36623 | 36748 | -125 | -12500 | -0.0125
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 6241 | 1560 | 4681 | 468100 | 0.4681 | 56428 | 55654 | 774 | 77400 | 0.0774
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15176 | 14173 | 1003 | 100300 | 0.1003 | 32199 | 31998 | 201 | 20100 | 0.0201
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999891 | 999902 | -11 | -6600 | -0.0066 | 5331 | 5229 | 102 | 61200 | 0.0612
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1904 | 1973 | -69 | -34500 | -0.0345 | 2596 | 2524 | 72 | 36000 | 0.036
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 19953 | 18267 | 1686 | 168600 | 0.1686 | 172326 | 172261 | 65 | 6500 | 0.0065
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 23978 | 21757 | 2221 | 222100 | 0.2221 | 122790 | 122963 | -173 | -17300 | -0.0173
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990768 | 990774 | -6 | -6000 | -0.006 | 1136 | 947 | 189 | 189000 | 0.189
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998241 | 998241 | 0 | 0 | 0 | 2319 | 2138 | 181 | 181000 | 0.181
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 499 | 501 | -2 | -2000 | -0.002 | 1346 | 1520 | -174 | -174000 | -0.174
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997671 | 997670 | 1 | 1000 | 0.001 | 2502 | 2615 | -113 | -113000 | -0.113
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997330 | 997399 | -69 | -69000 | -0.069 | 4572 | 4471 | 101 | 101000 | 0.101
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000004 | 999997 | 7 | 7000 | 0.007 | 999770 | 999965 | -195 | -195000 | -0.195
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999309 | 999310 | -1 | -1000 | -0.001 | 17066 | 17121 | -55 | -55000 | -0.055
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1112 | 1096 | 16 | 16000 | 0.016 | 37838 | 37516 | 322 | 322000 | 0.322
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999935 | 999936 | -1 | -1000 | -0.001 | 27416 | 27494 | -78 | -78000 | -0.078
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1598 | 1599 | -1 | -1000 | -0.001 | 9520 | 9388 | 132 | 132000 | 0.132
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11313 | 11222 | 91 | 9100 | 0.0091 | 327 | 293 | 34 | 3400 | 0.0034
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996822 | 996829 | -7 | -7000 | -0.007 | 14461 | 14350 | 111 | 111000 | 0.111
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 698126 | 698126 | 0 | 0 | 0 | Meter faulty
[10 empty] | 0 |  |  |  |  | -1.15 | Assessment till 16/06
| DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 0 | 0 | 0 | 0 | 0 | 999038 | 1000000 | -962 | -1322750 | -1.3228 | w.e.f 17/06/2015
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 722300 | 727541 | -5241 | -5765100 | -5.7651
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984845 | 984856 | -11 | -11000 | -0.011 | 8815 | 9080 | -265 | -265000 | -0.265
| KASHMIRI GATE | [8 empty] | -0.0649 |  |  |  |  | -8.0785
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955453 | 955467 | -14 | 14000 | 0.014 | 947439 | 948477 | -1038 | 1038000 | 1.038
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963858 | 963842 | 16 | -16000 | -0.016 | 955291 | 955424 | -133 | 133000 | 0.133
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 538 | 538 | 0 | 0 | 0 | 5915 | 5867 | 48 | 48000 | 0.048
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53955 | 53833 | 122 | -122000 | -0.122 | 974408 | 974217 | 191 | -191000 | -0.191
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41558 | 41420 | 138 | -138000 | -0.138 | 970433 | 970042 | 391 | -391000 | -0.391
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996949 | 996918 | 31 | -31000 | -0.031 | 995510 | 995517 | -7 | 7000 | 0.007
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999797 | 999402 | 395 | -395000 | -0.395 | 999810 | 999714 | 96 | -96000 | -0.096
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3021 | 3027 | -6 | 12000 | 0.012 | 999740 | 999790 | -50 | 100000 | 0.1
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999459 | 999433 | 26 | -52000 | -0.052 | 999963 | 999996 | -33 | 66000 | 0.066
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 733 | 542 | 191 | -191000 | -0.191 | 999974 | 999995 | -21 | 21000 | 0.021
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9457 | 9457 | 0 | 0 | 0 | 22839 | 19457 | 3382 | 676400 | 0.6764
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85721 | 85721 | 0 | 0 | 0 | 118155 | 118057 | 98 | 98000 | 0.098
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 98083 | 98515 | -432 | -43200 | -0.0432 | 1398 | 1677 | -279 | -27900 | -0.0279
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149131 | 148997 | 134 | 13400 | 0.0134 | 11032 | 6041 | 4991 | 499100 | 0.4991
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.0793 |  |  |  |  | -5.9264
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.0793 |  |  |  |  | -5.9264
JUNE-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982975 | 982980 | -5 | 5000 | 0.005 | 903575 | 906091 | -2516 | 2516000 | 2.516
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6324 | 6326 | -2 | 2000 | 0.002 | 923625 | 925839 | -2214 | 2214000 | 2.214
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982732 | 982744 | -12 | 12000 | 0.012 | 968605 | 971012 | -2407 | 2407000 | 2.407
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995642 | 995673 | -31 | 62000 | 0.062 | 985181 | 985673 | -492 | 984000 | 0.984
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899634 | 899127 | 507 | -507000 | -0.507 | 990285 | 990285 | 0 | 0 | 0 | data upto 16/06/2015
[10 empty] | -0.44 |  |  |  |  | 0 | Assessment
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995451 | 996222 | -771 | 771000 | 0.771 | 999904 | 999949 | -45 | 45000 | 0.045
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6167 | 6068 | 99 | -99000 | -0.099 | 984263 | 984294 | -31 | 31000 | 0.031
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 1262 | 1273 | -11 | 0 | 0 | 999789 | 999886 | -97 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998211 | 998172 | 39 | -39000 | -0.039 | 944808 | 944848 | -40 | 40000 | 0.04
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984223 | 984238 | -15 | 15000 | 0.015 | 981277 | 985285 | -4008 | 4008000 | 4.008
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958679 | 958564 | 115 | -115000 | -0.115 | 861670 | 862946 | -1276 | 1276000 | 1.276
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17225 | 17325 | -100 | 100000 | 0.1 | 34716 | 34819 | -103 | 103000 | 0.103
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23076 | 23124 | -48 | 48000 | 0.048 | 44760 | 44881 | -121 | 121000 | 0.121
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999069 | 998875 | 194 | -194000 | -0.194 | 732 | 164 | 568 | -568000 | -0.568
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.379 |  |  |  |  | 13.177
| (B) NET ENERGY TO EAST | [8 empty] | -0.379 |  |  |  |  | 13.177
JUNE-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4502 | 4488 | 14 | -5600 | -0.0056 | 999215 | 999501 | -286 | 114400 | 0.1144
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4012 | 4010 | 2 | -1000 | -0.001 | 3828 | 4101 | -273 | 136500 | 0.1365
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51507 | 51443 | 64 | -12800 | -0.0128 | 79478 | 78600 | 878 | -175600 | -0.1756
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73770 | 73786 | -16 | 1600 | 0.0016 | 140292 | 140391 | -99 | 9900 | 0.0099
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978321 | 978324 | -3 | 600 | 0.0006 | 998679 | 999120 | -441 | 88200 | 0.0882
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80649 | 80596 | 53 | -10600 | -0.0106 | 97586 | 96382 | 1204 | -240800 | -0.2408
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11486 | 11473 | 13 | -10400 | -0.0104 | 5394 | 4735 | 659 | -527200 | -0.5272
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13978 | 13972 | 6 | -12000 | -0.012 | 2552 | 2412 | 140 | -280000 | -0.28
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980678 | 980687 | -9 | 7200 | 0.0072 | 990289 | 990540 | -251 | 200800 | 0.2008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979219 | 979253 | -34 | 27200 | 0.0272 | 986098 | 986853 | -755 | 604000 | 0.604
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988311 | 988335 | -24 | 19200 | 0.0192 | 993850 | 994337 | -487 | 389600 | 0.3896
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988556 | 988587 | -31 | 31000 | 0.031 | 36062 | 36287 | -225 | 225000 | 0.225
13 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999980 | 999563 | 417 | -834000 | -0.834 | 999945 | 999953 | -8 | 16000 | 0.016
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2135 | 2133 | 2 | -2000 | -0.002 | 23932 | 23681 | 251 | -251000 | -0.251
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 626 | 626 | 0 | 0 | 0 | 2819 | 2819 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.027 |  |  |  |  | 0.01 | Assessment
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61314 | -5 | 5000 | 0.005
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 31962 | 31699 | 263 | -131500 | -0.1315
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3706 | 3706 | 0 | 0 | 0 | 29380 | 29265 | 115 | -57500 | -0.0575
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6618 | 6589 | 29 | -14500 | -0.0145 | 14921 | 14909 | 12 | -6000 | -0.006
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1853 | 1796 | 57 | -38000 | -0.038 | 1010 | 978 | 32 | -21333.3333 | -0.021333
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 167957 | 167337 | 620 | -62000 | -0.062 | 20743 | 20819 | -76 | 7600 | 0.0076
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23862 | 23862 | 0 | 0 | 0 | 46056 | 45156 | 900 | -90000 | -0.09
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998537 | 998574 | -37 | 3700 | 0.0037 | 25 | 26 | -1 | 100 | 0.0001
24 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999931 | 999937 | -6 | 600 | 0.0006 | 999998 | 999999 | -1 | 100 | 0.0001
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23568 | 23574 | -6 | 600 | 0.0006 | 57143 | 57144 | -1 | 100 | 0.0001
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999975 | 999984 | -9 | 900 | 0.0009 | 999998 | 999999 | -1 | 100 | 0.0001
28 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 178864 | 178610 | 254 | -25400 | -0.0254 | 53498 | 52342 | 1156 | -115600 | -0.1156
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 19636 | 18671 | 965 | -96500 | -0.0965 | 66231 | 66225 | 6 | -600 | -0.0006
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 8274 | 6987 | 1287 | -128700 | -0.1287 | 4603 | 4599 | 4 | -400 | -0.0004
[10 empty] | -1.1879 |  |  |  |  | -0.090133
JUNE-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.0793 |  |  |  |  | -5.9264
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.1879 |  |  |  |  | -0.090133
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0793 |  |  |  |  | -0.006575
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.3465 |  |  |  |  | -6.0232
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.379 |  |  |  |  | 13.177
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.7255 |  |  |  |  | 7.1538
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.7255 | (REACTIVE MUs) |  |  |  | 7.1538 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.035122 | (REACTIVE MUs) |  |  |  | -1.1675 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.6904 | (REACTIVE MUs) |  |  |  | 5.9863 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 1000002 | 999968 | 34 | 170000 | 0.17 | 999908 | 999889 | 19 | 95000 | 0.095
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984851 | 984877 | -26 | -34666.58 | -0.034667 | 673094 | 673092 | 2 | 2666.66 | 0.0026667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10073 | 10016 | 57 | 285000 | 0.285 | 71142 | 71138 | 4 | 20000 | 0.02
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12921 | 12638 | 283 | 283000 | 0.283 | 1000126 | 999953 | 173 | 173000 | 0.173
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 75 | 1453 | 645 | 808 | 60600 | 0.0606 | 2340 | 1652 | 688 | 51600 | 0.0516
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 710051 | 711198 | -1147 | -86025 | -0.086025 | 27898 | 28169 | -271 | -20325 | -0.020325
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996702 | 996610 | 92 | 6900 | 0.0069 | 999046 | 999243 | -197 | -14775 | -0.014775
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999339 | 999185 | 154 | 138600 | 0.1386 | 998701 | 998588 | 113 | 101700 | 0.1017
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 1000122 | 999787 | 335 | -167500 | -0.1675 | 994796 | 994875 | -79 | 39500 | 0.0395
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987745 | 987579 | 166 | -166000 | -0.166 | 948156 | 948200 | -44 | 44000 | 0.044
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996026 | 995859 | 167 | -167000 | -0.167 | 996106 | 996167 | -61 | 61000 | 0.061
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993408 | 993408 | 0 | 0 | 0 | 77110 | 77110 | 0 | 0 | 0
[10 empty] | -0.012 |  |  |  |  | 0.004 | Assessment
| Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 171 | 0 | 171 | -171000 | -0.171 | 999939 | 1000000 | -61 | 61000 | 0.061 | w.e.f 03/06/2015
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979311 | 979321 | -10 | 10000 | 0.01 | 970966 | 972208 | -1242 | 1242000 | 1.242
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35662 | 35625 | 37 | -37000 | -0.037 | 983464 | 983634 | -170 | 170000 | 0.17
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38291 | 38089 | 202 | -202000 | -0.202 | 993570 | 994349 | -779 | 779000 | 0.779
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2661 | 2675 | -14 | 14000 | 0.014 | 998223 | 998996 | -773 | 773000 | 0.773
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1649 | 1288 | 361 | -361000 | -0.361 | 996148 | 996286 | -138 | 138000 | 0.138
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23030 | 23047 | -17 | 17000 | 0.017 | 2363 | 2835 | -472 | 472000 | 0.472
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9789 | 9198 | 591 | -591000 | -0.591 | 999148 | 999002 | 146 | -146000 | -0.146
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13290 | 13269 | 21 | 21000 | 0.021 | 7825 | 7746 | 79 | 79000 | 0.079
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991510 | 991645 | -135 | 135000 | 0.135 | 995799 | 997283 | -1484 | 1484000 | 1.484
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997760 | 997838 | -78 | 78000 | 0.078 | 996454 | 998219 | -1765 | 1765000 | 1.765
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998051 | 997996 | 55 | -55000 | -0.055 | 997681 | 998702 | -1021 | 1021000 | 1.021
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989774 | 989618 | 156 | -156000 | -0.156 | 943780 | 945408 | -1628 | 1628000 | 1.628
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998023 | 998099 | -76 | 76000 | 0.076 | 37446 | 37906 | -460 | 460000 | 0.46
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999994 | 1000023 | -29 | 29000 | 0.029 | 998195 | 998461 | -266 | 266000 | 0.266
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997106 | 997116 | -10 | 10000 | 0.01 | 865065 | 865532 | -467 | 467000 | 0.467
BRPL(+) continue | [14 empty] | JUNE-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997192 | 996858 | 334 | -334000 | -0.334 | 972329 | 972318 | 11 | -11000 | -0.011
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000181 | 999340 | 841 | -841000 | -0.841 | 999258 | 999247 | 11 | -11000 | -0.011
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1847 | 1840 | 7 | -14000 | -0.014 | 969715 | 969821 | -106 | 212000 | 0.212
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993144 | 993143 | 1 | -1000 | -0.001 | 907735 | 908960 | -1225 | 1225000 | 1.225
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 994697 | 0 | 0 | 0 | 927661 | 927902 | -241 | 241000 | 0.241
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996945 | 996944 | 1 | -1000 | -0.001 | 992842 | 993931 | -1089 | 1089000 | 1.089
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980753 | 980753 | 0 | 0 | 0 | 984549 | 985487 | -938 | 938000 | 0.938
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 980697 | 981412 | -715 | 476666.19 | 0.47667 | 978045 | 978720 | -675 | 449999.55 | 0.45
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992675 | 992706 | -31 | 77500 | 0.0775 | 488 | 500 | -12 | 30000 | 0.03
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3762 | 3762 | 0 | 0 | 0 | 1983 | 1963 | 20 | -40000 | -0.04
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 552 | 552 | 0 | 0 | 0 | 1042 | 1028 | 14 | -28000 | -0.028
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930165 | 930210 | -45 | 45000 | 0.045 | 989356 | 989916 | -560 | 560000 | 0.56
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938491 | 938511 | -20 | 20000 | 0.02 | 993155 | 993997 | -842 | 842000 | 0.842
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30291 | 30181 | 110 | 88000 | 0.088 | 1629 | 1554 | 75 | 60000 | 0.06
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 915421 | 915749 | -328 | -262400 | -0.2624 | 999567 | 999615 | -48 | -38400 | -0.0384
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988556 | 988587 | -31 | -31000 | -0.031 | 36062 | 36287 | -225 | -225000 | -0.225
47 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999980 | 999563 | 417 | 834000 | 0.834 | 999945 | 999953 | -8 | -16000 | -0.016
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29924 | 29934 | -10 | 10000 | 0.01 | 973497 | 973741 | -244 | 244000 | 0.244
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16597 | 16631 | -34 | 34000 | 0.034 | 988872 | 988998 | -126 | 126000 | 0.126
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20666 | 20649 | 17 | 1700 | 0.0017 | 19105 | 17688 | 1417 | 141700 | 0.1417
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9510 | 9549 | -39 | -3900 | -0.0039 | 61390 | 61392 | -2 | -200 | -0.0002
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 919629 | 919875 | -246 | -246000 | -0.246 | 991939 | 991943 | -4 | -4000 | -0.004
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1368 | 1336 | 32 | 2400 | 0.0024 | 4213 | 3116 | 1097 | 82275 | 0.082275
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12574 | 12563 | 11 | 1100 | 0.0011 | 27705 | 27434 | 271 | 27100 | 0.0271 | Data till 15/06
[10 empty] | 0.0011 |  |  |  |  | 0.0271 | Assessment
PEERGARHI
56 | 33KV VISHAL (L-3) | 5269779 | ELSTER | Kvarh(Lead/Lag) | 1000 | 65 | 68 | -3 | -3000 | -0.003 | 359 | 57 | 302 | 302000 | 0.302
57 | 33KV (LINE - 4) | 5269789 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2 | 0 | 2 | 4000 | 0.004 | 2348 | 2095 | 253 | 506000 | 0.506
58 | 33KV UDYOG NAGAR(L-5) | 5269782 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999982 | 999998 | -16 | -32000 | -0.032 | 174 | 48 | 126 | 252000 | 0.252
59 | 33KV MADIPUR(L-6) | 5269784 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5662 | 5660 | 2 | 4000 | 0.004 | 7288 | 7263 | 25 | 50000 | 0.05
[5 empty] | 2000 | [5 empty] | 6736 | 6515 | 221 | 442000 | 0.442 | w.e.f 14/06/2015
[5 empty] | 2000 | 5660 | 5658 | 2 | 4000 | 0.004 | 3451 | 3249 | 202 | 404000 | 0.404 | data till 13/06/2015
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2794 | 2793 | 1 | 2000 | 0.002 | 295 | 91 | 204 | 408000 | 0.408
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 5269780 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000200 | 999996 | 204 | 204000 | 0.204 | 69 | 9 | 60 | 60000 | 0.06
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.83193 |  |  |  |  | 19.5619
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 74403 | 71571 | 2832 | -283200 | -0.2832 | 910736 | 909691 | 1045 | -104500 | -0.1045
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 98083 | 98129 | -46 | 4600 | 0.0046 | 1398 | 1649 | -251 | 25100 | 0.0251
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149131 | 148997 | 134 | -13400 | -0.0134 | 11032 | 6041 | 4991 | -499100 | -0.4991
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996184 | 996187 | -3 | 300 | 0.0003 | 999820 | 999876 | -56 | 5600 | 0.0056
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4336 | 4262 | 74 | -74000 | -0.074 | 73858 | 73768 | 90 | -90000 | -0.09
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15004 | 15079 | -75 | 75000 | 0.075 | 294 | 234 | 60 | -60000 | -0.06
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905633 | 905647 | -14 | 7000 | 0.007 | 55245 | 54750 | 495 | -247500 | -0.2475
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 1660 | 1961 | -301 | 120400 | 0.1204 | 2978 | 3055 | -77 | 30800 | 0.0308
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75563 | 75529 | 34 | -3400 | -0.0034 | 67426 | 66975 | 451 | -45100 | -0.0451
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 79525 | 79222 | 303 | -30300 | -0.0303 | 65600 | 64936 | 664 | -66400 | -0.0664
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 8330 | 8261 | 69 | -13800 | -0.0138 | 5270 | 2994 | 2276 | -455200 | -0.4552
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17094 | -3 | -1500 | -0.0015
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 1000000 | -47 | -11750 | -0.01175 | 999908 | 1000000 | -92 | -23000 | -0.023
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 342524 | 341932 | 592 | -59200 | -0.0592 | 49258 | 48950 | 308 | -30800 | -0.0308
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3885 | 3872 | 13 | -1300 | -0.0013 | 22851 | 22653 | 198 | -19800 | -0.0198
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173477 | 173982 | -505 | 63125 | 0.063125 | 261318 | 261694 | -376 | 47000 | 0.047
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9231 | 9227 | 4 | -400 | -0.0004 | 30051 | 29553 | 498 | -49800 | -0.0498
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11048 | 11030 | 18 | -1800 | -0.0018 | 61106 | 59230 | 1876 | -187600 | -0.1876
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18376 | 18174 | 202 | -20200 | -0.0202 | 64796 | 63986 | 810 | -81000 | -0.081
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 7409 | 7024 | 385 | -38500 | -0.0385 | 5008 | 4804 | 204 | -20400 | -0.0204
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17265 | 17262 | 3 | -300 | -0.0003 | 20090 | 19875 | 215 | -21500 | -0.0215
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995322 | 995431 | -109 | 4843.96 | 0.004844 | 447 | 366 | 81 | -3599.64 | -0.0035996
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.27628 |  |  |  |  | -1.8983
JUNE-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.83193 |  |  |  |  | 19.5619
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.27628 |  |  |  |  | -1.8983
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.55184 |  |  |  |  | 0.9439
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0033 |  |  |  |  | -0.3973
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.55967 |  |  |  |  | 18.2102
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.55967 | (REACTIVE MUs) |  |  |  | 18.2102 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.060965 | (REACTIVE MUs) |  |  |  | -2.0266 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.4987 | (REACTIVE MUs) |  |  |  | 16.1837 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51507 | 51443 | 64 | 12800 | 0.0128 | 79478 | 78600 | 878 | 175600 | 0.1756
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73770 | 73786 | -16 | -1600 | -0.0016 | 140292 | 140391 | -99 | -9900 | -0.0099
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978321 | 978324 | -3 | -600 | -0.0006 | 998679 | 999120 | -441 | -88200 | -0.0882
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80649 | 80596 | 53 | 10600 | 0.0106 | 97586 | 96382 | 1204 | 240800 | 0.2408
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11486 | 11473 | 13 | 10400 | 0.0104 | 5394 | 4735 | 659 | 527200 | 0.5272
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13978 | 13972 | 6 | 12000 | 0.012 | 2552 | 2412 | 140 | 280000 | 0.28
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980678 | 980687 | -9 | -7200 | -0.0072 | 990289 | 990540 | -251 | -200800 | -0.2008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979219 | 979253 | -34 | -27200 | -0.0272 | 986098 | 986853 | -755 | -604000 | -0.604
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988311 | 988335 | -24 | -19200 | -0.0192 | 993850 | 994337 | -487 | -389600 | -0.3896
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999329 | 998654 | 675 | 67500 | 0.0675 | 396523 | 394239 | 2284 | 228400 | 0.2284
11 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 999485 | 1000341 | -856 | -64200 | -0.0642 | 3344 | 3535 | -191 | -14325 | -0.014325
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 17078 | 16234 | 844 | 84400 | 0.0844 | 376332 | 375090 | 1242 | 124200 | 0.1242
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1589 | 1799 | -210 | -21000 | -0.021 | 364136 | 363440 | 696 | 69600 | 0.0696
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995555 | 995337 | 218 | 21800 | 0.0218 | 314666 | 312928 | 1738 | 173800 | 0.1738
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 913 | 932 | -19 | -1900 | -0.0019 | 194432 | 194623 | -191 | -19100 | -0.0191
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 11680 | 11803 | -123 | -12300 | -0.0123 | 258442 | 258556 | -114 | -11400 | -0.0114
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 57798 | 55971 | 1827 | 182700 | 0.1827 | 713749 | 712500 | 1249 | 124900 | 0.1249
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 91530 | 90795 | 735 | 808500 | 0.8085
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1098 | 1088 | 10 | 10000 | 0.01 | 41123 | 40449 | 674 | 674000 | 0.674
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 152321 | 152047 | 274 | 301400 | 0.3014
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3215 | 3225 | -10 | -10000 | -0.01 | 54747 | 54019 | 728 | 728000 | 0.728
[10 empty] | 0 |  |  |  |  | 2.5119
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4336 | 4262 | 74 | 74000 | 0.074 | 73858 | 73768 | 90 | 90000 | 0.09
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15004 | 15079 | -75 | -75000 | -0.075 | 294 | 234 | 60 | 60000 | 0.06
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905633 | 905647 | -14 | -7000 | -0.007 | 55245 | 54750 | 495 | 247500 | 0.2475
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 1660 | 1961 | -301 | -120400 | -0.1204 | 2978 | 3055 | -77 | -30800 | -0.0308
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17094 | -3 | 1500 | 0.0015
26 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 1000000 | -47 | -11750 | -0.01175 | 999908 | 1000000 | -92 | -23000 | -0.023
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
JUNE-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964486 | 964659 | -173 | 173000 | 0.173 | 974719 | 975631 | -912 | 912000 | 0.912
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999860 | 1000023 | -163 | 163000 | 0.163 | 998780 | 999720 | -940 | 940000 | 0.94
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972502 | 972658 | -156 | 156000 | 0.156 | 983127 | 984214 | -1087 | 1087000 | 1.087
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987752 | 987914 | -162 | 162000 | 0.162 | 994934 | 996029 | -1095 | 1095000 | 1.095
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 342524 | 341932 | 592 | 59200 | 0.0592 | 49258 | 48950 | 308 | 30800 | 0.0308
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3885 | 3872 | 13 | 1300 | 0.0013 | 22851 | 22653 | 198 | 19800 | 0.0198
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75563 | 75529 | 34 | 3400 | 0.0034 | 67426 | 66975 | 451 | 45100 | 0.0451
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 79525 | 79222 | 303 | 30300 | 0.0303 | 65600 | 64936 | 664 | 66400 | 0.0664
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 8330 | 8261 | 69 | 6900 | 0.0069 | 5270 | 2994 | 2276 | 227600 | 0.2276
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 74403 | 71571 | 2832 | 283200 | 0.2832 | 910736 | 909691 | 1045 | 104500 | 0.1045
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1368 | 1336 | 32 | -2400 | -0.0024 | 4213 | 3116 | 1097 | -82275 | -0.082275
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12574 | 12563 | 11 | -1100 | -0.0011 | 27705 | 27434 | 271 | -27100 | -0.0271 | data till 15/06/2015
[10 empty] | -0.0011 |  |  |  |  | -0.0271 | assessment
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.1406 |  |  |  |  | 7.856
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.1406 |  |  |  |  | 7.856
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0076714 |  |  |  |  | -0.25501
| TOTAL ENERGY TO NDMC | [8 empty] | 1.1482 |  |  |  |  | 7.601

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2414 | 2414 | 0 | 0 | 0 | 29343 | 28628 | 715 | 715000 | 0.715
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 30818 | 30058 | 760 | 760000 | 0.76
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3917 | 3917 | 0 | 0 | 0 | 37783 | 36901 | 882 | 882000 | 0.882
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 0 | 0 | 0 | 0 | 0 | 6817 | 5242 | 1575 | 209999.475 | 0.21
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5315 | 5312 | 3 | 3000 | 0.003 | 11003 | 10939 | 64 | 64000 | 0.064
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12350 | 12350 | 0 | 0 | 0 | 59295 | 59310 | -15 | -7500 | -0.0075
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996184 | 996187 | -3 | -300 | -0.0003 | 999820 | 999876 | -56 | -5600 | -0.0056
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0027 |  |  |  |  | 2.6179
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53366 | 53338 | 28 | 2800 | 0.0028 | 77709 | 77004 | 705 | 70500 | 0.0705
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13153 | 13150 | 3 | 300 | 0.0003
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52290 | 52285 | 5 | 500 | 0.0005 | 74931 | 71666 | 3265 | 326500 | 0.3265
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 28 | 2100 | 0.0021 | w.e.f 03/06/2015
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3086 | 3086 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0033 |  |  |  |  | 0.3973
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0033 |  |  |  |  | 0.3973
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0027 |  |  |  |  | 2.6179
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.006 |  |  |  |  | 3.0152
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.006 | (REACTIVE MUs) |  |  |  | 3.0152 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0010852 | (REACTIVE MUs) |  |  |  | -0.036074 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.0070852 | (REACTIVE MUs) |  |  |  | 2.9791 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 13546 | 13117 | 429 | 42900 | 0.0429 | 1914 | 1687 | 227 | 22700 | 0.0227
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 8751 | 7957 | 794 | 79400 | 0.0794 | 999140 | 999154 | -14 | -1400 | -0.0014
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 307053 | 303908 | 3145 | 314500 | 0.3145 | 103238 | 103031 | 207 | 20700 | 0.0207
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40918 | 40989 | -71 | -66562.5 | -0.066562 | 19122 | 19122 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 983515 | 983861 | -346 | 173000 | 0.173 | 909390 | 911191 | -1801 | 900500 | 0.9005
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988399 | 988415 | -16 | 8000 | 0.008 | 976532 | 976533 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 16 | 2 | 600 | 0.0006 | 999935 | 999932 | 3 | 900 | 0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.55184 |  |  |  |  | 0.9439
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 997226 | 997570 | -344 | -68800 | -0.0688 | 999974 | 999990 | -16 | -3200 | -0.0032
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 941105 | 941133 | -28 | -10500 | -0.0105 | 998851 | 998860 | -9 | -3375 | -0.003375 | w.e.f 26/06/2015
[5 empty] | 200 | 941133 | 942153 | -1020 | -204000 | -0.204 | 998860 | 998920 | -60 | -12000 | -0.012
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0793 |  |  |  |  | -0.006575
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 273415 | 271589 | 1826 | 365200 | 0.3652 | 265638 | 265600 | 38 | 7600 | 0.0076
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 126472 | 126095 | 377 | 75400 | 0.0754 | 42607 | 42594 | 13 | 2600 | 0.0026
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 210936 | 210192 | 744 | 74400 | 0.0744 | 74580 | 74554 | 26 | 2600 | 0.0026
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 545 | 493 | 52 | 52000 | 0.052 | 1000000 | 999999 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997792 | 997819 | -27 | -2700 | -0.0027 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998852 | 998851 | 1 | 937.5 | 0.0009375 | 996831 | 997002 | -171 | -160312.5 | -0.16031
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999987 | -26 | 65000 | 0.065 | 3105 | 3107 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 16 | 2 | -600 | -0.0006 | 999935 | 999932 | 3 | -900 | -0.0009
| TOTAL NDPL | [8 empty] | 0.62964 |  |  |  |  | -0.14241
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.55184 |  |  |  |  | 0.9439
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0793 |  |  |  |  | -0.006575
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.62964 |  |  |  |  | -0.14241

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 15706 | 15619 | 87 | 174000 | 0.174 | 1253 | 890 | 363 | 726000 | 0.726
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 18857 | 18857 | 0 | 0 | 0 | 2404 | 2404 | 0 | 0 | 0
[10 empty] | 0.022 |  |  |  |  | 0.52 | Assessment
| IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 4 | 0 | 4 | 20000 | 0.02 | 92 | 0 | 92 | 460000 | 0.46 | w.e.f 17/06/2015
[7 empty] | NET REACTIVE ENERGY |  |  | 0.174 |  | NET REACTIVE ENERGY |  |  | 0.726
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991964 | 991966 | -2 | -2000 | -0.002 | 38464 | 38713 | -249 | -249000 | -0.249
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995041 | 995002 | 39 | 39000 | 0.039 | 994001 | 993768 | 233 | 233000 | 0.233
[7 empty] | NET REACTIVE ENERGY |  |  | 0.037 |  | NET REACTIVE ENERGY |  |  | -0.016
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.211 |  |  |  |  | 0.71
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0649 |  |  |  |  | -8.0785
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 2.5119
MES =
[7 empty] | 2)TOTAL |  |  | -0.0649 |  |  |  |  | -5.5666
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.1461 |  |  |  |  | -4.8566
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.2381 | % |  |  | 0.041256 |  |  |  |  | -1.3714
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.7283 | % |  |  | 0.060965 |  |  |  |  | -2.0266
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.04 | % |  |  | 0.035122 |  |  |  |  | -1.1675
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2508 | % |  |  | 0.0076714 |  |  |  |  | -0.25501
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7428 | % |  |  | 0.0010852 |  |  |  |  | -0.036074
Note :Sharing taken from wk-12 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st June-2015 TO 1st July-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.11018 |  | -0.68013
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.4987 | + | 16.1837
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.6904 | + | 5.9863
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.1482 | + | 7.601
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.0070852 | + | 2.9791
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2015 | INTIAL READING 01/06/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952656 | 952690 | -34 | -51000 | -0.051 | 979321 | 979517 | -196 | -294000 | -0.294
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991506 | 991543 | -37 | -55500 | -0.0555 | 994467 | 994957 | -490 | -735000 | -0.735
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 948327 | 949792 | -1465 | -1098750 | -1.0987 | 999320 | 999321 | -1 | -750 | -0.00075
[8 empty] | NET REACTIVE ENERGY |  | -1.2052 |  |  | NET REACTIVE ENERGY |  | -1.0297
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 32372 | 32956 | -584 | -2920000 | -2.92
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999999 | 1000000 | -1 | -1000 | -0.001 | 992448 | 995272 | -2824 | -2824000 | -2.824
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977700 | 977745 | -45 | -45000 | -0.045 | 991245 | 991193 | 52 | 52000 | 0.052
[8 empty] | NET REACTIVE ENERGY |  | -0.046 |  |  | NET REACTIVE ENERGY |  | -5.692