## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23601 | 23610 | -9 | 9000 | 0.009 | 979300 | 979295 | 5 | -5000 | -0.005
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000581 | 998898 | 1683 | -1683000 | -1.683 | 995882 | 995920 | -38 | 38000 | 0.038 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20430 | 20334 | 96 | -96000 | -0.096 | 1274 | 1329 | -55 | 55000 | 0.055
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974083 | 973978 | 105 | -105000 | -0.105 | 989295 | 989514 | -219 | 219000 | 0.219
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928459 | 928886 | -427 | 427000 | 0.427 | 961782 | 964272 | -2490 | 2490000 | 2.49
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14861 | 14831 | 30 | -30000 | -0.03 | 8748 | 8946 | -198 | 198000 | 0.198
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15753 | 15723 | 30 | -30000 | -0.03 | 6005 | 6202 | -197 | 197000 | 0.197
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10416 | 8316 | 2100 | -2100000 | -2.1 | 995920 | 995925 | -5 | 5000 | 0.005
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7427 | 6051 | 1376 | -1376000 | -1.376 | 988359 | 988366 | -7 | 7000 | 0.007
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34698 | 33525 | 1173 | -1173000 | -1.173 | 9991 | 9999 | -8 | 8000 | 0.008
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5615 | 5859 | -244 | 244000 | 0.244 | 4239 | 4244 | -5 | 5000 | 0.005
12 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982870 | 985442 | -2572 | -2572000 | -2.572 | 920614 | 920614 | 0 | 0 | 0
NARELA
13 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998584 | 999129 | -545 | 545000 | 0.545 | 15285 | 15315 | -30 | 30000 | 0.03
14 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998328 | 998476 | -148 | 148000 | 0.148 | 18265 | 18252 | 13 | -13000 | -0.013
15 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 757 | 837 | -80 | 80000 | 0.08 | 20030 | 20019 | 11 | -11000 | -0.011
NARAINA
16 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 128 | 131 | -3 | -3000 | -0.003 | 31521 | 32178 | -657 | -657000 | -0.657
17 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 285 | 286 | -1 | -1000 | -0.001 | 26007 | 26128 | -121 | -121000 | -0.121
18 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 575 | 568 | 7 | 700 | 0.0007 | 96442 | 94260 | 2182 | 218200 | 0.2182
19 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1443 | 1430 | 13 | 1300 | 0.0013 | 148837 | 143556 | 5281 | 528100 | 0.5281
20 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997055 | 997056 | -1 | -1000 | -0.001 | 998777 | 999069 | -292 | -292000 | -0.292
KASHMIRI GATE
21 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659465 | 659482 | -17 | -850 | -0.00085 | 805450 | 808558 | -3108 | -155400 | -0.1554
22 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666254 | 666406 | -152 | -7600 | -0.0076 | 835711 | 839082 | -3371 | -168550 | -0.16855
23 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993305 | 993376 | -71 | -71000 | -0.071 | 998658 | 998659 | -1 | -1000 | -0.001
24 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 994864 | 994800 | 64 | 6400 | 0.0064 | 11898 | 11903 | -5 | -500 | -0.0005
KANJAWALA
25 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1221 | 983 | 238 | -238000 | -0.238 | 979779 | 979641 | 138 | -138000 | -0.138
26 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997073 | 996808 | 265 | -265000 | -0.265 | 950923 | 951089 | -166 | 166000 | 0.166
BAWANA
27 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996907 | 997734 | -827 | 827000 | 0.827 | 959936 | 960075 | -139 | 139000 | 0.139
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
28 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 347 | 256 | 91 | 91000 | 0.091 | 12392 | 12301 | 91 | 91000 | 0.091
29 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998945 | 998907 | 38 | 38000 | 0.038 | 3132 | 3104 | 28 | 28000 | 0.028
| NDPL(+) continue | [14 empty] | SEPTEMBER 2010
DMS
30 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13 | 13 | 0 | 0 | 0 | 49326 | 48152 | 1174 | 1174000 | 1.174
REWARI LINE
31 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7172 | 7113 | 59 | 5900 | 0.0059 | 43002 | 42069 | 933 | 93300 | 0.0933
VISHAL
32 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 5656 | 5318 | 338 | 33800 | 0.0338 | 6270 | 5845 | 425 | 42500 | 0.0425
33 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 7729 | 7015 | 714 | 71400 | 0.0714 | 24736 | 24475 | 261 | 26100 | 0.0261
34 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12033 | 11253 | 780 | 78000 | 0.078 | 32014 | 31573 | 441 | 44100 | 0.0441
S.B.MILL
35 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 24065 | 23277 | 788 | 78800 | 0.0788 | 8484 | 8450 | 34 | 3400 | 0.0034
36 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 796 | 768 | 28 | 2800 | 0.0028 | 185 | 184 | 1 | 100 | 0.0001
37 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
38 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 9409 | 8938 | 471 | 47100 | 0.0471 | 8268 | 8201 | 67 | 6700 | 0.0067
41 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997958 | 998027 | -69 | -6900 | -0.0069 | 999963 | 999961 | 2 | 200 | 0.0002
B.G.ROAD
42 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3071 | 3064 | 7 | 3500 | 0.0035 | 25455 | 25136 | 319 | 159500 | 0.1595
43 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2856 | 2849 | 7 | 3500 | 0.0035 | 17284 | 17111 | 173 | 86500 | 0.0865
44 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2866 | 2856 | 10 | 5000 | 0.005 | 11878 | 11768 | 110 | 55000 | 0.055
45 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2939 | 2938 | 1 | 500 | 0.0005 | 13391 | 13187 | 204 | 102000 | 0.102
D.M.S.
46 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999613 | 999659 | -46 | -4600 | -0.0046 | 4606 | 4519 | 87 | 8700 | 0.0087
47 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 745 | 755 | -10 | -1000 | -0.001 | 11270 | 11123 | 147 | 14700 | 0.0147
48 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 2247 | 1940 | 307 | 30700 | 0.0307 | 43523 | 43158 | 365 | 36500 | 0.0365
49 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 4886 | 4555 | 331 | 33100 | 0.0331 | 18608 | 18492 | 116 | 11600 | 0.0116
50 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999957 | 999971 | -14 | -1400 | -0.0014 | 275 | 277 | -2 | -200 | -0.0002
51 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
52 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 425 | 88 | 337 | 33700 | 0.0337 | 51659 | 50897 | 762 | 76200 | 0.0762
53 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 164 | 132 | 32 | 3200 | 0.0032 | 47498 | 47111 | 387 | 38700 | 0.0387
54 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 241 | 165 | 76 | 7600 | 0.0076 | 66752 | 65461 | 1291 | 129100 | 0.1291
KASHMIRI GATE
55 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 68618 | 64249 | 4369 | 436900 | 0.4369 | 25579 | 25573 | 6 | 600 | 0.0006
56 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 6777 | 6152 | 625 | 62500 | 0.0625 | 25532 | 24670 | 862 | 86200 | 0.0862
57 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999947 | 999947 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
58 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 839 | 835 | 4 | -400 | -0.0004
59 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999508 | 999508 | 0 | 0 | 0 | 999148 | 999135 | 13 | 1300 | 0.0013
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.411 |  |  |  |  | 5.0563
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3556 | 3475 | 81 | -8100 | -0.0081 | 7080 | 6965 | 115 | -11500 | -0.0115
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3933 | 3338 | 595 | -595000 | -0.595 | 3267 | 3254 | 13 | -13000 | -0.013
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4424 | 3734 | 690 | -690000 | -0.69 | 3561 | 3546 | 15 | -15000 | -0.015
SUBZI MANDI
| O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9909 | 9909 | 0 | 0 | 0 | 6742 | 6627 | 115 | -115000 | -0.115
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 2300 | 2171 | 129 | -25800 | -0.0258 | 1461 | 12 | 1449 | -289800 | -0.2898 | installed on dated 13/09/10
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9723 | 9600 | 123 | -123000 | -0.123 | 10144 | 9805 | 339 | -339000 | -0.339
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 28070 | 27619 | 451 | -45100 | -0.0451 | 147653 | 146848 | 805 | -80500 | -0.0805
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989434 | 990392 | -958 | 958000 | 0.958 | 994126 | 994160 | -34 | 34000 | 0.034
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.529 |  |  |  |  | -0.8298
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.411 |  |  |  |  | 5.0563
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.529 |  |  |  |  | -0.8298
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.065 |  |  |  |  | 0.3311
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -6.875 |  |  |  |  | 4.5576
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.875 | (REACTIVE MUs) |  |  |  | 4.5576 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.3035 | (REACTIVE MUs) |  |  |  | -1.4118 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.1785 | (REACTIVE MUs) |  |  |  | 3.1458 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 995418 | 997144 | -1726 | -172600 | -0.1726 | 62951 | 63439 | -488 | -48800 | -0.0488
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 6488 | 3431 | 3057 | 305700 | 0.3057 | 995037 | 995069 | -32 | -3200 | -0.0032
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 16914 | 13519 | 3395 | 339500 | 0.3395 | 25500 | 24687 | 813 | 81300 | 0.0813
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 26 | 150 | -124 | -12400 | -0.0124 | 996508 | 996503 | 5 | 500 | 0.0005
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8656 | 5706 | 2950 | 295000 | 0.295 | 59972 | 58751 | 1221 | 122100 | 0.1221
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 998904 | 998735 | 169 | 16900 | 0.0169 | 44816 | 45257 | -441 | -44100 | -0.0441
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loaded on 15/09/10
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999937 | 999937 | 0 | 0 | 0 | 2375 | 2390 | -15 | -15000 | -0.015
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 77 | 78 | -1 | -1000 | -0.001 | 702 | 792 | -90 | -90000 | -0.09
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 238 | -1 | -1000 | -0.001 | 2641 | 2712 | -71 | -71000 | -0.071
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 223 | 221 | 2 | 2000 | 0.002 | 1634 | 1443 | 191 | 191000 | 0.191
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 292 | 291 | 1 | 1000 | 0.001 | 998563 | 998616 | -53 | -53000 | -0.053
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12796 | 12833 | -37 | -37000 | -0.037
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 112 | 112 | 0 | 0 | 0 | 31620 | 31195 | 425 | 425000 | 0.425
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 6024 | 5591 | 433 | 433000 | 0.433
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 279 | 279 | 0 | 0 | 0 | 4530 | 4353 | 177 | 177000 | 0.177
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26497 | 26439 | 58 | 5800 | 0.0058 | 417 | 416 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998963 | 998964 | -1 | -1000 | -0.001 | 3669 | 3667 | 2 | 2000 | 0.002
| GT | [8 empty] | 0.0058 |  |  |  |  | 0.9621
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 893258 | 897080 | -3822 | -4204200 | -4.2042
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 917938 | 920799 | -2861 | -3147100 | -3.1471
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999543 | 999815 | -272 | -272000 | -0.272 | 10127 | 10127 | 0 | 0 | 0
KASHMIRI GATE
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969238 | 970025 | -787 | 787000 | 0.787 | 980646 | 980678 | -32 | 32000 | 0.032
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990939 | 992028 | -1089 | 1089000 | 1.089 | 987794 | 987859 | -65 | 65000 | 0.065
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999947 | 999947 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 124 | 118 | 6 | 6000 | 0.006 | 47330 | 46250 | 1080 | 1080000 | 1.08
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163 | 314 | -151 | 151000 | 0.151 | 981171 | 981378 | -207 | 207000 | 0.207
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1652 | 1753 | -101 | 101000 | 0.101 | 988895 | 989149 | -254 | 254000 | 0.254
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54 | 54 | 0 | 0 | 0 | 993438 | 993481 | -43 | 43000 | 0.043
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999806 | 1000018 | -212 | 212000 | 0.212 | 998293 | 998847 | -554 | 554000 | 0.554
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9909 | 9909 | 0 | 0 | 0 | 6742 | 6627 | 115 | 115000 | 0.115
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 2300 | 2171 | 129 | 25800 | 0.0258 | 1461 | 12 | 1449 | 289800 | 0.2898 | installed on dated 13/09/10
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9723 | 9600 | 123 | 123000 | 0.123 | 10144 | 9805 | 339 | 339000 | 0.339
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 62147 | 60360 | 1787 | 178700 | 0.1787 | 1633 | 1651 | -18 | -1800 | -0.0018
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 23759 | 25583 | -1824 | -182400 | -0.1824 | 999407 | 999411 | -4 | -400 | -0.0004
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.997 |  |  |  |  | -3.3048
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.997 |  |  |  |  | -3.3048
SEPTEMBER 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 969094 | 975229 | -6135 | 6135000 | 6.135
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 976363 | 979057 | -2694 | 2694000 | 2.694
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 967933 | 970739 | -2806 | 2806000 | 2.806
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989303 | 990010 | -707 | 707000 | 0.707 | 993853 | 993861 | -8 | 8000 | 0.008
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979652 | 980384 | -732 | 732000 | 0.732 | 992123 | 992131 | -8 | 8000 | 0.008
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1642 | 1642 | 0 | 0 | 0 | 998006 | 998149 | -143 | 143000 | 0.143
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 1051 | 0 | 0 | 0 | 984488 | 985450 | -962 | 962000 | 0.962
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1213 | 1213 | 0 | 0 | 0 | 999970 | 1000263 | -293 | 293000 | 0.293 | loaded on 22/09/10 & Reading taken from Check meter no.4864894
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999921 | 0 | 0 | 0 | 987694 | 988734 | -1040 | 1040000 | 1.04
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13835 | 13800 | 35 | -35000 | -0.035 | 972861 | 974395 | -1534 | 1534000 | 1.534
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973555 | 973527 | 28 | -28000 | -0.028 | 938737 | 940656 | -1919 | 1919000 | 1.919
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21212 | 21092 | 120 | -120000 | -0.12 | 20797 | 20404 | 393 | -393000 | -0.393
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14832 | 14715 | 117 | -117000 | -0.117 | 29017 | 28568 | 449 | -449000 | -0.449
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.139 |  |  |  |  | 16.7
| (B) NET ENERGY TO EAST | [8 empty] | 1.139 |  |  |  |  | 16.7
SEPTEMBER 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993305 | 993376 | -71 | 71000 | 0.071 | 998658 | 998659 | -1 | 1000 | 0.001
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 994864 | 994800 | 64 | -6400 | -0.0064 | 11898 | 11903 | -5 | 500 | 0.0005
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 2157 | 1449 | 708 | -70800 | -0.0708 | 52678 | 51316 | 1362 | -136200 | -0.1362
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1980 | 1359 | 621 | -62100 | -0.0621 | 111347 | 110446 | 901 | -90100 | -0.0901
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999569 | 999756 | -187 | 18700 | 0.0187 | 4318 | 4509 | -191 | 19100 | 0.0191
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 3659 | 3100 | 559 | -55900 | -0.0559 | 72954 | 72314 | 640 | -64000 | -0.064
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29543 | 27783 | 1760 | -1760000 | -1.76 | 232 | 232 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999981 | 999981 | 0 | 0 | 0 | 36474 | 36474 | 0 | 0 | 0
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 10 | 23 | -13 | 17333.29 | 0.017333 | 878 | 819 | 59 | -78666.47 | -0.078666
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 347 | 256 | 91 | -91000 | -0.091 | 12392 | 12301 | 91 | -91000 | -0.091
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998945 | 998907 | 38 | -38000 | -0.038 | 3132 | 3104 | 28 | -28000 | -0.028
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13 | 13 | 0 | 0 | 0 | 49326 | 48152 | 1174 | -1174000 | -1.174
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3071 | 3064 | 7 | -3500 | -0.0035 | 25455 | 25136 | 319 | -159500 | -0.1595
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2856 | 2849 | 7 | -3500 | -0.0035 | 17284 | 17107 | 177 | -88500 | -0.0885
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2866 | 2856 | 10 | -5000 | -0.005 | 11878 | 11768 | 110 | -55000 | -0.055
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2939 | 2938 | 1 | -500 | -0.0005 | 13391 | 13187 | 204 | -102000 | -0.102
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 68618 | 64249 | 4369 | -436900 | -0.4369 | 25579 | 25573 | 6 | -600 | -0.0006
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 6777 | 6152 | 625 | -62500 | -0.0625 | 25532 | 24670 | 862 | -86200 | -0.0862
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999613 | 999659 | -46 | 4600 | 0.0046 | 4606 | 4519 | 87 | -8700 | -0.0087
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 745 | 755 | -10 | 1000 | 0.001 | 11270 | 11123 | 147 | -14700 | -0.0147
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 2247 | 1940 | 307 | -30700 | -0.0307 | 43523 | 43158 | 365 | -36500 | -0.0365
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 4886 | 4555 | 331 | -33100 | -0.0331 | 18608 | 18492 | 116 | -11600 | -0.0116
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999957 | 999971 | -14 | 1400 | 0.0014 | 275 | 277 | -2 | 200 | 0.0002
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 425 | 88 | 337 | -33700 | -0.0337 | 51659 | 50897 | 762 | -76200 | -0.0762
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 164 | 132 | 32 | -3200 | -0.0032 | 47498 | 47111 | 387 | -38700 | -0.0387
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 241 | 165 | 76 | -7600 | -0.0076 | 66752 | 65461 | 1291 | -129100 | -0.1291
[10 empty] | -2.5904 |  |  |  |  | -2.4485
SEPTEMBER 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.997 |  |  |  |  | -3.3048
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.5904 |  |  |  |  | -2.4485
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4681 |  |  |  |  | -0.0333
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.061467 |  |  |  |  | -5.7866
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.139 |  |  |  |  | 16.7
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.0775 |  |  |  |  | 10.9134
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.0775 | (REACTIVE MUs) |  |  |  | 10.9134 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.25382 | (REACTIVE MUs) |  |  |  | -1.1807 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.82371 | (REACTIVE MUs) |  |  |  | 9.7328 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999733 | 999926 | -193 | -193000 | -0.193 | 12086 | 12122 | -36 | -36000 | -0.036
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 16381 | 15913 | 468 | 46800 | 0.0468 | 682454 | 682530 | -76 | -7600 | -0.0076
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4026 | 2866 | 1160 | 1160000 | 1.16 | 42922 | 42891 | 31 | 31000 | 0.031
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 8689 | 7688 | 1001 | 300300 | 0.3003 | 333 | 321 | 12 | 3600 | 0.0036 | CTR changed w.e.f. 24/09/10
| BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8675 | 8689 | -14 | -14000 | -0.014 | 333 | 333 | 0 | 0 | 0
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 2376 | 1323 | 1053 | 210600 | 0.2106 | 986919 | 986871 | 48 | 9600 | 0.0096
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2451 | 2463 | -12 | -1200 | -0.0012 | 77046 | 76489 | 557 | 55700 | 0.0557
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 23971 | 20176 | 3795 | 379500 | 0.3795 | 269702 | 269552 | 150 | 15000 | 0.015
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999784 | 1000068 | -284 | -28400 | -0.0284 | 320060 | 318348 | 1712 | 171200 | 0.1712
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999958 | 999989 | -31 | -31000 | -0.031 | 8993 | 8862 | 131 | 131000 | 0.131
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998515 | 998538 | -23 | 23000 | 0.023 | 969800 | 970868 | -1068 | 1068000 | 1.068
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997735 | 997763 | -28 | 28000 | 0.028 | 971080 | 972106 | -1026 | 1026000 | 1.026
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997950 | 997908 | 42 | -42000 | -0.042 | 964277 | 964962 | -685 | 685000 | 0.685
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998491 | 998447 | 44 | -44000 | -0.044 | 972045 | 972682 | -637 | 637000 | 0.637
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2762 | 2358 | 404 | -404000 | -0.404 | 31625 | 31606 | 19 | -19000 | -0.019
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 425 | 520 | -95 | 95000 | 0.095 | 979758 | 979817 | -59 | 59000 | 0.059
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36124 | 34934 | 1190 | -1190000 | -1.19 | 27766 | 27788 | -22 | 22000 | 0.022
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5262 | 5291 | -29 | 29000 | 0.029 | 14182 | 14278 | -96 | 96000 | 0.096
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23247 | 22358 | 889 | -889000 | -0.889 | 14753 | 14779 | -26 | 26000 | 0.026
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8386 | 8282 | 104 | -104000 | -0.104 | 40070 | 39750 | 320 | -320000 | -0.32
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3933 | 3338 | 595 | 595000 | 0.595 | 3267 | 3254 | 13 | 13000 | 0.013
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4424 | 3734 | 690 | 690000 | 0.69 | 3561 | 3546 | 15 | 15000 | 0.015
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986471 | 987981 | -1510 | 1510000 | 1.51 | 910445 | 913258 | -2813 | 2813000 | 2.813
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998357 | 998679 | -322 | 322000 | 0.322 | 891626 | 894388 | -2762 | 2762000 | 2.762
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 10931 | 11987 | -1056 | 1056000 | 1.056
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 4398 | 6858 | -2460 | 2460000 | 2.46
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996080 | 996081 | -1 | 1000 | 0.001 | 959949 | 961507 | -1558 | 1558000 | 1.558
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 971449 | 973852 | -2403 | 2403000 | 2.403
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 970214 | 973005 | -2791 | 2791000 | 2.791
BRPL(+) continue | [14 empty] | SEPTEMBER 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 589 | 589 | 0 | 0 | 0 | 980359 | 984447 | -4088 | 4088000 | 4.088
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1802 | 1802 | 0 | 0 | 0 | 996866 | 1000978 | -4112 | 4112000 | 4.112
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989417 | 989458 | -41 | 82000 | 0.082 | 982629 | 984075 | -1446 | 2892000 | 2.892 | CTR CHANGED w.e.f 29/08/10
| Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989458 | 989458 | 0 | 0 | 0 | 984075 | 984390 | -315 | 315000 | 0.315 | Assessment of August
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999703 | 999703 | 0 | 0 | 0 | 953809 | 953809 | 0 | 0 | 0 | Off from 19/07/10
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3835 | 3837 | -2 | 2000 | 0.002 | 968435 | 972650 | -4215 | 4215000 | 4.215
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 999879 | 0 | 0 | 0 | 960678 | 964695 | -4017 | 4017000 | 4.017
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 1755 | 1755 | 0 | 0 | 0 | 1055 | 1055 | 0 | 0 | 0 | Installed on 30/9/10
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 743 | 743 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0 | Installed on 30/9/10
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999981 | 999981 | 0 | 0 | 0 | 36474 | 36474 | 0 | 0 | 0
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10 | 23 | -13 | -17333.29 | -0.017333 | 878 | 819 | 59 | 78666.47 | 0.078666
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 748 | 751 | -3 | 3000 | 0.003 | 983911 | 984852 | -941 | 941000 | 0.941
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 384 | 384 | 0 | 0 | 0 | 989363 | 989595 | -232 | 232000 | 0.232
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3556 | 3475 | 81 | 8100 | 0.0081 | 7080 | 6965 | 115 | 11500 | 0.0115
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 28070 | 27619 | 451 | 45100 | 0.0451 | 147653 | 146848 | 805 | 80500 | 0.0805
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989434 | 990392 | -958 | -958000 | -0.958 | 994126 | 994160 | -34 | -34000 | -0.034
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 9 | 12 | -3 | -300 | -0.0003 | 1032 | 730 | 302 | 30200 | 0.0302
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 118 | 55 | 63 | 6300 | 0.0063 | 2250 | 1276 | 974 | 97400 | 0.0974
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.6205 |  |  |  |  | 40.6008
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 992258 | 993700 | -1442 | -144200 | -0.1442 | 861675 | 866020 | -4345 | -434500 | -0.4345
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 62147 | 60360 | 1787 | -178700 | -0.1787 | 1633 | 1651 | -18 | 1800 | 0.0018
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 23759 | 25583 | -1824 | 182400 | 0.1824 | 999407 | 999411 | -4 | 400 | 0.0004
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 512 | 513 | -1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 663982 | 654690 | 9292 | -929200 | -0.9292 | 43192 | 43062 | 130 | -13000 | -0.013
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 633 | 270 | 363 | -363000 | -0.363 | 754 | 567 | 187 | -187000 | -0.187
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 639274 | 619832 | 19442 | -1944200 | -1.9442 | 38217 | 38142 | 75 | -7500 | -0.0075
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 4295 | 3658 | 637 | -63700 | -0.0637 | 48364 | 47493 | 871 | -87100 | -0.0871
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6963 | 6702 | 261 | -26100 | -0.0261 | 46187 | 45713 | 474 | -47400 | -0.0474
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 29176 | 28157 | 1019 | -101900 | -0.1019 | 100564 | 99377 | 1187 | -118700 | -0.1187
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 2023 | 1207 | 816 | -81600 | -0.0816 | 2159 | 1469 | 690 | -69000 | -0.069
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 6506 | 5452 | 1054 | -105400 | -0.1054 | 609087 | 608608 | 479 | -47900 | -0.0479
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 66514 | 65536 | 978 | -97800 | -0.0978 | 151985 | 147353 | 4632 | -463200 | -0.4632
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145806 | 145832 | -26 | -2600 | -0.0026 | 24265 | 24296 | -31 | -3100 | -0.0031
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 814 | 788 | 26 | -2600 | -0.0026 | 11107 | 10768 | 339 | -33900 | -0.0339
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7172 | 7113 | 59 | -5900 | -0.0059 | 43002 | 42069 | 933 | -93300 | -0.0933
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 5656 | 5318 | 338 | -33800 | -0.0338 | 6270 | 5845 | 425 | -42500 | -0.0425
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 7729 | 7015 | 714 | -71400 | -0.0714 | 24736 | 24475 | 261 | -26100 | -0.0261
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12033 | 11253 | 780 | -78000 | -0.078 | 32014 | 31573 | 441 | -44100 | -0.0441
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 24065 | 23277 | 788 | -78800 | -0.0788 | 8484 | 8450 | 34 | -3400 | -0.0034
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 796 | 768 | 28 | -2800 | -0.0028 | 185 | 184 | 1 | -100 | -0.0001
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 9409 | 8938 | 471 | -47100 | -0.0471 | 8268 | 8201 | 67 | -6700 | -0.0067
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997958 | 998027 | -69 | 6900 | 0.0069 | 999963 | 999961 | 2 | -200 | -0.0002
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 839 | 835 | 4 | 400 | 0.0004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999508 | 999508 | 0 | 0 | 0 | 999148 | 999135 | 13 | -1300 | -0.0013
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.1694 |  |  |  |  | -1.7274
SEPTEMBER 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.6205 |  |  |  |  | 40.6008
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.1694 |  |  |  |  | -1.7274
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.8068 |  |  |  |  | 0.8271
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.08075 |  |  |  |  | -0.24385
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -1.8229 |  |  |  |  | 39.4566
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.8229 | (REACTIVE MUs) |  |  |  | 39.4566 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.43612 | (REACTIVE MUs) |  |  |  | -2.0286 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.259 | (REACTIVE MUs) |  |  |  | 37.428 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 2157 | 1449 | 708 | 70800 | 0.0708 | 52678 | 51316 | 1362 | 136200 | 0.1362
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1980 | 1359 | 621 | 62100 | 0.0621 | 111347 | 110446 | 901 | 90100 | 0.0901
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999569 | 999756 | -187 | -18700 | -0.0187 | 4318 | 4509 | -191 | -19100 | -0.0191
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 3659 | 3100 | 559 | 55900 | 0.0559 | 72954 | 72314 | 640 | 64000 | 0.064
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29543 | 27783 | 1760 | 1760000 | 1.76 | 232 | 232 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 173 | 81 | 92 | 9200 | 0.0092 | 266176 | 265187 | 989 | 98900 | 0.0989
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 1675 | 442 | 1233 | 123300 | 0.1233 | 389292 | 387903 | 1389 | 138900 | 0.1389
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 1940 | 1057 | 883 | 88300 | 0.0883 | 169048 | 166468 | 2580 | 258000 | 0.258
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1112 | 599 | 513 | 51300 | 0.0513 | 287473 | 287380 | 93 | 9300 | 0.0093
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999965 | 999994 | -29 | -2900 | -0.0029 | 191454 | 189237 | 2217 | 221700 | 0.2217
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 480 | 617 | -137 | -13700 | -0.0137 | 124316 | 124432 | -116 | -11600 | -0.0116
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2217 | 311 | 1906 | 190600 | 0.1906 | 166654 | 165385 | 1269 | 126900 | 0.1269
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 2857 | 1145 | 1712 | 171200 | 0.1712 | 209847 | 208028 | 1819 | 181900 | 0.1819
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 40056 | 38264 | 1792 | 1971200 | 1.9712
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5130 | 4793 | 337 | 337000 | 0.337 | 36028 | 36005 | 23 | 23000 | 0.023
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 109775 | 107433 | 2342 | 2576200 | 2.5762
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7439 | 7162 | 277 | 277000 | 0.277 | 48033 | 48028 | 5 | 5000 | 0.005
[10 empty] | 0.614 |  |  |  |  | 4.5754
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 663982 | 654690 | 9292 | 929200 | 0.9292 | 43192 | 43062 | 130 | 13000 | 0.013
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 633 | 270 | 363 | 363000 | 0.363 | 754 | 569 | 185 | 185000 | 0.185
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 639274 | 619832 | 19442 | 1944200 | 1.9442 | 38217 | 38142 | 75 | 7500 | 0.0075
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 2023 | 1207 | 816 | 81600 | 0.0816 | 2159 | 1469 | 690 | 69000 | 0.069
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 6506 | 5452 | 1054 | 105400 | 0.1054 | 609087 | 608608 | 479 | 47900 | 0.0479
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 66514 | 65527 | 987 | 98700 | 0.0987 | 151985 | 143879 | 8106 | 810600 | 0.8106
SEPTEMBER 2010
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145806 | 145832 | -26 | 2600 | 0.0026 | 24265 | 24296 | -31 | 3100 | 0.0031
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 814 | 788 | 26 | 2600 | 0.0026 | 11107 | 10768 | 339 | 33900 | 0.0339
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 4295 | 3658 | 637 | 63700 | 0.0637 | 48364 | 47493 | 871 | 87100 | 0.0871
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6963 | 6702 | 261 | 26100 | 0.0261 | 46187 | 45713 | 474 | 47400 | 0.0474
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 29176 | 28157 | 1019 | 101900 | 0.1019 | 100564 | 99377 | 1187 | 118700 | 0.1187
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 992258 | 993700 | -1442 | 144200 | 0.1442 | 861675 | 866020 | -4345 | 434500 | 0.4345
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 9 | 12 | -3 | 300 | 0.0003 | 1032 | 730 | 302 | -30200 | -0.0302
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 118 | 55 | 63 | -6300 | -0.0063 | 2250 | 1276 | 974 | -97400 | -0.0974
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.0186 |  |  |  |  | 7.6007
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.0186 |  |  |  |  | 7.6007
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.053027 |  |  |  |  | -0.24666
| TOTAL ENERGY TO NDMC | [8 empty] | 6.9656 |  |  |  |  | 7.354

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 226 | 226 | 0 | 0 | 0 | 11545 | 11248 | 297 | 297000 | 0.297
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 123 | 123 | 0 | 0 | 0 | 16075 | 15647 | 428 | 428000 | 0.428
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 23031 | 22407 | 624 | 624000 | 0.624
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 11960 | 11716 | 244 | 244000 | 0.244
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 486 | 444 | 42 | 42000 | 0.042 | 5894 | 5795 | 99 | 99000 | 0.099
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 512 | 513 | -1 | -100 | -0.0001 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0419 |  |  |  |  | 1.692
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3028 | 3023 | 5 | 500 | 0.0005 | 31863 | 31863 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 20855 | 20322 | 533 | 53300 | 0.0533 | 51006 | 50362 | 644 | 64400 | 0.0644
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61796 | 61618 | 178 | 17800 | 0.0178 | 5154 | 5077 | 77 | 7700 | 0.0077
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 11523 | 11095 | 428 | 42800 | 0.0428 | 34927 | 34072 | 855 | 85500 | 0.0855
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999913 | 999914 | -1 | -100 | -0.0001 | 13917 | 13666 | 251 | 25100 | 0.0251
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 64946 | 64823 | 123 | 12300 | 0.0123 | 24115 | 23371 | 744 | 74400 | 0.0744
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 257 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1266 |  |  |  |  | 0.2571
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 4575 | 3658 | 917 | 45850 | 0.04585 | 18495 | 18230 | 265 | 13250 | 0.01325
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.04585 |  |  |  |  | 0.01325
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.08075 |  |  |  |  | 0.24385
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0419 |  |  |  |  | 1.692
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.12265 |  |  |  |  | 1.9358
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.12265 | (REACTIVE MUs) |  |  |  | 1.9358 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0083361 | (REACTIVE MUs) |  |  |  | -0.038776 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.11431 | (REACTIVE MUs) |  |  |  | 1.8971 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 61221 | 58957 | 2264 | 226400 | 0.2264 | 76445 | 76306 | 139 | 13900 | 0.0139
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6562 | 6254 | 308 | 30800 | 0.0308 | 999530 | 999374 | 156 | 15600 | 0.0156
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 122884 | 122573 | 311 | 31100 | 0.0311 | 85057 | 84933 | 124 | 12400 | 0.0124
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9409 | 9115 | 294 | 294000 | 0.294 | 16683 | 16606 | 77 | 77000 | 0.077
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994819 | 994819 | 0 | 0 | 0 | 964020 | 965398 | -1378 | 689000 | 0.689
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 995420 | 995869 | -449 | 224500 | 0.2245 | 991626 | 991668 | -42 | 21000 | 0.021
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999898 | 999904 | -6 | -1800 | -0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.8068 |  |  |  |  | 0.8271
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 965730 | 966658 | -928 | -185600 | -0.1856 | 990944 | 991000 | -56 | -11200 | -0.0112
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 956309 | 959134 | -2825 | -282500 | -0.2825 | 932035 | 932256 | -221 | -22100 | -0.0221
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4681 |  |  |  |  | -0.0333
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 132412 | 129719 | 2693 | 538600 | 0.5386 | 248241 | 247121 | 1120 | 224000 | 0.224
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 21677 | 22109 | -432 | -86400 | -0.0864 | 38467 | 38282 | 185 | 37000 | 0.037
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 12092 | 13246 | -1154 | -115400 | -0.1154 | 66862 | 66607 | 255 | 25500 | 0.0255
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993012 | 993344 | -332 | -332000 | -0.332 | 997591 | 997548 | 43 | 43000 | 0.043
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 989848 | 989946 | -98 | -9800 | -0.0098 | 7918 | 7950 | -32 | -3200 | -0.0032
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 996794 | 996934 | -140 | 70000 | 0.07 | 995940 | 995946 | -6 | 3000 | 0.003
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999898 | 999904 | -6 | 1800 | 0.0018
| TOTAL NDPL | [8 empty] | 0.065 |  |  |  |  | 0.3311
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.8068 |  |  |  |  | 0.8271
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4681 |  |  |  |  | -0.0333
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.065 |  |  |  |  | 0.3311

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 4716 | 4381 | 335 | 670000 | 0.67 | 999844 | 999845 | -1 | -2000 | -0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
| IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 3483 | 3600 | -117 | -234000 | -0.234 | 999609 | 999611 | -2 | -4000 | -0.004 | w.e.f. 16/09/10
[8 empty] | NET REACTIVE ENERGY |  | 0.436 |  |  | NET REACTIVE ENERGY |  | -0.006
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 40059 | 40183 | -124 | -124000 | -0.124
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991532 | 991533 | -1 | -1000 | -0.001 | 986239 | 986740 | -501 | -501000 | -0.501
[8 empty] | NET REACTIVE ENERGY |  | -0.001 |  |  | NET REACTIVE ENERGY |  | -0.625
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.435 |  |  |  |  | -0.631
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0058 |  |  |  |  | 0.9621
[7 empty] | NDMC = |  |  | 0.614 |  |  |  |  | 4.5754
MES =
[7 empty] | 2)TOTAL |  |  | 0.6198 |  |  |  |  | 5.5375
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0548 |  |  |  |  | 4.9065
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.7734 | % |  |  | 0.3035 |  |  |  |  | 1.4118
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.346 | % |  |  | 0.43612 |  |  |  |  | 2.0286
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.0632 | % |  |  | 0.25382 |  |  |  |  | 1.1807
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0272 | % |  |  | 0.053027 |  |  |  |  | 0.24666
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7903 | % |  |  | 0.0083361 |  |  |  |  | 0.038776
Note :Sharing taken from wk-24 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2010 TO 30th SEPTEMBER-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -7.1785 | + | 3.1458
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.259 | + | 37.428
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.82371 | + | 9.7328
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.9656 | + | 7.354
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.11431 | + | 1.8971
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/10 | INTIAL READING 01/09/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990530 | 991025 | -495 | -742500 | -0.7425 | 981910 | 982015 | -105 | -157500 | -0.1575
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 990643 | 992079 | -1436 | -2154000 | -2.154 | 987407 | 987407 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 953384 | 954144 | -760 | -1140000 | -1.14 | 971811 | 971909 | -98 | -147000 | -0.147
[8 empty] | NET REACTIVE ENERGY |  | -4.0365 |  |  | NET REACTIVE ENERGY |  | -0.3045
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997549 | 997919 | -370 | -370000 | -0.37 | 38332 | 38345 | -13 | -13000 | -0.013
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 210 | 68 | 142 | 142000 | 0.142 | 13599 | 13990 | -391 | -391000 | -0.391
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 983420 | 987337 | -3917 | -3917000 | -3.917 | 992912 | 992912 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -4.145 |  |  | NET REACTIVE ENERGY |  | -0.404