## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979564 | 982669 | -3105 | 3105000 | 3.105 | 995942 | 995942 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995142 | 994174 | 968 | -968000 | -0.968 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990967 | 994345 | -3378 | 3378000 | 3.378 | 996169 | 996169 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974184 | 974159 | 25 | -25000 | -0.025 | 972063 | 972070 | -7 | 7000 | 0.007
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917622 | 917628 | -6 | 6000 | 0.006 | 933748 | 933748 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23529 | 23906 | -377 | 377000 | 0.377 | 17962 | 17962 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8910 | 9447 | -537 | 537000 | 0.537 | 11633 | 11633 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13872 | 14081 | -209 | 261250 | 0.26125 | 994574 | 994574 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1789 | 3038 | -1249 | 1249000 | 1.249 | 983902 | 983902 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27094 | 27982 | -888 | 888000 | 0.888 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988480 | 989567 | -1087 | 1087000 | 1.087 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987124 | 988095 | -971 | 971000 | 0.971 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 874686 | 878982 | -4296 | -4296000 | -4.296 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985261 | 986127 | -866 | 866000 | 0.866 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 796 | 726 | 70 | -70000 | -0.07 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4372 | 3680 | 692 | -692000 | -0.692 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999801 | 125 | 25000 | 0.025 | 986425 | 986273 | 152 | 30400 | 0.0304
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 677 | 589 | 88 | 88000 | 0.088 | 29439 | 29428 | 11 | 11000 | 0.011
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5380 | 5294 | 86 | 8600 | 0.0086 | 161709 | 161690 | 19 | 1900 | 0.0019
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 30209 | 26466 | 3743 | 374300 | 0.3743 | 241017 | 240952 | 65 | 6500 | 0.0065
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996450 | 996400 | 50 | 50000 | 0.05 | 3468 | 3468 | 0 | 0 | 0
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 523 | 473 | 50 | 50000 | 0.05 | 8148 | 8140 | 8 | 8000 | 0.008
23 | PANDAV NAGAR | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | W.E.F 26/03/2015
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634855 | 635659 | -804 | -804000 | -0.804 | 797622 | 797622 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 642237 | 643883 | -1646 | -1646000 | -1.646 | 830705 | 830705 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4303 | 4058 | 245 | 98000 | 0.098 | 999653 | 999653 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 3864 | 3692 | 172 | 86000 | 0.086 | 4174 | 4173 | 1 | 500 | 0.0005
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22337 | 21099 | 1238 | -1238000 | -1.238 | 981108 | 981108 | 0 | 0 | 0
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7710 | 7479 | 231 | -231000 | -0.231 | 999444 | 999444 | 0 | 0 | 0
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5884 | 4298 | 1586 | -1586000 | -1.586 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
31 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11639 | 9636 | 2003 | -2003000 | -2.003 | 999068 | 999071 | -3 | 3000 | 0.003
32 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71748 | 68641 | 3107 | -3107000 | -3.107 | 2595 | 2595 | 0 | 0 | 0
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3298 | 2461 | 837 | -837000 | -0.837 | 998731 | 998731 | 0 | 0 | 0
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3309 | 3309 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997593 | 997787 | -194 | 194000 | 0.194 | 999993 | 999993 | 0 | 0 | 0
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4205 | 3600 | 605 | -605000 | -0.605 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2075 | 2016 | 59 | 59000 | 0.059 | 23402 | 23401 | 1 | 1000 | 0.001
38 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 466 | 403 | 63 | 63000 | 0.063 | 2825 | 2825 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | MARCH-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1365 | 1356 | 9 | 9000 | 0.009 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173204 | 172379 | 825 | 103125 | 0.10312 | 261090 | 261021 | 69 | 8625 | 0.008625
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9064 | 9181 | -117 | -11700 | -0.0117 | 29053 | 29046 | 7 | 700 | 0.0007
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10594 | 10919 | -325 | -32500 | -0.0325 | 58217 | 58220 | -3 | -300 | -0.0003
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17905 | 17705 | 200 | 20000 | 0.02 | 62111 | 61848 | 263 | 26300 | 0.0263
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 5898 | 5476 | 422 | 42200 | 0.0422 | 4499 | 4335 | 164 | 16400 | 0.0164
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16862 | 16878 | -16 | -1600 | -0.0016 | 19737 | 19725 | 12 | 1200 | 0.0012
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995826 | 996187 | -361 | -16042.84 | -0.016043 | 312 | 375 | -63 | -2799.72 | -0.0027997
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5477 | 5521 | -44 | -22000 | -0.022 | 31346 | 31342 | 4 | 2000 | 0.002
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3728 | 3795 | -67 | -33500 | -0.0335 | 29059 | 29059 | 0 | 0 | 0
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6481 | 6414 | 67 | 33500 | 0.0335 | 14891 | 14891 | 0 | 0 | 0
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1644 | 1549 | 95 | 63333.3333 | 0.063333 | 935 | 935 | 0 | 0 | 0
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998786 | 999088 | -302 | -30200 | -0.0302 | 27 | 27 | 0 | 0 | 0
56 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7623 | 7623 | 0 | 0 | 0 | 15269 | 15269 | 0 | 0 | 0
[10 empty] | -0.004 |  |  |  |  | 0 | Assessment upto 25/03/2015
| 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999991 | 1000000 | -9 | -900 | -0.0009 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/03/2015
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23653 | 24023 | -370 | -37000 | -0.037 | 57143 | 57143 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998452 | 998452 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0
[10 empty] | -0.0028 |  |  |  |  | 0 | Assessment
60 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 177368 | 176800 | 568 | 56800 | 0.0568 | 51745 | 51617 | 128 | 12800 | 0.0128
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 18113 | 17939 | 174 | 17400 | 0.0174 | 65754 | 65660 | 94 | 9400 | 0.0094
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 6351 | 6090 | 261 | 26100 | 0.0261 | 3957 | 3762 | 195 | 19500 | 0.0195
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 163836 | 161146 | 2690 | 269000 | 0.269 | 20888 | 20888 | 0 | 0 | 0
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23751 | 23583 | 168 | 16800 | 0.0168 | 44440 | 44437 | 3 | 300 | 0.0003
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995592 | 4 | -1600 | -0.0016 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999989 | -56 | -22400 | -0.0224 | 1000002 | 999997 | 5 | 2000 | 0.002
Mundka
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 978819 | 981516 | -2697 | -2157600 | -2.1576 | 264 | 264 | 0 | 0 | 0
70 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 998494 | 997782 | 712 | 569600 | 0.5696 | 73 | 73 | 0 | 0 | 0 | Data upto 09/03/2015
[10 empty] | 0.5696 |  |  |  |  | 0 | Assessment up to 18/03/2015
| GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 668 | 0 | 668 | 1336000 | 1.336 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/03/2015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -3.5282 |  |  |  |  | 0.16543
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 19804 | 18444 | 1360 | -136000 | -0.136 | 16158 | 16153 | 5 | -500 | -0.0005
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12839 | 12156 | 683 | -683000 | -0.683 | 7608 | 7606 | 2 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 8299 | 7082 | 1217 | -243400 | -0.2434 | 15152 | 15129 | 23 | -4600 | -0.0046
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999291 | 999349 | -58 | 58000 | 0.058 | 936 | 936 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9889 | 10202 | -313 | 31300 | 0.0313 | 61395 | 61397 | -2 | 200 | 0.0002
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923911 | 927250 | -3339 | 3339000 | 3.339 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.3659 |  |  |  |  | -0.0069
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -3.5282 |  |  |  |  | 0.16543
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.3659 |  |  |  |  | -0.0069
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.0144 |  |  |  |  | 0.00575
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.8521 |  |  |  |  | 0.16428
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8521 | (REACTIVE MUs) |  |  |  | 0.16428 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.30272 | (REACTIVE MUs) |  |  |  | -2.4894 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1548 | (REACTIVE MUs) |  |  |  | -2.3252 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999462 | 999859 | -397 | -39700 | -0.0397 | 37078 | 37401 | -323 | -32300 | -0.0323
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 2047 | 4545 | -2498 | -249800 | -0.2498 | 52656 | 59180 | -6524 | -652400 | -0.6524
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15610 | 16069 | -459 | -45900 | -0.0459 | 34080 | 36005 | -1925 | -192500 | -0.1925
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 542 | 695 | -153 | -91800 | -0.0918 | 5426 | 5489 | -63 | -37800 | -0.0378
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1909 | 1964 | -55 | -27500 | -0.0275 | 1802 | 1952 | -150 | -75000 | -0.075
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 16051 | 15455 | 596 | 59600 | 0.0596 | 170540 | 169534 | 1006 | 100600 | 0.1006
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 16274 | 15817 | 457 | 45700 | 0.0457 | 122983 | 123424 | -441 | -44100 | -0.0441
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991014 | 991348 | -334 | -334000 | -0.334 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998259 | 998271 | -12 | -12000 | -0.012 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 708 | 758 | -50 | -50000 | -0.05 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997944 | 998283 | -339 | -339000 | -0.339 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997437 | 997527 | -90 | -90000 | -0.09 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 395 | 262 | 133 | 133000 | 0.133 | 2296 | 2295 | 1 | 1000 | 0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999369 | 999464 | -95 | -95000 | -0.095 | 16774 | 16774 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1160 | 826 | 334 | 334000 | 0.334 | 37358 | 37356 | 2 | 2000 | 0.002
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999954 | 999754 | 200 | 200000 | 0.2 | 27536 | 27534 | 2 | 2000 | 0.002
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1541 | 1324 | 217 | 217000 | 0.217 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 10553 | 9907 | 646 | 64600 | 0.0646 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996996 | 998024 | -1028 | -1028000 | -1.028 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 704323 | 707800 | -3477 | -3824700 | -3.8247
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 736821 | 741178 | -4357 | -4792700 | -4.7927
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984856 | 984856 | 0 | 0 | 0 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.9994 |  |  |  |  | -8.6124
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955465 | 956026 | -561 | 561000 | 0.561 | 949290 | 949290 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964609 | 965573 | -964 | 964000 | 0.964 | 955464 | 955464 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 531 | 497 | 34 | 34000 | 0.034 | 6075 | 6083 | -8 | -8000 | -0.008
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52453 | 49389 | 3064 | -3064000 | -3.064 | 974199 | 974199 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39687 | 36208 | 3479 | -3479000 | -3.479 | 969805 | 969806 | -1 | 1000 | 0.001
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996256 | 996579 | -323 | 323000 | 0.323 | 995576 | 995583 | -7 | 7000 | 0.007
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974747 | 974747 | 0 | 0 | 0 | 992262 | 992262 | 0 | 0 | 0
[10 empty] | 0.038 |  |  |  |  | 0 | Assessment
| TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999675 | 1000000 | -325 | 325000 | 0.325 | 999997 | 1000000 | -3 | 3000 | 0.003 | w.e.f 17/03/2015
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3096 | 2486 | 610 | -1220000 | -1.22 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999648 | 1000005 | -357 | 714000 | 0.714 | 999999 | 999999 | 0 | 0 | 0 | Loaded on 27/02/2015
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1443 | 3033 | -1590 | 1590000 | 1.59 | 999998 | 999998 | 0 | 0 | 0
[10 empty] | -3.03 |  |  |  |  | 0 | Assessment due to wrong MF
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 8299 | 7082 | 1217 | 243400 | 0.2434 | 15152 | 15129 | 23 | 4600 | 0.0046
35 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999291 | 999349 | -58 | -58000 | -0.058 | 936 | 936 | 0 | 0 | 0
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 98210 | 99025 | -815 | -81500 | -0.0815 | 1595 | 1595 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150042 | 151662 | -1620 | -162000 | -0.162 | 4530 | 4530 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.6509 |  |  |  |  | -9.5383
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.6509 |  |  |  |  | -9.5383
MARCH-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983581 | 984617 | -1036 | 1036000 | 1.036 | 908281 | 908309 | -28 | 28000 | 0.028
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6813 | 7579 | -766 | 766000 | 0.766 | 927537 | 927558 | -21 | 21000 | 0.021
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983496 | 984765 | -1269 | 1269000 | 1.269 | 973040 | 973060 | -20 | 20000 | 0.02
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996178 | 996201 | -23 | 46000 | 0.046 | 986687 | 986687 | 0 | 0 | 0
[10 empty] | -0.011 | [5 empty] | Assessment for the last month due to wrong MF
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 897543 | 897013 | 530 | -530000 | -0.53 | 990286 | 990286 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 878817 | 880550 | -1733 | 1733000 | 1.733 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5860 | 5686 | 174 | -174000 | -0.174 | 984442 | 984442 | 0 | 0 | 0
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 428 | 277 | 151 | -302000 | -0.302 | 976532 | 976544 | -12 | 24000 | 0.024
| 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 557 | 0 | 557 | -557000 | -0.557 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/03/2015
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998405 | 998857 | -452 | 452000 | 0.452 | 945054 | 945068 | -14 | 14000 | 0.014
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985313 | 987254 | -1941 | 1941000 | 1.941 | 991563 | 991583 | -20 | 20000 | 0.02
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958009 | 957801 | 208 | -208000 | -0.208 | 863141 | 863142 | -1 | 1000 | 0.001
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18947 | 19497 | -550 | 550000 | 0.55 | 34929 | 34929 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23794 | 23295 | 499 | -499000 | -0.499 | 44999 | 44999 | 0 | 0 | 0
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998853 | 1000000 | -1147 | 1147000 | 1.147 | 0 | 0 | 0 | 0 | 0
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 6.659 |  |  |  |  | 0.128
| (B) NET ENERGY TO EAST | [8 empty] | 6.659 |  |  |  |  | 0.128
MARCH-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4303 | 4058 | 245 | -98000 | -0.098 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 3864 | 3692 | 172 | -86000 | -0.086 | 4174 | 4173 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 50436 | 48963 | 1473 | -294600 | -0.2946 | 77821 | 77816 | 5 | -1000 | -0.001
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73098 | 72194 | 904 | -90400 | -0.0904 | 139377 | 139373 | 4 | -400 | -0.0004
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978642 | 979178 | -536 | 107200 | 0.1072 | 999150 | 999149 | 1 | -200 | -0.0002
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 79467 | 78124 | 1343 | -268600 | -0.2686 | 95409 | 95407 | 2 | -400 | -0.0004
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11256 | 10813 | 443 | -354400 | -0.3544 | 4157 | 4117 | 40 | -32000 | -0.032
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13825 | 13701 | 124 | -248000 | -0.248 | 2256 | 2256 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980949 | 981483 | -534 | 427200 | 0.4272 | 990792 | 990793 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 980114 | 982036 | -1922 | 1537600 | 1.5376 | 987690 | 987698 | -8 | 6400 | 0.0064
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988472 | 989714 | -1242 | 993600 | 0.9936 | 994823 | 994825 | -2 | 1600 | 0.0016
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989077 | 989840 | -763 | 763000 | 0.763 | 36472 | 36473 | -1 | 1000 | 0.001
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993524 | 993524 | 0 | 0 | 0 | 998577 | 998577 | 0 | 0 | 0
| 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999846 | 1000000 | -154 | 308000 | 0.308 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 17/03/2015
[10 empty] | 0.28 |  |  |  |  | 0 | Assessment upto 16/03/2015
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2075 | 2016 | 59 | -59000 | -0.059 | 23402 | 23401 | 1 | -1000 | -0.001
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 466 | 403 | 63 | -63000 | -0.063 | 2825 | 2825 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1365 | 1356 | 9 | -9000 | -0.009 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5477 | 5521 | -44 | 22000 | 0.022 | 31346 | 31342 | 4 | -2000 | -0.002
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3728 | 3795 | -67 | 33500 | 0.0335 | 29059 | 29059 | 0 | 0 | 0
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6481 | 6414 | 67 | -33500 | -0.0335 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1644 | 1549 | 95 | -63333.3333 | -0.063333 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 163836 | 161146 | 2690 | -269000 | -0.269 | 20888 | 20888 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23751 | 23583 | 168 | -16800 | -0.0168 | 44440 | 44437 | 3 | -300 | -0.0003
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998786 | 999088 | -302 | 30200 | 0.0302 | 27 | 27 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7623 | 7623 | 0 | 0 | 0 | 15269 | 15269 | 0 | 0 | 0
[10 empty] | 0.004 |  |  |  |  | 0 | Assessment upto 25/03/2015
| 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999991 | 1000000 | -9 | 900 | 0.0009 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/03/205
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23653 | 24023 | -370 | 37000 | 0.037 | 57143 | 57143 | 0 | 0 | 0
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998452 | 998452 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0
[10 empty] | 0.0028 |  |  |  |  | 0 | Assessment
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 177368 | 176800 | 568 | -56800 | -0.0568 | 51745 | 51617 | 128 | -12800 | -0.0128
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 18113 | 17939 | 174 | -17400 | -0.0174 | 65754 | 65660 | 94 | -9400 | -0.0094
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 6351 | 6090 | 261 | -26100 | -0.0261 | 3957 | 3762 | 195 | -19500 | -0.0195
[10 empty] | 2.4931 |  |  |  |  | -0.0677
MARCH-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.6509 |  |  |  |  | -9.5383
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.4931 |  |  |  |  | -0.0677
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.265 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -6.4228 |  |  |  |  | -9.606
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 6.659 |  |  |  |  | 0.128
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.23617 |  |  |  |  | -9.478
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.23617 | (REACTIVE MUs) |  |  |  | -9.478 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.21777 | (REACTIVE MUs) |  |  |  | -1.7909 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.45394 | (REACTIVE MUs) |  |  |  | -11.2689 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 35 | 38 | -3 | -15000 | -0.015 | 999949 | 999919 | 30 | 150000 | 0.15
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985063 | 985100 | -37 | -49333.21 | -0.049333 | 672848 | 672898 | -50 | -66666.5 | -0.066667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10293 | 10316 | -23 | -11500 | -0.0115 | 71150 | 70511 | 639 | 319500 | 0.3195
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12557 | 12565 | -8 | -8000 | -0.008 | 999872 | 999920 | -48 | -48000 | -0.048
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13282 | 13285 | -3 | -300 | -0.0003 | 125260 | 125207 | 53 | 5300 | 0.0053 | Check meter Data upto 10/03/2014
[10 empty] | -0.00021 |  |  |  |  | 0.00371 | Assessment
| BAY-7 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 75 | 31 | 0 | 31 | 2325 | 0.002325 | 456 | 0 | 456 | 34200 | 0.0342 | w.e.f 18/03/2015
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 717577 | 719823 | -2246 | -168450 | -0.16845 | 25891 | 26771 | -880 | -66000 | -0.066
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996795 | 997032 | -237 | -17775 | -0.017775 | 847 | 725 | 122 | 9150 | 0.00915
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999250 | 1000713 | -1463 | 731500 | 0.7315 | 995281 | 995282 | -1 | 500 | 0.0005
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987328 | 988078 | -750 | 750000 | 0.75 | 948414 | 948415 | -1 | 1000 | 0.001
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996212 | 997602 | -1390 | 1390000 | 1.39 | 996421 | 996427 | -6 | 6000 | 0.006
13 | Tx.4 | 4864824 | ELSTER | Kvarh(Lead/Lag) | -400 | 995047 | 997813 | -2766 | 1106400 | 1.1064 | 77599 | 77613 | -14 | 5600 | 0.0056 | Check meter data upto 24/3/15
[10 empty] | 0.322 |  |  |  |  | 0.0016 | Assessment
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980245 | 982076 | -1831 | 1831000 | 1.831 | 973161 | 973161 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34502 | 32118 | 2384 | -2384000 | -2.384 | 983730 | 983730 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38017 | 36669 | 1348 | -1348000 | -1.348 | 995342 | 995342 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3225 | 4257 | -1032 | 1032000 | 1.032 | 999411 | 999547 | -136 | 136000 | 0.136
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994 | 2700 | -1706 | 1706000 | 1.706 | 996721 | 996803 | -82 | 82000 | 0.082
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23704 | 24779 | -1075 | 1075000 | 1.075 | 3082 | 3168 | -86 | 86000 | 0.086
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7757 | 7446 | 311 | -311000 | -0.311 | 998933 | 998959 | -26 | 26000 | 0.026
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12839 | 12156 | 683 | 683000 | 0.683 | 7608 | 7606 | 2 | 2000 | 0.002
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994078 | 996923 | -2845 | 2845000 | 2.845 | 999959 | 999969 | -10 | 10000 | 0.01
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998845 | 999722 | -877 | 877000 | 0.877 | 999993 | 999993 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998416 | 1000201 | -1785 | 1785000 | 1.785 | 999768 | 999898 | -130 | 130000 | 0.13
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990250 | 990250 | 0 | 0 | 0 | 946916 | 946916 | 0 | 0 | 0
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997696 | 997169 | 527 | -527000 | -0.527 | 39064 | 39069 | -5 | 5000 | 0.005
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 109 | 192 | -83 | 83000 | 0.083 | 999035 | 999084 | -49 | 49000 | 0.049
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997159 | 997182 | -23 | 23000 | 0.023 | 866660 | 866959 | -299 | 299000 | 0.299
BRPL(+) continue | [14 empty] | MARCH-2015
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996590 | 996924 | -334 | 334000 | 0.334 | 972451 | 972472 | -21 | 21000 | 0.021
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998633 | 999137 | -504 | 504000 | 0.504 | 999736 | 999885 | -149 | 149000 | 0.149
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1527 | 835 | 692 | -1384000 | -1.384 | 969838 | 969838 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993557 | 994396 | -839 | 839000 | 0.839 | 910219 | 910222 | -3 | 3000 | 0.003
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 994697 | 0 | 0 | 0 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997336 | 998128 | -792 | 792000 | 0.792 | 995151 | 995155 | -4 | 4000 | 0.004
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981401 | 984239 | -2838 | 2838000 | 2.838 | 988474 | 988581 | -107 | 107000 | 0.107
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 981169 | 979789 | 1380 | -919999.08 | -0.92 | 978858 | 978858 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 994234 | 994943 | -709 | 1772500 | 1.7725 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3678 | 3341 | 337 | -674000 | -0.674 | 1930 | 1930 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 455 | 179 | 276 | -552000 | -0.552 | 1000 | 1000 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 931731 | 933195 | -1464 | 1464000 | 1.464 | 990421 | 990421 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940115 | 942022 | -1907 | 1907000 | 1.907 | 994525 | 994531 | -6 | 6000 | 0.006
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993096 | 993096 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 27270 | 26051 | 1219 | 975200 | 0.9752 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 918108 | 921684 | -3576 | -2860800 | -2.8608 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989077 | 989840 | -763 | -763000 | -0.763 | 36472 | 36473 | -1 | -1000 | -0.001
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993524 | 993524 | 0 | 0 | 0 | 998577 | 998577 | 0 | 0 | 0
[10 empty] | -0.28 |  |  |  |  | 0 | Assessment up to 16/03/2015
| 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999846 | 1000000 | -154 | -308000 | -0.308 | 999999 | 1000000 | -1 | -2000 | -0.002 | w.e.f 17/03/2015
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30045 | 26593 | 3452 | -3452000 | -3.452 | 973859 | 973859 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15509 | 14965 | 544 | -544000 | -0.544 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 19804 | 18444 | 1360 | 136000 | 0.136 | 16158 | 16153 | 5 | 500 | 0.0005
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9889 | 10202 | -313 | -31300 | -0.0313 | 61395 | 61397 | -2 | -200 | -0.0002
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923911 | 927250 | -3339 | -3339000 | -3.339 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1157 | 986 | 171 | 12825 | 0.012825 | 1976 | 1954 | 22 | 1650 | 0.00165
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12378 | 12207 | 171 | 17100 | 0.0171 | 26587 | 26588 | -1 | -100 | -0.0001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.8852 |  |  |  |  | 1.4697
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 63227 | 60971 | 2256 | -225600 | -0.2256 | 909272 | 909270 | 2 | -200 | -0.0002
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 98210 | 99025 | -815 | 81500 | 0.0815 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150042 | 151662 | -1620 | 162000 | 0.162 | 4530 | 4530 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996209 | 996295 | -86 | 8600 | 0.0086 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3834 | 3602 | 232 | -232000 | -0.232 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14615 | 14388 | 227 | -227000 | -0.227 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905721 | 905523 | 198 | -99000 | -0.099 | 54663 | 54663 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 3650 | 5854 | -2204 | 881600 | 0.8816 | 3081 | 3081 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75334 | 72964 | 2370 | -237000 | -0.237 | 65464 | 65464 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 76573 | 73171 | 3402 | -340200 | -0.3402 | 63756 | 63756 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 6325 | 3273 | 3052 | -610400 | -0.6104 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999918 | 1000169 | -251 | -125500 | -0.1255 | 17114 | 17120 | -6 | -3000 | -0.003
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2719 | 2852 | -133 | -11082.89 | -0.011083 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987604 | 987618 | -14 | -2333.3333 | -0.0023333 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 338069 | 333748 | 4321 | -432100 | -0.4321 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3870 | 3870 | 0 | 0 | 0 | 22032 | 21683 | 349 | -34900 | -0.0349
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173204 | 172379 | 825 | -103125 | -0.10312 | 261090 | 261021 | 69 | -8625 | -0.008625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9064 | 9181 | -117 | 11700 | 0.0117 | 29053 | 29046 | 7 | -700 | -0.0007
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10594 | 10919 | -325 | 32500 | 0.0325 | 58217 | 58220 | -3 | 300 | 0.0003
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17905 | 17705 | 200 | -20000 | -0.02 | 62111 | 61848 | 263 | -26300 | -0.0263
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 5898 | 5476 | 422 | -42200 | -0.0422 | 4499 | 4335 | 164 | -16400 | -0.0164
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16862 | 16878 | -16 | 1600 | 0.0016 | 19737 | 19725 | 12 | -1200 | -0.0012
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995826 | 996187 | -361 | 16042.84 | 0.016043 | 312 | 375 | -63 | 2799.72 | 0.0027997
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995592 | 4 | 1600 | 0.0016 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999989 | -56 | 22400 | 0.0224 | 1000002 | 999997 | 5 | -2000 | -0.002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.488 |  |  |  |  | -0.090225
MARCH-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.8852 |  |  |  |  | 1.4697
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.488 |  |  |  |  | -0.090225
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.255 |  |  |  |  | 0.056
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1451 |  |  |  |  | -0.0136
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 8.507 |  |  |  |  | 1.4219
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 8.507 | (REACTIVE MUs) |  |  |  | 1.4219 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.3737 | (REACTIVE MUs) |  |  |  | -3.0731 | (REACTIVE MUs)
[9 empty] | TOTAL | 8.8807 | (REACTIVE MUs) |  |  |  | -1.6512 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 50436 | 48963 | 1473 | 294600 | 0.2946 | 77821 | 77816 | 5 | 1000 | 0.001
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73098 | 72194 | 904 | 90400 | 0.0904 | 139377 | 139373 | 4 | 400 | 0.0004
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978642 | 979178 | -536 | -107200 | -0.1072 | 999150 | 999149 | 1 | 200 | 0.0002
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 79467 | 78124 | 1343 | 268600 | 0.2686 | 95409 | 95407 | 2 | 400 | 0.0004
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11256 | 10813 | 443 | 354400 | 0.3544 | 4157 | 4117 | 40 | 32000 | 0.032
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13825 | 13701 | 124 | 248000 | 0.248 | 2256 | 2256 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980949 | 981483 | -534 | -427200 | -0.4272 | 990792 | 990793 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 980114 | 982036 | -1922 | -1537600 | -1.5376 | 987690 | 987698 | -8 | -6400 | -0.0064
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988472 | 989714 | -1242 | -993600 | -0.9936 | 994823 | 994825 | -2 | -1600 | -0.0016
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998176 | 998210 | -34 | -3400 | -0.0034 | 389369 | 388266 | 1103 | 110300 | 0.1103
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
| BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 999908 | 1000000 | -92 | -6900 | -0.0069 | 1044 | 0 | 1044 | 78300 | 0.0783 | w.e.f 18/03/2015
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16403 | 16222 | 181 | 18100 | 0.0181 | 372429 | 371388 | 1041 | 104100 | 0.1041
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 2364 | 2450 | -86 | -8600 | -0.0086 | 364234 | 363907 | 327 | 32700 | 0.0327
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995751 | 995869 | -118 | -11800 | -0.0118 | 309242 | 308986 | 256 | 25600 | 0.0256
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1426 | 1513 | -87 | -8700 | -0.0087 | 195327 | 195651 | -324 | -32400 | -0.0324
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12483 | 12629 | -146 | -14600 | -0.0146 | 258971 | 258617 | 354 | 35400 | 0.0354
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 54493 | 54340 | 153 | 15300 | 0.0153 | 708938 | 708291 | 647 | 64700 | 0.0647
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 88565 | 89074 | -509 | -559900 | -0.5599
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1176 | 1522 | -346 | -346000 | -0.346 | 39861 | 39867 | -6 | -6000 | -0.006
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149334 | 148097 | 1237 | 1360700 | 1.3607
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3466 | 4227 | -761 | -761000 | -0.761 | 54066 | 54070 | -4 | -4000 | -0.004
[10 empty] | -1.107 |  |  |  |  | 0.7908
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3834 | 3602 | 232 | 232000 | 0.232 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14615 | 14388 | 227 | 227000 | 0.227 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905721 | 905523 | 198 | 99000 | 0.099 | 54663 | 54663 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 3650 | 5854 | -2204 | -881600 | -0.8816 | 3081 | 3081 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999918 | 1000169 | -251 | 125500 | 0.1255 | 17114 | 17120 | -6 | 3000 | 0.003
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 2719 | 2852 | -133 | 11083.3333 | 0.011083 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987604 | 987618 | -14 | 2333.3333 | 0.0023333 | 993182 | 993182 | 0 | 0 | 0
MARCH-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967158 | 970638 | -3480 | 3480000 | 3.48 | 978507 | 978507 | 0 | 0 | 0
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973924 | 975226 | -1302 | 1302000 | 1.302 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989234 | 990594 | -1360 | 1360000 | 1.36 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 338069 | 333748 | 4321 | 432100 | 0.4321 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3870 | 3870 | 0 | 0 | 0 | 22032 | 21683 | 349 | 34900 | 0.0349
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75334 | 72964 | 2370 | 237000 | 0.237 | 65464 | 65464 | 0 | 0 | 0
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 76573 | 73171 | 3402 | 340200 | 0.3402 | 63756 | 63756 | 0 | 0 | 0
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 6325 | 3273 | 3052 | 305200 | 0.3052 | 11 | 11 | 0 | 0 | 0
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 63227 | 60971 | 2256 | 225600 | 0.2256 | 909272 | 909270 | 2 | 200 | 0.0002
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1157 | 986 | 171 | -12825 | -0.012825 | 1976 | 1954 | 22 | -1650 | -0.00165
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12378 | 12207 | 171 | -17100 | -0.0171 | 26587 | 26588 | -1 | 100 | 0.0001
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.5303 |  |  |  |  | 1.2713
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.5303 |  |  |  |  | 1.2713
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.045315 |  |  |  |  | -0.37265
| TOTAL ENERGY TO NDMC | [8 empty] | 4.5756 |  |  |  |  | 0.8986

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2407 | 2099 | 308 | 308000 | 0.308 | 27677 | 27666 | 11 | 11000 | 0.011
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1478 | 1367 | 111 | 111000 | 0.111 | 29170 | 29165 | 5 | 5000 | 0.005
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3901 | 3485 | 416 | 416000 | 0.416 | 36296 | 36277 | 19 | 19000 | 0.019
4 | KIRBY PLACE-2 | 4864857 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1134 | 979 | 155 | 155000 | 0.155 | 20410 | 20411 | -1 | -1000 | -0.001 | Check Meter Data used
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5180 | 4722 | 458 | 458000 | 0.458 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12355 | 12399 | -44 | -22000 | -0.022 | 59153 | 59153 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996209 | 996295 | -86 | -8600 | -0.0086 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.4174 |  |  |  |  | 0.034
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53287 | 53244 | 43 | 4300 | 0.0043 | 76653 | 76653 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76319 | 75455 | 864 | 86400 | 0.0864 | 13029 | 13029 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52207 | 51662 | 545 | 54500 | 0.0545 | 68170 | 68034 | 136 | 13600 | 0.0136
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 7701 | 7702 | -1 | -100 | -0.0001 | 10254 | 10254 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3043 | 3043 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1451 |  |  |  |  | 0.0136
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1451 |  |  |  |  | 0.0136
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.4174 |  |  |  |  | 0.034
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 1.5625 |  |  |  |  | 0.0476
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.5625 | (REACTIVE MUs) |  |  |  | 0.0476 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0080906 | (REACTIVE MUs) |  |  |  | -0.066533 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.5706 | (REACTIVE MUs) |  |  |  | -0.018933 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 8172 | 9992 | -1820 | -182000 | -0.182 | 1662 | 1682 | -20 | -2000 | -0.002
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 4593 | 847 | 3746 | 374600 | 0.3746 | 999213 | 999164 | 49 | 4900 | 0.0049
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 285551 | 277548 | 8003 | 800300 | 0.8003 | 102930 | 102962 | -32 | -3200 | -0.0032
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 39322 | 38230 | 1092 | 1023750 | 1.0237 | 19119 | 19119 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 983936 | 984304 | -368 | 184000 | 0.184 | 913650 | 913701 | -51 | 25500 | 0.0255
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988838 | 988934 | -96 | 48000 | 0.048 | 978022 | 978068 | -46 | 23000 | 0.023
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 31 | 10 | 21 | 6300 | 0.0063 | 66 | 40 | 26 | 7800 | 0.0078
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.255 |  |  |  |  | 0.056
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864809 | ELSTER | Kvarh(Lead/Lag) | 200 | 926270 | 927009 | -739 | -147800 | -0.1478 | 989950 | 989950 | 0 | 0 | 0 | Check Meter Data till 18/03/2015
| O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 999522 | 1000000 | -478 | -95600 | -0.0956 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/03/2015
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 949033 | 954141 | -5108 | -1021600 | -1.0216 | 999409 | 999409 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.265 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 263601 | 260748 | 2853 | 570600 | 0.5706 | 265574 | 265580 | -6 | -1200 | -0.0012
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 122903 | 120255 | 2648 | 529600 | 0.5296 | 42577 | 42577 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 204153 | 199203 | 4950 | 495000 | 0.495 | 74519 | 74519 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000034 | 999695 | 339 | 339000 | 0.339 | 1000000 | 999999 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 956156 | 956156 | 0 | 0 | 0 | 6914 | 6914 | 0 | 0 | 0
[10 empty] | -0.0626 |  |  |  |  | 0 | Assessment upto 18/03/2015
| O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 999407 | 1000000 | -593 | -59300 | -0.0593 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/03/2015
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998869 | 998984 | -115 | -107812.5 | -0.10781 | 997423 | 997409 | 14 | 13125 | 0.013125
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 984825 | 985331 | -506 | 316250 | 0.31625 | 995390 | 995391 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 31 | 10 | 21 | -6300 | -0.0063 | 66 | 40 | 26 | -7800 | -0.0078
| TOTAL NDPL | [8 empty] | 2.0144 |  |  |  |  | 0.00575
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.255 |  |  |  |  | 0.056
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.265 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.0144 |  |  |  |  | 0.00575

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 15147 | 13966 | 1181 | 2362000 | 2.362 | 811 | 804 | 7 | 14000 | 0.014
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 18435 | 17300 | 1135 | 2270000 | 2.27 | 2300 | 2292 | 8 | 16000 | 0.016
[7 empty] | NET REACTIVE ENERGY |  |  | 4.632 |  | NET REACTIVE ENERGY |  |  | 0.03
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992205 | 992973 | -768 | -768000 | -0.768 | 38626 | 38627 | -1 | -1000 | -0.001
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995176 | 995986 | -810 | -810000 | -0.81 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -1.578 |  | NET REACTIVE ENERGY |  |  | -0.001
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.054 |  |  |  |  | 0.029
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.9994 |  |  |  |  | -8.6124
[7 empty] | NDMC = |  |  | -1.107 |  |  |  |  | 0.7908
MES =
[7 empty] | 2)TOTAL |  |  | -2.1064 |  |  |  |  | -7.8216
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.9476 |  |  |  |  | -7.7926
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.9461 | % |  |  | 0.30272 |  |  |  |  | -2.4894
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.4363 | % |  |  | 0.3737 |  |  |  |  | -3.0731
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.9817 | % |  |  | 0.21777 |  |  |  |  | -1.7909
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7821 | % |  |  | 0.045315 |  |  |  |  | -0.37265
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8538 | % |  |  | 0.0080906 |  |  |  |  | -0.066533
Note :Sharing taken from wk-51 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st March-2015 TO 1st April-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.1548 |  | -2.3252
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 8.8807 |  | -1.6512
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.45394 |  | -11.2689
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.5756 | + | 0.8986
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 1.5706 |  | -0.018933
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2015 | INTIAL READING 01/03/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952776 | 952633 | 143 | 214500 | 0.2145 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991434 | 991058 | 376 | 564000 | 0.564 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 958750 | 970472 | -11722 | -8791500 | -8.7915 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -8.013 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 27807 | 27773 | 34 | 170000 | 0.17
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999729 | 999729 | 0 | 0 | 0 | 999606 | 999606 | 0 | 0 | 0
| IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 322 | 0 | 322 | 322000 | 0.322 | w.e.f 12/03/2015
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976954 | 976657 | 297 | 297000 | 0.297 | 991645 | 991680 | -35 | -35000 | -0.035
[8 empty] | NET REACTIVE ENERGY |  | 0.297 |  |  | NET REACTIVE ENERGY |  | 0.457