## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13594 | 15291 | -1697 | 1697000 | 1.697 | 978138 | 978138 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 258 | 17 | 241 | -241000 | -0.241 | 999418 | 999418 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16249 | 17185 | -936 | 936000 | 0.936 | 996385 | 996385 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975315 | 974703 | 612 | -612000 | -0.612 | 977886 | 977886 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920625 | 921433 | -808 | 808000 | 0.808 | 946562 | 946577 | -15 | 15000 | 0.015
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18542 | 18645 | -103 | 103000 | 0.103 | 17386 | 17386 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19339 | 19530 | -191 | 191000 | 0.191 | 13351 | 13351 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16300 | 16669 | -369 | 461250 | 0.46125 | 996521 | 996521 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14068 | 15149 | -1081 | 1081000 | 1.081 | 986581 | 986581 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31752 | 32817 | -1065 | 1065000 | 1.065 | 9657 | 9657 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997758 | 999056 | -1298 | 1298000 | 1.298 | 4077 | 4077 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996216 | 996853 | -637 | 637000 | 0.637 | 999744 | 999744 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 938682 | 942433 | -3751 | -3751000 | -3.751 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996033 | 996925 | -892 | 892000 | 0.892 | 16941 | 16941 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999199 | 999658 | -459 | 459000 | 0.459 | 19631 | 19631 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 717 | -243 | 243000 | 0.243 | 20157 | 20158 | -1 | 1000 | 0.001
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999526 | 999527 | -1 | -1000 | -0.001 | 27045 | 26930 | 115 | 115000 | 0.115
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 230 | 0 | 0 | 0 | 28212 | 27804 | 408 | 408000 | 0.408
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2373 | 2340 | 33 | 3300 | 0.0033 | 136066 | 135827 | 239 | 23900 | 0.0239
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4415 | 4257 | 158 | 15800 | 0.0158 | 202722 | 202200 | 522 | 52200 | 0.0522
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996027 | 996024 | 3 | 3000 | 0.003 | 999264 | 999202 | 62 | 62000 | 0.062
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999916 | 999913 | 3 | 3000 | 0.003 | 6056 | 5927 | 129 | 129000 | 0.129
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 650607 | 652258 | -1651 | -1651000 | -1.651 | 800179 | 800179 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659224 | 659555 | -331 | -331000 | -0.331 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991887 | 991685 | 202 | 202000 | 0.202 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 456 | 178 | 278 | 139000 | 0.139 | 163 | 163 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9565 | 9222 | 343 | -343000 | -0.343 | 981957 | 981957 | 0 | 0 | 0
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2144 | 1159 | 985 | -985000 | -0.985 | 948166 | 948166 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991602 | 991472 | 130 | -130000 | -0.13 | 928056 | 928056 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998962 | 999136 | -174 | 174000 | 0.174 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25329 | 21588 | 3741 | -3741000 | -3.741 | 999924 | 999924 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1271 | 1174 | 97 | 97000 | 0.097 | 17749 | 17746 | 3 | 3000 | 0.003
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 188 | 80 | 108 | 108000 | 0.108 | 3120 | 3116 | 4 | 4000 | 0.004
| NDPL(+) continue | [14 empty] | NOVEMBER-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1335 | 1358 | -23 | -23000 | -0.023 | 59782 | 59782 | 0 | 0 | 0
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 2521 | 10968 | -8447 | -844700 | -0.8447 | 67692 | 67622 | 70 | 7000 | 0.007
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8981 | 8940 | 41 | 4100 | 0.0041 | 24476 | 23662 | 814 | 81400 | 0.0814
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9722 | 9711 | 11 | 1100 | 0.0011 | 35958 | 35603 | 355 | 35500 | 0.0355
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14028 | 13951 | 77 | 7700 | 0.0077 | 48585 | 47939 | 646 | 64600 | 0.0646
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 37036 | 36055 | 981 | 98100 | 0.0981 | 12835 | 12835 | 0 | 0 | 0
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17140 | 17033 | 107 | 10700 | 0.0107 | 12208 | 12205 | 3 | 300 | 0.0003
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997608 | 997600 | 8 | 800 | 0.0008 | 2622 | 2622 | 0 | 0 | 0
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5179 | 5137 | 42 | 21000 | 0.021 | 25846 | 25792 | 54 | 27000 | 0.027
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3350 | 3318 | 32 | 16000 | 0.016 | 23855 | 23827 | 28 | 14000 | 0.014
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3954 | 3859 | 95 | 47500 | 0.0475 | 14083 | 14083 | 0 | 0 | 0
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4157 | 4060 | 97 | 48500 | 0.0485 | 16779 | 16778 | 1 | 500 | 0.0005
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 997738 | 998192 | -454 | -45400 | -0.0454 | 6047 | 6047 | 0 | 0 | 0
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7863 | 7661 | 202 | 20200 | 0.0202 | 14932 | 14932 | 0 | 0 | 0
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 16905 | 16183 | 722 | 72200 | 0.0722 | 50656 | 50656 | 0 | 0 | 0
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2722 | 2730 | -8 | -800 | -0.0008 | 0 | 0 | 0 | 0 | 0 | New Meter installed on 27/11/12
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999169 | 999235 | -66 | -6600 | -0.0066 | 217 | 217 | 0 | 0 | 0
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8118 | 7600 | 518 | 51800 | 0.0518 | 68217 | 68152 | 65 | 6500 | 0.0065
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7104 | 6636 | 468 | 46800 | 0.0468 | 58533 | 58526 | 7 | 700 | 0.0007
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8381 | 7703 | 678 | 67800 | 0.0678 | 84277 | 84264 | 13 | 1300 | 0.0013
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 120310 | 117297 | 3013 | 301300 | 0.3013 | 28824 | 28824 | 0 | 0 | 0
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 17598 | 16974 | 624 | 62400 | 0.0624 | 38506 | 38506 | 0 | 0 | 0
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995564 | 995564 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0 | Installed on 06/07/12
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999289 | -16 | -1600 | -0.0016 | 999397 | 999393 | 4 | 400 | 0.0004
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 410 | 2114 | -1704 | -1363200 | -1.3632 | 337 | 337 | 0 | 0 | 0
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.5769 |  |  |  |  | 1.0523
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 8793 | 8619 | 174 | -17400 | -0.0174 | 12033 | 11973 | 60 | -6000 | -0.006
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7624 | 6989 | 635 | -635000 | -0.635 | 6850 | 6850 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3743 | 3654 | 89 | -17800 | -0.0178 | 2221 | 2215 | 6 | -1200 | -0.0012
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13581 | 13384 | 197 | -197000 | -0.197 | 27565 | 27563 | 2 | -2000 | -0.002
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 37080 | 37699 | -619 | 61900 | 0.0619 | 146952 | 146952 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | New meter installed on 27/11/12
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967271 | 969274 | -2003 | 2003000 | 2.003 | 992481 | 992481 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1977 |  |  |  |  | -0.0092
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.5769 |  |  |  |  | 1.0523
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1977 |  |  |  |  | -0.0092
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.0398 |  |  |  |  | -0.029063
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.6606 |  |  |  |  | 1.014
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.6606 | (REACTIVE MUs) |  |  |  | 1.014 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5851 | (REACTIVE MUs) |  |  |  | -1.8863 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.2457 | (REACTIVE MUs) |  |  |  | -0.8723 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988316 | 988335 | -19 | -1900 | -0.0019 | 57336 | 58063 | -727 | -72700 | -0.0727
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17657 | 17416 | 241 | 24100 | 0.0241 | 10589 | 9468 | 1121 | 112100 | 0.1121
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22186 | 22750 | -564 | -56400 | -0.0564 | 17355 | 17032 | 323 | 32300 | 0.0323
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998360 | 998511 | -151 | -15100 | -0.0151 | 6047 | 5293 | 754 | 75400 | 0.0754
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9156 | 8991 | 165 | 16500 | 0.0165 | 100949 | 100077 | 872 | 87200 | 0.0872
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 821 | 780 | 41 | 4100 | 0.0041 | 51493 | 44792 | 6701 | 670100 | 0.6701
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999440 | 999535 | -95 | -95000 | -0.095 | 375 | 375 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999770 | 999777 | -7 | -7000 | -0.007 | 2185 | 2185 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 524 | 517 | 7 | 7000 | 0.007 | 1462 | 1462 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 211 | 96 | 115 | 115000 | 0.115 | 2859 | 2859 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999608 | 999624 | -16 | -16000 | -0.016 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 472 | 475 | -3 | -3000 | -0.003 | 111 | 111 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 185 | 171 | 14 | 14000 | 0.014 | 15115 | 15113 | 2 | 2000 | 0.002
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 300 | 313 | -13 | -13000 | -0.013 | 35889 | 35889 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 264 | 261 | 3 | 3000 | 0.003 | 17585 | 17269 | 316 | 316000 | 0.316
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 343 | 313 | 30 | 30000 | 0.03 | 6204 | 6204 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 34602 | 34133 | 469 | 46900 | 0.0469 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998510 | 998546 | -36 | -36000 | -0.036 | 10465 | 10463 | 2 | 2000 | 0.002
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 799928 | 803545 | -3617 | -3978700 | -3.9787
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 842303 | 845369 | -3066 | -3372600 | -3.3726
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990222 | 990749 | -527 | -527000 | -0.527 | 9653 | 9653 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.4811 |  |  |  |  | -7.0313
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964061 | 964686 | -625 | 625000 | 0.625 | 974433 | 974433 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979713 | 980548 | -835 | 835000 | 0.835 | 973421 | 973421 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 52 | 20 | 32 | 32000 | 0.032 | 120 | 53 | 67 | 67000 | 0.067
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18235 | 14584 | 3651 | -3651000 | -3.651 | 972751 | 972751 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7703 | 7090 | 613 | -613000 | -0.613 | 972920 | 972951 | -31 | 31000 | 0.031
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998317 | 999296 | -979 | 979000 | 0.979 | 999726 | 999726 | 0 | 0 | 0
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983401 | 985868 | -2467 | 2467000 | 2.467 | 994831 | 994831 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3743 | 3654 | 89 | 17800 | 0.0178 | 2221 | 2215 | 6 | 1200 | 0.0012
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13581 | 13384 | 197 | 197000 | 0.197 | 27565 | 27563 | 2 | 2000 | 0.002
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 106018 | 99658 | 6360 | 636000 | 0.636 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 64732 | 64874 | -142 | -14200 | -0.0142 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.0008 |  |  |  |  | -6.0257
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.0008 |  |  |  |  | -6.0257
NOVEMBER-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996354 | 996751 | -397 | 397000 | 0.397 | 932128 | 932165 | -37 | 37000 | 0.037
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14818 | 15121 | -303 | 303000 | 0.303 | 951464 | 951486 | -22 | 22000 | 0.022
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999284 | 999897 | -613 | 613000 | 0.613 | 995872 | 995908 | -36 | 36000 | 0.036
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939542 | 943742 | -4200 | 4200000 | 4.2 | 993117 | 993117 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929845 | 934166 | -4321 | 4321000 | 4.321 | 991449 | 991449 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 310 | 246 | 64 | -64000 | -0.064 | 993139 | 993140 | -1 | 1000 | 0.001
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998550 | 998572 | -22 | 44000 | 0.044 | 988192 | 988192 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999653 | 999724 | -71 | 71000 | 0.071 | 971239 | 971240 | -1 | 1000 | 0.001
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11128 | 12332 | -1204 | 1204000 | 1.204 | 948563 | 948960 | -397 | 397000 | 0.397
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965397 | 965904 | -507 | 507000 | 0.507 | 878497 | 878504 | -7 | 7000 | 0.007
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21283 | 21522 | -239 | 239000 | 0.239 | 31588 | 31586 | 2 | -2000 | -0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19287 | 19326 | -39 | 39000 | 0.039 | 40466 | 40488 | -22 | 22000 | 0.022
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 11.874 |  |  |  |  | 0.521
| (B) NET ENERGY TO EAST | [8 empty] | 11.874 |  |  |  |  | 0.521
NOVEMBER-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991887 | 991685 | 202 | -202000 | -0.202 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 456 | 178 | 278 | -139000 | -0.139 | 163 | 163 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 36159 | 33595 | 2564 | -512800 | -0.5128 | 65245 | 65245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 62541 | 57387 | 5154 | -515400 | -0.5154 | 126731 | 126731 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 986228 | 986846 | -618 | 123600 | 0.1236 | 3930 | 3930 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 60048 | 57439 | 2609 | -521800 | -0.5218 | 82235 | 82235 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73382 | 72795 | 587 | -587000 | -0.587 | 737 | 737 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12627 | 11974 | 653 | -653000 | -0.653 | 367 | 367 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 988670 | 990819 | -2149 | 1719200 | 1.7192 | 997506 | 997507 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 997158 | 998492 | -1334 | 1067200 | 1.0672 | 999507 | 999508 | -1 | 800 | 0.0008
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 1416 | 2569 | -1153 | 922400 | 0.9224 | 397 | 397 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996758 | 996847 | -89 | 89000 | 0.089 | 37876 | 37872 | 4 | -4000 | -0.004
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996445 | 996673 | -228 | 303999.24 | 0.304 | 335 | 338 | -3 | 3999.99 | 0.004
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1271 | 1174 | 97 | -97000 | -0.097 | 17749 | 17746 | 3 | -3000 | -0.003
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 188 | 80 | 108 | -108000 | -0.108 | 3120 | 3116 | 4 | -4000 | -0.004
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1335 | 1358 | -23 | 23000 | 0.023 | 59782 | 59782 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5179 | 5137 | 42 | -21000 | -0.021 | 25846 | 25792 | 54 | -27000 | -0.027
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3350 | 3318 | 32 | -16000 | -0.016 | 23855 | 23827 | 28 | -14000 | -0.014
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3954 | 3859 | 95 | -47500 | -0.0475 | 14083 | 14083 | 0 | 0 | 0
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4157 | 4060 | 97 | -48500 | -0.0485 | 16779 | 16778 | 1 | -500 | -0.0005
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 120310 | 117297 | 3013 | -301300 | -0.3013 | 28824 | 28824 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 17598 | 16974 | 624 | -62400 | -0.0624 | 38506 | 38506 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 997738 | 998192 | -454 | 45400 | 0.0454 | 6047 | 6047 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7863 | 7661 | 202 | -20200 | -0.0202 | 14932 | 14932 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 16905 | 16183 | 722 | -72200 | -0.0722 | 50656 | 50656 | 0 | 0 | 0
26 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 4902538 meter faulty.New Meter installed on 27/11/12
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2722 | 2730 | -8 | 800 | 0.0008 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999169 | 999235 | -66 | 6600 | 0.0066 | 217 | 217 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8118 | 7600 | 518 | -51800 | -0.0518 | 68217 | 68152 | 65 | -6500 | -0.0065
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7104 | 6636 | 468 | -46800 | -0.0468 | 58533 | 58526 | 7 | -700 | -0.0007
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8381 | 7703 | 678 | -67800 | -0.0678 | 84277 | 84264 | 13 | -1300 | -0.0013
[10 empty] | 0.2097 |  |  |  |  | -0.0554
NOVEMBER-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.0008 |  |  |  |  | -6.0257
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.2097 |  |  |  |  | -0.0554
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.237 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.026501 |  |  |  |  | -6.0811
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 11.874 |  |  |  |  | 0.521
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 11.8475 |  |  |  |  | -5.5601
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 11.8475 | (REACTIVE MUs) |  |  |  | -5.5601 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.3394 | (REACTIVE MUs) |  |  |  | -1.5939 | (REACTIVE MUs)
[9 empty] | TOTAL | 13.1869 | (REACTIVE MUs) |  |  |  | -7.154 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998177 | 998178 | -1 | -1000 | -0.001 | 9632 | 9697 | -65 | -65000 | -0.065
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 989783 | 990255 | -472 | -629331.76 | -0.62933 | 674721 | 674733 | -12 | -15999.96 | -0.016
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6629 | 6662 | -33 | -33000 | -0.033 | 58708 | 58535 | 173 | 173000 | 0.173
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10981 | 10896 | 85 | 85000 | 0.085 | 998905 | 998854 | 51 | 51000 | 0.051
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8169 | 7795 | 374 | 37400 | 0.0374 | 114442 | 113941 | 501 | 50100 | 0.0501
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 36202 | 38493 | -2291 | -229100 | -0.2291 | 244866 | 244864 | 2 | 200 | 0.0002
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7617 | 8313 | -696 | -69600 | -0.0696 | 394683 | 394983 | -300 | -30000 | -0.03
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999756 | 999911 | -155 | -139500 | -0.1395 | 999628 | 999398 | 230 | 207000 | 0.207
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991626 | 992705 | -1079 | 1079000 | 1.079 | 951927 | 951931 | -4 | 4000 | 0.004
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989534 | 990855 | -1321 | 1321000 | 1.321 | 955549 | 955549 | 0 | 0 | 0
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986624 | 987331 | -707 | 707000 | 0.707 | 940332 | 940332 | 0 | 0 | 0
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997413 | 997994 | -581 | 581000 | 0.581 | 956338 | 956339 | -1 | 1000 | 0.001
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994603 | 995816 | -1213 | 1213000 | 1.213 | 987159 | 987159 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8276 | 6698 | 1578 | -1578000 | -1.578 | 988667 | 988667 | 0 | 0 | 0
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43679 | 43814 | -135 | 135000 | 0.135 | 21769 | 21769 | 0 | 0 | 0
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7529 | 8243 | -714 | 714000 | 0.714 | 8503 | 8503 | 0 | 0 | 0
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26001 | 27171 | -1170 | 1170000 | 1.17 | 7494 | 7495 | -1 | 1000 | 0.001
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26985 | 25539 | 1446 | -1446000 | -1.446 | 44243 | 44244 | -1 | 1000 | 0.001
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7624 | 6989 | 635 | 635000 | 0.635 | 6850 | 6850 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926573 | 932028 | -5455 | 5455000 | 5.455 | 901678 | 901678 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970688 | 974740 | -4052 | 4052000 | 4.052 | 864363 | 864363 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78 | 418 | -340 | 340000 | 0.34 | 983970 | 984798 | -828 | 828000 | 0.828
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 688 | 1031 | -343 | 343000 | 0.343 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999368 | 999600 | -232 | 232000 | 0.232 | 894097 | 894098 | -1 | 1000 | 0.001
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998809 | 999010 | -201 | 201000 | 0.201 | 874645 | 874660 | -15 | 15000 | 0.015
BRPL(+) continue | [14 empty] | NOVEMBER-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999084 | 999162 | -78 | 78000 | 0.078 | 973772 | 973950 | -178 | 178000 | 0.178
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 222 | 291 | -69 | 69000 | 0.069 | 990712 | 991034 | -322 | 322000 | 0.322
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991241 | 990775 | 466 | -932000 | -0.932 | 970966 | 970970 | -4 | 8000 | 0.008
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997089 | 997346 | -257 | 257000 | 0.257 | 926782 | 926782 | 0 | 0 | 0
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998920 | 1000813 | -1893 | 1893000 | 1.893 | 938055 | 938055 | 0 | 0 | 0 | ROLL OVER
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996990 | 997241 | -251 | 251000 | 0.251 | 933414 | 933534 | -120 | 120000 | 0.12
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997606 | 997540 | 66 | -43999.956 | -0.044 | 991417 | 991417 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973297 | 973237 | 60 | -39999.96 | -0.04 | 971808 | 971808 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 793 | 584 | 209 | -418000 | -0.418 | 1249 | 1249 | 0 | 0 | 0
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997621 | 997379 | 242 | -484000 | -0.484 | 455 | 455 | 0 | 0 | 0
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963848 | 967836 | -3988 | 3988000 | 3.988 | 997480 | 997480 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968283 | 971339 | -3056 | 3056000 | 3.056 | 998476 | 998476 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 998912 | 999440 | -528 | -422400 | -0.4224 | 1180 | 1180 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 7098 | 4591 | 2507 | 2005600 | 2.0056 | 831 | 831 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 982970 | 987726 | -4756 | -3804800 | -3.8048 | 999698 | 999698 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996758 | 996847 | -89 | -89000 | -0.089 | 37876 | 37872 | 4 | 4000 | 0.004
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996445 | 996673 | -228 | -303999.24 | -0.304 | 335 | 338 | -3 | -3999.99 | -0.004
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5029 | 3417 | 1612 | -1612000 | -1.612 | 978227 | 978230 | -3 | 3000 | 0.003
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998298 | 998913 | -615 | 615000 | 0.615 | 987362 | 987364 | -2 | 2000 | 0.002
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 8793 | 8619 | 174 | 17400 | 0.0174 | 12033 | 11973 | 60 | 6000 | 0.006
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 37080 | 37699 | -619 | -61900 | -0.0619 | 146952 | 146952 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | New meter installed on 27/11/12
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967271 | 969274 | -2003 | -2003000 | -2.003 | 992481 | 992481 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 16.1898 |  |  |  |  | 1.8603
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 14537 | 11567 | 2970 | -297000 | -0.297 | 890709 | 890709 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 106018 | 99658 | 6360 | -636000 | -0.636 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 64732 | 64874 | -142 | 14200 | 0.0142 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998608 | 998819 | -211 | 21100 | 0.0211 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998295 | 998557 | -262 | 26200 | 0.0262 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 767 | 684 | 83 | -83000 | -0.083 | 72514 | 72514 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7693 | 7996 | -303 | 303000 | 0.303 | 2235 | 2235 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 865213 | 861453 | 3760 | -376000 | -0.376 | 54401 | 54401 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 47173 | 43712 | 3461 | -346100 | -0.3461 | 54002 | 54002 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 37989 | 35170 | 2819 | -281900 | -0.2819 | 54640 | 54640 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 73689 | 71637 | 2052 | -410400 | -0.4104 | 105390 | 105390 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 5658 | 5221 | 437 | -43700 | -0.0437 | 770 | 763 | 7 | -700 | -0.0007
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 48990 | 43906 | 5084 | -508400 | -0.5084 | 683368 | 683143 | 225 | -22500 | -0.0225
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 119499 | 113149 | 6350 | -635000 | -0.635 | 241188 | 240787 | 401 | -40100 | -0.0401
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 251967 | 246397 | 5570 | -557000 | -0.557 | 39706 | 39706 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1186 | 1147 | 39 | -3900 | -0.0039 | 14999 | 14981 | 18 | -1800 | -0.0018
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 2521 | 10968 | -8447 | 844700 | 0.8447 | 67692 | 67622 | 70 | -7000 | -0.007
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8981 | 8940 | 41 | -4100 | -0.0041 | 24476 | 23662 | 814 | -81400 | -0.0814
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9722 | 9711 | 11 | -1100 | -0.0011 | 35958 | 35603 | 355 | -35500 | -0.0355
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14028 | 13951 | 77 | -7700 | -0.0077 | 48585 | 47939 | 646 | -64600 | -0.0646
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 37036 | 36055 | 981 | -98100 | -0.0981 | 12835 | 12835 | 0 | 0 | 0
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17140 | 17033 | 107 | -10700 | -0.0107 | 12208 | 12205 | 3 | -300 | -0.0003
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997608 | 997600 | 8 | -800 | -0.0008 | 2622 | 2622 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995564 | 995564 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999289 | -16 | 1600 | 0.0016 | 999397 | 999393 | 4 | -400 | -0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.0901 |  |  |  |  | -0.2543
NOVEMBER-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 16.1898 |  |  |  |  | 1.8603
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.0901 |  |  |  |  | -0.2543
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 3.236 |  |  |  |  | 0.1155
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.367 |  |  |  |  | -0.0392
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 15.9686 |  |  |  |  | 1.6823
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 15.9686 | (REACTIVE MUs) |  |  |  | 1.6823 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.3955 | (REACTIVE MUs) |  |  |  | -2.8508 | (REACTIVE MUs)
[9 empty] | TOTAL | 18.3642 | (REACTIVE MUs) |  |  |  | -1.1685 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 36159 | 33595 | 2564 | 512800 | 0.5128 | 65245 | 65245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 62541 | 57387 | 5154 | 515400 | 0.5154 | 126731 | 126731 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 986228 | 986846 | -618 | -123600 | -0.1236 | 3930 | 3930 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 60048 | 57439 | 2609 | 521800 | 0.5218 | 82235 | 82235 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 73382 | 72795 | 587 | 587000 | 0.587 | 737 | 737 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12627 | 11974 | 653 | 653000 | 0.653 | 367 | 367 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 988670 | 990819 | -2149 | -1719200 | -1.7192 | 997506 | 997507 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 997158 | 998492 | -1334 | -1067200 | -1.0672 | 999507 | 999508 | -1 | -800 | -0.0008
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 1416 | 2569 | -1153 | -922400 | -0.9224 | 397 | 397 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998759 | 998466 | 293 | 29300 | 0.0293 | 331965 | 331760 | 205 | 20500 | 0.0205
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 469414 | 469414 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11332 | 11303 | 29 | 2900 | 0.0029 | 269869 | 264848 | 5021 | 502100 | 0.5021
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 6068 | 5146 | 922 | 92200 | 0.0922 | 334289 | 333900 | 389 | 38900 | 0.0389
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998652 | 998654 | -2 | -200 | -0.0002 | 269356 | 268595 | 761 | 76100 | 0.0761
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 361 | 340 | 21 | 2100 | 0.0021 | 166957 | 163976 | 2981 | 298100 | 0.2981
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13121 | 13120 | 1 | 100 | 0.0001 | 240773 | 240762 | 11 | 1100 | 0.0011
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 18012 | 15176 | 2836 | 283600 | 0.2836 | 279748 | 278908 | 840 | 84000 | 0.084
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 62360 | 62118 | 242 | 266200 | 0.2662
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3847 | 4293 | -446 | -446000 | -0.446 | 36431 | 36431 | 0 | 0 | 0
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 140841 | 140772 | 69 | 75900 | 0.0759
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9185 | 9256 | -71 | -71000 | -0.071 | 50445 | 50445 | 0 | 0 | 0
[10 empty] | -0.517 |  |  |  |  | 0.3421
RIDGE VALLEY
22 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 767 | 684 | 83 | 83000 | 0.083 | 72514 | 72514 | 0 | 0 | 0
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7693 | 7996 | -303 | -303000 | -0.303 | 2235 | 2235 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 865213 | 861453 | 3760 | 376000 | 0.376 | 54401 | 54401 | 0 | 0 | 0
25 | A.I.I.M.S.
26 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 5658 | 5221 | 437 | 43700 | 0.0437 | 770 | 763 | 7 | 700 | 0.0007
27 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 48990 | 43906 | 5084 | 508400 | 0.5084 | 683368 | 683143 | 225 | 22500 | 0.0225
28 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 119499 | 113149 | 6350 | 635000 | 0.635 | 241188 | 240787 | 401 | 40100 | 0.0401 | Tx-3 shifted on Trauma Centre on dated 21/11/12
NOVEMBER-2012
NDMC(+) Continue…
TRAUMA CENTRE
29 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986641 | 990450 | -3809 | 3809000 | 3.809 | 999947 | 999947 | 0 | 0 | 0
ELECTRIC LANE
30 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997324 | 998011 | -687 | 687000 | 0.687 | 999999 | 999999 | 0 | 0 | 0
KIDWAI NAGAR
31 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 251967 | 246397 | 5570 | 557000 | 0.557 | 39706 | 39706 | 0 | 0 | 0
EXHIBITION I
32 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1186 | 1147 | 39 | 3900 | 0.0039 | 14999 | 14981 | 18 | 1800 | 0.0018
33 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
34 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 47173 | 43712 | 3461 | 346100 | 0.3461 | 54002 | 54002 | 0 | 0 | 0
35 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 37989 | 35170 | 2819 | 281900 | 0.2819 | 54640 | 54640 | 0 | 0 | 0
36 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 73689 | 71637 | 2052 | 410400 | 0.4104 | 105390 | 105390 | 0 | 0 | 0
TILAK MARG
37 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 14537 | 11567 | 2970 | 297000 | 0.297 | 890709 | 890709 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.586 |  |  |  |  | 1.4264
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.586 |  |  |  |  | 1.4264
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.25192 |  |  |  |  | -0.2998
| TOTAL ENERGY TO NDMC | [8 empty] | 6.8379 |  |  |  |  | 1.1266

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2012
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 665 | 649 | 16 | 16000 | 0.016 | 17713 | 17660 | 53 | 53000 | 0.053
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 468 | 453 | 15 | 15000 | 0.015 | 22316 | 22286 | 30 | 30000 | 0.03
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976 | 828 | 148 | 148000 | 0.148 | 31192 | 31191 | 1 | 1000 | 0.001
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 471 | 465 | 6 | 6000 | 0.006 | 15477 | 15477 | 0 | 0 | 0
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2551 | 2249 | 302 | 302000 | 0.302 | 8377 | 8377 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998608 | 998819 | -211 | -21100 | -0.0211 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998295 | 998557 | -262 | -26200 | -0.0262 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.4397 |  |  |  |  | 0.084
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34359 | 34359 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 35280 | 34821 | 459 | 45900 | 0.0459 | 64826 | 64525 | 301 | 30100 | 0.0301
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 67850 | 67401 | 449 | 44900 | 0.0449 | 9593 | 9588 | 5 | 500 | 0.0005
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 27599 | 25695 | 1904 | 190400 | 0.1904 | 52976 | 52971 | 5 | 500 | 0.0005
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 78908 | 78050 | 858 | 85800 | 0.0858 | 53193 | 53112 | 81 | 8100 | 0.0081
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 1568 | 1288 | 280 | 28000 | 0.028 | 514 | 454 | 60 | 6000 | 0.006
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.367 |  |  |  |  | 0.0392
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.367 |  |  |  |  | 0.0392
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.4397 |  |  |  |  | 0.084
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.8067 |  |  |  |  | 0.1232
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8067 | (REACTIVE MUs) |  |  |  | 0.1232 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.049009 | (REACTIVE MUs) |  |  |  | -0.058323 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.85571 | (REACTIVE MUs) |  |  |  | 0.064877 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2012
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 61122 | 55038 | 6084 | 608400 | 0.6084 | 79764 | 79764 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 5102 | 7811 | -2709 | -270900 | -0.2709 | 999426 | 999426 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 177714 | 174340 | 3374 | 337400 | 0.3374 | 96599 | 96599 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 20218 | 18267 | 1951 | 1829062.5 | 1.8291 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992288 | 992736 | -448 | 224000 | 0.224 | 930374 | 930605 | -231 | 115500 | 0.1155
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 991353 | 992369 | -1016 | 508000 | 0.508 | 986100 | 986100 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 3.236 |  |  |  |  | 0.1155
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 947078 | 948794 | -1716 | -343200 | -0.3432 | 991783 | 991783 | 0 | 0 | 0
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 843886 | 852824 | -8938 | -893800 | -0.8938 | 928134 | 928134 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.237 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 186483 | 182084 | 4399 | 879800 | 0.8798 | 263302 | 263302 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 73440 | 68316 | 5124 | 1024800 | 1.0248 | 41144 | 41144 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 109304 | 99928 | 9376 | 937600 | 0.9376 | 71702 | 71702 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988008 | 987750 | 258 | 258000 | 0.258 | 998301 | 998301 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 978438 | 979801 | -1363 | -136300 | -0.1363 | 7273 | 7273 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999856 | 999999 | -143 | -134062.5 | -0.13406 | 1548 | 1579 | -31 | -29062.5 | -0.029063
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 990778 | 991114 | -336 | 210000 | 0.21 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 3.0398 |  |  |  |  | -0.029063
| E) NET EXPORT TO BSES RPL | [8 empty] | 3.236 |  |  |  |  | 0.1155
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.237 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.0398 |  |  |  |  | -0.029063

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7327 | 6867 | 460 | 920000 | 0.92 | 223 | 223 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 10652 | 10100 | 552 | 1104000 | 1.104 | 1002 | 1002 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.024 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 998683 | 998964 | -281 | -281000 | -0.281 | 42462 | 42462 | 0 | 0 | 0
4 | IBT-2 | 4902483 | ELSTER | kvarh (Lead/lag) | 1000 | 296598 | 291722 | 4876 | 4876000 | 4.876 | 732 | 732 | 0 | 0 | 0 | Check meter used
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 999710 | 1000000 | -290 | -290000 | -0.29 | 0 | 0 | 0 | 0 | 0 | New meter installed on 26-11-12, ROLL OVER
[7 empty] | NET REACTIVE ENERGY |  |  | 4.595 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.619 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.4811 |  |  |  |  | -7.0313
[7 empty] | NDMC = |  |  | -0.517 |  |  |  |  | 0.3421
MES =
[7 empty] | 2)TOTAL |  |  | -0.9981 |  |  |  |  | -6.6892
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 5.6209 |  |  |  |  | -6.6892
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.1997 | % |  |  | 1.5851 |  |  |  |  | -1.8863
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.6183 | % |  |  | 2.3955 |  |  |  |  | -2.8508
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8283 | % |  |  | 1.3394 |  |  |  |  | -1.5939
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4818 | % |  |  | 0.25192 |  |  |  |  | -0.2998
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8719 | % |  |  | 0.049009 |  |  |  |  | -0.058323
Note :Sharing taken from wk-34 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2012 TO 30th NOVEMBER-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 3.2457 |  | -0.8723
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 18.3642 |  | -1.1685
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 13.1869 |  | -7.154
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.8379 | + | 1.1266
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.85571 | + | 0.064877
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/12 | INTIAL READING 01/11/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 967575 | 967271 | 304 | 456000 | 0.456 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999877 | 999610 | 267 | 400500 | 0.4005 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 923999 | 927425 | -3426 | -5139000 | -5.139 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -4.2825 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997242 | 997246 | -4 | -20000 | -0.02 | 32898 | 33379 | -481 | -2405000 | -2.405
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999388 | 999388 | 0 | 0 | 0 | 4264 | 4489 | -225 | -225000 | -0.225
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.02 |  |  | NET REACTIVE ENERGY |  | -2.63