## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21660 | 22845 | -1185 | 1185000 | 1.185 | 979285 | 979291 | -6 | 6000 | 0.006
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999951 | 1000369 | -418 | 418000 | 0.418 | 994377 | 994397 | -20 | 20000 | 0.02 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21012 | 20818 | 194 | -194000 | -0.194 | 1263 | 1262 | 1 | -1000 | -0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974781 | 974158 | 623 | -623000 | -0.623 | 988678 | 988785 | -107 | 107000 | 0.107
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925881 | 927183 | -1302 | 1302000 | 1.302 | 960751 | 960753 | -2 | 2000 | 0.002
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17687 | 16549 | 1138 | -1138000 | -1.138 | 10050 | 9063 | 987 | -987000 | -0.987
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18686 | 17502 | 1184 | -1184000 | -1.184 | 7193 | 6315 | 878 | -878000 | -0.878
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16715 | 15323 | 1392 | -1392000 | -1.392 | 996378 | 995944 | 434 | -434000 | -0.434
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11758 | 10836 | 922 | -922000 | -0.922 | 988424 | 988331 | 93 | -93000 | -0.093
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35906 | 35974 | -68 | 68000 | 0.068 | 9956 | 9992 | -36 | 36000 | 0.036
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4160 | 3674 | 486 | -486000 | -0.486 | 4237 | 4236 | 1 | -1000 | -0.001
12 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974698 | 977181 | -2483 | -2483000 | -2.483 | 920613 | 920613 | 0 | 0 | 0
NARELA
13 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997575 | 997630 | -55 | 55000 | 0.055 | 15577 | 15276 | 301 | -301000 | -0.301
14 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998167 | 998136 | 31 | -31000 | -0.031 | 18379 | 18345 | 34 | -34000 | -0.034
15 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901 | 755 | 146 | -146000 | -0.146 | 20221 | 20078 | 143 | -143000 | -0.143
NARAINA
16 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999740 | 999892 | -152 | -152000 | -0.152 | 31401 | 31475 | -74 | -74000 | -0.074
17 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 162 | 229 | -67 | -67000 | -0.067 | 26051 | 26052 | -1 | -1000 | -0.001
18 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1686 | 1546 | 140 | 14000 | 0.014 | 97403 | 97019 | 384 | 38400 | 0.0384
19 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2182 | 1998 | 184 | 18400 | 0.0184 | 152003 | 150537 | 1466 | 146600 | 0.1466
20 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996258 | 996538 | -280 | -280000 | -0.28 | 998553 | 998947 | -394 | -394000 | -0.394
KASHMIRI GATE
21 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 656586 | 657347 | -761 | -761000 | -0.761 | 803672 | 803807 | -135 | -135000 | -0.135
22 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 664088 | 664443 | -355 | -355000 | -0.355 | 834798 | 834929 | -131 | -131000 | -0.131
23 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992450 | 992450 | 0 | 0 | 0 | 998659 | 998659 | 0 | 0 | 0 | OFF
24 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 993991 | 993154 | 837 | 83700 | 0.0837 | 12047 | 11906 | 141 | 14100 | 0.0141
KANJAWALA
25 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4531 | 3489 | 1042 | -1042000 | -1.042 | 980550 | 979906 | 644 | -644000 | -0.644
26 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996824 | 997078 | -254 | 254000 | 0.254 | 950461 | 950789 | -328 | 328000 | 0.328
BAWANA
27 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994274 | 995072 | -798 | 798000 | 0.798 | 957589 | 959570 | -1981 | 1981000 | 1.981
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
28 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 435 | 389 | 46 | 46000 | 0.046 | 13258 | 12960 | 298 | 298000 | 0.298
29 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998924 | 998942 | -18 | -18000 | -0.018 | 3271 | 3207 | 64 | 64000 | 0.064
| NDPL(+) continue | [14 empty] | DECEMBER 2010
DMS
30 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 271 | 177 | 94 | 94000 | 0.094 | 50551 | 50188 | 363 | 363000 | 0.363
REWARI LINE
31 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7819 | 7772 | 47 | 4700 | 0.0047 | 44170 | 44195 | -25 | -2500 | -0.0025
VISHAL
32 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6062 | 6047 | 15 | 1500 | 0.0015 | 6952 | 6729 | 223 | 22300 | 0.0223
33 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8104 | 8062 | 42 | 4200 | 0.0042 | 25080 | 24900 | 180 | 18000 | 0.018
34 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13384 | 13090 | 294 | 29400 | 0.0294 | 33483 | 32933 | 550 | 55000 | 0.055
S.B.MILL
35 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 27694 | 26678 | 1016 | 101600 | 0.1016 | 8522 | 8520 | 2 | 200 | 0.0002
36 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
37 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
38 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 11650 | 10848 | 802 | 80200 | 0.0802 | 8319 | 8307 | 12 | 1200 | 0.0012
41 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997781 | 997847 | -66 | -6600 | -0.0066 | 999973 | 999973 | 0 | 0 | 0
B.G.ROAD
42 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3276 | 3196 | 80 | 40000 | 0.04 | 25935 | 25778 | 157 | 78500 | 0.0785
43 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3042 | 2975 | 67 | 33500 | 0.0335 | 17672 | 17581 | 91 | 45500 | 0.0455
44 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3068 | 2970 | 98 | 49000 | 0.049 | 11974 | 11941 | 33 | 16500 | 0.0165
45 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3075 | 3005 | 70 | 35000 | 0.035 | 13632 | 13589 | 43 | 21500 | 0.0215
D.M.S.
46 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999490 | 999468 | 22 | 2200 | 0.0022 | 4685 | 4654 | 31 | 3100 | 0.0031
47 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 1221 | 940 | 281 | 28100 | 0.0281 | 11423 | 11361 | 62 | 6200 | 0.0062
48 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 3546 | 3111 | 435 | 43500 | 0.0435 | 43904 | 43761 | 143 | 14300 | 0.0143
49 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 6280 | 5821 | 459 | 45900 | 0.0459 | 18830 | 18762 | 68 | 6800 | 0.0068
50 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999862 | 999904 | -42 | -4200 | -0.0042 | 279 | 284 | -5 | -500 | -0.0005
51 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
52 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 718 | 662 | 56 | 5600 | 0.0056 | 53591 | 53013 | 578 | 57800 | 0.0578
53 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 336 | 221 | 115 | 11500 | 0.0115 | 48869 | 48326 | 543 | 54300 | 0.0543
54 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 437 | 301 | 136 | 13600 | 0.0136 | 69887 | 68958 | 929 | 92900 | 0.0929
KASHMIRI GATE
55 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 81480 | 79487 | 1993 | 199300 | 0.1993 | 25723 | 25627 | 96 | 9600 | 0.0096
56 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 7400 | 7124 | 276 | 27600 | 0.0276 | 27160 | 26030 | 1130 | 113000 | 0.113
57 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
58 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 853 | 839 | 14 | -1400 | -0.0014
59 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999472 | 999472 | 0 | 0 | 0 | 999148 | 999147 | 1 | 100 | 0.0001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.1923 |  |  |  |  | -0.2345
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | DECEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3802 | 3822 | -20 | 2000 | 0.002 | 7343 | 7336 | 7 | -700 | -0.0007
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4334 | 4296 | 38 | -38000 | -0.038 | 3672 | 3264 | 408 | -408000 | -0.408
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5541 | 5398 | 143 | -143000 | -0.143 | 3858 | 3745 | 113 | -113000 | -0.113
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3400 | 3400 | 0 | 0 | 0 | 3207 | 3207 | 0 | 0 | 0
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11162 | 10421 | 741 | -741000 | -0.741 | 10375 | 10342 | 33 | -33000 | -0.033
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 31864 | 28784 | 3080 | -308000 | -0.308 | 147759 | 147543 | 216 | -21600 | -0.0216
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985102 | 986324 | -1222 | 1222000 | 1.222 | 993983 | 994079 | -96 | 96000 | 0.096
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.006 |  |  |  |  | -0.4803
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.1923 |  |  |  |  | -0.2345
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.006 |  |  |  |  | -0.4803
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.8468 |  |  |  |  | 0.3527
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.3515 |  |  |  |  | -0.3621
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.3515 | (REACTIVE MUs) |  |  |  | -0.3621 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.30815 | (REACTIVE MUs) |  |  |  | -1.2127 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.6597 | (REACTIVE MUs) |  |  |  | -1.5748 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 995051 | 994756 | 295 | 29500 | 0.0295 | 67097 | 65315 | 1782 | 178200 | 0.1782
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15958 | 13358 | 2600 | 260000 | 0.26 | 996628 | 995419 | 1209 | 120900 | 0.1209
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 18166 | 16807 | 1359 | 135900 | 0.1359 | 27457 | 27068 | 389 | 38900 | 0.0389
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999773 | 1000100 | -327 | -32700 | -0.0327 | 998251 | 997115 | 1136 | 113600 | 0.1136 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8970 | 8892 | 78 | 7800 | 0.0078 | 67541 | 67305 | 236 | 23600 | 0.0236
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 998601 | 999444 | -843 | -84300 | -0.0843 | 46255 | 46711 | -456 | -45600 | -0.0456
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 1000000 | -1 | -1000 | -0.001 | 192 | 126 | 66 | 66000 | 0.066 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999937 | -7 | -7000 | -0.007 | 2293 | 2418 | -125 | -125000 | -0.125
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 96 | 77 | 19 | 19000 | 0.019 | 1238 | 982 | 256 | 256000 | 0.256
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 226 | 237 | -11 | -11000 | -0.011 | 2628 | 2494 | 134 | 134000 | 0.134
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 225 | 223 | 2 | 2000 | 0.002 | 1842 | 1858 | -16 | -16000 | -0.016
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 295 | 292 | 3 | 3000 | 0.003 | 1000233 | 999510 | 723 | 723000 | 0.723 | ROLL OVER
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 28 | 30 | -2 | -2000 | -0.002 | 13184 | 12896 | 288 | 288000 | 0.288
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 116 | 112 | 4 | 4000 | 0.004 | 33397 | 33050 | 347 | 347000 | 0.347
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 263 | -2 | -2000 | -0.002 | 6007 | 6083 | -76 | -76000 | -0.076
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 281 | 279 | 2 | 2000 | 0.002 | 5038 | 4815 | 223 | 223000 | 0.223
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 27541 | 26885 | 656 | 65600 | 0.0656 | 418 | 418 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998948 | 998963 | -15 | -15000 | -0.015 | 4955 | 4570 | 385 | 385000 | 0.385
| GT | [8 empty] | 0.0576 |  |  |  |  | 2.205
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 878541 | 883716 | -5175 | -5692500 | -5.6925
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 908823 | 911886 | -3063 | -3369300 | -3.3693
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998547 | 998916 | -369 | -369000 | -0.369 | 10123 | 10124 | -1 | -1000 | -0.001
KASHMIRI GATE
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967614 | 967974 | -360 | 360000 | 0.36 | 980583 | 980642 | -59 | 59000 | 0.059
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987387 | 987889 | -502 | 502000 | 0.502 | 987421 | 987701 | -280 | 280000 | 0.28
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 689 | 426 | 263 | 263000 | 0.263 | 48343 | 48022 | 321 | 321000 | 0.321
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 590 | 327 | 263 | -263000 | -0.263 | 981017 | 980877 | 140 | -140000 | -0.14
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2112 | 1774 | 338 | -338000 | -0.338 | 987035 | 988067 | -1032 | 1032000 | 1.032
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998475 | 999035 | -560 | 560000 | 0.56 | 993165 | 993403 | -238 | 238000 | 0.238
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998802 | 999096 | -294 | 294000 | 0.294 | 997762 | 997915 | -153 | 153000 | 0.153
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3400 | 3400 | 0 | 0 | 0 | 3207 | 3207 | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11162 | 10421 | 741 | 741000 | 0.741 | 10375 | 10342 | 33 | 33000 | 0.033
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 65706 | 62426 | 3280 | 328000 | 0.328 | 1644 | 1633 | 11 | 1100 | 0.0011
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 33743 | 28652 | 5091 | 509100 | 0.5091 | 999406 | 999407 | -1 | -100 | -0.0001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.9609 |  |  |  |  | -4.4512
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.9609 |  |  |  |  | -4.4512
DECEMBER 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998715 | 999089 | -374 | 374000 | 0.374 | 959042 | 962486 | -3444 | 3444000 | 3.444
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16002 | 16166 | -164 | 164000 | 0.164 | 973349 | 973799 | -450 | 450000 | 0.45
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15185 | 15614 | -429 | 429000 | 0.429 | 964598 | 965138 | -540 | 540000 | 0.54
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984558 | 986178 | -1620 | 1620000 | 1.62 | 993846 | 993846 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975251 | 976761 | -1510 | 1510000 | 1.51 | 992116 | 992116 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1646 | 1630 | 16 | -16000 | -0.016 | 996992 | 997195 | -203 | 203000 | 0.203
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1241 | 1147 | 94 | -94000 | -0.094 | 984836 | 984660 | 176 | -176000 | -0.176
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 816 | 908 | -92 | 92000 | 0.092 | 997263 | 998004 | -741 | 741000 | 0.741
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999864 | 999903 | -39 | 39000 | 0.039 | 984232 | 985187 | -955 | 955000 | 0.955
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13758 | 13769 | -11 | 11000 | 0.011 | 969585 | 970622 | -1037 | 1037000 | 1.037
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972242 | 973140 | -898 | 898000 | 0.898 | 930240 | 933461 | -3221 | 3221000 | 3.221
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20874 | 20993 | -119 | 119000 | 0.119 | 20538 | 20636 | -98 | 98000 | 0.098
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14693 | 14714 | -21 | 21000 | 0.021 | 28764 | 28816 | -52 | 52000 | 0.052
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.167 |  |  |  |  | 10.565
| (B) NET ENERGY TO EAST | [8 empty] | 5.167 |  |  |  |  | 10.565
6
DECEMBER 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992450 | 992450 | 0 | 0 | 0 | 998659 | 998659 | 0 | 0 | 0 | OFF
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 993991 | 993154 | 837 | -83700 | -0.0837 | 12047 | 11906 | 141 | -14100 | -0.0141
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 3511 | 2680 | 831 | -83100 | -0.0831 | 53436 | 52964 | 472 | -47200 | -0.0472
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 7878 | 5366 | 2512 | -251200 | -0.2512 | 111876 | 111486 | 390 | -39000 | -0.039
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 996921 | 998174 | -1253 | 125300 | 0.1253 | 4320 | 4303 | 17 | -1700 | -0.0017
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 8706 | 5661 | 3045 | -304500 | -0.3045 | 73531 | 73101 | 430 | -43000 | -0.043
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33672 | 32570 | 1102 | -1102000 | -1.102 | 232 | 232 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999848 | 999948 | -100 | 100000 | 0.1 | 36093 | 36330 | -237 | 237000 | 0.237
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999786 | 999927 | -141 | 187999.53 | 0.188 | 612 | 688 | -76 | 101333.08 | 0.10133
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 435 | 389 | 46 | -46000 | -0.046 | 13258 | 12960 | 298 | -298000 | -0.298
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998924 | 998942 | -18 | 18000 | 0.018 | 3271 | 3207 | 64 | -64000 | -0.064
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 271 | 177 | 94 | -94000 | -0.094 | 50551 | 50188 | 363 | -363000 | -0.363
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3276 | 3196 | 80 | -40000 | -0.04 | 25935 | 25778 | 157 | -78500 | -0.0785
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3042 | 2975 | 67 | -33500 | -0.0335 | 17672 | 17581 | 91 | -45500 | -0.0455
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3068 | 2970 | 98 | -49000 | -0.049 | 11974 | 11941 | 33 | -16500 | -0.0165
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3075 | 3005 | 70 | -35000 | -0.035 | 13632 | 13589 | 43 | -21500 | -0.0215
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 81480 | 79487 | 1993 | -199300 | -0.1993 | 25723 | 25627 | 96 | -9600 | -0.0096
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 7400 | 7124 | 276 | -27600 | -0.0276 | 27160 | 26030 | 1130 | -113000 | -0.113
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999490 | 999468 | 22 | -2200 | -0.0022 | 4685 | 4654 | 31 | -3100 | -0.0031
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 1221 | 940 | 281 | -28100 | -0.0281 | 11423 | 11361 | 62 | -6200 | -0.0062
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 3546 | 3111 | 435 | -43500 | -0.0435 | 43904 | 43761 | 143 | -14300 | -0.0143
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 6280 | 5821 | 459 | -45900 | -0.0459 | 18830 | 18762 | 68 | -6800 | -0.0068
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999862 | 999904 | -42 | 4200 | 0.0042 | 279 | 284 | -5 | 500 | 0.0005
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 718 | 662 | 56 | -5600 | -0.0056 | 53591 | 53013 | 578 | -57800 | -0.0578
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 336 | 221 | 115 | -11500 | -0.0115 | 48869 | 48326 | 543 | -54300 | -0.0543
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 437 | 301 | 136 | -13600 | -0.0136 | 69887 | 68958 | 929 | -92900 | -0.0929
[10 empty] | -2.0638 |  |  |  |  | -1.0512
DECEMBER 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.9609 |  |  |  |  | -4.4512
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.0638 |  |  |  |  | -1.0512
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.9974 |  |  |  |  | -0.01
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.1003 |  |  |  |  | -5.5124
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.167 |  |  |  |  | 10.565
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 5.0667 |  |  |  |  | 5.0526
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.0667 | (REACTIVE MUs) |  |  |  | 5.0526 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.24636 | (REACTIVE MUs) |  |  |  | -0.9695 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.8203 | (REACTIVE MUs) |  |  |  | 4.0831 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999412 | 999630 | -218 | -218000 | -0.218 | 11930 | 11973 | -43 | -43000 | -0.043
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 11703 | 14089 | -2386 | -238600 | -0.2386 | 681477 | 681257 | 220 | 22000 | 0.022
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5099 | 5267 | -168 | -168000 | -0.168 | 43047 | 43002 | 45 | 45000 | 0.045
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9268 | 9115 | 153 | 153000 | 0.153 | 406 | 351 | 55 | 55000 | 0.055
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 4330 | 3938 | 392 | 78400 | 0.0784 | 987089 | 986989 | 100 | 20000 | 0.02
| BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 126 | 0 | 126 | 37800 | 0.0378 | 77 | 0 | 77 | 23100 | 0.0231 | Installed on 14/12/10
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 3217 | 2558 | 659 | 65900 | 0.0659 | 78157 | 78243 | -86 | -8600 | -0.0086
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 23977 | 21500 | 2477 | 247700 | 0.2477 | 269064 | 269077 | -13 | -1300 | -0.0013
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 998535 | 999552 | -1017 | -101700 | -0.1017 | 325224 | 325830 | -606 | -60600 | -0.0606
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999822 | 999979 | -157 | -157000 | -0.157 | 10446 | 10498 | -52 | -52000 | -0.052
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996488 | 997363 | -875 | 875000 | 0.875 | 968158 | 968499 | -341 | 341000 | 0.341
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995333 | 996300 | -967 | 967000 | 0.967 | 970028 | 970241 | -213 | 213000 | 0.213
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994218 | 995744 | -1526 | 1526000 | 1.526 | 962448 | 963431 | -983 | 983000 | 0.983
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998774 | 998452 | 322 | -322000 | -0.322 | 971190 | 971570 | -380 | 380000 | 0.38
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6797 | 5031 | 1766 | -1766000 | -1.766 | 31651 | 31631 | 20 | -20000 | -0.02
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999631 | 999857 | -226 | 226000 | 0.226 | 979618 | 979718 | -100 | 100000 | 0.1 | ROLL OVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36658 | 37216 | -558 | 558000 | 0.558 | 27535 | 27672 | -137 | 137000 | 0.137
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4719 | 5097 | -378 | 378000 | 0.378 | 13996 | 14091 | -95 | 95000 | 0.095
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22623 | 23504 | -881 | 881000 | 0.881 | 14471 | 14663 | -192 | 192000 | 0.192
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8866 | 8866 | 0 | 0 | 0 | 40071 | 40071 | 0 | 0 | 0 | OFF
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4334 | 4296 | 38 | 38000 | 0.038 | 3672 | 3264 | 408 | 408000 | 0.408
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5541 | 5398 | 143 | 143000 | 0.143 | 3858 | 3745 | 113 | 113000 | 0.113
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983123 | 984841 | -1718 | 1718000 | 1.718 | 910229 | 910292 | -63 | 63000 | 0.063
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997229 | 997854 | -625 | 625000 | 0.625 | 888215 | 889160 | -945 | 945000 | 0.945
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 6509 | 7711 | -1202 | 1202000 | 1.202
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 445 | 3 | -3000 | -0.003 | 999834 | 1000730 | -896 | 896000 | 0.896 | Roll Over
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997180 | 996901 | 279 | -279000 | -0.279 | 959784 | 959827 | -43 | 43000 | 0.043
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 961749 | 964976 | -3227 | 3227000 | 3.227
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999038 | 999082 | -44 | 44000 | 0.044 | 956679 | 960949 | -4270 | 4270000 | 4.27
BRPL(+) continue | [14 empty] | DECEMBER 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14 | 457 | -443 | 443000 | 0.443 | 978881 | 979302 | -421 | 421000 | 0.421
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1217 | 1668 | -451 | 451000 | 0.451 | 995546 | 995938 | -392 | 392000 | 0.392
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989797 | 989578 | 219 | -438000 | -0.438 | 981831 | 982313 | -482 | 964000 | 0.964
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998900 | 999139 | -239 | 239000 | 0.239 | 950734 | 952025 | -1291 | 1291000 | 1.291
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1097 | 2348 | -1251 | 1251000 | 1.251 | 966371 | 967537 | -1166 | 1166000 | 1.166
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999169 | 999437 | -268 | 268000 | 0.268 | 957011 | 958237 | -1226 | 1226000 | 1.226
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 850 | -67 | 44666.622 | 0.044667 | 597 | 618 | -21 | 13999.986 | 0.014
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997251 | 999276 | -2025 | 1349998.65 | 1.35 | 999250 | 999430 | -180 | 119999.88 | 0.12
DIAL
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000032 | 999969 | 63 | -126000 | -0.126 | 1000084 | 999999 | 85 | -170000 | -0.17 | ROLL OVER
| Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996723 | 996650 | 73 | -146000 | -0.146 | 999446 | 999371 | 75 | -150000 | -0.15
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999848 | 999948 | -100 | -100000 | -0.1 | 36093 | 36330 | -237 | -237000 | -0.237
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999786 | 999927 | -141 | -187999.53 | -0.188 | 612 | 688 | -76 | -101333.08 | -0.10133 | ROLL OVER
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 244 | 610 | -366 | 366000 | 0.366 | 982318 | 983490 | -1172 | 1172000 | 1.172
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 526 | 384 | 142 | -142000 | -0.142 | 988805 | 988766 | 39 | -39000 | -0.039
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3802 | 3822 | -20 | -2000 | -0.002 | 7343 | 7336 | 7 | 700 | 0.0007
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 31864 | 28784 | 3080 | 308000 | 0.308 | 147759 | 147543 | 216 | 21600 | 0.0216
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985102 | 986324 | -1222 | -1222000 | -1.222 | 993983 | 994079 | -96 | -96000 | -0.096
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999476 | 999486 | -10 | -1000 | -0.001 | 1070 | 1067 | 3 | 300 | 0.0003
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 1969 | 1473 | 496 | 49600 | 0.0496 | 2769 | 2567 | 202 | 20200 | 0.0202
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7138 |  |  |  |  | 19.6031
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | DECEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 990384 | 990769 | -385 | -38500 | -0.0385 | 859506 | 859514 | -8 | -800 | -0.0008
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 65706 | 62426 | 3280 | -328000 | -0.328 | 1644 | 1633 | 11 | -1100 | -0.0011
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 33743 | 28652 | 5091 | -509100 | -0.5091 | 999406 | 999407 | -1 | 100 | 0.0001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 512 | 512 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 681739 | 688567 | -6828 | 682800 | 0.6828 | 43162 | 43182 | -20 | 2000 | 0.002
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1740 | 1602 | 138 | -138000 | -0.138 | 800 | 775 | 25 | -25000 | -0.025
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 688503 | 680483 | 8020 | -802000 | -0.802 | 38222 | 38217 | 5 | -500 | -0.0005
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 7267 | 5846 | 1421 | -142100 | -0.1421 | 48545 | 48496 | 49 | -4900 | -0.0049
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 8888 | 7823 | 1065 | -106500 | -0.1065 | 47186 | 46817 | 369 | -36900 | -0.0369
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 30608 | 30737 | -129 | 12900 | 0.0129 | 100667 | 100671 | -4 | 400 | 0.0004
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 9060 | 6842 | 2218 | -221800 | -0.2218 | 2252 | 2203 | 49 | -4900 | -0.0049
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 6808 | 6648 | 160 | -16000 | -0.016 | 604238 | 605962 | -1724 | 172400 | 0.1724
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 78992 | 74751 | 4241 | -424100 | -0.4241 | 156508 | 153887 | 2621 | -262100 | -0.2621
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145548 | 145612 | -64 | -6400 | -0.0064 | 24256 | 24262 | -6 | -600 | -0.0006
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 708 | 753 | -45 | 4500 | 0.0045 | 11137 | 11132 | 5 | -500 | -0.0005
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7819 | 7772 | 47 | -4700 | -0.0047 | 44170 | 44195 | -25 | 2500 | 0.0025
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6062 | 6047 | 15 | -1500 | -0.0015 | 6952 | 6729 | 223 | -22300 | -0.0223
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8104 | 8062 | 42 | -4200 | -0.0042 | 25080 | 24900 | 180 | -18000 | -0.018
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13384 | 13090 | 294 | -29400 | -0.0294 | 33483 | 32933 | 550 | -55000 | -0.055
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 27694 | 26678 | 1016 | -101600 | -0.1016 | 8522 | 8520 | 2 | -200 | -0.0002
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 11650 | 10848 | 802 | -80200 | -0.0802 | 8319 | 8307 | 12 | -1200 | -0.0012
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997781 | 997847 | -66 | 6600 | 0.0066 | 999973 | 999973 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 853 | 839 | 14 | 1400 | 0.0014
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999472 | 999472 | 0 | 0 | 0 | 999148 | 999147 | 1 | -100 | -0.0001
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.2473 |  |  |  |  | -0.2553
DECEMBER 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.7138 |  |  |  |  | 19.6031
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.2473 |  |  |  |  | -0.2553
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.869 |  |  |  |  | 0.4603
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.18135 |  |  |  |  | -0.1496
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 6.1541 |  |  |  |  | 19.6585
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.1541 | (REACTIVE MUs) |  |  |  | 19.6585 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.43448 | (REACTIVE MUs) |  |  |  | -1.7098 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.7196 | (REACTIVE MUs) |  |  |  | 17.9487 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 3511 | 2680 | 831 | 83100 | 0.0831 | 53436 | 52964 | 472 | 47200 | 0.0472
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 7878 | 5366 | 2512 | 251200 | 0.2512 | 111876 | 111486 | 390 | 39000 | 0.039
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 996921 | 998174 | -1253 | -125300 | -0.1253 | 4320 | 4303 | 17 | 1700 | 0.0017
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 8706 | 5661 | 3045 | 304500 | 0.3045 | 73531 | 73101 | 430 | 43000 | 0.043
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 33672 | 32570 | 1102 | 1102000 | 1.102 | 232 | 232 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999353 | 999924 | -571 | -57100 | -0.0571 | 268853 | 268667 | 186 | 18600 | 0.0186
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 2662 | 1916 | 746 | 74600 | 0.0746 | 395835 | 393705 | 2130 | 213000 | 0.213
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 4549 | 2603 | 1946 | 194600 | 0.1946 | 175252 | 172312 | 2940 | 294000 | 0.294
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 2624 | 1715 | 909 | 90900 | 0.0909 | 289753 | 288865 | 888 | 88800 | 0.0888
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999291 | 999805 | -514 | -51400 | -0.0514 | 195774 | 195381 | 393 | 39300 | 0.0393
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999413 | 1000042 | -629 | -62900 | -0.0629 | 123631 | 123833 | -202 | -20200 | -0.0202 | ROLL OVER
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 4976 | 3167 | 1809 | 180900 | 0.1809 | 172256 | 170004 | 2252 | 225200 | 0.2252
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 5121 | 3857 | 1264 | 126400 | 0.1264 | 214811 | 213892 | 919 | 91900 | 0.0919
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 45559 | 44591 | 968 | 1064800 | 1.0648
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4784 | 4925 | -141 | -141000 | -0.141 | 36043 | 36033 | 10 | 10000 | 0.01
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 114532 | 114097 | 435 | 478500 | 0.4785
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7622 | 7620 | 2 | 2000 | 0.002 | 48071 | 48051 | 20 | 20000 | 0.02
[10 empty] | -0.139 |  |  |  |  | 1.5733
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 681739 | 688567 | -6828 | -682800 | -0.6828 | 43162 | 43182 | -20 | -2000 | -0.002
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1740 | 1602 | 138 | 138000 | 0.138 | 800 | 775 | 25 | 25000 | 0.025
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 688503 | 680483 | 8020 | 802000 | 0.802 | 38222 | 38217 | 5 | 500 | 0.0005
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 9060 | 6842 | 2218 | 221800 | 0.2218 | 2252 | 2203 | 49 | 4900 | 0.0049
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 6808 | 6648 | 160 | 16000 | 0.016 | 604238 | 605962 | -1724 | -172400 | -0.1724
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 78992 | 74751 | 4241 | 424100 | 0.4241 | 156508 | 153887 | 2621 | 262100 | 0.2621
DECEMBER 2010
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145548 | 145612 | -64 | 6400 | 0.0064 | 24256 | 24262 | -6 | 600 | 0.0006
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 708 | 753 | -45 | -4500 | -0.0045 | 11137 | 11132 | 5 | 500 | 0.0005
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 7267 | 5846 | 1421 | 142100 | 0.1421 | 48545 | 48496 | 49 | 4900 | 0.0049
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 8888 | 7823 | 1065 | 106500 | 0.1065 | 47186 | 46817 | 369 | 36900 | 0.0369
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 30608 | 30737 | -129 | -12900 | -0.0129 | 100667 | 100671 | -4 | -400 | -0.0004
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 990384 | 990769 | -385 | 38500 | 0.0385 | 859506 | 859514 | -8 | 800 | 0.0008
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999476 | 999486 | -10 | 1000 | 0.001 | 1070 | 1067 | 3 | -300 | -0.0003
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 1969 | 1447 | 522 | -52200 | -0.0522 | 2769 | 2567 | 202 | -20200 | -0.0202
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.1165 |  |  |  |  | 2.7957
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.1165 |  |  |  |  | 2.7957
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.051921 |  |  |  |  | -0.20432
| TOTAL ENERGY TO NDMC | [8 empty] | 3.0646 |  |  |  |  | 2.5914

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 436 | 326 | 110 | 110000 | 0.11 | 11846 | 11778 | 68 | 68000 | 0.068
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 295 | 203 | 92 | 92000 | 0.092 | 16332 | 16284 | 48 | 48000 | 0.048
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 329 | 163 | 166 | 166000 | 0.166 | 23382 | 23307 | 75 | 75000 | 0.075
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 245 | 163 | 82 | 82000 | 0.082 | 12232 | 12188 | 44 | 44000 | 0.044
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 845 | 695 | 150 | 150000 | 0.15 | 5969 | 5931 | 38 | 38000 | 0.038
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 512 | 512 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6 |  |  |  |  | 0.273
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3211 | 3140 | 71 | 7100 | 0.0071 | 32038 | 32029 | 9 | 900 | 0.0009
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 21274 | 21004 | 270 | 27000 | 0.027 | 51723 | 51485 | 238 | 23800 | 0.0238
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61873 | 61796 | 77 | 7700 | 0.0077 | 5162 | 5155 | 7 | 700 | 0.0007
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 12596 | 12129 | 467 | 46700 | 0.0467 | 36125 | 35797 | 328 | 32800 | 0.0328
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999903 | -88 | -8800 | -0.0088 | 13908 | 13982 | -74 | -7400 | -0.0074
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 66872 | 65979 | 893 | 89300 | 0.0893 | 26501 | 25513 | 988 | 98800 | 0.0988
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 257 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.169 |  |  |  |  | 0.1496
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7853 | 8100 | -247 | -12350 | -0.01235 | 18537 | 18537 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.01235 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.18135 |  |  |  |  | 0.1496
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6 |  |  |  |  | 0.273
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.78135 |  |  |  |  | 0.4226
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.78135 | (REACTIVE MUs) |  |  |  | 0.4226 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.010681 | (REACTIVE MUs) |  |  |  | -0.042033 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.77067 | (REACTIVE MUs) |  |  |  | 0.38057 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 60926 | 61579 | -653 | -65300 | -0.0653 | 76417 | 76418 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 16827 | 14041 | 2786 | 278600 | 0.2786 | 999945 | 999863 | 82 | 8200 | 0.0082
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 124034 | 124342 | -308 | -30800 | -0.0308 | 85205 | 85092 | 113 | 11300 | 0.0113
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11491 | 11009 | 482 | 482000 | 0.482 | 16786 | 16767 | 19 | 19000 | 0.019
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994166 | 994460 | -294 | 147000 | 0.147 | 962294 | 962752 | -458 | 229000 | 0.229
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994565 | 994680 | -115 | 57500 | 0.0575 | 991063 | 991438 | -375 | 187500 | 0.1875
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999908 | 999890 | 18 | 5400 | 0.0054
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.869 |  |  |  |  | 0.4603
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 963433 | 964290 | -857 | -171400 | -0.1714 | 991153 | 991136 | 17 | 3400 | 0.0034
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 935587 | 943847 | -8260 | -826000 | -0.826 | 931650 | 931784 | -134 | -13400 | -0.0134
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.9974 |  |  |  |  | -0.01
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 141630 | 139031 | 2599 | 519800 | 0.5198 | 250534 | 248824 | 1710 | 342000 | 0.342
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22764 | 21750 | 1014 | 202800 | 0.2028 | 38714 | 38729 | -15 | -3000 | -0.003
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 14082 | 12201 | 1881 | 188100 | 0.1881 | 67257 | 67353 | -96 | -9600 | -0.0096
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991920 | 992073 | -153 | -153000 | -0.153 | 997628 | 997601 | 27 | 27000 | 0.027
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 987660 | 988244 | -584 | -58400 | -0.0584 | 7880 | 7893 | -13 | -1300 | -0.0013
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 995894 | 996189 | -295 | 147500 | 0.1475 | 995920 | 995926 | -6 | 3000 | 0.003
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999908 | 999890 | 18 | -5400 | -0.0054
| TOTAL NDPL | [8 empty] | 0.8468 |  |  |  |  | 0.3527
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.869 |  |  |  |  | 0.4603
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.9974 |  |  |  |  | -0.01
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.8468 |  |  |  |  | 0.3527

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 5396 | 5351 | 45 | 90000 | 0.09 | 999876 | 999851 | 25 | 50000 | 0.05
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 4590 | 4042 | 548 | 1096000 | 1.096 | 999653 | 999621 | 32 | 64000 | 0.064
[8 empty] | NET REACTIVE ENERGY |  | 1.186 |  |  | NET REACTIVE ENERGY |  | 0.114
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999753 | 999773 | -20 | -20000 | -0.02 | 40933 | 40455 | 478 | 478000 | 0.478
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991499 | 991532 | -33 | -33000 | -0.033 | 985376 | 985608 | -232 | -232000 | -0.232
[8 empty] | NET REACTIVE ENERGY |  | -0.053 |  |  | NET REACTIVE ENERGY |  | 0.246
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.133 |  |  |  |  | 0.36
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0576 |  |  |  |  | 2.205
[7 empty] | NDMC = |  |  | -0.139 |  |  |  |  | 1.5733
MES =
[7 empty] | 2)TOTAL |  |  | -0.0814 |  |  |  |  | 3.7783
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0516 |  |  |  |  | 4.1383
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3031 | % |  |  | 0.30815 |  |  |  |  | 1.2127
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3164 | % |  |  | 0.43448 |  |  |  |  | 1.7098
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4276 | % |  |  | 0.24636 |  |  |  |  | 0.9695
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9373 | % |  |  | 0.051921 |  |  |  |  | 0.20432
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0157 | % |  |  | 0.010681 |  |  |  |  | 0.042033
Note :Sharing taken from wk-36 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2010 TO 31st DECEMBER-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.6597 |  | -1.5748
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 5.7196 | + | 17.9487
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 4.8203 | + | 4.0831
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.0646 | + | 2.5914
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.77067 | + | 0.38057
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/11 | INTIAL READING 01/12/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990213 | 990260 | -47 | -70500 | -0.0705 | 981765 | 981820 | -55 | -82500 | -0.0825
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 989169 | 989844 | -675 | -1012500 | -1.0125 | 987407 | 987407 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 951644 | 952625 | -981 | -1471500 | -1.4715 | 971702 | 971752 | -50 | -75000 | -0.075
[8 empty] | NET REACTIVE ENERGY |  | -2.5545 |  |  | NET REACTIVE ENERGY |  | -0.1575
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997053 | 997139 | -86 | -86000 | -0.086 | 38038 | 38092 | -54 | -54000 | -0.054
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999946 | 1000109 | -163 | -163000 | -0.163 | 11568 | 12428 | -860 | -860000 | -0.86 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 980460 | 981005 | -545 | -545000 | -0.545 | 992830 | 992895 | -65 | -65000 | -0.065
[8 empty] | NET REACTIVE ENERGY |  | -0.794 |  |  | NET REACTIVE ENERGY |  | -0.979