## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10732 | 11539 | -807 | 807000 | 0.807 | 978138 | 978138 | 0 | 0 | 0 | 4864904 replaced with 4864925 on dated 20/02/13, ROLL OVER
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999531 | 1000000 | -469 | 469000 | 0.469 | 0 | 0 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 355 | 385 | -30 | 30000 | 0.03 | 999398 | 999415 | -17 | 17000 | 0.017
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13811 | 15066 | -1255 | 1255000 | 1.255 | 996384 | 996385 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976376 | 976560 | -184 | 184000 | 0.184 | 977886 | 977886 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919344 | 919934 | -590 | 590000 | 0.59 | 946538 | 946538 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18631 | 18688 | -57 | 57000 | 0.057 | 17374 | 17385 | -11 | 11000 | 0.011
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19301 | 19418 | -117 | 117000 | 0.117 | 13344 | 13350 | -6 | 6000 | 0.006
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17545 | 17512 | 33 | -41250 | -0.04125 | 996521 | 996521 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14139 | 14622 | -483 | 483000 | 0.483 | 986581 | 986581 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996889 | 997560 | -671 | 671000 | 0.671 | 4077 | 4077 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996423 | 996226 | 197 | -197000 | -0.197 | 999731 | 999732 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930523 | 933493 | -2970 | -2970000 | -2.97 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995744 | 995806 | -62 | 62000 | 0.062 | 16939 | 16940 | -1 | 1000 | 0.001
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 695 | 121 | 574 | -574000 | -0.574 | 19631 | 19631 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 231 | 372 | -141 | 141000 | 0.141 | 20129 | 20130 | -1 | 1000 | 0.001
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999516 | 999526 | -10 | -10000 | -0.01 | 27982 | 27829 | 153 | 153000 | 0.153
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 243 | 230 | 13 | 13000 | 0.013 | 29899 | 29778 | 121 | 121000 | 0.121
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2313 | 2372 | -59 | -5900 | -0.0059 | 137982 | 137863 | 119 | 11900 | 0.0119
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4684 | 4427 | 257 | 25700 | 0.0257 | 210826 | 209569 | 1257 | 125700 | 0.1257
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996023 | 996027 | -4 | -4000 | -0.004 | 999297 | 999357 | -60 | -60000 | -0.06
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999936 | 999916 | 20 | 20000 | 0.02 | 6830 | 6778 | 52 | 52000 | 0.052
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648380 | 648930 | -550 | -550000 | -0.55 | 800177 | 800177 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 657164 | 658263 | -1099 | -1099000 | -1.099 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992117 | 992051 | 66 | 66000 | 0.066 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 889 | 725 | 164 | 82000 | 0.082 | 176 | 176 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12837 | 11519 | 1318 | -1318000 | -1.318 | 982052 | 981967 | 85 | -85000 | -0.085
28 | Tx.2 | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 313 | 91 | 222 | -222000 | -0.222 | 1000011 | 999999 | 12 | -12000 | -0.012 | ROLL OVER
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991992 | 991830 | 162 | -162000 | -0.162 | 927999 | 928000 | -1 | 1000 | 0.001
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999529 | 999381 | 148 | -148000 | -0.148 | 999957 | 999958 | -1 | 1000 | 0.001
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30826 | 29777 | 1049 | -1049000 | -1.049 | 999917 | 999916 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1311 | 1302 | 9 | 9000 | 0.009 | 17979 | 17874 | 105 | 105000 | 0.105
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 148 | 163 | -15 | -15000 | -0.015 | 3177 | 3109 | 68 | 68000 | 0.068
| NDPL(+) continue | [14 empty] | FEBRUARY-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1289 | 1309 | -20 | -20000 | -0.02 | 59779 | 59780 | -1 | -1000 | -0.001
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 998659 | 997409 | 1250 | 125000 | 0.125 | 70514 | 68678 | 1836 | 183600 | 0.1836
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9028 | 8997 | 31 | 3100 | 0.0031 | 27280 | 26368 | 912 | 91200 | 0.0912
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9730 | 9724 | 6 | 600 | 0.0006 | 38162 | 37069 | 1093 | 109300 | 0.1093
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14266 | 14222 | 44 | 4400 | 0.0044 | 49882 | 49579 | 303 | 30300 | 0.0303
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 38551 | 38250 | 301 | 30100 | 0.0301 | 12882 | 12846 | 36 | 3600 | 0.0036
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16937 | 17050 | -113 | -11300 | -0.0113 | 12268 | 12222 | 46 | 4600 | 0.0046
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997609 | 997673 | -64 | -6400 | -0.0064 | 2623 | 2623 | 0 | 0 | 0
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5277 | 5244 | 33 | 16500 | 0.0165 | 26112 | 26084 | 28 | 14000 | 0.014
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3428 | 3388 | 40 | 20000 | 0.02 | 23979 | 23962 | 17 | 8500 | 0.0085
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4152 | 4077 | 75 | 37500 | 0.0375 | 14084 | 14084 | 0 | 0 | 0
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4390 | 4325 | 65 | 32500 | 0.0325 | 16780 | 16780 | 0 | 0 | 0
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996704 | 996955 | -251 | -25100 | -0.0251 | 5995 | 6038 | -43 | -4300 | -0.0043
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8067 | 7907 | 160 | 16000 | 0.016 | 14936 | 14935 | 1 | 100 | 0.0001
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 18187 | 17647 | 540 | 54000 | 0.054 | 50668 | 50665 | 3 | 300 | 0.0003
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2559 | 2580 | -21 | -2100 | -0.0021 | 999995 | 999999 | -4 | -400 | -0.0004
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999048 | 999072 | -24 | -2400 | -0.0024 | 210 | 215 | -5 | -500 | -0.0005
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8339 | 8296 | 43 | 4300 | 0.0043 | 69209 | 68727 | 482 | 48200 | 0.0482
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7402 | 7337 | 65 | 6500 | 0.0065 | 59412 | 58951 | 461 | 46100 | 0.0461
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8648 | 8593 | 55 | 5500 | 0.0055 | 85669 | 84849 | 820 | 82000 | 0.082
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 125558 | 123564 | 1994 | 199400 | 0.1994 | 28855 | 28855 | 0 | 0 | 0
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 18929 | 18415 | 514 | 51400 | 0.0514 | 38519 | 38519 | 0 | 0 | 0
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995588 | 1 | -400 | -0.0004 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 995754 | 997078 | -1324 | -1059200 | -1.0592 | 336 | 336 | 0 | 0 | 0
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 999839 | 1000000 | -161 | -128800 | -0.1288 | 999999 | 999999 | 0 | 0 | 0 | loaded on dated 26/02/13,ROLL OVER
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -3.9324 |  |  |  |  | 1.1342
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 9340 | 9079 | 261 | -26100 | -0.0261 | 12730 | 12534 | 196 | -19600 | -0.0196
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7899 | 7700 | 199 | -199000 | -0.199 | 6851 | 6851 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3928 | 3825 | 103 | -20600 | -0.0206 | 2360 | 2354 | 6 | -1200 | -0.0012
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13971 | 13812 | 159 | -159000 | -0.159 | 27629 | 27627 | 2 | -2000 | -0.002
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 35817 | 35931 | -114 | 11400 | 0.0114 | 146986 | 146986 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960529 | 963316 | -2787 | 2787000 | 2.787 | 992480 | 992480 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999455 | 999534 | -79 | -158000 | -0.158 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.2357 |  |  |  |  | -0.0228
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -3.9324 |  |  |  |  | 1.1342
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.2357 |  |  |  |  | -0.0228
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.5835 |  |  |  |  | 0.009675
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.11313 |  |  |  |  | 1.1211
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.11313 | (REACTIVE MUs) |  |  |  | 1.1211 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.37919 | (REACTIVE MUs) |  |  |  | -2.3376 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.49231 | (REACTIVE MUs) |  |  |  | -1.2166 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988084 | 988359 | -275 | -27500 | -0.0275 | 53262 | 53493 | -231 | -23100 | -0.0231
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15889 | 16093 | -204 | -20400 | -0.0204 | 11804 | 11465 | 339 | 33900 | 0.0339
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21621 | 21502 | 119 | 11900 | 0.0119 | 18937 | 17418 | 1519 | 151900 | 0.1519
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 997339 | 997773 | -434 | -43400 | -0.0434 | 5452 | 5509 | -57 | -5700 | -0.0057
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8979 | 8949 | 30 | 3000 | 0.003 | 104561 | 103892 | 669 | 66900 | 0.0669
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1173 | 758 | 415 | 41500 | 0.0415 | 61112 | 57444 | 3668 | 366800 | 0.3668
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998600 | 998939 | -339 | -339000 | -0.339 | 370 | 370 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999707 | 999730 | -23 | -23000 | -0.023 | 2195 | 2194 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 755 | 681 | 74 | 74000 | 0.074 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 174 | -144 | -144000 | -0.144 | 2860 | 2860 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998923 | 999133 | -210 | -210000 | -0.21 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 439 | 395 | 44 | 44000 | 0.044 | 127 | 127 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 172 | 154 | 18 | 18000 | 0.018 | 15116 | 15110 | 6 | 6000 | 0.006
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 356 | 318 | 38 | 38000 | 0.038 | 35889 | 35889 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 264 | 264 | 0 | 0 | 0 | 18618 | 18512 | 106 | 106000 | 0.106
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 547 | 459 | 88 | 88000 | 0.088 | 6253 | 6222 | 31 | 31000 | 0.031
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 37490 | 36267 | 1223 | 122300 | 0.1223 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998530 | 998427 | 103 | 103000 | 0.103 | 10646 | 10525 | 121 | 121000 | 0.121
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 788083 | 791949 | -3866 | -4252600 | -4.2526
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 832787 | 836003 | -3216 | -3537600 | -3.5376
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989650 | 989957 | -307 | -307000 | -0.307 | 9600 | 9600 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.5357 |  |  |  |  | -7.5252
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963124 | 963436 | -312 | 312000 | 0.312 | 974392 | 974392 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977596 | 978409 | -813 | 813000 | 0.813 | 973361 | 973361 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 22 | 53 | -31 | -31000 | -0.031 | 1253 | 994 | 259 | 259000 | 0.259
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24557 | 23005 | 1552 | -1552000 | -1.552 | 973094 | 973065 | 29 | -29000 | -0.029
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9153 | 8291 | 862 | -862000 | -0.862 | 971647 | 972470 | -823 | 823000 | 0.823
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997924 | 998175 | -251 | 251000 | 0.251 | 999564 | 999758 | -194 | 194000 | 0.194
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982092 | 982595 | -503 | 503000 | 0.503 | 994522 | 994734 | -212 | 212000 | 0.212
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3928 | 3825 | 103 | 20600 | 0.0206 | 2360 | 2354 | 6 | 1200 | 0.0012
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13971 | 13812 | 159 | 159000 | 0.159 | 27629 | 27627 | 2 | 2000 | 0.002
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 108942 | 109825 | -883 | -88300 | -0.0883 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 65264 | 67236 | -1972 | -197200 | -0.1972 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.2425 |  |  |  |  | -5.4723
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.2425 |  |  |  |  | -5.4723
FEBRUARY-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995403 | 996004 | -601 | 601000 | 0.601 | 931096 | 931396 | -300 | 300000 | 0.3
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14336 | 14737 | -401 | 401000 | 0.401 | 950159 | 950486 | -327 | 327000 | 0.327
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997929 | 998675 | -746 | 746000 | 0.746 | 994911 | 995149 | -238 | 238000 | 0.238
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932579 | 935502 | -2923 | 2923000 | 2.923 | 993112 | 993112 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922676 | 925586 | -2910 | 2910000 | 2.91 | 991448 | 991448 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 591 | 527 | 64 | -64000 | -0.064 | 992761 | 992859 | -98 | 98000 | 0.098
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998710 | 998728 | -18 | 36000 | 0.036 | 987806 | 987939 | -133 | 266000 | 0.266
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999139 | 999370 | -231 | 231000 | 0.231 | 969919 | 970324 | -405 | 405000 | 0.405
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10118 | 10670 | -552 | 552000 | 0.552 | 947784 | 947811 | -27 | 27000 | 0.027
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963455 | 964369 | -914 | 914000 | 0.914 | 878087 | 878148 | -61 | 61000 | 0.061
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21610 | 21599 | 11 | -11000 | -0.011 | 31404 | 31435 | -31 | 31000 | 0.031
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20177 | 19876 | 301 | -301000 | -0.301 | 40296 | 40343 | -47 | 47000 | 0.047
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 8.938 |  |  |  |  | 1.8
| (B) NET ENERGY TO EAST | [8 empty] | 8.938 |  |  |  |  | 1.8
FEBRUARY-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992117 | 992051 | 66 | -66000 | -0.066 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 889 | 725 | 164 | -82000 | -0.082 | 176 | 176 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 38976 | 38185 | 791 | -158200 | -0.1582 | 65466 | 65353 | 113 | -22600 | -0.0226
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 67947 | 66408 | 1539 | -153900 | -0.1539 | 127003 | 126752 | 251 | -25100 | -0.0251
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984978 | 985394 | -416 | 83200 | 0.0832 | 3980 | 3979 | 1 | -200 | -0.0002
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 62852 | 61754 | 1098 | -219600 | -0.2196 | 82360 | 82287 | 73 | -14600 | -0.0146
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -2000 | 73959 | 73761 | 198 | -396000 | -0.396 | 743 | 743 | 0 | 0 | 0 | CTR uprated from 400/1 to 800/1
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13024 | 12979 | 45 | -90000 | -0.09 | 370 | 367 | 3 | -6000 | -0.006
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 986419 | 987121 | -702 | 561600 | 0.5616 | 996973 | 997075 | -102 | 81600 | 0.0816
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 996062 | 996341 | -279 | 223200 | 0.2232 | 999072 | 999140 | -68 | 54400 | 0.0544
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999873 | 1000414 | -541 | 432800 | 0.4328 | 999902 | 999987 | -85 | 68000 | 0.068 | ROLL OVER
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996464 | 996721 | -257 | 257000 | 0.257 | 37654 | 37684 | -30 | 30000 | 0.03
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996070 | 996274 | -204 | 271999.32 | 0.272 | 57 | 100 | -43 | 57333.19 | 0.057333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1311 | 1302 | 9 | -9000 | -0.009 | 17979 | 17874 | 105 | -105000 | -0.105
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 148 | 163 | -15 | 15000 | 0.015 | 3177 | 3109 | 68 | -68000 | -0.068
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1289 | 1309 | -20 | 20000 | 0.02 | 59779 | 59780 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5277 | 5244 | 33 | -16500 | -0.0165 | 26112 | 26084 | 28 | -14000 | -0.014
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3428 | 3388 | 40 | -20000 | -0.02 | 23979 | 23962 | 17 | -8500 | -0.0085
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4152 | 4077 | 75 | -37500 | -0.0375 | 14084 | 14084 | 0 | 0 | 0
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4390 | 4325 | 65 | -32500 | -0.0325 | 16780 | 16780 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 125558 | 123564 | 1994 | -199400 | -0.1994 | 28855 | 28855 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 18929 | 18415 | 514 | -51400 | -0.0514 | 38519 | 38519 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996704 | 996955 | -251 | 25100 | 0.0251 | 5995 | 6038 | -43 | 4300 | 0.0043
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8067 | 7907 | 160 | -16000 | -0.016 | 14936 | 14935 | 1 | -100 | -0.0001
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 18187 | 17647 | 540 | -54000 | -0.054 | 50668 | 50665 | 3 | -300 | -0.0003
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2559 | 2580 | -21 | 2100 | 0.0021 | 999995 | 999999 | -4 | 400 | 0.0004
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999048 | 999072 | -24 | 2400 | 0.0024 | 210 | 215 | -5 | 500 | 0.0005
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8339 | 8296 | 43 | -4300 | -0.0043 | 69209 | 68727 | 482 | -48200 | -0.0482
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7402 | 7337 | 65 | -6500 | -0.0065 | 59412 | 58951 | 461 | -46100 | -0.0461
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8648 | 8593 | 55 | -5500 | -0.0055 | 85669 | 84849 | 820 | -82000 | -0.082
[10 empty] | 0.2761 |  |  |  |  | -0.14317
FEBRUARY-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.2425 |  |  |  |  | -5.4723
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.2761 |  |  |  |  | -0.14317
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4479 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.4143 |  |  |  |  | -5.6155
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 8.938 |  |  |  |  | 1.8
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 7.5237 |  |  |  |  | -3.8155
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 7.5237 | (REACTIVE MUs) |  |  |  | -3.8155 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.28126 | (REACTIVE MUs) |  |  |  | -1.7339 | (REACTIVE MUs)
[9 empty] | TOTAL | 7.2424 | (REACTIVE MUs) |  |  |  | -5.5494 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998139 | 998172 | -33 | -132000 | -0.132 | 9459 | 9494 | -35 | -140000 | -0.14 | NEW YARD CTR 800/1
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988812 | 989244 | -432 | -575998.56 | -0.576 | 674610 | 674625 | -15 | -19999.95 | -0.02
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6612 | 6703 | -91 | -91000 | -0.091 | 60265 | 60134 | 131 | 131000 | 0.131
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11253 | 11063 | 190 | 190000 | 0.19 | 999266 | 999215 | 51 | 51000 | 0.051
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8737 | 8351 | 386 | 38600 | 0.0386 | 114185 | 114142 | 43 | 4300 | 0.0043
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 31999 | 31332 | 667 | 66700 | 0.0667 | 244408 | 244407 | 1 | 100 | 0.0001 | not recording from 17/01/13
7 | BAY-37 | ASSESSMENT for the period from 01/02/13 to 19/02/13 | [7 empty] | 0.14081 |  |  |  |  | 0.00021111 | Pro-Rata base
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8570 | 8337 | 233 | 23300 | 0.0233 | 396419 | 396171 | 248 | 24800 | 0.0248
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999281 | 999568 | -287 | -258300 | -0.2583 | 999676 | 999679 | -3 | -2700 | -0.0027
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990903 | 991278 | -375 | 375000 | 0.375 | 950865 | 951097 | -232 | 232000 | 0.232
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988610 | 989060 | -450 | 450000 | 0.45 | 955001 | 955093 | -92 | 92000 | 0.092
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985520 | 986111 | -591 | 591000 | 0.591 | 939685 | 939787 | -102 | 102000 | 0.102
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996467 | 996992 | -525 | 525000 | 0.525 | 955508 | 955664 | -156 | 156000 | 0.156
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997137 | 996423 | 714 | -714000 | -0.714 | 987139 | 987153 | -14 | 14000 | 0.014
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10875 | 9990 | 885 | -885000 | -0.885 | 988522 | 988537 | -15 | 15000 | 0.015
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43387 | 43779 | -392 | 392000 | 0.392 | 21631 | 21652 | -21 | 21000 | 0.021
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7713 | 8196 | -483 | 483000 | 0.483 | 8385 | 8433 | -48 | 48000 | 0.048
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24485 | 25325 | -840 | 840000 | 0.84 | 7353 | 7371 | -18 | 18000 | 0.018
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30838 | 29703 | 1135 | -1135000 | -1.135 | 44218 | 44240 | -22 | 22000 | 0.022
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7899 | 7700 | 199 | 199000 | 0.199 | 6851 | 6851 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921574 | 923638 | -2064 | 2064000 | 2.064 | 901571 | 901571 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967117 | 968389 | -1272 | 1272000 | 1.272 | 864329 | 864353 | -24 | 24000 | 0.024
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149 | 624 | -475 | 475000 | 0.475 | 981019 | 981475 | -456 | 456000 | 0.456
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999371 | 999373 | -2 | 2000 | 0.002 | 893678 | 893686 | -8 | 8000 | 0.008
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998667 | 998744 | -77 | 77000 | 0.077 | 874056 | 874077 | -21 | 21000 | 0.021
BRPL(+) continue | [14 empty] | FEBRUARY-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997902 | 998597 | -695 | 695000 | 0.695 | 973400 | 973457 | -57 | 57000 | 0.057
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999240 | 999904 | -664 | 664000 | 0.664 | 990143 | 990209 | -66 | 66000 | 0.066
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993010 | 992091 | 919 | -1838000 | -1.838 | 970946 | 970946 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997202 | 997130 | 72 | -72000 | -0.072 | 926095 | 926178 | -83 | 83000 | 0.083
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996975 | 997905 | -930 | 930000 | 0.93 | 936730 | 936788 | -58 | 58000 | 0.058
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997118 | 997027 | 91 | -91000 | -0.091 | 931693 | 931766 | -73 | 73000 | 0.073
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997769 | 997678 | 91 | -60666.606 | -0.060667 | 991422 | 991422 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973442 | 973363 | 79 | -52666.614 | -0.052667 | 971811 | 971811 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1012 | 862 | 150 | -300000 | -0.3 | 1303 | 1295 | 8 | -16000 | -0.016
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997875 | 997709 | 166 | -332000 | -0.332 | 496 | 492 | 4 | -8000 | -0.008
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959296 | 961178 | -1882 | 1882000 | 1.882 | 997453 | 997453 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966914 | 967066 | -152 | 152000 | 0.152 | 997913 | 998011 | -98 | 98000 | 0.098
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 997071 | 997639 | -568 | -454400 | -0.4544 | 1193 | 1193 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 8790 | 8319 | 471 | 376800 | 0.3768 | 833 | 833 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 977770 | 979296 | -1526 | -1220800 | -1.2208 | 999697 | 999697 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999455 | 999534 | -79 | 158000 | 0.158 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996464 | 996721 | -257 | -257000 | -0.257 | 37654 | 37684 | -30 | -30000 | -0.03
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996070 | 996274 | -204 | -271999.32 | -0.272 | 57 | 100 | -43 | -57333.19 | -0.057333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7318 | 5639 | 1679 | -1679000 | -1.679 | 978928 | 978927 | 1 | -1000 | -0.001
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998896 | 998339 | 557 | -557000 | -0.557 | 986538 | 986567 | -29 | 29000 | 0.029
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 9340 | 9079 | 261 | 26100 | 0.0261 | 12730 | 12534 | 196 | 19600 | 0.0196
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 35817 | 35931 | -114 | -11400 | -0.0114 | 146986 | 146986 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 960529 | 963316 | -2787 | -2787000 | -2.787 | 992480 | 992480 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.68792 |  |  |  |  | 1.649
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 31179 | 25911 | 5268 | -526800 | -0.5268 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 108942 | 109825 | -883 | 88300 | 0.0883 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 65264 | 67236 | -1972 | 197200 | 0.1972 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 997957 | 998231 | -274 | 27400 | 0.0274 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997417 | 997782 | -365 | 36500 | 0.0365 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 926 | 856 | 70 | -140000 | -0.14 | 72536 | 72536 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7840 | 7534 | 306 | -306000 | -0.306 | 2235 | 2235 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 877730 | 871857 | 5873 | -587300 | -0.5873 | 54406 | 54406 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 52740 | 51226 | 1514 | -151400 | -0.1514 | 54015 | 54015 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 42660 | 41019 | 1641 | -164100 | -0.1641 | 54641 | 54641 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 77638 | 75642 | 1996 | -399200 | -0.3992 | 105434 | 105395 | 39 | -7800 | -0.0078
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4734 | 5136 | -402 | -201000 | -0.201 | 21794 | 21820 | -26 | -13000 | -0.013
KIDWAI NAGAR
13 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 260816 | 257738 | 3078 | -307800 | -0.3078 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
14 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1186 | 1160 | 26 | -2600 | -0.0026 | 15176 | 15111 | 65 | -6500 | -0.0065
15 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
16 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 998659 | 997409 | 1250 | -125000 | -0.125 | 70514 | 68678 | 1836 | -183600 | -0.1836
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9028 | 8997 | 31 | -3100 | -0.0031 | 27280 | 26368 | 912 | -91200 | -0.0912
18 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9730 | 9724 | 6 | -600 | -0.0006 | 38162 | 37069 | 1093 | -109300 | -0.1093
19 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14266 | 14222 | 44 | -4400 | -0.0044 | 49882 | 49579 | 303 | -30300 | -0.0303
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 38551 | 38250 | 301 | -30100 | -0.0301 | 12882 | 12846 | 36 | -3600 | -0.0036
21 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16937 | 17050 | -113 | 11300 | 0.0113 | 12268 | 12222 | 46 | -4600 | -0.0046
26 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997609 | 997673 | -64 | 6400 | 0.0064 | 2623 | 2623 | 0 | 0 | 0
27 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
28 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995588 | 1 | 400 | 0.0004 | 34 | 34 | 0 | 0 | 0
29 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.5819 |  |  |  |  | -0.4499
FEBRUARY-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.68792 |  |  |  |  | 1.649
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.5819 |  |  |  |  | -0.4499
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.80843 |  |  |  |  | 0.1779
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.4961 |  |  |  |  | -0.1097
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.9575 |  |  |  |  | 1.2673
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.9575 | (REACTIVE MUs) |  |  |  | 1.2673 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.50421 | (REACTIVE MUs) |  |  |  | -3.1084 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.4617 | (REACTIVE MUs) |  |  |  | -1.8411 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 38976 | 38185 | 791 | 158200 | 0.1582 | 65466 | 65353 | 113 | 22600 | 0.0226
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 67947 | 66408 | 1539 | 153900 | 0.1539 | 127003 | 126752 | 251 | 25100 | 0.0251
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984978 | 985394 | -416 | -83200 | -0.0832 | 3980 | 3979 | 1 | 200 | 0.0002
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 62852 | 61754 | 1098 | 219600 | 0.2196 | 82360 | 82287 | 73 | 14600 | 0.0146
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 2000 | 73959 | 73761 | 198 | 396000 | 0.396 | 743 | 743 | 0 | 0 | 0 | CTR uprated from 400/1 to 800/1
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13024 | 12979 | 45 | 90000 | 0.09 | 370 | 367 | 3 | 6000 | 0.006
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 986419 | 987121 | -702 | -561600 | -0.5616 | 996973 | 997075 | -102 | -81600 | -0.0816
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 996062 | 996341 | -279 | -223200 | -0.2232 | 999072 | 999140 | -68 | -54400 | -0.0544
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999873 | 1000414 | -541 | -432800 | -0.4328 | 999902 | 999987 | -85 | -68000 | -0.068 | ROLL OVER
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999051 | 999226 | -175 | -17500 | -0.0175 | 333968 | 333659 | 309 | 30900 | 0.0309
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6474 | 7072 | -598 | -59800 | -0.0598 | 469266 | 469355 | -89 | -8900 | -0.0089
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12089 | 11345 | 744 | 74400 | 0.0744 | 271570 | 270968 | 602 | 60200 | 0.0602
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5282 | 5674 | -392 | -39200 | -0.0392 | 334900 | 334771 | 129 | 12900 | 0.0129
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997846 | 998325 | -479 | -47900 | -0.0479 | 269809 | 269568 | 241 | 24100 | 0.0241
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 563 | 388 | 175 | 17500 | 0.0175 | 168950 | 168499 | 451 | 45100 | 0.0451
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13420 | 13116 | 304 | 30400 | 0.0304 | 249780 | 247068 | 2712 | 271200 | 0.2712
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 21244 | 19775 | 1469 | 146900 | 0.1469 | 291900 | 287604 | 4296 | 429600 | 0.4296
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 62025 | 61834 | 191 | 210100 | 0.2101
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3460 | 3740 | -280 | -280000 | -0.28 | 36003 | 36050 | -47 | -47000 | -0.047
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 139732 | 140055 | -323 | -355300 | -0.3553
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9091 | 9160 | -69 | -69000 | -0.069 | 50461 | 50460 | 1 | 1000 | 0.001
[10 empty] | -0.349 |  |  |  |  | -0.1912
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 926 | 856 | 70 | 140000 | 0.14 | 72536 | 72536 | 0 | 0 | 0
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7840 | 7534 | 306 | 306000 | 0.306 | 2235 | 2235 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 877730 | 871857 | 5873 | 587300 | 0.5873 | 54406 | 54406 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4734 | 5136 | -402 | 201000 | 0.201 | 21794 | 21820 | -26 | 13000 | 0.013
FEBRUARY-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985353 | 985889 | -536 | 536000 | 0.536 | 999818 | 999822 | -4 | 4000 | 0.004
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997342 | 997219 | 123 | -123000 | -0.123 | 999994 | 999994 | 0 | 0 | 0
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 260816 | 257738 | 3078 | 307800 | 0.3078 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1186 | 1160 | 26 | 2600 | 0.0026 | 15176 | 15111 | 65 | 6500 | 0.0065
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 52740 | 51226 | 1514 | 151400 | 0.1514 | 54015 | 54015 | 0 | 0 | 0
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 42660 | 41019 | 1641 | 164100 | 0.1641 | 54641 | 54641 | 0 | 0 | 0
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 77638 | 75642 | 1996 | 399200 | 0.3992 | 105434 | 105395 | 39 | 7800 | 0.0078
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 31179 | 25911 | 5268 | 526800 | 0.5268 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.6719 |  |  |  |  | 0.5697
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.6719 |  |  |  |  | 0.5697
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.072644 |  |  |  |  | -0.44784
| TOTAL ENERGY TO NDMC | [8 empty] | 2.5993 |  |  |  |  | 0.12186

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 719 | 666 | 53 | 53000 | 0.053 | 18719 | 18583 | 136 | 136000 | 0.136
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 491 | 468 | 23 | 23000 | 0.023 | 22829 | 22734 | 95 | 95000 | 0.095
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1117 | 1014 | 103 | 103000 | 0.103 | 31434 | 31392 | 42 | 42000 | 0.042
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 574 | 521 | 53 | 53000 | 0.053 | 15483 | 15481 | 2 | 2000 | 0.002
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2938 | 2763 | 175 | 175000 | 0.175 | 8392 | 8392 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 997957 | 998231 | -274 | -27400 | -0.0274 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997417 | 997782 | -365 | -36500 | -0.0365 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3431 |  |  |  |  | 0.275
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 38494 | 37120 | 1374 | 137400 | 0.1374 | 65959 | 65300 | 659 | 65900 | 0.0659
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 69553 | 69106 | 447 | 44700 | 0.0447 | 9816 | 9685 | 131 | 13100 | 0.0131
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 32345 | 29623 | 2722 | 272200 | 0.2722 | 53093 | 53093 | 0 | 0 | 0
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80155 | 79737 | 418 | 41800 | 0.0418 | 53629 | 53322 | 307 | 30700 | 0.0307
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 3174 | 2526 | 648 | 64800 | 0.0648 | 597 | 574 | 23 | 2300 | 0.0023
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.4961 |  |  |  |  | 0.1097
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.4961 |  |  |  |  | 0.1097
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3431 |  |  |  |  | 0.275
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.8392 |  |  |  |  | 0.3847
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8392 | (REACTIVE MUs) |  |  |  | 0.3847 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.013401 | (REACTIVE MUs) |  |  |  | -0.082617 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.8258 | (REACTIVE MUs) |  |  |  | 0.30208 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 65019 | 63457 | 1562 | 156200 | 0.1562 | 79770 | 79766 | 4 | 400 | 0.0004
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2698 | 4510 | -1812 | -181200 | -0.1812 | 999426 | 999426 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 183890 | 183739 | 151 | 15100 | 0.0151 | 96598 | 96598 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 23060 | 22366 | 694 | 650625 | 0.65063 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991498 | 991722 | -224 | 112000 | 0.112 | 929739 | 929945 | -206 | 103000 | 0.103
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989968 | 990080 | -112 | 56000 | 0.056 | 985945 | 986094 | -149 | 74500 | 0.0745
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 18 | -1 | -300 | -0.0003 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.80843 |  |  |  |  | 0.1779
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 944325 | 944678 | -353 | -70600 | -0.0706 | 991782 | 991782 | 0 | 0 | 0
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 827338 | 831111 | -3773 | -377300 | -0.3773 | 928134 | 928134 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4479 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 194100 | 191633 | 2467 | 493400 | 0.4934 | 263302 | 263301 | 1 | 200 | 0.0002
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 82932 | 80011 | 2921 | 584200 | 0.5842 | 41147 | 41147 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 127387 | 121606 | 5781 | 578100 | 0.5781 | 71709 | 71708 | 1 | 100 | 0.0001
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988128 | 988028 | 100 | 100000 | 0.1 | 998300 | 998300 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 974605 | 975936 | -1331 | -133100 | -0.1331 | 7273 | 7273 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999528 | 999640 | -112 | -105000 | -0.105 | 1555 | 1545 | 10 | 9375 | 0.009375
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 990321 | 990426 | -105 | 65625 | 0.065625 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 18 | -1 | 300 | 0.0003 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.5835 |  |  |  |  | 0.009675
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.80843 |  |  |  |  | 0.1779
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4479 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.5835 |  |  |  |  | 0.009675

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7878 | 7554 | 324 | 648000 | 0.648 | 351 | 350 | 1 | 2000 | 0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11100 | 10713 | 387 | 774000 | 0.774 | 1009 | 1007 | 2 | 4000 | 0.004
[7 empty] | NET REACTIVE ENERGY |  |  | 1.422 |  | NET REACTIVE ENERGY |  |  | 0.006
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 995838 | 997626 | -1788 | -1788000 | -1.788 | 42456 | 42456 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996992 | 998543 | -1551 | -1551000 | -1.551 | 999903 | 999910 | -7 | -7000 | -0.007
[7 empty] | NET REACTIVE ENERGY |  |  | -1.788 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.366 |  |  |  |  | 0.006
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.5357 |  |  |  |  | -7.5252
[7 empty] | NDMC = |  |  | -0.349 |  |  |  |  | -0.1912
MES =
[7 empty] | 2)TOTAL |  |  | -0.8847 |  |  |  |  | -7.7164
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -1.2507 |  |  |  |  | -7.7104
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.318 | % |  |  | -0.37919 |  |  |  |  | -2.3376
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.3144 | % |  |  | -0.50421 |  |  |  |  | -3.1084
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.4879 | % |  |  | -0.28126 |  |  |  |  | -1.7339
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.8083 | % |  |  | -0.072644 |  |  |  |  | -0.44784
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0715 | % |  |  | -0.013401 |  |  |  |  | -0.082617
Note :Sharing taken from wk-48 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2013 TO 28th FEBRUARY-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.49231 |  | -1.2166
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.4617 |  | -1.8411
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 7.2424 |  | -5.5494
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.5993 | + | 0.12186
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.8258 | + | 0.30208
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2013 | INTIAL READING 01/02/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 967378 | 967884 | -506 | -759000 | -0.759 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 106 | 98 | 8 | 12000 | 0.012 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 919595 | 920421 | -826 | -1239000 | -1.239 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1.986 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997240 | 997247 | -7 | -35000 | -0.035 | 32034 | 32315 | -281 | -1405000 | -1.405
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999596 | 999458 | 138 | 138000 | 0.138 | 3311 | 3417 | -106 | -106000 | -0.106
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.103 |  |  | NET REACTIVE ENERGY |  | -1.511