## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998404 | 999810 | -1406 | 1406000 | 1.406 | 999716 | 999721 | -5 | 5000 | 0.005
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13093 | 11248 | 1845 | -1845000 | -1.845 | 998762 | 998764 | -2 | 2000 | 0.002
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963390 | 965003 | -1613 | 1613000 | 1.613 | 995720 | 995723 | -3 | 3000 | 0.003
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999312 | 998933 | 379 | -379000 | -0.379 | 973305 | 973030 | 275 | -275000 | -0.275
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2405 | 1928 | 477 | -477000 | -0.477 | 999053 | 999110 | -57 | 57000 | 0.057
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24027 | 23665 | 362 | -362000 | -0.362 | 17606 | 17606 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000297 | 999897 | 400 | -400000 | -0.4 | 999713 | 999713 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 10430 | 11075 | -645 | 806250 | 0.80625 | 991918 | 991918 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990891 | 992337 | -1446 | 1446000 | 1.446 | 981193 | 981193 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999770 | 999475 | 295 | -295000 | -0.295 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999847 | 999532 | 315 | -315000 | -0.315 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975323 | 976621 | -1298 | 1298000 | 1.298 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 941256 | 946963 | -5707 | -5707000 | -5.707 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983554 | 982967 | 587 | -587000 | -0.587 | 16905 | 16907 | -2 | 2000 | 0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7778 | 6866 | 912 | -912000 | -0.912 | 20580 | 20580 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14424 | 13652 | 772 | -772000 | -0.772 | 265 | 264 | 1 | -1000 | -0.001
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 16 | 16 | 0 | 0 | 0 | 7203 | 6608 | 595 | 238000 | 0.238
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 793 | 2 | 2000 | 0.002 | 27784 | 27731 | 53 | 53000 | 0.053
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 650 | 642 | 8 | 4000 | 0.004 | 117 | 55 | 62 | 31000 | 0.031 | w.e.f 23/09/16
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 126530 | 125964 | 566 | 56600 | 0.0566 | 254460 | 254134 | 326 | 32600 | 0.0326
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996180 | 996206 | -26 | -26000 | -0.026 | 992366 | 992707 | -341 | -341000 | -0.341
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 506 | 513 | -7 | -7000 | -0.007 | 801 | 1059 | -258 | -258000 | -0.258
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 72693 | 71430 | 1263 | 126300 | 0.1263 | 7211 | 7139 | 72 | 7200 | 0.0072
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 630919 | 632117 | -1198 | -1198000 | -1.198 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 623195 | 625274 | -2079 | -2079000 | -2.079 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 1015 | 1061 | -46 | -18400 | -0.0184 | 999053 | 999053 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5676 | 5664 | 12 | 6000 | 0.006 | 2375 | 2307 | 68 | 34000 | 0.034
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23706 | 23706 | 0 | 0 | 0 | 980859 | 980859 | 0 | 0 | 0
|  | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 1000000 | -3 | 3000 | 0.003 | 999969 | 1000000 | -31 | 31000 | 0.031 | W.e.f 02/12/2016
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13102 | 12873 | 229 | -229000 | -0.229 | 996812 | 996755 | 57 | -57000 | -0.057
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984739 | 984101 | 638 | -638000 | -0.638 | 999953 | 999832 | 121 | -121000 | -0.121
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8435 | 7392 | 1043 | -1043000 | -1.043 | 999560 | 999560 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42092 | 36387 | 5705 | -5705000 | -5.705 | 12 | 12 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16143 | 14587 | 1556 | -1556000 | -1.556 | 998816 | 998816 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32922 | 29740 | 3182 | -3182000 | -3.182 | 1594 | 1594 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8767 | 7731 | 1036 | -1036000 | -1.036 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1877 | 977 | 900 | -900000 | -0.9 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13808 | 11213 | 2595 | -2595000 | -2.595 | 1400 | 1400 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2053 | 2059 | -6 | -6000 | -0.006 | 27137 | 27146 | -9 | -9000 | -0.009
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1775 | 1751 | 24 | 2400 | 0.0024 | 24929 | 25281 | -352 | -35200 | -0.0352
| NDPL(+) continue | [14 empty] | DECEMBER-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998410 | 998352 | 58 | 24166.28 | 0.024166 | 266 | 257 | 9 | 3749.94 | 0.0037499
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9133 | 9135 | -2 | -200 | -0.0002 | 37461 | 37478 | -17 | -1700 | -0.0017
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12254 | 12253 | 1 | 100 | 0.0001 | 72884 | 72860 | 24 | 2400 | 0.0024
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 722 | 728 | -6 | -600 | -0.0006 | 12946 | 13063 | -117 | -11700 | -0.0117
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 13682 | 13682 | 0 | 0 | 0 | 11828 | 11828 | 0 | 0 | 0
|  | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | W.e.f 02/12/2016
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/11/16
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999580 | 999899 | -319 | -31900 | -0.0319 | 4500 | 4337 | 163 | 16300 | 0.0163
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34468 | 34437 | 31 | 15500 | 0.0155
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 489 | 548 | -59 | -29500 | -0.0295
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 263 | 244 | 19 | 12666.73 | 0.012667 | 108 | 107 | 1 | 666.67 | 0.00066667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2902 | 2882 | 20 | 13333.3333 | 0.013333 | 1337 | 1333 | 4 | 2666.6667 | 0.0026667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997797 | 997928 | -131 | -13100 | -0.0131 | 1147 | 1168 | -21 | -2100 | -0.0021
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999754 | -3 | -300 | -0.0003 | 999998 | 1000006 | -8 | -800 | -0.0008
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23916 | 23922 | -6 | -600 | -0.0006 | 57809 | 57834 | -25 | -2500 | -0.0025
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1780 | 1818 | -38 | -3800 | -0.0038 | 5964 | 6260 | -296 | -29600 | -0.0296
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27985 | 28013 | -28 | -2800 | -0.0028 | 67382 | 67784 | -402 | -40200 | -0.0402
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7599 | 7583 | 16 | 1600 | 0.0016 | 2790 | 2315 | 475 | 47500 | 0.0475
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 199086 | 198037 | 1049 | 104900 | 0.1049 | 19852 | 19852 | 0 | 0 | 0
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24768 | 24712 | 56 | 5600 | 0.0056 | 51060 | 51015 | 45 | 4500 | 0.0045
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 457 | 462 | -5 | 1500 | 0.0015
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 69 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999883 | 999919 | -36 | -14400 | -0.0144 | 8 | 9 | -1 | -400 | -0.0004
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 971074 | 972115 | -1041 | -832800 | -0.8328 | 996608 | 996608 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1900 | 2016 | -116 | -232000 | -0.232 | 1097 | 1097 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 367 | 0 | 367 | 36700 | 0.0367 | 999868 | 999868 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -26.4333 |  |  |  |  | -0.62512
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5077 | 5019 | 58 | -5800 | -0.0058 | 6685 | 6253 | 432 | -43200 | -0.0432
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999952 | 1000000 | -48 | 48000 | 0.048 | 0 | 0 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12790 | 12344 | 446 | -89200 | -0.0892 | 21643 | 21078 | 565 | -113000 | -0.113
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86373 | 86395 | -22 | 22000 | 0.022 | 123404 | 123323 | 81 | -81000 | -0.081
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 18445 | 18913 | -468 | 46800 | 0.0468 | 143180 | 143180 | 0 | 0 | 0 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 992544 | 993101 | -557 | 445600 | 0.4456 | 999901 | 999987 | -86 | 68800 | 0.0688
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4674 |  |  |  |  | -0.1684
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -26.4333 |  |  |  |  | -0.62512
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4674 |  |  |  |  | -0.1684
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.849 |  |  |  |  | 0.0384
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -24.1169 |  |  |  |  | -0.75512
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -24.1169 | (REACTIVE MUs) |  |  |  | -0.75512 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.7622 | (REACTIVE MUs) |  |  |  | -2.7078 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.3547 | (REACTIVE MUs) |  |  |  | -3.4629 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 14428 | 14445 | -17 | -1700 | -0.0017 | 1203 | 2145 | -942 | -94200 | -0.0942
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 7909 | 7792 | 117 | 35100 | 0.0351 | 1433 | 1486 | -53 | -15900 | -0.0159
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 22490 | 22294 | 196 | 14700 | 0.0147 | 18624 | 10227 | 8397 | 629775 | 0.62977
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999646 | 999653 | -7 | -2100 | -0.0021 | 5007 | 5270 | -263 | -78900 | -0.0789
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1816 | 1817 | -1 | -1333.3 | -0.0013333 | 2731 | 2682 | 49 | 65331.7 | 0.065332
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35454 | 35470 | -16 | -1600 | -0.0016 | 170837 | 171769 | -932 | -93200 | -0.0932
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 4895 | 4287 | 608 | 45600 | 0.0456 | 9355 | 1216 | 8139 | 610425 | 0.61042
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989076 | 989248 | -172 | -172000 | -0.172 | 1888 | 1888 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997301 | 997473 | -172 | -172000 | -0.172 | 3367 | 3367 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999791 | 999933 | -142 | -142000 | -0.142 | 771 | 771 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996579 | 996755 | -176 | -176000 | -0.176 | 1691 | 1691 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994515 | 994818 | -303 | -303000 | -0.303 | 5249 | 5249 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998082 | 998179 | -97 | -97000 | -0.097 | 999138 | 999138 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999164 | 999192 | -28 | -28000 | -0.028 | 16397 | 16397 | 0 | 0 | 0
|  | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999964 | 1000000 | -36 | -36000 | -0.036 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/12/2016
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999502 | 999590 | -88 | -70400 | -0.0704 | 1249 | 1249 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999686 | 999736 | -50 | -50000 | -0.05 | 29610 | 29610 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1323 | 1296 | 27 | 27000 | 0.027 | 9721 | 9721 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12265 | 12172 | 93 | 9300 | 0.0093 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000307 | 999901 | 406 | 406000 | 0.406 | 15632 | 15632 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999998 | 999998 | 0 | 0 | 0 | 954790 | 957592 | -2802 | -3852750 | -3.8527
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 957592 | 957592 | 0 | 0 | 0
|  | 5295164 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 997711 | 1000000 | -2289 | -2517900 | -2.5179 | w.e.f 17/12/2016
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978657 | 979345 | -688 | -688000 | -0.688 | 7821 | 7821 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.4921 |  |  |  |  | -6.3706
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948806 | 949064 | -258 | 258000 | 0.258 | 941254 | 941599 | -345 | 345000 | 0.345
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960945 | 961239 | -294 | 294000 | 0.294 | 954779 | 954786 | -7 | 7000 | 0.007
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 457 | 462 | -5 | -1500 | -0.0015
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 999994 | -3 | -3000 | -0.003 | 1597 | 1444 | 153 | 153000 | 0.153 | w.e.f 23/09/16
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21660 | 15219 | 6441 | -6441000 | -6.441 | 997404 | 997404 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5893 | 2757 | 3136 | -3136000 | -3.136 | 999993 | 999993 | 0 | 0 | 0 | w.e.f 26/10/16
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992686 | 992867 | -181 | 181000 | 0.181 | 993551 | 993699 | -148 | 148000 | 0.148
30 | TX.-2(33KV) | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999846 | 999531 | 315 | -315000 | -0.315 | 30 | 30 | 0 | 0 | 0 | Check Meter Data
[10 empty] | 0.021 |  |  |  |  | 0 | Assessment
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8071 | 7154 | 917 | -1834000 | -1.834 | 999025 | 999037 | -12 | 24000 | 0.024
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1663 | 1370 | 293 | -293000 | -0.293 | 999996 | 999998 | -2 | 2000 | 0.002 | w.e.f 06/09/16
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999618 | 999135 | 483 | -483000 | -0.483 | 999855 | 999855 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12790 | 12344 | 446 | 89200 | 0.0892 | 21643 | 21078 | 565 | 113000 | 0.113
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86373 | 86395 | -22 | -22000 | -0.022 | 123404 | 123323 | 81 | 81000 | 0.081
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998694 | 999138 | -444 | -44400 | -0.0444 | 1144 | 1149 | -5 | -500 | -0.0005
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151757 | 151725 | 32 | 3200 | 0.0032 | 52252 | 52229 | 23 | 2300 | 0.0023
PREET VIHAR
38 | 33KV I/C-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | W.e.f 13/12/2016
39 | 33KV I/C-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | W.e.f 13/12/2016
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -13.1284 |  |  |  |  | -4.474
| (A) NET ENERGY TO CENTRAL | [8 empty] | -13.1284 |  |  |  |  | -4.474
DECEMBER-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980987 | 980680 | 307 | -307000 | -0.307 | 883050 | 883080 | -30 | 30000 | 0.03
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000545 | 999723 | 822 | -822000 | -0.822 | 974007 | 974032 | -25 | 25000 | 0.025
3 | Tx.3 | 4865008 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985263 | 985247 | 16 | -16000 | -0.016 | 881853 | 881887 | -34 | 34000 | 0.034 | Check Meter Data
|  | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 442 | 0 | 442 | -221000 | -0.221 | 999972 | 1000000 | -28 | 14000 | 0.014 | w.e.f 17/12/2016
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994907 | 995097 | -190 | 380000 | 0.38 | 975383 | 975389 | -6 | 12000 | 0.012
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997958 | 997923 | 35 | -35000 | -0.035 | 635 | 634 | 1 | -1000 | -0.001
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994261 | 994139 | 122 | -122000 | -0.122 | 999966 | 999967 | -1 | 1000 | 0.001
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8207 | 8207 | 0 | 0 | 0 | 983384 | 983384 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.159 |  |  |  |  | -0.003 | Assessment
|  | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53 | 0 | 53 | -53000 | -0.053 | 1 | 0 | 1 | -1000 | -0.001 | w.e.f 24/12/2016
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993138 | 993165 | -27 | 27000 | 0.027 | 979023 | 979033 | -10 | 10000 | 0.01
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989666 | 990013 | -347 | 347000 | 0.347 | 996278 | 996316 | -38 | 38000 | 0.038
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980580 | 980523 | 57 | -57000 | -0.057 | 968044 | 968542 | -498 | 498000 | 0.498
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959359 | 959403 | -44 | 44000 | 0.044 | 833426 | 833422 | 4 | -4000 | -0.004
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16082 | 15522 | 560 | -560000 | -0.56 | 33798 | 33780 | 18 | -18000 | -0.018
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1189 | 466 | -466000 | -0.466 | 999797 | 999778 | 19 | -19000 | -0.019
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971684 | 971263 | 421 | -421000 | -0.421 | 920009 | 920013 | -4 | 4000 | 0.004
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.441 |  |  |  |  | 0.62
| (B) NET ENERGY TO EAST | [8 empty] | -2.441 |  |  |  |  | 0.62
DECEMBER-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 1015 | 1061 | -46 | 18400 | 0.0184 | 999053 | 999053 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5676 | 5664 | 12 | -6000 | -0.006 | 2375 | 2307 | 68 | -34000 | -0.034
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54595 | 54790 | -195 | 39000 | 0.039 | 85497 | 85481 | 16 | -3200 | -0.0032
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 71423 | 71835 | -412 | 41200 | 0.0412 | 139286 | 139301 | -15 | 1500 | 0.0015
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 974915 | 975801 | -886 | 177200 | 0.1772 | 996528 | 996535 | -7 | 1400 | 0.0014
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 5550 | 3120 | 2430 | -486000 | -0.486 | 885 | 800 | 85 | -17000 | -0.017
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 15920 | 15512 | 408 | -326400 | -0.3264 | 10514 | 10514 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14623 | 14429 | 194 | -388000 | -0.388 | 3801 | 3801 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 976166 | 976714 | -548 | 438400 | 0.4384 | 988211 | 988212 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 990842 | 993336 | -2494 | 1995200 | 1.9952 | 993855 | 993857 | -2 | 1600 | 0.0016
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 994668 | 995972 | -1304 | 1043200 | 1.0432 | 997713 | 997715 | -2 | 1600 | 0.0016
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 981996 | 982836 | -840 | 672000 | 0.672 | 994072 | 994073 | -1 | 800 | 0.0008
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980697 | 981911 | -1214 | 1214000 | 1.214 | 34257 | 34257 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2053 | 2059 | -6 | 6000 | 0.006 | 27137 | 27146 | -9 | 9000 | 0.009
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 1775 | 1751 | 24 | -2400 | -0.0024 | 24929 | 25281 | -352 | 35200 | 0.0352
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34468 | 34437 | 31 | -15500 | -0.0155
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 489 | 548 | -59 | 29500 | 0.0295
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 263 | 244 | 19 | -12666.73 | -0.012667 | 108 | 107 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2902 | 2882 | 20 | -13333.3333 | -0.013333 | 1337 | 1333 | 4 | -2666.6667 | -0.0026667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 199086 | 198037 | 1049 | -104900 | -0.1049 | 19852 | 19852 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24768 | 24712 | 56 | -5600 | -0.0056 | 51060 | 51015 | 45 | -4500 | -0.0045
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997797 | 997928 | -131 | 13100 | 0.0131 | 1147 | 1168 | -21 | 2100 | 0.0021
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999754 | -3 | 300 | 0.0003 | 999998 | 1000006 | -8 | 800 | 0.0008
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23916 | 23922 | -6 | 600 | 0.0006 | 57809 | 57834 | -25 | 2500 | 0.0025
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1780 | 1818 | -38 | 3800 | 0.0038 | 5964 | 6260 | -296 | 29600 | 0.0296
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27985 | 28013 | -28 | 2800 | 0.0028 | 67382 | 67784 | -402 | 40200 | 0.0402
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7599 | 7583 | 16 | -1600 | -0.0016 | 2790 | 2315 | 475 | -47500 | -0.0475
[10 empty] | 4.3183 |  |  |  |  | 0.031567
DECEMBER-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -13.1284 |  |  |  |  | -4.474
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.3183 |  |  |  |  | 0.031567
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.6015 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -10.4117 |  |  |  |  | -4.4425
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.441 |  |  |  |  | 0.62
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -12.8527 |  |  |  |  | -3.8225
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -12.8527 | (REACTIVE MUs) |  |  |  | -3.8225 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2251 | (REACTIVE MUs) |  |  |  | -1.8824 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.6276 | (REACTIVE MUs) |  |  |  | -5.7049 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999610 | 999615 | -5 | -25000 | -0.025 | 999770 | 999833 | -63 | -315000 | -0.315
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984810 | 984825 | -15 | -19999.95 | -0.02 | 672818 | 673055 | -237 | -315999.21 | -0.316
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1183 | 1216 | -33 | -13200 | -0.0132 | 907 | 1149 | -242 | -96800 | -0.0968
[10 empty] | 0.42 |  |  |  |  | -0.21 | Assessment last month
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16979 | 16984 | -5 | -5000 | -0.005 | 999959 | 1000412 | -453 | -453000 | -0.453
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17262 | 17243 | 19 | 1900 | 0.0019 | 3867 | 4132 | -265 | -26500 | -0.0265
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 727524 | 727681 | -157 | -11775 | -0.011775 | 21210 | 23419 | -2209 | -165675 | -0.16567
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983765 | 983867 | -102 | -7650 | -0.00765 | 995556 | 997376 | -1820 | -136500 | -0.1365
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997476 | 997514 | -38 | -34200 | -0.0342 | 998070 | 998446 | -376 | -338400 | -0.3384
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 10909 | 6883 | 4026 | -2013000 | -2.013 | 988872 | 988853 | 19 | -9500 | -0.0095
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 656 | 265 | 391 | -391000 | -0.391 | 999990 | 999995 | -5 | 5000 | 0.005
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1616 | 1560 | 56 | -56000 | -0.056 | 999856 | 999887 | -31 | 31000 | 0.031
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964318 | 964542 | -224 | 224000 | 0.224 | 967818 | 968057 | -239 | 239000 | 0.239
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985010 | 984692 | 318 | -318000 | -0.318 | 967118 | 967119 | -1 | 1000 | 0.001
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60447 | 55918 | 4529 | -4529000 | -4.529 | 13609 | 13308 | 301 | -301000 | -0.301
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37008 | 36664 | 344 | -344000 | -0.344 | 984852 | 984850 | 2 | -2000 | -0.002
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998332 | 997843 | 489 | -489000 | -0.489 | 954096 | 954095 | 1 | -1000 | -0.001
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 998672 | 998189 | 483 | -241500 | -0.2415 | 991944 | 992062 | -118 | 59000 | 0.059
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997803 | 997921 | -118 | 118000 | 0.118 | 994363 | 994931 | -568 | 568000 | 0.568
21 | Tx.3 | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1666.67 | 995195 | 995149 | 46 | -76666.82 | -0.076667 | 996639 | 996743 | -104 | 173333.68 | 0.17333 | Check Meter Data
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13768 | 13845 | -77 | 77000 | 0.077 | 998996 | 999128 | -132 | 132000 | 0.132
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999952 | 1000000 | -48 | -48000 | -0.048 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981059 | 980894 | 165 | -165000 | -0.165 | 986196 | 986217 | -21 | 21000 | 0.021
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991784 | 991738 | 46 | -46000 | -0.046 | 986082 | 986112 | -30 | 30000 | 0.03
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994865 | 994618 | 247 | -247000 | -0.247 | 991484 | 991564 | -80 | 80000 | 0.08
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989435 | 989159 | 276 | -276000 | -0.276 | 932447 | 932613 | -166 | 166000 | 0.166
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 595 | 54 | 541 | -541000 | -0.541 | 34356 | 34412 | -56 | 56000 | 0.056
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998125 | 998074 | 51 | -51000 | -0.051 | 996832 | 996849 | -17 | 17000 | 0.017
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995924 | 995920 | 4 | -4000 | -0.004 | 861999 | 862069 | -70 | 70000 | 0.07
BRPL(+) continue | [14 empty] | DECEMBER-2016
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 364 | 205 | 159 | -159000 | -0.159 | 999991 | 1000000 | -9 | 9000 | 0.009 | w.e.f 19/10/16
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 1000285 | 999875 | 410 | -205000 | -0.205 | 998122 | 998139 | -17 | 8500 | 0.0085
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10836 | 9483 | 1353 | -2706000 | -2.706 | 969503 | 969503 | 0 | 0 | 0
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994199 | 993832 | 367 | -367000 | -0.367 | 900273 | 900317 | -44 | 44000 | 0.044
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994405 | 994405 | 0 | 0 | 0 | 927475 | 927475 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998111 | 997718 | 393 | -393000 | -0.393 | 985440 | 985479 | -39 | 39000 | 0.039
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8586 | 8211 | 375 | -375000 | -0.375 | 8934 | 8998 | -64 | 64000 | 0.064
[5 empty] | -1000 | 302 | 65 | 237 | -237000 | -0.237 | 6073 | 6106 | -33 | 33000 | 0.033
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 968409 | 968807 | -398 | 265333.068 | 0.26533 | 967286 | 967287 | -1 | 666.666 | 0.00066667
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992910 | 991983 | 927 | -2317500 | -2.3175 | 999814 | 999814 | 0 | 0 | 0
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5316 | 5134 | 182 | -364000 | -0.364 | 1924 | 1923 | 1 | -2000 | -0.002
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2093 | 194 | -388000 | -0.388 | 975 | 974 | 1 | -2000 | -0.002
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917575 | 918522 | -947 | 947000 | 0.947 | 983892 | 983892 | 0 | 0 | 0
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927166 | 927673 | -507 | 507000 | 0.507 | 987336 | 987336 | 0 | 0 | 0
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 29552 | 30238 | -686 | -548800 | -0.5488 | 6349 | 6349 | 0 | 0 | 0
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 903109 | 904850 | -1741 | -1392800 | -1.3928 | 997110 | 997110 | 0 | 0 | 0
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999885 | 999920 | -35 | -28000 | -0.028 | 999790 | 999790 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999851 | 999917 | -66 | -66000 | -0.066 | 617 | 617 | 0 | 0 | 0
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980697 | 981911 | -1214 | -1214000 | -1.214 | 34257 | 34257 | 0 | 0 | 0
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9856 | 6271 | 3585 | -3585000 | -3.585 | 999976 | 999976 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6586 | 3295 | 3291 | -3291000 | -3.291 | 999275 | 999236 | 39 | -39000 | -0.039
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29689 | 29192 | 497 | -497000 | -0.497 | 999917 | 999917 | 0 | 0 | 0
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5077 | 5019 | 58 | 5800 | 0.0058 | 6685 | 6253 | 432 | 43200 | 0.0432
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 18445 | 18913 | -468 | -46800 | -0.0468 | 143180 | 143180 | 0 | 0 | 0
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 998286 | 999206 | -920 | -368000 | -0.368 | 553 | 395 | 158 | 63200 | 0.0632
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 999669 | 1000809 | -1140 | -456000 | -0.456 | 604 | 577 | 27 | 10800 | 0.0108
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 992544 | 993101 | -557 | -445600 | -0.4456 | 999901 | 999987 | -86 | -68800 | -0.0688
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 150108 | 140800 | 9308 | 930800 | 0.9308 | 259 | 259 | 0 | 0 | 0
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 750 | 764 | -14 | -1400 | -0.0014 | 160 | 160 | 0 | 0 | 0
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 5420 | 5080 | 340 | 25500 | 0.0255 | 12446 | 11805 | 641 | 48075 | 0.048075
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1918 | 1855 | 63 | 6300 | 0.0063 | 4410 | 4218 | 192 | 19200 | 0.0192
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 883 | 600 | 283 | 283000 | 0.283 | 2633 | 2633 | 0 | 0 | 0
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1215 | 631 | 584 | 584000 | 0.584 | 3593 | 3593 | 0 | 0 | 0
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998039 | 998104 | -65 | -65000 | -0.065 | 1234 | 1234 | 0 | 0 | 0
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1432 | 1127 | 305 | 305000 | 0.305 | 6126 | 6126 | 0 | 0 | 0
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998704 | 998968 | -264 | -26400 | -0.0264 | 42330 | 42330 | 0 | 0 | 0
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 162 | 386 | -224 | -224000 | -0.224 | 4896 | 4896 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -25.0197 |  |  |  |  | -0.4522
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 162722 | 159895 | 2827 | -282700 | -0.2827 | 912835 | 912835 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998694 | 999138 | -444 | 44400 | 0.0444 | 1144 | 1149 | -5 | 500 | 0.0005
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151757 | 151725 | 32 | -3200 | -0.0032 | 52252 | 52229 | 23 | -2300 | -0.0023
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996361 | 996363 | -2 | 200 | 0.0002 | 838 | 838 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6439 | 6439 | 0 | 0 | 0 | 74966 | 74966 | 0 | 0 | 0
[10 empty] | 0.096 |  |  |  |  | 0 | Assessment
|  | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999952 | 1000000 | -48 | 48000 | 0.048 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/12/2016
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15260 | 15107 | 153 | -153000 | -0.153 | 741 | 741 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906820 | 906781 | 39 | -19500 | -0.0195 | 61328 | 61329 | -1 | 500 | 0.0005
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
[10 empty] | 0.034 |  |  |  |  | 0 | Assessment
|  | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999935 | 1000000 | -65 | 32500 | 0.0325 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/12/2016
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79645 | 79611 | 34 | -3400 | -0.0034 | 70842 | 70842 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 91882 | 90935 | 947 | -94700 | -0.0947 | 71214 | 71213 | 1 | -100 | -0.0001
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 23637 | 23186 | 451 | -45100 | -0.0451 | 21868 | 21831 | 37 | -3700 | -0.0037
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999245 | -70 | -35000 | -0.035 | 16688 | 17069 | -381 | -190500 | -0.1905
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 380362 | 376176 | 4186 | -418600 | -0.4186 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4933 | 4930 | 3 | -300 | -0.0003 | 26855 | 26603 | 252 | -25200 | -0.0252
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998410 | 998352 | 58 | -24166.28 | -0.024166 | 266 | 257 | 9 | -3749.94 | -0.0037499
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9133 | 9135 | -2 | 200 | 0.0002 | 37461 | 37478 | -17 | 1700 | 0.0017
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12254 | 12253 | 1 | -100 | -0.0001 | 72884 | 72860 | 24 | -2400 | -0.0024
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 722 | 728 | -6 | 600 | 0.0006 | 12946 | 13063 | -117 | 11700 | 0.0117
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 13682 | 13682 | 0 | 0 | 0 | 11828 | 11828 | 0 | 0 | 0
|  | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | W.e.f 02/12/2016
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/11/16
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999580 | 999899 | -319 | 31900 | 0.0319 | 4500 | 4337 | 163 | -16300 | -0.0163
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 69 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999883 | 999919 | -36 | 14400 | 0.0144 | 8 | 9 | -1 | 400 | 0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.77757 |  |  |  |  | -0.22945
DECEMBER-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -25.0197 |  |  |  |  | -0.4522
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.77757 |  |  |  |  | -0.22945
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.50653 |  |  |  |  | -0.00275
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0147 |  |  |  |  | -0.1188
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -26.3184 |  |  |  |  | -0.8032
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -26.3184 | (REACTIVE MUs) |  |  |  | -0.8032 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.3456 | (REACTIVE MUs) |  |  |  | -3.6042 | (REACTIVE MUs)
[9 empty] | TOTAL | -23.9728 | (REACTIVE MUs) |  |  |  | -4.4074 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54595 | 54790 | -195 | -39000 | -0.039 | 85497 | 85481 | 16 | 3200 | 0.0032
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 71423 | 71835 | -412 | -41200 | -0.0412 | 139286 | 139301 | -15 | -1500 | -0.0015
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 974915 | 975801 | -886 | -177200 | -0.1772 | 996528 | 996535 | -7 | -1400 | -0.0014
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 5550 | 3120 | 2430 | 486000 | 0.486 | 885 | 800 | 85 | 17000 | 0.017
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 15920 | 15512 | 408 | 326400 | 0.3264 | 10514 | 10514 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14623 | 14429 | 194 | 388000 | 0.388 | 3801 | 3801 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 976166 | 976714 | -548 | -438400 | -0.4384 | 988211 | 988212 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 990842 | 993336 | -2494 | -1995200 | -1.9952 | 993855 | 993857 | -2 | -1600 | -0.0016
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 994668 | 995972 | -1304 | -1043200 | -1.0432 | 997713 | 997715 | -2 | -1600 | -0.0016
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 981996 | 982836 | -840 | -672000 | -0.672 | 994072 | 994073 | -1 | -800 | -0.0008
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3611 | 3677 | -66 | -6600 | -0.0066 | 405209 | 406294 | -1085 | -108500 | -0.1085
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 994363 | 994459 | -96 | -7200 | -0.0072 | 5074 | 6009 | -935 | -70125 | -0.070125
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 28391 | 28419 | -28 | -2800 | -0.0028 | 383313 | 383362 | -49 | -4900 | -0.0049 | Data till 27/12
|  | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 9537 | 9537 | 0 | 0 | 0 | 6352 | 6549 | -197 | -19700 | -0.0197 | Check Meter Data
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998860 | 998851 | 9 | 3375 | 0.003375 | 1000400 | 999988 | 412 | 154500 | 0.1545
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989657 | 989716 | -59 | -5900 | -0.0059 | 317825 | 318500 | -675 | -67500 | -0.0675
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 2926 | 2970 | -44 | -4400 | -0.0044 | 200044 | 200148 | -104 | -10400 | -0.0104 | Data till 27/12
|  | 4865117 | ELSTER | Kvarh(Lead/Lag) | 100 | 2532 | 2532 | 0 | 0 | 0 | 180787 | 180573 | 214 | 21400 | 0.0214 | Check Meter Data
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2760 | 2829 | -69 | -6900 | -0.0069 | 258361 | 257986 | 375 | 37500 | 0.0375
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 81161 | 81018 | 143 | 14300 | 0.0143 | 717669 | 715895 | 1774 | 177400 | 0.1774
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 102882 | 103929 | -1047 | -1151700 | -1.1517
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999210 | 999611 | -401 | -401000 | -0.401 | 44269 | 44269 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 143800 | 144872 | -1072 | -1179200 | -1.1792
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3295 | 3531 | -236 | -236000 | -0.236 | 58516 | 58516 | 0 | 0 | 0
[10 empty] | -0.637 |  |  |  |  | -2.3309
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6439 | 6439 | 0 | 0 | 0 | 74966 | 74966 | 0 | 0 | 0
[10 empty] | -0.096 |  |  |  |  | 0 | Assessment
|  | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999952 | 1000000 | -48 | -48000 | -0.048 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/12/2016
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15260 | 15107 | 153 | 153000 | 0.153 | 741 | 741 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906820 | 906781 | 39 | 19500 | 0.0195 | 61328 | 61329 | -1 | -500 | -0.0005
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
[10 empty] | -0.034 |  |  |  |  | 0 | Assessment
|  | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999935 | 1000000 | -65 | -32500 | -0.0325 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/12/2016
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999245 | -70 | 35000 | 0.035 | 16688 | 17069 | -381 | 190500 | 0.1905
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
DECEMBER-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944985 | 946295 | -1310 | 1310000 | 1.31 | 971331 | 971331 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996497 | 998988 | -2491 | 2491000 | 2.491 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/11/16
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999610 | 999905 | -295 | 590000 | 0.59 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/11/16
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975791 | 976436 | -645 | 645000 | 0.645 | 990447 | 990447 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 380362 | 376176 | 4186 | 418600 | 0.4186 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4933 | 4930 | 3 | 300 | 0.0003 | 26855 | 26603 | 252 | 25200 | 0.0252
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79645 | 79611 | 34 | 3400 | 0.0034 | 70842 | 70842 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 91882 | 90935 | 947 | 94700 | 0.0947 | 71214 | 71213 | 1 | 100 | 0.0001
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 23637 | 23186 | 451 | 45100 | 0.0451 | 21868 | 21831 | 37 | 3700 | 0.0037
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 162722 | 159895 | 2827 | 282700 | 0.2827 | 912835 | 912835 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 150108 | 140800 | 9308 | -930800 | -0.9308 | 259 | 259 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 750 | 764 | -14 | 1400 | 0.0014 | 160 | 160 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 5420 | 5080 | 340 | -25500 | -0.0255 | 12446 | 11805 | 641 | -48075 | -0.048075
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1918 | 1855 | 63 | -6300 | -0.0063 | 4410 | 4218 | 192 | -19200 | -0.0192
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.9871 |  |  |  |  | -2.057
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.9871 |  |  |  |  | -2.057
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.26882 |  |  |  |  | -0.41306
| TOTAL ENERGY TO NDMC | [8 empty] | 2.2559 |  |  |  |  | -2.4701

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 798 | 425 | 373 | 74600 | 0.0746 | 4660 | 4080 | 580 | 116000 | 0.116 | w.e.f 14/09/2016
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1508 | 1509 | -1 | -1000 | -0.001 | 38676 | 38676 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4094 | 4055 | 39 | 39000 | 0.039 | 47722 | 47609 | 113 | 113000 | 0.113
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999929 | 31 | 4133.323 | 0.0041333 | 39576 | 38451 | 1125 | 149999.625 | 0.15
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6446 | 6334 | 112 | 112000 | 0.112 | 11450 | 11446 | 4 | 4000 | 0.004
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12264 | 12313 | -49 | -24500 | -0.0245 | 61440 | 61559 | -119 | -59500 | -0.0595
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996361 | 996363 | -2 | -200 | -0.0002 | 838 | 838 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.20403 |  |  |  |  | 0.3235
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56141 | 56135 | 6 | 600 | 0.0006 | 88117 | 87852 | 265 | 26500 | 0.0265
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77807 | 77807 | 0 | 0 | 0 | 14916 | 14916 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61012 | 60871 | 141 | 14100 | 0.0141 | 100081 | 99158 | 923 | 92300 | 0.0923
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10223 | 10223 | 0 | 0 | 0 | 3214 | 3212 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0147 |  |  |  |  | 0.1188
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0147 |  |  |  |  | 0.1188
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.20403 |  |  |  |  | 0.3235
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.21873 |  |  |  |  | 0.4423
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.21873 | (REACTIVE MUs) |  |  |  | 0.4423 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.06121 | (REACTIVE MUs) |  |  |  | -0.094055 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.27994 | (REACTIVE MUs) |  |  |  | 0.34824 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 995956 | 1000433 | -4477 | -447700 | -0.4477 | 2179 | 2180 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 32601 | 29345 | 3256 | 325600 | 0.3256 | 2881 | 2881 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3621 | 3990 | -369 | -184500 | -0.1845 | 1397 | 1397 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 412 | 602 | -190 | -178125 | -0.17813 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/10/16
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999509 | 999931 | -422 | -105500 | -0.1055 | 990416 | 990553 | -137 | -34250 | -0.03425
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983490 | 983658 | -168 | 84000 | 0.084 | 976490 | 976554 | -64 | 32000 | 0.032
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 1000000 | -1 | -300 | -0.0003 | 999998 | 999998 | 0 | 0 | 0 | w.e.f 17/11/2016
[5 empty] | 200 |  |  |  |  | 0 |  |  |  |  | -0.0004 | Assessment
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.50653 |  |  |  |  | -0.00275
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 991140 | 992424 | -1284 | -256800 | -0.2568 | 999740 | 999740 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 918274 | 921860 | -3586 | -1344750 | -1.3447 | 997279 | 997279 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.6015 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 285474 | 284044 | 1430 | 286000 | 0.286 | 267817 | 267764 | 53 | 10600 | 0.0106
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 167849 | 159795 | 8054 | 805400 | 0.8054 | 998992 | 998992 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 62559 | 50479 | 12080 | 755000 | 0.755 | 986845 | 986845 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 101 | 180 | -79 | -63200 | -0.0632 | 355 | 347 | 8 | 6400 | 0.0064
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 993494 | 994882 | -1388 | -138800 | -0.1388 | 999595 | 999595 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998610 | 999065 | -455 | -68250 | -0.06825 | 994582 | 994456 | 126 | 18900 | 0.0189
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999185 | 999294 | -109 | 272500 | 0.2725 | 3071 | 3072 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 1000000 | -1 | 300 | 0.0003 | 999998 | 999998 | 0 | 0 | 0 | w.e.f 17/11/2016
[5 empty] | -200 |  |  |  |  | 0 |  |  |  |  | -0.0004 | Assesment
| TOTAL NDPL | [8 empty] | 1.849 |  |  |  |  | 0.0384
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.50653 |  |  |  |  | -0.00275
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.6015 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.849 |  |  |  |  | 0.0384

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 31912 | 29921 | 1991 | 3982000 | 3.982 | 1806 | 1806 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 4303 | 3541 | 762 | 3810000 | 3.81 | 157 | 157 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 7.792 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 7.792 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.4921 |  |  |  |  | -6.3706
[7 empty] | NDMC = |  |  | -0.637 |  |  |  |  | -2.3309
MES =
[7 empty] | 2)TOTAL |  |  | -2.1291 |  |  |  |  | -8.7015
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 5.6629 |  |  |  |  | -8.7015
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.1186 | % |  |  | 1.7622 |  |  |  |  | -2.7078
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.4205 | % |  |  | 2.3456 |  |  |  |  | -3.6042
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.633 | % |  |  | 1.2251 |  |  |  |  | -1.8824
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.747 | % |  |  | 0.26882 |  |  |  |  | -0.41306
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0809 | % |  |  | 0.06121 |  |  |  |  | -0.094055
Note :Sharing taken from wk-39 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1stDECEMBER-2016 TO 1st JANUARY-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -22.3547 |  | -3.4629
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -23.9728 |  | -4.4074
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -11.6276 |  | -5.7049
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.2559 |  | -2.4701
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.27994 | + | 0.34824
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2017 | INTIAL READING 01/12/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 2601 | 1229 | 1372 | 1029000 | 1.029 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991765 | 991546 | 219 | 328500 | 0.3285 | 991971 | 991971 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 880753 | 883179 | -2426 | -1819500 | -1.8195 | 998807 | 999008 | -201 | -150750 | -0.15075
[8 empty] | NET REACTIVE ENERGY |  | -0.462 |  |  | NET REACTIVE ENERGY |  | -0.15075
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999298 | 999428 | -130 | -650000 | -0.65 | 9289 | 9288 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 958057 | 958427 | -370 | -370000 | -0.37
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973070 | 973026 | 44 | 44000 | 0.044 | 993203 | 991875 | 1328 | 1328000 | 1.328
[8 empty] | NET REACTIVE ENERGY |  | -0.606 |  |  | NET REACTIVE ENERGY |  | 0.963