## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18772 | 18767 | 5 | -5000 | -0.005 | 979300 | 979266 | 34 | -34000 | -0.034
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16 | 16 | 0 | 0 | 0 | 659 | 592 | 67 | -67000 | -0.067
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20466 | 20466 | 0 | 0 | 0 | 997271 | 997537 | -266 | 266000 | 0.266
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975034 | 0 | 0 | 0 | 979251 | 980767 | -1516 | 1516000 | 1.516
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923243 | 923243 | 0 | 0 | 0 | 950299 | 951736 | -1437 | 1437000 | 1.437
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18245 | 18245 | 0 | 0 | 0 | 16576 | 16365 | 211 | -211000 | -0.211
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19270 | 19270 | 0 | 0 | 0 | 12719 | 12546 | 173 | -173000 | -0.173
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17075 | 17074 | 1 | -1000 | -0.001 | 996633 | 996642 | -9 | 9000 | 0.009
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11916 | 11916 | 0 | 0 | 0 | 986853 | 986865 | -12 | 12000 | 0.012
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35712 | 35709 | 3 | -3000 | -0.003 | 9897 | 9942 | -45 | 45000 | 0.045
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2805 | 2802 | 3 | -3000 | -0.003 | 4236 | 4268 | -32 | 32000 | 0.032
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998813 | 998802 | 11 | -11000 | -0.011 | 999502 | 999549 | -47 | 47000 | 0.047
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963719 | 964557 | -838 | -838000 | -0.838 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997444 | 997444 | 0 | 0 | 0 | 17381 | 17274 | 107 | -107000 | -0.107
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998381 | 998375 | 6 | -6000 | -0.006 | 19576 | 19491 | 85 | -85000 | -0.085
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1113 | 1113 | 0 | 0 | 0 | 21239 | 21286 | -47 | 47000 | 0.047
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 27875 | 28062 | -187 | -187000 | -0.187
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 192 | 192 | 0 | 0 | 0 | 26342 | 26411 | -69 | -69000 | -0.069
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1769 | 1769 | 0 | 0 | 0 | 119185 | 116677 | 2508 | 250800 | 0.2508
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 2906 | 0 | 0 | 0 | 167100 | 164367 | 2733 | 273300 | 0.2733
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996109 | 996109 | 0 | 0 | 0 | 997659 | 997622 | 37 | 37000 | 0.037
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 1348 | 952 | 396 | 396000 | 0.396
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655052 | 655052 | 0 | 0 | 0 | 801430 | 801464 | -34 | -34000 | -0.034
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662472 | 662472 | 0 | 0 | 0 | 833904 | 833938 | -34 | -34000 | -0.034
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990759 | 990568 | 191 | 191000 | 0.191 | 998457 | 998453 | 4 | 4000 | 0.004
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999105 | 998980 | 125 | 62500 | 0.0625 | 999814 | 999799 | 15 | 7500 | 0.0075
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6959 | 6773 | 186 | -186000 | -0.186 | 981910 | 981804 | 106 | -106000 | -0.106
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997872 | 997673 | 199 | -199000 | -0.199 | 948563 | 948695 | -132 | 132000 | 0.132
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992756 | 992757 | -1 | 1000 | 0.001 | 936865 | 938141 | -1276 | 1276000 | 1.276
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2233 | 1476 | 757 | -757000 | -0.757 | 19 | 19 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 757 | 720 | 37 | 37000 | 0.037 | 16115 | 15804 | 311 | 311000 | 0.311
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999071 | 999016 | 55 | 55000 | 0.055 | 2983 | 3054 | -71 | -71000 | -0.071
| NDPL(+) continue | [14 empty] | SEPTEMBER-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 678 | 678 | 0 | 0 | 0 | 54921 | 54789 | 132 | 132000 | 0.132
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9727 | 9214 | 513 | 51300 | 0.0513 | 57120 | 55699 | 1421 | 142100 | 0.1421
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7206 | 7203 | 3 | 300 | 0.0003 | 10909 | 10479 | 430 | 43000 | 0.043
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9253 | 9251 | 2 | 200 | 0.0002 | 30294 | 29973 | 321 | 32100 | 0.0321
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35157 | 35223 | -66 | -6600 | -0.0066
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 31450 | 31326 | 124 | 12400 | 0.0124 | 10348 | 10118 | 230 | 23000 | 0.023
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14674 | 14666 | 8 | 800 | 0.0008 | 10556 | 9924 | 632 | 63200 | 0.0632
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
B.G.ROAD
45 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3440 | 3440 | 0 | 0 | 0 | 28839 | 28398 | 441 | 220500 | 0.2205
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3187 | 3187 | 0 | 0 | 0 | 20138 | 19814 | 324 | 162000 | 0.162
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3232 | 3232 | 0 | 0 | 0 | 13624 | 13370 | 254 | 127000 | 0.127
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3182 | 0 | 0 | 0 | 15615 | 15289 | 326 | 163000 | 0.163
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999593 | 999413 | 180 | 18000 | 0.018 | 5690 | 5606 | 84 | 8400 | 0.0084
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2554 | 2502 | 52 | 5200 | 0.0052 | 13551 | 13449 | 102 | 10200 | 0.0102
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 6290 | 6093 | 197 | 19700 | 0.0197 | 48555 | 48324 | 231 | 23100 | 0.0231
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8216 | 8200 | 16 | 1600 | 0.0016 | 19094 | 19037 | 57 | 5700 | 0.0057
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999666 | 999695 | -29 | -2900 | -0.0029 | 240 | 243 | -3 | -300 | -0.0003
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 2027 | 1753 | 274 | 27400 | 0.0274 | 60911 | 60493 | 418 | 41800 | 0.0418
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 3554 | 3001 | 553 | 55300 | 0.0553 | 52285 | 52096 | 189 | 18900 | 0.0189
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 4237 | 3664 | 573 | 57300 | 0.0573 | 75237 | 74964 | 273 | 27300 | 0.0273
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 99414 | 95274 | 4140 | 414000 | 0.414 | 26720 | 26695 | 25 | 2500 | 0.0025
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 12421 | 11267 | 1154 | 115400 | 0.1154 | 33449 | 33325 | 124 | 12400 | 0.0124
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12608 | 12608 | 0 | 0 | 0
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.8865 |  |  |  |  | 6.1719
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 5034 | 4855 | 179 | -17900 | -0.0179 | 8471 | 8374 | 97 | -9700 | -0.0097
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5742 | 5742 | 0 | 0 | 0 | 4040 | 4039 | 1 | -1000 | -0.001
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3509 | 3509 | 0 | 0 | 0 | 1696 | 1901 | -205 | 41000 | 0.041
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12824 | 12824 | 0 | 0 | 0 | 23219 | 21211 | 2008 | -2008000 | -2.008
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 37843 | 38078 | -235 | 23500 | 0.0235 | 146880 | 146870 | 10 | -1000 | -0.001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980860 | 981659 | -799 | 799000 | 0.799 | 992721 | 992726 | -5 | 5000 | 0.005
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998279 | 998275 | 4 | -5000 | -0.005 | 588 | 428 | 160 | -200000 | -0.2
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.7996 |  |  |  |  | -2.1737
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.8865 |  |  |  |  | 6.1719
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.7996 |  |  |  |  | -2.1737
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.3653 |  |  |  |  | 0.78195
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.2784 |  |  |  |  | 4.7802
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2784 | (REACTIVE MUs) |  |  |  | 4.7802 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.25971 | (REACTIVE MUs) |  |  |  | 1.2853 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.53811 | (REACTIVE MUs) |  |  |  | 6.0655 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 991191 | 991615 | -424 | -42400 | -0.0424 | 77165 | 76796 | 369 | 36900 | 0.0369
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15378 | 14956 | 422 | 42200 | 0.0422 | 999315 | 999353 | -38 | -3800 | -0.0038
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22819 | 22601 | 218 | 21800 | 0.0218 | 30945 | 30628 | 317 | 31700 | 0.0317
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999122 | 998984 | 138 | 13800 | 0.0138 | 5100 | 4140 | 960 | 96000 | 0.096
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8151 | 8328 | -177 | -17700 | -0.0177 | 72777 | 72641 | 136 | 13600 | 0.0136
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1052 | 1722 | -670 | -67000 | -0.067 | 46495 | 46778 | -283 | -28300 | -0.0283
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999897 | 999921 | -24 | -24000 | -0.024 | 999713 | 999710 | 3 | 3000 | 0.003
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999899 | 999892 | 7 | 7000 | 0.007 | 2314 | 2279 | 35 | 35000 | 0.035
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 136 | 45 | 91 | 91000 | 0.091 | 1306 | 1272 | 34 | 34000 | 0.034
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11 | 70 | -59 | -59000 | -0.059 | 2432 | 2429 | 3 | 3000 | 0.003
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999872 | 999889 | -17 | -17000 | -0.017 | 2214 | 2213 | 1 | 1000 | 0.001
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 484 | 419 | 65 | 65000 | 0.065 | 1078 | 1088 | -10 | -10000 | -0.01
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 32 | 25 | 7 | 7000 | 0.007 | 13432 | 13390 | 42 | 42000 | 0.042
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 210 | 208 | 2 | 2000 | 0.002 | 34077 | 34065 | 12 | 12000 | 0.012
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 260 | 260 | 0 | 0 | 0 | 8838 | 8135 | 703 | 703000 | 0.703
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 220 | 216 | 4 | 4000 | 0.004 | 5325 | 5311 | 14 | 14000 | 0.014
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 29481 | 29381 | 100 | 10000 | 0.01 | 530 | 530 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998525 | 998756 | -231 | -231000 | -0.231 | 5526 | 5541 | -15 | -15000 | -0.015
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 842272 | 845460 | -3188 | -3506800 | -3.5068
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 883417 | 886351 | -2934 | -3227400 | -3.2274
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994854 | 995086 | -232 | -232000 | -0.232 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.377 |  |  |  |  | -5.9122
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966745 | 967068 | -323 | 323000 | 0.323 | 978080 | 978102 | -22 | 22000 | 0.022
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983757 | 984484 | -727 | 727000 | 0.727 | 984555 | 984602 | -47 | 47000 | 0.047
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 928 | 0 | 0 | 0 | 55567 | 55129 | 438 | 438000 | 0.438
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 867 | 767 | 100 | -100000 | -0.1 | 975695 | 976633 | -938 | 938000 | 0.938
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3291 | 3259 | 32 | -32000 | -0.032 | 981131 | 981958 | -827 | 827000 | 0.827
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996037 | 996303 | -266 | 266000 | 0.266 | 991340 | 991459 | -119 | 119000 | 0.119
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999008 | 998959 | 49 | -49000 | -0.049 | 996354 | 996329 | 25 | -25000 | -0.025
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3509 | 3509 | 0 | 0 | 0 | 1696 | 1901 | -205 | -41000 | -0.041
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12824 | 12824 | 0 | 0 | 0 | 23219 | 21211 | 2008 | 2008000 | 2.008
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 85954 | 86225 | -271 | -27100 | -0.0271 | 1642 | 1744 | -102 | -10200 | -0.0102
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 53124 | 53017 | 107 | 10700 | 0.0107 | 999576 | 999430 | 146 | 14600 | 0.0146
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.6923 |  |  |  |  | -1.4287
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.6923 |  |  |  |  | -1.4287
SEPTEMBER-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997811 | 997811 | 0 | 0 | 0 | 945654 | 947867 | -2213 | 2213000 | 2.213
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15675 | 15656 | 19 | -19000 | -0.019 | 964136 | 965732 | -1596 | 1596000 | 1.596
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14266 | 14265 | 1 | -1000 | -0.001 | 952527 | 954722 | -2195 | 2195000 | 2.195
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973439 | 977064 | -3625 | 3625000 | 3.625 | 993734 | 993764 | -30 | 30000 | 0.03
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964594 | 968354 | -3760 | 3760000 | 3.76 | 992023 | 992051 | -28 | 28000 | 0.028
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1500 | -204 | 204000 | 0.204 | 994859 | 994963 | -104 | 104000 | 0.104
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2042 | 1941 | 101 | -101000 | -0.101 | 984798 | 984641 | 157 | -157000 | -0.157
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 317 | 491 | -174 | 348000 | 0.348 | 990977 | 991202 | -225 | 450000 | 0.45
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13605 | 13630 | -25 | 25000 | 0.025 | 959348 | 961372 | -2024 | 2024000 | 2.024
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970402 | 970453 | -51 | 51000 | 0.051 | 908159 | 910908 | -2749 | 2749000 | 2.749
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21343 | 21320 | 23 | -23000 | -0.023 | 26807 | 26537 | 270 | -270000 | -0.27
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15390 | 15368 | 22 | -22000 | -0.022 | 35590 | 35155 | 435 | -435000 | -0.435
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.847 |  |  |  |  | 10.527
| (B) NET ENERGY TO EAST | [8 empty] | 7.847 |  |  |  |  | 10.527
6
SEPTEMBER-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990759 | 990568 | 191 | -191000 | -0.191 | 998457 | 998453 | 4 | -4000 | -0.004
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999105 | 998980 | 125 | -62500 | -0.0625 | 999814 | 999799 | 15 | -7500 | -0.0075
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 16569 | 14914 | 1655 | -165500 | -0.1655 | 62219 | 61705 | 514 | -51400 | -0.0514
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 20120 | 18632 | 1488 | -148800 | -0.1488 | 120911 | 120206 | 705 | -70500 | -0.0705
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 993955 | 994375 | -420 | 42000 | 0.042 | 4305 | 4373 | -68 | 6800 | 0.0068
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 26642 | 24287 | 2355 | -235500 | -0.2355 | 79912 | 79597 | 315 | -31500 | -0.0315
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58684 | 56133 | 2551 | -2551000 | -2.551 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 584 | 105 | 479 | -479000 | -0.479 | 1000037 | 999994 | 43 | -43000 | -0.043 | ROLL OVER
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 999671 | 999810 | -139 | 111200 | 0.1112 | 998967 | 999351 | -384 | 307200 | 0.3072
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999568 | 999589 | -21 | 21000 | 0.021 | 37169 | 36556 | 613 | -613000 | -0.613
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999388 | 999432 | -44 | 58666.52 | 0.058667 | 382 | 260 | 122 | -162666.26 | -0.16267
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 757 | 720 | 37 | -37000 | -0.037 | 16115 | 15804 | 311 | -311000 | -0.311
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999071 | 999016 | 55 | -55000 | -0.055 | 2983 | 3054 | -71 | 71000 | 0.071
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 678 | 678 | 0 | 0 | 0 | 54921 | 54789 | 132 | -132000 | -0.132
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3440 | 3440 | 0 | 0 | 0 | 28839 | 28398 | 441 | -220500 | -0.2205
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3187 | 3187 | 0 | 0 | 0 | 20138 | 19814 | 324 | -162000 | -0.162
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3232 | 3232 | 0 | 0 | 0 | 13624 | 13370 | 254 | -127000 | -0.127
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3182 | 0 | 0 | 0 | 15615 | 15289 | 326 | -163000 | -0.163
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 99414 | 95274 | 4140 | -414000 | -0.414 | 26720 | 26695 | 25 | -2500 | -0.0025
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 12421 | 11267 | 1154 | -115400 | -0.1154 | 33449 | 33325 | 124 | -12400 | -0.0124
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999593 | 999413 | 180 | -18000 | -0.018 | 5690 | 5606 | 84 | -8400 | -0.0084
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2554 | 2502 | 52 | -5200 | -0.0052 | 13551 | 13449 | 102 | -10200 | -0.0102
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 6290 | 6093 | 197 | -19700 | -0.0197 | 48555 | 48324 | 231 | -23100 | -0.0231
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8216 | 8200 | 16 | -1600 | -0.0016 | 19094 | 19037 | 57 | -5700 | -0.0057
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999666 | 999695 | -29 | 2900 | 0.0029 | 240 | 243 | -3 | 300 | 0.0003
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 2027 | 1753 | 274 | -27400 | -0.0274 | 60911 | 60493 | 418 | -41800 | -0.0418
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 3554 | 3001 | 553 | -55300 | -0.0553 | 52285 | 52096 | 189 | -18900 | -0.0189
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 4237 | 3664 | 573 | -57300 | -0.0573 | 75237 | 74964 | 273 | -27300 | -0.0273
[10 empty] | -4.4034 |  |  |  |  | -1.8641
SEPTEMBER-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.6923 |  |  |  |  | -1.4287
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -4.4034 |  |  |  |  | -1.8641
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3713 |  |  |  |  | -0.0554
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.0824 |  |  |  |  | -3.3482
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.847 |  |  |  |  | 10.527
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.7646 |  |  |  |  | 7.1788
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.7646 | (REACTIVE MUs) |  |  |  | 7.1788 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.22271 | (REACTIVE MUs) |  |  |  | 1.1022 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.9873 | (REACTIVE MUs) |  |  |  | 8.2811 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999130 | 999243 | -113 | -113000 | -0.113 | 11293 | 11430 | -137 | -137000 | -0.137
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 993180 | 992257 | 923 | 92300 | 0.0923 | 677690 | 677716 | -26 | -2600 | -0.0026
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5366 | 5369 | -3 | -3000 | -0.003 | 45613 | 45433 | 180 | 180000 | 0.18
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10312 | 10168 | 144 | 144000 | 0.144 | 479 | 507 | -28 | -28000 | -0.028
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 6959 | 6959 | 0 | 0 | 0 | 85686 | 85287 | 399 | 39900 | 0.0399
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 37077 | 33662 | 3415 | 341500 | 0.3415 | 268756 | 268750 | 6 | 600 | 0.0006
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 5877 | 5217 | 660 | 66000 | 0.066 | 342991 | 340887 | 2104 | 210400 | 0.2104
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999883 | 999874 | 9 | 9000 | 0.009 | 11891 | 11797 | 94 | 94000 | 0.094
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995340 | 995313 | 27 | -27000 | -0.027 | 963541 | 963794 | -253 | 253000 | 0.253
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994016 | 993978 | 38 | -38000 | -0.038 | 965944 | 966178 | -234 | 234000 | 0.234
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989454 | 989543 | -89 | 89000 | 0.089 | 949834 | 950293 | -459 | 459000 | 0.459
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000156 | 999944 | 212 | -212000 | -0.212 | 965863 | 966032 | -169 | 169000 | 0.169 | ROLL OVER
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 453 | 429 | 24 | -24000 | -0.024 | 994520 | 995027 | -507 | 507000 | 0.507
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 484 | 438 | 46 | -46000 | -0.046 | 996786 | 996884 | -98 | 98000 | 0.098
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38873 | 38820 | 53 | -53000 | -0.053 | 27685 | 28178 | -493 | 493000 | 0.493
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5074 | 4936 | 138 | -138000 | -0.138 | 12505 | 12648 | -143 | 143000 | 0.143
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24189 | 24106 | 83 | -83000 | -0.083 | 13818 | 14370 | -552 | 552000 | 0.552
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12869 | 12621 | 248 | -248000 | -0.248 | 43063 | 43002 | 61 | -61000 | -0.061
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5742 | 5742 | 0 | 0 | 0 | 4040 | 4039 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963796 | 966415 | -2619 | 2619000 | 2.619 | 906495 | 906584 | -89 | 89000 | 0.089
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993025 | 993427 | -402 | 402000 | 0.402 | 872288 | 874657 | -2369 | 2369000 | 2.369
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 306 | 306 | 0 | 0 | 0 | 1416 | 2352 | -936 | 936000 | 0.936
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 449 | 449 | 0 | 0 | 0 | 989571 | 992263 | -2692 | 2692000 | 2.692
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998702 | 998583 | 119 | -119000 | -0.119 | 958047 | 958109 | -62 | 62000 | 0.062
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 937709 | 941096 | -3387 | 3387000 | 3.387
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 926328 | 930769 | -4441 | 4441000 | 4.441
BRPL(+) continue | [14 empty] | SEPTEMBER-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998877 | 998873 | 4 | -4000 | -0.004 | 978163 | 978867 | -704 | 704000 | 0.704
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77 | 76 | 1 | -1000 | -0.001 | 995640 | 996351 | -711 | 711000 | 0.711
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989964 | 989964 | 0 | 0 | 0 | 972788 | 974294 | -1506 | 3012000 | 3.012
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998545 | 998544 | 1 | -1000 | -0.001 | 936813 | 940066 | -3253 | 3253000 | 3.253
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1592 | 1592 | 0 | 0 | 0 | 950418 | 950517 | -99 | 99000 | 0.099
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998746 | 998746 | 0 | 0 | 0 | 943073 | 946319 | -3246 | 3246000 | 3.246
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991610 | 991610 | 0 | 0 | 0 | 976550 | 976550 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 187 | 187 | 0 | 0 | 0 | 1023 | 1017 | 6 | -12000 | -0.012
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996903 | 996903 | 0 | 0 | 0 | 304 | 298 | 6 | -12000 | -0.012
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995039 | 996973 | -1934 | 1934000 | 1.934 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995131 | 997005 | -1874 | 1874000 | 1.874 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 42 | 229 | -187 | -149600 | -0.1496 | 113 | 33 | 80 | 64000 | 0.064
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 999878 | 999979 | -101 | -80800 | -0.0808 | 55 | 20 | 35 | 28000 | 0.028
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 999416 | 999879 | -463 | -370400 | -0.3704 | 999961 | 999988 | -27 | -21600 | -0.0216
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999568 | 999589 | -21 | -21000 | -0.021 | 37169 | 36556 | 613 | 613000 | 0.613
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999388 | 999432 | -44 | -58666.52 | -0.058667 | 382 | 260 | 122 | 162666.26 | 0.16267
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2628 | 2672 | -44 | 44000 | 0.044 | 983206 | 982747 | 459 | -459000 | -0.459
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999288 | 999303 | -15 | 15000 | 0.015 | 990977 | 990424 | 553 | -553000 | -0.553
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 5034 | 4855 | 179 | 17900 | 0.0179 | 8471 | 8374 | 97 | 9700 | 0.0097
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 37843 | 38078 | -235 | -23500 | -0.0235 | 146880 | 146870 | 10 | 1000 | 0.001
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980860 | 981659 | -799 | -799000 | -0.799 | 992721 | 992726 | -5 | -5000 | -0.005
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999591 | 999582 | 9 | 900 | 0.0009 | 5069 | 4578 | 491 | 49100 | 0.0491
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3148 | 3131 | 17 | 1700 | 0.0017 | 11646 | 10344 | 1302 | 130200 | 0.1302
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998279 | 998275 | 4 | 5000 | 0.005 | 588 | 428 | 160 | 200000 | 0.2
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.0423 |  |  |  |  | 28.4014
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 984701 | 975993 | 8708 | -870800 | -0.8708 | 857824 | 857768 | 56 | -5600 | -0.0056 | Recording mode changed from received to delievered
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 85954 | 86225 | -271 | 27100 | 0.0271 | 1642 | 1744 | -102 | 10200 | 0.0102
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 53124 | 53017 | 107 | -10700 | -0.0107 | 999576 | 999430 | 146 | -14600 | -0.0146
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 402 | 351 | 51 | -5100 | -0.0051 | 999959 | 999997 | -38 | 3800 | 0.0038
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 547 | 566 | -19 | 1900 | 0.0019 | 999987 | 1000003 | -16 | 1600 | 0.0016 | ROLL OVER
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 764766 | 761016 | 3750 | -375000 | -0.375 | 48258 | 44130 | 4128 | -412800 | -0.4128
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3239 | 3057 | 182 | -182000 | -0.182 | 2088 | 1913 | 175 | -175000 | -0.175
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 798351 | 794896 | 3455 | -345500 | -0.3455 | 43296 | 39225 | 4071 | -407100 | -0.4071
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 18426 | 17959 | 467 | -46700 | -0.0467 | 51163 | 50938 | 225 | -22500 | -0.0225
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 15318 | 15130 | 188 | -18800 | -0.0188 | 52296 | 51780 | 516 | -51600 | -0.0516
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 48278 | 43998 | 4280 | -856000 | -0.856 | 103485 | 103460 | 25 | -5000 | -0.005
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 19299 | 18844 | 455 | -45500 | -0.0455 | 12199 | 11169 | 1030 | -103000 | -0.103
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 20674 | 18158 | 2516 | -251600 | -0.2516 | 620760 | 619405 | 1355 | -135500 | -0.1355
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 86162 | 86052 | 110 | -11000 | -0.011 | 221515 | 212851 | 8664 | -866400 | -0.8664
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 161722 | 160565 | 1157 | 115700 | 0.1157 | 35715 | 34230 | 1485 | 148500 | 0.1485
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 894 | 898 | -4 | 400 | 0.0004 | 12551 | 12348 | 203 | -20300 | -0.0203
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9727 | 9214 | 513 | -51300 | -0.0513 | 57120 | 55699 | 1421 | -142100 | -0.1421
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7206 | 7203 | 3 | -300 | -0.0003 | 10909 | 10479 | 430 | -43000 | -0.043
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9253 | 9251 | 2 | -200 | -0.0002 | 30294 | 29973 | 321 | -32100 | -0.0321
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35157 | 35223 | -66 | 6600 | 0.0066
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 31450 | 31326 | 124 | -12400 | -0.0124 | 10348 | 10118 | 230 | -23000 | -0.023
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14674 | 14666 | 8 | -800 | -0.0008 | 10556 | 9924 | 632 | -63200 | -0.0632
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12608 | 12608 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.9386 |  |  |  |  | -2.3521
SEPTEMBER-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 5.0423 |  |  |  |  | 28.4014
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.9386 |  |  |  |  | -2.3521
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.0349 |  |  |  |  | 1.7257
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1088 |  |  |  |  | -0.54175
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.96 |  |  |  |  | 27.2332
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.96 | (REACTIVE MUs) |  |  |  | 27.2332 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.38893 | (REACTIVE MUs) |  |  |  | 1.9249 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.349 | (REACTIVE MUs) |  |  |  | 29.1581 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 16569 | 14914 | 1655 | 165500 | 0.1655 | 62219 | 61705 | 514 | 51400 | 0.0514
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 20120 | 18632 | 1488 | 148800 | 0.1488 | 120911 | 120206 | 705 | 70500 | 0.0705
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 993955 | 994375 | -420 | -42000 | -0.042 | 4305 | 4373 | -68 | -6800 | -0.0068
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 26642 | 24287 | 2355 | 235500 | 0.2355 | 79912 | 79597 | 315 | 31500 | 0.0315
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 58684 | 56133 | 2551 | 2551000 | 2.551 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 584 | 105 | 479 | 479000 | 0.479 | 1000037 | 999994 | 43 | 43000 | 0.043 | ROLL OVER
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 999671 | 999810 | -139 | -111200 | -0.1112 | 998967 | 999351 | -384 | -307200 | -0.3072
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997969 | 997884 | 85 | 8500 | 0.0085 | 279277 | 277798 | 1479 | 147900 | 0.1479
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 5801 | 5556 | 245 | 24500 | 0.0245 | 416523 | 415404 | 1119 | 111900 | 0.1119
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 10438 | 10158 | 280 | 28000 | 0.028 | 195979 | 190938 | 5041 | 504100 | 0.5041
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5246 | 5242 | 4 | 400 | 0.0004 | 299764 | 299757 | 7 | 700 | 0.0007
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998889 | 998906 | -17 | -1700 | -0.0017 | 225008 | 221009 | 3999 | 399900 | 0.3999
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999132 | 999074 | 58 | 5800 | 0.0058 | 125730 | 125379 | 351 | 35100 | 0.0351
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 10268 | 9808 | 460 | 46000 | 0.046 | 182740 | 181926 | 814 | 81400 | 0.0814
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 9801 | 9404 | 397 | 39700 | 0.0397 | 223544 | 223071 | 473 | 47300 | 0.0473
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58429 | 58358 | 71 | 78100 | 0.0781
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4860 | 4880 | -20 | -20000 | -0.02 | 36417 | 36370 | 47 | 47000 | 0.047
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 128532 | 127398 | 1134 | 1247400 | 1.2474
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8267 | 8326 | -59 | -59000 | -0.059 | 48268 | 48255 | 13 | 13000 | 0.013
[10 empty] | -0.079 |  |  |  |  | 1.3855
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 764766 | 761016 | 3750 | 375000 | 0.375 | 48258 | 44130 | 4128 | 412800 | 0.4128
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3239 | 3057 | 182 | 182000 | 0.182 | 2088 | 1913 | 175 | 175000 | 0.175
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 798351 | 794896 | 3455 | 345500 | 0.3455 | 43296 | 39225 | 4071 | 407100 | 0.4071
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 19299 | 18844 | 455 | 45500 | 0.0455 | 12199 | 11169 | 1030 | 103000 | 0.103
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 20674 | 18158 | 2516 | 251600 | 0.2516 | 620760 | 619405 | 1355 | 135500 | 0.1355
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 86162 | 86052 | 110 | 11000 | 0.011 | 221515 | 212851 | 8664 | 866400 | 0.8664
SEPTEMBER-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 161722 | 160565 | 1157 | -115700 | -0.1157 | 35715 | 34230 | 1485 | -148500 | -0.1485
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 894 | 898 | -4 | -400 | -0.0004 | 12551 | 12348 | 203 | 20300 | 0.0203
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 18426 | 17959 | 467 | 46700 | 0.0467 | 51163 | 50938 | 225 | 22500 | 0.0225
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 15318 | 15130 | 188 | 18800 | 0.0188 | 52296 | 51780 | 516 | 51600 | 0.0516
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 48278 | 43998 | 4280 | 856000 | 0.856 | 103485 | 103460 | 25 | 5000 | 0.005
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 984701 | 975993 | 8708 | 870800 | 0.8708 | 857824 | 857768 | 56 | 5600 | 0.0056 | Recording mode changed from received to delievered
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999591 | 999582 | 9 | -900 | -0.0009 | 5069 | 4578 | 491 | -49100 | -0.0491
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3148 | 3131 | 17 | -1700 | -0.0017 | 11646 | 10344 | 1302 | -130200 | -0.1302
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.383 |  |  |  |  | 4.4732
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.383 |  |  |  |  | 4.4732
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.052363 |  |  |  |  | 0.25916
| TOTAL ENERGY TO NDMC | [8 empty] | 6.4354 |  |  |  |  | 4.7324

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 549 | 0 | 0 | 0 | 13880 | 13554 | 326 | 326000 | 0.326
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 382 | 0 | 0 | 0 | 18277 | 18173 | 104 | 104000 | 0.104
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 669 | 0 | 0 | 0 | 25749 | 25487 | 262 | 262000 | 0.262
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13438 | 13436 | 2 | 2000 | 0.002
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1297 | 1295 | 2 | 2000 | 0.002 | 6687 | 6648 | 39 | 39000 | 0.039
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 402 | 351 | 51 | 5100 | 0.0051 | 999959 | 999997 | -38 | -3800 | -0.0038
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 547 | 566 | -19 | -1900 | -0.0019 | 999987 | 1000003 | -16 | -1600 | -0.0016 | ROLL OVER
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0052 |  |  |  |  | 0.7276
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3272 | 15 | 1500 | 0.0015 | 32952 | 32916 | 36 | 3600 | 0.0036
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 25388 | 24786 | 602 | 60200 | 0.0602 | 58970 | 57863 | 1107 | 110700 | 0.1107
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 64074 | 64017 | 57 | 5700 | 0.0057 | 6567 | 6383 | 184 | 18400 | 0.0184
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 16183 | 15865 | 318 | 31800 | 0.0318 | 44872 | 43763 | 1109 | 110900 | 0.1109
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999795 | 999790 | 5 | 500 | 0.0005 | 16250 | 15640 | 610 | 61000 | 0.061
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69905 | 69843 | 62 | 6200 | 0.0062 | 38010 | 36002 | 2008 | 200800 | 0.2008
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 837 | 837 | 0 | 0 | 0 | 3438 | 3076 | 362 | 36200 | 0.0362
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1059 |  |  |  |  | 0.5416
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7458 | 7516 | -58 | -2900 | -0.0029 | 18950 | 18953 | -3 | -150 | -0.00015
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.0029 |  |  |  |  | -0.00015
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1088 |  |  |  |  | 0.54175
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0052 |  |  |  |  | 0.7276
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.114 |  |  |  |  | 1.2693
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.114 | (REACTIVE MUs) |  |  |  | 1.2693 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0072944 | (REACTIVE MUs) |  |  |  | 0.036101 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.12129 | (REACTIVE MUs) |  |  |  | 1.3055 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 54952 | 56564 | -1612 | -161200 | -0.1612 | 77475 | 77572 | -97 | -9700 | -0.0097
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 11803 | 12886 | -1083 | -108300 | -0.1083 | 999370 | 999460 | -90 | -9000 | -0.009
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 161236 | 159810 | 1426 | 142600 | 0.1426 | 91770 | 90488 | 1282 | 128200 | 0.1282
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13574 | 13482 | 92 | 92000 | 0.092 | 17696 | 17375 | 321 | 321000 | 0.321
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993839 | 993839 | 0 | 0 | 0 | 946954 | 949168 | -2214 | 1107000 | 1.107
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994432 | 0 | 0 | 0 | 988513 | 988893 | -380 | 190000 | 0.19
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999890 | 999896 | -6 | -1800 | -0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.0349 |  |  |  |  | 1.7257
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 955196 | 955580 | -384 | -76800 | -0.0768 | 991821 | 991681 | 140 | 28000 | 0.028
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 910816 | 913761 | -2945 | -294500 | -0.2945 | 928784 | 929618 | -834 | -83400 | -0.0834
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3713 |  |  |  |  | -0.0554
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 160063 | 159924 | 139 | 27800 | 0.0278 | 257884 | 256592 | 1292 | 258400 | 0.2584
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 44411 | 43771 | 640 | 128000 | 0.128 | 40238 | 40213 | 25 | 5000 | 0.005
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 55528 | 54242 | 1286 | 128600 | 0.1286 | 70034 | 69979 | 55 | 5500 | 0.0055
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986770 | 986698 | 72 | 72000 | 0.072 | 997768 | 997698 | 70 | 70000 | 0.07
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 983193 | 983384 | -191 | -19100 | -0.0191 | 7447 | 7557 | -110 | -11000 | -0.011
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 138 | 138 | 0 | 0 | 0 | 2239 | 1771 | 468 | 438750 | 0.43875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993428 | 993484 | -56 | 28000 | 0.028 | 995748 | 995775 | -27 | 13500 | 0.0135
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999890 | 999896 | -6 | 1800 | 0.0018
| TOTAL NDPL | [8 empty] | 0.3653 |  |  |  |  | 0.78195
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.0349 |  |  |  |  | 1.7257
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3713 |  |  |  |  | -0.0554
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.3653 |  |  |  |  | 0.78195

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7435 | 7099 | 336 | 672000 | 0.672 | 1000001 | 999982 | 19 | 38000 | 0.038 | ROLL OVER
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5748 | 5773 | -25 | -50000 | -0.05 | 999697 | 999709 | -12 | -24000 | -0.024
[7 empty] | NET REACTIVE ENERGY |  |  | 0.622 |  | NET REACTIVE ENERGY |  |  | 0.014
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999647 | 999647 | 0 | 0 | 0 | 43618 | 43618 | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 989011 | 990108 | -1097 | -1097000 | -1.097 | 991852 | 991947 | -95 | -95000 | -0.095
[7 empty] | NET REACTIVE ENERGY |  |  | -1.097 |  | NET REACTIVE ENERGY |  |  | -0.095
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.475 |  |  |  |  | -0.081
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.377 |  |  |  |  | -5.9122
[7 empty] | NDMC = |  |  | -0.079 |  |  |  |  | 1.3855
MES =
[7 empty] | 2)TOTAL |  |  | -0.456 |  |  |  |  | -4.5267
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.931 |  |  |  |  | -4.6077
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.8953 | % |  |  | -0.25971 |  |  |  |  | -1.2853
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.7751 | % |  |  | -0.38893 |  |  |  |  | -1.9249
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.9216 | % |  |  | -0.22271 |  |  |  |  | -1.1022
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.6244 | % |  |  | -0.052363 |  |  |  |  | -0.25916
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7835 | % |  |  | -0.0072944 |  |  |  |  | -0.036101
Note :Sharing taken from wk-24 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2011 TO 30th SEPTEMBER-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.53811 | + | 6.0655
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.349 | + | 29.1581
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.9873 | + | 8.2811
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.4354 | + | 4.7324
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.12129 | + | 1.3055
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/11 | INTIAL READING 01/09/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 985949 | 987431 | -1482 | -2223000 | -2.223 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 980497 | 982001 | -1504 | -2256000 | -2.256 | 986915 | 986950 | -35 | -52500 | -0.0525
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 940963 | 944024 | -3061 | -4591500 | -4.5915 | 970201 | 970209 | -8 | -12000 | -0.012
[8 empty] | NET REACTIVE ENERGY |  | -9.0705 |  |  | NET REACTIVE ENERGY |  | -0.0645
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997010 | 996969 | 41 | 205000 | 0.205 | 37307 | 37495 | -188 | -940000 | -0.94 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999417 | 999467 | -50 | -50000 | -0.05 | 8452 | 8471 | -19 | -19000 | -0.019 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 975555 | 976747 | -1192 | -1192000 | -1.192 | 991350 | 991463 | -113 | -113000 | -0.113
[8 empty] | NET REACTIVE ENERGY |  | -1.037 |  |  | NET REACTIVE ENERGY |  | -1.072