## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987445 | 989619 | -2174 | 2174000 | 2.174 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19040 | 18817 | 223 | -223000 | -0.223 | 999516 | 999465 | 51 | -51000 | -0.051
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952753 | 954788 | -2035 | 2035000 | 2.035 | 995658 | 995658 | 0 | 0 | 0
[10 empty] | -1.095 |  |  |  |  | -0.043 | Assessment
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999973 | 1000000 | -27 | 54000 | 0.054 | 997581 | 998358 | -777 | 1554000 | 1.554
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993231 | 994475 | -1244 | 1244000 | 1.244 | 999574 | 999581 | -7 | 7000 | 0.007
[5 empty] | -100 | 997493 | 997590 | -97 | 9700 | 0.0097
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24614 | 24618 | -4 | 4000 | 0.004 | 16862 | 16904 | -42 | 42000 | 0.042
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 533 | 550 | -17 | 17000 | 0.017 | 998919 | 998963 | -44 | 44000 | 0.044
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999292 | 999374 | -82 | 82000 | 0.082 | 998168 | 998232 | -64 | 64000 | 0.064
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 999583 | 999999 | -416 | 208000 | 0.208 | 818013 | 818048 | -35 | 17500 | 0.0175
[5 empty] | -500 | [5 empty] | 999909 | 1000000 | -91 | 45500 | 0.0455
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999596 | 999693 | -97 | 97000 | 0.097 | 999346 | 999358 | -12 | 12000 | 0.012
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 315 | 146 | 169 | -169000 | -0.169 | 999454 | 999477 | -23 | 23000 | 0.023
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998873 | 998996 | -123 | 123000 | 0.123 | 998299 | 998303 | -4 | 4000 | 0.004
[10 empty] | -0.064 |  |  |  |  | -0.304 | Assessment
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 906024 | 910162 | -4138 | -4138000 | -4.138 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981559 | 982294 | -735 | 735000 | 0.735 | 16732 | 16732 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8895 | 9196 | -301 | 301000 | 0.301 | 20502 | 20502 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18321 | 18125 | 196 | -196000 | -0.196 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 996658 | 997620 | -962 | -962000 | -0.962
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 786 | 791 | -5 | -5000 | -0.005 | 24830 | 25082 | -252 | -252000 | -0.252
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 667 | 665 | 2 | 1000 | 0.001 | 4347 | 3628 | 719 | 359500 | 0.3595
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 128657 | 128259 | 398 | 39800 | 0.0398 | 290075 | 287177 | 2898 | 289800 | 0.2898
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996195 | 996190 | 5 | 5000 | 0.005 | 986409 | 986888 | -479 | -479000 | -0.479
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11 | 6 | 5 | 5000 | 0.005 | 997946 | 998023 | -77 | -77000 | -0.077
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 103088 | 98728 | 4360 | 436000 | 0.436 | 33182 | 31618 | 1564 | 156400 | 0.1564
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625203 | 625378 | -175 | -175000 | -0.175 | 795906 | 795920 | -14 | -14000 | -0.014
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 609353 | 609911 | -558 | -558000 | -0.558 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 657 | 566 | 91 | 36400 | 0.0364 | 998532 | 998533 | -1 | -400 | -0.0004
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5982 | 5979 | 3 | 1500 | 0.0015 | 1698 | 1697 | 1 | 500 | 0.0005
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30 | 195 | -165 | 165000 | 0.165 | 997547 | 997793 | -246 | 246000 | 0.246
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 999915 | 1000000 | -85 | 42500 | 0.0425 | 999736 | 1000000 | -264 | 132000 | 0.132
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11841 | 11464 | 377 | -377000 | -0.377 | 999653 | 999811 | -158 | 158000 | 0.158
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5990 | 3344 | 2646 | -5292000 | -5.292 | 101 | 102 | -1 | 2000 | 0.002
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24104 | 23881 | 223 | -223000 | -0.223 | 998932 | 998951 | -19 | 19000 | 0.019
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48968 | 48091 | 877 | -877000 | -0.877 | 2425 | 2432 | -7 | 7000 | 0.007
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12448 | 12335 | 113 | -113000 | -0.113 | 999334 | 999339 | -5 | 5000 | 0.005
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5257 | 5185 | 72 | -72000 | -0.072 | 780 | 720 | 60 | -60000 | -0.06
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991718 | 992486 | -768 | 768000 | 0.768 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14473 | 15171 | -698 | 698000 | 0.698 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1984 | 1977 | 7 | 7000 | 0.007 | 28189 | 28025 | 164 | 164000 | 0.164
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 999612 | 999503 | 109 | 10900 | 0.0109 | 26103 | 26788 | -685 | -68500 | -0.0685
| NDPL(+) continue | [14 empty] | SEPTEMBER -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 996848 | 997337 | -489 | -203746.74 | -0.20375 | 999025 | 998992 | 33 | 13749.78 | 0.01375
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9124 | 9125 | -1 | -100 | -0.0001 | 37616 | 37615 | 1 | 100 | 0.0001
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12191 | 12192 | -1 | -100 | -0.0001 | 77600 | 77030 | 570 | 57000 | 0.057
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 964 | 891 | 73 | 7300 | 0.0073 | 17833 | 17370 | 463 | 46300 | 0.0463
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 164 | 148 | 16 | 21328 | 0.021328 | 217 | 190 | 27 | 35991 | 0.035991
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999095 | 999092 | 3 | 300 | 0.0003 | 15836 | 13810 | 2026 | 202600 | 0.2026
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 282 | 100 | 182 | 30332.12 | 0.030332 | 1855 | 1817 | 38 | 6333.08 | 0.0063331
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999933 | 999935 | -2 | -1000 | -0.001 | 552 | 552 | 0 | 0 | 0
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 555 | 431 | 124 | 82667.08 | 0.082667 | 124 | 123 | 1 | 666.67 | 0.00066667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 3592 | 3482 | 110 | 73333.3333 | 0.073333 | 1430 | 1429 | 1 | 666.6667 | 0.00066667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997521 | 997518 | 3 | 300 | 0.0003 | 2572 | 2255 | 317 | 31700 | 0.0317
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.00206 |  |  |  |  | -0.00051 | Assessment
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1868 | 1742 | 126 | 12600 | 0.0126 | 8947 | 8217 | 730 | 73000 | 0.073
64 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 725 | 168 | 557 | 55700 | 0.0557 | 143 | 35 | 108 | 10800 | 0.0108
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 14410 | 13707 | 703 | 70300 | 0.0703 | 5337 | 5146 | 191 | 19100 | 0.0191
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 4753 | 4238 | 515 | 51500 | 0.0515 | 1781 | 1732 | 49 | 4900 | 0.0049
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25238 | 25126 | 112 | 11200 | 0.0112 | 51316 | 51314 | 2 | 200 | 0.0002
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999888 | 999888 | 0 | 0 | 0 | 999972 | 999975 | -3 | -1200 | -0.0012
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 358 | 71 | 287 | -287000 | -0.287 | 999998 | 999998 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 976 | 1095 | -119 | -238000 | -0.238 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999482 | 999864 | -382 | -95500 | -0.0955 | 128 | 132 | -4 | -1000 | -0.001
[10 empty] | -0.00125 |  |  |  |  | 0.03275 | Assessment July
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -4.6891 |  |  |  |  | 1.5744
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 9239 | 9038 | 201 | -20100 | -0.0201 | 40727 | 37983 | 2744 | -274400 | -0.2744
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -1250 | 5 | 8 | -3 | 3750 | 0.00375 | 1516 | 1384 | 132 | -165000 | -0.165
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999975 | 999921 | 54 | -54000 | -0.054 | 390 | 364 | 26 | -26000 | -0.026
4 | O/G BG Rd.2 | 4864815 | ELSTER | Kvarh(Lead/Lag) | -200 | 533 | 285 | 248 | -49600 | -0.0496 | 2707 | 2701 | 6 | -1200 | -0.0012 | Check Meter
|  | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 152 | 0 | 152 | -60800 | -0.0608 | 9 | 0 | 9 | -3600 | -0.0036 | w.e.f 11/09/17
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 969044 | 969366 | -322 | 16100 | 0.0161 | 1519 | 1560 | -41 | 2050 | 0.00205 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | -2 | 2000 | 0.002
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 986523 | 987105 | -582 | 465600 | 0.4656 | 999017 | 999041 | -24 | 19200 | 0.0192
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.30095 |  |  |  |  | -0.44695
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -4.6891 |  |  |  |  | 1.5744
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.30095 |  |  |  |  | -0.44695
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.81865 |  |  |  |  | -0.019787
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -3.5695 |  |  |  |  | 1.1077
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.5695 | (REACTIVE MUs) |  |  |  | 1.1077 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.65182 | (REACTIVE MUs) |  |  |  | -0.68736 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.9177 | (REACTIVE MUs) |  |  |  | 0.42035 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13255 | 13426 | -171 | -17100 | -0.0171 | 997697 | 998091 | -394 | -39400 | -0.0394
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8404 | 8310 | 94 | 28200 | 0.0282 | 6053 | 4920 | 1133 | 339900 | 0.3399
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 26963 | 26289 | 674 | 50550 | 0.05055 | 176877 | 165061 | 11816 | 886200 | 0.8862
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999241 | 999274 | -33 | -9900 | -0.0099 | 6009 | 6055 | -46 | -13800 | -0.0138
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1796 | 1798 | -2 | -2666.6 | -0.0026666 | 3043 | 2999 | 44 | 58665.2 | 0.058665
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33946 | 33731 | 215 | 21500 | 0.0215 | 158904 | 158815 | 89 | 8900 | 0.0089
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 11320 | 8484 | 2836 | 212700 | 0.2127 | 39303 | 35330 | 3973 | 297975 | 0.29797
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988338 | 988283 | 55 | 55000 | 0.055 | 2251 | 2260 | -9 | -9000 | -0.009
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996868 | 996868 | 0 | 0 | 0 | 3884 | 3805 | 79 | 79000 | 0.079
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999029 | 999022 | 7 | 7000 | 0.007 | 1475 | 1472 | 3 | 3000 | 0.003
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995027 | 995005 | 22 | 22000 | 0.022 | 1455 | 1444 | 11 | 11000 | 0.011
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993472 | 993530 | -58 | -58000 | -0.058 | 5772 | 5700 | 72 | 72000 | 0.072
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997224 | 997311 | -87 | -87000 | -0.087 | 998737 | 998751 | -14 | -14000 | -0.014
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999374 | 999399 | -25 | -25000 | -0.025 | 999864 | 999851 | 13 | 13000 | 0.013
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999135 | 999105 | 30 | 24000 | 0.024 | 2414 | 2339 | 75 | 60000 | 0.06
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999557 | 999475 | 82 | 82000 | 0.082 | 32968 | 32889 | 79 | 79000 | 0.079
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1609 | 1513 | 96 | 96000 | 0.096 | 9723 | 9669 | 54 | 54000 | 0.054
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2252 | 1971 | 281 | 281000 | 0.281 | 17062 | 17008 | 54 | 54000 | 0.054
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 994584 | 995522 | -938 | -1172500 | -1.1725 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 980438 | 982933 | -2495 | -2744500 | -2.7445
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972324 | 973016 | -692 | -692000 | -0.692 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.4675 |  |  |  |  | -2.3425
22 | 100 MVA TX.-1 | 5295143 | ELSTER | Kvarh(Lead/Lag) | -1000 | 614 | 46 | 568 | -568000 | -0.568 | 1000000 | 999999 | 1 | -1000 | -0.001
|  | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 26/9/17
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999897 | 999999 | -102 | 102000 | 0.102 | 999973 | 1000000 | -27 | 27000 | 0.027
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999987 | 999994 | -7 | -7000 | -0.007 | 6644 | 6479 | 165 | 165000 | 0.165
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 22767 | 20703 | 2064 | -1032000 | -1.032 | 654 | 310 | 344 | -172000 | -0.172
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11649 | 11354 | 295 | -295000 | -0.295 | 145 | 174 | -29 | 29000 | 0.029
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992649 | 992784 | -135 | 135000 | 0.135 | 991904 | 992043 | -139 | 139000 | 0.139
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997381 | 997426 | -45 | 45000 | 0.045 | 998835 | 998893 | -58 | 58000 | 0.058
HARSH VIHAR
30 | TX.-1 (66KV) | 5295172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6328 | 6714 | -386 | 386000 | 0.386 | 979964 | 979964 | 0 | 0 | 0 | Check Meter
|  | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999705 | 1000000 | -295 | 295000 | 0.295 | 999939 | 1000000 | -61 | 61000 | 0.061 | w.e.f 15/09/17
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 253 | 676 | -423 | 423000 | 0.423 | 186 | 186 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996149 | 996878 | -729 | 729000 | 0.729 | 999659 | 999659 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999975 | 999921 | 54 | 54000 | 0.054 | 390 | 364 | 26 | 26000 | 0.026
34 | O/G BG Rd.2 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 533 | 285 | 248 | 49600 | 0.0496 | 2707 | 2701 | 6 | 1200 | 0.0012 | Check Meter
|  | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 152 | 0 | 152 | 60800 | 0.0608 | 9 | 0 | 9 | 3600 | 0.0036 | w.e.f 11/09/17
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 151298 | 151261 | 37 | 37000 | 0.037 | 54269 | 53969 | 300 | 300000 | 0.3
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999795 | 1000058 | -263 | 263000 | 0.263 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999658 | 999889 | -231 | 231000 | 0.231 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.76982 |  |  |  |  | -0.16626
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.76982 |  |  |  |  | -0.16626
SEPTEMBER -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978909 | 979293 | -384 | 384000 | 0.384 | 879041 | 879072 | -31 | 31000 | 0.031
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993430 | 993669 | -239 | 239000 | 0.239 | 962313 | 962485 | -172 | 172000 | 0.172
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) |  | 999596 | 999984 | -388 | 0 | 0 | 998957 | 999015 | -58 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990668 | 991192 | -524 | 1048000 | 1.048 | 972206 | 972236 | -30 | 60000 | 0.06
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998014 | 998762 | -748 | 748000 | 0.748 | 999119 | 999119 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994119 | 994952 | -833 | 833000 | 0.833 | 998561 | 998561 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3925 | 3892 | 33 | -33000 | -0.033 | 999636 | 999637 | -1 | 1000 | 0.001
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983792 | 984073 | -281 | 281000 | 0.281 | 937384 | 937448 | -64 | 64000 | 0.064
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989375 | 989580 | -205 | 205000 | 0.205 | 989833 | 989835 | -2 | 2000 | 0.002
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979015 | 979360 | -345 | 345000 | 0.345 | 963314 | 963377 | -63 | 63000 | 0.063
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959914 | 960082 | -168 | 168000 | 0.168 | 829374 | 829687 | -313 | 313000 | 0.313
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15125 | 15906 | -781 | 781000 | 0.781 | 33706 | 33698 | 8 | -8000 | -0.008
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2768 | 2931 | -163 | 163000 | 0.163 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960904 | 963011 | -2107 | 2107000 | 2.107 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.269 |  |  |  |  | 0.698
| (B) NET ENERGY TO EAST | [8 empty] | 7.269 |  |  |  |  | 0.698
SEPTEMBER -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 657 | 566 | 91 | -36400 | -0.0364 | 998532 | 998533 | -1 | 400 | 0.0004
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5982 | 5979 | 3 | -1500 | -0.0015 | 1698 | 1697 | 1 | -500 | -0.0005
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) |  | 377 | 167 | 210 | 0 | 0 | 520 | 413 | 107 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74498 | 74483 | 15 | -1500 | -0.0015 | 144006 | 143867 | 139 | -13900 | -0.0139
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 972881 | 973087 | -206 | 41200 | 0.0412 | 994950 | 995109 | -159 | 31800 | 0.0318
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 38339 | 37187 | 1152 | -230400 | -0.2304 | 118461 | 117937 | 524 | -104800 | -0.1048
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16889 | 16810 | 79 | -63200 | -0.0632 | 13861 | 13474 | 387 | -309600 | -0.3096
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15052 | 15049 | 3 | -6000 | -0.006 | 4478 | 4389 | 89 | -178000 | -0.178
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974655 | 974721 | -66 | 52800 | 0.0528 | 986573 | 986757 | -184 | 147200 | 0.1472
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 984873 | 985150 | -277 | 221600 | 0.2216 | 987350 | 987826 | -476 | 380800 | 0.3808
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991214 | 991361 | -147 | 117600 | 0.1176 | 993936 | 994318 | -382 | 305600 | 0.3056
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980013 | 980126 | -113 | 90400 | 0.0904 | 994518 | 994694 | -176 | 140800 | 0.1408
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979690 | 979968 | -278 | 278000 | 0.278 | 32283 | 32516 | -233 | 233000 | 0.233
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1984 | 1977 | 7 | -7000 | -0.007 | 28189 | 28025 | 164 | -164000 | -0.164
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 999612 | 999503 | 109 | -10900 | -0.0109 | 26103 | 26788 | -685 | 68500 | 0.0685
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 282 | 100 | 182 | -30332.12 | -0.030332 | 1855 | 1817 | 38 | -6333.08 | -0.0063331
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999933 | 999935 | -2 | 1000 | 0.001 | 552 | 552 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 555 | 431 | 124 | -82667.08 | -0.082667 | 124 | 123 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 3592 | 3482 | 110 | -73333.3333 | -0.073333 | 1430 | 1429 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 4753 | 4238 | 515 | -51500 | -0.0515 | 1781 | 1732 | 49 | -4900 | -0.0049
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25238 | 25126 | 112 | -11200 | -0.0112 | 51316 | 51314 | 2 | -200 | -0.0002
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997521 | 997518 | 3 | -300 | -0.0003 | 2572 | 2255 | 317 | -31700 | -0.0317
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.00206 |  |  |  |  | 0.00051 | Assessment
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1868 | 1742 | 126 | -12600 | -0.0126 | 8947 | 8217 | 730 | -73000 | -0.073
31 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 725 | 168 | 557 | -55700 | -0.0557 | 143 | 35 | 108 | -10800 | -0.0108
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 14410 | 13707 | 703 | -70300 | -0.0703 | 5337 | 5146 | 191 | -19100 | -0.0191
[10 empty] | 0.059827 |  |  |  |  | 0.39044
SEPTEMBER -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.76982 |  |  |  |  | -0.16626
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.059827 |  |  |  |  | 0.39044
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.29242 |  |  |  |  | -0.05185
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.0024 |  |  |  |  | 0.17233
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.269 |  |  |  |  | 0.698
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 6.2666 |  |  |  |  | 0.87033
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.2666 | (REACTIVE MUs) |  |  |  | 0.87033 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.5259 | (REACTIVE MUs) |  |  |  | -0.55457 | (REACTIVE MUs)
[9 empty] | TOTAL | 6.7925 | (REACTIVE MUs) |  |  |  | 0.31576 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999591 | 999595 | -4 | -20000 | -0.02 | 999443 | 999434 | 9 | 45000 | 0.045
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984715 | 984698 | 17 | 22666.61 | 0.022667 | 671375 | 671586 | -211 | -281332.63 | -0.28133
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1331 | 1355 | -24 | -9600 | -0.0096 | 35551 | 34358 | 1193 | 477200 | 0.4772
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 17016 | 16995 | 21 | 21000 | 0.021 | 996852 | 996727 | 125 | 125000 | 0.125
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17622 | 17494 | 128 | 12800 | 0.0128 | 18791 | 17227 | 1564 | 156400 | 0.1564
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 726818 | 726260 | 558 | 41850 | 0.04185 | 999383 | 1001153 | -1770 | -132750 | -0.13275
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983062 | 983181 | -119 | -8925 | -0.008925 | 3924 | 4864 | -940 | -70500 | -0.0705
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997460 | 997416 | 44 | 39600 | 0.0396 | 995775 | 995752 | 23 | 20700 | 0.0207
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1940 | 1940 | 0 | 0 | 0 | 997842 | 998465 | -623 | 623000 | 0.623
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997800 | 997800 | 0 | 0 | 0 | 993030 | 994020 | -990 | 990000 | 0.99
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3649 | 3540 | 109 | -109000 | -0.109 | 999410 | 999833 | -423 | 423000 | 0.423
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963491 | 963296 | 195 | -195000 | -0.195 | 996594 | 998075 | -1481 | 1481000 | 1.481
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 187 | 66 | 121 | -121000 | -0.121 | 999849 | 999901 | -52 | 52000 | 0.052
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 506 | 4 | 502 | -251000 | -0.251 | 128 | 139 | -11 | 5500 | 0.0055
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 150 | 88 | 62 | -124000 | -0.124 | 999044 | 999116 | -72 | 144000 | 0.144
[10 empty] | -0.1 |  |  |  |  | 0.278 | Assessment last month
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1986 | 2787 | -801 | 801000 | 0.801 | 902657 | 904021 | -1364 | 1364000 | 1.364
NAJAFGARH
19 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1940 | 1650 | 290 | -290000 | -0.29 | 985067 | 985138 | -71 | 71000 | 0.071
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997872 | 997859 | 13 | -13000 | -0.013 | 983831 | 984355 | -524 | 524000 | 0.524
21 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997927 | 998004 | -77 | 77000 | 0.077 | 997386 | 997572 | -186 | 186000 | 0.186
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14170 | 14041 | 129 | -129000 | -0.129 | 996772 | 996629 | 143 | -143000 | -0.143
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 1250 | 5 | 8 | -3 | -3750 | -0.00375 | 1516 | 1384 | 132 | 165000 | 0.165
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980583 | 980778 | -195 | 195000 | 0.195 | 978360 | 979793 | -1433 | 1433000 | 1.433
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
26 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999805 | 1000000 | -195 | 195000 | 0.195 | 999373 | 1000000 | -627 | 627000 | 0.627
OKHLA
27 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995228 | 995415 | -187 | 187000 | 0.187 | 988844 | 989446 | -602 | 602000 | 0.602
28 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991042 | 991045 | -3 | 3000 | 0.003 | 928204 | 929076 | -872 | 872000 | 0.872
29 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3237 | 2434 | 803 | -803000 | -0.803 | 33397 | 33475 | -78 | 78000 | 0.078
30 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997511 | 997939 | -428 | 428000 | 0.428 | 996142 | 996143 | -1 | 1000 | 0.001
31 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) |  | 999550 | 999892 | -342 | 0 | 0 | 999768 | 999757 | 11 | 0 | 0
BRPL(+) continue | [14 empty] | SEPTEMBER -2017
VASANT KUNJ
32 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3788 | 3334 | 454 | -454000 | -0.454 | 999964 | 999976 | -12 | 12000 | 0.012
33 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 6155 | 5555 | 600 | -300000 | -0.3 | 998470 | 998414 | 56 | -28000 | -0.028
34 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21346 | 19619 | 1727 | -3454000 | -3.454 | 969570 | 969581 | -11 | 22000 | 0.022
MEHRAULI
35 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994996 | 995010 | -14 | 14000 | 0.014 | 894957 | 895241 | -284 | 284000 | 0.284 | Data till 18/09/17
|  | 4865046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5 | 26 | -21 | 21000 | 0.021 | 994422 | 994702 | -280 | 280000 | 0.28
36 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994399 | 994404 | -5 | 5000 | 0.005 | 927385 | 927385 | 0 | 0 | 0
37 | Tx.3 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999943 | 999970 | -27 | 27000 | 0.027 | 995399 | 995656 | -257 | 257000 | 0.257 | Chek meter
|  | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 999889 | 1000000 | -111 | 111000 | 0.111
38 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999725 | 999866 | -141 | 282000 | 0.282 | 999134 | 999413 | -279 | 558000 | 0.558
RIDGE VALLEY
39 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969513 | 969869 | -356 | 237333.096 | 0.23733 | 963750 | 964299 | -549 | 365999.634 | 0.366
40 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998610 | 999059 | -449 | 898000 | 0.898 | 999749 | 999750 | -1 | 2000 | 0.002
DIAL
41 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5868 | 5772 | 96 | -192000 | -0.192 | 2413 | 2417 | -4 | 8000 | 0.008
42 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2803 | 2702 | 101 | -202000 | -0.202 | 1374 | 1377 | -3 | 6000 | 0.006
MASJID MOD
43 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917324 | 917326 | -2 | 2000 | 0.002 | 981423 | 981547 | -124 | 124000 | 0.124
44 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117 | 120 | -3 | 3000 | 0.003 | 996965 | 997086 | -121 | 121000 | 0.121
MUNDKA
45 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
46 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 1823 | 1331 | 492 | 393600 | 0.3936 | 27 | 27 | 0 | 0 | 0
47 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 992341 | 994516 | -2175 | -1740000 | -1.74 | 999988 | 999988 | 0 | 0 | 0
48 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
49 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1359 | 1081 | 278 | 222400 | 0.2224 | 999795 | 999795 | 0 | 0 | 0
50 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 489 | 382 | 107 | 85600 | 0.0856 | 1 | 1 | 0 | 0 | 0
PARK STREET
51 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979690 | 979968 | -278 | -278000 | -0.278 | 32283 | 32516 | -233 | -233000 | -0.233
52 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
53 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28908 | 26945 | 1963 | -1963000 | -1.963 | 27 | 26 | 1 | -1000 | -0.001
54 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9543 | 9260 | 283 | -283000 | -0.283 | 998471 | 998471 | 0 | 0 | 0
55 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12663 | 11035 | 1628 | -1628000 | -1.628 | 10 | 10 | 0 | 0 | 0
NARAINA
56 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 9239 | 9038 | 201 | 20100 | 0.0201 | 40727 | 37983 | 2744 | 274400 | 0.2744
SUDARSHAN PARK
57 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 969044 | 969366 | -322 | -16100 | -0.0161 | 1519 | 1560 | -41 | -2050 | -0.00205
58 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997139 | 997249 | -110 | -44000 | -0.044 | 21168 | 20825 | 343 | 137200 | 0.1372
[5 empty] | 400 | [5 empty] | 6757 | 6757 | 0 | 0 | 0
59 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 997435 | 995752 | 1683 | 673200 | 0.6732 | 34063 | 32164 | 1899 | 759600 | 0.7596
REWARI LINE
60 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | -2 | -2000 | -0.002
KANJAWALA
61 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 986523 | 987105 | -582 | -465600 | -0.4656 | 999017 | 999041 | -24 | -19200 | -0.0192
Trauma Centre
62 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 247389 | 239240 | 8149 | 814900 | 0.8149 | 7998 | 7989 | 9 | 900 | 0.0009
63 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4284 | 3789 | 495 | 495000 | 0.495 | 338 | 337 | 1 | 1000 | 0.001
A.I.I.M.S.
64 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 8681 | 8613 | 68 | 5100 | 0.0051 | 14524 | 14375 | 149 | 11175 | 0.011175
65 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 3480 | 3282 | 198 | 19800 | 0.0198 | 5818 | 5610 | 208 | 20800 | 0.0208
PEERGARHI
66 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3142 | 2667 | 475 | 237500 | 0.2375 | 2775 | 2775 | 0 | 0 | 0
67 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3444 | 3150 | 294 | 294000 | 0.294 | 4062 | 4058 | 4 | 4000 | 0.004
68 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997030 | 996993 | 37 | 37000 | 0.037 | 1304 | 1305 | -1 | -1000 | -0.001
69 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2846 | 2762 | 84 | 84000 | 0.084 | 6439 | 6438 | 1 | 1000 | 0.001
70 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 443 | 332 | 111 | 111000 | 0.111 | 379 | 378 | 1 | 1000 | 0.001
71 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 11540 | 8396 | 3144 | 314400 | 0.3144 | 44736 | 44707 | 29 | 2900 | 0.0029
72 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1251 | 1336 | -85 | -85000 | -0.085 | 296 | 293 | 3 | 3000 | 0.003
73 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1320 | 1131 | 189 | 189000 | 0.189 | 5888 | 5846 | 42 | 42000 | 0.042
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.7711 |  |  |  |  | 13.2399
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 182417 | 180730 | 1687 | -168700 | -0.1687 | 913602 | 913323 | 279 | -27900 | -0.0279
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151298 | 151261 | 37 | -37000 | -0.037 | 54269 | 53969 | 300 | -300000 | -0.3
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 995279 | 995197 | 82 | -16400 | -0.0164 | 999063 | 999297 | -234 | 46800 | 0.0468
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 0 | 1 | -1000 | -0.001 | 10 | 9 | 1 | -1000 | -0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999987 | 999972 | 15 | -15000 | -0.015 | 742 | 691 | 51 | -51000 | -0.051
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 1978 | 1896 | 82 | -13120 | -0.01312 | 3697 | 3053 | 644 | -103040 | -0.10304
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907052 | 907051 | 1 | -1000 | -0.001 | 62168 | 62100 | 68 | -68000 | -0.068
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998869 | 998937 | -68 | 68000 | 0.068 | 999819 | 999823 | -4 | 4000 | 0.004
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 89352 | 86724 | 2628 | -262800 | -0.2628 | 71740 | 71739 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 100081 | 98096 | 1985 | -198500 | -0.1985 | 72466 | 72422 | 44 | -4400 | -0.0044
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27668 | 27522 | 146 | -14600 | -0.0146 | 33045 | 32189 | 856 | -85600 | -0.0856
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999095 | 999174 | -79 | -39500 | -0.0395 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999880 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 401616 | 398347 | 3269 | -326900 | -0.3269 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 5495 | 5183 | 312 | -31200 | -0.0312 | 29899 | 29894 | 5 | -500 | -0.0005
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 996848 | 997337 | -489 | 203746.74 | 0.20375 | 999025 | 998992 | 33 | -13749.78 | -0.01375
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9124 | 9125 | -1 | 100 | 0.0001 | 37616 | 37615 | 1 | -100 | -0.0001
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12191 | 12192 | -1 | 100 | 0.0001 | 77600 | 77030 | 570 | -57000 | -0.057
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 964 | 891 | 73 | -7300 | -0.0073 | 17833 | 17370 | 463 | -46300 | -0.0463
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 164 | 148 | 16 | -21328 | -0.021328 | 217 | 190 | 27 | -35991 | -0.035991
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999095 | 999092 | 3 | -300 | -0.0003 | 15836 | 13810 | 2026 | -202600 | -0.2026
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999888 | 999888 | 0 | 0 | 0 | 999972 | 999975 | -3 | 1200 | 0.0012
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.8827 |  |  |  |  | -0.94528
SEPTEMBER -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -5.7711 |  |  |  |  | 13.2399
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.8827 |  |  |  |  | -0.94528
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.36166 |  |  |  |  | 0.046337
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0444 |  |  |  |  | -0.25395
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.3366 |  |  |  |  | 12.087
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.3366 | (REACTIVE MUs) |  |  |  | 12.087 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.92873 | (REACTIVE MUs) |  |  |  | -0.97936 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.4078 | (REACTIVE MUs) |  |  |  | 11.1077 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.66 | 377 | 167 | 210 | 55998.6 | 0.055999 | 520 | 413 | 107 | 28532.62 | 0.028533
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74498 | 74483 | 15 | 1500 | 0.0015 | 144006 | 143867 | 139 | 13900 | 0.0139
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 972881 | 973087 | -206 | -41200 | -0.0412 | 994950 | 995109 | -159 | -31800 | -0.0318
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 38339 | 37187 | 1152 | 230400 | 0.2304 | 118461 | 117937 | 524 | 104800 | 0.1048
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16889 | 16810 | 79 | 63200 | 0.0632 | 13861 | 13474 | 387 | 309600 | 0.3096
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15052 | 15049 | 3 | 6000 | 0.006 | 4478 | 4389 | 89 | 178000 | 0.178
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974655 | 974721 | -66 | -52800 | -0.0528 | 986573 | 986757 | -184 | -147200 | -0.1472
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 984873 | 985150 | -277 | -221600 | -0.2216 | 987350 | 987826 | -476 | -380800 | -0.3808
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991214 | 991361 | -147 | -117600 | -0.1176 | 993936 | 994318 | -382 | -305600 | -0.3056
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980013 | 980126 | -113 | -90400 | -0.0904 | 994518 | 994694 | -176 | -140800 | -0.1408
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999744 | 999859 | -115 | -5750 | -0.00575 | 9601 | 8151 | 1450 | 72500 | 0.0725
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993144 | 993086 | 58 | 4350 | 0.00435 | 14343 | 13539 | 804 | 60300 | 0.0603
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 82 | 51 | 31 | 15500 | 0.0155 | 2194 | 1879 | 315 | 157500 | 0.1575
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998947 | 998959 | -12 | -4500 | -0.0045 | 2337 | 2472 | -135 | -50625 | -0.050625
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989255 | 989304 | -49 | -4900 | -0.0049 | 331213 | 329507 | 1706 | 170600 | 0.1706
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 65 | 65 | 0 | 0 | 0 | 9613 | 9613 | 0 | 0 | 0
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3350 | 3473 | -123 | -12300 | -0.0123 | 265549 | 265739 | -190 | -19000 | -0.019
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 83628 | 83159 | 469 | 46900 | 0.0469 | 738382 | 736490 | 1892 | 189200 | 0.1892
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999516 | 999299 | 217 | 217000 | 0.217 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998150 | 997799 | 351 | 351000 | 0.351 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 997424 | 997815 | -391 | -430100 | -0.4301 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3494 | 3042 | 452 | 452000 | 0.452 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | 0.5899 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999987 | 999972 | 15 | 15000 | 0.015 | 742 | 691 | 51 | 51000 | 0.051
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 1978 | 1896 | 82 | 13120 | 0.01312 | 3697 | 3053 | 644 | 103040 | 0.10304
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907052 | 907051 | 1 | 1000 | 0.001 | 62168 | 62100 | 68 | 68000 | 0.068
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998869 | 998937 | -68 | -68000 | -0.068 | 999819 | 999823 | -4 | -4000 | -0.004
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999095 | 999174 | -79 | 39500 | 0.0395 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999880 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
SEPTEMBER -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933646 | 935083 | -1437 | 1437000 | 1.437 | 970568 | 970572 | -4 | 4000 | 0.004
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 975795 | 978404 | -2609 | 1304500 | 1.3045 | 998214 | 998232 | -18 | 9000 | 0.009
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997209 | 997600 | -391 | 782000 | 0.782 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995460 | 996287 | -827 | 827000 | 0.827 | 999418 | 999428 | -10 | 10000 | 0.01
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 401616 | 398347 | 3269 | 326900 | 0.3269 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 5495 | 5183 | 312 | 31200 | 0.0312 | 29899 | 29894 | 5 | 500 | 0.0005
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 89352 | 86724 | 2628 | 262800 | 0.2628 | 71740 | 71739 | 1 | 100 | 0.0001
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 100081 | 98096 | 1985 | 198500 | 0.1985 | 72466 | 72422 | 44 | 4400 | 0.0044
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27668 | 27522 | 146 | 14600 | 0.0146 | 33045 | 32189 | 856 | 85600 | 0.0856
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 182417 | 180730 | 1687 | 168700 | 0.1687 | 913602 | 913323 | 279 | 27900 | 0.0279
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 247389 | 239240 | 8149 | -814900 | -0.8149 | 7998 | 7989 | 9 | -900 | -0.0009
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4284 | 3789 | 495 | -495000 | -0.495 | 338 | 337 | 1 | -1000 | -0.001
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 8681 | 8613 | 68 | -5100 | -0.0051 | 14524 | 14375 | 149 | -11175 | -0.011175
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 3480 | 3282 | 198 | -19800 | -0.0198 | 5818 | 5610 | 208 | -20800 | -0.0208
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.7916 |  |  |  |  | 0.53667
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.7916 |  |  |  |  | 0.53667
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.099285 |  |  |  |  | -0.1047
| TOTAL ENERGY TO NDMC | [8 empty] | 5.8909 |  |  |  |  | 0.43197

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 833 | 833 | 0 | 0 | 0 | 21340 | 20877 | 463 | 92600 | 0.0926
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1509 | 0 | 0 | 0 | 42223 | 42365 | -142 | -142000 | -0.142
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4119 | 4110 | 9 | 9000 | 0.009 | 52171 | 51771 | 400 | 400000 | 0.4
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 332 | 101 | 231 | 92400 | 0.0924
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6499 | 6494 | 5 | 5000 | 0.005 | 12038 | 11773 | 265 | 265000 | 0.265
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999081 | 999445 | -364 | -145600 | -0.1456
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995279 | 995197 | 82 | 82000 | 0.082 | 999063 | 999297 | -234 | -234000 | -0.234
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1 | 0 | 1 | 1000 | 0.001 | 10 | 9 | 1 | 1000 | 0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.097 |  |  |  |  | 0.3294
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 57665 | 57249 | 416 | 41600 | 0.0416 | 91219 | 90179 | 1040 | 104000 | 0.104
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77959 | 77959 | 0 | 0 | 0 | 16634 | 16447 | 187 | 18700 | 0.0187
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61662 | 61634 | 28 | 2800 | 0.0028 | 112425 | 111225 | 1200 | 120000 | 0.12
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1305 | 1155 | 150 | 11250 | 0.01125
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10279 | 10255 | 24 | 2400 | 0.0024 | 3981 | 3806 | 175 | 17500 | 0.0175
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0444 |  |  |  |  | 0.25395
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0444 |  |  |  |  | 0.25395
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.097 |  |  |  |  | 0.3294
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1414 |  |  |  |  | 0.58335
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1414 | (REACTIVE MUs) |  |  |  | 0.58335 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.015656 | (REACTIVE MUs) |  |  |  | -0.01651 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.15706 | (REACTIVE MUs) |  |  |  | 0.56684 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 996332 | 997359 | -1027 | -102700 | -0.1027 | 1997 | 2018 | -21 | -2100 | -0.0021
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 39754 | 36746 | 3008 | 300800 | 0.3008 | 5275 | 4995 | 280 | 28000 | 0.028
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 5362 | 4455 | 907 | 453500 | 0.4535 | 2063 | 1964 | 99 | 49500 | 0.0495
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 237 | 358 | -121 | -113437.5 | -0.11344 | 144 | 151 | -7 | -6562.5 | -0.0065625
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 996211 | 997307 | -1096 | -274000 | -0.274 | 983687 | 983759 | -72 | -18000 | -0.018
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982064 | 982259 | -195 | 97500 | 0.0975 | 976405 | 976396 | 9 | -4500 | -0.0045
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.36166 |  |  |  |  | 0.046337
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986718 | 986892 | -174 | -34800 | -0.0348 | 999914 | 999997 | -83 | -16600 | -0.0166
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 903239 | 903926 | -687 | -257625 | -0.25762 | 996599 | 996693 | -94 | -35250 | -0.03525
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.29242 |  |  |  |  | -0.05185
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 295112 | 293288 | 1824 | 364800 | 0.3648 | 284306 | 284117 | 189 | 37800 | 0.0378
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 255490 | 253350 | 2140 | 214000 | 0.214 | 998700 | 998803 | -103 | -10300 | -0.0103
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 162092 | 159553 | 2539 | 158687.5 | 0.15869 | 985530 | 985693 | -163 | -10187.5 | -0.010188
[5 empty] | 62.5 | 135628 | 135235 | 393 | 24562.5 | 0.024563
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 644 | 504 | 140 | 112000 | 0.112 | 1792 | 1751 | 41 | 32800 | 0.0328
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 987814 | 988211 | -397 | -39700 | -0.0397 | 999285 | 999316 | -31 | -3100 | -0.0031
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999028 | 999016 | 12 | 1800 | 0.0018 | 983950 | 984412 | -462 | -69300 | -0.0693
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998857 | 998850 | 7 | -17500 | -0.0175 | 3068 | 3069 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.81865 |  |  |  |  | -0.019787
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.36166 |  |  |  |  | 0.046337
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.29242 |  |  |  |  | -0.05185
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.81865 |  |  |  |  | -0.019787

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 2121 | 497 | 1624 | 1624000 | 1.624 | 999997 | 999997 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 8022 | 7727 | 295 | 1475000 | 1.475 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.099 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.099 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.4675 |  |  |  |  | -2.3425
[7 empty] | NDMC = |  |  | 0.5899 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -0.8776 |  |  |  |  | -2.3425
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.2214 |  |  |  |  | -2.3425
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3429 | % |  |  | 0.65182 |  |  |  |  | -0.68736
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8085 | % |  |  | 0.92873 |  |  |  |  | -0.97936
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.6743 | % |  |  | 0.5259 |  |  |  |  | -0.55457
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4695 | % |  |  | 0.099285 |  |  |  |  | -0.1047
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7048 | % |  |  | 0.015656 |  |  |  |  | -0.01651
Note :Sharing taken from wk-25 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2017 TO 1st OCTOBER-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -2.9177 | + | 0.42035
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -5.4078 | + | 11.1077
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 6.7925 | + | 0.31576
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.8909 | + | 0.43197
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.15706 | + | 0.56684
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2017 | INTIAL READING 01/09/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 10963 | 10197 | 766 | 574500 | 0.5745 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 996749 | 996796 | -47 | -70500 | -0.0705 | 991915 | 991915 | 0 | 0 | 0
|  | 5295188 | ELSTER | kvarh (lag) | 1000 | 88 | 0 | 88 | 88000 | 0.088 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/9/17
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852575 | 852604 | -29 | -21750 | -0.02175 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.57025 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999877 | 999858 | 19 | 95000 | 0.095 | 11729 | 11552 | 177 | 885000 | 0.885
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 928787 | 933958 | -5171 | -5171000 | -5.171
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973199 | 973272 | -73 | -73000 | -0.073 | 998257 | 998126 | 131 | 131000 | 0.131
[8 empty] | NET REACTIVE ENERGY |  | 0.022 |  |  | NET REACTIVE ENERGY |  | -4.155