## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18760 | 18749 | 11 | -11000 | -0.011 | 979140 | 978873 | 267 | -267000 | -0.267
| Tx.2 | 4865062 | ELSTER | Kvarh(Lead/Lag) | -1000 | 914064 | 914064 | 0 | 0 | 0 | 982128 | 982561 | -433 | 433000 | 0.433 | metering at 220KV side from 20/6/11 to 21/7/11.
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 247 | 0 | 247 | -247000 | -0.247 | M.No. 4902499 replaced with 5128432 on dated 21/7/11
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20466 | 20466 | 0 | 0 | 0 | 998494 | 1000054 | -1560 | 1560000 | 1.56 | Roll OVER
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975034 | 0 | 0 | 0 | 982150 | 984187 | -2037 | 2037000 | 2.037
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923264 | 923264 | 0 | 0 | 0 | 952984 | 954603 | -1619 | 1619000 | 1.619
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18245 | 18245 | 0 | 0 | 0 | 15966 | 15405 | 561 | -561000 | -0.561
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19270 | 19270 | 0 | 0 | 0 | 12225 | 11752 | 473 | -473000 | -0.473
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17079 | 17079 | 0 | 0 | 0 | 996762 | 996661 | 101 | -101000 | -0.101
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11926 | 11926 | 0 | 0 | 0 | 987057 | 987075 | -18 | 18000 | 0.018
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35742 | 35699 | 43 | -43000 | -0.043 | 9964 | 9913 | 51 | -51000 | -0.051
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2843 | 2761 | 82 | -82000 | -0.082 | 4282 | 4244 | 38 | -38000 | -0.038
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998808 | 998808 | 0 | 0 | 0 | 999652 | 999900 | -248 | 248000 | 0.248
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965180 | 965373 | -193 | -193000 | -0.193 | 920565 | 920590 | -25 | -25000 | -0.025
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997442 | 997442 | 0 | 0 | 0 | 17049 | 16256 | 793 | -793000 | -0.793
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998341 | 998339 | 2 | -2000 | -0.002 | 19356 | 19166 | 190 | -190000 | -0.19
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1113 | 1113 | 0 | 0 | 0 | 21841 | 21585 | 256 | -256000 | -0.256
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 28392 | 29718 | -1326 | -1326000 | -1.326
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 192 | 192 | 0 | 0 | 0 | 26349 | 26331 | 18 | 18000 | 0.018
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1769 | 1769 | 0 | 0 | 0 | 113489 | 108420 | 5069 | 506900 | 0.5069
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 2906 | 0 | 0 | 0 | 162314 | 160627 | 1687 | 168700 | 0.1687
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996109 | 996109 | 0 | 0 | 0 | 997924 | 998430 | -506 | -506000 | -0.506
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 955 | 1179 | -224 | -224000 | -0.224
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655052 | 655052 | 0 | 0 | 0 | 801665 | 802068 | -403 | -403000 | -0.403
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662486 | 662486 | 0 | 0 | 0 | 834149 | 834489 | -340 | -340000 | -0.34
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991070 | 991474 | -404 | -404000 | -0.404 | 998460 | 998477 | -17 | -17000 | -0.017
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999285 | 999481 | -196 | -98000 | -0.098 | 999789 | 999802 | -13 | -6500 | -0.0065
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6713 | 6627 | 86 | -86000 | -0.086 | 981859 | 981740 | 119 | -119000 | -0.119
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997685 | 997228 | 457 | -457000 | -0.457 | 948748 | 948951 | -203 | 203000 | 0.203
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992746 | 992746 | 0 | 0 | 0 | 940479 | 945189 | -4710 | 4710000 | 4.71
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 528 | 8 | 520 | -520000 | -0.52 | 9 | 7 | 2 | -2000 | -0.002 | Meter loaded on 14/7/11
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 701 | 697 | 4 | 4000 | 0.004 | 15420 | 15060 | 360 | 360000 | 0.36
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998981 | 998978 | 3 | 3000 | 0.003 | 3154 | 3274 | -120 | -120000 | -0.12
| NDPL(+) continue | [14 empty] | JULY-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 677 | 678 | -1 | -1000 | -0.001 | 54169 | 52874 | 1295 | 1295000 | 1.295
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9018 | 9269 | -251 | -25100 | -0.0251 | 53243 | 49860 | 3383 | 338300 | 0.3383
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7231 | 7231 | 0 | 0 | 0 | 10335 | 10335 | 0 | 0 | 0
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9058 | 9058 | 0 | 0 | 0 | 29641 | 28638 | 1003 | 100300 | 0.1003
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 31113 | 30955 | 158 | 15800 | 0.0158 | 9937 | 9082 | 855 | 85500 | 0.0855
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14613 | 14606 | 7 | 700 | 0.0007 | 9462 | 9192 | 270 | 27000 | 0.027
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998150 | 21 | 2100 | 0.0021 | 947 | 388 | 559 | 55900 | 0.0559
B.G.ROAD
45 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3440 | 3440 | 0 | 0 | 0 | 28040 | 27689 | 351 | 175500 | 0.1755
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3187 | 3187 | 0 | 0 | 0 | 19531 | 19135 | 396 | 198000 | 0.198
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3232 | 3232 | 0 | 0 | 0 | 13187 | 12883 | 304 | 152000 | 0.152
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3182 | 0 | 0 | 0 | 15054 | 14701 | 353 | 176500 | 0.1765
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999544 | 999531 | 13 | 1300 | 0.0013 | 5371 | 5051 | 320 | 32000 | 0.032
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2429 | 2377 | 52 | 5200 | 0.0052 | 13195 | 12749 | 446 | 44600 | 0.0446
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 5895 | 5649 | 246 | 24600 | 0.0246 | 47768 | 46718 | 1050 | 105000 | 0.105
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8169 | 8184 | -15 | -1500 | -0.0015 | 19040 | 19054 | -14 | -1400 | -0.0014
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999713 | 999703 | 10 | 1000 | 0.001 | 253 | 251 | 2 | 200 | 0.0002
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 1309 | 1056 | 253 | 25300 | 0.0253 | 60014 | 58822 | 1192 | 119200 | 0.1192
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 2510 | 2120 | 390 | 39000 | 0.039 | 51861 | 51316 | 545 | 54500 | 0.0545
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 3036 | 2576 | 460 | 46000 | 0.046 | 74513 | 73675 | 838 | 83800 | 0.0838
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 90882 | 89439 | 1443 | 144300 | 0.1443 | 26549 | 26267 | 282 | 28200 | 0.0282
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 9986 | 9168 | 818 | 81800 | 0.0818 | 33164 | 32897 | 267 | 26700 | 0.0267
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4567 | 4567 | 0 | 0 | 0 | 12606 | 12605 | 1 | -400 | -0.0004
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
| Assessment for Gopalpur Tx-2 against faulty meter 4902499 for the month of June2011 | [8 empty] | 0.009 |  |  |  |  | 0.236
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.5205 |  |  |  |  | 9.1485
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4610 | 4524 | 86 | -8600 | -0.0086 | 8139 | 8026 | 113 | -11300 | -0.0113
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5742 | 5742 | 0 | 0 | 0 | 3991 | 3991 | 0 | 0 | 0
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3509 | 3509 | 0 | 0 | 0 | 2108 | 2421 | -313 | 62600 | 0.0626
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12824 | 12824 | 0 | 0 | 0 | 19546 | 17203 | 2343 | -2343000 | -2.343
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38213 | 38092 | 121 | -12100 | -0.0121 | 146915 | 146856 | 59 | -5900 | -0.0059
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982126 | 982328 | -202 | 202000 | 0.202 | 992818 | 992900 | -82 | 82000 | 0.082
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998321 | 998325 | -4 | 5000 | 0.005 | 375 | 322 | 53 | -66250 | -0.06625
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1863 |  |  |  |  | -2.2819
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.5205 |  |  |  |  | 9.1485
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1863 |  |  |  |  | -2.2819
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.3768 |  |  |  |  | 0.94679
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.9574 |  |  |  |  | 7.8134
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.9574 | (REACTIVE MUs) |  |  |  | 7.8134 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.079946 | (REACTIVE MUs) |  |  |  | 0.90367 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.87745 | (REACTIVE MUs) |  |  |  | 8.7171 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 992061 | 993119 | -1058 | -105800 | -0.1058 | 76039 | 71990 | 4049 | 404900 | 0.4049
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14199 | 14225 | -26 | -2600 | -0.0026 | 998959 | 995229 | 3730 | 373000 | 0.373
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21567 | 21530 | 37 | 3700 | 0.0037 | 30298 | 30198 | 100 | 10000 | 0.01
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998678 | 998762 | -84 | -8400 | -0.0084 | 2608 | 381 | 2227 | 222700 | 0.2227
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8333 | 8680 | -347 | -34700 | -0.0347 | 72285 | 70884 | 1401 | 140100 | 0.1401
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001858 | 999633 | 2225 | 222500 | 0.2225 | 45707 | 45496 | 211 | 21100 | 0.0211 | ROLL OVER
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 999927 | -16 | -16000 | -0.016 | 999711 | 999714 | -3 | -3000 | -0.003
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999899 | 999898 | 1 | 1000 | 0.001 | 2278 | 2279 | -1 | -1000 | -0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999984 | 999994 | -10 | -10000 | -0.01 | 1276 | 1272 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 152 | 152 | 0 | 0 | 0 | 2428 | 2435 | -7 | -7000 | -0.007
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 45 | -38 | -38000 | -0.038 | 2220 | 2226 | -6 | -6000 | -0.006
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 311 | 312 | -1 | -1000 | -0.001 | 1089 | 1134 | -45 | -45000 | -0.045
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 31 | 31 | 0 | 0 | 0 | 13371 | 13376 | -5 | -5000 | -0.005
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 186 | 182 | 4 | 4000 | 0.004 | 34065 | 34064 | 1 | 1000 | 0.001
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 260 | 260 | 0 | 0 | 0 | 8107 | 8028 | 79 | 79000 | 0.079
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 197 | 0 | 0 | 0 | 5312 | 5299 | 13 | 13000 | 0.013
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 29300 | 29148 | 152 | 15200 | 0.0152 | 530 | 530 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998934 | 998936 | -2 | -2000 | -0.002 | 5542 | 5507 | 35 | 35000 | 0.035
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 848706 | 851954 | -3248 | -3572800 | -3.5728
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 889326 | 892412 | -3086 | -3394600 | -3.3946
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995337 | 995438 | -101 | -101000 | -0.101 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.1478 |  |  |  |  | -6.9024
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967403 | 967369 | 34 | -34000 | -0.034 | 978187 | 978455 | -268 | 268000 | 0.268
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985269 | 985509 | -240 | 240000 | 0.24 | 984739 | 985036 | -297 | 297000 | 0.297
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 928 | 0 | 0 | 0 | 54119 | 52027 | 2092 | 2092000 | 2.092
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 616 | 613 | 3 | -3000 | -0.003 | 977362 | 978066 | -704 | 704000 | 0.704
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3276 | 3275 | 1 | -1000 | -0.001 | 982796 | 983351 | -555 | 555000 | 0.555
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996535 | 996485 | 50 | -50000 | -0.05 | 991509 | 991659 | -150 | 150000 | 0.15
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 998783 | 244 | -244000 | -0.244 | 996325 | 996570 | -245 | 245000 | 0.245
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3509 | 3509 | 0 | 0 | 0 | 2108 | 2421 | -313 | -62600 | -0.0626
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12824 | 12824 | 0 | 0 | 0 | 19546 | 17203 | 2343 | 2343000 | 2.343
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 80780 | 78241 | 2539 | 253900 | 0.2539 | 1752 | 1753 | -1 | -100 | -0.0001
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 50624 | 42555 | 8069 | 806900 | 0.8069 | 999387 | 999408 | -21 | -2100 | -0.0021
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.8957 |  |  |  |  | 0.8586
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.8957 |  |  |  |  | 0.8586
JULY-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997807 | 997807 | 0 | 0 | 0 | 949786 | 950967 | -1181 | 1181000 | 1.181
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15653 | 15653 | 0 | 0 | 0 | 967349 | 968236 | -887 | 887000 | 0.887
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14260 | 14260 | 0 | 0 | 0 | 956763 | 958166 | -1403 | 1403000 | 1.403
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978658 | 980381 | -1723 | 1723000 | 1.723 | 993802 | 993797 | 5 | -5000 | -0.005
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969977 | 971727 | -1750 | 1750000 | 1.75 | 992089 | 992086 | 3 | -3000 | -0.003
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1680 | 1680 | 0 | 0 | 0 | 995588 | 994858 | 730 | -730000 | -0.73
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1523 | 1523 | 0 | 0 | 0 | 984663 | 984662 | 1 | -1000 | -0.001
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 614 | 614 | 0 | 0 | 0 | 991805 | 991752 | 53 | -106000 | -0.106
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999729 | 999729 | 0 | 0 | 0 | 977287 | 977084 | 203 | -203000 | -0.203
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13640 | 13640 | 0 | 0 | 0 | 961749 | 963407 | -1658 | 1658000 | 1.658
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970439 | 970439 | 0 | 0 | 0 | 913126 | 917249 | -4123 | 4123000 | 4.123
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21316 | 21204 | 112 | -112000 | -0.112 | 25509 | 24598 | 911 | -911000 | -0.911
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15366 | 15250 | 116 | -116000 | -0.116 | 34081 | 32783 | 1298 | -1298000 | -1.298
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.245 |  |  |  |  | 5.995
| (B) NET ENERGY TO EAST | [8 empty] | 3.245 |  |  |  |  | 5.995
6
JULY-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991070 | 991474 | -404 | 404000 | 0.404 | 998460 | 998477 | -17 | 17000 | 0.017
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999285 | 999481 | -196 | 98000 | 0.098 | 999789 | 999802 | -13 | 6500 | 0.0065
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 11464 | 9553 | 1911 | -191100 | -0.1911 | 61506 | 60574 | 932 | -93200 | -0.0932
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 16218 | 14980 | 1238 | -123800 | -0.1238 | 120024 | 119215 | 809 | -80900 | -0.0809
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995028 | 995346 | -318 | 31800 | 0.0318 | 4406 | 4572 | -166 | 16600 | 0.0166
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 23752 | 21724 | 2028 | -202800 | -0.2028 | 79529 | 78913 | 616 | -61600 | -0.0616
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53409 | 49512 | 3897 | -3897000 | -3.897 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 999990 | 999991 | -1 | 800 | 0.0008 | 999623 | 999938 | -315 | 252000 | 0.252
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999597 | 999597 | 0 | 0 | 0 | 35659 | 35533 | 126 | -126000 | -0.126
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999515 | 999518 | -3 | 3999.99 | 0.004 | 118 | 145 | -27 | 35999.91 | 0.036
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 701 | 697 | 4 | -4000 | -0.004 | 15420 | 15060 | 360 | -360000 | -0.36
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998981 | 998978 | 3 | -3000 | -0.003 | 3154 | 3274 | -120 | 120000 | 0.12
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 677 | 678 | -1 | 1000 | 0.001 | 54169 | 52874 | 1295 | -1295000 | -1.295
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3440 | 3440 | 0 | 0 | 0 | 28040 | 27689 | 351 | -175500 | -0.1755
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3187 | 3187 | 0 | 0 | 0 | 19531 | 19135 | 396 | -198000 | -0.198
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3232 | 3232 | 0 | 0 | 0 | 13187 | 12883 | 304 | -152000 | -0.152
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3182 | 0 | 0 | 0 | 15054 | 14701 | 353 | -176500 | -0.1765
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 90882 | 89439 | 1443 | -144300 | -0.1443 | 26549 | 26267 | 282 | -28200 | -0.0282
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 9986 | 9168 | 818 | -81800 | -0.0818 | 33164 | 32897 | 267 | -26700 | -0.0267
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999544 | 999531 | 13 | -1300 | -0.0013 | 5371 | 5051 | 320 | -32000 | -0.032
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2429 | 2377 | 52 | -5200 | -0.0052 | 13195 | 12749 | 446 | -44600 | -0.0446
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 5895 | 5649 | 246 | -24600 | -0.0246 | 47768 | 46718 | 1050 | -105000 | -0.105
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8169 | 8184 | -15 | 1500 | 0.0015 | 19040 | 19054 | -14 | 1400 | 0.0014
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999713 | 999703 | 10 | -1000 | -0.001 | 253 | 251 | 2 | -200 | -0.0002
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 1309 | 1056 | 253 | -25300 | -0.0253 | 60014 | 58822 | 1192 | -119200 | -0.1192
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 2510 | 2120 | 390 | -39000 | -0.039 | 51861 | 51316 | 545 | -54500 | -0.0545
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 3036 | 2576 | 460 | -46000 | -0.046 | 74513 | 73675 | 838 | -83800 | -0.0838
[10 empty] | -4.2491 |  |  |  |  | -2.7634
JULY-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.8957 |  |  |  |  | 0.8586
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -4.2491 |  |  |  |  | -2.7634
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3806 |  |  |  |  | -0.0467
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.734 |  |  |  |  | -1.9515
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.245 |  |  |  |  | 5.995
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.489 |  |  |  |  | 4.0435
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.489 | (REACTIVE MUs) |  |  |  | 4.0435 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.070994 | (REACTIVE MUs) |  |  |  | 0.80249 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.41801 | (REACTIVE MUs) |  |  |  | 4.846 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999233 | 999216 | 17 | 17000 | 0.017 | 11474 | 11621 | -147 | -147000 | -0.147
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 993035 | 994086 | -1051 | -105100 | -0.1051 | 677836 | 677884 | -48 | -4800 | -0.0048
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5030 | 5030 | 0 | 0 | 0 | 45240 | 45094 | 146 | 146000 | 0.146
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10178 | 9968 | 210 | 210000 | 0.21 | 561 | 610 | -49 | -49000 | -0.049
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1508 | 1155 | 353 | 105900 | 0.1059 | 33 | 447 | -414 | -124200 | -0.1242
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 6943 | 6196 | 747 | 74700 | 0.0747 | 83350 | 81280 | 2070 | 207000 | 0.207
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 34369 | 32618 | 1751 | 175100 | 0.1751 | 268836 | 268640 | 196 | 19600 | 0.0196
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 4312 | 2509 | 1803 | 180300 | 0.1803 | 338967 | 336308 | 2659 | 265900 | 0.2659
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999882 | 999884 | -2 | -2000 | -0.002 | 11159 | 11335 | -176 | -176000 | -0.176
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995229 | 995087 | 142 | -142000 | -0.142 | 964151 | 964112 | 39 | -39000 | -0.039
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993886 | 993705 | 181 | -181000 | -0.181 | 966531 | 966539 | -8 | 8000 | 0.008
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989625 | 989613 | 12 | -12000 | -0.012 | 952277 | 953972 | -1695 | 1695000 | 1.695
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999881 | 999777 | 104 | -104000 | -0.104 | 966912 | 967346 | -434 | 434000 | 0.434
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 282 | 284 | -2 | 2000 | 0.002 | 996101 | 998655 | -2554 | 2554000 | 2.554
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999979 | 999977 | 2 | -2000 | -0.002 | 997401 | 998635 | -1234 | 1234000 | 1.234
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38812 | 38798 | 14 | -14000 | -0.014 | 28279 | 27936 | 343 | -343000 | -0.343
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4638 | 4338 | 300 | -300000 | -0.3 | 12844 | 12776 | 68 | -68000 | -0.068
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24101 | 24068 | 33 | -33000 | -0.033 | 14649 | 14517 | 132 | -132000 | -0.132
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12116 | 11694 | 422 | -422000 | -0.422 | 42681 | 41641 | 1040 | -1040000 | -1.04
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5742 | 5742 | 0 | 0 | 0 | 3991 | 3991 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968639 | 969820 | -1181 | 1181000 | 1.181 | 907339 | 908497 | -1158 | 1158000 | 1.158
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993700 | 993757 | -57 | 57000 | 0.057 | 875870 | 877779 | -1909 | 1909000 | 1.909
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 306 | 306 | 0 | 0 | 0 | 2469 | 2017 | 452 | -452000 | -0.452
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 449 | 448 | 1 | -1000 | -0.001 | 993583 | 993407 | 176 | -176000 | -0.176
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998368 | 998254 | 114 | -114000 | -0.114 | 958350 | 958912 | -562 | 562000 | 0.562
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 943142 | 944160 | -1018 | 1018000 | 1.018
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 932963 | 933982 | -1019 | 1019000 | 1.019
BRPL(+) continue | [14 empty] | JULY-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998873 | 998873 | 0 | 0 | 0 | 978501 | 977781 | 720 | -720000 | -0.72
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 76 | 0 | 0 | 0 | 995817 | 994648 | 1169 | -1169000 | -1.169
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989962 | 989962 | 0 | 0 | 0 | 976142 | 977256 | -1114 | 2228000 | 2.228
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998544 | 998544 | 0 | 0 | 0 | 942977 | 944605 | -1628 | 1628000 | 1.628
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1599 | 1599 | 0 | 0 | 0 | 952797 | 956098 | -3301 | 3301000 | 3.301
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998746 | 998746 | 0 | 0 | 0 | 949169 | 950761 | -1592 | 1592000 | 1.592
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991715 | 991715 | 0 | 0 | 0 | 978121 | 984830 | -6709 | 4472662.194 | 4.4727
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 187 | 187 | 0 | 0 | 0 | 1005 | 803 | 202 | -404000 | -0.404
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996903 | 996903 | 0 | 0 | 0 | 286 | 97 | 189 | -378000 | -0.378
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998439 | 999570 | -1131 | 1131000 | 1.131 | 999942 | 1000000 | -58 | 58000 | 0.058 | ROLL OVER
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998834 | 999507 | -673 | 673000 | 0.673 | 0 | 0 | 0 | 0 | 0
PARK STREET
42 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999597 | 999597 | 0 | 0 | 0 | 35659 | 35533 | 126 | 126000 | 0.126
43 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999515 | 999518 | -3 | -3999.99 | -0.004 | 118 | 145 | -27 | -35999.91 | -0.036
SARITA VIHAR
44 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2671 | 2669 | 2 | -2000 | -0.002 | 981686 | 982063 | -377 | 377000 | 0.377
45 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999303 | 999297 | 6 | -6000 | -0.006 | 988204 | 988322 | -118 | 118000 | 0.118
NARAINA
46 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4610 | 4524 | 86 | 8600 | 0.0086 | 8139 | 8026 | 113 | 11300 | 0.0113
SUDARSHAN PARK
47 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38213 | 38092 | 121 | 12100 | 0.0121 | 146915 | 146856 | 59 | 5900 | 0.0059
REWARI LINE
48 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
49 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982126 | 982328 | -202 | -202000 | -0.202 | 992818 | 992900 | -82 | -82000 | -0.082
A.I.I.M.S.
50 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999578 | 999572 | 6 | 600 | 0.0006 | 4009 | 2827 | 1182 | 118200 | 0.1182
51 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3118 | 3113 | 5 | 500 | 0.0005 | 8956 | 7795 | 1161 | 116100 | 0.1161
66KV GHEBRA
52 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998321 | 998325 | -4 | -5000 | -0.005 | 375 | 322 | 53 | 66250 | 0.06625
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1777 |  |  |  |  | 20.9079
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 975305 | 975305 | 0 | 0 | 0 | 857574 | 857574 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 80780 | 78241 | 2539 | -253900 | -0.2539 | 1752 | 1753 | -1 | 100 | 0.0001
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 50624 | 42555 | 8069 | -806900 | -0.8069 | 999387 | 999408 | -21 | 2100 | 0.0021
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 567 | 567 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 754489 | 750257 | 4232 | -423200 | -0.4232 | 43953 | 43876 | 77 | -7700 | -0.0077
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3063 | 3075 | -12 | 12000 | 0.012 | 1754 | 1653 | 101 | -101000 | -0.101
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 783670 | 774228 | 9442 | -944200 | -0.9442 | 39099 | 39012 | 87 | -8700 | -0.0087
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 16791 | 16258 | 533 | -53300 | -0.0533 | 50610 | 49695 | 915 | -91500 | -0.0915
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 14771 | 14626 | 145 | -14500 | -0.0145 | 51086 | 50397 | 689 | -68900 | -0.0689
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 39908 | 38484 | 1424 | -284800 | -0.2848 | 103303 | 102710 | 593 | -118600 | -0.1186
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 17776 | 16915 | 861 | -86100 | -0.0861 | 9823 | 8320 | 1503 | -150300 | -0.1503
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 17507 | 17091 | 416 | -41600 | -0.0416 | 617466 | 613936 | 3530 | -353000 | -0.353
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 86027 | 85943 | 84 | -8400 | -0.0084 | 208459 | 197317 | 11142 | -1114200 | -1.1142
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 159459 | 159080 | 379 | 37900 | 0.0379 | 33178 | 31900 | 1278 | 127800 | 0.1278
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 854 | 775 | 79 | -7900 | -0.0079 | 12103 | 11903 | 200 | -20000 | -0.02
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9018 | 9269 | -251 | 25100 | 0.0251 | 53243 | 49860 | 3383 | -338300 | -0.3383
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7231 | 7231 | 0 | 0 | 0 | 10335 | 10335 | 0 | 0 | 0
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9058 | 9058 | 0 | 0 | 0 | 29641 | 28638 | 1003 | -100300 | -0.1003
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 31113 | 30955 | 158 | -15800 | -0.0158 | 9937 | 9082 | 855 | -85500 | -0.0855
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14613 | 14606 | 7 | -700 | -0.0007 | 9462 | 9192 | 270 | -27000 | -0.027
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998150 | 21 | -2100 | -0.0021 | 947 | 388 | 559 | -55900 | -0.0559
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4567 | 4567 | 0 | 0 | 0 | 12606 | 12605 | 1 | 400 | 0.0004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.8684 |  |  |  |  | -2.5105
JULY-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.1777 |  |  |  |  | 20.9079
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.8684 |  |  |  |  | -2.5105
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.1189 |  |  |  |  | 1.6673
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0958 |  |  |  |  | -0.4687
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.9054 |  |  |  |  | 19.596
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.9054 | (REACTIVE MUs) |  |  |  | 19.596 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1246 | (REACTIVE MUs) |  |  |  | 1.4084 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.7808 | (REACTIVE MUs) |  |  |  | 21.0044 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 11464 | 9553 | 1911 | 191100 | 0.1911 | 61506 | 60574 | 932 | 93200 | 0.0932
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 16218 | 14980 | 1238 | 123800 | 0.1238 | 120024 | 119215 | 809 | 80900 | 0.0809
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995028 | 995346 | -318 | -31800 | -0.0318 | 4406 | 4572 | -166 | -16600 | -0.0166
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 23752 | 21724 | 2028 | 202800 | 0.2028 | 79529 | 78913 | 616 | 61600 | 0.0616
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 53409 | 49512 | 3897 | 3897000 | 3.897 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 999990 | 999991 | -1 | -800 | -0.0008 | 999623 | 999938 | -315 | -252000 | -0.252
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997791 | 997820 | -29 | -2900 | -0.0029 | 276539 | 274798 | 1741 | 174100 | 0.1741
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 5460 | 5025 | 435 | 43500 | 0.0435 | 412386 | 409618 | 2768 | 276800 | 0.2768
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 9979 | 9513 | 466 | 46600 | 0.0466 | 189516 | 186522 | 2994 | 299400 | 0.2994
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 4877 | 4495 | 382 | 38200 | 0.0382 | 299557 | 299311 | 246 | 24600 | 0.0246
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998935 | 998884 | 51 | 5100 | 0.0051 | 217956 | 214183 | 3773 | 377300 | 0.3773
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999031 | 998744 | 287 | 28700 | 0.0287 | 124671 | 123315 | 1356 | 135600 | 0.1356
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 9579 | 9393 | 186 | 18600 | 0.0186 | 181710 | 182635 | -925 | -92500 | -0.0925
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 9167 | 8614 | 553 | 55300 | 0.0553 | 222112 | 221485 | 627 | 62700 | 0.0627
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58050 | 56773 | 1277 | 1404700 | 1.4047
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4856 | 4839 | 17 | 17000 | 0.017 | 36306 | 36284 | 22 | 22000 | 0.022
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 124718 | 122731 | 1987 | 2185700 | 2.1857
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8275 | 8210 | 65 | 65000 | 0.065 | 48237 | 48186 | 51 | 51000 | 0.051
[10 empty] | 0.082 |  |  |  |  | 3.6634
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 754489 | 750257 | 4232 | 423200 | 0.4232 | 43953 | 43876 | 77 | 7700 | 0.0077
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3063 | 3075 | -12 | -12000 | -0.012 | 1754 | 1653 | 101 | 101000 | 0.101
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 783670 | 774228 | 9442 | 944200 | 0.9442 | 39099 | 39012 | 87 | 8700 | 0.0087
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 17776 | 16915 | 861 | 86100 | 0.0861 | 9823 | 8320 | 1503 | 150300 | 0.1503
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 17507 | 17091 | 416 | 41600 | 0.0416 | 617466 | 613936 | 3530 | 353000 | 0.353
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 86027 | 85943 | 84 | 8400 | 0.0084 | 208459 | 197317 | 11142 | 1114200 | 1.1142
JULY-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 159459 | 159080 | 379 | -37900 | -0.0379 | 33178 | 31900 | 1278 | -127800 | -0.1278
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 854 | 775 | 79 | 7900 | 0.0079 | 12103 | 11903 | 200 | 20000 | 0.02
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 16791 | 16258 | 533 | 53300 | 0.0533 | 50610 | 49695 | 915 | 91500 | 0.0915
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 14771 | 14626 | 145 | 14500 | 0.0145 | 51086 | 50397 | 689 | 68900 | 0.0689
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 39908 | 38484 | 1424 | 284800 | 0.2848 | 103303 | 102710 | 593 | 118600 | 0.1186
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 975305 | 975305 | 0 | 0 | 0 | 857574 | 857574 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999578 | 999572 | 6 | -600 | -0.0006 | 4009 | 2827 | 1182 | -118200 | -0.1182
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3118 | 3113 | 5 | -500 | -0.0005 | 8956 | 7795 | 1161 | -116100 | -0.1161
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.5102 |  |  |  |  | 6.5603
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.5102 |  |  |  |  | 6.5603
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.016005 |  |  |  |  | 0.18091
| TOTAL ENERGY TO NDMC | [8 empty] | 6.5262 |  |  |  |  | 6.7412

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 549 | 0 | 0 | 0 | 13146 | 12616 | 530 | 530000 | 0.53
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 382 | 0 | 0 | 0 | 17955 | 17542 | 413 | 413000 | 0.413
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 669 | 0 | 0 | 0 | 25287 | 24792 | 495 | 495000 | 0.495
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13190 | 12926 | 264 | 264000 | 0.264
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1293 | 1291 | 2 | 2000 | 0.002 | 6543 | 6329 | 214 | 214000 | 0.214
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 567 | 567 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.002 |  |  |  |  | 1.916
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3272 | 3240 | 32 | 3200 | 0.0032 | 32914 | 32449 | 465 | 46500 | 0.0465
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 23949 | 23660 | 289 | 28900 | 0.0289 | 57246 | 56339 | 907 | 90700 | 0.0907
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 63855 | 63789 | 66 | 6600 | 0.0066 | 6269 | 6209 | 60 | 6000 | 0.006
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 15351 | 14976 | 375 | 37500 | 0.0375 | 42897 | 41660 | 1237 | 123700 | 0.1237
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999786 | 999782 | 4 | 400 | 0.0004 | 15250 | 14816 | 434 | 43400 | 0.0434
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69665 | 69505 | 160 | 16000 | 0.016 | 34483 | 33315 | 1168 | 116800 | 0.1168
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 711 | 679 | 32 | 3200 | 0.0032 | 2751 | 2335 | 416 | 41600 | 0.0416
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0958 |  |  |  |  | 0.4687
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7529 | 7529 | 0 | 0 | 0 | 18955 | 18955 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0958 |  |  |  |  | 0.4687
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.002 |  |  |  |  | 1.916
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0978 |  |  |  |  | 2.3847
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0978 | (REACTIVE MUs) |  |  |  | 2.3847 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0022576 | (REACTIVE MUs) |  |  |  | 0.025519 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.10006 | (REACTIVE MUs) |  |  |  | 2.4102 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 58675 | 59515 | -840 | -84000 | -0.084 | 77269 | 76714 | 555 | 55500 | 0.0555
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 13633 | 14180 | -547 | -54700 | -0.0547 | 999600 | 999857 | -257 | -25700 | -0.0257
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 159231 | 156747 | 2484 | 248400 | 0.2484 | 88981 | 87477 | 1504 | 150400 | 0.1504
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13335 | 13563 | -228 | -228000 | -0.228 | 17317 | 17162 | 155 | 155000 | 0.155
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993839 | 993839 | 0 | 0 | 0 | 951809 | 954428 | -2619 | 1309500 | 1.3095
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994432 | 0 | 0 | 0 | 989122 | 989172 | -50 | 25000 | 0.025
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999989 | -2 | -600 | -0.0006 | 999896 | 999904 | -8 | -2400 | -0.0024
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.1189 |  |  |  |  | 1.6673
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 956074 | 956939 | -865 | -173000 | -0.173 | 991223 | 991129 | 94 | 18800 | 0.0188
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 917178 | 919254 | -2076 | -207600 | -0.2076 | 929973 | 930628 | -655 | -65500 | -0.0655
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3806 |  |  |  |  | -0.0467
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 159391 | 158418 | 973 | 194600 | 0.1946 | 254949 | 253605 | 1344 | 268800 | 0.2688
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 42999 | 41105 | 1894 | 378800 | 0.3788 | 39875 | 39356 | 519 | 103800 | 0.1038
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 52743 | 49123 | 3620 | 362000 | 0.362 | 69391 | 68389 | 1002 | 100200 | 0.1002
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986984 | 987598 | -614 | -614000 | -0.614 | 997664 | 997679 | -15 | -15000 | -0.015
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 983731 | 983988 | -257 | -25700 | -0.0257 | 7621 | 7732 | -111 | -11100 | -0.0111
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 138 | 138 | 0 | 0 | 0 | 1184 | 683 | 501 | 469687.5 | 0.46969
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993576 | 993737 | -161 | 80500 | 0.0805 | 995791 | 995847 | -56 | 28000 | 0.028
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999989 | -2 | 600 | 0.0006 | 999896 | 999904 | -8 | 2400 | 0.0024
| TOTAL NDPL | [8 empty] | 0.3768 |  |  |  |  | 0.94679
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.1189 |  |  |  |  | 1.6673
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3806 |  |  |  |  | -0.0467
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.3768 |  |  |  |  | 0.94679

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6795 | 6852 | -57 | -114000 | -0.114 | 999958 | 999948 | 10 | 20000 | 0.02
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5994 | 6051 | -57 | -114000 | -0.114 | 999729 | 999721 | 8 | 16000 | 0.016
[7 empty] | NET REACTIVE ENERGY |  |  | -0.228 |  | NET REACTIVE ENERGY |  |  | 0.036
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999647 | 999647 | 0 | 0 | 0 | 43618 | 43636 | -18 | -18000 | -0.018
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991402 | 991402 | 0 | 0 | 0 | 991937 | 992037 | -100 | -100000 | -0.1
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -0.118
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.228 |  |  |  |  | -0.082
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1478 |  |  |  |  | -6.9024
[7 empty] | NDMC = |  |  | 0.082 |  |  |  |  | 3.6634
MES =
[7 empty] | 2)TOTAL |  |  | -0.0658 |  |  |  |  | -3.239
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.2938 |  |  |  |  | -3.321
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.2109 | % |  |  | -0.079946 |  |  |  |  | -0.90367
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.409 | % |  |  | -0.1246 |  |  |  |  | -1.4084
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1642 | % |  |  | -0.070994 |  |  |  |  | -0.80249
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.4475 | % |  |  | -0.016005 |  |  |  |  | -0.18091
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7684 | % |  |  | -0.0022576 |  |  |  |  | -0.025519
Note :Sharing taken from wk-15 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2011 TO 31st JULY-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.87745 | + | 8.7171
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.7808 | + | 21.0044
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.41801 | + | 4.846
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.5262 | + | 6.7412
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.10006 | + | 2.4102
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/11 | INTIAL READING 01/07/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 988840 | 989656 | -816 | -1224000 | -1.224 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 983416 | 984416 | -1000 | -1500000 | -1.5 | 986950 | 986951 | -1 | -1500 | -0.0015
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 946914 | 948838 | -1924 | -2886000 | -2.886 | 970209 | 970209 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.61 |  |  | NET REACTIVE ENERGY |  | -0.0015
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 996973 | 997005 | -32 | -160000 | -0.16 | 37570 | 37720 | -150 | -750000 | -0.75 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999484 | 999502 | -18 | -18000 | -0.018 | 8566 | 8546 | 20 | 20000 | 0.02 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977882 | 978642 | -760 | -760000 | -0.76 | 991638 | 992206 | -568 | -568000 | -0.568
[8 empty] | NET REACTIVE ENERGY |  | -0.938 |  |  | NET REACTIVE ENERGY |  | -1.298