## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2598 | 785 | 1813 | -1813000 | -1.813 | 999999 | 1000006 | -7 | 7000 | 0.007
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8977 | 8800 | 177 | -177000 | -0.177 | 998991 | 999116 | -125 | 125000 | 0.125
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969500 | 969703 | -203 | 203000 | 0.203 | 995748 | 995764 | -16 | 16000 | 0.016
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 998991 | 0 | 0 | 0 | 989790 | 994983 | -5193 | 5193000 | 5.193
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1039 | 578 | 461 | -461000 | -0.461 | 999370 | 999297 | 73 | -73000 | -0.073
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24035 | 24026 | 9 | -9000 | -0.009 | 17762 | 17807 | -45 | 45000 | 0.045
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 440 | 434 | 6 | -6000 | -0.006 | 999885 | 999936 | -51 | 51000 | 0.051
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12175 | 12168 | 7 | -8750 | -0.00875 | 992310 | 992364 | -54 | 67500 | 0.0675
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995054 | 995091 | -37 | 37000 | 0.037 | 981518 | 981573 | -55 | 55000 | 0.055
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999688 | 999756 | -68 | 68000 | 0.068 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999937 | 1000011 | -74 | 74000 | 0.074 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979027 | 979107 | -80 | 80000 | 0.08 | 997757 | 997764 | -7 | 7000 | 0.007
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 962701 | 964261 | -1560 | -1560000 | -1.56 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982734 | 982722 | 12 | -12000 | -0.012 | 16942 | 16909 | 33 | -33000 | -0.033
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5481 | 5389 | 92 | -92000 | -0.092 | 20568 | 20493 | 75 | -75000 | -0.075
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12016 | 11913 | 103 | -103000 | -0.103 | 235 | 181 | 54 | -54000 | -0.054
NARAINA
17 | O/G REWARI LINE 1(payal) | 5128404 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999979 | 999979 | 0 | 0 | 0 | 995212 | 995411 | -199 | -199000 | -0.199 | Chk Mtr Data till 14/07/2016
|  | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 999996 | 1000000 | -4 | -1600 | -0.0016 | 999858 | 1000000 | -142 | -56800 | -0.0568 | w.e.f 15/07/2016
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 783 | 782 | 1 | 1000 | 0.001 | 27829 | 28081 | -252 | -252000 | -0.252
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6336 | 6332 | 4 | 400 | 0.0004 | 176987 | 175723 | 1264 | 126400 | 0.1264
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 83690 | 64647 | 19043 | 1904300 | 1.9043 | 253878 | 253776 | 102 | 10200 | 0.0102
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 993938 | 994777 | -839 | -839000 | -0.839
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 1881 | 2349 | -468 | -468000 | -0.468
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 6326 | 1822 | 4504 | 450400 | 0.4504 | 6362 | 5383 | 979 | 97900 | 0.0979
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634325 | 634367 | -42 | -42000 | -0.042 | 796183 | 796304 | -121 | -121000 | -0.121
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627188 | 627296 | -108 | -108000 | -0.108 | 829419 | 829500 | -81 | -81000 | -0.081
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 227 | 115 | 112 | 44800 | 0.0448 | 999165 | 999344 | -179 | -71600 | -0.0716 | w.e.f 11/05/2016
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5449 | 5449 | 0 | 0 | 0 | 2709 | 2880 | -171 | -85500 | -0.0855
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24726 | 24786 | -60 | 60000 | 0.06 | 980861 | 980863 | -2 | 2000 | 0.002
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11990 | 11854 | 136 | -136000 | -0.136 | 996747 | 996745 | 2 | -2000 | -0.002
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995096 | 995174 | -78 | 78000 | 0.078 | 999835 | 999846 | -11 | 11000 | 0.011
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4826 | 4666 | 160 | -160000 | -0.16 | 999576 | 999623 | -47 | 47000 | 0.047 | Data till 25/07/2016
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22857 | 20437 | 2420 | -2420000 | -2.42 | 16 | 39 | -23 | 23000 | 0.023
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9519 | 8710 | 809 | -809000 | -0.809 | 998816 | 998818 | -2 | 2000 | 0.002
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19858 | 18264 | 1594 | -1594000 | -1.594 | 1594 | 1582 | 12 | -12000 | -0.012
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5691 | 5774 | -83 | 83000 | 0.083 | 998414 | 998418 | -4 | 4000 | 0.004
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 156 | 92 | -92000 | -0.092 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993354 | 0 | 0 | 0 | 998835 | 998754 | 81 | -81000 | -0.081
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9111 | 9106 | 5 | -5000 | -0.005 | 1339 | 1197 | 142 | -142000 | -0.142
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2074 | 2074 | 0 | 0 | 0 | 26290 | 25866 | 424 | 424000 | 0.424
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 40 | 36 | 4 | 400 | 0.0004 | 17437 | 12827 | 4610 | 461000 | 0.461
| NDPL(+) continue | [14 empty] | JULY-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 175505 | 175505 | 0 | 0 | 0 | 262419 | 262419 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.105 |  |  |  |  | 0.06 | Assessment
|  | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 999900 | 1000000 | -100 | -41666 | -0.041666 | 47 | 0 | 47 | 19583.02 | 0.019583 | w.e.f 22/07/2016
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9214 | 9223 | -9 | -900 | -0.0009 | 37505 | 37528 | -23 | -2300 | -0.0023
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11612 | 11403 | 209 | 20900 | 0.0209 | 70456 | 69642 | 814 | 81400 | 0.0814
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 663 | 645 | 18 | 1800 | 0.0018 | 10547 | 7853 | 2694 | 269400 | 0.2694
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 11822 | 11090 | 732 | 73200 | 0.0732 | 11282 | 11165 | 117 | 11700 | 0.0117
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16050 | 16050 | 0 | 0 | 0 | 21914 | 21914 | 0 | 0 | 0
[10 empty] | -0.002 |  |  |  |  | 0.016 | Assessment
|  | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 388 | 0 | 388 | 38800 | 0.0388 | w.e.f 21/07/2016
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 990571 | 990863 | -292 | -12976.48 | -0.012976 | 252 | 263 | -11 | -488.84 | -0.00048884
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5444 | 5438 | 6 | 3000 | 0.003 | 34375 | 34283 | 92 | 46000 | 0.046
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999895 | 4 | 2000 | 0.002 | 526 | 457 | 69 | 34500 | 0.0345
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 75 | 63 | 12 | 8000.04 | 0.008 | 88 | 52 | 36 | 24000.12 | 0.024
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2525 | 2512 | 13 | 8666.6667 | 0.0086667 | 1268 | 1191 | 77 | 51333.3333 | 0.051333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998410 | 998417 | -7 | -700 | -0.0007 | 777 | 744 | 33 | 3300 | 0.0033
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999741 | 999745 | -4 | -400 | -0.0004 | 999931 | 999938 | -7 | -700 | -0.0007
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24031 | 24049 | -18 | -1800 | -0.0018 | 57862 | 57872 | -10 | -1000 | -0.001
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1862 | 1849 | 13 | 1300 | 0.0013 | 5389 | 4708 | 681 | 68100 | 0.0681
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27320 | 27054 | 266 | 26600 | 0.0266 | 67641 | 67544 | 97 | 9700 | 0.0097
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 5255 | 4771 | 484 | 48400 | 0.0484 | 2035 | 1826 | 209 | 20900 | 0.0209
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 190860 | 189034 | 1826 | 182600 | 0.1826 | 19712 | 19838 | -126 | -12600 | -0.0126
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24476 | 24476 | 0 | 0 | 0 | 50410 | 49729 | 681 | 68100 | 0.0681
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972919 | 972919 | 0 | 0 | 0 | 996860 | 997601 | -741 | -592800 | -0.5928
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2076 | 2076 | 0 | 0 | 0 | 1083 | 985 | 98 | 196000 | 0.196
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 57 | 2105 | -2048 | -204800 | -0.2048
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.314 |  |  |  |  | 4.3332
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 23898 | 23898 | 0 | 0 | 0 | 25567 | 25567 | 0 | 0 | 0 | meter faulty
[10 empty] | -0.0207 |  |  |  |  | -0.0762 | Assessment
|  | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 508 | 0 | 508 | -50800 | -0.0508 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/07/2016
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13849 | 13849 | 0 | 0 | 0 | 8150 | 8083 | 67 | -67000 | -0.067 | Data till 25/07
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11770 | 11770 | 0 | 0 | 0 | 20405 | 19034 | 1371 | -274200 | -0.2742
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86052 | 86052 | 0 | 0 | 0 | 122775 | 121699 | 1076 | -1076000 | -1.076
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19801 | 19749 | 52 | -5200 | -0.0052 | 143376 | 143076 | 300 | -30000 | -0.03 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 991609 | 992738 | -1129 | 903200 | 0.9032 | 999959 | 999965 | -6 | 4800 | 0.0048 | Data till 27/07
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.8265 |  |  |  |  | -1.5186
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.314 |  |  |  |  | 4.3332
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.8265 |  |  |  |  | -1.5186
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.030075 |  |  |  |  | -0.91594
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.4575 |  |  |  |  | 1.8987
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.4575 | (REACTIVE MUs) |  |  |  | 1.8987 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.063819 | (REACTIVE MUs) |  |  |  | -1.1816 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.3936 | (REACTIVE MUs) |  |  |  | 0.71712 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 15085 | 12206 | 2879 | 287900 | 0.2879 | 1855 | 1836 | 19 | 1900 | 0.0019
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 5624 | 4943 | 681 | 204300 | 0.2043 | 1291 | 1326 | -35 | -10500 | -0.0105
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 18899 | 18899 | 0 | 0 | 0 | 35221 | 35221 | 0 | 0 | 0
|  | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 661 | 0 | 661 | 49575 | 0.049575 | 999787 | 1000000 | -213 | -15975 | -0.015975 | w.e.f 06/07/2016
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999332 | 999156 | 176 | 52800 | 0.0528 | 5279 | 5513 | -234 | -70200 | -0.0702
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1630 | 1630 | 0 | 0 | 0 | 2637 | 2637 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 30943 | 30040 | 903 | 90300 | 0.0903 | 171010 | 172167 | -1157 | -115700 | -0.1157
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 992135 | 1000004 | -7869 | -590175 | -0.59018 | 999438 | 999999 | -561 | -42075 | -0.042075 | wef 30/6/2016
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989322 | 989323 | -1 | -1000 | -0.001 | 1741 | 1580 | 161 | 161000 | 0.161
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997574 | 997573 | 1 | 1000 | 0.001 | 3207 | 3177 | 30 | 30000 | 0.03
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 209 | 209 | 0 | 0 | 0 | 777 | 892 | -115 | -115000 | -0.115
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997242 | 997254 | -12 | -12000 | -0.012 | 1741 | 1948 | -207 | -207000 | -0.207
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995100 | 995057 | 43 | 43000 | 0.043 | 5179 | 5100 | 79 | 79000 | 0.079
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998473 | 998482 | -9 | -9000 | -0.009 | 999263 | 999332 | -69 | -69000 | -0.069
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999335 | 999336 | -1 | -1000 | -0.001 | 17417 | 17310 | 107 | 107000 | 0.107
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999942 | 999933 | 9 | 7200 | 0.0072 | 1223 | 762 | 461 | 368800 | 0.3688
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999727 | 999727 | 0 | 0 | 0 | 29391 | 29057 | 334 | 334000 | 0.334
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1356 | 1351 | 5 | 5000 | 0.005 | 9560 | 9483 | 77 | 77000 | 0.077
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12006 | 11996 | 10 | 1000 | 0.001 | 354 | 350 | 4 | 400 | 0.0004
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998205 | 998204 | 1 | 1000 | 0.001 | 15630 | 15404 | 226 | 226000 | 0.226
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 966946 | 969256 | -2310 | -3176250 | -3.1763
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 672591 | 676140 | -3549 | -3903900 | -3.9039
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980612 | 980670 | -58 | -58000 | -0.058 | 8017 | 8109 | -92 | -92000 | -0.092
| KASHMIRI GATE | [8 empty] | -0.0228 |  |  |  |  | -6.1799
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950101 | 950102 | -1 | 1000 | 0.001 | 942611 | 943546 | -935 | 935000 | 0.935
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960818 | 960597 | 221 | -221000 | -0.221 | 954965 | 954965 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 878 | 874 | 4 | 4000 | 0.004 | 8593 | 8103 | 490 | 490000 | 0.49
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73998 | 73998 | 0 | 0 | 0 | 974825 | 974825 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0 |  |  |  |  | -0.082 | Assessment
|  | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 0 | 23 | -23000 | -0.023 | 999920 | 1000000 | -80 | 80000 | 0.08 | w.e.f 21/07/2016
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53519 | 53500 | 19 | -19000 | -0.019 | 970660 | 970663 | -3 | 3000 | 0.003
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994167 | 994154 | 13 | -13000 | -0.013 | 993860 | 993827 | 33 | -33000 | -0.033
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997610 | 997615 | -5 | 5000 | 0.005 | 145 | 64 | 81 | -81000 | -0.081
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4731 | 4753 | -22 | 44000 | 0.044 | 999101 | 999239 | -138 | 276000 | 0.276
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999085 | 999137 | -52 | 104000 | 0.104 | 999813 | 999883 | -70 | 140000 | 0.14
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997725 | 998135 | -410 | 410000 | 0.41 | 999857 | 999886 | -29 | 29000 | 0.029
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11770 | 11770 | 0 | 0 | 0 | 20405 | 19034 | 1371 | 274200 | 0.2742
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86052 | 86052 | 0 | 0 | 0 | 122775 | 121699 | 1076 | 1076000 | 1.076
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94899 | 94476 | 423 | 42300 | 0.0423 | 944 | 969 | -25 | -2500 | -0.0025 | Check Meter Data
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151772 | 150307 | 1465 | 146500 | 0.1465 | 35114 | 31402 | 3712 | 371200 | 0.3712
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.5527 |  |  |  |  | -2.9566
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.5527 |  |  |  |  | -2.9566
JULY-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981304 | 981304 | 0 | 0 | 0 | 884944 | 886222 | -1278 | 1278000 | 1.278
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999995 | 999995 | 0 | 0 | 0 | 989032 | 990252 | -1220 | 1220000 | 1.22
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980132 | 980134 | -2 | 2000 | 0.002 | 950728 | 951954 | -1226 | 1226000 | 1.226
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996316 | 996316 | 0 | 0 | 0 | 978498 | 981404 | -2906 | 5812000 | 5.812
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996983 | 996983 | 0 | 0 | 0 | 590 | 328 | 262 | -262000 | -0.262
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993738 | 993738 | 0 | 0 | 0 | 999871 | 999640 | 231 | -231000 | -0.231
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8279 | 8408 | -129 | 129000 | 0.129 | 983497 | 983684 | -187 | 187000 | 0.187
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997475 | 997819 | -344 | 344000 | 0.344 | 995632 | 995955 | -323 | 323000 | 0.323
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992076 | 992112 | -36 | 36000 | 0.036 | 998121 | 998448 | -327 | 327000 | 0.327
|  | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999580 | 999785 | -205 | 205000 | 0.205
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979892 | 980069 | -177 | 177000 | 0.177 | 969660 | 971373 | -1713 | 1713000 | 1.713
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959478 | 959396 | 82 | -82000 | -0.082 | 837009 | 838345 | -1336 | 1336000 | 1.336
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14990 | 15032 | -42 | 42000 | 0.042 | 33854 | 33938 | -84 | 84000 | 0.084
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263 | 193 | 70 | -70000 | -0.07 | 999862 | 999902 | -40 | 40000 | 0.04
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17835 | 18282 | -447 | 447000 | 0.447 | 993249 | 993346 | -97 | 97000 | 0.097
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.23 |  |  |  |  | 13.15
| (B) NET ENERGY TO EAST | [8 empty] | 1.23 |  |  |  |  | 13.15
JULY-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -1000 | 227 | 115 | 112 | -112000 | -0.112 | 999165 | 999344 | -179 | 179000 | 0.179
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5449 | 5449 | 0 | 0 | 0 | 2709 | 2880 | -171 | 85500 | 0.0855
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54338 | 54286 | 52 | -10400 | -0.0104 | 84957 | 84422 | 535 | -107000 | -0.107
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72468 | 72480 | -12 | 1200 | 0.0012 | 139399 | 139482 | -83 | 8300 | 0.0083
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976861 | 976871 | -10 | 2000 | 0.002 | 996930 | 997178 | -248 | 49600 | 0.0496
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 85114 | 85051 | 63 | -12600 | -0.0126 | 106923 | 106113 | 810 | -162000 | -0.162
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14752 | 14749 | 3 | -2400 | -0.0024 | 9443 | 8790 | 653 | -522400 | -0.5224
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14192 | 14190 | 2 | -4000 | -0.004 | 3528 | 3359 | 169 | -338000 | -0.338
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977672 | 977674 | -2 | 1600 | 0.0016 | 988706 | 988993 | -287 | 229600 | 0.2296
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 997621 | 997632 | -11 | 8800 | 0.0088 | 995791 | 997030 | -1239 | 991200 | 0.9912
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998074 | 998076 | -2 | 1600 | 0.0016 | 998505 | 998936 | -431 | 344800 | 0.3448
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984188 | 984193 | -5 | 4000 | 0.004 | 994502 | 994680 | -178 | 142400 | 0.1424
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983792 | 983792 | 0 | 0 | 0 | 34860 | 34858 | 2 | -2000 | -0.002
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2074 | 2074 | 0 | 0 | 0 | 26290 | 25866 | 424 | -424000 | -0.424
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 40 | 36 | 4 | -400 | -0.0004 | 17437 | 12827 | 4610 | -461000 | -0.461
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5444 | 5438 | 6 | -3000 | -0.003 | 34375 | 34283 | 92 | -46000 | -0.046
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999895 | 4 | -2000 | -0.002 | 526 | 472 | 54 | -27000 | -0.027
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 75 | 63 | 12 | -8000.04 | -0.008 | 88 | 52 | 36 | -24000.12 | -0.024
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2525 | 2512 | 13 | -8666.6667 | -0.0086667 | 1268 | 1191 | 77 | -51333.3333 | -0.051333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 190860 | 189034 | 1826 | -182600 | -0.1826 | 19712 | 19838 | -126 | 12600 | 0.0126
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24476 | 24476 | 0 | 0 | 0 | 50410 | 49729 | 681 | -68100 | -0.0681
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998410 | 998417 | -7 | 700 | 0.0007 | 777 | 744 | 33 | -3300 | -0.0033
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999741 | 999745 | -4 | 400 | 0.0004 | 999931 | 999938 | -7 | 700 | 0.0007
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24031 | 24049 | -18 | 1800 | 0.0018 | 57862 | 57872 | -10 | 1000 | 0.001
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1862 | 1849 | 13 | -1300 | -0.0013 | 5389 | 4708 | 681 | -68100 | -0.0681
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27320 | 27054 | 266 | -26600 | -0.0266 | 67641 | 67544 | 97 | -9700 | -0.0097
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 5255 | 4773 | 482 | -48200 | -0.0482 | 2035 | 1869 | 166 | -16600 | -0.0166
[10 empty] | -0.40007 |  |  |  |  | -0.28583
JULY-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.5527 |  |  |  |  | -2.9566
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.40007 |  |  |  |  | -0.28583
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0522 |  |  |  |  | -0.043375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.10043 |  |  |  |  | -3.2858
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.23 |  |  |  |  | 13.15
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.3304 |  |  |  |  | 9.8642
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.3304 | (REACTIVE MUs) |  |  |  | 9.8642 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.051108 | (REACTIVE MUs) |  |  |  | -0.94624 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.3815 | (REACTIVE MUs) |  |  |  | 8.9179 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999740 | 999725 | 15 | 75000 | 0.075 | 999819 | 999812 | 7 | 35000 | 0.035
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984726 | 984515 | 211 | 281332.63 | 0.28133 | 673102 | 673101 | 1 | 1333.33 | 0.0013333
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 100 | 1487 | 1984 | -497 | -49700 | -0.0497 | 1021 | 966 | 55 | 5500 | 0.0055
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15760 | 15424 | 336 | 336000 | 0.336 | 359 | 356 | 3 | 3000 | 0.003
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 12341 | 11414 | 927 | 92700 | 0.0927 | 3441 | 2962 | 479 | 47900 | 0.0479
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719356 | 713334 | 6022 | 451650 | 0.45165 | 23701 | 27424 | -3723 | -279225 | -0.27923
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 987700 | 988645 | -945 | -70875 | -0.070875 | 997500 | 997741 | -241 | -18075 | -0.018075
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997828 | 997617 | 211 | 189900 | 0.1899 | 998375 | 998370 | 5 | 4500 | 0.0045
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2402 | 2394 | 8 | -4000 | -0.004 | 990223 | 992071 | -1848 | 924000 | 0.924
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989929 | 989399 | 530 | -530000 | -0.53 | 948415 | 948399 | 16 | -16000 | -0.016
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997071 | 996761 | 310 | -310000 | -0.31 | 996387 | 996462 | -75 | 75000 | 0.075
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1656 | 1283 | 373 | -373000 | -0.373 | 162 | 235 | -73 | 73000 | 0.073
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998402 | 998402 | 0 | 0 | 0 | 993054 | 996015 | -2961 | 2961000 | 2.961
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981860 | 981900 | -40 | 40000 | 0.04 | 967252 | 967448 | -196 | 196000 | 0.196
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10526 | 9679 | 847 | -847000 | -0.847 | 13003 | 12575 | 428 | -428000 | -0.428
|  | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1737 | 528 | 1209 | -1209000 | -1.209
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36404 | 36545 | -141 | 141000 | 0.141 | 986067 | 987302 | -1235 | 1235000 | 1.235
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999115 | 999587 | -472 | 472000 | 0.472 | 994392 | 995315 | -923 | 923000 | 0.923
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 721 | 721 | 0 | 0 | 0 | 992735 | 994308 | -1573 | 786500 | 0.7865
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997882 | 997510 | 372 | -372000 | -0.372 | 995286 | 995700 | -414 | 414000 | 0.414
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20020 | 20020 | 0 | 0 | 0 | 998049 | 999178 | -1129 | 1129000 | 1.129
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13867 | 13515 | 352 | -352000 | -0.352 | 999484 | 999896 | -412 | 412000 | 0.412
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13849 | 13849 | 0 | 0 | 0 | 8150 | 8083 | 67 | 67000 | 0.067 | Data till 25/07
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985055 | 985548 | -493 | 493000 | 0.493 | 987243 | 988576 | -1333 | 1333000 | 1.333
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993257 | 993399 | -142 | 142000 | 0.142 | 987628 | 989207 | -1579 | 1579000 | 1.579
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995473 | 995491 | -18 | 18000 | 0.018 | 992356 | 993465 | -1109 | 1109000 | 1.109
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990771 | 990793 | -22 | 22000 | 0.022 | 934236 | 936187 | -1951 | 1951000 | 1.951
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000337 | 999915 | 422 | -422000 | -0.422 | 34994 | 35587 | -593 | 593000 | 0.593
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998799 | 998861 | -62 | 62000 | 0.062 | 996921 | 997290 | -369 | 369000 | 0.369
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996160 | 996160 | 0 | 0 | 0 | 862581 | 862827 | -246 | 246000 | 0.246
BRPL(+) continue | [14 empty] | JULY-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996701 | 996571 | 130 | -130000 | -0.13 | 972110 | 972449 | -339 | 339000 | 0.339
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999351 | 999051 | 300 | -150000 | -0.15 | 998744 | 999360 | -616 | 308000 | 0.308
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8008 | 7916 | 92 | -184000 | -0.184 | 969578 | 969601 | -23 | 46000 | 0.046
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994015 | 994027 | -12 | 12000 | 0.012 | 901530 | 903530 | -2000 | 2000000 | 2
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994492 | 994492 | 0 | 0 | 0 | 927478 | 927496 | -18 | 18000 | 0.018
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997906 | 997921 | -15 | 15000 | 0.015 | 986652 | 988682 | -2030 | 2030000 | 2.03
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999992 | 1000087 | -95 | 95000 | 0.095 | 7109 | 7295 | -186 | 186000 | 0.186
|  | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 11130 | 11711 | -581 | 581000 | 0.581
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969939 | 969913 | 26 | -17333.316 | -0.017333 | 969677 | 970310 | -633 | 421999.578 | 0.422
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 991990 | 992113 | -123 | 307500 | 0.3075 | 999920 | 1000115 | -195 | 487500 | 0.4875
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4724 | 4702 | 22 | -44000 | -0.044 | 1926 | 1937 | -11 | 22000 | 0.022
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1628 | 1598 | 30 | -60000 | -0.06 | 977 | 987 | -10 | 20000 | 0.02
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921346 | 921429 | -83 | 83000 | 0.083 | 984500 | 985956 | -1456 | 1456000 | 1.456
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929543 | 929622 | -79 | 79000 | 0.079 | 988120 | 989235 | -1115 | 1115000 | 1.115
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30613 | 30613 | 0 | 0 | 0 | 5902 | 4609 | 1293 | 1034400 | 1.0344
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905811 | 905811 | 0 | 0 | 0 | 997491 | 997785 | -294 | -235200 | -0.2352
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999891 | 0 | 0 | 0 | 999815 | 999859 | -44 | -35200 | -0.0352
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999945 | 0 | 0 | 0 | 463 | 209 | 254 | 254000 | 0.254
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983792 | 983792 | 0 | 0 | 0 | 34860 | 34858 | 2 | 2000 | 0.002
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 310 | 0 | 310 | -310000 | -0.31 | 999979 | 999985 | -6 | 6000 | 0.006
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2752 | 2815 | -63 | 63000 | 0.063 | 999364 | 999822 | -458 | 458000 | 0.458
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15108 | 14875 | 233 | -233000 | -0.233 | 999924 | 999940 | -16 | 16000 | 0.016
NARAINA
55 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 23898 | 23898 | 0 | 0 | 0 | 25567 | 25567 | 0 | 0 | 0 | meter faulty
[10 empty] | 0.0207 |  |  |  |  | 0.0762 | Assessment
|  | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 508 | 0 | 508 | 50800 | 0.0508 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/07/2016
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19801 | 19749 | 52 | 5200 | 0.0052 | 143376 | 143076 | 300 | 30000 | 0.03 | Check Meter Data
57 | 33KV MayaPuri-1 | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | 33KV MayaPuri-2 | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 558 | 15 | 543 | 217200 | 0.2172 | 207 | 101 | 106 | 42400 | 0.0424
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 991609 | 992738 | -1129 | -903200 | -0.9032 | 999959 | 999965 | -6 | -4800 | -0.0048 | Data till 27/07
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 7148 | 668 | 6480 | 648000 | 0.648 | 5711 | 2190 | 3521 | 352100 | 0.3521
62 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 115 | 0 | 115 | 11500 | 0.0115 | 80 | 0 | 80 | 8000 | 0.008
A.I.I.M.S.
60 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3738 | 3601 | 137 | 10275 | 0.010275 | 10735 | 10023 | 712 | 53400 | 0.0534
61 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1160 | 1072 | 88 | 8800 | 0.0088 | 3614 | 3255 | 359 | 35900 | 0.0359
PEERGARHI
62 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999953 | 0 | 0 | 0 | 2311 | 2009 | 302 | 302000 | 0.302
63 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 2992 | 2030 | 962 | 962000 | 0.962
63 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998409 | 0 | 0 | 0 | 1000701 | 999923 | 778 | 778000 | 0.778
64 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 5346 | 3856 | 1490 | 1490000 | 1.49
65 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
66 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 25218 | 17774 | 7444 | 744400 | 0.7444
67 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 520 | 0 | 0 | 0 | 3932 | 3625 | 307 | 307000 | 0.307
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.1276 |  |  |  |  | 31.4385
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 146291 | 142515 | 3776 | -377600 | -0.3776 | 912835 | 912801 | 34 | -3400 | -0.0034
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865156 | ELSTER | Kvarh(Lead/Lag) | -100 | 94899 | 94476 | 423 | -42300 | -0.0423 | 944 | 969 | -25 | 2500 | 0.0025 | Check Meter Data
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151772 | 150307 | 1465 | -146500 | -0.1465 | 35114 | 31402 | 3712 | -371200 | -0.3712
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 294 | 220 | 74 | -7400 | -0.0074
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6330 | 6311 | 19 | -38000 | -0.038 | 74710 | 74527 | 183 | -366000 | -0.366
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14765 | 14777 | -12 | 12000 | 0.012 | 1000083 | 999859 | 224 | -224000 | -0.224
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906634 | 906633 | 1 | -500 | -0.0005 | 60117 | 59014 | 1103 | -551500 | -0.5515
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79587 | 79460 | 127 | -12700 | -0.0127 | 70660 | 70130 | 530 | -53000 | -0.053
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87801 | 87664 | 137 | -13700 | -0.0137 | 70721 | 69786 | 935 | -93500 | -0.0935
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 17991 | 17751 | 240 | -24000 | -0.024 | 19650 | 18103 | 1547 | -154700 | -0.1547
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999601 | 1000000 | -399 | -332498.67 | -0.3325
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 373610 | 376746 | -3136 | 313600 | 0.3136 | 49082 | 49177 | -95 | 9500 | 0.0095
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4365 | 4274 | 91 | -9100 | -0.0091 | 25410 | 24632 | 778 | -77800 | -0.0778
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 175505 | 175505 | 0 | 0 | 0 | 262419 | 262419 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.105 |  |  |  |  | -0.06 | Assessment
|  | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 999900 | 1000000 | -100 | 41666 | 0.041666 | 47 | 0 | 47 | -19583.02 | -0.019583 | w.e.f 22/07/2016
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9214 | 9223 | -9 | 900 | 0.0009 | 37505 | 37528 | -23 | 2300 | 0.0023
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11612 | 11403 | 209 | -20900 | -0.0209 | 70456 | 69642 | 814 | -81400 | -0.0814
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 663 | 645 | 18 | -1800 | -0.0018 | 10547 | 7853 | 2694 | -269400 | -0.2694
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 11822 | 11090 | 732 | -73200 | -0.0732 | 11282 | 11165 | 117 | -11700 | -0.0117
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16050 | 16050 | 0 | 0 | 0 | 21914 | 21914 | 0 | 0 | 0
[10 empty] | 0.002 |  |  |  |  | -0.016 | Assessment
|  | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 388 | 0 | 388 | -38800 | -0.0388 | w.e.f 21/07/2016
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 990571 | 990863 | -292 | 12976.48 | 0.012976 | 252 | 263 | -11 | 488.84 | 0.00048884
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.27216 |  |  |  |  | -2.7171
JULY-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.1276 |  |  |  |  | 31.4385
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.27216 |  |  |  |  | -2.7171
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.16023 |  |  |  |  | -0.45176
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0511 |  |  |  |  | -0.1993
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.2906 |  |  |  |  | 28.0704
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.2906 | (REACTIVE MUs) |  |  |  | 28.0704 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.090824 | (REACTIVE MUs) |  |  |  | -1.6816 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.1998 | (REACTIVE MUs) |  |  |  | 26.3888 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54338 | 54286 | 52 | 10400 | 0.0104 | 84957 | 84422 | 535 | 107000 | 0.107
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72468 | 72480 | -12 | -1200 | -0.0012 | 139399 | 139482 | -83 | -8300 | -0.0083
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976861 | 976871 | -10 | -2000 | -0.002 | 996930 | 997178 | -248 | -49600 | -0.0496
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 85114 | 85051 | 63 | 12600 | 0.0126 | 106923 | 106113 | 810 | 162000 | 0.162
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14752 | 14749 | 3 | 2400 | 0.0024 | 9443 | 8790 | 653 | 522400 | 0.5224
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14192 | 14190 | 2 | 4000 | 0.004 | 3528 | 3359 | 169 | 338000 | 0.338
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977672 | 977674 | -2 | -1600 | -0.0016 | 988706 | 988993 | -287 | -229600 | -0.2296
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997621 | 997632 | -11 | -8800 | -0.0088 | 995791 | 997030 | -1239 | -991200 | -0.9912
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998074 | 998076 | -2 | -1600 | -0.0016 | 998505 | 998936 | -431 | -344800 | -0.3448
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984188 | 984193 | -5 | -4000 | -0.004 | 994502 | 994842 | -340 | -272000 | -0.272
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 5733 | 5534 | 199 | 19900 | 0.0199 | 405305 | 404515 | 790 | 79000 | 0.079
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 992401 | 990526 | 1875 | 140625 | 0.14062 | 5188 | 5334 | -146 | -10950 | -0.01095
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 27609 | 26844 | 765 | 76500 | 0.0765 | 382402 | 381952 | 450 | 45000 | 0.045
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998512 | 998626 | -114 | -42750 | -0.04275 | 999893 | 999929 | -36 | -13500 | -0.0135
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 990973 | 991358 | -385 | -38500 | -0.0385 | 317555 | 317277 | 278 | 27800 | 0.0278
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 5280 | 4456 | 824 | 82400 | 0.0824 | 200386 | 199747 | 639 | 63900 | 0.0639
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 6116 | 6431 | -315 | -31500 | -0.0315 | 258088 | 258001 | 87 | 8700 | 0.0087
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 71248 | 70821 | 427 | 42700 | 0.0427 | 715149 | 715134 | 15 | 1500 | 0.0015
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 102704 | 101712 | 992 | 1091200 | 1.0912
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999974 | 999985 | -11 | -11000 | -0.011 | 43481 | 43054 | 427 | 427000 | 0.427
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146365 | 146456 | -91 | -100100 | -0.1001
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2902 | 2894 | 8 | 8000 | 0.008 | 57273 | 56866 | 407 | 407000 | 0.407
[10 empty] | -0.003 |  |  |  |  | 1.8251
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6330 | 6311 | 19 | 38000 | 0.038 | 74710 | 74527 | 183 | 366000 | 0.366
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14765 | 14777 | -12 | -12000 | -0.012 | 1000083 | 999859 | 224 | 224000 | 0.224
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906634 | 906633 | 1 | 500 | 0.0005 | 60117 | 59014 | 1103 | 551500 | 0.5515
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999601 | 1000000 | -399 | -332498.67 | -0.3325
JULY-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950584 | 951042 | -458 | 458000 | 0.458 | 971612 | 972026 | -414 | 414000 | 0.414
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986353 | 986793 | -440 | 440000 | 0.44 | 995599 | 996020 | -421 | 421000 | 0.421
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964245 | 964614 | -369 | 369000 | 0.369 | 978950 | 979413 | -463 | 463000 | 0.463
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979128 | 979512 | -384 | 384000 | 0.384 | 990791 | 991258 | -467 | 467000 | 0.467
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 373610 | 376746 | -3136 | -313600 | -0.3136 | 49082 | 49177 | -95 | -9500 | -0.0095
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4365 | 4274 | 91 | 9100 | 0.0091 | 25410 | 24632 | 778 | 77800 | 0.0778
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79587 | 79460 | 127 | 12700 | 0.0127 | 70660 | 70130 | 530 | 53000 | 0.053
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87801 | 87664 | 137 | 13700 | 0.0137 | 70721 | 69786 | 935 | 93500 | 0.0935
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17991 | 17751 | 240 | 24000 | 0.024 | 19650 | 18103 | 1547 | 154700 | 0.1547
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 146291 | 142515 | 3776 | 377600 | 0.3776 | 912835 | 912801 | 34 | 3400 | 0.0034
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 7148 | 668 | 6480 | -648000 | -0.648 | 5711 | 2190 | 3521 | -352100 | -0.3521 | wef 8/6/16
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 115 | 0 | 115 | -11500 | -0.0115 | 80 | 0 | 80 | -8000 | -0.008
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3738 | 3601 | 137 | -10275 | -0.010275 | 10735 | 10023 | 712 | -53400 | -0.0534
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1160 | 1072 | 88 | -8800 | -0.0088 | 3614 | 3255 | 359 | -35900 | -0.0359
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.0385 |  |  |  |  | 4.1181
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.0385 |  |  |  |  | 4.1181
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.010793 |  |  |  |  | -0.19982
| TOTAL ENERGY TO NDMC | [8 empty] | 2.0493 |  |  |  |  | 3.9182

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2479 | 0 | 0 | 0 | 35590 | 34954 | 636 | 636000 | 0.636
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 36299 | 35529 | 770 | 770000 | 0.77
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 44520 | 43728 | 792 | 792000 | 0.792
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 31269 | 29914 | 1355 | 180666.215 | 0.18067
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5700 | 5674 | 26 | 26000 | 0.026 | 11369 | 11334 | 35 | 35000 | 0.035
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12640 | 12641 | -1 | -500 | -0.0005 | 61226 | 61065 | 161 | 80500 | 0.0805
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 294 | 220 | 74 | 7400 | 0.0074
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0255 |  |  |  |  | 2.5016
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55617 | 55592 | 25 | 2500 | 0.0025 | 86830 | 86694 | 136 | 13600 | 0.0136
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77022 | 76789 | 233 | 23300 | 0.0233 | 14846 | 14816 | 30 | 3000 | 0.003
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55833 | 55580 | 253 | 25300 | 0.0253 | 97289 | 95462 | 1827 | 182700 | 0.1827
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9871 | 9870 | 1 | 100 | 0.0001 | 3203 | 3203 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0511 |  |  |  |  | 0.1993
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0511 |  |  |  |  | 0.1993
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0255 |  |  |  |  | 2.5016
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0766 |  |  |  |  | 2.7009
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0766 | (REACTIVE MUs) |  |  |  | 2.7009 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0016559 | (REACTIVE MUs) |  |  |  | -0.030658 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.078256 | (REACTIVE MUs) |  |  |  | 2.6702 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3293 | 3529 | -236 | -23600 | -0.0236 | 2170 | 2372 | -202 | -20200 | -0.0202
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 22983 | 21881 | 1102 | 110200 | 0.1102 | 1683 | 688 | 995 | 99500 | 0.0995
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3304 | 3256 | 48 | 24000 | 0.024 | 750 | 417 | 333 | 166500 | 0.1665
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38557 | 38559 | -2 | -1875 | -0.001875 | 19116 | 19103 | 13 | 12187.5 | 0.012188
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 0 | 0 | 0 | 0 | 0 | 997155 | 999924 | -2769 | -692250 | -0.69225 | wef 28/6/16
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983834 | 983937 | -103 | 51500 | 0.0515 | 976537 | 976520 | 17 | -8500 | -0.0085
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999969 | 999999 | -30 | -9000 | -0.009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.16023 |  |  |  |  | -0.45176
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994667 | 994673 | -6 | -1200 | -0.0012 | 999971 | 1000126 | -155 | -31000 | -0.031
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 924620 | 924756 | -136 | -51000 | -0.051 | 997414 | 997447 | -33 | -12375 | -0.012375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0522 |  |  |  |  | -0.043375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 280955 | 280973 | -18 | -3600 | -0.0036 | 266311 | 266179 | 132 | 26400 | 0.0264
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 151542 | 151478 | 64 | 6400 | 0.0064 | 999266 | 999626 | -360 | -36000 | -0.036
|  | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 65317 | 65317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 29530 | 29316 | 214 | 13375 | 0.013375 | 987510 | 999281 | -11771 | -735687.5 | -0.73569
13 | O/G 33KV SH.W.BAGH-I | 4902521 | ELSTER | Kvarh(Lead/Lag) | 600 | 799 | 793 | 6 | 3600 | 0.0036 | 243 | 117 | 126 | 75600 | 0.0756 | Check Meter Data
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 996898 | 997045 | -147 | -14700 | -0.0147 | 999782 | 999851 | -69 | -6900 | -0.0069
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999090 | 0 | 0 | 0 | 995905 | 997594 | -1689 | -253350 | -0.25335
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999244 | 999254 | -10 | 25000 | 0.025 | 3069 | 3071 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999969 | 999999 | -30 | 9000 | 0.009
| TOTAL NDPL | [8 empty] | 0.030075 |  |  |  |  | -0.91594
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.16023 |  |  |  |  | -0.45176
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0522 |  |  |  |  | -0.043375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.030075 |  |  |  |  | -0.91594

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 27007 | 26940 | 67 | 134000 | 0.134 | 1819 | 1744 | 75 | 150000 | 0.15
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2337 | 2315 | 22 | 110000 | 0.11 | 157 | 124 | 33 | 165000 | 0.165
[7 empty] | NET REACTIVE ENERGY |  |  | 0.244 |  | NET REACTIVE ENERGY |  |  | 0.315
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.244 |  |  |  |  | 0.315
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0228 |  |  |  |  | -6.1799
[7 empty] | NDMC = |  |  | -0.003 |  |  |  |  | 1.8251
MES =
[7 empty] | 2)TOTAL |  |  | -0.0258 |  |  |  |  | -4.3548
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.2182 |  |  |  |  | -4.0398
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2478 | % |  |  | 0.063819 |  |  |  |  | -1.1816
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6243 | % |  |  | 0.090824 |  |  |  |  | -1.6816
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4227 | % |  |  | 0.051108 |  |  |  |  | -0.94624
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9463 | % |  |  | 0.010793 |  |  |  |  | -0.19982
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7589 | % |  |  | 0.0016559 |  |  |  |  | -0.030658
Note :Sharing taken from wk-18 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st July-2016 TO 1st August-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.3936 | + | 0.71712
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.1998 | + | 26.3888
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.3815 | + | 8.9179
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.0493 | + | 3.9182
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.078256 | + | 2.6702
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2016 | INTIAL READING 01/07/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954530 | 954193 | 337 | 505500 | 0.5055 | 979130 | 979144 | -14 | -21000 | -0.021
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992200 | 992203 | -3 | -4500 | -0.0045 | 992197 | 992453 | -256 | -384000 | -0.384
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 893344 | 894014 | -670 | -502500 | -0.5025 | 999175 | 999200 | -25 | -18750 | -0.01875
[8 empty] | NET REACTIVE ENERGY |  | -0.0015 |  |  | NET REACTIVE ENERGY |  | -0.42375
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 375 | 999464 | 999464 | 0 | 0 | 0 | 6706 | 5598 | 1108 | 415500 | 0.4155 | Check Meter
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 968200 | 970884 | -2684 | -2684000 | -2.684
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 975226 | 976617 | -1391 | -1391000 | -1.391 | 991831 | 991866 | -35 | -35000 | -0.035
[8 empty] | NET REACTIVE ENERGY |  | -1.391 |  |  | NET REACTIVE ENERGY |  | -2.3035