## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963291 | 963291 | 0 | 0 | 0 | 993264 | 993297 | -33 | 33000 | 0.033
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 92039 | 91727 | 312 | -624000 | -0.624 | 5005 | 5004 | 1 | -2000 | -0.002
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14329 | 14179 | 150 | -150000 | -0.15 | 426 | 435 | -9 | 9000 | 0.009
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67187 | 66587 | 600 | -600000 | -0.6 | 97976 | 97718 | 258 | -258000 | -0.258
[5 empty] | -1000 | 64755 | 64616 | 139 | -139000 | -0.139
[5 empty] | -1000 | 64078 | 63951 | 127 | -127000 | -0.127
[15 empty] | 0.027 | Assessment last month
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999607 | 999342 | 265 | -265000 | -0.265 | 986456 | 986431 | 25 | -25000 | -0.025
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917734 | 917699 | 35 | -35000 | -0.035 | 28036 | 28035 | 1 | -1000 | -0.001
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21064 | 19932 | 1132 | -1132000 | -1.132 | 999818 | 999815 | 3 | -3000 | -0.003
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31471 | 30407 | 1064 | -1064000 | -1.064 | 997989 | 997986 | 3 | -3000 | -0.003
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20930 | 20748 | 182 | -182000 | -0.182 | 997004 | 997008 | -4 | 4000 | 0.004
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 46173 | 46104 | 69 | -34500 | -0.0345 | 814548 | 814595 | -47 | 23500 | 0.0235
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4346 | 4069 | 277 | -277000 | -0.277 | 998425 | 998415 | 10 | -10000 | -0.01
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15638 | 14470 | 1168 | -1168000 | -1.168 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54632 | 54499 | 133 | -133000 | -0.133 | 996584 | 996582 | 2 | -2000 | -0.002
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 31188 | 30249 | 939 | -939 | -0.939 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 726912 | 731372 | -4460 | -4460000 | -4.46 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 794893 | 802269 | -7376 | -3688000 | -3.688 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14982 | 14877 | 105 | -105000 | -0.105 | 999396 | 999386 | 10 | -10000 | -0.01
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77224 | 76677 | 547 | -273500 | -0.2735 | 539 | 479 | 60 | -30000 | -0.03
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60309 | 60008 | 301 | -301000 | -0.301 | 998936 | 998912 | 24 | -24000 | -0.024
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998644 | 998644 | 0 | 0 | 0 | 988687 | 988734 | -47 | -47000 | -0.047
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999592 | 999592 | 0 | 0 | 0 | 999828 | 999837 | -9 | -36000 | -0.036
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1988 | 1988 | 0 | 0 | 0 | 15118 | 15072 | 46 | 23000 | 0.023
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91099 | 91084 | 15 | 750 | 0.00075 | 214693 | 214362 | 331 | 16550 | 0.01655
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998594 | 998594 | 0 | 0 | 0 | 995868 | 996155 | -287 | -287000 | -0.287
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999155 | 999155 | 0 | 0 | 0 | 998620 | 999307 | -687 | -687000 | -0.687
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 29757 | 29778 | -21 | -2100 | -0.0021 | 193537 | 193647 | -110 | -11000 | -0.011
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986747 | 987785 | -1038 | -1038000 | -1.038 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 903740 | 906766 | -3026 | -1513000 | -1.513 | 999491 | 999477 | 14 | 7000 | 0.007
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993370 | 993481 | -111 | -29600.37 | -0.0296 | 110 | 83 | 27 | 7200.09 | 0.0072001
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2191 | 2182 | 9 | 4500 | 0.0045 | 1209 | 1166 | 43 | 21500 | 0.0215
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54810 | 54392 | 418 | -418000 | -0.418 | 996517 | 996515 | 2 | -2000 | -0.002
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 303093 | 301493 | 1600 | -800000 | -0.8 | 17483 | 17482 | 1 | -500 | -0.0005
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22016 | 19377 | 2639 | -5278000 | -5.278 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72226 | 70467 | 1759 | -1759000 | -1.759 | 997272 | 997306 | -34 | 34000 | 0.034
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 1778 | 845 | 933 | -3732000 | -3.732 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 147585 | 145960 | 1625 | -1625000 | -1.625 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 249362 | 241694 | 7668 | -2555974.44 | -2.556 | 244 | 234 | 10 | -3333.3 | -0.0033333
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19466 | 17703 | 1763 | -3526000 | -3.526 | 999998 | 1000001 | -3 | 6000 | 0.006
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 37595 | 33997 | 3598 | -7196000 | -7.196 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 114504 | 107028 | 7476 | -7476000 | -7.476 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7476000 | 7111000 | 365000 | -365000 | -0.365 | 1159000 | 1135000 | 24000 | -24000 | -0.024
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19764000 | 18746000 | 1018000 | -1018000 | -1.018 | 1224000 | 1199000 | 25000 | -25000 | -0.025
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20736 | 18964 | 1772 | -1772000 | -1.772 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54574 | 53578 | 996 | -996000 | -0.996 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998128 | 998128 | 0 | 0 | 0 | 24920 | 25270 | -350 | -350000 | -0.35
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MARCH-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3156 | 3182 | -26 | -2600 | -0.0026 | 32995 | 32907 | 88 | 8800 | 0.0088
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 755 | -1 | -1333 | -0.001333 | 596 | 597 | -1 | -1333 | -0.001333
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1925 | 1929 | -4 | -400 | -0.0004 | 5423 | 5194 | 229 | 22900 | 0.0229
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999771 | 999768 | 3 | 1500 | 0.0015 | 2264 | 2259 | 5 | 2500 | 0.0025
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 24 | 24 | 0 | 0 | 0 | 176 | 153 | 23 | 11500 | 0.0115
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1093 | 1093 | 0 | 0 | 0 | 1238 | 1126 | 112 | 56000 | 0.056
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992970 | 992970 | 0 | 0 | 0 | 2577 | 2630 | -53 | -5300 | -0.0053
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8650 | 8691 | -41 | -4100 | -0.0041 | 14979 | 14879 | 100 | 10000 | 0.01
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13017 | 12966 | 51 | 5100 | 0.0051 | 5800 | 5720 | 80 | 8000 | 0.008
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31541 | 31506 | 35 | 3500 | 0.0035 | 11033 | 10970 | 63 | 6300 | 0.0063
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60347 | 60430 | -83 | -8300 | -0.0083 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 105 | 133 | -28 | -3733.24 | -0.0037332 | 790 | 790 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999881 | 999881 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946620 | 948098 | -1478 | -1182400 | -1.1824 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992971 | 993150 | -179 | -358000 | -0.358 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967577 | 968236 | -659 | -131800 | -0.1318 | 1726 | 1723 | 3 | 600 | 0.0006
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992784 | 993134 | -350 | -87500 | -0.0875 | 736 | 733 | 3 | 750 | 0.00075
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981515 | 981978 | -463 | -463000 | -0.463 | 2342 | 2358 | -16 | -16000 | -0.016
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1196 | 1232 | -36 | -27000 | -0.027 | 3423 | 3417 | 6 | 4500 | 0.0045
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -59.0515 |  |  |  |  | -1.5199
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 168 | 168 | 0 | 0 | 0 | 384 | 228 | 156 | -15600 | -0.0156
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1334 | 1305 | 29 | -29000 | -0.029 | 522 | 518 | 4 | -4000 | -0.004
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4474 | 4436 | 38 | -5066.54 | -0.0050665 | 7311 | 7304 | 7 | -933.31 | -0.00093331
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998688 | 998780 | -92 | 17250 | 0.01725
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 898884 | 900093 | -1209 | 967200 | 0.9672 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991335 | 991331 | 4 | -2500 | -0.0025 | 280 | 274 | 6 | -3750 | -0.00375
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999896 | 999797 | 99 | -49500 | -0.0495 | 84 | 57 | 27 | -13500 | -0.0135
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992041 | 992138 | -97 | 19400 | 0.0194 | 15251 | 15237 | 14 | -2800 | -0.0028
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987984 | 987984 | 0 | 0 | 0 | 4781 | 4781 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981972 | 982215 | -243 | 45562.5 | 0.045562 | 3880 | 3911 | -31 | 5812.5 | 0.0058125
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3938 | 3953 | -15 | 3750 | 0.00375 | 8125 | 8122 | 3 | -750 | -0.00075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993338 | 993378 | -40 | 4000 | 0.004 | 29802 | 29811 | -9 | 900 | 0.0009
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.95385 |  |  |  |  | -0.017371
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -59.0515 |  |  |  |  | -1.5199
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.95385 |  |  |  |  | -0.017371
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.81279 |  |  |  |  | 0.014116
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -58.9104 |  |  |  |  | -1.5231
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -58.9104 | (REACTIVE MUs) |  |  |  | -1.5231 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.6721 | (REACTIVE MUs) |  |  |  | -0.0071882 | (REACTIVE MUs)
[9 empty] | TOTAL | -62.5826 | (REACTIVE MUs) |  |  |  | -1.5303 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36153 | 36164 | -11 | -2937 | -0.002937 | 994275 | 994183 | 92 | 24564 | 0.024564
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11227 | 11228 | -1 | -4000 | -0.004 | 1751 | 1823 | -72 | -288000 | -0.288 | CTR 800/1 wef 6/3/22
[5 empty] | 300 | 11228 | 11228 | 0 | 0 | 0 | 1823 | 1845 | -22 | -6600 | -0.0066
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24922 | 24920 | 2 | 150 | 0.00015 | 34074 | 33976 | 98 | 7350 | 0.00735
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999836 | 999838 | -2 | -2000 | -0.002 | 999797 | 999806 | -9 | -9000 | -0.009
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 94 | -2 | -3200 | -0.0032 | 999971 | 1000049 | -78 | -124800 | -0.1248
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18463 | 18459 | 4 | 5333.32 | 0.0053333 | 5037 | 5016 | 21 | 27999.93 | 0.028
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999793 | 999878 | -85 | -17000 | -0.017 | 999779 | 999999 | -220 | -44000 | -0.044
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975359 | 975415 | -56 | -56000 | -0.056 | 2267 | 2269 | -2 | -2000 | -0.002
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983648 | 983690 | -42 | -21000 | -0.021 | 999999 | 1000008 | -9 | -4500 | -0.0045
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997571 | 997564 | 7 | 7000 | 0.007 | 999976 | 999978 | -2 | -2000 | -0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983090 | 983104 | -14 | -14000 | -0.014 | 1323 | 1332 | -9 | -9000 | -0.009
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999919 | 999924 | -5 | -5000 | -0.005 | 999984 | 1000058 | -74 | -74000 | -0.074
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993600 | 993618 | -18 | -18000 | -0.018 | 998351 | 998355 | -4 | -4000 | -0.004
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992624 | 992608 | 16 | 16000 | 0.016 | 406 | 299 | 107 | 107000 | 0.107
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994296 | 994307 | -11 | -8800 | -0.0088 | 5261 | 5268 | -7 | -5600 | -0.0056
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11715 | 11818 | -103 | -13732.99 | -0.013733 | 3680 | 3684 | -4 | -533.32 | -0.00053332
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999961 | 0 | 0 | 0 | 999979 | 999995 | -16 | -16000 | -0.016
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 508 | 546 | -38 | -38000 | -0.038 | 17465 | 17465 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 958070 | 959411 | -1341 | -1676250 | -1.6763 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 953163 | 956262 | -3099 | -3099000 | -3.099 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994553 | 995178 | -625 | -625000 | -0.625 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -5.4002 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999411 | 999380 | 31 | -31000 | -0.031 | 999968 | 999968 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978540 | 978632 | -92 | 92000 | 0.092 | 997941 | 997942 | -1 | 1000 | 0.001
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998922 | 998922 | 0 | 0 | 0 | 13880 | 13897 | -17 | -17000 | -0.017
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262911 | 262361 | 550 | -550000 | -0.55 | 25400 | 25336 | 64 | -64000 | -0.064
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67026 | 66721 | 305 | -305000 | -0.305 | 830 | 686 | 144 | -144000 | -0.144 | Data till 28/3
|  | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1666.66 | 5387 | 5360 | 27 | -44999.82 | -0.045 | 365 | 345 | 20 | -33333.2 | -0.033333 | Check meter data
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8045 | 7756 | 289 | -289000 | -0.289 | 999036 | 999038 | -2 | 2000 | 0.002
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7211 | 6988 | 223 | -223000 | -0.223 | 998133 | 998139 | -6 | 6000 | 0.006
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100654 | 100202 | 452 | -452000 | -0.452 | 982834 | 982834 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92886 | 90541 | 2345 | -2345000 | -2.345 | 325 | 325 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4865031 | ELSTER | Kvarh(Lead/Lag) | -2000 | 65879 | 65112 | 767 | -1534000 | -1.534 | 23 | 23 | 0 | 0 | 0 | Check meter
|  | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 461 | 0 | 461 | -2305000 | -2.305 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/3/21
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1334 | 1305 | 29 | 29000 | 0.029 | 522 | 518 | 4 | 4000 | 0.004
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4474 | 4436 | 38 | 5066.54 | 0.0050665 | 7311 | 7304 | 7 | 933.31 | 0.00093331
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 12387 | 12504 | -117 | -15561 | -0.015561
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975263 | 975263 | 0 | 0 | 0 | 990132 | 990131 | 1 | -1000 | -0.001
[5 empty] | -1000 | 962921 | 962853 | 68 | -68000 | -0.068
[5 empty] | -1000 | 954700 | 954532 | 168 | -168000 | -0.168
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975005 | 974663 | 342 | -342000 | -0.342 | 981175 | 981175 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -14.1064 |  |  |  |  | -0.68408
| (A) NET ENERGY TO CENTRAL | [8 empty] | -14.1064 |  |  |  |  | -0.68408
MARCH-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992472 | 992311 | 161 | -161000 | -0.161 | 993745 | 993731 | 14 | -14000 | -0.014
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981175 | 980992 | 183 | -183000 | -0.183 | 930161 | 930133 | 28 | -28000 | -0.028
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993290 | 993218 | 72 | -72000 | -0.072 | 993382 | 993384 | -2 | 2000 | 0.002
4 | Tx.4 | 4865045 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Check meter Data
[10 empty] | -0.435 |  |  |  |  | 0.00153 | Assessment
|  | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/3/2022
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38994 | 38861 | 133 | -133000 | -0.133 | 998027 | 997969 | 58 | -58000 | -0.058
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 16012 | 14865 | 1147 | -573500 | -0.5735 | 492 | 472 | 20 | -10000 | -0.01
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999434 | 999404 | 30 | -30000 | -0.03 | 999451 | 999469 | -18 | 18000 | 0.018
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3657 | 3561 | 96 | -96000 | -0.096 | 999497 | 999497 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 863 | 796 | 67 | -67000 | -0.067 | 32 | 30 | 2 | -2000 | -0.002
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991357 | 991278 | 79 | -79000 | -0.079 | 955343 | 955348 | -5 | 5000 | 0.005
[5 empty] | -1000 | [5 empty] | 955628 | 955659 | -31 | 31000 | 0.031
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968913 | 968692 | 221 | -221000 | -0.221 | 823935 | 823928 | 7 | -7000 | -0.007
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12816 | 12664 | 152 | -760000 | -0.76 | 50 | 44 | 6 | -30000 | -0.03
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20098 | 19117 | 981 | -981000 | -0.981 | 80 | 80 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5309 | 4989 | 320 | -320000 | -0.32 | 999991 | 999991 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.1115 |  |  |  |  | -0.09147
| (B) NET ENERGY TO EAST | [8 empty] | -4.1115 |  |  |  |  | -0.09147
MARCH-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993370 | 993481 | -111 | 29600.37 | 0.0296 | 110 | 83 | 27 | -7200.09 | -0.0072001
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2191 | 2182 | 9 | -4500 | -0.0045 | 1209 | 1166 | 43 | -21500 | -0.0215
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1451 | 1540 | -89 | 23732.74 | 0.023733 | 2338 | 2321 | 17 | -4533.22 | -0.0045332
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 8160 | 7392 | 768 | -76800 | -0.0768 | 34 | 24 | 10 | -1000 | -0.001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 979474 | 979996 | -522 | 104400 | 0.1044 | 999384 | 999382 | 2 | -400 | -0.0004
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1327 | 1347 | -20 | 20000 | 0.02 | 82 | 82 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3612 | 3622 | -10 | 8000 | 0.008 | 2805 | 2723 | 82 | -65600 | -0.0656
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2171 | 2193 | -22 | 17600 | 0.0176 | 1370 | 1328 | 42 | -33600 | -0.0336
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946320 | 946669 | -349 | 279200 | 0.2792 | 989300 | 989401 | -101 | 80800 | 0.0808
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992562 | 992581 | -19 | 38000 | 0.038 | 999488 | 999478 | 10 | -20000 | -0.02
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987020 | 987108 | -88 | 176000 | 0.176 | 999329 | 999387 | -58 | 116000 | 0.116
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998128 | 0 | 0 | 0 | 24920 | 25270 | -350 | 350000 | 0.35
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999771 | 999768 | 3 | -1500 | -0.0015 | 2264 | 2259 | 5 | -2500 | -0.0025
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 24 | 24 | 0 | 0 | 0 | 176 | 153 | 23 | -11500 | -0.0115
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1093 | 1093 | 0 | 0 | 0 | 1238 | 1126 | 112 | -56000 | -0.056
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60347 | 60430 | -83 | 8300 | 0.0083 | 2406 | 2406 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 105 | 133 | -28 | 3733.24 | 0.0037332 | 790 | 790 | 0 | 0 | 0
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992970 | 992970 | 0 | 0 | 0 | 2577 | 2630 | -53 | 5300 | 0.0053
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8650 | 8691 | -41 | 4100 | 0.0041 | 14979 | 14879 | 100 | -10000 | -0.01
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13017 | 12966 | 51 | -5100 | -0.0051 | 5800 | 5720 | 80 | -8000 | -0.008
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31541 | 31506 | 35 | -3500 | -0.0035 | 11033 | 10970 | 63 | -6300 | -0.0063
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58940 | 58690 | 250 | 250 | 0.00025 | 247240 | 238180 | 9060 | 9060 | 0.00906
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 33080 | 32580 | 500 | 500 | 0.0005 | 447830 | 428720 | 19110 | 19110 | 0.01911
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 135200 | 131900 | 3300 | 3300 | 0.0033 | 1400700 | 1326499 | 74201 | 74201 | 0.074201
[10 empty] | 0.62532 |  |  |  |  | 0.40634
MARCH-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -14.1064 |  |  |  |  | -0.68408
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.62532 |  |  |  |  | 0.40634
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.18879 |  |  |  |  | -0.011225
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -13.6698 |  |  |  |  | -0.28897
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.1115 |  |  |  |  | -0.09147
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -17.7813 |  |  |  |  | -0.38044
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -17.7813 | (REACTIVE MUs) |  |  |  | -0.38044 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.5734 | (REACTIVE MUs) |  |  |  | -0.0050374 | (REACTIVE MUs)
[9 empty] | TOTAL | -20.3547 | (REACTIVE MUs) |  |  |  | -0.38548 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997887 | 997891 | -4 | -4000 | -0.004 | 997028 | 997331 | -303 | -303000 | -0.303
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998564 | 998574 | -10 | -10000 | -0.01 | 999347 | 999397 | -50 | -50000 | -0.05
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999755 | 999810 | -55 | -55000 | -0.055 | 999407 | 999977 | -570 | -570000 | -0.57
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999785 | 999787 | -2 | -2666.66 | -0.0026667 | 999695 | 999786 | -91 | -121333.03 | -0.12133
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997543 | 997591 | -48 | -72000 | -0.072 | 999693 | 999668 | 25 | 37500 | 0.0375
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10543 | 10565 | -22 | -2200 | -0.0022 | 20866 | 21463 | -597 | -59700 | -0.0597
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 75 | 994857 | 994916 | -59 | -4425 | -0.004425 | 996256 | 996279 | -23 | -1725 | -0.001725
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991776 | 991865 | -89 | -6675 | -0.006675 | 992760 | 993803 | -1043 | -78225 | -0.078225
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996793 | 996799 | -6 | -4800 | -0.0048 | 999043 | 999182 | -139 | -111200 | -0.1112
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988622 | 988633 | -11 | -14666.63 | -0.014667 | 265039 | 265042 | -3 | -3999.99 | -0.004
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1016 | 1004 | 12 | -79999.992 | -0.08 | 42 | 35 | 7 | -46666.662 | -0.046667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28144 | 27894 | 250 | -250000 | -0.25 | 996602 | 996590 | 12 | -12000 | -0.012
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5217 | 5215 | 2 | -4000 | -0.004 | 996456 | 996422 | 34 | -68000 | -0.068
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17416 | 17375 | 41 | -41000 | -0.041 | 996276 | 996291 | -15 | 15000 | 0.015
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3053 | 2955 | 98 | -98000 | -0.098 | 998013 | 999898 | -1885 | 1885000 | 1.885
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141203 | 138047 | 3156 | -3156000 | -3.156 | 19346 | 19346 | 0 | 0 | 0
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6520 | 5809 | 711 | -711000 | -0.711 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38214 | 36542 | 1672 | -3344000 | -3.344 | 998799 | 998799 | 0 | 0 | 0
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1870 | 1799 | 71 | -142000 | -0.142 | 999999 | 999999 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122455 | 121481 | 974 | -779200 | -0.7792 | 2085 | 1991 | 94 | -75200 | -0.0752
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121738 | 121123 | 615 | -492000 | -0.492 | 998987 | 998948 | 39 | -31200 | -0.0312
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951789 | 951832 | -43 | 43000 | 0.043 | 959348 | 959349 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 957469 | 958037 | -568 | 1136000 | 1.136 | 991341 | 991341 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 910974 | 911236 | -262 | 524000 | 0.524 | 971812 | 971813 | -1 | 2000 | 0.002
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12467 | 12328 | 139 | -139000 | -0.139 | 996088 | 996090 | -2 | 2000 | 0.002
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997414 | 997482 | -68 | 68000 | 0.068 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981087 | 981161 | -74 | 74000 | 0.074 | 999863 | 999863 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277405 | 277103 | 302 | -302000 | -0.302 | 121462 | 121414 | 48 | -48000 | -0.048
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7510 | 7451 | 59 | -118000 | -0.118 | 147 | 129 | 18 | -36000 | -0.036
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935762 | 935699 | 63 | -63000 | -0.063 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972543 | 972479 | 64 | -64000 | -0.064 | 983970 | 983983 | -13 | 13000 | 0.013
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40749 | 39656 | 1093 | -874400 | -0.8744 | 999229 | 999229 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62679 | 62227 | 452 | -723200 | -0.7232 | 978994 | 978993 | 1 | -1600 | -0.0016
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996280 | 996275 | 5 | -10000 | -0.01 | 984963 | 984696 | 267 | -534000 | -0.534
37 | Tx.2 (66 KV)-circuit no. 2 | 4902567 | ELSTER | Kvarh(Lead/Lag) | -7500 | 737 | 737 | 0 | 0 | 0 | 996044 | 996045 | -1 | 7500 | 0.0075 | Check meter data
|  | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999865 | 1000000 | -135 | 135000 | 0.135 | W.e.f 9/3/22
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23603 | 23568 | 35 | -35000 | -0.035 | 31753 | 31801 | -48 | 48000 | 0.048
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2584 | 2584 | 0 | 0 | 0 | 996891 | 996839 | 52 | -52000 | -0.052
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1472 | 1472 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MARCH-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3346 | 3346 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21994 | 19535 | 2459 | -2459000 | -2.459 | 406 | 405 | 1 | -1000 | -0.001
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15740 | 14588 | 1152 | -1152000 | -1.152 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1117 | 450 | 667 | -667000 | -0.667 | 0 | 1 | -1 | 1000 | 0.001
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 15/3/2022
46 | Tx.3 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1209 | 1201 | 8 | -8000 | -0.008 | 3 | 3 | 0 | 0 | 0 | w.e.f 15/3/2022
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 446 | 110 | 336 | -672000 | -0.672 | 999996 | 999996 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85894 | 84317 | 1577 | -1577000 | -1.577 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57346 | 56216 | 1130 | -2260000 | -2.26 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5183 | 4331 | 852 | -1278000 | -1.278 | 0 | 0 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8127 | 6688 | 1439 | -1439000 | -1.439 | 0 | 0 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996598 | 996566 | 32 | -32000 | -0.032 | 999959 | 999960 | -1 | 1000 | 0.001
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991293 | 991288 | 5 | -5000 | -0.005 | 994636 | 994639 | -3 | 3000 | 0.003
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990910 | 991202 | -292 | 292000 | 0.292 | 987069 | 987073 | -4 | 4000 | 0.004
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995349 | 995567 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970371 | 971143 | -772 | -617600 | -0.6176 | 610 | 607 | 3 | 2400 | 0.0024
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 916267 | 917548 | -1281 | -1024800 | -1.0248 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997067 | 997166 | -99 | -79200 | -0.0792 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994578 | 994852 | -274 | -219200 | -0.2192 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987020 | 987108 | -88 | -176000 | -0.176 | 999329 | 999387 | -58 | -116000 | -0.116
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109530 | 108905 | 625 | -1250000 | -1.25 | 1946 | 1930 | 16 | -32000 | -0.032
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11472 | 9379 | 2093 | -2093000 | -2.093 | 55 | 55 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138051 | 135965 | 2086 | -2086000 | -2.086 | 1949 | 1949 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 168 | 168 | 0 | 0 | 0 | 384 | 228 | 156 | 15600 | 0.0156
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998688 | 998780 | -92 | -17250 | -0.01725
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998795 | 998798 | -3 | -3000 | -0.003 | 23 | 3 | 20 | 20000 | 0.02
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998804 | 998822 | -18 | -18000 | -0.018 | 10 | 2 | 8 | 8000 | 0.008
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 898884 | 900093 | -1209 | -967200 | -0.9672 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 511 | 511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999561 | 999561 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10737 | 10737 | 0 | 0 | 0 | 25762 | 25894 | -132 | -9900 | -0.0099
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5406 | 5406 | 0 | 0 | 0 | 19536 | 19237 | 299 | 29900 | 0.0299
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9534 | 9630 | -96 | -48000 | -0.048 | 3258 | 3257 | 1 | 500 | 0.0005
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996591 | 996758 | -167 | -167000 | -0.167 | 4221 | 4220 | 1 | 1000 | 0.001
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981731 | 981810 | -79 | -79000 | -0.079 | 930 | 914 | 16 | 16000 | 0.016
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7665 | 7653 | 12 | 12000 | 0.012 | 6740 | 6740 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999639 | 999700 | -61 | -61000 | -0.061 | 18 | 18 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4722 | 4772 | -50 | -5000 | -0.005 | 910419 | 910414 | 5 | 500 | 0.0005
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6732 | 6693 | 39 | 39000 | 0.039 | 1126 | 1125 | 1 | 1000 | 0.001
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5543 | 5539 | 4 | 4000 | 0.004 | 7471 | 7455 | 16 | 16000 | 0.016
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992041 | 992138 | -97 | -19400 | -0.0194 | 15251 | 15237 | 14 | 2800 | 0.0028
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987984 | 987984 | 0 | 0 | 0 | 4781 | 4781 | 0 | 0 | 0
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981972 | 982215 | -243 | -45562.5 | -0.045562 | 3880 | 3911 | -31 | -5812.5 | -0.0058125
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3938 | 3953 | -15 | -3750 | -0.00375 | 8125 | 8122 | 3 | 750 | 0.00075
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993338 | 993378 | -40 | -4000 | -0.004 | 29802 | 29811 | -9 | -900 | -0.0009
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -29.9259 |  |  |  |  | -0.11726
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21960 | 21961 | -1 | 500 | 0.0005 | 4986 | 4936 | 50 | -25000 | -0.025
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 12387 | 12504 | -117 | 15599.61 | 0.0156
4 | KHYBER LANE-1 EXP. | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Check meter data
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1270 | 1291 | -21 | 21000 | 0.021 | 999334 | 999335 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990801 | 991039 | -238 | 238000 | 0.238 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3183 | -146 | 23360 | 0.02336 | 31955 | 31975 | -20 | 3200 | 0.0032
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3796 | 3814 | -18 | 3600 | 0.0036 | 11192 | 10967 | 225 | -45000 | -0.045
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972026 | 972576 | -550 | 550000 | 0.55 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999866 | 999863 | 3 | -300 | -0.0003 | 1000022 | 999996 | 26 | -2600 | -0.0026
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3737 | 3836 | -99 | 9900 | 0.0099 | 1669 | 1595 | 74 | -7400 | -0.0074
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 1000000 | -129 | -107499.57 | -0.1075
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 449 | 422 | 27 | -16875 | -0.016875 | 1395 | 1290 | 105 | -65625 | -0.065625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3156 | 3182 | -26 | 2600 | 0.0026 | 32995 | 32907 | 88 | -8800 | -0.0088
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 755 | -1 | 1333 | 0.001333 | 596 | 597 | -1 | 1333 | 0.001333
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1925 | 1929 | -4 | 400 | 0.0004 | 5423 | 5194 | 229 | -22900 | -0.0229
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999881 | 999881 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 8833 | 7965 | 868 | -694400 | -0.6944 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | -800 | 6008 | 5718 | 290 | -232000 | -0.232
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981515 | 981978 | -463 | 463000 | 0.463 | 2342 | 2358 | -16 | 16000 | 0.016
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1196 | 1232 | -36 | 27000 | 0.027 | 3423 | 3417 | 6 | -4500 | -0.0045
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.39712 |  |  |  |  | -0.25219
MARCH-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -29.9259 |  |  |  |  | -0.11726
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.39712 |  |  |  |  | -0.25219
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.42126 |  |  |  |  | 0.0058125
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.20492
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -29.9501 |  |  |  |  | -0.56857
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -29.9501 | (REACTIVE MUs) |  |  |  | -0.56857 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.8068 | (REACTIVE MUs) |  |  |  | -0.0094094 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.7569 | (REACTIVE MUs) |  |  |  | -0.57798 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1451 | 1540 | -89 | -23733.63 | -0.023734 | 2338 | 2321 | 17 | 4533.39 | 0.0045334
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 8160 | 7392 | 768 | 76800 | 0.0768 | 34 | 24 | 10 | 1000 | 0.001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 979474 | 979996 | -522 | -104400 | -0.1044 | 999384 | 999382 | 2 | 400 | 0.0004
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1327 | 1347 | -20 | -20000 | -0.02 | 82 | 82 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3612 | 3622 | -10 | -8000 | -0.008 | 2805 | 2723 | 82 | 65600 | 0.0656
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2171 | 2193 | -22 | -17600 | -0.0176 | 1370 | 1328 | 42 | 33600 | 0.0336
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946320 | 946669 | -349 | -279200 | -0.2792 | 989300 | 989401 | -101 | -80800 | -0.0808
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992562 | 992581 | -19 | -38000 | -0.038 | 999488 | 999478 | 10 | 20000 | 0.02
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953356 | 953414 | -58 | -2900 | -0.0029 | 19166 | 19253 | -87 | -4350 | -0.00435
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 962207 | 962569 | -362 | -27150 | -0.02715 | 20449 | 20630 | -181 | -13575 | -0.013575 | data till 28/3
[10 empty] | -0.0030167 |  |  |  |  | -0.0015083 | Assessment
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997785 | 997791 | -6 | -3000 | -0.003 | 5417 | 5414 | 3 | 1500 | 0.0015
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999889 | 999898 | -9 | -900 | -0.0009 | 999618 | 999982 | -364 | -36400 | -0.0364
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998695 | 998730 | -35 | -3500 | -0.0035 | 998766 | 998757 | 9 | 900 | 0.0009
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11064 | 11064 | 0 | 0 | 0 | 41222 | 41222 | 0 | 0 | 0
[5 empty] | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41222 | 41222 | 0 | 0 | 0 | CTR 800/1 wef 6/3/22
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1103 | 1298 | -195 | -19500 | -0.0195 | 1334 | 1187 | 147 | 14700 | 0.0147
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994924 | 995513 | -589 | -589000 | -0.589 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983006 | 984124 | -1118 | -1118000 | -1.118 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998561 | 998769 | -208 | -520000 | -0.52 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996293 | 996587 | -294 | -735000 | -0.735 | 461 | 461 | 0 | 0 | 0
[10 empty] | -2.962 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990801 | 991039 | -238 | -238000 | -0.238 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3183 | -146 | -23360 | -0.02336 | 31955 | 31975 | -20 | -3200 | -0.0032
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3796 | 3814 | -18 | -3600 | -0.0036 | 11192 | 10967 | 225 | 45000 | 0.045
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972026 | 972576 | -550 | -550000 | -0.55 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 1000000 | -129 | 107499.57 | 0.1075
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
MARCH-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996920 | 996836 | 84 | -84000 | -0.084 | 989799 | 989799 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999149 | 999063 | 86 | -86000 | -0.086 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998113 | 998082 | 31 | -62000 | -0.062 | 996394 | 996394 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77 | 19 | 58 | -58000 | -0.058 | 995020 | 995020 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 449 | 422 | 27 | 16875 | 0.016875 | 1395 | 1290 | 105 | 65625 | 0.065625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999866 | 999863 | 3 | 300 | 0.0003 | 1000022 | 999996 | 26 | 2600 | 0.0026
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3737 | 3836 | -99 | -9900 | -0.0099 | 1669 | 1595 | 74 | 7400 | 0.0074
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21960 | 21961 | -1 | -500 | -0.0005 | 4986 | 4936 | 50 | 25000 | 0.025
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 511 | 511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999561 | 999561 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10737 | 10737 | 0 | 0 | 0 | 25762 | 25894 | -132 | 9900 | 0.0099
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5406 | 5406 | 0 | 0 | 0 | 19536 | 19237 | 299 | -29900 | -0.0299
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.5343 |  |  |  |  | 0.23552
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.5343 |  |  |  |  | 0.23552
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.46344 |  |  |  |  | -0.00090719
| TOTAL ENERGY TO NDMC | [8 empty] | -4.9977 |  |  |  |  | 0.23462

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 77441 | 77437 | 4 | 800 | 0.0008
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999876 | 999876 | 0 | 0 | 0 | 30612 | 30580 | 32 | 5120 | 0.00512
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4588 | 4588 | 0 | 0 | 0 | 59182 | 59188 | -6 | -6000 | -0.006
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19457 | 19465 | -8 | -3200 | -0.0032
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999481 | 999481 | 0 | 0 | 0 | 738 | 724 | 14 | 11200 | 0.0112
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2673 | 2673 | 0 | 0 | 0 | 6015 | 6027 | -12 | -4800 | -0.0048
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Check meter data
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1270 | 1291 | -21 | -21000 | -0.021 | 999334 | 999335 | -1 | -1000 | -0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.021 |  |  |  |  | 0.00212
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4040 | 4040 | 0 | 0 | 0 | 11903 | 10485 | 1418 | 53175 | 0.053175
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 87 | 87 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 39812 | 37914 | 1898 | 142350 | 0.14235
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1999 | 1935 | 64 | 4800 | 0.0048
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 5054 | 5008 | 46 | 4600 | 0.0046
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.20492
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.021 |  |  |  |  | 0.00212
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.021 |  |  |  |  | 0.20705
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.021 | (REACTIVE MUs) |  |  |  | 0.20705 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.078409 | (REACTIVE MUs) |  |  |  | -0.00015349 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.099409 | (REACTIVE MUs) |  |  |  | 0.20689 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991335 | 991331 | 4 | 2500 | 0.0025 | 280 | 274 | 6 | 3750 | 0.00375
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999896 | 999797 | 99 | 49500 | 0.0495 | 84 | 57 | 27 | 13500 | 0.0135
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 8833 | 7965 | 868 | 694400 | 0.6944 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | 800 | 6008 | 5718 | 290 | 232000 | 0.232
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58940 | 58690 | 250 | -250 | -0.00025 | 247240 | 238180 | 9060 | -9060 | -0.00906
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 33080 | 32580 | 500 | -500 | -0.0005 | 447830 | 428720 | 19110 | -19110 | -0.01911
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 135200 | 131900 | 3300 | -3300 | -0.0033 | 1400700 | 1326499 | 74201 | -74201 | -0.074201
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.97435 |  |  |  |  | -0.085121
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.070267 |  |  |  |  | -0.00013755
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.90408 |  |  |  |  | -0.085259

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996152 | 996607 | -455 | -227500 | -0.2275 | 999995 | 999998 | -3 | -1500 | -0.0015
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29807 | 31399 | -1592 | -159200 | -0.1592 | 998541 | 998566 | -25 | -2500 | -0.0025
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16100 | 16206 | -106 | -53000 | -0.053 | 5316 | 5311 | 5 | 2500 | 0.0025
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997462 | 997469 | -7 | -6562.5 | -0.0065625 | 999707 | 999704 | 3 | 2812.5 | 0.0028125
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999467 | 999503 | -36 | 36000 | 0.036 | 999717 | 999721 | -4 | 4000 | 0.004
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993790 | 993768 | 22 | -11000 | -0.011 | 162 | 163 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.42126 |  |  |  |  | 0.0058125
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961967 | 962175 | -208 | -41600 | -0.0416 | 993639 | 993667 | -28 | -5600 | -0.0056
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 985912 | 986069 | -157 | -147187.5 | -0.14719 | 999437 | 999443 | -6 | -5625 | -0.005625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.18879 |  |  |  |  | -0.011225
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1374 | 1398 | -24 | -30000 | -0.03 | 998657 | 998650 | 7 | 8750 | 0.00875
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 54826 | 55896 | -1070 | -150468.75 | -0.15047 | 987241 | 987188 | 53 | 7453.125 | 0.0074531
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 276200 | 278190 | -1990 | -124375 | -0.12437 | 33275 | 33060 | 215 | 13437.5 | 0.013437 | Check meter Data
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 634 | 707 | -73 | -273750 | -0.27375 | 144 | 152 | -8 | -30000 | -0.03
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999236 | 999301 | -65 | -65000 | -0.065 | 999993 | 999997 | -4 | -4000 | -0.004
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 978990 | 980543 | -1553 | -232950 | -0.23295 | 988449 | 988330 | 119 | 17850 | 0.01785
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 395 | 497 | -102 | 63750 | 0.06375 | 999914 | 999915 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.81279 |  |  |  |  | 0.014116
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.42126 |  |  |  |  | 0.0058125
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.18879 |  |  |  |  | -0.011225
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.81279 |  |  |  |  | 0.014116

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 171103 | 166361 | 4742 | 4742000 | 4.742 | 47829 | 47829 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 26246 | 24073 | 2173 | 4346000 | 4.346 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 879142 | 881170 | -2028 | 1014000 | 1.014 | 997991 | 998000 | -9 | 4500 | 0.0045
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 420668 | 421625 | -957 | 95700 | 0.0957 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 10.1977 |  | NET REACTIVE ENERGY |  |  | 0.0045
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.1977 |  |  |  |  | 0.0045
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -11.439 |  |  |  |  | 0.0026667
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -7.4612 |  |  |  |  | -0.03
[7 empty] | NDMC = |  |  | -2.962 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -21.8622 |  |  |  |  | -0.027333
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -11.6645 |  |  |  |  | -0.022833
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4812 | % |  |  | -3.6721 |  |  |  |  | -0.0071882
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.2091 | % |  |  | -4.8068 |  |  |  |  | -0.0094094
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.0617 | % |  |  | -2.5734 |  |  |  |  | -0.0050374
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9731 | % |  |  | -0.46344 |  |  |  |  | -0.00090719
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6722 | % |  |  | -0.078409 |  |  |  |  | -0.00015349
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6024 | % |  |  | -0.070267 |  |  |  |  | -0.00013755
Note :Sharing taken from wk-51 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2022 TO 31st MARCH-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -62.5826 |  | -1.5303
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -34.7569 |  | -0.57798
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -20.3547 |  | -0.38548
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.9977 | + | 0.23462
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.099409 | + | 0.20689
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.90408 |  | -0.085259
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2022 | INTIAL READING 01/03/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83