## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966306 | 966722 | -416 | 416000 | 0.416 | 998751 | 999036 | -285 | 285000 | 0.285
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71818 | 71815 | 3 | -3000 | -0.003 | 1994 | 1861 | 133 | -133000 | -0.133
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928144 | 928517 | -373 | 373000 | 0.373 | 994329 | 995334 | -1005 | 1005000 | 1.005
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997798 | 997816 | -18 | 18000 | 0.018 | 993951 | 994431 | -480 | 480000 | 0.48
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 877198 | 877384 | -186 | 186000 | 0.186 | 987796 | 987853 | -57 | 57000 | 0.057
[5 empty] | -1000 | [5 empty] | 1309 | 1111 | 198 | -198000 | -0.198
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28919 | 28927 | -8 | 8000 | 0.008 | 16175 | 16207 | -32 | 32000 | 0.032
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4103 | 4114 | -11 | 11000 | 0.011 | 998152 | 998188 | -36 | 36000 | 0.036
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1623 | 1638 | -15 | 15000 | 0.015 | 998712 | 998891 | -179 | 179000 | 0.179
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968493 | 968556 | -63 | 31500 | 0.0315 | 844645 | 845033 | -388 | 194000 | 0.194
[10 empty] | -0.00675 | [5 empty] | Last Month Assessment
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3292 | 3308 | -16 | 16000 | 0.016 | 998473 | 998607 | -134 | 134000 | 0.134
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39346 | 39343 | 3 | -3000 | -0.003 | 998381 | 998447 | -66 | 66000 | 0.066
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14792 | 14767 | 25 | -25000 | -0.025 | 996919 | 996998 | -79 | 79000 | 0.079
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 99999535 | 99999426 | 109 | -109 | -0.000109 | 99999953 | 99999971 | -18 | 18 | 1.8e-05
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 835211 | 836456 | -1245 | -1245000 | -1.245 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 943307 | 943677 | -370 | -370000 | -0.37 | 999995 | 999996 | -1 | -1000 | -0.001
NARELA
16 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979264 | 979006 | 258 | -258000 | -0.258 | 16678 | 16678 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 19047 | 16415 | 2632 | -1316000 | -1.316 | 999935 | 999935 | 0 | 0 | 0
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41153 | 41151 | 2 | -2000 | -0.002 | 197 | 213 | -16 | 16000 | 0.016
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 992471 | 992699 | -228 | -228000 | -0.228
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 638 | 638 | 0 | 0 | 0 | 22274 | 22437 | -163 | -163000 | -0.163
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1350 | 1350 | 0 | 0 | 0 | 9585 | 8862 | 723 | 361500 | 0.3615
22 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149969 | 149967 | 2 | 200 | 0.0002 | 335565 | 327936 | 7629 | 762900 | 0.7629
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995506 | 995506 | 0 | 0 | 0 | 984280 | 984120 | 160 | 160000 | 0.16
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 1000341 | 999715 | 626 | 626000 | 0.626
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 55898 | 55562 | 336 | 33600 | 0.0336 | 126976 | 124102 | 2874 | 287400 | 0.2874
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974723 | 975640 | -917 | -917000 | -0.917 | 999816 | 999816 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 557155 | 557793 | -638 | -638000 | -0.638 | 829224 | 829222 | 2 | 2000 | 0.002
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999714 | 999638 | 76 | 20266.92 | 0.020267 | 999923 | 999959 | -36 | -9600.12 | -0.0096001
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1015 | 1005 | 10 | 5000 | 0.005 | 19 | 35 | -16 | -8000 | -0.008
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22714 | 22395 | 319 | -319000 | -0.319 | 996473 | 996482 | -9 | 9000 | 0.009
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 113924 | 112480 | 1444 | -722000 | -0.722 | 14664 | 14638 | 26 | -13000 | -0.013
32 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13536 | 13428 | 108 | -108000 | -0.108 | 999962 | 999963 | -1 | 1000 | 0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50555 | 49956 | 599 | -1198000 | -1.198 | 200 | 116 | 84 | -168000 | -0.168
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63150 | 63017 | 133 | -133000 | -0.133 | 998634 | 998686 | -52 | 52000 | 0.052
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120053 | 119785 | 268 | -268000 | -0.268 | 2648 | 2498 | 150 | -150000 | -0.15
ROHINI-II
37 | Tx.1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1402 | 1391 | 11 | -27500 | -0.0275 | 64 | 35 | 29 | -72500 | -0.0725
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29945 | 29913 | 32 | -32000 | -0.032 | 1112 | 1026 | 86 | -86000 | -0.086
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998755 | 998948 | -193 | 193000 | 0.193 | 998540 | 998541 | -1 | 1000 | 0.001
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30630 | 30668 | -38 | 38000 | 0.038 | 1622 | 1619 | 3 | -3000 | -0.003
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 749 | 749 | 0 | 0 | 0 | 28198 | 28268 | -70 | -70000 | -0.07
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | JULY-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1157 | 1158 | -1 | -1000 | -0.001 | 61264 | 61272 | -8 | -8000 | -0.008
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999468 | 999400 | 68 | 6800 | 0.0068 | 999745 | 999678 | 67 | 6700 | 0.0067
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2658 | 2492 | 166 | 16600 | 0.0166 | 28420 | 28296 | 124 | 12400 | 0.0124
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 569 | 537 | 32 | 42656 | 0.042656 | 473 | 472 | 1 | 1333 | 0.001333
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2828 | 2814 | 14 | 1400 | 0.0014 | 1559 | 1543 | 16 | 1600 | 0.0016
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 807 | 608 | 199 | 19900 | 0.0199 | 1012 | 975 | 37 | 3700 | 0.0037 | w.e.f 27/3/19
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999855 | 0 | 0 | 0 | 1442 | 1376 | 66 | 33000 | 0.033
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2003 | 1972 | 31 | 20666.77 | 0.020667 | 217 | 207 | 10 | 6666.7 | 0.0066667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4953 | 4921 | 32 | 21333.3333 | 0.021333 | 1544 | 1540 | 4 | 2666.6667 | 0.0026667 | Data till 22/07
[10 empty] | 0.0061 |  |  |  |  | 0.007751 | Assessmeny
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997066 | 997265 | -199 | -19900 | -0.0199 | 4083 | 3948 | 135 | 13500 | 0.0135
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6951 | 6654 | 297 | 29700 | 0.0297 | 11421 | 11339 | 82 | 8200 | 0.0082
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 7302 | 6738 | 564 | 56400 | 0.0564 | 1641 | 1559 | 82 | 8200 | 0.0082
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 26827 | 26394 | 433 | 43300 | 0.0433 | 7086 | 7022 | 64 | 6400 | 0.0064
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 45934 | 45637 | 297 | 29700 | 0.0297 | 1843 | 1932 | -89 | -8900 | -0.0089
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26264 | 26262 | 2 | 200 | 0.0002 | 52904 | 52711 | 193 | 19300 | 0.0193
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 316 | 315 | 1 | -300 | -0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999977 | 999981 | -4 | -1600 | -0.0016 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983637 | 983645 | -8 | -6400 | -0.0064 | 999765 | 999816 | -51 | -40800 | -0.0408
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998244 | 998248 | -4 | -8000 | -0.008 | 1067 | 1079 | -12 | -24000 | -0.024
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 987277 | 986707 | 570 | 57000 | 0.057 | 368 | 373 | -5 | -500 | -0.0005
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998537 | 999206 | -669 | -167250 | -0.16725 | 329 | 338 | -9 | -2250 | -0.00225
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999483 | 999143 | 340 | 340000 | 0.34 | 2309 | 2034 | 275 | 275000 | 0.275
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1282 | 1276 | 6 | 4500 | 0.0045 | 2591 | 2663 | -72 | -54000 | -0.054
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -5.7347 |  |  |  |  | 3.7904
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12737 | 12696 | 41 | -4100 | -0.0041 | 116677 | 114125 | 2552 | -255200 | -0.2552
| MANGOLPURI |  |  |  | -100 | [5 empty] | 112781 | 112599 | 182 | -18200 | -0.0182
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 172 | 160 | 12 | -9600 | -0.0096 | 9865 | 9558 | 307 | -245600 | -0.2456
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38 | 18 | 20 | -20000 | -0.02 | 1000006 | 999995 | 11 | -11000 | -0.011
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 5312 | 5312 | 0 | 0 | 0 | 576 | 576 | 0 | 0 | 0
|  | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 1401 | 0 | 1401 | -186795.33 | -0.1868 | 68 | 0 | 68 | -9066.44 | -0.0090664 | w.e.f 01/07/19
| SUDARSHAN PARK | [8 empty] | -0.0062265 |  |  |  |  | -0.00030221 | Assessment
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998711 | 998734 | -23 | 4312.5 | 0.0043125 | 999964 | 999968 | -4 | 750 | 0.00075
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 947535 | 948245 | -710 | 568000 | 0.568 | 998182 | 998190 | -8 | 6400 | 0.0064
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 993972 | 994515 | -543 | 339375 | 0.33937 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 994122 | 994637 | -515 | 321875 | 0.32188 | 999844 | 999843 | 1 | -625 | -0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999413 | 999416 | -3 | 600 | 0.0006 | 13065 | 12275 | 790 | -158000 | -0.158
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996930 | 996944 | -14 | 2625 | 0.002625 | 5538 | 5588 | -50 | 9375 | 0.009375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998710 | 998719 | -9 | 1687.5 | 0.0016875 | 4059 | 3844 | 215 | -40312.5 | -0.040313
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1913 | 1803 | 110 | -27500 | -0.0275 | 7171 | 6402 | 769 | -192250 | -0.19225
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999653 | 999569 | 84 | -8400 | -0.0084 | 23136 | 21045 | 2091 | -209100 | -0.2091
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.97585 |  |  |  |  | -1.1231
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -5.7347 |  |  |  |  | 3.7904
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.97585 |  |  |  |  | -1.1231
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.009775 |  |  |  |  | 0.35613
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -4.7491 |  |  |  |  | 3.0234
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.7491 | (REACTIVE MUs) |  |  |  | 3.0234 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.7332 | (REACTIVE MUs) |  |  |  | 0.17385 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.4823 | (REACTIVE MUs) |  |  |  | 3.1972 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 27087 | 26802 | 285 | 28500 | 0.0285 | 993881 | 993738 | 143 | 14300 | 0.0143
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11266 | 11266 | 0 | 0 | 0 | 4408 | 4272 | 136 | 40800 | 0.0408
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 54777 | 54778 | -1 | -75 | -7.5e-05 | 390813 | 389160 | 1653 | 123975 | 0.12398
[5 empty] | 75 | [5 empty] | 346816 | 346420 | 396 | 29700 | 0.0297
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994692 | 994676 | 16 | 4800 | 0.0048 | 5973 | 5945 | 28 | 8400 | 0.0084
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1725 | 1725 | 0 | 0 | 0 | 3617 | 3598 | 19 | 25332.7 | 0.025333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) |  | 3297 | 3248 | 49 | 0 | 0 | 390 | 163 | 227 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 69809 | 67777 | 2032 | 152400 | 0.1524 | 41538 | 41459 | 79 | 5925 | 0.005925
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982728 | 982795 | -67 | -67000 | -0.067 | 2279 | 2294 | -15 | -15000 | -0.015
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996052 | 996113 | -61 | -30500 | -0.0305 | 270 | 341 | -71 | -35500 | -0.0355
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998232 | 998029 | 203 | 203000 | 0.203 | 1587 | 1519 | 68 | 68000 | 0.068
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991123 | 991182 | -59 | -59000 | -0.059 | 1462 | 1473 | -11 | -11000 | -0.011
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991966 | 991933 | 33 | 33000 | 0.033 | 6256 | 6243 | 13 | 13000 | 0.013
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000020 | -22 | -22000 | -0.022 | 998676 | 998655 | 21 | 21000 | 0.021
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997566 | 997624 | -58 | -58000 | -0.058 | 999807 | 999799 | 8 | 8000 | 0.008
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996233 | 996302 | -69 | -55200 | -0.0552 | 4973 | 4963 | 10 | 8000 | 0.008
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 514 | 472 | 42 | 5599.86 | 0.0055999 | 1000162 | 999870 | 292 | 38932.36 | 0.038932
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1481 | 1494 | -13 | -13000 | -0.013 | 9750 | 9746 | 4 | 4000 | 0.004
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1504 | 1401 | 103 | 103000 | 0.103 | 17386 | 17357 | 29 | 29000 | 0.029
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974034 | 974034 | 0 | 0 | 0 | 951262 | 951594 | -332 | -415000 | -0.415
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990857 | 990857 | 0 | 0 | 0 | 937741 | 938107 | -366 | -402600 | -0.4026
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958253 | 958253 | 0 | 0 | 0 | 6903 | 7156 | -253 | -253000 | -0.253
| KASHMIRI GATE | [8 empty] | 0 |  |  |  |  | -1.0706
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992386 | 992370 | 16 | -16000 | -0.016 | 999661 | 999731 | -70 | 70000 | 0.07
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990194 | 990249 | -55 | 55000 | 0.055 | 999533 | 999267 | 266 | -266000 | -0.266
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 316 | 315 | 1 | 300 | 0.0003
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 11162 | 10428 | 734 | 734000 | 0.734
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107250 | 107238 | 12 | -12000 | -0.012 | 8131 | 7598 | 533 | -533000 | -0.533
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29091 | 29078 | 13 | -13000 | -0.013 | 1000300 | 999693 | 607 | -607000 | -0.607
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) |  | 998394 | 998526 | -132 | 0 | 0 | 999427 | 999506 | -79 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996717 | 996696 | 21 | -21000 | -0.021 | 998754 | 998579 | 175 | -175000 | -0.175
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996163 | 995990 | 173 | -173000 | -0.173 | 983604 | 984279 | -675 | 675000 | 0.675
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20321 | 20280 | 41 | -41000 | -0.041 | 280 | 273 | 7 | -7000 | -0.007
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15228 | 15120 | 108 | -216000 | -0.216 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 38 | 18 | 20 | 20000 | 0.02 | 1000006 | 999995 | 11 | 11000 | 0.011
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1401 | 0 | 1401 | 186795.33 | 0.1868 | 68 | 0 | 68 | 9066.44 | 0.0090664 | w.e.f 01/07
[10 empty] | 0.0062265 |  |  |  |  | 0.00030221 | Assessment
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996421 | 996421 | 0 | 0 | 0 | 11924 | 12825 | -901 | -119833 | -0.11983
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970616 | 971240 | -624 | 624000 | 0.624 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984105 | 984600 | -495 | 495000 | 0.495 | 999927 | 999927 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.1205 |  |  |  |  | -0.9019
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.1205 |  |  |  |  | -0.9019
JULY-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992544 | 993117 | -573 | 573000 | 0.573 | 997732 | 997778 | -46 | 46000 | 0.046
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989176 | 989496 | -320 | 320000 | 0.32 | 963540 | 963615 | -75 | 75000 | 0.075
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997547 | 998032 | -485 | 485000 | 0.485 | 998638 | 998704 | -66 | 66000 | 0.066
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991456 | 992865 | -1409 | 1409000 | 1.409 | 999441 | 999492 | -51 | 51000 | 0.051
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16576 | 16556 | 20 | -20000 | -0.02 | 998236 | 998452 | -216 | 216000 | 0.216
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2644 | 2617 | 27 | -27000 | -0.027 | 997194 | 997384 | -190 | 190000 | 0.19
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7965 | 7964 | 1 | -1000 | -0.001 | 949777 | 949145 | 632 | -632000 | -0.632
[5 empty] | -1000 | [5 empty] | 943802 | 943265 | 537 | -537000 | -0.537
[5 empty] | -1000 | [5 empty] | 938337 | 938337 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956451 | 956450 | 1 | -1000 | -0.001 | 992032 | 990785 | 1247 | -1247000 | -1.247
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971435 | 971376 | 59 | -59000 | -0.059 | 979773 | 980362 | -589 | 589000 | 0.589
[5 empty] | -1000 | 964303 | 964303 | 0 | 0 | 0 | 981283 | 981525 | -242 | 242000 | 0.242
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958773 | 958632 | 141 | -141000 | -0.141 | 827357 | 827610 | -253 | 253000 | 0.253
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32374 | 31793 | 581 | -581000 | -0.581 | 129 | 123 | 6 | -6000 | -0.006
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18375 | 17352 | 1023 | -1023000 | -1.023 | 919550 | 919550 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.934 |  |  |  |  | -0.694
| (B) NET ENERGY TO EAST | [8 empty] | 0.934 |  |  |  |  | -0.694
JULY-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999714 | 999638 | 76 | -20266.92 | -0.020267 | 999923 | 999959 | -36 | 9600.12 | 0.0096001
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1015 | 1005 | 10 | -5000 | -0.005 | 19 | 35 | -16 | 8000 | 0.008
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2908 | 2957 | -49 | 13066.34 | 0.013066 | 2135 | 2144 | -9 | 2399.94 | 0.0023999
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 90988 | 91093 | -105 | 10500 | 0.0105 | 151729 | 151762 | -33 | 3300 | 0.0033
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994381 | 994401 | -20 | 4000 | 0.004 | 999266 | 999151 | 115 | -23000 | -0.023
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 63540 | 62385 | 1155 | -231000 | -0.231 | 132360 | 131863 | 497 | -99400 | -0.0994
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 687 | 687 | 0 | 0 | 0 | 1448 | 803 | 645 | -516000 | -0.516
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3199 | 3199 | 0 | 0 | 0 | 792 | 799 | -7 | 5600 | 0.0056
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999600 | 999900 | -300 | 240000 | 0.24
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966396 | 966396 | 0 | 0 | 0 | 983743 | 984940 | -1197 | 957600 | 0.9576
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973389 | 973391 | -2 | 1600 | 0.0016 | 991545 | 992083 | -538 | 430400 | 0.4304
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999911 | 999911 | 0 | 0 | 0 | 999712 | 999864 | -152 | 304000 | 0.304
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997865 | 997859 | 6 | -12000 | -0.012 | 999667 | 999814 | -147 | 294000 | 0.294
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 749 | 749 | 0 | 0 | 0 | 28198 | 28268 | -70 | 70000 | 0.07
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 1158 | -1 | 1000 | 0.001 | 61264 | 61272 | -8 | 8000 | 0.008
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999855 | 0 | 0 | 0 | 1442 | 1376 | 66 | -33000 | -0.033
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2003 | 1972 | 31 | -20666.77 | -0.020667 | 217 | 207 | 10 | -6666.7 | -0.0066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4953 | 4921 | 32 | -21333.3333 | -0.021333 | 1544 | 1540 | 4 | -2666.6667 | -0.0026667 | Data till 22/07
[10 empty] | -0.0061 |  |  |  |  | -0.007751 | Assessmeny
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 45934 | 45637 | 297 | -29700 | -0.0297 | 1843 | 1932 | -89 | 8900 | 0.0089
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26264 | 26262 | 2 | -200 | -0.0002 | 52904 | 52711 | 193 | -19300 | -0.0193
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997066 | 997265 | -199 | 19900 | 0.0199 | 4083 | 3948 | 135 | -13500 | -0.0135
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6951 | 6654 | 297 | -29700 | -0.0297 | 11421 | 11339 | 82 | -8200 | -0.0082
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 7302 | 6738 | 564 | -56400 | -0.0564 | 1641 | 1559 | 82 | -8200 | -0.0082
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 26827 | 26394 | 433 | -43300 | -0.0433 | 7086 | 7022 | 64 | -6400 | -0.0064
[10 empty] | -0.4256 |  |  |  |  | 1.5977
JULY-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.1205 |  |  |  |  | -0.9019
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.4256 |  |  |  |  | 1.5977
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.021988 |  |  |  |  | -0.0089625
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.71693 |  |  |  |  | 0.68685
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.934 |  |  |  |  | -0.694
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.6509 |  |  |  |  | -0.0071461
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.6509 | (REACTIVE MUs) |  |  |  | -0.0071461 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.57232 | (REACTIVE MUs) |  |  |  | 0.1357 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.0786 | (REACTIVE MUs) |  |  |  | 0.12855 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999313 | 999313 | 0 | 0 | 0 | 998883 | 998887 | -4 | -20000 | -0.02
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981096 | 981096 | 0 | 0 | 0 | 670341 | 670290 | 51 | 67999.83 | 0.068
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996967 | 996967 | 0 | 0 | 0 | 2595 | 2492 | 103 | 20600 | 0.0206
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999955 | 999955 | 0 | 0 | 0 | 999668 | 999656 | 12 | 15999.96 | 0.016
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 162 | 174 | -12 | -18000 | -0.018 | 999999 | 1000003 | -4 | -6000 | -0.006
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18824 | 18824 | 0 | 0 | 0 | 22617 | 22650 | -33 | -3300 | -0.0033
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 671574 | 671210 | 364 | 27300 | 0.0273 | 980769 | 980631 | 138 | 10350 | 0.01035
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992504 | 992504 | 0 | 0 | 0 | 18248 | 18357 | -109 | -8175 | -0.008175
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996226 | 996226 | 0 | 0 | 0 | 995240 | 995134 | 106 | 95400 | 0.0954
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1778 | 1820 | -42 | -4200 | -0.0042 | 265597 | 265613 | -16 | -1600 | -0.0016
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8168 | 8126 | 42 | -42000 | -0.042 | 996744 | 996942 | -198 | 198000 | 0.198
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 730 | 112 | 618 | -1236000 | -1.236 | 997942 | 998014 | -72 | 144000 | 0.144
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13715 | 13734 | -19 | 19000 | 0.019 | 997119 | 997466 | -347 | 347000 | 0.347
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975385 | 975388 | -3 | 3000 | 0.003 | 991727 | 992944 | -1217 | 1217000 | 1.217
[5 empty] | -1000 | [5 empty] | 993398 | 993617 | -219 | 219000 | 0.219
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51401 | 51393 | 8 | -8000 | -0.008 | 996996 | 996935 | 61 | -61000 | -0.061
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55686 | 55686 | 0 | 0 | 0 | 28031 | 25488 | 2543 | -1271500 | -1.2715
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9902 | 9902 | 0 | 0 | 0 | 997487 | 997457 | 30 | -60000 | -0.06
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22549 | 22549 | 0 | 0 | 0 | 819187 | 819999 | -812 | 812000 | 0.812
[5 empty] | -1000 | [5 empty] | 841526 | 843064 | -1538 | 1538000 | 1.538
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 0 | 6 | -6000 | -0.006 | 1000275 | 999845 | 430 | -430000 | -0.43
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38333 | 38333 | 0 | 0 | 0 | 998446 | 998647 | -201 | 160800 | 0.1608
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 180 | 177 | 3 | -3000 | -0.003 | 962459 | 962592 | -133 | 133000 | 0.133
[5 empty] | -1000 | 3804 | 3775 | 29 | -29000 | -0.029
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994978 | 994915 | 63 | -63000 | -0.063 | 993660 | 994561 | -901 | 901000 | 0.901
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961308 | 961371 | -63 | 63000 | 0.063 | 986287 | 986408 | -121 | 121000 | 0.121
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1315 | 1254 | 61 | -61000 | -0.061 | 997505 | 997770 | -265 | 265000 | 0.265
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1426 | 1417 | 9 | -9000 | -0.009 | 999950 | 999945 | 5 | -5000 | -0.005
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 273 | 408 | -135 | 135000 | 0.135 | 31 | 40 | -9 | 9000 | 0.009
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96967 | 96822 | 145 | -145000 | -0.145 | 11999 | 11912 | 87 | -87000 | -0.087
[5 empty] | -1000 | 81882 | 80470 | 1412 | -1412000 | -1.412
[5 empty] | -1000 | 49850 | 49618 | 232 | -232000 | -0.232
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5397 | 5533 | -136 | 453332.88 | 0.45333 | 37 | 41 | -4 | 13333.32 | 0.013333
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 172 | 160 | 12 | 9600 | 0.0096 | 9865 | 9558 | 307 | 245600 | 0.2456
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975670 | 975976 | -306 | 306000 | 0.306 | 966223 | 967776 | -1553 | 1553000 | 1.553
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990847 | 991138 | -291 | 291000 | 0.291 | 984266 | 985174 | -908 | 908000 | 0.908
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990369 | 990406 | -37 | 37000 | 0.037 | 985561 | 985561 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5489 | 5489 | 0 | 0 | 0 | 999685 | 999951 | -266 | 212800 | 0.2128
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3071 | 3071 | 0 | 0 | 0 | 999859 | 1000002 | -143 | 228800 | 0.2288
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 9425 | 12993 | -3568 | 1784000 | 1.784 | 992105 | 992428 | -323 | 161500 | 0.1615
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18874 | 15 | -15000 | -0.015 | 32866 | 32957 | -91 | 91000 | 0.091
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998582 | 998682 | -100 | 100000 | 0.1 | 996149 | 996235 | -86 | 86000 | 0.086
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999576 | 999632 | -56 | 56000 | 0.056 | 999464 | 999796 | -332 | 332000 | 0.332
BRPL(+) continue | [14 empty] | JULY-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33577 | 33289 | 288 | -288000 | -0.288 | 999721 | 999772 | -51 | 51000 | 0.051
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8769 | 8452 | 317 | -317000 | -0.317 | 999334 | 999375 | -41 | 41000 | 0.041
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10824 | 10803 | 21 | -21000 | -0.021 | 999078 | 999242 | -164 | 164000 | 0.164
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997723 | 997832 | -109 | 109000 | 0.109 | 925626 | 925900 | -274 | 274000 | 0.274
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24120 | 24104 | 16 | -16000 | -0.016 | 8919 | 9276 | -357 | 357000 | 0.357
[5 empty] | -1000 | 12655 | 12654 | 1 | -1000 | -0.001
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2960 | 2972 | -12 | 24000 | 0.024 | 994699 | 995350 | -651 | 1302000 | 1.302
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38854 | 38854 | 0 | 0 | 0 | 997403 | 997726 | -323 | 323000 | 0.323
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18108 | 18167 | -59 | 118000 | 0.118 | 999385 | 999431 | -46 | 92000 | 0.092
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7684 | 7674 | 10 | -20000 | -0.02 | 2353 | 2349 | 4 | -8000 | -0.008
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5016 | 5008 | 8 | -16000 | -0.016 | 1311 | 1308 | 3 | -6000 | -0.006
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919718 | 919718 | 0 | 0 | 0 | 980797 | 981137 | -340 | 340000 | 0.34
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2234 | 2234 | 0 | 0 | 0 | 996259 | 996711 | -452 | 452000 | 0.452
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1984 | 1984 | 0 | 0 | 0 | 988488 | 988944 | -456 | 456000 | 0.456
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989689 | 989738 | -49 | -39200 | -0.0392 | 531 | 473 | 58 | 46400 | 0.0464
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 967067 | 967136 | -69 | -55200 | -0.0552 | 999622 | 999725 | -103 | -82400 | -0.0824
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1299 | 1303 | -4 | -3200 | -0.0032 | 999823 | 999827 | -4 | -3200 | -0.0032
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997845 | 997850 | -5 | -4000 | -0.004 | 18 | 5 | 13 | 10400 | 0.0104
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997865 | 997859 | 6 | 12000 | 0.012 | 999667 | 999814 | -147 | -294000 | -0.294
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41738 | 40213 | 1525 | -1525000 | -1.525 | 923 | 920 | 3 | -3000 | -0.003
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72891 | 71306 | 1585 | -1585000 | -1.585 | 720 | 725 | -5 | 5000 | 0.005
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78869 | 78187 | 682 | -682000 | -0.682 | 708 | 707 | 1 | -1000 | -0.001
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12737 | 12696 | 41 | 4100 | 0.0041 | 116677 | 112599 | 4078 | 407800 | 0.4078
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998711 | 998734 | -23 | -4312.5 | -0.0043125 | 999964 | 999968 | -4 | -750 | -0.00075
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957944 | 957887 | 57 | 22800 | 0.0228 | 995423 | 994640 | 783 | 313200 | 0.3132
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 12042 | 12043 | -1 | -400 | -0.0004 | 71686 | 70901 | 785 | 314000 | 0.314
[5 empty] | 400 | 994600 | 994590 | 10 | 4000 | 0.004
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 947535 | 948245 | -710 | -568000 | -0.568 | 998182 | 998190 | -8 | -6400 | -0.0064
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 390989 | 390934 | 55 | 5500 | 0.0055 | 64098 | 60262 | 3836 | 383600 | 0.3836
[5 empty] | 100 | [5 empty] | 12745 | 4373 | 8372 | 837200 | 0.8372
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5650 | 5650 | 0 | 0 | 0 | 1876 | 1629 | 247 | 247000 | 0.247
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10784 | 10784 | 0 | 0 | 0 | 19885 | 19126 | 759 | 56925 | 0.056925
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5297 | 5297 | 0 | 0 | 0 | 12905 | 12235 | 670 | 67000 | 0.067
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 7310 | 6890 | 420 | 210000 | 0.21 | 3099 | 3066 | 33 | 16500 | 0.0165
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1152 | -22 | -22000 | -0.022 | 4077 | 4071 | 6 | 6000 | 0.006
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991434 | 991595 | -161 | -161000 | -0.161 | 1088 | 1081 | 7 | 7000 | 0.007
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4978 | 4881 | 97 | 97000 | 0.097 | 6497 | 6495 | 2 | 2000 | 0.002
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3809 | 3112 | 697 | 111520 | 0.11152 | 999768 | 999720 | 48 | 7680 | 0.00768
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 183579 | 180404 | 3175 | 317500 | 0.3175 | 46959 | 46835 | 124 | 12400 | 0.0124
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2856 | 2794 | 62 | 62000 | 0.062 | 643 | 584 | 59 | 59000 | 0.059
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3538 | 3499 | 39 | 39000 | 0.039 | 6822 | 6716 | 106 | 106000 | 0.106
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999413 | 999416 | -3 | -600 | -0.0006 | 13065 | 12275 | 790 | 158000 | 0.158
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996930 | 996944 | -14 | -2625 | -0.002625 | 5538 | 5588 | -50 | -9375 | -0.009375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998710 | 998719 | -9 | -1687.5 | -0.0016875 | 4059 | 3844 | 215 | 40312.5 | 0.040313
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1913 | 1803 | 110 | 27500 | 0.0275 | 7171 | 6402 | 769 | 192250 | 0.19225
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999653 | 999569 | 84 | 8400 | 0.0084 | 23136 | 21045 | 2091 | 209100 | 0.2091
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.1599 |  |  |  |  | 15.0963
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22260 | 22060 | 200 | -20000 | -0.02 | 3315 | 3056 | 259 | -25900 | -0.0259
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996421 | 996421 | 0 | 0 | 0 | 11924 | 12825 | -901 | 120130.33 | 0.12013
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1820 | 1820 | 0 | 0 | 0 | 998543 | 998271 | 272 | -272000 | -0.272
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997745 | 997675 | 70 | -70000 | -0.07 | 2052 | 1940 | 112 | -112000 | -0.112
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9106 | 9106 | 0 | 0 | 0 | 19983 | 15462 | 4521 | -723360 | -0.72336
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2898 | 2898 | 0 | 0 | 0 | 5672 | 4530 | 1142 | -228400 | -0.2284
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989165 | 989177 | -12 | 12000 | 0.012 | 999315 | 999441 | -126 | 126000 | 0.126
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101256 | 101182 | 74 | -7400 | -0.0074 | 75500 | 75143 | 357 | -35700 | -0.0357
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2493 | 2230 | 263 | -26300 | -0.0263 | 1137 | 735 | 402 | -40200 | -0.0402
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 25154 | 24901 | 253 | -25300 | -0.0253 | 69853 | 65868 | 3985 | -398500 | -0.3985
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16653 | -3 | -1500 | -0.0015
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999862 | -7 | -1750 | -0.00175 | 999413 | 999846 | -433 | -108250 | -0.10825
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 447 | 362 | 85 | -53125 | -0.053125
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999468 | 999400 | 68 | -6800 | -0.0068 | 999745 | 999678 | 67 | -6700 | -0.0067
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2658 | 2492 | 166 | -16600 | -0.0166 | 28420 | 28296 | 124 | -12400 | -0.0124
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 569 | 537 | 32 | -42656 | -0.042656 | 473 | 472 | 1 | -1333 | -0.001333
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2828 | 2814 | 14 | -1400 | -0.0014 | 1559 | 1543 | 16 | -1600 | -0.0016
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 807 | 608 | 199 | -19900 | -0.0199 | 1012 | 975 | 37 | -3700 | -0.0037
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999977 | 999981 | -4 | 1600 | 0.0016 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 993618 | 993563 | 55 | -22000 | -0.022 | 997551 | 997524 | 27 | -10800 | -0.0108
[5 empty] | -400 | [5 empty] | 996153 | 995792 | 361 | -144400 | -0.1444
[5 empty] | -400 | [5 empty] | 999847 | 999847 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999483 | 999143 | 340 | -340000 | -0.34 | 2309 | 2034 | 275 | -275000 | -0.275
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1282 | 1276 | 6 | -4500 | -0.0045 | 2591 | 2663 | -72 | 54000 | 0.054
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.59101 |  |  |  |  | -2.1547
JULY-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -4.1599 |  |  |  |  | 15.0963
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.59101 |  |  |  |  | -2.1547
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.14624 |  |  |  |  | 0.18979
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1599 |  |  |  |  | -0.2968
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.7645 |  |  |  |  | 12.8345
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.7645 | (REACTIVE MUs) |  |  |  | 12.8345 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.0525 | (REACTIVE MUs) |  |  |  | 0.24954 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.817 | (REACTIVE MUs) |  |  |  | 13.084 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2908 | 2957 | -49 | -13066.83 | -0.013067 | 2135 | 2144 | -9 | -2400.03 | -0.0024
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 90988 | 91093 | -105 | -10500 | -0.0105 | 151729 | 151762 | -33 | -3300 | -0.0033
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994381 | 994401 | -20 | -4000 | -0.004 | 999266 | 999151 | 115 | 23000 | 0.023
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 63540 | 62385 | 1155 | 231000 | 0.231 | 132360 | 131863 | 497 | 99400 | 0.0994
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 687 | 687 | 0 | 0 | 0 | 1448 | 803 | 645 | 516000 | 0.516
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3199 | 3199 | 0 | 0 | 0 | 792 | 799 | -7 | -5600 | -0.0056
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999600 | 999900 | -300 | -240000 | -0.24
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966396 | 966396 | 0 | 0 | 0 | 983743 | 984940 | -1197 | -957600 | -0.9576
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973389 | 973391 | -2 | -1600 | -0.0016 | 991545 | 992083 | -538 | -430400 | -0.4304
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999911 | 999911 | 0 | 0 | 0 | 999712 | 999864 | -152 | -304000 | -0.304
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 988056 | 988055 | 1 | 50 | 5e-05 | 20771 | 19924 | 847 | 42350 | 0.04235
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 983296 | 983278 | 18 | 1350 | 0.00135 | 23138 | 22958 | 180 | 13500 | 0.0135
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999671 | 999671 | 0 | 0 | 0 | 5390 | 5316 | 74 | 37000 | 0.037
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998959 | 998959 | 0 | 0 | 0 | 7627 | 7667 | -40 | -15000 | -0.015
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999899 | 999899 | 0 | 0 | 0 | 846 | 271 | 575 | 57500 | 0.0575
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 6199 | 6199 | 0 | 0 | 0 | 38398 | 37361 | 1037 | 77775 | 0.077775
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 9235 | 9225 | 10 | 1000 | 0.001 | 1497 | 1432 | 65 | 6500 | 0.0065
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996626 | 0 | 0 | 0 | 103666 | 102365 | 1301 | 1301000 | 1.301
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996033 | 0 | 0 | 0 | 2164 | 955 | 1209 | 1209000 | 1.209
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985788 | 0 | 0 | 0 | 144917 | 144515 | 402 | 402000 | 0.402
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999999 | 999999 | 0 | 0 | 0 | 693 | 353 | 340 | 850000 | 0.85
[10 empty] | 0 |  |  |  |  | 3.762
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997745 | 997675 | 70 | 70000 | 0.07 | 2052 | 1940 | 112 | 112000 | 0.112
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9106 | 9106 | 0 | 0 | 0 | 19983 | 15462 | 4521 | 723360 | 0.72336
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2898 | 2898 | 0 | 0 | 0 | 5672 | 4530 | 1142 | 228400 | 0.2284
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989165 | 989177 | -12 | -12000 | -0.012 | 999315 | 999441 | -126 | -126000 | -0.126
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16653 | -3 | 1500 | 0.0015
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999862 | -7 | 1750 | 0.00175 | 999413 | 999846 | -433 | 108250 | 0.10825
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JULY-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998356 | 998359 | -3 | 3000 | 0.003 | 991850 | 993414 | -1564 | 1564000 | 1.564
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999873 | 999878 | -5 | 5000 | 0.005 | 997513 | 999019 | -1506 | 1506000 | 1.506
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997619 | 997621 | -2 | 4000 | 0.004 | 997693 | 998203 | -510 | 1020000 | 1.02
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999260 | 999263 | -3 | 3000 | 0.003 | 997902 | 998998 | -1096 | 1096000 | 1.096
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 447 | 362 | 85 | 53125 | 0.053125
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101256 | 101182 | 74 | 7400 | 0.0074 | 75500 | 75143 | 357 | 35700 | 0.0357
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2493 | 2230 | 263 | 26300 | 0.0263 | 1137 | 735 | 402 | 40200 | 0.0402
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 25154 | 24901 | 253 | 25300 | 0.0253 | 69853 | 65868 | 3985 | 398500 | 0.3985
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22260 | 22060 | 200 | 20000 | 0.02 | 3315 | 3056 | 259 | 25900 | 0.0259
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 390989 | 390934 | 55 | -5500 | -0.0055 | 64098 | 60262 | 3836 | -383600 | -0.3836
[5 empty] | -100 | [5 empty] | 12745 | 4373 | 8372 | -837200 | -0.8372
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5650 | 5650 | 0 | 0 | 0 | 1876 | 1629 | 247 | -247000 | -0.247
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10784 | 10784 | 0 | 0 | 0 | 19885 | 19126 | 759 | -56925 | -0.056925
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5297 | 5297 | 0 | 0 | 0 | 12905 | 12235 | 670 | -67000 | -0.067
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.35248 |  |  |  |  | 7.8719
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.35248 |  |  |  |  | 7.8719
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.10675 |  |  |  |  | 0.025311
| TOTAL ENERGY TO NDMC | [8 empty] | 0.24573 |  |  |  |  | 7.8972

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3774 | 3774 | 0 | 0 | 0 | 51323 | 48010 | 3313 | 662600 | 0.6626
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4466 | 4466 | 0 | 0 | 0 | 54202 | 53540 | 662 | 662000 | 0.662
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 15676 | 15146 | 530 | 212000 | 0.212
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 76 | 78 | -2 | -1600 | -0.0016 | 340 | 347 | -7 | -5600 | -0.0056
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 861 | 841 | 20 | 8000 | 0.008 | 3849 | 3469 | 380 | 152000 | 0.152
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1820 | 1820 | 0 | 0 | 0 | 998543 | 998271 | 272 | 272000 | 0.272
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0064 |  |  |  |  | 1.955
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 65998 | 64906 | 1092 | 109200 | 0.1092 | 98288 | 97485 | 803 | 80300 | 0.0803
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78395 | 78283 | 112 | 11200 | 0.0112 | 18304 | 18297 | 7 | 700 | 0.0007
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 387 | 2 | 385 | 38500 | 0.0385 | 12123 | 10344 | 1779 | 177900 | 0.1779
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 6 | 1 | 1000 | 0.001 | 75 | 40 | 35 | 35000 | 0.035
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1663 | 1663 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4348 | 4319 | 29 | 2900 | 0.0029
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1599 |  |  |  |  | 0.2968
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0064 |  |  |  |  | 1.955
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1663 |  |  |  |  | 2.2518
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1663 | (REACTIVE MUs) |  |  |  | 2.2518 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.016313 | (REACTIVE MUs) |  |  |  | 0.0038679 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.14999 | (REACTIVE MUs) |  |  |  | 2.2557 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 993972 | 994515 | -543 | -339375 | -0.33937 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 994122 | 994637 | -515 | -321875 | -0.32188 | 999844 | 999843 | 1 | 625 | 0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 993618 | 993563 | 55 | 22000 | 0.022 | 997551 | 997524 | 27 | 10800 | 0.0108
[5 empty] | 400 | [5 empty] | 996153 | 995792 | 361 | 144400 | 0.1444
[5 empty] | 400 | [5 empty] | 999847 | 999847 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.63925 |  |  |  |  | 0.011425
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0064625 |  |  |  |  | 0.0015323
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.64571 |  |  |  |  | 0.012957

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 960177 | 960331 | -154 | -15400 | -0.0154 | 1975 | 1993 | -18 | -1800 | -0.0018
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 72237 | 71537 | 700 | 70000 | 0.07 | 6216 | 5907 | 309 | 30900 | 0.0309
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15291 | 15293 | -2 | -1000 | -0.001 | 3693 | 3501 | 192 | 96000 | 0.096
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998697 | 998672 | 25 | 23437.5 | 0.023438 | 92 | 95 | -3 | -2812.5 | -0.0028125
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994855 | 994964 | -109 | 54500 | 0.0545 | 999869 | 999920 | -51 | 25500 | 0.0255
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 152 | 103 | 49 | 14700 | 0.0147 | 1000097 | 999957 | 140 | 42000 | 0.042
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.14624 |  |  |  |  | 0.18979
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980504 | 980305 | 199 | 39800 | 0.0398 | 999807 | 999819 | -12 | -2400 | -0.0024
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990875 | 990894 | -19 | -17812.5 | -0.017812 | 999920 | 999927 | -7 | -6562.5 | -0.0065625
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.021988 |  |  |  |  | -0.0089625
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1874 | 1872 | 2 | 2500 | 0.0025 | 999948 | 999961 | -13 | -16250 | -0.01625
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 354429 | 354731 | -302 | -30200 | -0.0302 | 169689 | 169540 | 149 | 14900 | 0.0149
[5 empty] | 100 | [5 empty] | 961095 | 960920 | 175 | 17500 | 0.0175
[5 empty] | 100 | [5 empty] | 997862 | 997999 | -137 | -13700 | -0.0137
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 290891 | 291277 | -386 | -24125 | -0.024125 | 102328 | 101604 | 724 | 45250 | 0.04525
[5 empty] | 62.5 | [5 empty] | 89689 | 89951 | -262 | -16375 | -0.016375
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2670 | 2655 | 15 | 12000 | 0.012 | 1839 | 1902 | -63 | -50400 | -0.0504
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 965737 | 965838 | -101 | -10100 | -0.0101 | 999125 | 999150 | -25 | -2500 | -0.0025
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995508 | 995512 | -4 | -600 | -0.0006 | 989674 | 986976 | 2698 | 404700 | 0.4047
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997595 | 997625 | -30 | 75000 | 0.075 | 3055 | 3061 | -6 | 15000 | 0.015
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 152 | 103 | 49 | -14700 | -0.0147 | 1000097 | 999957 | 140 | -42000 | -0.042
| TOTAL NDPL | [8 empty] | 0.009775 |  |  |  |  | 0.35613
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.14624 |  |  |  |  | 0.18979
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.021988 |  |  |  |  | -0.0089625
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.009775 |  |  |  |  | 0.35613

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60213 | 60213 | 0 | 0 | 0 | 999315 | 1000118 | -803 | -803000 | -0.803
[5 empty] | 1000 | [5 empty] | 999757 | 999833 | -76 | -76000 | -0.076
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 677 | 677 | 0 | 0 | 0 | 999443 | 999917 | -474 | -948000 | -0.948
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 963315 | 964441 | -1126 | 563000 | 0.563 | 999271 | 999276 | -5 | 2500 | 0.0025
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 671579 | 673104 | -1525 | 152500 | 0.1525 | 997178 | 997127 | 51 | -5100 | -0.0051
[7 empty] | NET REACTIVE ENERGY |  |  | 0.7155 |  | NET REACTIVE ENERGY |  |  | -1.8296
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.7155 |  |  |  |  | -1.8296
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -1.599 |  |  |  |  | -0.266
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.604 |  |  |  |  | -1.0766
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 3.762
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -3.203 |  |  |  |  | 2.4194
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -2.4875 |  |  |  |  | 0.5898
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.4753 | % |  |  | -0.7332 |  |  |  |  | 0.17385
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.3099 | % |  |  | -1.0525 |  |  |  |  | 0.24954
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0077 | % |  |  | -0.57232 |  |  |  |  | 0.1357
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2914 | % |  |  | -0.10675 |  |  |  |  | 0.025311
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6558 | % |  |  | -0.016313 |  |  |  |  | 0.0038679
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2598 | % |  |  | -0.0064625 |  |  |  |  | 0.0015323
Note :Sharing taken from wk-18 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2019 TO 31st JULY-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.4823 | + | 3.1972
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -5.817 | + | 13.084
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.0786 | + | 0.12855
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.24573 | + | 7.8972
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.14999 | + | 2.2557
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.64571 | + | 0.012957
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2019 | INTIAL READING 01/07/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 48753 | 46665 | 2088 | 1566000 | 1.566 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 823882 | 823542 | 340 | 255000 | 0.255 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1483 | 1482 | 1 | 5000 | 0.005 | 13064 | 12962 | 102 | 510000 | 0.51
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 870132 | 874193 | -4061 | -4061000 | -4.061
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976194 | 976194 | 0 | 0 | 0 | 569 | 790 | -221 | -221000 | -0.221
[8 empty] | NET REACTIVE ENERGY |  | 0.005 |  |  | NET REACTIVE ENERGY |  | -3.772