## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964983 | 964985 | -2 | 2000 | 0.002 | 996384 | 996689 | -305 | 305000 | 0.305
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85368 | 85258 | 110 | -220000 | -0.22 | 4840 | 4772 | 68 | -136000 | -0.136
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2679 | 2691 | -12 | 12000 | 0.012 | 258 | 263 | -5 | 5000 | 0.005
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31236 | 30842 | 394 | -394000 | -0.394 | 96543 | 96351 | 192 | -192000 | -0.192
[5 empty] | -1000 | 30661 | 30659 | 2 | -2000 | -0.002
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 991085 | 991913 | -828 | 828000 | 0.828
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898574 | 898574 | 0 | 0 | 0 | 26585 | 26543 | 42 | -42000 | -0.042
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9484 | 8739 | 745 | -745000 | -0.745 | 6 | 5 | 1 | -1000 | -0.001
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21362 | 20818 | 544 | -544000 | -0.544 | 998223 | 998221 | 2 | -2000 | -0.002
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14048 | 13641 | 407 | -407000 | -0.407 | 997676 | 997685 | -9 | 9000 | 0.009
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975469 | 975116 | 353 | -176500 | -0.1765 | 838711 | 838761 | -50 | 25000 | 0.025
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948 | 1080 | -132 | 132000 | 0.132 | 998782 | 998780 | 2 | -2000 | -0.002
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9507 | 9291 | 216 | -216000 | -0.216 | 999895 | 999897 | -2 | 2000 | 0.002
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52035 | 51303 | 732 | -732000 | -0.732 | 996716 | 996715 | 1 | -1000 | -0.001
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 22770 | 20103 | 2667 | -2667 | -2.667 | 99999724 | 99999724 | 0 | 0 | 0
[10 empty] | 1.408 |  |  |  |  | 0 | Assessment
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 756224 | 758539 | -2315 | -2315000 | -2.315 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 861549 | 873613 | -12064 | -6032000 | -6.032 | 999995 | 999995 | 0 | 0 | 0 | Data till 31/5
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12427 | 12344 | 83 | -83000 | -0.083 | 999908 | 999930 | -22 | 22000 | 0.022
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 62608 | 62307 | 301 | -150500 | -0.1505 | 396 | 363 | 33 | -16500 | -0.0165
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53968 | 53842 | 126 | -126000 | -0.126 | 998691 | 998663 | 28 | -28000 | -0.028
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999861 | 999861 | 0 | 0 | 0 | 988497 | 989394 | -897 | -897000 | -0.897
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999935 | 999935 | 0 | 0 | 0 | 999836 | 999933 | -97 | -388000 | -0.388
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1355 | 0 | 0 | 0 | 14642 | 14559 | 83 | 41500 | 0.0415
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 37387 | 37387 | 0 | 0 | 0 | 204176 | 194997 | 9179 | 458950 | 0.45895
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 998658 | 998680 | -22 | -22000 | -0.022
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999615 | 999061 | 554 | 554000 | 0.554
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 43567 | 43719 | -152 | -15200 | -0.0152 | 191865 | 192149 | -284 | -28400 | -0.0284
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994380 | 994438 | -58 | -58000 | -0.058 | 999346 | 999456 | -110 | -110000 | -0.11
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 929619 | 931307 | -1688 | -844000 | -0.844 | 999897 | 999897 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995086 | 995078 | 8 | 2133.36 | 0.0021334 | 999905 | 999872 | 33 | 8800.11 | 0.0088001
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2224 | 2224 | 0 | 0 | 0 | 389 | 275 | 114 | 57000 | 0.057
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46617 | 46339 | 278 | -278000 | -0.278 | 996528 | 996501 | 27 | -27000 | -0.027 | Data till 31/5
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 244167 | 242866 | 1301 | -650500 | -0.6505 | 17616 | 17545 | 71 | -35500 | -0.0355
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7539 | 7213 | 326 | -652000 | -0.652 | 999640 | 999630 | 10 | -20000 | -0.02
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56942 | 54298 | 2644 | -2644000 | -2.644 | 998916 | 998916 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 129650 | 122292 | 7358 | -14716000 | -14.716 | 292 | 292 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 121710 | 117510 | 4200 | -4200000 | -4.2 | 998442 | 998442 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 156017 | 134744 | 21273 | -7090929.09 | -7.0909 | 176 | 176 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21809 | 20273 | 1536 | -3072000 | -3.072 | 249 | 249 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81367 | 78217 | 3150 | -3150000 | -3.15 | 1673 | 1672 | 1 | -1000 | -0.001
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1876000 | 1653000 | 223000 | 223000 | 0.223 | 0 | -4000 | 4000 | 4000 | 0.004
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 10911000 | 9657000 | 1254000 | 1254000 | 1.254 | -6000 | -13000 | 7000 | 7000 | 0.007
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7074 | 6523 | 551 | -551000 | -0.551 | 997836 | 997842 | -6 | 6000 | 0.006
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53114 | 53211 | -97 | 97000 | 0.097 | 1621 | 1621 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998520 | 998534 | -14 | -14000 | -0.014 | 26393 | 26398 | -5 | -5000 | -0.005
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MAY-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999715 | 999735 | -20 | -2000 | -0.002 | 999971 | 999996 | -25 | -2500 | -0.0025
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3064 | 3045 | 19 | 1900 | 0.0019 | 30960 | 30875 | 85 | 8500 | 0.0085
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 764 | 1 | 1333 | 0.001333 | 562 | 559 | 3 | 3999 | 0.003999
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3198 | 3198 | 0 | 0 | 0 | 2138 | 2138 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2014 | 2014 | 0 | 0 | 0 | 3449 | 3609 | -160 | -16000 | -0.016
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999798 | 999798 | 0 | 0 | 0 | 2147 | 2134 | 13 | 6500 | 0.0065
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 37 | 25 | 12 | 6000 | 0.006
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1017 | 1017 | 0 | 0 | 0 | 713 | 641 | 72 | 36000 | 0.036
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994746 | 994757 | -11 | -1100 | -0.0011 | 2958 | 3174 | -216 | -21600 | -0.0216
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8021 | 8021 | 0 | 0 | 0 | 13741 | 13300 | 441 | 44100 | 0.0441
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10820 | 10819 | 1 | 100 | 0.0001 | 4377 | 3962 | 415 | 41500 | 0.0415
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29839 | 29838 | 1 | 100 | 0.0001 | 9886 | 9523 | 363 | 36300 | 0.0363
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59963 | 59886 | 77 | 7700 | 0.0077 | 1779 | 1738 | 41 | 4100 | 0.0041
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999700 | 999702 | -2 | -266.66 | -0.00026666 | 414 | 413 | 1 | 133.33 | 0.00013333
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 961475 | 962018 | -543 | -434400 | -0.4344 | 999707 | 999720 | -13 | -10400 | -0.0104
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995052 | 995144 | -92 | -184000 | -0.184 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 972879 | 972960 | -81 | -16200 | -0.0162 | 1489 | 1421 | 68 | 13600 | 0.0136
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996229 | 996269 | -40 | -10000 | -0.01 | 597 | 534 | 63 | 15750 | 0.01575
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988344 | 988387 | -43 | -43000 | -0.043 | 1831 | 1976 | -145 | -145000 | -0.145
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1517 | 1453 | 64 | 48000 | 0.048 | 3338 | 3313 | 25 | 18750 | 0.01875
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -50.2473 |  |  |  |  | 0.41858
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18477 | 18477 | 0 | 0 | 0 | 147796 | 145532 | 2264 | -226400 | -0.2264
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 812 | 812 | 0 | 0 | 0 | 228 | 252 | -24 | 24000 | 0.024
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4213 | 4263 | -50 | 6666.5 | 0.0066665 | 6735 | 6433 | 302 | -40265.66 | -0.040266
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997236 | 0 | 0 | 0 | 999353 | 999492 | -139 | 26062.5 | 0.026062
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 905222 | 905743 | -521 | 416800 | 0.4168 | 997848 | 997864 | -16 | 12800 | 0.0128
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990079 | 990050 | 29 | -18125 | -0.018125 | 46 | 16 | 30 | -18750 | -0.01875
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990484 | 990450 | 34 | -21250 | -0.02125 | 999865 | 999866 | -1 | 625 | 0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994884 | 994821 | 63 | -12600 | -0.0126 | 14756 | 14625 | 131 | -26200 | -0.0262
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990525 | 990559 | -34 | 6375 | 0.006375 | 5298 | 5366 | -68 | 12750 | 0.01275
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987606 | 987684 | -78 | 14625 | 0.014625 | 4048 | 4119 | -71 | 13312.5 | 0.013312
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4510 | 4514 | -4 | 1000 | 0.001 | 8050 | 8046 | 4 | -1000 | -0.001
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994619 | 994658 | -39 | 3900 | 0.0039 | 29783 | 29807 | -24 | 2400 | 0.0024
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.39739 |  |  |  |  | -0.22067
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -50.2473 |  |  |  |  | 0.41858
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.39739 |  |  |  |  | -0.22067
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.0062 |  |  |  |  | -0.13521
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -49.8561 |  |  |  |  | 0.062711
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -49.8561 | (REACTIVE MUs) |  |  |  | 0.062711 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -7.3893 | (REACTIVE MUs) |  |  |  | 0.00029276 | (REACTIVE MUs)
[9 empty] | TOTAL | -57.2454 | (REACTIVE MUs) |  |  |  | 0.063003 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 35913 | 35836 | 77 | 20559 | 0.020559 | 994404 | 994347 | 57 | 15219 | 0.015219
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10850 | 10167 | 683 | 204900 | 0.2049 | 2895 | 2744 | 151 | 45300 | 0.0453
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 351990 | 351406 | 584 | 43800 | 0.0438 | 404026 | 403356 | 670 | 50250 | 0.05025
4 | IG STD- BAY-29 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 998777 | 1000000 | -1223 | -122300 | -0.1223 | 999903 | 1000000 | -97 | -9700 | -0.0097
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1574 | 1574 | 0 | 0 | 0 | 3618 | 3618 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 16650 | 14850 | 1800 | 180000 | 0.18 | 4444 | 4034 | 410 | 41000 | 0.041
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 171208 | 161763 | 9445 | 708375 | 0.70837 | 894972 | 894818 | 154 | 11550 | 0.01155
[5 empty] | 75 | [5 empty] | 893503 | 893192 | 311 | 23325 | 0.023325
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976396 | 976841 | -445 | -445000 | -0.445 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984556 | 985098 | -542 | -271000 | -0.271 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997955 | 998322 | -367 | -367000 | -0.367 | 999996 | 999997 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984038 | 984509 | -471 | -471000 | -0.471 | 1348 | 1348 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986580 | 986826 | -246 | -246000 | -0.246 | 6231 | 6257 | -26 | -26000 | -0.026
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993956 | 994263 | -307 | -307000 | -0.307 | 998609 | 998660 | -51 | -51000 | -0.051
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992958 | 993296 | -338 | -338000 | -0.338 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994332 | 994445 | -113 | -90400 | -0.0904 | 5189 | 5204 | -15 | -12000 | -0.012
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12524 | 10282 | 2242 | 298925.86 | 0.29893 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999957 | 1000013 | -56 | -56000 | -0.056 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1167 | 1426 | -259 | -259000 | -0.259 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 969499 | 969626 | -127 | -158750 | -0.15875 | 947888 | 948082 | -194 | -242500 | -0.2425
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977761 | 977966 | -205 | -205000 | -0.205 | 934559 | 934764 | -205 | -205000 | -0.205
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998270 | 998450 | -180 | -180000 | -0.18 | 999162 | 999225 | -63 | -63000 | -0.063
| KASHMIRI GATE | [8 empty] | -0.54375 |  |  |  |  | -0.5105
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984856 | 984898 | -42 | 42000 | 0.042 | 997811 | 998098 | -287 | 287000 | 0.287
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983602 | 983677 | -75 | 75000 | 0.075 | 998773 | 998806 | -33 | 33000 | 0.033
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13224 | 13301 | -77 | -77000 | -0.077
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 235230 | 233232 | 1998 | -1998000 | -1.998 | 9207 | 9207 | 0 | 0 | 0
[5 empty] | -1000 | 219906 | 218496 | 1410 | -1410000 | -1.41
[5 empty] | -1000 | 215215 | 215215 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56921 | 56191 | 730 | -730000 | -0.73 | 417 | 408 | 9 | -9000 | -0.009
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4883 | 4720 | 163 | -163000 | -0.163 | 999276 | 999276 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4779 | 4824 | -45 | 45000 | 0.045 | 998447 | 998447 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82214 | 82013 | 201 | -201000 | -0.201 | 982841 | 982850 | -9 | 9000 | 0.009
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64556 | 62930 | 1626 | -1626000 | -1.626 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 46565 | 45390 | 1175 | -2350000 | -2.35 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 812 | 812 | 0 | 0 | 0 | 228 | 252 | -24 | -24000 | -0.024
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4213 | 4263 | -50 | -6666.5 | -0.0066665 | 6735 | 6433 | 302 | 40265.66 | 0.040266
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993251 | 993262 | -11 | -1463 | -0.001463 | 8588 | 7829 | 759 | 100947 | 0.10095
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950731 | 950580 | 151 | -151000 | -0.151 | 990178 | 990185 | -7 | 7000 | 0.007
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971025 | 971070 | -45 | 45000 | 0.045 | 999919 | 999923 | -4 | 4000 | 0.004
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -10.49 |  |  |  |  | -0.052343
| (A) NET ENERGY TO CENTRAL | [8 empty] | -10.49 |  |  |  |  | -0.052343
MAY-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990363 | 990351 | 12 | -12000 | -0.012 | 996777 | 997038 | -261 | 261000 | 0.261
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979030 | 979016 | 14 | -14000 | -0.014 | 948347 | 948568 | -221 | 221000 | 0.221
[5 empty] | -1000 | [5 empty] | 949505 | 949529 | -24 | 24000 | 0.024
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992372 | 992389 | -17 | 17000 | 0.017 | 997091 | 997481 | -390 | 390000 | 0.39
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993881 | 993760 | 121 | -121000 | -0.121 | 998294 | 998336 | -42 | 42000 | 0.042
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34583 | 34095 | 488 | -488000 | -0.488 | 997611 | 997654 | -43 | 43000 | 0.043
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 2526 | 1357 | 1169 | -584500 | -0.5845 | 999907 | 999989 | -82 | 41000 | 0.041
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9691 | 9907 | -216 | 216000 | 0.216 | 12060 | 12107 | -47 | 47000 | 0.047
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2738 | 2852 | -114 | 114000 | 0.114 | 999899 | 999908 | -9 | 9000 | 0.009
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934266 | 934030 | 236 | -236000 | -0.236 | 978694 | 978722 | -28 | 28000 | 0.028
-1000
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985934 | 985955 | -21 | 21000 | 0.021 | 974753 | 974764 | -11 | 11000 | 0.011
[5 empty] | -1000 | 986187 | 986660 | -473 | 473000 | 0.473
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966356 | 966087 | 269 | -269000 | -0.269 | 825275 | 825275 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9495 | 8628 | 867 | -1734000 | -1.734 | 8 | 7 | 1 | -2000 | -0.002
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5493 | 5135 | 358 | -358000 | -0.358 | 78 | 78 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9600 | 9600 | 0 | 0 | 0 | 215 | 225 | -10 | 10000 | 0.01
[5 empty] | -1000 | 22818 | 23152 | -334 | 334000 | 0.334
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.6415 |  |  |  |  | 1.125
| (B) NET ENERGY TO EAST | [8 empty] | -2.6415 |  |  |  |  | 1.125
MAY-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995086 | 995078 | 8 | -2133.36 | -0.0021334 | 999905 | 999872 | 33 | -8800.11 | -0.0088001
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2224 | 2224 | 0 | 0 | 0 | 389 | 275 | 114 | -57000 | -0.057
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2412 | 2371 | 41 | -10933.06 | -0.010933 | 2222 | 2222 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112789 | 112447 | 342 | -34200 | -0.0342 | 152455 | 152455 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 983816 | 984099 | -283 | 56600 | 0.0566 | 999329 | 999329 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 743 | 729 | 14 | -14000 | -0.014 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2557 | 2463 | 94 | -75200 | -0.0752 | 2661 | 2661 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3287 | 3315 | -28 | 22400 | 0.0224 | 1325 | 1325 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 984954 | 985377 | -423 | 338400 | 0.3384 | 998684 | 998685 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 953270 | 953477 | -207 | 165600 | 0.1656 | 979788 | 979832 | -44 | 35200 | 0.0352
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 955307 | 956088 | -781 | 624800 | 0.6248 | 989747 | 989748 | -1 | 800 | 0.0008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994495 | 994687 | -192 | 384000 | 0.384 | 999537 | 999537 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990640 | 991059 | -419 | 838000 | 0.838 | 999488 | 999488 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998520 | 998534 | -14 | 14000 | 0.014 | 26393 | 26398 | -5 | 5000 | 0.005
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999715 | 999735 | -20 | 2000 | 0.002 | 999971 | 999996 | -25 | 2500 | 0.0025
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999798 | 999798 | 0 | 0 | 0 | 2147 | 2134 | 13 | -6500 | -0.0065
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 37 | 25 | 12 | -6000 | -0.006 | w.e.f 5/4
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1017 | 1017 | 0 | 0 | 0 | 713 | 641 | 72 | -36000 | -0.036
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59963 | 59886 | 77 | -7700 | -0.0077 | 1779 | 1738 | 41 | -4100 | -0.0041
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999700 | 999702 | -2 | 266.66 | 0.00026666 | 414 | 413 | 1 | -133.33 | -0.00013333
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994746 | 994757 | -11 | 1100 | 0.0011 | 2958 | 3174 | -216 | 21600 | 0.0216
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8021 | 8021 | 0 | 0 | 0 | 13741 | 13300 | 441 | -44100 | -0.0441
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10820 | 10819 | 1 | -100 | -0.0001 | 4377 | 3962 | 415 | -41500 | -0.0415
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29839 | 29838 | 1 | -100 | -0.0001 | 9886 | 9523 | 363 | -36300 | -0.0363
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 27860 | 27860 | 0 | 0 | 0 | 154980 | 102720 | 52260 | 52260 | 0.05226
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 18930 | 18680 | 250 | 250 | 0.00025 | 301400 | 289489 | 11911 | 11911 | 0.011911
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 67000 | 64800 | 2200 | 2200 | 0.0022 | 870099 | 822600 | 47499 | 47499 | 0.047499
[10 empty] | 2.3053 |  |  |  |  | -0.062863
MAY-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -10.49 |  |  |  |  | -0.052343
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.3053 |  |  |  |  | -0.062863
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0028125 |  |  |  |  | -0.002625
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -8.1876 |  |  |  |  | -0.11783
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.6415 |  |  |  |  | 1.125
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -10.8291 |  |  |  |  | 1.0072
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.8291 | (REACTIVE MUs) |  |  |  | 1.0072 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.7014 | (REACTIVE MUs) |  |  |  | 0.00022589 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.5305 | (REACTIVE MUs) |  |  |  | 1.0074 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998190 | 998269 | -79 | -79000 | -0.079 | 998604 | 998644 | -40 | -40000 | -0.04
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999116 | 999289 | -173 | -173000 | -0.173 | 999826 | 999876 | -50 | -50000 | -0.05
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983811 | 984198 | -387 | -77400 | -0.0774 | 999092 | 999695 | -603 | -120600 | -0.1206
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999838 | 999765 | 73 | 97333.09 | 0.097333 | 999744 | 999712 | 32 | 42666.56 | 0.042667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997977 | 998098 | -121 | -181500 | -0.1815 | 999937 | 999951 | -14 | -21000 | -0.021
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11409 | 12044 | -635 | -63500 | -0.0635 | 21372 | 21556 | -184 | -18400 | -0.0184
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 977238 | 981011 | -3773 | -282975 | -0.28297 | 998649 | 999206 | -557 | -41775 | -0.041775
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 996719 | 997536 | -817 | -61275 | -0.061275 | 999435 | 999734 | -299 | -22425 | -0.022425
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997174 | 997295 | -121 | -96800 | -0.0968 | 999692 | 999731 | -39 | -31200 | -0.0312
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 989452 | 990013 | -561 | -56100 | -0.0561 | 264984 | 265057 | -73 | -7300 | -0.0073
PAAPANKALAN
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 307 | 290 | 0 | 0 | 0 | 14 | 6 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18517 | 18449 | 68 | -68000 | -0.068 | 996571 | 996545 | 26 | -26000 | -0.026
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3231 | 3232 | -1 | 2000 | 0.002 | 996881 | 997030 | -149 | 298000 | 0.298
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16937 | 16879 | 58 | -58000 | -0.058 | 996330 | 996334 | -4 | 4000 | 0.004
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 997913 | 996465 | 1448 | -1448000 | -1.448
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119368 | 119368 | 0 | 0 | 0 | 19199 | 18993 | 206 | -206000 | -0.206
[5 empty] | -1000 | 114459 | 114069 | 390 | -390000 | -0.39
[5 empty] | -1000 | 112688 | 112502 | 186 | -186000 | -0.186
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90 | 37 | 53 | -53000 | -0.053 | 999932 | 999989 | -57 | 57000 | 0.057
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24828 | 24608 | 220 | -440000 | -0.44 | 998607 | 998525 | 82 | -164000 | -0.164
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940781 | 940743 | 38 | -38000 | -0.038 | 813761 | 813926 | -165 | 165000 | 0.165
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 46317 | 45273 | 1044 | -835200 | -0.8352 | 1403 | 1189 | 214 | -171200 | -0.1712
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 82784 | 81281 | 1503 | -1202400 | -1.2024 | 998466 | 998283 | 183 | -146400 | -0.1464
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951471 | 951656 | -185 | 185000 | 0.185 | 960654 | 960736 | -82 | 82000 | 0.082
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 961500 | 962345 | -845 | 1690000 | 1.69 | 992231 | 992251 | -20 | 40000 | 0.04
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 914519 | 914792 | -273 | 546000 | 0.546 | 983665 | 983740 | -75 | 150000 | 0.15
[5 empty] | -2000 | 915405 | 915556 | -151 | 302000 | 0.302
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9689 | 9812 | -123 | 123000 | 0.123 | 997043 | 997056 | -13 | 13000 | 0.013
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5085 | 5113 | -28 | 28000 | 0.028 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980711 | 980742 | -31 | 31000 | 0.031 | 999980 | 999981 | -1 | 1000 | 0.001
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 239320 | 239178 | 142 | -142000 | -0.142 | 81671 | 81668 | 3 | -3000 | -0.003
[5 empty] | -1000 | 221482 | 218919 | 2563 | -2563000 | -2.563
[5 empty] | -1000 | 200988 | 200147 | 841 | -841000 | -0.841
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2817 | 2136 | 681 | -681000 | -0.681 | 1 | 0 | 1 | -1000 | -0.001
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944700 | 945537 | -837 | 837000 | 0.837 | 965525 | 965531 | -6 | 6000 | 0.006
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978004 | 978444 | -440 | 440000 | 0.44 | 984009 | 984010 | -1 | 1000 | 0.001
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89850 | 88232 | 1618 | -1618000 | -1.618 | 985610 | 985605 | 5 | -5000 | -0.005
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 28973 | 28755 | 218 | -174400 | -0.1744 | 999068 | 999017 | 51 | -40800 | -0.0408
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48173 | 48067 | 106 | -169600 | -0.1696 | 978867 | 978836 | 31 | -49600 | -0.0496
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997419 | 997432 | -13 | 26000 | 0.026 | 984226 | 984276 | -50 | 100000 | 0.1
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6215 | 6502 | -287 | 143500 | 0.1435 | 989096 | 989642 | -546 | 273000 | 0.273
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22627 | 22525 | 102 | -102000 | -0.102 | 31730 | 31764 | -34 | 34000 | 0.034
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2705 | 2690 | 15 | -15000 | -0.015 | 996426 | 996435 | -9 | 9000 | 0.009
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 848 | 843 | 5 | -5000 | -0.005 | 999778 | 999845 | -67 | 67000 | 0.067
BRPL(+) continue | [14 empty] | MAY-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51432 | 51128 | 304 | -304000 | -0.304 | 999537 | 999526 | 11 | -11000 | -0.011
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12238 | 11949 | 289 | -289000 | -0.289 | 107 | 84 | 23 | -23000 | -0.023
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7172 | 7147 | 25 | -25000 | -0.025 | 999155 | 999180 | -25 | 25000 | 0.025
[5 empty] | -1000 | [5 empty] | 999543 | 999546 | -3 | 3000 | 0.003
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6033 | 5740 | 293 | -293000 | -0.293 | 250 | 239 | 11 | -11000 | -0.011
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7313 | 7184 | 129 | -129000 | -0.129 | 924890 | 924903 | -13 | 13000 | 0.013
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61901 | 61581 | 320 | -320000 | -0.32 | 9863 | 9852 | 11 | -11000 | -0.011
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3771 | 3691 | 80 | -160000 | -0.16 | 999574 | 999594 | -20 | 40000 | 0.04
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74315 | 73822 | 493 | -493000 | -0.493 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50159 | 49640 | 519 | -1038000 | -1.038 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10532 | 10388 | 144 | -288000 | -0.288 | 2695 | 2692 | 3 | -6000 | -0.006
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8976 | 8843 | 133 | -266000 | -0.266 | 1529 | 1522 | 7 | -14000 | -0.014
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999974 | 1000015 | -41 | 41000 | 0.041 | 999979 | 999989 | -10 | 10000 | 0.01
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994635 | 994672 | -37 | 37000 | 0.037 | 994639 | 994661 | -22 | 22000 | 0.022
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997489 | 997566 | -77 | 77000 | 0.077 | 987059 | 987080 | -21 | 21000 | 0.021
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997676 | 997815 | 0 | 0 | 0 | 999992 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977463 | 977963 | -500 | -400000 | -0.4 | 610 | 612 | -2 | -1600 | -0.0016
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 935097 | 935786 | -689 | -551200 | -0.5512 | 999478 | 999482 | -4 | -3200 | -0.0032
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997790 | 997831 | -41 | -32800 | -0.0328 | 999835 | 999838 | -3 | -2400 | -0.0024
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995430 | 995493 | -63 | -50400 | -0.0504 | 39 | 43 | -4 | -3200 | -0.0032
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 990640 | 991059 | -419 | -838000 | -0.838 | 999488 | 999488 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 89042 | 88981 | 61 | -122000 | -0.122 | 1396 | 1041 | 355 | -710000 | -0.71
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 10345 | 7564 | 2781 | -2781000 | -2.781
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117632 | 117619 | 13 | -13000 | -0.013 | 1736 | 1664 | 72 | -72000 | -0.072
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18477 | 0 | 0 | 0 | 147796 | 145532 | 2264 | 226400 | 0.2264
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997236 | 0 | 0 | 0 | 999353 | 999492 | -139 | -26062.5 | -0.026062
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943743 | 943804 | -61 | -24400 | -0.0244 | 992958 | 993079 | -121 | -48400 | -0.0484
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980414 | 980489 | -75 | -30000 | -0.03 | 73167 | 73253 | -86 | -34400 | -0.0344
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 905222 | 905743 | -521 | -416800 | -0.4168 | 997848 | 997864 | -16 | -12800 | -0.0128
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 486842 | 480330 | 6512 | 651200 | 0.6512 | 86248 | 86246 | 2 | 200 | 0.0002
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2125 | 2375 | -250 | -250000 | -0.25 | 1880 | 1880 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 23521 | 23530 | -9 | -675 | -0.000675
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 17114 | 17042 | 72 | 7200 | 0.0072
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8724 | 8710 | 14 | 7000 | 0.007 | 3230 | 3221 | 9 | 4500 | 0.0045
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997429 | 997462 | -33 | -33000 | -0.033 | 4221 | 4210 | 11 | 11000 | 0.011
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984458 | 984505 | -47 | -47000 | -0.047 | 938 | 953 | -15 | -15000 | -0.015
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6743 | 6722 | 21 | 21000 | 0.021 | 6709 | 6695 | 14 | 14000 | 0.014
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) |  | 999970 | 999987 | -17 | 0 | 0 | 9 | 0 | 9 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 975557 | 975392 | 165 | 16500 | 0.0165 | 910200 | 910086 | 114 | 11400 | 0.0114
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4644 | 4628 | 16 | 16000 | 0.016 | 1127 | 1118 | 9 | 9000 | 0.009
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4574 | 4558 | 16 | 16000 | 0.016 | 7442 | 7433 | 9 | 9000 | 0.009
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994884 | 994821 | 63 | 12600 | 0.0126 | 14756 | 14625 | 131 | 26200 | 0.0262
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990525 | 990559 | -34 | -6375 | -0.006375 | 5298 | 5366 | -68 | -12750 | -0.01275
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987606 | 987684 | -78 | -14625 | -0.014625 | 4048 | 4119 | -71 | -13312.5 | -0.013312
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4510 | 4514 | -4 | -1000 | -0.001 | 8050 | 8046 | 4 | 1000 | 0.001
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994619 | 994658 | -39 | -3900 | -0.0039 | 29783 | 29807 | -24 | -2400 | -0.0024
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -11.7465 |  |  |  |  | -4.6323
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21447 | 21302 | 145 | -72500 | -0.0725 | 4881 | 4880 | 1 | -500 | -0.0005
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993251 | 993262 | -11 | 1466.63 | 0.0014666 | 8588 | 7829 | 759 | -101197.47 | -0.1012
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1133 | 1155 | -22 | 22000 | 0.022 | 999098 | 999095 | 3 | -3000 | -0.003
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992910 | 993061 | -151 | 151000 | 0.151 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6777 | 6729 | 48 | -7680 | -0.00768 | 29877 | 29879 | -2 | 320 | 0.00032
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3557 | 3573 | -16 | 3200 | 0.0032 | 8216 | 8226 | -10 | 2000 | 0.002
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977354 | 977958 | -604 | 604000 | 0.604 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102654 | 102648 | 6 | -600 | -0.0006 | 76017 | 75971 | 46 | -4600 | -0.0046
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4319 | 4418 | -99 | 9900 | 0.0099 | 1365 | 1374 | -9 | 900 | 0.0009
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 5521 | 6015 | -494 | 49400 | 0.0494 | 70813 | 70815 | -2 | 200 | 0.0002
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
|  | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 31/5
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 234 | 185 | 49 | -30625 | -0.030625 | 1458 | 1448 | 10 | -6250 | -0.00625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3064 | 3045 | 19 | -1900 | -0.0019 | 30960 | 30875 | 85 | -8500 | -0.0085
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 764 | 1 | -1333 | -0.001333 | 562 | 559 | 3 | -3999 | -0.003999
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3198 | 3198 | 0 | 0 | 0 | 2138 | 2138 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2014 | 2014 | 0 | 0 | 0 | 3449 | 3609 | -160 | 16000 | 0.016
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996152 | 996185 | -33 | 26400 | 0.0264 | 6137 | 6137 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988344 | 988387 | -43 | 43000 | 0.043 | 1831 | 1976 | -145 | 145000 | 0.145
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1517 | 1453 | 64 | -48000 | -0.048 | 3338 | 3313 | 25 | -18750 | -0.01875
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.74773 |  |  |  |  | 0.017624
MAY-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -11.7465 |  |  |  |  | -4.6323
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.74773 |  |  |  |  | 0.017624
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.04495 |  |  |  |  | 0.035023
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.01275 |  |  |  |  | -0.095212
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -11.0565 |  |  |  |  | -4.6749
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.0565 | (REACTIVE MUs) |  |  |  | -4.6749 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -10.9388 | (REACTIVE MUs) |  |  |  | 0.00043339 | (REACTIVE MUs)
[9 empty] | TOTAL | -21.9953 | (REACTIVE MUs) |  |  |  | -4.6745 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2412 | 2371 | 41 | 10933.47 | 0.010933 | 2222 | 2222 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112789 | 112447 | 342 | 34200 | 0.0342 | 152455 | 152455 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 983816 | 984099 | -283 | -56600 | -0.0566 | 999329 | 999329 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 743 | 729 | 14 | 14000 | 0.014 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2557 | 2463 | 94 | 75200 | 0.0752 | 2661 | 2661 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3287 | 3315 | -28 | -22400 | -0.0224 | 1325 | 1325 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 984954 | 985377 | -423 | -338400 | -0.3384 | 998684 | 998685 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 953270 | 953477 | -207 | -165600 | -0.1656 | 979788 | 979832 | -44 | -35200 | -0.0352
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 955307 | 956088 | -781 | -624800 | -0.6248 | 989747 | 989748 | -1 | -800 | -0.0008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994495 | 994687 | -192 | -384000 | -0.384 | 999537 | 999537 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 957712 | 958827 | -1115 | -55750 | -0.05575 | 18890 | 19039 | -149 | -7450 | -0.00745
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 970601 | 971328 | -727 | -54525 | -0.054525 | 22294 | 22424 | -130 | -9750 | -0.00975
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998020 | 998049 | -29 | -14500 | -0.0145 | 5377 | 5395 | -18 | -9000 | -0.009
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996241 | 996188 | 53 | 19875 | 0.019875 | 7264 | 7251 | 13 | 4875 | 0.004875
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 982542 | 982850 | -308 | -30800 | -0.0308 | 998470 | 998673 | -203 | -20300 | -0.0203
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10890 | 10890 | 0 | 0 | 0 | 40659 | 40659 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4860 | 5069 | -209 | -20900 | -0.0209 | 1910 | 1936 | -26 | -2600 | -0.0026
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) |  | 999940 | 999971 | -31 | 0 | 0 | 999837 | 999967 | -130 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992133 | 992272 | -139 | -139000 | -0.139 | 1930 | 2091 | -161 | -161000 | -0.161
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984398 | 984458 | -60 | -60000 | -0.06 | 144906 | 145004 | -98 | -98000 | -0.098
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998351 | 998378 | -27 | -67500 | -0.0675 | 241 | 280 | -39 | -97500 | -0.0975
[10 empty] | -0.2665 |  |  |  |  | -0.3565
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992910 | 993061 | -151 | -151000 | -0.151 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6777 | 6729 | 48 | 7680 | 0.00768 | 29877 | 29879 | -2 | -320 | -0.00032
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3557 | 3573 | -16 | -3200 | -0.0032 | 8216 | 8226 | -10 | -2000 | -0.002
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977354 | 977958 | -604 | -604000 | -0.604 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
|  | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 31/5
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
MAY-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996865 | 997082 | -217 | 217000 | 0.217 | 990011 | 990012 | -1 | 1000 | 0.001
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998172 | 998409 | -237 | 237000 | 0.237 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997839 | 997808 | 31 | -62000 | -0.062 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999574 | 999524 | 50 | -50000 | -0.05 | 995930 | 995930 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 234 | 185 | 49 | 30625 | 0.030625 | 1458 | 1448 | 10 | 6250 | 0.00625
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102654 | 102648 | 6 | 600 | 0.0006 | 76017 | 75971 | 46 | 4600 | 0.0046
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4319 | 4418 | -99 | -9900 | -0.0099 | 1365 | 1374 | -9 | -900 | -0.0009
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 5521 | 6015 | -494 | -49400 | -0.0494 | 70813 | 70815 | -2 | -200 | -0.0002
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21447 | 21302 | 145 | 72500 | 0.0725 | 4881 | 4880 | 1 | 500 | 0.0005
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 486842 | 480330 | 6512 | -651200 | -0.6512 | 86248 | 86246 | 2 | -200 | -0.0002
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2125 | 2375 | -250 | 250000 | 0.25 | 1880 | 1880 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 23521 | 23530 | -9 | 675 | 0.000675
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 17114 | 17042 | 72 | -7200 | -0.0072
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.6459 |  |  |  |  | -0.43532
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.6459 |  |  |  |  | -0.43532
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.92249 |  |  |  |  | 3.6549e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -3.5684 |  |  |  |  | -0.43528

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 72436 | 69807 | 2629 | 525800 | 0.5258
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 27134 | 25938 | 1196 | 191360 | 0.19136
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4634 | 4634 | 0 | 0 | 0 | 58479 | 58466 | 13 | 13000 | 0.013
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 18971 | 18407 | 564 | 225600 | 0.2256
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999725 | 999724 | 1 | 800 | 0.0008 | 593 | 587 | 6 | 4800 | 0.0048
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1664 | 1683 | -19 | -7600 | -0.0076 | 5441 | 5454 | -13 | -5200 | -0.0052
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1133 | 1155 | -22 | -22000 | -0.022 | 999098 | 999095 | 3 | 3000 | 0.003
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0288 |  |  |  |  | 0.95836
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 964 | 656 | 308 | 11550 | 0.01155 | 2212 | 1435 | 777 | 29137.5 | 0.029138
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 343 | 343 | 0 | 0 | 0
|  | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/5
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3657 | 3641 | 16 | 1200 | 0.0012 | 30250 | 29369 | 881 | 66075 | 0.066075
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.01275 |  |  |  |  | 0.095212
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0288 |  |  |  |  | 0.95836
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.01605 |  |  |  |  | 1.0536
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.01605 | (REACTIVE MUs) |  |  |  | 1.0536 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.19914 | (REACTIVE MUs) |  |  |  | 7.89e-06 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.21519 | (REACTIVE MUs) |  |  |  | 1.0536 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990079 | 990050 | 29 | 18125 | 0.018125 | 46 | 16 | 30 | 18750 | 0.01875
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990484 | 990450 | 34 | 21250 | 0.02125 | 999865 | 999866 | -1 | -625 | -0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996152 | 996185 | -33 | -26400 | -0.0264 | 6137 | 6137 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 27860 | 27860 | 0 | 0 | 0 | 154980 | 102720 | 52260 | -52260 | -0.05226
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 18930 | 18680 | 250 | -250 | -0.00025 | 301400 | 289489 | 11911 | -11911 | -0.011911
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 67000 | 64800 | 2200 | -2200 | -0.0022 | 870099 | 822600 | 47499 | -47499 | -0.047499
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.010525 |  |  |  |  | -0.093545
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.088743 |  |  |  |  | 3.516e-06
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.078218 |  |  |  |  | -0.093541

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 933389 | 933591 | -202 | -20200 | -0.0202 | 1866 | 1886 | -20 | -2000 | -0.002
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 45163 | 45543 | -380 | -38000 | -0.038 | 6080 | 6243 | -163 | -16300 | -0.0163
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16701 | 16701 | 0 | 0 | 0 | 3873 | 3847 | 26 | 13000 | 0.013
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997822 | 997834 | -12 | -11250 | -0.01125 | 999807 | 999792 | 15 | 14062.5 | 0.014063
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993445 | 993445 | 0 | 0 | 0 | 999631 | 999631 | 0 | 0 | 0
[10 empty] | 0.007 |  |  |  |  | 0.00466 | Assessment
|  | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999989 | 1000000 | -11 | 11000 | 0.011 | 999993 | 1000000 | -7 | 7000 | 0.007 | w.e.f 13/5
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993177 | 993190 | -13 | 6500 | 0.0065 | 999902 | 999930 | -28 | 14000 | 0.014
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 6 | 4 | 2 | 600 | 0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.04495 |  |  |  |  | 0.035023
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968192 | 968192 | 0 | 0 | 0 | 996424 | 996559 | -135 | -27000 | -0.027
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986758 | 986761 | -3 | -2812.5 | -0.0028125 | 999594 | 999568 | 26 | 24375 | 0.024375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0028125 |  |  |  |  | -0.002625
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1746 | 1746 | 0 | 0 | 0 | 999194 | 999176 | 18 | 22500 | 0.0225
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 354197 | 354199 | -2 | -187.5 | -0.0001875 | 263732 | 264505 | -773 | -72468.75 | -0.072469
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 292484 | 292485 | -1 | -62.5 | -6.25e-05 | 63796 | 65299 | -1503 | -93937.5 | -0.093937
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 945 | 945 | 0 | 0 | 0 | 494 | 495 | -1 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948949 | 949025 | -76 | -15200 | -0.0152 | 998400 | 998474 | -74 | -14800 | -0.0148
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987172 | 987177 | -5 | -750 | -0.00075 | 988638 | 988469 | 169 | 25350 | 0.02535
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997044 | 997048 | -4 | 10000 | 0.01 | 3041 | 3042 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 6 | 4 | 2 | -600 | -0.0006
| TOTAL NDPL | [8 empty] | -0.0062 |  |  |  |  | -0.13521
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.04495 |  |  |  |  | 0.035023
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0028125 |  |  |  |  | -0.002625
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.0062 |  |  |  |  | -0.13521

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 124821 | 124333 | 488 | 488000 | 0.488 | 28145 | 27683 | 462 | 462000 | 0.462
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 9806 | 9589 | 217 | 434000 | 0.434 | 1643 | 1444 | 199 | 398000 | 0.398
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 905733 | 910245 | -4512 | 2256000 | 2.256 | 998015 | 998015 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 440619 | 442193 | -1574 | 157400 | 0.1574 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.3354 |  | NET REACTIVE ENERGY |  |  | 0.86
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.3354 |  |  |  |  | 0.86
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -26.0069 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.3018 |  |  |  |  | -0.5025
[7 empty] | NDMC = |  |  | -0.2665 |  |  |  |  | -0.3565
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -28.5752 |  |  |  |  | -0.859
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -25.2398 |  |  |  |  | 0.001
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2763 | % |  |  | -7.3893 |  |  |  |  | 0.00029276
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.3394 | % |  |  | -10.9388 |  |  |  |  | 0.00043339
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5889 | % |  |  | -5.7014 |  |  |  |  | 0.00022589
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.6549 | % |  |  | -0.92249 |  |  |  |  | 3.6549e-05
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.789 | % |  |  | -0.19914 |  |  |  |  | 7.89e-06
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3516 | % |  |  | -0.088743 |  |  |  |  | 3.516e-06
Note :Sharing taken from wk-09 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2021 TO 31st MAY-2021
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -57.2454 | + | 0.063003
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -21.9953 |  | -4.6745
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -16.5305 | + | 1.0074
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -3.5684 |  | -0.43528
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.21519 | + | 1.0536
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.078218 |  | -0.093541
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2021 | INTIAL READING 01/05/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83