## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963295 | 963290 | 5 | -5000 | -0.005 | 992569 | 992569 | 0 | 0 | 0 | Data till 10/5/22
|  | 4864927 | ELSTER | Kvarh(Lead/Lag) | -1000 | 913413 | 913457 | -44 | 44000 | 0.044 | 966584 | 966630 | -46 | 46000 | 0.046 | Check meter Data
|  | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 999934 | 1000000 | -66 | 66000 | 0.066 | w.e.f 26/5/22
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 92367 | 92062 | 305 | -610000 | -0.61 | 4989 | 4986 | 3 | -6000 | -0.006
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14737 | 14329 | 408 | -408000 | -0.408 | 242 | 243 | -1 | 1000 | 0.001
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67724 | 67224 | 500 | -500000 | -0.5 | 99025 | 98723 | 302 | -302000 | -0.302
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999577 | 999607 | -30 | 30000 | 0.03 | 986249 | 986350 | -101 | 101000 | 0.101
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917735 | 917734 | 1 | -1000 | -0.001 | 31029 | 30915 | 114 | -114000 | -0.114
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21198 | 21100 | 98 | -98000 | -0.098 | 999807 | 999813 | -6 | 6000 | 0.006
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31559 | 31499 | 60 | -60000 | -0.06 | 997974 | 997982 | -8 | 8000 | 0.008
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21341 | 20951 | 390 | -390000 | -0.39 | 996932 | 996941 | -9 | 9000 | 0.009
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 351 | 10 | 341 | -170500 | -0.1705 | 814281 | 814293 | -12 | 6000 | 0.006
[5 empty] | -500 | 46186 | 46189 | -3 | 1500 | 0.0015
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4224 | 4328 | -104 | 104000 | 0.104 | 998333 | 998341 | -8 | 8000 | 0.008
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16567 | 16201 | 366 | -366000 | -0.366 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54661 | 54604 | 57 | -57000 | -0.057 | 996584 | 996584 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30886 | 31174 | -288 | 288 | 0.288 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 723688 | 724686 | -998 | -998000 | -0.998 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 787194 | 791252 | -4058 | -2029000 | -2.029 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14960 | 14982 | -22 | 22000 | 0.022 | 999254 | 999360 | -106 | 106000 | 0.106
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77320 | 77224 | 96 | -48000 | -0.048 | 510 | 646 | -136 | 68000 | 0.068
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60415 | 60310 | 105 | -105000 | -0.105 | 999012 | 999014 | -2 | 2000 | 0.002
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998644 | 2 | 2000 | 0.002 | 987937 | 988116 | -179 | -179000 | -0.179
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999592 | 1 | 4000 | 0.004 | 999716 | 999761 | -45 | -180000 | -0.18
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1993 | 1988 | 5 | 2500 | 0.0025 | 15600 | 15236 | 364 | 182000 | 0.182
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91190 | 91111 | 79 | 3950 | 0.00395 | 244134 | 239838 | 4296 | 214800 | 0.2148
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998594 | -5 | -5000 | -0.005 | 994980 | 995362 | -382 | -382000 | -0.382
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999155 | 4 | 4000 | 0.004 | 996344 | 996922 | -578 | -578000 | -0.578
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 29821 | 29757 | 64 | 6400 | 0.0064 | 194767 | 194185 | 582 | 58200 | 0.0582
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986556 | 986659 | -103 | -103000 | -0.103 | 997985 | 997984 | 1 | 1000 | 0.001
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 903006 | 903212 | -206 | -103000 | -0.103 | 999436 | 999491 | -55 | -27500 | -0.0275
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993192 | 993261 | -69 | -18400.23 | -0.0184 | 213 | 185 | 28 | 7466.76 | 0.0074668
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2190 | 10 | 5000 | 0.005 | 1584 | 1453 | 131 | 65500 | 0.0655
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54801 | 54811 | -10 | 10000 | 0.01 | 996165 | 996452 | -287 | 287000 | 0.287
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 303116 | 303108 | 8 | -4000 | -0.004 | 17180 | 17435 | -255 | 127500 | 0.1275
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22479 | 22375 | 104 | -208000 | -0.208 | 999512 | 999498 | 14 | -28000 | -0.028
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73189 | 72676 | 513 | -513000 | -0.513 | 997084 | 997206 | -122 | 122000 | 0.122
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 3099 | 2242 | 857 | -3428000 | -3.428 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150272 | 148495 | 1777 | -1777000 | -1.777 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 261786 | 253099 | 8687 | -2895637.71 | -2.8956 | 245 | 245 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22469 | 20364 | 2105 | -4210000 | -4.21 | 999997 | 999997 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38916 | 38504 | 412 | -824000 | -0.824 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117228 | 116357 | 871 | -871000 | -0.871 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7480000 | 7477000 | 3000 | -3000 | -0.003 | 1257000 | 1178000 | 79000 | -79000 | -0.079
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19854000 | 19813000 | 41000 | -41000 | -0.041 | 1354000 | 1290000 | 64000 | -64000 | -0.064
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20829 | 20829 | 0 | 0 | 0 | 997666 | 997667 | -1 | 1000 | 0.001
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54668 | 54684 | -16 | 16000 | 0.016 | 1381 | 1437 | -56 | 56000 | 0.056
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998116 | 998128 | -12 | -12000 | -0.012 | 24680 | 24701 | -21 | -21000 | -0.021
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MAY-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3156 | 6 | 600 | 0.0006 | 34104 | 33476 | 628 | 62800 | 0.0628
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 604 | 597 | 7 | 9331 | 0.009331
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 472 | 14 | 458 | 45800 | 0.0458
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1926 | 1925 | 1 | 100 | 0.0001 | 6899 | 6233 | 666 | 66600 | 0.0666
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999775 | 999771 | 4 | 2000 | 0.002 | 2320 | 2285 | 35 | 17500 | 0.0175
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 24 | 24 | 0 | 0 | 0 | 242 | 213 | 29 | 14500 | 0.0145
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1093 | 3 | 1500 | 0.0015 | 1436 | 1365 | 71 | 35500 | 0.0355
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992965 | 992969 | -4 | -400 | -0.0004 | 2741 | 2638 | 103 | 10300 | 0.0103
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9031 | 8871 | 160 | 16000 | 0.016 | 15241 | 14994 | 247 | 24700 | 0.0247
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13369 | 13083 | 286 | 28600 | 0.0286 | 6116 | 5916 | 200 | 20000 | 0.02
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31777 | 31588 | 189 | 18900 | 0.0189 | 11236 | 11113 | 123 | 12300 | 0.0123
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61071 | 60443 | 628 | 62800 | 0.0628 | 2444 | 2422 | 22 | 2200 | 0.0022
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 104 | 105 | -1 | -133.33 | -0.00013333 | 811 | 808 | 3 | 399.99 | 0.00039999
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 59 | 60 | -1 | 400 | 0.0004
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999883 | 999880 | 3 | 1200 | 0.0012 | 999434 | 999432 | 2 | 800 | 0.0008
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946176 | 946225 | -49 | -39200 | -0.0392 | 999701 | 999703 | -2 | -1600 | -0.0016
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992919 | 992927 | -8 | -16000 | -0.016 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967650 | 967581 | 69 | 13800 | 0.0138 | 1668 | 1798 | -130 | -26000 | -0.026
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992766 | 992787 | -21 | -5250 | -0.00525 | 711 | 755 | -44 | -11000 | -0.011
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981503 | 981519 | -16 | -16000 | -0.016 | 1835 | 2059 | -224 | -224000 | -0.224
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1197 | 1196 | 1 | 750 | 0.00075 | 3980 | 3486 | 494 | 370500 | 0.3705
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -20.2479 |  |  |  |  | 0.019998
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 182 | 169 | 13 | -1300 | -0.0013 | 947 | 805 | 142 | -14200 | -0.0142
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 347 | 346 | 1 | -800 | -0.0008 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1374 | 1334 | 40 | -40000 | -0.04 | 537 | 526 | 11 | -11000 | -0.011
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4654 | 4475 | 179 | -23866.07 | -0.023866 | 7400 | 7306 | 94 | -12533.02 | -0.012533
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998728 | 998535 | 193 | -36187.5 | -0.036187
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 898790 | 898790 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991433 | 991332 | 101 | -63125 | -0.063125 | 316 | 290 | 26 | -16250 | -0.01625
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999887 | 999896 | -9 | 4500 | 0.0045 | 250 | 244 | 6 | -3000 | -0.003
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992042 | 992042 | 0 | 0 | 0 | 17969 | 15737 | 2232 | -446400 | -0.4464
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988004 | 987998 | 6 | -1125 | -0.001125 | 4755 | 4783 | -28 | 5250 | 0.00525
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981939 | 981971 | -32 | 6000 | 0.006 | 3593 | 3692 | -99 | 18562.5 | 0.018562
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3942 | 3939 | 3 | -750 | -0.00075 | 8187 | 8131 | 56 | -14000 | -0.014
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993337 | 993338 | -1 | 100 | 0.0001 | 29741 | 29716 | 25 | -2500 | -0.0025
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.12037 |  |  |  |  | -0.53226
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -20.2479 |  |  |  |  | 0.019998
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.12037 |  |  |  |  | -0.53226
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.14531 |  |  |  |  | 0.29722
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -20.5136 |  |  |  |  | -0.21504
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -20.5136 | (REACTIVE MUs) |  |  |  | -0.21504 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.485 | (REACTIVE MUs) |  |  |  | 0.016415 | (REACTIVE MUs)
[9 empty] | TOTAL | -23.9986 | (REACTIVE MUs) |  |  |  | -0.19863 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36222 | 36155 | 67 | 17889 | 0.017889 | 994319 | 994314 | 5 | 1335 | 0.001335
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11229 | 11227 | 2 | 8000 | 0.008 | 1671 | 1710 | -39 | -156000 | -0.156
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 24930 | 24922 | 8 | 10666.64 | 0.010667 | 34358 | 34173 | 185 | 246666.05 | 0.24667
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999828 | 999835 | -7 | -7000 | -0.007 | 999765 | 999797 | -32 | -32000 | -0.032
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 21 | 21 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18472 | 18463 | 9 | 11999.97 | 0.012 | 5175 | 5079 | 96 | 127999.68 | 0.128
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999824 | 999793 | 31 | 6200 | 0.0062 | 1000512 | 999966 | 546 | 109200 | 0.1092
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975352 | 975355 | -3 | -3000 | -0.003 | 1905 | 2175 | -270 | -270000 | -0.27
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983639 | 983639 | 0 | 0 | 0 | 301 | 157 | 144 | 72000 | 0.072
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997569 | 997568 | 1 | 1000 | 0.001 | 999867 | 999894 | -27 | -27000 | -0.027
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983083 | 983085 | -2 | -2000 | -0.002 | 1266 | 1369 | -103 | -103000 | -0.103
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999927 | 999918 | 9 | 9000 | 0.009 | 994 | 161 | 833 | 833000 | 0.833
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993597 | 993597 | 0 | 0 | 0 | 997426 | 998143 | -717 | -717000 | -0.717
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992623 | 992624 | -1 | -1000 | -0.001 | 312 | 208 | 104 | 104000 | 0.104
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994298 | 994294 | 4 | 3200 | 0.0032 | 6427 | 5543 | 884 | 707200 | 0.7072
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11670 | 11686 | -16 | -2133.28 | -0.0021333 | 6704 | 5159 | 1545 | 205994.85 | 0.20599
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999961 | 0 | 0 | 0 | 999908 | 999929 | -21 | -21000 | -0.021
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 504 | 503 | 1 | 1000 | 0.001 | 17238 | 17444 | -206 | -206000 | -0.206
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 956538 | 957056 | -518 | -647500 | -0.6475 | 947186 | 947192 | -6 | -7500 | -0.0075
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 949651 | 950939 | -1288 | -1288000 | -1.288 | 933541 | 933562 | -21 | -21000 | -0.021
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993503 | 993986 | -483 | -483000 | -0.483 | 998699 | 998708 | -9 | -9000 | -0.009
| KASHMIRI GATE | [8 empty] | -2.4185 |  |  |  |  | -0.0375
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999376 | 999421 | -45 | 45000 | 0.045 | 999461 | 999652 | -191 | 191000 | 0.191
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978449 | 978535 | -86 | 86000 | 0.086 | 997851 | 997921 | -70 | 70000 | 0.07
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998922 | -2 | -2000 | -0.002 | 13679 | 13774 | -95 | -95000 | -0.095
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263257 | 262952 | 305 | -305000 | -0.305 | 25887 | 25775 | 112 | -112000 | -0.112
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 272 | 29 | 243 | -243000 | -0.243
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7239 | 7596 | -357 | 357000 | 0.357 | 998982 | 999012 | -30 | 30000 | 0.03
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6345 | 6785 | -440 | 440000 | 0.44 | 998036 | 998093 | -57 | 57000 | 0.057
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100952 | 100911 | 41 | -41000 | -0.041 | 982707 | 982812 | -105 | 105000 | 0.105
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93355 | 93219 | 136 | -136000 | -0.136 | 330 | 325 | 5 | -5000 | -0.005
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 720 | 651 | 69 | -345000 | -0.345 | 999999 | 999999 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1374 | 1334 | 40 | 40000 | 0.04 | 537 | 526 | 11 | 11000 | 0.011
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4654 | 4475 | 179 | 23866.07 | 0.023866 | 7400 | 7306 | 94 | 12533.02 | 0.012533
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 11406 | 12013 | -607 | -80731 | -0.080731
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975107 | 975279 | -172 | 172000 | 0.172 | 990098 | 990115 | -17 | 17000 | 0.017
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974839 | 975024 | -185 | 185000 | 0.185 | 969115 | 969116 | -1 | 1000 | 0.001
[5 empty] | -1000 | [5 empty] | 981137 | 981152 | -15 | 15000 | 0.015
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.8448 |  |  |  |  | 0.8117
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.8448 |  |  |  |  | 0.8117
MAY-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992434 | 992472 | -38 | 38000 | 0.038 | 993844 | 993850 | -6 | 6000 | 0.006
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981151 | 981175 | -24 | 24000 | 0.024 | 930444 | 930422 | 22 | -22000 | -0.022
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993246 | 993290 | -44 | 44000 | 0.044 | 993285 | 993360 | -75 | 75000 | 0.075
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999848 | 999997 | -149 | 149000 | 0.149 | 999853 | 999990 | -137 | 137000 | 0.137
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38928 | 38991 | -63 | 63000 | 0.063 | 997923 | 997990 | -67 | 67000 | 0.067
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 15876 | 16052 | -176 | 88000 | 0.088 | 372 | 469 | -97 | 48500 | 0.0485
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999794 | 999986 | -192 | 192000 | 0.192 | 999985 | 999988 | -3 | 3000 | 0.003
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3247 | 3586 | -339 | 339000 | 0.339 | 999480 | 999483 | -3 | 3000 | 0.003
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 735 | 826 | -91 | 91000 | 0.091 | 7 | 7 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991283 | 991357 | -74 | 74000 | 0.074 | 954926 | 955083 | -157 | 157000 | 0.157
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968929 | 968914 | 15 | -15000 | -0.015 | 823829 | 823883 | -54 | 54000 | 0.054
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12967 | 12860 | 107 | -535000 | -0.535 | 51 | 50 | 1 | -5000 | -0.005
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21014 | 20415 | 599 | -599000 | -0.599 | 81 | 80 | 1 | -1000 | -0.001
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5436 | 5443 | -7 | 7000 | 0.007 | 1000004 | 999991 | 13 | -13000 | -0.013
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.04 |  |  |  |  | 0.5095
| (B) NET ENERGY TO EAST | [8 empty] | -0.04 |  |  |  |  | 0.5095
MAY-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993192 | 993261 | -69 | 18400.23 | 0.0184 | 213 | 185 | 28 | -7466.76 | -0.0074668
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2190 | 10 | -5000 | -0.005 | 1584 | 1453 | 131 | -65500 | -0.0655
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1525 | 1432 | 93 | -24799.38 | -0.024799 | 2366 | 2342 | 24 | -6399.84 | -0.0063998
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7646 | 7895 | -249 | 24900 | 0.0249 | 21 | 31 | -10 | 1000 | 0.001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 979122 | 979412 | -290 | 58000 | 0.058 | 999386 | 999382 | 4 | -800 | -0.0008
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1510 | 1459 | 51 | -51000 | -0.051 | 82 | 84 | -2 | 2000 | 0.002
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3628 | 3612 | 16 | -12800 | -0.0128 | 3578 | 3213 | 365 | -292000 | -0.292
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2163 | 2168 | -5 | 4000 | 0.004 | 1736 | 1628 | 108 | -86400 | -0.0864
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946206 | 946303 | -97 | 77600 | 0.0776 | 988653 | 988894 | -241 | 192800 | 0.1928
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992557 | -13 | 26000 | 0.026 | 999292 | 999415 | -123 | 246000 | 0.246
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986981 | 987015 | -34 | 68000 | 0.068 | 998948 | 999071 | -123 | 246000 | 0.246
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998116 | 998128 | -12 | 12000 | 0.012 | 24680 | 24701 | -21 | 21000 | 0.021
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999775 | 999771 | 4 | -2000 | -0.002 | 2320 | 2285 | 35 | -17500 | -0.0175
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 24 | 24 | 0 | 0 | 0 | 242 | 213 | 29 | -14500 | -0.0145
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1096 | 1093 | 3 | -1500 | -0.0015 | 1436 | 1365 | 71 | -35500 | -0.0355
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61071 | 60443 | 628 | -62800 | -0.0628 | 2444 | 2422 | 22 | -2200 | -0.0022
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 104 | 105 | -1 | 133.33 | 0.00013333 | 811 | 808 | 3 | -399.99 | -0.00039999
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992965 | 992969 | -4 | 400 | 0.0004 | 2741 | 2638 | 103 | -10300 | -0.0103
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9031 | 8871 | 160 | -16000 | -0.016 | 15241 | 14994 | 247 | -24700 | -0.0247
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13369 | 13083 | 286 | -28600 | -0.0286 | 6116 | 5916 | 200 | -20000 | -0.02
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31777 | 31588 | 189 | -18900 | -0.0189 | 11236 | 11113 | 123 | -12300 | -0.0123
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 61330 | 60620 | 710 | 710 | 0.00071 | 278689 | 257680 | 21009 | 21009 | 0.021009
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 33550 | 33440 | 110 | 110 | 0.00011 | 499820 | 473940 | 25880 | 25880 | 0.02588
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 156400 | 147800 | 8600 | 8600 | 0.0086 | 1487399 | 1427699 | 59700 | 59700 | 0.0597
[10 empty] | 0.075454 |  |  |  |  | 0.21942
MAY-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.8448 |  |  |  |  | 0.8117
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.075454 |  |  |  |  | 0.21942
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.0034625 |  |  |  |  | -0.13969
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.7659 |  |  |  |  | 0.89143
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.04 |  |  |  |  | 0.5095
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.8059 |  |  |  |  | 1.4009
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.8059 | (REACTIVE MUs) |  |  |  | 1.4009 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.6808 | (REACTIVE MUs) |  |  |  | 0.012627 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.4867 | (REACTIVE MUs) |  |  |  | 1.4136 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997889 | 997887 | 2 | 2000 | 0.002 | 996690 | 996888 | -198 | -198000 | -0.198
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998558 | 998564 | -6 | -6000 | -0.006 | 999124 | 999263 | -139 | -139000 | -0.139
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999783 | 999755 | 28 | 28000 | 0.028 | 998361 | 998968 | -607 | -607000 | -0.607
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999785 | 6 | 7999.98 | 0.008 | 999834 | 999660 | 174 | 231999.42 | 0.232
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997554 | 997544 | 10 | 15000 | 0.015 | 999707 | 999770 | -63 | -94500 | -0.0945
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10530 | 10543 | -13 | -1300 | -0.0013 | 20836 | 20945 | -109 | -10900 | -0.0109
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994851 | 994859 | -8 | -8000 | -0.008 | 996212 | 996257 | -45 | -45000 | -0.045
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991738 | 991776 | -38 | -2850 | -0.00285 | 992727 | 992534 | 193 | 14475 | 0.014475
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996796 | 996793 | 3 | 2400 | 0.0024 | 998979 | 999053 | -74 | -59200 | -0.0592
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988619 | 988622 | -3 | -3999.99 | -0.004 | 265022 | 265035 | -13 | -17333.29 | -0.017333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1015 | 1016 | -1 | 6666.666 | 0.0066667 | 20 | 39 | -19 | 126666.654 | 0.12667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28362 | 28164 | 198 | -198000 | -0.198 | 996627 | 996639 | -12 | 12000 | 0.012
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5206 | 5217 | -11 | 22000 | 0.022 | 996356 | 996445 | -89 | 178000 | 0.178
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17418 | 17418 | 0 | 0 | 0 | 996065 | 996107 | -42 | 42000 | 0.042 | Data till 09/05/2022
[10 empty] | 0 |  |  |  |  | 0.008 | Assessment- Tx loaded upto 11/5/22
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3035 | 3054 | -19 | 19000 | 0.019 | 996410 | 997377 | -967 | 967000 | 0.967
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141667 | 141532 | 135 | -135000 | -0.135 | 19358 | 19348 | 10 | -10000 | -0.01
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6548 | 6540 | 8 | -8000 | -0.008 | 999733 | 999808 | -75 | 75000 | 0.075
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38318 | 38291 | 27 | -54000 | -0.054 | 998805 | 998813 | -8 | 16000 | 0.016
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1794 | 1826 | -32 | 64000 | 0.064 | 999930 | 999992 | -62 | 124000 | 0.124
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122529 | 122461 | 68 | -54400 | -0.0544 | 4938 | 2798 | 2140 | -1712000 | -1.712
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121739 | 121738 | 1 | -800 | -0.0008 | 1000826 | 999599 | 1227 | -981600 | -0.9816
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945828 | 946199 | -371 | 371000 | 0.371 | 959345 | 959347 | -2 | 2000 | 0.002
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 956126 | 957073 | -947 | 1894000 | 1.894 | 991320 | 991339 | -19 | 38000 | 0.038
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 910449 | 910777 | -328 | 656000 | 0.656 | 971807 | 971809 | -2 | 4000 | 0.004
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12134 | 12421 | -287 | 287000 | 0.287 | 996038 | 996073 | -35 | 35000 | 0.035
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997275 | 997335 | -60 | 60000 | 0.06 | 999994 | 999995 | -1 | 1000 | 0.001
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980992 | 981020 | -28 | 28000 | 0.028 | 999859 | 999863 | -4 | 4000 | 0.004
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277462 | 277405 | 57 | -57000 | -0.057 | 121892 | 121484 | 408 | -408000 | -0.408
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7521 | 7510 | 11 | -22000 | -0.022 | 234 | 147 | 87 | -174000 | -0.174
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 347 | 346 | 1 | 800 | 0.0008 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935566 | 935647 | -81 | 81000 | 0.081 | 965384 | 965454 | -70 | 70000 | 0.07
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972468 | 972475 | -7 | 7000 | 0.007 | 983840 | 983956 | -116 | 116000 | 0.116 | Data till17/5/22
[10 empty] | 0.00329 |  |  |  |  | 0.0545 | Assessment
|  | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 1000000 | -3 | 3000 | 0.003 | 999976 | 1000000 | -24 | 24000 | 0.024 | w.e.f 26/5/22
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40768 | 40749 | 19 | -15200 | -0.0152 | 999583 | 999354 | 229 | -183200 | -0.1832
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62688 | 62679 | 9 | -14400 | -0.0144 | 979362 | 979172 | 190 | -304000 | -0.304
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996244 | 996280 | -36 | 72000 | 0.072 | 987803 | 987673 | 130 | -260000 | -0.26
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999965 | 1000000 | -35 | 35000 | 0.035 | 998336 | 998964 | -628 | 628000 | 0.628
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23567 | 23610 | -43 | 43000 | 0.043 | 31596 | 31708 | -112 | 112000 | 0.112
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2514 | 2585 | -71 | 71000 | 0.071 | 996801 | 996871 | -70 | 70000 | 0.07
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1472 | 1472 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MAY-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3456 | 3466 | -10 | 10000 | 0.01 | 999973 | 999979 | -6 | 6000 | 0.006
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22011 | 22014 | -3 | 3000 | 0.003 | 373 | 380 | -7 | 7000 | 0.007
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15883 | 15943 | -60 | 60000 | 0.06 | 998204 | 998340 | -136 | 136000 | 0.136
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1129 | 1117 | 12 | -12000 | -0.012 | 338 | 127 | 211 | -211000 | -0.211
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 39 | 0 | 39 | -19500 | -0.0195 | 234 | 107 | 127 | -63500 | -0.0635
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 5 | 0 | 5 | -12500 | -0.0125 | 116 | 44 | 72 | -180000 | -0.18
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 503 | 490 | 13 | -26000 | -0.026 | 160 | 65 | 95 | -190000 | -0.19
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86016 | 86054 | -38 | 38000 | 0.038 | 997191 | 997153 | 38 | -38000 | -0.038
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57223 | 57425 | -202 | 404000 | 0.404 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5424 | 5307 | 117 | -175500 | -0.1755 | 3 | 0 | 3 | -4500 | -0.0045
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8428 | 8300 | 128 | -128000 | -0.128 | 999995 | 1000000 | -5 | 5000 | 0.005
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996538 | 996574 | -36 | 36000 | 0.036 | 999933 | 999951 | -18 | 18000 | 0.018
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991215 | 991256 | -41 | 41000 | 0.041 | 994623 | 994635 | -12 | 12000 | 0.012
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990797 | 990863 | -66 | 66000 | 0.066 | 986999 | 987053 | -54 | 54000 | 0.054
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995264 | 995276 | -12 | -48000 | -0.048 | 999993 | 999992 | 1 | 4000 | 0.004
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970301 | 970318 | -17 | -13600 | -0.0136 | 614 | 610 | 4 | 3200 | 0.0032
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 915914 | 916020 | -106 | -84800 | -0.0848 | 999471 | 999475 | -4 | -3200 | -0.0032
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997071 | 997073 | -2 | -1600 | -0.0016 | 999838 | 999835 | 3 | 2400 | 0.0024
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994575 | 994571 | 4 | 3200 | 0.0032 | 42 | 40 | 2 | 1600 | 0.0016
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986981 | 987015 | -34 | -68000 | -0.068 | 998948 | 999071 | -123 | -246000 | -0.246
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109544 | 109530 | 14 | -28000 | -0.028 | 3590 | 2408 | 1182 | -2364000 | -2.364
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11511 | 11485 | 26 | -26000 | -0.026 | 1594 | 184 | 1410 | -1410000 | -1.41
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138126 | 138070 | 56 | -56000 | -0.056 | 2118 | 2014 | 104 | -104000 | -0.104
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 182 | 169 | 13 | 1300 | 0.0013 | 947 | 805 | 142 | 14200 | 0.0142
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998728 | 998535 | 193 | 36187.5 | 0.036187
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998780 | 998788 | -8 | -8000 | -0.008 | 105 | 47 | 58 | 58000 | 0.058
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998789 | 998797 | -8 | -8000 | -0.008 | 67 | 22 | 45 | 45000 | 0.045
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 898790 | 898790 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 537 | 499 | 38 | 38000 | 0.038 | 29 | 0 | 29 | 29000 | 0.029
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998789 | 998797 | -8 | -8000 | -0.008 | 67 | 22 | 45 | 45000 | 0.045
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10737 | 10737 | 0 | 0 | 0 | 26660 | 26182 | 478 | 35850 | 0.03585 | Data till 18/05/22
[10 empty] | 0 |  |  |  |  | 0.013968 | Assessment
|  | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 124 | 0 | 124 | 12400 | 0.0124 | w.e.f 26/5/22
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5406 | 5406 | 0 | 0 | 0 | 19930 | 19930 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.0321 | Assessment
|  | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 517 | 0 | 517 | 51700 | 0.0517 | w.e.f 12/5/22
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9536 | 9536 | 0 | 0 | 0 | 3262 | 3262 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996590 | 996590 | 0 | 0 | 0 | 4228 | 4218 | 10 | 10000 | 0.01
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981727 | 981731 | -4 | -4000 | -0.004 | 858 | 939 | -81 | -81000 | -0.081
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7669 | 7665 | 4 | 4000 | 0.004 | 6784 | 6753 | 31 | 31000 | 0.031
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999645 | 999640 | 5 | 5000 | 0.005 | 73 | 32 | 41 | 41000 | 0.041
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4814 | 4765 | 49 | 4900 | 0.0049 | 910871 | 910530 | 341 | 34100 | 0.0341
80 | MUKHERJEE PARK - I | 5295127 | ELSTER | Kvarh(Lead/Lag) | 1000 | 489 | 489 | 0 | 0 | 0 | 29 | 31 | -2 | -2000 | -0.002 | Check meter data
|  | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999945 | 1000000 | -55 | -14666.85 | -0.014667 | 77 | 0 | 77 | 20533.59 | 0.020534 | w.e.f 03/05/2022
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5550 | 5543 | 7 | 7000 | 0.007 | 7549 | 7486 | 63 | 63000 | 0.063
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992042 | 992042 | 0 | 0 | 0 | 17969 | 15737 | 2232 | 446400 | 0.4464
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988004 | 987998 | 6 | 1125 | 0.001125 | 4755 | 4783 | -28 | -5250 | -0.00525
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981939 | 981971 | -32 | -6000 | -0.006 | 3593 | 3692 | -99 | -18562.5 | -0.018562
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3942 | 3939 | 3 | 750 | 0.00075 | 8187 | 8131 | 56 | 14000 | 0.014
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993337 | 993338 | -1 | -100 | -0.0001 | 29741 | 29716 | 25 | 2500 | 0.0025
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.1732 |  |  |  |  | -5.886
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21967 | 21962 | 5 | -2500 | -0.0025 | 5086 | 5030 | 56 | -28000 | -0.028
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 11406 | 12013 | -607 | 80931.31 | 0.080931
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1270 | 2 | -2000 | -0.002 | 999560 | 999347 | 213 | -213000 | -0.213
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990840 | 990801 | 39 | -39000 | -0.039 | 2332 | 2284 | 48 | -48000 | -0.048
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 32559 | 32107 | 452 | -72320 | -0.07232
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3810 | 3796 | 14 | -2800 | -0.0028 | 12749 | 11648 | 1101 | -220200 | -0.2202
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971878 | 971896 | -18 | 18000 | 0.018 | 999235 | 999295 | -60 | 60000 | 0.06
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999878 | 999866 | 12 | -1200 | -0.0012 | 871 | 187 | 684 | -68400 | -0.0684
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3742 | 3736 | 6 | -600 | -0.0006 | 2690 | 1908 | 782 | -78200 | -0.0782
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 1000000 | 999871 | 129 | 107499.57 | 0.1075
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 449 | 6 | -3750 | -0.00375 | 1904 | 1596 | 308 | -192500 | -0.1925
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3156 | 6 | -600 | -0.0006 | 34104 | 33476 | 628 | -62800 | -0.0628
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 604 | 597 | 7 | -9331 | -0.009331
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 472 | 14 | 458 | -45800 | -0.0458
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1926 | 1925 | 1 | -100 | -0.0001 | 6899 | 6233 | 666 | -66600 | -0.0666
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 59 | 60 | -1 | -400 | -0.0004
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999883 | 999880 | 3 | -1200 | -0.0012 | 999434 | 999432 | 2 | -800 | -0.0008
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 9316 | 9221 | 95 | -76000 | -0.076 | 6247 | 6224 | 23 | -18400 | -0.0184
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981503 | 981519 | -16 | 16000 | 0.016 | 1835 | 2059 | -224 | 224000 | 0.224
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1197 | 1196 | 1 | -750 | -0.00075 | 3980 | 3486 | 494 | -370500 | -0.3705
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.0965 |  |  |  |  | -1.0228
MAY-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.1732 |  |  |  |  | -5.886
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.0965 |  |  |  |  | -1.0228
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.05215 |  |  |  |  | -0.051962
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0002625 |  |  |  |  | -0.66905
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.1286 |  |  |  |  | -7.6298
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.1286 | (REACTIVE MUs) |  |  |  | -7.6298 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.1671 | (REACTIVE MUs) |  |  |  | 0.024338 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.0385 | (REACTIVE MUs) |  |  |  | -7.6055 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1525 | 1432 | 93 | 24800.31 | 0.0248 | 2366 | 2342 | 24 | 6400.08 | 0.0064001
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 7646 | 7895 | -249 | -24900 | -0.0249 | 21 | 31 | -10 | -1000 | -0.001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 979122 | 979412 | -290 | -58000 | -0.058 | 999386 | 999382 | 4 | 800 | 0.0008
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1510 | 1459 | 51 | 51000 | 0.051 | 82 | 84 | -2 | -2000 | -0.002
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3628 | 3612 | 16 | 12800 | 0.0128 | 3578 | 3213 | 365 | 292000 | 0.292
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2163 | 2168 | -5 | -4000 | -0.004 | 1736 | 1628 | 108 | 86400 | 0.0864
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946206 | 946303 | -97 | -77600 | -0.0776 | 988653 | 988894 | -241 | -192800 | -0.1928
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992557 | -13 | -26000 | -0.026 | 999292 | 999415 | -123 | -246000 | -0.246
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953331 | 953356 | -25 | -1250 | -0.00125 | 21045 | 19718 | 1327 | 66350 | 0.06635
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999947 | 999999 | -52 | -5200 | -0.0052 | 1000231 | 999917 | 314 | 31400 | 0.0314
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997792 | 997785 | 7 | 3500 | 0.0035 | 5795 | 5537 | 258 | 129000 | 0.129
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999889 | -18 | -1800 | -0.0018 | 999229 | 999520 | -291 | -29100 | -0.0291
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998688 | 998695 | -7 | -700 | -0.0007 | 1001108 | 999859 | 1249 | 124900 | 0.1249
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41222 | 41222 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1104 | 1103 | 1 | 100 | 0.0001 | 1873 | 1609 | 264 | 26400 | 0.0264
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994453 | 994563 | -110 | -110000 | -0.11 | 342 | 281 | 61 | 61000 | 0.061
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982383 | 982565 | -182 | -182000 | -0.182 | 2724 | 2709 | 15 | 15000 | 0.015
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998431 | 998461 | -30 | -75000 | -0.075 | 47 | 34 | 13 | 32500 | 0.0325
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996020 | 996130 | -110 | -275000 | -0.275 | 457 | 461 | -4 | -10000 | -0.01
[10 empty] | -0.642 |  |  |  |  | 0.0985
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990840 | 990801 | 39 | 39000 | 0.039 | 2332 | 2284 | 48 | 48000 | 0.048
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 32559 | 32107 | 452 | 72320 | 0.07232
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3810 | 3796 | 14 | 2800 | 0.0028 | 12749 | 11648 | 1101 | 220200 | 0.2202
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971878 | 971896 | -18 | -18000 | -0.018 | 999235 | 999295 | -60 | -60000 | -0.06
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
MAY-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996832 | 996877 | -45 | 45000 | 0.045 | 989697 | 989798 | -101 | 101000 | 0.101
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999040 | 999093 | -53 | 53000 | 0.053 | 995531 | 995612 | -81 | 81000 | 0.081
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998073 | 998098 | -25 | 50000 | 0.05 | 996167 | 996393 | -226 | 452000 | 0.452
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2 | 50 | -48 | 48000 | 0.048 | 994518 | 995017 | -499 | 499000 | 0.499
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 449 | 6 | 3750 | 0.00375 | 1904 | 1596 | 308 | 192500 | 0.1925
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999878 | 999866 | 12 | 1200 | 0.0012 | 871 | 187 | 684 | 68400 | 0.0684
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3742 | 3736 | 6 | 600 | 0.0006 | 2690 | 1908 | 782 | 78200 | 0.0782
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0 | under S/D
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21967 | 21962 | 5 | 2500 | 0.0025 | 5086 | 5030 | 56 | 28000 | 0.028
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 537 | 499 | 38 | -38000 | -0.038 | 29 | 0 | 29 | -29000 | -0.029
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999553 | 999551 | 2 | -2000 | -0.002 | 999964 | 999999 | -35 | 35000 | 0.035
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10737 | 10737 | 0 | 0 | 0 | 26660 | 26182 | 478 | -35850 | -0.03585 | Data till 18/05/22
[10 empty] | 0 |  |  |  |  | -0.013968 | Assessment
|  | 4865073 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 124 | 0 | 124 | -12400 | -0.0124 | w.e.f 26/5/22
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5406 | 5406 | 0 | 0 | 0 | 19930 | 19930 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0321 | Assessment
|  | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 517 | 0 | 517 | -51700 | -0.0517 | w.e.f 12/5/22
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.5614 |  |  |  |  | 2.0319
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.5614 |  |  |  |  | 2.0319
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.43807 |  |  |  |  | 0.0020634
| TOTAL ENERGY TO NDMC | [8 empty] | -0.99947 |  |  |  |  | 2.0339

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 78470 | 78079 | 391 | 78200 | 0.0782
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999895 | 999875 | 20 | 3200 | 0.0032 | 31591 | 30950 | 641 | 102560 | 0.10256
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4590 | 4588 | 2 | 2000 | 0.002 | 59405 | 59246 | 159 | 159000 | 0.159 | data till 24/5/22
|  | 4902507 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 414 | 414 | 0 | 0 | 0 | 7269 | 7205 | 64 | 85333.12 | 0.085333 | Check Meter Data
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19395 | 19416 | -21 | -8400 | -0.0084
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999477 | 999481 | -4 | -3200 | -0.0032 | 775 | 793 | -18 | -14400 | -0.0144
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2696 | 2673 | 23 | 9200 | 0.0092 | 6227 | 6046 | 181 | 72400 | 0.0724
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1270 | 2 | 2000 | 0.002 | 999560 | 999347 | 213 | 213000 | 0.213
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0132 |  |  |  |  | 0.68769
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4047 | 4040 | 7 | 262.5 | 0.0002625 | 22293 | 15647 | 6646 | 249225 | 0.24923
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 379 | 91 | 288 | 28800 | 0.0288
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 45462 | 41860 | 3602 | 270150 | 0.27015
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 2908 | 2543 | 365 | 27375 | 0.027375
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 6107 | 5172 | 935 | 93500 | 0.0935
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0002625 |  |  |  |  | 0.66905
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0132 |  |  |  |  | 0.68769
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.013463 |  |  |  |  | 1.3567
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.013463 | (REACTIVE MUs) |  |  |  | 1.3567 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.07446 | (REACTIVE MUs) |  |  |  | 0.00035073 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.060998 | (REACTIVE MUs) |  |  |  | 1.3571 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991433 | 991332 | 101 | 63125 | 0.063125 | 316 | 290 | 26 | 16250 | 0.01625
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999887 | 999896 | -9 | -4500 | -0.0045 | 250 | 244 | 6 | 3000 | 0.003
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 9316 | 9221 | 95 | 76000 | 0.076 | 6247 | 6224 | 23 | 18400 | 0.0184
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 61330 | 60620 | 710 | -710 | -0.00071 | 278689 | 257680 | 21009 | -21009 | -0.021009
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 33550 | 33440 | 110 | -110 | -0.00011 | 499820 | 473940 | 25880 | -25880 | -0.02588
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 156400 | 147800 | 8600 | -8600 | -0.0086 | 1487399 | 1427699 | 59700 | -59700 | -0.0597
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.12521 |  |  |  |  | -0.068939
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.043525 |  |  |  |  | 0.00020502
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.08168 |  |  |  |  | -0.068734

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996137 | 996123 | 14 | 7000 | 0.007 | 43 | 2 | 41 | 20500 | 0.0205
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29729 | 29805 | -76 | -7600 | -0.0076 | 997034 | 997948 | -914 | -91400 | -0.0914
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16140 | 16088 | 52 | 26000 | 0.026 | 5352 | 5289 | 63 | 31500 | 0.0315
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997466 | 997462 | 4 | 3750 | 0.00375 | 999597 | 999716 | -119 | -111562.5 | -0.11156
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999454 | 999467 | -13 | 13000 | 0.013 | 999525 | 999660 | -135 | 135000 | 0.135
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993768 | 993788 | -20 | 10000 | 0.01 | 227 | 155 | 72 | -36000 | -0.036
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.05215 |  |  |  |  | -0.051962
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961914 | 961967 | -53 | -10600 | -0.0106 | 993219 | 993639 | -420 | -84000 | -0.084
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 75 | 0 | 75 | 14062.5 | 0.014063 | 999737 | 1000034 | -297 | -55687.5 | -0.055688
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.0034625 |  |  |  |  | -0.13969
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1338 | 1330 | 8 | 10000 | 0.01 | 998657 | 998669 | -12 | -15000 | -0.015
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 368884 | 368884 | 0 | 0 | 0 | 219957 | 220080 | -123 | -11531.25 | -0.011531 | Check meter Data
|  | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999999 | 1000000 | -1 | -937.5 | -0.0009375 | 999894 | 1000000 | -106 | -99375 | -0.099375 | W.e.f 10/5/2022
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999785 | 999781 | 4 | 500 | 0.0005 | 998809 | 999866 | -1057 | -132125 | -0.13212
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 622 | 623 | -1 | -3750 | -0.00375 | 133 | 142 | -9 | -33750 | -0.03375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999229 | 999238 | -9 | -9000 | -0.009 | 999911 | 999970 | -59 | -59000 | -0.059
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978629 | 978783 | -154 | -154000 | -0.154 | 989327 | 988704 | 623 | 623000 | 0.623
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 356 | 375 | -19 | 11875 | 0.011875 | 999871 | 999911 | -40 | 25000 | 0.025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.14531 |  |  |  |  | 0.29722
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.05215 |  |  |  |  | -0.051962
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.0034625 |  |  |  |  | -0.13969
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.14531 |  |  |  |  | 0.29722

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 226373 | 225303 | 1070 | 1070000 | 1.07 | 47835 | 47829 | 6 | 6000 | 0.006
[5 empty] | 1000 | 221890 | 221058 | 832 | 832000 | 0.832
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 27637 | 26956 | 681 | 1362000 | 1.362 | 1634 | 1630 | 4 | 8000 | 0.008
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 875326 | 877861 | -2535 | 1267500 | 1.2675 | 997991 | 997991 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 417924 | 418701 | -777 | 77700 | 0.0777 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 4.6092 |  | NET REACTIVE ENERGY |  |  | 0.014
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.6092 |  |  |  |  | 0.014
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -12.3106 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.5455 |  |  |  |  | -0.0565
[7 empty] | NDMC = |  |  | -0.642 |  |  |  |  | 0.0985
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -16.4981 |  |  |  |  | 0.042
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -11.8889 |  |  |  |  | 0.056
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.313 | % |  |  | -3.485 |  |  |  |  | 0.016415
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.4616 | % |  |  | -5.1671 |  |  |  |  | 0.024338
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5484 | % |  |  | -2.6808 |  |  |  |  | 0.012627
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.6847 | % |  |  | -0.43807 |  |  |  |  | 0.0020634
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6263 | % |  |  | -0.07446 |  |  |  |  | 0.00035073
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3661 | % |  |  | -0.043525 |  |  |  |  | 0.00020502
Note :Sharing taken from wk-08 abt bill 2022-23

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2022 TO 31st MAY-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -23.9986 |  | -0.19863
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.0385 |  | -7.6055
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -4.4867 | + | 1.4136
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.99947 | + | 2.0339
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.060998 | + | 1.3571
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.08168 |  | -0.068734
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2022 | INTIAL READING 01/05/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83