## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964985 | 964981 | 4 | -4000 | -0.004 | 996866 | 996894 | -28 | 28000 | 0.028
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85245 | 85138 | 107 | -214000 | -0.214 | 4755 | 4721 | 34 | -68000 | -0.068
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2689 | 2640 | 49 | -49000 | -0.049 | 262 | 254 | 8 | -8000 | -0.008
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30438 | 30090 | 348 | -348000 | -0.348 | 96278 | 96038 | 240 | -240000 | -0.24
| SUBZI MANDI |  |  |  | -1000 | 28896 | 28896 | 0 | 0 | 0
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 992013 | 992056 | -43 | 43000 | 0.043
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898569 | 898537 | 32 | -32000 | -0.032 | 26750 | 26824 | -74 | 74000 | 0.074
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7698 | 5573 | 2125 | -2125000 | -2.125 | 5 | 5 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19866 | 18029 | 1837 | -1837000 | -1.837 | 998221 | 998221 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13110 | 11141 | 1969 | -1969000 | -1.969 | 997685 | 997685 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 974015 | 971550 | 2465 | -1232500 | -1.2325 | 838761 | 838761 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1126 | 999 | 127 | -127000 | -0.127 | 998780 | 998780 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8847 | 7852 | 995 | -995000 | -0.995 | 999897 | 999897 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50121 | 48354 | 1767 | -1767000 | -1.767 | 996715 | 996715 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 19469 | 18061 | 1408 | -1408 | -1.408 | 99999724 | 99999724 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 761182 | 768097 | -6915 | -6915000 | -6.915 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 883265 | 888588 | -5323 | -2661500 | -2.6615 | 999995 | 999995 | 0 | 0 | 0
[10 empty] | 5.87 | [5 empty] | Assessment
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12322 | 11905 | 417 | -417000 | -0.417 | 999932 | 999932 | 0 | 0 | 0
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 62194 | 61775 | 419 | -209500 | -0.2095 | 358 | 332 | 26 | -13000 | -0.013
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53732 | 52920 | 812 | -812000 | -0.812 | 998662 | 998652 | 10 | -10000 | -0.01
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999861 | 999861 | 0 | 0 | 0 | 989633 | 989727 | -94 | -94000 | -0.094
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999935 | 999936 | -1 | -4000 | -0.004 | 999958 | 999971 | -13 | -52000 | -0.052
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1355 | 0 | 0 | 0 | 14435 | 14180 | 255 | 127500 | 0.1275
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 37387 | 37291 | 96 | 4800 | 0.0048 | 186709 | 185562 | 1147 | 57350 | 0.05735
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999770 | -1 | -1000 | -0.001 | 998708 | 998802 | -94 | -94000 | -0.094
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999150 | 999090 | 60 | 60000 | 0.06
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 43830 | 43890 | -60 | -6000 | -0.006 | 192177 | 192190 | -13 | -1300 | -0.0013
[5 empty] | 100 | 45602 | 46371 | -769 | -76900 | -0.0769
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994594 | 994854 | -260 | -260000 | -0.26 | 999456 | 999457 | -1 | -1000 | -0.001
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 933555 | 940431 | -6876 | -3438000 | -3.438 | 999897 | 999897 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995396 | 995694 | -298 | -79467.66 | -0.079468 | 999872 | 999875 | -3 | -800.01 | -0.00080001
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2224 | 2222 | 2 | 1000 | 0.001 | 268 | 258 | 10 | 5000 | 0.005
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45502 | 44277 | 1225 | -1225000 | -1.225 | 996501 | 996513 | -12 | 12000 | 0.012
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 235671 | 231103 | 4568 | -2284000 | -2.284 | 17545 | 17534 | 11 | -5500 | -0.0055
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6463 | 5768 | 695 | -1390000 | -1.39 | 999630 | 999631 | -1 | 2000 | 0.002
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51313 | 48447 | 2866 | -2866000 | -2.866 | 998916 | 998953 | -37 | 37000 | 0.037
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 116118 | 111799 | 4319 | -8638000 | -8.638 | 292 | 292 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113470 | 109424 | 4046 | -4046000 | -4.046 | 998442 | 998442 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 114298 | 93653 | 20645 | -6881597.85 | -6.8816 | 176 | 176 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18264 | 16165 | 2099 | -4198000 | -4.198 | 249 | 249 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74034 | 69688 | 4346 | -4346000 | -4.346 | 1672 | 1672 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1142000 | 591000 | 551000 | 551000 | 0.551 | -4000 | -4000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 7883000 | 5203000 | 2680000 | 2680000 | 2.68 | -13000 | -13000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6107 | 5139 | 968 | -968000 | -0.968 | 997842 | 997842 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52647 | 51453 | 1194 | -1194000 | -1.194 | 1621 | 1621 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998534 | 998537 | -3 | -3000 | -0.003 | 26388 | 26338 | 50 | 50000 | 0.05
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MARCH-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999813 | 999911 | -98 | -9800 | -0.0098 | 999996 | 1000000 | -4 | -400 | -0.0004
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3039 | 3049 | -10 | -1000 | -0.001 | 30857 | 30857 | 0 | 0 | 0
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 763 | 770 | -7 | -9331 | -0.009331 | 558 | 556 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3192 | 3192 | 0 | 0 | 0 | 2127 | 2084 | 43 | 4300 | 0.0043
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2020 | 2017 | 3 | 300 | 0.0003 | 3581 | 3577 | 4 | 400 | 0.0004
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999798 | 999806 | -8 | -4000 | -0.004 | 2125 | 2124 | 1 | 500 | 0.0005
57 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2409 | 2409 | 0 | 0 | 0 | 448 | 448 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.004 |  |  |  |  | 0.005 | Assessment
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1017 | 1016 | 1 | 500 | 0.0005 | 549 | 487 | 62 | 31000 | 0.031
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 995053 | 995087 | -34 | -3400 | -0.0034 | 3174 | 3174 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8021 | 8021 | 0 | 0 | 0 | 13185 | 13224 | -39 | -3900 | -0.0039
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10819 | 10814 | 5 | 500 | 0.0005 | 3638 | 3460 | 178 | 17800 | 0.0178
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29838 | 29834 | 4 | 400 | 0.0004 | 9210 | 9024 | 186 | 18600 | 0.0186
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59748 | 59950 | -202 | -20200 | -0.0202 | 1738 | 1734 | 4 | 400 | 0.0004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999703 | 999694 | 9 | 1199.97 | 0.0012 | 399 | 384 | 15 | 1999.95 | 0.002
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 962888 | 964624 | -1736 | -1388800 | -1.3888 | 999720 | 999720 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995273 | 995486 | -213 | -426000 | -0.426 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 973399 | 974686 | -1287 | -257400 | -0.2574 | 1421 | 1420 | 1 | 200 | 0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996392 | 996592 | -200 | -50000 | -0.05 | 534 | 538 | -4 | -1000 | -0.001
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988418 | 988562 | -144 | -144000 | -0.144 | 2019 | 2023 | -4 | -4000 | -0.004
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1419 | 1363 | 56 | 42000 | 0.042 | 3313 | 3313 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -58.1937 |  |  |  |  | -0.018184
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18477 | 18477 | 0 | 0 | 0 | 144548 | 144140 | 408 | -40800 | -0.0408
[5 empty] | -100 | [5 empty] | 143999 | 143894 | 105 | -10500 | -0.0105
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 812 | 813 | -1 | 1000 | 0.001 | 146 | 156 | -10 | 10000 | 0.01
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4231 | 3985 | 246 | -32799.18 | -0.032799 | 6224 | 5886 | 338 | -45065.54 | -0.045066
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997236 | 0 | 0 | 0 | 999588 | 999664 | -76 | 14250 | 0.01425
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 907001 | 908557 | -1556 | 1244800 | 1.2448 | 997864 | 997865 | -1 | 800 | 0.0008
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990068 | 990081 | -13 | 8125 | 0.008125 | 15 | 13 | 2 | -1250 | -0.00125
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990452 | 990423 | 29 | -18125 | -0.018125 | 999867 | 999869 | -2 | 1250 | 0.00125
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994827 | 994785 | 42 | -8400 | -0.0084 | 14611 | 14611 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990647 | 990771 | -124 | 23250 | 0.02325 | 5406 | 5406 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987812 | 988298 | -486 | 91125 | 0.091125 | 4080 | 4079 | 1 | -187.5 | -0.0001875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4512 | 4443 | 69 | -17250 | -0.01725 | 8046 | 8046 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994744 | 995028 | -284 | 28400 | 0.0284 | 29810 | 29796 | 14 | -1400 | -0.0014
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3201 |  |  |  |  | -0.072903
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -58.1937 |  |  |  |  | -0.018184
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3201 |  |  |  |  | -0.072903
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.73817 |  |  |  |  | 0.093838
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -57.6117 |  |  |  |  | 0.0027504
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -57.6117 | (REACTIVE MUs) |  |  |  | 0.0027504 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.4214 | (REACTIVE MUs) |  |  |  | -0.0093243 | (REACTIVE MUs)
[9 empty] | TOTAL | -64.0332 | (REACTIVE MUs) |  |  |  | -0.0065739 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 35996 | 36401 | -405 | -108135 | -0.10813 | 994362 | 994351 | 11 | 2937 | 0.002937
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10565 | 11072 | -507 | -152100 | -0.1521 | 2841 | 2900 | -59 | -17700 | -0.0177
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 350276 | 351005 | -729 | -54675 | -0.054675 | 403102 | 403217 | -115 | -8625 | -0.008625
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 992492 | 992813 | -321 | -96300 | -0.0963 | 5855 | 5884 | -29 | -8700 | -0.0087
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1561 | 1556 | 5 | 6666.5 | 0.0066665 | 3609 | 3597 | 12 | 15999.6 | 0.016
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14329 | 13853 | 476 | 47600 | 0.0476 | 3943 | 3837 | 106 | 10600 | 0.0106
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 158011 | 157374 | 637 | 47775 | 0.047775 | 892623 | 892547 | 76 | 5700 | 0.0057
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977187 | 977566 | -379 | -379000 | -0.379 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 985526 | 985898 | -372 | -186000 | -0.186 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998641 | 998797 | -156 | -156000 | -0.156 | 999997 | 999997 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984387 | 984815 | -428 | -428000 | -0.428 | 1348 | 1348 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986909 | 987555 | -646 | -646000 | -0.646 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993980 | 994448 | -468 | -468000 | -0.468 | 998634 | 998635 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993601 | 994007 | -406 | -406000 | -0.406 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994608 | 995090 | -482 | -385600 | -0.3856 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12437 | 8520 | 3917 | 522253.61 | 0.52225 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 55 | 93 | -38 | -38000 | -0.038 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 898 | 773 | 125 | 125000 | 0.125 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 969780 | 970007 | -227 | -283750 | -0.28375 | 948142 | 948181 | -39 | -48750 | -0.04875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978458 | 979237 | -779 | -779000 | -0.779 | 934836 | 934906 | -70 | -70000 | -0.07
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998555 | 998683 | -128 | -128000 | -0.128 | 999242 | 999276 | -34 | -34000 | -0.034
| KASHMIRI GATE | [8 empty] | -1.1907 |  |  |  |  | -0.15275
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984902 | 985008 | -106 | 106000 | 0.106 | 998157 | 998201 | -44 | 44000 | 0.044
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983705 | 983922 | -217 | 217000 | 0.217 | 998806 | 998815 | -9 | 9000 | 0.009
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13585 | 13481 | 104 | 104000 | 0.104
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 205391 | 202120 | 3271 | -3271000 | -3.271 | 9207 | 9207 | 0 | 0 | 0
[5 empty] | -1000 | 201877 | 201159 | 718 | -718000 | -0.718
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55408 | 54081 | 1327 | -1327000 | -1.327 | 450 | 507 | -57 | 57000 | 0.057
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4328 | 3711 | 617 | -617000 | -0.617 | 999277 | 999277 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4674 | 4012 | 662 | -662000 | -0.662 | 998447 | 998447 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81626 | 80278 | 1348 | -1348000 | -1.348 | 982850 | 982851 | -1 | 1000 | 0.001
[5 empty] | -1000 | 79973 | 79090 | 883 | -883000 | -0.883
[5 empty] | -1000 | 78556 | 78222 | 334 | -334000 | -0.334
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60558 | 57766 | 2792 | -2792000 | -2.792 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 43702 | 41734 | 1968 | -3936000 | -3.936 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 812 | 813 | -1 | -1000 | -0.001 | 146 | 156 | -10 | -10000 | -0.01
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4231 | 3985 | 246 | 32799.18 | 0.032799 | 6224 | 5886 | 338 | 45065.54 | 0.045066
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993262 | 993270 | -8 | -1064 | -0.001064 | 7761 | 7786 | -25 | -3325 | -0.003325
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950625 | 950395 | 230 | -230000 | -0.23 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971200 | 970961 | 239 | -239000 | -0.239 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -19.9485 |  |  |  |  | 0.093202
| (A) NET ENERGY TO CENTRAL | [8 empty] | -19.9485 |  |  |  |  | 0.093202
MARCH-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990342 | 990286 | 56 | -56000 | -0.056 | 997071 | 997096 | -25 | 25000 | 0.025
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978761 | 978672 | 89 | -89000 | -0.089 | 949559 | 949577 | -18 | 18000 | 0.018
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992390 | 992426 | -36 | 36000 | 0.036 | 997531 | 997578 | -47 | 47000 | 0.047
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993836 | 993170 | 666 | -666000 | -0.666 | 998348 | 998373 | -25 | 25000 | 0.025
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33738 | 32771 | 967 | -967000 | -0.967 | 997663 | 997661 | 2 | -2000 | -0.002
6 | Tx.2 (66 KV) | 5295155 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70013 | 69331 | 682 | -682000 | -0.682 | 19845 | 19834 | 11 | -11000 | -0.011 | Check Meter Data
|  | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 626 | 0 | 626 | -313000 | -0.313 | 1 | 0 | 1 | -500 | -0.0005 | w.e.f 21/3
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9751 | 9295 | 456 | -456000 | -0.456 | 12107 | 12144 | -37 | 37000 | 0.037
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2723 | 2484 | 239 | -239000 | -0.239 | 999923 | 999915 | 8 | -8000 | -0.008
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933564 | 932966 | 598 | -598000 | -0.598 | 978722 | 978707 | 15 | -15000 | -0.015
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987052 | 986666 | 386 | -386000 | -0.386 | 974764 | 974764 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966417 | 966462 | -45 | 45000 | 0.045 | 825275 | 825275 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7621 | 6275 | 1346 | -2692000 | -2.692 | 7 | 7 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4783 | 4357 | 426 | -426000 | -0.426 | 78 | 76 | 2 | -2000 | -0.002
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23793 | 23747 | 46 | -46000 | -0.046 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -7.535 |  |  |  |  | 0.1135
| (B) NET ENERGY TO EAST | [8 empty] | -7.535 |  |  |  |  | 0.1135
MARCH-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995396 | 995694 | -298 | 79467.66 | 0.079468 | 999872 | 999875 | -3 | 800.01 | 0.00080001
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2224 | 2222 | 2 | -1000 | -0.001 | 268 | 258 | 10 | -5000 | -0.005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2453 | 2736 | -283 | 75464.78 | 0.075465 | 2221 | 2221 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112450 | 112585 | -135 | 13500 | 0.0135 | 152456 | 152456 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 984464 | 985208 | -744 | 148800 | 0.1488 | 999329 | 999329 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 673 | 627 | 46 | -46000 | -0.046 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2423 | 2464 | -41 | 32800 | 0.0328 | 2661 | 2660 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3415 | 3195 | 220 | -176000 | -0.176 | 1325 | 1325 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 985957 | 986830 | -873 | 698400 | 0.6984 | 998688 | 998709 | -21 | 16800 | 0.0168
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 953789 | 953840 | -51 | 40800 | 0.0408 | 979887 | 979936 | -49 | 39200 | 0.0392
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 957045 | 958036 | -991 | 792800 | 0.7928 | 989754 | 989778 | -24 | 19200 | 0.0192
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994918 | 995166 | -248 | 496000 | 0.496 | 999538 | 999538 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991515 | 991947 | -432 | 864000 | 0.864 | 999488 | 999488 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998534 | 998537 | -3 | 3000 | 0.003 | 26388 | 26338 | 50 | -50000 | -0.05
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999813 | 999911 | -98 | -9800 | -0.0098 | 999996 | 1000000 | -4 | -400 | -0.0004
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999798 | 999806 | -8 | 4000 | 0.004 | 2125 | 2124 | 1 | -500 | -0.0005
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2409 | 2409 | 0 | 0 | 0 | 448 | 448 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.004 |  |  |  |  | -0.005 | Assessment
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1017 | 1016 | 1 | -500 | -0.0005 | 549 | 487 | 62 | -31000 | -0.031
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59748 | 59950 | -202 | 20200 | 0.0202 | 1738 | 1734 | 4 | -400 | -0.0004
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999703 | 999694 | 9 | -1199.97 | -0.0012 | 399 | 384 | 15 | -1999.95 | -0.002
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 995053 | 995087 | -34 | 3400 | 0.0034 | 3174 | 3174 | 0 | 0 | 0
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8021 | 8021 | 0 | 0 | 0 | 13185 | 13224 | -39 | 3900 | 0.0039
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10819 | 10814 | 5 | -500 | -0.0005 | 3638 | 3460 | 178 | -17800 | -0.0178
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29838 | 29834 | 4 | -400 | -0.0004 | 9210 | 9024 | 186 | -18600 | -0.0186
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 24320 | 23410 | 910 | 910 | 0.00091 | 96750 | 86580 | 10170 | 10170 | 0.01017
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 15480 | 14370 | 1110 | 1110 | 0.00111 | 276470 | 241220 | 35250 | 35250 | 0.03525
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 62400 | 59100 | 3300 | 3300 | 0.0033 | 772899 | 716600 | 56299 | 56299 | 0.056299
[10 empty] | 3.0466 |  |  |  |  | 0.050119
MARCH-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -19.9485 |  |  |  |  | 0.093202
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.0466 |  |  |  |  | 0.050119
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.34601 |  |  |  |  | -0.0098125
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -17.248 |  |  |  |  | 0.13351
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -7.535 |  |  |  |  | 0.1135
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -24.783 |  |  |  |  | 0.24701
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -24.783 | (REACTIVE MUs) |  |  |  | 0.24701 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.3596 | (REACTIVE MUs) |  |  |  | -0.0063304 | (REACTIVE MUs)
[9 empty] | TOTAL | -29.1426 | (REACTIVE MUs) |  |  |  | 0.24068 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998309 | 998440 | -131 | -131000 | -0.131 | 998645 | 998683 | -38 | -38000 | -0.038
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999355 | 999530 | -175 | -175000 | -0.175 | 999902 | 999917 | -15 | -15000 | -0.015
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 984424 | 985033 | -609 | -121800 | -0.1218 | 999788 | 999860 | -72 | -14400 | -0.0144
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999743 | 999787 | -44 | -58666.52 | -0.058667 | 999692 | 999695 | -3 | -3999.99 | -0.004
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998173 | 998364 | -191 | -286500 | -0.2865 | 999954 | 999961 | -7 | -10500 | -0.0105
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 12322 | 12710 | -388 | -38800 | -0.0388 | 21639 | 21678 | -39 | -3900 | -0.0039
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 983298 | 986931 | -3633 | -272475 | -0.27248 | 999447 | 999594 | -147 | -11025 | -0.011025
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 998056 | 999060 | -1004 | -75300 | -0.0753 | 999798 | 999896 | -98 | -7350 | -0.00735
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997358 | 997533 | -175 | -140000 | -0.14 | 999753 | 999768 | -15 | -12000 | -0.012
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 990348 | 991114 | -766 | -76600 | -0.0766 | 265069 | 265100 | -31 | -3100 | -0.0031
PAAPANKALAN - I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 286 | 264 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18396 | 17995 | 401 | -401000 | -0.401 | 996550 | 996550 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3232 | 3182 | 50 | -100000 | -0.1 | 997109 | 997110 | -1 | 2000 | 0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16874 | 16825 | 49 | -49000 | -0.049 | 996338 | 996338 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 995955 | 995714 | 241 | -241000 | -0.241
PAAPANKALAN - II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 111170 | 109325 | 1845 | -1845000 | -1.845 | 18993 | 18993 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 78560 | 77947 | 613 | -306500 | -0.3065 | 36152 | 36151 | 1 | -500 | -0.0005
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24180 | 23425 | 755 | -1510000 | -1.51 | 998521 | 998521 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940682 | 940105 | 577 | -577000 | -0.577 | 813981 | 813981 | 0 | 0 | 0
PAAPANKALAN - III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 42768 | 38739 | 4029 | -3223200 | -3.2232 | 1180 | 1180 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 78593 | 76503 | 2090 | -1672000 | -1.672 | 998281 | 998281 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952159 | 952322 | -163 | 163000 | 0.163 | 960737 | 960737 | 0 | 0 | 0
[5 empty] | -1000 | 958474 | 958922 | -448 | 448000 | 0.448
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 963744 | 965629 | -1885 | 3770000 | 3.77 | 992251 | 992251 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 916820 | 917516 | -696 | 1392000 | 1.392 | 983740 | 983773 | -33 | 66000 | 0.066
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10015 | 10554 | -539 | 539000 | 0.539 | 997056 | 997056 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5400 | 5412 | -12 | 12000 | 0.012 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981319 | 981409 | -90 | 90000 | 0.09 | 999981 | 999981 | 0 | 0 | 0
[5 empty] | -1000 | 980530 | 980469 | 61 | -61000 | -0.061
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 196915 | 196420 | 495 | -495000 | -0.495 | 81668 | 81668 | 0 | 0 | 0
[5 empty] | -1000 | 196184 | 194441 | 1743 | -1743000 | -1.743
[5 empty] | 1000 |  |  |  |  | 0.088 | [5 empty] | Assessment
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1143 | 169 | 974 | -974000 | -0.974 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946522 | 947370 | -848 | 848000 | 0.848 | 965531 | 965531 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978903 | 979008 | -105 | 105000 | 0.105 | 984010 | 984010 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86046 | 83343 | 2703 | -2703000 | -2.703 | 985605 | 985605 | 0 | 0 | 0
[5 empty] | -1000 | 80608 | 80608 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 28207 | 27029 | 1178 | -942400 | -0.9424 | 999017 | 999017 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 47788 | 47181 | 607 | -971200 | -0.9712 | 978836 | 978836 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997435 | 997421 | 14 | -28000 | -0.028 | 984284 | 984291 | -7 | 14000 | 0.014
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6546 | 6667 | -121 | 60500 | 0.0605 | 989696 | 989696 | 0 | 0 | 0
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22480 | 22448 | 32 | -32000 | -0.032 | 31770 | 31771 | -1 | 1000 | 0.001
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2691 | 2468 | 223 | -223000 | -0.223 | 996435 | 996436 | -1 | 1000 | 0.001
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 843 | 815 | 28 | -28000 | -0.028 | 999916 | 999971 | -55 | 55000 | 0.055
BRPL(+) continue | [14 empty] | MARCH-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50705 | 50042 | 663 | -663000 | -0.663 | 999526 | 999526 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11591 | 11316 | 275 | -275000 | -0.275 | 83 | 78 | 5 | -5000 | -0.005
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7150 | 6807 | 343 | -343000 | -0.343 | 999546 | 999546 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5266 | 5266 | 0 | 0 | 0 | 239 | 239 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6904 | 5571 | 1333 | -1333000 | -1.333 | 924906 | 924906 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60829 | 59738 | 1091 | -1091000 | -1.091 | 9853 | 9853 | 0 | 0 | 0
[5 empty] | -1000 | 59204 | 59031 | 173 | -173000 | -0.173
[5 empty] | -1000 | 58330 | 58167 | 163 | -163000 | -0.163
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3640 | 3367 | 273 | -546000 | -0.546 | 999598 | 999598 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72884 | 71774 | 1110 | -1110000 | -1.11 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 48926 | 46623 | 2303 | -4606000 | -4.606 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10256 | 10130 | 126 | -252000 | -0.252 | 2692 | 2692 | 0 | 0 | 0
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8693 | 8467 | 226 | -452000 | -0.452 | 1522 | 1522 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15 | 3 | 12 | -12000 | -0.012 | 999989 | 999999 | -10 | 10000 | 0.01
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994681 | 994668 | 13 | -13000 | -0.013 | 994673 | 994682 | -9 | 9000 | 0.009
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997591 | 997467 | 124 | -124000 | -0.124 | 987080 | 987081 | -1 | 1000 | 0.001
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998062 | 998433 | 0 | 0 | 0 | 999993 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 978368 | 979245 | -877 | -701600 | -0.7016 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 937304 | 939391 | -2087 | -1669600 | -1.6696 | 999482 | 999482 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997962 | 998151 | -189 | -151200 | -0.1512 | 999838 | 999838 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995522 | 995692 | -170 | -136000 | -0.136 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 991515 | 991947 | -432 | -864000 | -0.864 | 999488 | 999488 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 88981 | 88790 | 191 | -382000 | -0.382 | 1001 | 991 | 10 | -20000 | -0.02
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 5584 | 4569 | 1015 | -1015000 | -1.015
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117619 | 117614 | 5 | -5000 | -0.005 | 1653 | 1639 | 14 | -14000 | -0.014
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18477 | 0 | 0 | 0 | 144548 | 144140 | 408 | 40800 | 0.0408
[11 empty] | 143999 | 143894 | 105 | 0 | 0
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997236 | 0 | 0 | 0 | 999588 | 999664 | -76 | -14250 | -0.01425
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943906 | 944391 | -485 | -194000 | -0.194 | 993077 | 993071 | 6 | 2400 | 0.0024
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980634 | 981638 | -1004 | -401600 | -0.4016 | 73252 | 73244 | 8 | 3200 | 0.0032
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 907001 | 908557 | -1556 | -1244800 | -1.2448 | 997864 | 997865 | -1 | -800 | -0.0008
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 468811 | 468686 | 125 | 12500 | 0.0125 | 86246 | 86245 | 1 | 100 | 0.0001
[5 empty] | 100 | 468252 | 467629 | 623 | 62300 | 0.0623
[5 empty] | 100 | 467288 | 465601 | 1687 | 168700 | 0.1687
[5 empty] | 100 | 457831 | 455682 | 2149 | 214900 | 0.2149
[5 empty] | 100 |  |  | 849 | 84900 | -0.0849 | [5 empty] | Assessment
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2628 | 2807 | -179 | -179000 | -0.179 | 1880 | 1880 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 23588 | 23613 | -25 | -1875 | -0.001875
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 16932 | 16815 | 117 | 11700 | 0.0117
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8709 | 8742 | -33 | -16500 | -0.0165 | 3221 | 3221 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997464 | 997620 | -156 | -156000 | -0.156 | 4210 | 4211 | -1 | -1000 | -0.001
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984530 | 984692 | -162 | -162000 | -0.162 | 953 | 952 | 1 | 1000 | 0.001
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6692 | 6634 | 58 | 58000 | 0.058 | 6695 | 6694 | 1 | 1000 | 0.001
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 1106 | 1167 | -61 | -9760 | -0.00976 | 1576 | 1574 | 2 | 320 | 0.00032
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 974901 | 975042 | -141 | -14100 | -0.0141 | 910078 | 910068 | 10 | 1000 | 0.001
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4602 | 4563 | 39 | 39000 | 0.039 | 1118 | 1118 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4544 | 4512 | 32 | 32000 | 0.032 | 7431 | 7431 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994827 | 994785 | 42 | 8400 | 0.0084 | 14611 | 14611 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990647 | 990771 | -124 | -23250 | -0.02325 | 5406 | 5406 | 0 | 0 | 0
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987812 | 988298 | -486 | -91125 | -0.091125 | 4080 | 4079 | 1 | 187.5 | 0.0001875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4512 | 4443 | 69 | 17250 | 0.01725 | 8046 | 8046 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994744 | 995028 | -284 | -28400 | -0.0284 | 29810 | 29796 | 14 | 1400 | 0.0014
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -28.8027 |  |  |  |  | -1.2106
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21239 | 21257 | -18 | 9000 | 0.009 | 4880 | 4880 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993262 | 993270 | -8 | 1066.64 | 0.0010666 | 7761 | 7786 | -25 | 3333.25 | 0.0033333
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1159 | 1188 | -29 | 29000 | 0.029 | 999096 | 999098 | -2 | 2000 | 0.002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993286 | 993501 | -215 | 215000 | 0.215 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6778 | 7246 | -468 | 74880 | 0.07488 | 29879 | 29875 | 4 | -640 | -0.00064
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3574 | 3576 | -2 | 400 | 0.0004 | 8228 | 8219 | 9 | -1800 | -0.0018
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978608 | 979206 | -598 | 598000 | 0.598 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102647 | 102649 | -2 | 200 | 0.0002 | 75962 | 75960 | 2 | -200 | -0.0002
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4524 | 4717 | -193 | 19300 | 0.0193 | 1374 | 1376 | -2 | 200 | 0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 6987 | 8618 | -1631 | 163100 | 0.1631 | 70815 | 70815 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 162 | 119 | 43 | -26875 | -0.026875 | 1448 | 1447 | 1 | -625 | -0.000625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3039 | 3049 | -10 | 1000 | 0.001 | 30857 | 30857 | 0 | 0 | 0
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 763 | 770 | -7 | 9331 | 0.009331 | 558 | 556 | 2 | -2666 | -0.002666
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3192 | 3192 | 0 | 0 | 0 | 2127 | 2084 | 43 | -4300 | -0.0043
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2020 | 2017 | 3 | -300 | -0.0003 | 3581 | 3577 | 4 | -400 | -0.0004
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996467 | 995953 | 514 | -411200 | -0.4112 | 6137 | 6137 | 0 | 0 | 0
[5 empty] | -800 | 995838 | 995853 | -15 | 12000 | 0.012
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988418 | 988562 | -144 | 144000 | 0.144 | 2019 | 2023 | -4 | 4000 | 0.004
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1419 | 1363 | 56 | -42000 | -0.042 | 3313 | 3313 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.7959 |  |  |  |  | -0.0010977
MARCH-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -28.8027 |  |  |  |  | -1.2106
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.7959 |  |  |  |  | -0.0010977
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.385 |  |  |  |  | -0.0029
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0022875 |  |  |  |  | -0.04815
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -28.3941 |  |  |  |  | -1.2627
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -28.3941 | (REACTIVE MUs) |  |  |  | -1.2627 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.0221 | (REACTIVE MUs) |  |  |  | -0.011649 | (REACTIVE MUs)
[9 empty] | TOTAL | -36.4163 | (REACTIVE MUs) |  |  |  | -1.2744 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2453 | 2736 | -283 | -75467.61 | -0.075468 | 2221 | 2221 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112450 | 112585 | -135 | -13500 | -0.0135 | 152456 | 152456 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 984464 | 985208 | -744 | -148800 | -0.1488 | 999329 | 999329 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 673 | 627 | 46 | 46000 | 0.046 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2423 | 2464 | -41 | -32800 | -0.0328 | 2661 | 2660 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3415 | 3195 | 220 | 176000 | 0.176 | 1325 | 1325 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 985957 | 986830 | -873 | -698400 | -0.6984 | 998688 | 998709 | -21 | -16800 | -0.0168
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 953789 | 953840 | -51 | -40800 | -0.0408 | 979887 | 979936 | -49 | -39200 | -0.0392
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 957045 | 958036 | -991 | -792800 | -0.7928 | 989754 | 989778 | -24 | -19200 | -0.0192
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994918 | 995166 | -248 | -496000 | -0.496 | 999538 | 999538 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 959402 | 960716 | -1314 | -65700 | -0.0657 | 19156 | 19261 | -105 | -5250 | -0.00525
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 972128 | 973514 | -1386 | -103950 | -0.10395 | 22460 | 22531 | -71 | -5325 | -0.005325
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998091 | 998175 | -84 | -42000 | -0.042 | 5403 | 5413 | -10 | -5000 | -0.005
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996193 | 996282 | -89 | -33375 | -0.033375 | 7237 | 7229 | 8 | 3000 | 0.003
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 982852 | 983616 | -764 | -76400 | -0.0764 | 998731 | 998837 | -106 | -10600 | -0.0106
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10732 | 11035 | -303 | -22725 | -0.022725 | 40640 | 40520 | 120 | 9000 | 0.009
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 5488 | 6239 | -751 | -75100 | -0.0751 | 1958 | 1991 | -33 | -3300 | -0.0033
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994734 | 994792 | -58 | -58000 | -0.058 | 104380 | 104416 | -36 | -36000 | -0.036 | data till 22/3
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992435 | 992625 | -190 | -190000 | -0.19 | 2162 | 2184 | -22 | -22000 | -0.022
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984480 | 984526 | -46 | -46000 | -0.046 | 145067 | 145053 | 14 | 14000 | 0.014
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998431 | 998516 | -85 | -212500 | -0.2125 | 303 | 311 | -8 | -20000 | -0.02
[10 empty] | -0.5065 |  |  |  |  | -0.064
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993286 | 993501 | -215 | -215000 | -0.215 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6778 | 7246 | -468 | -74880 | -0.07488 | 29879 | 29875 | 4 | 640 | 0.00064
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3574 | 3576 | -2 | -400 | -0.0004 | 8228 | 8219 | 9 | 1800 | 0.0018
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978608 | 979206 | -598 | -598000 | -0.598 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
MARCH-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997286 | 997158 | 128 | -128000 | -0.128 | 990012 | 990012 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998616 | 998484 | 132 | -132000 | -0.132 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997813 | 997763 | 50 | -100000 | -0.1 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999546 | 999459 | 87 | -87000 | -0.087 | 995930 | 995930 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 162 | 119 | 43 | 26875 | 0.026875 | 1448 | 1447 | 1 | 625 | 0.000625
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102647 | 102649 | -2 | -200 | -0.0002 | 75962 | 75960 | 2 | 200 | 0.0002
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4524 | 4717 | -193 | -19300 | -0.0193 | 1374 | 1376 | -2 | -200 | -0.0002
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 6987 | 8618 | -1631 | -163100 | -0.1631 | 70815 | 70815 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21239 | 21257 | -18 | -9000 | -0.009 | 4880 | 4880 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 468811 | 468686 | 125 | -12500 | -0.0125 | 86246 | 86245 | 1 | -100 | -0.0001
[5 empty] | -100 | 468252 | 467629 | 623 | -62300 | -0.0623
[5 empty] | -100 | 467288 | 465601 | 1687 | -168700 | -0.1687
[5 empty] | -100 | 457831 | 455682 | 2149 | -214900 | -0.2149
[10 empty] | 0.0849 | [5 empty] | Assessment
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2628 | 2807 | -179 | 179000 | 0.179 | 1880 | 1880 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 23588 | 23613 | -25 | 1875 | 0.001875
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 16932 | 16815 | 117 | -11700 | -0.0117
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.6968 |  |  |  |  | -0.16273
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.6968 |  |  |  |  | -0.16273
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.78818 |  |  |  |  | -0.0011445
| TOTAL ENERGY TO NDMC | [8 empty] | -5.485 |  |  |  |  | -0.16388

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 67869 | 66397 | 1472 | 294400 | 0.2944
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 24671 | 23943 | 728 | 116480 | 0.11648
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4634 | 4634 | 0 | 0 | 0 | 58456 | 58352 | 104 | 104000 | 0.104
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 18366 | 18402 | -36 | -14400 | -0.0144
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999724 | 999748 | -24 | -19200 | -0.0192 | 662 | 683 | -21 | -16800 | -0.0168
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1683 | 1689 | -6 | -2400 | -0.0024 | 5405 | 5401 | 4 | 1600 | 0.0016
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1159 | 1188 | -29 | -29000 | -0.029 | 999096 | 999098 | -2 | -2000 | -0.002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0506 |  |  |  |  | 0.48328
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 570 | 509 | 61 | 2287.5 | 0.0022875 | 1345 | 557 | 788 | 29550 | 0.02955 | w.e.f 24/12
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 222 | 214 | 8 | 300 | 0.0003
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3641 | 3641 | 0 | 0 | 0 | 28952 | 28708 | 244 | 18300 | 0.0183
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0022875 |  |  |  |  | 0.04815
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0506 |  |  |  |  | 0.48328
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.048313 |  |  |  |  | 0.53143
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.048313 | (REACTIVE MUs) |  |  |  | 0.53143 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.12915 | (REACTIVE MUs) |  |  |  | -0.00018754 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.17746 | (REACTIVE MUs) |  |  |  | 0.53124 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990068 | 990081 | -13 | -8125 | -0.008125 | 15 | 13 | 2 | 1250 | 0.00125
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990452 | 990423 | 29 | 18125 | 0.018125 | 999867 | 999869 | -2 | -1250 | -0.00125
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996467 | 995953 | 514 | 411200 | 0.4112 | 6137 | 6137 | 0 | 0 | 0
[5 empty] | 800 | 995838 | 995853 | -15 | -12000 | -0.012
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 24320 | 23410 | 910 | -910 | -0.00091 | 96750 | 86580 | 10170 | -10170 | -0.01017
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 15480 | 14370 | 1110 | -1110 | -0.00111 | 276470 | 241220 | 35250 | -35250 | -0.03525
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 62400 | 59100 | 3300 | -3300 | -0.0033 | 772899 | 716600 | 56299 | -56299 | -0.056299
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.40388 |  |  |  |  | -0.10172
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.078901 |  |  |  |  | -0.00011457
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.32498 |  |  |  |  | -0.10183

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 934941 | 937254 | -2313 | -231300 | -0.2313 | 1886 | 1896 | -10 | -1000 | -0.001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 46105 | 47597 | -1492 | -149200 | -0.1492 | 6279 | 6283 | -4 | -400 | -0.0004
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16690 | 16829 | -139 | -69500 | -0.0695 | 3846 | 3854 | -8 | -4000 | -0.004
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997793 | 997777 | 16 | 15000 | 0.015 | 999785 | 999785 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993478 | 993549 | -71 | 71000 | 0.071 | 999634 | 999636 | -2 | 2000 | 0.002
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993229 | 993187 | 42 | -21000 | -0.021 | 999930 | 999931 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.385 |  |  |  |  | -0.0029
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968395 | 969061 | -666 | -133200 | -0.1332 | 996560 | 996595 | -35 | -7000 | -0.007
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986667 | 986894 | -227 | -212812.5 | -0.21281 | 999562 | 999565 | -3 | -2812.5 | -0.0028125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.34601 |  |  |  |  | -0.0098125
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1711 | 1716 | -5 | -6250 | -0.00625 | 999175 | 999178 | -3 | -3750 | -0.00375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 355819 | 356456 | -637 | -63700 | -0.0637 | 264493 | 264688 | -195 | -19500 | -0.0195
|  | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 354782 | 355819 | -1037 | -97218.75 | -0.097219 | 264511 | 264493 | 18 | 1687.5 | 0.0016875 | Y-CTR changed w.e.f 17/3
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 293282 | 295558 | -2276 | -142250 | -0.14225 | 65312 | 63472 | 1840 | 115000 | 0.115
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1042 | 1053 | -11 | -8800 | -0.0088 | 494 | 496 | -2 | -1600 | -0.0016
|  | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 990 | 1042 | -52 | -195000 | -0.195 | 496 | 494 | 2 | 7500 | 0.0075 | Y-CTR changed w.ef 5/3
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 949292 | 950051 | -759 | -151800 | -0.1518 | 998491 | 998502 | -11 | -2200 | -0.0022
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987169 | 988140 | -971 | -145650 | -0.14565 | 988470 | 988492 | -22 | -3300 | -0.0033
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997068 | 997097 | -29 | 72500 | 0.0725 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.73817 |  |  |  |  | 0.093838
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.385 |  |  |  |  | -0.0029
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.34601 |  |  |  |  | -0.0098125
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.73817 |  |  |  |  | 0.093838

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2021 | INTIAL READING 01/03/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 123602 | 123398 | 204 | 204000 | 0.204 | 27569 | 27463 | 106 | 106000 | 0.106
[5 empty] | 1000 | 123194 | 122286 | 908 | 908000 | 0.908
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 9278 | 8719 | 559 | 1118000 | 1.118 | 1386 | 1344 | 42 | 84000 | 0.084
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 914273 | 918419 | -4146 | 2073000 | 2.073 | 998015 | 998015 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 443252 | 444375 | -1123 | 112300 | 0.1123 | 984122 | 984122 | 0 | 0 | 0
[5 empty] | -100 | 445741 | 445835 | -94 | 9400 | 0.0094
[5 empty] | -100 | 449690 | 451717 | -2027 | 202700 | 0.2027
[7 empty] | NET REACTIVE ENERGY |  |  | 4.6274 |  | NET REACTIVE ENERGY |  |  | 0.19
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.6274 |  |  |  |  | 0.19
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -19.5656 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.3548 |  |  |  |  | -0.15475
[7 empty] | NDMC = |  |  | -0.5065 |  |  |  |  | -0.064
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -24.4268 |  |  |  |  | -0.21875
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.7994 |  |  |  |  | -0.02875
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.4324 | % |  |  | -6.4214 |  |  |  |  | -0.0093243
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.517 | % |  |  | -8.0221 |  |  |  |  | -0.011649
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.0189 | % |  |  | -4.3596 |  |  |  |  | -0.0063304
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9808 | % |  |  | -0.78818 |  |  |  |  | -0.0011445
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6523 | % |  |  | -0.12915 |  |  |  |  | -0.00018754
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3985 | % |  |  | -0.078901 |  |  |  |  | -0.00011457
Note :Sharing taken from wk-52 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2021 TO 31st MARCH-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -64.0332 |  | -0.0065739
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -36.4163 |  | -1.2744
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -29.1426 | + | 0.24068
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.485 |  | -0.16388
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.17746 | + | 0.53124
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.32498 |  | -0.10183
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system