## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156 | 92 | 64 | -64000 | -0.064 | 999318 | 999304 | 14 | -14000 | -0.014
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93885 | 93436 | 449 | -898000 | -0.898 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17186 | 16703 | 483 | -483000 | -0.483 | 999735 | 999733 | 2 | -2000 | -0.002
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90503 | 87202 | 3301 | -3301000 | -3.301 | 112116 | 112114 | 2 | -2000 | -0.002
[10 empty] | -0.18 | [5 empty] | Assesment oct-22
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 241 | 118 | 123 | -123000 | -0.123 | 984381 | 984391 | -10 | 10000 | 0.01
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917970 | 917817 | 153 | -153000 | -0.153 | 35179 | 35177 | 2 | -2000 | -0.002
[5 empty] | -1000 | [5 empty] | 36002 | 35864 | 138 | -138000 | -0.138
[5 empty] | -1000 | [5 empty] | 36419 | 36334 | 85 | -85000 | -0.085
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23301 | 22255 | 1046 | -1046000 | -1.046 | 999664 | 999664 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33205 | 32348 | 857 | -857000 | -0.857 | 997780 | 997780 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26268 | 24375 | 1893 | -1893000 | -1.893 | 996587 | 996587 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 8748 | 5565 | 3183 | -1591500 | -1.5915 | 813314 | 813314 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5868 | 5053 | 815 | -815000 | -0.815 | 998340 | 998340 | 0 | 0 | 0
12 | Tx.-2 | 4865037 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13548 | 12091 | 1457 | -1457000 | -1.457 | 999487 | 999487 | 0 | 0 | 0 | check meter
|  | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3592 | 53 | 3539 | -3539000 | -3.539 | 99999 | 100000 | -1 | 1000 | 0.001 | w.e.f 12.11.2022
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57034 | 54930 | 2104 | -2104000 | -2.104 | 996470 | 996470 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 709089 | 712393 | -3304 | -3304000 | -3.304 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 758815 | 769654 | -10839 | -5419500 | -5.4195 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15352 | 15141 | 211 | -211000 | -0.211 | 997993 | 997980 | 13 | -13000 | -0.013
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 79900 | 79236 | 664 | -332000 | -0.332 | 1000002 | 999964 | 38 | -19000 | -0.019
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61646 | 61288 | 358 | -358000 | -0.358 | 999134 | 999110 | 24 | -24000 | -0.024
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 986814 | 986990 | -176 | -176000 | -0.176
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999647 | 999664 | -17 | -68000 | -0.068
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1994 | 1994 | 0 | 0 | 0 | 16966 | 16913 | 53 | 26500 | 0.0265
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91331 | 91330 | 1 | 50 | 5e-05 | 421137 | 420327 | 810 | 40500 | 0.0405
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 993234 | 993362 | -128 | -128000 | -0.128
25 | INDER PURI-2 | 4864898 | ELSTER | Kvarh(Lead/Lag) | 500 | 998335 | 998335 | 0 | 0 | 0 | 991061 | 991030 | 31 | 15500 | 0.0155 | check meter
|  | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 0 | 0 | 0 | 0 | 0 | 999818 | 999999 | -181 | -241333.273 | -0.24133 | w.e.f 11.11.2022
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999977 | 1000003 | -26 | -26000 | -0.026 | 999989 | 999990 | -1 | -1000 | -0.001
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983437 | 985507 | -2070 | -2070000 | -2.07 | 997878 | 997878 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 897428 | 900383 | -2955 | -1477500 | -1.4775 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 992427 | 993249 | -822 | -219202.74 | -0.2192 | 392 | 392 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2176 | 2200 | -24 | -12000 | -0.012 | 2324 | 2325 | -1 | -500 | -0.0005
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55687 | 54864 | 823 | -823000 | -0.823 | 995614 | 995614 | 0 | 0 | 0
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1786 | 1199 | 587 | -587000 | -0.587 | 999883 | 999882 | 1 | -1000 | -0.001
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30395 | 27797 | 2598 | -5196000 | -5.196 | 999501 | 999501 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81000 | 77947 | 3053 | -3053000 | -3.053 | 995796 | 995796 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 7500 | 6615 | 885 | -3540000 | -3.54 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161007 | 158846 | 2161 | -2161000 | -2.161 | 998423 | 998423 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 313828 | 303885 | 9943 | -3314300.19 | -3.3143 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 36465 | 33665 | 2800 | -5600000 | -5.6 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45621 | 43870 | 1751 | -3502000 | -3.502 | 559 | 559 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138380 | 127338 | 11042 | -11042000 | -11.042 | 2316 | 2316 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 9484000 | 8217000 | 1267000 | -1267000 | -1.267 | 2803000 | 2803000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 27844000 | 23553000 | 4291000 | -4291000 | -4.291 | 2792000 | 2792000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26286 | 23578 | 2708 | -2708000 | -2.708 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55643 | 54701 | 942 | -942000 | -0.942 | 772 | 772 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997469 | 997748 | -279 | -279000 | -0.279 | 24772 | 24776 | -4 | -4000 | -0.004
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | NOVEMBER-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999999 | -1 | -100 | -0.0001 | 999919 | 999937 | -18 | -1800 | -0.0018
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3139 | 3139 | 0 | 0 | 0 | 36196 | 36178 | 18 | 1800 | 0.0018
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 752 | 753 | -1 | -1333 | -0.001333 | 633 | 633 | 0 | 0 | 0
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 21 | 21 | 0 | 0 | 0 | 3297 | 3297 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1902 | 1905 | -3 | -300 | -0.0003 | 9349 | 9144 | 205 | 20500 | 0.0205
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999792 | 999788 | 4 | 2000 | 0.002 | 2440 | 2440 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 5 | 21 | -16 | -8000 | -0.008 | 296 | 296 | 0 | 0 | 0
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1132 | 1124 | 8 | 4000 | 0.004 | 1563 | 1562 | 1 | 500 | 0.0005
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992940 | 992948 | -8 | -800 | -0.0008 | 2908 | 2906 | 2 | 200 | 0.0002
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9512 | 9504 | 8 | 800 | 0.0008 | 16239 | 16199 | 40 | 4000 | 0.004
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15581 | 15527 | 54 | 5400 | 0.0054 | 6359 | 6354 | 5 | 500 | 0.0005
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 85 | 9 | 76 | 7600 | 0.0076 | 16 | 0 | 16 | 1600 | 0.0016
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61547 | 62009 | -462 | -46200 | -0.0462 | 2535 | 2535 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 439 | 434 | 5 | 666.65 | 0.00066665 | 997 | 997 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999892 | 999898 | -6 | -2400 | -0.0024 | 999460 | 999454 | 6 | 2400 | 0.0024
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 942967 | 944648 | -1681 | -1344800 | -1.3448 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 998194 | 999542 | -1348 | -1078400 | -1.0784 | 0 | 0 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 964711 | 966944 | -2233 | -446600 | -0.4466 | 2051 | 2058 | -7 | -1400 | -0.0014
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 991937 | 992519 | -582 | -145500 | -0.1455 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980048 | 980242 | -194 | -194000 | -0.194 | 2107 | 2115 | -8 | -8000 | -0.008
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1155 | 1190 | -35 | -26250 | -0.02625 | 4404 | 4405 | -1 | -750 | -0.00075
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -83.5132 |  |  |  |  | -0.80578
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 367 | 367 | 0 | 0 | 0 | 1454 | 1465 | -11 | 1100 | 0.0011
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 480 | 440 | 40 | -32000 | -0.032 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 49 | 38 | 11 | -14666.63 | -0.014667 | 3 | 3 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5947 | 5559 | 388 | -51732.04 | -0.051732 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997001 | 997068 | -67 | 12562.5 | 0.012563 | 998459 | 998459 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991954 | 991898 | 56 | -35000 | -0.035 | 512 | 507 | 5 | -3125 | -0.003125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999784 | 999823 | -39 | 19500 | 0.0195 | 213 | 214 | -1 | 500 | 0.0005
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991936 | 992013 | -77 | 15400 | 0.0154 | 20594 | 20595 | -1 | 200 | 0.0002
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 985703 | 986373 | -670 | 125625 | 0.12562 | 4306 | 4307 | -1 | 187.5 | 0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981138 | 981188 | -50 | 9375 | 0.009375 | 3463 | 3468 | -5 | 937.5 | 0.0009375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4218 | 4247 | -29 | 7250 | 0.00725 | 8538 | 8539 | -1 | 250 | 0.00025 | upto 28.11.22
[10 empty] | 0.00081 |  |  |  |  | 2.7e-05 | assessment 3days
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993279 | 993313 | -34 | 3400 | 0.0034 | 30624 | 30628 | -4 | 400 | 0.0004
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.060524 |  |  |  |  | 0.000477
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -83.5132 |  |  |  |  | -0.80578
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.060524 |  |  |  |  | 0.000477
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.59356 |  |  |  |  | -0.00795
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -84.0462 |  |  |  |  | -0.81326
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -84.0462 | (REACTIVE MUs) |  |  |  | -0.81326 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.5524 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -79.4938 | (REACTIVE MUs) |  |  |  | -0.81326 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997830 | 997844 | -14 | -14000 | -0.014 | 995117 | 995268 | -151 | -151000 | -0.151
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998558 | 998584 | -26 | -26000 | -0.026 | 998741 | 998784 | -43 | -43000 | -0.043
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999616 | 999698 | -82 | -82000 | -0.082 | 992837 | 993232 | -395 | -395000 | -0.395
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999800 | 999804 | -4 | -5333.32 | -0.0053333 | 999315 | 999330 | -15 | -19999.95 | -0.02
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997535 | 997597 | -62 | -93000 | -0.093 | 999309 | 999312 | -3 | -4500 | -0.0045
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10411 | 10447 | -36 | -3600 | -0.0036 | 19821 | 19941 | -120 | -12000 | -0.012
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994840 | 994906 | -66 | -66000 | -0.066 | 995983 | 995989 | -6 | -6000 | -0.006
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 990985 | 991188 | -203 | -15225 | -0.015225 | 988606 | 989045 | -439 | -32925 | -0.032925
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996771 | 996796 | -25 | -20000 | -0.02 | 998870 | 998886 | -16 | -12800 | -0.0128
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988598 | 988609 | -11 | -14666.63 | -0.014667 | 265032 | 265033 | -1 | -1333.33 | -0.0013333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 943 | 943 | 0 | 0 | 0 | 999956 | 999956 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32144 | 31632 | 512 | -512000 | -0.512 | 996609 | 996602 | 7 | -7000 | -0.007
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5275 | 5273 | 2 | -4000 | -0.004 | 996069 | 996024 | 45 | -90000 | -0.09
14 | Tx.4 | [8 empty] | 1.198 |  |  |  |  | -0.099 | Assesment JUNE-OCT.TX-4 not exists since 11.05.2022(Dismantled)
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1638 | 1638 | 0 | 0 | 0 | 993788 | 993846 | -58 | 58000 | 0.058
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149631 | 149201 | 430 | -430000 | -0.43 | 22270 | 22251 | 19 | -19000 | -0.019
[5 empty] | -1000 | 150201 | 150162 | 39 | -39000 | -0.039
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8676 | 7333 | 1343 | -1343000 | -1.343 | 999412 | 999412 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38361 | 38326 | 35 | -70000 | -0.07 | 1229 | 1163 | 66 | -132000 | -0.132
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2406 | 1843 | 563 | -1126000 | -1.126 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 127243 | 124685 | 2558 | -2046400 | -2.0464 | 10464 | 10437 | 27 | -21600 | -0.0216
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 122451 | 121964 | 487 | -389600 | -0.3896 | 5553 | 5519 | 34 | -27200 | -0.0272
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943989 | 943956 | 33 | -33000 | -0.033 | 959154 | 959164 | -10 | 10000 | 0.01
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952261 | 952243 | 18 | -36000 | -0.036 | 991105 | 991141 | -36 | 72000 | 0.072
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908582 | 908616 | -34 | 68000 | 0.068 | 971743 | 971745 | -2 | 4000 | 0.004
[5 empty] | -2000 | [5 empty] | 971070 | 971079 | -9 | 18000 | 0.018
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11021 | 10955 | 66 | -66000 | -0.066 | 995888 | 995896 | -8 | 8000 | 0.008
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997352 | 997328 | 24 | -24000 | -0.024 | 997231 | 997231 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981230 | 980968 | 262 | -262000 | -0.262 | 999859 | 999859 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 278462 | 277995 | 467 | -467000 | -0.467 | 124837 | 124836 | 1 | -1000 | -0.001
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7692 | 7601 | 91 | -182000 | -0.182 | 525 | 524 | 1 | -2000 | -0.002
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 480 | 440 | 40 | 32000 | 0.032 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933120 | 933071 | 49 | -49000 | -0.049 | 965240 | 965240 | 0 | 0 | 0
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996489 | 997176 | -687 | 687000 | 0.687 | 999513 | 999513 | 0 | 0 | 0
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41031 | 41023 | 8 | -6400 | -0.0064 | 1494 | 1302 | 192 | -153600 | -0.1536
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62824 | 62821 | 3 | -4800 | -0.0048 | 995798 | 995659 | 139 | -222400 | -0.2224
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997430 | 996507 | 923 | -1846000 | -1.846 | 987729 | 987716 | 13 | -26000 | -0.026
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 329 | 159 | 170 | -170000 | -0.17 | 997957 | 997968 | -11 | 11000 | 0.011
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23874 | 23610 | 264 | -264000 | -0.264 | 31452 | 31452 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3295 | 2947 | 348 | -348000 | -0.348 | 996766 | 996765 | 1 | -1000 | -0.001
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1149 | 1110 | 39 | -39000 | -0.039 | 1289 | 1251 | 38 | -38000 | -0.038
BRPL(+) continue | [14 empty] | NOVEMBER-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4137 | 3671 | 466 | -466000 | -0.466 | 999943 | 999943 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22759 | 22280 | 479 | -479000 | -0.479 | 343 | 343 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13379 | 12242 | 1137 | -1137000 | -1.137 | 996670 | 996670 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3410 | 2479 | 931 | -931000 | -0.931 | 2450 | 2449 | 1 | -1000 | -0.001
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 7196 | 2828 | 4368 | -2184000 | -2.184 | 1080 | 1080 | 0 | 0 | 0
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 680 | 269 | 411 | -1027500 | -1.0275 | 868 | 868 | 0 | 0 | 0
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1970 | 1360 | 610 | -1220000 | -1.22 | 631 | 631 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90341 | 87970 | 2371 | -2371000 | -2.371 | 997109 | 997109 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 61273 | 59297 | 1976 | -3952000 | -3.952 | 999373 | 999373 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 7064 | 6456 | 608 | -912000 | -0.912 | 27 | 27 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10907 | 9877 | 1030 | -1030000 | -1.03 | 999968 | 999968 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996552 | 996469 | 83 | -83000 | -0.083 | 999841 | 999841 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991132 | 991075 | 57 | -57000 | -0.057 | 994546 | 994546 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989952 | 990236 | -284 | 284000 | 0.284 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 994392 | 994780 | -388 | -1552000 | -1.552 | 999990 | 999990 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 967344 | 968839 | -1495 | -1196000 | -1.196 | 634 | 634 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 910816 | 913390 | -2574 | -2059200 | -2.0592 | 999431 | 999431 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 996427 | 996787 | -360 | -288000 | -0.288 | 999853 | 999853 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994201 | 994383 | -182 | -145600 | -0.1456 | 52 | 52 | 0 | 0 | 0
61 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 995075 | 997157 | -2082 | -1665600 | -1.6656 | 999982 | 999988 | -6 | -4800 | -0.0048
62 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 992948 | 996619 | -3671 | -2936800 | -2.9368 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986781 | -136 | -272000 | -0.272 | 998514 | 998518 | -4 | -8000 | -0.008
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109925 | 109903 | 22 | -44000 | -0.044 | 6921 | 6134 | 787 | -1574000 | -1.574
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16005 | 13717 | 2288 | -2288000 | -2.288 | 4670 | 4670 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141404 | 139791 | 1613 | -1613000 | -1.613 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 367 | 367 | 0 | 0 | 0 | 1454 | 1465 | -11 | -1100 | -0.0011
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997001 | 997068 | -67 | -12562.5 | -0.012563 | 998459 | 998459 | 0 | 0 | 0
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998726 | 998757 | -31 | -31000 | -0.031 | 426 | 418 | 8 | 8000 | 0.008
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998691 | 998758 | -67 | -67000 | -0.067 | 339 | 327 | 12 | 12000 | 0.012
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 386 | 537 | -151 | -151000 | -0.151 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998691 | 998758 | -67 | -67000 | -0.067 | 339 | 327 | 12 | 12000 | 0.012
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 0 | 1 | 100 | 0.0001 | 999962 | 999976 | -14 | -1400 | -0.0014
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 4 | 2 | 2 | 200 | 0.0002 | 2787 | 2765 | 22 | 2200 | 0.0022
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9224 | 9447 | -223 | -111500 | -0.1115 | 3096 | 3095 | 1 | 500 | 0.0005
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996186 | 996509 | -323 | -323000 | -0.323 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981363 | 981563 | -200 | -200000 | -0.2 | 546 | 545 | 1 | 1000 | 0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7498 | 7713 | -215 | -215000 | -0.215 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 999212 | 999653 | -441 | -66150 | -0.06615 | 240 | 239 | 1 | 150 | 0.00015
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4334 | 4633 | -299 | -29900 | -0.0299 | 912140 | 912139 | 1 | 100 | 0.0001
[5 empty] | 100 | 3369 | 3886 | -517 | -51700 | -0.0517
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 11 | 27 | -16 | -4266.72 | -0.0042667 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5545 | 5563 | -18 | -18000 | -0.018 | 7981 | 7980 | 1 | 1000 | 0.001
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991936 | 992013 | -77 | -15400 | -0.0154 | 20594 | 20595 | -1 | -200 | -0.0002
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 985703 | 986373 | -670 | -125625 | -0.12562 | 4306 | 4307 | -1 | -187.5 | -0.0001875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981138 | 981188 | -50 | -9375 | -0.009375 | 3463 | 3468 | -5 | -937.5 | -0.0009375
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4218 | 4247 | -29 | -7250 | -0.00725 | 8538 | 8539 | -1 | -250 | -0.00025 | upto 28.11.22
[10 empty] | -0.00081 |  |  |  |  | -2.7e-05 | assesment 3 days
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993279 | 993313 | -34 | -3400 | -0.0034 | 30624 | 30628 | -4 | -400 | -0.0004
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -39.2474 |  |  |  |  | -2.8927
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21928 | 21932 | -4 | 2000 | 0.002 | 5279 | 5279 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992507 | 992568 | -61 | 8133.13 | 0.0081331 | 8704 | 8597 | 107 | -14266.31 | -0.014266
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999930 | 999939 | -9 | 6000.003 | 0.006 | 496 | 505 | -9 | 6000.003 | 0.006
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1200 | 1226 | -26 | 26000 | 0.026 | 307 | 314 | -7 | 7000 | 0.007
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990295 | 990595 | -300 | 300000 | 0.3 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3039 | 3092 | -53 | 8480 | 0.00848 | 38585 | 38603 | -18 | 2880 | 0.00288
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3863 | 3863 | 0 | 0 | 0 | 18644 | 18636 | 8 | -1600 | -0.0016
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970637 | 971301 | -664 | 664000 | 0.664 | 999383 | 999383 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 789 | 504 | 285 | -28500 | -0.0285 | 1727 | 1727 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4905 | 4359 | 546 | -54600 | -0.0546 | 5073 | 5073 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01.11.22
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999931 | 999904 | 27 | 22499.91 | 0.0225 | 867 | 833 | 34 | 28333.22 | 0.028333
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999999 | -1 | 100 | 0.0001 | 999919 | 999937 | -18 | 1800 | 0.0018
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3139 | 3139 | 0 | 0 | 0 | 36196 | 36178 | 18 | -1800 | -0.0018
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 752 | 753 | -1 | 1333 | 0.001333 | 633 | 633 | 0 | 0 | 0
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 21 | 21 | 0 | 0 | 0 | 3297 | 3297 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1902 | 1905 | -3 | 300 | 0.0003 | 9349 | 9144 | 205 | -20500 | -0.0205
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999892 | 999898 | -6 | 2400 | 0.0024 | 999460 | 999454 | 6 | -2400 | -0.0024
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 757 | 350 | 407 | -325600 | -0.3256 | 549 | 549 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980048 | 980242 | -194 | 194000 | 0.194 | 2107 | 2115 | -8 | 8000 | 0.008
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1155 | 1190 | -35 | 26250 | 0.02625 | 4404 | 4405 | -1 | 750 | 0.00075
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.8528 |  |  |  |  | 0.014197
NOVEMBER-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -39.2474 |  |  |  |  | -2.8927
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.8528 |  |  |  |  | 0.014197
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.20077 |  |  |  |  | 0.0010042
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0056125 |  |  |  |  | -0.054887
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -38.5897 |  |  |  |  | -2.9324
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -38.5897 | (REACTIVE MUs) |  |  |  | -2.9324 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 6.3316 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -32.2581 | (REACTIVE MUs) |  |  |  | -2.9324 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36544 | 36598 | -54 | -14418 | -0.014418 | 991981 | 991976 | 5 | 1335 | 0.001335
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11233 | 11236 | -3 | -12000 | -0.012 | 1394 | 1413 | -19 | -76000 | -0.076
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24927 | 2 | 266.66 | 0.00026666 | 34849 | 34832 | 17 | 2266.61 | 0.0022666
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999741 | 999785 | -44 | -44000 | -0.044 | 999725 | 999730 | -5 | -5000 | -0.005
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 91 | 92 | -1 | -1600 | -0.0016 | 999947 | 999944 | 3 | 4800 | 0.0048
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18438 | 18466 | -28 | -37333.24 | -0.037333 | 4936 | 4948 | -12 | -15999.96 | -0.016
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999608 | 999692 | -84 | -16800 | -0.0168 | 999106 | 999225 | -119 | -23800 | -0.0238
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975002 | 975022 | -20 | -20000 | -0.02 | 1215 | 1216 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983324 | 983442 | -118 | -59000 | -0.059 | 279 | 280 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997535 | 997612 | -77 | -77000 | -0.077 | 999839 | 999839 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982717 | 982752 | -35 | -35000 | -0.035 | 1094 | 1094 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 135 | 135 | 0 | 0 | 0 | 3361 | 3393 | -32 | -32000 | -0.032
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993437 | 993441 | -4 | -4000 | -0.004 | 995505 | 995519 | -14 | -14000 | -0.014
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992506 | 992506 | 0 | 0 | 0 | 999991 | 999977 | 14 | 14000 | 0.014
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994363 | 994363 | 0 | 0 | 0 | 7406 | 7476 | -70 | -56000 | -0.056
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14434 | 14556 | -122 | -16266.26 | -0.016266 | 8353 | 8354 | -1 | -133.33 | -0.00013333
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 36 | 36 | 0 | 0 | 0 | 999826 | 999827 | -1 | -1000 | -0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 594 | 616 | -22 | -22000 | -0.022 | 16907 | 16908 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 952419 | 953834 | -1415 | -1768750 | -1.7688 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 941488 | 944212 | -2724 | -2724000 | -2.724 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992643 | 0 | 0 | 0 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.4928 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999379 | 999362 | 17 | -17000 | -0.017 | 998756 | 998763 | -7 | 7000 | 0.007
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6379 | 6410 | -31 | 31000 | 0.031 | 997808 | 997811 | -3 | 3000 | 0.003
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 12323 | 12430 | -107 | -107000 | -0.107
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 265871 | 264309 | 1562 | -1562000 | -1.562 | 26053 | 26045 | 8 | -8000 | -0.008
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 754 | 574 | 180 | -180000 | -0.18 | 1196 | 1210 | -14 | 14000 | 0.014
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8663 | 8104 | 559 | -559000 | -0.559 | 998980 | 998980 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6341 | 6128 | 213 | -213000 | -0.213 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101961 | 101804 | 157 | -157000 | -0.157 | 982674 | 982674 | 0 | 0 | 0
[5 empty] | -1000 | 124601 | 124476 | 125 | -125000 | -0.125
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95201 | 94274 | 927 | -927000 | -0.927 | 334 | 334 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 1832 | 1261 | 571 | -2855000 | -2.855 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 49 | 38 | 11 | 14666.63 | 0.014667 | 3 | 3 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5947 | 5559 | 388 | 51732.04 | 0.051732 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992507 | 992568 | -61 | -8113 | -0.008113 | 8704 | 8597 | 107 | 14231 | 0.014231
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974957 | 974840 | 117 | -117000 | -0.117 | 990097 | 990097 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961733 | 961467 | 266 | -266000 | -0.266 | 969105 | 969105 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.7406 |  |  |  |  | -0.2808
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.7406 |  |  |  |  | -0.2808
NOVEMBER-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000075 | 999988 | 87 | -87000 | -0.087 | 58 | 54 | 4 | -4000 | -0.004
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981331 | 981169 | 162 | -162000 | -0.162 | 930752 | 930743 | 9 | -9000 | -0.009
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000009 | 999981 | 28 | -28000 | -0.028 | 999984 | 999987 | -3 | 3000 | 0.003
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999908 | 999658 | 250 | -250000 | -0.25 | 999723 | 999723 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40642 | 39916 | 726 | -726000 | -0.726 | 998157 | 998157 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 20666 | 18264 | 2402 | -1201000 | -1.201 | 645 | 645 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000041 | 999827 | 214 | -214000 | -0.214 | 999989 | 999989 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44370 | 44358 | 12 | -12000 | -0.012 | 999422 | 999422 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1278 | 968 | 310 | -310000 | -0.31 | 21 | 21 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970916 | 970635 | 281 | -281000 | -0.281 | 968048 | 968048 | 0 | 0 | 0
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 435 | 296 | 139 | -139000 | -0.139 | 31 | 38 | -7 | 7000 | 0.007
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13593 | 13526 | 67 | -335000 | -0.335 | 56 | 51 | 5 | -25000 | -0.025
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25511 | 25148 | 363 | -363000 | -0.363 | 82 | 81 | 1 | -1000 | -0.001
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6497 | 6062 | 435 | -435000 | -0.435 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.543 |  |  |  |  | -0.029
| (B) NET ENERGY TO EAST | [8 empty] | -4.543 |  |  |  |  | -0.029
NOVEMBER-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 992427 | 993249 | -822 | 219202.74 | 0.2192 | 392 | 392 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2176 | 2200 | -24 | 12000 | 0.012 | 2324 | 2325 | -1 | 500 | 0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1240 | 1328 | -88 | 23466.08 | 0.023466 | 2245 | 2245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 5691 | 4390 | 1301 | -520400 | -0.5204 | 23 | 23 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 976406 | 977169 | -763 | 152600 | 0.1526 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1141 | 1248 | -107 | 107000 | 0.107 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3654 | 3672 | -18 | 14400 | 0.0144 | 4751 | 4745 | 6 | -4800 | -0.0048
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2073 | 2123 | -50 | 40000 | 0.04 | 1662 | 1664 | -2 | 1600 | 0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 945034 | 945545 | -511 | 408800 | 0.4088 | 988564 | 988568 | -4 | 3200 | 0.0032
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986781 | -136 | 272000 | 0.272 | 998514 | 998518 | -4 | 8000 | 0.008
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997469 | 997748 | -279 | 279000 | 0.279 | 24772 | 24776 | -4 | 4000 | 0.004
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999792 | 999788 | 4 | -2000 | -0.002 | 2440 | 2440 | 0 | 0 | 0
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 5 | 21 | -16 | 8000 | 0.008 | 296 | 296 | 0 | 0 | 0
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1132 | 1124 | 8 | -4000 | -0.004 | 1563 | 1562 | 1 | -500 | -0.0005
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61547 | 62009 | -462 | 46200 | 0.0462 | 2535 | 2535 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 439 | 434 | 5 | -666.65 | -0.00066665 | 997 | 997 | 0 | 0 | 0
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992940 | 992948 | -8 | 800 | 0.0008 | 2908 | 2906 | 2 | -200 | -0.0002
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9512 | 9504 | 8 | -800 | -0.0008 | 16239 | 16199 | 40 | -4000 | -0.004
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15581 | 15527 | 54 | -5400 | -0.0054 | 6359 | 6354 | 5 | -500 | -0.0005
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 85 | 9 | 76 | -7600 | -0.0076 | 16 | 0 | 16 | -1600 | -0.0016
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 68480 | 68380 | 100 | 100 | 0.0001 | 338560 | 331720 | 6840 | 6840 | 0.00684
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 39430 | 39060 | 370 | 370 | 0.00037 | 556129 | 547929 | 8200 | 8200 | 0.0082
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 234100 | 231200 | 2900 | 2900 | 0.0029 | 1761699 | 1709100 | 52599 | 52599 | 0.052599
[10 empty] | 1.046 |  |  |  |  | 0.073339
NOVEMBER-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.7406 |  |  |  |  | -0.2808
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.046 |  |  |  |  | 0.073339
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.14398 |  |  |  |  | -0.001
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -10.8386 |  |  |  |  | -0.20846
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.543 |  |  |  |  | -0.029
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -15.3816 |  |  |  |  | -0.23746
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.3816 | (REACTIVE MUs) |  |  |  | -0.23746 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.4662 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.9155 | (REACTIVE MUs) |  |  |  | -0.23746 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1240 | 1328 | -88 | -23466.96 | -0.023467 | 2245 | 2245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 5691 | 4390 | 1301 | 520400 | 0.5204 | 23 | 23 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 976406 | 977169 | -763 | -152600 | -0.1526 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1141 | 1248 | -107 | -107000 | -0.107 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3654 | 3672 | -18 | -14400 | -0.0144 | 4751 | 4745 | 6 | 4800 | 0.0048
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2073 | 2123 | -50 | -40000 | -0.04 | 1662 | 1664 | -2 | -1600 | -0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 945034 | 945545 | -511 | -408800 | -0.4088 | 988564 | 988568 | -4 | -3200 | -0.0032
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952889 | 953041 | -152 | -7600 | -0.0076 | 29031 | 29244 | -213 | -10650 | -0.01065
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999348 | 999590 | -242 | -24200 | -0.0242 | 2577 | 2660 | -83 | -8300 | -0.0083
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997791 | 997799 | -8 | -4000 | -0.004 | 7629 | 7592 | 37 | 18500 | 0.0185
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 997954 | 997954 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998454 | 998520 | -66 | -6600 | -0.0066 | 6460 | 6619 | -159 | -15900 | -0.0159
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11075 | 11077 | -2 | -2000 | -0.002 | 42155 | 42142 | 13 | 13000 | 0.013
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 743 | 882 | -139 | -13900 | -0.0139 | 1176 | 1204 | -28 | -2800 | -0.0028
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992585 | 993398 | -813 | -813000 | -0.813 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980424 | 981299 | -875 | -875000 | -0.875 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998144 | 998286 | -142 | -355000 | -0.355 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995417 | 995652 | -235 | -587500 | -0.5875 | 461 | 461 | 0 | 0 | 0
[10 empty] | -2.6305 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990295 | 990595 | -300 | -300000 | -0.3 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3039 | 3092 | -53 | -8480 | -0.00848 | 38585 | 38603 | -18 | -2880 | -0.00288
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3863 | 3863 | 0 | 0 | 0 | 18644 | 18636 | 8 | 1600 | 0.0016
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970637 | 971301 | -664 | -664000 | -0.664 | 999383 | 999383 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01.11.22
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999931 | 999904 | 27 | -22499.91 | -0.0225 | 867 | 833 | 34 | -28333.22 | -0.028333
NOVEMBER-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997684 | 997012 | 672 | -672000 | -0.672 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999931 | 999200 | 731 | -731000 | -0.731 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998046 | 998018 | 28 | -56000 | -0.056 | 995227 | 995227 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999881 | 999823 | 58 | -58000 | -0.058 | 992463 | 992463 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 789 | 504 | 285 | 28500 | 0.0285 | 1727 | 1727 | 0 | 0 | 0
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4905 | 4359 | 546 | 54600 | 0.0546 | 5073 | 5073 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21928 | 21932 | -4 | -2000 | -0.002 | 5279 | 5279 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 386 | 537 | -151 | 151000 | 0.151 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998784 | 999251 | -467 | 467000 | 0.467 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 1 | 0 | 1 | -100 | -0.0001 | 999962 | 999976 | -14 | 1400 | 0.0014
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 4 | 2 | 2 | -200 | -0.0002 | 2787 | 2765 | 22 | -2200 | -0.0022
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.7278 |  |  |  |  | -0.036563
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.7278 |  |  |  |  | -0.036563
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.49454 |  |  |  |  | 0
| TOTAL ENERGY TO NDMC | [8 empty] | -4.2333 |  |  |  |  | -0.036563

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4293 | 0 | 0 | 0 | 79168 | 79248 | -80 | -16000 | -0.016
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999889 | 999891 | -2 | -320 | -0.00032 | 32273 | 32386 | -113 | -18080 | -0.01808
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 17 | 17 | 0 | 0 | 0 | 2302 | 2325 | -23 | -4600 | -0.0046
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999884 | 999886 | -2 | -800 | -0.0008 | 19206 | 19244 | -38 | -15200 | -0.0152
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999493 | 999503 | -10 | -8000 | -0.008 | 812 | 817 | -5 | -4000 | -0.004
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2608 | 2613 | -5 | -2000 | -0.002 | 6654 | 6655 | -1 | -400 | -0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999930 | 999939 | -9 | -6000.003 | -0.006 | 496 | 505 | -9 | -6000.003 | -0.006
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1200 | 1226 | -26 | -26000 | -0.026 | 307 | 314 | -7 | -7000 | -0.007
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.04312 |  |  |  |  | -0.07128
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4207 | 4362 | -155 | -5812.5 | -0.0058125 | 40157 | 40166 | -9 | -337.5 | -0.0003375
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 79 | 0 | 0 | 0 | 1692 | 1692 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 60015 | 59356 | 659 | 49425 | 0.049425
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 27 | 25 | 2 | 200 | 0.0002
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 6165 | 6165 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10285 | 10283 | 2 | 200 | 0.0002 | 7916 | 7860 | 56 | 5600 | 0.0056
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0056125 |  |  |  |  | 0.054887
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.04312 |  |  |  |  | -0.07128
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.048733 |  |  |  |  | -0.016393
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.048733 | (REACTIVE MUs) |  |  |  | -0.016393 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.05381 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.10254 | (REACTIVE MUs) |  |  |  | -0.016393 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991954 | 991898 | 56 | 35000 | 0.035 | 512 | 507 | 5 | 3125 | 0.003125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999784 | 999823 | -39 | -19500 | -0.0195 | 213 | 214 | -1 | -500 | -0.0005
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 757 | 350 | 407 | 325600 | 0.3256 | 549 | 549 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 68480 | 68380 | 100 | -100 | -0.0001 | 338560 | 331720 | 6840 | -6840 | -0.00684
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 39430 | 39060 | 370 | -370 | -0.00037 | 556129 | 547929 | 8200 | -8200 | -0.0082
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 234100 | 231200 | 2900 | -2900 | -0.0029 | 1761699 | 1709100 | 52599 | -52599 | -0.052599
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.33773 |  |  |  |  | -0.065014
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0038604 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.34159 |  |  |  |  | -0.065014

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 995462 | 995751 | -289 | -144500 | -0.1445 | 999651 | 999659 | -8 | -4000 | -0.004
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 27629 | 28548 | -919 | -91900 | -0.0919 | 992331 | 992334 | -3 | -300 | -0.0003
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 18 | 21 | -3 | -2499.999 | -0.0025 | 999999 | 1000000 | -1 | -833.333 | -0.00083333
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997569 | 997499 | 70 | 65625 | 0.065625 | 999335 | 999334 | 1 | 937.5 | 0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999409 | 999381 | 28 | -28000 | -0.028 | 998980 | 998977 | 3 | -3000 | -0.003
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993790 | 993791 | -1 | 500 | 0.0005 | 536 | 535 | 1 | -500 | -0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 29 | 0 | 29 | 8700 | 0.0087
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.20077 |  |  |  |  | 0.0010042
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961199 | 961437 | -238 | -47600 | -0.0476 | 991448 | 991453 | -5 | -1000 | -0.001
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998621 | 999135 | -514 | -96375 | -0.096375 | 993643 | 993643 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.14398 |  |  |  |  | -0.001
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1134 | 1224 | -90 | -112500 | -0.1125 | 998649 | 998649 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999713 | 999767 | -54 | -50625 | -0.050625 | 999635 | 999635 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999087 | 999394 | -307 | -38375 | -0.038375 | 996781 | 996785 | -4 | -500 | -0.0005
13 | O/G 33KV RAMA ROAD | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 595 | 590 | 5 | 18750 | 0.01875 | 130 | 130 | 0 | 0 | 0 | upto 14.11.22
|  | 4902521 | ELSTER | Kvarh(Lead/Lag) | 2812.5 | 1261 | 1256 | 5 | 14062.5 | 0.014063 | 369 | 369 | 0 | 0 | 0 | check meter
|  | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999998 | 1000000 | -2 | -2500 | -0.0025 | 0 | 0 | 0 | 0 | 0 | w.e.f 25.11.22
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999050 | 999099 | -49 | -49000 | -0.049 | 999668 | 999668 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976973 | 977382 | -409 | -409000 | -0.409 | 990706 | 990706 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 217 | 274 | -57 | 35625 | 0.035625 | 999796 | 999798 | -2 | 1250 | 0.00125
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 29 | 0 | 29 | -8700 | -0.0087
| TOTAL NDPL | [8 empty] | -0.59356 |  |  |  |  | -0.00795
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.20077 |  |  |  |  | 0.0010042
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.14398 |  |  |  |  | -0.001
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.59356 |  |  |  |  | -0.00795

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2022 | INTIAL READING 01/11/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 5096 | 3294 | 1802 | 3604000 | 3.604 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 33010 | 31152 | 1858 | 3716000 | 3.716 | 1628 | 1628 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 7.32 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -7.1233 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 14.4433 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 4.2853 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 5.9983 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 3.2844 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.71494 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 860718 | 862540 | -1822 | 911000 | 0.911 | 997812 | 997812 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.911 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.26601 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.38089 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.21773 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.04637 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 181975 | 181355 | 620 | -465000 | -0.465 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | -1000 | 74232 | 73908 | 324 | -324000 | -0.324 | 999650 | 999650 | 0 | 0 | 0 | upto 21.11.22
[10 empty] | -0.162 |  |  |  |  | 0 | assesment 10 days
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 994293 | 994291 | 2 | -1500 | -0.0015 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.9525 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.18364 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.26946 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.15307 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.28861 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.057722 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 387437 | 392970 | -5533 | 553300 | 0.5533 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.5533 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 34 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.3781 | % |  |  | 0.18468 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.1051 | % |  |  | 0.2219 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.1645 | % |  |  | 0.1171 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9475 | % |  |  | 0.021842 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.707 | % |  |  | 0.0039118 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6977 | % |  |  | 0.0038604 |  |  |  |  | 0
E) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D)
1) | NDPL |  |  |  | = |  |  |  |  | 4.5524 |  |  |  |  | 0
2) | BRPL |  |  |  | = |  |  |  |  | 6.3316 |  |  |  |  | 0
3) | BYPL |  |  |  | = |  |  |  |  | 3.4662 |  |  |  |  | 0
4) | NDMC |  |  |  | = |  |  |  |  | 0.49454 |  |  |  |  | 0
5) | MES |  |  |  | = |  |  |  |  | -0.05381 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0038604 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2022 TO 30th NOVEMBER-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -79.4938 | -0.81326
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -32.2581 | -2.9324
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -11.9155 | -0.23746
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.2333 | -0.036563
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.10254 | -0.016393
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | +K26 | 0.34159 | -0.065014
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system