## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981589 | 981636 | -47 | 47000 | 0.047 | 999210 | 999213 | -3 | 3000 | 0.003
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34698 | 34544 | 154 | -154000 | -0.154 | 999503 | 999499 | 4 | -4000 | -0.004
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946090 | 946204 | -114 | 114000 | 0.114 | 995644 | 995658 | -14 | 14000 | 0.014
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999266 | 999201 | 65 | -65000 | -0.065 | 997392 | 997407 | -15 | 15000 | 0.015
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988914 | 989297 | -383 | 383000 | 0.383 | 999574 | 999574 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25983 | 25975 | 8 | -8000 | -0.008 | 16757 | 16837 | -80 | 80000 | 0.08
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1681 | 1674 | 7 | -7000 | -0.007 | 998812 | 998903 | -91 | 91000 | 0.091
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998732 | 998732 | 0 | 0 | 0 | 997900 | 998046 | -146 | 146000 | 0.146
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973635 | 973635 | 0 | 0 | 0 | 817219 | 817743 | -524 | 262000 | 0.262
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1295 | 1295 | 0 | 0 | 0 | 999273 | 999343 | -70 | 70000 | 0.07
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14335 | 14019 | 316 | -316000 | -0.316 | 999459 | 999453 | 6 | -6000 | -0.006
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2292 | 2294 | -2 | 2000 | 0.002 | 998113 | 998296 | -183 | 183000 | 0.183
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 867354 | 873159 | -5805 | -5805000 | -5.805 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC -2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997336 | 999308 | -2661 | -2661000 | -2.661 | 999997 | 1000000 | -3 | -3000 | -0.003
NARELA
15 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982131 | 982150 | -19 | 19000 | 0.019 | 16727 | 16729 | -2 | 2000 | 0.002
16 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14418 | 14155 | 263 | -263000 | -0.263 | 20499 | 20500 | -1 | 1000 | 0.001
17 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26900 | 26396 | 504 | -504000 | -0.504 | 274 | 274 | 0 | 0 | 0
NARAINA
18 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 995433 | 995991 | -558 | -558000 | -0.558
19 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 680 | 0 | 0 | 0 | 24936 | 25156 | -220 | -220000 | -0.22
20 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1096 | 0 | 0 | 0 | 4881 | 4640 | 241 | 120500 | 0.1205
21 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138496 | 138468 | 28 | 2800 | 0.0028 | 293215 | 290736 | 2479 | 247900 | 0.2479
22 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995831 | 0 | 0 | 0 | 985743 | 986096 | -353 | -353000 | -0.353
23 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 997728 | 997821 | -93 | -93000 | -0.093
24 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50474 | 50214 | 260 | 26000 | 0.026 | 34272 | 33272 | 1000 | 100000 | 0.1
KASHMIRI GATE
25 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 612966 | 613710 | -744 | -744000 | -0.744 | 795903 | 795906 | -3 | -3000 | -0.003
26 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 588516 | 591165 | -2649 | -2649000 | -2.649 | 829222 | 829222 | 0 | 0 | 0
27 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 879 | 471 | 408 | 108801.36 | 0.1088 | 0 | 0 | 0 | 0 | 0
28 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7080 | 7007 | 73 | 36500 | 0.0365 | 1764 | 1765 | -1 | -500 | -0.0005
KANJAWALA
29 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912 | 884 | 28 | -28000 | -0.028 | 997446 | 997510 | -64 | 64000 | 0.064
30 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 7528 | 7387 | 141 | -70500 | -0.0705 | 999634 | 999700 | -66 | 33000 | 0.033
31 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
32 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20835 | 19905 | 930 | -930000 | -0.93 | 999612 | 999613 | -1 | 1000 | 0.001
DSIDC BAWANA
33 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19425 | 18175 | 1250 | -2500000 | -2.5 | 101 | 101 | 0 | 0 | 0
34 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36378 | 35636 | 742 | -742000 | -0.742 | 998919 | 998919 | 0 | 0 | 0
35 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72629 | 71047 | 1582 | -1582000 | -1.582 | 2422 | 2422 | 0 | 0 | 0
ROHINI-II
36 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21889 | 21521 | 368 | -368000 | -0.368 | 999323 | 999323 | 0 | 0 | 0
37 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11650 | 11365 | 285 | -285000 | -0.285 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
38 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912 | 132 | 780 | -780000 | -0.78 | 998728 | 998728 | 0 | 0 | 0
39 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14197 | 14218 | -21 | 21000 | 0.021 | 1364 | 1378 | -14 | 14000 | 0.014
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
40 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1838 | 1829 | 9 | 9000 | 0.009 | 28241 | 28240 | 1 | 1000 | 0.001
41 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 11719 | 11875 | -156 | -15600 | -0.0156 | 26295 | 26256 | 39 | 3900 | 0.0039
| NDPL(+) continue | [14 empty] | APRIL-2018
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1273 | 1292 | -19 | -19000 | -0.019 | 61299 | 61300 | -1 | -1000 | -0.001
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9014 | 9014 | 0 | 0 | 0 | 37463 | 37463 | 0 | 0 | 0
[10 empty] | -0.00072 |  |  |  |  | -0.0035 | Assessment
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11912 | 11760 | 152 | 15200 | 0.0152 | 77274 | 77077 | 197 | 19700 | 0.0197
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1772 | 1412 | 360 | 36000 | 0.036 | 20076 | 19585 | 491 | 49100 | 0.0491
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 381 | 381 | 0 | 0 | 0 | 302 | 301 | 1 | 1333 | 0.001333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 166 | 96 | 70 | 7000 | 0.007 | 1000035 | 999988 | 47 | 4700 | 0.0047
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 291 | 113 | 178 | 17800 | 0.0178 | 17471 | 17203 | 268 | 26800 | 0.0268
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 305 | -8 | -355.52 | -0.00035552
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1420 | 1421 | -1 | -166.66 | -0.00016666 | 2302 | 1879 | 423 | 70497.18 | 0.070497
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999833 | -1 | -500 | -0.0005 | 545 | 534 | 11 | 5500 | 0.0055
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1197 | 1189 | 8 | 5333.36 | 0.0053334 | 146 | 128 | 18 | 12000.06 | 0.012
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4081 | 4075 | 6 | 4000 | 0.004 | 1448 | 1431 | 17 | 11333.3333 | 0.011333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997470 | 997238 | 232 | 23200 | 0.0232 | 2317 | 2191 | 126 | 12600 | 0.0126
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999852 | 999885 | -33 | -3300 | -0.0033 | 999984 | 999985 | -1 | -100 | -0.0001
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
62 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 3079 | 2710 | 369 | 36900 | 0.0369 | 10531 | 10334 | 197 | 19700 | 0.0197
63 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3383 | 3066 | 317 | 31700 | 0.0317 | 321 | 302 | 19 | 1900 | 0.0019
64 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 18099 | 17404 | 695 | 69500 | 0.0695 | 5702 | 5652 | 50 | 5000 | 0.005
KASHMIRI GATE
65 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 20734 | 19970 | 764 | 76400 | 0.0764 | 1786 | 1781 | 5 | 500 | 0.0005
66 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25429 | 25416 | 13 | 1300 | 0.0013 | 51344 | 51316 | 28 | 2800 | 0.0028
67 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 468 | -166 | 49800 | 0.0498
REWARI LINE (11KV TRANSFER OF ENERGY)
68 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
69 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
70 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996673 | 996994 | -321 | -256800 | -0.2568 | 999998 | 999998 | 0 | 0 | 0
71 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 36 | 86 | -50 | -100000 | -0.1 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
72 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995101 | 994888 | 213 | 21300 | 0.0213 | 999800 | 999834 | -34 | -3400 | -0.0034
73 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998975 | 998776 | 199 | 49750 | 0.04975 | 193 | 132 | 61 | 15250 | 0.01525
REWARI LINE
74 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998291 | 998561 | -270 | -270000 | -0.27 | 1434 | 848 | 586 | 586000 | 0.586
75 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 97 | 63 | 34 | 25500 | 0.0255 | 177 | 31 | 146 | 109500 | 0.1095
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -19.9376 |  |  |  |  | 1.2075
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10693 | 10676 | 17 | -1700 | -0.0017 | 56168 | 49686 | 6482 | -648200 | -0.6482
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 10 | 10 | 0 | 0 | 0 | 2436 | 1854 | 582 | -465600 | -0.4656
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1222 | 1190 | 32 | -32000 | -0.032 | 394 | 390 | 4 | -4000 | -0.004
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2206 | 2126 | 80 | -32000 | -0.032 | 13 | 9 | 4 | -1600 | -0.0016
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -500 | 999865 | 999872 | -7 | 3500 | 0.0035 | 999996 | 1000000 | -4 | 2000 | 0.002
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 976463 | 976790 | -327 | 261600 | 0.2616 | 998992 | 999001 | -9 | 7200 | 0.0072
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 999455 | 999975 | -520 | 325000 | 0.325 | 999998 | 1000000 | -2 | 1250 | 0.00125
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999992 | 999999 | -7 | 4375 | 0.004375 | 999999 | 1000000 | -1 | 625 | 0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999653 | 999739 | -86 | 17200 | 0.0172 | 1239 | 288 | 951 | -190200 | -0.1902
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999132 | 999209 | -77 | 14437.5 | 0.014438 | 999840 | 999891 | -51 | 9562.5 | 0.0095625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999040 | 999037 | 3 | -562.5 | -0.0005625 | 567 | 117 | 450 | -84375 | -0.084375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 999788 | 999592 | 196 | -49000 | -0.049 | 490 | 101 | 389 | -97250 | -0.09725
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999896 | 999896 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.51085 |  |  |  |  | -1.4706
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -19.9376 |  |  |  |  | 1.2075
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.51085 |  |  |  |  | -1.4706
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 4.1038 |  |  |  |  | 0.097262
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -15.3229 |  |  |  |  | -0.16587
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.3229 | (REACTIVE MUs) |  |  |  | -0.16587 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.1034 | (REACTIVE MUs) |  |  |  | -0.83742 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.2195 | (REACTIVE MUs) |  |  |  | -1.0033 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11288 | 11288 | 0 | 0 | 0 | 995464 | 999148 | -3684 | -368400 | -0.3684
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8118 | 8118 | 0 | 0 | 0 | 6076 | 7958 | -1882 | -564600 | -0.5646
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 28694 | 28694 | 0 | 0 | 0 | 208292 | 203742 | 4550 | 341250 | 0.34125
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998301 | 998301 | 0 | 0 | 0 | 5402 | 5688 | -286 | -85800 | -0.0858
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1728 | 1728 | 0 | 0 | 0 | 3281 | 3156 | 125 | 166662.5 | 0.16666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35179 | 35179 | 0 | 0 | 0 | 158879 | 159464 | -585 | -58500 | -0.0585
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 16525 | 16525 | 0 | 0 | 0 | 49580 | 46413 | 3167 | 237525 | 0.23752
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986192 | 986728 | -536 | -536000 | -0.536 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995596 | 995742 | -146 | -146000 | -0.146 | 3876 | 3874 | 2 | 2000 | 0.002
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999132 | 999385 | -253 | -253000 | -0.253 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992272 | 992708 | -436 | -436000 | -0.436 | 1454 | 1454 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993398 | 0 | 0 | 0 | 5571 | 5565 | 6 | 6000 | 0.006
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997254 | 997257 | -3 | -3000 | -0.003 | 998944 | 998989 | -45 | -45000 | -0.045
14 | JAMA MASJID-1 | 5128408 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999967 | 999996 | -29 | -29000 | -0.029 | 999997 | 999999 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999038 | 999039 | -1 | -800 | -0.0008 | 2081 | 2237 | -156 | -124800 | -0.1248
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998958 | 999170 | -212 | -212000 | -0.212 | 32995 | 32996 | -1 | -1000 | -0.001
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2024 | 2046 | -22 | -22000 | -0.022 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2434 | 1315 | 1119 | 1119000 | 1.119 | 17082 | 17082 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 981573 | 982695 | -1122 | -1402500 | -1.4025 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 960850 | 963381 | -2531 | -2784100 | -2.7841
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964492 | 965411 | -919 | -919000 | -0.919 | 7610 | 7610 | 0 | 0 | 0
[10 empty] | -2.3215 |  |  |  |  | -2.7841
KASHMIRI GATE
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996296 | 996377 | -81 | 81000 | 0.081 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995997 | 995976 | 21 | -21000 | -0.021 | 999972 | 999973 | -1 | 1000 | 0.001
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 468 | -166 | -49800 | -0.0498
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999838 | 0 | 0 | 0 | 6843 | 6886 | -43 | -43000 | -0.043
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29072 | 27020 | 2052 | -2052000 | -2.052 | 999996 | 1000000 | -4 | 4000 | 0.004
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17172 | 16871 | 301 | -301000 | -0.301 | 999826 | 999911 | -85 | 85000 | 0.085
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989480 | 989538 | -58 | 58000 | 0.058 | 991671 | 991708 | -37 | 37000 | 0.037
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993764 | 993770 | -6 | 6000 | 0.006 | 998773 | 998813 | -40 | 40000 | 0.04
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997779 | 997701 | 78 | -78000 | -0.078 | 999465 | 999528 | -63 | 63000 | 0.063
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998639 | 998630 | 9 | -9000 | -0.009 | 155 | 146 | 9 | -9000 | -0.009
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992520 | 992548 | -28 | 28000 | 0.028 | 999644 | 999644 | 0 | 0 | 0
|  | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 26/04/18
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1222 | 1190 | 32 | 32000 | 0.032 | 394 | 390 | 4 | 4000 | 0.004
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2206 | 2126 | 80 | 32000 | 0.032 | 13 | 9 | 4 | 1600 | 0.0016
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864809 | ELSTER | Kvarh(Lead/Lag) | 200 | 996941 | 997309 | -368 | -73600 | -0.0736 | 0 | 6 | -6 | -1200 | -0.0012 | Check Meter Data
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983854 | 983873 | -19 | 19000 | 0.019 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997900 | 997900 | 0 | 0 | 0 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -5.1189 |  |  |  |  | -3.1462
| (A) NET ENERGY TO CENTRAL | [8 empty] | -5.1189 |  |  |  |  | -3.1462
APRIL-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978138 | 978229 | -91 | 91000 | 0.091 | 878983 | 879040 | -57 | 57000 | 0.057
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996708 | 996840 | -132 | 132000 | 0.132 | 962255 | 962312 | -57 | 57000 | 0.057
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996552 | 996648 | -96 | 96000 | 0.096 | 998880 | 998957 | -77 | 77000 | 0.077
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 983199 | 983437 | -238 | 476000 | 0.476 | 972140 | 972206 | -66 | 132000 | 0.132
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1118 | 1177 | -59 | 59000 | 0.059 | 999125 | 999125 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995035 | 995147 | -112 | 112000 | 0.112 | 998562 | 998563 | -1 | 1000 | 0.001
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2738 | 3186 | -448 | 448000 | 0.448 | 999628 | 999628 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983811 | 984653 | -842 | 842000 | 0.842 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980176 | 980632 | -456 | 456000 | 0.456 | 989673 | 989673 | 0 | 0 | 0
[5 empty] | -1000 | 982004 | 982627 | -623 | 623000 | 0.623
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992636 | 993343 | -707 | 707000 | 0.707 | 999979 | 1000000 | -21 | 21000 | 0.021
[5 empty] | -1000 | 997779 | 998400 | -621 | 621000 | 0.621
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959576 | 959308 | 268 | -268000 | -0.268 | 829307 | 829366 | -59 | 59000 | 0.059
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24409 | 23653 | 756 | -756000 | -0.756 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9555 | 9334 | 221 | -221000 | -0.221 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967469 | 967213 | 256 | -256000 | -0.256 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.162 |  |  |  |  | 0.404
| (B) NET ENERGY TO EAST | [8 empty] | 3.162 |  |  |  |  | 0.404
APRIL-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 879 | 471 | 408 | -108801.36 | -0.1088 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7080 | 7007 | 73 | -36500 | -0.0365 | 1764 | 1765 | -1 | 500 | 0.0005
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3713 | 3670 | 43 | -11466.38 | -0.011466 | 557 | 547 | 10 | -2666.6 | -0.0026666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79406 | 79268 | 138 | -13800 | -0.0138 | 144158 | 144097 | 61 | -6100 | -0.0061
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 968040 | 968131 | -91 | 18200 | 0.0182 | 994954 | 994949 | 5 | -1000 | -0.001
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 49011 | 48753 | 258 | -51600 | -0.0516 | 118682 | 118643 | 39 | -7800 | -0.0078
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 18856 | 18780 | 76 | -60800 | -0.0608 | 13867 | 13864 | 3 | -2400 | -0.0024
8 | 66 KV BD MARG-II | 4865150 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71612 | 71571 | 41 | -82000 | -0.082 | 101080 | 101079 | 1 | -2000 | -0.002 | Check Meter Data
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 970482 | 970606 | -124 | 99200 | 0.0992 | 986566 | 986568 | -2 | 1600 | 0.0016
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 975311 | 975493 | -182 | 145600 | 0.1456 | 987306 | 987337 | -31 | 24800 | 0.0248
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 983764 | 984022 | -258 | 206400 | 0.2064 | 993919 | 993925 | -6 | 4800 | 0.0048
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 974120 | 974353 | -233 | 186400 | 0.1864 | 994511 | 994513 | -2 | 1600 | 0.0016
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969237 | 969569 | -332 | 332000 | 0.332 | 32280 | 32283 | -3 | 3000 | 0.003
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1838 | 1829 | 9 | -9000 | -0.009 | 28241 | 28240 | 1 | -1000 | -0.001
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 11719 | 11875 | -156 | 15600 | 0.0156 | 26295 | 26256 | 39 | -3900 | -0.0039
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1273 | 1292 | -19 | 19000 | 0.019 | 61299 | 61300 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1420 | 1421 | -1 | 166.66 | 0.00016666 | 2302 | 1879 | 423 | -70497.18 | -0.070497
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999833 | -1 | 500 | 0.0005 | 545 | 534 | 11 | -5500 | -0.0055
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1197 | 1189 | 8 | -5333.36 | -0.0053334 | 146 | 128 | 18 | -12000.06 | -0.012
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4081 | 4075 | 6 | -4000 | -0.004 | 1448 | 1431 | 17 | -11333.3333 | -0.011333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 20734 | 19970 | 764 | -76400 | -0.0764 | 1786 | 1781 | 5 | -500 | -0.0005
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25429 | 25416 | 13 | -1300 | -0.0013 | 51344 | 51316 | 28 | -2800 | -0.0028
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997470 | 997238 | 232 | -23200 | -0.0232 | 2317 | 2191 | 126 | -12600 | -0.0126
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999852 | 999885 | -33 | 3300 | 0.0033 | 999984 | 999985 | -1 | 100 | 0.0001
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 3079 | 2710 | 369 | -36900 | -0.0369 | 10531 | 10334 | 197 | -19700 | -0.0197
30 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3383 | 3066 | 317 | -31700 | -0.0317 | 321 | 302 | 19 | -1900 | -0.0019
31 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 18099 | 17404 | 695 | -69500 | -0.0695 | 5702 | 5652 | 50 | -5000 | -0.005
[10 empty] | 0.40407 |  |  |  |  | -0.1313
APRIL-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -5.1189 |  |  |  |  | -3.1462
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.40407 |  |  |  |  | -0.1313
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.26121 |  |  |  |  | -0.0009375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.976 |  |  |  |  | -3.2784
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.162 |  |  |  |  | 0.404
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.814 |  |  |  |  | -2.8744
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.814 | (REACTIVE MUs) |  |  |  | -2.8744 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.83432 | (REACTIVE MUs) |  |  |  | -0.63319 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.97972 | (REACTIVE MUs) |  |  |  | -3.5076 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999505 | 999505 | 0 | 0 | 0 | 999324 | 999286 | 38 | 190000 | 0.19
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984577 | 984577 | 0 | 0 | 0 | 670712 | 670959 | -247 | -329332.51 | -0.32933
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1219 | 1219 | 0 | 0 | 0 | 62715 | 63291 | -576 | -230400 | -0.2304
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999973 | 999973 | 0 | 0 | 0 | 999802 | 1000045 | -243 | -323999.19 | -0.324
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18831 | 18831 | 0 | 0 | 0 | 21585 | 20966 | 619 | 61900 | 0.0619
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719766 | 719767 | -1 | -75 | -7.5e-05 | 988287 | 993133 | -4846 | -363450 | -0.36345
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999210 | 999210 | 0 | 0 | 0 | 1917 | 2234 | -317 | -23775 | -0.023775
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997475 | 997475 | 0 | 0 | 0 | 993985 | 994907 | -922 | -829800 | -0.8298
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3084 | 3083 | 1 | -1000 | -0.001 | 997566 | 997652 | -86 | 86000 | 0.086
12 | Tx.3 | 4902563 | ELSTER | Kvarh(Lead/Lag) | -1000 | 505 | 505 | 0 | 0 | 0 | 999536 | 999539 | -3 | 3000 | 0.003 | Check Meter Data
|  | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999958 | 1000000 | -42 | 84000 | 0.084 | 999927 | 1000000 | -73 | 146000 | 0.146 | w.e.f 06/04/18
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10734 | 10791 | -57 | 57000 | 0.057 | 999380 | 999400 | -20 | 20000 | 0.02
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967915 | 967910 | 5 | -5000 | -0.005 | 996176 | 996373 | -197 | 197000 | 0.197
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31459 | 31039 | 420 | -420000 | -0.42 | 999850 | 999849 | 1 | -1000 | -0.001
[5 empty] | -1000 | 14175 | 14110 | 65 | -65000 | -0.065
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19335 | 19261 | 74 | -74000 | -0.074 | 511 | 158 | 353 | -353000 | -0.353
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7764 | 7634 | 130 | -260000 | -0.26 | 999053 | 999044 | 9 | -18000 | -0.018
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996417 | 996523 | -106 | 106000 | 0.106 | 902094 | 902651 | -557 | 557000 | 0.557
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2986 | 3098 | -112 | 112000 | 0.112 | 982345 | 982785 | -440 | 440000 | 0.44
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996742 | 996756 | -14 | 14000 | 0.014 | 982849 | 983472 | -623 | 623000 | 0.623
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996880 | 997119 | -239 | 239000 | 0.239 | 989553 | 990212 | -659 | 659000 | 0.659
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000005 | 999999 | 6 | -6000 | -0.006 | 999617 | 999968 | -351 | 351000 | 0.351
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 10 | 10 | 0 | 0 | 0 | 2436 | 1854 | 582 | 465600 | 0.4656
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978482 | 978846 | -364 | 364000 | 0.364 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980459 | 980767 | -308 | 308000 | 0.308 | 999199 | 999323 | -124 | 124000 | 0.124
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996342 | 996358 | -16 | 16000 | 0.016 | 988061 | 988447 | -386 | 386000 | 0.386
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994133 | 994181 | -48 | 48000 | 0.048 | 927824 | 928117 | -293 | 293000 | 0.293
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8892 | 7973 | 919 | -919000 | -0.919 | 33388 | 33391 | -3 | 3000 | 0.003
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997865 | 997841 | 24 | -24000 | -0.024 | 996139 | 996139 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999738 | 999733 | 5 | -5000 | -0.005 | 999711 | 999709 | 2 | -2000 | -0.002
BRPL(+) continue | [14 empty] | APRIL-2018
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7220 | 7046 | 174 | -174000 | -0.174 | 999904 | 999943 | -39 | 39000 | 0.039
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 11008 | 10961 | 47 | -23500 | -0.0235 | 998196 | 998246 | -50 | 25000 | 0.025
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52982 | 50901 | 2081 | -4162000 | -4.162 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2180 | 2129 | 51 | -51000 | -0.051 | 999775 | 999881 | -106 | 106000 | 0.106
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994406 | 994406 | 0 | 0 | 0 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1953 | 1867 | 86 | -86000 | -0.086 | 10439 | 10433 | 6 | -6000 | -0.006
[5 empty] | -1000 | [5 empty] | 999774 | 999263 | 511 | -511000 | -0.511
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1705 | 1681 | 24 | -48000 | -0.048 | 999113 | 999117 | -4 | 8000 | 0.008
RIDGE VALLEY
41 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1331 | 108 | 1223 | -1223000 | -1.223 | 999999 | 1000000 | -1 | 1000 | 0.001
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8507 | 7579 | 928 | -1856000 | -1.856 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6550 | 6547 | 3 | -6000 | -0.006 | 2419 | 2419 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3341 | 3339 | 2 | -4000 | -0.004 | 1382 | 1380 | 2 | -4000 | -0.004
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917456 | -18 | 18000 | 0.018 | 981155 | 981209 | -54 | 54000 | 0.054
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9 | 28 | -19 | 19000 | 0.019 | 996743 | 996785 | -42 | 42000 | 0.042
47 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 465 | 478 | -13 | 13000 | 0.013 | 997515 | 997658 | -143 | 143000 | 0.143
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 997009 | 997096 | -87 | -69600 | -0.0696 | 28 | 27 | 1 | 800 | 0.0008
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 982873 | 983181 | -308 | -246400 | -0.2464 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1505 | 1489 | 16 | 12800 | 0.0128 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 385 | 404 | -19 | -15200 | -0.0152 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969237 | 969569 | -332 | -332000 | -0.332 | 32280 | 32283 | -3 | -3000 | -0.003
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70026 | 69160 | 866 | -866000 | -0.866 | 27 | 27 | 0 | 0 | 0
|  | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99 | 0 | 99 | -99000 | -0.099 | 3 | 0 | 3 | -3000 | -0.003 | w.e.f 24/04/18
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16337 | 15931 | 406 | -406000 | -0.406 | 998487 | 998472 | 15 | -15000 | -0.015
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48906 | 48492 | 414 | -414000 | -0.414 | 11 | 10 | 1 | -1000 | -0.001
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10693 | 10676 | 17 | 1700 | 0.0017 | 56168 | 49686 | 6482 | 648200 | 0.6482
SUDARSHAN PARK
59 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 500 | 999865 | 999872 | -7 | -3500 | -0.0035 | 999996 | 1000000 | -4 | -2000 | -0.002
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8119 | 8467 | -348 | -139200 | -0.1392 | 13786 | 21171 | -7385 | -2954000 | -2.954
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 995916 | 995789 | 127 | 50800 | 0.0508 | 34849 | 34211 | 638 | 255200 | 0.2552
KANJAWALA
62 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 976463 | 976790 | -327 | -261600 | -0.2616 | 998994 | 999001 | -7 | -5600 | -0.0056
Trauma Centre
63 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 342283 | 338664 | 3619 | 361900 | 0.3619 | 8000 | 8000 | 0 | 0 | 0
64 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4589 | 4511 | 78 | 78000 | 0.078 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
65 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10267 | 10264 | 3 | 225 | 0.000225 | 14783 | 14661 | 122 | 9150 | 0.00915
66 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4847 | 4842 | 5 | 500 | 0.0005 | 6088 | 5871 | 217 | 21700 | 0.0217
PEERGARHI
67 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3832 | 3656 | 176 | 88000 | 0.088 | 2776 | 2775 | 1 | 500 | 0.0005
68 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3313 | 3414 | -101 | -101000 | -0.101 | 4063 | 4064 | -1 | -1000 | -0.001
69 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995363 | 995413 | -50 | -50000 | -0.05 | 1283 | 1304 | -21 | -21000 | -0.021
70 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3902 | 3883 | 19 | 19000 | 0.019 | 6453 | 6440 | 13 | 13000 | 0.013
71 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 574 | 573 | 1 | 1000 | 0.001 | 457 | 381 | 76 | 76000 | 0.076
72 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 47405 | 47390 | 15 | 1500 | 0.0015 | 45438 | 44751 | 687 | 68700 | 0.0687
73 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 500 | 999952 | 999958 | -6 | -3000 | -0.003 | 2 | 2 | 0 | 0 | 0
74 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2309 | 2292 | 17 | 17000 | 0.017 | 6006 | 5893 | 113 | 113000 | 0.113
REWARI LINE
75 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999653 | 999739 | -86 | -17200 | -0.0172 | 1239 | 288 | 951 | 190200 | 0.1902
76 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999132 | 999209 | -77 | -14437.5 | -0.014438 | 999840 | 999891 | -51 | -9562.5 | -0.0095625
77 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999040 | 999037 | 3 | 562.5 | 0.0005625 | 567 | 117 | 450 | 84375 | 0.084375
78 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 999788 | 999592 | 196 | 49000 | 0.049 | 490 | 101 | 389 | 97250 | 0.09725
79 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999896 | 999896 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -10.3707 |  |  |  |  | 0.59066
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 195737 | 195393 | 344 | -34400 | -0.0344 | 913610 | 913610 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864809 | ELSTER | Kvarh(Lead/Lag) | -200 | 996941 | 997309 | -368 | 73600 | 0.0736 | 0 | 6 | -6 | 1200 | 0.0012 | Check Meter Data
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997446 | 997373 | 73 | -14600 | -0.0146 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1068 | 1051 | 17 | -17000 | -0.017 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998929 | 998895 | 34 | -34000 | -0.034 | 743 | 742 | 1 | -1000 | -0.001
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5557 | 4857 | 700 | -112000 | -0.112 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865160 | ELSTER | Kvarh(Lead/Lag) | -1000 | 825898 | 825772 | 126 | -126000 | -0.126 | 52748 | 52745 | 3 | -3000 | -0.003 | Check Meter Data
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994296 | 994614 | -318 | 318000 | 0.318 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96782 | 96783 | -1 | 100 | 0.0001 | 72335 | 71783 | 552 | -55200 | -0.0552
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 106204 | 106190 | 14 | -1400 | -0.0014 | 74279 | 72535 | 1744 | -174400 | -0.1744
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28011 | 27867 | 144 | -14400 | -0.0144 | 33336 | 33191 | 145 | -14500 | -0.0145
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 436363 | 433427 | 2936 | -293600 | -0.2936 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865092 | ELSTER | Kvarh(Lead/Lag) | -75 | 506 | 506 | 0 | 0 | 0 | 952 | 514 | 438 | -32850 | -0.03285 | Check Meter Data
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9014 | 9014 | 0 | 0 | 0 | 37463 | 37463 | 0 | 0 | 0
[10 empty] | 0.00072 |  |  |  |  | 0.0035 | Assessment
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11912 | 11760 | 152 | -15200 | -0.0152 | 77274 | 77077 | 197 | -19700 | -0.0197
21 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1772 | 1412 | 360 | -36000 | -0.036 | 20076 | 19585 | 491 | -49100 | -0.0491
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 381 | 381 | 0 | 0 | 0 | 302 | 301 | 1 | -1333 | -0.001333
23 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 166 | 96 | 70 | -7000 | -0.007 | 1000035 | 999988 | 47 | -4700 | -0.0047
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 291 | 113 | 178 | -17800 | -0.0178 | 17471 | 17203 | 268 | -26800 | -0.0268
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 305 | -8 | 355.52 | 0.00035552
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
32 | 66KV RLY Ckt-1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -500 | 999109 | 999215 | -106 | 53000 | 0.053 | 999973 | 999999 | -26 | 13000 | 0.013
|  | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999884 | 1000000 | -116 | 46400 | 0.0464 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/04/18
REWARI LINE
33 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998291 | 998561 | -270 | 270000 | 0.27 | 1434 | 848 | 586 | -586000 | -0.586
34 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 97 | 63 | 34 | -25500 | -0.0255 | 177 | 31 | 146 | -109500 | -0.1095
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.01292 |  |  |  |  | -1.06
APRIL-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -10.3707 |  |  |  |  | 0.59066
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.01292 |  |  |  |  | -1.06
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.077463 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0001 |  |  |  |  | -0.29615
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -10.4354 |  |  |  |  | -0.76552
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.4354 | (REACTIVE MUs) |  |  |  | -0.76552 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5272 | (REACTIVE MUs) |  |  |  | -1.1591 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.9081 | (REACTIVE MUs) |  |  |  | -1.9246 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3713 | 3670 | 43 | 11466.81 | 0.011467 | 557 | 547 | 10 | 2666.7 | 0.0026667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79406 | 79268 | 138 | 13800 | 0.0138 | 144158 | 144097 | 61 | 6100 | 0.0061
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 968040 | 968131 | -91 | -18200 | -0.0182 | 994954 | 994949 | 5 | 1000 | 0.001
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 49011 | 48753 | 258 | 51600 | 0.0516 | 118682 | 118643 | 39 | 7800 | 0.0078
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 18856 | 18780 | 76 | 60800 | 0.0608 | 13867 | 13864 | 3 | 2400 | 0.0024
6 | 66 KV BD MARG-II | 4865150 | ELSTER | Kvarh(Lead/Lag) | 2000 | 71612 | 71571 | 41 | 82000 | 0.082 | 101080 | 101079 | 1 | 2000 | 0.002 | Check Meter Data
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 970482 | 970606 | -124 | -99200 | -0.0992 | 986566 | 986568 | -2 | -1600 | -0.0016
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 975311 | 975493 | -182 | -145600 | -0.1456 | 987306 | 987337 | -31 | -24800 | -0.0248
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 983764 | 984022 | -258 | -206400 | -0.2064 | 993919 | 993925 | -6 | -4800 | -0.0048
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 974120 | 974353 | -233 | -186400 | -0.1864 | 994511 | 994513 | -2 | -1600 | -0.0016
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997505 | 997505 | 0 | 0 | 0 | 14029 | 8059 | 5970 | 298500 | 0.2985
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989447 | 989447 | 0 | 0 | 0 | 17860 | 15280 | 2580 | 193500 | 0.1935
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 117 | 117 | 0 | 0 | 0 | 2936 | 2287 | 649 | 324500 | 0.3245
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999217 | 999217 | 0 | 0 | 0 | 5221 | 3983 | 1238 | 464250 | 0.46425
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988082 | 988082 | 0 | 0 | 0 | 332396 | 330957 | 1439 | 143900 | 0.1439
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 266 | 266 | 0 | 0 | 0 | 19544 | 13924 | 5620 | 421500 | 0.4215
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 89199 | 89199 | 0 | 0 | 0 | 748912 | 743259 | 5653 | 565300 | 0.5653
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997972 | 997624 | 348 | 348000 | 0.348 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994050 | 994476 | -426 | -426000 | -0.426 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991109 | 991990 | -881 | -881000 | -0.881 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5924 | 5188 | 736 | 736000 | 0.736 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -0.223 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998929 | 998895 | 34 | 34000 | 0.034 | 743 | 742 | 1 | 1000 | 0.001
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5557 | 4857 | 700 | 112000 | 0.112 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825898 | 825772 | 126 | 126000 | 0.126 | 52748 | 52745 | 3 | 3000 | 0.003 | Check Meter Data
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994296 | 994614 | -318 | -318000 | -0.318 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
APRIL-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926096 | 926393 | -297 | 297000 | 0.297 | 970566 | 970568 | -2 | 2000 | 0.002
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961882 | 962337 | -455 | 227500 | 0.2275 | 998205 | 998213 | -8 | 4000 | 0.004
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998773 | 998310 | 463 | -926000 | -0.926 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989641 | 990780 | -1139 | 1139000 | 1.139 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 436363 | 433427 | 2936 | 293600 | 0.2936 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865092 | ELSTER | Kvarh(Lead/Lag) | 75 | 506 | 506 | 0 | 0 | 0 | 952 | 514 | 438 | 32850 | 0.03285 | Check Meter Data
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96782 | 96783 | -1 | -100 | -0.0001 | 72335 | 71783 | 552 | 55200 | 0.0552
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 106204 | 106190 | 14 | 1400 | 0.0014 | 74279 | 72535 | 1744 | 174400 | 0.1744
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28011 | 27867 | 144 | 14400 | 0.0144 | 33336 | 33191 | 145 | 14500 | 0.0145
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 195737 | 195393 | 344 | 34400 | 0.0344 | 913610 | 913610 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 342283 | 338664 | 3619 | -361900 | -0.3619 | 8000 | 8000 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4589 | 4511 | 78 | -78000 | -0.078 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10267 | 10264 | 3 | -225 | -0.000225 | 14783 | 14661 | 122 | -9150 | -0.00915
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4847 | 4842 | 5 | -500 | -0.0005 | 6088 | 5871 | 217 | -21700 | -0.0217
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.064558 |  |  |  |  | 2.6567
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.064558 |  |  |  |  | 2.6567
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.16889 |  |  |  |  | -0.12818
| TOTAL ENERGY TO NDMC | [8 empty] | 0.10434 |  |  |  |  | 2.5285

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3392 | 0 | 0 | 0 | 25067 | 22239 | 2828 | 565600 | 0.5656
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42384 | 42431 | -47 | -47000 | -0.047
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4249 | 0 | 0 | 0 | 52295 | 52313 | -18 | -18000 | -0.018
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 152 | 152 | 0 | 0 | 0 | 1670 | 678 | 992 | 396800 | 0.3968
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6468 | 6467 | 1 | 1000 | 0.001 | 12077 | 12075 | 2 | 2000 | 0.002
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 283 | 283 | 0 | 0 | 0 | 999604 | 999257 | 347 | 138800 | 0.1388
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997446 | 997373 | 73 | 14600 | 0.0146 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1068 | 1051 | 17 | 17000 | 0.017 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0326 |  |  |  |  | 1.0382
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3438 | -1 | -100 | -0.0001 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59371 | 59371 | 0 | 0 | 0 | 92570 | 91906 | 664 | 66400 | 0.0664
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78162 | 78160 | 2 | 200 | 0.0002 | 17726 | 16991 | 735 | 73500 | 0.0735
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65242 | 65242 | 0 | 0 | 0 | 115464 | 113903 | 1561 | 156100 | 0.1561
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1314 | 1312 | 2 | 150 | 0.00015
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10281 | 0 | 0 | 0 | 3989 | 3989 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0001 |  |  |  |  | 0.29615
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0001 |  |  |  |  | 0.29615
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0326 |  |  |  |  | 1.0382
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0327 |  |  |  |  | 1.3343
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0327 | (REACTIVE MUs) |  |  |  | 1.3343 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.026611 | (REACTIVE MUs) |  |  |  | -0.020196 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.059311 | (REACTIVE MUs) |  |  |  | 1.3142 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Railway Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 999455 | 999975 | -520 | -325000 | -0.325 | 999998 | 1000000 | -2 | -1250 | -0.00125
2 | 66KV Railway Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999992 | 999999 | -7 | -4375 | -0.004375 | 999999 | 1000000 | -1 | -625 | -0.000625
RIDGE VALLEY
1 | 66KV Railway Ckt-1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | 500 | 999109 | 999215 | -106 | -53000 | -0.053 | 999973 | 999999 | -26 | -13000 | -0.013
|  | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999884 | 1000000 | -116 | -46400 | -0.0464 | 0 | 0 | 0 | 0 | 0 | w..e.f 20/04/18
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.42878 |  |  |  |  | -0.014875

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 980347 | 986504 | -6157 | -615700 | -0.6157 | 1983 | 1983 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 69568 | 64385 | 5183 | 518300 | 0.5183 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 9548 | 9170 | 378 | 189000 | 0.189 | 2077 | 2077 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999729 | 999812 | -83 | -77812.5 | -0.077813 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 984098 | 985749 | -1651 | -412750 | -0.41275 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978744 | 979387 | -643 | 321500 | 0.3215 | 976331 | 976331 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999925 | 999925 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.077463 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987456 | 987173 | 283 | 56600 | 0.0566 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998735 | 999074 | -339 | -317812.5 | -0.31781 | 999999 | 1000000 | -1 | -937.5 | -0.0009375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.26121 |  |  |  |  | -0.0009375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 757 | 238 | 519 | 648750 | 0.64875 | 0 | 0 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 326182 | 312283 | 13899 | 1389900 | 1.3899 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 283075 | 261706 | 21369 | 1335562.5 | 1.3356 | 985548 | 985547 | 1 | 62.5 | 6.25e-05
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2738 | 2010 | 728 | 582400 | 0.5824 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 977892 | 979112 | -1220 | -122000 | -0.122 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 151 | 23 | 128 | 19200 | 0.0192 | 987830 | 987182 | 648 | 97200 | 0.0972
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998327 | 998427 | -100 | 250000 | 0.25 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999925 | 999925 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 4.1038 |  |  |  |  | 0.097262
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.077463 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.26121 |  |  |  |  | -0.0009375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 4.1038 |  |  |  |  | 0.097262

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 32257 | 29139 | 3118 | 3118000 | 3.118 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 13821 | 13202 | 619 | 3095000 | 3.095 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 6.213 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.213 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.3215 |  |  |  |  | -2.7841
[7 empty] | NDMC = |  |  | -0.223 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -2.5445 |  |  |  |  | -2.7841
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.6685 |  |  |  |  | -2.7841
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.0788 | % |  |  | 1.1034 |  |  |  |  | -0.83742
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6314 | % |  |  | 1.5272 |  |  |  |  | -1.1591
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7429 | % |  |  | 0.83432 |  |  |  |  | -0.63319
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6039 | % |  |  | 0.16889 |  |  |  |  | -0.12818
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7254 | % |  |  | 0.026611 |  |  |  |  | -0.020196
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2176 | % |  |  | 0.0079827 |  |  |  |  | -0.0060582
Note :Sharing taken from wk-04 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2018 TO 31st APRIL-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -14.2195 |  | -1.0033
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -8.9081 |  | -1.9246
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.97972 |  | -3.5076
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.10434 | + | 2.5285
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.059311 | + | 1.3142
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.42878 |  | -0.014875
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/04/2018 | INTIAL READING 01/04/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 14414 | 13355 | 1059 | 794250 | 0.79425 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 3344 | 1902 | 1442 | 2163000 | 2.163 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 845047 | 847426 | -2379 | -1784250 | -1.7842 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.173 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1091 | 850 | 241 | 1205000 | 1.205 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 916316 | 918585 | -2269 | -2269000 | -2.269
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973818 | 973818 | 0 | 0 | 0 | 998905 | 998844 | 61 | 61000 | 0.061
[8 empty] | NET REACTIVE ENERGY |  | 1.205 |  |  | NET REACTIVE ENERGY |  | -2.208