## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 369 | 0 | 0 | 0 | 998289 | 998266 | 23 | -23000 | -0.023
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 98763 | 98735 | 28 | -56000 | -0.056 | 5118 | 5088 | 30 | -60000 | -0.06
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 891000 | 913000 | -22000 | 22000 | 0.022 | -9000 | -6000 | -3000 | 3000 | 0.003
[15 empty] | 0.0054 | assessment due to wrong reading in previous month
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18503 | 18503 | 0 | 0 | 0 | 2350 | 1447 | 903 | -903000 | -0.903
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 1280000 | 1279000 | 1000 | -1000 | -0.001 | -111000 | -91000 | -20000 | 20000 | 0.02
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 19 | 2 | 17 | -17000 | -0.017
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 254 | 254 | 0 | 0 | 0 | 1132 | 875 | 257 | -514000 | -0.514
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34414 | 34359 | 55 | -55000 | -0.055 | 999052 | 999052 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43990 | 43961 | 29 | -29000 | -0.029 | 997321 | 997321 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31150 | 31138 | 12 | -12000 | -0.012 | 996853 | 996858 | -5 | 5000 | 0.005
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13351 | 13423 | -72 | 36000 | 0.036 | 812614 | 812716 | -102 | 51000 | 0.051
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12324 | 12324 | 0 | 0 | 0 | 998521 | 998421 | 100 | -100000 | -0.1
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32265 | 31606 | 659 | -659000 | -0.659 | 128 | 194 | -66 | 66000 | 0.066
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64390 | 64390 | 0 | 0 | 0 | 995662 | 995686 | -24 | 24000 | 0.024
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 676571 | 678567 | -1996 | -1996000 | -1.996 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 701934 | 704651 | -2717 | -1358500 | -1.3585 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15986 | 15986 | 0 | 0 | 0 | 999700 | 998690 | 1010 | -1010000 | -1.01
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 4858 | 2071 | 2787 | -2787000 | -2.787
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62897 | 62897 | 0 | 0 | 0 | 1790 | 866 | 924 | -924000 | -0.924
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998623 | 0 | 0 | 0 | 985556 | 985587 | -31 | -31000 | -0.031
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999567 | 999567 | 0 | 0 | 0 | 999538 | 999540 | -2 | -8000 | -0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 17360 | 17345 | 15 | 7500 | 0.0075
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 158613 | 158249 | 364 | 18200 | 0.0182 | 425095 | 424989 | 106 | 5300 | 0.0053
|  | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 10931 | 10929 | 2 | 1000 | 0.001 | 31164 | 31164 | 0 | 0 | 0 | w.e.f 27.09.2023
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998485 | 998485 | 0 | 0 | 0 | 991988 | 991999 | -11 | -11000 | -0.011
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 993453 | 993914 | -461 | -614666.513 | -0.61467
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999786 | 999784 | 2 | 2000 | 0.002 | 17 | 1 | 16 | 16000 | 0.016
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999972 | 999972 | 0 | 0 | 0 | 33 | 7 | 26 | 26000 | 0.026
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 882081 | 882106 | -25 | -12500 | -0.0125 | 999217 | 999238 | -21 | -10500 | -0.0105
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991037 | 991111 | -74 | -19733.58 | -0.019734 | 999964 | 999965 | -1 | -266.67 | -0.00026667
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1 | 1 | 0 | 0 | 0 | 69 | 63 | 6 | 12000 | 0.012
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60832 | 60857 | -25 | 25000 | 0.025 | 995038 | 995066 | -28 | 28000 | 0.028
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5709 | 5676 | 33 | -33000 | -0.033 | 999724 | 999726 | -2 | 2000 | 0.002
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40684 | 40235 | 449 | -898000 | -0.898 | 999678 | 999676 | 2 | -4000 | -0.004
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96668 | 96408 | 260 | -260000 | -0.26 | 995525 | 995563 | -38 | 38000 | 0.038
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 16469 | 16331 | 138 | -552000 | -0.552 | 62 | 59 | 3 | -12000 | -0.012
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176346 | 176129 | 217 | -217000 | -0.217 | 998431 | 998436 | -5 | 5000 | 0.005
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 407421 | 406311 | 1110 | -369996.3 | -0.37 | 1538 | 1356 | 182 | -60666.06 | -0.060666
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 55951 | 55658 | 293 | -586000 | -0.586 | 142 | 132 | 10 | -20000 | -0.02
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3674 | 3565 | 109 | -272500 | -0.2725 | 92 | 81 | 11 | -27500 | -0.0275
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163092 | 162769 | 323 | -323000 | -0.323 | 2527 | 2504 | 23 | -23000 | -0.023
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16947000 | 16947000 | 0 | 0 | 0 | 4994000 | 4712000 | 282000 | -282000 | -0.282
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 52716000 | 52533000 | 183000 | -183000 | -0.183 | 3266000 | 3210000 | 56000 | -56000 | -0.056
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43708 | 43675 | 33 | -33000 | -0.033 | 998002 | 998000 | 2 | -2000 | -0.002
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61423 | 61423 | 0 | 0 | 0 | 884 | 898 | -14 | 14000 | 0.014
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993408 | 993408 | 0 | 0 | 0 | 24334 | 24442 | -108 | -108000 | -0.108
| NDPL(+) continue | [14 empty] | SEPTEMBER-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999999 | -4 | -1066.68 | -0.0010667
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3230 | 3230 | 0 | 0 | 0 | 35436 | 35243 | 193 | 19300 | 0.0193
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 747 | 744 | 3 | 3999 | 0.003999 | 640 | 638 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1641 | 1636 | 5 | 500 | 0.0005 | 12125 | 11885 | 240 | 24000 | 0.024
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999852 | 3 | 1500 | 0.0015 | 2470 | 2468 | 2 | 1000 | 0.001
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999998 | 999998 | 0 | 0 | 0 | 27 | 20 | 7 | 3500 | 0.0035
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1193 | 1193 | 0 | 0 | 0 | 1664 | 1646 | 18 | 9000 | 0.009
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992783 | 992784 | -1 | -100 | -0.0001 | 3594 | 3375 | 219 | 21900 | 0.0219
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 24 | 17 | 7 | 9333.31 | 0.0093333 | 78 | 72 | 6 | 7999.98 | 0.008
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18906 | 18356 | 550 | 55000 | 0.055 | 6657 | 6603 | 54 | 5400 | 0.0054
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2093 | 1706 | 387 | 38700 | 0.0387 | 224 | 184 | 40 | 4000 | 0.004
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60482 | 60188 | 294 | 29400 | 0.0294 | 2652 | 2638 | 14 | 1400 | 0.0014
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 443 | 443 | 0 | 0 | 0 | 1218 | 1168 | 50 | 6666.5 | 0.0066665
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 9 | 10 | -1 | 400 | 0.0004
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 932131 | 932191 | -60 | -48000 | -0.048 | 999689 | 999693 | -4 | -3200 | -0.0032
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 993634 | 993670 | -36 | -28800 | -0.0288 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957496 | 957496 | 0 | 0 | 0 | 2259 | 2084 | 175 | 35000 | 0.035
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988499 | 988499 | 0 | 0 | 0 | 935 | 895 | 40 | 10000 | 0.01
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979277 | 979278 | -1 | -1000 | -0.001 | 1766 | 1797 | -31 | -31000 | -0.031
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999583 | 999583 | 0 | 0 | 0 | 430 | 285 | 145 | 40781.25 | 0.040781
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -215000 | -162000 | -53000 | -53000 | -0.053 | 0 | 0 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | 953000 | 819000 | 134000 | 134000 | 0.134 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.6805 |  |  |  |  | -7.1227
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 349 | 326 | 23 | -2300 | -0.0023 | 3563 | 3548 | 15 | -1500 | -0.0015
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 667000 | 655500 | 11500 | -9200 | -0.0092 | 9000 | 9000 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 973039 | 973030 | 9 | -4500 | -0.0045 | 992114 | 992095 | 19 | -9500 | -0.0095
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 7199 | 7168 | 31 | -4133.23 | -0.0041332 | 8370 | 8372 | -2 | 266.66 | 0.00026666
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996204 | 996254 | -50 | 9375 | 0.009375 | 998248 | 998257 | -9 | 1687.5 | 0.0016875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
|  | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -298000 | 0 | -298000 | 119200 | 0.1192 | -24000 | -1000 | -23000 | 9200 | 0.0092 | w.e.f 26.09.2023
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991994 | 991994 | 0 | 0 | 0 | 1280 | 954 | 326 | -203750 | -0.20375
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999719 | 999719 | 0 | 0 | 0 | 736 | 750 | -14 | 7000 | 0.007
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991420 | 991420 | 0 | 0 | 0 | 21158 | 20944 | 214 | -42800 | -0.0428
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999969 | 999969 | 0 | 0 | 0 | 999763 | 999812 | -49 | 45937.5 | 0.045937
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980831 | 980831 | 0 | 0 | 0 | 2599 | 2752 | -153 | 28687.5 | 0.028688
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993038 | 993038 | 0 | 0 | 0 | 32118 | 31805 | 313 | -31300 | -0.0313
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.10844 |  |  |  |  | -0.19607
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.6805 |  |  |  |  | -7.1227
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.10844 |  |  |  |  | -0.19607
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.05575 |  |  |  |  | -1.2611
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -7.5163 |  |  |  |  | -8.5798
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.5163 | (REACTIVE MUs) |  |  |  | -8.5798 | (REACTIVE MUs)
Assessment of Reactive energy on SGTN 66KV I/C-I & II for the period Dec-2020 to Dec-2021 due to wrong MF.Total Assessment of (-) 39.766 Mu at 103% and (-) 4.59 MU at 97% will be distributed equally in 4-Months i.e July-2023 to Oct-2023. | [9 empty] | -9.9415 | (REACTIVE MUs) |  |  |  | -1.1475 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.85404 | (REACTIVE MUs) |  |  |  | 0.35701 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.6038 | (REACTIVE MUs) |  |  |  | -9.3703 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 987767 | 987849 | -82 | -82000 | -0.082
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 998126 | 998148 | -22 | -22000 | -0.022
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999432 | 999433 | -1 | -200 | -0.0002 | 968885 | 969354 | -469 | -93800 | -0.0938
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 995752 | 995855 | -103 | -137332.99 | -0.13733
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997311 | 997307 | 4 | 6000 | 0.006 | 997519 | 997561 | -42 | -63000 | -0.063
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18573 | 18580 | -7 | -9333.31 | -0.0093333
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994528 | 994514 | 14 | 14000 | 0.014 | 995190 | 995202 | -12 | -12000 | -0.012
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990608 | 990609 | -1 | -1000 | -0.001 | 985527 | 985504 | 23 | 23000 | 0.023
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 998528 | 998436 | 92 | 73600 | 0.0736
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988553 | 988555 | -2 | -2666.66 | -0.0026667 | 265013 | 265019 | -6 | -7999.98 | -0.008
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 954 | 954 | 0 | 0 | 0 | 104 | 71 | 33 | -219999.978 | -0.22
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34334 | 34333 | 1 | -1000 | -0.001 | 997345 | 997273 | 72 | -72000 | -0.072
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5292 | 5292 | 0 | 0 | 0 | 999509 | 998460 | 1049 | -2098000 | -2.098
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1648 | 1648 | 0 | 0 | 0 | 996149 | 995564 | 585 | -585000 | -0.585
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 0 | 0 | 0 | 0 | 0 | 143 | 18 | 125 | -156250 | -0.15625
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13383 | 13383 | 0 | 0 | 0 | 526 | 241 | 285 | -285000 | -0.285
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38472 | 38472 | 0 | 0 | 0 | 5167 | 4176 | 991 | -1982000 | -1.982
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4088 | 4088 | 0 | 0 | 0 | 999837 | 999779 | 58 | -116000 | -0.116
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 59 | 59 | 0 | 0 | 0 | 1723 | 1350 | 373 | -596800 | -0.5968
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 129169 | 129169 | 0 | 0 | 0 | 7778 | 7419 | 359 | -287200 | -0.2872
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999708 | 999775 | -67 | 167500 | 0.1675 | 999900 | 999906 | -6 | 15000 | 0.015
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952347 | 952408 | -61 | 122000 | 0.122 | 989358 | 989436 | -78 | 156000 | 0.156
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999436 | 999819 | -383 | 766000 | 0.766 | 999993 | 999999 | -6 | 12000 | 0.012
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999363 | 999581 | -218 | 218000 | 0.218 | 999935 | 999942 | -7 | 7000 | 0.007
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997387 | 997379 | 8 | -8000 | -0.008 | 997257 | 997256 | 1 | -1000 | -0.001
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981269 | 981263 | 6 | -6000 | -0.006 | 12976 | 12975 | 1 | -1000 | -0.001
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293850 | 293850 | 0 | 0 | 0 | 140030 | 139800 | 230 | -230000 | -0.23
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7965 | 7965 | 0 | 0 | 0 | 1537 | 1449 | 88 | -176000 | -0.176
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 667000 | 655500 | 11500 | 9200 | 0.0092 | 9000 | 9000 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933189 | 933831 | -642 | 642000 | 0.642 | 965242 | 965244 | -2 | 2000 | 0.002
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993043 | 993742 | -699 | 699000 | 0.699 | 999495 | 999503 | -8 | 8000 | 0.008
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 672 | 500 | 172 | -172000 | -0.172 | 999976 | 999970 | 6 | -6000 | -0.006
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41381 | 41381 | 0 | 0 | 0 | 14816 | 12268 | 2548 | -2038400 | -2.0384
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63149 | 63149 | 0 | 0 | 0 | 60759 | 60699 | 60 | -96000 | -0.096
[5 empty] | -1600 | [5 empty] | 62366 | 61250 | 1116 | -1785600 | -1.7856
[5 empty] | -1600 | [5 empty] | 76810 | 76717 | 93 | -148800 | -0.1488
|  | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 0 | 0 | 0 | 0 | 0 | 104 | 35 | 69 | -82800 | -0.0828 | w.e.f 29.09.2023
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999792 | 999907 | -115 | 230000 | 0.23 | 1144 | 1145 | -1 | 2000 | 0.002
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 321 | 353 | -32 | 32000 | 0.032 | 999952 | 999975 | -23 | 23000 | 0.023
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24000 | 24053 | -53 | 53000 | 0.053 | 31049 | 31051 | -2 | 2000 | 0.002
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5550 | 5546 | 4 | -4000 | -0.004 | 996802 | 996803 | -1 | 1000 | 0.001
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1246 | 1235 | 11 | -11000 | -0.011 | 1598 | 1617 | -19 | 19000 | 0.019
BRPL(+) continue | [14 empty] | SEPTEMBER-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6779 | 6779 | 0 | 0 | 0 | 64 | 12 | 52 | -52000 | -0.052
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25125 | 25122 | 3 | -3000 | -0.003 | 920 | 779 | 141 | -141000 | -0.141 | Data upto 27.09.2023
[10 empty] | -0.00023 |  |  |  |  | -0.0108 | assessment 2 days
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40795 | 40763 | 32 | -32000 | -0.032 | 968788 | 968782 | 6 | -6000 | -0.006
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7703 | 7699 | 4 | -4000 | -0.004 | 3172 | 3086 | 86 | -86000 | -0.086 | Data upto 11.09.2023
[10 empty] | -0.00121 |  |  |  |  | -0.0334 | assessment 7days
|  | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 24 | -24000 | -0.024 | w.e.f 18.09.2023
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 16787 | 16762 | 25 | -12500 | -0.0125 | 1923 | 1795 | 128 | -64000 | -0.064
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2550 | 2548 | 2 | -5000 | -0.005 | 1133 | 1090 | 43 | -107500 | -0.1075
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4577 | 4573 | 4 | -8000 | -0.008 | 1084 | 1011 | 73 | -146000 | -0.146
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99179 | 99153 | 26 | -26000 | -0.026 | 996809 | 996859 | -50 | 50000 | 0.05
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70570 | 70384 | 186 | -372000 | -0.372 | 999341 | 999343 | -2 | 4000 | 0.004
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 10207 | 10014 | 193 | -289500 | -0.2895 | 57 | 54 | 3 | -4500 | -0.0045
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15264 | 15214 | 50 | -50000 | -0.05 | 999997 | 999996 | 1 | -1000 | -0.001
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996816 | 0 | 0 | 0 | 161 | 60 | 101 | -101000 | -0.101
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991324 | 991325 | -1 | 1000 | 0.001 | 994740 | 994707 | 33 | -33000 | -0.033
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989575 | 989578 | -3 | 3000 | 0.003 | 986740 | 986727 | 13 | -13000 | -0.013
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993837 | 993842 | -5 | -20000 | -0.02 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 962072 | 962127 | -55 | -44000 | -0.044 | 625 | 625 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 906394 | 906473 | -79 | -63200 | -0.0632 | 999425 | 999427 | -2 | -1600 | -0.0016
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 192 | 179 | 13 | 10400 | 0.0104 | 4 | 1 | 3 | 2400 | 0.0024
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992676 | 992683 | -7 | -5600 | -0.0056 | 58 | 55 | 3 | 2400 | 0.0024
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 985129 | 985129 | 0 | 0 | 0 | 999447 | 999736 | -289 | -231200 | -0.2312
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 983297 | 983463 | -166 | -132800 | -0.1328 | 999968 | 999974 | -6 | -4800 | -0.0048
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 128790 | 128743 | 47 | -94000 | -0.094 | 7520 | 7445 | 75 | -150000 | -0.15
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19648 | 19647 | 1 | -1000 | -0.001 | 15855 | 13130 | 2725 | -2725000 | -2.725
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142695 | 142668 | 27 | -27000 | -0.027 | 3498 | 3415 | 83 | -83000 | -0.083
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 349 | 326 | 23 | 2300 | 0.0023 | 3563 | 3548 | 15 | 1500 | 0.0015
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996204 | 996254 | -50 | -9375 | -0.009375 | 998248 | 998257 | -9 | -1687.5 | -0.0016875
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998234 | 998243 | -9 | -9000 | -0.009 | 417 | 412 | 5 | 5000 | 0.005
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997809 | 997813 | -4 | -4000 | -0.004 | 397 | 393 | 4 | 4000 | 0.004
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
|  | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -298000 | 0 | -298000 | -119200 | -0.1192 | -24000 | -1000 | -23000 | -9200 | -0.0092 | w.e.f 26.09.2023
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 946 | 923 | 23 | 23000 | 0.023 | 999777 | 999764 | 13 | 13000 | 0.013 | Data upto 26.09.2023
[10 empty] | 0.00368 |  |  |  |  | 0.0021 | assessment 4 days
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997068 | 997067 | 1 | 1000 | 0.001 | 999564 | 999575 | -11 | -11000 | -0.011
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999982 | 999992 | -10 | -1000 | -0.001 | 999678 | 999709 | -31 | -3100 | -0.0031
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 44 | 26 | 18 | 3600 | 0.0036 | 407 | 299 | 108 | 21600 | 0.0216
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8138 | 8138 | 0 | 0 | 0 | 3031 | 3074 | -43 | -21500 | -0.0215
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994219 | 994219 | 0 | 0 | 0 | 4162 | 4167 | -5 | -5000 | -0.005
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980418 | 980418 | 0 | 0 | 0 | 511 | 512 | -1 | -1000 | -0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7525 | 7524 | 1 | 1000 | 0.001 | 6946 | 6926 | 20 | 20000 | 0.02
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993507 | 993507 | 0 | 0 | 0 | 405 | 338 | 67 | 10050 | 0.01005
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 154220 | 154219 | 1 | 100 | 0.0001 | 912389 | 912250 | 139 | 13900 | 0.0139
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2987 | 2987 | 0 | 0 | 0 | 648 | 651 | -3 | -800.01 | -0.00080001
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5426 | 5426 | 0 | 0 | 0 | 8091 | 8074 | 17 | 17000 | 0.017 | Data upto 25.09.2023
|  | 5269780 | ELSTER | Kvarh(Lead/Lag) | 2000 | 3115 | 3115 | 0 | 0 | 0 | 31738 | 31736 | 2 | 4000 | 0.004 | check meter
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991420 | 991420 | 0 | 0 | 0 | 21158 | 20944 | 214 | 42800 | 0.0428
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999969 | 999969 | 0 | 0 | 0 | 999763 | 999812 | -49 | -45937.5 | -0.045937
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980831 | 980831 | 0 | 0 | 0 | 2599 | 2752 | -153 | -28687.5 | -0.028688
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993038 | 993038 | 0 | 0 | 0 | 32118 | 31805 | 313 | 31300 | 0.0313
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.4683 |  |  |  |  | -14.9494
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21905 | 21912 | -7 | 3500 | 0.0035 | 6207 | 6202 | 5 | -2500 | -0.0025
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992416 | 992416 | 0 | 0 | 0 | 2345 | 3760 | -1415 | 188661.95 | 0.18866
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999811 | 999811 | 0 | 0 | 0 | 548 | 313 | 235 | -156666.745 | -0.15667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 488 | 607 | -119 | 119000 | 0.119
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989498 | 989506 | -8 | 8000 | 0.008 | 2693 | 2636 | 57 | -57000 | -0.057
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2840 | 2840 | 0 | 0 | 0 | 45746 | 45170 | 576 | -92160 | -0.09216
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3851 | 3851 | 0 | 0 | 0 | 26684 | 25478 | 1206 | -241200 | -0.2412
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968267 | 968270 | -3 | 3000 | 0.003 | 999626 | 999520 | 106 | -106000 | -0.106
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 789 | 772 | 17 | -1700 | -0.0017 | 3590 | 3306 | 284 | -28400 | -0.0284
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5045 | 4985 | 60 | -6000 | -0.006 | 5917 | 5789 | 128 | -12800 | -0.0128
12 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 209 | 209 | 0 | 0 | 0 | 6464 | 5411 | 1053 | 877496.49 | 0.8775
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 7629 | 6497 | 1132 | -707500 | -0.7075
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999999 | -4 | 1066.668 | 0.0010667
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3230 | 3230 | 0 | 0 | 0 | 35436 | 35243 | 193 | -19300 | -0.0193
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 747 | 744 | 3 | -3999 | -0.003999 | 640 | 638 | 2 | -2666 | -0.002666
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1641 | 1636 | 5 | -500 | -0.0005 | 12125 | 11885 | 240 | -24000 | -0.024
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1821 | 1816 | 5 | -4000 | -0.004 | 1582 | 1321 | 261 | -208800 | -0.2088
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979277 | 979278 | -1 | 1000 | 0.001 | 1766 | 1797 | -31 | 31000 | 0.031
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999583 | 999583 | 0 | 0 | 0 | 430 | 285 | 145 | -40781.25 | -0.040781
FED FROM BRPL(RLY.)
31 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.12 | 0 | 0 | 0 | 41.21 | 32.64 | 8.57 | -5142 | -0.005142
32 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.19 | 0.19 | 0 | 0 | 0 | 20.6 | 12.42 | 8.18 | -24540 | -0.02454
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.000699 |  |  |  |  | -0.51223
SEPTEMBER-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.4683 |  |  |  |  | -14.9494
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.000699 |  |  |  |  | -0.51223
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.13761 |  |  |  |  | -0.0038667
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.002 |  |  |  |  | -0.21648
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.6032 |  |  |  |  | -15.682
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.6032 | (REACTIVE MUs) |  |  |  | -15.682 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.1778 | (REACTIVE MUs) |  |  |  | 0.49533 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.781 | (REACTIVE MUs) |  |  |  | -15.1866 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36309 | 36292 | 17 | 4539 | 0.004539 | 978258 | 978508 | -250 | -66750 | -0.06675
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999999 | 999999 | 0 | 0 | 0 | 999098 | 999110 | -12 | -48000 | -0.048
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 33730 | 33718 | 12 | 1599.96 | 0.0016
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999600 | 999602 | -2 | -2000 | -0.002 | 998596 | 998599 | -3 | -3000 | -0.003
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999275 | 999273 | 2 | 3200 | 0.0032
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 3215 | 3240 | -25 | -33333.25 | -0.033333
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999338 | 999339 | -1 | -200 | -0.0002 | 991487 | 991613 | -126 | -25200 | -0.0252
RPH
8 | KAMLA MKT.-2 | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999972 | 999974 | -2 | -8000 | -0.008 | 999976 | 999977 | -1 | -4000 | -0.004
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982814 | 982814 | 0 | 0 | 0 | 557 | 512 | 45 | 22500 | 0.0225
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997232 | 997232 | 0 | 0 | 0 | 999768 | 999789 | -21 | -21000 | -0.021
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982509 | 982509 | 0 | 0 | 0 | 1004 | 1003 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999965 | 999965 | 0 | 0 | 0 | 3167 | 2537 | 630 | 839997.9 | 0.84
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993353 | 993353 | 0 | 0 | 0 | 994589 | 994737 | -148 | -148000 | -0.148
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992495 | 992495 | 0 | 0 | 0 | 999686 | 999559 | 127 | 127000 | 0.127
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6681 | 6802 | -121 | -96800 | -0.0968
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14637 | 14637 | 0 | 0 | 0 | 8662 | 8610 | 52 | 6933.16 | 0.0069332
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999864 | 999865 | -1 | -1000 | -0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 425 | 425 | 0 | 0 | 0 | 16409 | 16551 | -142 | -142000 | -0.142
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 943884 | 944254 | -370 | -462500 | -0.4625 | 947108 | 947112 | -4 | -5000 | -0.005
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923093 | 923780 | -687 | -687000 | -0.687 | 933434 | 933436 | -2 | -2000 | -0.002
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999431 | 999431 | 0 | 0 | 0 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.1495 |  |  |  |  | -0.007
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27 | 27 | 0 | 0 | 0 | 999807 | 999978 | -171 | 171000 | 0.171
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6647 | 6637 | 10 | -10000 | -0.01 | 985199 | 985285 | -86 | 86000 | 0.086
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 9 | 10 | -1 | -400 | -0.0004
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998893 | 998893 | 0 | 0 | 0 | 11691 | 11727 | -36 | -36000 | -0.036
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4760 | 4760 | 0 | 0 | 0 | 2035 | 1342 | 693 | -693000 | -0.693
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -750 | 1301 | 1301 | 0 | 0 | 0 | 1702 | 1702 | 0 | 0 | 0
|  | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25.09.2023
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12020 | 12022 | -2 | 2000 | 0.002 | 999198 | 999205 | -7 | 7000 | 0.007
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7177 | 7138 | 39 | -39000 | -0.039 | 998041 | 998084 | -43 | 43000 | 0.043
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 988997 | 988985 | 12 | -12000 | -0.012
[5 empty] | -1000 | [5 empty] | 1011783 | 1011099 | 684 | -684000 | -0.684
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 6211 | 5467 | 744 | -744000 | -0.744
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3066 | 3066 | 0 | 0 | 0 | 439 | 385 | 54 | -270000 | -0.27
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 973039 | 973030 | 9 | 4500 | 0.0045 | 992114 | 992095 | 19 | 9500 | 0.0095
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 7199 | 7168 | 31 | 4133.23 | 0.0041332 | 8370 | 8372 | -2 | -266.66 | -0.00026666
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992416 | 992416 | 0 | 0 | 0 | 2345 | 3760 | -1415 | -188195 | -0.1882
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975661 | 975536 | 125 | -125000 | -0.125 | 990269 | 990271 | -2 | 2000 | 0.002
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962538 | 962444 | 94 | -94000 | -0.094 | 969523 | 969524 | -1 | 1000 | 0.001
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | -1018000 | -898000 | -120000 | 120000 | 0.12 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 481000 | 480000 | 1000 | -1000 | -0.001 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.2935 |  |  |  |  | -1.9022
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.2935 |  |  |  |  | -1.9022
SEPTEMBER-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 625 | 625 | 0 | 0 | 0 | 375 | 361 | 14 | -14000 | -0.014
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982098 | 982098 | 0 | 0 | 0 | 934023 | 933960 | 63 | -63000 | -0.063
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247 | 247 | 0 | 0 | 0 | 59 | 62 | -3 | 3000 | 0.003
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2327 | 2350 | -23 | 23000 | 0.023 | 999755 | 999759 | -4 | 4000 | 0.004
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41751 | 41747 | 4 | -4000 | -0.004 | 998844 | 998737 | 107 | -107000 | -0.107
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24748 | 24717 | 31 | -15500 | -0.0155 | 1462 | 1366 | 96 | -48000 | -0.048
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 415 | 423 | -8 | 8000 | 0.008 | 47 | 33 | 14 | -14000 | -0.014
8 | 100MVA Tx.3 (33 KV) | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999986 | 999989 | -3 | 3000 | 0.003 | 999911 | 999933 | -22 | 22000 | 0.022 | Data upto 11.09.2023
[10 empty] | 0.00091 |  |  |  |  | 0.0073 | assessment 7 days
|  | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | 2000 | 0.002 | w.e.f 18.09.2023
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1903 | 1912 | -9 | 9000 | 0.009 | 97 | 81 | 16 | -16000 | -0.016
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52 | 52 | 0 | 0 | 0 | 857 | 295 | 562 | -562000 | -0.562
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 1157 | 0 | 0 | 0 | 1505 | 857 | 648 | -648000 | -0.648
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14052 | 14045 | 7 | -35000 | -0.035 | 744 | 602 | 142 | -710000 | -0.71
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30496 | 30394 | 102 | -102000 | -0.102 | 484 | 478 | 6 | -6000 | -0.006
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10767 | 10462 | 305 | -305000 | -0.305 | 912 | 913 | -1 | 1000 | 0.001
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.41759 |  |  |  |  | -2.1487
| (B) NET ENERGY TO EAST | [8 empty] | -0.41759 |  |  |  |  | -2.1487
SEPTEMBER-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991037 | 991111 | -74 | 19733.58 | 0.019734 | 999964 | 999965 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1 | 1 | 0 | 0 | 0 | 69 | 63 | 6 | -12000 | -0.012
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 733 | 736 | -3 | 799.98 | 0.00079998 | 2149 | 2164 | -15 | 3999.9 | 0.0039999
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 10372 | 10320 | 52 | -5200 | -0.0052 | 1575 | 1442 | 133 | -13300 | -0.0133
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 972705 | 972725 | -20 | 4000 | 0.004 | 240 | 160 | 80 | -16000 | -0.016
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 779 | 789 | -10 | 10000 | 0.01 | 365 | 366 | -1 | 1000 | 0.001
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 4 | 4 | 0 | 0 | 0 | 1062 | 772 | 290 | -232000 | -0.232
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1823 | 1823 | 0 | 0 | 0 | 2249 | 2129 | 120 | -96000 | -0.096
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942044 | 942044 | 0 | 0 | 0 | 987578 | 987845 | -267 | 213600 | 0.2136
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992330 | 992330 | 0 | 0 | 0 | 998171 | 998394 | -223 | 446000 | 0.446
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993408 | 993408 | 0 | 0 | 0 | 24334 | 24442 | -108 | 108000 | 0.108
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999852 | 3 | -1500 | -0.0015 | 2470 | 2468 | 2 | -1000 | -0.001
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999998 | 999998 | 0 | 0 | 0 | 27 | 20 | 7 | -3500 | -0.0035
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1193 | 1193 | 0 | 0 | 0 | 1664 | 1646 | 18 | -9000 | -0.009
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60482 | 60188 | 294 | -29400 | -0.0294 | 2652 | 2638 | 14 | -1400 | -0.0014
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 443 | 443 | 0 | 0 | 0 | 1218 | 1168 | 50 | -6666.5 | -0.0066665
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992783 | 992784 | -1 | 100 | 0.0001 | 3594 | 3375 | 219 | -21900 | -0.0219
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 24 | 17 | 7 | -9333.31 | -0.0093333 | 78 | 72 | 6 | -7999.98 | -0.008
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18906 | 18356 | 550 | -55000 | -0.055 | 6657 | 6603 | 54 | -5400 | -0.0054
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2093 | 1706 | 387 | -38700 | -0.0387 | 224 | 184 | 40 | -4000 | -0.004
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 87860 | 87270 | 590 | -590 | -0.00059 | 397500 | 389400 | 8100 | -8100 | -0.0081
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 53830 | 50680 | 3150 | -3150 | -0.00315 | 634049 | 626889 | 7160 | -7160 | -0.00716
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 324400 | 308700 | 15700 | -15700 | -0.0157 | 2143800 | 2113799 | 30001 | -30001 | -0.030001
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -215000 | -162000 | -53000 | 53000 | 0.053 | 0 | 0 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | 953000 | 819000 | 134000 | -134000 | -0.134 | 0 | 0 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 22.02 | 20.5 | 1.52 | -1824 | -0.001824 | 33.82 | 27.05 | 6.77 | -8124 | -0.008124
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 1.17 | 0.52 | 0.65 | -780 | -0.00078 | 104.59 | 85.56 | 19.03 | -22836 | -0.022836
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 2.15 | 0.39 | 1.76 | -2112 | -0.002112 | 34.3 | 32.48 | 1.82 | -2184 | -0.002184
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.91 | 0.91 | 0 | 0 | 0 | 44.5 | 38.87 | 5.63 | -6756 | -0.006756
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0 | 0 | 0 | 0 | 0 | 18.52 | 13.38 | 5.14 | -15420 | -0.01542
[10 empty] | -0.20966 |  |  |  |  | 0.24212
SEPTEMBER-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.2935 |  |  |  |  | -1.9022
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.20966 |  |  |  |  | 0.24212
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.5032 |  |  |  |  | -1.6601
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.41759 |  |  |  |  | -2.1487
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.9208 |  |  |  |  | -3.8088
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.9208 | (REACTIVE MUs) |  |  |  | -3.8088 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.62486 | (REACTIVE MUs) |  |  |  | 0.27745 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.2959 | (REACTIVE MUs) |  |  |  | -3.5313 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 733 | 736 | -3 | -800.01 | -0.00080001 | 2149 | 2164 | -15 | -4000.05 | -0.004
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 10372 | 10320 | 52 | 5200 | 0.0052 | 1575 | 1442 | 133 | 13300 | 0.0133
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 972705 | 972725 | -20 | -4000 | -0.004 | 240 | 160 | 80 | 16000 | 0.016
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 779 | 789 | -10 | -10000 | -0.01 | 365 | 366 | -1 | -1000 | -0.001
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 4 | 4 | 0 | 0 | 0 | 1062 | 772 | 290 | 232000 | 0.232
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1823 | 1823 | 0 | 0 | 0 | 2249 | 2129 | 120 | 96000 | 0.096
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942044 | 942044 | 0 | 0 | 0 | 987578 | 987845 | -267 | -213600 | -0.2136
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992330 | 992330 | 0 | 0 | 0 | 998171 | 998394 | -223 | -446000 | -0.446
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952723 | 952726 | -3 | -150 | -0.00015 | 31300 | 30685 | 615 | 30750 | 0.03075
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998966 | 998974 | -8 | -800 | -0.0008 | 3325 | 2885 | 440 | 44000 | 0.044
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997779 | -1 | -500 | -0.0005 | 9153 | 9299 | -146 | -73000 | -0.073
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999829 | 999829 | 0 | 0 | 0 | 995328 | 995545 | -217 | -21700 | -0.0217
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4553 | 4488 | 65 | 86666.45 | 0.086666
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999860 | 999862 | -2 | -2666.66 | -0.0026667 | 4097 | 4076 | 21 | 27999.93 | 0.028
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991385 | 991420 | -35 | -35000 | -0.035 | 399 | 364 | 35 | 35000 | 0.035
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976206 | 976344 | -138 | -138000 | -0.138 | 3090 | 3099 | -9 | -9000 | -0.009
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996791 | 996804 | -13 | -32500 | -0.0325 | 231 | 222 | 9 | 22500 | 0.0225
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993508 | 993572 | -64 | -160000 | -0.16 | 512 | 510 | 2 | 5000 | 0.005
[10 empty] | -0.3655 |  |  |  |  | 0.0535
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989498 | 989506 | -8 | -8000 | -0.008 | 2693 | 2636 | 57 | 57000 | 0.057
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2840 | 2840 | 0 | 0 | 0 | 45746 | 45170 | 576 | 92160 | 0.09216
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3851 | 3851 | 0 | 0 | 0 | 26684 | 25478 | 1206 | 241200 | 0.2412
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968267 | 968270 | -3 | -3000 | -0.003 | 999626 | 999520 | 106 | 106000 | 0.106
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 209 | 209 | 0 | 0 | 0 | 6464 | 5411 | 1053 | -877496.49 | -0.8775
SEPTEMBER-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 627 | 644 | -17 | 17000 | 0.017 | 989168 | 989198 | -30 | 30000 | 0.03 | Data upto 26.09.2023
[10 empty] | 0.00272 |  |  |  |  | 0.0048 | assessment 4 days
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3111 | 3134 | -23 | 23000 | 0.023 | 995101 | 995121 | -20 | 20000 | 0.02
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998318 | 998324 | -6 | 12000 | 0.012 | 994609 | 994726 | -117 | 234000 | 0.234
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999884 | 999900 | -16 | 16000 | 0.016 | 998792 | 999134 | -342 | 342000 | 0.342
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 7629 | 6497 | 1132 | 707500 | 0.7075
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 789 | 772 | 17 | 1700 | 0.0017 | 3590 | 3306 | 284 | 28400 | 0.0284
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5045 | 4985 | 60 | 6000 | 0.006 | 5917 | 5789 | 128 | 12800 | 0.0128
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21905 | 21912 | -7 | -3500 | -0.0035 | 6207 | 6202 | 5 | 2500 | 0.0025
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946 | 923 | 23 | -23000 | -0.023 | 999777 | 999764 | 13 | -13000 | -0.013 | Data upto 26.09.2023
[10 empty] | -0.00368 |  |  |  |  | -0.0021 | assessment 4 days
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997068 | 997067 | 1 | -1000 | -0.001 | 999564 | 999575 | -11 | 11000 | 0.011
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999982 | 999992 | -10 | 1000 | 0.001 | 999678 | 999709 | -31 | 3100 | 0.0031
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 44 | 26 | 18 | -3600 | -0.0036 | 407 | 299 | 108 | -21600 | -0.0216
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.34558 |  |  |  |  | 0.81918
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.34558 |  |  |  |  | 0.81918
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.36429 |  |  |  |  | 0.058531
| TOTAL ENERGY TO NDMC | [8 empty] | -0.70986 |  |  |  |  | 0.87771

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4282 | 5 | 1000 | 0.001 | 82181 | 82135 | 46 | 9200 | 0.0092
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999495 | 999495 | 0 | 0 | 0 | 32964 | 32964 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999924 | 999925 | -1 | -200 | -0.0002 | 2316 | 2328 | -12 | -2400 | -0.0024
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999872 | 999872 | 0 | 0 | 0 | 20105 | 20073 | 32 | 12800 | 0.0128
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999276 | 999283 | -7 | -5600 | -0.0056 | 744 | 757 | -13 | -10400 | -0.0104
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2351 | 2349 | 2 | 800 | 0.0008 | 6803 | 6773 | 30 | 12000 | 0.012
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999811 | 999811 | 0 | 0 | 0 | 548 | 313 | 235 | 156666.745 | 0.15667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 488 | 607 | -119 | -119000 | -0.119
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.004 |  |  |  |  | 0.058867
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 39 | 35 | 4 | 2000 | 0.002 | 781 | 704 | 77 | 38500 | 0.0385
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 88 | 88 | 0 | 0 | 0 | 1846 | 1846 | 0 | 0 | 0
11 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4407 | 4407 | 0 | 0 | 0 | 72554 | 70181 | 2373 | 177975 | 0.17797
12 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 6 | 6 | 0 | 0 | 0 | 310 | 310 | 0 | 0 | 0
13 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 6011 | 6011 | 0 | 0 | 0
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8853 | 8853 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.002 |  |  |  |  | 0.21648
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.004 |  |  |  |  | 0.058867
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.002 |  |  |  |  | 0.27534
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.002 | (REACTIVE MUs) |  |  |  | 0.27534 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10605 | (REACTIVE MUs) |  |  |  | 0.0001818 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.10805 | (REACTIVE MUs) |  |  |  | 0.27552 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991994 | 991994 | 0 | 0 | 0 | 1280 | 954 | 326 | 203750 | 0.20375
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999719 | 999719 | 0 | 0 | 0 | 736 | 750 | -14 | -7000 | -0.007
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1821 | 1816 | 5 | 4000 | 0.004 | 1582 | 1321 | 261 | 208800 | 0.2088
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 87860 | 87270 | 590 | 590 | 0.00059 | 397500 | 389400 | 8100 | 8100 | 0.0081
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 53830 | 50680 | 3150 | 3150 | 0.00315 | 634049 | 626889 | 7160 | 7160 | 0.00716
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 324400 | 308700 | 15700 | 15700 | 0.0157 | 2143800 | 2113799 | 30001 | 30001 | 0.030001
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 22.02 | 20.5 | 1.52 | 1824 | 0.001824 | 33.82 | 27.05 | 6.77 | 8124 | 0.008124
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 1.17 | 0.52 | 0.65 | 780 | 0.00078 | 104.59 | 85.56 | 19.03 | 22836 | 0.022836
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 2.15 | 0.39 | 1.76 | 2112 | 0.002112 | 34.3 | 32.48 | 1.82 | 2184 | 0.002184
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.91 | 0.91 | 0 | 0 | 0 | 44.5 | 38.87 | 5.63 | 6756 | 0.006756
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0 | 0 | 0 | 0 | 0 | 18.52 | 13.38 | 5.14 | 15420 | 0.01542
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.12 | 0 | 0 | 0 | 41.21 | 32.64 | 8.57 | 5142 | 0.005142
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.19 | 0.19 | 0 | 0 | 0 | 20.6 | 12.42 | 8.18 | 24540 | 0.02454
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.028156 |  |  |  |  | 0.53581
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0035861 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.031742 |  |  |  |  | 0.53581

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993092 | 993144 | -52 | -26000 | -0.026 | 999251 | 999258 | -7 | -3500 | -0.0035
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18596 | 18477 | 119 | 11900 | 0.0119 | 986609 | 986601 | 8 | 800 | 0.0008
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 389 | 391 | -2 | -1666.666 | -0.0016667 | 289 | 252 | 37 | 30833.321 | 0.030833
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997037 | 996955 | 82 | 76875 | 0.076875 | 998813 | 998813 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999232 | 999295 | -63 | 63000 | 0.063 | 998645 | 998652 | -7 | 7000 | 0.007
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994025 | 994052 | -27 | 13500 | 0.0135 | 514 | 436 | 78 | -39000 | -0.039
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.13761 |  |  |  |  | -0.0038667
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999152 | 999080 | 72 | 90000 | 0.09 | 998445 | 998448 | -3 | -3750 | -0.00375
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998387 | 998389 | -2 | -1875 | -0.001875 | 999361 | 999460 | -99 | -92812.5 | -0.092813
[5 empty] | 937.5 | 998326 | 998326 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993204 | 993218 | -14 | -1750 | -0.00175 | 994664 | 995530 | -866 | -108250 | -0.10825
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999321 | 999351 | -30 | -37500 | -0.0375 | 999939 | 999940 | -1 | -1250 | -0.00125
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998111 | 998162 | -51 | -51000 | -0.051 | 999483 | 999490 | -7 | -7000 | -0.007
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965500 | 965494 | 6 | 6000 | 0.006 | 988929 | 989977 | -1048 | -1048000 | -1.048
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999725 | 999808 | -83 | 51875 | 0.051875 | 999740 | 999740 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.05575 |  |  |  |  | -1.2611
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.13761 |  |  |  |  | -0.0038667
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.05575 |  |  |  |  | -1.2611

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2023 | INTIAL READING 01/09/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 16147 | 15747 | 400 | 800000 | 0.8 | 999980 | 999982 | -2 | -4000 | -0.004
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 7207 | 6811 | 396 | 792000 | 0.792 | 999976 | 999978 | -2 | -4000 | -0.004
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 1.592 |  |  |  |  | -0.008
[7 empty] | Generation at feeders |  | = | -1.515 |  |  |  |  | 0.0465
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 3.107 |  |  |  |  | -0.0545
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 0.92185 |  |  |  |  | -0.01617
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 1.2903 |  |  |  |  | -0.022634
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 0.70653 |  |  |  |  | -0.012393
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.1538 |  |  |  |  | -0.0026978
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 999740 | 999874 | -134 | 134000 | 0.134 | 999518 | 999555 | -37 | 37000 | 0.037
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.134 |  |  |  |  | 0.037
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.039128 |  |  |  |  | 0.010804
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.056025 |  |  |  |  | 0.01547
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.032026 |  |  |  |  | 0.008843
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.0068206 |  |  |  |  | 0.0018833
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 193916 | 192486 | 1430 | -1072500 | -1.0725 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 5966 | 5035 | 931 | -931000 | -0.931 | 4 | 7 | -3 | 3000 | 0.003
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993044 | 993263 | -219 | 164250 | 0.16425 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.8392 |  |  |  |  | 0.003
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.35461 |  |  |  |  | 0.0005784
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.52032 |  |  |  |  | 0.0008487
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.29557 |  |  |  |  | 0.0004821
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.55729 |  |  |  |  | 0.000909
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.11146 |  |  |  |  | 0.0001818
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 317478 | 325705 | -8227 | 822700 | 0.8227 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.8227 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 26 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.1051 | % |  |  | 0.24767 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.759 | % |  |  | 0.35178 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.106 | % |  |  | 0.18187 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9369 | % |  |  | 0.032389 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6571 | % |  |  | 0.005406 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4359 | % |  |  | 0.0035861 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.53 | -1.53 | 0 | 0 | 0 | -27.19 | -22.18 | -5.01 | 1202400 | 1.2024
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0 |  |  |  |  | 0.3618
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0 |  |  |  |  | 0.50164
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0 |  |  |  |  | 0.28052
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0 |  |  |  |  | 0.058437
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 0.85404 |  |  |  |  | 0.35701
2) | BRPL |  |  |  | = |  |  |  |  | 1.1778 |  |  |  |  | 0.49533
3) | BYPL |  |  |  | = |  |  |  |  | 0.62486 |  |  |  |  | 0.27745
4) | NDMC |  |  |  | = |  |  |  |  | -0.36429 |  |  |  |  | 0.058531
5) | MES |  |  |  | = |  |  |  |  | -0.10605 |  |  |  |  | 0.0001818
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0035861 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2023 TO 30th SEPTEMBER-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -16.6038 |  | -9.3703
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.781 |  | -15.1866
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.2959 |  | -3.5313
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.70986 | + | 0.87771
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.10805 | + | 0.27552
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.031742 | + | 0.53581
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department