## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965081 | 965265 | -184 | 184000 | 0.184 | 998185 | 998186 | -1 | 1000 | 0.001
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83063 | 81274 | 1789 | -3578000 | -3.578 | 2362 | 2361 | 1 | -2000 | -0.002
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949 | 752 | 197 | -197000 | -0.197 | 6 | 6 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998191 | 997915 | 276 | -276000 | -0.276 | 993207 | 993213 | -6 | 6000 | 0.006
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894352 | 893784 | 568 | -568000 | -0.568 | 987831 | 987824 | 7 | -7000 | -0.007
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34745 | 32373 | 2372 | -2372000 | -2.372 | 16120 | 16120 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9117 | 6900 | 2217 | -2217000 | -2.217 | 998092 | 998092 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4872 | 3385 | 1487 | -1487000 | -1.487 | 998253 | 998253 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 966924 | 965744 | 1180 | -590000 | -0.59 | 843885 | 843885 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1997 | 2218 | -221 | 221000 | 0.221 | 998306 | 998306 | 0 | 0 | 0
11 | Tx.-2 | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47896 | 46563 | 1333 | -1333000 | -1.333 | 998329 | 998329 | 0 | 0 | 0 | Check Meter Data
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28869 | 24460 | 4409 | -4409000 | -4.409 | 996893 | 996893 | 0 | 0 | 0
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 10049 | 8050 | 1999 | -1999 | -1.999 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 809903 | 813001 | -3098 | -3098000 | -3.098 | 999976 | 999981 | -5 | -5000 | -0.005
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 905860 | 912773 | -6913 | -6913000 | -6.913 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7480 | 5035 | 2445 | -2445000 | -2.445 | 999999 | 999999 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 49214 | 41872 | 7342 | -3671000 | -3.671 | 999984 | 999984 | 0 | 0 | 0
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46712 | 44868 | 1844 | -1844000 | -1.844 | 123 | 97 | 26 | -26000 | -0.026
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999932 | -2 | -2000 | -0.002 | 991978 | 992007 | -29 | -29000 | -0.029
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 480 | -28 | -28000 | -0.028 | 21870 | 21893 | -23 | -23000 | -0.023
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1355 | 2 | 1000 | 0.001 | 12196 | 12188 | 8 | 4000 | 0.004
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2547 | 1789 | 758 | 37900 | 0.0379 | 53757 | 53640 | 117 | 5850 | 0.00585
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995075 | 995138 | -63 | -63000 | -0.063 | 983582 | 983596 | -14 | -14000 | -0.014
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999591 | 999623 | -32 | -32000 | -0.032 | 302 | 296 | 6 | 6000 | 0.006
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 54870 | 55964 | -1094 | -109400 | -0.1094 | 189838 | 189840 | -2 | -200 | -0.0002
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 962641 | 964910 | -2269 | -2269000 | -2.269 | 999810 | 999810 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 967254 | 974228 | -6974 | -3487000 | -3.487 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996668 | 997282 | -614 | -163735.38 | -0.16374 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1724 | 1593 | 131 | 65500 | 0.0655 | 999915 | 999915 | 0 | 0 | 0
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37276 | 35423 | 1853 | -1853000 | -1.853 | 996473 | 996473 | 0 | 0 | 0
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 188776 | 185106 | 3670 | -1835000 | -1.835 | 14691 | 14691 | 0 | 0 | 0
[5 empty] | -500 | 184743 | 183035 | 1708 | -854000 | -0.854
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3110 | 2368 | 742 | -1484000 | -1.484 | 999975 | 999975 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31857 | 27151 | 4706 | -4706000 | -4.706 | 999957 | 999957 | 0 | 0 | 0
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 75532 | 69979 | 5553 | -11106000 | -11.106 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81495 | 77581 | 3914 | -3914000 | -3.914 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 153196 | 146140 | 7056 | -7056000 | -7.056 | 2795 | 2795 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7490 | 5290 | 2200 | -4400000 | -4.4 | 1 | 1 | 0 | 0 | 0
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51327 | 46784 | 4543 | -4543000 | -4.543 | 1179 | 1179 | 0 | 0 | 0
WAZIRPUR
39 | Tx.1 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000342 | 999346 | 996 | -996000 | -0.996 | 999958 | 999958 | 0 | 0 | 0 | Check Meter Data
40 | Tx.2 | 5269750 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40742 | 38888 | 1854 | -1854000 | -1.854 | 1466 | 1466 | 0 | 0 | 0 | Check Meter Data
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999980 | 1000080 | -100 | -100000 | -0.1 | 27903 | 27947 | -44 | -44000 | -0.044
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MARCH-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 1009 | -37 | -37000 | -0.037 | 61255 | 61255 | 0 | 0 | 0
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999465 | 999500 | -35 | -3500 | -0.0035 | 999167 | 999226 | -59 | -5900 | -0.0059
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2946 | 2834 | 112 | 11200 | 0.0112 | 28810 | 28769 | 41 | 4100 | 0.0041
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 772 | 769 | 3 | 3999 | 0.003999 | 492 | 491 | 1 | 1333 | 0.001333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1865 | 2008 | -143 | -14300 | -0.0143 | 1507 | 1486 | 21 | 2100 | 0.0021
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1659 | 1659 | 0 | 0 | 0
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2256 | 2252 | 4 | 2666.68 | 0.0026667 | 313 | 313 | 0 | 0 | 0
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 566 | 552 | 14 | 7000 | 0.007 | 160 | 158 | 2 | 1000 | 0.001
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996384 | 996508 | -124 | -12400 | -0.0124 | 4035 | 4048 | -13 | -1300 | -0.0013
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7521 | 7419 | 102 | 10200 | 0.0102 | 11823 | 11801 | 22 | 2200 | 0.0022
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9342 | 9338 | 4 | 400 | 0.0004 | 1891 | 1890 | 1 | 100 | 0.0001
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28666 | 28562 | 104 | 10400 | 0.0104 | 7474 | 7340 | 134 | 13400 | 0.0134
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53093 | 53335 | -242 | -24200 | -0.0242 | 1503 | 1503 | 0 | 0 | 0
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999809 | 1000055 | -246 | -32799.18 | -0.032799 | 254 | 254 | 0 | 0 | 0
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999879 | 1 | 400 | 0.0004 | 999439 | 999486 | -47 | -18800 | -0.0188
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972782 | 973251 | -469 | -375200 | -0.3752 | 999760 | 999760 | 0 | 0 | 0
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996765 | 996984 | -219 | -438000 | -0.438 | 1060 | 1060 | 0 | 0 | 0
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980785 | 982481 | -1696 | -339200 | -0.3392 | 378 | 378 | 0 | 0 | 0
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998132 | 999057 | -925 | -231250 | -0.23125 | 323 | 323 | 0 | 0 | 0
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993162 | 994557 | -1395 | -1395000 | -1.395 | 2405 | 2405 | 0 | 0 | 0
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1807 | 1711 | 96 | 72000 | 0.072 | 3281 | 3281 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -90.1273 |  |  |  |  | -0.12912
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15324 | 15500 | -176 | 17600 | 0.0176 | 119631 | 119631 | 0 | 0 | 0
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 999989 | 999948 | 41 | -32800 | -0.0328 | 363 | 363 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 815 | 762 | 53 | -53000 | -0.053 | 83 | 83 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6434 | 6180 | 254 | -33865.82 | -0.033866 | 266 | 266 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997730 | 997943 | -213 | 39937.5 | 0.039938 | 999960 | 999960 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 924598 | 927674 | -3076 | 2460800 | 2.4608 | 998176 | 998176 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989686 | 989969 | -283 | 176875 | 0.17688 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990910 | 991083 | -173 | 108125 | 0.10812 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997198 | 997682 | -484 | 96800 | 0.0968 | 14150 | 14150 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 994040 | 994688 | -648 | 121500 | 0.1215 | 5495 | 5495 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992833 | 994097 | -1264 | 237000 | 0.237 | 4297 | 4297 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3053 | 3052 | 1 | -250 | -0.00025 | 7764 | 7764 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 995841 | 996584 | -743 | 74300 | 0.0743 | 28358 | 28358 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.213 |  |  |  |  | 0
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -90.1273 |  |  |  |  | -0.12912
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.213 |  |  |  |  | 0
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.64395 |  |  |  |  | 0.0051875
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -87.5582 |  |  |  |  | -0.12393
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -87.5582 | (REACTIVE MUs) |  |  |  | -0.12393 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -7.759 | (REACTIVE MUs) |  |  |  | -0.00064506 | (REACTIVE MUs)
[9 empty] | TOTAL | -95.3172 | (REACTIVE MUs) |  |  |  | -0.12457 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 25067 | 27050 | -1983 | -198300 | -0.1983 | 994317 | 994319 | -2 | -200 | -0.0002
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10951 | 11282 | -331 | -99300 | -0.0993 | 4042 | 4037 | 5 | 1500 | 0.0015
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 84919 | 79788 | 5131 | 384825 | 0.38482 | 393712 | 393638 | 74 | 5550 | 0.00555
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995055 | 995287 | -232 | -69600 | -0.0696 | 6030 | 6030 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1556 | 1623 | -67 | -89331.1 | -0.089331 | 3603 | 3603 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 10060 | 8692 | 1368 | 136800 | 0.1368 | 1400 | 1393 | 7 | 700 | 0.0007
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 101656 | 96491 | 5165 | 387375 | 0.38738 | 42355 | 42377 | -22 | -1650 | -0.00165
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980976 | 981398 | -422 | -422000 | -0.422 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 991258 | 992310 | -1052 | -526000 | -0.526 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997217 | 997599 | -382 | -382000 | -0.382 | 1623 | 1624 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988229 | 988741 | -512 | -512000 | -0.512 | 1350 | 1352 | -2 | -2000 | -0.002
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991106 | 991722 | -616 | -616000 | -0.616 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997998 | 998226 | -228 | -228000 | -0.228 | 998666 | 998666 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996168 | 996596 | -428 | -428000 | -0.428 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996533 | 996961 | -428 | -342400 | -0.3424 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5984 | 8010 | -2026 | -270126.58 | -0.27013 | 3651 | 3651 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971 | 1050 | -79 | -79000 | -0.079 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1216 | 1612 | -396 | -396000 | -0.396 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971642 | 972378 | -736 | -920000 | -0.92 | 950645 | 950647 | -2 | -2500 | -0.0025
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 985155 | 986569 | -1414 | -1555400 | -1.5554 | 936449 | 936452 | -3 | -3300 | -0.0033
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956335 | 956642 | -307 | -307000 | -0.307 | 6205 | 6206 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -2.7824 |  |  |  |  | -0.0068
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988996 | 989879 | -883 | 883000 | 0.883 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986250 | 986529 | -279 | 279000 | 0.279 | 999034 | 999034 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999829 | -15 | -15000 | -0.015 | 13537 | 13597 | -60 | -60000 | -0.06
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 147234 | 145245 | 1989 | -1989000 | -1.989 | 8272 | 8277 | -5 | 5000 | 0.005
[5 empty] | -1000 | 144181 | 140166 | 4015 | -4015000 | -4.015
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39700 | 37353 | 2347 | -2347000 | -2.347 | 999933 | 999930 | 3 | -3000 | -0.003
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1043 | 273 | 770 | -770000 | -0.77 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999810 | 999093 | 717 | -717000 | -0.717 | 998960 | 998960 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25077 | 25020 | 57 | -57000 | -0.057 | 983031 | 983031 | 0 | 0 | 0
[5 empty] | -1000 | 24444 | 23023 | 1421 | -1421000 | -1.421
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41085 | 37140 | 3945 | -3945000 | -3.945 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 28648 | 25985 | 2663 | -5326000 | -5.326 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 815 | 762 | 53 | 53000 | 0.053 | 83 | 83 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6434 | 6180 | 254 | 33865.82 | 0.033866 | 266 | 266 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 994019 | 994246 | -227 | -30191 | -0.030191 | 10071 | 10071 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955033 | 955033 | 0 | 0 | 0 | 990185 | 991085 | -900 | 900000 | 0.9
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981065 | 981065 | 0 | 0 | 0 | 999926 | 999926 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -25.9148 |  |  |  |  | 0.8381
| (A) NET ENERGY TO CENTRAL | [8 empty] | -25.9148 |  |  |  |  | 0.8381
MARCH-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990869 | 990318 | 551 | -551000 | -0.551 | 997660 | 997660 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989543 | 988783 | 760 | -760000 | -0.76 | 963325 | 963325 | 0 | 0 | 0
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994140 | 994038 | 102 | -102000 | -0.102 | 998509 | 998509 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993408 | 991509 | 1899 | -1899000 | -1.899 | 999297 | 999297 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26303 | 23020 | 3283 | -3283000 | -3.283 | 997492 | 997492 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12194 | 9459 | 2735 | -2735000 | -2.735 | 996427 | 996425 | 2 | -2000 | -0.002
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7773 | 7626 | 147 | -147000 | -0.147 | 12573 | 12573 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 100MVA Tx.3 (33 KV) | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992400 | 992141 | 259 | -259000 | -0.259 | 968961 | 968961 | 0 | 0 | 0 | check meter dara
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961137 | 960657 | 480 | -480000 | -0.48 | 979095 | 979095 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971734 | 971086 | 648 | -648000 | -0.648 | 976266 | 976266 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962247 | 961244 | 1003 | -1003000 | -1.003 | 825346 | 825347 | -1 | 1000 | 0.001
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0 | Old Meter data till 13/03
|  | 5128447 | ELSTER | Kvarh(Lead/Lag) | -2000 | 936 | 0 | 936 | -1872000 | -1.872 | 0 | 0 | 0 | 0 | 0 | W.e.f 13/03/20
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55697 | 52364 | 3333 | -3333000 | -3.333 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18951 | 15607 | 3344 | -3344000 | -3.344 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -20.416 |  |  |  |  | -0.001
| (B) NET ENERGY TO EAST | [8 empty] | -20.416 |  |  |  |  | -0.001
MARCH-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996668 | 997282 | -614 | 163735.38 | 0.16374 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1724 | 1593 | 131 | -65500 | -0.0655 | 999915 | 999915 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2103 | 1893 | 210 | -55998.6 | -0.055999 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 102754 | 101948 | 806 | -80600 | -0.0806 | 152234 | 152234 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989570 | 990452 | -882 | 176400 | 0.1764 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 4865145 | ELSTER | Kvarh(Lead/Lag) | -200 | 26898 | 26424 | 474 | -94800 | -0.0948 | 18226 | 18226 | 0 | 0 | 0 | check meter data
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1290 | 1145 | 145 | -116000 | -0.116 | 2558 | 2558 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3463 | 3670 | -207 | 165600 | 0.1656 | 1325 | 1319 | 6 | -4800 | -0.0048
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 995521 | 996717 | -1196 | 956800 | 0.9568 | 999010 | 999010 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 961959 | 962798 | -839 | 671200 | 0.6712 | 981147 | 981163 | -16 | 12800 | 0.0128
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 966268 | 968237 | -1969 | 1575200 | 1.5752 | 990085 | 990086 | -1 | 800 | 0.0008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997977 | 998357 | -380 | 760000 | 0.76 | 999597 | 999597 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996598 | 997035 | -437 | 874000 | 0.874 | 999539 | 999540 | -1 | 2000 | 0.002
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 99722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999980 | 1000080 | -100 | 100000 | 0.1 | 27903 | 27947 | -44 | 44000 | 0.044
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972 | 1009 | -37 | 37000 | 0.037 | 61255 | 61255 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1659 | 1659 | 0 | 0 | 0
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2256 | 2252 | 4 | -2666.68 | -0.0026667 | 313 | 313 | 0 | 0 | 0
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 566 | 552 | 14 | -7000 | -0.007 | 160 | 158 | 2 | -1000 | -0.001
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53093 | 53335 | -242 | 24200 | 0.0242 | 1503 | 1503 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999809 | 1000055 | -246 | 32799.18 | 0.032799 | 254 | 254 | 0 | 0 | 0
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996384 | 996508 | -124 | 12400 | 0.0124 | 4035 | 4048 | -13 | 1300 | 0.0013
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7521 | 7419 | 102 | -10200 | -0.0102 | 11823 | 11801 | 22 | -2200 | -0.0022
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9342 | 9338 | 4 | -400 | -0.0004 | 1891 | 1890 | 1 | -100 | -0.0001
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28666 | 28562 | 104 | -10400 | -0.0104 | 7474 | 7340 | 134 | -13400 | -0.0134
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 15220 | 8800 | 6420 | 6420 | 0.00642 | 13780 | 13370 | 410 | 410 | 0.00041
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 4260 | 4150 | 110 | 110 | 0.00011 | 54770 | 42370 | 12400 | 12400 | 0.0124
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 15200 | 14300 | 900 | 900 | 0.0009 | 157200 | 116600 | 40600 | 40600 | 0.0406
[10 empty] | 5.1132 |  |  |  |  | 0.09281
MARCH-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -25.9148 |  |  |  |  | 0.8381
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 5.1132 |  |  |  |  | 0.09281
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.76038 |  |  |  |  | -0.0016
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -21.562 |  |  |  |  | 0.92931
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -20.416 |  |  |  |  | -0.001
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -41.978 |  |  |  |  | 0.92831
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -41.978 | (REACTIVE MUs) |  |  |  | 0.92831 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.2557 | (REACTIVE MUs) |  |  |  | -0.00052009 | (REACTIVE MUs)
[9 empty] | TOTAL | -48.2337 | (REACTIVE MUs) |  |  |  | 0.92779 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998940 | 999021 | -81 | -405000 | -0.405 | 998833 | 998833 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980274 | 980338 | -64 | -85333.12 | -0.085333 | 670399 | 670400 | -1 | -1333.33 | -0.0013333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990455 | 991983 | -1528 | -305600 | -0.3056 | 2046 | 2056 | -10 | -2000 | -0.002
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999838 | 999943 | -105 | -139999.65 | -0.14 | 999750 | 999749 | 1 | 1333.33 | 0.0013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998891 | 999030 | -139 | -208500 | -0.2085 | 999959 | 999959 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 16030 | 16737 | -707 | -70700 | -0.0707 | 22422 | 22428 | -6 | -600 | -0.0006
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 631421 | 639926 | -8505 | -637875 | -0.63787 | 980276 | 980273 | 3 | 225 | 0.000225
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 979588 | 982077 | -2489 | -186675 | -0.18668 | 18267 | 18269 | -2 | -150 | -0.00015
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 999040 | 999426 | -386 | -347400 | -0.3474 | 999917 | 999919 | -2 | -1800 | -0.0018
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995986 | 997054 | -1068 | -106800 | -0.1068 | 265420 | 265421 | -1 | -100 | -0.0001
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13752 | 12664 | 1088 | -1088000 | -1.088 | 996565 | 996565 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2582 | 2393 | 189 | -378000 | -0.378 | 997717 | 997716 | 1 | -2000 | -0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16028 | 15311 | 717 | -717000 | -0.717 | 996678 | 996678 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977392 | 976966 | 426 | -426000 | -0.426 | 990748 | 990629 | 119 | -119000 | -0.119
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 75038 | 72383 | 2655 | -2655000 | -2.655 | 998899 | 998899 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 69901 | 67012 | 2889 | -1444500 | -1.4445 | 34212 | 34199 | 13 | -6500 | -0.0065
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16092 | 14836 | 1256 | -2512000 | -2.512 | 998244 | 998244 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8314 | 8374 | -60 | 60000 | 0.06 | 815146 | 815146 | 0 | 0 | 0
[5 empty] | -1000 | 18645 | 19415 | -770 | 770000 | 0.77
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12620 | 9029 | 3591 | -3591000 | -3.591 | 995 | 995 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 59650 | 56457 | 3193 | -2554400 | -2.5544 | 998423 | 998423 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996329 | 997665 | -1336 | 1336000 | 1.336 | 961315 | 961315 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985042 | 985042 | 0 | 0 | 0 | 992660 | 992660 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 940093 | 941624 | -1531 | 3062000 | 3.062 | 984025 | 984025 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8988 | 5640 | 3348 | -3348000 | -3.348 | 997296 | 997296 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4866 | 4751 | 115 | -115000 | -0.115 | 999953 | 999950 | 3 | -3000 | -0.003
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1248 | 1188 | 60 | -60000 | -0.06 | 29 | 29 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160544 | 160195 | 349 | -349000 | -0.349 | 12010 | 12009 | 1 | -1000 | -0.001
[5 empty] | -1000 | 155242 | 154963 | 279 | -279000 | -0.279
[5 empty] | -1000 | 147155 | 144035 | 3120 | -3120000 | -3.12
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2636 | 20 | -66666.6 | -0.066667 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 999989 | 999948 | 41 | 32800 | 0.0328 | 363 | 363 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961150 | 963204 | -2054 | 2054000 | 2.054 | 966000 | 966000 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984837 | 985413 | -576 | 576000 | 0.576 | 984112 | 984112 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47558 | 41080 | 6478 | -6478000 | -6.478 | 985511 | 985511 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17358 | 14979 | 2379 | -1903200 | -1.9032 | 999083 | 999083 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 20341 | 20341 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
[5 empty] | -1600 | 9099 | 7973 | 1126 | -1801600 | -1.8016
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996601 | 996349 | 252 | -252000 | -0.252 | 985069 | 985069 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5892 | 5159 | 733 | -366500 | -0.3665 | 991820 | 991822 | -2 | 1000 | 0.001
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21477 | 21379 | 98 | -98000 | -0.098 | 32592 | 32592 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000047 | 999424 | 623 | -623000 | -0.623 | 996050 | 996050 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999903 | 999616 | 287 | -287000 | -0.287 | 999071 | 999072 | -1 | 1000 | 0.001
BRPL(+) continue | [14 empty] | MARCH-2020
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45732 | 41009 | 4723 | -4723000 | -4.723 | 999139 | 999139 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9988 | 13317 | -3329 | 3329000 | 3.329 | 999078 | 999078 | 0 | 0 | 0
42 | Tx.3 | 5128448 | ELSTER | Kvarh(Lead/Lag) | -2000 | 719 | 407 | 312 | -624000 | -0.624 | 0 | 0 | 0 | 0 | 0 | Data till 17/03
|  | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 544 | 0 | 544 | -544000 | -0.544 | 0 | 0 | 0 | 0 | 0 | w.e.f 17/03
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23526 | 22052 | 1474 | -1474000 | -1.474 | 998958 | 998958 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1035 | 1 | 1034 | -1034000 | -1.034 | 925477 | 925477 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37529 | 35950 | 1579 | -1579000 | -1.579 | 7990 | 7990 | 0 | 0 | 0
46 | Tx.4 | 5128423 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999029 | 998830 | 199 | -398000 | -0.398 | 997735 | 997735 | 0 | 0 | 0 | Check Meter Data
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52933 | 48692 | 4241 | -4241000 | -4.241 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 29216 | 27161 | 2055 | -4110000 | -4.11 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8761 | 8473 | 288 | -576000 | -0.576 | 2426 | 2426 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6682 | 6222 | 460 | -920000 | -0.92 | 1353 | 1353 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919415 | 919549 | -134 | 134000 | 0.134 | 979398 | 979398 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1732 | 1902 | -170 | 170000 | 0.17 | 994931 | 994931 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1991 | 1838 | 153 | -153000 | -0.153 | 987520 | 987520 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 982442 | 983577 | -1135 | -908000 | -0.908 | 611 | 611 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 952204 | 954483 | -2279 | -1823200 | -1.8232 | 999588 | 999588 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999631 | 999753 | -122 | -97600 | -0.0976 | 999824 | 999824 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996370 | 996831 | -461 | -368800 | -0.3688 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996598 | 997035 | -437 | -874000 | -0.874 | 999539 | 999540 | -1 | -2000 | -0.002
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65158 | 65058 | 100 | -100000 | -0.1 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9661 | 6286 | 3375 | -3375000 | -3.375 | 302 | 290 | 12 | -12000 | -0.012
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113367 | 109957 | 3410 | -3410000 | -3.41 | 745 | 744 | 1 | -1000 | -0.001
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15324 | 15500 | -176 | -17600 | -0.0176 | 119631 | 119631 | 0 | 0 | 0
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997730 | 997943 | -213 | -39937.5 | -0.039938 | 999960 | 999960 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949921 | 950870 | -949 | -379600 | -0.3796 | 995622 | 995622 | 0 | 0 | 0
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10750 | 11513 | -763 | -305200 | -0.3052 | 72097 | 72097 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 924598 | 927674 | -3076 | -2460800 | -2.4608 | 998176 | 998176 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 434034 | 424015 | 10019 | 1001900 | 1.0019 | 84604 | 84604 | 0 | 0 | 0
[5 empty] | 100 | 423087 | 422551 | 536 | 53600 | 0.0536
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4392 | 4903 | -511 | -511000 | -0.511 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10812 | -3 | -225 | -0.000225 | 21986 | 21988 | -2 | -150 | -0.00015
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5305 | 4 | 400 | 0.0004 | 13969 | 13962 | 7 | 700 | 0.0007
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9033 | 9563 | -530 | -265000 | -0.265 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999379 | 999755 | -376 | -376000 | -0.376 | 4077 | 4077 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986395 | 987534 | -1139 | -1139000 | -1.139 | 1109 | 1109 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6463 | 6269 | 194 | 194000 | 0.194 | 6497 | 6497 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4336 | 5246 | -910 | -145600 | -0.1456 | 999805 | 999805 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4901 | 4963 | -62 | -124000 | -0.124 | 3407 | 3407 | 0 | 0 | 0 | Check Meter Data
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4043 | 3994 | 49 | 49000 | 0.049 | 709 | 709 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4373 | 4206 | 167 | 167000 | 0.167 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997198 | 997682 | -484 | -96800 | -0.0968 | 14150 | 14150 | 0 | 0 | 0
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 994040 | 994688 | -648 | -121500 | -0.1215 | 5495 | 5495 | 0 | 0 | 0
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992833 | 994097 | -1264 | -237000 | -0.237 | 4297 | 4297 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3053 | 3052 | 1 | 250 | 0.00025 | 7764 | 7764 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 995841 | 996584 | -743 | -74300 | -0.0743 | 28358 | 28358 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -61.643 |  |  |  |  | -0.14838
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 21873 | 22035 | -162 | 16200 | 0.0162 | 4890 | 4890 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 994019 | 994246 | -227 | 30265.91 | 0.030266 | 10071 | 10071 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1321 | 1203 | 118 | -118000 | -0.118 | 998462 | 998462 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996444 | 996972 | -528 | 528000 | 0.528 | 2241 | 2241 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9174 | 9566 | -392 | 62720 | 0.06272 | 26114 | 26114 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3956 | 4047 | -91 | 18200 | 0.0182 | 7633 | 7633 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984391 | 985336 | -945 | 945000 | 0.945 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102334 | 102264 | 70 | -7000 | -0.007 | 75517 | 75517 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4066 | 4358 | -292 | 29200 | 0.0292 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18267 | 23324 | -5057 | 505700 | 0.5057 | 70288 | 70288 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998671 | -6 | -3000 | -0.003 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 556 | 13 | 543 | 40725 | 0.040725 | 2 | 0 | 2 | 150 | 0.00015
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999465 | 999500 | -35 | 3500 | 0.0035 | 999167 | 999226 | -59 | 5900 | 0.0059
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2946 | 2834 | 112 | -11200 | -0.0112 | 28810 | 28769 | 41 | -4100 | -0.0041
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 772 | 769 | 3 | -3999 | -0.003999 | 492 | 491 | 1 | -1333 | -0.001333
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1865 | 2008 | -143 | 14300 | 0.0143 | 1507 | 1486 | 21 | -2100 | -0.0021
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999879 | 1 | -400 | -0.0004 | 999439 | 999486 | -47 | 18800 | 0.0188
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 12023 | 11659 | 364 | -145600 | -0.1456 | 5995 | 5995 | 0 | 0 | 0
[5 empty] | -400 | 10737 | 9984 | 753 | -301200 | -0.3012
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993162 | 994557 | -1395 | 1395000 | 1.395 | 2405 | 2405 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1807 | 1711 | 96 | -72000 | -0.072 | 3281 | 3281 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.9264 |  |  |  |  | 0.017317
MARCH-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -61.643 |  |  |  |  | -0.14838
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.9264 |  |  |  |  | 0.017317
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.67194 |  |  |  |  | 0.001
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0185 |  |  |  |  | -0.0137
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -59.407 |  |  |  |  | -0.14376
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -59.407 | (REACTIVE MUs) |  |  |  | -0.14376 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -12.2368 | (REACTIVE MUs) |  |  |  | -0.0010173 | (REACTIVE MUs)
[9 empty] | TOTAL | -71.6438 | (REACTIVE MUs) |  |  |  | -0.14478 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2103 | 1893 | 210 | 56000.7 | 0.056001 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 102754 | 101948 | 806 | 80600 | 0.0806 | 152234 | 152234 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989570 | 990452 | -882 | -176400 | -0.1764 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 4865145 | ELSTER | Kvarh(Lead/Lag) | 200 | 26898 | 26424 | 474 | 94800 | 0.0948 | 18226 | 18226 | 0 | 0 | 0 | check meter data
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1290 | 1145 | 145 | 116000 | 0.116 | 2558 | 2558 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3463 | 3670 | -207 | -165600 | -0.1656 | 1325 | 1319 | 6 | 4800 | 0.0048
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 995521 | 996717 | -1196 | -956800 | -0.9568 | 999010 | 999010 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 961959 | 962798 | -839 | -671200 | -0.6712 | 981147 | 981163 | -16 | -12800 | -0.0128
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 966268 | 968237 | -1969 | -1575200 | -1.5752 | 990085 | 990086 | -1 | -800 | -0.0008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997977 | 998357 | -380 | -760000 | -0.76 | 999597 | 999597 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 972009 | 974372 | -2363 | -118150 | -0.11815 | 20614 | 20629 | -15 | -750 | -0.00075
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 976396 | 978733 | -2337 | -175275 | -0.17527 | 23047 | 23050 | -3 | -225 | -0.000225
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998869 | 998971 | -102 | -51000 | -0.051 | 5516 | 5516 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997530 | 997779 | -249 | -93375 | -0.093375 | 7580 | 7581 | -1 | -375 | -0.000375
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 992801 | 994654 | -1853 | -185300 | -0.1853 | 767 | 777 | -10 | -1000 | -0.001
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11463 | 10206 | 1257 | 94275 | 0.094275 | 40244 | 40231 | 13 | 975 | 0.000975
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11902 | 11902 | 0 | 0 | 0 | 2098 | 2098 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995581 | 996024 | -443 | -443000 | -0.443 | 104773 | 104778 | -5 | -5000 | -0.005
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994325 | 994767 | -442 | -442000 | -0.442 | 2442 | 2444 | -2 | -2000 | -0.002
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985065 | 985319 | -254 | -254000 | -0.254 | 144889 | 144885 | 4 | 4000 | 0.004
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999217 | 999483 | -266 | -665000 | -0.665 | 788 | 789 | -1 | -2500 | -0.0025
[10 empty] | -1.804 |  |  |  |  | -0.0055
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996444 | 996972 | -528 | -528000 | -0.528 | 2241 | 2241 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9174 | 9566 | -392 | -62720 | -0.06272 | 26114 | 26114 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3956 | 4047 | -91 | -18200 | -0.0182 | 7633 | 7633 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984391 | 985336 | -945 | -945000 | -0.945 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998671 | -6 | 3000 | 0.003 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
MARCH-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996611 | 996771 | -160 | 160000 | 0.16 | 990250 | 990250 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998001 | 998184 | -183 | 183000 | 0.183 | 995996 | 995996 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997506 | 997472 | 34 | -68000 | -0.068 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999015 | 998968 | 47 | -47000 | -0.047 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 556 | 13 | 543 | 40725 | 0.040725 | 2 | 0 | 2 | 150 | 0.00015
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102334 | 102264 | 70 | 7000 | 0.007 | 75517 | 75517 | 0 | 0 | 0
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4066 | 4358 | -292 | -29200 | -0.0292 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18267 | 23324 | -5057 | -505700 | -0.5057 | 70288 | 70288 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 21873 | 22035 | -162 | -16200 | -0.0162 | 4890 | 4890 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 434034 | 424015 | 10019 | -1001900 | -1.0019 | 84604 | 84604 | 0 | 0 | 0
[5 empty] | -100 | 423087 | 422551 | 536 | -53600 | -0.0536
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4392 | 4903 | -511 | 511000 | 0.511 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10812 | -3 | 225 | 0.000225 | 21986 | 21988 | -2 | 150 | 0.00015
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5305 | 4 | -400 | -0.0004 | 13969 | 13962 | 7 | -700 | -0.0007
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.6616 |  |  |  |  | -0.016075
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -8.6616 |  |  |  |  | -0.016075
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -1.0907 |  |  |  |  | -9.0677e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -9.7523 |  |  |  |  | -0.016166

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3760 | -106 | -21200 | -0.0212 | 65091 | 65326 | -235 | -47000 | -0.047
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 4980 | 4677 | 303 | 48480 | 0.04848
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 55697 | 55702 | -5 | -5000 | -0.005
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 156 | 9 | 3600 | 0.0036 | 16743 | 16752 | -9 | -3600 | -0.0036
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 11 | 6 | 5 | 4000 | 0.004 | 475 | 474 | 1 | 800 | 0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1442 | 1491 | -49 | -19600 | -0.0196 | 4692 | 4693 | -1 | -400 | -0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1321 | 1203 | 118 | 118000 | 0.118 | 998462 | 998462 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0848 |  |  |  |  | -0.00672
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66902 | 66834 | 68 | 6800 | 0.0068 | 102432 | 102325 | 107 | 10700 | 0.0107
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 71 | 71 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 756 | 639 | 117 | 11700 | 0.0117 | 19248 | 19218 | 30 | 3000 | 0.003
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1678 | 1678 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0185 |  |  |  |  | 0.0137
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0848 |  |  |  |  | -0.00672
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1033 |  |  |  |  | 0.00698
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1033 | (REACTIVE MUs) |  |  |  | 0.00698 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.24157 | (REACTIVE MUs) |  |  |  | -2.0084e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.13827 | (REACTIVE MUs) |  |  |  | 0.0069599 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989686 | 989969 | -283 | -176875 | -0.17688 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990910 | 991083 | -173 | -108125 | -0.10812 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 12023 | 11659 | 364 | 145600 | 0.1456 | 5995 | 5995 | 0 | 0 | 0
[5 empty] | 400 | 10737 | 9984 | 753 | 301200 | 0.3012
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 15220 | 8800 | 6420 | -6420 | -0.00642 | 13780 | 13370 | 410 | -410 | -0.00041
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 4260 | 4150 | 110 | -110 | -0.00011 | 54770 | 42370 | 12400 | -12400 | -0.0124
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 15200 | 14300 | 900 | -900 | -0.0009 | 157200 | 116600 | 40600 | -40600 | -0.0406
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.15437 |  |  |  |  | -0.05341
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.081086 |  |  |  |  | -6.7413e-06
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.073284 |  |  |  |  | -0.053417

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 956136 | 961254 | -5118 | -511800 | -0.5118 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57765 | 58888 | -1123 | -112300 | -0.1123 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15865 | 15651 | 214 | 107000 | 0.107 | 3872 | 3870 | 2 | 1000 | 0.001
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997952 | 998233 | -281 | -263437.5 | -0.26344 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994158 | 994304 | -146 | 73000 | 0.073 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993526 | 993596 | -70 | 35000 | 0.035 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 233 | 231 | 2 | 600 | 0.0006 | 22 | 22 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.67194 |  |  |  |  | 0.001
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 972578 | 974233 | -1655 | -331000 | -0.331 | 999788 | 999796 | -8 | -1600 | -0.0016
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 988577 | 989035 | -458 | -429375 | -0.42938 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.76038 |  |  |  |  | -0.0016
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1692 | 1719 | -27 | -33750 | -0.03375 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 373512 | 373629 | -117 | -11700 | -0.0117 | 179868 | 179814 | 54 | 5400 | 0.0054
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 322829 | 322789 | 40 | 2500 | 0.0025 | 104272 | 104173 | 99 | 6187.5 | 0.0061875
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1985 | 2241 | -256 | -204800 | -0.2048 | 1725 | 1733 | -8 | -6400 | -0.0064
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 956092 | 957788 | -1696 | -169600 | -0.1696 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 992339 | 994529 | -2190 | -328500 | -0.3285 | 990475 | 990475 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997308 | 997349 | -41 | 102500 | 0.1025 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 233 | 231 | 2 | -600 | -0.0006 | 22 | 22 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.64395 |  |  |  |  | 0.0051875
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.67194 |  |  |  |  | 0.001
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.76038 |  |  |  |  | -0.0016
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.64395 |  |  |  |  | 0.0051875

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100589 | 99055 | 1534 | 1534000 | 1.534 | 24158 | 24154 | 4 | 4000 | 0.004
[5 empty] | 1000 | 98679 | 96561 | 2118 | 2118000 | 2.118
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4608 | 3952 | 656 | 1312000 | 1.312 | 999771 | 999768 | 3 | 6000 | 0.006
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 945694 | 950120 | -4426 | 2213000 | 2.213 | 998674 | 998674 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 584955 | 588651 | -3696 | 369600 | 0.3696 | 997094 | 997094 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 7.5466 |  | NET REACTIVE ENERGY |  |  | 0.01
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 7.5466 |  |  |  |  | 0.01
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -22.076 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -11.3314 |  |  |  |  | -0.0068
[7 empty] | NDMC = |  |  | -1.804 |  |  |  |  | -0.0055
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -35.2114 |  |  |  |  | -0.0123
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -27.6648 |  |  |  |  | -0.0023
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.0463 | % |  |  | -7.759 |  |  |  |  | -0.00064506
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 44.2323 | % |  |  | -12.2368 |  |  |  |  | -0.0010173
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6126 | % |  |  | -6.2557 |  |  |  |  | -0.00052009
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9425 | % |  |  | -1.0907 |  |  |  |  | -9.0677e-05
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8732 | % |  |  | -0.24157 |  |  |  |  | -2.0084e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2931 | % |  |  | -0.081086 |  |  |  |  | -6.7413e-06
Note :Sharing taken from wk-01 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2020 TO 31st MARCH-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -95.3172 |  | -0.12457
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -71.6438 |  | -0.14478
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -48.2337 | + | 0.92779
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -9.7523 |  | -0.016166
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.13827 | + | 0.0069599
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.073284 |  | -0.053417
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83