## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963282 | 963208 | 74 | -74000 | -0.074 | 993296 | 993342 | -46 | 46000 | 0.046
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 91250 | 90466 | 784 | -1568000 | -1.568 | 5003 | 5002 | 1 | -2000 | -0.002
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14116 | 13219 | 897 | -897000 | -0.897 | 428 | 428 | 0 | 0 | 0
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61366 | 58828 | 2538 | -2538000 | -2.538 | 97695 | 97468 | 227 | -227000 | -0.227
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999176 | 998808 | 368 | -368000 | -0.368 | 986432 | 986453 | -21 | 21000 | 0.021
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917376 | 916916 | 460 | -460000 | -0.46 | 27023 | 26912 | 111 | -111000 | -0.111
[5 empty] | -1000 | 899839 | 899722 | 117 | -117000 | -0.117
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19082 | 19082 | 0 | 0 | 0 | 999812 | 999812 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28744 | 25829 | 2915 | -2915000 | -2.915 | 997984 | 997984 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19774 | 18331 | 1443 | -1443000 | -1.443 | 997001 | 996995 | 6 | -6000 | -0.006
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 44925 | 42682 | 2243 | -1121500 | -1.1215 | 814598 | 814616 | -18 | 9000 | 0.009
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3155 | 1829 | 1326 | -1326000 | -1.326 | 998414 | 998385 | 29 | -29000 | -0.029
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13167 | 11800 | 1367 | -1367000 | -1.367 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54405 | 54361 | 44 | -44000 | -0.044 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 28383 | 26462 | 1921 | -1921 | -1.921 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 733914 | 736330 | -2416 | -2416000 | -2.416 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 813689 | 827211 | -13522 | -6761000 | -6.761 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14727 | 14481 | 246 | -246000 | -0.246 | 999346 | 999345 | 1 | -1000 | -0.001
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 75390 | 73556 | 1834 | -917000 | -0.917 | 459 | 453 | 6 | -3000 | -0.003
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59468 | 58826 | 642 | -642000 | -0.642 | 998876 | 998864 | 12 | -12000 | -0.012
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998806 | 999144 | -338 | -338000 | -0.338 | 988741 | 988740 | 1 | 1000 | 0.001
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999630 | 999713 | -83 | -332000 | -0.332 | 999839 | 999839 | 0 | 0 | 0
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 2003 | 2002 | 1 | 500 | 0.0005 | 15064 | 15064 | 0 | 0 | 0
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 89331 | 84358 | 4973 | 248650 | 0.24865 | 214264 | 214264 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998670 | 999016 | -346 | -346000 | -0.346 | 996229 | 996229 | 0 | 0 | 0
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999164 | 999243 | -79 | -79000 | -0.079 | 999560 | 999560 | 0 | 0 | 0
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 30740 | 34799 | -4059 | -405900 | -0.4059 | 193647 | 193647 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989202 | 990348 | -1146 | -1146000 | -1.146 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 910734 | 916260 | -5526 | -2763000 | -2.763 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993880 | 994320 | -440 | -117334.8 | -0.11733 | 83 | 83 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2199 | 2228 | -29 | -14500 | -0.0145 | 1165 | 1164 | 1 | 500 | 0.0005
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52866 | 49955 | 2911 | -2911000 | -2.911 | 996514 | 996514 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 296682 | 288832 | 7850 | -3925000 | -3.925 | 17481 | 17481 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16006 | 13788 | 2218 | -4436000 | -4.436 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68061 | 64881 | 3180 | -3180000 | -3.18 | 997322 | 997327 | -5 | 5000 | 0.005
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 151140 | 148136 | 3004 | -6008000 | -6.008 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 144217 | 141385 | 2832 | -2832000 | -2.832 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 233885 | 222390 | 11495 | -3831628.35 | -3.8316 | 231 | 231 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15985 | 13400 | 2585 | -5170000 | -5.17 | 2 | 2 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30913 | 28193 | 2720 | -5440000 | -5.44 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100585 | 94882 | 5703 | -5703000 | -5.703 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 6166000 | 4671000 | 1495000 | -1495000 | -1.495 | 1124000 | 1120000 | 4000 | -4000 | -0.004
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 17314000 | 15298000 | 2016000 | -2016000 | -2.016 | 1188000 | 1181000 | 7000 | -7000 | -0.007
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16156 | 12877 | 3279 | -3279000 | -3.279 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52865 | 51762 | 1103 | -1103000 | -1.103 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998128 | 998129 | -1 | -1000 | -0.001 | 25482 | 25716 | -234 | -234000 | -0.234
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JANUARY-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998142 | 998578 | -436 | -43600 | -0.0436 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3184 | 3200 | -16 | -1600 | -0.0016 | 32929 | 32931 | -2 | -200 | -0.0002
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 757 | 761 | -4 | -5332 | -0.005332 | 598 | 600 | -2 | -2666 | -0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 14 | 1400 | 0.0014
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1998 | 2064 | -66 | -6600 | -0.0066 | 5167 | 5157 | 10 | 1000 | 0.001
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999766 | 999781 | -15 | -7500 | -0.0075 | 2259 | 2259 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 24 | 27 | -3 | -1500 | -0.0015 | 160 | 164 | -4 | -2000 | -0.002
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1093 | 1092 | 1 | 500 | 0.0005 | 1086 | 1055 | 31 | 15500 | 0.0155
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 993143 | 993510 | -367 | -36700 | -0.0367 | 2687 | 2699 | -12 | -1200 | -0.0012
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8852 | 8987 | -135 | -13500 | -0.0135 | 14868 | 14864 | 4 | 400 | 0.0004
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12887 | 12810 | 77 | 7700 | 0.0077 | 5701 | 5679 | 22 | 2200 | 0.0022
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31450 | 31395 | 55 | 5500 | 0.0055 | 10951 | 10930 | 21 | 2100 | 0.0021
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60915 | 62020 | -1105 | -110500 | -0.1105 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 156 | 231 | -75 | -9999.75 | -0.0099998 | 790 | 790 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 61 | -1 | 400 | 0.0004
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999881 | 999881 | 0 | 0 | 0 | 999431 | 999433 | -2 | -800 | -0.0008
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 950095 | 952696 | -2601 | -2080800 | -2.0808 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993408 | 993737 | -329 | -658000 | -0.658 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 970162 | 972300 | -2138 | -427600 | -0.4276 | 1723 | 1722 | 1 | 200 | 0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 993755 | 994850 | -1095 | -273750 | -0.27375 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983077 | 984847 | -1770 | -1770000 | -1.77 | 2358 | 2358 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1382 | 1643 | -261 | -195750 | -0.19575 | 3410 | 3410 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -89.3937 |  |  |  |  | -0.53717
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 196 | 212 | -16 | 1600 | 0.0016 | 128 | 113 | 15 | -1500 | -0.0015
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1298 | 1313 | -15 | 15000 | 0.015 | 517 | 517 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4418 | 4627 | -209 | 27865.97 | 0.027866 | 7303 | 7303 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998850 | 998924 | -74 | 13875 | 0.013875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902010 | 902934 | -924 | 739200 | 0.7392 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991194 | 991056 | 138 | -86250 | -0.08625 | 271 | 267 | 4 | -2500 | -0.0025
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999759 | 999687 | 72 | -36000 | -0.036 | 48 | 45 | 3 | -1500 | -0.0015
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992635 | 993655 | -1020 | 204000 | 0.204 | 15248 | 15248 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988033 | 988438 | -405 | 75937.5 | 0.075938 | 4781 | 4781 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 983142 | 984696 | -1554 | 291375 | 0.29137 | 3876 | 3876 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4049 | 4219 | -170 | 42500 | 0.0425 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993515 | 993924 | -409 | 40900 | 0.0409 | 29815 | 29815 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3161 |  |  |  |  | 0.008375
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -89.3937 |  |  |  |  | -0.53717
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3161 |  |  |  |  | 0.008375
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.6818 |  |  |  |  | 0
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -89.7594 |  |  |  |  | -0.52879
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -89.7594 | (REACTIVE MUs) |  |  |  | -0.52879 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.3702 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -96.1296 | (REACTIVE MUs) |  |  |  | -0.52879 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36520 | 36753 | -233 | -62211 | -0.062211 | 994186 | 994190 | -4 | -1068 | -0.001068
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11295 | 11514 | -219 | -65700 | -0.0657 | 1871 | 1988 | -117 | -35100 | -0.0351
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24902 | 24897 | 5 | 375 | 0.000375 | 33968 | 33961 | 7 | 525 | 0.000525
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999876 | 999923 | -47 | -47000 | -0.047 | 999806 | 999807 | -1 | -1000 | -0.001
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 99 | 99 | 0 | 0 | 0 | 51 | 53 | -2 | -3200 | -0.0032
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18487 | 18513 | -26 | -34666.58 | -0.034667 | 5015 | 5015 | 0 | 0 | 0
7 | MINTO RD. B-34 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980232 | 980301 | -69 | -91999.77 | -0.092 | 998626 | 998628 | -2 | -2666.66 | -0.0026667
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975456 | 975535 | -79 | -79000 | -0.079 | 2269 | 2270 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983921 | 984024 | -103 | -51500 | -0.0515 | 8 | 48 | -40 | -20000 | -0.02
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997602 | 997635 | -33 | -33000 | -0.033 | 999980 | 999980 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983135 | 983171 | -36 | -36000 | -0.036 | 1333 | 1334 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999946 | 999991 | -45 | -45000 | -0.045 | 63 | 73 | -10 | -10000 | -0.01
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993667 | 993732 | -65 | -65000 | -0.065 | 998355 | 998359 | -4 | -4000 | -0.004
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992607 | 992620 | -13 | -13000 | -0.013 | 291 | 297 | -6 | -6000 | -0.006
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994340 | 994385 | -45 | -36000 | -0.036 | 5268 | 5269 | -1 | -800 | -0.0008
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12184 | 12362 | -178 | -23732.74 | -0.023733 | 3685 | 3684 | 1 | 133.33 | 0.00013333
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999989 | 1000000 | -11 | -11000 | -0.011 | 999996 | 1000000 | -4 | -4000 | -0.004
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 587 | 626 | -39 | -39000 | -0.039 | 17465 | 17465 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 961172 | 963449 | -2277 | -2846250 | -2.8462 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 959716 | 963955 | -4239 | -4239000 | -4.239 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995233 | 995243 | -10 | -10000 | -0.01 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -7.0953 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999305 | 999342 | -37 | 37000 | 0.037 | 999968 | 999968 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978562 | 978453 | 109 | -109000 | -0.109 | 997942 | 997942 | 0 | 0 | 0
[5 empty] | -1000 | 980140 | 980092 | 48 | -48000 | -0.048
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998986 | 999233 | -247 | -247000 | -0.247 | 13910 | 13910 | 0 | 0 | 0
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 260611 | 258692 | 1919 | -1919000 | -1.919 | 25215 | 24840 | 375 | -375000 | -0.375
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65565 | 64500 | 1065 | -1065000 | -1.065 | 651 | 545 | 106 | -106000 | -0.106
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7152 | 6316 | 836 | -836000 | -0.836 | 999038 | 999038 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6542 | 5911 | 631 | -631000 | -0.631 | 998141 | 998138 | 3 | -3000 | -0.003
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97947 | 96795 | 1152 | -1152000 | -1.152 | 982834 | 982834 | 0 | 0 | 0
[5 empty] | -1000 | 96241 | 95981 | 260 | -260000 | -0.26
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87586 | 83864 | 3722 | -3722000 | -3.722 | 325 | 325 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 62048 | 59530 | 2518 | -5036000 | -5.036 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1298 | 1313 | -15 | -15000 | -0.015 | 517 | 517 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4418 | 4627 | -209 | -27865.97 | -0.027866 | 7303 | 7303 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992640 | 992754 | -114 | -15162 | -0.015162 | 12526 | 12528 | -2 | -266 | -0.000266
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953906 | 953169 | 737 | -737000 | -0.737 | 990131 | 990131 | 0 | 0 | 0
[5 empty] | -1000 | 952683 | 952585 | 98 | -98000 | -0.098
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973954 | 973167 | 787 | -787000 | -0.787 | 981175 | 981175 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -24.4967 |  |  |  |  | -0.57344
| (A) NET ENERGY TO CENTRAL | [8 empty] | -24.4967 |  |  |  |  | -0.57344
JANUARY-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991907 | 991308 | 599 | -599000 | -0.599 | 993727 | 993720 | 7 | -7000 | -0.007
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980632 | 980026 | 606 | -606000 | -0.606 | 930112 | 930078 | 34 | -34000 | -0.034
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993000 | 992671 | 329 | -329000 | -0.329 | 993389 | 993393 | -4 | 4000 | 0.004
4 | Tx.4 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995 | 438 | 557 | -1114000 | -1.114 | 999989 | 999993 | -4 | 8000 | 0.008
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38193 | 37488 | 705 | -705000 | -0.705 | 997887 | 997820 | 67 | -67000 | -0.067
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 12300 | 10074 | 2226 | -1113000 | -1.113 | 439 | 421 | 18 | -9000 | -0.009
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999309 | 999210 | 99 | -99000 | -0.099 | 999476 | 999477 | -1 | 1000 | 0.001
8 | 100 MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2218 | 1993 | 225 | -225000 | -0.225 | 999490 | 999492 | -2 | 2000 | 0.002
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 591 | 258 | 333 | -333000 | -0.333 | 26 | 25 | 1 | -1000 | -0.001
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991093 | 990650 | 443 | -443000 | -0.443 | 955662 | 955664 | -2 | 2000 | 0.002
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968343 | 967729 | 614 | -614000 | -0.614 | 823900 | 823895 | 5 | -5000 | -0.005
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12447 | 12117 | 330 | -1650000 | -1.65 | 40 | 40 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17913 | 15950 | 1963 | -1963000 | -1.963 | 80 | 80 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4395 | 3493 | 902 | -902000 | -0.902 | 999991 | 999991 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -10.695 |  |  |  |  | -0.106
| (B) NET ENERGY TO EAST | [8 empty] | -10.695 |  |  |  |  | -0.106
JANUARY-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993880 | 994320 | -440 | 117334.8 | 0.11733 | 83 | 83 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2199 | 2228 | -29 | 14500 | 0.0145 | 1165 | 1164 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1634 | 1777 | -143 | 38132.38 | 0.038132 | 2321 | 2321 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 6065 | 4547 | 1518 | -151800 | -0.1518 | 24 | 24 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 980533 | 981337 | -804 | 160800 | 0.1608 | 999382 | 999382 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1331 | 1314 | 17 | -17000 | -0.017 | 82 | 81 | 1 | -1000 | -0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3697 | 3743 | -46 | 36800 | 0.0368 | 2724 | 2733 | -9 | 7200 | 0.0072
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2291 | 2423 | -132 | 105600 | 0.1056 | 1327 | 1313 | 14 | -11200 | -0.0112
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 947655 | 948598 | -943 | 754400 | 0.7544 | 989409 | 989441 | -32 | 25600 | 0.0256
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992715 | 992870 | -155 | 310000 | 0.31 | 999482 | 999500 | -18 | 36000 | 0.036
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987369 | 987619 | -250 | 500000 | 0.5 | 999390 | 999403 | -13 | 26000 | 0.026
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998129 | -1 | 1000 | 0.001 | 25482 | 25716 | -234 | 234000 | 0.234
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998142 | 998578 | -436 | 43600 | 0.0436 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999766 | 999781 | -15 | 7500 | 0.0075 | 2259 | 2259 | 0 | 0 | 0
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 24 | 27 | -3 | 1500 | 0.0015 | 160 | 164 | -4 | 2000 | 0.002
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1093 | 1092 | 1 | -500 | -0.0005 | 1086 | 1055 | 31 | -15500 | -0.0155
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60915 | 62020 | -1105 | 110500 | 0.1105 | 2406 | 2406 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 156 | 231 | -75 | 9999.75 | 0.0099998 | 790 | 790 | 0 | 0 | 0
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 993143 | 993510 | -367 | 36700 | 0.0367 | 2687 | 2699 | -12 | 1200 | 0.0012
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8852 | 8987 | -135 | 13500 | 0.0135 | 14868 | 14864 | 4 | -400 | -0.0004
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12887 | 12810 | 77 | -7700 | -0.0077 | 5701 | 5679 | 22 | -2200 | -0.0022
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31450 | 31395 | 55 | -5500 | -0.0055 | 10951 | 10930 | 21 | -2100 | -0.0021
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58690 | 58410 | 280 | 280 | 0.00028 | 234430 | 230070 | 4360 | 4360 | 0.00436
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 32310 | 32310 | 0 | 0 | 0 | 421460 | 393609 | 27851 | 27851 | 0.027851
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 130900 | 129600 | 1300 | 1300 | 0.0013 | 1297400 | 1240099 | 57301 | 57301 | 0.057301
[10 empty] | 2.0809 |  |  |  |  | 0.38861
JANUARY-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -24.4967 |  |  |  |  | -0.57344
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.0809 |  |  |  |  | 0.38861
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.93551 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -23.3513 |  |  |  |  | -0.18483
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -10.695 |  |  |  |  | -0.106
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -34.0463 |  |  |  |  | -0.29083
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.0463 | (REACTIVE MUs) |  |  |  | -0.29083 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.2632 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -38.3095 | (REACTIVE MUs) |  |  |  | -0.29083 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997970 | 998050 | -80 | -80000 | -0.08 | 997344 | 997393 | -49 | -49000 | -0.049
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998670 | 998769 | -99 | -99000 | -0.099 | 999416 | 999427 | -11 | -11000 | -0.011
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 982262 | 982757 | -495 | -99000 | -0.099 | 997859 | 998038 | -179 | -35800 | -0.0358
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999825 | 999871 | -46 | -61333.18 | -0.061333 | 999785 | 999773 | 12 | 15999.96 | 0.016
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997736 | 997916 | -180 | -270000 | -0.27 | 999668 | 999677 | -9 | -13500 | -0.0135
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10880 | 11080 | -200 | -20000 | -0.02 | 21576 | 21659 | -83 | -8300 | -0.0083
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 75 | 995461 | 998969 | -3508 | -263100 | -0.2631 | 996282 | 996368 | -86 | -6450 | -0.00645
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 993009 | 994445 | -1436 | -107700 | -0.1077 | 994021 | 994476 | -455 | -34125 | -0.034125
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996915 | 997033 | -118 | -94400 | -0.0944 | 999208 | 999242 | -34 | -27200 | -0.0272
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988668 | 988704 | -36 | -47999.88 | -0.048 | 265042 | 265043 | -1 | -1333.33 | -0.0013333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 851 | 610 | 241 | -1606666.506 | -1.6067 | 35 | 35 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26735 | 25084 | 1651 | -1651000 | -1.651 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5137 | 5060 | 77 | -154000 | -0.154 | 996425 | 996425 | 0 | 0 | 0
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16949 | 16333 | 616 | -616000 | -0.616 | 996291 | 996291 | 0 | 0 | 0
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2261 | 932 | 1329 | -1329000 | -1.329 | 999892 | 999892 | 0 | 0 | 0
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 134187 | 131970 | 2217 | -2217000 | -2.217 | 19346 | 19346 | 0 | 0 | 0
[5 empty] | -1000 | 131684 | 130609 | 1075 | -1075000 | -1.075
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4639 | 3149 | 1490 | -1490000 | -1.49 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 34307 | 31988 | 2319 | -4638000 | -4.638 | 998799 | 998799 | 0 | 0 | 0
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1470 | 1082 | 388 | -776000 | -0.776 | 999999 | 999999 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 115570 | 103832 | 11738 | -9390400 | -9.3904 | 1966 | 1966 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 118280 | 110454 | 7826 | -6260800 | -6.2608 | 998922 | 998922 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951619 | 951173 | 446 | -446000 | -0.446 | 959349 | 959349 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 958427 | 959060 | -633 | 1266000 | 1.266 | 991341 | 991341 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 911619 | 912049 | -430 | 860000 | 0.86 | 971814 | 971814 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11795 | 11134 | 661 | -661000 | -0.661 | 996092 | 996094 | -2 | 2000 | 0.002
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997398 | 997212 | 186 | -186000 | -0.186 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981091 | 980912 | 179 | -179000 | -0.179 | 999863 | 999864 | -1 | 1000 | 0.001
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 276719 | 275685 | 1034 | -1034000 | -1.034 | 121107 | 120964 | 143 | -143000 | -0.143
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7361 | 7134 | 227 | -454000 | -0.454 | 87 | 67 | 20 | -40000 | -0.04
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935478 | 935261 | 217 | -217000 | -0.217 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972203 | 971999 | 204 | -204000 | -0.204 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 38156 | 36128 | 2028 | -1622400 | -1.6224 | 999228 | 999228 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 61487 | 61168 | 319 | -510400 | -0.5104 | 978993 | 978992 | 1 | -1600 | -0.0016
[5 empty] | -1600 | 56292 | 55522 | 770 | -1232000 | -1.232
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996269 | 996269 | 0 | 0 | 0 | 984565 | 984389 | 176 | -352000 | -0.352
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4540 | 4540 | 0 | 0 | 0 | 990174 | 990354 | -180 | 90000 | 0.09
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23409 | 23114 | 295 | -295000 | -0.295 | 31842 | 31861 | -19 | 19000 | 0.019
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2575 | 2575 | 0 | 0 | 0 | 996741 | 996648 | 93 | -93000 | -0.093
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1472 | 874 | 598 | -598000 | -0.598
BRPL(+) continue | [14 empty] | JANUARY-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2055 | 319 | 1736 | -1736000 | -1.736 | 0 | 0 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15775 | 14020 | 1755 | -1755000 | -1.755 | 403 | 402 | 1 | -1000 | -0.001
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12707 | 11263 | 1444 | -1444000 | -1.444 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12455 | 12253 | 202 | -202000 | -0.202 | 458 | 458 | 0 | 0 | 0 | Fire incident on 8/1/2022, data till 04/01
[10 empty] | -0.202 |  |  |  |  | 0 | Assessment
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9732 | 9615 | 117 | -117000 | -0.117 | 925064 | 925064 | 0 | 0 | 0 | Fire incident on 8/1/2022, data till 04/01
[10 empty] | -0.117 | [5 empty] | Assessment
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71757 | 71590 | 167 | -167000 | -0.167 | 17550 | 17550 | 0 | 0 | 0 | Fire incident on 8/1/2022, data till 04/01
[10 empty] | -0.167 | [5 empty] | Assessment
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4862 | 4821 | 41 | -82000 | -0.082 | 999557 | 999557 | 0 | 0 | 0 | Fire incident on 8/1/2022, data till 04/01
[10 empty] | -0.082 | [5 empty] | Assessment
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82353 | 79540 | 2813 | -2813000 | -2.813 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 54627 | 53221 | 1406 | -2812000 | -2.812 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 3152 | 1545 | 1607 | -2410500 | -2.4105 | 0 | 0 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4847 | 2404 | 2443 | -2443000 | -2.443 | 0 | 0 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996440 | 996301 | 139 | -139000 | -0.139 | 999978 | 999978 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991187 | 991091 | 96 | -96000 | -0.096 | 994640 | 994640 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991229 | 991243 | -14 | 14000 | 0.014 | 987074 | 987074 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995980 | 996565 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 972464 | 974269 | -1805 | -1444000 | -1.444 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 919140 | 921951 | -2811 | -2248800 | -2.2488 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997455 | 997756 | -301 | -240800 | -0.2408 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995036 | 995437 | -401 | -320800 | -0.3208 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987369 | 987619 | -250 | -500000 | -0.5 | 999390 | 999403 | -13 | -26000 | -0.026
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 107695 | 105604 | 2091 | -4182000 | -4.182 | 1919 | 1919 | 0 | 0 | 0
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6495 | 2697 | 3798 | -3798000 | -3.798 | 55 | 55 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 133112 | 129695 | 3417 | -3417000 | -3.417 | 1949 | 1949 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 196 | 212 | -16 | -1600 | -0.0016 | 128 | 113 | 15 | 1500 | 0.0015
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998850 | 998924 | -74 | -13875 | -0.013875
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998966 | 999578 | -612 | -612000 | -0.612 | 0 | 0 | 0 | 0 | 0
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999012 | 999617 | -605 | -605000 | -0.605 | 0 | 0 | 0 | 0 | 0
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902010 | 902934 | -924 | -739200 | -0.7392 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 511 | 244 | 267 | 267000 | 0.267 | 0 | 0 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999012 | 999658 | -646 | -646000 | -0.646 | 0 | 0 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10737 | 10742 | -5 | -375 | -0.000375 | 25871 | 25896 | -25 | -1875 | -0.001875
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5406 | 5402 | 4 | 400 | 0.0004 | 19201 | 19175 | 26 | 2600 | 0.0026
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9853 | 10033 | -180 | -90000 | -0.09 | 3257 | 3257 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997104 | 997459 | -355 | -355000 | -0.355 | 4221 | 4221 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982042 | 982473 | -431 | -431000 | -0.431 | 914 | 914 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7674 | 7758 | -84 | -84000 | -0.084 | 6740 | 6740 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999816 | 1000105 | -289 | -289000 | -0.289 | 18 | 18 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 989907 | 990561 | -654 | -65400 | -0.0654 | 910413 | 910413 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6624 | 6517 | 107 | 107000 | 0.107 | 1125 | 1125 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5593 | 5692 | -99 | -99000 | -0.099 | 7454 | 7453 | 1 | 1000 | 0.001
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992635 | 993655 | -1020 | -204000 | -0.204 | 15248 | 15248 | 0 | 0 | 0
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988033 | 988438 | -405 | -75937.5 | -0.075938 | 4781 | 4781 | 0 | 0 | 0
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 983142 | 984696 | -1554 | -291375 | -0.29137 | 3876 | 3876 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4049 | 4219 | -170 | -42500 | -0.0425 | 8122 | 8122 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993515 | 993924 | -409 | -40900 | -0.0409 | 29815 | 29815 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -74.481 |  |  |  |  | -1.324
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21981 | 21985 | -4 | 2000 | 0.002 | 4943 | 4955 | -12 | 6000 | 0.006
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992640 | 992754 | -114 | 15199.62 | 0.0152 | 12526 | 12528 | -2 | 266.66 | 0.00026666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1303 | 1416 | -113 | 113000 | 0.113 | 999336 | 999336 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991349 | 991845 | -496 | 496000 | 0.496 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3492 | 4153 | -661 | 105760 | 0.10576 | 31997 | 31998 | -1 | 160 | 0.00016
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3834 | 3866 | -32 | 6400 | 0.0064 | 10970 | 10970 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973338 | 974199 | -861 | 861000 | 0.861 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999920 | 999997 | -77 | 7700 | 0.0077 | 1000000 | 999999 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3966 | 4021 | -55 | 5500 | 0.0055 | 1602 | 1593 | 9 | -900 | -0.0009
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 421 | 421 | 0 | 0 | 0 | 1289 | 1289 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3184 | 3200 | -16 | 1600 | 0.0016 | 32929 | 32931 | -2 | 200 | 0.0002
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 757 | 761 | -4 | 5332 | 0.005332 | 598 | 600 | -2 | 2666 | 0.002666
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 14 | -1400 | -0.0014
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1998 | 2064 | -66 | 6600 | 0.0066 | 5167 | 5157 | 10 | -1000 | -0.001
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 60 | 61 | -1 | -400 | -0.0004
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999881 | 999881 | 0 | 0 | 0 | 999431 | 999433 | -2 | 800 | 0.0008
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 4054 | 1852 | 2202 | -1761600 | -1.7616 | 6224 | 6224 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983077 | 984847 | -1770 | 1770000 | 1.77 | 2358 | 2358 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1382 | 1643 | -261 | 195750 | 0.19575 | 3410 | 3410 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.8302 |  |  |  |  | 0.0062927
JANUARY-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -74.481 |  |  |  |  | -1.324
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.8302 |  |  |  |  | 0.0062927
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -1.1326 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0004125 |  |  |  |  | -0.1175
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -73.7829 |  |  |  |  | -1.4352
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -73.7829 | (REACTIVE MUs) |  |  |  | -1.4352 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.4991 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -82.282 | (REACTIVE MUs) |  |  |  | -1.4352 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1634 | 1777 | -143 | -38133.81 | -0.038134 | 2321 | 2321 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 6065 | 4547 | 1518 | 151800 | 0.1518 | 24 | 24 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 980533 | 981337 | -804 | -160800 | -0.1608 | 999382 | 999382 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1331 | 1314 | 17 | 17000 | 0.017 | 82 | 81 | 1 | 1000 | 0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3697 | 3743 | -46 | -36800 | -0.0368 | 2724 | 2733 | -9 | -7200 | -0.0072
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2291 | 2423 | -132 | -105600 | -0.1056 | 1327 | 1313 | 14 | 11200 | 0.0112
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 947655 | 948598 | -943 | -754400 | -0.7544 | 989409 | 989441 | -32 | -25600 | -0.0256
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992715 | 992870 | -155 | -310000 | -0.31 | 999482 | 999500 | -18 | -36000 | -0.036
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 954216 | 955098 | -882 | -44100 | -0.0441 | 19425 | 19588 | -163 | -8150 | -0.00815
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 963926 | 965637 | -1711 | -128325 | -0.12832 | 20658 | 20687 | -29 | -2175 | -0.002175
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997870 | 997937 | -67 | -33500 | -0.0335 | 5428 | 5431 | -3 | -1500 | -0.0015
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996037 | 996078 | -41 | -15375 | -0.015375 | 7321 | 7347 | -26 | -9750 | -0.00975
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999159 | 999625 | -466 | -46600 | -0.0466 | 998855 | 998987 | -132 | -13200 | -0.0132
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11128 | 11230 | -102 | -7650 | -0.00765 | 41259 | 41292 | -33 | -2475 | -0.002475
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 2091 | 2986 | -895 | -89500 | -0.0895 | 1196 | 1226 | -30 | -3000 | -0.003
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996290 | 997535 | -1245 | -1245000 | -1.245 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985810 | 987353 | -1543 | -1543000 | -1.543 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999016 | 999320 | -304 | -760000 | -0.76 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996885 | 997234 | -349 | -872500 | -0.8725 | 461 | 461 | 0 | 0 | 0
[10 empty] | -4.4205 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991349 | 991845 | -496 | -496000 | -0.496 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3492 | 4153 | -661 | -105760 | -0.10576 | 31997 | 31998 | -1 | -160 | -0.00016
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3834 | 3866 | -32 | -6400 | -0.0064 | 10970 | 10970 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973338 | 974199 | -861 | -861000 | -0.861 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
JANUARY-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996636 | 996470 | 166 | -166000 | -0.166 | 989799 | 989799 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998847 | 998675 | 172 | -172000 | -0.172 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997995 | 997894 | 101 | -202000 | -0.202 | 996394 | 996394 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999854 | 999661 | 193 | -193000 | -0.193 | 995020 | 995020 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 421 | 421 | 0 | 0 | 0 | 1289 | 1289 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999920 | 999997 | -77 | -7700 | -0.0077 | 1000000 | 999999 | 1 | 100 | 0.0001
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3966 | 4021 | -55 | -5500 | -0.0055 | 1602 | 1593 | 9 | 900 | 0.0009
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21981 | 21985 | -4 | -2000 | -0.002 | 4943 | 4955 | -12 | -6000 | -0.006
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 511 | 244 | 267 | -267000 | -0.267 | 0 | 0 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999563 | 999658 | -95 | 95000 | 0.095 | 999999 | 1000000 | -1 | 1000 | 0.001
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10737 | 10742 | -5 | 375 | 0.000375 | 25871 | 25896 | -25 | 1875 | 0.001875
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5406 | 5402 | 4 | -400 | -0.0004 | 19201 | 19175 | 26 | -2600 | -0.0026
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.4119 |  |  |  |  | -0.10174
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -8.4119 |  |  |  |  | -0.10174
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.83289 |  |  |  |  | 0
| TOTAL ENERGY TO NDMC | [8 empty] | -9.2448 |  |  |  |  | -0.10174

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 3264 | 1023 | 204600 | 0.2046 | 77437 | 77436 | 1 | 200 | 0.0002
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 41 | 266 | -225 | -36000 | -0.036 | 30570 | 30570 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4624 | 4565 | 59 | 59000 | 0.059 | 59190 | 59190 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999900 | 999970 | -70 | -28000 | -0.028 | 19469 | 19469 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999438 | 999527 | -89 | -71200 | -0.0712 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2851 | 2857 | -6 | -2400 | -0.0024 | 6044 | 6044 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1303 | 1416 | -113 | -113000 | -0.113 | 999336 | 999336 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.013 |  |  |  |  | 0.0002
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4040 | 4051 | -11 | -412.5 | -0.0004125 | 10751 | 10603 | 148 | 5550 | 0.00555
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 87 | 79 | 8 | 800 | 0.0008
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 37524 | 36183 | 1341 | 100575 | 0.10057
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1948 | 1967 | -19 | -1425 | -0.001425
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4910 | 4790 | 120 | 12000 | 0.012
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0004125 |  |  |  |  | 0.1175
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.013 |  |  |  |  | 0.0002
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.012587 |  |  |  |  | 0.1177
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.012587 | (REACTIVE MUs) |  |  |  | 0.1177 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.23412 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.22153 | (REACTIVE MUs) |  |  |  | 0.1177 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991194 | 991056 | 138 | 86250 | 0.08625 | 271 | 267 | 4 | 2500 | 0.0025
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999759 | 999687 | 72 | 36000 | 0.036 | 48 | 45 | 3 | 1500 | 0.0015
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 4054 | 1852 | 2202 | 1761600 | 1.7616 | 6224 | 6224 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58690 | 58410 | 280 | -280 | -0.00028 | 234430 | 230070 | 4360 | -4360 | -0.00436
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 32310 | 32310 | 0 | 0 | 0 | 421460 | 393609 | 27851 | -27851 | -0.027851
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 130900 | 129600 | 1300 | -1300 | -0.0013 | 1297400 | 1240099 | 57301 | -57301 | -0.057301
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.8823 |  |  |  |  | -0.085512
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.11433 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 1.7679 |  |  |  |  | -0.085512

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 997266 | 998048 | -782 | -391000 | -0.391 | 999998 | 999998 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 34524 | 38721 | -4197 | -419700 | -0.4197 | 998567 | 998567 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16465 | 16918 | -453 | -226500 | -0.2265 | 5312 | 5312 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997711 | 997825 | -114 | -106875 | -0.10687 | 999704 | 999704 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999584 | 999692 | -108 | 108000 | 0.108 | 999721 | 999721 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993596 | 993403 | 193 | -96500 | -0.0965 | 163 | 163 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -1.1326 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 963650 | 965801 | -2151 | -430200 | -0.4302 | 993665 | 993665 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986320 | 986859 | -539 | -505312.5 | -0.50531 | 999443 | 999443 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.93551 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1476 | 1576 | -100 | -125000 | -0.125 | 998650 | 998650 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 58389 | 60943 | -2554 | -359156.25 | -0.35916 | 987199 | 987199 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 40393 | 42382 | -1989 | -331500.663 | -0.3315 | 988396 | 988396 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 734 | 809 | -75 | -281250 | -0.28125 | 153 | 153 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999522 | 999810 | -288 | -288000 | -0.288 | 999997 | 999997 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 981940 | 983965 | -2025 | -303750 | -0.30375 | 988328 | 988328 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 1000161 | 1000172 | -11 | 6875 | 0.006875 | 999915 | 999915 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -1.6818 |  |  |  |  | 0
| E) NET EXPORT TO BSES RPL | [8 empty] | -1.1326 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.93551 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.6818 |  |  |  |  | 0

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 153226 | 146865 | 6361 | 6361000 | 6.361 | 47829 | 47829 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 21665 | 18806 | 2859 | 5718000 | 5.718 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 883223 | 885900 | -2677 | 1338500 | 1.3385 | 998001 | 998001 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 422720 | 424131 | -1411 | 141100 | 0.1411 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 13.5586 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 13.5586 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -17.8416 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -11.6102 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -4.4205 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -33.8724 |  |  |  |  | 0
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -20.3138 |  |  |  |  | 0
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.3588 | % |  |  | -6.3702 |  |  |  |  | 0
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8389 | % |  |  | -8.4991 |  |  |  |  | 0
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.9868 | % |  |  | -4.2632 |  |  |  |  | 0
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1001 | % |  |  | -0.83289 |  |  |  |  | 0
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1525 | % |  |  | -0.23412 |  |  |  |  | 0
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5628 | % |  |  | -0.11433 |  |  |  |  | 0
Note :Sharing taken from wk-45 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2022 TO 31ST JANUARY-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -96.1296 |  | -0.52879
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -82.282 |  | -1.4352
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -38.3095 |  | -0.29083
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -9.2448 |  | -0.10174
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.22153 | + | 0.1177
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 1.7679 |  | -0.085512
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83