## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964985 | 964985 | 0 | 0 | 0 | 996689 | 996866 | -177 | 177000 | 0.177
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85258 | 85245 | 13 | -26000 | -0.026 | 4772 | 4755 | 17 | -34000 | -0.034
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2691 | 2689 | 2 | -2000 | -0.002 | 263 | 262 | 1 | -1000 | -0.001
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30659 | 30438 | 221 | -221000 | -0.221 | 96351 | 96278 | 73 | -73000 | -0.073
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 991913 | 992013 | -100 | 100000 | 0.1
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898574 | 898569 | 5 | -5000 | -0.005 | 26543 | 26564 | -21 | 21000 | 0.021
[5 empty] | -1000 | [5 empty] | 26611 | 26750 | -139 | 139000 | 0.139
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8739 | 7698 | 1041 | -1041000 | -1.041 | 5 | 5 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20818 | 19866 | 952 | -952000 | -0.952 | 998221 | 998221 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13641 | 13110 | 531 | -531000 | -0.531 | 997685 | 997685 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975116 | 975115 | 1 | -500 | -0.0005 | 838761 | 838761 | 0 | 0 | 0
[5 empty] | -500 | 974796 | 974015 | 781 | -390500 | -0.3905
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1080 | 1126 | -46 | 46000 | 0.046 | 998780 | 998780 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9291 | 8847 | 444 | -444000 | -0.444 | 999897 | 999897 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51303 | 50121 | 1182 | -1182000 | -1.182 | 996715 | 996715 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 20103 | 18061 | 2042 | -2042 | -2.042 | 99999724 | 99999724 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 758539 | 761182 | -2643 | -2643000 | -2.643 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 873613 | 883265 | -9652 | -4826000 | -4.826 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12344 | 12322 | 22 | -22000 | -0.022 | 999930 | 999932 | -2 | 2000 | 0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 62307 | 62194 | 113 | -56500 | -0.0565 | 363 | 358 | 5 | -2500 | -0.0025
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53842 | 53732 | 110 | -110000 | -0.11 | 998663 | 998662 | 1 | -1000 | -0.001
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999861 | 999861 | 0 | 0 | 0 | 989394 | 989633 | -239 | -239000 | -0.239
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999935 | 999935 | 0 | 0 | 0 | 999933 | 999958 | -25 | -100000 | -0.1
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1355 | 0 | 0 | 0 | 14559 | 14435 | 124 | 62000 | 0.062
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 37387 | 37387 | 0 | 0 | 0 | 194997 | 186709 | 8288 | 414400 | 0.4144
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 998680 | 998708 | -28 | -28000 | -0.028
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999061 | 999150 | -89 | -89000 | -0.089
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 43719 | 43830 | -111 | -11100 | -0.0111 | 192149 | 192177 | -28 | -2800 | -0.0028
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994438 | 994594 | -156 | -156000 | -0.156 | 999456 | 999456 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 931307 | 933555 | -2248 | -1124000 | -1.124 | 999897 | 999897 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995078 | 995396 | -318 | -84801.06 | -0.084801 | 999872 | 999872 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2224 | 2224 | 0 | 0 | 0 | 275 | 268 | 7 | 3500 | 0.0035
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46339 | 45502 | 837 | -837000 | -0.837 | 996501 | 996501 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 242866 | 241858 | 1008 | -504000 | -0.504 | 17545 | 17545 | 0 | 0 | 0
[5 empty] | -500 | 241107 | 240662 | 445 | -222500 | -0.2225
[5 empty] | -500 | 236555 | 235671 | 884 | -442000 | -0.442
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7213 | 6463 | 750 | -1500000 | -1.5 | 999630 | 999630 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54298 | 51313 | 2985 | -2985000 | -2.985 | 998916 | 998916 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 122292 | 116118 | 6174 | -12348000 | -12.348 | 292 | 292 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117510 | 113470 | 4040 | -4040000 | -4.04 | 998442 | 998442 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 134744 | 114298 | 20446 | -6815265.18 | -6.8153 | 176 | 176 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 20273 | 18264 | 2009 | -4018000 | -4.018 | 249 | 249 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78217 | 74034 | 4183 | -4183000 | -4.183 | 1672 | 1672 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1653000 | 1142000 | 511000 | 511000 | 0.511 | -4000 | -4000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 9657000 | 7883000 | 1774000 | 1774000 | 1.774 | -13000 | -13000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6523 | 6107 | 416 | -416000 | -0.416 | 997842 | 997842 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53211 | 52647 | 564 | -564000 | -0.564 | 1621 | 1621 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998534 | 998534 | 0 | 0 | 0 | 26398 | 26388 | 10 | 10000 | 0.01
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | APRIL-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999735 | 999813 | -78 | -7800 | -0.0078 | 999996 | 999996 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3045 | 3039 | 6 | 600 | 0.0006 | 30875 | 30857 | 18 | 1800 | 0.0018
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 764 | 763 | 1 | 1333 | 0.001333 | 559 | 558 | 1 | 1333 | 0.001333
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3198 | 3192 | 6 | 600 | 0.0006 | 2138 | 2127 | 11 | 1100 | 0.0011
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2014 | 2020 | -6 | -600 | -0.0006 | 3609 | 3581 | 28 | 2800 | 0.0028
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999798 | 999798 | 0 | 0 | 0 | 2134 | 2125 | 9 | 4500 | 0.0045
57 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2409 | 2409 | 0 | 0 | 0 | 448 | 448 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.0025 | Assessment
|  | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | 12500 | 0.0125 | w.e.f 5/4
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1017 | 1017 | 0 | 0 | 0 | 641 | 549 | 92 | 46000 | 0.046
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994757 | 995053 | -296 | -29600 | -0.0296 | 3174 | 3174 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8021 | 8021 | 0 | 0 | 0 | 13300 | 13185 | 115 | 11500 | 0.0115
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10819 | 10819 | 0 | 0 | 0 | 3962 | 3638 | 324 | 32400 | 0.0324
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29838 | 29838 | 0 | 0 | 0 | 9523 | 9210 | 313 | 31300 | 0.0313
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59886 | 59748 | 138 | 13800 | 0.0138 | 1738 | 1738 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999702 | 999703 | -1 | -133.33 | -0.00013333 | 413 | 399 | 14 | 1866.62 | 0.0018666
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
|  | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/4
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 962018 | 962888 | -870 | -696000 | -0.696 | 999720 | 999720 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995144 | 995273 | -129 | -258000 | -0.258 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 972960 | 973399 | -439 | -87800 | -0.0878 | 1421 | 1421 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996269 | 996392 | -123 | -30750 | -0.03075 | 534 | 534 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988387 | 988418 | -31 | -31000 | -0.031 | 1976 | 2019 | -43 | -43000 | -0.043
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1453 | 1419 | 34 | 25500 | 0.0255 | 3313 | 3313 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -53.514 |  |  |  |  | 0.4652
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18477 | 18477 | 0 | 0 | 0 | 145532 | 144548 | 984 | -98400 | -0.0984
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 812 | 812 | 0 | 0 | 0 | 252 | 146 | 106 | -106000 | -0.106
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4263 | 4231 | 32 | -4266.56 | -0.0042666 | 6433 | 6224 | 209 | -27865.97 | -0.027866
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997236 | 0 | 0 | 0 | 999492 | 999588 | -96 | 18000 | 0.018
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 905743 | 907001 | -1258 | 1006400 | 1.0064 | 997864 | 997864 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990050 | 990068 | -18 | 11250 | 0.01125 | 16 | 15 | 1 | -625 | -0.000625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990450 | 990452 | -2 | 1250 | 0.00125 | 999866 | 999867 | -1 | 625 | 0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994821 | 994827 | -6 | 1200 | 0.0012 | 14625 | 14611 | 14 | -2800 | -0.0028
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990559 | 990647 | -88 | 16500 | 0.0165 | 5366 | 5406 | -40 | 7500 | 0.0075
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987684 | 987812 | -128 | 24000 | 0.024 | 4119 | 4080 | 39 | -7312.5 | -0.0073125
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4514 | 4512 | 2 | -500 | -0.0005 | 8046 | 8046 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994658 | 994744 | -86 | 8600 | 0.0086 | 29807 | 29810 | -3 | 300 | 0.0003
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.0644 |  |  |  |  | -0.21658
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -53.514 |  |  |  |  | 0.4652
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.0644 |  |  |  |  | -0.21658
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.23167 |  |  |  |  | -0.007425
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -52.6813 |  |  |  |  | 0.2412
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -52.6813 | (REACTIVE MUs) |  |  |  | 0.2412 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.7076 | (REACTIVE MUs) |  |  |  | -0.04706 | (REACTIVE MUs)
[9 empty] | TOTAL | -59.3889 | (REACTIVE MUs) |  |  |  | 0.19414 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 35836 | 35996 | -160 | -42720 | -0.04272 | 994347 | 994362 | -15 | -4005 | -0.004005
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10167 | 10565 | -398 | -119400 | -0.1194 | 2744 | 2841 | -97 | -29100 | -0.0291
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 351406 | 350276 | 1130 | 84750 | 0.08475 | 403356 | 403102 | 254 | 19050 | 0.01905
4 | IG STD- BAY-29 | 4865085 | ELSTER | Kvarh(Lead/Lag) | 300 | 992111 | 992288 | -177 | -53100 | -0.0531 | 591 | 596 | -5 | -1500 | -0.0015 | Check Meter Data
|  | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/4
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1574 | 1561 | 13 | 17332.9 | 0.017333 | 3618 | 3609 | 9 | 11999.7 | 0.012
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14850 | 14329 | 521 | 52100 | 0.0521 | 4034 | 3943 | 91 | 9100 | 0.0091
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 161763 | 161182 | 581 | 43575 | 0.043575 | 893192 | 892623 | 569 | 42675 | 0.042675
[5 empty] | 75 | 160529 | 159207 | 1322 | 99150 | 0.09915
[5 empty] | 75 | 158328 | 158011 | 317 | 23775 | 0.023775
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976841 | 977187 | -346 | -346000 | -0.346 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 985098 | 985526 | -428 | -214000 | -0.214 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998322 | 998641 | -319 | -319000 | -0.319 | 999997 | 999997 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984509 | 984387 | 122 | 122000 | 0.122 | 1348 | 1348 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986826 | 986909 | -83 | -83000 | -0.083 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994263 | 993980 | 283 | 283000 | 0.283 | 998660 | 998634 | 26 | 26000 | 0.026
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993296 | 993601 | -305 | -305000 | -0.305 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994445 | 994608 | -163 | -130400 | -0.1304 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 10282 | 12437 | -2155 | -287326.15 | -0.28733 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13 | 55 | -42 | -42000 | -0.042 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1426 | 898 | 528 | 528000 | 0.528 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 969626 | 969780 | -154 | -192500 | -0.1925 | 948082 | 948142 | -60 | -75000 | -0.075
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977966 | 978458 | -492 | -492000 | -0.492 | 934764 | 934836 | -72 | -72000 | -0.072
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998450 | 998555 | -105 | -105000 | -0.105 | 999225 | 999242 | -17 | -17000 | -0.017
| KASHMIRI GATE | [8 empty] | -0.7895 |  |  |  |  | -0.164
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984898 | 984902 | -4 | 4000 | 0.004 | 998098 | 998157 | -59 | 59000 | 0.059
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983677 | 983705 | -28 | 28000 | 0.028 | 998806 | 998806 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
|  | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/4
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13301 | 13585 | -284 | -284000 | -0.284
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 215215 | 215215 | 0 | 0 | 0 | 9207 | 9207 | 0 | 0 | 0
[5 empty] | -1000 | 209743 | 205391 | 4352 | -4352000 | -4.352
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56191 | 55408 | 783 | -783000 | -0.783 | 408 | 450 | -42 | 42000 | 0.042
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4720 | 4328 | 392 | -392000 | -0.392 | 999276 | 999277 | -1 | 1000 | 0.001
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4824 | 4674 | 150 | -150000 | -0.15 | 998447 | 998447 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82013 | 81626 | 387 | -387000 | -0.387 | 982850 | 982850 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62930 | 60558 | 2372 | -2372000 | -2.372 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45390 | 43702 | 1688 | -3376000 | -3.376 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 812 | 812 | 0 | 0 | 0 | 252 | 146 | 106 | 106000 | 0.106
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4263 | 4231 | 32 | 4266.56 | 0.0042666 | 6433 | 6224 | 209 | 27865.97 | 0.027866
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993262 | 993262 | 0 | 0 | 0 | 7829 | 7761 | 68 | 9044 | 0.009044
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950580 | 950625 | -45 | 45000 | 0.045 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971070 | 971200 | -130 | 130000 | 0.13 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -13.0785 |  |  |  |  | -0.12887
| (A) NET ENERGY TO CENTRAL | [8 empty] | -13.0785 |  |  |  |  | -0.12887
APRIL-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990351 | 990342 | 9 | -9000 | -0.009 | 997038 | 997071 | -33 | 33000 | 0.033
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979016 | 979016 | 0 | 0 | 0 | 949529 | 949559 | -30 | 30000 | 0.03
[5 empty] | -1000 | 978763 | 978761 | 2 | -2000 | -0.002
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992389 | 992390 | -1 | 1000 | 0.001 | 997481 | 997531 | -50 | 50000 | 0.05
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993760 | 993836 | -76 | 76000 | 0.076 | 998336 | 998348 | -12 | 12000 | 0.012
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34095 | 33738 | 357 | -357000 | -0.357 | 997654 | 997663 | -9 | 9000 | 0.009
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 1357 | 626 | 731 | -365500 | -0.3655 | 999989 | 1000001 | -12 | 6000 | 0.006
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9907 | 9751 | 156 | -156000 | -0.156 | 12107 | 12107 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2852 | 2723 | 129 | -129000 | -0.129 | 999908 | 999923 | -15 | 15000 | 0.015
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934030 | 933564 | 466 | -466000 | -0.466 | 978722 | 978722 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986660 | 987052 | -392 | 392000 | 0.392 | 974764 | 974764 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966087 | 966417 | -330 | 330000 | 0.33 | 825275 | 825275 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8628 | 7621 | 1007 | -2014000 | -2.014 | 7 | 7 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5135 | 4783 | 352 | -352000 | -0.352 | 78 | 78 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23152 | 23793 | -641 | 641000 | 0.641 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.4105 |  |  |  |  | 0.155
| (B) NET ENERGY TO EAST | [8 empty] | -2.4105 |  |  |  |  | 0.155
APRIL-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995078 | 995396 | -318 | 84801.06 | 0.084801 | 999872 | 999872 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2224 | 2224 | 0 | 0 | 0 | 275 | 268 | 7 | -3500 | -0.0035
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2371 | 2453 | -82 | 21866.12 | 0.021866 | 2222 | 2221 | 1 | -266.66 | -0.00026666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112447 | 112450 | -3 | 300 | 0.0003 | 152455 | 152456 | -1 | 100 | 0.0001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 984099 | 984464 | -365 | 73000 | 0.073 | 999329 | 999329 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 729 | 673 | 56 | -56000 | -0.056 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2463 | 2423 | 40 | -32000 | -0.032 | 2661 | 2661 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3315 | 3415 | -100 | 80000 | 0.08 | 1325 | 1325 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 985377 | 985957 | -580 | 464000 | 0.464 | 998685 | 998688 | -3 | 2400 | 0.0024
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 953477 | 953789 | -312 | 249600 | 0.2496 | 979832 | 979887 | -55 | 44000 | 0.044
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 956088 | 957045 | -957 | 765600 | 0.7656 | 989748 | 989754 | -6 | 4800 | 0.0048
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994687 | 994918 | -231 | 462000 | 0.462 | 999537 | 999538 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991059 | 991515 | -456 | 912000 | 0.912 | 999488 | 999488 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998534 | 998534 | 0 | 0 | 0 | 26398 | 26388 | 10 | -10000 | -0.01
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999735 | 999813 | -78 | 7800 | 0.0078 | 999996 | 999996 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999798 | 999798 | 0 | 0 | 0 | 2134 | 2125 | 9 | -4500 | -0.0045
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2409 | 2409 | 0 | 0 | 0 | 448 | 448 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0025 | Assessment
|  | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | -12500 | -0.0125 | w.e.f 5/4
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1017 | 1017 | 0 | 0 | 0 | 641 | 549 | 92 | -46000 | -0.046
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59886 | 59748 | 138 | -13800 | -0.0138 | 1738 | 1738 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999702 | 999703 | -1 | 133.33 | 0.00013333 | 413 | 399 | 14 | -1866.62 | -0.0018666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994757 | 995053 | -296 | 29600 | 0.0296 | 3174 | 3174 | 0 | 0 | 0
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8021 | 8021 | 0 | 0 | 0 | 13300 | 13185 | 115 | -11500 | -0.0115
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10819 | 10819 | 0 | 0 | 0 | 3962 | 3638 | 324 | -32400 | -0.0324
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29838 | 29838 | 0 | 0 | 0 | 9523 | 9210 | 313 | -31300 | -0.0313
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 27860 | 24320 | 3540 | 3540 | 0.00354 | 102720 | 96750 | 5970 | 5970 | 0.00597
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 18680 | 15480 | 3200 | 3200 | 0.0032 | 289489 | 276470 | 13019 | 13019 | 0.013019
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 64800 | 62400 | 2400 | 2400 | 0.0024 | 822600 | 772899 | 49701 | 49701 | 0.049701
[10 empty] | 3.058 |  |  |  |  | -0.034343
APRIL-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -13.0785 |  |  |  |  | -0.12887
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.058 |  |  |  |  | -0.034343
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.047525 |  |  |  |  | 0.005425
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -9.9729 |  |  |  |  | -0.15779
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.4105 |  |  |  |  | 0.155
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -12.3834 |  |  |  |  | -0.0027886
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -12.3834 | (REACTIVE MUs) |  |  |  | -0.0027886 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.056 | (REACTIVE MUs) |  |  |  | -0.035472 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.4394 | (REACTIVE MUs) |  |  |  | -0.038261 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998269 | 998309 | -40 | -40000 | -0.04 | 998644 | 998645 | -1 | -1000 | -0.001
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999289 | 999355 | -66 | -66000 | -0.066 | 999876 | 999902 | -26 | -26000 | -0.026
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 984198 | 984424 | -226 | -45200 | -0.0452 | 999695 | 999788 | -93 | -18600 | -0.0186
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999765 | 999743 | 22 | 29333.26 | 0.029333 | 999712 | 999692 | 20 | 26666.6 | 0.026667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998098 | 998173 | -75 | -112500 | -0.1125 | 999951 | 999954 | -3 | -4500 | -0.0045
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 12044 | 12322 | -278 | -27800 | -0.0278 | 21556 | 21639 | -83 | -8300 | -0.0083
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 981011 | 983298 | -2287 | -171525 | -0.17153 | 999206 | 999447 | -241 | -18075 | -0.018075
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 997536 | 998056 | -520 | -39000 | -0.039 | 999734 | 999798 | -64 | -4800 | -0.0048
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997295 | 997358 | -63 | -50400 | -0.0504 | 999731 | 999753 | -22 | -17600 | -0.0176
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 990013 | 990348 | -335 | -33500 | -0.0335 | 265057 | 265069 | -12 | -1200 | -0.0012
PAAPANKALAN
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 290 | 286 | 0 | 0 | 0 | 6 | 5 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18449 | 18396 | 53 | -53000 | -0.053 | 996545 | 996550 | -5 | 5000 | 0.005
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3232 | 3232 | 0 | 0 | 0 | 997030 | 997109 | -79 | 158000 | 0.158
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16879 | 16874 | 5 | -5000 | -0.005 | 996334 | 996338 | -4 | 4000 | 0.004
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 996465 | 995955 | 510 | -510000 | -0.51
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 112502 | 111170 | 1332 | -1332000 | -1.332 | 18993 | 18993 | 0 | 0 | 0
17 | Tx.2 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1695 | 1684 | 11 | -11000 | -0.011 | 11 | 11 | 0 | 0 | 0 | Check Meter data
|  | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37 | 0 | 37 | -37000 | -0.037 | 999989 | 1000000 | -11 | 11000 | 0.011 | w.e.f 21/4
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24608 | 24180 | 428 | -856000 | -0.856 | 998525 | 998521 | 4 | -8000 | -0.008
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940743 | 940682 | 61 | -61000 | -0.061 | 813926 | 813981 | -55 | 55000 | 0.055
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 45273 | 42768 | 2505 | -2004000 | -2.004 | 1189 | 1180 | 9 | -7200 | -0.0072
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 81281 | 78593 | 2688 | -2150400 | -2.1504 | 998283 | 998281 | 2 | -1600 | -0.0016
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951656 | 952159 | -503 | 503000 | 0.503 | 960736 | 960737 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 962345 | 963744 | -1399 | 2798000 | 2.798 | 992251 | 992251 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 915556 | 916242 | -686 | 1372000 | 1.372 | 983740 | 983740 | 0 | 0 | 0
[5 empty] | -2000 | 916768 | 916820 | -52 | 104000 | 0.104
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9812 | 10015 | -203 | 203000 | 0.203 | 997056 | 997056 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5113 | 5400 | -287 | 287000 | 0.287 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980742 | 981319 | -577 | 577000 | 0.577 | 999981 | 999981 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 200147 | 196915 | 3232 | -3232000 | -3.232 | 81668 | 81668 | 0 | 0 | 0
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2136 | 1143 | 993 | -993000 | -0.993 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945537 | 946522 | -985 | 985000 | 0.985 | 965531 | 965531 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978444 | 978903 | -459 | 459000 | 0.459 | 984010 | 984010 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88232 | 86046 | 2186 | -2186000 | -2.186 | 985605 | 985605 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 28755 | 28207 | 548 | -438400 | -0.4384 | 999017 | 999017 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48067 | 47788 | 279 | -446400 | -0.4464 | 978836 | 978836 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997432 | 997435 | -3 | 6000 | 0.006 | 984276 | 984284 | -8 | 16000 | 0.016
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6502 | 6546 | -44 | 22000 | 0.022 | 989642 | 989696 | -54 | 27000 | 0.027
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22525 | 22480 | 45 | -45000 | -0.045 | 31764 | 31770 | -6 | 6000 | 0.006
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2690 | 2691 | -1 | 1000 | 0.001 | 996435 | 996435 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 843 | 843 | 0 | 0 | 0 | 999845 | 999916 | -71 | 71000 | 0.071
BRPL(+) continue | [14 empty] | APRIL-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51128 | 50705 | 423 | -423000 | -0.423 | 999526 | 999526 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11949 | 11591 | 358 | -358000 | -0.358 | 84 | 83 | 1 | -1000 | -0.001
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7147 | 7150 | -3 | 3000 | 0.003 | 999546 | 999546 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5740 | 5266 | 474 | -474000 | -0.474 | 239 | 239 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7184 | 6904 | 280 | -280000 | -0.28 | 924903 | 924906 | -3 | 3000 | 0.003
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61581 | 60829 | 752 | -752000 | -0.752 | 9852 | 9853 | -1 | 1000 | 0.001
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3691 | 3640 | 51 | -102000 | -0.102 | 999594 | 999598 | -4 | 8000 | 0.008
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73822 | 72884 | 938 | -938000 | -0.938 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 49640 | 48926 | 714 | -1428000 | -1.428 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10388 | 10256 | 132 | -264000 | -0.264 | 2692 | 2692 | 0 | 0 | 0
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8843 | 8693 | 150 | -300000 | -0.3 | 1522 | 1522 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15 | 15 | 0 | 0 | 0 | 999989 | 999989 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994672 | 994681 | -9 | 9000 | 0.009 | 994661 | 994673 | -12 | 12000 | 0.012
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997566 | 997591 | -25 | 25000 | 0.025 | 987080 | 987080 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997815 | 998062 | 0 | 0 | 0 | 999993 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977963 | 978368 | -405 | -324000 | -0.324 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 935786 | 937304 | -1518 | -1214400 | -1.2144 | 999482 | 999482 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997831 | 997962 | -131 | -104800 | -0.1048 | 999838 | 999838 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995493 | 995522 | -29 | -23200 | -0.0232 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 991059 | 991515 | -456 | -912000 | -0.912 | 999488 | 999488 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 88981 | 88981 | 0 | 0 | 0 | 1041 | 1001 | 40 | -80000 | -0.08
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 7564 | 5584 | 1980 | -1980000 | -1.98
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117619 | 117619 | 0 | 0 | 0 | 1664 | 1653 | 11 | -11000 | -0.011
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18477 | 0 | 0 | 0 | 145532 | 144548 | 984 | 98400 | 0.0984
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997236 | 0 | 0 | 0 | 999492 | 999588 | -96 | -18000 | -0.018
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943804 | 943906 | -102 | -40800 | -0.0408 | 993079 | 993077 | 2 | 800 | 0.0008
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980489 | 980634 | -145 | -58000 | -0.058 | 73253 | 73252 | 1 | 400 | 0.0004
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 905743 | 907001 | -1258 | -1006400 | -1.0064 | 997864 | 997864 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 480330 | 474706 | 5624 | 562400 | 0.5624 | 86246 | 86246 | 0 | 0 | 0
[5 empty] | 100 | 474078 | 473942 | 136 | 13600 | 0.0136
[5 empty] | 100 | 468904 | 468811 | 93 | 9300 | 0.0093
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2375 | 2628 | -253 | -253000 | -0.253 | 1880 | 1880 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 23530 | 23588 | -58 | -4350 | -0.00435
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 17042 | 16932 | 110 | 11000 | 0.011
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8710 | 8709 | 1 | 500 | 0.0005 | 3221 | 3221 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997462 | 997464 | -2 | -2000 | -0.002 | 4210 | 4210 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984505 | 984530 | -25 | -25000 | -0.025 | 953 | 953 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6722 | 6692 | 30 | 30000 | 0.03 | 6695 | 6695 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 5269778 | ELSTER | Kvarh(Lead/Lag) | 2000 | 17518 | 17519 | -1 | -2000 | -0.002 | 986598 | 986598 | 0 | 0 | 0 | Check Meter Data
|  | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999987 | 1000000 | -13 | -13000 | -0.013 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/4
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 975392 | 974901 | 491 | 49100 | 0.0491 | 910086 | 910078 | 8 | 800 | 0.0008
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4628 | 4602 | 26 | 26000 | 0.026 | 1118 | 1118 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4558 | 4544 | 14 | 14000 | 0.014 | 7433 | 7431 | 2 | 2000 | 0.002
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994821 | 994827 | -6 | -1200 | -0.0012 | 14625 | 14611 | 14 | 2800 | 0.0028
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990559 | 990647 | -88 | -16500 | -0.0165 | 5366 | 5406 | -40 | -7500 | -0.0075
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987684 | 987812 | -128 | -24000 | -0.024 | 4119 | 4080 | 39 | 7312.5 | 0.0073125
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4514 | 4512 | 2 | 500 | 0.0005 | 8046 | 8046 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994658 | 994744 | -86 | -8600 | -0.0086 | 29807 | 29810 | -3 | -300 | -0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -15.6953 |  |  |  |  | -2.2008
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21302 | 21239 | 63 | -31500 | -0.0315 | 4880 | 4880 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993262 | 993262 | 0 | 0 | 0 | 7829 | 7761 | 68 | -9066.44 | -0.0090664
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1155 | 1159 | -4 | 4000 | 0.004 | 999095 | 999096 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993061 | 993286 | -225 | 225000 | 0.225 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6729 | 6778 | -49 | 7840 | 0.00784 | 29879 | 29879 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3573 | 3574 | -1 | 200 | 0.0002 | 8226 | 8228 | -2 | 400 | 0.0004
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977958 | 978608 | -650 | 650000 | 0.65 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102648 | 102647 | 1 | -100 | -0.0001 | 75971 | 75962 | 9 | -900 | -0.0009
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4418 | 4524 | -106 | 10600 | 0.0106 | 1374 | 1374 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 6015 | 6987 | -972 | 97200 | 0.0972 | 70815 | 70815 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 185 | 162 | 23 | -14375 | -0.014375 | 1448 | 1448 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3045 | 3039 | 6 | -600 | -0.0006 | 30875 | 30857 | 18 | -1800 | -0.0018
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 764 | 763 | 1 | -1333 | -0.001333 | 559 | 558 | 1 | -1333 | -0.001333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3198 | 3192 | 6 | -600 | -0.0006 | 2138 | 2127 | 11 | -1100 | -0.0011
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2014 | 2020 | -6 | 600 | 0.0006 | 3609 | 3581 | 28 | -2800 | -0.0028
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999433 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996185 | 996467 | -282 | 225600 | 0.2256 | 6137 | 6137 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988387 | 988418 | -31 | 31000 | 0.031 | 1976 | 2019 | -43 | 43000 | 0.043
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1453 | 1419 | 34 | -25500 | -0.0255 | 3313 | 3313 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.178 |  |  |  |  | 0.027401
APRIL-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -15.6953 |  |  |  |  | -2.2008
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.178 |  |  |  |  | 0.027401
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.089663 |  |  |  |  | 0.0069225
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.003225 |  |  |  |  | -0.039188
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -14.6101 |  |  |  |  | -2.2057
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.6101 | (REACTIVE MUs) |  |  |  | -2.2057 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -9.7134 | (REACTIVE MUs) |  |  |  | -0.068149 | (REACTIVE MUs)
[9 empty] | TOTAL | -24.3236 | (REACTIVE MUs) |  |  |  | -2.2739 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2371 | 2453 | -82 | -21866.94 | -0.021867 | 2222 | 2221 | 1 | 266.67 | 0.00026667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112447 | 112450 | -3 | -300 | -0.0003 | 152455 | 152456 | -1 | -100 | -0.0001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 984099 | 984464 | -365 | -73000 | -0.073 | 999329 | 999329 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 729 | 673 | 56 | 56000 | 0.056 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2463 | 2423 | 40 | 32000 | 0.032 | 2661 | 2661 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3315 | 3415 | -100 | -80000 | -0.08 | 1325 | 1325 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 985377 | 985957 | -580 | -464000 | -0.464 | 998685 | 998688 | -3 | -2400 | -0.0024
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 953477 | 953789 | -312 | -249600 | -0.2496 | 979832 | 979887 | -55 | -44000 | -0.044
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 956088 | 957045 | -957 | -765600 | -0.7656 | 989748 | 989754 | -6 | -4800 | -0.0048
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994687 | 994918 | -231 | -462000 | -0.462 | 999537 | 999538 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 958827 | 959402 | -575 | -28750 | -0.02875 | 19039 | 19156 | -117 | -5850 | -0.00585
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 971328 | 972128 | -800 | -60000 | -0.06 | 22424 | 22460 | -36 | -2700 | -0.0027
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998049 | 998091 | -42 | -21000 | -0.021 | 5395 | 5403 | -8 | -4000 | -0.004
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996188 | 996193 | -5 | -1875 | -0.001875 | 7251 | 7237 | 14 | 5250 | 0.00525
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 982850 | 982852 | -2 | -200 | -0.0002 | 998673 | 998731 | -58 | -5800 | -0.0058
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10890 | 10732 | 158 | 11850 | 0.01185 | 40659 | 40640 | 19 | 1425 | 0.001425
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 5069 | 5488 | -419 | -41900 | -0.0419 | 1936 | 1958 | -22 | -2200 | -0.0022
G.T.
19 | VIDYUT BHAWAN-1 | 4865043 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994637 | 994637 | 0 | 0 | 0 | 30330 | 30330 | 0 | 0 | 0 | Check Meter
|  | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999971 | 1000000 | -29 | -29000 | -0.029 | 999967 | 1000000 | -33 | -33000 | -0.033 | w.e.f 6/4
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992272 | 992435 | -163 | -163000 | -0.163 | 2091 | 2162 | -71 | -71000 | -0.071
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984458 | 984480 | -22 | -22000 | -0.022 | 145004 | 145067 | -63 | -63000 | -0.063
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998378 | 998431 | -53 | -132500 | -0.1325 | 280 | 303 | -23 | -57500 | -0.0575
[10 empty] | -0.3465 |  |  |  |  | -0.2245
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993061 | 993286 | -225 | -225000 | -0.225 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6729 | 6778 | -49 | -7840 | -0.00784 | 29879 | 29879 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3573 | 3574 | -1 | -200 | -0.0002 | 8226 | 8228 | -2 | -400 | -0.0004
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977958 | 978608 | -650 | -650000 | -0.65 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
APRIL-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997082 | 997286 | -204 | 204000 | 0.204 | 990012 | 990012 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998409 | 998616 | -207 | 207000 | 0.207 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997808 | 997813 | -5 | 10000 | 0.01 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999524 | 999546 | -22 | 22000 | 0.022 | 995930 | 995930 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 185 | 162 | 23 | 14375 | 0.014375 | 1448 | 1448 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102648 | 102647 | 1 | 100 | 0.0001 | 75971 | 75962 | 9 | 900 | 0.0009
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4418 | 4524 | -106 | -10600 | -0.0106 | 1374 | 1374 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 6015 | 6987 | -972 | -97200 | -0.0972 | 70815 | 70815 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21302 | 21239 | 63 | 31500 | 0.0315 | 4880 | 4880 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 480330 | 474706 | 5624 | -562400 | -0.5624 | 86246 | 86246 | 0 | 0 | 0
[5 empty] | -100 | 474078 | 473942 | 136 | -13600 | -0.0136
[5 empty] | -100 | 468904 | 468811 | 93 | -9300 | -0.0093
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2375 | 2628 | -253 | 253000 | 0.253 | 1880 | 1880 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 23530 | 23588 | -58 | 4350 | 0.00435
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 17042 | 16932 | 110 | -11000 | -0.011
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.3509 |  |  |  |  | -0.29756
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.3509 |  |  |  |  | -0.29756
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.8484 |  |  |  |  | -0.0059523
| TOTAL ENERGY TO NDMC | [8 empty] | -4.1993 |  |  |  |  | -0.30351

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 69807 | 67869 | 1938 | 387600 | 0.3876
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 25938 | 24671 | 1267 | 202720 | 0.20272
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4634 | 4634 | 0 | 0 | 0 | 58466 | 58456 | 10 | 10000 | 0.01
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 18407 | 18366 | 41 | 16400 | 0.0164
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999724 | 999724 | 0 | 0 | 0 | 587 | 662 | -75 | -60000 | -0.06
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1683 | 1683 | 0 | 0 | 0 | 5454 | 5405 | 49 | 19600 | 0.0196
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1155 | 1159 | -4 | -4000 | -0.004 | 999095 | 999096 | -1 | -1000 | -0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.004 |  |  |  |  | 0.57532
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 656 | 570 | 86 | 3225 | 0.003225 | 1435 | 1345 | 90 | 3375 | 0.003375
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 343 | 222 | 121 | 4537.5 | 0.0045375
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3641 | 3641 | 0 | 0 | 0 | 29369 | 28952 | 417 | 31275 | 0.031275
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.003225 |  |  |  |  | 0.039188
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.004 |  |  |  |  | 0.57532
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.000775 |  |  |  |  | 0.61451
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.000775 | (REACTIVE MUs) |  |  |  | 0.61451 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.16862 | (REACTIVE MUs) |  |  |  | -0.001183 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.1694 | (REACTIVE MUs) |  |  |  | 0.61332 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990050 | 990068 | -18 | -11250 | -0.01125 | 16 | 15 | 1 | 625 | 0.000625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990450 | 990452 | -2 | -1250 | -0.00125 | 999866 | 999867 | -1 | -625 | -0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996185 | 996467 | -282 | -225600 | -0.2256 | 6137 | 6137 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 27860 | 24320 | 3540 | -3540 | -0.00354 | 102720 | 96750 | 5970 | -5970 | -0.00597
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 18680 | 15480 | 3200 | -3200 | -0.0032 | 289489 | 276470 | 13019 | -13019 | -0.013019
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 64800 | 62400 | 2400 | -2400 | -0.0024 | 822600 | 772899 | 49701 | -49701 | -0.049701
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.24724 |  |  |  |  | -0.06869
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.097346 |  |  |  |  | -0.00068298
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.34459 |  |  |  |  | -0.069373

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 933591 | 934941 | -1350 | -135000 | -0.135 | 1886 | 1886 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 45543 | 46105 | -562 | -56200 | -0.0562 | 6243 | 6279 | -36 | -3600 | -0.0036
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16701 | 16690 | 11 | 5500 | 0.0055 | 3847 | 3846 | 1 | 500 | 0.0005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997834 | 997793 | 41 | 38437.5 | 0.038437 | 999792 | 999785 | 7 | 6562.5 | 0.0065625
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993445 | 993478 | -33 | 33000 | 0.033 | 999631 | 999634 | -3 | 3000 | 0.003 | data till 26/4
[10 empty] | 0.0051 |  |  |  |  | 0.00046 | Assessment
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993190 | 993229 | -39 | 19500 | 0.0195 | 999930 | 999930 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.089663 |  |  |  |  | 0.0069225
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968192 | 968395 | -203 | -40600 | -0.0406 | 996559 | 996560 | -1 | -200 | -0.0002
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986761 | 986667 | 94 | 88125 | 0.088125 | 999568 | 999562 | 6 | 5625 | 0.005625
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.047525 |  |  |  |  | 0.005425
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1746 | 1711 | 35 | 43750 | 0.04375 | 999176 | 999175 | 1 | 1250 | 0.00125
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 354199 | 354782 | -583 | -54656.25 | -0.054656 | 264505 | 264511 | -6 | -562.5 | -0.0005625
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 292485 | 293282 | -797 | -49812.5 | -0.049813 | 65299 | 65312 | -13 | -812.5 | -0.0008125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 945 | 990 | -45 | -168750 | -0.16875 | 495 | 496 | -1 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 949025 | 949292 | -267 | -53400 | -0.0534 | 998474 | 998491 | -17 | -3400 | -0.0034
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987177 | 987169 | 8 | 1200 | 0.0012 | 988469 | 988470 | -1 | -150 | -0.00015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997048 | 997068 | -20 | 50000 | 0.05 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.23167 |  |  |  |  | -0.007425
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.089663 |  |  |  |  | 0.0069225
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.047525 |  |  |  |  | 0.005425
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.23167 |  |  |  |  | -0.007425

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 124333 | 123602 | 731 | 731000 | 0.731 | 27683 | 27569 | 114 | 114000 | 0.114
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 9589 | 9278 | 311 | 622000 | 0.622 | 1444 | 1386 | 58 | 116000 | 0.116
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 910245 | 914273 | -4028 | 2014000 | 2.014 | 998015 | 998015 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 442193 | 443252 | -1059 | 105900 | 0.1059 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.4729 |  | NET REACTIVE ENERGY |  |  | 0.23
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.4729 |  |  |  |  | 0.23
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -23.2033 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.5145 |  |  |  |  | -0.164
[7 empty] | NDMC = |  |  | -0.3465 |  |  |  |  | -0.2245
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -26.0643 |  |  |  |  | -0.3885
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -22.5914 |  |  |  |  | -0.1585
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.691 | % |  |  | -6.7076 |  |  |  |  | -0.04706
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.9962 | % |  |  | -9.7134 |  |  |  |  | -0.068149
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.3801 | % |  |  | -5.056 |  |  |  |  | -0.035472
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7554 | % |  |  | -0.8484 |  |  |  |  | -0.0059523
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7464 | % |  |  | -0.16862 |  |  |  |  | -0.001183
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4309 | % |  |  | -0.097346 |  |  |  |  | -0.00068298
Note :Sharing taken from wk-04 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2021 TO 30th APRIL-2021
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -59.3889 | + | 0.19414
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -24.3236 |  | -2.2739
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -17.4394 |  | -0.038261
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -4.1993 |  | -0.30351
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.1694 | + | 0.61332
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.34459 |  | -0.069373
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2021 | INTIAL READING 01/04/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83