## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965079 | 965079 | 0 | 0 | 0 | 997134 | 997277 | -143 | 143000 | 0.143
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83354 | 83354 | 0 | 0 | 0 | 4485 | 4485 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1026 | 1018 | 8 | -8000 | -0.008 | 202 | 172 | 30 | -30000 | -0.03
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12790 | 12079 | 711 | -711000 | -0.711 | 90776 | 90689 | 87 | -87000 | -0.087
[5 empty] | -1000 | 11113 | 11074 | 39 | -39000 | -0.039 | 46704 | 46645 | 59 | -59000 | -0.059
[5 empty] | -1000 | 67 | 0 | 67 | -67000 | -0.067 | 2996 | 2943 | 53 | -53000 | -0.053
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 991533 | 991980 | -447 | 447000 | 0.447
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894375 | 0 | 0 | 0 | 26145 | 25812 | 333 | -333000 | -0.333
ROHINI
7 | Tx 1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36555 | 35863 | 692 | -692000 | -0.692 | 16225 | 16225 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10713 | 10094 | 619 | -619000 | -0.619 | 998212 | 998211 | 1 | -1000 | -0.001
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5836 | 5525 | 311 | -311000 | -0.311 | 997646 | 997639 | 7 | -7000 | -0.007
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 964938 | 964733 | 205 | -102500 | -0.1025 | 838774 | 838774 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1603 | 1710 | -107 | 107000 | 0.107 | 998765 | 998764 | 1 | -1000 | -0.001
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2792 | 2202 | 590 | -590000 | -0.59 | 999890 | 999891 | -1 | 1000 | 0.001
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35687 | 34706 | 981 | -981000 | -0.981 | 996706 | 996708 | -2 | 2000 | 0.002
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 13397 | 12806 | 591 | -591 | -0.591 | 99999735 | 99999747 | -12 | 12 | 0.012
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 787898 | 793796 | -5898 | -5898000 | -5.898 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9408 | 8895 | 513 | -513000 | -0.513 | 999956 | 999956 | 0 | 0 | 0
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 54944 | 52600 | 2344 | -1172000 | -1.172 | 159 | 162 | -3 | 1500 | 0.0015
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48615 | 47636 | 979 | -979000 | -0.979 | 998589 | 998601 | -12 | 12000 | 0.012
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 990035 | 989753 | 282 | 282000 | 0.282
21 | O/G REWARI LINE 2 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 998453 | 998453 | 0 | 0 | 0 | 972520 | 969246 | 3274 | 654800 | 0.6548 | Check Meter data
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1376 | 1375 | 1 | 500 | 0.0005 | 13979 | 13821 | 158 | 79000 | 0.079
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 4443 | 4014 | 429 | 21450 | 0.02145 | 183906 | 179982 | 3924 | 196200 | 0.1962
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 1000000 | -4 | -4000 | -0.004 | 998701 | 998080 | 621 | 621000 | 0.621
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999598 | 999601 | -3 | -3000 | -0.003 | 998781 | 998749 | 32 | 32000 | 0.032
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 57228 | 56833 | 395 | 39500 | 0.0395 | 192248 | 192248 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998163 | 998249 | -86 | -86000 | -0.086 | 999659 | 999674 | -15 | -15000 | -0.015
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 962458 | 964736 | -2278 | -1139000 | -1.139 | 999898 | 999907 | -9 | -4500 | -0.0045
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 997157 | 996877 | 280 | 74667.6 | 0.074668 | 999882 | 999883 | -1 | -266.67 | -0.00026667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2153 | 1953 | 200 | 100000 | 0.1 | 197 | 192 | 5 | 2500 | 0.0025
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40826 | 39981 | 845 | -845000 | -0.845 | 996635 | 996635 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 214970 | 211329 | 3641 | -1820500 | -1.8205 | 17434 | 17434 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3064 | 2734 | 330 | -660000 | -0.66 | 999678 | 999678 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38984 | 37894 | 1090 | -1090000 | -1.09 | 999029 | 999062 | -33 | 33000 | 0.033
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93330 | 90450 | 2880 | -5760000 | -5.76 | 288 | 288 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95324 | 92972 | 2352 | -2352000 | -2.352 | 998462 | 998466 | -4 | 4000 | 0.004
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 21635 | 8649 | 12986 | -4328623.38 | -4.3286 | 132 | 125 | 7 | -2333.31 | -0.0023333
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9698 | 9039 | 659 | -1318000 | -1.318 | 238 | 237 | 1 | -2000 | -0.002
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56057 | 54595 | 1462 | -1462000 | -1.462 | 1653 | 1653 | 0 | 0 | 0
WAZIRPUR
40 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 198 | 119 | 79 | -79000 | -0.079 | 997841 | 997856 | -15 | 15000 | 0.015
41 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44446 | 43844 | 602 | -602000 | -0.602 | 1622 | 1624 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
42 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999801 | 999915 | -114 | -114000 | -0.114 | 27218 | 27280 | -62 | -62000 | -0.062
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | OCTOBER-2020
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 948 | 970 | -22 | -22000 | -0.022 | 61207 | 61207 | 0 | 0 | 0
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999487 | 999487 | 0 | 0 | 0 | 999544 | 999585 | -41 | -4100 | -0.0041
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3091 | 3077 | 14 | 1400 | 0.0014 | 30914 | 30735 | 179 | 17900 | 0.0179
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 775 | 775 | 0 | 0 | 0 | 561 | 560 | 1 | 1333 | 0.001333
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1615 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1980 | 1907 | 73 | 7300 | 0.0073 | 3374 | 2980 | 394 | 39400 | 0.0394
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999901 | 999903 | -2 | -1000 | -0.001 | 2140 | 2131 | 9 | 4500 | 0.0045
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2407 | 2325 | 82 | 54666.94 | 0.054667 | 420 | 420 | 0 | 0 | 0
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 868 | 696 | 172 | 86000 | 0.086 | 404 | 404 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996268 | 996363 | -95 | -9500 | -0.0095 | 3238 | 3241 | -3 | -300 | -0.0003
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8050 | 8037 | 13 | 1300 | 0.0013 | 13488 | 13316 | 172 | 17200 | 0.0172
59 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10717 | 10605 | 112 | 11200 | 0.0112 | 3003 | 2880 | 123 | 12300 | 0.0123
60 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29756 | 29669 | 87 | 8700 | 0.0087 | 8467 | 8363 | 104 | 10400 | 0.0104
KASHMIRI GATE
61 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60685 | 58322 | 2363 | 236300 | 0.2363 | 1729 | 1729 | 0 | 0 | 0
62 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999721 | 999807 | -86 | -11466.38 | -0.011466 | 362 | 360 | 2 | 266.66 | 0.00026666
63 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999446 | -8 | -3200 | -0.0032
MUNDKA
66 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 971410 | 972162 | -752 | -601600 | -0.6016 | 999721 | 999721 | 0 | 0 | 0
67 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996375 | 996500 | -125 | -250000 | -0.25 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
68 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980545 | 980645 | -100 | -20000 | -0.02 | 1438 | 1435 | 3 | 600 | 0.0006
69 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998259 | 998268 | -9 | -2250 | -0.00225 | 589 | 592 | -3 | -750 | -0.00075
REWARI LINE
70 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991588 | 992177 | -589 | -589000 | -0.589 | 2204 | 2204 | 0 | 0 | 0
71 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1995 | 1935 | 60 | 45000 | 0.045 | 3312 | 3312 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -35.6485 |  |  |  |  | 1.9784
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 17491 | 16275 | 1216 | -121600 | -0.1216 | 143426 | 143425 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 343 | 343 | 0 | 0 | 0 | 627 | 627 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 824 | 821 | 3 | -3000 | -0.003 | 1000110 | 999977 | 133 | -133000 | -0.133
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6400 | 6546 | -146 | 19466.18 | 0.019466 | 5522 | 5119 | 403 | -53731.99 | -0.053732
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997426 | 997441 | -15 | 2812.5 | 0.0028125 | 999853 | 999854 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 913104 | 914819 | -1715 | 1372000 | 1.372 | 997978 | 997978 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989797 | 989611 | 186 | -116250 | -0.11625 | 999993 | 999993 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990758 | 990806 | -48 | 30000 | 0.03 | 999858 | 999857 | 1 | -625 | -0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 996532 | 996937 | -405 | 81000 | 0.081 | 14627 | 14624 | 3 | -600 | -0.0006
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992655 | 993217 | -562 | 105375 | 0.10537 | 5410 | 5411 | -1 | 187.5 | 0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 991631 | 992180 | -549 | 102937.5 | 0.10294 | 4078 | 4079 | -1 | 187.5 | 0.0001875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4296 | 3850 | 446 | -111500 | -0.1115 | 8038 | 8038 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 997455 | 996774 | 681 | -68100 | -0.0681 | 29774 | 29771 | 3 | -300 | -0.0003
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.2931 |  |  |  |  | -0.18779
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -35.6485 |  |  |  |  | 1.9784
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.2931 |  |  |  |  | -0.18779
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.080738 |  |  |  |  | 0.25553
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -34.2746 |  |  |  |  | 2.0462
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.2746 | (REACTIVE MUs) |  |  |  | 2.0462 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.9869 | (REACTIVE MUs) |  |  |  | -0.018425 | (REACTIVE MUs)
[9 empty] | TOTAL | -38.2615 | (REACTIVE MUs) |  |  |  | 2.0278 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 39819 | 34049 | 5770 | 577000 | 0.577 | 994515 | 994514 | 1 | 100 | 0.0001
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 13034 | 12485 | 549 | 164700 | 0.1647 | 3178 | 3229 | -51 | -15300 | -0.0153
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 348436 | 348402 | 34 | 2550 | 0.00255 | 402632 | 402587 | 45 | 3375 | 0.003375
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994761 | 995144 | -383 | -114900 | -0.1149 | 5943 | 5943 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1582 | 1539 | 43 | 57331.9 | 0.057332 | 3602 | 3601 | 1 | 1333.3 | 0.0013333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 15052 | 14285 | 767 | 76700 | 0.0767 | 3865 | 3863 | 2 | 200 | 0.0002
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 162865 | 145061 | 17804 | 1335300 | 1.3353 | 892305 | 892273 | 32 | 2400 | 0.0024
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979163 | 979642 | -479 | -479000 | -0.479 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 988797 | 989328 | -531 | -265500 | -0.2655 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 994408 | 994942 | -534 | -267000 | -0.267 | 302 | 302 | 0 | 0 | 0 | Check Meter Data
|  | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999842 | 1000000 | -158 | -158000 | -0.158 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/10
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986523 | 987111 | -588 | -588000 | -0.588 | 1352 | 1352 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988682 | 989330 | -648 | -648000 | -0.648 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995808 | 996297 | -489 | -489000 | -0.489 | 998642 | 998642 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994695 | 994841 | -146 | -146000 | -0.146 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995886 | 995176 | 710 | 568000 | 0.568 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14119 | 8062 | 6057 | 807579.81 | 0.80758 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 800 | 838 | -38 | -38000 | -0.038 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1302 | 1252 | 50 | 50000 | 0.05 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971557 | 971610 | -53 | -66250 | -0.06625 | 948629 | 948691 | -62 | -77500 | -0.0775
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984880 | 985076 | -196 | -196000 | -0.196 | 935755 | 935843 | -88 | -88000 | -0.088
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999900 | 999961 | -61 | -61000 | -0.061 | 999493 | 999515 | -22 | -22000 | -0.022
| KASHMIRI GATE | [8 empty] | -0.32325 |  |  |  |  | -0.1875
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985602 | 986969 | -1367 | 1367000 | 1.367 | 998270 | 998280 | -10 | 10000 | 0.01
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984161 | 985232 | -1071 | 1071000 | 1.071 | 998826 | 998826 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13536 | 13478 | 58 | 58000 | 0.058
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 183301 | 175784 | 7517 | -7517000 | -7.517 | 8701 | 8701 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43928 | 42599 | 1329 | -1329000 | -1.329 | 161 | 147 | 14 | -14000 | -0.014
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999953 | 1000050 | -97 | 97000 | 0.097 | 999275 | 999283 | -8 | 8000 | 0.008
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 664 | 426 | 238 | -238000 | -0.238 | 998442 | 998477 | -35 | 35000 | 0.035
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27913 | 26657 | 1256 | -1256000 | -1.256 | 982856 | 982856 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47157 | 44716 | 2441 | -2441000 | -2.441 | 316 | 316 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 34277 | 32478 | 1799 | -3598000 | -3.598 | 24 | 24 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 824 | 821 | 3 | 3000 | 0.003 | 1000110 | 999977 | 133 | 133000 | 0.133
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6400 | 6546 | -146 | -19466.18 | -0.019466 | 5522 | 5119 | 403 | 53731.99 | 0.053732
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993852 | 993879 | -27 | -3591 | -0.003591 | 8050 | 7976 | 74 | 9842 | 0.009842
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950420 | 951372 | -952 | 952000 | 0.952 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971018 | 972093 | -1075 | 1075000 | 1.075 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.7145 |  |  |  |  | 0.098182
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.7145 |  |  |  |  | 0.098182
OCTOBER-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987759 | 987967 | -208 | 208000 | 0.208 | 997256 | 997256 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971594 | 971759 | -165 | 165000 | 0.165 | 962511 | 962513 | -2 | 2000 | 0.002
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991295 | 991558 | -263 | 263000 | 0.263 | 997877 | 997877 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988333 | 988714 | -381 | 381000 | 0.381 | 998452 | 998454 | -2 | 2000 | 0.002
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28055 | 27811 | 244 | -244000 | -0.244 | 997293 | 997293 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13244 | 13013 | 231 | -231000 | -0.231 | 996306 | 996301 | 5 | -5000 | -0.005
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6429 | 6879 | -450 | 450000 | 0.45 | 12333 | 12332 | 1 | -1000 | -0.001
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998879 | 999202 | -323 | 323000 | 0.323 | 999850 | 999850 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930742 | 931380 | -638 | 638000 | 0.638 | 978697 | 978697 | 0 | 0 | 0 | under s/dn w.e.f 20/10
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982480 | 982428 | 52 | -52000 | -0.052 | 974765 | 974767 | -2 | 2000 | 0.002
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963508 | 963168 | 340 | -340000 | -0.34 | 825278 | 825279 | -1 | 1000 | 0.001
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1172 | 417 | 755 | -1510000 | -1.51 | 4 | 4 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 844 | 313 | -313000 | -0.313 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22574 | 22807 | -233 | 233000 | 0.233 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.029 |  |  |  |  | 0.001
| (B) NET ENERGY TO EAST | [8 empty] | -0.029 |  |  |  |  | 0.001
OCTOBER-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 997157 | 996877 | 280 | -74667.6 | -0.074668 | 999882 | 999883 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2153 | 1953 | 200 | -100000 | -0.1 | 197 | 192 | 5 | -2500 | -0.0025
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3620 | 3802 | -182 | 48532.12 | 0.048532 | 2219 | 2219 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 111491 | 109972 | 1519 | -151900 | -0.1519 | 152455 | 152456 | -1 | 100 | 0.0001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 988391 | 989053 | -662 | 132400 | 0.1324 | 999330 | 999330 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 576 | 481 | 95 | -95000 | -0.095 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2587 | 2354 | 233 | -186400 | -0.1864 | 2626 | 2626 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3403 | 3595 | -192 | 153600 | 0.1536 | 1314 | 1314 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 989906 | 991743 | -1837 | 1469600 | 1.4696 | 998901 | 998903 | -2 | 1600 | 0.0016
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 956861 | 958715 | -1854 | 1483200 | 1.4832 | 980446 | 980449 | -3 | 2400 | 0.0024
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 959468 | 961425 | -1957 | 1565600 | 1.5656 | 989864 | 989870 | -6 | 4800 | 0.0048
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996148 | 996619 | -471 | 942000 | 0.942 | 999567 | 999568 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993860 | 994689 | -829 | 1658000 | 1.658 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999801 | 999915 | -114 | 114000 | 0.114 | 27218 | 27280 | -62 | 62000 | 0.062
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948 | 970 | -22 | 22000 | 0.022 | 61207 | 61207 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999901 | 999903 | -2 | 1000 | 0.001 | 2140 | 2131 | 9 | -4500 | -0.0045
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2407 | 2325 | 82 | -54666.94 | -0.054667 | 420 | 420 | 0 | 0 | 0
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 868 | 696 | 172 | -86000 | -0.086 | 404 | 404 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60685 | 58322 | 2363 | -236300 | -0.2363 | 1729 | 1729 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999721 | 999807 | -86 | 11466.38 | 0.011466 | 362 | 360 | 2 | -266.66 | -0.00026666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996268 | 996363 | -95 | 9500 | 0.0095 | 3238 | 3241 | -3 | 300 | 0.0003
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8050 | 8037 | 13 | -1300 | -0.0013 | 13488 | 13316 | 172 | -17200 | -0.0172
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10717 | 10605 | 112 | -11200 | -0.0112 | 3003 | 2880 | 123 | -12300 | -0.0123
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29756 | 29669 | 87 | -8700 | -0.0087 | 8467 | 8363 | 104 | -10400 | -0.0104
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 20150 | 19440 | 710 | 710 | 0.00071 | 50820 | 42010 | 8810 | 8810 | 0.00881
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 6820 | 6430 | 390 | 390 | 0.00039 | 170720 | 157510 | 13210 | 13210 | 0.01321
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 42100 | 38900 | 3200 | 3200 | 0.0032 | 550300 | 491800 | 58500 | 58500 | 0.0585
[10 empty] | 6.6091 |  |  |  |  | 0.10682
OCTOBER-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.7145 |  |  |  |  | 0.098182
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 6.6091 |  |  |  |  | 0.10682
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.016538 |  |  |  |  | -0.14483
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.122 |  |  |  |  | 0.060177
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.029 |  |  |  |  | 0.001
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -5.151 |  |  |  |  | 0.061177
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.151 | (REACTIVE MUs) |  |  |  | 0.061177 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.7472 | (REACTIVE MUs) |  |  |  | -0.012696 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.8983 | (REACTIVE MUs) |  |  |  | 0.048481 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998871 | 998905 | -34 | -170000 | -0.17 | 998774 | 998779 | -5 | -25000 | -0.025
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980033 | 980240 | -207 | -275999.31 | -0.276 | 670558 | 670565 | -7 | -9333.31 | -0.0093333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 989578 | 990009 | -431 | -86200 | -0.0862 | 1354 | 1376 | -22 | -4400 | -0.0044
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 327 | 253 | 74 | 98666.42 | 0.098666 | 999770 | 999773 | -3 | -3999.99 | -0.004
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999001 | 999074 | -73 | -109500 | -0.1095 | 999980 | 999980 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 14550 | 15129 | -579 | -57900 | -0.0579 | 21934 | 21953 | -19 | -1900 | -0.0019
7 | BAY-37 | 4902554 | ELSTER | Kvarh(Lead/Lag) | 225 | 975238 | 976025 | -787 | -177075 | -0.17708 | 980860 | 980860 | 0 | 0 | 0 | Check Meter Data
|  | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 997917 | 1000000 | -2083 | -156225 | -0.15623 | 999989 | 1000000 | -11 | -825 | -0.000825 | w.e.f 20/10
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 965905 | 970305 | -4400 | -330000 | -0.33 | 17382 | 17382 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998472 | 998614 | -142 | -127800 | -0.1278 | 999871 | 999881 | -10 | -9000 | -0.009
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 994152 | 994886 | -734 | -73400 | -0.0734 | 265175 | 265175 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14421 | 13790 | 631 | -631000 | -0.631 | 996491 | 996485 | 6 | -6000 | -0.006
[10 empty] | 0.057 | [5 empty] | Assessment last month
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2394 | 2406 | -12 | 24000 | 0.024 | 997043 | 997040 | 3 | -6000 | -0.006
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16195 | 16221 | -26 | 26000 | 0.026 | 996319 | 996314 | 5 | -5000 | -0.005
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953429 | 953225 | 204 | -204000 | -0.204 | 988820 | 988629 | 191 | -191000 | -0.191
[10 empty] | 0.083 | [5 empty] | Assessment last month
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96441 | 95713 | 728 | -728000 | -0.728 | 18974 | 18974 | 0 | 0 | 0
[5 empty] | -1000 | 92639 | 92133 | 506 | -506000 | -0.506
[5 empty] | -1000 | 91410 | 89618 | 1792 | -1792000 | -1.792
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 72332 | 71851 | 481 | -240500 | -0.2405 | 35958 | 35958 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18257 | 17134 | 1123 | -2246000 | -2.246 | 998482 | 998482 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939083 | 939756 | -673 | 673000 | 0.673 | 814021 | 814021 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 20145 | 15502 | 4643 | -3714400 | -3.7144 | 1112 | 1108 | 4 | -3200 | -0.0032
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 63545 | 61227 | 2318 | -1854400 | -1.8544 | 998226 | 998220 | 6 | -4800 | -0.0048
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965316 | 966311 | -995 | 995000 | 0.995 | 961020 | 961031 | -11 | 11000 | 0.011
[5 empty] | -1000 | 972591 | 972816 | -225 | 225000 | 0.225
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 971047 | 973818 | -2771 | 5542000 | 5.542 | 992244 | 992244 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 920209 | 920228 | -19 | 38000 | 0.038 | 983804 | 983807 | -3 | 6000 | 0.006
[5 empty] | -2000 | 927416 | 929100 | -1684 | 3368000 | 3.368
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10253 | 10298 | -45 | 45000 | 0.045 | 997129 | 997134 | -5 | 5000 | 0.005
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5095 | 4944 | 151 | -151000 | -0.151 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980251 | 980059 | 192 | -192000 | -0.192 | 9 | 9 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 173768 | 173058 | 710 | -710000 | -0.71 | 56105 | 56035 | 70 | -70000 | -0.07
[5 empty] | -1000 | 172374 | 171672 | 702 | -702000 | -0.702 | 55943 | 55891 | 52 | -52000 | -0.052
[5 empty] | -1000 | 161400 | 161400 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 343 | 343 | 0 | 0 | 0 | 627 | 627 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951424 | 954325 | -2901 | 2901000 | 2.901 | 965552 | 965552 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979241 | 980762 | -1521 | 1521000 | 1.521 | 984014 | 984014 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60572 | 57343 | 3229 | -3229000 | -3.229 | 985569 | 985569 | 0 | 0 | 0
[5 empty] | -1000 | 56399 | 54422 | 1977 | -1977000 | -1.977
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 18526 | 17779 | 747 | -597600 | -0.5976 | 999009 | 999009 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36580 | 36159 | 421 | -673600 | -0.6736 | 978831 | 978830 | 1 | -1600 | -0.0016
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996718 | 996692 | 26 | -52000 | -0.052 | 984352 | 984356 | -4 | 8000 | 0.008
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6102 | 5990 | 112 | -56000 | -0.056 | 989804 | 989877 | -73 | 36500 | 0.0365
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21546 | 21440 | 106 | -106000 | -0.106 | 31783 | 31788 | -5 | 5000 | 0.005
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 294 | 208 | 86 | -86000 | -0.086 | 996429 | 996437 | -8 | 8000 | 0.008
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999919 | 2 | -2000 | -0.002 | 999907 | 999893 | 14 | -14000 | -0.014
BRPL(+) continue | [14 empty] | OCTOBER-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47533 | 47330 | 203 | -203000 | -0.203 | 999514 | 999502 | 12 | -12000 | -0.012
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8713 | 8600 | 113 | -113000 | -0.113 | 1000064 | 999995 | 69 | -69000 | -0.069
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2394 | 2365 | 29 | -29000 | -0.029 | 999548 | 999565 | -17 | 17000 | 0.017
[5 empty] | -1000 | [9 empty] | -0.079 | Assessment last month
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 456 | 21 | 435 | -435000 | -0.435 | 217 | 209 | 8 | -8000 | -0.008
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1457 | 1165 | 292 | -292000 | -0.292 | 924913 | 924921 | -8 | 8000 | 0.008
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38474 | 37967 | 507 | -507000 | -0.507 | 9823 | 9820 | 3 | -3000 | -0.003
[11 empty] | 7849 | 7845 | 4
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 299 | 115 | 184 | -368000 | -0.368 | 999594 | 999597 | -3 | 6000 | 0.006
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65486 | 62391 | 3095 | -3095000 | -3.095 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 34406 | 33337 | 1069 | -2138000 | -2.138 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8958 | 8889 | 69 | -138000 | -0.138 | 2686 | 2669 | 17 | -34000 | -0.034
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7116 | 6994 | 122 | -244000 | -0.244 | 1519 | 1516 | 3 | -6000 | -0.006
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 914186 | 915622 | -1436 | 1436000 | 1.436 | 979168 | 979168 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996093 | 997621 | -1528 | 1528000 | 1.528 | 994716 | 994716 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997613 | 998858 | -1245 | 1245000 | 1.245 | 987095 | 987095 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999623 | 999803 | 0 | 0 | 0 | 999994 | 999994 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981779 | 0 | 0 | 0 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 948552 | 950055 | -1503 | -1202400 | -1.2024 | 999488 | 999488 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999421 | 999493 | -72 | -57600 | -0.0576 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996437 | 996420 | 17 | 13600 | 0.0136 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993860 | 994689 | -829 | -1658000 | -1.658 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 77771 | 74747 | 3024 | -6048000 | -6.048 | 923 | 923 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17556 | 17046 | 510 | -510000 | -0.51 | 2874 | 2806 | 68 | -68000 | -0.068
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116405 | 116299 | 106 | -106000 | -0.106 | 1468 | 1469 | -1 | 1000 | 0.001
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 17491 | 16275 | 1216 | 121600 | 0.1216 | 143426 | 143425 | 1 | 100 | 0.0001
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997426 | 997441 | -15 | -2812.5 | -0.0028125 | 999853 | 999854 | -1 | -187.5 | -0.0001875
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949080 | 949796 | -716 | -286400 | -0.2864 | 993083 | 993083 | 0 | 0 | 0
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 9413 | 10618 | -1205 | -482000 | -0.482 | 73275 | 73275 | 0 | 0 | 0
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 913104 | 914819 | -1715 | -1372000 | -1.372 | 997978 | 997978 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 449932 | 449604 | 328 | 32800 | 0.0328 | 86243 | 86148 | 95 | 9500 | 0.0095
[5 empty] | 100 | 449094 | 447778 | 1316 | 131600 | 0.1316 | 85862 | 85861 | 1 | 100 | 0.0001
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4013 | 4028 | -15 | -15000 | -0.015 | 1881 | 1878 | 3 | 3000 | 0.003
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 23695 | 23666 | 29 | 2175 | 0.002175
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 16588 | 16330 | 258 | 25800 | 0.0258
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9067 | 8894 | 173 | 86500 | 0.0865 | 3218 | 3218 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999081 | 999209 | -128 | -128000 | -0.128 | 4217 | 4218 | -1 | -1000 | -0.001
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985743 | 985828 | -85 | -85000 | -0.085 | 943 | 942 | 1 | 1000 | 0.001
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6348 | 6307 | 41 | 41000 | 0.041 | 6690 | 6690 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3621 | 3515 | 106 | 16960 | 0.01696 | 1499 | 1494 | 5 | 800 | 0.0008
[10 empty] | 0.00992 | [5 empty] | Assessment last month
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4141 | 3686 | 455 | 45500 | 0.0455 | 909985 | 909979 | 6 | 600 | 0.0006
[10 empty] | -0.0077 | [5 empty] | Assessment last month
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4167 | 4075 | 92 | 92000 | 0.092 | 1113 | 1112 | 1 | 1000 | 0.001
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4668 | 4637 | 31 | 31000 | 0.031 | 7430 | 7429 | 1 | 1000 | 0.001
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 996532 | 996937 | -405 | -81000 | -0.081 | 14627 | 14624 | 3 | 600 | 0.0006
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992655 | 993217 | -562 | -105375 | -0.10537 | 5410 | 5411 | -1 | -187.5 | -0.0001875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 991631 | 992180 | -549 | -102937.5 | -0.10294 | 4078 | 4079 | -1 | -187.5 | -0.0001875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4296 | 3850 | 446 | 111500 | 0.1115 | 8038 | 8038 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 997455 | 996774 | 681 | 68100 | 0.0681 | 29774 | 29771 | 3 | 300 | 0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -21.2191 |  |  |  |  | -0.53115
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21886 | 22036 | -150 | 75000 | 0.075 | 4883 | 4883 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993852 | 993879 | -27 | 3599.91 | 0.0035999 | 8050 | 7976 | 74 | -9866.42 | -0.0098664
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1277 | 1296 | -19 | 19000 | 0.019 | 999091 | 998989 | 102 | -102000 | -0.102
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995639 | 996177 | -538 | 538000 | 0.538 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9003 | 9130 | -127 | 20320 | 0.02032 | 29924 | 29775 | 149 | -23840 | -0.02384
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3846 | 3857 | -11 | 2200 | 0.0022 | 8337 | 8259 | 78 | -15600 | -0.0156
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982703 | 983168 | -465 | 465000 | 0.465 | 999249 | 999250 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102659 | 102447 | 212 | -21200 | -0.0212 | 75959 | 75958 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4863 | 4685 | 178 | -17800 | -0.0178 | 1374 | 1374 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 17111 | 18077 | -966 | 96600 | 0.0966 | 70821 | 70821 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999487 | 999487 | 0 | 0 | 0 | 999544 | 999585 | -41 | 4100 | 0.0041
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3091 | 3077 | 14 | -1400 | -0.0014 | 30914 | 30735 | 179 | -17900 | -0.0179
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 775 | 775 | 0 | 0 | 0 | 561 | 560 | 1 | -1333 | -0.001333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1615 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1980 | 1907 | 73 | -7300 | -0.0073 | 3374 | 2980 | 394 | -39400 | -0.0394
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999446 | -8 | 3200 | 0.0032
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 994186 | 993985 | 201 | -160800 | -0.1608 | 6136 | 6136 | 0 | 0 | 0
[5 empty] | -800 | 993825 | 993804 | 21 | -16800 | -0.0168
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991588 | 992177 | -589 | 589000 | 0.589 | 2204 | 2204 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1995 | 1935 | 60 | -45000 | -0.045 | 3312 | 3312 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.5384 |  |  |  |  | -0.20174
OCTOBER-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -21.2191 |  |  |  |  | -0.53115
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.5384 |  |  |  |  | -0.20174
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.044725 |  |  |  |  | -0.10717
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.074375 |  |  |  |  | -0.06235
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -19.7998 |  |  |  |  | -0.90241
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -19.7998 | (REACTIVE MUs) |  |  |  | -0.90241 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.7655 | (REACTIVE MUs) |  |  |  | -0.022023 | (REACTIVE MUs)
[9 empty] | TOTAL | -24.5653 | (REACTIVE MUs) |  |  |  | -0.92443 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3620 | 3802 | -182 | -48533.94 | -0.048534 | 2219 | 2219 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 111491 | 109972 | 1519 | 151900 | 0.1519 | 152455 | 152456 | -1 | -100 | -0.0001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 988391 | 989053 | -662 | -132400 | -0.1324 | 999330 | 999330 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 576 | 481 | 95 | 95000 | 0.095 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2587 | 2354 | 233 | 186400 | 0.1864 | 2626 | 2626 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3403 | 3595 | -192 | -153600 | -0.1536 | 1314 | 1314 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 989906 | 991743 | -1837 | -1469600 | -1.4696 | 998901 | 998903 | -2 | -1600 | -0.0016
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 956861 | 958715 | -1854 | -1483200 | -1.4832 | 980446 | 980449 | -3 | -2400 | -0.0024
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 959468 | 961425 | -1957 | -1565600 | -1.5656 | 989864 | 989870 | -6 | -4800 | -0.0048
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996148 | 996619 | -471 | -942000 | -0.942 | 999567 | 999568 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 967373 | 969397 | -2024 | -101200 | -0.1012 | 20041 | 20087 | -46 | -2300 | -0.0023
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974444 | 974444 | 0 | 0 | 0 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998728 | 998820 | -92 | -46000 | -0.046 | 5476 | 5479 | -3 | -1500 | -0.0015
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997101 | 997317 | -216 | -81000 | -0.081 | 7364 | 7372 | -8 | -3000 | -0.003
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 989496 | 991167 | -1671 | -167100 | -0.1671 | 999516 | 999552 | -36 | -3600 | -0.0036
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 12161 | 13126 | -965 | -72375 | -0.072375 | 40591 | 40619 | -28 | -2100 | -0.0021
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 9692 | 11029 | -1337 | -133700 | -0.1337 | 2063 | 2065 | -2 | -200 | -0.0002
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995555 | 995576 | -21 | -21000 | -0.021 | 104777 | 104834 | -57 | -57000 | -0.057
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994289 | 994303 | -14 | -14000 | -0.014 | 2627 | 2654 | -27 | -27000 | -0.027
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985050 | 985061 | -11 | -11000 | -0.011 | 145317 | 145282 | 35 | 35000 | 0.035
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999175 | 999203 | -28 | -70000 | -0.07 | 452 | 476 | -24 | -60000 | -0.06
[10 empty] | -0.116 |  |  |  |  | -0.109
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995639 | 996177 | -538 | -538000 | -0.538 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9003 | 9130 | -127 | -20320 | -0.02032 | 29924 | 29775 | 149 | 23840 | 0.02384
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3846 | 3857 | -11 | -2200 | -0.0022 | 8337 | 8259 | 78 | 15600 | 0.0156
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982703 | 983168 | -465 | -465000 | -0.465 | 999249 | 999250 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
OCTOBER-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996063 | 996231 | -168 | 168000 | 0.168 | 990012 | 990026 | -14 | 14000 | 0.014
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997351 | 997548 | -197 | 197000 | 0.197 | 995810 | 995819 | -9 | 9000 | 0.009
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997455 | 997483 | -28 | 56000 | 0.056 | 996808 | 996818 | -10 | 20000 | 0.02
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998903 | 998962 | -59 | 59000 | 0.059 | 995929 | 995959 | -30 | 30000 | 0.03
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102659 | 102447 | 212 | 21200 | 0.0212 | 75959 | 75958 | 1 | 100 | 0.0001
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4863 | 4685 | 178 | 17800 | 0.0178 | 1374 | 1374 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17111 | 18077 | -966 | -96600 | -0.0966 | 70821 | 70821 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21886 | 22036 | -150 | -75000 | -0.075 | 4883 | 4883 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 449932 | 449604 | 328 | -32800 | -0.0328 | 86243 | 86148 | 95 | -9500 | -0.0095
[5 empty] | -100 | 449094 | 447778 | 1316 | -131600 | -0.1316 | 85862 | 85861 | 1 | -100 | -0.0001
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4013 | 4028 | -15 | 15000 | 0.015 | 1881 | 1878 | 3 | -3000 | -0.003
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 23695 | 23666 | 29 | -2175 | -0.002175
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 16588 | 16330 | 258 | -25800 | -0.0258
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.9065 |  |  |  |  | -0.061635
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -6.9065 |  |  |  |  | -0.061635
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.45006 |  |  |  |  | -0.0020799
| TOTAL ENERGY TO NDMC | [8 empty] | -7.3566 |  |  |  |  | -0.063715

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3668 | 3674 | -6 | -1200 | -0.0012 | 65297 | 65090 | 207 | 41400 | 0.0414
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 34 | 32 | 2 | 320 | 0.00032 | 22757 | 21665 | 1092 | 174720 | 0.17472
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4513 | 4510 | 3 | 3000 | 0.003 | 58279 | 58062 | 217 | 217000 | 0.217
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17962 | 17938 | 24 | 9600 | 0.0096
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999987 | 1000019 | -32 | -25600 | -0.0256 | 705 | 697 | 8 | 6400 | 0.0064
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1527 | 1446 | 81 | 32400 | 0.0324 | 5365 | 5366 | -1 | -400 | -0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1277 | 1296 | -19 | -19000 | -0.019 | 999091 | 998989 | 102 | 102000 | 0.102
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.01008 |  |  |  |  | 0.55072
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 73736 | 73143 | 593 | 59300 | 0.0593 | 104467 | 104375 | 92 | 9200 | 0.0092
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 853 | 853 | 0 | 0 | 0 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3417 | 3216 | 201 | 15075 | 0.015075 | 27577 | 26871 | 706 | 52950 | 0.05295
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4366 | 2 | 200 | 0.0002
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.074375 |  |  |  |  | 0.06235
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.01008 |  |  |  |  | 0.55072
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.064295 |  |  |  |  | 0.61307
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.064295 | (REACTIVE MUs) |  |  |  | 0.61307 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.075538 | (REACTIVE MUs) |  |  |  | -0.00034909 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.011243 | (REACTIVE MUs) |  |  |  | 0.61272 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989797 | 989611 | 186 | 116250 | 0.11625 | 999993 | 999993 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990758 | 990806 | -48 | -30000 | -0.03 | 999858 | 999857 | 1 | 625 | 0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 994186 | 993985 | 201 | 160800 | 0.1608 | 6136 | 6136 | 0 | 0 | 0
[5 empty] | 800 | 993825 | 993804 | 21 | 16800 | 0.0168
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 20150 | 19440 | 710 | -710 | -0.00071 | 50820 | 42010 | 8810 | -8810 | -0.00881
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 6820 | 6430 | 390 | -390 | -0.00039 | 170720 | 157510 | 13210 | -13210 | -0.01321
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 42100 | 38900 | 3200 | -3200 | -0.0032 | 550300 | 491800 | 58500 | -58500 | -0.0585
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.25955 |  |  |  |  | -0.079895
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.034817 |  |  |  |  | -0.0001609
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.22473 |  |  |  |  | -0.080056

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 949794 | 950208 | -414 | -41400 | -0.0414 | 1898 | 1922 | -24 | -2400 | -0.0024
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57045 | 57257 | -212 | -21200 | -0.0212 | 6301 | 6305 | -4 | -400 | -0.0004
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 17261 | 17264 | -3 | -1500 | -0.0015 | 4031 | 4214 | -183 | -91500 | -0.0915
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998753 | 998767 | -14 | -13125 | -0.013125 | 999791 | 999841 | -50 | -46875 | -0.046875
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993908 | 993919 | -11 | 11000 | 0.011 | 999637 | 999666 | -29 | 29000 | 0.029
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992446 | 992489 | -43 | 21500 | 0.0215 | 999932 | 999942 | -10 | 5000 | 0.005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.044725 |  |  |  |  | -0.10717
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970548 | 970551 | -3 | -600 | -0.0006 | 996842 | 997463 | -621 | -124200 | -0.1242
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987839 | 987856 | -17 | -15937.5 | -0.015938 | 999573 | 999595 | -22 | -20625 | -0.020625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.016538 |  |  |  |  | -0.14483
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1871 | 1871 | 0 | 0 | 0 | 999236 | 999259 | -23 | -28750 | -0.02875
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 369385 | 369384 | 1 | 100 | 0.0001 | 264723 | 262898 | 1825 | 182500 | 0.1825
[5 empty] | 100 | [5 empty] | 262363 | 261906 | 457 | 45700 | 0.0457
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 337108 | 337109 | -1 | -62.5 | -6.25e-05 | 62844 | 60404 | 2440 | 152500 | 0.1525
[5 empty] | 62.5 | [5 empty] | 77073 | 75379 | 1694 | 105875 | 0.10587
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1364 | 1365 | -1 | -800 | -0.0008 | 1092 | 1418 | -326 | -260800 | -0.2608
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 954127 | 953935 | 192 | 38400 | 0.0384 | 998511 | 998632 | -121 | -24200 | -0.0242
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990355 | 990351 | 4 | 600 | 0.0006 | 988130 | 987612 | 518 | 77700 | 0.0777
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997237 | 997254 | -17 | 42500 | 0.0425 | 3042 | 3044 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.080738 |  |  |  |  | 0.25553
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.044725 |  |  |  |  | -0.10717
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.016538 |  |  |  |  | -0.14483
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.080738 |  |  |  |  | 0.25553

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 101441 | 100953 | 488 | 488000 | 0.488 | 25955 | 25844 | 111 | 111000 | 0.111
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4829 | 4697 | 132 | 264000 | 0.264 | 747 | 683 | 64 | 128000 | 0.128
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 931235 | 933998 | -2763 | 1381500 | 1.3815 | 998044 | 998044 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 484349 | 486844 | -2495 | 249500 | 0.2495 | 984121 | 984122 | -1 | 100 | 0.0001
[5 empty] | -100 | 580223 | 580494 | -271 | 27100 | 0.0271
[7 empty] | NET REACTIVE ENERGY |  |  | 2.4101 |  | NET REACTIVE ENERGY |  |  | 0.2391
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.4101 |  |  |  |  | 0.2391
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -12.4406 |  |  |  |  | 0.0016667
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.9133 |  |  |  |  | -0.1875
[7 empty] | NDMC = |  |  | -0.116 |  |  |  |  | -0.109
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -14.4699 |  |  |  |  | -0.29483
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -12.0598 |  |  |  |  | -0.055733
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.0599 | % |  |  | -3.9869 |  |  |  |  | -0.018425
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.5158 | % |  |  | -4.7655 |  |  |  |  | -0.022023
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7802 | % |  |  | -2.7472 |  |  |  |  | -0.012696
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7319 | % |  |  | -0.45006 |  |  |  |  | -0.0020799
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.62636 | % |  |  | -0.075538 |  |  |  |  | -0.00034909
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2887 | % |  |  | -0.034817 |  |  |  |  | -0.0001609
Note :Sharing taken from wk-30 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st October-2020 TO 31st October-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -38.2615 | + | 2.0278
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -24.5653 |  | -0.92443
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.8983 | + | 0.048481
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.3566 |  | -0.063715
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.011243 | + | 0.61272
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.22473 |  | -0.080056
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2020 | INTIAL READING 01/10/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83