## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971943 | 972044 | -101 | 101000 | 0.101 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55007 | 48486 | 6521 | -6521000 | -6.521 | 1628 | 1628 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935797 | 936033 | -236 | 236000 | 0.236 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997673 | 997692 | -19 | 19000 | 0.019 | 996077 | 996083 | -6 | 6000 | 0.006
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 877800 | 876673 | 1127 | -1127000 | -1.127 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26889 | 26257 | 632 | -632000 | -0.632 | 16386 | 16437 | -51 | 51000 | 0.051
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2305 | 1740 | 565 | -565000 | -0.565 | 998392 | 998446 | -54 | 54000 | 0.054
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 485 | 301 | 184 | -184000 | -0.184 | 999518 | 999518 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968751 | 969614 | -863 | 431500 | 0.4315 | 847902 | 847907 | -5 | 2500 | 0.0025
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1771 | 1094 | 677 | -677000 | -0.677 | 998908 | 998908 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27955 | 23992 | 3963 | -3963000 | -3.963 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7676 | 5190 | 2486 | -2486000 | -2.486 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 859058 | 860424 | -1366 | -1366000 | -1.366 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967193 | 974598 | -7405 | -7405000 | -7.405 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978553 | 977794 | 759 | -759000 | -0.759 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 3789 | 485 | 3304 | -1652000 | -1.652 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33908 | 31924 | 1984 | -1984000 | -1.984 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990821 | 990802 | 19 | 19000 | 0.019
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655 | 666 | -11 | -11000 | -0.011 | 22689 | 22673 | 16 | 16000 | 0.016
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1311 | 1274 | 37 | 18500 | 0.0185 | 7539 | 7528 | 11 | 5500 | 0.0055
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 146136 | 144308 | 1828 | 182800 | 0.1828 | 310611 | 310573 | 38 | 3800 | 0.0038
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995699 | 995797 | -98 | -98000 | -0.098 | 984591 | 984591 | 0 | 0 | 0
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999060 | 998987 | 73 | 73000 | 0.073
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 52039 | 52833 | -794 | -79400 | -0.0794 | 121239 | 121231 | 8 | 800 | 0.0008
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990896 | 994520 | -3624 | -3624000 | -3.624 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 573760 | 577643 | -3883 | -3883000 | -3.883 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999858 | 1000444 | -586 | -156268.62 | -0.15627 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 100 | 18757 | 17511 | 1246 | 124600 | 0.1246 | 998836 | 998836 | 0 | 0 | 0 | Check Meter Data
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11094 | 7683 | 3411 | -3411000 | -3.411 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 48456 | 39737 | 8719 | -4359500 | -4.3595 | 14971 | 14971 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7433 | 4909 | 2524 | -2524000 | -2.524 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 34243 | 31540 | 2703 | -5406000 | -5.406 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51006 | 47840 | 3166 | -3166000 | -3.166 | 998776 | 998777 | -1 | 1000 | 0.001
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97566 | 92041 | 5525 | -5525000 | -5.525 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27249 | 25957 | 1292 | -1292000 | -1.292 | 999268 | 999268 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17660 | 16204 | 1456 | -1456000 | -1.456 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999134 | 999068 | 66 | -66000 | -0.066 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22711 | 20258 | 2453 | -2453000 | -2.453 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1734 | 1840 | -106 | -106000 | -0.106 | 28619 | 28635 | -16 | -16000 | -0.016
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 54270 | -287 | -28700 | -0.0287 | 26360 | 26399 | -39 | -3900 | -0.0039
[5 empty] | 100 | 43380 | 43396 | -16 | -1600 | -0.0016
| NDPL(+) continue | [14 empty] | DECEMBER-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999723 | 999931 | -208 | -20800 | -0.0208 | 999661 | 999720 | -59 | -5900 | -0.0059
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2137 | 2021 | 116 | 11600 | 0.0116 | 26972 | 26861 | 111 | 11100 | 0.0111
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 460 | 456 | 4 | 5332 | 0.005332 | 370 | 370 | 0 | 0 | 0
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2784 | 2094 | 690 | 69000 | 0.069 | 1515 | 1509 | 6 | 600 | 0.0006
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 1267 | 1353 | -86 | -8600 | -0.0086 | 30285 | 30277 | 8 | 800 | 0.0008
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 1000074 | 989588 | 10486 | 465997.84 | 0.466 | 999900 | 1000297 | -397 | -17642.68 | -0.017643
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1425 | 1423 | 2 | 333.32 | 0.00033332 | 6826 | 6676 | 150 | 24999 | 0.024999
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999886 | 999892 | -6 | -3000 | -0.003 | 1186 | 1189 | -3 | -1500 | -0.0015
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1889 | 1881 | 8 | 5333.36 | 0.0053334 | 157 | 155 | 2 | 1333.34 | 0.0013333
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4806 | 4795 | 11 | 7333.3333 | 0.0073333 | 1461 | 1459 | 2 | 1333.3333 | 0.0013333
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997466 | 997466 | 0 | 0 | 0 | 3755 | 3791 | -36 | -3600 | -0.0036
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6234 | 6423 | -189 | -18900 | -0.0189 | 11017 | 11013 | 4 | 400 | 0.0004
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 5132 | 4994 | 138 | 13800 | 0.0138 | 451 | 403 | 48 | 4800 | 0.0048
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25357 | 25274 | 83 | 8300 | 0.0083 | 6372 | 6274 | 98 | 9800 | 0.0098
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 36706 | 35558 | 1148 | 114800 | 0.1148 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26274 | 26268 | 6 | 600 | 0.0006 | 51565 | 51564 | 1 | 100 | 0.0001
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 68 | 13 | -5200 | -0.0052
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 991423 | 993581 | -2158 | -1726400 | -1.7264 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999241 | 999534 | -293 | -586000 | -0.586 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 996477 | 999384 | -2907 | -290700 | -0.2907 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 983 | 1430 | -447 | -111750 | -0.11175 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 952 | 1719 | -767 | -767000 | -0.767 | 1743 | 1742 | 1 | 1000 | 0.001
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 905 | 968 | -63 | -47250 | -0.04725 | 2681 | 2679 | 2 | 1500 | 0.0015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -68.732 |  |  |  |  | 0.23662
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12269 | 12246 | 23 | -2300 | -0.0023 | 104584 | 103648 | 936 | -93600 | -0.0936
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 210 | 289 | -79 | 63200 | 0.0632 | 9013 | 8921 | 92 | -73600 | -0.0736
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1973 | 1858 | 115 | -115000 | -0.115 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4447 | 4719 | -272 | 108800 | 0.1088 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999192 | 999367 | -175 | 32812.5 | 0.032813 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 960866 | 963601 | -2735 | 2188000 | 2.188 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 996150 | 996628 | -478 | 298750 | 0.29875 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999010 | 999141 | -131 | 81875 | 0.081875 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999928 | 1000375 | -447 | 89400 | 0.0894 | 11207 | 11196 | 11 | -2200 | -0.0022
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998157 | 998567 | -410 | 76875 | 0.076875 | 5073 | 5081 | -8 | 1500 | 0.0015
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998747 | -28 | 5250 | 0.00525 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 804 | 630 | 174 | -43500 | -0.0435 | 5382 | 5377 | 5 | -1250 | -0.00125
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999610 | 999791 | -181 | 18100 | 0.0181 | 16879 | 16817 | 62 | -6200 | -0.0062
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.8023 |  |  |  |  | -0.17535
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -68.732 |  |  |  |  | 0.23662
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.8023 |  |  |  |  | -0.17535
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.62796 |  |  |  |  | 0.006
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -65.3018 |  |  |  |  | 0.067273
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -65.3018 | (REACTIVE MUs) |  |  |  | 0.067273 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.13893 | (REACTIVE MUs) |  |  |  | -0.00093817 | (REACTIVE MUs)
[9 empty] | TOTAL | -65.1629 | (REACTIVE MUs) |  |  |  | 0.066335 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 17100 | 17354 | -254 | -25400 | -0.0254 | 993438 | 993540 | -102 | -10200 | -0.0102
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10357 | 10478 | -121 | -36300 | -0.0363 | 3929 | 3876 | 53 | 15900 | 0.0159
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 35000 | 35018 | -18 | -1350 | -0.00135 | 343726 | 343467 | 259 | 19425 | 0.019425
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 996856 | 997362 | -506 | -151800 | -0.1518 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1876 | 1862 | 14 | 18666.2 | 0.018666 | 3587 | 3587 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 48697 | 48546 | 151 | 15100 | 0.0151 | 155817 | 155770 | 47 | 4700 | 0.0047
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 20659 | 17223 | 3436 | 257700 | 0.2577 | 44991 | 44986 | 5 | 375 | 0.000375
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984348 | 984767 | -419 | -419000 | -0.419 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 998231 | 998813 | -582 | -291000 | -0.291 | 564 | 564 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999290 | 999661 | -371 | -371000 | -0.371 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991305 | 991152 | 153 | 153000 | 0.153 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993704 | 994294 | -590 | -590000 | -0.59 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995360 | 995850 | -490 | -490000 | -0.49 | 998570 | 998570 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998923 | 999231 | -308 | -308000 | -0.308 | 999900 | 999941 | -41 | -41000 | -0.041
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 997774 | 997970 | -196 | -156800 | -0.1568 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 433 | 627 | -194 | -194000 | -0.194 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1571 | 1651 | -80 | -80000 | -0.08 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2388 | 2698 | -310 | -310000 | -0.31 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 976481 | 977264 | -783 | -978750 | -0.97875 | 951762 | 951762 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996603 | 998605 | -2002 | -2002000 | -2.002 | 938557 | 938557 | 0 | 0 | 0
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 960413 | 961234 | -821 | -821000 | -0.821 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.8017 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996392 | 997116 | -724 | 724000 | 0.724 | 999999 | 999999 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985894 | 986708 | -814 | 814000 | 0.814 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999845 | 999845 | 0 | 0 | 0 | 9504 | 9468 | 36 | 36000 | 0.036
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70161 | 68703 | 1458 | -1458000 | -1.458 | 835 | 835 | 0 | 0 | 0
[5 empty] | -1000 | 61089 | 56283 | 4806 | -4806000 | -4.806
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22269 | 20250 | 2019 | -2019000 | -2.019 | 999059 | 999065 | -6 | 6000 | 0.006
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988684 | 988684 | 0 | 0 | 0 | 990693 | 990693 | 0 | 0 | 0
|  | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999799 | 1000000 | -201 | 201000 | 0.201 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 03/12/18
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994759 | 994289 | 470 | -470000 | -0.47 | 998352 | 998352 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984834 | 982955 | 1879 | -1879000 | -1.879 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9747 | 5606 | 4141 | -4141000 | -4.141 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6027 | 3558 | 2469 | -4938000 | -4.938 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1973 | 1858 | 115 | 115000 | 0.115 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4447 | 4719 | -272 | -108800 | -0.1088 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 997937 | 999379 | -1442 | -191786 | -0.19179 | 13601 | 13678 | -77 | -10241 | -0.010241
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977233 | 978334 | -1101 | 1101000 | 1.101 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990356 | 991537 | -1181 | 1181000 | 1.181 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -22.6575 |  |  |  |  | 0.021959
| (A) NET ENERGY TO CENTRAL | [8 empty] | -22.6575 |  |  |  |  | 0.021959
DECEMBER-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995379 | 995685 | -306 | 306000 | 0.306 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989892 | 989704 | 188 | -188000 | -0.188 | 965178 | 965182 | -4 | 4000 | 0.004
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991433 | 992167 | -734 | 734000 | 0.734 | 995831 | 995831 | 0 | 0 | 0
4 | Tx.4 | 5128465 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961837 | 963101 | -1264 | 1264000 | 1.264 | 971524 | 971524 | 0 | 0 | 0 | Check Meter data
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10649 | 8719 | 1930 | -1930000 | -1.93 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995836 | 994301 | 1535 | -1535000 | -1.535 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 6188 | 1004 | -1004000 | -1.004 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3719 | 3605 | 114 | -114000 | -0.114 | 937188 | 937188 | 0 | 0 | 0
[5 empty] | -1000 | 989860 | 990350 | -490 | 490000 | 0.49
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957524 | 957795 | -271 | 271000 | 0.271 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969124 | 970172 | -1048 | 1048000 | 1.048 | 989820 | 989820 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957966 | 957898 | 68 | -68000 | -0.068 | 827844 | 827844 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28668 | 25953 | 2715 | -2715000 | -2.715 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21476 | 18810 | 2666 | -2666000 | -2.666 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995406 | 989932 | 5474 | -5474000 | -5.474 | 919565 | 919565 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -11.581 |  |  |  |  | 0.004
| (B) NET ENERGY TO EAST | [8 empty] | -11.581 |  |  |  |  | 0.004
DECEMBER-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999858 | 1000444 | -586 | 156268.62 | 0.15627 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -100 | 18757 | 17511 | 1246 | -124600 | -0.1246 | 998836 | 998836 | 0 | 0 | 0 | Check Meter Data
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3507 | 3710 | -203 | 54131.98 | 0.054132 | 2196 | 2196 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 84622 | 81885 | 2737 | -273700 | -0.2737 | 149421 | 149421 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 997310 | 998326 | -1016 | 203200 | 0.2032 | 998999 | 998999 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 56186 | 54658 | 1528 | -305600 | -0.3056 | 124666 | 124666 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 20087 | 20015 | 72 | -57600 | -0.0576 | 14520 | 14520 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2773 | 2221 | 552 | -441600 | -0.4416 | 705 | 705 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 967994 | 968449 | -455 | 364000 | 0.364 | 985959 | 985959 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 969845 | 970549 | -704 | 563200 | 0.5632 | 986530 | 986539 | -9 | 7200 | 0.0072
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 978891 | 980078 | -1187 | 949600 | 0.9496 | 992674 | 992674 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 970479 | 971246 | -767 | 613600 | 0.6136 | 994421 | 994421 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963429 | 963649 | -220 | 220000 | 0.22 | 31711 | 31711 | 0 | 0 | 0 | Data till 10/12
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1734 | 1840 | -106 | 106000 | 0.106 | 28619 | 28635 | -16 | 16000 | 0.016
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 54270 | -287 | 28700 | 0.0287 | 26360 | 26399 | -39 | 3900 | 0.0039
[5 empty] | -100 | 43380 | 43396 | -16 | 1600 | 0.0016
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1425 | 1423 | 2 | -333.32 | -0.00033332 | 6826 | 6676 | 150 | -24999 | -0.024999
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999886 | 999892 | -6 | 3000 | 0.003 | 1186 | 1189 | -3 | 1500 | 0.0015
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1889 | 1881 | 8 | -5333.36 | -0.0053334 | 157 | 155 | 2 | -1333.34 | -0.0013333
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4806 | 4795 | 11 | -7333.3333 | -0.0073333 | 1461 | 1459 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 36706 | 35558 | 1148 | -114800 | -0.1148 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26274 | 26268 | 6 | -600 | -0.0006 | 51565 | 51564 | 1 | -100 | -0.0001
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997466 | 997466 | 0 | 0 | 0 | 3755 | 3791 | -36 | 3600 | 0.0036
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6234 | 6423 | -189 | 18900 | 0.0189 | 11017 | 11013 | 4 | -400 | -0.0004
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 5132 | 4994 | 138 | -13800 | -0.0138 | 451 | 403 | 48 | -4800 | -0.0048
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25357 | 25274 | 83 | -8300 | -0.0083 | 6372 | 6274 | 98 | -9800 | -0.0098
[10 empty] | 1.9286 |  |  |  |  | -0.010566
DECEMBER-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -22.6575 |  |  |  |  | 0.021959
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.9286 |  |  |  |  | -0.010566
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -2.261 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -22.9899 |  |  |  |  | 0.011393
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -11.581 |  |  |  |  | 0.004
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -34.5709 |  |  |  |  | 0.015393
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.5709 | (REACTIVE MUs) |  |  |  | 0.015393 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.093605 | (REACTIVE MUs) |  |  |  | -0.00063211 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.4773 | (REACTIVE MUs) |  |  |  | 0.014761 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999397 | 999407 | -10 | -50000 | -0.05 | 998903 | 998905 | -2 | -10000 | -0.01
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 983374 | 983878 | -504 | -671998.32 | -0.672 | 670302 | 670303 | -1 | -1333.33 | -0.0013333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 999284 | 999795 | -511 | -102200 | -0.1022 | 2621 | 2558 | 63 | 12600 | 0.0126
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 45 | 130 | -85 | -113333.05 | -0.11333 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18809 | 18752 | 57 | 5700 | 0.0057 | 22639 | 22637 | 2 | 200 | 0.0002
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 690577 | 692228 | -1651 | -123825 | -0.12383 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 996174 | 997131 | -957 | -71775 | -0.071775 | 18356 | 18413 | -57 | -4275 | -0.004275
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996929 | 997036 | -107 | -96300 | -0.0963 | 995154 | 995158 | -4 | -3600 | -0.0036
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5868 | 4608 | 1260 | -1260000 | -1.26 | 997139 | 997137 | 2 | -2000 | -0.002
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000155 | 999771 | 384 | -768000 | -0.768 | 998589 | 998596 | -7 | 14000 | 0.014
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11047 | 10430 | 617 | -617000 | -0.617 | 997883 | 997888 | -5 | 5000 | 0.005
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968807 | 967044 | 1763 | -1763000 | -1.763 | 992159 | 992257 | -98 | 98000 | 0.098
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39022 | 38194 | 828 | -828000 | -0.828 | 996616 | 996616 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 32567 | 26061 | 6506 | -3253000 | -3.253 | 21219 | 21217 | 2 | -1000 | -0.001
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8564 | 8133 | 431 | -862000 | -0.862 | 997380 | 997379 | 1 | -2000 | -0.002
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999384 | 997792 | 1592 | -1592000 | -1.592 | 845956 | 845956 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 13774 | 9317 | 4457 | -3565600 | -3.5656 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1827 | 1848 | -21 | 21000 | 0.021 | 963245 | 963292 | -47 | 47000 | 0.047
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998250 | 998443 | -193 | 193000 | 0.193 | 996001 | 996032 | -31 | 31000 | 0.031
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974454 | 973909 | 545 | -545000 | -0.545 | 987185 | 987229 | -44 | 44000 | 0.044
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 504 | 447 | 57 | -57000 | -0.057 | 998540 | 998697 | -157 | 157000 | 0.157
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 332 | 291 | 41 | -41000 | -0.041 | 999999 | 999999 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 12 | -4 | 4000 | 0.004 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33187 | 29820 | 3367 | -3367000 | -3.367 | 999999 | 999999 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 3532 | 2956 | 576 | -1919998.08 | -1.92 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 210 | 289 | -79 | -63200 | -0.0632 | 9013 | 8921 | 92 | 73600 | 0.0736
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977263 | 977189 | 74 | -74000 | -0.074 | 968992 | 968992 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984042 | 982538 | 1504 | -1504000 | -1.504 | 993976 | 993976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 1979 | 891 | 1088 | -870400 | -0.8704 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 1482 | 953 | 529 | -846400 | -0.8464 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 3564 | 917 | 2647 | -1323500 | -1.3235 | 999914 | 999985 | -71 | 35500 | 0.0355
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14035 | 13243 | 792 | -792000 | -0.792 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997025 | 996657 | 368 | -368000 | -0.368 | 996213 | 996219 | -6 | 6000 | 0.006
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998581 | 998362 | 219 | -219000 | -0.219 | 999745 | 999746 | -1 | 1000 | 0.001
BRPL(+) continue | [14 empty] | DECEMBER-2018
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17956 | 15300 | 2656 | -2656000 | -2.656 | 999885 | 999885 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2654 | 761 | 1893 | -1893000 | -1.893 | 999926 | 999977 | -51 | 51000 | 0.051
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5915 | 4748 | 1167 | -1167000 | -1.167 | 999354 | 999354 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994759 | 994041 | 718 | -718000 | -0.718 | 926348 | 926352 | -4 | 4000 | 0.004
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6488 | 5195 | 1293 | -1293000 | -1.293 | 9398 | 9364 | 34 | -34000 | -0.034
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1834 | 1442 | 392 | -784000 | -0.784 | 996534 | 996535 | -1 | 2000 | 0.002
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17716 | 10679 | 7037 | -7037000 | -7.037 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7961 | 7920 | 41 | -82000 | -0.082 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7433 | 7169 | 264 | -528000 | -0.528 | 2310 | 2310 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4083 | 3849 | 234 | -468000 | -0.468 | 1276 | 1276 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917852 | 917541 | 311 | -311000 | -0.311 | 981009 | 981009 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 427 | 102 | 325 | -325000 | -0.325 | 996478 | 996478 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161 | 184 | -23 | 23000 | 0.023 | 989282 | 989284 | -2 | 2000 | 0.002
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 994253 | 995815 | -1562 | -1249600 | -1.2496 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 977367 | 980046 | -2679 | -2143200 | -2.1432 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1457 | 1535 | -78 | -62400 | -0.0624 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 998776 | 999342 | -566 | -452800 | -0.4528 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963429 | 963649 | -220 | -220000 | -0.22 | 31711 | 31711 | 0 | 0 | 0 | Data till 10/12
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19114 | 14391 | 4723 | -4723000 | -4.723 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38746 | 30433 | 8313 | -8313000 | -8.313 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62830 | 57651 | 5179 | -5179000 | -5.179 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12269 | 12246 | 23 | 2300 | 0.0023 | 104584 | 103648 | 936 | 93600 | 0.0936
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999192 | 999367 | -175 | -32812.5 | -0.032813 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 5999 | 7954 | -1955 | -782000 | -0.782 | 993802 | 993849 | -47 | -18800 | -0.0188
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996386 | 997007 | -621 | -248400 | -0.2484 | 70253 | 70239 | 14 | 5600 | 0.0056
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 960866 | 963601 | -2735 | -2188000 | -2.188 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 375985 | 376038 | -53 | -5300 | -0.0053 | 2041 | 2036 | 5 | 500 | 0.0005
[5 empty] | 100 | 355432 | 355246 | 186 | 18600 | 0.0186
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4984 | 4914 | 70 | 70000 | 0.07 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10455 | 10378 | 77 | 5775 | 0.005775 | 17598 | 17591 | 7 | 525 | 0.000525
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5038 | 4976 | 62 | 6200 | 0.0062 | 9896 | 9887 | 9 | 900 | 0.0009
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6519 | 6853 | -334 | -167000 | -0.167 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4027 | 4492 | -465 | -465000 | -0.465 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993488 | 993846 | -358 | -358000 | -0.358 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4637 | 4786 | -149 | -149000 | -0.149 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 5853 | 7104 | -1251 | -200160 | -0.20016 | 999701 | 999701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178809 | 179169 | -360 | -36000 | -0.036 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1841 | 1608 | 233 | 233000 | 0.233 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3535 | 3540 | -5 | -5000 | -0.005 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999928 | 1000375 | -447 | -89400 | -0.0894 | 11207 | 11196 | 11 | 2200 | 0.0022
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998157 | 998567 | -410 | -76875 | -0.076875 | 5073 | 5081 | -8 | -1500 | -0.0015
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998747 | -28 | -5250 | -0.00525 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 804 | 630 | 174 | 43500 | 0.0435 | 5382 | 5377 | 5 | 1250 | 0.00125
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999610 | 999791 | -181 | -18100 | -0.0181 | 16879 | 16817 | 62 | 6200 | 0.0062
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -71.5338 |  |  |  |  | 0.61617
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 15351 | 13614 | 1737 | -173700 | -0.1737 | 277 | 277 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 997937 | 998379 | -442 | 58931.86 | 0.058932 | 13601 | 13678 | -77 | 10266.41 | 0.010266
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 995865 | 996426 | -561 | 112200 | 0.1122 | 4096 | 4084 | 12 | -2400 | -0.0024
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1314 | 1048 | 266 | -266000 | -0.266 | 998682 | 998679 | 3 | -3000 | -0.003
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999001 | 999263 | -262 | 262000 | 0.262 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 8568 | 7929 | 639 | -102240 | -0.10224 | 10781 | 10774 | 7 | -1120 | -0.00112
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2015 | 1655 | 360 | -72000 | -0.072 | 2835 | 2791 | 44 | -8800 | -0.0088
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992282 | 992779 | -497 | 497000 | 0.497 | 999639 | 999640 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 100745 | 100679 | 66 | -6600 | -0.0066 | 74167 | 74109 | 58 | -5800 | -0.0058
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 834 | 293 | 541 | -54100 | -0.0541 | 0 | 0 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28154 | 28526 | -372 | 37200 | 0.0372 | 62222 | 62222 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 444566 | 444225 | 341 | -34100 | -0.0341 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999723 | 999931 | -208 | 20800 | 0.0208 | 999661 | 999720 | -59 | 5900 | 0.0059
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2137 | 2021 | 116 | -11600 | -0.0116 | 26972 | 26861 | 111 | -11100 | -0.0111
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 460 | 456 | 4 | -5332 | -0.005332 | 370 | 370 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2784 | 2094 | 690 | -69000 | -0.069 | 1515 | 1509 | 6 | -600 | -0.0006
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 1267 | 1353 | -86 | 8600 | 0.0086 | 30285 | 30277 | 8 | -800 | -0.0008
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 1000074 | 989588 | 10486 | -465997.84 | -0.466 | 999900 | 1000297 | -397 | 17642.68 | 0.017643
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 68 | 13 | 5200 | 0.0052
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 996801 | 996332 | 469 | -187600 | -0.1876 | 999896 | 999893 | 3 | -1200 | -0.0012
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952 | 1719 | -767 | 767000 | 0.767 | 1743 | 1742 | 1 | -1000 | -0.001
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 905 | 968 | -63 | 47250 | 0.04725 | 2681 | 2679 | 2 | -1500 | -0.0015
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.36271 |  |  |  |  | 0.0026891
DECEMBER-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -71.5338 |  |  |  |  | 0.61617
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.36271 |  |  |  |  | 0.0026891
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.9211 |  |  |  |  | 0.0003
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.038 |  |  |  |  | -0.0602
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -70.2119 |  |  |  |  | 0.55896
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -70.2119 | (REACTIVE MUs) |  |  |  | 0.55896 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18491 | (REACTIVE MUs) |  |  |  | -0.0012487 | (REACTIVE MUs)
[9 empty] | TOTAL | -70.027 | (REACTIVE MUs) |  |  |  | 0.55771 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3507 | 3710 | -203 | -54134.01 | -0.054134 | 2196 | 2196 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 84622 | 81885 | 2737 | 273700 | 0.2737 | 149421 | 149421 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 997310 | 998326 | -1016 | -203200 | -0.2032 | 998999 | 998999 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 56186 | 54658 | 1528 | 305600 | 0.3056 | 124666 | 124666 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 20087 | 20015 | 72 | 57600 | 0.0576 | 14520 | 14520 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2773 | 2221 | 552 | 441600 | 0.4416 | 705 | 705 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 967994 | 968449 | -455 | -364000 | -0.364 | 985959 | 985959 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 969845 | 970549 | -704 | -563200 | -0.5632 | 986530 | 986539 | -9 | -7200 | -0.0072
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 978891 | 980078 | -1187 | -949600 | -0.9496 | 992674 | 992674 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 970479 | 971246 | -767 | -613600 | -0.6136 | 994421 | 994421 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 992937 | 994030 | -1093 | -54650 | -0.05465 | 19248 | 19304 | -56 | -2800 | -0.0028
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 985472 | 986942 | -1470 | -110250 | -0.11025 | 22787 | 22824 | -37 | -2775 | -0.002775
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 83 | 192 | -109 | -54500 | -0.0545 | 5209 | 5213 | -4 | -2000 | -0.002
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999295 | 999349 | -54 | -20250 | -0.02025 | 7701 | 7701 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 985370 | 986211 | -841 | -84100 | -0.0841 | 340338 | 340368 | -30 | -3000 | -0.003
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 3312 | 3205 | 107 | 8025 | 0.008025 | 36201 | 36182 | 19 | 1425 | 0.001425
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 5651 | 4371 | 1280 | 128000 | 0.128 | 1305 | 1265 | 40 | 4000 | 0.004
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997826 | 998141 | -315 | -315000 | -0.315 | 102136 | 102136 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998151 | 998715 | -564 | -564000 | -0.564 | 15 | 16 | -1 | -1000 | -0.001
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987652 | 988256 | -604 | -604000 | -0.604 | 143914 | 143916 | -2 | -2000 | -0.002
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5555 | 5810 | -255 | -255000 | -0.255 | 59503 | 59503 | 0 | 0 | 0
[10 empty] | -1.738 |  |  |  |  | -0.003
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999001 | 999263 | -262 | -262000 | -0.262 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 8568 | 7929 | 639 | 102240 | 0.10224 | 10781 | 10774 | 7 | 1120 | 0.00112
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2015 | 1655 | 360 | 72000 | 0.072 | 2835 | 2791 | 44 | 8800 | 0.0088
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992282 | 992779 | -497 | -497000 | -0.497 | 999639 | 999640 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
DECEMBER-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000276 | 999908 | 368 | -368000 | -0.368 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 962354 | 961623 | 731 | -365500 | -0.3655 | 986905 | 986905 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998003 | 997961 | 42 | -84000 | -0.084 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77 | 1 | 76 | -76000 | -0.076 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 444566 | 444225 | 341 | 34100 | 0.0341 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 100745 | 100679 | 66 | 6600 | 0.0066 | 74167 | 74109 | 58 | 5800 | 0.0058
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 834 | 293 | 541 | 54100 | 0.0541 | 0 | 0 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28154 | 28526 | -372 | -37200 | -0.0372 | 62222 | 62222 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 15351 | 13614 | 1737 | 173700 | 0.1737 | 277 | 277 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 375985 | 376038 | -53 | 5300 | 0.0053 | 2041 | 2036 | 5 | -500 | -0.0005
[5 empty] | -100 | 355432 | 355246 | 186 | -18600 | -0.0186
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4984 | 4914 | 70 | -70000 | -0.07 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10455 | 10378 | 77 | -5775 | -0.005775 | 17598 | 17591 | 7 | -525 | -0.000525
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5038 | 4976 | 62 | -6200 | -0.0062 | 9896 | 9887 | 9 | -900 | -0.0009
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.9372 |  |  |  |  | -0.002555
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.9372 |  |  |  |  | -0.002555
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.020679 |  |  |  |  | -0.00013965
| TOTAL ENERGY TO NDMC | [8 empty] | -4.9165 |  |  |  |  | -0.0026946

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3627 | 3550 | 77 | 15400 | 0.0154 | 32822 | 32257 | 565 | 113000 | 0.113
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4465 | 4371 | 94 | 94000 | 0.094 | 52492 | 52477 | 15 | 15000 | 0.015
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 154 | 155 | -1 | -400 | -0.0004 | 12822 | 12798 | 24 | 9600 | 0.0096
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 165 | 121 | 44 | 35200 | 0.0352 | 367 | 355 | 12 | 9600 | 0.0096
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 279 | 319 | -40 | -16000 | -0.016 | 2626 | 2679 | -53 | -21200 | -0.0212
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 995865 | 996426 | -561 | -112200 | -0.1122 | 4096 | 4084 | 12 | 2400 | 0.0024
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1314 | 1048 | 266 | 266000 | 0.266 | 998682 | 998679 | 3 | 3000 | 0.003
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.282 |  |  |  |  | 0.1314
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64198 | 64589 | -391 | -39100 | -0.0391 | 95723 | 95732 | -9 | -900 | -0.0009
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78248 | 78248 | 0 | 0 | 0 | 18241 | 18234 | 7 | 700 | 0.0007
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 66809 | 66798 | 11 | 1100 | 0.0011 | 122710 | 122108 | 602 | 60200 | 0.0602
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1662 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4262 | 4260 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.038 |  |  |  |  | 0.0602
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.038 |  |  |  |  | 0.0602
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.282 |  |  |  |  | 0.1314
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.244 |  |  |  |  | 0.1916
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.244 | (REACTIVE MUs) |  |  |  | 0.1916 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0048139 | (REACTIVE MUs) |  |  |  | -3.2508e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.24881 | (REACTIVE MUs) |  |  |  | 0.19157 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 996150 | 996628 | -478 | -298750 | -0.29875 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999010 | 999141 | -131 | -81875 | -0.081875 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 996801 | 996332 | 469 | 187600 | 0.1876 | 999896 | 999893 | 3 | 1200 | 0.0012
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.19303 |  |  |  |  | 0.0012

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 965262 | 973707 | -8445 | -844500 | -0.8445 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 77292 | 76664 | 628 | 62800 | 0.0628 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 13886 | 12248 | 1638 | 819000 | 0.819 | 2766 | 2766 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999742 | 999341 | 401 | 375937.5 | 0.37594 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996797 | -772 | 386000 | 0.386 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978306 | 978306 | 0 | 0 | 0 | 976366 | 976366 | 0 | 0 | 0
[10 empty] | 0.016167 |  |  |  |  | 0 | Assessment
|  | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 999806 | 1000000 | -194 | 97000 | 0.097 | 0 | 0 | 0 | 0 | 0 | w.e.f 10/12/18
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 45 | 29 | 8700 | 0.0087 | 999900 | 999899 | 1 | 300 | 0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.9211 |  |  |  |  | 0.0003
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 981335 | 983204 | -1869 | -373800 | -0.3738 | 23 | 23 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 992504 | 994517 | -2013 | -1887187.5 | -1.8872 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -2.261 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1866 | 1793 | 73 | 91250 | 0.09125 | 90 | 90 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 345462 | 341519 | 3943 | 394300 | 0.3943 | 999475 | 999475 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 279559 | 273694 | 5865 | 366562.5 | 0.36656 | 94061 | 94061 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2858 | 2932 | -74 | -59200 | -0.0592 | 1936 | 1936 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 971621 | 973294 | -1673 | -167300 | -0.1673 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998801 | 1000244 | -1443 | -216450 | -0.21645 | 987238 | 987196 | 42 | 6300 | 0.0063
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997895 | 997986 | -91 | 227500 | 0.2275 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 45 | 29 | -8700 | -0.0087 | 999900 | 999899 | 1 | -300 | -0.0003
| TOTAL NDPL | [8 empty] | 0.62796 |  |  |  |  | 0.006
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.9211 |  |  |  |  | 0.0003
| F) NET EXPORT TO BSES YPL | [8 empty] | -2.261 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.62796 |  |  |  |  | 0.006

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 49668 | 46469 | 3199 | 3199000 | 3.199 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 16834 | 16277 | 557 | 2785000 | 2.785 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.984 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.984 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.8017 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -1.738 |  |  |  |  | -0.003
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -5.5397 |  |  |  |  | -0.003
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.44425 |  |  |  |  | -0.003
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.2725 | % |  |  | 0.13893 |  |  |  |  | -0.00093817
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6231 | % |  |  | 0.18491 |  |  |  |  | -0.0012487
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.0704 | % |  |  | 0.093605 |  |  |  |  | -0.00063211
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6549 | % |  |  | 0.020679 |  |  |  |  | -0.00013965
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0836 | % |  |  | 0.0048139 |  |  |  |  | -3.2508e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2954 | % |  |  | 0.0013123 |  |  |  |  | -8.862e-06
Note :Sharing taken from wk-40 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2018 TO 31st DECEMBER-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -65.1629 | + | 0.066335
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -70.027 | + | 0.55771
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -34.4773 | + | 0.014761
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.9165 |  | -0.0026946
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.24881 | + | 0.19157
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.19303 | + | 0.0012
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2018 | INTIAL READING 01/12/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 28006 | 21832 | 6174 | 4630500 | 4.6305 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 18071 | 15545 | 2526 | 3789000 | 3.789 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 830127 | 833679 | -3552 | -2664000 | -2.664 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 5.7555 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1212 | 1379 | -167 | -835000 | -0.835 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 890967 | 892223 | -1256 | -1256000 | -1.256
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974751 | 974519 | 232 | 232000 | 0.232 | 999694 | 999454 | 240 | 240000 | 0.24
[8 empty] | NET REACTIVE ENERGY |  | -0.603 |  |  | NET REACTIVE ENERGY |  | -1.016