## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 533 | 369 | 164 | -164000 | -0.164 | 998529 | 998359 | 170 | -170000 | -0.17
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100108 | 99976 | 132 | -264000 | -0.264 | 5146 | 5118 | 28 | -56000 | -0.056
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 1728999 | 1559000 | 169999 | -169999 | -0.17 | -5000 | -9000 | 4000 | -4000 | -0.004
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18618 | 18618 | 0 | 0 | 0 | 2523 | 2523 | 0 | 0 | 0
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 2334000 | 2104000 | 230000 | -230000 | -0.23 | -84000 | -111000 | 27000 | -27000 | -0.027
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 212 | 174 | 38 | -38000 | -0.038 | 131 | 9 | 122 | -122000 | -0.122
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 318 | 318 | 0 | 0 | 0 | 1505 | 1233 | 272 | -544000 | -0.544
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38886 | 37591 | 1295 | -1295000 | -1.295 | 999058 | 999052 | 6 | -6000 | -0.006
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48145 | 46970 | 1175 | -1175000 | -1.175 | 997327 | 997321 | 6 | -6000 | -0.006
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34898 | 33680 | 1218 | -1218000 | -1.218 | 996894 | 996853 | 41 | -41000 | -0.041
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 54584 | 54125 | 459 | -229500 | -0.2295 | 812688 | 812614 | 74 | -37000 | -0.037
[5 empty] | -500 | 17157 | 15827 | 1330 | -665000 | -0.665
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14876 | 13941 | 935 | -935000 | -0.935 | 998530 | 998522 | 8 | -8000 | -0.008
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37919 | 36768 | 1151 | -1151000 | -1.151 | 145 | 133 | 12 | -12000 | -0.012
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64926 | 64731 | 195 | -195000 | -0.195 | 995665 | 995663 | 2 | -2000 | -0.002
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 664282 | 667633 | -3351 | -3351000 | -3.351 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 676445 | 687091 | -10646 | -5323000 | -5.323 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16126 | 16027 | 99 | -99000 | -0.099 | 389 | 175 | 214 | -214000 | -0.214
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 8869 | 7779 | 1090 | -1090000 | -1.09
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63328 | 63188 | 140 | -140000 | -0.14 | 2252 | 2071 | 181 | -181000 | -0.181
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998580 | 998581 | -1 | -1000 | -0.001 | 985459 | 985523 | -64 | -64000 | -0.064
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999549 | 999550 | -1 | -4000 | -0.004 | 999518 | 999531 | -13 | -52000 | -0.052
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1984 | 1996 | -12 | -6000 | -0.006 | 17377 | 17362 | 15 | 7500 | 0.0075
23 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 11273 | 11264 | 9 | 4500 | 0.0045 | 31167 | 31165 | 2 | 1000 | 0.001
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998236 | 998289 | -53 | -53000 | -0.053 | 991974 | 991983 | -9 | -9000 | -0.009
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999992 | 999992 | 0 | 0 | 0 | 993371 | 993397 | -26 | -34666.658 | -0.034667
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999752 | 999752 | 0 | 0 | 0 | 26 | 15 | 11 | 11000 | 0.011
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997948 | 998612 | -664 | -664000 | -0.664 | 31 | 31 | 0 | 0 | 0
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 876363 | 878590 | -2227 | -1113500 | -1.1135 | 999216 | 999216 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 990415 | 990628 | -213 | -56800.71 | -0.056801 | 999948 | 999964 | -16 | -4266.72 | -0.0042667
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6 | 6 | 0 | 0 | 0 | 93 | 80 | 13 | 26000 | 0.026
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60981 | 60976 | 5 | -5000 | -0.005 | 995153 | 995026 | 127 | -127000 | -0.127
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6091 | 6069 | 22 | -22000 | -0.022 | 999924 | 999744 | 180 | -180000 | -0.18
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 43137 | 42456 | 681 | -1362000 | -1.362 | 999711 | 999690 | 21 | -42000 | -0.042
BAWANA
34 | I/C 100 MVA PR.TR. | 4864847 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1635 | 1158 | 477 | -1192500 | -1.1925 | 2 | 0 | 2 | -5000 | -0.005
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 18720 | 18155 | 565 | -2260000 | -2.26 | 85 | 68 | 17 | -68000 | -0.068
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 179981 | 179134 | 847 | -847000 | -0.847 | 998470 | 998443 | 27 | -27000 | -0.027
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 427759 | 423327 | 4432 | -1477318.56 | -1.4773 | 1815 | 1536 | 279 | -92999.07 | -0.092999
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 60797 | 59603 | 1194 | -2388000 | -2.388 | 144 | 132 | 12 | -24000 | -0.024
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 5731 | 5282 | 449 | -1122500 | -1.1225 | 92 | 92 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 168636 | 167354 | 1282 | -1282000 | -1.282 | 2528 | 2528 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 20513000 | 19220000 | 1293000 | -1293000 | -1.293 | 5015000 | 5005000 | 10000 | -10000 | -0.01
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 61004000 | 58277000 | 2727000 | -2727000 | -2.727 | 3270000 | 3268000 | 2000 | -2000 | -0.002
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49753 | 48147 | 1606 | -1606000 | -1.606 | 998006 | 998002 | 4 | -4000 | -0.004
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62121 | 61821 | 300 | -300000 | -0.3 | 899 | 885 | 14 | -14000 | -0.014
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992572 | 993009 | -437 | -437000 | -0.437 | 24320 | 24322 | -2 | -2000 | -0.002
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | DECEMBER-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3142 | 3156 | -14 | -1400 | -0.0014 | 35682 | 35655 | 27 | 2700 | 0.0027
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 746 | 746 | 0 | 0 | 0 | 623 | 634 | -11 | -14663 | -0.014663
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1616 | 1616 | 0 | 0 | 0 | 12801 | 12625 | 176 | 17600 | 0.0176
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999859 | 0 | 0 | 0 | 2518 | 2500 | 18 | 9000 | 0.009
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999982 | 999982 | 0 | 0 | 0 | 999981 | 1000007 | -26 | -13000 | -0.013
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1202 | 1202 | 0 | 0 | 0 | 1671 | 1703 | -32 | -16000 | -0.016
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992518 | 992598 | -80 | -8000 | -0.008 | 3868 | 3862 | 6 | 600 | 0.0006
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 33 | 33 | 0 | 0 | 0 | 90 | 86 | 4 | 5333.32 | 0.0053333
61 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 9 | 6 | 3 | 399.99 | 0.00039999 | 111 | 0 | 111 | 14799.63 | 0.0148
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2752 | 2735 | 17 | 1700 | 0.0017 | 362 | 238 | 124 | 12400 | 0.0124
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60389 | 60625 | -236 | -23600 | -0.0236 | 2644 | 2652 | -8 | -800 | -0.0008
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 431 | 432 | -1 | -133.33 | -0.00013333 | 1199 | 1215 | -16 | -2133.28 | -0.0021333
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 929605 | 930143 | -538 | -430400 | -0.4304 | 999679 | 999689 | -10 | -8000 | -0.008
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 992804 | 992984 | -180 | -144000 | -0.144 | 999998 | 999999 | -1 | -800 | -0.0008
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 956933 | 956935 | -2 | -400 | -0.0004 | 2338 | 2319 | 19 | 3800 | 0.0038
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988259 | 988261 | -2 | -500 | -0.0005 | 911 | 958 | -47 | -11750 | -0.01175
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977016 | 978018 | -1002 | -1002000 | -1.002 | 1757 | 1762 | -5 | -5000 | -0.005
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999557 | 999557 | 0 | 0 | 0 | 429 | 430 | -1 | -281.25 | -0.00028125
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -637000 | -510000 | -127000 | -127000 | -0.127 | 0 | 0 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | 166000 | 615000 | -449000 | -449000 | -0.449 | 0 | 0 | 0 | 0 | 0
76 | 33KV NARAINA DTC CKT-I | Q0487627 | Secure | Kvarh(Lead/Lag) | 1 | -37000 | 0 | -37000 | -37000 | -0.037 | 0 | -1000 | 1000 | 1000 | 0.001 | w.e.f 27-12-2023
77 | 33KV NARAINA DTC CKT-II | Q0487631 | Secure | Kvarh(Lead/Lag) | 1 | -575000 | -301000 | -274000 | -274000 | -0.274 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -39.353 |  |  |  |  | -3.2416
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 679 | 679 | 0 | 0 | 0 | 3915 | 3666 | 249 | -24900 | -0.0249
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 794000 | 761000 | 33000 | -26400 | -0.0264 | 9500 | 9000 | 500 | -400 | -0.0004
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 973098 | 973179 | -81 | 40500 | 0.0405 | 992123 | 992117 | 6 | -3000 | -0.003
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 7567 | 7747 | -180 | 23999.4 | 0.023999 | 8367 | 8370 | -3 | 399.99 | 0.00039999
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995865 | 995887 | -22 | 4125 | 0.004125 | 998216 | 998246 | -30 | 5625 | 0.005625
KANJAWALA
6 | 66KV DMRC | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -1116000 | -1067000 | -49000 | 19600 | 0.0196 | -2193000 | -680000 | -1513000 | 605200 | 0.6052
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991986 | 992095 | -109 | 68125 | 0.068125 | 1361 | 1346 | 15 | -9375 | -0.009375
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999668 | 999688 | -20 | 10000 | 0.01 | 807 | 801 | 6 | -3000 | -0.003
REWARI LINE
10 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | -400 | 999419 | 999743 | -324 | 129600 | 0.1296 | 999997 | 1000000 | -3 | 1200 | 0.0012
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999669 | 999825 | -156 | 146250 | 0.14625 | 999738 | 999739 | -1 | 937.5 | 0.0009375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 979886 | 980278 | -392 | 73500 | 0.0735 | 2527 | 2532 | -5 | 937.5 | 0.0009375
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999965 | 999982 | -17 | 42500 | 0.0425 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 992869 | 993010 | -141 | 14100 | 0.0141 | 32213 | 32214 | -1 | 100 | 0.0001
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5459 |  |  |  |  | 0.57372
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -39.353 |  |  |  |  | -3.2416
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5459 |  |  |  |  | 0.57372
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -2.5328 |  |  |  |  | -0.15294
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -41.3399 |  |  |  |  | -2.8208
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -41.3399 | (REACTIVE MUs) |  |  |  | -2.8208 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 7.7739 | (REACTIVE MUs) |  |  |  | 0.070931 | (REACTIVE MUs)
[9 empty] | TOTAL | -33.5659 | (REACTIVE MUs) |  |  |  | -2.7499 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997803 | 997803 | 0 | 0 | 0 | 986803 | 987330 | -527 | -527000 | -0.527
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998503 | 998503 | 0 | 0 | 0 | 997671 | 997850 | -179 | -179000 | -0.179
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999409 | 999409 | 0 | 0 | 0 | 964330 | 966844 | -2514 | -502800 | -0.5028
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999793 | 999793 | 0 | 0 | 0 | 995505 | 995703 | -198 | -263999.34 | -0.264
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997344 | 997346 | -2 | -3000 | -0.003 | 997283 | 997404 | -121 | -181500 | -0.1815
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10343 | 10343 | 0 | 0 | 0 | 18136 | 18395 | -259 | -345332.47 | -0.34533
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994468 | 994471 | -3 | -3000 | -0.003 | 994776 | 995017 | -241 | -241000 | -0.241
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990604 | 990604 | 0 | 0 | 0 | 985088 | 985370 | -282 | -282000 | -0.282
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999995 | 999995 | 0 | 0 | 0 | 997474 | 998256 | -782 | -625600 | -0.6256
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988546 | 988546 | 0 | 0 | 0 | 264956 | 264990 | -34 | -45333.22 | -0.045333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1145 | 1018 | 127 | -846666.582 | -0.84667 | 106 | 106 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38567 | 36594 | 1973 | -1973000 | -1.973 | 997370 | 997368 | 2 | -2000 | -0.002
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5908 | 5597 | 311 | -622000 | -0.622 | 999704 | 999706 | -2 | 4000 | 0.004
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2606 | 1882 | 724 | -724000 | -0.724 | 996091 | 996070 | 21 | -21000 | -0.021
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 2053 | 1516 | 537 | -671250 | -0.67125 | 183 | 166 | 17 | -21250 | -0.02125
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13724 | 13644 | 80 | -80000 | -0.08 | 639 | 567 | 72 | -72000 | -0.072
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38671 | 38629 | 42 | -84000 | -0.084 | 5642 | 5492 | 150 | -300000 | -0.3
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4477 | 4369 | 108 | -216000 | -0.216 | 999830 | 999822 | 8 | -16000 | -0.016
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 4606 | 3596 | 1010 | -1616000 | -1.616 | 1858 | 1812 | 46 | -73600 | -0.0736
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 136825 | 134378 | 2447 | -1957600 | -1.9576 | 7902 | 7885 | 17 | -13600 | -0.0136
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999807 | 999743 | 64 | -160000 | -0.16 | 999897 | 999900 | -3 | 7500 | 0.0075
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952427 | 952344 | 83 | -166000 | -0.166 | 989215 | 989296 | -81 | 162000 | 0.162
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998457 | 998574 | -117 | 234000 | 0.234 | 999990 | 999993 | -3 | 6000 | 0.006
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000375 | 999889 | 486 | -486000 | -0.486 | 999931 | 999935 | -4 | 4000 | 0.004
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997596 | 997584 | 12 | -12000 | -0.012 | 997262 | 997257 | 5 | -5000 | -0.005
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981476 | 981464 | 12 | -12000 | -0.012 | 12985 | 12976 | 9 | -9000 | -0.009
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 296495 | 296163 | 332 | -332000 | -0.332 | 140062 | 140060 | 2 | -2000 | -0.002
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8548 | 8484 | 64 | -128000 | -0.128 | 1545 | 1544 | 1 | -2000 | -0.002
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 794000 | 761000 | 33000 | 26400 | 0.0264 | 9500 | 9000 | 500 | 400 | 0.0004
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928434 | 929113 | -679 | 679000 | 0.679 | 965242 | 965242 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992099 | 992042 | 57 | -57000 | -0.057 | 999495 | 999495 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6001 | 4747 | 1254 | -1254000 | -1.254 | 999976 | 999976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41732 | 41718 | 14 | -11200 | -0.0112 | 15720 | 15449 | 271 | -216800 | -0.2168
34 | 66KV I/C-2 | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 355 | 235 | 120 | -144000 | -0.144 | 719 | 521 | 198 | -237600 | -0.2376
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999862 | 999823 | 39 | -78000 | -0.078 | 1345 | 1196 | 149 | -298000 | -0.298
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 232 | 232 | 0 | 0 | 0 | 456 | 14 | 442 | -442000 | -0.442
37 | Tx.5 (33 KV)-Ckt No.3 | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 0 | 6 | -6000 | -0.006 | 361 | 52 | 309 | -309000 | -0.309
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5727 | 5727 | 0 | 0 | 0 | 996982 | 996843 | 139 | -139000 | -0.139
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1324 | 1324 | 0 | 0 | 0 | 2805 | 2183 | 622 | -622000 | -0.622
BRPL(+) continue | [14 empty] | DECEMBER-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11201 | 11297 | -96 | 96000 | 0.096 | 71 | 73 | -2 | 2000 | 0.002
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25396 | 25169 | 227 | -227000 | -0.227 | 1005 | 928 | 77 | -77000 | -0.077
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41232 | 41232 | 0 | 0 | 0 | 968783 | 968783 | 0 | 0 | 0
|  | 4864900 | ELSTER | Kvarh(Lead/Lag) | -2500 | 43 | 0 | 43 | -107500 | -0.1075 | 999993 | 1000000 | -7 | 17500 | 0.0175 | W.E.F 01/12/2023
MEHRAULI
43 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1170 | 930 | 240 | -240000 | -0.24 | 30 | 3 | 27 | -27000 | -0.027
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 22709 | 21934 | 775 | -387500 | -0.3875 | 1928 | 1915 | 13 | -6500 | -0.0065
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3067 | 2953 | 114 | -285000 | -0.285 | 1134 | 1125 | 9 | -22500 | -0.0225
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6173 | 5989 | 184 | -368000 | -0.368 | 1097 | 1085 | 12 | -24000 | -0.024
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 105475 | 103260 | 2215 | -2215000 | -2.215 | 996803 | 996803 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 75312 | 73466 | 1846 | -3692000 | -3.692 | 999341 | 999341 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 13896 | 13191 | 705 | -1057500 | -1.0575 | 57 | 57 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16292 | 15725 | 567 | -567000 | -0.567 | 999997 | 999997 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996808 | 996745 | 63 | -63000 | -0.063 | 162 | 144 | 18 | -18000 | -0.018
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991285 | 991203 | 82 | -82000 | -0.082 | 994725 | 994719 | 6 | -6000 | -0.006
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989874 | 989849 | 25 | -25000 | -0.025 | 986696 | 986715 | -19 | 19000 | 0.019
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993179 | 993286 | -107 | -428000 | -0.428 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 960224 | 960547 | -323 | -258400 | -0.2584 | 624 | 626 | -2 | -1600 | -0.0016
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 905066 | 905311 | -245 | -196000 | -0.196 | 999421 | 999425 | -4 | -3200 | -0.0032
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 999956 | 1000063 | -107 | -85600 | -0.0856 | 9 | 4 | 5 | 4000 | 0.004
59 | BAY No 612 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992557 | 992557 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.00226 |  |  |  |  | 0.000133 | Assessment
|  | 4902511 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999983 | 1000000 | -17 | -68000 | -0.068 | 1 | 0 | 1 | 4000 | 0.004 | w.e.f 02/12/2023
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 982656 | 983079 | -423 | -338400 | -0.3384 | 999260 | 999382 | -122 | -97600 | -0.0976
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 978311 | 979396 | -1085 | -868000 | -0.868 | 999960 | 999967 | -7 | -5600 | -0.0056
PARK STREET
63 | 66KV R VALLEY-1 | Y0357818 | Secure | Kvarh(Lead/Lag) | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 44644 | 43635 | 1009 | -2018000 | -2.018 | 8396 | 8396 | 0 | 0 | 0 | Check Meter Data till 11/12/2023
|  | 5100232 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1361 | 0 | 1361 | -2722000 | -2.722 | 0 | 0 | 0 | 0 | 0 | w.e.f 12/12/2023
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19946 | 19678 | 268 | -268000 | -0.268 | 17516 | 17285 | 231 | -231000 | -0.231
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 146234 | 144586 | 1648 | -1648000 | -1.648 | 3506 | 3506 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 679 | 679 | 0 | 0 | 0 | 3915 | 3666 | 249 | 24900 | 0.0249
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995865 | 995887 | -22 | -4125 | -0.004125 | 998216 | 998246 | -30 | -5625 | -0.005625
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997930 | 998039 | -109 | -109000 | -0.109 | 433 | 428 | 5 | 5000 | 0.005
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997333 | 997439 | -106 | -106000 | -0.106 | 391 | 400 | -9 | -9000 | -0.009
KANJAWALA
70 | 66KV DMRC | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -1116000 | -1067000 | -49000 | -19600 | -0.0196 | -2193000 | -680000 | -1513000 | -605200 | -0.6052
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627 | 758 | -131 | -131000 | -0.131 | 999777 | 999777 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995387 | 996074 | -687 | -687000 | -0.687 | 999564 | 999564 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999781 | 999830 | -49 | -4900 | -0.0049 | 999678 | 999678 | 0 | 0 | 0
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 255 | 237 | 18 | 3600 | 0.0036 | 407 | 407 | 0 | 0 | 0
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8059 | 8069 | -10 | -5000 | -0.005 | 2981 | 3021 | -40 | -20000 | -0.02
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993988 | 994008 | -20 | -20000 | -0.02 | 4124 | 4158 | -34 | -34000 | -0.034
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980398 | 980398 | 0 | 0 | 0 | 519 | 526 | -7 | -7000 | -0.007
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7539 | 7540 | -1 | -1000 | -0.001 | 6933 | 6948 | -15 | -15000 | -0.015
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993306 | 993315 | -9 | -1350 | -0.00135 | 470 | 433 | 37 | 5550 | 0.00555
80 | PASCHIM PURI - 2(L-8) | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999962 | 999964 | -2 | -2000 | -0.002 | 0 | 2 | -2 | -2000 | -0.002
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3285 | 3294 | -9 | -2400.03 | -0.0024 | 701 | 670 | 31 | 8266.77 | 0.0082668
82 | MUKHERJEE PARK - II | 4865154 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 1000000 | -1 | -1000 | -0.001 | 21 | 11 | 10 | 10000 | 0.01
REWARI LINE
83 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | 400 | 999419 | 999743 | -324 | -129600 | -0.1296 | 999997 | 1000000 | -3 | -1200 | -0.0012
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999669 | 999825 | -156 | -146250 | -0.14625 | 999738 | 999739 | -1 | -937.5 | -0.0009375
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 979886 | 980278 | -392 | -73500 | -0.0735 | 2527 | 2532 | -5 | -937.5 | -0.0009375
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999965 | 999982 | -17 | -42500 | -0.0425 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 992869 | 993010 | -141 | -14100 | -0.0141 | 32213 | 32214 | -1 | -100 | -0.0001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -30.3212 |  |  |  |  | -6.9322
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21873 | 21875 | -2 | 1000 | 0.001 | 6188 | 6207 | -19 | 9500 | 0.0095
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992395 | 992395 | 0 | 0 | 0 | 1726 | 1886 | -160 | 21332.8 | 0.021333
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999635 | 999667 | -32 | 21333.344 | 0.021333 | 448 | 519 | -71 | 47333.357 | 0.047333
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1058 | 1064 | -6 | 6000 | 0.006 | 358 | 369 | -11 | 11000 | 0.011
6 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | -2 | 0 | 0 | 0 | 0 | 0 | 58800 | 30500 | 28300 | -56600 | -0.0566
EXPORTS(*)
EXPORT TO NDMC
7 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988368 | 988757 | -389 | 389000 | 0.389 | 2698 | 2698 | 0 | 0 | 0
8 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2651 | 2683 | -32 | 5120 | 0.00512 | 45785 | 45949 | -164 | 26240 | 0.02624
9 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3830 | 3832 | -2 | 400 | 0.0004 | 26984 | 27028 | -44 | 8800 | 0.0088
10 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966644 | 967174 | -530 | 530000 | 0.53 | 999625 | 999625 | 0 | 0 | 0
EXPORT TO NDMC
11 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 910 | 923 | -13 | 1300 | 0.0013 | 3602 | 3610 | -8 | 800 | 0.0008
12 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5939 | 5830 | 109 | -10900 | -0.0109 | 6200 | 5938 | 262 | -26200 | -0.0262
13 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 999125 | 999457 | -332 | 66400 | 0.0664 | 999703 | 999703 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
14 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902557 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 16/12/2023
15 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
16 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 384 | 359 | 25 | 20833.25 | 0.020833 | 7310 | 7131 | 179 | 149166.07 | 0.14917
KIDWAI NAGAR
17 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 473 | 472 | 1 | -625 | -0.000625 | 8413 | 8186 | 227 | -141875 | -0.14188
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3142 | 3156 | -14 | 1400 | 0.0014 | 35682 | 35655 | 27 | -2700 | -0.0027
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 746 | 746 | 0 | 0 | 0 | 623 | 634 | -11 | 14663 | 0.014663
22 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1616 | 1616 | 0 | 0 | 0 | 12801 | 12625 | 176 | -17600 | -0.0176
REWARI LINE (11KV TRANSFER OF ENERGY)
27 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
28 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
29 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 2424 | 2437 | -13 | 10400 | 0.0104 | 1593 | 1593 | 0 | 0 | 0
REWARI LINE
30 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977016 | 978018 | -1002 | 1002000 | 1.002 | 1757 | 1762 | -5 | 5000 | 0.005
31 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999557 | 999557 | 0 | 0 | 0 | 429 | 430 | -1 | 281.25 | 0.00028125
FED FROM BRPL(RLY.)
32 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.12 | 0 | 0 | 0 | 47.88 | 48.08 | -0.2 | 120 | 0.00012
33 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.56 | 0.49 | 0.07 | -210 | -0.00021 | 30.63 | 27.09 | 3.54 | -10620 | -0.01062
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.0435 |  |  |  |  | 0.038641
DECEMBER-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -30.3212 |  |  |  |  | -6.9322
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.0435 |  |  |  |  | 0.038641
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.44178 |  |  |  |  | -0.12643
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.001 |  |  |  |  | -0.099325
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -28.7205 |  |  |  |  | -7.1193
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -28.7205 | (REACTIVE MUs) |  |  |  | -7.1193 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 10.8249 | (REACTIVE MUs) |  |  |  | 0.099631 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.8957 | (REACTIVE MUs) |  |  |  | -7.0196 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36459 | 36461 | -2 | -534 | -0.000534 | 977604 | 978090 | -486 | -129762 | -0.12976
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 998952 | 999020 | -68 | -272000 | -0.272
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24928 | 24928 | 0 | 0 | 0 | 33698 | 33709 | -11 | -1466.63 | -0.0014666
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999583 | 999585 | -2 | -2000 | -0.002 | 998400 | 998565 | -165 | -165000 | -0.165
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 88 | 88 | 0 | 0 | 0 | 999157 | 999212 | -55 | -88000 | -0.088
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18403 | 18403 | 0 | 0 | 0 | 3217 | 3251 | -34 | -45333.22 | -0.045333
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999513 | 999518 | -5 | -1000 | -0.001 | 987444 | 989518 | -2074 | -414800 | -0.4148
RPH
8 | KAMLA MKT.-2 | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995832 | 995860 | -28 | -28000 | -0.028 | 998869 | 998869 | 0 | 0 | 0 | Check meter till 29/12
|  | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999999 | 1000000 | -1 | -1333.33 | -0.0013333 | 0 | 0 | 0 | 0 | 0 | w.e.f 30/12/2023
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982433 | 982550 | -117 | -58500 | -0.0585 | 553 | 555 | -2 | -1000 | -0.001
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997108 | 997125 | -17 | -17000 | -0.017 | 999766 | 999767 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982371 | 982396 | -25 | -25000 | -0.025 | 1004 | 1004 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999963 | 999963 | 0 | 0 | 0 | 3296 | 3390 | -94 | -125333.02 | -0.12533
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993319 | 993322 | -3 | -3000 | -0.003 | 994544 | 994553 | -9 | -9000 | -0.009
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992494 | 992494 | 0 | 0 | 0 | 999686 | 999769 | -83 | -83000 | -0.083
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994326 | 994328 | -2 | -1600 | -0.0016 | 6735 | 6757 | -22 | -17600 | -0.0176
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14917 | 14949 | -32 | -4266.56 | -0.0042666 | 8689 | 8690 | -1 | -133.33 | -0.00013333
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999858 | 999858 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 350 | 372 | -22 | -22000 | -0.022 | 16397 | 16397 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 938146 | 940361 | -2215 | -2768750 | -2.7687 | 947108 | 947108 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912977 | 917235 | -4258 | -4258000 | -4.258 | 933434 | 933434 | 0 | 0 | 0
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999431 | 999431 | 0 | 0 | 0 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -7.0267 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999993 | 999993 | 0 | 0 | 0 | 999763 | 999725 | 38 | -38000 | -0.038
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6646 | 6635 | 11 | -11000 | -0.011 | 985193 | 985192 | 1 | -1000 | -0.001
|  | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 91 | 0 | 91 | -91000 | -0.091 | 1 | 0 | 1 | -1000 | -0.001 | w.e.f 12-12-2023
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998888 | 998888 | 0 | 0 | 0 | 11464 | 11575 | -111 | -111000 | -0.111
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12333 | 9542 | 2791 | -2791000 | -2.791 | 2156 | 2134 | 22 | -22000 | -0.022
27 | TX.-2(66KV) | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15161 | 13826 | 1335 | -1335000 | -1.335 | 999154 | 999154 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7990 | 7631 | 359 | -359000 | -0.359 | 998020 | 998020 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -2000 | 74 | 67 | 7 | -14000 | -0.014 | 59 | 6 | 53 | -106000 | -0.106
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97908 | 97725 | 183 | -183000 | -0.183 | 6341 | 6269 | 72 | -72000 | -0.072
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3635 | 3432 | 203 | -1015000 | -1.015 | 441 | 439 | 2 | -10000 | -0.01
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 973098 | 973179 | -81 | -40500 | -0.0405 | 992123 | 992117 | 6 | 3000 | 0.003
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 7567 | 7747 | -180 | -23999.4 | -0.023999 | 8367 | 8370 | -3 | -399.99 | -0.00039999
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992395 | 992395 | 0 | 0 | 0 | 1726 | 1886 | -160 | -21280 | -0.02128
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996297 | 995917 | 380 | -380000 | -0.38 | 990272 | 990269 | 3 | -3000 | -0.003
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986237 | 986237 | 0 | 0 | 0 | 969527 | 969522 | 5 | -5000 | -0.005
[5 empty] | -1000 | 979656 | 978952 | 704 | -704000 | -0.704
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 634000 | -191000 | 825000 | -825000 | -0.825 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 2376000 | 1744000 | 632000 | -632000 | -0.632 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -15.5955 |  |  |  |  | -1.7411
| (A) NET ENERGY TO CENTRAL | [8 empty] | -15.5955 |  |  |  |  | -1.7411
DECEMBER-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1702 | 1297 | 405 | -405000 | -0.405 | 455 | 375 | 80 | -80000 | -0.08
2 | Tx.2 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1311 | 820 | 491 | -491000 | -0.491 | 131 | 0 | 131 | -131000 | -0.131
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 774 | 477 | 297 | -297000 | -0.297 | 116 | 59 | 57 | -57000 | -0.057
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3080 | 2471 | 609 | -609000 | -0.609 | 999768 | 999755 | 13 | -13000 | -0.013
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41950 | 41898 | 52 | -52000 | -0.052 | 999502 | 999037 | 465 | -465000 | -0.465
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 25230 | 25108 | 122 | -61000 | -0.061 | 2191 | 1632 | 559 | -279500 | -0.2795
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 466 | 448 | 18 | -18000 | -0.018 | 148 | 64 | 84 | -84000 | -0.084
8 | 100MVA Tx.3 (33 KV) | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100 | 63 | 37 | -37000 | -0.037 | 74 | 8 | 66 | -66000 | -0.066
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2012 | 1980 | 32 | -32000 | -0.032 | 188 | 110 | 78 | -78000 | -0.078
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 189 | 154 | 35 | -35000 | -0.035 | 945 | 873 | 72 | -72000 | -0.072
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1294 | 1241 | 53 | -53000 | -0.053 | 1852 | 1669 | 183 | -183000 | -0.183
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14365 | 14277 | 88 | -440000 | -0.44 | 844 | 819 | 25 | -125000 | -0.125
13 | TX-2 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3335 | 2201 | 1134 | -1134000 | -1.134 | 0 | 0 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13446 | 12526 | 920 | -920000 | -0.92 | 912 | 912 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.584 |  |  |  |  | -1.6335
| (B) NET ENERGY TO EAST | [8 empty] | -4.584 |  |  |  |  | -1.6335
DECEMBER-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 990415 | 990628 | -213 | 56800.71 | 0.056801 | 999948 | 999964 | -16 | 4266.72 | 0.0042667
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 6 | 0 | 0 | 0 | 93 | 80 | 13 | -26000 | -0.026
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 262 | 443 | -181 | 48265.46 | 0.048265 | 2146 | 2146 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 13480 | 11937 | 1543 | -154300 | -0.1543 | 1603 | 1603 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 969321 | 970608 | -1287 | 257400 | 0.2574 | 244 | 244 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 437 | 568 | -131 | 131000 | 0.131 | 365 | 365 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999932 | 999972 | -40 | 32000 | 0.032 | 1118 | 1116 | 2 | -1600 | -0.0016
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1471 | 1594 | -123 | 98400 | 0.0984 | 2262 | 2264 | -2 | 1600 | 0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 938871 | 940026 | -1155 | 924000 | 0.924 | 987516 | 987524 | -8 | 6400 | 0.0064
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992238 | 992281 | -43 | 86000 | 0.086 | 998037 | 998064 | -27 | 54000 | 0.054
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | Y0357818 | SECURE | Kvarh(Lead/Lag) | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992572 | 993009 | -437 | 437000 | 0.437 | 24320 | 24322 | -2 | 2000 | 0.002
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999859 | 0 | 0 | 0 | 2518 | 2500 | 18 | -9000 | -0.009
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999982 | 999982 | 0 | 0 | 0 | 999981 | 1000007 | -26 | 13000 | 0.013
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1202 | 1202 | 0 | 0 | 0 | 1671 | 1703 | -32 | 16000 | 0.016
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60389 | 60625 | -236 | 23600 | 0.0236 | 2644 | 2652 | -8 | 800 | 0.0008
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 431 | 432 | -1 | 133.33 | 0.00013333 | 1199 | 1215 | -16 | 2133.28 | 0.0021333
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992518 | 992598 | -80 | 8000 | 0.008 | 3868 | 3862 | 6 | -600 | -0.0006
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 33 | 33 | 0 | 0 | 0 | 90 | 86 | 4 | -5333.32 | -0.0053333
24 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 9 | 6 | 3 | -399.99 | -0.00039999 | 111 | 0 | 111 | -14799.63 | -0.0148
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2752 | 2735 | 17 | -1700 | -0.0017 | 362 | 238 | 124 | -12400 | -0.0124
FED FROM BYPL (RLY.)
26 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | -1 | 89220 | 88160 | 1060 | -1060 | -0.00106 | 431600 | 423540 | 8060 | -8060 | -0.00806
27 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | -1 | 55790 | 54720 | 1070 | -1070 | -0.00107 | 672140 | 656940 | 15200 | -15200 | -0.0152
28 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | -1 | 337400 | 331100 | 6300 | -6300 | -0.0063 | 2319000 | 2251800 | 67200 | -67200 | -0.0672
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -637000 | -510000 | -127000 | 127000 | 0.127 | 0 | 0 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | 166000 | 615000 | -449000 | 449000 | 0.449 | 0 | 0 | 0 | 0 | 0
31 | 33KV NARAINA DTC CKT-I | Q0487627 | SECURE | Kvarh(Lead/Lag) | -1 | -37000 | 0 | -37000 | 37000 | 0.037 | 0 | -1000 | 1000 | -1000 | -0.001 | w.e.f 27-12-2023
32 | 33KV NARAINA DTC CKT-II | Q0487631 | SECURE | Kvarh(Lead/Lag) | -1 | -575000 | -301000 | -274000 | 274000 | 0.274 | 0 | 0 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 25.27 | 23.89 | 1.38 | -1656 | -0.001656 | 55.92 | 53.12 | 2.8 | -3360 | -0.00336
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 1.36 | 1.33 | 0.03 | -36 | -3.6e-05 | 200.33 | 172.8 | 27.53 | -33036 | -0.033036
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 4 | 4 | 0 | 0 | 0 | 50.15 | 43.84 | 6.31 | -7572 | -0.007572
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 3.71 | 3.43 | 0.28 | -336 | -0.000336 | 50.81 | 48.91 | 1.9 | -2280 | -0.00228
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.09 | 0.09 | 0 | 0 | 0 | 21.83 | 21.11 | 0.72 | -2160 | -0.00216
[10 empty] | 2.8227 |  |  |  |  | -0.1094
DECEMBER-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -15.5955 |  |  |  |  | -1.7411
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.8227 |  |  |  |  | -0.1094
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -12.7727 |  |  |  |  | -1.8505
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.584 |  |  |  |  | -1.6335
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -17.3567 |  |  |  |  | -3.484
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -17.3567 | (REACTIVE MUs) |  |  |  | -3.484 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.8955 | (REACTIVE MUs) |  |  |  | 0.056218 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.4612 | (REACTIVE MUs) |  |  |  | -3.4278 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 262 | 443 | -181 | -48267.27 | -0.048267 | 2146 | 2146 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 13480 | 11937 | 1543 | 154300 | 0.1543 | 1603 | 1603 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 969321 | 970608 | -1287 | -257400 | -0.2574 | 244 | 244 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 437 | 568 | -131 | -131000 | -0.131 | 365 | 365 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999932 | 999972 | -40 | -32000 | -0.032 | 1118 | 1116 | 2 | 1600 | 0.0016
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1471 | 1594 | -123 | -98400 | -0.0984 | 2262 | 2264 | -2 | -1600 | -0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 938871 | 940026 | -1155 | -924000 | -0.924 | 987516 | 987524 | -8 | -6400 | -0.0064
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992238 | 992281 | -43 | -86000 | -0.086 | 998037 | 998064 | -27 | -54000 | -0.054
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952668 | 952668 | 0 | 0 | 0 | 25939 | 28639 | -2700 | -135000 | -0.135
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998833 | 998835 | -2 | -200 | -0.0002 | 2370 | 3180 | -810 | -81000 | -0.081
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997774 | 997774 | 0 | 0 | 0 | 8846 | 8955 | -109 | -54500 | -0.0545
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999817 | 999817 | 0 | 0 | 0 | 994206 | 994493 | -287 | -28700 | -0.0287
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998336 | 998336 | 0 | 0 | 0 | 4439 | 4510 | -71 | -94666.43 | -0.094666
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999849 | 999849 | 0 | 0 | 0 | 4036 | 4099 | -63 | -83999.79 | -0.084
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988662 | 989726 | -1064 | -1064000 | -1.064 | 399 | 399 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973456 | 974502 | -1046 | -1046000 | -1.046 | 3090 | 3090 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4864851 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999468 | 999808 | -340 | -850000 | -0.85 | 999999 | 999999 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 991837 | 992527 | -690 | -1725000 | -1.725 | 512 | 512 | 0 | 0 | 0
[10 empty] | -4.685 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988368 | 988757 | -389 | -389000 | -0.389 | 2698 | 2698 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2651 | 2683 | -32 | -5120 | -0.00512 | 45785 | 45949 | -164 | -26240 | -0.02624
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3830 | 3832 | -2 | -400 | -0.0004 | 26984 | 27028 | -44 | -8800 | -0.0088
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966644 | 967174 | -530 | -530000 | -0.53 | 999625 | 999625 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902557 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 16-12-2023
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 384 | 359 | 25 | -20833.25 | -0.020833 | 7310 | 7131 | 179 | -149166.07 | -0.14917
DECEMBER-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997686 | 996193 | 1493 | -1493000 | -1.493 | 999999 | 999999 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12640 | 11270 | 1370 | -1370000 | -1.37 | 995100 | 995100 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998334 | 998293 | 41 | -82000 | -0.082 | 994585 | 994585 | 0 | 0 | 0
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999854 | 999758 | 96 | -96000 | -0.096 | 998752 | 998752 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 473 | 472 | 1 | 625 | 0.000625 | 8413 | 8186 | 227 | 141875 | 0.14188
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 910 | 923 | -13 | -1300 | -0.0013 | 3602 | 3610 | -8 | -800 | -0.0008
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5939 | 5830 | 109 | 10900 | 0.0109 | 6200 | 5938 | 262 | 26200 | 0.0262
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 999125 | 999457 | -332 | -66400 | -0.0664 | 999703 | 999703 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21873 | 21875 | -2 | -1000 | -0.001 | 6188 | 6207 | -19 | -9500 | -0.0095
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 627 | 758 | -131 | 131000 | 0.131 | 999777 | 999777 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995387 | 996074 | -687 | 687000 | 0.687 | 999564 | 999564 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999781 | 999830 | -49 | 4900 | 0.0049 | 999678 | 999678 | 0 | 0 | 0
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 255 | 237 | 18 | -3600 | -0.0036 | 407 | 407 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -9.3322 |  |  |  |  | -0.5647
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -9.3322 |  |  |  |  | -0.5647
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 1.0213 |  |  |  |  | 0.011819
| TOTAL ENERGY TO NDMC | [8 empty] | -8.3109 |  |  |  |  | -0.55288

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3941 | 4171 | -230 | -46000 | -0.046 | 82166 | 82181 | -15 | -3000 | -0.003
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999686 | 999720 | -34 | -5440 | -0.00544 | 32948 | 32963 | -15 | -2400 | -0.0024
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999870 | 999878 | -8 | -1600 | -0.0016 | 2276 | 2281 | -5 | -1000 | -0.001
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999745 | 999751 | -6 | -2400 | -0.0024 | 20097 | 20104 | -7 | -2800 | -0.0028
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999258 | 999265 | -7 | -5600 | -0.0056 | 725 | 743 | -18 | -14400 | -0.0144
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2233 | 2246 | -13 | -5200 | -0.0052 | 6748 | 6794 | -46 | -18400 | -0.0184
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999635 | 999667 | -32 | -21333.344 | -0.021333 | 448 | 519 | -71 | -47333.357 | -0.047333
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1058 | 1064 | -6 | -6000 | -0.006 | 358 | 369 | -11 | -11000 | -0.011
9 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | 2 | 0 | 0 | 0 | 0 | 0 | 58800 | 30500 | 28300 | 56600 | 0.0566
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.093573 |  |  |  |  | -0.043733
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
10 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 111 | 109 | 2 | 1000 | 0.001 | 815 | 792 | 23 | 11500 | 0.0115
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 105 | 105 | 0 | 0 | 0 | 1849 | 1849 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4831 | 4831 | 0 | 0 | 0 | 74875 | 73704 | 1171 | 87825 | 0.087825
13 | SUBROTO PARK | 4865088 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 6011 | 6011 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8853 | 8853 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.001 |  |  |  |  | 0.099325
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.093573 |  |  |  |  | -0.043733
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.092573 |  |  |  |  | 0.055592
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.092573 | (REACTIVE MUs) |  |  |  | 0.055592 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.047103 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.13968 | (REACTIVE MUs) |  |  |  | 0.055592 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991986 | 992095 | -109 | -68125 | -0.068125 | 1361 | 1346 | 15 | 9375 | 0.009375
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999668 | 999688 | -20 | -10000 | -0.01 | 807 | 801 | 6 | 3000 | 0.003
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 2424 | 2437 | -13 | -10400 | -0.0104 | 1593 | 1593 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | 1 | 89220 | 88160 | 1060 | 1060 | 0.00106 | 431600 | 423540 | 8060 | 8060 | 0.00806
2 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | 1 | 55790 | 54720 | 1070 | 1070 | 0.00107 | 672140 | 656940 | 15200 | 15200 | 0.0152
3 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | 1 | 337400 | 331100 | 6300 | 6300 | 0.0063 | 2319000 | 2251800 | 67200 | 67200 | 0.0672
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 25.27 | 23.89 | 1.38 | 1656 | 0.001656 | 55.92 | 53.12 | 2.8 | 3360 | 0.00336
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 1.36 | 1.33 | 0.03 | 36 | 3.6e-05 | 200.33 | 172.8 | 27.53 | 33036 | 0.033036
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 4 | 4 | 0 | 0 | 0 | 50.15 | 43.84 | 6.31 | 7572 | 0.007572
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 3.71 | 3.43 | 0.28 | 336 | 0.000336 | 50.81 | 48.91 | 1.9 | 2280 | 0.00228
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.09 | 0.09 | 0 | 0 | 0 | 21.83 | 21.11 | 0.72 | 2160 | 0.00216
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.12 | 0 | 0 | 0 | 47.88 | 48.08 | -0.2 | -120 | -0.00012
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.56 | 0.49 | 0.07 | 210 | 0.00021 | 30.63 | 27.09 | 3.54 | 10620 | 0.01062
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.077857 |  |  |  |  | 0.16174
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.008162 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.069695 |  |  |  |  | 0.16174

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 992187 | 992345 | -158 | -79000 | -0.079 | 999249 | 999251 | -2 | -1000 | -0.001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 15452 | 16528 | -1076 | -107600 | -0.1076 | 986042 | 986604 | -562 | -56200 | -0.0562
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 200 | 343 | -143 | -119166.619 | -0.11917 | 283 | 294 | -11 | -9166.663 | -0.0091667
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997094 | 997161 | -67 | -62812.5 | -0.062812 | 998742 | 998813 | -71 | -66562.5 | -0.066562
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999126 | 999114 | 12 | -12000 | -0.012 | 998633 | 998644 | -11 | 11000 | 0.011
6 | TX-II | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1500 | 81 | 41 | 40 | -60000 | -0.06 | 2 | 0 | 2 | -3000 | -0.003
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 206 | 210 | -4 | -1200 | -0.0012 | 999952 | 999957 | -5 | -1500 | -0.0015
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.44178 |  |  |  |  | -0.12643
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998958 | 999047 | -89 | -111250 | -0.11125 | 998442 | 998445 | -3 | -3750 | -0.00375
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997555 | 997945 | -390 | -365625 | -0.36562 | 999315 | 999314 | 1 | 937.5 | 0.0009375
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 987508 | 990512 | -3004 | -375500 | -0.3755 | 994249 | 994240 | 9 | 1125 | 0.001125
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998909 | 999021 | -112 | -140000 | -0.14 | 999936 | 999939 | -3 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997750 | 997825 | -75 | -75000 | -0.075 | 999461 | 999482 | -21 | -21000 | -0.021
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 961764 | 963240 | -1476 | -1476000 | -1.476 | 988626 | 988754 | -128 | -128000 | -0.128
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999469 | 999484 | -15 | 9375 | 0.009375 | 999740 | 999740 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 206 | 210 | -4 | 1200 | 0.0012 | 999952 | 999957 | -5 | 1500 | 0.0015
| TOTAL NDPL | [8 empty] | -2.5328 |  |  |  |  | -0.15294
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.44178 |  |  |  |  | -0.12643
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -2.5328 |  |  |  |  | -0.15294

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2023 | INTIAL READING 01/12/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 23952 | 20626 | 3326 | 6652000 | 6.652 | 999980 | 999980 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 14921 | 11628 | 3293 | 6586000 | 6.586 | 999976 | 999976 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 13.238 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -11.7118 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 24.9498 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 7.4026 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 10.3616 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 5.6736 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 1.235 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 997175 | 997721 | -546 | 546000 | 0.546 | 999402 | 999499 | -97 | 97000 | 0.097
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.546 |  |  |  |  | 0.097
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.15943 |  |  |  |  | 0.028324
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.22828 |  |  |  |  | 0.040556
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.13049 |  |  |  |  | 0.023183
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.027791 |  |  |  |  | 0.0049373
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 196159 | 195476 | 683 | -512250 | -0.51225 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 8530 | 8179 | 351 | -351000 | -0.351 | 4 | 4 | 0 | 0 | 0
3 | STG | 4902483 | ELSTER | kvarh (lag) | -750 | 991747 | 991611 | 136 | -102000 | -0.102 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.96525 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.1861 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.27307 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.15512 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.29247 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.058494 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 280902 | 292629 | -11727 | 1172700 | 1.1727 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 1.1727 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 4 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.6464 | % |  |  | 0.38284 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.5279 | % |  |  | 0.487 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.0216 | % |  |  | 0.23479 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1367 | % |  |  | 0.048511 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9714 | % |  |  | 0.011392 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.696 | % |  |  | 0.008162 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -2.69 | -2.48 | -0.21 | 50400 | 0.0504 | -29.03 | -28.44 | -0.59 | 141600 | 0.1416
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.015165 |  |  |  |  | 0.042607
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.021027 |  |  |  |  | 0.059076
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.011758 |  |  |  |  | 0.033035
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.0024494 |  |  |  |  | 0.0068818
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 7.7739 |  |  |  |  | 0.070931
2) | BRPL |  |  |  | = |  |  |  |  | 10.8249 |  |  |  |  | 0.099631
3) | BYPL |  |  |  | = |  |  |  |  | 5.8955 |  |  |  |  | 0.056218
4) | NDMC |  |  |  | = |  |  |  |  | 1.0213 |  |  |  |  | 0.011819
5) | MES |  |  |  | = |  |  |  |  | -0.047103 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.008162 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2023 TO 31st DECEMBER-2023
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -33.5659 |  | -2.7499
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -17.8957 |  | -7.0196
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -11.4612 |  | -3.4278
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -8.3109 |  | -0.55288
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.13968 | + | 0.055592
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.069695 | + | 0.16174
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department