## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972044 | 972520 | -476 | 476000 | 0.476 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48486 | 38831 | 9655 | -9655000 | -9.655 | 1628 | 1628 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936033 | 936552 | -519 | 519000 | 0.519 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997692 | 998386 | -694 | 694000 | 0.694 | 996083 | 996083 | 0 | 0 | 0
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 876673 | 876315 | 358 | -358000 | -0.358 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26257 | 25714 | 543 | -543000 | -0.543 | 16437 | 16437 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1740 | 1296 | 444 | -444000 | -0.444 | 998446 | 998446 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000301 | 999768 | 533 | -533000 | -0.533 | 999518 | 999518 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 969614 | 970659 | -1045 | 522500 | 0.5225 | 847907 | 847907 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1094 | 912 | 182 | -182000 | -0.182 | 998908 | 998908 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23992 | 18105 | 5887 | -5887000 | -5.887 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5190 | 3074 | 2116 | -2116000 | -2.116 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 860424 | 862251 | -1827 | -1827000 | -1.827 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974598 | 981134 | -6536 | -6536000 | -6.536 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977794 | 978018 | -224 | 224000 | 0.224 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 1000485 | 999303 | 1182 | -591000 | -0.591 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31924 | 30256 | 1668 | -1668000 | -1.668 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990802 | 990739 | 63 | 63000 | 0.063
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 666 | 669 | -3 | -3000 | -0.003 | 22673 | 22654 | 19 | 19000 | 0.019
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1274 | 1234 | 40 | 20000 | 0.02 | 7528 | 7528 | 0 | 0 | 0
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 144308 | 142610 | 1698 | 169800 | 0.1698 | 310573 | 310573 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995797 | 995830 | -33 | -33000 | -0.033 | 984591 | 984591 | 0 | 0 | 0
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 998987 | 998921 | 66 | 66000 | 0.066
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 52833 | 53215 | -382 | -38200 | -0.0382 | 121231 | 121231 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994520 | 997601 | -3081 | -3081000 | -3.081 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 577643 | 581379 | -3736 | -3736000 | -3.736 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 444 | 608 | -164 | -43733.88 | -0.043734 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7781 | 7562 | 219 | 109500 | 0.1095 | 1767 | 1767 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7683 | 2621 | 5062 | -5062000 | -5.062 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 39737 | 26191 | 13546 | -6773000 | -6.773 | 14971 | 14971 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4909 | 2250 | 2659 | -2659000 | -2.659 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31540 | 27675 | 3865 | -7730000 | -7.73 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47840 | 44853 | 2987 | -2987000 | -2.987 | 998777 | 998777 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92041 | 86452 | 5589 | -5589000 | -5.589 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25957 | 22751 | 3206 | -3206000 | -3.206 | 999268 | 999268 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16204 | 12732 | 3472 | -3472000 | -3.472 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999068 | 999394 | -326 | 326000 | 0.326 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20258 | 17321 | 2937 | -2937000 | -2.937 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1840 | 1906 | -66 | -66000 | -0.066 | 28635 | 28636 | -1 | -1000 | -0.001
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 43396 | 43538 | -142 | -14200 | -0.0142 | 26399 | 26449 | -50 | -5000 | -0.005
[5 empty] | 100 | 14007 | 14089 | -82 | -8200 | -0.0082
| NDPL(+) continue | [14 empty] | NOVEMBER-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999931 | 1000020 | -89 | -8900 | -0.0089 | 999720 | 999891 | -171 | -17100 | -0.0171
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2021 | 1968 | 53 | 5300 | 0.0053 | 26861 | 26624 | 237 | 23700 | 0.0237
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 456 | 441 | 15 | 19995 | 0.019995 | 370 | 370 | 0 | 0 | 0
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2094 | 1280 | 814 | 81400 | 0.0814 | 1509 | 1508 | 1 | 100 | 0.0001
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 1353 | 1072 | 281 | 28100 | 0.0281 | 30277 | 30274 | 3 | 300 | 0.0003
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1423 | 1425 | -2 | -333.32 | -0.00033332 | 6676 | 6669 | 7 | 1166.62 | 0.0011666
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999892 | 999895 | -3 | -1500 | -0.0015 | 1189 | 1186 | 3 | 1500 | 0.0015
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1881 | 1839 | 42 | 28000.14 | 0.028 | 155 | 155 | 0 | 0 | 0
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4795 | 4795 | 0 | 0 | 0 | 1459 | 1459 | 0 | 0 | 0
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997466 | 997466 | 0 | 0 | 0 | 3791 | 3827 | -36 | -3600 | -0.0036
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6423 | 6414 | 9 | 900 | 0.0009 | 11013 | 10996 | 17 | 1700 | 0.0017
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 4994 | 4888 | 106 | 10600 | 0.0106 | 403 | 375 | 28 | 2800 | 0.0028
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25274 | 25116 | 158 | 15800 | 0.0158 | 6274 | 6186 | 88 | 8800 | 0.0088
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 35558 | 34141 | 1417 | 141700 | 0.1417 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26268 | 26245 | 23 | 2300 | 0.0023 | 51564 | 51562 | 2 | 200 | 0.0002
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 68 | 68 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 993581 | 995386 | -1805 | -1444000 | -1.444 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999816 | -282 | -564000 | -0.564 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 999384 | 1001511 | -2127 | -212700 | -0.2127 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 1430 | 1537 | -107 | -26750 | -0.02675 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1719 | 2613 | -894 | -894000 | -0.894 | 1742 | 1742 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 968 | 718 | 250 | 187500 | 0.1875 | 2679 | 2679 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -77.3481 |  |  |  |  | 0.16157
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12246 | 12220 | 26 | -2600 | -0.0026 | 103648 | 103187 | 461 | -46100 | -0.0461
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 289 | 174 | 115 | -92000 | -0.092 | 8921 | 8921 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1858 | 1679 | 179 | -179000 | -0.179 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4719 | 4184 | 535 | -214000 | -0.214 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999367 | 999584 | -217 | 40687.5 | 0.040688 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 963601 | 969991 | -6390 | 5112000 | 5.112 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 996628 | 996962 | -334 | 208750 | 0.20875 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999141 | 999037 | 104 | -65000 | -0.065 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 375 | 136 | 239 | -47800 | -0.0478 | 11196 | 11154 | 42 | -8400 | -0.0084
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998567 | 998973 | -406 | 76125 | 0.076125 | 5081 | 5083 | -2 | 375 | 0.000375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998747 | 998789 | -42 | 7875 | 0.007875 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 630 | 562 | 68 | -17000 | -0.017 | 5377 | 5377 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999791 | 1000051 | -260 | 26000 | 0.026 | 16817 | 16764 | 53 | -5300 | -0.0053
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 4.854 |  |  |  |  | -0.059425
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -77.3481 |  |  |  |  | 0.16157
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 4.854 |  |  |  |  | -0.059425
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.7257 |  |  |  |  | 0.0066
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -70.7684 |  |  |  |  | 0.10874
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -70.7684 | (REACTIVE MUs) |  |  |  | 0.10874 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.35925 | (REACTIVE MUs) |  |  |  | -0.49636 | (REACTIVE MUs)
[9 empty] | TOTAL | -70.4092 | (REACTIVE MUs) |  |  |  | -0.38761 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 17354 | 18038 | -684 | -68400 | -0.0684 | 993540 | 993540 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10478 | 10816 | -338 | -101400 | -0.1014 | 3876 | 3873 | 3 | 900 | 0.0009
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 35018 | 33911 | 1107 | 83025 | 0.083025 | 343467 | 343455 | 12 | 900 | 0.0009
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 997362 | 998113 | -751 | -225300 | -0.2253 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1862 | 1843 | 19 | 25332.7 | 0.025333 | 3587 | 3587 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 48546 | 47229 | 1317 | 131700 | 0.1317 | 155770 | 155770 | 0 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 17223 | 13162 | 4061 | 304575 | 0.30457 | 44986 | 44986 | 0 | 0 | 0
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984767 | 985353 | -586 | -586000 | -0.586 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 998813 | 999584 | -771 | -385500 | -0.3855 | 564 | 564 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999661 | 999825 | -164 | -164000 | -0.164 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991152 | 991841 | -689 | -689000 | -0.689 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994294 | 994057 | 237 | 237000 | 0.237 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995850 | 996578 | -728 | -728000 | -0.728 | 998570 | 998570 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) |  | 999231 | 999630 | -399 | 0 | 0 | 999941 | 999975 | -34 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 997970 | 998538 | -568 | -454400 | -0.4544 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627 | 247 | 380 | 380000 | 0.38 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1651 | 1762 | -111 | -111000 | -0.111 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2698 | 3087 | -389 | -389000 | -0.389 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 977264 | 978365 | -1101 | -1376250 | -1.3762 | 951762 | 951762 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 998605 | 999999 | -1394 | -1533400 | -1.5334 | 938557 | 938557 | 0 | 0 | 0
[5 empty] | 1000 | 999999 | 999999 | 0 | 0 | 0 | 938557 | 940069 | -1512 | -1512000 | -1.512 | w.e.f 14/11/18
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 961234 | 961970 | -736 | -736000 | -0.736 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.6456 |  |  |  |  | -1.512
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997116 | 998623 | -1507 | 1507000 | 1.507 | 999999 | 1000000 | -1 | 1000 | 0.001
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986708 | 988228 | -1520 | 1520000 | 1.52 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999845 | 999845 | 0 | 0 | 0 | 9468 | 9355 | 113 | 113000 | 0.113
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56283 | 55957 | 326 | -326000 | -0.326 | 835 | 835 | 0 | 0 | 0
[5 empty] | -1000 | 48903 | 43732 | 5171 | -5171000 | -5.171
[5 empty] | -100 | 42175 | 42008 | 167 | -16700 | -0.0167
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20250 | 18644 | 1606 | -1606000 | -1.606 | 999065 | 999069 | -4 | 4000 | 0.004
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988684 | 988969 | -285 | 285000 | 0.285 | 990693 | 990693 | 0 | 0 | 0 | Data till 20/11
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994289 | 993686 | 603 | -603000 | -0.603 | 998352 | 998352 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982955 | 983762 | -807 | 807000 | 0.807 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5606 | 1008 | 4598 | -4598000 | -4.598 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3558 | 1037 | 2521 | -5042000 | -5.042 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1858 | 1679 | 179 | 179000 | 0.179 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4719 | 4184 | 535 | 214000 | 0.214 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 998379 | 999412 | -1033 | -137389 | -0.13739 | 13678 | 13678 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978334 | 979886 | -1552 | 1552000 | 1.552 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991537 | 993158 | -1621 | 1621000 | 1.621 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -16.2011 |  |  |  |  | -1.3922
| (A) NET ENERGY TO CENTRAL | [8 empty] | -16.2011 |  |  |  |  | -1.3922
NOVEMBER-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995685 | 996478 | -793 | 793000 | 0.793 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989704 | 989764 | -60 | 60000 | 0.06 | 965182 | 965182 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992167 | 993444 | -1277 | 1277000 | 1.277 | 995831 | 995831 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 979171 | 979776 | -605 | 1210000 | 1.21 | 971220 | 971220 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8719 | 3943 | 4776 | -4776000 | -4.776 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994301 | 994184 | 117 | -117000 | -0.117 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6188 | 3905 | 2283 | -2283000 | -2.283 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990350 | 990713 | -363 | 363000 | 0.363 | 937188 | 937188 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957795 | 958260 | -465 | 465000 | 0.465 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970172 | 970740 | -568 | 568000 | 0.568 | 989820 | 989820 | 0 | 0 | 0
[5 empty] | -1000 | 972837 | 973630 | -793 | 793000 | 0.793
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957898 | 958183 | -285 | 285000 | 0.285 | 827844 | 827844 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25953 | 23262 | 2691 | -2691000 | -2.691 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18810 | 16481 | 2329 | -2329000 | -2.329 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989932 | 987852 | 2080 | -2080000 | -2.08 | 919565 | 919565 | 0 | 0 | 0
[5 empty] | -100 | 985500 | 983054 | 2446 | -244600 | -0.2446
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -8.7066 |  |  |  |  | 0
| (B) NET ENERGY TO EAST | [8 empty] | -8.7066 |  |  |  |  | 0
NOVEMBER-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 444 | 608 | -164 | 43733.88 | 0.043734 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7781 | 7562 | 219 | -109500 | -0.1095 | 1767 | 1767 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3710 | 3807 | -97 | 25866.02 | 0.025866 | 2196 | 2196 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 81885 | 80063 | 1822 | -182200 | -0.1822 | 149421 | 149421 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 998326 | 999405 | -1079 | 215800 | 0.2158 | 998999 | 998999 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 54658 | 52254 | 2404 | -480800 | -0.4808 | 124666 | 124666 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 20015 | 19895 | 120 | -96000 | -0.096 | 14520 | 14520 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2221 | 1851 | 370 | -296000 | -0.296 | 705 | 705 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 968449 | 969028 | -579 | 463200 | 0.4632 | 985959 | 985959 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 970549 | 972242 | -1693 | 1354400 | 1.3544 | 986539 | 986539 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 980078 | 981357 | -1279 | 1023200 | 1.0232 | 992674 | 992674 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 971246 | 971954 | -708 | 566400 | 0.5664 | 994421 | 994421 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963649 | 965185 | -1536 | 1536000 | 1.536 | 31711 | 31711 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1840 | 1906 | -66 | 66000 | 0.066 | 28635 | 28636 | -1 | 1000 | 0.001
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 43396 | 43538 | -142 | 14200 | 0.0142 | 26399 | 26449 | -50 | 5000 | 0.005
[5 empty] | -100 | 14007 | 14089 | -82 | 8200 | 0.0082
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1423 | 1425 | -2 | 333.32 | 0.00033332 | 6676 | 6669 | 7 | -1166.62 | -0.0011666
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999892 | 999895 | -3 | 1500 | 0.0015 | 1189 | 1186 | 3 | -1500 | -0.0015
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1881 | 1839 | 42 | -28000.14 | -0.028 | 155 | 155 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4795 | 4795 | 0 | 0 | 0 | 1459 | 1459 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 35558 | 34141 | 1417 | -141700 | -0.1417 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26268 | 26245 | 23 | -2300 | -0.0023 | 51564 | 51562 | 2 | -200 | -0.0002
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997466 | 997466 | 0 | 0 | 0 | 3791 | 3827 | -36 | 3600 | 0.0036
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6423 | 6414 | 9 | -900 | -0.0009 | 11013 | 10996 | 17 | -1700 | -0.0017
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 4994 | 4888 | 106 | -10600 | -0.0106 | 403 | 375 | 28 | -2800 | -0.0028
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25274 | 25116 | 158 | -15800 | -0.0158 | 6274 | 6186 | 88 | -8800 | -0.0088
[10 empty] | 3.955 |  |  |  |  | -0.0065666
NOVEMBER-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -16.2011 |  |  |  |  | -1.3922
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.955 |  |  |  |  | -0.0065666
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.8914 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -14.1375 |  |  |  |  | -1.3988
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -8.7066 |  |  |  |  | 0
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -22.8441 |  |  |  |  | -1.3988
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -22.8441 | (REACTIVE MUs) |  |  |  | -1.3988 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.23591 | (REACTIVE MUs) |  |  |  | -0.32594 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.6082 | (REACTIVE MUs) |  |  |  | -1.7247 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999407 | 999454 | -47 | -235000 | -0.235 | 998905 | 998905 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 983878 | 984221 | -343 | -457332.19 | -0.45733 | 670303 | 670303 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 999795 | 999499 | 296 | 59200 | 0.0592 | 2558 | 2552 | 6 | 1200 | 0.0012
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 130 | 213 | -83 | -110666.39 | -0.11067 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18752 | 18841 | -89 | -8900 | -0.0089 | 22637 | 22638 | -1 | -100 | -0.0001
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 692228 | 702936 | -10708 | -803100 | -0.8031 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 997131 | 998217 | -1086 | -81450 | -0.08145 | 18413 | 18415 | -2 | -150 | -0.00015
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997036 | 997187 | -151 | -135900 | -0.1359 | 995158 | 995158 | 0 | 0 | 0
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4608 | 3765 | 843 | -843000 | -0.843 | 997137 | 997137 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999771 | 999628 | 143 | -286000 | -0.286 | 998596 | 998597 | -1 | 2000 | 0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10430 | 10212 | 218 | -218000 | -0.218 | 997888 | 997889 | -1 | 1000 | 0.001
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967044 | 966237 | 807 | -807000 | -0.807 | 992257 | 992259 | -2 | 2000 | 0.002
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38194 | 37394 | 800 | -800000 | -0.8 | 996616 | 996616 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 26061 | 19828 | 6233 | -3116500 | -3.1165 | 21217 | 21217 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8133 | 7795 | 338 | -676000 | -0.676 | 997379 | 997379 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997792 | 996497 | 1295 | -1295000 | -1.295 | 845956 | 845956 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 9317 | 5326 | 3991 | -3192800 | -3.1928 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1848 | 2896 | -1048 | 1048000 | 1.048 | 963292 | 963292 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998443 | 998774 | -331 | 331000 | 0.331 | 996032 | 996046 | -14 | 14000 | 0.014
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973909 | 973916 | -7 | 7000 | 0.007 | 987229 | 987239 | -10 | 10000 | 0.01
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 447 | 471 | -24 | 24000 | 0.024 | 998697 | 998733 | -36 | 36000 | 0.036
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 291 | 76 | 215 | -215000 | -0.215 | 999999 | 999999 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12 | 0 | 12 | -12000 | -0.012 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29820 | 27054 | 2766 | -2766000 | -2.766 | 999999 | 999999 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2956 | 1925 | 1031 | -3436663.23 | -3.4367 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 289 | 174 | 115 | 92000 | 0.092 | 8921 | 8921 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977189 | 977730 | -541 | 541000 | 0.541 | 968992 | 968992 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982538 | 980531 | 2007 | -2007000 | -2.007 | 993976 | 993976 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 891 | 0 | 891 | -712800 | -0.7128 | 0 | 0 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 953 | 180 | 773 | -1236800 | -1.2368 | 0 | 0 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
37 | Tx.2 (66 KV)-circuit no. 2 | 4902567 | ELSTER | Kvarh(Lead/Lag) | -1000 | 360 | 360 | 0 | 0 | 0 | 996779 | 996779 | 0 | 0 | 0 | Check meter data
|  | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 917 | 0 | 917 | -458500 | -0.4585 | 999985 | 1000000 | -15 | 7500 | 0.0075 | w.e.f 17/11/18
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13243 | 12156 | 1087 | -1087000 | -1.087 | 33167 | 33167 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996657 | 996550 | 107 | -107000 | -0.107 | 996219 | 996219 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998362 | 998423 | -61 | 61000 | 0.061 | 999746 | 999746 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | NOVEMBER-2018
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15300 | 12505 | 2795 | -2795000 | -2.795 | 999885 | 999885 | 0 | 0 | 0
42 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 16883 | 16883 | 0 | 0 | 0 | 997291 | 997291 | 0 | 0 | 0
[10 empty] | -0.084556 |  |  |  |  | 0.0025556
|  | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 761 | 0 | 761 | -761000 | -0.761 | 999977 | 1000000 | -23 | 23000 | 0.023 | w.e.f 03/11/18
43 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4748 | 3452 | 1296 | -1296000 | -1.296 | 999354 | 999354 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994041 | 993259 | 782 | -782000 | -0.782 | 926352 | 926352 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5195 | 3739 | 1456 | -1456000 | -1.456 | 9364 | 9364 | 0 | 0 | 0
47 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1442 | 1313 | 129 | -258000 | -0.258 | 996535 | 996535 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10679 | 4674 | 6005 | -6005000 | -6.005 | 997817 | 997817 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7920 | 7934 | -14 | 28000 | 0.028 | 999440 | 999440 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7169 | 6883 | 286 | -572000 | -0.572 | 2310 | 2310 | 0 | 0 | 0
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3849 | 3587 | 262 | -524000 | -0.524 | 1276 | 1276 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917541 | 917437 | 104 | -104000 | -0.104 | 981009 | 981009 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 102 | 6 | 96 | -96000 | -0.096 | 996478 | 996478 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 184 | 445 | -261 | 261000 | 0.261 | 989284 | 989284 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 995815 | 996828 | -1013 | -810400 | -0.8104 | 414 | 414 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 980046 | 980715 | -669 | -535200 | -0.5352 | 999839 | 999839 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1535 | 1603 | -68 | -54400 | -0.0544 | 999817 | 999817 | 0 | 0 | 0
| BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 999342 | 999693 | -351 | -280800 | -0.2808 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963649 | 965185 | -1536 | -1536000 | -1.536 | 31711 | 31711 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14391 | 9029 | 5362 | -5362000 | -5.362 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30433 | 22890 | 7543 | -7543000 | -7.543 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57651 | 53503 | 4148 | -4148000 | -4.148 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12246 | 12220 | 26 | 2600 | 0.0026 | 103648 | 103187 | 461 | 46100 | 0.0461
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999367 | 999584 | -217 | -40687.5 | -0.040688 | 999934 | 999934 | 0 | 0 | 0
67 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 7954 | 9091 | -1137 | -454800 | -0.4548 | 993849 | 993849 | 0 | 0 | 0
68 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 997007 | 997469 | -462 | -184800 | -0.1848 | 70239 | 70239 | 0 | 0 | 0
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 963601 | 969991 | -6390 | -5112000 | -5.112 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 355246 | 348621 | 6625 | 662500 | 0.6625 | 2036 | 2036 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4914 | 4878 | 36 | 36000 | 0.036 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10378 | 10288 | 90 | 6750 | 0.00675 | 17591 | 17589 | 2 | 150 | 0.00015
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4976 | 4887 | 89 | 8900 | 0.0089 | 9887 | 9883 | 4 | 400 | 0.0004
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6853 | 6723 | 130 | 65000 | 0.065 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4492 | 4471 | 21 | 21000 | 0.021 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993846 | 994412 | -566 | -566000 | -0.566 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4786 | 4541 | 245 | 245000 | 0.245 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 7104 | 6297 | 807 | 129120 | 0.12912 | 999701 | 999701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 179169 | 180519 | -1350 | -135000 | -0.135 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1608 | 1441 | 167 | 167000 | 0.167 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3540 | 3527 | 13 | 13000 | 0.013 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 375 | 136 | 239 | 47800 | 0.0478 | 11196 | 11154 | 42 | 8400 | 0.0084
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998567 | 998973 | -406 | -76125 | -0.076125 | 5081 | 5083 | -2 | -375 | -0.000375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998747 | 998789 | -42 | -7875 | -0.007875 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 630 | 562 | 68 | 17000 | 0.017 | 5377 | 5377 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999791 | 1000051 | -260 | -26000 | -0.026 | 16817 | 16764 | 53 | 5300 | 0.0053
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -62.8382 |  |  |  |  | 0.15898
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 13614 | 11902 | 1712 | -171200 | -0.1712 | 277 | 277 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 998379 | 999412 | -1033 | 137729.89 | 0.13773 | 13678 | 13678 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 996426 | 997266 | -840 | 168000 | 0.168 | 4084 | 4084 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1048 | 882 | 166 | -166000 | -0.166 | 998679 | 998679 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999263 | 999318 | -55 | 55000 | 0.055 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 7929 | 6455 | 1474 | -235840 | -0.23584 | 10774 | 10774 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 1655 | 890 | 765 | -153000 | -0.153 | 2791 | 2791 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992779 | 993678 | -899 | 899000 | 0.899 | 999640 | 999640 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 100679 | 100611 | 68 | -6800 | -0.0068 | 74109 | 74099 | 10 | -1000 | -0.001
11 | SHAN NAGAR 2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -100 | 20184 | 19825 | 359 | -35900 | -0.0359 | 5608 | 5608 | 0 | 0 | 0
|  | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 293 | 0 | 293 | -29300 | -0.0293 | 0 | 0 | 0 | 0 | 0 | w.e.f 17/11/18
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28526 | 28642 | -116 | 11600 | 0.0116 | 62222 | 62222 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 444225 | 440670 | 3555 | -355500 | -0.3555 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999931 | 1000020 | -89 | 8900 | 0.0089 | 999720 | 999891 | -171 | 17100 | 0.0171
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2021 | 1968 | 53 | -5300 | -0.0053 | 26861 | 26624 | 237 | -23700 | -0.0237
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 456 | 441 | 15 | -19995 | -0.019995 | 370 | 370 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2094 | 1280 | 814 | -81400 | -0.0814 | 1509 | 1508 | 1 | -100 | -0.0001
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 1353 | 1072 | 281 | -28100 | -0.0281 | 30277 | 30274 | 3 | -300 | -0.0003
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 68 | 68 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 996332 | 996248 | 84 | -33600 | -0.0336 | 999893 | 999893 | 0 | 0 | 0
[5 empty] | -400 | 2750 | 1027 | 1723 | -689200 | -0.6892
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1719 | 2613 | -894 | 894000 | 0.894 | 1742 | 1742 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 968 | 718 | 250 | -187500 | -0.1875 | 2679 | 2679 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.024405 |  |  |  |  | -0.008
NOVEMBER-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -62.8382 |  |  |  |  | 0.15898
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.024405 |  |  |  |  | -0.008
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.055525 |  |  |  |  | -0.0066
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0331 |  |  |  |  | -0.0105
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -62.9512 |  |  |  |  | 0.13388
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -62.9512 | (REACTIVE MUs) |  |  |  | 0.13388 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.43689 | (REACTIVE MUs) |  |  |  | -0.60362 | (REACTIVE MUs)
[9 empty] | TOTAL | -62.5143 | (REACTIVE MUs) |  |  |  | -0.46974 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3710 | 3807 | -97 | -25866.99 | -0.025867 | 2196 | 2196 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 81885 | 80063 | 1822 | 182200 | 0.1822 | 149421 | 149421 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 998326 | 999405 | -1079 | -215800 | -0.2158 | 998999 | 998999 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 54658 | 53354 | 1304 | 260800 | 0.2608 | 124666 | 124666 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 20015 | 19895 | 120 | 96000 | 0.096 | 14520 | 14520 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2221 | 1851 | 370 | 296000 | 0.296 | 705 | 705 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 968449 | 969028 | -579 | -463200 | -0.4632 | 985959 | 985959 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 970549 | 972242 | -1693 | -1354400 | -1.3544 | 986539 | 986539 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 980078 | 981357 | -1279 | -1023200 | -1.0232 | 992674 | 992674 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 971246 | 971954 | -708 | -566400 | -0.5664 | 994421 | 994421 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 994030 | 995580 | -1550 | -77500 | -0.0775 | 19304 | 19306 | -2 | -100 | -0.0001
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 986942 | 988312 | -1370 | -102750 | -0.10275 | 22824 | 22824 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 192 | 163 | 29 | 14500 | 0.0145 | 5213 | 5213 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999349 | 999442 | -93 | -34875 | -0.034875 | 7701 | 7701 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 986211 | 987126 | -915 | -91500 | -0.0915 | 340368 | 340370 | -2 | -200 | -0.0002
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 3205 | 2817 | 388 | 29100 | 0.0291 | 36182 | 36178 | 4 | 300 | 0.0003
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4371 | 3139 | 1232 | 123200 | 0.1232 | 1265 | 1265 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998141 | 998424 | -283 | -283000 | -0.283 | 102136 | 102136 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998715 | 999352 | -637 | -637000 | -0.637 | 16 | 16 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988256 | 988933 | -677 | -677000 | -0.677 | 143916 | 143916 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5810 | 6198 | -388 | -388000 | -0.388 | 59503 | 59503 | 0 | 0 | 0
[10 empty] | -1.985 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999263 | 999318 | -55 | -55000 | -0.055 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 7929 | 6455 | 1474 | 235840 | 0.23584 | 10774 | 10774 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 1655 | 890 | 765 | 153000 | 0.153 | 2791 | 2791 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992779 | 993678 | -899 | -899000 | -0.899 | 999640 | 999640 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
NOVEMBER-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999908 | 999731 | 177 | -177000 | -0.177 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961623 | 961268 | 355 | -177500 | -0.1775 | 986905 | 986905 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997961 | 997995 | -34 | 68000 | 0.068 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922219 | 922935 | -716 | 716000 | 0.716 | 963482 | 963482 | 0 | 0 | 0 | Check meter
|  | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 0 | 1 | -1000 | -0.001 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/11/18
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 444225 | 440670 | 3555 | 355500 | 0.3555 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 100679 | 100611 | 68 | 6800 | 0.0068 | 74109 | 74099 | 10 | 1000 | 0.001
37 | SHAN NAGAR 2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 100 | 20184 | 19825 | 359 | 35900 | 0.0359 | 5608 | 5608 | 0 | 0 | 0 | Check meter
|  | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 293 | 0 | 293 | 29300 | 0.0293 | 0 | 0 | 0 | 0 | 0 | w.e.f 17/11/18
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28526 | 28642 | -116 | -11600 | -0.0116 | 62222 | 62222 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 13614 | 11902 | 1712 | 171200 | 0.1712 | 277 | 277 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 355246 | 348621 | 6625 | -662500 | -0.6625 | 2036 | 2036 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4914 | 4878 | 36 | -36000 | -0.036 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10378 | 10288 | 90 | -6750 | -0.00675 | 17591 | 17589 | 2 | -150 | -0.00015
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4976 | 4887 | 89 | -8900 | -0.0089 | 9887 | 9883 | 4 | -400 | -0.0004
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.2024 |  |  |  |  | 0.00045
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.2024 |  |  |  |  | 0.00045
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.04856 |  |  |  |  | -0.067092
| TOTAL ENERGY TO NDMC | [8 empty] | -5.1538 |  |  |  |  | -0.066642

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3550 | 3533 | 17 | 3400 | 0.0034 | 32257 | 31697 | 560 | 112000 | 0.112
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4371 | 4341 | 30 | 30000 | 0.03 | 52477 | 52477 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 155 | 155 | 0 | 0 | 0 | 12798 | 12800 | -2 | -800 | -0.0008
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 121 | 73 | 48 | 38400 | 0.0384 | 355 | 354 | 1 | 800 | 0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 319 | 325 | -6 | -2400 | -0.0024 | 2679 | 2696 | -17 | -6800 | -0.0068
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 996426 | 997266 | -840 | -168000 | -0.168 | 4084 | 4084 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1048 | 882 | 166 | 166000 | 0.166 | 998679 | 998679 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0674 |  |  |  |  | 0.1052
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64589 | 64580 | 9 | 900 | 0.0009 | 95732 | 95734 | -2 | -200 | -0.0002
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78248 | 78248 | 0 | 0 | 0 | 18234 | 18234 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 66798 | 66476 | 322 | 32200 | 0.0322 | 122108 | 122001 | 107 | 10700 | 0.0107
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1662 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4260 | 4260 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0331 |  |  |  |  | 0.0105
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0331 |  |  |  |  | 0.0105
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0674 |  |  |  |  | 0.1052
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1005 |  |  |  |  | 0.1157
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1005 | (REACTIVE MUs) |  |  |  | 0.1157 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0093457 | (REACTIVE MUs) |  |  |  | -0.012912 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.10985 | (REACTIVE MUs) |  |  |  | 0.10279 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 996628 | 996962 | -334 | -208750 | -0.20875 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999141 | 999037 | 104 | 65000 | 0.065 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 996332 | 996248 | 84 | 33600 | 0.0336 | 999893 | 999893 | 0 | 0 | 0
[5 empty] | 400 | 2750 | 1027 | 1723 | 689200 | 0.6892
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.11015 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 973707 | 979589 | -5882 | -588200 | -0.5882 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 76664 | 75768 | 896 | 89600 | 0.0896 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 12248 | 12029 | 219 | 109500 | 0.1095 | 2766 | 2766 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999341 | 999675 | -334 | -313125 | -0.31312 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996797 | 997988 | -1191 | 595500 | 0.5955 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978306 | 978403 | -97 | 48500 | 0.0485 | 976366 | 976366 | 0 | 0 | 0 | data till 26/11
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 45 | 36 | 9 | 2700 | 0.0027 | 999899 | 999921 | -22 | -6600 | -0.0066
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.055525 |  |  |  |  | -0.0066
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 983204 | 985475 | -2271 | -454200 | -0.4542 | 23 | 23 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 994517 | 996050 | -1533 | -1437187.5 | -1.4372 | 999929 | 999929 | 0 | 0 | 0 | data till 26/11
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.8914 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1793 | 1569 | 224 | 280000 | 0.28 | 90 | 90 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 341519 | 334971 | 6548 | 654800 | 0.6548 | 999475 | 999475 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 273694 | 262352 | 11342 | 708875 | 0.70888 | 94061 | 94061 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2932 | 2882 | 50 | 40000 | 0.04 | 1936 | 1936 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 973294 | 975068 | -1774 | -177400 | -0.1774 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 244 | 430 | -186 | -27900 | -0.0279 | 987196 | 987196 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997986 | 998086 | -100 | 250000 | 0.25 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 45 | 36 | 9 | -2700 | -0.0027 | 999899 | 999921 | -22 | 6600 | 0.0066
| TOTAL NDPL | [8 empty] | 1.7257 |  |  |  |  | 0.0066
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.055525 |  |  |  |  | -0.0066
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.8914 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.7257 |  |  |  |  | 0.0066

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 46469 | 42969 | 3500 | 3500000 | 3.5 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 16277 | 15632 | 645 | 3225000 | 3.225 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 6.725 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.725 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.6456 |  |  |  |  | -1.512
[7 empty] | NDMC = |  |  | -1.985 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -5.6306 |  |  |  |  | -1.512
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0944 |  |  |  |  | -1.512
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.8278 | % |  |  | 0.35925 |  |  |  |  | -0.49636
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.9219 | % |  |  | 0.43689 |  |  |  |  | -0.60362
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.5571 | % |  |  | 0.23591 |  |  |  |  | -0.32594
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4373 | % |  |  | 0.04856 |  |  |  |  | -0.067092
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.854 | % |  |  | 0.0093457 |  |  |  |  | -0.012912
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4078 | % |  |  | 0.0044628 |  |  |  |  | -0.0061659
Note :Sharing taken from wk-37 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1stNOVEMBER-2018 TO 30th NOVEMBER-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -70.4092 |  | -0.38761
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -62.5143 |  | -0.46974
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -22.6082 |  | -1.7247
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.1538 |  | -0.066642
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.10985 | + | 0.10279
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.11015 | + | 0
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2018 | INTIAL READING 01/11/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 21832 | 20516 | 1316 | 987000 | 0.987 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 15545 | 11777 | 3768 | 5652000 | 5.652 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 833679 | 839292 | -5613 | -4209750 | -4.2097 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 2.4293 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1379 | 1429 | -50 | -250000 | -0.25 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 892223 | 894479 | -2256 | -2256000 | -2.256
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974519 | 974118 | 401 | 401000 | 0.401 | 999454 | 999340 | 114 | 114000 | 0.114
[8 empty] | NET REACTIVE ENERGY |  | 0.151 |  |  | NET REACTIVE ENERGY |  | -2.142