## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982051 | 982532 | -481 | 481000 | 0.481 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33612 | 31399 | 2213 | -2213000 | -2.213 | 999499 | 999499 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946630 | 947286 | -656 | 656000 | 0.656 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999006 | 999095 | -89 | 89000 | 0.089 | 997418 | 997440 | -22 | 22000 | 0.022
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988959 | 988503 | 456 | -456000 | -0.456 | 999574 | 999574 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25894 | 25496 | 398 | -398000 | -0.398 | 16848 | 16850 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1609 | 1254 | 355 | -355000 | -0.355 | 998909 | 998910 | -1 | 1000 | 0.001
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998772 | 998808 | -36 | 36000 | 0.036 | 998072 | 998078 | -6 | 6000 | 0.006
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973988 | 975300 | -1312 | 656000 | 0.656 | 817785 | 817817 | -32 | 16000 | 0.016
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997 | 379 | 618 | -618000 | -0.618 | 999343 | 999343 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11891 | 9393 | 2498 | -2498000 | -2.498 | 999453 | 999453 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2010 | 1142 | 868 | -868000 | -0.868 | 998297 | 998297 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 879587 | 885762 | -6175 | -6175000 | -6.175 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981509 | 981141 | 368 | -368000 | -0.368 | 16729 | 16729 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12772 | 11804 | 968 | -968000 | -0.968 | 20500 | 20500 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24818 | 23526 | 1292 | -1292000 | -1.292 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999946 | 999965 | -19 | -19000 | -0.019 | 995975 | 996059 | -84 | -84000 | -0.084
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 682 | 736 | -54 | -54000 | -0.054 | 25175 | 25201 | -26 | -26000 | -0.026
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1091 | 1061 | 30 | 15000 | 0.015 | 4625 | 4609 | 16 | 8000 | 0.008
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138143 | 136666 | 1477 | 147700 | 0.1477 | 290714 | 290608 | 106 | 10600 | 0.0106
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995838 | 995928 | -90 | -90000 | -0.09 | 986130 | 986170 | -40 | -40000 | -0.04
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 82 | -57 | -57000 | -0.057 | 997901 | 997928 | -27 | -27000 | -0.027
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50507 | 50495 | 12 | 1200 | 0.0012 | 33272 | 33214 | 58 | 5800 | 0.0058
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 616426 | 617924 | -1498 | -1498000 | -1.498 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 593530 | 597655 | -4125 | -4125000 | -4.125 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999971 | 999962 | 9 | 2400.03 | 0.0024 | 0 | 0 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 6826 | 6668 | 158 | 79000 | 0.079 | 1765 | 1765 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 782 | 210 | 572 | -572000 | -0.572 | 997511 | 997531 | -20 | 20000 | 0.02
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 6792 | 4643 | 2149 | -1074500 | -1.0745 | 999700 | 999718 | -18 | 9000 | 0.009
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18193 | 16767 | 1426 | -1426000 | -1.426 | 999618 | 999630 | -12 | 12000 | 0.012
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16423 | 14650 | 1773 | -3546000 | -3.546 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34208 | 32379 | 1829 | -1829000 | -1.829 | 998919 | 998932 | -13 | 13000 | 0.013
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68103 | 64547 | 3556 | -3556000 | -3.556 | 2422 | 2425 | -3 | 3000 | 0.003
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20031 | 18146 | 1885 | -1885000 | -1.885 | 999323 | 999323 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10610 | 9635 | 975 | -975000 | -0.975 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997902 | 995733 | 2169 | -2169000 | -2.169 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14397 | 14301 | 96 | -96000 | -0.096 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1845 | 1840 | 5 | 5000 | 0.005 | 28237 | 28237 | 0 | 0 | 0
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 9040 | 8704 | 336 | 33600 | 0.0336 | 26250 | 26232 | 18 | 1800 | 0.0018
| NDPL(+) continue | [14 empty] | FEBRUARY-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1308 | 1324 | -16 | -16000 | -0.016 | 61300 | 61303 | -3 | -3000 | -0.003
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998020 | 997852 | 168 | 69998.88 | 0.069999 | 999137 | 999093 | 44 | 18333.04 | 0.018333
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9019 | 9021 | -2 | -200 | -0.0002 | 37486 | 37550 | -64 | -6400 | -0.0064
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11820 | 11828 | -8 | -800 | -0.0008 | 77294 | 77725 | -431 | -43100 | -0.0431
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1401 | 1397 | 4 | 400 | 0.0004 | 19240 | 18916 | 324 | 32400 | 0.0324
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 373 | 354 | 19 | 25327 | 0.025327 | 277 | 252 | 25 | 33325 | 0.033325
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 44 | 35 | 9 | 900 | 0.0009 | 999987 | 999997 | -10 | -1000 | -0.001
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999946 | 999432 | 514 | 51400 | 0.0514 | 17161 | 17107 | 54 | 5400 | 0.0054
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989591 | 989674 | -83 | -3688.52 | -0.0036885 | 328 | 367 | -39 | -1733.16 | -0.0017332
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1422 | 1430 | -8 | -1333.28 | -0.0013333 | 1879 | 1880 | -1 | -166.66 | -0.00016666
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999834 | 999842 | -8 | -4000 | -0.004 | 540 | 547 | -7 | -3500 | -0.0035
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1154 | 1118 | 36 | 24000.12 | 0.024 | 126 | 126 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4071 | 4072 | -1 | -666.6667 | -0.00066667 | 1431 | 1431 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997270 | 997278 | -8 | -800 | -0.0008 | 2299 | 2436 | -137 | -13700 | -0.0137
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 230 | 218 | 12 | 1200 | 0.0012 | 999999 | 1000014 | -15 | -1500 | -0.0015
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999912 | 999939 | -27 | -2700 | -0.0027 | 999985 | 999990 | -5 | -500 | -0.0005
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
62 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 2560 | 1959 | 601 | 60100 | 0.0601 | 10140 | 10090 | 50 | 5000 | 0.005
63 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 2649 | 2029 | 620 | 62000 | 0.062 | 264 | 264 | 0 | 0 | 0
64 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 16664 | 15735 | 929 | 92900 | 0.0929 | 5528 | 5528 | 0 | 0 | 0
KASHMIRI GATE
65 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 17643 | 15123 | 2520 | 252000 | 0.252 | 1781 | 1781 | 0 | 0 | 0
66 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25416 | 25419 | -3 | -300 | -0.0003 | 51320 | 51318 | 2 | 200 | 0.0002
67 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 469 | 464 | 5 | -1500 | -0.0015
REWARI LINE (11KV TRANSFER OF ENERGY)
68 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
69 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
70 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 997405 | 998244 | -839 | -671200 | -0.6712 | 999998 | 999998 | 0 | 0 | 0
71 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 167 | 291 | -124 | -248000 | -0.248 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
72 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995700 | 997468 | -1768 | -176800 | -0.1768 | 999834 | 999856 | -22 | -2200 | -0.0022
73 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998512 | 998540 | -28 | -7000 | -0.007 | 132 | 128 | 4 | 1000 | 0.001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -37.4719 |  |  |  |  | -0.029442
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10669 | 10284 | 385 | -38500 | -0.0385 | 46433 | 45365 | 1068 | -106800 | -0.1068
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 1000012 | 999983 | 29 | -23200 | -0.0232 | 1803 | 1781 | 22 | -17600 | -0.0176
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1046 | 836 | 210 | -210000 | -0.21 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 1994 | 1885 | 109 | -43600 | -0.0436 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 963121 | 963334 | -213 | 10650 | 0.01065 | 1517 | 1517 | 0 | 0 | 0 | Check Meter Data till 05/02
[10 empty] | 0.01491 |  |  |  |  | 0 | Assessment
|  | 4865149 | ELSTER | Kvarh(Lead/Lag) | -500 | 999952 | 1000000 | -48 | 24000 | 0.024 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/02/18
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000012 | 999998 | 14 | -14000 | -0.014 | 22 | 22 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 977773 | 979884 | -2111 | 1688800 | 1.6888 | 999001 | 999017 | -16 | 12800 | 0.0128
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.4091 |  |  |  |  | -0.1116
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -37.4719 |  |  |  |  | -0.029442
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.4091 |  |  |  |  | -0.1116
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.9972 |  |  |  |  | 0.01965
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -34.0656 |  |  |  |  | -0.12139
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.0656 | (REACTIVE MUs) |  |  |  | -0.12139 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2447 | (REACTIVE MUs) |  |  |  | -1.0682 | (REACTIVE MUs)
[9 empty] | TOTAL | -32.8209 | (REACTIVE MUs) |  |  |  | -1.1896 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11403 | 11884 | -481 | -48100 | -0.0481 | 999218 | 999319 | -101 | -10100 | -0.0101
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8203 | 8370 | -167 | -50100 | -0.0501 | 7624 | 7388 | 236 | 70800 | 0.0708
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 28730 | 28343 | 387 | 29025 | 0.029025 | 196887 | 194838 | 2049 | 153675 | 0.15368
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998350 | 998522 | -172 | -51600 | -0.0516 | 5886 | 5923 | -37 | -11100 | -0.0111
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1724 | 1724 | 0 | 0 | 0 | 3059 | 3047 | 12 | 15999.6 | 0.016
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34983 | 34559 | 424 | 42400 | 0.0424 | 158991 | 158929 | 62 | 6200 | 0.0062
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 16610 | 14631 | 1979 | 148425 | 0.14843 | 45571 | 44395 | 1176 | 88200 | 0.0882
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987067 | 987445 | -378 | -378000 | -0.378 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995866 | 996142 | -276 | -276000 | -0.276 | 3885 | 3885 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998824 | 999258 | -434 | -434000 | -0.434 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992999 | 993465 | -466 | -466000 | -0.466 | 1455 | 1455 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993414 | 993427 | -13 | -13000 | -0.013 | 5587 | 5606 | -19 | -19000 | -0.019
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997242 | 997260 | -18 | -18000 | -0.018 | 998684 | 998703 | -19 | -19000 | -0.019
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999243 | 999150 | 93 | 93000 | 0.093 | 999878 | 999871 | 7 | 7000 | 0.007
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999050 | 999063 | -13 | -10400 | -0.0104 | 2328 | 2353 | -25 | -20000 | -0.02
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998720 | 998969 | -249 | -249000 | -0.249 | 32997 | 32997 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2072 | 2167 | -95 | -95000 | -0.095 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1628 | 1972 | -344 | -344000 | -0.344 | 17083 | 17083 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 984650 | 986652 | -2002 | -2502500 | -2.5025 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 1000000 | -1 | -1100 | -0.0011 | 966950 | 969908 | -2958 | -3253800 | -3.2538
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966956 | 968005 | -1049 | -1049000 | -1.049 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.5526 |  |  |  |  | -3.2538
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996865 | 997481 | -616 | 616000 | 0.616 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996167 | 996541 | -374 | 374000 | 0.374 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 469 | 464 | 5 | 1500 | 0.0015
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999851 | 999844 | 7 | 7000 | 0.007 | 6849 | 6840 | 9 | 9000 | 0.009
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21676 | 18076 | 3600 | -3600000 | -3.6 | 0 | 0 | 0 | 0 | 0
[5 empty] | -1000 | 16441 | 13184 | 3257 | -3257000 | -3.257
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16376 | 15179 | 1197 | -1197000 | -1.197 | 999921 | 999923 | -2 | 2000 | 0.002
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989966 | 989924 | 42 | -42000 | -0.042 | 991899 | 991899 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993687 | 993733 | -46 | 46000 | 0.046 | 998824 | 998824 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997682 | 997489 | 193 | -193000 | -0.193 | 999572 | 999760 | -188 | 188000 | 0.188
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998629 | 998602 | 27 | -27000 | -0.027 | 153 | 151 | 2 | -2000 | -0.002
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992478 | 992446 | 32 | -32000 | -0.032 | 999648 | 999646 | 2 | -2000 | -0.002
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1046 | 836 | 210 | 210000 | 0.21 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 1994 | 1885 | 109 | 43600 | 0.0436 | 9 | 9 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998159 | 998110 | 49 | 49000 | 0.049 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150719 | 150874 | -155 | -155000 | -0.155 | 54270 | 54270 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983838 | 983807 | 31 | -31000 | -0.031 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997870 | 997838 | 32 | -32000 | -0.032 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -12.8304 |  |  |  |  | -2.7946
| (A) NET ENERGY TO CENTRAL | [8 empty] | -12.8304 |  |  |  |  | -2.7946
FEBRUARY-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978185 | 977772 | 413 | -413000 | -0.413 | 879040 | 879040 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996225 | 994763 | 1462 | -1462000 | -1.462 | 962312 | 962312 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996969 | 997049 | -80 | 80000 | 0.08 | 998957 | 998957 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 984465 | 985406 | -941 | 1882000 | 1.882 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999941 | 998418 | 1523 | -1523000 | -1.523 | 999125 | 999119 | 6 | -6000 | -0.006
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995276 | 993933 | 1343 | -1343000 | -1.343 | 998563 | 998561 | 2 | -2000 | -0.002
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3618 | 3618 | 0 | 0 | 0 | 999628 | 999628 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984746 | 984485 | 261 | -261000 | -0.261 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983761 | 983951 | -190 | 190000 | 0.19 | 989678 | 989818 | -140 | 140000 | 0.14
GEETA COLONY
11 | I/C-I | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995569 | 996363 | -794 | 794000 | 0.794 | 999386 | 999386 | 0 | 0 | 0
|  | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999916 | 1000000 | -84 | 84000 | 0.084 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/02/2018
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959019 | 958595 | 424 | -424000 | -0.424 | 829366 | 829373 | -7 | 7000 | 0.007
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22086 | 20693 | 1393 | -1393000 | -1.393 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8661 | 7532 | 1129 | -1129000 | -1.129 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965519 | 965052 | 467 | -467000 | -0.467 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -5.385 |  |  |  |  | 0.139
| (B) NET ENERGY TO EAST | [8 empty] | -5.385 |  |  |  |  | 0.139
FEBRUARY-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999971 | 999962 | 9 | -2400.03 | -0.0024 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 6826 | 6668 | 158 | -79000 | -0.079 | 1765 | 1765 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3348 | 2795 | 553 | -147462.98 | -0.14746 | 524 | 524 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 78517 | 76541 | 1976 | -197600 | -0.1976 | 144004 | 144004 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 968738 | 969544 | -806 | 161200 | 0.1612 | 994945 | 994945 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 47535 | 46294 | 1241 | -248200 | -0.2482 | 118468 | 118468 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 18635 | 18168 | 467 | -373600 | -0.3736 | 13864 | 13864 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15565 | 15548 | 17 | -34000 | -0.034 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 970966 | 971959 | -993 | 794400 | 0.7944 | 986568 | 986568 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 976024 | 977941 | -1917 | 1533600 | 1.5336 | 987337 | 987337 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 984806 | 986304 | -1498 | 1198400 | 1.1984 | 993925 | 993925 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 974882 | 975954 | -1072 | 857600 | 0.8576 | 994513 | 994513 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970740 | 972525 | -1785 | 1785000 | 1.785 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1845 | 1840 | 5 | -5000 | -0.005 | 28237 | 28237 | 0 | 0 | 0
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 9040 | 8704 | 336 | -33600 | -0.0336 | 26250 | 26232 | 18 | -1800 | -0.0018
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1308 | 1324 | -16 | 16000 | 0.016 | 61300 | 61303 | -3 | 3000 | 0.003
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1422 | 1430 | -8 | 1333.28 | 0.0013333 | 1879 | 1880 | -1 | 166.66 | 0.00016666
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999834 | 999842 | -8 | 4000 | 0.004 | 540 | 547 | -7 | 3500 | 0.0035
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1154 | 1118 | 36 | -24000.12 | -0.024 | 126 | 126 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4071 | 4072 | -1 | 666.6667 | 0.00066667 | 1431 | 1431 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 17643 | 15123 | 2520 | -252000 | -0.252 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25416 | 25419 | -3 | 300 | 0.0003 | 51320 | 51318 | 2 | -200 | -0.0002
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997270 | 997278 | -8 | 800 | 0.0008 | 2299 | 2436 | -137 | 13700 | 0.0137
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 230 | 218 | 12 | 1200 | 0.0012 | 999999 | 1000014 | -15 | -1500 | -0.0015
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999912 | 999939 | -27 | 2700 | 0.0027 | 999985 | 999990 | -5 | 500 | 0.0005
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 2560 | 1959 | 601 | -60100 | -0.0601 | 10140 | 10090 | 50 | -5000 | -0.005
30 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 2649 | 2029 | 620 | -62000 | -0.062 | 264 | 264 | 0 | 0 | 0
31 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 16664 | 15735 | 929 | -92900 | -0.0929 | 5528 | 5528 | 0 | 0 | 0
[10 empty] | 4.7453 |  |  |  |  | 0.012367
FEBRUARY-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -12.8304 |  |  |  |  | -2.7946
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.7453 |  |  |  |  | 0.012367
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.0948 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.9902 |  |  |  |  | -2.7823
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -5.385 |  |  |  |  | 0.139
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -13.3752 |  |  |  |  | -2.6433
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -13.3752 | (REACTIVE MUs) |  |  |  | -2.6433 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.83542 | (REACTIVE MUs) |  |  |  | -0.71696 | (REACTIVE MUs)
[9 empty] | TOTAL | -12.5398 | (REACTIVE MUs) |  |  |  | -3.3602 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999509 | 999516 | -7 | -35000 | -0.035 | 999354 | 999404 | -50 | -250000 | -0.25
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984596 | 984631 | -35 | -46666.55 | -0.046667 | 671097 | 671136 | -39 | -51999.87 | -0.052
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1283 | 1088 | 195 | 78000 | 0.078 | 64407 | 64029 | 378 | 151200 | 0.1512
[5 empty] | 400 | [5 empty] | 56985 | 56526 | 459 | 183600 | 0.1836
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999971 | 999974 | -3 | -3999.99 | -0.004 | 25 | 1 | 24 | 31999.92 | 0.032
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18786 | 18765 | 21 | 2100 | 0.0021 | 20177 | 20059 | 118 | 11800 | 0.0118
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 720783 | 722817 | -2034 | -152550 | -0.15255 | 996563 | 997101 | -538 | -40350 | -0.04035
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999289 | 999492 | -203 | -15225 | -0.015225 | 138 | 30 | 108 | 8100 | 0.0081
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997498 | 997529 | -31 | -27900 | -0.0279 | 995498 | 995510 | -12 | -10800 | -0.0108
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3126 | 3339 | -213 | 213000 | 0.213 | 997657 | 997793 | -136 | 136000 | 0.136
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 883 | 335 | 548 | -548000 | -0.548 | 992925 | 992983 | -58 | 58000 | 0.058
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10438 | 9752 | 686 | -686000 | -0.686 | 999400 | 999403 | -3 | 3000 | 0.003
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967310 | 965087 | 2223 | -2223000 | -2.223 | 996373 | 996352 | 21 | -21000 | -0.021
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12355 | 11250 | 1105 | -1105000 | -1.105 | 999849 | 999849 | 0 | 0 | 0
[5 empty] | -1000 | 10872 | 9360 | 1512 | -1512000 | -1.512
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17820 | 13717 | 4103 | -4103000 | -4.103 | 158 | 141 | 17 | -17000 | -0.017
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6865 | 5454 | 1411 | -2822000 | -2.822 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996806 | 997664 | -858 | 858000 | 0.858 | 902651 | 902652 | -1 | 1000 | 0.001
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2849 | 2787 | 62 | -62000 | -0.062 | 982883 | 983184 | -301 | 301000 | 0.301
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996793 | 996988 | -195 | 195000 | 0.195 | 983536 | 983582 | -46 | 46000 | 0.046
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997025 | 997254 | -229 | 229000 | 0.229 | 990500 | 990862 | -362 | 362000 | 0.362
[5 empty] | -1000 | [5 empty] | 996832 | 996832 | 0 | 0 | 0
24 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13508 | 13692 | -184 | 184000 | 0.184 | 996521 | 996567 | -46 | 46000 | 0.046
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000012 | 999983 | 29 | 23200 | 0.0232 | 1803 | 1781 | 22 | 17600 | 0.0176
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978846 | 978935 | -89 | 89000 | 0.089 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980380 | 978707 | 1673 | -1673000 | -1.673 | 999323 | 999323 | 0 | 0 | 0
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996246 | 995783 | 463 | -463000 | -0.463 | 988628 | 988711 | -83 | 83000 | 0.083
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993673 | 992965 | 708 | -708000 | -0.708 | 928117 | 928172 | -55 | 55000 | 0.055
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7634 | 6440 | 1194 | -1194000 | -1.194 | 33391 | 33392 | -1 | 1000 | 0.001
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997712 | 997842 | -130 | 130000 | 0.13 | 996139 | 996142 | -3 | 3000 | 0.003
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999694 | 999803 | -109 | 109000 | 0.109 | 999709 | 999725 | -16 | 16000 | 0.016
BRPL(+) continue | [14 empty] | FEBRUARY-2018
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7061 | 7039 | 22 | -22000 | -0.022 | 999943 | 999945 | -2 | 2000 | 0.002
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 10997 | 10931 | 66 | -33000 | -0.033 | 998246 | 998250 | -4 | 2000 | 0.002
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45361 | 38741 | 6620 | -13240000 | -13.24 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1735 | 1000 | 735 | -735000 | -0.735 | 999885 | 999939 | -54 | 54000 | 0.054
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994405 | 994397 | 8 | -8000 | -0.008 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1396 | 585 | 811 | -811000 | -0.811 | 999265 | 999315 | -50 | 50000 | 0.05
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1217 | 234 | 983 | -1966000 | -1.966 | 999117 | 999118 | -1 | 2000 | 0.002
RIDGE VALLEY
41 | Tx-1 | 4865064 | ELSTER | Kvarh(Lead/Lag) | -750 | 979710 | 978243 | 1467 | -1100250 | -1.1002 | 963167 | 963167 | 0 | 0 | 0
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6308 | 4858 | 1450 | -2900000 | -2.9 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6531 | 6417 | 114 | -228000 | -0.228 | 2419 | 2413 | 6 | -12000 | -0.012
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3316 | 3202 | 114 | -228000 | -0.228 | 1380 | 1376 | 4 | -8000 | -0.008
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917460 | 917304 | 156 | -156000 | -0.156 | 981209 | 981210 | -1 | 1000 | 0.001
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000038 | 999997 | 41 | -41000 | -0.041 | 996785 | 996785 | 0 | 0 | 0
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 997437 | 998810 | -1373 | -1098400 | -1.0984 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 983856 | 984175 | -319 | -255200 | -0.2552 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1527 | 1589 | -62 | -49600 | -0.0496 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 450 | 517 | -67 | -53600 | -0.0536 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970740 | 972525 | -1785 | -1785000 | -1.785 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64759 | 56708 | 8051 | -8051000 | -8.051 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15176 | 14407 | 769 | -769000 | -0.769 | 998472 | 998471 | 1 | -1000 | -0.001
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44199 | 36680 | 7519 | -7519000 | -7.519 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10669 | 10284 | 385 | 38500 | 0.0385 | 46433 | 45365 | 1068 | 106800 | 0.1068
SUDARSHAN PARK
59 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 963121 | 963334 | -213 | -10650 | -0.01065 | 1517 | 1517 | 0 | 0 | 0 | Check Meter Data till 05/02
[10 empty] | -0.01491 |  |  |  |  | 0 | Assessment
|  | 4865149 | ELSTER | Kvarh(Lead/Lag) | 500 | 999952 | 1000000 | -48 | -24000 | -0.024 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/02
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 9987 | 11227 | -1240 | -496000 | -0.496 | 21171 | 21169 | 2 | 800 | 0.0008
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996071 | 996402 | -331 | -132400 | -0.1324 | 34211 | 34170 | 41 | 16400 | 0.0164
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000012 | 999998 | 14 | 14000 | 0.014 | 22 | 22 | 0 | 0 | 0
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 977773 | 979884 | -2111 | -1688800 | -1.6888 | 999001 | 999017 | -16 | -12800 | -0.0128
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 300318 | 285543 | 14775 | 1477500 | 1.4775 | 8000 | 7998 | 2 | 200 | 0.0002
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4568 | 4572 | -4 | -4000 | -0.004 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10222 | 10089 | 133 | 9975 | 0.009975 | 14600 | 14526 | 74 | 5550 | 0.00555
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4814 | 4767 | 47 | 4700 | 0.0047 | 5851 | 5818 | 33 | 3300 | 0.0033
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3309 | 3416 | -107 | -53500 | -0.0535 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3928 | 4025 | -97 | -97000 | -0.097 | 4064 | 4062 | 2 | 2000 | 0.002
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995747 | 995865 | -118 | -118000 | -0.118 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3788 | 3748 | 40 | 40000 | 0.04 | 6440 | 6439 | 1 | 1000 | 0.001
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 584 | 666 | -82 | -82000 | -0.082 | 381 | 379 | 2 | 2000 | 0.002
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 47532 | 48176 | -644 | -64400 | -0.0644 | 44751 | 44737 | 14 | 1400 | 0.0014
74 | MUKHERJEE PARK - I | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6522 | 6493 | 29 | 29000 | 0.029 | 263 | 263 | 0 | 0 | 0
|  | 4864879 | ELSTER | Kvarh(Lead/Lag) | 500 | 154 | 0 | 154 | 77000 | 0.077 | 2 | 0 | 2 | 1000 | 0.001 | w.e.f 08/02/2018
75 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2158 | 2014 | 144 | 144000 | 0.144 | 5893 | 5890 | 3 | 3000 | 0.003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -57.2701 |  |  |  |  | 1.3448
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 193969 | 192142 | 1827 | -182700 | -0.1827 | 913602 | 913602 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998159 | 998110 | 49 | -49000 | -0.049 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150719 | 150874 | -155 | 155000 | 0.155 | 54270 | 54270 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997464 | 997563 | -99 | 19800 | 0.0198 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927 | 428 | 499 | -499000 | -0.499 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999137 | 999450 | -313 | 313000 | 0.313 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3995 | 3890 | 105 | -16800 | -0.0168 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907544 | 907376 | 168 | -168000 | -0.168 | 62169 | 62169 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995195 | 995947 | -752 | 752000 | 0.752 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96670 | 96351 | 319 | -31900 | -0.0319 | 71749 | 71760 | -11 | 1100 | 0.0011
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 105946 | 105192 | 754 | -75400 | -0.0754 | 72466 | 72466 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28272 | 29865 | -1593 | 159300 | 0.1593 | 33191 | 33191 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999090 | -62 | -31000 | -0.031 | 16662 | 16668 | -6 | -3000 | -0.003
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 0 | 2 | 1666.66 | 0.0016667 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 429322 | 424683 | 4639 | -463900 | -0.4639 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 6565 | 6427 | 138 | -13800 | -0.0138 | 30196 | 30136 | 60 | -6000 | -0.006
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998020 | 997852 | 168 | -69998.88 | -0.069999 | 999137 | 999093 | 44 | -18333.04 | -0.018333
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9019 | 9021 | -2 | 200 | 0.0002 | 37486 | 37550 | -64 | 6400 | 0.0064
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11820 | 11828 | -8 | 800 | 0.0008 | 77294 | 77725 | -431 | 43100 | 0.0431
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1401 | 1397 | 4 | -400 | -0.0004 | 19240 | 18916 | 324 | -32400 | -0.0324
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 373 | 354 | 19 | -25327 | -0.025327 | 277 | 252 | 25 | -33325 | -0.033325
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 44 | 35 | 9 | -900 | -0.0009 | 999987 | 999997 | -10 | 1000 | 0.001
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Data till 19/02
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999946 | 999432 | 514 | -51400 | -0.0514 | 17161 | 17107 | 54 | -5400 | -0.0054
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989591 | 989674 | -83 | 3688.52 | 0.0036885 | 328 | 367 | -39 | 1733.16 | 0.0017332
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.27407 |  |  |  |  | -0.045125
FEBRUARY-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -57.2701 |  |  |  |  | 1.3448
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.27407 |  |  |  |  | -0.045125
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.043325 |  |  |  |  | -0.0036
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0115 |  |  |  |  | -0.021325
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -57.5123 |  |  |  |  | 1.2748
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -57.5123 | (REACTIVE MUs) |  |  |  | 1.2748 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5113 | (REACTIVE MUs) |  |  |  | -1.297 | (REACTIVE MUs)
[9 empty] | TOTAL | -56.0011 | (REACTIVE MUs) |  |  |  | -0.022231 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3348 | 2795 | 553 | 147468.51 | 0.14747 | 524 | 524 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 78517 | 76541 | 1976 | 197600 | 0.1976 | 144004 | 144004 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 968738 | 969544 | -806 | -161200 | -0.1612 | 994945 | 994945 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 47535 | 46294 | 1241 | 248200 | 0.2482 | 118468 | 118468 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 18635 | 18168 | 467 | 373600 | 0.3736 | 13864 | 13864 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15565 | 15548 | 17 | 34000 | 0.034 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 970966 | 971959 | -993 | -794400 | -0.7944 | 986568 | 986568 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 976024 | 977941 | -1917 | -1533600 | -1.5336 | 987337 | 987337 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 984806 | 986304 | -1498 | -1198400 | -1.1984 | 993925 | 993925 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 974882 | 975954 | -1072 | -857600 | -0.8576 | 994513 | 994513 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997609 | 997889 | -280 | -14000 | -0.014 | 7923 | 8312 | -389 | -19450 | -0.01945
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989635 | 990316 | -681 | -51075 | -0.051075 | 14175 | 14295 | -120 | -9000 | -0.009
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 127 | 143 | -16 | -8000 | -0.008 | 2268 | 2268 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999203 | 999183 | 20 | 7500 | 0.0075 | 3003 | 2858 | 145 | 54375 | 0.054375
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988151 | 988298 | -147 | -14700 | -0.0147 | 330899 | 331176 | -277 | -27700 | -0.0277
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 317 | 200 | 117 | 8775 | 0.008775 | 10744 | 10243 | 501 | 37575 | 0.037575
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 88909 | 88238 | 671 | 67100 | 0.0671 | 739759 | 739436 | 323 | 32300 | 0.0323
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997757 | 998102 | -345 | -345000 | -0.345 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995166 | 995507 | -341 | -341000 | -0.341 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993023 | 993990 | -967 | -967000 | -0.967 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5162 | 5258 | -96 | -96000 | -0.096 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -1.749 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999137 | 999450 | -313 | -313000 | -0.313 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3995 | 3890 | 105 | 16800 | 0.0168 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907544 | 907376 | 168 | 168000 | 0.168 | 62169 | 62169 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995195 | 995947 | -752 | -752000 | -0.752 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999090 | -62 | 31000 | 0.031 | 16662 | 16668 | -6 | 3000 | 0.003
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 0 | 2 | 1666.66 | 0.0016667 | 999580 | 999580 | 0 | 0 | 0
FEBRUARY-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926831 | 927505 | -674 | 674000 | 0.674 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 963057 | 964283 | -1226 | 613000 | 0.613 | 998213 | 998214 | -1 | 500 | 0.0005
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997894 | 997321 | 573 | -1146000 | -1.146 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991474 | 992418 | -944 | 944000 | 0.944 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 429322 | 424683 | 4639 | 463900 | 0.4639 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 6565 | 6427 | 138 | 13800 | 0.0138 | 30196 | 30136 | 60 | 6000 | 0.006
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96670 | 96351 | 319 | 31900 | 0.0319 | 71749 | 71760 | -11 | -1100 | -0.0011
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 105946 | 105192 | 754 | 75400 | 0.0754 | 72466 | 72466 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28272 | 29865 | -1593 | -159300 | -0.1593 | 33191 | 33191 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 193969 | 192142 | 1827 | 182700 | 0.1827 | 913602 | 913602 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 300318 | 285543 | 14775 | -1477500 | -1.4775 | 8000 | 7998 | 2 | -200 | -0.0002
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4568 | 4572 | -4 | 4000 | 0.004 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10222 | 10089 | 133 | -9975 | -0.009975 | 14600 | 14526 | 74 | -5550 | -0.00555
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4814 | 4767 | 47 | -4700 | -0.0047 | 5851 | 5818 | 33 | -3300 | -0.0033
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.4665 |  |  |  |  | 0.06765
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.4665 |  |  |  |  | 0.06765
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.16931 |  |  |  |  | -0.1453
| TOTAL ENERGY TO NDMC | [8 empty] | -4.2972 |  |  |  |  | -0.077655

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3165 | 2158 | 1007 | 201400 | 0.2014 | 21974 | 21829 | 145 | 29000 | 0.029
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1730 | -2 | -2000 | -0.002 | 42441 | 42441 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4239 | 4203 | 36 | 36000 | 0.036 | 52308 | 52280 | 28 | 28000 | 0.028
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 154 | 44 | 110 | 44000 | 0.044 | 615 | 612 | 3 | 1200 | 0.0012
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6470 | 6473 | -3 | -3000 | -0.003 | 12075 | 12075 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 286 | 248 | 38 | 15200 | 0.0152 | 999263 | 999219 | 44 | 17600 | 0.0176
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997464 | 997563 | -99 | -19800 | -0.0198 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927 | 428 | 499 | 499000 | 0.499 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.7708 |  |  |  |  | 0.0758
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59292 | 59297 | -5 | -500 | -0.0005 | 91816 | 91778 | 38 | 3800 | 0.0038
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78160 | 78148 | 12 | 1200 | 0.0012 | 16714 | 16675 | 39 | 3900 | 0.0039
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65242 | 65134 | 108 | 10800 | 0.0108 | 113218 | 113084 | 134 | 13400 | 0.0134
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1312 | 1309 | 3 | 225 | 0.000225
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10281 | 0 | 0 | 0 | 3986 | 3986 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0115 |  |  |  |  | 0.021325
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0115 |  |  |  |  | 0.021325
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.7708 |  |  |  |  | 0.0758
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.7823 |  |  |  |  | 0.097125
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.7823 | (REACTIVE MUs) |  |  |  | 0.097125 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.030703 | (REACTIVE MUs) |  |  |  | -0.026349 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.813 | (REACTIVE MUs) |  |  |  | 0.070776 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 990612 | 993856 | -3244 | -324400 | -0.3244 | 1983 | 1983 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57644 | 51997 | 5647 | 564700 | 0.5647 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 8575 | 9048 | -473 | -236500 | -0.2365 | 2077 | 2077 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999460 | 999282 | 178 | 166875 | 0.16687 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 987127 | 988324 | -1197 | -299250 | -0.29925 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 979823 | 980159 | -336 | 168000 | 0.168 | 976331 | 976331 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 23 | 13 | 3900 | 0.0039 | 999925 | 999937 | -12 | -3600 | -0.0036
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.043325 |  |  |  |  | -0.0036
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987979 | 987505 | 474 | 94800 | 0.0948 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 892338 | 892338 | 0 | 0 | 0 | 996596 | 996596 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -1.4573 |  |  |  |  | 0 | Assessment
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.0948 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 67 | 0 | 67 | 83750 | 0.08375 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/02/2018
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 303129 | 293716 | 9413 | 941300 | 0.9413 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 247687 | 233203 | 14484 | 905250 | 0.90525 | 985547 | 985547 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1663 | 1618 | 45 | 36000 | 0.036 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 980504 | 981931 | -1427 | -142700 | -0.1427 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999980 | 999880 | 100 | 15000 | 0.015 | 985076 | 984969 | 107 | 16050 | 0.01605
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998524 | 998589 | -65 | 162500 | 0.1625 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 23 | 13 | -3900 | -0.0039 | 999925 | 999937 | -12 | 3600 | 0.0036
| TOTAL NDPL | [8 empty] | 1.9972 |  |  |  |  | 0.01965
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.043325 |  |  |  |  | -0.0036
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.0948 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.9972 |  |  |  |  | 0.01965

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 24177 | 19519 | 4658 | 4658000 | 4.658 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 12266 | 11379 | 887 | 4435000 | 4.435 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 9.093 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 9.093 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.5526 |  |  |  |  | -3.2538
[7 empty] | NDMC = |  |  | -1.749 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -5.3016 |  |  |  |  | -3.2538
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.7914 |  |  |  |  | -3.2538
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.8295 | % |  |  | 1.2447 |  |  |  |  | -1.0682
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.8605 | % |  |  | 1.5113 |  |  |  |  | -1.297
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.0345 | % |  |  | 0.83542 |  |  |  |  | -0.71696
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4657 | % |  |  | 0.16931 |  |  |  |  | -0.1453
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8098 | % |  |  | 0.030703 |  |  |  |  | -0.026349
Note :Sharing taken from wk-48 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2018 TO 1st MARCH-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -32.8209 |  | -1.1896
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -56.0011 |  | -0.022231
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -12.5398 |  | -3.3602
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.2972 |  | -0.077655
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.813 | + | 0.070776
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2018 | INTIAL READING 01/02/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 12501 | 12307 | 194 | 145500 | 0.1455 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 999491 | 998850 | 641 | 961500 | 0.9615 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 853201 | 852302 | 899 | 674250 | 0.67425 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.7812 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 778 | 585 | 193 | 965000 | 0.965 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 920116 | 921202 | -1086 | -1086000 | -1.086
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973712 | 973567 | 145 | 145000 | 0.145 | 998314 | 998406 | -92 | -92000 | -0.092
[8 empty] | NET REACTIVE ENERGY |  | 1.11 |  |  | NET REACTIVE ENERGY |  | -1.178