## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990411 | 990416 | -5 | 5000 | 0.005 | 997387 | 998634 | -1247 | 1247000 | 1.247
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994140 | 994198 | -58 | 58000 | 0.058 | 998094 | 998244 | -150 | 150000 | 0.15
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4361 | 4411 | -50 | 50000 | 0.05 | 996109 | 996270 | -161 | 161000 | 0.161
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974290 | 974300 | -10 | 10000 | 0.01 | 975669 | 976093 | -424 | 424000 | 0.424
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917261 | 917230 | 31 | -31000 | -0.031 | 940849 | 941028 | -179 | 179000 | 0.179
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22966 | 22959 | 7 | -7000 | -0.007 | 17141 | 17168 | -27 | 27000 | 0.027
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12394 | 12482 | -88 | 88000 | 0.088 | 12730 | 13075 | -345 | 345000 | 0.345
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14241 | 14297 | -56 | 70000 | 0.07 | 995180 | 995451 | -271 | 338750 | 0.33875
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6503 | 6604 | -101 | 101000 | 0.101 | 984954 | 985256 | -302 | 302000 | 0.302
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31203 | 31277 | -74 | 74000 | 0.074 | 9084 | 9098 | -14 | 14000 | 0.014
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992090 | 992227 | -137 | 137000 | 0.137 | 3789 | 3866 | -77 | 77000 | 0.077
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991820 | 991932 | -112 | 112000 | 0.112 | 999178 | 999329 | -151 | 151000 | 0.151
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 899604 | 901126 | -1522 | -1522000 | -1.522 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987817 | 988005 | -188 | 188000 | 0.188 | 16917 | 16927 | -10 | 10000 | 0.01
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998436 | 998525 | -89 | 89000 | 0.089 | 19634 | 19649 | -15 | 15000 | 0.015
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1989 | 1938 | 51 | -51000 | -0.051 | 999936 | 999939 | -3 | 3000 | 0.003
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999945 | -19 | -3800 | -0.0038 | 992578 | 993126 | -548 | -109600 | -0.1096
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 641 | 20 | 20000 | 0.02 | 29386 | 29301 | 85 | 85000 | 0.085
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4385 | 4350 | 35 | 3500 | 0.0035 | 155523 | 154887 | 636 | 63600 | 0.0636
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15712 | 15510 | 202 | 20200 | 0.0202 | 231943 | 230494 | 1449 | 144900 | 0.1449
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996347 | 996336 | 11 | 11000 | 0.011 | 4015 | 3905 | 110 | 110000 | 0.11
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 316 | 5 | 5000 | 0.005 | 8155 | 8083 | 72 | 72000 | 0.072
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640006 | 640080 | -74 | -74000 | -0.074 | 798892 | 798969 | -77 | -77000 | -0.077
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648495 | 648530 | -35 | -35000 | -0.035 | 832019 | 832146 | -127 | -127000 | -0.127
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1947 | 1901 | 46 | 18400 | 0.0184 | 171 | 47 | 124 | 49600 | 0.0496
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2596 | 2588 | 8 | 4000 | 0.004 | 2884 | 2319 | 565 | 282500 | 0.2825
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15531 | 15563 | -32 | 32000 | 0.032 | 981660 | 981777 | -117 | 117000 | 0.117
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5889 | 5864 | 25 | -25000 | -0.025 | 999729 | 999788 | -59 | 59000 | 0.059
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996938 | 996437 | 501 | -501000 | -0.501 | 925709 | 925826 | -117 | 117000 | 0.117
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3441 | 3426 | 15 | -15000 | -0.015 | 999842 | 999891 | -49 | 49000 | 0.049
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56941 | 56761 | 180 | -180000 | -0.18 | 1000219 | 999946 | 273 | -273000 | -0.273
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 302 | 298 | 4 | -4000 | -0.004 | 999905 | 999999 | -94 | 94000 | 0.094
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2443 | 2534 | -91 | 91000 | 0.091 | 999999 | 999999 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1764 | 1758 | 6 | 6000 | 0.006 | 21674 | 21255 | 419 | 419000 | 0.419
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 212 | 200 | 12 | 12000 | 0.012 | 1918 | 1930 | -12 | -12000 | -0.012
| NDPL(+) continue | [14 empty] | MAY-2014
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1282 | 1214 | 68 | 68000 | 0.068 | 60947 | 60903 | 44 | 44000 | 0.044
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 2172 | 1929 | 243 | 24300 | 0.0243 | 78711 | 79447 | -736 | -73600 | -0.0736
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9435 | 9465 | -30 | -3000 | -0.003 | 29071 | 29111 | -40 | -4000 | -0.004
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10872 | 10701 | 171 | 17100 | 0.0171 | 53228 | 52780 | 448 | 44800 | 0.0448
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16575 | 16306 | 269 | 26900 | 0.0269 | 56643 | 55928 | 715 | 71500 | 0.0715
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 43012 | 42990 | 22 | 2200 | 0.0022 | 20088 | 18907 | 1181 | 118100 | 0.1181
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17342 | 17346 | -4 | -400 | -0.0004 | 17870 | 17028 | 842 | 84200 | 0.0842
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998319 | 998341 | -22 | -977.68 | -0.00097768 | 324 | 277 | 47 | 2088.68 | 0.0020887
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5629 | 0 | 0 | 0 | 29272 | 29000 | 272 | 136000 | 0.136
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3786 | 3784 | 2 | 1000 | 0.001 | 27152 | 26815 | 337 | 168500 | 0.1685
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6013 | 5808 | 205 | 102500 | 0.1025 | 14601 | 14555 | 46 | 23000 | 0.023
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1010 | 924 | 86 | 57333.3333 | 0.057333 | 579 | 557 | 22 | 14666.6667 | 0.014667
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993037 | 993065 | -28 | -2800 | -0.0028 | 5895 | 5900 | -5 | -500 | -0.0005
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7788 | 7795 | -7 | -700 | -0.0007 | 15331 | 15336 | -5 | -500 | -0.0005
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23520 | 23322 | 198 | 19800 | 0.0198 | 54290 | 54106 | 184 | 18400 | 0.0184
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4517 | 4449 | 68 | 6800 | 0.0068 | 999996 | 1000005 | -9 | -900 | -0.0009
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998630 | 998628 | 2 | 200 | 0.0002 | 126 | 130 | -4 | -400 | -0.0004
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 20341 | 20062 | 279 | 27900 | 0.0279 | 72130 | 71977 | 153 | 15300 | 0.0153 | Data upto 19/05/2014
[10 empty] | 0.0176 |  |  |  |  | 0.0096
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 15830 | 15526 | 304 | 30400 | 0.0304 | 62968 | 62732 | 236 | 23600 | 0.0236
60 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2473 | 2368 | 105 | 10500 | 0.0105 | 175 | 29 | 146 | 14600 | 0.0146
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149266 | 149082 | 184 | 18400 | 0.0184 | 23639 | 23915 | -276 | -27600 | -0.0276
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21574 | 21564 | 10 | 1000 | 0.001 | 42025 | 41560 | 465 | 46500 | 0.0465
63 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 238 | 0 | 238 | -71400 | -0.0714
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 48 | 43 | 5 | -2000 | -0.002
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999404 | 0 | 0 | 0
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 992420 | 993733 | -1313 | -1050400 | -1.0504 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 989525 | 990049 | -524 | -419200 | -0.4192 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.2892 |  |  |  |  | 5.1617
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16736 | 16549 | 187 | -18700 | -0.0187 | 14522 | 14353 | 169 | -16900 | -0.0169
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10527 | 10500 | 27 | -27000 | -0.027 | 7221 | 7087 | 134 | -134000 | -0.134
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3903 | 3883 | 20 | -4000 | -0.004 | 12506 | 11991 | 515 | -103000 | -0.103
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15809 | 15802 | 7 | -7000 | -0.007 | 31921 | 31730 | 191 | -191000 | -0.191
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11058 | 10914 | 144 | -14400 | -0.0144 | 61504 | 61506 | -2 | 200 | 0.0002
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944327 | 944794 | -467 | 467000 | 0.467 | 992396 | 992433 | -37 | 37000 | 0.037
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.3959 |  |  |  |  | -0.4077
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.2892 |  |  |  |  | 5.1617
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.3959 |  |  |  |  | -0.4077
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.91209 |  |  |  |  | -0.11126
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.98126 |  |  |  |  | 4.6427
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.98126 | (REACTIVE MUs) |  |  |  | 4.6427 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.3186 | (REACTIVE MUs) |  |  |  | -0.68031 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.2999 | (REACTIVE MUs) |  |  |  | 3.9624 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993194 | 993228 | -34 | -3400 | -0.0034 | 74464 | 75406 | -942 | -94200 | -0.0942
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16440 | 14534 | 1906 | 190600 | 0.1906 | 11585 | 9726 | 1859 | 185900 | 0.1859
4 | IG STD- BAY-29 | 4865165 | ELSTER | Kvarh(Lead/Lag) | 100 | 21292 | 21518 | -226 | -22600 | -0.0226 | 35297 | 32842 | 2455 | 245500 | 0.2455 | check meter data used
| IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999999 | 999999 | 0 | 0 | 0 | 5659 | 5659 | 0 | 0 | 0 | wef 27/5/14
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2041 | 2271 | -230 | -23000 | -0.023 | 4412 | 4684 | -272 | -27200 | -0.0272
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10400 | 10764 | -364 | -36400 | -0.0364 | 148131 | 146818 | 1313 | 131300 | 0.1313
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 4914 | 1605 | 3309 | 330900 | 0.3309 | 69067 | 67641 | 1426 | 142600 | 0.1426
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993611 | 993870 | -259 | -259000 | -0.259 | 827 | 836 | -9 | -9000 | -0.009
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998709 | 998710 | -1 | -1000 | -0.001 | 1964 | 1946 | 18 | 18000 | 0.018 |  | .
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 702 | 729 | -27 | -27000 | -0.027 | 1343 | 1340 | 3 | 3000 | 0.003
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998713 | 998772 | -59 | -59000 | -0.059 | 2758 | 2737 | 21 | 21000 | 0.021
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999108 | 999220 | -112 | -112000 | -0.112 | 4094 | 4096 | -2 | -2000 | -0.002
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 250 | 313 | -63 | -63000 | -0.063 | 1134 | 1072 | 62 | 62000 | 0.062
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999878 | 999907 | -29 | -29000 | -0.029 | 16510 | 16514 | -4 | -4000 | -0.004
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1552 | 1569 | -17 | -17000 | -0.017 | 37132 | 37138 | -6 | -6000 | -0.006
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 24720 | 24514 | 206 | 206000 | 0.206
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1460 | 1406 | 54 | 54000 | 0.054 | 8402 | 8382 | 20 | 20000 | 0.02
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6673 | 6151 | 522 | 52200 | 0.0522 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998581 | 998641 | -60 | -60000 | -0.06 | 12738 | 12648 | 90 | 90000 | 0.09
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 736329 | 739403 | -3074 | -3381400 | -3.3814
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 776101 | 780067 | -3966 | -4362600 | -4.3626
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986658 | 986794 | -136 | -136000 | -0.136 | 9024 | 9051 | -27 | -27000 | -0.027
| KASHMIRI GATE | [8 empty] | -0.6568 |  |  |  |  | -7.372
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958251 | 958295 | -44 | 44000 | 0.044 | 962759 | 965392 | -2633 | 2633000 | 2.633
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968860 | 968932 | -72 | 72000 | 0.072 | 961019 | 962032 | -1013 | 1013000 | 1.013
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 238 | 0 | 238 | 71400 | 0.0714
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 140 | 144 | -4 | -4000 | -0.004 | 4004 | 3758 | 246 | 246000 | 0.246
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44253 | 44105 | 148 | -148000 | -0.148 | 973152 | 972864 | 288 | -288000 | -0.288
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23987 | 23781 | 206 | -206000 | -0.206 | 968107 | 967817 | 290 | -290000 | -0.29
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995446 | 995387 | 59 | -59000 | -0.059 | 996274 | 996364 | -90 | 90000 | 0.09
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975585 | 975529 | 56 | -56000 | -0.056 | 991937 | 992237 | -300 | 300000 | 0.3
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3903 | 3883 | 20 | 4000 | 0.004 | 12506 | 11991 | 515 | 103000 | 0.103
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15809 | 15802 | 7 | 7000 | 0.007 | 31921 | 31730 | 191 | 191000 | 0.191
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 106321 | 105987 | 334 | 33400 | 0.0334 | 1606 | 1617 | -11 | -1100 | -0.0011
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 126583 | 124016 | 2567 | 256700 | 0.2567 | 2661 | 2383 | 278 | 27800 | 0.0278
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.2766 |  |  |  |  | -2.692
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.2766 |  |  |  |  | -2.692
MAY-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991477 | 991495 | -18 | 18000 | 0.018 | 916140 | 916845 | -705 | 705000 | 0.705
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12364 | 12377 | -13 | 13000 | 0.013 | 935998 | 936600 | -602 | 602000 | 0.602
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992604 | 992630 | -26 | 26000 | 0.026 | 980261 | 981122 | -861 | 861000 | 0.861
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901265 | 901505 | -240 | 240000 | 0.24 | 991957 | 992033 | -76 | 76000 | 0.076
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 889764 | 890019 | -255 | 255000 | 0.255 | 990378 | 990453 | -75 | 75000 | 0.075
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4665 | 4638 | 27 | -27000 | -0.027 | 992731 | 992385 | 346 | -346000 | -0.346
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 100MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999777 | 999801 | -24 | 48000 | 0.048 | 983712 | 985094 | -1382 | 2764000 | 2.764
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999467 | 2 | -2000 | -0.002 | 962826 | 962930 | -104 | 104000 | 0.104
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998472 | 998553 | -81 | 81000 | 0.081 | 906265 | 913314 | -7049 | 7049000 | 7.049
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962292 | 962166 | 126 | -126000 | -0.126 | 869197 | 870251 | -1054 | 1054000 | 1.054
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20642 | 20364 | 278 | -278000 | -0.278 | 34285 | 34046 | 239 | -239000 | -0.239
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22075 | 21941 | 134 | -134000 | -0.134 | 44107 | 43721 | 386 | -386000 | -0.386
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.114 |  |  |  |  | 12.319
| (B) NET ENERGY TO EAST | [8 empty] | 0.114 |  |  |  |  | 12.319
MAY-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1947 | 1901 | 46 | -18400 | -0.0184 | 171 | 47 | 124 | -49600 | -0.0496
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2596 | 2588 | 8 | -4000 | -0.004 | 2884 | 2319 | 565 | -282500 | -0.2825
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46037 | 45699 | 338 | -67600 | -0.0676 | 72660 | 72319 | 341 | -68200 | -0.0682
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73728 | 73459 | 269 | -26900 | -0.0269 | 139958 | 139787 | 171 | -17100 | -0.0171
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980964 | 981014 | -50 | 10000 | 0.01 | 1722 | 1916 | -194 | 38800 | 0.0388
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74459 | 74293 | 166 | -33200 | -0.0332 | 89171 | 88875 | 296 | -59200 | -0.0592
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7268 | 7187 | 81 | -64800 | -0.0648 | 1633 | 1190 | 443 | -354400 | -0.3544
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13727 | 13736 | -9 | 18000 | 0.018 | 1086 | 917 | 169 | -338000 | -0.338
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983109 | 983129 | -20 | 16000 | 0.016 | 992602 | 992924 | -322 | 257600 | 0.2576
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987571 | 987637 | -66 | 52800 | 0.0528 | 993498 | 994510 | -1012 | 809600 | 0.8096
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993777 | 993823 | -46 | 36800 | 0.0368 | 997023 | 997472 | -449 | 359200 | 0.3592
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992428 | 992460 | -32 | 32000 | 0.032 | 37091 | 37338 | -247 | 247000 | 0.247
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993104 | 993125 | -21 | 27999.93 | 0.028 | 999340 | 999517 | -177 | 235999.41 | 0.236
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1764 | 1758 | 6 | -6000 | -0.006 | 21674 | 21255 | 419 | -419000 | -0.419
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 212 | 200 | 12 | -12000 | -0.012 | 1918 | 1930 | -12 | 12000 | 0.012
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1282 | 1214 | 68 | -68000 | -0.068 | 60947 | 60903 | 44 | -44000 | -0.044
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5629 | 0 | 0 | 0 | 29272 | 29000 | 272 | -136000 | -0.136
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3786 | 3784 | 2 | -1000 | -0.001 | 27152 | 26815 | 337 | -168500 | -0.1685
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6013 | 5808 | 205 | -102500 | -0.1025 | 14601 | 14555 | 46 | -23000 | -0.023
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1010 | 924 | 86 | -57333.3333 | -0.057333 | 579 | 557 | 22 | -14666.6667 | -0.014667
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149266 | 149082 | 184 | -18400 | -0.0184 | 23639 | 23915 | -276 | 27600 | 0.0276
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21574 | 21564 | 10 | -1000 | -0.001 | 42025 | 41560 | 465 | -46500 | -0.0465
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993037 | 993065 | -28 | 2800 | 0.0028 | 5895 | 5900 | -5 | 500 | 0.0005
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7788 | 7795 | -7 | 700 | 0.0007 | 15331 | 15336 | -5 | 500 | 0.0005
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23520 | 23322 | 198 | -19800 | -0.0198 | 54290 | 54106 | 184 | -18400 | -0.0184
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4517 | 4449 | 68 | -6800 | -0.0068 | 999996 | 1000005 | -9 | 900 | 0.0009
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998630 | 998628 | 2 | -200 | -0.0002 | 126 | 130 | -4 | 400 | 0.0004
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 20341 | 20062 | 279 | -27900 | -0.0279 | 72130 | 71977 | 153 | -15300 | -0.0153 | Data upto 19/05/2014
[10 empty] | -0.0176 |  |  |  |  | -0.0096
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 15830 | 15526 | 304 | -30400 | -0.0304 | 62968 | 62732 | 236 | -23600 | -0.0236
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2473 | 2368 | 105 | -10500 | -0.0105 | 175 | 29 | 146 | -14600 | -0.0146
[10 empty] | -0.39723 |  |  |  |  | -0.11207
MAY-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.2766 |  |  |  |  | -2.692
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.39723 |  |  |  |  | -0.11207
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.5912 |  |  |  |  | 0.0098
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.265 |  |  |  |  | -2.7943
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.114 |  |  |  |  | 12.319
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.151 |  |  |  |  | 9.5247
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.151 | (REACTIVE MUs) |  |  |  | 9.5247 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.25404 | (REACTIVE MUs) |  |  |  | -0.54245 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.4051 | (REACTIVE MUs) |  |  |  | 8.9823 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997963 | 997963 | 0 | 0 | 0 | 8801 | 8801 | 0 | 0 | 0
[10 empty] | -0.055 |  |  |  |  | -0.12 | metering not in ordert till 17/5/2014
| BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999989 | 1000000 | -11 | -55000 | -0.055 | 0 | 0 | 0 | 0 | 0 | wef 17/5/14
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986115 | 986062 | 53 | 70666.49 | 0.070666 | 673912 | 673931 | -19 | -25333.27 | -0.025333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7474 | 7167 | 307 | 307000 | 0.307 | 65445 | 65293 | 152 | 152000 | 0.152
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12452 | 115 | 115000 | 0.115 | 999604 | 999613 | -9 | -9000 | -0.009
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10653 | 10385 | 268 | 26800 | 0.0268 | 126354 | 126249 | 105 | 10500 | 0.0105
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 747900 | 747001 | 899 | 67425 | 0.067425 | 48814 | 49353 | -539 | -40425 | -0.040425
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 5458 | 6358 | -900 | -90000 | -0.09 | 392860 | 392859 | 1 | 100 | 0.0001
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961777 | 962478 | -701 | 701000 | 0.701 | 7111 | 7115 | -4 | 4000 | 0.004
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 67 | 0 | 67 | -33500 | 0.31545 | 999707 | 1000000 | -293 | 146500 | 0.0018 | w.e.f from 22/05/2014
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987791 | 987821 | -30 | 30000 | 0.03 | 950708 | 950992 | -284 | 284000 | 0.284
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999907 | 1000009 | -102 | 102000 | 0.102 | 999379 | 999897 | -518 | 518000 | 0.518
[10 empty] | 0.009 |  |  |  |  | -0.103 | Assessment for April 2014
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992417 | 992502 | -85 | 85000 | 0.085 | 949379 | 950119 | -740 | 740000 | 0.74
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987216 | 987376 | -160 | 160000 | 0.16 | 979599 | 980380 | -781 | 781000 | 0.781
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25050 | 24881 | 169 | -169000 | -0.169 | 985104 | 985415 | -311 | 311000 | 0.311
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24931 | 24655 | 276 | -276000 | -0.276 | 999413 | 999985 | -572 | 572000 | 0.572
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1081 | 786 | 295 | -295000 | -0.295 | 999318 | 999446 | -128 | 128000 | 0.128
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5356 | 4748 | 608 | -608000 | -0.608 | 135 | 1626 | -1491 | 1491000 | 1.491
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22228 | 21981 | 247 | -247000 | -0.247 | 6045 | 6205 | -160 | 160000 | 0.16
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2384 | 1077 | 1307 | -1307000 | -1.307 | 999782 | 999924 | -142 | 142000 | 0.142
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10527 | 10500 | 27 | 27000 | 0.027 | 7221 | 7095 | 126 | 126000 | 0.126
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999174 | 999517 | -343 | 343000 | 0.343 | 998488 | 999912 | -1424 | 1424000 | 1.424
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953334 | 953575 | -241 | 241000 | 0.241 | 854844 | 856996 | -2152 | 2152000 | 2.152
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999351 | 999471 | -120 | 120000 | 0.12 | 970941 | 971372 | -431 | 431000 | 0.431
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995263 | 995442 | -179 | 179000 | 0.179 | 953883 | 954351 | -468 | 468000 | 0.468
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8198 | 8352 | -154 | 154000 | 0.154 | 40584 | 40992 | -408 | 408000 | 0.408
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998404 | 998461 | -57 | 57000 | 0.057 | 889678 | 889779 | -101 | 101000 | 0.101 | Data upto 19/05/2014
[10 empty] | 0.036 |  |  |  |  | 0.063 | Assessment
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997065 | 997120 | -55 | 55000 | 0.055 | 868679 | 869010 | -331 | 331000 | 0.331
BRPL(+) continue | [14 empty] | MAY-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995622 | 995520 | 102 | -102000 | -0.102 | 972456 | 972396 | 60 | -60000 | -0.06
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997457 | 997417 | 40 | -40000 | -0.04 | 988625 | 988229 | 396 | -396000 | -0.396
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996885 | 996840 | 45 | -90000 | -0.09 | 970005 | 970067 | -62 | 124000 | 0.124
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994992 | 995038 | -46 | 46000 | 0.046 | 914349 | 914861 | -512 | 512000 | 0.512
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995070 | 995070 | 0 | 0 | 0 | 927980 | 927980 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998567 | 998611 | -44 | 44000 | 0.044 | 999134 | 999814 | -680 | 680000 | 0.68
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989801 | 989932 | -131 | 131000 | 0.131 | 997572 | 999670 | -2098 | 2098000 | 2.098
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 977676 | 978022 | -346 | 230666.436 | 0.23067 | 983985 | 984337 | -352 | 234666.432 | 0.23467
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 975373 | 976553 | -1180 | 786665.88 | 0.78667 | 971752 | 971784 | -32 | 21333.312 | 0.021333
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2274 | 13 | -26000 | -0.026 | 1568 | 1524 | 44 | -88000 | -0.088
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999289 | 999270 | 19 | -38000 | -0.038 | 699 | 664 | 35 | -70000 | -0.07
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939204 | 939362 | -158 | 158000 | 0.158 | 995000 | 995645 | -645 | 645000 | 0.645
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949660 | 949831 | -171 | 171000 | 0.171 | 995122 | 995830 | -708 | 708000 | 0.708
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994033 | 994033 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25228 | 24563 | 665 | 532000 | 0.532 | 1104 | 1045 | 59 | 47200 | 0.0472
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 932415 | 934265 | -1850 | -1480000 | -1.48 | 999692 | 999692 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992428 | 992460 | -32 | -32000 | -0.032 | 37091 | 37338 | -247 | -247000 | -0.247
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993104 | 993125 | -21 | -27999.93 | -0.028 | 999340 | 999517 | -177 | -235999.41 | -0.236
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15441 | 15209 | 232 | -232000 | -0.232 | 975024 | 975082 | -58 | 58000 | 0.058
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9516 | 9589 | -73 | 73000 | 0.073 | 989668 | 989739 | -71 | 71000 | 0.071
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16736 | 16549 | 187 | 18700 | 0.0187 | 14522 | 14353 | 169 | 16900 | 0.0169
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11058 | 10914 | 144 | 14400 | 0.0144 | 61504 | 61506 | -2 | -200 | -0.0002
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944327 | 944794 | -467 | -467000 | -0.467 | 992396 | 992433 | -37 | -37000 | -0.037
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 394 | 377 | 17 | -1275 | -0.001275 | 817 | 521 | 296 | -22200 | -0.0222
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9893 | 9769 | 124 | 12400 | 0.0124 | 22576 | 21833 | 743 | 74300 | 0.0743
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.2191 |  |  |  |  | 14.6356
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 39051 | 36375 | 2676 | -267600 | -0.2676 | 902650 | 901496 | 1154 | -115400 | -0.1154
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 106321 | 105987 | 334 | -33400 | -0.0334 | 1606 | 1617 | -11 | 1100 | 0.0011
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 126583 | 124016 | 2567 | -256700 | -0.2567 | 2661 | 2383 | 278 | -27800 | -0.0278
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996508 | 996360 | 148 | -14800 | -0.0148 | 999977 | 999978 | -1 | 100 | 0.0001
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996665 | 996661 | 4 | -400 | -0.0004 | 999921 | 999920 | 1 | -100 | -0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1757 | 1694 | 63 | -126000 | -0.126 | 73347 | 73243 | 104 | -208000 | -0.208
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9712 | 9233 | 479 | -479000 | -0.479 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 901893 | 901307 | 586 | -293000 | -0.293 | 54517 | 54462 | 55 | -27500 | -0.0275
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 64934 | 64707 | 227 | -22700 | -0.0227 | 59918 | 59039 | 879 | -87900 | -0.0879
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63622 | 63431 | 191 | -19100 | -0.0191 | 57488 | 56955 | 533 | -53300 | -0.0533
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85367 | 85301 | 66 | -13200 | -0.0132 | 113825 | 112997 | 828 | -165600 | -0.1656
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 190 | 332 | -142 | -71000 | -0.071 | 17556 | 17749 | -193 | -96500 | -0.0965
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3150 | 3150 | 0 | 0 | 0 | 979490 | 979490 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 989435 | 989642 | -207 | -34500 | -0.0345 | 993684 | 993688 | -4 | -666.6667 | -0.00066667
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 302122 | 301800 | 322 | -32200 | -0.0322 | 46221 | 44785 | 1436 | -143600 | -0.1436
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3891 | 3891 | 0 | 0 | 0 | 18510 | 18510 | 0 | 0 | 0
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 2172 | 1929 | 243 | -24300 | -0.0243 | 78741 | 79447 | -706 | 70600 | 0.0706
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9435 | 9465 | -30 | 3000 | 0.003 | 29071 | 29111 | -40 | 4000 | 0.004
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10872 | 10701 | 171 | -17100 | -0.0171 | 53228 | 52780 | 448 | -44800 | -0.0448
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16575 | 16306 | 269 | -26900 | -0.0269 | 56643 | 55928 | 715 | -71500 | -0.0715
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 43012 | 42990 | 22 | -2200 | -0.0022 | 20088 | 18907 | 1181 | -118100 | -0.1181
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17342 | 17346 | -4 | 400 | 0.0004 | 17870 | 17028 | 842 | -84200 | -0.0842
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998319 | 998341 | -22 | 977.68 | 0.00097768 | 324 | 277 | 47 | -2088.68 | -0.0020887
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 48 | 43 | 5 | 2000 | 0.002
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999404 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.7297 |  |  |  |  | -1.1693
MAY-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.2191 |  |  |  |  | 14.6356
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.7297 |  |  |  |  | -1.1693
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.5815 |  |  |  |  | 0.96214
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0081 |  |  |  |  | -0.4836
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.37539 |  |  |  |  | 13.9449
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.37539 | (REACTIVE MUs) |  |  |  | 13.9449 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.44447 | (REACTIVE MUs) |  |  |  | -0.9491 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.81986 | (REACTIVE MUs) |  |  |  | 12.9958 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46037 | 45699 | 338 | 67600 | 0.0676 | 72660 | 72319 | 341 | 68200 | 0.0682
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73728 | 73459 | 269 | 26900 | 0.0269 | 139958 | 139787 | 171 | 17100 | 0.0171
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980964 | 981014 | -50 | -10000 | -0.01 | 1722 | 1916 | -194 | -38800 | -0.0388
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74459 | 74293 | 166 | 33200 | 0.0332 | 89171 | 88875 | 296 | 59200 | 0.0592
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7268 | 7187 | 81 | 64800 | 0.0648 | 1633 | 1190 | 443 | 354400 | 0.3544
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13727 | 13736 | -9 | -18000 | -0.018 | 1086 | 917 | 169 | 338000 | 0.338
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983109 | 983129 | -20 | -16000 | -0.016 | 992602 | 992924 | -322 | -257600 | -0.2576
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987571 | 987637 | -66 | -52800 | -0.0528 | 993498 | 994510 | -1012 | -809600 | -0.8096
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993777 | 993823 | -46 | -36800 | -0.0368 | 997023 | 997472 | -449 | -359200 | -0.3592
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999005 | 999006 | -1 | -100 | -0.0001 | 364911 | 364016 | 895 | 89500 | 0.0895
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12879 | 12236 | 643 | 64300 | 0.0643 | 355551 | 354819 | 732 | 73200 | 0.0732
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5274 | 5300 | -26 | -2600 | -0.0026 | 352128 | 351008 | 1120 | 112000 | 0.112
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997660 | 997754 | -94 | -9400 | -0.0094 | 296881 | 295801 | 1080 | 108000 | 0.108
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000006 | 999881 | 125 | 12500 | 0.0125 | 175856 | 175798 | 58 | 5800 | 0.0058
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
| Assessment | [8 empty] | 0.0438 |  |  |  |  | 0.0325
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 79116 | 77088 | 2028 | 2230800 | 2.2308
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2315 | 2293 | 22 | 22000 | 0.022 | 38517 | 37995 | 522 | 522000 | 0.522
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149489 | 147663 | 1826 | 2008600 | 2.0086
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6667 | 6709 | -42 | -42000 | -0.042 | 53567 | 53297 | 270 | 270000 | 0.27
[10 empty] | -0.02 |  |  |  |  | 5.0314
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1757 | 1694 | 63 | 126000 | 0.126 | 73347 | 73243 | 104 | 208000 | 0.208
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9712 | 9233 | 479 | 479000 | 0.479 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 901893 | 901307 | 586 | 293000 | 0.293 | 54517 | 54462 | 55 | 27500 | 0.0275
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 190 | 332 | -142 | 71000 | 0.071 | 17556 | 17749 | -193 | 96500 | 0.0965
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3150 | 3150 | 0 | 0 | 0 | 979490 | 979490 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 989435 | 989642 | -207 | 34500 | 0.0345 | 993684 | 993688 | -4 | 666.6667 | 0.00066667
MAY-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982942 | 982964 | -22 | 22000 | 0.022 | 988459 | 990308 | -1849 | 1849000 | 1.849
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981006 | 981545 | -539 | 539000 | 0.539 | 989188 | 990763 | -1575 | 1575000 | 1.575
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996565 | 996565 | 0 | 0 | 0 | 29 | 29 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 302122 | 301800 | 322 | 32200 | 0.0322 | 46221 | 44785 | 1436 | 143600 | 0.1436
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3891 | 3891 | 0 | 0 | 0 | 18510 | 18510 | 0 | 0 | 0
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 64934 | 64707 | 227 | 22700 | 0.0227 | 59918 | 59039 | 879 | 87900 | 0.0879
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63622 | 63431 | 191 | 19100 | 0.0191 | 57488 | 56955 | 533 | 53300 | 0.0533
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85367 | 85301 | 66 | 13200 | 0.0132 | 113825 | 112997 | 828 | 165600 | 0.1656
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 39051 | 36375 | 2676 | 267600 | 0.2676 | 902650 | 901496 | 1154 | 115400 | 0.1154
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 394 | 377 | 17 | -1275 | -0.001275 | 817 | 521 | 296 | -22200 | -0.0222
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9893 | 9769 | 124 | -12400 | -0.0124 | 22576 | 21833 | 743 | -74300 | -0.0743
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.053 |  |  |  |  | 9.0501
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.053 |  |  |  |  | 9.0501
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.053316 |  |  |  |  | -0.11385
| TOTAL ENERGY TO NDMC | [8 empty] | 1.9997 |  |  |  |  | 8.9362

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1349 | 8 | 8000 | 0.008 | 24072 | 23506 | 566 | 566000 | 0.566
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 966 | 6 | 6000 | 0.006 | 26524 | 26140 | 384 | 384000 | 0.384
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 34096 | 33966 | 130 | 130000 | 0.13
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 883 | 11 | 11000 | 0.011 | 18827 | 18421 | 406 | 406000 | 0.406
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4177 | 4148 | 29 | 29000 | 0.029 | 10242 | 10180 | 62 | 62000 | 0.062
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11662 | 11666 | -4 | -2000 | -0.002 | 58528 | 58531 | -3 | -1500 | -0.0015
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996508 | 996360 | 148 | 14800 | 0.0148 | 999977 | 999978 | -1 | -100 | -0.0001
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996665 | 996661 | 4 | 400 | 0.0004 | 999921 | 999920 | 1 | 100 | 0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0672 |  |  |  |  | 1.5465
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 46635 | 46574 | 61 | 6100 | 0.0061 | 73601 | 72328 | 1273 | 127300 | 0.1273
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73744 | 73729 | 15 | 1500 | 0.0015 | 11824 | 11222 | 602 | 60200 | 0.0602
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 46029 | 46027 | 2 | 200 | 0.0002 | 63754 | 61039 | 2715 | 271500 | 0.2715
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84338 | 84335 | 3 | 300 | 0.0003 | 58694 | 58448 | 246 | 24600 | 0.0246
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6914 | 6913 | 1 | 100 | 0.0001 | 2366 | 2080 | 286 | 28600 | 0.0286
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0081 |  |  |  |  | 0.4836
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0081 |  |  |  |  | 0.4836
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0672 |  |  |  |  | 1.5465
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0753 |  |  |  |  | 2.0301
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0753 | (REACTIVE MUs) |  |  |  | 2.0301 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0083758 | (REACTIVE MUs) |  |  |  | -0.017885 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.066924 | (REACTIVE MUs) |  |  |  | 2.0122 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 6022 | 3864 | 2158 | 215800 | 0.2158 | 79185 | 79138 | 47 | 4700 | 0.0047 | Check meter data used
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2170 | 2310 | -140 | -14000 | -0.014 | 999181 | 999195 | -14 | -1400 | -0.0014
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 256043 | 253450 | 2593 | 259300 | 0.2593 | 98767 | 98398 | 369 | 36900 | 0.0369
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 33538 | 32353 | 1185 | 1110937.5 | 1.1109 | 18520 | 18511 | 9 | 8437.5 | 0.0084375
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985218 | 985230 | -12 | 6000 | 0.006 | 922240 | 923633 | -1393 | 696500 | 0.6965
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989211 | 989218 | -7 | 3500 | 0.0035 | 978791 | 979228 | -437 | 218500 | 0.2185
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 999984 | 999989 | -5 | -1500 | -0.0015
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.5815 |  |  |  |  | 0.96214
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 927221 | 928042 | -821 | -164200 | -0.1642 | 991799 | 991755 | 44 | 8800 | 0.0088
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 976856 | 978991 | -2135 | -427000 | -0.427 | 179 | 174 | 5 | 1000 | 0.001
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.5912 |  |  |  |  | 0.0098
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 243412 | 239009 | 4403 | 880600 | 0.8806 | 263993 | 263970 | 23 | 4600 | 0.0046
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 111933 | 111888 | 45 | 9000 | 0.009 | 41648 | 41610 | 38 | 7600 | 0.0076
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 183881 | 184027 | -146 | -14600 | -0.0146 | 72681 | 72611 | 70 | 7000 | 0.007
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990417 | 990452 | -35 | -35000 | -0.035 | 998457 | 998437 | 20 | 20000 | 0.02
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 961777 | 962478 | -701 | -70100 | -0.0701 | 7111 | 7115 | -4 | -400 | -0.0004
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999181 | 999182 | -1 | -937.5 | -0.0009375 | 999327 | 999490 | -163 | -152812.5 | -0.15281
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 986050 | 986279 | -229 | 143125 | 0.14313 | 995534 | 995536 | -2 | 1250 | 0.00125
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 999984 | 999989 | -5 | 1500 | 0.0015
| TOTAL NDPL | [8 empty] | 0.91209 |  |  |  |  | -0.11126
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.5815 |  |  |  |  | 0.96214
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.5912 |  |  |  |  | 0.0098
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.91209 |  |  |  |  | -0.11126

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 5939 | 5717 | 222 | 444000 | 0.444 | 663 | 529 | 134 | 268000 | 0.268
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15121 | 15056 | 65 | 130000 | 0.13 | 2100 | 2203 | -103 | -206000 | -0.206
[7 empty] | NET REACTIVE ENERGY |  |  | 0.574 |  | NET REACTIVE ENERGY |  |  | 0.062
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992459 | 992711 | -252 | -252000 | -0.252 | 39519 | 39534 | -15 | -15000 | -0.015
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995124 | 995848 | -724 | -724000 | -0.724 | 994021 | 994031 | -10 | -10000 | -0.01
[7 empty] | NET REACTIVE ENERGY |  |  | -0.976 |  | NET REACTIVE ENERGY |  |  | -0.025
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.402 |  |  |  |  | 0.037
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.6568 |  |  |  |  | -7.372
[7 empty] | NDMC = |  |  | -0.02 |  |  |  |  | 5.0314
MES =
[7 empty] | 2)TOTAL |  |  | -0.6768 |  |  |  |  | -2.3406
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -1.0788 |  |  |  |  | -2.3036
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.5326 | % |  |  | -0.3186 |  |  |  |  | -0.68031
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.2008 | % |  |  | -0.44447 |  |  |  |  | -0.9491
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.548 | % |  |  | -0.25404 |  |  |  |  | -0.54245
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9422 | % |  |  | -0.053316 |  |  |  |  | -0.11385
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7764 | % |  |  | -0.0083758 |  |  |  |  | -0.017885
Note :Sharing taken from wk-04 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2014 TO 31st MAY-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.2999 | + | 3.9624
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.81986 | + | 12.9958
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.4051 | + | 8.9823
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.9997 | + | 8.9362
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.066924 | + | 2.0122
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2014 | INTIAL READING 01/05/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953238 | 953238 | 0 | 0 | 0 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 995294 | 995593 | -299 | -448500 | -0.4485 | 995975 | 995975 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 904014 | 904461 | -447 | -670500 | -0.6705 | 966238 | 966279 | -41 | -61500 | -0.0615
[8 empty] | NET REACTIVE ENERGY |  | -1.119 |  |  | NET REACTIVE ENERGY |  | -0.0615
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997875 | -1 | -5000 | -0.005 | 30857 | 30899 | -42 | -210000 | -0.21
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999725 | 999702 | 23 | 23000 | 0.023 | 2761 | 2858 | -97 | -97000 | -0.097
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974628 | 974722 | -94 | -94000 | -0.094 | 989911 | 990094 | -183 | -183000 | -0.183
[8 empty] | NET REACTIVE ENERGY |  | -0.076 |  |  | NET REACTIVE ENERGY |  | -0.49