## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 366 | 40 | 326 | -326000 | -0.326 | 999323 | 999385 | -62 | 62000 | 0.062
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93076 | 93054 | 22 | -44000 | -0.044 | 5074 | 5070 | 4 | -8000 | -0.008
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14633 | 14661 | -28 | 28000 | 0.028 | 999800 | 999876 | -76 | 76000 | 0.076
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68460 | 68430 | 30 | -30000 | -0.03 | 112069 | 111987 | 82 | -82000 | -0.082
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999578 | 999578 | 0 | 0 | 0 | 984882 | 985352 | -470 | 470000 | 0.47
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917734 | 917734 | 0 | 0 | 0 | 33709 | 31879 | 1830 | -1830000 | -1.83
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21247 | 21322 | -75 | 75000 | 0.075 | 999678 | 999678 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31567 | 31633 | -66 | 66000 | 0.066 | 997799 | 997799 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21503 | 21369 | 134 | -134000 | -0.134 | 996588 | 996592 | -4 | 4000 | 0.004
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 154 | 77 | 77 | -38500 | -0.0385 | 813326 | 813342 | -16 | 8000 | 0.008
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4111 | 4143 | -32 | 32000 | 0.032 | 998376 | 998376 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17013 | 16815 | 198 | -198000 | -0.198 | 999433 | 999433 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54353 | 54485 | -132 | 132000 | 0.132 | 996496 | 996496 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 718415 | 720685 | -2270 | -2270000 | -2.27 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 783468 | 785384 | -1916 | -958000 | -0.958 | 999990 | 999990 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14960 | 14960 | 0 | 0 | 0 | 998247 | 998435 | -188 | 188000 | 0.188
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77352 | 77347 | 5 | -2500 | -0.0025 | 73 | 88 | -15 | 7500 | 0.0075
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60441 | 60431 | 10 | -10000 | -0.01 | 999069 | 999038 | 31 | -31000 | -0.031
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 987306 | 987136 | 170 | 170000 | 0.17
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999698 | 999693 | 5 | 20000 | 0.02
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1993 | 1993 | 0 | 0 | 0 | 16547 | 16218 | 329 | 164500 | 0.1645
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91264 | 91190 | 74 | 3700 | 0.0037 | 264033 | 259522 | 4511 | 225550 | 0.22555
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 994211 | 994591 | -380 | -380000 | -0.38
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999159 | 0 | 0 | 0 | 996546 | 996824 | -278 | -278000 | -0.278
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15 | 8 | 7 | 7000 | 0.007 | 999989 | 999987 | 2 | 2000 | 0.002
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986506 | 986512 | -6 | -6000 | -0.006 | 997905 | 997932 | -27 | -27000 | -0.027
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 902975 | 902978 | -3 | -1500 | -0.0015 | 999282 | 999361 | -79 | -39500 | -0.0395
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993263 | 993225 | 38 | 10133.46 | 0.010133 | 376 | 365 | 11 | 2933.37 | 0.0029334
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2200 | 0 | 0 | 0 | 2114 | 1924 | 190 | 95000 | 0.095
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54797 | 54798 | -1 | 1000 | 0.001 | 995678 | 995713 | -35 | 35000 | 0.035
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 224 | 124 | 100 | -100000 | -0.1 | 999901 | 999916 | -15 | 15000 | 0.015
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 23134 | 22829 | 305 | -610000 | -0.61 | 999549 | 999548 | 1 | -2000 | -0.002
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74545 | 74090 | 455 | -455000 | -0.455 | 996345 | 996532 | -187 | 187000 | 0.187
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 4843 | 4221 | 622 | -2488000 | -2.488 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 155030 | 152839 | 2191 | -2191000 | -2.191 | 998447 | 998447 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 283243 | 275885 | 7358 | -2452642.14 | -2.4526 | 247 | 247 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 28977 | 26405 | 2572 | -5144000 | -5.144 | 999998 | 999998 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39936 | 39679 | 257 | -514000 | -0.514 | 534 | 525 | 9 | -18000 | -0.018
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119309 | 118837 | 472 | -472000 | -0.472 | 2242 | 2208 | 34 | -34000 | -0.034
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7480000 | 7480000 | 0 | 0 | 0 | 2384000 | 2288000 | 96000 | -96000 | -0.096
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19881000 | 19872000 | 9000 | -9000 | -0.009 | 2415000 | 2374000 | 41000 | -41000 | -0.041
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20846 | 20842 | 4 | -4000 | -0.004 | 997715 | 997714 | 1 | -1000 | -0.001
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54668 | 54668 | 0 | 0 | 0 | 1079 | 1186 | -107 | 107000 | 0.107
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998070 | 998113 | -43 | -43000 | -0.043 | 24806 | 24820 | -14 | -14000 | -0.014
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | AUGUST-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999990 | 999990 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3162 | 0 | 0 | 0 | 35723 | 35381 | 342 | 34200 | 0.0342
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 628 | 620 | 8 | 10664 | 0.010664
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 2 | 0 | 2 | 200 | 0.0002 | 2480 | 1729 | 751 | 75100 | 0.0751
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1928 | 1927 | 1 | 100 | 0.0001 | 8466 | 8070 | 396 | 39600 | 0.0396
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999775 | 999775 | 0 | 0 | 0 | 2429 | 2418 | 11 | 5500 | 0.0055
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 27 | 26 | 1 | 500 | 0.0005 | 292 | 288 | 4 | 2000 | 0.002
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1114 | 1102 | 12 | 6000 | 0.006 | 1550 | 1538 | 12 | 6000 | 0.006
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992957 | 992958 | -1 | -100 | -0.0001 | 2878 | 2856 | 22 | 2200 | 0.0022
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9407 | 9385 | 22 | 2200 | 0.0022 | 15953 | 15652 | 301 | 30100 | 0.0301
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14890 | 14713 | 177 | 17700 | 0.0177 | 6321 | 6242 | 79 | 7900 | 0.0079
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 32883 | 32732 | 151 | 15100 | 0.0151 | 11346 | 11297 | 49 | 4900 | 0.0049
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61837 | 61708 | 129 | 12900 | 0.0129 | 2514 | 2512 | 2 | 200 | 0.0002
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 126 | 104 | 22 | 2933.26 | 0.0029333 | 939 | 906 | 33 | 4399.89 | 0.0043999
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 42 | 43 | -1 | 400 | 0.0004
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999892 | 999893 | -1 | -400 | -0.0004 | 999454 | 999454 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946140 | 946149 | -9 | -7200 | -0.0072 | 999699 | 999698 | 1 | 800 | 0.0008
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992894 | 992904 | -10 | -20000 | -0.02 | 1051 | 1052 | -1 | -2000 | -0.002
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967650 | 967650 | 0 | 0 | 0 | 1902 | 2009 | -107 | -21400 | -0.0214
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992766 | 992766 | 0 | 0 | 0 | 846 | 834 | 12 | 3000 | 0.003
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981230 | 981295 | -65 | -65000 | -0.065 | 2083 | 2079 | 4 | 4000 | 0.004
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1197 | 1197 | 0 | 0 | 0 | 4406 | 4209 | 197 | 147750 | 0.14775
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -18.1814 |  |  |  |  | -0.6867
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 243 | 208 | 35 | -3500 | -0.0035 | 1375 | 1335 | 40 | -4000 | -0.004
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 371 | 359 | 12 | -9600 | -0.0096 | 638 | 638 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999988 | 1000000 | -12 | 15999.96 | 0.016 | 2 | 1 | 1 | -1333.33 | -0.0013333
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4846 | 4798 | 48 | -6399.84 | -0.0063998 | 8009 | 7988 | 21 | -2799.93 | -0.0027999
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998524 | 998564 | -40 | 7500 | 0.0075
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 897927 | 898243 | -316 | 252800 | 0.2528 | 997638 | 997649 | -11 | 8800 | 0.0088
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991506 | 991484 | 22 | -13750 | -0.01375 | 481 | 469 | 12 | -7500 | -0.0075
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999892 | 999897 | -5 | 2500 | 0.0025 | 221 | 227 | -6 | 3000 | 0.003
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992038 | 992042 | -4 | 800 | 0.0008 | 20441 | 19193 | 1248 | -249600 | -0.2496
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987895 | 987933 | -38 | 7125 | 0.007125 | 4379 | 4441 | -62 | 11625 | 0.011625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981853 | 981882 | -29 | 5437.5 | 0.0054375 | 3215 | 3248 | -33 | 6187.5 | 0.0061875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3951 | 3948 | 3 | -750 | -0.00075 | 8526 | 8517 | 9 | -2250 | -0.00225
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993335 | 993337 | -2 | 200 | 0.0002 | 30703 | 30855 | -152 | 15200 | 0.0152
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.25086 |  |  |  |  | -0.21517
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -18.1814 |  |  |  |  | -0.6867
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.25086 |  |  |  |  | -0.21517
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0013125 |  |  |  |  | -0.32575
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -17.9292 |  |  |  |  | -1.2276
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -17.9292 | (REACTIVE MUs) |  |  |  | -1.2276 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.1251 | (REACTIVE MUs) |  |  |  | 0.0025538 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.8041 | (REACTIVE MUs) |  |  |  | -1.2251 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997889 | 997889 | 0 | 0 | 0 | 995964 | 996015 | -51 | -51000 | -0.051
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998557 | 998558 | -1 | -1000 | -0.001 | 998916 | 998970 | -54 | -54000 | -0.054
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999778 | 999783 | -5 | -5000 | -0.005 | 995632 | 995504 | 128 | 128000 | 0.128
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999791 | 0 | 0 | 0 | 999458 | 999475 | -17 | -22666.61 | -0.022667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997565 | 997555 | 10 | 15000 | 0.015 | 999330 | 999323 | 7 | 10500 | 0.0105
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10530 | 10530 | 0 | 0 | 0 | 20464 | 20516 | -52 | -5200 | -0.0052
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994860 | 994850 | 10 | 10000 | 0.01 | 996112 | 996084 | 28 | 28000 | 0.028
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991734 | 991738 | -4 | -300 | -0.0003 | 992517 | 992346 | 171 | 12825 | 0.012825
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996796 | 996796 | 0 | 0 | 0 | 999036 | 999004 | 32 | 25600 | 0.0256
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988617 | 988619 | -2 | -2666.66 | -0.0026667 | 265040 | 265037 | 3 | 3999.99 | 0.004
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1015 | 1015 | 0 | 0 | 0 | 999973 | 999998 | -25 | 166666.65 | 0.16667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28646 | 28518 | 128 | -128000 | -0.128 | 996631 | 996639 | -8 | 8000 | 0.008
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5207 | 5207 | 0 | 0 | 0 | 996099 | 996219 | -120 | 240000 | 0.24
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 224 | 124 | 100 | -100000 | -0.1 | 999901 | 999916 | -15 | 15000 | 0.015
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3035 | 3035 | 0 | 0 | 0 | 994286 | 994903 | -617 | 617000 | 0.617
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141833 | 141833 | 0 | 0 | 0 | 21197 | 20731 | 466 | -466000 | -0.466
[5 empty] | -1000 | [5 empty] | 20480 | 20263 | 217 | -217000 | -0.217
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6552 | 6554 | -2 | 2000 | 0.002 | 999460 | 999655 | -195 | 195000 | 0.195
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38320 | 38320 | 0 | 0 | 0 | 1000505 | 999567 | 938 | -1876000 | -1.876
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1740 | 1754 | -14 | 28000 | 0.028 | 999698 | 999839 | -141 | 282000 | 0.282
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122600 | 122600 | 0 | 0 | 0 | 9602 | 8325 | 1277 | -1021600 | -1.0216
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121739 | 121739 | 0 | 0 | 0 | 4772 | 3730 | 1042 | -833600 | -0.8336
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944669 | 944911 | -242 | 242000 | 0.242 | 959232 | 959282 | -50 | 50000 | 0.05
[5 empty] | -1000 | 945412 | 945458 | -46 | 46000 | 0.046
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952735 | 953881 | -1146 | 2292000 | 2.292 | 991299 | 991305 | -6 | 12000 | 0.012
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 909657 | 909976 | -319 | 638000 | 0.638 | 971767 | 971781 | -14 | 28000 | 0.028
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11367 | 11624 | -257 | 257000 | 0.257 | 995924 | 995965 | -41 | 41000 | 0.041
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997221 | 997224 | -3 | 3000 | 0.003 | 997231 | 997279 | -48 | 48000 | 0.048
[11 empty] | 997279 | 998179 | -900 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980869 | 980885 | -16 | 16000 | 0.016 | 999858 | 999859 | -1 | 1000 | 0.001
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277474 | 277463 | 11 | -11000 | -0.011 | 122947 | 122543 | 404 | -404000 | -0.404
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7522 | 7521 | 1 | -2000 | -0.002 | 441 | 385 | 56 | -112000 | -0.112
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 371 | 359 | 12 | 9600 | 0.0096 | 638 | 638 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935406 | 935437 | -31 | 31000 | 0.031 | 965244 | 965292 | -48 | 48000 | 0.048
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999882 | 999909 | -27 | 27000 | 0.027 | 999519 | 999653 | -134 | 134000 | 0.134
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40768 | 40768 | 0 | 0 | 0 | 1038 | 883 | 155 | -124000 | -0.124
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62688 | 62688 | 0 | 0 | 0 | 995435 | 995348 | 87 | -139200 | -0.1392
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996237 | 996282 | -45 | 90000 | 0.09 | 987725 | 987735 | -10 | 20000 | 0.02
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 94 | 80 | 14 | -14000 | -0.014 | 998015 | 998227 | -212 | 212000 | 0.212
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23559 | 23566 | -7 | 7000 | 0.007 | 31477 | 31536 | -59 | 59000 | 0.059
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2412 | 2466 | -54 | 54000 | 0.054 | 996768 | 996785 | -17 | 17000 | 0.017
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 854 | 855 | -1 | 1000 | 0.001 | 1259 | 1430 | -171 | 171000 | 0.171
BRPL(+) continue | [14 empty] | AUGUST-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3329 | 3398 | -69 | 69000 | 0.069 | 999943 | 999943 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21903 | 21961 | -58 | 58000 | 0.058 | 343 | 343 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14075 | 15635 | -1560 | 1560000 | 1.56 | 998102 | 998102 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1139 | 1139 | 0 | 0 | 0 | 2193 | 1850 | 343 | -343000 | -0.343
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 54 | 39 | 15 | -7500 | -0.0075 | 995 | 1095 | -100 | 50000 | 0.05
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 9 | 9 | 0 | 0 | 0 | 777 | 658 | 119 | -297500 | -0.2975
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 505 | 502 | 3 | -6000 | -0.006 | 576 | 569 | 7 | -14000 | -0.014
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86021 | 86021 | 0 | 0 | 0 | 997312 | 997385 | -73 | 73000 | 0.073
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57346 | 57260 | 86 | -172000 | -0.172 | 999374 | 999375 | -1 | 2000 | 0.002
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5728 | 5633 | 95 | -142500 | -0.1425 | 21 | 20 | 1 | -1500 | -0.0015
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8804 | 8694 | 110 | -110000 | -0.11 | 999965 | 999991 | -26 | 26000 | 0.026
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996516 | 996527 | -11 | 11000 | 0.011 | 999862 | 999928 | -66 | 66000 | 0.066
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991172 | 991188 | -16 | 16000 | 0.016 | 994561 | 994618 | -57 | 57000 | 0.057
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990726 | 990754 | -28 | 28000 | 0.028 | 986867 | 986966 | -99 | 99000 | 0.099
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995229 | 995246 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970064 | 970217 | -153 | -122400 | -0.1224 | 632 | 628 | 4 | 3200 | 0.0032
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 915706 | 915802 | -96 | -76800 | -0.0768 | 999433 | 999442 | -9 | -7200 | -0.0072
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997082 | 997077 | 5 | 4000 | 0.004 | 999852 | 999845 | 7 | 5600 | 0.0056
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994584 | 994582 | 2 | 1600 | 0.0016 | 52 | 50 | 2 | 1600 | 0.0016
61 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 999822 | 999899 | -77 | -61600 | -0.0616 | 999991 | 1000000 | -9 | -7200 | -0.0072
62 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 999791 | 999886 | -95 | -76000 | -0.076 | 999987 | 999999 | -12 | -9600 | -0.0096
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986967 | 986978 | -11 | -22000 | -0.022 | 998544 | 998562 | -18 | -36000 | -0.036
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109544 | 109544 | 0 | 0 | 0 | 5389 | 4942 | 447 | -894000 | -0.894
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11514 | 11514 | 0 | 0 | 0 | 4281 | 3548 | 733 | -733000 | -0.733
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138126 | 138126 | 0 | 0 | 0 | 2962 | 2804 | 158 | -158000 | -0.158
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 243 | 208 | 35 | 3500 | 0.0035 | 1375 | 1335 | 40 | 4000 | 0.004
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998524 | 998564 | -40 | -7500 | -0.0075
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998785 | 998781 | 4 | 4000 | 0.004 | 317 | 220 | 97 | 97000 | 0.097
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998797 | 998791 | 6 | 6000 | 0.006 | 251 | 164 | 87 | 87000 | 0.087
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 897927 | 898243 | -316 | -252800 | -0.2528 | 997638 | 997649 | -11 | -8800 | -0.0088
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 568 | 550 | 18 | 18000 | 0.018 | 999981 | 999974 | 7 | 7000 | 0.007
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998797 | 998791 | 6 | 6000 | 0.006 | 251 | 164 | 87 | 87000 | 0.087
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1370 | 1210 | 160 | 16000 | 0.016
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 2348 | 1843 | 505 | 50500 | 0.0505
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9536 | 9536 | 0 | 0 | 0 | 3159 | 3165 | -6 | -3000 | -0.003
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996590 | 996590 | 0 | 0 | 0 | 4187 | 4170 | 17 | 17000 | 0.017
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981727 | 981727 | 0 | 0 | 0 | 579 | 634 | -55 | -55000 | -0.055
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7669 | 7669 | 0 | 0 | 0 | 6875 | 6814 | 61 | 61000 | 0.061
79 | PASCHIM PURI - I (L-7) | 5269778 | ELSTER | Kvarh(Lead/Lag) | 2000 | 23320 | 23320 | 0 | 0 | 0 | 988080 | 988059 | 21 | 42000 | 0.042 | Check Meter Data
|  | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 150 | 22500 | 0.0225 | w.e.f 19/8/22
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4814 | 4814 | 0 | 0 | 0 | 911660 | 911159 | 501 | 50100 | 0.0501
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999945 | 999945 | 0 | 0 | 0 | 451 | 180 | 271 | 72267.57 | 0.072268
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5550 | 5550 | 0 | 0 | 0 | 7811 | 7606 | 205 | 205000 | 0.205
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992038 | 992042 | -4 | -800 | -0.0008 | 20441 | 19193 | 1248 | 249600 | 0.2496
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987895 | 987933 | -38 | -7125 | -0.007125 | 4379 | 4441 | -62 | -11625 | -0.011625
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981853 | 981882 | -29 | -5437.5 | -0.0054375 | 3215 | 3248 | -33 | -6187.5 | -0.0061875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3951 | 3948 | 3 | 750 | 0.00075 | 8526 | 8517 | 9 | 2250 | 0.00225
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993335 | 993337 | -2 | -200 | -0.0002 | 30703 | 30855 | -152 | -15200 | -0.0152
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.2273 |  |  |  |  | -3.9074
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21957 | 21965 | -8 | 4000 | 0.004 | 5270 | 5255 | 15 | -7500 | -0.0075
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 9119 | 9689 | -570 | 75998.1 | 0.075998
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 0 | 0 | 0 | 0 | 0 | 1000176 | 999965 | 211 | -140666.737 | -0.14067
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 413 | 406 | 7 | -7000 | -0.007
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990847 | 990847 | 0 | 0 | 0 | 2506 | 2493 | 13 | -13000 | -0.013
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 37869 | 35874 | 1995 | -319200 | -0.3192
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3810 | 3810 | 0 | 0 | 0 | 17174 | 15395 | 1779 | -355800 | -0.3558
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971873 | 971873 | 0 | 0 | 0 | 999253 | 999188 | 65 | -65000 | -0.065
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999878 | 999878 | 0 | 0 | 0 | 1695 | 1465 | 230 | -23000 | -0.023
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3742 | 3742 | 0 | 0 | 0 | 4992 | 4685 | 307 | -30700 | -0.0307
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 1000407 | 999741 | 666 | 554997.78 | 0.555
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2209 | 1904 | 305 | -190625 | -0.19062
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 999990 | 999990 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3162 | 0 | 0 | 0 | 35723 | 35381 | 342 | -34200 | -0.0342
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 628 | 620 | 8 | -10664 | -0.010664
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 2 | 0 | 2 | -200 | -0.0002 | 2480 | 1729 | 751 | -75100 | -0.0751
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1928 | 1927 | 1 | -100 | -0.0001 | 8466 | 8070 | 396 | -39600 | -0.0396
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 42 | 43 | -1 | -400 | -0.0004
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999892 | 999893 | -1 | 400 | 0.0004 | 999454 | 999454 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 9319 | 9319 | 0 | 0 | 0 | 10416 | 9841 | 575 | -460000 | -0.46
|  | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | -43200 | -0.0432 | w.e.f 30/8/2022
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981230 | 981295 | -65 | 65000 | 0.065 | 2083 | 2079 | 4 | -4000 | -0.004
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1197 | 1197 | 0 | 0 | 0 | 4406 | 4209 | 197 | -147750 | -0.14775
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.0691 |  |  |  |  | -1.3364
AUGUST-2022
EXECUTIVE SUMMARY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 4.2273 |  |  |  |  | -3.9074
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.0691 |  |  |  |  | -1.3364
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.0054 |  |  |  |  | -0.090363
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.53273
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 4.3018 |  |  |  |  | -5.8669
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.3018 | (REACTIVE MUs) |  |  |  | -5.8669 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5861 | (REACTIVE MUs) |  |  |  | 0.003729 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.888 | (REACTIVE MUs) |  |  |  | -5.8631 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36255 | 36223 | 32 | 8544 | 0.008544 | 992537 | 992767 | -230 | -61410 | -0.06141
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11229 | 11229 | 0 | 0 | 0 | 1612 | 1655 | -43 | -172000 | -0.172
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24930 | 24930 | 0 | 0 | 0 | 34798 | 34687 | 111 | 14799.63 | 0.0148
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999827 | 999828 | -1 | -1000 | -0.001 | 999837 | 999818 | 19 | 19000 | 0.019
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 999944 | 999935 | 9 | 14400 | 0.0144
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18474 | 18472 | 2 | 2666.66 | 0.0026667 | 4925 | 4974 | -49 | -65333.17 | -0.065333
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999849 | 999824 | 25 | 5000 | 0.005 | 1000067 | 999982 | 85 | 17000 | 0.017
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975257 | 975331 | -74 | -74000 | -0.074 | 1219 | 1221 | -2 | -2000 | -0.002
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983613 | 983637 | -24 | -12000 | -0.012 | 281 | 278 | 3 | 1500 | 0.0015
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997475 | 997552 | -77 | -77000 | -0.077 | 999839 | 999838 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982999 | 983061 | -62 | -62000 | -0.062 | 1094 | 1094 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999948 | 999927 | 21 | 21000 | 0.021 | 3394 | 3251 | 143 | 143000 | 0.143
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993557 | 993593 | -36 | -36000 | -0.036 | 995524 | 995545 | -21 | -21000 | -0.021
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992614 | 992622 | -8 | -8000 | -0.008 | 999993 | 999987 | 6 | 6000 | 0.006
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994355 | 994296 | 59 | 47200 | 0.0472 | 7471 | 7463 | 8 | 6400 | 0.0064
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12535 | 11794 | 741 | 98797.53 | 0.098798 | 8354 | 8356 | -2 | -266.66 | -0.00026666
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999962 | 999962 | 0 | 0 | 0 | 999840 | 999840 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 473 | 522 | -49 | -49000 | -0.049 | 16908 | 16908 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 955583 | 955828 | -245 | -306250 | -0.30625 | 947184 | 947185 | -1 | -1250 | -0.00125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947341 | 947909 | -568 | -568000 | -0.568 | 933518 | 933519 | -1 | -1000 | -0.001
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992733 | 992864 | -131 | -131000 | -0.131 | 998686 | 998689 | -3 | -3000 | -0.003
| KASHMIRI GATE | [8 empty] | -1.0052 |  |  |  |  | -0.00525
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999374 | 999374 | 0 | 0 | 0 | 999091 | 999208 | -117 | 117000 | 0.117
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6475 | 6470 | 5 | -5000 | -0.005 | 997855 | 997865 | -10 | 10000 | 0.01
[5 empty] | -1000 | 978497 | 978509 | -12 | 12000 | 0.012
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 12598 | 12977 | -379 | -379000 | -0.379
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263395 | 263257 | 138 | -138000 | -0.138 | 25926 | 25914 | 12 | -12000 | -0.012
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78 | 6 | 72 | -72000 | -0.072 | 1040 | 983 | 57 | -57000 | -0.057
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8021 | 8101 | -80 | 80000 | 0.08 | 998980 | 998982 | -2 | 2000 | 0.002
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6345 | 6345 | 0 | 0 | 0 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101123 | 101064 | 59 | -59000 | -0.059 | 982674 | 982695 | -21 | 21000 | 0.021
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93376 | 93370 | 6 | -6000 | -0.006 | 333 | 332 | 1 | -1000 | -0.001
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 808 | 782 | 26 | -130000 | -0.13 | 999999 | 999999 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999988 | 1000000 | -12 | -15999.96 | -0.016 | 2 | 1 | 1 | 1333.33 | 0.0013333
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4846 | 4798 | 48 | 6399.84 | 0.0063998 | 8009 | 7988 | 21 | 2799.93 | 0.0027999
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 9119 | 9689 | -570 | -75810 | -0.07581
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975127 | 975157 | -30 | 30000 | 0.03 | 990097 | 990097 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961767 | 961752 | 15 | -15000 | -0.015 | 969105 | 969105 | 0 | 0 | 0
[5 empty] | -1000 | 973993 | 974013 | -20 | 20000 | 0.02
[5 empty] | -1000 | 974877 | 974877 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.4336 |  |  |  |  | -0.47484
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.4336 |  |  |  |  | -0.47484
AUGUST-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 5129962 | ELSTER | Kvarh(Lead/Lag) | 500 | 4032 | 4032 | 0 | 0 | 0 | 993580 | 993543 | 37 | 18500 | 0.0185 | Check Meter Data
|  | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | -5000 | -0.005 | w.e.f 23/8/2022
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981151 | 981151 | 0 | 0 | 0 | 930656 | 930579 | 77 | -77000 | -0.077
3 | Tx.3 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990770 | 990770 | 0 | 0 | 0 | 993706 | 993699 | 7 | -7000 | -0.007 | Check Meter Data
|  | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999990 | 1000000 | -10 | 10000 | 0.01 | w.e.f 23/8/2022
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999813 | 999813 | 0 | 0 | 0 | 999738 | 999764 | -26 | 26000 | 0.026
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39295 | 39238 | 57 | -57000 | -0.057 | 998013 | 997918 | 95 | -95000 | -0.095
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 16878 | 16764 | 114 | -57000 | -0.057 | 455 | 366 | 89 | -44500 | -0.0445
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999794 | 999804 | -10 | 10000 | 0.01 | 999979 | 999985 | -6 | 6000 | 0.006
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9676 | 9793 | -117 | 117000 | 0.117 | 999533 | 999480 | 53 | -53000 | -0.053
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 854 | 851 | 3 | -3000 | -0.003 | 8 | 7 | 1 | -1000 | -0.001
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991404 | 991403 | 1 | -1000 | -0.001 | 954901 | 954936 | -35 | 35000 | 0.035
11 | I/C-II | 4864937 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9135 | 9107 | 28 | -28000 | -0.028 | 992371 | 992365 | 6 | -6000 | -0.006 | Check Meter Data
|  | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 10 | -10000 | -0.01 | w.e.f 23/8/2022
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13245 | 13017 | 228 | -1140000 | -1.14 | 51 | 51 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23335 | 22311 | 1024 | -1024000 | -1.024 | 81 | 81 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5395 | 5261 | 134 | -134000 | -0.134 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.317 |  |  |  |  | -0.203
| (B) NET ENERGY TO EAST | [8 empty] | -2.317 |  |  |  |  | -0.203
AUGUST-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993263 | 993225 | 38 | -10133.46 | -0.010133 | 376 | 365 | 11 | -2933.37 | -0.0029334
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2200 | 0 | 0 | 0 | 2114 | 1924 | 190 | -95000 | -0.095
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1429 | 1478 | -49 | 13066.34 | 0.013066 | 2245 | 2251 | -6 | 1599.96 | 0.0016
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7636 | 7636 | 0 | 0 | 0 | 3017 | 3017 | 0 | 0 | 0
[10 empty] | -0.0178 |  |  |  |  | -0.00035 | Assessment
|  | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 1634 | 0 | 1634 | -163400 | -0.1634 | 23 | 0 | 23 | -2300 | -0.0023 | w.e.f 04/08/22
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 977893 | 978158 | -265 | 53000 | 0.053 | 999384 | 999380 | 4 | -800 | -0.0008
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1392 | 1442 | -50 | 50000 | 0.05 | 390 | 391 | -1 | 1000 | 0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3639 | 3628 | 11 | -8800 | -0.0088 | 4672 | 4593 | 79 | -63200 | -0.0632
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2158 | 2163 | -5 | 4000 | 0.004 | 1675 | 1683 | -8 | 6400 | 0.0064
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946117 | 946200 | -83 | 66400 | 0.0664 | 988615 | 988653 | -38 | 30400 | 0.0304
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986967 | 986978 | -11 | 22000 | 0.022 | 998544 | 998562 | -18 | 36000 | 0.036
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998070 | 998113 | -43 | 43000 | 0.043 | 24806 | 24820 | -14 | 14000 | 0.014
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999775 | 999775 | 0 | 0 | 0 | 2429 | 2418 | 11 | -5500 | -0.0055
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 27 | 26 | 1 | -500 | -0.0005 | 292 | 288 | 4 | -2000 | -0.002
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1114 | 1102 | 12 | -6000 | -0.006 | 1550 | 1538 | 12 | -6000 | -0.006
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61837 | 61708 | 129 | -12900 | -0.0129 | 2514 | 2512 | 2 | -200 | -0.0002
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 126 | 104 | 22 | -2933.26 | -0.0029333 | 939 | 906 | 33 | -4399.89 | -0.0043999
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992957 | 992958 | -1 | 100 | 0.0001 | 2878 | 2856 | 22 | -2200 | -0.0022
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9407 | 9385 | 22 | -2200 | -0.0022 | 15953 | 15652 | 301 | -30100 | -0.0301
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14890 | 14713 | 177 | -17700 | -0.0177 | 6321 | 6242 | 79 | -7900 | -0.0079
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 32883 | 32732 | 151 | -15100 | -0.0151 | 11346 | 11297 | 49 | -4900 | -0.0049
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 66790 | 65850 | 940 | 940 | 0.00094 | 307209 | 297140 | 10069 | 10069 | 0.010069
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 37520 | 36040 | 1480 | 1480 | 0.00148 | 530580 | 526870 | 3710 | 3710 | 0.00371
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 217500 | 204100 | 13400 | 13400 | 0.0134 | 1572099 | 1553900 | 18199 | 18199 | 0.018199
[10 empty] | 0.0099196 |  |  |  |  | -0.10641
AUGUST-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.4336 |  |  |  |  | -0.47484
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.0099196 |  |  |  |  | -0.10641
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.004075 |  |  |  |  | -0.24925
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.4196 |  |  |  |  | -0.83049
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.317 |  |  |  |  | -0.203
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -3.7366 |  |  |  |  | -1.0335
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.7366 | (REACTIVE MUs) |  |  |  | -1.0335 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.88116 | (REACTIVE MUs) |  |  |  | 0.0020338 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.8555 | (REACTIVE MUs) |  |  |  | -1.0315 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1429 | 1478 | -49 | -13066.83 | -0.013067 | 2245 | 2251 | -6 | -1600.02 | -0.0016
2 | BAIRD RD.2 | 4865185 | ELSTER | Kvarh(Lead/Lag) | 400 | 1955 | 1955 | 0 | 0 | 0 | 766 | 755 | 11 | 4400 | 0.0044 | Check Meter Data
|  | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 1634 | 0 | 1634 | 163400 | 0.1634 | 23 | 0 | 23 | 2300 | 0.0023 | w.e.f 4/8/22
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 977893 | 978158 | -265 | -53000 | -0.053 | 999384 | 999380 | 4 | 800 | 0.0008
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1392 | 1442 | -50 | -50000 | -0.05 | 390 | 391 | -1 | -1000 | -0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3639 | 3628 | 11 | 8800 | 0.0088 | 4672 | 4593 | 79 | 63200 | 0.0632
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2158 | 2163 | -5 | -4000 | -0.004 | 1675 | 1683 | -8 | -6400 | -0.0064
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946117 | 946200 | -83 | -66400 | -0.0664 | 988615 | 988653 | -38 | -30400 | -0.0304
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953332 | 953333 | -1 | -50 | -5e-05 | 28786 | 27137 | 1649 | 82450 | 0.08245
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999935 | 999947 | -12 | -1200 | -0.0012 | 2867 | 2675 | 192 | 19200 | 0.0192
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997792 | 997792 | 0 | 0 | 0 | 7120 | 6888 | 232 | 116000 | 0.116
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 997954 | 997954 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998687 | 998688 | -1 | -100 | -0.0001 | 6173 | 5487 | 686 | 68600 | 0.0686
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41938 | 41831 | 107 | 107000 | 0.107
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1080 | 1102 | -22 | -2200 | -0.0022 | 1715 | 1784 | -69 | -6900 | -0.0069
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994206 | 994265 | -59 | -59000 | -0.059 | 411 | 405 | 6 | 6000 | 0.006
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982100 | 982169 | -69 | -69000 | -0.069 | 2778 | 2777 | 1 | 1000 | 0.001
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998417 | 998420 | -3 | -7500 | -0.0075 | 77 | 73 | 4 | 10000 | 0.01
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995859 | 995893 | -34 | -85000 | -0.085 | 459 | 459 | 0 | 0 | 0
[10 empty] | -0.2205 |  |  |  |  | 0.017
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990847 | 990847 | 0 | 0 | 0 | 2506 | 2493 | 13 | 13000 | 0.013
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 37869 | 35874 | 1995 | 319200 | 0.3192
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3810 | 3810 | 0 | 0 | 0 | 17174 | 15395 | 1779 | 355800 | 0.3558
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971873 | 971873 | 0 | 0 | 0 | 999253 | 999188 | 65 | 65000 | 0.065
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 1000407 | 999741 | 666 | -554997.78 | -0.555
AUGUST-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996761 | 996781 | -20 | 20000 | 0.02 | 989515 | 989553 | -38 | 38000 | 0.038
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998943 | 998965 | -22 | 22000 | 0.022 | 995392 | 995422 | -30 | 30000 | 0.03
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998042 | 998048 | -6 | 12000 | 0.012 | 995351 | 995490 | -139 | 278000 | 0.278
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999949 | 999961 | -12 | 12000 | 0.012 | 992759 | 993073 | -314 | 314000 | 0.314
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2209 | 1904 | 305 | 190625 | 0.19062
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999878 | 999878 | 0 | 0 | 0 | 1695 | 1465 | 230 | 23000 | 0.023
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3742 | 3742 | 0 | 0 | 0 | 4992 | 4685 | 307 | 30700 | 0.0307
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21957 | 21965 | -8 | -4000 | -0.004 | 5270 | 5255 | 15 | 7500 | 0.0075
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 568 | 550 | 18 | -18000 | -0.018 | 999981 | 999974 | 7 | -7000 | -0.007
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999533 | 999539 | -6 | 6000 | 0.006 | 999918 | 999914 | 4 | -4000 | -0.004
AIIMS
3 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1370 | 1210 | 160 | -16000 | -0.016
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 2348 | 1843 | 505 | -50500 | -0.0505
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.18832 |  |  |  |  | 1.467
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.18832 |  |  |  |  | 1.467
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.18258 |  |  |  |  | 0.0032627
| TOTAL ENERGY TO NDMC | [8 empty] | -0.0057384 |  |  |  |  | 1.4702

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 78818 | 78534 | 284 | 56800 | 0.0568
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999894 | 999895 | -1 | -160 | -0.00016 | 32304 | 32210 | 94 | 15040 | 0.01504
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 8 | 0 | 8 | 1600 | 0.0016 | 1740 | 1091 | 649 | 129800 | 0.1298
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19296 | 19343 | -47 | -18800 | -0.0188
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999490 | 999476 | 14 | 11200 | 0.0112 | 802 | 777 | 25 | 20000 | 0.02
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2692 | 2711 | -19 | -7600 | -0.0076 | 6659 | 6673 | -14 | -5600 | -0.0056
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 0 | 0 | 0 | 0 | 0 | 1000176 | 999965 | 211 | 140666.737 | 0.14067
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 413 | 406 | 7 | 7000 | 0.007
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.00504 |  |  |  |  | 0.34491
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4047 | 4047 | 0 | 0 | 0 | 37559 | 32453 | 5106 | 191475 | 0.19148
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 1530 | 1438 | 92 | 9200 | 0.0092
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 56676 | 53276 | 3400 | 255000 | 0.255
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 5626 | 5412 | 214 | 16050 | 0.01605
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 7646 | 7036 | 610 | 61000 | 0.061
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.53273
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.00504 |  |  |  |  | 0.34491
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.00504 |  |  |  |  | 0.87763
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.00504 | (REACTIVE MUs) |  |  |  | 0.87763 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0020488 | (REACTIVE MUs) |  |  |  | 0.0007389 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.0029912 | (REACTIVE MUs) |  |  |  | 0.87837 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991506 | 991484 | 22 | 13750 | 0.01375 | 481 | 469 | 12 | 7500 | 0.0075
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999892 | 999897 | -5 | -2500 | -0.0025 | 221 | 227 | -6 | -3000 | -0.003
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 9319 | 9319 | 0 | 0 | 0 | 10416 | 9841 | 575 | 460000 | 0.46
|  | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 43200 | 0.0432 | w.e.f 30/8/2022
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 66790 | 65850 | 940 | -940 | -0.00094 | 307209 | 297140 | 10069 | -10069 | -0.010069
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 37520 | 36040 | 1480 | -1480 | -0.00148 | 530580 | 526870 | 3710 | -3710 | -0.00371
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 217500 | 204100 | 13400 | -13400 | -0.0134 | 1572099 | 1553900 | 18199 | -18199 | -0.018199
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.00457 |  |  |  |  | 0.47572
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.00011117 |  |  |  |  | 4.0095e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.0046812 |  |  |  |  | 0.47576

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996132 | 996133 | -1 | -500 | -0.0005 | 999680 | 999743 | -63 | -31500 | -0.0315
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29726 | 29727 | -1 | -100 | -0.0001 | 992350 | 993223 | -873 | -87300 | -0.0873
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16156 | 16144 | 12 | 6000 | 0.006 | 6113 | 6148 | -35 | -17500 | -0.0175
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997468 | 997468 | 0 | 0 | 0 | 999461 | 999412 | 49 | 45937.5 | 0.045937
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999453 | 999453 | 0 | 0 | 0 | 999092 | 999173 | -81 | 81000 | 0.081
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993768 | 993768 | 0 | 0 | 0 | 259 | 97 | 162 | -81000 | -0.081
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.0054 |  |  |  |  | -0.090363
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961974 | 961948 | 26 | 5200 | 0.0052 | 991609 | 991704 | -95 | -19000 | -0.019
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 61 | 67 | -6 | -1125 | -0.001125 | 995014 | 996242 | -1228 | -230250 | -0.23025
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.004075 |  |  |  |  | -0.24925
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1367 | 1364 | 3 | 3750 | 0.00375 | 998670 | 998660 | 10 | 12500 | 0.0125
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 8 | 1 | 937.5 | 0.0009375 | 999647 | 999669 | -22 | -20625 | -0.020625
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999849 | 999846 | 3 | 375 | 0.000375 | 996825 | 997014 | -189 | -23625 | -0.023625
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 618 | 619 | -1 | -3750 | -0.00375 | 143 | 153 | -10 | -37500 | -0.0375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999229 | 999229 | 0 | 0 | 0 | 999724 | 999779 | -55 | -55000 | -0.055
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978649 | 978649 | 0 | 0 | 0 | 989969 | 990188 | -219 | -219000 | -0.219
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 364 | 364 | 0 | 0 | 0 | 999805 | 999833 | -28 | 17500 | 0.0175
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.0013125 |  |  |  |  | -0.32575
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.0054 |  |  |  |  | -0.090363
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.004075 |  |  |  |  | -0.24925
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0013125 |  |  |  |  | -0.32575

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2022 | INTIAL READING 01/08/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 1238 | 902 | 336 | 672000 | 0.672 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 29041 | 28686 | 355 | 710000 | 0.71 | 1628 | 1627 | 1 | 2000 | 0.002
[5 empty] | Total reactive Energy on IBTs at GT(IBT-1 + IBT-2) X = |  |  |  |  | 1.382 |  |  |  |  | 0.002
[5 empty] | Total reactive energy on feeders at GT |  |  |  | Y = | -1.2258 |  |  |  |  | 0.01175
[5 empty] | NET REACTIVE ENERGY at GT |  |  | A = | X-Y = | 2.6078 |  |  |  |  | -0.00975
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 0.77372 |  |  |  |  | -0.0028928
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 1.083 |  |  |  |  | -0.0040492
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 0.593 |  |  |  |  | -0.0022171
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.12908 |  |  |  |  | -0.00048262
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 869163 | 871673 | -2510 | 1255000 | 1.255 | 997989 | 997989 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.255 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.36646 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.52472 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.29994 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.063879 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 179959 | 179370 | 589 | -441750 | -0.44175 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | -1000 | 72213 | 71473 | 740 | -740000 | -0.74 | 999650 | 999658 | -8 | 8000 | 0.008
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 995889 | 997424 | -1535 | 1151250 | 1.1513 | 999391 | 999395 | -4 | 3000 | 0.003
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.0305 |  |  |  |  | 0.011
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.0058804 |  |  |  |  | 0.0021208
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.0086284 |  |  |  |  | 0.0031119
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.0049013 |  |  |  |  | 0.0017677
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.0092415 |  |  |  |  | 0.003333
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.0018483 |  |  |  |  | 0.0006666
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 407504 | 414558 | -7054 | 705400 | 0.7054 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.7054 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 22 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.2351 | % |  |  | -0.0092217 |  |  |  |  | 0.0033259
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.4203 | % |  |  | -0.012938 |  |  |  |  | 0.0046662
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5747 | % |  |  | -0.0068853 |  |  |  |  | 0.0024832
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7482 | % |  |  | -0.0011432 |  |  |  |  | 0.0004123
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6573 | % |  |  | -0.00020048 |  |  |  |  | 7.2303e-05
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3645 | % |  |  | -0.00011117 |  |  |  |  | 4.0095e-05
E) | TOTAL REACTIVE ENERGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D)
1) | NDPL |  |  |  | = |  |  |  |  | 1.1251 |  |  |  |  | 0.0025538
2) | BRPL |  |  |  | = |  |  |  |  | 1.5861 |  |  |  |  | 0.003729
3) | BYPL |  |  |  | = |  |  |  |  | 0.88116 |  |  |  |  | 0.0020338
4) | NDMC |  |  |  | = |  |  |  |  | 0.18258 |  |  |  |  | 0.0032627
5) | MES |  |  |  | = |  |  |  |  | -0.0020488 |  |  |  |  | 0.0007389
6) | N.Railway |  |  |  | = |  |  |  |  | -0.00011117 |  |  |  |  | 4.0095e-05

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGIST-2022 TO 31st AUGUST-2022
FINAL EXECUTIVE SUMMARY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -16.8041 |  | -1.2251
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 5.888 |  | -5.8631
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.8555 |  | -1.0315
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.0057384 | + | 1.4702
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.0029912 | + | 0.87837
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.0046812 | + | 0.47576
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:- Reactive Energy is Provided by Metering Department