## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967809 | 969606 | -1797 | 1797000 | 1.797 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8564 | 7472 | 1092 | -1092000 | -1.092 | 178 | 173 | 5 | -5000 | -0.005
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971869 | 974950 | -3081 | 3081000 | 3.081 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999018 | 999248 | -230 | 230000 | 0.23 | 999959 | 999987 | -28 | 28000 | 0.028
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 630 | 707 | -77 | 77000 | 0.077 | 0 | 0 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24306 | 23357 | 949 | -949000 | -0.949 | 17857 | 17857 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000744 | 999958 | 786 | -786000 | -0.786 | 999997 | 999997 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12280 | 13026 | -746 | 932500 | 0.9325 | 993244 | 993244 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995482 | 996953 | -1471 | 1471000 | 1.471 | 982506 | 982506 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999989 | 1000008 | -19 | 19000 | 0.019 | 0 | 0 | 0 | 0 | 0
11 | Tx.-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 843 | 694 | 149 | -149000 | -0.149 | 0 | 0 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979890 | 981495 | -1605 | 1605000 | 1.605 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969915 | 974465 | -4550 | -4550000 | -4.55 | 999999 | 999999 | 0 | 0 | 0
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983076 | 983505 | -429 | 429000 | 0.429 | 16831 | 16835 | -4 | 4000 | 0.004
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5289 | 4898 | 391 | -391000 | -0.391 | 20177 | 20178 | -1 | 1000 | 0.001
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11606 | 10845 | 761 | -761000 | -0.761 | 0 | 0 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 97 | 109 | -12 | -2400 | -0.0024 | 981012 | 980809 | 203 | 40600 | 0.0406
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 778 | 778 | 0 | 0 | 0 | 28824 | 28858 | -34 | -34000 | -0.034
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6200 | 6034 | 166 | 16600 | 0.0166 | 169412 | 169094 | 318 | 31800 | 0.0318
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 41738 | 41249 | 489 | 48900 | 0.0489 | 251272 | 250919 | 353 | 35300 | 0.0353
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 998296 | 999074 | -778 | -778000 | -0.778
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 4003 | 4537 | -534 | -534000 | -0.534
23 | Pandav Nagar | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 999088 | 999088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | -0.0204 |  |  |  |  | 0.00015 | Assessment
|  | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999592 | 1000000 | -408 | -40800 | -0.0408 | 3 | 0 | 3 | 300 | 0.0003 | w.e.f 11/03/2016
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 628016 | 629404 | -1388 | -1388000 | -1.388 | 830233 | 830233 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 5253 | 5457 | -204 | -81600 | -0.0816 | 999007 | 999007 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5428 | 5302 | 126 | 63000 | 0.063 | 3391 | 3391 | 0 | 0 | 0
KANJAWALA
29 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24906 | 24651 | 255 | -255000 | -0.255 | 980930 | 980930 | 0 | 0 | 0
30 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11666 | 11040 | 626 | -626000 | -0.626 | 996752 | 996752 | 0 | 0 | 0
31 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995582 | 997022 | -1440 | 1440000 | 1.44 | 999999 | 999999 | 0 | 0 | 0
BAWANA
32 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4400 | 3500 | 900 | -900000 | -0.9 | 999997 | 999997 | 0 | 0 | 0
DSIDC BAWANA
33 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13990 | 8074 | 5916 | -5916000 | -5.916 | 999998 | 999999 | -1 | 1000 | 0.001
34 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7706 | 6835 | 871 | -871000 | -0.871 | 998824 | 998827 | -3 | 3000 | 0.003
35 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15878 | 13466 | 2412 | -2412000 | -2.412 | 1505 | 1503 | 2 | -2000 | -0.002
ROHINI-II
36 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5781 | 5264 | 517 | -517000 | -0.517 | 998681 | 998683 | -2 | 2000 | 0.002
37 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4755 | 3750 | 1005 | -1005000 | -1.005 | 999996 | 999996 | 0 | 0 | 0
WAZIRPUR
38 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993378 | 993543 | -165 | 165000 | 0.165 | 999480 | 999493 | -13 | 13000 | 0.013
39 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9051 | 8421 | 630 | -630000 | -0.63 | 999992 | 999992 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
40 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2073 | 2074 | -1 | -1000 | -0.001 | 24877 | 24800 | 77 | 77000 | 0.077
41 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 155 | 150 | 5 | 5000 | 0.005 | 999124 | 999417 | -293 | -293000 | -0.293
| NDPL(+) continue | [14 empty] | MARCH-2016
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
43 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 177506 | 177938 | -432 | -54000 | -0.054 | 261611 | 261553 | 58 | 7250 | 0.00725
VISHAL
44 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9225 | 9241 | -16 | -1600 | -0.0016 | 32515 | 32281 | 234 | 23400 | 0.0234
45 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11370 | 11389 | -19 | -1900 | -0.0019 | 64564 | 64410 | 154 | 15400 | 0.0154
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 496 | 439 | 57 | 5700 | 0.0057 | 1314 | 744 | 570 | 57000 | 0.057
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 10786 | 10536 | 250 | 25000 | 0.025 | 6387 | 6328 | 59 | 5900 | 0.0059
48 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16113 | 16249 | -136 | -13600 | -0.0136 | 21259 | 21218 | 41 | 4100 | 0.0041
53 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 991106 | 991510 | -404 | -17953.76 | -0.017954 | 732 | 773 | -41 | -1822.04 | -0.001822
B.G.ROAD
54 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5432 | 5434 | -2 | -1000 | -0.001 | 33448 | 33321 | 127 | 63500 | 0.0635
55 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999891 | 999897 | -6 | -3000 | -0.003 | 163 | 167 | -4 | -2000 | -0.002
56 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 7015 | 7015 | 0 | 0 | 0 | 14988 | 14988 | 0 | 0 | 0
[10 empty] | 0.0244 |  |  |  |  | 0 | Assessment
|  | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 15 | 0 | 15 | 10000.05 | 0.01 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/03/2016
57 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2435 | 2370 | 65 | 43333.3333 | 0.043333 | 1085 | 1084 | 1 | 666.6667 | 0.00066667
D.M.S.
58 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998356 | 998385 | -29 | -2900 | -0.0029 | 26 | 26 | 0 | 0 | 0
59 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999749 | 999774 | -25 | -2500 | -0.0025 | 999985 | 999986 | -1 | -100 | -0.0001
60 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23146 | 23393 | -247 | -24700 | -0.0247 | 57265 | 57243 | 22 | 2200 | 0.0022
61 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999785 | -23 | -2300 | -0.0023 | 999988 | 999990 | -2 | -200 | -0.0002
63 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
64 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1873 | 1871 | 2 | 200 | 0.0002 | 2630 | 1895 | 735 | 73500 | 0.0735
65 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 26955 | 26385 | 570 | 57000 | 0.057 | 66501 | 66470 | 31 | 3100 | 0.0031
| MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 4547 | 3934 | 613 | 61300 | 0.0613 | 109 | 64 | 45 | 4500 | 0.0045
66 | KASHMIRI GATE
67 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 184001 | 181496 | 2505 | 250500 | 0.2505 | 20593 | 20593 | 0 | 0 | 0
68 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24442 | 24307 | 135 | 13500 | 0.0135 | 47852 | 47850 | 2 | 200 | 0.0002
69 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 22 | -7 | 2100 | 0.0021 | 425 | 426 | -1 | 300 | 0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
70 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
71 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999922 | -3 | -1200 | -0.0012 | 3 | 3 | 0 | 0 | 0
MUNDKA
72 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972984 | 973563 | -579 | -463200 | -0.4632 | 254 | 254 | 0 | 0 | 0
73 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2083 | 2042 | 41 | 82000 | 0.082 | 30 | 30 | 0 | 0 | 0
PEERAGARHI
74 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999720 | 999889 | -169 | -16900 | -0.0169 | 185 | 176 | 9 | 900 | 0.0009
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -11.9959 |  |  |  |  | -1.1511
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 23207 | 22990 | 217 | -21700 | -0.0217 | 21670 | 21666 | 4 | -400 | -0.0004
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13847 | 13878 | -31 | 31000 | 0.031 | 7863 | 7863 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11691 | 11000 | 691 | -138200 | -0.1382 | 21493 | 21483 | 10 | -2000 | -0.002
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86054 | 85924 | 130 | -130000 | -0.13 | 120121 | 120117 | 4 | -4000 | -0.004
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 20235 | 20974 | -739 | 73900 | 0.0739 | 142791 | 142792 | -1 | 100 | 0.0001 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 995232 | 996169 | -937 | 749600 | 0.7496 | 999999 | 999999 | 0 | 0 | 0 | Data till 28/03
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5646 |  |  |  |  | -0.0063
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -11.9959 |  |  |  |  | -1.1511
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5646 |  |  |  |  | -0.0063
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.4459 |  |  |  |  | 0.0191
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -8.9854 |  |  |  |  | -1.1383
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.9854 | (REACTIVE MUs) |  |  |  | -1.1383 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.32743 | (REACTIVE MUs) |  |  |  | -2.6332 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.658 | (REACTIVE MUs) |  |  |  | -3.7714 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 5647 | 5346 | 301 | 30100 | 0.0301 | 699 | 235 | 464 | 46400 | 0.0464
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 2998 | 2981 | 17 | 5100 | 0.0051 | 904 | 839 | 65 | 19500 | 0.0195
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17555 | 18079 | -524 | -52400 | -0.0524 | 35808 | 34369 | 1439 | 143900 | 0.1439
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999216 | 999679 | -463 | -138900 | -0.1389 | 5326 | 5354 | -28 | -8400 | -0.0084
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1603 | 1619 | -16 | -21332.8 | -0.021333 | 2737 | 2743 | -6 | -7999.8 | -0.0079998
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33194 | 33737 | -543 | -54300 | -0.0543 | 172808 | 172772 | 36 | 3600 | 0.0036
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 17371 | 18005 | -634 | -63400 | -0.0634 | 999556 | 1000087 | -531 | -53100 | -0.0531
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989260 | 989538 | -278 | -278000 | -0.278 | 1679 | 1680 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997587 | 997676 | -89 | -89000 | -0.089 | 2880 | 2879 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 331 | 546 | -215 | -215000 | -0.215 | 1298 | 1299 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997392 | 997301 | 91 | 91000 | 0.091 | 2131 | 2126 | 5 | 5000 | 0.005
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995305 | 995662 | -357 | -357000 | -0.357 | 4876 | 4872 | 4 | 4000 | 0.004
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998676 | 998802 | -126 | -126000 | -0.126 | 999535 | 999531 | 4 | 4000 | 0.004
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999369 | 999277 | 92 | 92000 | 0.092 | 17389 | 17370 | 19 | 19000 | 0.019
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 392 | 363 | 29 | 29000 | 0.029 | 38810 | 38810 | 0 | 0 | 0 | Data till 21/03
[10 empty] | 0.009 |  |  |  |  | 0
|  | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999984 | 1000000 | -16 | -12800 | -0.0128 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/03/2016
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999708 | 999717 | -9 | -9000 | -0.009 | 28374 | 28365 | 9 | 9000 | 0.009
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1381 | 1431 | -50 | -50000 | -0.05 | 9504 | 9503 | 1 | 1000 | 0.001
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11905 | 11803 | 102 | 10200 | 0.0102 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998247 | 998204 | 43 | 43000 | 0.043 | 15144 | 15142 | 2 | 2000 | 0.002
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 975556 | 978333 | -2777 | -3818375 | -3.8184
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 686920 | 691068 | -4148 | -4562800 | -4.5628
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981118 | 981275 | -157 | -157000 | -0.157 | 8297 | 8327 | -30 | -30000 | -0.03
| KASHMIRI GATE | [8 empty] | -1.0196 |  |  |  |  | -8.3682
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950469 | 951524 | -1055 | 1055000 | 1.055 | 945635 | 945635 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960263 | 960585 | -322 | 322000 | 0.322 | 955082 | 955082 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 22 | -7 | -2100 | -0.0021 | 425 | 426 | -1 | -300 | -0.0003
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 846 | 838 | 8 | 8000 | 0.008 | 6780 | 6601 | 179 | 179000 | 0.179
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72786 | 69065 | 3721 | -3721000 | -3.721 | 974952 | 974952 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53077 | 51682 | 1395 | -1395000 | -1.395 | 970319 | 970415 | -96 | 96000 | 0.096
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994081 | 994572 | -491 | 491000 | 0.491 | 994487 | 994608 | -121 | 121000 | 0.121
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997343 | 997722 | -379 | 379000 | 0.379 | 999530 | 999549 | -19 | 19000 | 0.019
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4784 | 4613 | 171 | -342000 | -0.342 | 999596 | 999597 | -1 | 2000 | 0.002
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999291 | 999393 | -102 | 204000 | 0.204 | 999932 | 999932 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998891 | 999471 | -580 | 580000 | 0.58 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11691 | 11000 | 691 | 138200 | 0.1382 | 21493 | 21483 | 10 | 2000 | 0.002
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86054 | 85924 | 130 | 130000 | 0.13 | 120121 | 120117 | 4 | 4000 | 0.004
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94571 | 94788 | -217 | -21700 | -0.0217 | 1166 | 1061 | 105 | 10500 | 0.0105
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149698 | 150112 | -414 | -41400 | -0.0414 | 17591 | 17518 | 73 | 7300 | 0.0073
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -3.5307 |  |  |  |  | -7.7838
| (A) NET ENERGY TO CENTRAL | [8 empty] | -3.5307 |  |  |  |  | -7.7838
MARCH-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981319 | 981402 | -83 | 83000 | 0.083 | 895032 | 895601 | -569 | 569000 | 0.569
2 | Tx.2 | 4865007 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996094 | 996117 | -23 | 23000 | 0.023 | 914560 | 915011 | -451 | 451000 | 0.451 | Check Meter Data
|  | 5295149 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980160 | 980346 | -186 | 186000 | 0.186 | 960457 | 961058 | -601 | 601000 | 0.601
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996391 | 996265 | 126 | -252000 | -0.252 | 984041 | 984122 | -81 | 162000 | 0.162
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996918 | 996112 | 806 | -806000 | -0.806 | 999870 | 999869 | 1 | -1000 | -0.001
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993674 | 993720 | -46 | 46000 | 0.046 | 999589 | 999606 | -17 | 17000 | 0.017
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8257 | 8383 | -126 | 126000 | 0.126 | 984095 | 984095 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998138 | 998138 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
|  | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998364 | 1000000 | -1636 | 1636000 | 1.636 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/03/2016
10 | 100MVA Tx.4 (33 KV) | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985891 | 987273 | -1382 | 1382000 | 1.382 | 938363 | 938363 | 0 | 0 | 0 | Check Meter Data
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980141 | 980141 | 0 | 0 | 0 | 973502 | 973502 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959008 | 959320 | -312 | 312000 | 0.312 | 845820 | 847502 | -1682 | 1682000 | 1.682
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14821 | 14343 | 478 | -478000 | -0.478 | 34566 | 34566 | 0 | 0 | 0
14 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21957 | 21552 | 405 | -405000 | -0.405 | 44358 | 44358 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18679 | 18916 | -237 | 237000 | 0.237 | 994313 | 994313 | 0 | 0 | 0 | w.e.f 25/08/2015
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 2.09 |  |  |  |  | 3.481
| (B) NET ENERGY TO EAST | [8 empty] | 2.09 |  |  |  |  | 3.481
MARCH-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 5253 | 5457 | -204 | 81600 | 0.0816 | 999007 | 999007 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5428 | 5302 | 126 | -63000 | -0.063 | 3391 | 3391 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54122 | 53782 | 340 | -68000 | -0.068 | 81638 | 81611 | 27 | -5400 | -0.0054
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72573 | 72843 | -270 | 27000 | 0.027 | 139928 | 139943 | -15 | 1500 | 0.0015
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976821 | 976985 | -164 | 32800 | 0.0328 | 997286 | 997259 | 27 | -5400 | -0.0054
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 84758 | 84112 | 646 | -129200 | -0.1292 | 102434 | 102355 | 79 | -15800 | -0.0158
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14637 | 14407 | 230 | -184000 | -0.184 | 7150 | 7150 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14153 | 14105 | 48 | -96000 | -0.096 | 2927 | 2927 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977798 | 978254 | -456 | 364800 | 0.3648 | 989706 | 989706 | 0 | 0 | 0
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 971535 | 971535 | 0 | 0 | 0 | 983783 | 983783 | 0 | 0 | 0
|  | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 998179 | 1000000 | -1821 | 1456800 | 1.4568 | 999999 | 1000000 | -1 | 800 | 0.0008 | w.e.f 01/03/2016
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998329 | 999604 | -1275 | 1020000 | 1.02 | 999999 | 999999 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984423 | 985168 | -745 | 745000 | 0.745 | 994524 | 994524 | 0 | 0 | 0 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984082 | 984813 | -731 | 731000 | 0.731 | 35127 | 35162 | -35 | 35000 | 0.035
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2073 | 2074 | -1 | 1000 | 0.001 | 24877 | 24800 | 77 | -77000 | -0.077
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 155 | 150 | 5 | -5000 | -0.005 | 999124 | 999417 | -293 | 293000 | 0.293
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5432 | 5434 | -2 | 1000 | 0.001 | 33448 | 33321 | 127 | -63500 | -0.0635
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999891 | 999897 | -6 | 3000 | 0.003 | 163 | 167 | -4 | 2000 | 0.002
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 7015 | 7015 | 0 | 0 | 0 | 14988 | 14988 | 0 | 0 | 0
[10 empty] | -0.0244 |  |  |  |  | 0 | Assessment
|  | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 15 | 0 | 15 | -10000.05 | -0.01 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/03/2016
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2435 | 2370 | 65 | -43333.3333 | -0.043333 | 1085 | 1084 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 184001 | 181496 | 2505 | -250500 | -0.2505 | 20593 | 20593 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24442 | 24307 | 135 | -13500 | -0.0135 | 47852 | 47850 | 2 | -200 | -0.0002
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998356 | 998385 | -29 | 2900 | 0.0029 | 26 | 26 | 0 | 0 | 0
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999749 | 999774 | -25 | 2500 | 0.0025 | 999985 | 999986 | -1 | 100 | 0.0001
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23146 | 23393 | -247 | 24700 | 0.0247 | 57265 | 57243 | 22 | -2200 | -0.0022
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999785 | -23 | 2300 | 0.0023 | 999988 | 999990 | -2 | 200 | 0.0002
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1873 | 1871 | 2 | -200 | -0.0002 | 2630 | 1895 | 735 | -73500 | -0.0735
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 26955 | 26385 | 570 | -57000 | -0.057 | 66501 | 66470 | 31 | -3100 | -0.0031
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 4547 | 3934 | 613 | -61300 | -0.0613 | 109 | 64 | 45 | -4500 | -0.0045
[10 empty] | 3.491 |  |  |  |  | 0.081333
MARCH-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -3.5307 |  |  |  |  | -7.7838
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.491 |  |  |  |  | 0.081333
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.4704 |  |  |  |  | 0.000175
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.5102 |  |  |  |  | -7.7023
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 2.09 |  |  |  |  | 3.481
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.57983 |  |  |  |  | -4.2213
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.57983 | (REACTIVE MUs) |  |  |  | -4.2213 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.24676 | (REACTIVE MUs) |  |  |  | -1.9844 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.82659 | (REACTIVE MUs) |  |  |  | -6.2057 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999710 | 999729 | -19 | -95000 | -0.095 | 999829 | 999877 | -48 | -240000 | -0.24
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984227 | 984261 | -34 | -45333.22 | -0.045333 | 673018 | 673035 | -17 | -22666.61 | -0.022667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10010 | 10016 | -6 | -30000 | -0.03 | 71084 | 71125 | -41 | -205000 | -0.205
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14830 | 14865 | -35 | -35000 | -0.035 | 58 | 167 | -109 | -109000 | -0.109
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 9757 | 9729 | 28 | 2800 | 0.0028 | 603 | 348 | 255 | 25500 | 0.0255
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 703167 | 704178 | -1011 | -75825 | -0.075825 | 26937 | 27094 | -157 | -11775 | -0.011775
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 989947 | 990300 | -353 | -26475 | -0.026475 | 998551 | 999121 | -570 | -42750 | -0.04275
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997456 | 997528 | -72 | -64800 | -0.0648 | 998446 | 998564 | -118 | -106200 | -0.1062
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2380 | 2378 | 2 | -1000 | -0.001 | 994659 | 994666 | -7 | 3500 | 0.0035
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988804 | 988154 | 650 | -650000 | -0.65 | 948085 | 948088 | -3 | 3000 | 0.003
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996121 | 995933 | 188 | -188000 | -0.188 | 996155 | 996157 | -2 | 2000 | 0.002
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 512 | 287 | 225 | -225000 | -0.225 | 999998 | 999999 | -1 | 1000 | 0.001
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998395 | 998903 | -508 | 508000 | 0.508 | 999979 | 1000000 | -21 | 21000 | 0.021
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981942 | 981176 | 766 | -766000 | -0.766 | 969967 | 969967 | 0 | 0 | 0
16 | Tx.2 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50254 | 49073 | 1181 | -1181000 | -1.181 | 983575 | 983571 | 4 | -4000 | -0.004 | Check Meter Data
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36600 | 36479 | 121 | -121000 | -0.121 | 992396 | 992400 | -4 | 4000 | 0.004
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000072 | 999903 | 169 | -169000 | -0.169 | 999999 | 1000000 | -1 | 1000 | 0.001
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 627 | 1331 | -704 | 352000 | 0.352 | 996461 | 996462 | -1 | 500 | 0.0005
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995981 | 996903 | -922 | 922000 | 0.922 | 995523 | 995525 | -2 | 2000 | 0.002
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20086 | 20688 | -602 | 602000 | 0.602 | 1313 | 1317 | -4 | 4000 | 0.004
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12075 | 12077 | -2 | 2000 | 0.002 | 999725 | 999726 | -1 | 1000 | 0.001
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13847 | 13878 | -31 | -31000 | -0.031 | 7863 | 7863 | 0 | 0 | 0
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985908 | 986034 | -126 | 126000 | 0.126 | 993408 | 993431 | -23 | 23000 | 0.023
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993474 | 993633 | -159 | 159000 | 0.159 | 994296 | 994355 | -59 | 59000 | 0.059
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995875 | 996259 | -384 | 384000 | 0.384 | 997140 | 997140 | 0 | 0 | 0 | Data till 28/03
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991061 | 992182 | -1121 | 1121000 | 1.121 | 942426 | 942426 | 0 | 0 | 0
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999622 | 998960 | 662 | -662000 | -0.662 | 37024 | 37024 | 0 | 0 | 0
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999425 | 999800 | -375 | 375000 | 0.375 | 998110 | 998110 | 0 | 0 | 0
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996319 | 996661 | -342 | 342000 | 0.342 | 864737 | 864737 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MARCH-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996009 | 996028 | -19 | 19000 | 0.019 | 972327 | 972328 | -1 | 1000 | 0.001
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 997666 | 997712 | -46 | 23000 | 0.023 | 999218 | 999220 | -2 | 1000 | 0.001
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7674 | 7321 | 353 | -706000 | -0.706 | 969686 | 969686 | 0 | 0 | 0
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994026 | 993845 | 181 | -181000 | -0.181 | 906164 | 906172 | -8 | 8000 | 0.008
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994500 | 994500 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997915 | 997715 | 200 | -200000 | -0.2 | 991270 | 991278 | -8 | 8000 | 0.008
37 | Tx.4 | 5128469 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977108 | 977274 | -166 | 166000 | 0.166 | 981152 | 981152 | 0 | 0 | 0 | Check Meter Data
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970021 | 970183 | -162 | 107999.892 | 0.108 | 977045 | 977045 | 0 | 0 | 0
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992148 | 992536 | -388 | 970000 | 0.97 | 482 | 481 | 1 | -2500 | -0.0025
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4689 | 4552 | 137 | -274000 | -0.274 | 2025 | 2025 | 0 | 0 | 0
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1580 | 1423 | 157 | -314000 | -0.314 | 1069 | 1069 | 0 | 0 | 0
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922523 | 924136 | -1613 | 1613000 | 1.613 | 988355 | 988355 | 0 | 0 | 0
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930662 | 932389 | -1727 | 1727000 | 1.727 | 991920 | 991924 | -4 | 4000 | 0.004
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30628 | 30808 | -180 | -144000 | -0.144 | 1684 | 1682 | 2 | 1600 | 0.0016
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905880 | 907112 | -1232 | -985600 | -0.9856 | 999531 | 999534 | -3 | -2400 | -0.0024
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999896 | 999955 | -59 | -47200 | -0.0472 | 999999 | 999999 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999934 | 999939 | -5 | -5000 | -0.005 | 999999 | 999999 | 0 | 0 | 0
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984082 | 984813 | -731 | -731000 | -0.731 | 35127 | 35162 | -35 | -35000 | -0.035
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37652 | 36724 | 928 | -928000 | -0.928 | 973272 | 973272 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2670 | 2444 | 226 | -226000 | -0.226 | 46 | 25 | 21 | -21000 | -0.021
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13360 | 12573 | 787 | -787000 | -0.787 | 999999 | 999999 | 0 | 0 | 0 | from 04/01/2016
[5 empty] | -1000 | 3775 | 2324 | 1451 | -1451000 | -1.451
NARAINA
55 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 23207 | 22990 | 217 | 21700 | 0.0217 | 21670 | 21666 | 4 | 400 | 0.0004
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 20235 | 20974 | -739 | -73900 | -0.0739 | 142791 | 142792 | -1 | -100 | -0.0001 | Check Meter Data
REWARI LINE
57 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
58 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 995232 | 996169 | -937 | -749600 | -0.7496 | 999999 | 999999 | 0 | 0 | 0 | Data till 28/03
A.I.I.M.S.
59 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3540 | 3303 | 237 | 17775 | 0.017775 | 7102 | 7025 | 77 | 5775 | 0.005775
60 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1036 | 929 | 107 | 10700 | 0.0107 | 1596 | 1530 | 66 | 6600 | 0.0066
PEERGARHI
61 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999952 | 999991 | -39 | -39000 | -0.039 | 1000007 | 999993 | 14 | 14000 | 0.014
62 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 470 | 422 | 48 | 48000 | 0.048 | 170 | 159 | 11 | 11000 | 0.011
63 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998414 | 998598 | -184 | -184000 | -0.184 | 78 | 69 | 9 | 9000 | 0.009
64 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1245 | 1186 | 59 | 59000 | 0.059 | 554 | 541 | 13 | 13000 | 0.013
65 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
66 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998918 | 999053 | -135 | -13500 | -0.0135 | 163 | 86 | 77 | 7700 | 0.0077
67 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 529 | 517 | 12 | 12000 | 0.012 | 43 | 36 | 7 | 7000 | 0.007
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.7153 |  |  |  |  | -0.55382
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 135361 | 129581 | 5780 | -578000 | -0.578 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 94571 | 94788 | -217 | 21700 | 0.0217 | 1166 | 1061 | 105 | -10500 | -0.0105
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149698 | 150112 | -414 | 41400 | 0.0414 | 17591 | 17518 | 73 | -7300 | -0.0073
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996364 | 3 | -300 | -0.0003 | 134 | 135 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6307 | 6257 | 50 | -100000 | -0.1 | 73946 | 73946 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14819 | 14538 | 281 | -281000 | -0.281 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906622 | 906589 | 33 | -16500 | -0.0165 | 57005 | 56966 | 39 | -19500 | -0.0195
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79218 | 79077 | 141 | -14100 | -0.0141 | 68424 | 68418 | 6 | -600 | -0.0006
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87424 | 86584 | 840 | -84000 | -0.084 | 66999 | 66994 | 5 | -500 | -0.0005
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 17445 | 16707 | 738 | -147600 | -0.1476 | 10710 | 10633 | 77 | -15400 | -0.0154
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999574 | 999583 | -9 | -4500 | -0.0045 | 17076 | 17091 | -15 | -7500 | -0.0075
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 376813 | 371612 | 5201 | -520100 | -0.5201 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4091 | 4091 | 0 | 0 | 0 | 23741 | 23636 | 105 | -10500 | -0.0105
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 177506 | 177938 | -432 | 54000 | 0.054 | 261611 | 261553 | 58 | -7250 | -0.00725
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9225 | 9241 | -16 | 1600 | 0.0016 | 32515 | 32281 | 234 | -23400 | -0.0234
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11370 | 11389 | -19 | 1900 | 0.0019 | 64564 | 64410 | 154 | -15400 | -0.0154
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 496 | 439 | 57 | -5700 | -0.0057 | 1314 | 744 | 570 | -57000 | -0.057
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 10786 | 10536 | 250 | -25000 | -0.025 | 6387 | 6328 | 59 | -5900 | -0.0059
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16113 | 16249 | -136 | 13600 | 0.0136 | 21259 | 21218 | 41 | -4100 | -0.0041
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 991106 | 991510 | -404 | 17953.76 | 0.017954 | 732 | 773 | -41 | 1822.04 | 0.001822
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999922 | -3 | 1200 | 0.0012 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.6234 |  |  |  |  | -0.18293
MARCH-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.7153 |  |  |  |  | -0.55382
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.6234 |  |  |  |  | -0.18293
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.22108 |  |  |  |  | 0.039331
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0205 |  |  |  |  | -0.23418
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.1381 |  |  |  |  | -0.93159
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.1381 | (REACTIVE MUs) |  |  |  | -0.93159 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.43853 | (REACTIVE MUs) |  |  |  | -3.5266 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.6996 | (REACTIVE MUs) |  |  |  | -4.4582 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54122 | 53782 | 340 | 68000 | 0.068 | 81638 | 81611 | 27 | 5400 | 0.0054
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72573 | 72843 | -270 | -27000 | -0.027 | 139928 | 139943 | -15 | -1500 | -0.0015
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976821 | 976985 | -164 | -32800 | -0.0328 | 997286 | 997259 | 27 | 5400 | 0.0054
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 84758 | 84112 | 646 | 129200 | 0.1292 | 102434 | 102355 | 79 | 15800 | 0.0158
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14637 | 14407 | 230 | 184000 | 0.184 | 7150 | 7150 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14153 | 14105 | 48 | 96000 | 0.096 | 2927 | 2927 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977798 | 978254 | -456 | -364800 | -0.3648 | 989706 | 989706 | 0 | 0 | 0
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 971535 | 971535 | 0 | 0 | 0 | 983783 | 983783 | 0 | 0 | 0
|  | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 998179 | 1000000 | -1821 | -1456800 | -1.4568 | 999999 | 1000000 | -1 | -800 | -0.0008 | w.e.f 01/03/2016
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998329 | 999604 | -1275 | -1020000 | -1.02 | 999999 | 999999 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984423 | 985168 | -745 | -596000 | -0.596 | 994524 | 994524 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4651 | 4656 | -5 | -500 | -0.0005 | 399100 | 398167 | 933 | 93300 | 0.0933
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 988235 | 988351 | -116 | -8700 | -0.0087 | 3512 | 3196 | 316 | 23700 | 0.0237
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24994 | 24879 | 115 | 11500 | 0.0115 | 378292 | 377683 | 609 | 60900 | 0.0609
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998679 | 998717 | -38 | -14250 | -0.01425 | 999819 | 999909 | -90 | -33750 | -0.03375
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991063 | 991245 | -182 | -18200 | -0.0182 | 315388 | 315345 | 43 | 4300 | 0.0043
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 3869 | 3758 | 111 | 11100 | 0.0111 | 196509 | 195241 | 1268 | 126800 | 0.1268
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 7389 | 7705 | -316 | -31600 | -0.0316 | 258236 | 258367 | -131 | -13100 | -0.0131
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 68534 | 68721 | -187 | -18700 | -0.0187 | 713966 | 714028 | -62 | -6200 | -0.0062
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 98256 | 98741 | -485 | -533500 | -0.5335
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999984 | 1000088 | -104 | -104000 | -0.104 | 42464 | 42504 | -40 | -40000 | -0.04
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146581 | 146909 | -328 | -360800 | -0.3608
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2937 | 3016 | -79 | -79000 | -0.079 | 56337 | 56282 | 55 | 55000 | 0.055
[10 empty] | -0.183 |  |  |  |  | -0.8793
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6307 | 6257 | 50 | 100000 | 0.1 | 73946 | 73946 | 0 | 0 | 0
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14819 | 14538 | 281 | 281000 | 0.281 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906622 | 906589 | 33 | 16500 | 0.0165 | 57005 | 56966 | 39 | 19500 | 0.0195
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999574 | 999583 | -9 | 4500 | 0.0045 | 17076 | 17091 | -15 | 7500 | 0.0075
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
MARCH-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953637 | 955952 | -2315 | 2315000 | 2.315 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989302 | 991567 | -2265 | 2265000 | 2.265 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966304 | 967655 | -1351 | 1351000 | 1.351 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981281 | 982691 | -1410 | 1410000 | 1.41 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 376813 | 371612 | 5201 | 520100 | 0.5201 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4091 | 4091 | 0 | 0 | 0 | 23741 | 23636 | 105 | 10500 | 0.0105
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79218 | 79077 | 141 | 14100 | 0.0141 | 68424 | 68418 | 6 | 600 | 0.0006
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87424 | 86584 | 840 | 84000 | 0.084 | 66999 | 66994 | 5 | 500 | 0.0005
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17445 | 16707 | 738 | 73800 | 0.0738 | 10710 | 10633 | 77 | 7700 | 0.0077
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 135361 | 129581 | 5780 | 578000 | 0.578 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3540 | 3303 | 237 | -17775 | -0.017775 | 7102 | 7025 | 77 | -5775 | -0.005775
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1036 | 929 | 107 | -10700 | -0.0107 | 1596 | 1530 | 66 | -6600 | -0.0066
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.712 |  |  |  |  | -0.56512
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.712 |  |  |  |  | -0.56512
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.05759 |  |  |  |  | -0.46314
| TOTAL ENERGY TO NDMC | [8 empty] | 5.7696 |  |  |  |  | -1.0283

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2479 | 0 | 0 | 0 | 31894 | 31453 | 441 | 441000 | 0.441
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 32771 | 32430 | 341 | 341000 | 0.341
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 40954 | 40993 | -39 | -39000 | -0.039
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 16051 | 11120 | 4931 | 657465.023 | 0.65747
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5568 | 5488 | 80 | 80000 | 0.08 | 11029 | 11028 | 1 | 1000 | 0.001
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12642 | 12645 | -3 | -1500 | -0.0015 | 60852 | 60850 | 2 | 1000 | 0.001
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996364 | 3 | 300 | 0.0003 | 134 | 135 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0788 |  |  |  |  | 1.4024
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55442 | 55374 | 68 | 6800 | 0.0068 | 81180 | 80748 | 432 | 43200 | 0.0432
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76641 | 76635 | 6 | 600 | 0.0006 | 14197 | 13942 | 255 | 25500 | 0.0255
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55535 | 55404 | 131 | 13100 | 0.0131 | 84699 | 83240 | 1459 | 145900 | 0.1459
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 596 | 0 | 0 | 0 | 585 | 324 | 261 | 19575 | 0.019575
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9847 | 9847 | 0 | 0 | 0 | 3198 | 3197 | 1 | 100 | 0.0001
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0205 |  |  |  |  | 0.23418
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0205 |  |  |  |  | 0.23418
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0788 |  |  |  |  | 1.4024
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0993 |  |  |  |  | 1.6365
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0993 | (REACTIVE MUs) |  |  |  | 1.6365 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0090961 | (REACTIVE MUs) |  |  |  | -0.07315 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.1084 | (REACTIVE MUs) |  |  |  | 1.5634 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 7955 | 11451 | -3496 | -349600 | -0.3496 | 2464 | 2465 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 8100 | 2715 | 5385 | 538500 | 0.5385 | 6 | 0 | 6 | 600 | 0.0006
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 100 | 2075 | 1445 | 630 | 63000 | 0.063 | 999982 | 999982 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38968 | 39390 | -422 | -395625 | -0.39563 | 19104 | 19105 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 997525 | 998632 | -1107 | 73803.69 | 0.073804 | 998366 | 998955 | -589 | 39268.63 | 0.039269
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 985440 | 986022 | -582 | 291000 | 0.291 | 976500 | 976501 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.22108 |  |  |  |  | 0.039331
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 992767 | 994674 | -1907 | -381400 | -0.3814 | 999933 | 999934 | -1 | -200 | -0.0002
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 927670 | 930574 | -2904 | -1089000 | -1.089 | 997626 | 997625 | 1 | 375 | 0.000375
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.4704 |  |  |  |  | 0.000175
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 274166 | 271030 | 3136 | 313600 | 0.3136 | 253566 | 253564 | 2 | 200 | 0.0002 | Check Meter Data
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 150 | 12495 | 9784 | 2711 | 406650 | 0.40665 | 811 | 809 | 2 | 300 | 0.0003 | Check Meter Data
|  | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 5375 | 0 | 5375 | 537500 | 0.5375 | 0 | 0 | 0 | 0 | 0 | w.e.f 15/03/2016
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 223808 | 223195 | 613 | 61300 | 0.0613 | 75813 | 75810 | 3 | 300 | 0.0003 | data till 07/03
[10 empty] | 0.0613 |  |  |  |  | 0.0003 | Assessment
|  | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 8658 | 0 | 8658 | 541125 | 0.54112 | 0 | 0 | 0 | 0 | 0 | w.e.f 15/03/2016
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 665 | 384 | 281 | 281000 | 0.281 | 999983 | 999983 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999034 | 998911 | 123 | 18450 | 0.01845 | 525 | 405 | 120 | 18000 | 0.018
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999444 | 999534 | -90 | 225000 | 0.225 | 3072 | 3072 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 2.4459 |  |  |  |  | 0.0191
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.22108 |  |  |  |  | 0.039331
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.4704 |  |  |  |  | 0.000175
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.4459 |  |  |  |  | 0.0191

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 26009 | 25598 | 411 | 822000 | 0.822 | 1617 | 1601 | 16 | 32000 | 0.032
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 1839 | 1547 | 292 | 1460000 | 1.46 | 1000034 | 999927 | 107 | 535000 | 0.535
[7 empty] | NET REACTIVE ENERGY |  |  | 2.282 |  | NET REACTIVE ENERGY |  |  | 0.567
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.282 |  |  |  |  | 0.567
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.0196 |  |  |  |  | -8.3682
[7 empty] | NDMC = |  |  | -0.183 |  |  |  |  | -0.8793
MES =
[7 empty] | 2)TOTAL |  |  | -1.2026 |  |  |  |  | -9.2475
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0794 |  |  |  |  | -8.6805
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.3346 | % |  |  | 0.32743 |  |  |  |  | -2.6332
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.6269 | % |  |  | 0.43853 |  |  |  |  | -3.5266
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.8604 | % |  |  | 0.24676 |  |  |  |  | -1.9844
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3354 | % |  |  | 0.05759 |  |  |  |  | -0.46314
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8427 | % |  |  | 0.0090961 |  |  |  |  | -0.07315
Note :Sharing taken from wk-52 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st March-2016 TO 1st April-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -8.658 |  | -3.7714
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.6996 |  | -4.4582
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.82659 |  | -6.2057
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.7696 |  | -1.0283
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.1084 | + | 1.5634
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2016 | INTIAL READING 01/03/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953750 | 953412 | 338 | 507000 | 0.507 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992943 | 992867 | 76 | 114000 | 0.114 | 992897 | 992897 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 897457 | 898171 | -714 | -535500 | -0.5355 | 999301 | 999301 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.0855 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997898 | 997898 | 0 | 0 | 0 | 31105 | 30934 | 171 | 855000 | 0.855
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999960 | 999960 | 0 | 0 | 0 | 975900 | 975245 | 655 | 655000 | 0.655
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978843 | 978812 | 31 | 31000 | 0.031 | 991524 | 991267 | 257 | 257000 | 0.257
[8 empty] | NET REACTIVE ENERGY |  | 0.031 |  |  | NET REACTIVE ENERGY |  | 1.767