## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995331 | 996411 | -1080 | 1080000 | 1.08 | 999713 | 999713 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17994 | 16939 | 1055 | -1055000 | -1.055 | 998742 | 998768 | -26 | 26000 | 0.026
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960087 | 961094 | -1007 | 1007000 | 1.007 | 995709 | 995709 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998398 | 998342 | 56 | -56000 | -0.056 | 973361 | 973433 | -72 | 72000 | 0.072
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2659 | 2869 | -210 | 210000 | 0.21 | 999041 | 999041 | 0 | 0 | 0 | Data till 20/03
[10 empty] | 0.105 | [5 empty] | Assessment
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24682 | 24509 | 173 | -173000 | -0.173 | 17603 | 17606 | -3 | 3000 | 0.003
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 633 | 586 | 47 | -47000 | -0.047 | 999706 | 999713 | -7 | 7000 | 0.007
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 9690 | 9690 | 0 | 0 | 0 | 991918 | 991918 | 0 | 0 | 0
[10 empty] | 0.358 |  |  |  |  | 0 | Assessment
|  | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999642 | 1000000 | -358 | 358000 | 0.358 | 999994 | 1000000 | -6 | 6000 | 0.006 | w.e.f 16/3/17
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987235 | 988607 | -1372 | 1372000 | 1.372 | 981186 | 981193 | -7 | 7000 | 0.007
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999962 | 1000027 | -65 | 65000 | 0.065 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71 | 94 | -23 | 23000 | 0.023 | 3 | 3 | 0 | 0 | 0 | Data Till 20/3/17
12 | Tx.-3 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973221 | 973516 | -295 | 295000 | 0.295 | 997828 | 997828 | 0 | 0 | 0 | Check Meter Data
|  | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999744 | 1000000 | -256 | 256000 | 0.256 | 0 | 0 | 0 | 0 | 0 | w.e.f 17/3/17
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 924792 | 931151 | -6359 | -6359000 | -6.359 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984174 | 984262 | -88 | 88000 | 0.088 | 16888 | 16892 | -4 | 4000 | 0.004
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9997 | 9585 | 412 | -412000 | -0.412 | 20574 | 20576 | -2 | 2000 | 0.002
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17594 | 16743 | 851 | -851000 | -0.851 | 270 | 271 | -1 | 1000 | 0.001
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 16 | 16 | 0 | 0 | 0 | 5236 | 5784 | -548 | -219200 | -0.2192 | Data Till 22/3/17
[10 empty] | 0 |  |  |  |  | -0.082 | Assessment
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 26890 | 27439 | -549 | -549000 | -0.549
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 651 | 651 | 0 | 0 | 0 | 307 | 218 | 89 | 44500 | 0.0445
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 126855 | 126817 | 38 | 3800 | 0.0038 | 258504 | 255249 | 3255 | 325500 | 0.3255
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996178 | 996179 | -1 | -1000 | -0.001 | 991254 | 991553 | -299 | -299000 | -0.299
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 506 | 507 | -1 | -1000 | -0.001 | 999893 | 1000090 | -197 | -197000 | -0.197
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 72640 | 72821 | -181 | -18100 | -0.0181 | 8199 | 7547 | 652 | 65200 | 0.0652
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625969 | 626612 | -643 | -643000 | -0.643 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 613353 | 617884 | -4531 | -4531000 | -4.531 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 613 | 859 | -246 | -98400 | -0.0984 | 999053 | 999053 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5957 | 5823 | 134 | 67000 | 0.067 | 2408 | 2406 | 2 | 1000 | 0.001
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 279 | 365 | -86 | 86000 | 0.086 | 999826 | 999896 | -70 | 70000 | 0.07
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15489 | 14154 | 1335 | -1335000 | -1.335 | 996895 | 996895 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10739 | 10096 | 643 | -643000 | -0.643 | 999345 | 999422 | -77 | 77000 | 0.077 | Data Till 20/3/17
[10 empty] | -0.321 |  |  |  |  | 0.0385 | Assessment
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1685 | 711 | 974 | -1948000 | -1.948 | 999965 | 1000000 | -35 | 70000 | 0.07
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19766 | 18373 | 1393 | -1393000 | -1.393 | 998725 | 998803 | -78 | 78000 | 0.078
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41610 | 38676 | 2934 | -2934000 | -2.934 | 1628 | 1605 | 23 | -23000 | -0.023
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12020 | 10811 | 1209 | -1209000 | -1.209 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4924 | 3862 | 1062 | -1062000 | -1.062 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17624 | 17112 | 512 | -512000 | -0.512 | 1398 | 1400 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1940 | 1938 | 2 | 2000 | 0.002 | 27183 | 27158 | 25 | 25000 | 0.025
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3478 | 2303 | 1175 | 117500 | 0.1175 | 24208 | 25141 | -933 | -93300 | -0.0933
| NDPL(+) continue | [14 empty] | MARCH-2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 999065 | 998907 | 158 | 65832.28 | 0.065832 | 588 | 368 | 220 | 91665.2 | 0.091665
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9132 | 9141 | -9 | -900 | -0.0009 | 37652 | 37622 | 30 | 3000 | 0.003
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12183 | 12197 | -14 | -1400 | -0.0014 | 72881 | 72852 | 29 | 2900 | 0.0029
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 725 | 751 | -26 | -2600 | -0.0026 | 13509 | 13560 | -51 | -5100 | -0.0051
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 73 | 57 | 16 | 21328 | 0.021328 | 34 | 10 | 24 | 31992 | 0.031992
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999049 | 999183 | -134 | -13400 | -0.0134 | 5015 | 4593 | 422 | 42200 | 0.0422
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34539 | 34528 | 11 | 5500 | 0.0055
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 476 | 462 | 14 | 7000 | 0.007
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 321 | 321 | 0 | 0 | 0 | 108 | 108 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2919 | 2902 | 17 | 11333.3333 | 0.011333 | 1338 | 1337 | 1 | 666.6667 | 0.00066667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997680 | 997790 | -110 | -11000 | -0.011 | 1239 | 1104 | 135 | 13500 | 0.0135
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23895 | 23906 | -11 | -1100 | -0.0011 | 57731 | 57760 | -29 | -2900 | -0.0029
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1473 | 1562 | -89 | -8900 | -0.0089 | 5012 | 5343 | -331 | -33100 | -0.0331
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27828 | 27828 | 0 | 0 | 0 | 66690 | 66690 | 0 | 0 | 0
[10 empty] | 0.007 |  |  |  |  | 0.01 | Assessment
|  | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 999888 | 1000000 | -112 | -11200 | -0.0112 | 999841 | 1000000 | -159 | -15900 | -0.0159 | w.e.f 03/03/17
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7718 | 7552 | 166 | 16600 | 0.0166 | 3727 | 3609 | 118 | 11800 | 0.0118
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 201609 | 201609 | 0 | 0 | 0 | 19854 | 19854 | 0 | 0 | 0
[10 empty] | -0.108 |  |  |  |  | 0 | Assessment
|  | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1625 | 0 | 1625 | 162500 | 0.1625 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/03/17
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24802 | 24825 | -23 | -2300 | -0.0023 | 51066 | 51066 | 0 | 0 | 0
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999882 | 999882 | 0 | 0 | 0 | 7 | 8 | -1 | -400 | -0.0004
MUNDKA
71 | 66KV MANGOL PURI | 4864972 | ELSTER | Kvarh(Lead/Lag) | 800 | 998637 | 998903 | -266 | -212800 | -0.2128 | 999999 | 999999 | 0 | 0 | 0
|  | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999940 | 1000000 | -60 | 60000 | 0.06 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/3/17
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1394 | 1482 | -88 | -176000 | -0.176 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999622 | 999674 | -52 | -5200 | -0.0052 | 999868 | 999868 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -20.3194 |  |  |  |  | -0.37498
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5346 | 5078 | 268 | -26800 | -0.0268 | 9339 | 8532 | 807 | -80700 | -0.0807
MANGOLPURI
2 | NANGLOI-2 EXP | 5295163 | ELSTER | Kvarh(Lead/Lag) | -1000 | 516 | 516 | 0 | 0 | 0 | 8423 | 8423 | 0 | 0 | 0 | PT Problem , Same reading Considered
|  | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15126 | 15117 | 9 | -9000 | -0.009 | 10403 | 10400 | 3 | -3000 | -0.003 | Check Meter Data
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12811 | 12811 | 0 | 0 | 0 | 21689 | 21689 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86833 | 86677 | 156 | -156000 | -0.156 | 123455 | 123437 | 18 | -18000 | -0.018
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 968668 | 970093 | -1425 | 71250 | 0.07125 | 1793 | 1961 | -168 | 8400 | 0.0084
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 1 | -1000 | -0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 988590 | 990731 | -2141 | 1712800 | 1.7128 | 999703 | 999703 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.5923 |  |  |  |  | -0.0943
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -20.3194 |  |  |  |  | -0.37498
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.5923 |  |  |  |  | -0.0943
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.351 |  |  |  |  | 0.11421
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -15.3761 |  |  |  |  | -0.35506
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.3761 | (REACTIVE MUs) |  |  |  | -0.35506 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0487 | (REACTIVE MUs) |  |  |  | -1.3002 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.3274 | (REACTIVE MUs) |  |  |  | -1.6553 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13638 | 13977 | -339 | -33900 | -0.0339 | 999624 | 1000091 | -467 | -46700 | -0.0467
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8245 | 8110 | 135 | 40500 | 0.0405 | 2692 | 2241 | 451 | 135300 | 0.1353
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 24581 | 24102 | 479 | 35925 | 0.035925 | 35880 | 29960 | 5920 | 444000 | 0.444
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999188 | 999367 | -179 | -53700 | -0.0537 | 4570 | 4426 | 144 | 43200 | 0.0432
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1809 | 1811 | -2 | -2666.6 | -0.0026666 | 2857 | 2865 | -8 | -10666.4 | -0.010666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34377 | 35350 | -973 | -97300 | -0.0973 | 164921 | 168701 | -3780 | -378000 | -0.378
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 8615 | 6900 | 1715 | 128625 | 0.12862 | 25056 | 19295 | 5761 | 432075 | 0.43207
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988396 | 988620 | -224 | -224000 | -0.224 | 1871 | 1888 | -17 | -17000 | -0.017
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996962 | 997020 | -58 | -58000 | -0.058 | 3388 | 3368 | 20 | 20000 | 0.02
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998848 | 999168 | -320 | -320000 | -0.32 | 749 | 771 | -22 | -22000 | -0.022
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995404 | 995796 | -392 | -392000 | -0.392 | 1654 | 1690 | -36 | -36000 | -0.036
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993425 | 993914 | -489 | -489000 | -0.489 | 5228 | 5244 | -16 | -16000 | -0.016
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997279 | 997572 | -293 | -293000 | -0.293 | 999149 | 999127 | 22 | 22000 | 0.022
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999442 | 999600 | -158 | -158000 | -0.158 | 999952 | 999982 | -30 | -30000 | -0.03
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999059 | 998965 | 94 | 75200 | 0.0752 | 1331 | 1245 | 86 | 68800 | 0.0688
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999354 | 999426 | -72 | -72000 | -0.072 | 29669 | 29607 | 62 | 62000 | 0.062
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1547 | 1064 | 483 | 483000 | 0.483 | 9720 | 9721 | -1 | -1000 | -0.001
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12524 | 12497 | 27 | 2700 | 0.0027 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1047 | 507 | 540 | 540000 | 0.54 | 15800 | 15634 | 166 | 166000 | 0.166
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 997556 | 999628 | -2072 | -2849000 | -2.849 | 952211 | 952234 | -23 | -31625 | -0.031625
21 | DMRC CKT.-II | 5295164 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 987781 | 990632 | -2851 | -3136100 | -3.1361
|  | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 998982 | 1000000 | -1018 | -1018000 | -1.018 | w.e.f 24/3/17
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974368 | 976733 | -2365 | -2365000 | -2.365 | 7802 | 7809 | -7 | -7000 | -0.007
| KASHMIRI GATE | [8 empty] | -5.214 |  |  |  |  | -4.1927
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946930 | 947453 | -523 | 523000 | 0.523 | 941163 | 941164 | -1 | 1000 | 0.001
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958525 | 959325 | -800 | 800000 | 0.8 | 954757 | 954757 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 999991 | 0 | 0 | 0 | 2103 | 1855 | 248 | 248000 | 0.248
PARK STREET
27 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 13598 | 11945 | 1653 | -826500 | -0.8265 | 622 | 462 | 160 | -80000 | -0.08
[5 empty] | -500 | 9059 | 6817 | 2242 | -1121000 | -1.121
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10554 | 9355 | 1199 | -1199000 | -1.199 | 999812 | 1000087 | -275 | 275000 | 0.275
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992496 | 992544 | -48 | 48000 | 0.048 | 992975 | 993185 | -210 | 210000 | 0.21
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 79 | 101 | -22 | 22000 | 0.022 | 30 | 30 | 0 | 0 | 0 | Data till 20/3/17
[10 empty] | 0.011 | [5 empty] | Assessment
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8549 | 8546 | 3 | -6000 | -0.006 | 998477 | 998897 | -420 | 840000 | 0.84
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1813 | 1801 | 12 | -12000 | -0.012 | 921 | 68 | 853 | -853000 | -0.853
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999873 | 999868 | 5 | -5000 | -0.005 | 1000349 | 999800 | 549 | -549000 | -0.549
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12811 | 12811 | 0 | 0 | 0 | 21689 | 21689 | 0 | 0 | 0
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86833 | 86677 | 156 | 156000 | 0.156 | 123455 | 123437 | 18 | 18000 | 0.018
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998058 | 998064 | -6 | -600 | -0.0006 | 1141 | 1141 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151302 | 151305 | -3 | -300 | -0.0003 | 52236 | 52246 | -10 | -1000 | -0.001
PREET VIHAR
38 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.712 |  |  |  |  | -3.2477
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.712 |  |  |  |  | -3.2477
MARCH-2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980033 | 980602 | -569 | 569000 | 0.569 | 882912 | 883006 | -94 | 94000 | 0.094
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994285 | 994306 | -21 | 21000 | 0.021 | 973867 | 973969 | -102 | 102000 | 0.102
[5 empty] | -1000 | 48 | 1186 | -1138 | 1138000 | 1.138
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 995351 | 997155 | -1804 | 902000 | 0.902 | 999674 | 999861 | -187 | 93500 | 0.0935
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992358 | 993337 | -979 | 1958000 | 1.958 | 975376 | 975377 | -1 | 2000 | 0.002
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998929 | 998918 | 11 | -11000 | -0.011 | 532 | 622 | -90 | 90000 | 0.09
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995185 | 995192 | -7 | 7000 | 0.007 | 999844 | 999956 | -112 | 112000 | 0.112
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1320 | 745 | 575 | -575000 | -0.575 | 998933 | 1000109 | -1176 | 1176000 | 1.176
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993057 | 993216 | -159 | 159000 | 0.159 | 976766 | 976839 | -73 | 73000 | 0.073
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989550 | 989630 | -80 | 80000 | 0.08 | 996179 | 996225 | -46 | 46000 | 0.046
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979691 | 980278 | -587 | 587000 | 0.587 | 967357 | 967785 | -428 | 428000 | 0.428
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959359 | 959359 | 0 | 0 | 0 | 833426 | 833426 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17595 | 17270 | 325 | -325000 | -0.325 | 33992 | 34018 | -26 | 26000 | 0.026
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2999 | 2738 | 261 | -261000 | -0.261 | 109 | 76 | 33 | -33000 | -0.033
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972186 | 972043 | 143 | -143000 | -0.143 | 919859 | 920087 | -228 | 228000 | 0.228
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 4.106 |  |  |  |  | 2.4375
| (B) NET ENERGY TO EAST | [8 empty] | 4.106 |  |  |  |  | 2.4375
MARCH-2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 613 | 859 | -246 | 98400 | 0.0984 | 999053 | 999053 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5957 | 5823 | 134 | -67000 | -0.067 | 2408 | 2406 | 2 | -1000 | -0.001
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54584 | 54653 | -69 | 13800 | 0.0138 | 85476 | 85488 | -12 | 2400 | 0.0024
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73557 | 71991 | 1566 | -156600 | -0.1566 | 139869 | 139496 | 373 | -37300 | -0.0373
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973423 | 973799 | -376 | 75200 | 0.0752 | 996510 | 996472 | 38 | -7600 | -0.0076
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 34165 | 33156 | 1009 | -201800 | -0.2018 | 2586 | 1583 | 1003 | -200600 | -0.2006
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16631 | 16496 | 135 | -108000 | -0.108 | 10625 | 10591 | 34 | -27200 | -0.0272
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14993 | 14957 | 36 | -72000 | -0.072 | 3810 | 3808 | 2 | -4000 | -0.004
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 975116 | 975378 | -262 | 209600 | 0.2096 | 988080 | 988120 | -40 | 32000 | 0.032
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 985907 | 987033 | -1126 | 900800 | 0.9008 | 993141 | 993333 | -192 | 153600 | 0.1536
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991912 | 992584 | -672 | 537600 | 0.5376 | 997298 | 997404 | -106 | 84800 | 0.0848
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980430 | 980793 | -363 | 290400 | 0.2904 | 993924 | 993984 | -60 | 48000 | 0.048
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980263 | 980697 | -434 | 434000 | 0.434 | 34218 | 34257 | -39 | 39000 | 0.039
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1940 | 1938 | 2 | -2000 | -0.002 | 27183 | 27158 | 25 | -25000 | -0.025
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 3478 | 2303 | 1175 | -117500 | -0.1175 | 24208 | 25141 | -933 | 93300 | 0.0933
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34539 | 34528 | 11 | -5500 | -0.0055
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 476 | 462 | 14 | -7000 | -0.007
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 321 | 321 | 0 | 0 | 0 | 108 | 108 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2919 | 2902 | 17 | -11333.3333 | -0.011333 | 1338 | 1337 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 201609 | 201609 | 0 | 0 | 0 | 19854 | 19854 | 0 | 0 | 0
[10 empty] | -0.108 |  |  |  |  | 0 | Assessment
|  | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 1625 | 0 | 1625 | -162500 | -0.1625 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/03/17
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24802 | 24825 | -23 | 2300 | 0.0023 | 51066 | 51066 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997680 | 997790 | -110 | 11000 | 0.011 | 1239 | 1104 | 135 | -13500 | -0.0135
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23895 | 23906 | -11 | 1100 | 0.0011 | 57731 | 57760 | -29 | 2900 | 0.0029
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1473 | 1562 | -89 | 8900 | 0.0089 | 5012 | 5343 | -331 | 33100 | 0.0331
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27828 | 27828 | 0 | 0 | 0 | 66690 | 66690 | 0 | 0 | 0
[10 empty] | 0.007 |  |  |  |  | 0.01 | Assessment
|  | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 999888 | 1000000 | -112 | 11200 | 0.0112 | 999841 | 1000000 | -159 | 15900 | 0.0159 | w.e.f 03/03/17
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7718 | 7552 | 166 | -16600 | -0.0166 | 3727 | 3609 | 118 | -11800 | -0.0118
[10 empty] | 1.578 |  |  |  |  | 0.17383
MARCH-2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.712 |  |  |  |  | -3.2477
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.578 |  |  |  |  | 0.17383
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.2485 |  |  |  |  | -0.002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.3825 |  |  |  |  | -3.0759
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 4.106 |  |  |  |  | 2.4375
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -3.2765 |  |  |  |  | -0.63838
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.2765 | (REACTIVE MUs) |  |  |  | -0.63838 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.75615 | (REACTIVE MUs) |  |  |  | -0.93749 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.5204 | (REACTIVE MUs) |  |  |  | -1.5759 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999582 | 999593 | -11 | -55000 | -0.055 | 999613 | 999667 | -54 | -270000 | -0.27
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984664 | 984702 | -38 | -50666.54 | -0.050667 | 672284 | 672485 | -201 | -267999.33 | -0.268
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 983 | 1087 | -104 | -41600 | -0.0416 | 988587 | 987697 | 890 | 356000 | 0.356
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16949 | 16944 | 5 | 5000 | 0.005 | 998880 | 999219 | -339 | -339000 | -0.339
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17364 | 17243 | 121 | 12100 | 0.0121 | 4891 | 3560 | 1331 | 133100 | 0.1331
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 724913 | 726669 | -1756 | -131700 | -0.1317 | 12932 | 15950 | -3018 | -226350 | -0.22635
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983191 | 983398 | -207 | -15525 | -0.015525 | 992443 | 992873 | -430 | -32250 | -0.03225
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997359 | 997395 | -36 | -32400 | -0.0324 | 996599 | 997120 | -521 | -468900 | -0.4689
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1913 | 1271 | 642 | -642000 | -0.642 | 1000130 | 1000017 | 113 | -113000 | -0.113
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2290 | 1838 | 452 | -452000 | -0.452 | 999894 | 999803 | 91 | -91000 | -0.091
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962795 | 962806 | -11 | 11000 | 0.011 | 966778 | 967344 | -566 | 566000 | 0.566
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985962 | 985776 | 186 | -186000 | -0.186 | 967134 | 967123 | 11 | -11000 | -0.011
16 | Tx.2 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1671 | 1124 | 547 | -547000 | -0.547 | 665 | 204 | 461 | -461000 | -0.461
17 | Tx.3 | 4865015 | ELSTER | Kvarh(Lead/Lag) | -2000 | 135 | 91 | 44 | -88000 | -0.088 | 999999 | 1000016 | -17 | 34000 | 0.034
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3796 | 3386 | 410 | -410000 | -0.41 | 954022 | 954089 | -67 | 67000 | 0.067
NAJAFGARH
19 | Tx.1 | 4865009 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47614 | 47614 | 0 | 0 | 0 | 9684 | 9684 | 0 | 0 | 0 | Check Meter Data
|  | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4 | 0 | 4 | -4000 | -0.004 | 985922 | 985932 | -10 | 10000 | 0.01 | w.e.f 03/03/17
[5 empty] | -1000 | [5 empty] | 999962 | 1000000 | -38 | 38000 | 0.038
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997817 | 997814 | 3 | -3000 | -0.003 | 990576 | 990978 | -402 | 402000 | 0.402
21 | Tx.3 | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995193 | 995193 | 0 | 0 | 0 | 996523 | 996512 | 11 | -11000 | -0.011 | Check Meter Data
|  | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999927 | 1000000 | -73 | 73000 | 0.073 | 999818 | 1000000 | -182 | 182000 | 0.182 | w.e.f 03/03/17
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13851 | 13849 | 2 | -2000 | -0.002 | 997891 | 998232 | -341 | 341000 | 0.341
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5295163 | ELSTER | Kvarh(Lead/Lag) | 1000 | 516 | 516 | 0 | 0 | 0 | 8423 | 8423 | 0 | 0 | 0 | PT abnormal, Same reading Considered | #VALUE! | #VALUE!
|  | 4864959 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15126 | 15117 | 9 | 9000 | 0.009 | 10403 | 10400 | 3 | 3000 | 0.003 | Check Meter Data | #VALUE! | #VALUE!
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981396 | 981589 | -193 | 193000 | 0.193 | 985972 | 986108 | -136 | 136000 | 0.136
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991518 | 991640 | -122 | 122000 | 0.122 | 985938 | 985946 | -8 | 8000 | 0.008
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995258 | 995043 | 215 | -215000 | -0.215 | 991186 | 991415 | -229 | 229000 | 0.229
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990271 | 990102 | 169 | -169000 | -0.169 | 931527 | 931974 | -447 | 447000 | 0.447
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2256 | 1814 | 442 | -442000 | -0.442 | 34139 | 34240 | -101 | 101000 | 0.101
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998201 | 998126 | 75 | -75000 | -0.075 | 996742 | 996823 | -81 | 81000 | 0.081
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995861 | 995848 | 13 | -13000 | -0.013 | 861718 | 861975 | -257 | 257000 | 0.257
BRPL(+) continue | [14 empty] | MARCH-2017
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 372 | 313 | 59 | -59000 | -0.059 | 999964 | 999973 | -9 | 9000 | 0.009
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 236 | 170 | 66 | -33000 | -0.033 | 998118 | 998086 | 32 | -16000 | -0.016
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14868 | 13843 | 1025 | -2050000 | -2.05 | 969507 | 969505 | 2 | -4000 | -0.004
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995060 | 994955 | 105 | -105000 | -0.105 | 900246 | 900281 | -35 | 35000 | 0.035
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994407 | 0 | 0 | 0 | 927470 | 927470 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999022 | 998910 | 112 | -112000 | -0.112 | 985421 | 985450 | -29 | 29000 | 0.029
37 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000016 | 999947 | 69 | -138000 | -0.138 | 999960 | 999976 | -16 | 32000 | 0.032
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970438 | 970345 | 93 | -61999.938 | -0.062 | 967315 | 967309 | 6 | -3999.996 | -0.004
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 995474 | 994399 | 1075 | -2687500 | -2.6875 | 999814 | 999814 | 0 | 0 | 0
|  | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 228 | 0 | 228 | -456000 | -0.456 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 14/03/17
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5619 | 5619 | 0 | 0 | 0 | 2291 | 2085 | 206 | -412000 | -0.412
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2538 | 2538 | 0 | 0 | 0 | 1270 | 1117 | 153 | -306000 | -0.306
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917323 | 917324 | -1 | 1000 | 0.001 | 983627 | 983810 | -183 | 183000 | 0.183
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926407 | 926404 | 3 | -3000 | -0.003 | 987216 | 987211 | 5 | -5000 | -0.005
|  | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119 | 0 | 119 | -119000 | -0.119 | 999835 | 1000000 | -165 | 165000 | 0.165 | w.e.f 09/03/17
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30063 | 29557 | 506 | 404800 | 0.4048 | 6364 | 6364 | 0 | 0 | 0
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 895562 | 896847 | -1285 | -1028000 | -1.028 | 997093 | 997093 | 0 | 0 | 0 | Data till 22/03/17
[10 empty] | -0.494 |  |  |  |  | 0 | Assssment
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999992 | 999867 | 125 | 100000 | 0.1 | 999791 | 999791 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999757 | 999757 | 0 | 0 | 0 | 619 | 619 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.021 | [5 empty] | Assssment
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980263 | 980697 | -434 | -434000 | -0.434 | 34218 | 34257 | -39 | -39000 | -0.039
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19455 | 16382 | 3073 | -3073000 | -3.073 | 999978 | 999978 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9983 | 9131 | 852 | -852000 | -0.852 | 999255 | 999294 | -39 | 39000 | 0.039
54 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5023 | 1849 | 3174 | -3174000 | -3.174 | 999992 | 999992 | 0 | 0 | 0
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5346 | 5078 | 268 | 26800 | 0.0268 | 9339 | 8532 | 807 | 80700 | 0.0807
SUDARSHAN PARK
56 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 968668 | 970093 | -1425 | -71250 | -0.07125 | 1793 | 1961 | -168 | -8400 | -0.0084
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 996856 | 997259 | -403 | -161200 | -0.1612 | 1147 | 739 | 408 | 163200 | 0.1632
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 998926 | 999126 | -200 | -80000 | -0.08 | 482 | 601 | -119 | -47600 | -0.0476
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 1 | 1000 | 0.001
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 988590 | 990731 | -2141 | -1712800 | -1.7128 | 999703 | 999703 | 0 | 0 | 0
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 190816 | 176887 | 13929 | 1392900 | 1.3929 | 2906 | 430 | 2476 | 247600 | 0.2476
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1878 | 1467 | 411 | 411000 | 0.411 | 172 | 166 | 6 | 6000 | 0.006
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 7004 | 6741 | 263 | 19725 | 0.019725 | 12645 | 12460 | 185 | 13875 | 0.013875
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2283 | 2203 | 80 | 8000 | 0.008 | 4528 | 4417 | 111 | 11100 | 0.0111
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 1116 | 884 | 232 | 116000 | 0.116 | 2633 | 2633 | 0 | 0 | 0
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2216 | 1824 | 392 | 392000 | 0.392 | 3593 | 3593 | 0 | 0 | 0
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997186 | 997795 | -609 | -609000 | -0.609 | 1243 | 1234 | 9 | 9000 | 0.009
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2352 | 2049 | 303 | 303000 | 0.303 | 6133 | 6126 | 7 | 7000 | 0.007
69 | PASCHIM PURI - I (L-7) | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999562 | 999837 | -275 | -275000 | -0.275 | 999999 | 1000000 | -1 | -1000 | -0.001
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 2074 | 1402 | 672 | 67200 | 0.0672 | 42444 | 42330 | 114 | 11400 | 0.0114
71 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 881 | 310 | 571 | 571000 | 0.571 | 15 | 0 | 15 | 15000 | 0.015
72 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999986 | 999505 | 481 | 481000 | 0.481 | 4908 | 4896 | 12 | 12000 | 0.012
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -16.6651 |  |  |  |  | 1.3285
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 171008 | 168105 | 2903 | -290300 | -0.2903 | 912851 | 912847 | 4 | -400 | -0.0004
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998058 | 998064 | -6 | 600 | 0.0006 | 1141 | 1141 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151302 | 151305 | -3 | 300 | 0.0003 | 52236 | 52246 | -10 | 1000 | 0.001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999946 | 999945 | 1 | -100 | -0.0001
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996389 | 996384 | 5 | -500 | -0.0005 | 838 | 838 | 0 | 0 | 0 | Data till 20/03/17
[10 empty] | -0.00025 |  |  |  |  | 0 | Assessment
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999639 | 999699 | -60 | 60000 | 0.06 | 999992 | 999997 | -5 | 5000 | 0.005
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950 | 884 | 66 | -66000 | -0.066 | 2633 | 2633 | 0 | 0 | 0 | Check Meter Data
|  | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 582 | 0 | 582 | -93120 | -0.09312 | 139 | 0 | 139 | -22240 | -0.02224 | W.e.f 16/3/17
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906914 | 906885 | 29 | -14500 | -0.0145 | 61337 | 61331 | 6 | -3000 | -0.003
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999318 | 999518 | -200 | 100000 | 0.1 | 999962 | 999987 | -25 | 12500 | 0.0125
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 81415 | 80458 | 957 | -95700 | -0.0957 | 70876 | 70843 | 33 | -3300 | -0.0033
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 94799 | 93644 | 1155 | -115500 | -0.1155 | 71302 | 71276 | 26 | -2600 | -0.0026
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 26207 | 24656 | 1551 | -155100 | -0.1551 | 22433 | 22138 | 295 | -29500 | -0.0295
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 389402 | 386068 | 3334 | -333400 | -0.3334 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4939 | 4933 | 6 | -600 | -0.0006 | 27530 | 27293 | 237 | -23700 | -0.0237
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 999065 | 998907 | 158 | -65832.28 | -0.065832 | 588 | 368 | 220 | -91665.2 | -0.091665
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9132 | 9141 | -9 | 900 | 0.0009 | 37652 | 37622 | 30 | -3000 | -0.003
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12183 | 12197 | -14 | 1400 | 0.0014 | 72881 | 72852 | 29 | -2900 | -0.0029
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 725 | 751 | -26 | 2600 | 0.0026 | 13509 | 13560 | -51 | 5100 | 0.0051
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 73 | 57 | 16 | -21328 | -0.021328 | 34 | 10 | 24 | -31992 | -0.031992
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999049 | 999183 | -134 | 13400 | 0.0134 | 5015 | 4593 | 422 | -42200 | -0.0422
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999882 | 999882 | 0 | 0 | 0 | 7 | 8 | -1 | 400 | 0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.0729 |  |  |  |  | -0.2326
MARCH-2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -16.6651 |  |  |  |  | 1.3285
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.0729 |  |  |  |  | -0.2326
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.018712 |  |  |  |  | -0.0569
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0075 |  |  |  |  | -0.0915
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -17.7268 |  |  |  |  | 0.94748
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -17.7268 | (REACTIVE MUs) |  |  |  | 0.94748 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.3371 | (REACTIVE MUs) |  |  |  | -1.6578 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.3897 | (REACTIVE MUs) |  |  |  | -0.71029 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54584 | 54653 | -69 | -13800 | -0.0138 | 85476 | 85488 | -12 | -2400 | -0.0024
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73557 | 71991 | 1566 | 156600 | 0.1566 | 139869 | 139496 | 373 | 37300 | 0.0373
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973423 | 973799 | -376 | -75200 | -0.0752 | 996510 | 996472 | 38 | 7600 | 0.0076
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 34165 | 33156 | 1009 | 201800 | 0.2018 | 2586 | 1583 | 1003 | 200600 | 0.2006
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16631 | 16496 | 135 | 108000 | 0.108 | 10625 | 10591 | 34 | 27200 | 0.0272
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14993 | 14957 | 36 | 72000 | 0.072 | 3810 | 3808 | 2 | 4000 | 0.004
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 975116 | 975378 | -262 | -209600 | -0.2096 | 988080 | 988120 | -40 | -32000 | -0.032
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 985907 | 987033 | -1126 | -900800 | -0.9008 | 993141 | 993333 | -192 | -153600 | -0.1536
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991912 | 992584 | -672 | -537600 | -0.5376 | 997298 | 997404 | -106 | -84800 | -0.0848
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980430 | 980793 | -363 | -290400 | -0.2904 | 993924 | 993984 | -60 | -48000 | -0.048
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3366 | 3366 | 0 | 0 | 0 | 404003 | 404003 | 0 | 0 | 0
[10 empty] | -0.01 |  |  |  |  | -0.0418 | Assessment
|  | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999998 | 1000000 | -2 | -100 | -0.0001 | 497 | 0 | 497 | 24850 | 0.02485 | w.e.f 29/03/17
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993047 | 993541 | -494 | -37050 | -0.03705 | 5372 | 5272 | 100 | 7500 | 0.0075
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 2 | 0 | 2 | 1000 | 0.001 | 109 | 22 | 87 | 43500 | 0.0435
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998975 | 998919 | 56 | 21000 | 0.021 | 2123 | 1314 | 809 | 303375 | 0.30338
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989335 | 989466 | -131 | -13100 | -0.0131 | 316575 | 316751 | -176 | -17600 | -0.0176
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 999970 | 1000004 | -34 | -2550 | -0.00255 | 1824 | 589 | 1235 | 92625 | 0.092625
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3443 | 3225 | 218 | 21800 | 0.0218 | 261767 | 260354 | 1413 | 141300 | 0.1413
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 82962 | 82061 | 901 | 90100 | 0.0901 | 724473 | 721105 | 3368 | 336800 | 0.3368
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999156 | 999810 | -654 | -719400 | -0.7194 | 101435 | 101445 | -10 | -11000 | -0.011
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997519 | 998260 | -741 | -741000 | -0.741 | 44235 | 44246 | -11 | -11000 | -0.011
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 998445 | 999259 | -814 | -895400 | -0.8954 | 143088 | 143091 | -3 | -3300 | -0.0033
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2671 | 2686 | -15 | -15000 | -0.015 | 58522 | 58518 | 4 | 4000 | 0.004
[10 empty] | -2.3708 |  |  |  |  | -0.0213
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999639 | 999699 | -60 | -60000 | -0.06 | 999992 | 999997 | -5 | -5000 | -0.005
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 950 | 884 | 66 | 66000 | 0.066 | 2633 | 2633 | 0 | 0 | 0 | Check Meter Data
|  | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 582 | 0 | 582 | 93120 | 0.09312 | 139 | 0 | 139 | 22240 | 0.02224 | W.e.f 16/3/17
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906914 | 906885 | 29 | 14500 | 0.0145 | 61337 | 61331 | 6 | 3000 | 0.003
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999318 | 999518 | -200 | -100000 | -0.1 | 999962 | 999987 | -25 | -12500 | -0.0125
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
MARCH-2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941241 | 942459 | -1218 | 1218000 | 1.218 | 971280 | 971318 | -38 | 38000 | 0.038
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989580 | 991845 | -2265 | 2265000 | 2.265 | 999871 | 999969 | -98 | 98000 | 0.098
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999259 | 999456 | -197 | 394000 | 0.394 | 999999 | 999999 | 0 | 0 | 0
33 | 33KV TX-2 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995560 | 996411 | -851 | 851000 | 0.851 | 999713 | 999713 | 0 | 0 | 0 | Check Meter Data
|  | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999751 | 1000000 | -249 | 249000 | 0.249 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/3/17
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 389402 | 386068 | 3334 | 333400 | 0.3334 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4939 | 4933 | 6 | 600 | 0.0006 | 27530 | 27207 | 323 | 32300 | 0.0323
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 81415 | 79662 | 1753 | 175300 | 0.1753 | 70876 | 70842 | 34 | 3400 | 0.0034
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 94799 | 92748 | 2051 | 205100 | 0.2051 | 71302 | 71275 | 27 | 2700 | 0.0027
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 26207 | 24235 | 1972 | 197200 | 0.1972 | 22433 | 22129 | 304 | 30400 | 0.0304
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 171008 | 168105 | 2903 | 290300 | 0.2903 | 912851 | 912847 | 4 | 400 | 0.0004
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 190816 | 176887 | 13929 | -1392900 | -1.3929 | 2906 | 430 | 2476 | -247600 | -0.2476
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1878 | 1467 | 411 | -411000 | -0.411 | 172 | 166 | 6 | -6000 | -0.006
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 7004 | 6741 | 263 | -19725 | -0.019725 | 12645 | 12460 | 185 | -13875 | -0.013875
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2283 | 2203 | 80 | -8000 | -0.008 | 4528 | 4417 | 111 | -11100 | -0.0111
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.3761 |  |  |  |  | 1.0131
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.3761 |  |  |  |  | 1.0131
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.16665 |  |  |  |  | -0.20662
| TOTAL ENERGY TO NDMC | [8 empty] | 2.5427 |  |  |  |  | 0.8065

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 832 | 824 | 8 | 1600 | 0.0016 | 6834 | 5977 | 857 | 171400 | 0.1714
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1508 | 1 | 1000 | 0.001 | 39027 | 38779 | 248 | 248000 | 0.248
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4094 | 4094 | 0 | 0 | 0 | 48733 | 48275 | 458 | 458000 | 0.458
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 38884 | 39332 | -448 | -59733.184 | -0.059733
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6497 | 6496 | 1 | 1000 | 0.001 | 11448 | 11492 | -44 | -44000 | -0.044
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12243 | 12243 | 0 | 0 | 0 | 61308 | 61229 | 79 | 39500 | 0.0395
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999946 | 999945 | 1 | 100 | 0.0001
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996389 | 996384 | 5 | 500 | 0.0005 | 838 | 838 | 0 | 0 | 0 | Data till 20/03/17
[10 empty] | 0.00025 |  |  |  |  | 0 | Assessment
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0041 |  |  |  |  | 0.81327
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56143 | 56131 | 12 | 1200 | 0.0012 | 88174 | 88119 | 55 | 5500 | 0.0055
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77824 | 77824 | 0 | 0 | 0 | 15063 | 15063 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61244 | 61181 | 63 | 6300 | 0.0063 | 101810 | 100950 | 860 | 86000 | 0.086
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10255 | 0 | 0 | 0 | 3322 | 3290 | 32 | 3200 | 0.0032
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0075 |  |  |  |  | 0.0915
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0075 |  |  |  |  | 0.0915
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0041 |  |  |  |  | 0.81327
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0116 |  |  |  |  | 0.90477
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0116 | (REACTIVE MUs) |  |  |  | 0.90477 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.030577 | (REACTIVE MUs) |  |  |  | -0.03791 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.042177 | (REACTIVE MUs) |  |  |  | 0.86686 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3066 | 4355 | -1289 | -128900 | -0.1289 | 2191 | 2191 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29297 | 27484 | 1813 | 181300 | 0.1813 | 2881 | 2881 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3513 | 3336 | 177 | 88500 | 0.0885 | 1398 | 1387 | 11 | 5500 | 0.0055
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 554 | 771 | -217 | -203437.5 | -0.20344 | 0 | 0 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 998482 | 998845 | -363 | -90750 | -0.09075 | 990057 | 990297 | -240 | -60000 | -0.06
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982542 | 982886 | -344 | 172000 | 0.172 | 976486 | 976486 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999989 | 999997 | -8 | -2400 | -0.0024
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.018712 |  |  |  |  | -0.0569
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986759 | 987999 | -1240 | -248000 | -0.248 | 999730 | 999740 | -10 | -2000 | -0.002
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 908021 | 910689 | -2668 | -1000500 | -1.0005 | 997279 | 997279 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.2485 |  |  |  |  | -0.002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 290240 | 288748 | 1492 | 298400 | 0.2984 | 267947 | 267822 | 125 | 25000 | 0.025
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 204215 | 187874 | 16341 | 1634100 | 1.6341 | 999185 | 998992 | 193 | 19300 | 0.0193
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 115258 | 95992 | 19266 | 1204125 | 1.2041 | 987178 | 986845 | 333 | 20812.5 | 0.020813
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 315 | 169 | 146 | 116800 | 0.1168 | 378 | 356 | 22 | 17600 | 0.0176
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 989172 | 990524 | -1352 | -135200 | -0.1352 | 999590 | 999590 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998973 | 998871 | 102 | 15300 | 0.0153 | 995153 | 994959 | 194 | 29100 | 0.0291
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998926 | 999013 | -87 | 217500 | 0.2175 | 3071 | 3071 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999989 | 999997 | -8 | 2400 | 0.0024
| TOTAL NDPL | [8 empty] | 3.351 |  |  |  |  | 0.11421
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.018712 |  |  |  |  | -0.0569
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.2485 |  |  |  |  | -0.002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.351 |  |  |  |  | 0.11421

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 38912 | 36070 | 2842 | 5684000 | 5.684 | 1848 | 1831 | 17 | 34000 | 0.034
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 6938 | 5890 | 1048 | 5240000 | 5.24 | 179 | 171 | 8 | 40000 | 0.04
[7 empty] | NET REACTIVE ENERGY |  |  | 10.924 |  | NET REACTIVE ENERGY |  |  | 0.074
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.924 |  |  |  |  | 0.074
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -5.214 |  |  |  |  | -4.1927
[7 empty] | NDMC = |  |  | -2.3708 |  |  |  |  | -0.0213
MES =
[7 empty] | 2)TOTAL |  |  | -7.5848 |  |  |  |  | -4.214
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.3392 |  |  |  |  | -4.14
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4065 | % |  |  | 1.0487 |  |  |  |  | -1.3002
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.0425 | % |  |  | 1.3371 |  |  |  |  | -1.6578
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6446 | % |  |  | 0.75615 |  |  |  |  | -0.93749
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9907 | % |  |  | 0.16665 |  |  |  |  | -0.20662
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9157 | % |  |  | 0.030577 |  |  |  |  | -0.03791
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2017 TO 1st APRIL-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -14.3274 |  | -1.6553
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -16.3897 |  | -0.71029
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.5204 |  | -1.5759
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.5427 | + | 0.8065
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.042177 | + | 0.86686
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2017 | INTIAL READING 01/03/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 5805 | 4864 | 941 | 705750 | 0.70575 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 994325 | 993648 | 677 | 1015500 | 1.0155 | 991971 | 991971 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 864707 | 870402 | -5695 | -4271250 | -4.2713 | 998643 | 998643 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -2.55 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999595 | 999513 | 82 | 410000 | 0.41 | 9269 | 9268 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 954821 | 956116 | -1295 | -1295000 | -1.295
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973489 | 973317 | 172 | 172000 | 0.172 | 996291 | 995617 | 674 | 674000 | 0.674
[8 empty] | NET REACTIVE ENERGY |  | 0.582 |  |  | NET REACTIVE ENERGY |  | -0.616