## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998027 | 998029 | -2 | 2000 | 0.002 | 999796 | 999972 | -176 | 176000 | 0.176
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201 | 201 | 0 | 0 | 0 | 999270 | 999283 | -13 | 13000 | 0.013
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12522 | 12500 | 22 | -22000 | -0.022 | 996258 | 996372 | -114 | 114000 | 0.114
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976178 | 976178 | 0 | 0 | 0 | 977091 | 977534 | -443 | 443000 | 0.443
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918597 | 918611 | -14 | 14000 | 0.014 | 943911 | 945978 | -2067 | 2067000 | 2.067
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18595 | 18602 | -7 | 7000 | 0.007 | 17136 | 17144 | -8 | 8000 | 0.008
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19245 | 19253 | -8 | 8000 | 0.008 | 13128 | 13137 | -9 | 9000 | 0.009
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17111 | 17111 | 0 | 0 | 0 | 995946 | 996475 | -529 | 661250 | 0.66125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13307 | 13311 | -4 | 4000 | 0.004 | 985848 | 986514 | -666 | 666000 | 0.666
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30941 | 30985 | -44 | 44000 | 0.044 | 9232 | 9460 | -228 | 228000 | 0.228
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996580 | 996649 | -69 | 69000 | 0.069 | 3879 | 4047 | -168 | 168000 | 0.168
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996568 | 996603 | -35 | 35000 | 0.035 | 999665 | 999713 | -48 | 48000 | 0.048
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923694 | 924528 | -834 | -834000 | -0.834 | 920513 | 920532 | -19 | -19000 | -0.019
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995663 | 995672 | -9 | 9000 | 0.009 | 16920 | 16913 | 7 | -7000 | -0.007
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1123 | 1132 | -9 | 9000 | 0.009 | 19647 | 19629 | 18 | -18000 | -0.018
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85 | 84 | 1 | -1000 | -0.001 | 20018 | 19941 | 77 | -77000 | -0.077
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 997164 | 999670 | -2506 | -501200 | -0.5012
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29764 | 29931 | -167 | -167000 | -0.167
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2335 | 2335 | 0 | 0 | 0 | 149420 | 141186 | 8234 | 823400 | 0.8234
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4776 | 4776 | 0 | 0 | 0 | 220632 | 215656 | 4976 | 497600 | 0.4976
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 4092 | 3626 | 466 | 466000 | 0.466
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999940 | 0 | 0 | 0 | 7596 | 6446 | 1150 | 1150000 | 1.15
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647818 | 647820 | -2 | -2000 | -0.002 | 799331 | 800098 | -767 | -767000 | -0.767
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655826 | 655851 | -25 | -25000 | -0.025 | 832559 | 832917 | -358 | -358000 | -0.358
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992285 | 992279 | 6 | 6000 | 0.006 | 998509 | 998330 | 179 | 179000 | 0.179
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1052 | 1052 | 0 | 0 | 0 | 1239 | 479 | 760 | 380000 | 0.38
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14096 | 13792 | 304 | -304000 | -0.304 | 981924 | 982054 | -130 | 130000 | 0.13
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000289 | 999870 | 419 | -419000 | -0.419 | 999848 | 999951 | -103 | 103000 | 0.103 | ROLL OVER
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992511 | 992489 | 22 | -22000 | -0.022 | 927525 | 927896 | -371 | 371000 | 0.371
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999954 | 999866 | 88 | -88000 | -0.088 | 999915 | 999929 | -14 | 14000 | 0.014
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33943 | 32897 | 1046 | -1046000 | -1.046 | 999928 | 999946 | -18 | 18000 | 0.018
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1339 | 1335 | 4 | 4000 | 0.004 | 19963 | 19341 | 622 | 622000 | 0.622
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 158 | 5 | 5000 | 0.005 | 2484 | 2565 | -81 | -81000 | -0.081
| NDPL(+) continue | [14 empty] | JUNE-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1281 | 1281 | 0 | 0 | 0 | 60385 | 59855 | 530 | 530000 | 0.53
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77648 | 84 | 8400 | 0.0084
35 | 20MVA Tx-2 | Difference of actual energy (2 days) and assessed energy(11days) for May 2013 bill | [7 empty] | -0.01464 |  |  |  |  | 0.023075
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9234 | 9213 | 21 | 2100 | 0.0021 | 28605 | 28489 | 116 | 11600 | 0.0116
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10198 | 10014 | 184 | 18400 | 0.0184 | 46447 | 43730 | 2717 | 271700 | 0.2717
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15320 | 15066 | 254 | 25400 | 0.0254 | 51499 | 51353 | 146 | 14600 | 0.0146
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 39496 | 39318 | 178 | 17800 | 0.0178 | 13640 | 13085 | 555 | 55500 | 0.0555
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16656 | 16656 | 0 | 0 | 0 | 12686 | 12385 | 301 | 30100 | 0.0301
45 | PHILIPS | Assessment on PRO-RATA base for the period 01/06/13 to 24/06/13 | [7 empty] | -0.00032857 |  |  |  |  | 0.022343
45 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 1000000 | -1 | -100 | -0.0001 | 68 | 0 | 68 | 6800 | 0.0068 | installed on dated 24/06/13,Roll over
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5308 | 5308 | 0 | 0 | 0 | 27425 | 27017 | 408 | 204000 | 0.204
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3469 | 0 | 0 | 0 | 25030 | 24565 | 465 | 232500 | 0.2325
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4408 | 4389 | 19 | 9500 | 0.0095 | 14288 | 14135 | 153 | 76500 | 0.0765
49 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 15 | 0 | 15 | 10000 | 0.01 | 249 | 108 | 141 | 94000 | 0.094
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996162 | 996225 | -63 | -6300 | -0.0063 | 5929 | 5939 | -10 | -1000 | -0.001
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8180 | 8171 | 9 | 900 | 0.0009 | 15162 | 14943 | 219 | 21900 | 0.0219
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 20446 | 20351 | 95 | 9500 | 0.0095 | 52443 | 50956 | 1487 | 148700 | 0.1487
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2422 | 2451 | -29 | -2900 | -0.0029 | 999969 | 999982 | -13 | -1300 | -0.0013
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998991 | 999000 | -9 | -900 | -0.0009 | 169 | 198 | -29 | -2900 | -0.0029
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 10476 | 8505 | 1971 | 197100 | 0.1971 | 71553 | 71405 | 148 | 14800 | 0.0148
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 8479 | 7584 | 895 | 89500 | 0.0895 | 61946 | 61582 | 364 | 36400 | 0.0364
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 10057 | 8844 | 1213 | 121300 | 0.1213 | 89408 | 88927 | 481 | 48100 | 0.0481
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 128061 | 127983 | 78 | 7800 | 0.0078 | 26880 | 28374 | -1494 | -149400 | -0.1494
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19547 | 19547 | 0 | 0 | 0 | 39977 | 38992 | 985 | 98500 | 0.0985
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994128 | -27 | -21600 | -0.0216 | 344 | 344 | 0 | 0 | 0
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 996908 | 997400 | -492 | -393600 | -0.3936 | 999996 | 999998 | -2 | -1600 | -0.0016
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.4781 |  |  |  |  | 9.1534
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 12227 | 11047 | 1180 | -118000 | -0.118 | 13755 | 12847 | 908 | -90800 | -0.0908
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8136 | 8119 | 17 | -17000 | -0.017 | 6842 | 6840 | 2 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4133 | 4121 | 12 | -2400 | -0.0024 | 7409 | 3155 | 4254 | -850800 | -0.8508
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14177 | 14175 | 2 | -2000 | -0.002 | 29815 | 28367 | 1448 | -1448000 | -1.448
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 31097 | 31353 | -256 | 25600 | 0.0256 | 143395 | 143396 | -1 | 100 | 0.0001 | Check meter used
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956031 | 956392 | -361 | 361000 | 0.361 | 992459 | 992480 | -21 | 21000 | 0.021
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2472 |  |  |  |  | -2.3705
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.4781 |  |  |  |  | 9.1534
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2472 |  |  |  |  | -2.3705
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.95051 |  |  |  |  | -0.15822
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.2804 |  |  |  |  | 6.6246
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.2804 | (REACTIVE MUs) |  |  |  | 6.6246 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.043379 | (REACTIVE MUs) |  |  |  | -0.078088 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.237 | (REACTIVE MUs) |  |  |  | 6.5466 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988083 | 988083 | 0 | 0 | 0 | 61591 | 58977 | 2614 | 261400 | 0.2614
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16094 | 16112 | -18 | -1800 | -0.0018 | 11067 | 12884 | -1817 | -181700 | -0.1817
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21398 | 21436 | -38 | -3800 | -0.0038 | 18972 | 19268 | -296 | -29600 | -0.0296
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 999991 | 1000000 | -9 | -900 | -0.0009 | 2381 | 1188 | 1193 | 119300 | 0.1193 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9323 | 9323 | 0 | 0 | 0 | 132069 | 119610 | 12459 | 1245900 | 1.2459
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1279 | 1279 | 0 | 0 | 0 | 64262 | 67052 | -2790 | -279000 | -0.279
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998203 | 998201 | 2 | 2000 | 0.002 | 643 | 406 | 237 | 237000 | 0.237
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999692 | 999692 | 0 | 0 | 0 | 2119 | 2299 | -180 | -180000 | -0.18
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 789 | 778 | 11 | 11000 | 0.011 | 1495 | 1332 | 163 | 163000 | 0.163
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 58 | 62 | -4 | -4000 | -0.004 | 2837 | 2807 | 30 | 30000 | 0.03
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998841 | 998838 | 3 | 3000 | 0.003 | 3438 | 3240 | 198 | 198000 | 0.198
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 490 | 490 | 0 | 0 | 0 | 773 | 833 | -60 | -60000 | -0.06
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 197 | 0 | 0 | 0 | 16456 | 15710 | 746 | 746000 | 0.746
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 503 | 0 | 0 | 0 | 36484 | 36367 | 117 | 117000 | 0.117
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 266 | 266 | 0 | 0 | 0 | 22635 | 21000 | 1635 | 1635000 | 1.635
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 600 | 0 | 0 | 0 | 7512 | 6995 | 517 | 517000 | 0.517
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 41168 | 40612 | 556 | 55600 | 0.0556 | 642 | 637 | 5 | 500 | 0.0005
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998625 | -2 | -2000 | -0.002 | 11431 | 11142 | 289 | 289000 | 0.289
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 775119 | 777569 | -2450 | -2695000 | -2.695
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 819405 | 822880 | -3475 | -3822500 | -3.8225
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989419 | 989456 | -37 | -37000 | -0.037 | 9278 | 9385 | -107 | -107000 | -0.107
| KASHMIRI GATE | [8 empty] | 0.0286 |  |  |  |  | -2.932
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962690 | 962706 | -16 | 16000 | 0.016 | 970467 | 973361 | -2894 | 2894000 | 2.894
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976588 | 976600 | -12 | 12000 | 0.012 | 968827 | 971663 | -2836 | 2836000 | 2.836
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 2585 | 1693 | 892 | 892000 | 0.892
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26066 | 25972 | 94 | -94000 | -0.094 | 973364 | 973486 | -122 | 122000 | 0.122
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9873 | 9704 | 169 | -169000 | -0.169 | 968516 | 968812 | -296 | 296000 | 0.296
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997813 | 997766 | 47 | -47000 | -0.047 | 997590 | 998026 | -436 | 436000 | 0.436
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982416 | 982365 | 51 | -51000 | -0.051 | 992841 | 993281 | -440 | 440000 | 0.44
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4133 | 4121 | 12 | 2400 | 0.0024 | 7409 | 3155 | 4254 | 850800 | 0.8508
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14177 | 14175 | 2 | 2000 | 0.002 | 29815 | 28367 | 1448 | 1448000 | 1.448
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111137 | 111430 | -293 | -29300 | -0.0293 | 1585 | 1615 | -30 | -3000 | -0.003
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 79544 | 76605 | 2939 | 293900 | 0.2939 | 1984 | 690 | 1294 | 129400 | 0.1294
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.0419 |  |  |  |  | 8.5455
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.0419 |  |  |  |  | 8.5455
JUNE-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994856 | 994854 | 2 | -2000 | -0.002 | 924431 | 928957 | -4526 | 4526000 | 4.526
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14033 | 14031 | 2 | -2000 | -0.002 | 943904 | 948020 | -4116 | 4116000 | 4.116
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997230 | 0 | 0 | 0 | 988425 | 992888 | -4463 | 4463000 | 4.463
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925396 | 925801 | -405 | 405000 | 0.405 | 992406 | 993056 | -650 | 650000 | 0.65
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915342 | 915754 | -412 | 412000 | 0.412 | 990821 | 991394 | -573 | 573000 | 0.573
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 562 | 562 | 0 | 0 | 0 | 992128 | 992003 | 125 | -125000 | -0.125
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998631 | 0 | 0 | 0 | 986714 | 987511 | -797 | 1594000 | 1.594
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998967 | 998967 | 0 | 0 | 0 | 965804 | 967175 | -1371 | 1371000 | 1.371
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9445 | 9445 | 0 | 0 | 0 | 931676 | 940411 | -8735 | 8735000 | 8.735
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962671 | 962700 | -29 | 29000 | 0.029 | 873945 | 876348 | -2403 | 2403000 | 2.403
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21694 | 21683 | 11 | -11000 | -0.011 | 33093 | 31380 | 1713 | -1713000 | -1.713
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20381 | 20364 | 17 | -17000 | -0.017 | 42530 | 40799 | 1731 | -1731000 | -1.731
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.814 |  |  |  |  | 24.862
| (B) NET ENERGY TO EAST | [8 empty] | 0.814 |  |  |  |  | 24.862
JUNE-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992285 | 992279 | 6 | -6000 | -0.006 | 998509 | 998330 | 179 | -179000 | -0.179
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1052 | 1052 | 0 | 0 | 0 | 1239 | 479 | 760 | -380000 | -0.38
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39557 | 39502 | 55 | -11000 | -0.011 | 69891 | 68632 | 1259 | -251800 | -0.2518
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 68901 | 68568 | 333 | -33300 | -0.0333 | 135271 | 132572 | 2699 | -269900 | -0.2699
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984735 | 984760 | -25 | 5000 | 0.005 | 2832 | 3407 | -575 | 115000 | 0.115
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 64228 | 63892 | 336 | -67200 | -0.0672 | 86418 | 85007 | 1411 | -282200 | -0.2822
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 1082 | 685 | 397 | -317600 | -0.3176 | 754 | 321 | 433 | -346400 | -0.3464
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13105 | 13109 | -4 | 8000 | 0.008 | 829 | 770 | 59 | -118000 | -0.118
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985895 | 985966 | -71 | 56800 | 0.0568 | 994329 | 995197 | -868 | 694400 | 0.6944
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995832 | 995857 | -25 | 20000 | 0.02 | 997445 | 998012 | -567 | 453600 | 0.4536
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999486 | 999516 | -30 | 24000 | 0.024 | 998653 | 998944 | -291 | 232800 | 0.2328
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996375 | 996374 | 1 | -1000 | -0.001 | 37066 | 37234 | -168 | 168000 | 0.168
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995919 | 995932 | -13 | 17333.29 | 0.017333 | 999641 | 999789 | -148 | 197332.84 | 0.19733
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1339 | 1335 | 4 | -4000 | -0.004 | 19963 | 19341 | 622 | -622000 | -0.622
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163 | 158 | 5 | -5000 | -0.005 | 2484 | 2565 | -81 | 81000 | 0.081
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1281 | 1281 | 0 | 0 | 0 | 60385 | 59855 | 530 | -530000 | -0.53
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5308 | 5308 | 0 | 0 | 0 | 27425 | 27017 | 408 | -204000 | -0.204
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3469 | 0 | 0 | 0 | 25030 | 24565 | 465 | -232500 | -0.2325
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4408 | 4389 | 19 | -9500 | -0.0095 | 14288 | 14135 | 153 | -76500 | -0.0765
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 15 | 0 | 15 | -10000 | -0.01 | 249 | 108 | 141 | -94000 | -0.094
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 128061 | 127983 | 78 | -7800 | -0.0078 | 26880 | 28374 | -1494 | 149400 | 0.1494
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19547 | 19547 | 0 | 0 | 0 | 39977 | 38992 | 985 | -98500 | -0.0985
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996162 | 996225 | -63 | 6300 | 0.0063 | 5929 | 5939 | -10 | 1000 | 0.001
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8180 | 8171 | 9 | -900 | -0.0009 | 15162 | 14943 | 219 | -21900 | -0.0219
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 20446 | 20351 | 95 | -9500 | -0.0095 | 52443 | 50956 | 1487 | -148700 | -0.1487
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2422 | 2451 | -29 | 2900 | 0.0029 | 999969 | 999982 | -13 | 1300 | 0.0013
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998991 | 999000 | -9 | 900 | 0.0009 | 169 | 198 | -29 | 2900 | 0.0029
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 10476 | 8505 | 1971 | -197100 | -0.1971 | 71553 | 71405 | 148 | -14800 | -0.0148
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 8479 | 7584 | 895 | -89500 | -0.0895 | 61946 | 61582 | 364 | -36400 | -0.0364
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 10057 | 8844 | 1213 | -121300 | -0.1213 | 89408 | 88927 | 481 | -48100 | -0.0481
[10 empty] | -0.74947 |  |  |  |  | -1.858
JUNE-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.0419 |  |  |  |  | 8.5455
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.74947 |  |  |  |  | -1.858
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.5491 |  |  |  |  | -0.0392
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.3405 |  |  |  |  | 6.6483
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.814 |  |  |  |  | 24.862
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.52647 |  |  |  |  | 31.5103
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.52647 | (REACTIVE MUs) |  |  |  | 31.5103 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.037343 | (REACTIVE MUs) |  |  |  | -0.067222 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.48912 | (REACTIVE MUs) |  |  |  | 31.4431 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998129 | 998134 | -5 | -20000 | -0.02 | 8996 | 9101 | -105 | -420000 | -0.42
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988431 | 988425 | 6 | 7999.98 | 0.008 | 673932 | 674066 | -134 | -178666.22 | -0.17867
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6778 | 6778 | 0 | 0 | 0 | 64352 | 63208 | 1144 | 1144000 | 1.144
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11352 | 11343 | 9 | 9000 | 0.009 | 999314 | 999321 | -7 | -7000 | -0.007
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8847 | 8847 | 0 | 0 | 0 | 120727 | 118606 | 2121 | 212100 | 0.2121
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 29039 | 28693 | 346 | 34600 | 0.0346 | 243963 | 244074 | -111 | -11100 | -0.0111
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7979 | 7992 | -13 | -1300 | -0.0013 | 392993 | 393983 | -990 | -99000 | -0.099
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999230 | 999230 | 0 | 0 | 0 | 998978 | 999437 | -459 | -413100 | -0.4131
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990651 | 990594 | 57 | -57000 | -0.057 | 947931 | 948746 | -815 | 815000 | 0.815
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988316 | 988229 | 87 | -87000 | -0.087 | 952654 | 953447 | -793 | 793000 | 0.793
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984021 | 984123 | -102 | 102000 | 0.102 | 934061 | 936765 | -2704 | 2704000 | 2.704
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996472 | 996438 | 34 | -34000 | -0.034 | 952392 | 953577 | -1185 | 1185000 | 1.185
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998447 | 998514 | -67 | 67000 | 0.067 | 983835 | 986020 | -2185 | 2185000 | 2.185
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14121 | 14119 | 2 | -2000 | -0.002 | 987398 | 988121 | -723 | 723000 | 0.723
NAJAFGARH
16 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 443 | 6 | 437 | -437000 | -0.437 | 999763 | 999963 | -200 | 200000 | 0.2
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9034 | 8820 | 214 | -214000 | -0.214 | 3803 | 6920 | -3117 | 3117000 | 3.117
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25123 | 24743 | 380 | -380000 | -0.38 | 6590 | 6885 | -295 | 295000 | 0.295
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33951 | 33569 | 382 | -382000 | -0.382 | 42938 | 43979 | -1041 | 1041000 | 1.041
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8136 | 8119 | 17 | 17000 | 0.017 | 6842 | 6840 | 2 | 2000 | 0.002
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918264 | 918585 | -321 | 321000 | 0.321 | 896183 | 898758 | -2575 | 2575000 | 2.575
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963450 | 963618 | -168 | 168000 | 0.168 | 861917 | 863192 | -1275 | 1275000 | 1.275
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24 | 31 | -7 | 7000 | 0.007 | 976569 | 977332 | -763 | 763000 | 0.763
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 529 | 548 | -19 | 19000 | 0.019 | 963632 | 964955 | -1323 | 1323000 | 1.323
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999193 | 999534 | -341 | 341000 | 0.341 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999193 | 999197 | -4 | 4000 | 0.004 | 892015 | 893039 | -1024 | 1024000 | 1.024
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998477 | 998486 | -9 | 9000 | 0.009 | 872007 | 873232 | -1225 | 1225000 | 1.225
BRPL(+) continue | [14 empty] | JUNE-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997540 | 997488 | 52 | -52000 | -0.052 | 973195 | 973024 | 171 | -171000 | -0.171
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998815 | 998798 | 17 | -17000 | -0.017 | 989859 | 989441 | 418 | -418000 | -0.418
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993938 | 993920 | 18 | -36000 | -0.036 | 970722 | 970883 | -161 | 322000 | 0.322
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997129 | 997136 | -7 | 7000 | 0.007 | 919884 | 922552 | -2668 | 2668000 | 2.668
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996588 | 996619 | -31 | 31000 | 0.031 | 932240 | 934772 | -2532 | 2532000 | 2.532
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997036 | 997045 | -9 | 9000 | 0.009 | 924561 | 927410 | -2849 | 2849000 | 2.849
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 994343 | 994558 | -215 | 143333.19 | 0.14333 | 986643 | 990071 | -3428 | 2285331.048 | 2.2853
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 972805 | 972805 | 0 | 0 | 0 | 971784 | 971784 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1093 | 1093 | 0 | 0 | 0 | 1361 | 1360 | 1 | -2000 | -0.002
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997969 | 997969 | 0 | 0 | 0 | 541 | 544 | -3 | 6000 | 0.006
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955501 | 955727 | -226 | 226000 | 0.226 | 996527 | 996893 | -366 | 366000 | 0.366
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964341 | 964460 | -119 | 119000 | 0.119 | 997106 | 997542 | -436 | 436000 | 0.436
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994674 | 994783 | -109 | -87200 | -0.0872 | 1276 | 1240 | 36 | 28800 | 0.0288
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 13420 | 13011 | 409 | 327200 | 0.3272 | 869 | 856 | 13 | 10400 | 0.0104
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 970281 | 972388 | -2107 | -1685600 | -1.6856 | 999697 | 999698 | -1 | -800 | -0.0008
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996375 | 996374 | 1 | 1000 | 0.001 | 37066 | 37234 | -168 | -168000 | -0.168
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995919 | 995932 | -13 | -17333.29 | -0.017333 | 999641 | 999789 | -148 | -197332.84 | -0.19733
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8292 | 8273 | 19 | -19000 | -0.019 | 977082 | 978107 | -1025 | 1025000 | 1.025
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999249 | 999249 | 0 | 0 | 0 | 987024 | 986317 | 707 | -707000 | -0.707
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 12227 | 11047 | 1180 | 118000 | 0.118 | 13755 | 12847 | 908 | 90800 | 0.0908
SUDARSHAN PARK
51 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 31097 | 31353 | -256 | -25600 | -0.0256 | 143395 | 143396 | -1 | -100 | -0.0001 | Check meter used
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956031 | 956392 | -361 | -361000 | -0.361 | 992459 | 992480 | -21 | -21000 | -0.021
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1405 | 1405 | 0 | 0 | 0 | 8719 | 8203 | 516 | 51600 | 0.0516
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8391 | 8390 | 1 | 100 | 0.0001 | 17578 | 15908 | 1670 | 167000 | 0.167
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.8268 |  |  |  |  | 32.6249
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111137 | 111430 | -293 | 29300 | 0.0293 | 1585 | 1615 | -30 | 3000 | 0.003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 79544 | 76605 | 2939 | -293900 | -0.2939 | 1984 | 690 | 1294 | -129400 | -0.1294
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998442 | 998548 | -106 | 10600 | 0.0106 | 999986 | 1000002 | -16 | 1600 | 0.0016 | ROLL OVER
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997081 | 997204 | -123 | 12300 | 0.0123 | 999923 | 999935 | -12 | 1200 | 0.0012
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 918 | 875 | 43 | -86000 | -0.086 | 72877 | 72605 | 272 | -544000 | -0.544
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1737 | 1601 | 136 | -136000 | -0.136 | 22 | 15 | 7 | -7000 | -0.007
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890230 | 890230 | 0 | 0 | 0 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 56211 | 56080 | 131 | -13100 | -0.0131 | 56228 | 55062 | 1166 | -116600 | -0.1166
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 46858 | 46703 | 155 | -15500 | -0.0155 | 55858 | 55220 | 638 | -63800 | -0.0638
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 83505 | 82787 | 718 | -143600 | -0.1436 | 109131 | 107300 | 1831 | -366200 | -0.3662
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4323 | 4351 | -28 | -14000 | -0.014 | 19657 | 20406 | -749 | -374500 | -0.3745
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3896 | 4121 | -225 | -18750 | -0.01875 | 986402 | 986977 | -575 | -47916.6667 | -0.047917
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 996903 | 996903 | 0 | 0 | 0 | 994294 | 994294 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 279794 | 279077 | 717 | -71700 | -0.0717 | 43815 | 41021 | 2794 | -279400 | -0.2794
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1322 | 1287 | 35 | -3500 | -0.0035 | 16989 | 16367 | 622 | -62200 | -0.0622
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77648 | 84 | -8400 | -0.0084
18 | 20MVA Tx-2 | Difference of actual(2 days) and assessed energy(11days) for May month 2013 bill | [7 empty] | 0.01464 |  |  |  |  | -0.023075
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9234 | 9213 | 21 | -2100 | -0.0021 | 28605 | 28489 | 116 | -11600 | -0.0116
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10198 | 10014 | 184 | -18400 | -0.0184 | 46447 | 43730 | 2717 | -271700 | -0.2717
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15320 | 15066 | 254 | -25400 | -0.0254 | 51499 | 51353 | 146 | -14600 | -0.0146
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 39496 | 39318 | 178 | -17800 | -0.0178 | 13640 | 13085 | 555 | -55500 | -0.0555
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16656 | 16656 | 0 | 0 | 0 | 12686 | 12385 | 301 | -30100 | -0.0301
28 | PHILIPS | Assessment on PRO-RATA base for the period 01/06/13 to 24/06/13 | [7 empty] | 0.00032857 |  |  |  |  | -0.022343
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 1000000 | -1 | 100 | 0.0001 | 68 | 0 | 68 | -6800 | -0.0068 | installed on dated 24/06/13,Roll Over
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.79248 |  |  |  |  | -2.4293
JUNE-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.8268 |  |  |  |  | 32.6249
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.79248 |  |  |  |  | -2.4293
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.11925 |  |  |  |  | 1.5841
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1988 |  |  |  |  | -0.3637
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.6988 |  |  |  |  | 31.416
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.6988 | (REACTIVE MUs) |  |  |  | 31.416 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.066229 | (REACTIVE MUs) |  |  |  | -0.11922 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.6326 | (REACTIVE MUs) |  |  |  | 31.2968 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39557 | 39502 | 55 | 11000 | 0.011 | 69891 | 68632 | 1259 | 251800 | 0.2518
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 68901 | 68568 | 333 | 33300 | 0.0333 | 135271 | 132572 | 2699 | 269900 | 0.2699
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984735 | 984760 | -25 | -5000 | -0.005 | 2832 | 3407 | -575 | -115000 | -0.115
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 64228 | 63892 | 336 | 67200 | 0.0672 | 86418 | 85007 | 1411 | 282200 | 0.2822
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 1082 | 685 | 397 | 317600 | 0.3176 | 754 | 321 | 433 | 346400 | 0.3464
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13105 | 13109 | -4 | -8000 | -0.008 | 829 | 770 | 59 | 118000 | 0.118
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985895 | 985966 | -71 | -56800 | -0.0568 | 994329 | 995197 | -868 | -694400 | -0.6944
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995832 | 995857 | -25 | -20000 | -0.02 | 997445 | 998012 | -567 | -453600 | -0.4536
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999486 | 999516 | -30 | -24000 | -0.024 | 998653 | 998944 | -291 | -232800 | -0.2328
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999000 | 999001 | -1 | -100 | -0.0001 | 349449 | 345478 | 3971 | 397100 | 0.3971
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6440 | 6445 | -5 | -500 | -0.0005 | 469057 | 470261 | -1204 | -120400 | -0.1204
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12217 | 12186 | 31 | 3100 | 0.0031 | 320017 | 312079 | 7938 | 793800 | 0.7938
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5299 | 5297 | 2 | 200 | 0.0002 | 343537 | 338842 | 4695 | 469500 | 0.4695
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997731 | 997731 | 0 | 0 | 0 | 281589 | 277195 | 4394 | 439400 | 0.4394
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 590 | 590 | 0 | 0 | 0 | 176950 | 177815 | -865 | -86500 | -0.0865
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13447 | 13447 | 0 | 0 | 0 | 261180 | 262290 | -1110 | -111000 | -0.111
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 49051 | 49013 | 38 | 3800 | 0.0038 | 694561 | 688973 | 5588 | 558800 | 0.5588
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 64504 | 63496 | 1008 | 1108800 | 1.1088
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3412 | 3411 | 1 | 1000 | 0.001 | 36736 | 36475 | 261 | 261000 | 0.261
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 136067 | 136684 | -617 | -678700 | -0.6787
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9113 | 9120 | -7 | -7000 | -0.007 | 52030 | 51435 | 595 | 595000 | 0.595
[10 empty] | -0.006 |  |  |  |  | 1.2861
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 918 | 875 | 43 | 86000 | 0.086 | 72877 | 72605 | 272 | 544000 | 0.544
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1737 | 1601 | 136 | 136000 | 0.136 | 22 | 15 | 7 | 7000 | 0.007
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890230 | 890230 | 0 | 0 | 0 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4323 | 4351 | -28 | 14000 | 0.014 | 19657 | 20406 | -749 | 374500 | 0.3745
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3896 | 4121 | -225 | 18750 | 0.01875 | 986402 | 986977 | -575 | 47916.6667 | 0.047917
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 996903 | 996903 | 0 | 0 | 0 | 994294 | 994294 | 0 | 0 | 0
JUNE-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984681 | 984707 | -26 | 26000 | 0.026 | 993977 | 997561 | -3584 | 3584000 | 3.584
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996174 | 996691 | -517 | 517000 | 0.517 | 995580 | 998363 | -2783 | 2783000 | 2.783
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 279794 | 279077 | 717 | 71700 | 0.0717 | 43815 | 41021 | 2794 | 279400 | 0.2794
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1322 | 1287 | 35 | 3500 | 0.0035 | 16989 | 16367 | 622 | 62200 | 0.0622
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 56211 | 56080 | 131 | 13100 | 0.0131 | 56228 | 55062 | 1166 | 116600 | 0.1166
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 46858 | 46703 | 155 | 15500 | 0.0155 | 55858 | 55220 | 638 | 63800 | 0.0638
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 83505 | 82787 | 718 | 143600 | 0.1436 | 109131 | 107300 | 1831 | 366200 | 0.3662
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1405 | 1405 | 0 | 0 | 0 | 8719 | 8203 | 516 | -51600 | -0.0516
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8391 | 8390 | 1 | -100 | -0.0001 | 17578 | 15908 | 1670 | -167000 | -0.167
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.3609 |  |  |  |  | 11.4093
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.3609 |  |  |  |  | 11.4093
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0084508 |  |  |  |  | -0.015212
| TOTAL ENERGY TO NDMC | [8 empty] | 1.3693 |  |  |  |  | 11.3941

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 20425 | 19509 | 916 | 916000 | 0.916
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 23856 | 23144 | 712 | 712000 | 0.712
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1275 | 0 | 0 | 0 | 32004 | 31775 | 229 | 229000 | 0.229
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 930 | 0 | 0 | 0 | 16944 | 15841 | 1103 | 1103000 | 1.103
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3118 | 3117 | 1 | 1000 | 0.001 | 9361 | 8803 | 558 | 558000 | 0.558
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998442 | 998548 | -106 | -10600 | -0.0106 | 999986 | 1000002 | -16 | -1600 | -0.0016 | ROLL OVER
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997081 | 997204 | -123 | -12300 | -0.0123 | 999923 | 999935 | -12 | -1200 | -0.0012
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0219 |  |  |  |  | 3.5152
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3432 | 5 | 500 | 0.0005 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 42411 | 41426 | 985 | 98500 | 0.0985 | 69201 | 68122 | 1079 | 107900 | 0.1079
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 70058 | 69921 | 137 | 13700 | 0.0137 | 10863 | 10736 | 127 | 12700 | 0.0127
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 37804 | 37062 | 742 | 74200 | 0.0742 | 55920 | 54276 | 1644 | 164400 | 0.1644
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80429 | 80310 | 119 | 11900 | 0.0119 | 56285 | 55498 | 787 | 78700 | 0.0787
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 4751 | 4683 | 68 | 6800 | 0.0068 | 1108 | 734 | 374 | 37400 | 0.0374
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1988 |  |  |  |  | 0.3637
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1988 |  |  |  |  | 0.3637
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0219 |  |  |  |  | 3.5152
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1769 |  |  |  |  | 3.8789
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1769 | (REACTIVE MUs) |  |  |  | 3.8789 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0011981 | (REACTIVE MUs) |  |  |  | -0.0021568 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.1781 | (REACTIVE MUs) |  |  |  | 3.8767 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 61688 | 64372 | -2684 | -268400 | -0.2684 | 79730 | 79760 | -30 | -3000 | -0.003
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 996193 | 997508 | -1315 | -131500 | -0.1315 | 999379 | 999418 | -39 | -3900 | -0.0039
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 219602 | 214648 | 4954 | 495400 | 0.4954 | 97248 | 96714 | 534 | 53400 | 0.0534
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 25834 | 25814 | 20 | 18750 | 0.01875 | 18308 | 18202 | 106 | 99375 | 0.099375
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991117 | 991123 | -6 | 3000 | 0.003 | 925574 | 927482 | -1908 | 954000 | 0.954
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989833 | 989837 | -4 | 2000 | 0.002 | 983098 | 984070 | -972 | 486000 | 0.486
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 26 | 32 | -6 | -1800 | -0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.11925 |  |  |  |  | 1.5841
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 940594 | 940937 | -343 | -68600 | -0.0686 | 991771 | 991776 | -5 | -1000 | -0.001
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 802664 | 807469 | -4805 | -480500 | -0.4805 | 927735 | 928117 | -382 | -38200 | -0.0382
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.5491 |  |  |  |  | -0.0392
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 210479 | 207968 | 2511 | 502200 | 0.5022 | 263500 | 263347 | 153 | 30600 | 0.0306
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 91185 | 90659 | 526 | 105200 | 0.1052 | 41363 | 41164 | 199 | 39800 | 0.0398
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 142875 | 141856 | 1019 | 101900 | 0.1019 | 72107 | 71743 | 364 | 36400 | 0.0364
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988957 | 988804 | 153 | 153000 | 0.153 | 998380 | 998305 | 75 | 75000 | 0.075
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 970960 | 971556 | -596 | -59600 | -0.0596 | 7237 | 7274 | -37 | -3700 | -0.0037
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999442 | 999441 | 1 | 937.5 | 0.0009375 | 665 | 1033 | -368 | -345000 | -0.345
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989387 | 989622 | -235 | 146875 | 0.14688 | 995549 | 995560 | -11 | 6875 | 0.006875
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 26 | 32 | -6 | 1800 | 0.0018
| TOTAL NDPL | [8 empty] | 0.95051 |  |  |  |  | -0.15822
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.11925 |  |  |  |  | 1.5841
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.5491 |  |  |  |  | -0.0392
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.95051 |  |  |  |  | -0.15822

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 8014 | 7978 | 36 | 72000 | 0.072 | 1751 | 1206 | 545 | 1090000 | 1.09
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11342 | 11311 | 31 | 62000 | 0.062 | 2331 | 1955 | 376 | 752000 | 0.752
[7 empty] | NET REACTIVE ENERGY |  |  | 0.134 |  | NET REACTIVE ENERGY |  |  | 1.842
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994817 | 994817 | 0 | 0 | 0 | 40905 | 41383 | -478 | -478000 | -0.478
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996681 | 996681 | 0 | 0 | 0 | 997014 | 998000 | -986 | -986000 | -0.986
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -0.478
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.134 |  |  |  |  | 1.364
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0286 |  |  |  |  | -2.932
[7 empty] | NDMC = |  |  | -0.006 |  |  |  |  | 1.2861
MES =
[7 empty] | 2)TOTAL |  |  | 0.0226 |  |  |  |  | -1.6459
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.1566 |  |  |  |  | -0.2819
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.7006 | % |  |  | 0.043379 |  |  |  |  | -0.078088
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.2917 | % |  |  | 0.066229 |  |  |  |  | -0.11922
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8462 | % |  |  | 0.037343 |  |  |  |  | -0.067222
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3964 | % |  |  | 0.0084508 |  |  |  |  | -0.015212
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7651 | % |  |  | 0.0011981 |  |  |  |  | -0.0021568
Note :Sharing taken from wk-11 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2013 TO 30th JUNE-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.237 | + | 6.5466
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.6326 | + | 31.2968
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.48912 | + | 31.4431
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.3693 | + | 11.3941
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.1781 | + | 3.8767
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2013 | INTIAL READING 01/06/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 963186 | 963427 | -241 | -361500 | -0.3615 | 981045 | 981073 | -28 | -42000 | -0.042
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999811 | 999844 | -33 | -49500 | -0.0495 | 996794 | 997739 | -945 | -1417500 | -1.4175
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 918045 | 918284 | -239 | -358500 | -0.3585 | 966851 | 967785 | -934 | -1401000 | -1.401
[8 empty] | NET REACTIVE ENERGY |  | -0.7695 |  |  | NET REACTIVE ENERGY |  | -2.8605
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997247 | 997239 | 8 | 40000 | 0.04 | 31005 | 30976 | 29 | 145000 | 0.145
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999594 | 999594 | 0 | 0 | 0 | 2388 | 2450 | -62 | -62000 | -0.062
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A