## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971482 | 972021 | -539 | 539000 | 0.539 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71427 | 71039 | 388 | -388000 | -0.388 | 1621 | 1628 | -7 | 7000 | 0.007
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933661 | 934779 | -1118 | 1118000 | 1.118 | 995463 | 995530 | -67 | 67000 | 0.067
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997818 | 997841 | -23 | 23000 | 0.023 | 995920 | 996076 | -156 | 156000 | 0.156
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880576 | 880424 | 152 | -152000 | -0.152 | 999518 | 999454 | 64 | -64000 | -0.064
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28911 | 28848 | 63 | -63000 | -0.063 | 16291 | 16306 | -15 | 15000 | 0.015
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4102 | 4052 | 50 | -50000 | -0.05 | 998290 | 998306 | -16 | 16000 | 0.016
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1643 | 1640 | 3 | -3000 | -0.003 | 999251 | 999492 | -241 | 241000 | 0.241
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968715 | 968829 | -114 | 57000 | 0.057 | 847286 | 847860 | -574 | 287000 | 0.287
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3192 | 3121 | 71 | -71000 | -0.071 | 998891 | 998906 | -15 | 15000 | 0.015
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39005 | 38608 | 397 | -397000 | -0.397 | 999048 | 999172 | -124 | 124000 | 0.124
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14633 | 14528 | 105 | -105000 | -0.105 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 840008 | 844349 | -4341 | -4341000 | -4.341 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947698 | 951443 | -3745 | -3745000 | -3.745 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979823 | 981354 | -1531 | 1531000 | 1.531 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 15243 | 15086 | 157 | -78500 | -0.0785 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41367 | 40275 | 1092 | -1092000 | -1.092 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 991323 | 991015 | 308 | 308000 | 0.308
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 638 | 645 | -7 | -7000 | -0.007 | 22765 | 22761 | 4 | 4000 | 0.004
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1348 | 1348 | 0 | 0 | 0 | 7957 | 7584 | 373 | 186500 | 0.1865
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149786 | 149721 | 65 | 6500 | 0.0065 | 316142 | 311103 | 5039 | 503900 | 0.5039
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995506 | 995508 | -2 | -2000 | -0.002 | 984419 | 984592 | -173 | -173000 | -0.173
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 999119 | 999124 | -5 | -5000 | -0.005
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 49160 | 48676 | 484 | 48400 | 0.0484 | 121615 | 121239 | 376 | 37600 | 0.0376
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977169 | 979792 | -2623 | -2623000 | -2.623 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 559924 | 561727 | -1803 | -1803000 | -1.803 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999404 | 998677 | 727 | 193869.09 | 0.19387 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 958 | 765 | 193 | 96500 | 0.0965 | 6 | 0 | 6 | 3000 | 0.003
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21897 | 20641 | 1256 | -1256000 | -1.256 | 996895 | 996962 | -67 | 67000 | 0.067
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 92912 | 91995 | 917 | -458500 | -0.4585 | 14890 | 14971 | -81 | 40500 | 0.0405
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12676 | 11869 | 807 | -807000 | -0.807 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 46699 | 44240 | 2459 | -4918000 | -4.918 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61317 | 59412 | 1905 | -1905000 | -1.905 | 998776 | 998776 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116903 | 113232 | 3671 | -3671000 | -3.671 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1014 | 180 | 834 | -2085000 | -2.085 | 999999 | 1000000 | -1 | 2500 | 0.0025
[10 empty] | 0.658 |  |  |  |  | 0 | Last month Assessment
|  | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37177 | 33783 | 3394 | -3394000 | -3.394 |  |  |  |  | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28916 | 26733 | 2183 | -2183000 | -2.183 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999040 | 999360 | -320 | 320000 | 0.32 | 998646 | 998710 | -64 | 64000 | 0.064
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30416 | 29743 | 673 | -673000 | -0.673 | 1579 | 1576 | 3 | -3000 | -0.003
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 749 | 917 | -168 | -168000 | -0.168 | 28601 | 28602 | -1 | -1000 | -0.001
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | APRIL-2019
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1165 | 1176 | -11 | -11000 | -0.011 | 61275 | 61277 | -2 | -2000 | -0.002
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999327 | 999323 | 4 | 400 | 0.0004 | 999449 | 999448 | 1 | 100 | 0.0001
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2409 | 2470 | -61 | -6100 | -0.0061 | 27200 | 27133 | 67 | 6700 | 0.0067
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 489 | 489 | 0 | 0 | 0 | 424 | 378 | 46 | 61318 | 0.061318
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2801 | 2801 | 0 | 0 | 0 | 1539 | 1515 | 24 | 2400 | 0.0024
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 3 | 0 | 3 | 300 | 0.0003 | 766 | 75 | 691 | 69100 | 0.0691 | w.e.f 27/3/19
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7157 | 15 | 2499.9 | 0.0024999
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999855 | 0 | 0 | 0 | 1221 | 1189 | 32 | 16000 | 0.016
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1925 | 1903 | 22 | 14666.74 | 0.014667 | 183 | 167 | 16 | 10666.72 | 0.010667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4849 | 4827 | 22 | 14666.6667 | 0.014667 | 1496 | 1475 | 21 | 14000 | 0.014
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997339 | 997340 | -1 | -100 | -0.0001 | 3798 | 3816 | -18 | -1800 | -0.0018
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6021 | 5827 | 194 | 19400 | 0.0194 | 11098 | 11077 | 21 | 2100 | 0.0021
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 5660 | 5437 | 223 | 22300 | 0.0223 | 937 | 535 | 402 | 40200 | 0.0402
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25756 | 25649 | 107 | 10700 | 0.0107 | 6622 | 6408 | 214 | 21400 | 0.0214
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 44520 | 41967 | 2553 | 255300 | 0.2553 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26262 | 26262 | 0 | 0 | 0 | 51738 | 51572 | 166 | 16600 | 0.0166
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 315 | 306 | 9 | -2700 | -0.0027
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 81 | -20 | 8000 | 0.008
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983914 | 985037 | -1123 | -898400 | -0.8984 | 999915 | 999916 | -1 | -800 | -0.0008
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998278 | 998416 | -138 | -276000 | -0.276 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 986230 | 985507 | 723 | 72300 | 0.0723 | 291 | 250 | 41 | 4100 | 0.0041
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999626 | 999710 | -84 | -21000 | -0.021 | 272 | 255 | 17 | 4250 | 0.00425
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999211 | 999461 | -250 | -250000 | -0.25 | 1759 | 1743 | 16 | 16000 | 0.016
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1265 | 1018 | 247 | 185250 | 0.18525 | 2800 | 2684 | 116 | 87000 | 0.087
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -32.715 |  |  |  |  | 2.2741
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12500 | 12494 | 6 | -600 | -0.0006 | 107834 | 105522 | 2312 | -231200 | -0.2312
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 160 | 161 | -1 | 800 | 0.0008 | 9043 | 9043 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2664 | 2599 | 65 | -65000 | -0.065 | 611 | 606 | 5 | -5000 | -0.005
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4924 | 4505 | 419 | -167600 | -0.1676 | 506 | 486 | 20 | -8000 | -0.008
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998762 | 998689 | 73 | -13687.5 | -0.013688 | 999955 | 999934 | 21 | -3937.5 | -0.0039375
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 949631 | 950767 | -1136 | 908800 | 0.9088 | 998672 | 998693 | -21 | 16800 | 0.0168
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999327 | 1000000 | -673 | -538400 | -0.5384
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 994714 | 995413 | -699 | 436875 | 0.43688 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 996318 | 996482 | -164 | 102500 | 0.1025 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999489 | 999296 | 193 | -38600 | -0.0386 | 11915 | 11232 | 683 | -136600 | -0.1366
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997196 | 997227 | -31 | 5812.5 | 0.0058125 | 5258 | 5078 | 180 | -33750 | -0.03375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1366 | 1154 | 212 | -53000 | -0.053 | 5479 | 5385 | 94 | -23500 | -0.0235
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999184 | 998888 | 296 | -29600 | -0.0296 | 17763 | 16960 | 803 | -80300 | -0.0803
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.0867 |  |  |  |  | -1.0439
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -32.715 |  |  |  |  | 2.2741
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.0867 |  |  |  |  | -1.0439
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0047375 |  |  |  |  | -0.091412
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -31.6236 |  |  |  |  | 1.1388
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -31.6236 | (REACTIVE MUs) |  |  |  | 1.1388 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.452 | (REACTIVE MUs) |  |  |  | -0.0014666 | (REACTIVE MUs)
[9 empty] | TOTAL | -35.0757 | (REACTIVE MUs) |  |  |  | 1.1374 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 23457 | 20857 | 2600 | 260000 | 0.26 | 993554 | 993443 | 111 | 11100 | 0.0111
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10279 | 9445 | 834 | 250200 | 0.2502 | 4145 | 3975 | 170 | 51000 | 0.051
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 44156 | 40981 | 3175 | 238125 | 0.23813 | 345398 | 344345 | 1053 | 78975 | 0.078975
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995120 | 995816 | -696 | -208800 | -0.2088 | 5949 | 5954 | -5 | -1500 | -0.0015
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1703 | 1719 | -16 | -21332.8 | -0.021333 | 3586 | 3585 | 1 | 1333.3 | 0.0013333
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 49095 | 49095 | 0 | 0 | 0 | 155827 | 155827 | 0 | 0 | 0
|  | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15048 | 13267 | 1781 | 178100 | 0.1781 | 983938 | 984103 | -165 | -16500 | -0.0165 | Check Meter Data
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 47948 | 33602 | 14346 | 1075950 | 1.0759 | 41304 | 40935 | 369 | 27675 | 0.027675
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982947 | 983197 | -250 | -250000 | -0.25 | 2294 | 2295 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996260 | 996619 | -359 | -179500 | -0.1795 | 558 | 564 | -6 | -3000 | -0.003
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998047 | 998242 | -195 | -195000 | -0.195 | 1521 | 1522 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991362 | 991362 | 0 | 0 | 0 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992399 | 992776 | -377 | -377000 | -0.377 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000054 | 998461 | 1593 | 1593000 | 1.593 | 998603 | 998569 | 34 | 34000 | 0.034
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997873 | 997997 | -124 | -124000 | -0.124 | 999804 | 999873 | -69 | -69000 | -0.069
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996358 | 996567 | -209 | -167200 | -0.1672 | 4976 | 4977 | -1 | -800 | -0.0008
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999426 | 999559 | -133 | -133000 | -0.133 | 33438 | 33439 | -1 | -1000 | -0.001 | data till 29/04
|  | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999416 | 999419 | -3 | -3000 | -0.003 | 33229 | 33229 | 0 | 0 | 0 | Check Meter Data
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1533 | 1576 | -43 | -43000 | -0.043 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1155 | 1342 | -187 | -187000 | -0.187 | 17361 | 17363 | -2 | -2000 | -0.002
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974035 | 974243 | -208 | -260000 | -0.26 | 951753 | 951762 | -9 | -11250 | -0.01125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990859 | 991356 | -497 | -546700 | -0.5467 | 938549 | 938557 | -8 | -8800 | -0.0088
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958261 | 958535 | -274 | -274000 | -0.274 | 7606 | 7609 | -3 | -3000 | -0.003
| KASHMIRI GATE | [8 empty] | -1.0807 |  |  |  |  | -0.02305
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992364 | 993045 | -681 | 681000 | 0.681 | 999976 | 999999 | -23 | 23000 | 0.023
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990367 | 988562 | 1805 | -1805000 | -1.805 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 315 | 306 | 9 | 2700 | 0.0027
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 9807 | 9539 | 268 | 268000 | 0.268
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 106305 | 104651 | 1654 | -1654000 | -1.654 | 835 | 835 | 0 | 0 | 0
[5 empty] | -1000 | 103169 | 103169 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28901 | 27671 | 1230 | -1230000 | -1.23 | 999033 | 999032 | 1 | -1000 | -0.001
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998647 | 998888 | -241 | 241000 | 0.241 | 999997 | 999999 | -2 | 2000 | 0.002
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996316 | 996192 | 124 | -124000 | -0.124 | 998336 | 998352 | -16 | 16000 | 0.016
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995857 | 995499 | 358 | -358000 | -0.358 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19615 | 17594 | 2021 | -2021000 | -2.021 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14455 | 12973 | 1482 | -2964000 | -2.964 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2664 | 2599 | 65 | 65000 | 0.065 | 611 | 606 | 5 | 5000 | 0.005
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4924 | 4505 | 419 | 167600 | 0.1676 | 506 | 486 | 20 | 8000 | 0.008
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996422 | 996717 | -295 | -39235 | -0.039235 | 13589 | 13589 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972470 | 975900 | -3430 | 3430000 | 3.43 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985735 | 988949 | -3214 | 3214000 | 3.214 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.7708 |  |  |  |  | 0.40893
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.7708 |  |  |  |  | 0.40893
APRIL-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993320 | 993879 | -559 | 559000 | 0.559 | 998713 | 998769 | -56 | 56000 | 0.056
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989795 | 990115 | -320 | 320000 | 0.32 | 964899 | 965178 | -279 | 279000 | 0.279
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998192 | 998781 | -589 | 589000 | 0.589 | 999928 | 999999 | -71 | 71000 | 0.071 | w.e.f 15/2/19
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993729 | 995394 | -1665 | 1665000 | 1.665 | 999942 | 999999 | -57 | 57000 | 0.057 | w.e.f 01/01/19
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16488 | 15894 | 594 | -594000 | -0.594 | 998795 | 998809 | -14 | 14000 | 0.014
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1002427 | 1001827 | 600 | -600000 | -0.6 | 997775 | 997784 | -9 | 9000 | 0.009
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7790 | 6815 | 975 | -975000 | -0.975 | 937178 | 937188 | -10 | 10000 | 0.01
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956336 | 956276 | 60 | -60000 | -0.06 | 989314 | 989486 | -172 | 172000 | 0.172
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964287 | 965108 | -821 | 821000 | 0.821 | 982783 | 982802 | -19 | 19000 | 0.019
[5 empty] | -1000 | [5 empty] | 989786 | 989820 | -34 | 34000 | 0.034
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957789 | 957664 | 125 | -125000 | -0.125 | 827831 | 827844 | -13 | 13000 | 0.013
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30643 | 29431 | 1212 | -1212000 | -1.212 | 134 | 136 | -2 | 2000 | 0.002
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14226 | 11780 | 2446 | -2446000 | -2.446 | 919565 | 919565 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.058 |  |  |  |  | 0.736
| (B) NET ENERGY TO EAST | [8 empty] | -2.058 |  |  |  |  | 0.736
APRIL-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999404 | 998677 | 727 | -193869.09 | -0.19387 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 958 | 765 | 193 | -96500 | -0.0965 | 6 | 0 | 6 | -3000 | -0.003 | w.e.f 01/01/19
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2983 | 3062 | -79 | 21066.14 | 0.021066 | 2195 | 2196 | -1 | 266.66 | 0.00026666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 91023 | 90976 | 47 | -4700 | -0.0047 | 149418 | 149421 | -3 | 300 | 0.0003
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994425 | 994720 | -295 | 59000 | 0.059 | 998997 | 998999 | -2 | 400 | 0.0004
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 61745 | 60997 | 748 | -149600 | -0.1496 | 124670 | 124666 | 4 | -800 | -0.0008
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 646 | 527 | 119 | -95200 | -0.0952 | 61 | 24 | 37 | -29600 | -0.0296
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3236 | 3178 | 58 | -46400 | -0.0464 | 704 | 705 | -1 | 800 | 0.0008
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 964589 | 964786 | -197 | 157600 | 0.1576 | 985957 | 985959 | -2 | 1600 | 0.0016
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966414 | 966558 | -144 | 115200 | 0.1152 | 986445 | 986530 | -85 | 68000 | 0.068
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973477 | 973824 | -347 | 277600 | 0.2776 | 992663 | 992674 | -11 | 8800 | 0.0088
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 967419 | 967419 | 0 | 0 | 0 | 994421 | 994421 | 0 | 0 | 0
[10 empty] | 0.065 |  |  |  |  | 0.001 | Assessment
|  | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999935 | 1000000 | -65 | 130000 | 0.13 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 11/04/19
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997927 | 997675 | 252 | -504000 | -0.504 | 999996 | 999996 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 749 | 917 | -168 | 168000 | 0.168 | 28601 | 28602 | -1 | 1000 | 0.001
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1165 | 1176 | -11 | 11000 | 0.011 | 61275 | 61277 | -2 | 2000 | 0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7157 | 15 | -2499.9 | -0.0024999
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999855 | 0 | 0 | 0 | 1221 | 1189 | 32 | -16000 | -0.016
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1925 | 1903 | 22 | -14666.74 | -0.014667 | 183 | 167 | 16 | -10666.72 | -0.010667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4849 | 4827 | 22 | -14666.6667 | -0.014667 | 1496 | 1475 | 21 | -14000 | -0.014
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 44520 | 41967 | 2553 | -255300 | -0.2553 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26262 | 26262 | 0 | 0 | 0 | 51738 | 51572 | 166 | -16600 | -0.0166
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997339 | 997340 | -1 | 100 | 0.0001 | 3798 | 3816 | -18 | 1800 | 0.0018
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6021 | 5827 | 194 | -19400 | -0.0194 | 11098 | 11077 | 21 | -2100 | -0.0021
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 5660 | 5437 | 223 | -22300 | -0.0223 | 937 | 535 | 402 | -40200 | -0.0402
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25756 | 25649 | 107 | -10700 | -0.0107 | 6622 | 6408 | 214 | -21400 | -0.0214
[10 empty] | -0.42274 |  |  |  |  | -0.0689
APRIL-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.7708 |  |  |  |  | 0.40893
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.42274 |  |  |  |  | -0.0689
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.11399 |  |  |  |  | 0.033263
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.3075 |  |  |  |  | 0.3733
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.058 |  |  |  |  | 0.736
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -4.3655 |  |  |  |  | 1.1093
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.3655 | (REACTIVE MUs) |  |  |  | 1.1093 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.745 | (REACTIVE MUs) |  |  |  | -0.0011662 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.1106 | (REACTIVE MUs) |  |  |  | 1.1081 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999302 | 999362 | -60 | -300000 | -0.3 | 998888 | 998900 | -12 | -60000 | -0.06
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981221 | 981591 | -370 | -493332.1 | -0.49333 | 670297 | 670302 | -5 | -6666.65 | -0.0066666
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996889 | 997443 | -554 | -110800 | -0.1108 | 2618 | 2693 | -75 | -15000 | -0.015
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999855 | 999804 | 51 | 67999.83 | 0.068 | 999641 | 999631 | 10 | 13333.3 | 0.013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/04/19
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18822 | 18779 | 43 | 4300 | 0.0043 | 22642 | 22635 | 7 | 700 | 0.0007
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 673565 | 682076 | -8511 | -638325 | -0.63833 | 980698 | 980886 | -188 | -14100 | -0.0141
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992657 | 993464 | -807 | -60525 | -0.060525 | 18276 | 18322 | -46 | -3450 | -0.00345
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996320 | 996403 | -83 | -74700 | -0.0747 | 995112 | 995132 | -20 | -18000 | -0.018
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2470 | 3081 | -611 | -61100 | -0.0611 | 265626 | 265638 | -12 | -1200 | -0.0012
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8056 | 7804 | 252 | -252000 | -0.252 | 997104 | 997137 | -33 | 33000 | 0.033
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100 | 78 | 22 | -44000 | -0.044 | 998502 | 998585 | -83 | 166000 | 0.166
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13733 | 12950 | 783 | -783000 | -0.783 | 997819 | 997882 | -63 | 63000 | 0.063
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974982 | 973829 | 1153 | -1153000 | -1.153 | 991964 | 992130 | -166 | 166000 | 0.166
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51387 | 50924 | 463 | -463000 | -0.463 | 996621 | 996615 | 6 | -6000 | -0.006
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55599 | 53238 | 2361 | -1180500 | -1.1805 | 21349 | 21219 | 130 | -65000 | -0.065
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9902 | 9770 | 132 | -264000 | -0.264 | 997395 | 997380 | 15 | -30000 | -0.03
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22474 | 22106 | 368 | -368000 | -0.368 | 845925 | 845956 | -31 | 31000 | 0.031
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38319 | 35988 | 2331 | -1864800 | -1.8648 | 998999 | 998996 | 3 | -2400 | -0.0024
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3961 | 4786 | -825 | 825000 | 0.825 | 963173 | 963193 | -20 | 20000 | 0.02
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994814 | 997077 | -2263 | 2263000 | 2.263 | 995813 | 995905 | -92 | 92000 | 0.092
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973795 | 975578 | -1783 | 1783000 | 1.783 | 987138 | 987160 | -22 | 22000 | 0.022
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 794 | 447 | 347 | -347000 | -0.347 | 997791 | 997824 | -33 | 33000 | 0.033
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1416 | 1370 | 46 | -46000 | -0.046 | 1000004 | 999999 | 5 | -5000 | -0.005
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 351 | 185 | 166 | -166000 | -0.166 | 999998 | 1000000 | -2 | 2000 | 0.002
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49095 | 46787 | 2308 | -2308000 | -2.308 | 999999 | 999999 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 3434 | 3434 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5463 | 5156 | 307 | -1023332.31 | -1.0233 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 160 | 161 | -1 | -800 | -0.0008 | 9043 | 9043 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976061 | 976906 | -845 | 845000 | 0.845 | 968981 | 968992 | -11 | 11000 | 0.011
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991194 | 991515 | -321 | 321000 | 0.321 | 985938 | 985938 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990343 | 989152 | 1191 | -1191000 | -1.191 | 985009 | 985012 | -3 | 3000 | 0.003
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5491 | 4730 | 761 | -608800 | -0.6088 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3072 | 2689 | 383 | -612800 | -0.6128 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 13093 | 11778 | 1315 | -657500 | -0.6575 | 999314 | 999807 | -493 | 246500 | 0.2465
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18557 | 17824 | 733 | -733000 | -0.733 | 33152 | 33167 | -15 | 15000 | 0.015
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998705 | 998562 | 143 | -143000 | -0.143 | 996215 | 996213 | 2 | -2000 | -0.002
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999641 | 999606 | 35 | -35000 | -0.035 | 999755 | 999745 | 10 | -10000 | -0.01
BRPL(+) continue | [14 empty] | APRIL-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32255 | 30293 | 1962 | -1962000 | -1.962 | 999888 | 999885 | 3 | -3000 | -0.003
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7219 | 5945 | 1274 | -1274000 | -1.274 | 999903 | 999899 | 4 | -4000 | -0.004
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10799 | 10287 | 512 | -512000 | -0.512 | 999355 | 999354 | 1 | -1000 | -0.001
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997906 | 997821 | 85 | -85000 | -0.085 | 926337 | 926348 | -11 | 11000 | 0.011
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12644 | 12044 | 600 | -600000 | -0.6 | 9400 | 9398 | 2 | -2000 | -0.002
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2967 | 2849 | 118 | -236000 | -0.236 | 996539 | 996534 | 5 | -10000 | -0.01
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38157 | 34700 | 3457 | -3457000 | -3.457 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16851 | 13532 | 3319 | -6638000 | -6.638 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7638 | 7624 | 14 | -28000 | -0.028 | 2325 | 2311 | 14 | -28000 | -0.028
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4934 | 4907 | 27 | -54000 | -0.054 | 1294 | 1277 | 17 | -34000 | -0.034
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919715 | 919061 | 654 | -654000 | -0.654 | 981033 | 981030 | 3 | -3000 | -0.003
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2233 | 1630 | 603 | -603000 | -0.603 | 996481 | 996478 | 3 | -3000 | -0.003
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1945 | 1083 | 862 | -862000 | -0.862 | 989285 | 989282 | 3 | -3000 | -0.003
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989864 | 990733 | -869 | -695200 | -0.6952 | 410 | 414 | -4 | -3200 | -0.0032
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 967328 | 970009 | -2681 | -2144800 | -2.1448 | 999829 | 999839 | -10 | -8000 | -0.008
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999327 | 1000000 | -673 | 538400 | 0.5384
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1327 | 1118 | 209 | 167200 | 0.1672 | 999819 | 999817 | 2 | 1600 | 0.0016
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997991 | 998093 | -102 | -81600 | -0.0816 | 999992 | 999991 | 1 | 800 | 0.0008
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997675 | 997675 | 0 | 0 | 0 | 999996 | 999996 | 0 | 0 | 0 | w.e.f 02/01/2019
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38500 | 34809 | 3691 | -3691000 | -3.691 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70645 | 65767 | 4878 | -4878000 | -4.878 | 175 | 168 | 7 | -7000 | -0.007
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77315 | 74588 | 2727 | -2727000 | -2.727 | 504 | 503 | 1 | -1000 | -0.001
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12500 | 12494 | 6 | 600 | 0.0006 | 107834 | 105522 | 2312 | 231200 | 0.2312
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998762 | 998689 | 73 | 13687.5 | 0.013688 | 999955 | 999934 | 21 | 3937.5 | 0.0039375
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957551 | 957799 | -248 | -99200 | -0.0992 | 993974 | 993802 | 172 | 68800 | 0.0688
[5 empty] | 400 | 975907 | 976277 | -370 | -148000 | -0.148
[5 empty] | 400 | 999909 | 1000076 | -167 | -66800 | -0.0668
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 993834 | 993644 | 190 | 76000 | 0.076 | 70375 | 70253 | 122 | 48800 | 0.0488
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 949631 | 950767 | -1136 | -908800 | -0.9088 | 998672 | 998693 | -21 | -16800 | -0.0168
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 387841 | 385107 | 2734 | 273400 | 0.2734 | 2041 | 2041 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5592 | 5018 | 574 | 574000 | 0.574 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10780 | 10780 | 0 | 0 | 0 | 17932 | 17619 | 313 | 23475 | 0.023475
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5292 | 5292 | 0 | 0 | 0 | 10490 | 9963 | 527 | 52700 | 0.0527
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6525 | 6248 | 277 | 138500 | 0.1385 | 2841 | 2822 | 19 | 9500 | 0.0095
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1300 | 1749 | -449 | -449000 | -0.449 | 4092 | 4095 | -3 | -3000 | -0.003
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991891 | 992451 | -560 | -560000 | -0.56 | 1136 | 1160 | -24 | -24000 | -0.024
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4833 | 4750 | 83 | 83000 | 0.083 | 6494 | 6516 | -22 | -22000 | -0.022
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4976 | 4654 | 322 | 51520 | 0.05152 | 999819 | 999701 | 118 | 18880 | 0.01888
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178526 | 178630 | -104 | -10400 | -0.0104 | 46575 | 45852 | 723 | 72300 | 0.0723
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2790 | 2592 | 198 | 198000 | 0.198 | 390 | 337 | 53 | 53000 | 0.053
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3485 | 3434 | 51 | 51000 | 0.051 | 6498 | 6439 | 59 | 59000 | 0.059
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999489 | 999296 | 193 | 38600 | 0.0386 | 11915 | 11232 | 683 | 136600 | 0.1366
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997196 | 997227 | -31 | -5812.5 | -0.0058125 | 5258 | 5078 | 180 | 33750 | 0.03375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1366 | 1154 | 212 | 53000 | 0.053 | 5479 | 5385 | 94 | 23500 | 0.0235
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999184 | 998888 | 296 | 29600 | 0.0296 | 17763 | 16960 | 803 | 80300 | 0.0803
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -41.5565 |  |  |  |  | 1.9703
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 19045 | 19045 | 0 | 0 | 0 | 2180 | 1056 | 1124 | -112400 | -0.1124
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996422 | 996717 | -295 | 39332.35 | 0.039332 | 13589 | 13589 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994318 | 994131 | 187 | -37400 | -0.0374 | 4089 | 4096 | -7 | 1400 | 0.0014
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1821 | 1721 | 100 | -100000 | -0.1 | 998679 | 998682 | -3 | 3000 | 0.003
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997614 | 997755 | -141 | 141000 | 0.141 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9103 | 8984 | 119 | -19040 | -0.01904 | 10885 | 10782 | 103 | -16480 | -0.01648
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2930 | 2761 | 169 | -33800 | -0.0338 | 2844 | 2841 | 3 | -600 | -0.0006
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989370 | 990115 | -745 | 745000 | 0.745 | 999555 | 999555 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101153 | 101116 | 37 | -3700 | -0.0037 | 74386 | 74172 | 214 | -21400 | -0.0214
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2029 | 1884 | 145 | -14500 | -0.0145 | 198 | 10 | 188 | -18800 | -0.0188 | Check Meter Data
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24856 | 24753 | 103 | -10300 | -0.0103 | 62232 | 62222 | 10 | -1000 | -0.001
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998691 | 998691 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 1000002 | -96 | -79999.68 | -0.08 | 999572 | 999580 | -8 | -6666.64 | -0.0066666
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 446895 | 447045 | -150 | 15000 | 0.015 | 49962 | 50240 | -278 | 27800 | 0.0278
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999327 | 999323 | 4 | -400 | -0.0004 | 999449 | 999448 | 1 | -100 | -0.0001
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2409 | 2470 | -61 | 6100 | 0.0061 | 27200 | 27133 | 67 | -6700 | -0.0067
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 489 | 489 | 0 | 0 | 0 | 424 | 378 | 46 | -61318 | -0.061318
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2801 | 2801 | 0 | 0 | 0 | 1539 | 1515 | 24 | -2400 | -0.0024
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 3 | 0 | 3 | -300 | -0.0003 | 766 | 75 | 691 | -69100 | -0.0691
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 81 | -20 | -8000 | -0.008
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 994329 | 995651 | -1322 | 528800 | 0.5288 | 999896 | 999896 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999211 | 999461 | -250 | 250000 | 0.25 | 1759 | 1743 | 16 | -16000 | -0.016
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1265 | 1018 | 247 | -185250 | -0.18525 | 2800 | 2684 | 116 | -87000 | -0.087
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.2405 |  |  |  |  | -0.39576
APRIL-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -41.5565 |  |  |  |  | 1.9703
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.2405 |  |  |  |  | -0.39576
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.032537 |  |  |  |  | 0.0279
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.000125 |  |  |  |  | -0.311
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -40.2833 |  |  |  |  | 1.2914
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -40.2833 | (REACTIVE MUs) |  |  |  | 1.2914 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.0974 | (REACTIVE MUs) |  |  |  | -0.0021656 | (REACTIVE MUs)
[9 empty] | TOTAL | -45.3807 | (REACTIVE MUs) |  |  |  | 1.2892 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2983 | 3062 | -79 | -21066.93 | -0.021067 | 2195 | 2196 | -1 | -266.67 | -0.00026667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 91023 | 90976 | 47 | 4700 | 0.0047 | 149418 | 149421 | -3 | -300 | -0.0003
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994425 | 994720 | -295 | -59000 | -0.059 | 998997 | 998999 | -2 | -400 | -0.0004
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 61745 | 60997 | 748 | 149600 | 0.1496 | 124670 | 124666 | 4 | 800 | 0.0008
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 646 | 527 | 119 | 95200 | 0.0952 | 61 | 24 | 37 | 29600 | 0.0296
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3236 | 3178 | 58 | 46400 | 0.0464 | 704 | 705 | -1 | -800 | -0.0008
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 964589 | 964786 | -197 | -157600 | -0.1576 | 985957 | 985959 | -2 | -1600 | -0.0016
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966414 | 966558 | -144 | -115200 | -0.1152 | 986445 | 986530 | -85 | -68000 | -0.068
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973477 | 973824 | -347 | -277600 | -0.2776 | 992663 | 992674 | -11 | -8800 | -0.0088
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 967419 | 967419 | 0 | 0 | 0 | 994421 | 994421 | 0 | 0 | 0
[10 empty] | -0.065 |  |  |  |  | -0.001 | Assessment
|  | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999935 | 1000000 | -65 | -130000 | -0.13 | 999999 | 1000000 | -1 | -2000 | -0.002 | w.e.f 11/04/19
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 988428 | 989036 | -608 | -30400 | -0.0304 | 19424 | 19247 | 177 | 8850 | 0.00885
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 982150 | 981112 | 1038 | 77850 | 0.07785 | 22851 | 22789 | 62 | 4650 | 0.00465
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999591 | 999586 | 5 | 2500 | 0.0025 | 5255 | 5209 | 46 | 23000 | 0.023
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999031 | 999128 | -97 | -36375 | -0.036375 | 7686 | 7706 | -20 | -7500 | -0.0075
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 982241 | 982782 | -541 | -54100 | -0.0541 | 340429 | 340325 | 104 | 10400 | 0.0104 | Data till 29/04
|  | 4865118 | ELSTER | Kvarh(Lead/Lag) | 100 | 991230 | 991226 | 4 | 400 | 0.0004 | 21496 | 21493 | 3 | 300 | 0.0003 | Check Meter Data
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 5211 | 4601 | 610 | 45750 | 0.04575 | 36771 | 36312 | 459 | 34425 | 0.034425
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 8121 | 7965 | 156 | 15600 | 0.0156 | 1376 | 1311 | 65 | 6500 | 0.0065
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996694 | -68 | -68000 | -0.068 | 102130 | 102135 | -5 | -5000 | -0.005
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996158 | -125 | -125000 | -0.125 | 2 | 15 | -13 | -13000 | -0.013
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985891 | -103 | -103000 | -0.103 | 143900 | 143913 | -13 | -13000 | -0.013
22 | SCHOOL LANE-2 | 5295158 | ELSTER | Kvarh(Lead/Lag) | 800 | 8813 | 8894 | -81 | -64800 | -0.0648 | 19566 | 19566 | 0 | 0 | 0 | Check Meter Data
|  | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 10000 | 0.01 | w.e.f 22/04/19
[10 empty] | -0.3608 |  |  |  |  | -0.031
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997614 | 997755 | -141 | -141000 | -0.141 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9103 | 8984 | 119 | 19040 | 0.01904 | 10885 | 10782 | 103 | 16480 | 0.01648
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2930 | 2761 | 169 | 33800 | 0.0338 | 2844 | 2841 | 3 | 600 | 0.0006
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989370 | 990115 | -745 | -745000 | -0.745 | 999555 | 999555 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998691 | 998691 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 1000002 | -96 | 79999.68 | 0.08 | 999572 | 999580 | -8 | 6666.64 | 0.0066666
APRIL-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998405 | 998881 | -476 | 476000 | 0.476 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979895 | 980258 | -363 | 363000 | 0.363 | 993366 | 993366 | 0 | 0 | 0
|  | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999939 | 1000000 | -61 | 61000 | 0.061 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 16/04/19
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997645 | 997834 | -189 | 378000 | 0.378 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999300 | 999674 | -374 | 374000 | 0.374 | 999999 | 1000000 | -1 | 1000 | 0.001
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 446895 | 447045 | -150 | -15000 | -0.015 | 49962 | 50240 | -278 | -27800 | -0.0278
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101153 | 101116 | 37 | 3700 | 0.0037 | 74386 | 74172 | 214 | 21400 | 0.0214
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) |  | 2029 | 1884 | 145 | 0 | 0 | 198 | 10 | 188 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24856 | 24753 | 103 | 10300 | 0.0103 | 62232 | 62222 | 10 | 1000 | 0.001
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 19045 | 19045 | 0 | 0 | 0 | 2180 | 1056 | 1124 | 112400 | 0.1124
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 387841 | 385107 | 2734 | -273400 | -0.2734 | 2041 | 2041 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5592 | 5018 | 574 | -574000 | -0.574 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10780 | 10780 | 0 | 0 | 0 | 17932 | 17619 | 313 | -23475 | -0.023475
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5292 | 5292 | 0 | 0 | 0 | 10490 | 9963 | 527 | -52700 | -0.0527
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.8187 |  |  |  |  | 0.06343
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.8187 |  |  |  |  | 0.06343
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.49198 |  |  |  |  | -0.00020902
| TOTAL ENERGY TO NDMC | [8 empty] | -1.3107 |  |  |  |  | 0.063221

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3764 | 3764 | 0 | 0 | 0 | 39910 | 36069 | 3841 | 768200 | 0.7682
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4462 | 4462 | 0 | 0 | 0 | 52507 | 52492 | 15 | 15000 | 0.015
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 14577 | 13136 | 1441 | 576400 | 0.5764
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 97 | 130 | -33 | -26400 | -0.0264 | 342 | 365 | -23 | -18400 | -0.0184
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 688 | 557 | 131 | 52400 | 0.0524 | 2772 | 2631 | 141 | 56400 | 0.0564
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994318 | 994131 | 187 | 37400 | 0.0374 | 4089 | 4096 | -7 | -1400 | -0.0014
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1821 | 1721 | 100 | 100000 | 0.1 | 998679 | 998682 | -3 | -3000 | -0.003
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1634 |  |  |  |  | 1.3932
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 63972 | 63974 | -2 | -200 | -0.0002 | 96711 | 95814 | 897 | 89700 | 0.0897
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78249 | 78249 | 0 | 0 | 0 | 18291 | 18291 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 1 | 0 | 1 | 75 | 7.5e-05 | 4150 | 1207 | 2943 | 220725 | 0.22073 | w.e.f 12/3/19
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 6 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1663 | 1662 | 1 | 75 | 7.5e-05
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4285 | 4280 | 5 | 500 | 0.0005
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.000125 |  |  |  |  | 0.311
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1634 |  |  |  |  | 1.3932
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.16328 |  |  |  |  | 1.7042
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.16328 | (REACTIVE MUs) |  |  |  | 1.7042 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.079639 | (REACTIVE MUs) |  |  |  | -3.3835e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.083636 | (REACTIVE MUs) |  |  |  | 1.7042 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 994714 | 995413 | -699 | -436875 | -0.43688 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 996318 | 996482 | -164 | -102500 | -0.1025 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 994329 | 995651 | -1322 | -528800 | -0.5288 | 999896 | 999896 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -1.0682 |  |  |  |  | 0
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.020088 |  |  |  |  | -8.5345e-06
TOTAL ENERGY TO Northern Railway | [9 empty] | -1.0883 |  |  |  |  | -8.5345e-06

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 957519 | 959664 | -2145 | -214500 | -0.2145 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 71930 | 71829 | 101 | 10100 | 0.0101 | 5715 | 5721 | -6 | -600 | -0.0006
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15023 | 14988 | 35 | 17500 | 0.0175 | 2818 | 2762 | 56 | 28000 | 0.028
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998809 | 999040 | -231 | -216562.5 | -0.21656 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 996402 | 997274 | -872 | 436000 | 0.436 | 999999 | 1000000 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.032537 |  |  |  |  | 0.0279
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980505 | 980114 | 391 | 78200 | 0.0782 | 176 | 5 | 171 | 34200 | 0.0342
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990876 | 991081 | -205 | -192187.5 | -0.19219 | 999928 | 999929 | -1 | -937.5 | -0.0009375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.11399 |  |  |  |  | 0.033263
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1889 | 1890 | -1 | -1250 | -0.00125 | 69 | 93 | -24 | -30000 | -0.03
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 356371 | 356774 | -403 | -40300 | -0.0403 | 999604 | 999887 | -283 | -28300 | -0.0283
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 295079 | 296036 | -957 | -59812.5 | -0.059812 | 94104 | 94593 | -489 | -30562.5 | -0.030562
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2662 | 2646 | 16 | 12800 | 0.0128 | 1946 | 1947 | -1 | -800 | -0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 966471 | 966968 | -497 | -49700 | -0.0497 | 999174 | 999175 | -1 | -100 | -0.0001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995929 | 995909 | 20 | 3000 | 0.003 | 987280 | 987291 | -11 | -1650 | -0.00165
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997685 | 997741 | -56 | 140000 | 0.14 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.0047375 |  |  |  |  | -0.091412
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.032537 |  |  |  |  | 0.0279
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.11399 |  |  |  |  | 0.033263
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0047375 |  |  |  |  | -0.091412

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GT ,MSW-Bawana & East Delhi Waste -Gazipur
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
1 | GT IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60087 | 58838 | 1249 | 1249000 | 1.249 | 1000012 | 999989 | 23 | 23000 | 0.023
2 | GT IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 677 | 297 | 380 | 760000 | 0.76 | 12 | 0 | 12 | 24000 | 0.024 | w..e.f 22/3/19
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 964441 | 966392 | -1951 | 975500 | 0.9755 | 999276 | 999276 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 673104 | 680330 | -7226 | 722600 | 0.7226 | 997127 | 997127 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.7071 |  | NET REACTIVE ENERGY |  |  | 0.047
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.7071 |  |  |  |  | 0.047
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -10.494 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.7387 |  |  |  |  | -0.02105
[7 empty] | NDMC = |  |  | -0.3608 |  |  |  |  | -0.031
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -15.5935 |  |  |  |  | -0.05205
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -11.8864 |  |  |  |  | -0.00505
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.042 | % |  |  | -3.452 |  |  |  |  | -0.0014666
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.884 | % |  |  | -5.0974 |  |  |  |  | -0.0021656
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.094 | % |  |  | -2.745 |  |  |  |  | -0.0011662
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.139 | % |  |  | -0.49198 |  |  |  |  | -0.00020902
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.67 | % |  |  | -0.079639 |  |  |  |  | -3.3835e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.169 | % |  |  | -0.020088 |  |  |  |  | -8.5345e-06
Note :Sharing taken from wk-06 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2019 TO 30th APRIL-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Reactive Energy for above 103% |  | Reactive Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -35.0757 | + | 1.1374
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -45.3807 | + | 1.2892
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.1106 | + | 1.1081
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -1.3107 | + | 0.063221
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.083636 | + | 1.7042
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -1.0883 | + | -8.5345e-06
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2019 | INTIAL READING 01/04/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 42980 | 39575 | 3405 | 2553750 | 2.5537 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 823773 | 827120 | -3347 | -2510250 | -2.5103 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1528 | 1425 | 103 | 515000 | 0.515 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 883337 | 886571 | -3234 | -3234000 | -3.234
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976106 | 976135 | -29 | -29000 | -0.029 | 797 | 414 | 383 | 383000 | 0.383
[8 empty] | NET REACTIVE ENERGY |  | 0.486 |  |  | NET REACTIVE ENERGY |  | -2.851