## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978716 | 980117 | -1401 | 1401000 | 1.401 | 999034 | 999035 | -1 | 1000 | 0.001
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34837 | 34701 | 136 | -136000 | -0.136 | 1111 | 295 | 816 | -816000 | -0.816
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942727 | 944283 | -1556 | 1556000 | 1.556 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999290 | 999348 | -58 | 58000 | 0.058 | 996660 | 997002 | -342 | 342000 | 0.342
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880660 | 881467 | -807 | 807000 | 0.807 | 999454 | 999541 | -87 | 87000 | 0.087
[10 empty] | 0.097 | [5 empty] | Last month Assessment
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25973 | 25981 | -8 | 8000 | 0.008 | 16496 | 16561 | -65 | 65000 | 0.065
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1663 | 1678 | -15 | 15000 | 0.015 | 998508 | 998578 | -70 | 70000 | 0.07
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999987 | 1000000 | -13 | 13000 | 0.013 | 999747 | 999929 | -182 | 182000 | 0.182
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973508 | 973635 | -127 | 63500 | 0.0635 | 848405 | 848804 | -399 | 199500 | 0.1995
[5 empty] | -500 | [5 empty] | 816335 | 816362 | -27 | 13500 | 0.0135
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1325 | 1347 | -22 | 22000 | 0.022 | 999038 | 999065 | -27 | 27000 | 0.027
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14644 | 14469 | 175 | -175000 | -0.175 | 999184 | 999228 | -44 | 44000 | 0.044
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2315 | 2277 | 38 | -38000 | -0.038 | 997089 | 997270 | -181 | 181000 | 0.181
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 865729 | 866416 | -687 | -687000 | -0.687 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992073 | 993529 | -1456 | -1456000 | -1.456 | 999996 | 999997 | -1 | -1000 | -0.001
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981646 | 981849 | -203 | 203000 | 0.203 | 16679 | 16697 | -18 | 18000 | 0.018
15 | Tx.2 | 4865028 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14718 | 14497 | 221 | -221000 | -0.221 | 18614 | 18627 | -13 | 13000 | 0.013 | Check Meter Data(26/6 to 24/7)
[10 empty] | -0.018417 |  |  |  |  | 0.001083 | Assessment(25/7-26/7)
[10 empty] | 0.107 |  |  |  |  | 0 | Assessment last month
|  | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 25 | 0 | 25 | -12500 | -0.0125 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/7/18
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28655 | 28171 | 484 | -484000 | -0.484 | 264 | 269 | -5 | 5000 | 0.005
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 992008 | 992909 | -901 | -901000 | -0.901
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 680 | 0 | 0 | 0 | 23283 | 23754 | -471 | -471000 | -0.471
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1096 | 0 | 0 | 0 | 6675 | 6100 | 575 | 287500 | 0.2875
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138685 | 138527 | 158 | 15800 | 0.0158 | 306211 | 303449 | 2762 | 276200 | 0.2762
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995831 | 0 | 0 | 0 | 984887 | 984812 | 75 | 75000 | 0.075
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 24 | 0 | 0 | 0 | 998552 | 997603 | 949 | 949000 | 0.949
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50827 | 50608 | 219 | 21900 | 0.0219 | 120073 | 116664 | 3409 | 340900 | 0.3409
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999682 | 999871 | -189 | -189000 | -0.189 | 999827 | 999881 | -54 | -54000 | -0.054
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 586554 | 586899 | -345 | -345000 | -0.345 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999992 | 1000326 | -334 | -89067.78 | -0.089068 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7193 | 7147 | 46 | 23000 | 0.023 | 1747 | 1754 | -7 | -3500 | -0.0035
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1050 | 960 | 90 | -90000 | -0.09 | 997013 | 997102 | -89 | 89000 | 0.089
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 8633 | 8017 | 616 | -308000 | -0.308 | 15017 | 15065 | -48 | 24000 | 0.024
[5 empty] | -500 | [5 empty] | 999445 | 999446 | -1 | 500 | 0.0005
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21731 | 21484 | 247 | -247000 | -0.247 | 998619 | 999068 | -449 | 449000 | 0.449
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21878 | 20909 | 969 | -1938000 | -1.938 | 96 | 103 | -7 | 14000 | 0.014
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38968 | 37904 | 1064 | -1064000 | -1.064 | 998777 | 998794 | -17 | 17000 | 0.017
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76898 | 75167 | 1731 | -1731000 | -1.731 | 2426 | 2427 | -1 | 1000 | 0.001
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21967 | 21957 | 10 | -10000 | -0.01 | 999297 | 999202 | 95 | -95000 | -0.095
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11764 | 11746 | 18 | -18000 | -0.018 | 927 | 845 | 82 | -82000 | -0.082
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973 | 1031 | -58 | 58000 | 0.058 | 998717 | 998741 | -24 | 24000 | 0.024
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14793 | 14350 | 443 | -443000 | -0.443 | 1576 | 1561 | 15 | -15000 | -0.015
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1870 | 1843 | 27 | 27000 | 0.027 | 28542 | 28549 | -7 | -7000 | -0.007
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 12268 | 12035 | 233 | 23300 | 0.0233 | 29344 | 28396 | 948 | 94800 | 0.0948
| NDPL(+) continue | [14 empty] | JULY-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12008 | 12005 | 3 | 300 | 0.0003 | 78800 | 78313 | 487 | 48700 | 0.0487
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1868 | 1862 | 6 | 600 | 0.0006 | 24113 | 22442 | 1671 | 167100 | 0.1671
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 385 | 381 | 4 | 5332 | 0.005332 | 332 | 299 | 33 | 43989 | 0.043989
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 244 | 207 | 37 | 3700 | 0.0037 | 1080 | 457 | 623 | 62300 | 0.0623
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 454 | 415 | 39 | 3900 | 0.0039 | 20789 | 20233 | 556 | 55600 | 0.0556
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1420 | 1420 | 0 | 0 | 0 | 5196 | 4270 | 926 | 154327.16 | 0.15433
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999832 | 0 | 0 | 0 | 1004 | 867 | 137 | 68500 | 0.0685
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1399 | 1311 | 88 | 58666.96 | 0.058667 | 150 | 149 | 1 | 666.67 | 0.00066667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4323 | 4230 | 93 | 62000 | 0.062 | 1454 | 1452 | 2 | 1333.3333 | 0.0013333
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997502 | 997502 | 0 | 0 | 0 | 3913 | 3928 | -15 | -1500 | -0.0015
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 4830 | 4029 | 801 | 80100 | 0.0801 | 10907 | 10878 | 29 | 2900 | 0.0029
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3775 | 3569 | 206 | 20600 | 0.0206 | 354 | 349 | 5 | 500 | 0.0005
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 22381 | 20170 | 2211 | 221100 | 0.2211 | 6116 | 6079 | 37 | 3700 | 0.0037
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 25129 | 23274 | 1855 | 185500 | 0.1855 | 1822 | 1826 | -4 | -400 | -0.0004
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25572 | 25486 | 86 | 8600 | 0.0086 | 51550 | 51497 | 53 | 5300 | 0.0053
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995619 | 995619 | 0 | 0 | 0 | 85 | 86 | -1 | 400 | 0.0004
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996334 | 996324 | 10 | 8000 | 0.008 | 999929 | 999951 | -22 | -17600 | -0.0176
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999996 | 1000004 | -8 | -16000 | -0.016 | 1083 | 1094 | -11 | -22000 | -0.022
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995825 | 995407 | 418 | 41800 | 0.0418 | 254 | 219 | 35 | 3500 | 0.0035
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998541 | 998783 | -242 | -60500 | -0.0605 | 215 | 245 | -30 | -7500 | -0.0075
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2157 | 1719 | 438 | 438000 | 0.438 | 1696 | 1434 | 262 | 262000 | 0.262
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 144 | 143 | 1 | 750 | 0.00075 | 1406 | 1207 | 199 | 149250 | 0.14925
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -4.118 |  |  |  |  | 2.4265
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10693 | 10693 | 0 | 0 | 0 | 96221 | 89648 | 6573 | -657300 | -0.6573
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 32 | 10 | 22 | -17600 | -0.0176 | 7518 | 5632 | 1886 | -1508800 | -1.5088
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1273 | 1236 | 37 | -37000 | -0.037 | 581 | 503 | 78 | -78000 | -0.078
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2704 | 2316 | 388 | -155200 | -0.1552 | 435 | 247 | 188 | -75200 | -0.0752
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999831 | 999851 | -20 | 3750 | 0.00375 | 999935 | 999950 | -15 | 2812.5 | 0.0028125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 975111 | 975744 | -633 | 506400 | 0.5064 | 998712 | 998734 | -22 | 17600 | 0.0176
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 998511 | 998969 | -458 | 286250 | 0.28625 | 999990 | 999989 | 1 | -625 | -0.000625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999489 | 999652 | -163 | 101875 | 0.10187 | 999877 | 999918 | -41 | 25625 | 0.025625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999614 | 999615 | -1 | 200 | 0.0002 | 4059 | 3682 | 377 | -75400 | -0.0754
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999027 | 999024 | 3 | -562.5 | -0.0005625 | 4465 | 2158 | 2307 | -432562.5 | -0.43256
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999015 | 999015 | 0 | 0 | 0 | 2803 | 1934 | 869 | -162937.5 | -0.16294
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 81 | 67 | 14 | -3500 | -0.0035 | 4013 | 2759 | 1254 | -313500 | -0.3135
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999897 | 999890 | 7 | -700 | -0.0007 | 8918 | 6522 | 2396 | -239600 | -0.2396
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.68391 |  |  |  |  | -3.4979
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -4.118 |  |  |  |  | 2.4265
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.68391 |  |  |  |  | -3.4979
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.26693 |  |  |  |  | 0.032863
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -3.701 |  |  |  |  | -1.0385
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.701 | (REACTIVE MUs) |  |  |  | -1.0385 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.42215 | (REACTIVE MUs) |  |  |  | -1.0363 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.2789 | (REACTIVE MUs) |  |  |  | -2.0748 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11150 | 11204 | -54 | -5400 | -0.0054 | 993448 | 993724 | -276 | -27600 | -0.0276
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8285 | 8217 | 68 | 20400 | 0.0204 | 3943 | 4385 | -442 | -132600 | -0.1326
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 29781 | 29304 | 477 | 35775 | 0.035775 | 330128 | 325293 | 4835 | 362625 | 0.36262
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998290 | 998313 | -23 | -6900 | -0.0069 | 5925 | 5936 | -11 | -3300 | -0.0033
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1735 | 1732 | 3 | 3999.9 | 0.0039999 | 3477 | 3410 | 67 | 89331.1 | 0.089331
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 36416 | 35798 | 618 | 61800 | 0.0618 | 154191 | 154612 | -421 | -42100 | -0.0421
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 18040 | 17368 | 672 | 50400 | 0.0504 | 44308 | 43892 | 416 | 31200 | 0.0312
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985971 | 985889 | 82 | 82000 | 0.082 | 2285 | 2260 | 25 | 25000 | 0.025
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 3 | 0 | 3 | 1500 | 0.0015 | 406 | 258 | 148 | 74000 | 0.074
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999293 | 999214 | 79 | 79000 | 0.079 | 1508 | 1480 | 28 | 28000 | 0.028
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992120 | 992182 | -62 | -62000 | -0.062 | 1467 | 1486 | -19 | -19000 | -0.019
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993398 | 0 | 0 | 0 | 5908 | 5636 | 272 | 272000 | 0.272
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997239 | 997251 | -12 | -12000 | -0.012 | 998613 | 998640 | -27 | -27000 | -0.027
14 | JAMA MASJID-1 | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998291 | 998294 | -3 | -3000 | -0.003 | 15846 | 15883 | -37 | -37000 | -0.037 | Check Meter Data
|  | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/7/18
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999064 | 999037 | 27 | 21600 | 0.0216 | 4537 | 3964 | 573 | 458400 | 0.4584
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999058 | 998876 | 182 | 182000 | 0.182 | 33336 | 33151 | 185 | 185000 | 0.185
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2004 | 2013 | -9 | -9000 | -0.009 | 9744 | 9729 | 15 | 15000 | 0.015
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3527 | 3209 | 318 | 318000 | 0.318 | 17357 | 17257 | 100 | 100000 | 0.1
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 980963 | 981573 | -610 | -762500 | -0.7625 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 951004 | 954269 | -3265 | -3591500 | -3.5915
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963671 | 963936 | -265 | -265000 | -0.265 | 7609 | 7610 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -1.0275 |  |  |  |  | -3.5925
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995411 | 995836 | -425 | 425000 | 0.425 | 999979 | 999978 | 1 | -1000 | -0.001
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994396 | 995111 | -715 | 715000 | 0.715 | 999906 | 999917 | -11 | 11000 | 0.011
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999838 | 0 | 0 | 0 | 7289 | 6961 | 328 | 328000 | 0.328
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33134 | 31818 | 1316 | -1316000 | -1.316 | 869 | 883 | -14 | 14000 | 0.014
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17481 | 17226 | 255 | -255000 | -0.255 | 999748 | 999815 | -67 | 67000 | 0.067
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989332 | 989451 | -119 | 119000 | 0.119 | 990846 | 990941 | -95 | 95000 | 0.095
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993728 | 993799 | -71 | 71000 | 0.071 | 998605 | 998688 | -83 | 83000 | 0.083
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997554 | 997730 | -176 | 176000 | 0.176 | 985925 | 986100 | -175 | 175000 | 0.175
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998251 | 998596 | -345 | 345000 | 0.345 | 293 | 293 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999531 | 999951 | -420 | 840000 | 0.84 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1273 | 1236 | 37 | 37000 | 0.037 | 581 | 503 | 78 | 78000 | 0.078
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2704 | 2316 | 388 | 155200 | 0.1552 | 435 | 247 | 188 | 75200 | 0.0752
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1147 | 23 | 23000 | 0.023
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 33 | 33 | 0 | 0 | 0 | 13492 | 9258 | 4234 | 563122 | 0.56312
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983534 | 983819 | -285 | 285000 | 0.285 | 990186 | 990187 | -1 | 1000 | 0.001
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996864 | 997940 | -1076 | 1076000 | 1.076 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.4039 |  |  |  |  | -0.72822
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.4039 |  |  |  |  | -0.72822
JULY-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999623 | 999891 | -268 | 268000 | 0.268 | 999249 | 999708 | -459 | 459000 | 0.459
2 | Tx.2 | 4865007 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996879 | 996879 | 0 | 0 | 0 | 897474 | 897519 | -45 | 45000 | 0.045 | Check Meter Data
|  | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999814 | 1000000 | -186 | 186000 | 0.186 | 999361 | 1000000 | -639 | 639000 | 0.639 | w.e.f 3/7/18
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996219 | 996418 | -199 | 199000 | 0.199 | 996552 | 997201 | -649 | 649000 | 0.649
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 982515 | 982872 | -357 | 714000 | 0.714 | 971418 | 971556 | -138 | 276000 | 0.276
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1672 | 1136 | 536 | -536000 | -0.536 | 998832 | 998930 | -98 | 98000 | 0.098
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995145 | 995073 | 72 | -72000 | -0.072 | 997943 | 998278 | -335 | 335000 | 0.335
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3065 | 2900 | 165 | -165000 | -0.165 | 999537 | 999566 | -29 | 29000 | 0.029
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983628 | 983290 | 338 | -338000 | -0.338 | 937259 | 937320 | -61 | 61000 | 0.061
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960065 | 960234 | -169 | 169000 | 0.169 | 989522 | 989592 | -70 | 70000 | 0.07
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3194 | 3383 | -189 | 189000 | 0.189 | 989926 | 990115 | -189 | 189000 | 0.189
[5 empty] | -1000 | 11527 | 11636 | -109 | 109000 | 0.109
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959747 | 959776 | -29 | 29000 | 0.029 | 828034 | 828104 | -70 | 70000 | 0.07
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24388 | 24508 | -120 | 120000 | 0.12 | 33630 | 33694 | -64 | 64000 | 0.064
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10273 | 9898 | 375 | -375000 | -0.375 | 119 | 28 | 91 | -91000 | -0.091
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987144 | 987456 | -312 | 312000 | 0.312 | 919578 | 919579 | -1 | 1000 | 0.001
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.809 |  |  |  |  | 2.894
| (B) NET ENERGY TO EAST | [8 empty] | 0.809 |  |  |  |  | 2.894
JULY-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999992 | 1000326 | -334 | 89067.78 | 0.089068 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7193 | 7147 | 46 | -23000 | -0.023 | 1747 | 1754 | -7 | 3500 | 0.0035
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3881 | 3761 | 120 | -31999.2 | -0.031999 | 2179 | 2078 | 101 | -26932.66 | -0.026933
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79480 | 79514 | -34 | 3400 | 0.0034 | 149288 | 148808 | 480 | -48000 | -0.048
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 999891 | 999989 | -98 | 19600 | 0.0196 | 999005 | 999086 | -81 | 16200 | 0.0162
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 50099 | 49338 | 761 | -152200 | -0.1522 | 124229 | 123571 | 658 | -131600 | -0.1316
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 19265 | 19041 | 224 | -179200 | -0.1792 | 14475 | 14419 | 56 | -44800 | -0.0448
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 665 | 213 | 452 | -361600 | -0.3616 | 643 | 597 | 46 | -36800 | -0.0368
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 969950 | 970170 | -220 | 176000 | 0.176 | 985996 | 986017 | -21 | 16800 | 0.0168
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 974351 | 974922 | -571 | 456800 | 0.4568 | 986715 | 986783 | -68 | 54400 | 0.0544
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 983047 | 983353 | -306 | 244800 | 0.2448 | 992839 | 992934 | -95 | 76000 | 0.076
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 973361 | 973717 | -356 | 284800 | 0.2848 | 994449 | 994475 | -26 | 20800 | 0.0208
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967848 | 968482 | -634 | 634000 | 0.634 | 31729 | 31752 | -23 | 23000 | 0.023
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1870 | 1843 | 27 | -27000 | -0.027 | 28542 | 28549 | -7 | 7000 | 0.007
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 12268 | 12035 | 233 | -23300 | -0.0233 | 29344 | 28396 | 948 | -94800 | -0.0948
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1420 | 1420 | 0 | 0 | 0 | 5196 | 4270 | 926 | -154327.16 | -0.15433
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999832 | 0 | 0 | 0 | 1004 | 867 | 137 | -68500 | -0.0685
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1399 | 1311 | 88 | -58666.96 | -0.058667 | 150 | 149 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4323 | 4230 | 93 | -62000 | -0.062 | 1454 | 1452 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 25129 | 23274 | 1855 | -185500 | -0.1855 | 1822 | 1826 | -4 | 400 | 0.0004
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25572 | 25486 | 86 | -8600 | -0.0086 | 51550 | 51497 | 53 | -5300 | -0.0053
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997502 | 997502 | 0 | 0 | 0 | 3913 | 3928 | -15 | 1500 | 0.0015
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 4830 | 4029 | 801 | -80100 | -0.0801 | 10907 | 10878 | 29 | -2900 | -0.0029
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3775 | 3569 | 206 | -20600 | -0.0206 | 354 | 349 | 5 | -500 | -0.0005
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 22381 | 20170 | 2211 | -221100 | -0.2211 | 6116 | 6079 | 37 | -3700 | -0.0037
[10 empty] | 0.4736 |  |  |  |  | -0.40056
JULY-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.4039 |  |  |  |  | -0.72822
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.4736 |  |  |  |  | -0.40056
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.2697 |  |  |  |  | -0.036725
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 2.6078 |  |  |  |  | -1.1655
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.809 |  |  |  |  | 2.894
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.4168 |  |  |  |  | 1.7285
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.4168 | (REACTIVE MUs) |  |  |  | 1.7285 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.33712 | (REACTIVE MUs) |  |  |  | -0.82759 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.7539 | (REACTIVE MUs) |  |  |  | 0.90091 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999510 | 999512 | -2 | -10000 | -0.01 | 998915 | 998926 | -11 | -55000 | -0.055
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984581 | 984583 | -2 | -2666.66 | -0.0026667 | 670248 | 670172 | 76 | 101333.08 | 0.10133
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 998328 | 998357 | -29 | -5800 | -0.0058 | 999992 | 999448 | 544 | 108800 | 0.1088
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000018 | 999993 | 25 | 33333.25 | 0.033333 | 999464 | 999423 | 41 | 54666.53 | 0.054667
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18853 | 18839 | 14 | 1400 | 0.0014 | 22535 | 22276 | 259 | 25900 | 0.0259
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 720119 | 719722 | 397 | 29775 | 0.029775 | 980491 | 979467 | 1024 | 76800 | 0.0768
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999353 | 999227 | 126 | 9450 | 0.00945 | 12650 | 7934 | 4716 | 353700 | 0.3537
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997487 | 997488 | -1 | -900 | -0.0009 | 994818 | 994551 | 267 | 240300 | 0.2403
10 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3677 | 3586 | 91 | -91000 | -0.091 | 997429 | 997498 | -69 | 69000 | 0.069
12 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 143 | 117 | 26 | -52000 | -0.052 | 999269 | 999578 | -309 | 618000 | 0.618
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10612 | 10608 | 4 | -4000 | -0.004 | 998548 | 998985 | -437 | 437000 | 0.437
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967943 | 967891 | 52 | -52000 | -0.052 | 993876 | 995015 | -1139 | 1139000 | 1.139
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31582 | 31582 | 0 | 0 | 0 | 996936 | 997372 | -436 | 436000 | 0.436
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19336 | 19336 | 0 | 0 | 0 | 14084 | 9088 | 4996 | -2498000 | -2.498
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7788 | 7788 | 0 | 0 | 0 | 998976 | 999516 | -540 | 1080000 | 1.08
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996415 | 996415 | 0 | 0 | 0 | 851226 | 852799 | -1573 | 1573000 | 1.573
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 1000026 | 999967 | 59 | -47200 | -0.0472 | 999145 | 999412 | -267 | 213600 | 0.2136
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2994 | 2895 | 99 | -99000 | -0.099 | 981073 | 981557 | -484 | 484000 | 0.484
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85 | 59 | 26 | -26000 | -0.026 | 997656 | 998980 | -1324 | 1324000 | 1.324
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982724 | 982724 | 0 | 0 | 0 | 988258 | 988820 | -562 | 562000 | 0.562
[5 empty] | -1000 | 996594 | 996530 | 64 | -64000 | -0.064
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 265 | 189 | 76 | -76000 | -0.076 | 998776 | 998987 | -211 | 211000 | 0.211
R.K.PURAM
25 | 33KV I/C-1 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1322 | 0 | 1322 | -1322000 | -1.322 | 999998 | 1000000 | -2 | 2000 | 0.002
28 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 32 | 10 | 22 | 17600 | 0.0176 | 7518 | 5632 | 1886 | 1508800 | 1.5088
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978250 | 978250 | 0 | 0 | 0 | 972761 | 976279 | -3518 | 3518000 | 3.518
31 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
32 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980156 | 980156 | 0 | 0 | 0 | 994862 | 997739 | -2877 | 2877000 | 2.877
OKHLA
33 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996333 | 996335 | -2 | 2000 | 0.002 | 986096 | 986932 | -836 | 836000 | 0.836
34 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994258 | 994181 | 77 | -77000 | -0.077 | 924067 | 925559 | -1492 | 1492000 | 1.492
35 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9567 | 9403 | 164 | -164000 | -0.164 | 33207 | 33248 | -41 | 41000 | 0.041
36 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997803 | 997846 | -43 | 43000 | 0.043 | 996272 | 996315 | -43 | 43000 | 0.043
37 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999712 | 999723 | -11 | 11000 | 0.011 | 999997 | 1000288 | -291 | 291000 | 0.291
BRPL(+) continue | [14 empty] | JULY-2018
VASANT KUNJ
38 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9334 | 8392 | 942 | -942000 | -0.942 | 42 | 55 | -13 | 13000 | 0.013
39 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 15174 | 13817 | 1357 | -678500 | -0.6785 | 999165 | 999155 | 10 | -5000 | -0.005
40 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
41 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2374 | 2333 | 41 | -41000 | -0.041 | 999745 | 999783 | -38 | 38000 | 0.038
42 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994354 | 994402 | -48 | 48000 | 0.048 | 927129 | 927306 | -177 | 177000 | 0.177
43 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2282 | 2221 | 61 | -61000 | -0.061 | 10163 | 10201 | -38 | 38000 | 0.038
44 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1694 | 1711 | -17 | 34000 | 0.034 | 997151 | 998112 | -961 | 1922000 | 1.922
RIDGE VALLEY
45 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1679 | 1705 | -26 | 26000 | 0.026 | 998207 | 999049 | -842 | 842000 | 0.842
46 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8000 | 8104 | -104 | 208000 | 0.208 | 999469 | 999612 | -143 | 286000 | 0.286
DIAL
47 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6558 | 6556 | 2 | -4000 | -0.004 | 2314 | 2341 | -27 | 54000 | 0.054
48 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3351 | 3348 | 3 | -6000 | -0.006 | 1285 | 1306 | -21 | 42000 | 0.042
MASJID MOD
49 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917438 | 0 | 0 | 0 | 981206 | 981429 | -223 | 223000 | 0.223
50 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 8 | 0 | 0 | 0 | 996709 | 996999 | -290 | 290000 | 0.29
51 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 468 | 468 | 0 | 0 | 0 | 994712 | 996606 | -1894 | 1894000 | 1.894
MUNDKA
52 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
53 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996782 | 996843 | -61 | -48800 | -0.0488 | 313 | 142 | 171 | 136800 | 0.1368
54 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 982352 | 982437 | -85 | -68000 | -0.068 | 999857 | 999947 | -90 | -72000 | -0.072
55 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1451 | 1481 | -30 | -24000 | -0.024 | 999803 | 999779 | 24 | 19200 | 0.0192
57 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 235 | 280 | -45 | -36000 | -0.036 | 999984 | 999997 | -13 | -10400 | -0.0104
PARK STREET
58 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967848 | 968482 | -634 | -634000 | -0.634 | 31729 | 31752 | -23 | -23000 | -0.023
59 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
60 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 849 | 404 | 445 | -445000 | -0.445 | 683 | 667 | 16 | -16000 | -0.016
61 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16745 | 16570 | 175 | -175000 | -0.175 | 167 | 163 | 4 | -4000 | -0.004
62 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49031 | 48993 | 38 | -38000 | -0.038 | 505 | 501 | 4 | -4000 | -0.004
NARAINA
63 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10693 | 10693 | 0 | 0 | 0 | 96221 | 89648 | 6573 | 657300 | 0.6573
SUDARSHAN PARK
64 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999831 | 999851 | -20 | -3750 | -0.00375 | 999935 | 999950 | -15 | -2812.5 | -0.0028125
65 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8112 | 8115 | -3 | -1200 | -0.0012 | 995976 | 996651 | -675 | -270000 | -0.27
66 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996445 | 996011 | 434 | 173600 | 0.1736 | 43171 | 42283 | 888 | 355200 | 0.3552
KANJAWALA
67 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 975111 | 975744 | -633 | -506400 | -0.5064 | 998712 | 998734 | -22 | -17600 | -0.0176
Trauma Centre
68 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 344184 | 344184 | 0 | 0 | 0 | 991200 | 986691 | 4509 | 450900 | 0.4509
69 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4640 | 4640 | 0 | 0 | 0 | 889 | 766 | 123 | 123000 | 0.123
A.I.I.M.S.
70 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10275 | 10268 | 7 | 525 | 0.000525 | 16483 | 15886 | 597 | 44775 | 0.044775
71 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4868 | 4853 | 15 | 1500 | 0.0015 | 8514 | 7720 | 794 | 79400 | 0.0794
PEERGARHI
72 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 4513 | 4091 | 422 | 211000 | 0.211 | 2822 | 2807 | 15 | 7500 | 0.0075
73 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3374 | 3321 | 53 | 53000 | 0.053 | 4093 | 4048 | 45 | 45000 | 0.045
74 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995169 | 995188 | -19 | -19000 | -0.019 | 1159 | 1178 | -19 | -19000 | -0.019
75 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3916 | 3845 | 71 | 71000 | 0.071 | 6504 | 6507 | -3 | -3000 | -0.003
76 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 1000087 | 999329 | 758 | 121280 | 0.12128 | 999667 | 999404 | 263 | 42080 | 0.04208 | w.e.f 17/05/18
77 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 50288 | 48799 | 1489 | 148900 | 0.1489 | 45849 | 45712 | 137 | 13700 | 0.0137
78 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000129 | 999985 | 144 | 144000 | 0.144 | 319 | 263 | 56 | 56000 | 0.056
79 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2505 | 2374 | 131 | 131000 | 0.131 | 6416 | 6352 | 64 | 64000 | 0.064
REWARI LINE
80 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999614 | 999615 | -1 | -200 | -0.0002 | 4059 | 3682 | 377 | 75400 | 0.0754
81 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999027 | 999024 | 3 | 562.5 | 0.0005625 | 4465 | 2158 | 2307 | 432562.5 | 0.43256
82 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999015 | 999015 | 0 | 0 | 0 | 2803 | 1934 | 869 | 162937.5 | 0.16294
83 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 81 | 67 | 14 | 3500 | 0.0035 | 4013 | 2759 | 1254 | 313500 | 0.3135
84 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999897 | 999890 | 7 | 700 | 0.0007 | 8918 | 6522 | 2396 | 239600 | 0.2396
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.3013 |  |  |  |  | 25.8549
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -300 | 3106 | 1248 | 1858 | -557400 | -0.5574 | 276 | 226 | 50 | -15000 | -0.015
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1147 | 23 | -23000 | -0.023
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 33 | 33 | 0 | 0 | 0 | 13492 | 9258 | 4234 | -564519.22 | -0.56452
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997572 | 997572 | 0 | 0 | 0 | 3748 | 1678 | 2070 | -414000 | -0.414
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1022 | 1022 | 0 | 0 | 0 | 999002 | 999474 | -472 | 472000 | 0.472
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999085 | 999060 | 25 | -25000 | -0.025 | 1544 | 1242 | 302 | -302000 | -0.302
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5605 | 5605 | 0 | 0 | 0 | 9247 | 6554 | 2693 | -430880 | -0.43088
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 426 | 425 | 1 | -200 | -0.0002 | 1001453 | 999669 | 1784 | -356800 | -0.3568
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994189 | 994202 | -13 | 13000 | 0.013 | 999693 | 999762 | -69 | 69000 | 0.069
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 97208 | 96928 | 280 | -28000 | -0.028 | 74079 | 73884 | 195 | -19500 | -0.0195
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 106654 | 106254 | 400 | -40000 | -0.04 | 77445 | 77353 | 92 | -9200 | -0.0092
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28118 | 28118 | 0 | 0 | 0 | 52068 | 39372 | 12696 | -1269600 | -1.2696
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 435981 | 435903 | 78 | -7800 | -0.0078 | 47005 | 47450 | -445 | 44500 | 0.0445
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12008 | 12005 | 3 | -300 | -0.0003 | 78800 | 78313 | 487 | -48700 | -0.0487
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1868 | 1862 | 6 | -600 | -0.0006 | 24113 | 22442 | 1671 | -167100 | -0.1671
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 385 | 381 | 4 | -5332 | -0.005332 | 332 | 299 | 33 | -43989 | -0.043989
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 244 | 207 | 37 | -3700 | -0.0037 | 1080 | 457 | 623 | -62300 | -0.0623
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 454 | 415 | 39 | -3900 | -0.0039 | 20789 | 20233 | 556 | -55600 | -0.0556
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995619 | 995619 | 0 | 0 | 0 | 85 | 86 | -1 | -400 | -0.0004
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999739 | 999701 | 38 | -15200 | -0.0152 | 999480 | 999657 | -177 | 70800 | 0.0708
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2157 | 1719 | 438 | -438000 | -0.438 | 1696 | 1434 | 262 | -262000 | -0.262
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 144 | 143 | 1 | -750 | -0.00075 | 1406 | 1207 | 199 | -149250 | -0.14925
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.1132 |  |  |  |  | -3.5375
JULY-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -4.3013 |  |  |  |  | 25.8549
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.1132 |  |  |  |  | -3.5375
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.07205 |  |  |  |  | 0.083413
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.18602 |  |  |  |  | -0.0669
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -5.5284 |  |  |  |  | 22.3339
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.5284 | (REACTIVE MUs) |  |  |  | 22.3339 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.60666 | (REACTIVE MUs) |  |  |  | -1.4893 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9218 | (REACTIVE MUs) |  |  |  | 20.8446 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3881 | 3761 | 120 | 32000.4 | 0.032 | 2179 | 2078 | 101 | 26933.67 | 0.026934
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79480 | 79514 | -34 | -3400 | -0.0034 | 149288 | 148808 | 480 | 48000 | 0.048
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 999891 | 999989 | -98 | -19600 | -0.0196 | 999005 | 999086 | -81 | -16200 | -0.0162
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 50099 | 49338 | 761 | 152200 | 0.1522 | 124229 | 123571 | 658 | 131600 | 0.1316
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 19265 | 19041 | 224 | 179200 | 0.1792 | 14475 | 14419 | 56 | 44800 | 0.0448
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 665 | 213 | 452 | 361600 | 0.3616 | 643 | 597 | 46 | 36800 | 0.0368
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 969950 | 970170 | -220 | -176000 | -0.176 | 985996 | 986017 | -21 | -16800 | -0.0168
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 974351 | 974922 | -571 | -456800 | -0.4568 | 986715 | 986783 | -68 | -54400 | -0.0544
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 983047 | 983353 | -306 | -244800 | -0.2448 | 992839 | 992934 | -95 | -76000 | -0.076
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 973361 | 973717 | -356 | -284800 | -0.2848 | 994449 | 994475 | -26 | -20800 | -0.0208
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997433 | 997506 | -73 | -3650 | -0.00365 | 17858 | 17656 | 202 | 10100 | 0.0101
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989276 | 989392 | -116 | -8700 | -0.0087 | 22441 | 22262 | 179 | 13425 | 0.013425
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 162 | 135 | 27 | 13500 | 0.0135 | 4565 | 4083 | 482 | 241000 | 0.241
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999237 | 999231 | 6 | 2250 | 0.00225 | 6920 | 6274 | 646 | 242250 | 0.24225
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988058 | 988090 | -32 | -3200 | -0.0032 | 339046 | 336944 | 2102 | 210200 | 0.2102
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 453 | 352 | 101 | 7575 | 0.007575 | 32208 | 28007 | 4201 | 315075 | 0.31507
17 | BAY-42 (C PLACE) | 4865119 | ELSTER | Kvarh(Lead/Lag) | 100 | 59376 | 59364 | 12 | 1200 | 0.0012 | 345066 | 344364 | 702 | 70200 | 0.0702 | Check Meter
|  | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 140 | 0 | 140 | 14000 | 0.014 | 465 | 0 | 465 | 46500 | 0.0465 | w.e.f 13/7/18
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997863 | 997808 | 55 | 55000 | 0.055 | 102116 | 102086 | 30 | 30000 | 0.03
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999978 | -140 | -140000 | -0.14 | 17 | 1 | 16 | 16000 | 0.016
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990367 | 990657 | -290 | -290000 | -0.29 | 143923 | 143903 | 20 | 20000 | 0.02
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5998 | 6078 | -80 | -80000 | -0.08 | 59497 | 59493 | 4 | 4000 | 0.004
[10 empty] | -0.455 |  |  |  |  | 0.07
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999085 | 999060 | 25 | 25000 | 0.025 | 1544 | 1242 | 302 | 302000 | 0.302
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5605 | 5605 | 0 | 0 | 0 | 9247 | 6554 | 2693 | 430880 | 0.43088
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 426 | 425 | 1 | 200 | 0.0002 | 1001453 | 999669 | 1784 | 356800 | 0.3568
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994189 | 994202 | -13 | -13000 | -0.013 | 999693 | 999762 | -69 | -69000 | -0.069
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
JULY-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999923 | 999923 | 0 | 0 | 0 | 996510 | 998390 | -1880 | 1880000 | 1.88 | w.e.f 07/05/18
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961634 | 961634 | 0 | 0 | 0 | 991027 | 994886 | -3859 | 1929500 | 1.9295
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998814 | 998903 | -89 | 178000 | 0.178 | 998659 | 998884 | -225 | 450000 | 0.45
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988865 | 989055 | -190 | 190000 | 0.19 | 997205 | 997647 | -442 | 442000 | 0.442
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 435981 | 435903 | 78 | 7800 | 0.0078 | 47005 | 47450 | -445 | -44500 | -0.0445
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/05/18
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 97208 | 96928 | 280 | 28000 | 0.028 | 74079 | 73884 | 195 | 19500 | 0.0195
37 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 106654 | 106254 | 400 | 40000 | 0.04 | 77445 | 77353 | 92 | 9200 | 0.0092
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28118 | 28118 | 0 | 0 | 0 | 52068 | 39372 | 12696 | 1269600 | 1.2696
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 3106 | 1248 | 1858 | 185800 | 0.1858 | 276 | 226 | 50 | 5000 | 0.005 | w.e.f 31/05/18
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 344184 | 344184 | 0 | 0 | 0 | 991200 | 986691 | 4509 | -450900 | -0.4509
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4640 | 4640 | 0 | 0 | 0 | 889 | 766 | 123 | -123000 | -0.123
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10275 | 10268 | 7 | -525 | -0.000525 | 16483 | 15886 | 597 | -44775 | -0.044775
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4868 | 4853 | 15 | -1500 | -0.0015 | 8514 | 7720 | 794 | -79400 | -0.0794
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.25265 |  |  |  |  | 7.6056
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.25265 |  |  |  |  | 7.6056
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.066533 |  |  |  |  | -0.16333
| TOTAL ENERGY TO NDMC | [8 empty] | -0.18612 |  |  |  |  | 7.4423

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3392 | 0 | 0 | 0 | 26889 | 26103 | 786 | 157200 | 0.1572
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42415 | -1 | -1000 | -0.001
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4249 | 0 | 0 | 0 | 52505 | 52385 | 120 | 120000 | 0.12
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 151 | 151 | 0 | 0 | 0 | 10236 | 8021 | 2215 | 886000 | 0.886
5 | SHEKHAWATI- 1 | 4864857 | ELSTER | Kvarh(Lead/Lag) | 1000 | 745 | 745 | 0 | 0 | 0 | 853 | 739 | 114 | 114000 | 0.114 | Check Meter
|  | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 19 | 15200 | 0.0152 | w.e.f 30/7/18
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1022 | 1022 | 0 | 0 | 0 | 999474 | 999474 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997572 | 997572 | 0 | 0 | 0 | 3748 | 1678 | 2070 | 414000 | 0.414
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1022 | 1022 | 0 | 0 | 0 | 999002 | 999474 | -472 | -472000 | -0.472
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.2334
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 60927 | 59574 | 1353 | 135300 | 0.1353 | 94750 | 94517 | 233 | 23300 | 0.0233
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78238 | 78200 | 38 | 3800 | 0.0038 | 18202 | 18202 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65902 | 65436 | 466 | 46600 | 0.0466 | 120437 | 120016 | 421 | 42100 | 0.0421
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 632 | 629 | 3 | 225 | 0.000225 | 1320 | 1320 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10281 | 1 | 100 | 0.0001 | 4257 | 4242 | 15 | 1500 | 0.0015
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.18602 |  |  |  |  | 0.0669
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.18602 |  |  |  |  | 0.0669
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.2334
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.18602 |  |  |  |  | 1.3003
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.18602 | (REACTIVE MUs) |  |  |  | 1.3003 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.010136 | (REACTIVE MUs) |  |  |  | -0.024882 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19616 | (REACTIVE MUs) |  |  |  | 1.2754 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 998511 | 998969 | -458 | -286250 | -0.28625 | 999990 | 999989 | 1 | 625 | 0.000625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999489 | 999652 | -163 | -101875 | -0.10187 | 999877 | 999918 | -41 | -25625 | -0.025625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999739 | 999701 | 38 | 15200 | 0.0152 | 999480 | 999657 | -177 | -70800 | -0.0708
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.37293 |  |  |  |  | -0.0958

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 977937 | 978675 | -738 | -73800 | -0.0738 | 1892 | 1870 | 22 | 2200 | 0.0022
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 72010 | 70924 | 1086 | 108600 | 0.1086 | 5413 | 5209 | 204 | 20400 | 0.0204
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 11448 | 11049 | 399 | 199500 | 0.1995 | 2445 | 2236 | 209 | 104500 | 0.1045
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999877 | 999945 | -68 | -63750 | -0.06375 | 114 | 135 | -21 | -19687.5 | -0.019688
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | 500 | 999620 | 999950 | -330 | -165000 | -0.165 | 999871 | 999899 | -28 | -14000 | -0.014 | w.e.f 21/06/18
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978535 | 978668 | -133 | 66500 | 0.0665 | 976364 | 976344 | 20 | -10000 | -0.01
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.07205 |  |  |  |  | 0.083413
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986937 | 987123 | -186 | -37200 | -0.0372 | 999827 | 999870 | -43 | -8600 | -0.0086
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998182 | 998430 | -248 | -232500 | -0.2325 | 999964 | 999994 | -30 | -28125 | -0.028125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.2697 |  |  |  |  | -0.036725
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 937 | 928 | 9 | 11250 | 0.01125 | 64 | 46 | 18 | 22500 | 0.0225
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 326718 | 327162 | -444 | -44400 | -0.0444 | 997936 | 997792 | 144 | 14400 | 0.0144
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 255198 | 258956 | -3758 | -234875 | -0.23488 | 990007 | 987630 | 2377 | 148562.5 | 0.14856
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2589 | 2629 | -40 | -32000 | -0.032 | 1878 | 1840 | 38 | 30400 | 0.0304
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 977167 | 977427 | -260 | -26000 | -0.026 | 999242 | 999271 | -29 | -2900 | -0.0029
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 178 | 184 | -6 | -900 | -0.0009 | 988194 | 989428 | -1234 | -185100 | -0.1851
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998249 | 998273 | -24 | 60000 | 0.06 | 3066 | 3068 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.26693 |  |  |  |  | 0.032863
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.07205 |  |  |  |  | 0.083413
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.2697 |  |  |  |  | -0.036725
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.26693 |  |  |  |  | 0.032863

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 36063 | 34445 | 1618 | 1618000 | 1.618 | 999989 | 1000000 | -11 | -11000 | -0.011
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 14460 | 14198 | 262 | 1310000 | 1.31 | 78 | 81 | -3 | -15000 | -0.015
[7 empty] | NET REACTIVE ENERGY |  |  | 2.928 |  | NET REACTIVE ENERGY |  |  | -0.026
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.928 |  |  |  |  | -0.026
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.0275 |  |  |  |  | -3.5925
[7 empty] | NDMC = |  |  | -0.455 |  |  |  |  | 0.07
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -1.4825 |  |  |  |  | -3.5225
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.4455 |  |  |  |  | -3.5485
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2045 | % |  |  | 0.42215 |  |  |  |  | -1.0363
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.969 | % |  |  | 0.60666 |  |  |  |  | -1.4893
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.3222 | % |  |  | 0.33712 |  |  |  |  | -0.82759
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6028 | % |  |  | 0.066533 |  |  |  |  | -0.16333
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7012 | % |  |  | 0.010136 |  |  |  |  | -0.024882
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2003 | % |  |  | 0.0028953 |  |  |  |  | -0.0071076
Note :Sharing taken from wk-18 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2018 TO 31st JULY-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -3.2789 |  | -2.0748
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.9218 | + | 20.8446
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.7539 | + | 0.90091
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.18612 | + | 7.4423
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19616 | + | 1.2754
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.37293 |  | -0.0958
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2018 | INTIAL READING 01/07/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 15665 | 14849 | 816 | 612000 | 0.612 | 999900 | 999882 | 18 | 13500 | 0.0135
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 5774 | 4800 | 974 | 1461000 | 1.461 | 1000033 | 999995 | 38 | 57000 | 0.057
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 845063 | 844879 | 184 | 138000 | 0.138 | 998653 | 998641 | 12 | 9000 | 0.009
[8 empty] | NET REACTIVE ENERGY |  | 2.211 |  |  | NET REACTIVE ENERGY |  | 0.0795
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1185 | 1152 | 33 | 165000 | 0.165 | 12701 | 12423 | 278 | 1390000 | 1.39
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 907778 | 912143 | -4365 | -4365000 | -4.365
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973649 | 973730 | -81 | -81000 | -0.081 | 48 | 448 | -400 | -400000 | -0.4
[8 empty] | NET REACTIVE ENERGY |  | 0.084 |  |  | NET REACTIVE ENERGY |  | -3.375