## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983221 | 983662 | -441 | 441000 | 0.441 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26538 | 21857 | 4681 | -4681000 | -4.681 | 999499 | 999499 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947878 | 948686 | -808 | 808000 | 0.808 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999532 | 999734 | -202 | 202000 | 0.202 | 997440 | 997446 | -6 | 6000 | 0.006
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987390 | 987414 | -24 | 24000 | 0.024 | 999574 | 999574 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25093 | 24613 | 480 | -480000 | -0.48 | 16855 | 16858 | -3 | 3000 | 0.003
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901 | 481 | 420 | -420000 | -0.42 | 998913 | 998916 | -3 | 3000 | 0.003
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998815 | 999041 | -226 | 226000 | 0.226 | 998120 | 998146 | -26 | 26000 | 0.026
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 976095 | 988305 | -12210 | 6105000 | 6.105 | 817927 | 817980 | -53 | 26500 | 0.0265
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999911 | 999272 | 639 | -639000 | -0.639 | 999343 | 999343 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6354 | 3630 | 2724 | -2724000 | -2.724 | 999453 | 999453 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000172 | 999166 | 1006 | -1006000 | -1.006 | 998297 | 998297 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 888349 | 892370 | -4021 | -4021000 | -4.021 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980292 | 979905 | 387 | -387000 | -0.387 | 16732 | 16732 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10226 | 9014 | 1212 | -1212000 | -1.212 | 20500 | 20500 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21847 | 20072 | 1775 | -1775000 | -1.775 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999967 | 1000000 | -33 | -33000 | -0.033 | 996057 | 996002 | 55 | 55000 | 0.055
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 759 | 759 | 0 | 0 | 0 | 25116 | 24832 | 284 | 284000 | 0.284
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1056 | 1004 | 52 | 26000 | 0.026 | 4576 | 4529 | 47 | 23500 | 0.0235
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 135333 | 133633 | 1700 | 170000 | 0.17 | 290547 | 290397 | 150 | 15000 | 0.015
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996028 | 996134 | -106 | -106000 | -0.106 | 986230 | 986226 | 4 | 4000 | 0.004
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 154 | 187 | -33 | -33000 | -0.033 | 997936 | 997902 | 34 | 34000 | 0.034
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 51299 | 51452 | -153 | -15300 | -0.0153 | 33182 | 33182 | 0 | 0 | 0
[5 empty] | 100 | 112573 | 112213 | 360 | 36000 | 0.036
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 619851 | 622176 | -2325 | -2325000 | -2.325 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 601976 | 605582 | -3606 | -3606000 | -3.606 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 1133 | 940 | 193 | 77200 | 0.0772 | 998532 | 998532 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 6333 | 6090 | 243 | 121500 | 0.1215 | 1765 | 1765 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999705 | 999529 | 176 | -176000 | -0.176 | 997545 | 997545 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 2660 | 1295 | 1365 | -682500 | -0.6825 | 999735 | 999735 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15346 | 14106 | 1240 | -1240000 | -1.24 | 999634 | 999644 | -10 | 10000 | 0.01
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 12581 | 10461 | 2120 | -4240000 | -4.24 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30555 | 28985 | 1570 | -1570000 | -1.57 | 998932 | 998932 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60801 | 57369 | 3432 | -3432000 | -3.432 | 2425 | 2425 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15902 | 14018 | 1884 | -1884000 | -1.884 | 999323 | 999323 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8500 | 7041 | 1459 | -1459000 | -1.459 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993412 | 991413 | 1999 | -1999000 | -1.999 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14285 | 14321 | -36 | 36000 | 0.036 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1872 | 1938 | -66 | -66000 | -0.066 | 28235 | 28235 | 0 | 0 | 0
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 7750 | 4001 | 3749 | 374900 | 0.3749 | 26254 | 26254 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | DECEMBER -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1338 | 1355 | -17 | -17000 | -0.017 | 61304 | 61307 | -3 | -3000 | -0.003
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 997557 | 997250 | 307 | 127914.62 | 0.12791 | 999092 | 999090 | 2 | 833.32 | 0.00083332
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9027 | 9051 | -24 | -2400 | -0.0024 | 37568 | 37580 | -12 | -1200 | -0.0012
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11844 | 11967 | -123 | -12300 | -0.0123 | 77802 | 77834 | -32 | -3200 | -0.0032
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1330 | 1286 | 44 | 4400 | 0.0044 | 18688 | 18480 | 208 | 20800 | 0.0208
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 322 | 289 | 33 | 43989 | 0.043989 | 229 | 220 | 9 | 11997 | 0.011997
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 999996 | 999996 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999563 | 999646 | -83 | -8300 | -0.0083 | 17096 | 16842 | 254 | 25400 | 0.0254
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1454 | 1496 | -42 | -6999.72 | -0.0069997 | 1880 | 1880 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999860 | 999885 | -25 | -12500 | -0.0125 | 549 | 552 | -3 | -1500 | -0.0015
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1063 | 944 | 119 | 79333.73 | 0.079334 | 126 | 125 | 1 | 666.67 | 0.00066667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4075 | 4010 | 65 | 43333.3333 | 0.043333 | 1431 | 1431 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997280 | 997289 | -9 | -900 | -0.0009 | 2658 | 2607 | 51 | 5100 | 0.0051
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 219 | 256 | -37 | -3700 | -0.0037 | 31 | 39 | -8 | -800 | -0.0008
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999962 | 999991 | -29 | -2900 | -0.0029 | 999992 | 999997 | -5 | -500 | -0.0005
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 219 | 256 | -37 | -3700 | -0.0037 | 31 | 39 | -8 | -800 | -0.0008
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1949 | 1928 | 21 | 2100 | 0.0021 | 9806 | 9448 | 358 | 35800 | 0.0358
64 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 1703 | 1432 | 271 | 27100 | 0.0271 | 222 | 198 | 24 | 2400 | 0.0024
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 15297 | 15086 | 211 | 21100 | 0.0211 | 5380 | 5340 | 40 | 4000 | 0.004
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 12420 | 8819 | 3601 | 360100 | 0.3601 | 1781 | 1781 | 0 | 0 | 0
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25438 | 25435 | 3 | 300 | 0.0003 | 51316 | 51316 | 0 | 0 | 0
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 464 | 463 | 1 | -300 | -0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999888 | 101 | 40400 | 0.0404 | 999719 | 999907 | -188 | -75200 | -0.0752
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 999107 | 1000027 | -920 | -736000 | -0.736 | 999998 | 999998 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 473 | 633 | -160 | -320000 | -0.32 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999158 | 999526 | -368 | -92000 | -0.092 | 128 | 128 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -32.0328 |  |  |  |  | 0.5105
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10102 | 9468 | 634 | -63400 | -0.0634 | 44301 | 41877 | 2424 | -242400 | -0.2424
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 4 | 40 | -36 | 28800 | 0.0288 | 1693 | 1579 | 114 | -91200 | -0.0912
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 649 | 428 | 221 | -221000 | -0.221 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2022 | 1871 | 151 | -60400 | -0.0604 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 964902 | 966433 | -1531 | 76550 | 0.07655 | 1517 | 1517 | 0 | 0 | 0 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 1000000 | -2 | 2000 | 0.002 | 23 | 24 | -1 | 1000 | 0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 981123 | 982279 | -1156 | 924800 | 0.9248 | 999017 | 999017 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.68735 |  |  |  |  | -0.3326
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -32.0328 |  |  |  |  | 0.5105
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.68735 |  |  |  |  | -0.3326
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.0472 |  |  |  |  | 0.0582
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -28.2982 |  |  |  |  | 0.2361
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -28.2982 | (REACTIVE MUs) |  |  |  | 0.2361 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.4904 | (REACTIVE MUs) |  |  |  | -1.0828 | (REACTIVE MUs)
[9 empty] | TOTAL | -26.8079 | (REACTIVE MUs) |  |  |  | -0.84667 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 12330 | 12353 | -23 | -2300 | -0.0023 | 999068 | 998773 | 295 | 29500 | 0.0295
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8186 | 8120 | 66 | 19800 | 0.0198 | 7899 | 7446 | 453 | 135900 | 0.1359
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 27619 | 27366 | 253 | 18975 | 0.018975 | 192290 | 190954 | 1336 | 100200 | 0.1002
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999035 | 999058 | -23 | -6900 | -0.0069 | 5936 | 5922 | 14 | 4200 | 0.0042
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1753 | 1754 | -1 | -1333.3 | -0.0013333 | 3056 | 3056 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34726 | 34961 | -235 | -23500 | -0.0235 | 158900 | 158833 | 67 | 6700 | 0.0067
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 13426 | 12424 | 1002 | 75150 | 0.07515 | 44096 | 42592 | 1504 | 112800 | 0.1128
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987846 | 988136 | -290 | -290000 | -0.29 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996384 | 996613 | -229 | -229000 | -0.229 | 3885 | 3885 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999165 | 998906 | 259 | 259000 | 0.259 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993923 | 994479 | -556 | -556000 | -0.556 | 1455 | 1455 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993437 | 993447 | -10 | -10000 | -0.01 | 5605 | 5640 | -35 | -35000 | -0.035
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997276 | 997306 | -30 | -30000 | -0.03 | 998750 | 998747 | 3 | 3000 | 0.003
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998944 | 998962 | -18 | -18000 | -0.018 | 999864 | 999864 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999076 | 999104 | -28 | -22400 | -0.0224 | 2384 | 2398 | -14 | -11200 | -0.0112
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999232 | 999362 | -130 | -130000 | -0.13 | 32997 | 32997 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2178 | 1719 | 459 | 459000 | 0.459 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2109 | 2524 | -415 | -415000 | -0.415 | 17083 | 17083 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 988824 | 991295 | -2471 | -3088750 | -3.0888 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 973386 | 976423 | -3037 | -3340700 | -3.3407
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969053 | 970237 | -1184 | -1184000 | -1.184 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.2728 |  |  |  |  | -3.3407
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997978 | 998923 | -945 | 945000 | 0.945 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997511 | 998567 | -1056 | 1056000 | 1.056 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 464 | 463 | 1 | 300 | 0.0003
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 999981 | -70 | -70000 | -0.07 | 6830 | 6820 | 10 | 10000 | 0.01
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 49147 | 46764 | 2383 | -1191500 | -1.1915 | 654 | 654 | 0 | 0 | 0
|  | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6556 | 2632 | 3924 | -3924000 | -3.924 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/12
[5 empty] | -1000 | 1307 | 0 | 1307 | -1307000 | -1.307
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13944 | 12768 | 1176 | -1176000 | -1.176 | 999923 | 999923 | 0 | 0 | 0
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990243 | 990673 | -430 | 430000 | 0.43 | 991899 | 991899 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993694 | 994525 | -831 | 831000 | 0.831 | 998824 | 998824 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997435 | 997384 | 51 | -51000 | -0.051 | 999912 | 999939 | -27 | 27000 | 0.027
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998610 | 998639 | -29 | 29000 | 0.029 | 179 | 186 | -7 | 7000 | 0.007
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992517 | 992717 | -200 | 200000 | 0.2 | 999659 | 999659 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649 | 428 | 221 | 221000 | 0.221 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2022 | 1871 | 151 | 60400 | 0.0604 | 9 | 9 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998105 | 998105 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 151054 | 151245 | -191 | -191000 | -0.191 | 54270 | 54270 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983773 | 983824 | -51 | 51000 | 0.051 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997803 | 997859 | -56 | 56000 | 0.056 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -9.3134 |  |  |  |  | -2.9503
| (A) NET ENERGY TO CENTRAL | [8 empty] | -9.3134 |  |  |  |  | -2.9503
DECEMBER -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977300 | 977357 | -57 | 57000 | 0.057 | 879040 | 879040 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993180 | 992400 | 780 | -780000 | -0.78 | 962312 | 962312 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997150 | 997724 | -574 | 574000 | 0.574 | 998957 | 998957 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986449 | 987941 | -1492 | 2984000 | 2.984 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997247 | 996704 | 543 | -543000 | -0.543 | 999119 | 999119 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992682 | 992538 | 144 | -144000 | -0.144 | 998561 | 998561 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3256 | 3006 | 250 | -250000 | -0.25 | 999636 | 999636 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983762 | 982815 | 947 | -947000 | -0.947 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984677 | 985507 | -830 | 830000 | 0.83 | 989833 | 989833 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976420 | 977060 | -640 | 640000 | 0.64 | 963301 | 963301 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958211 | 958856 | -645 | 645000 | 0.645 | 829374 | 829374 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18681 | 17048 | 1633 | -1633000 | -1.633 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6072 | 4308 | 1764 | -1764000 | -1.764 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962750 | 960228 | 2522 | -2522000 | -2.522 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.853 |  |  |  |  | 0
| (B) NET ENERGY TO EAST | [8 empty] | -2.853 |  |  |  |  | 0
DECEMBER -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 1133 | 940 | 193 | -77200 | -0.0772 | 998532 | 998532 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 6333 | 6090 | 243 | -121500 | -0.1215 | 1765 | 1765 | 0 | 0 | 0
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2390 | 1973 | 417 | -111197.22 | -0.1112 | 524 | 524 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 75612 | 73890 | 1722 | -172200 | -0.1722 | 144004 | 144004 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 970131 | 971091 | -960 | 192000 | 0.192 | 994945 | 994945 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 45511 | 44452 | 1059 | -211800 | -0.2118 | 118468 | 118468 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 17833 | 17470 | 363 | -290400 | -0.2904 | 13864 | 13864 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15421 | 15291 | 130 | -260000 | -0.26 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 972640 | 973515 | -875 | 700000 | 0.7 | 986568 | 986568 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 979392 | 981568 | -2176 | 1740800 | 1.7408 | 987337 | 987337 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 987505 | 989152 | -1647 | 1317600 | 1.3176 | 993925 | 993925 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 976922 | 978153 | -1231 | 984800 | 0.9848 | 994513 | 994513 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974277 | 976299 | -2022 | 2022000 | 2.022 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1872 | 1938 | -66 | 66000 | 0.066 | 28235 | 28235 | 0 | 0 | 0
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 7750 | 4001 | 3749 | -374900 | -0.3749 | 26254 | 26254 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1338 | 1355 | -17 | 17000 | 0.017 | 61304 | 61307 | -3 | 3000 | 0.003
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1454 | 1496 | -42 | 6999.72 | 0.0069997 | 1880 | 1880 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999860 | 999885 | -25 | 12500 | 0.0125 | 549 | 552 | -3 | 1500 | 0.0015
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1063 | 944 | 119 | -79333.73 | -0.079334 | 126 | 125 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4075 | 4010 | 65 | -43333.3333 | -0.043333 | 1431 | 1431 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 12420 | 8819 | 3601 | -360100 | -0.3601 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25438 | 25435 | 3 | -300 | -0.0003 | 51316 | 51316 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997280 | 997289 | -9 | 900 | 0.0009 | 2658 | 2607 | 51 | -5100 | -0.0051
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 219 | 256 | -37 | 3700 | 0.0037 | 31 | 39 | -8 | 800 | 0.0008
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999962 | 999991 | -29 | 2900 | 0.0029 | 999992 | 999997 | -5 | 500 | 0.0005
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 219 | 256 | -37 | 3700 | 0.0037 | 31 | 39 | -8 | 800 | 0.0008
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1949 | 1928 | 21 | -2100 | -0.0021 | 9806 | 9448 | 358 | -35800 | -0.0358
31 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 1703 | 1432 | 271 | -27100 | -0.0271 | 222 | 198 | 24 | -2400 | -0.0024
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 15297 | 15086 | 211 | -21100 | -0.0211 | 5380 | 5340 | 40 | -4000 | -0.004
[10 empty] | 4.9183 |  |  |  |  | -0.041367
DECEMBER -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -9.3134 |  |  |  |  | -2.9503
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.9183 |  |  |  |  | -0.041367
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.1559 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.5509 |  |  |  |  | -2.9917
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.853 |  |  |  |  | 0
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -8.4039 |  |  |  |  | -2.9917
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.4039 | (REACTIVE MUs) |  |  |  | -2.9917 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0009 | (REACTIVE MUs) |  |  |  | -0.72714 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.403 | (REACTIVE MUs) |  |  |  | -3.7188 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999538 | 999550 | -12 | -60000 | -0.06 | 999443 | 999474 | -31 | -155000 | -0.155
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984702 | 984750 | -48 | -63999.84 | -0.064 | 671202 | 671222 | -20 | -26666.6 | -0.026667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 933 | 863 | 70 | 28000 | 0.028 | 55702 | 36683 | 19019 | 7607600 | 7.6076
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16979 | 16984 | -5 | -5000 | -0.005 | 193 | 412 | -219 | -219000 | -0.219
|  | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999999 | 1000000 | -1 | -1333.33 | -0.0013333 | 999999 | 1000000 | -1 | -1333.33 |  | w.e.f 21/12
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18660 | 18581 | 79 | 7900 | 0.0079 | 19904 | 19835 | 69 | 6900 | 0.0069
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 725951 | 728926 | -2975 | -223125 | -0.22312 | 997670 | 997879 | -209 | -15675 | -0.015675
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 8 | 31 | -23 | -1725 | -0.001725 | 324 | 499 | -175 | -13125 | -0.013125
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997614 | 997667 | -53 | -47700 | -0.0477 | 995718 | 995693 | 25 | 22500 | 0.0225
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2409 | 1711 | 698 | -698000 | -0.698 | 997832 | 997832 | 0 | 0 | 0
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999467 | 997839 | 1628 | -3256000 | -3.256 | 993001 | 993001 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7996 | 6866 | 1130 | -1130000 | -1.13 | 999403 | 999403 | 0 | 0 | 0
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964259 | 965216 | -957 | 957000 | 0.957 | 996356 | 996358 | -2 | 2000 | 0.002
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6246 | 3075 | 3171 | -3171000 | -3.171 | 999849 | 999849 | 0 | 0 | 0
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 8894 | 4202 | 4692 | -2346000 | -2.346 | 130 | 129 | 1 | -500 | -0.0005
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3740 | 1743 | 1997 | -3994000 | -3.994 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997949 | 998409 | -460 | 460000 | 0.46 | 902657 | 902657 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1577 | 1165 | 412 | -412000 | -0.412 | 984966 | 984974 | -8 | 8000 | 0.008
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997193 | 997476 | -283 | 283000 | 0.283 | 983648 | 983732 | -84 | 84000 | 0.084
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996418 | 996314 | 104 | -104000 | -0.104 | 997331 | 997357 | -26 | 26000 | 0.026
24 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13900 | 14181 | -281 | 281000 | 0.281 | 996634 | 996718 | -84 | 84000 | 0.084
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 4 | 40 | -36 | -28800 | -0.0288 | 1693 | 1579 | 114 | 91200 | 0.0912
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979449 | 979478 | -29 | 29000 | 0.029 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976936 | 976448 | 488 | -488000 | -0.488 | 999323 | 999323 | 0 | 0 | 0 | w.e.f 21/08/17
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995462 | 994793 | 669 | -669000 | -0.669 | 988730 | 988808 | -78 | 78000 | 0.078
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992225 | 991126 | 1099 | -1099000 | -1.099 | 928179 | 928185 | -6 | 6000 | 0.006
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5612 | 4601 | 1011 | -1011000 | -1.011 | 33392 | 33392 | 0 | 0 | 0
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997286 | 997061 | 225 | -225000 | -0.225 | 996142 | 996142 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999421 | 999096 | 325 | -325000 | -0.325 | 999728 | 999732 | -4 | 4000 | 0.004
BRPL(+) continue | [14 empty] | DECEMBER -2017
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6837 | 6229 | 608 | -608000 | -0.608 | 999954 | 999954 | 0 | 0 | 0
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 10543 | 9321 | 1222 | -611000 | -0.611 | 998355 | 998373 | -18 | 9000 | 0.009
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 32453 | 26361 | 6092 | -12184000 | -12.184 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 373 | 73 | 300 | -300000 | -0.3 | 999982 | 999997 | -15 | 15000 | 0.015
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994397 | 994399 | -2 | 2000 | 0.002 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999920 | 999605 | 315 | -315000 | -0.315 | 999610 | 999626 | -16 | 16000 | 0.016
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999121 | 998884 | 237 | -474000 | -0.474 | 999132 | 999132 | 0 | 0 | 0
RIDGE VALLEY
41 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970927 | 969948 | 979 | -652666.014 | -0.65267 | 963750 | 963750 | 0 | 0 | 0
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3435 | 1453 | 1982 | -3964000 | -3.964 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6278 | 6147 | 131 | -262000 | -0.262 | 2413 | 2413 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3118 | 3030 | 88 | -176000 | -0.176 | 1374 | 1374 | 0 | 0 | 0
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917259 | 917212 | 47 | -47000 | -0.047 | 981215 | 981215 | 0 | 0 | 0
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999980 | 999962 | 18 | -18000 | -0.018 | 996789 | 996789 | 0 | 0 | 0
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 474 | 1329 | -855 | -684000 | -0.684 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 986131 | 987977 | -1846 | -1476800 | -1.4768 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1679 | 1770 | -91 | -72800 | -0.0728 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 529 | 503 | 26 | 20800 | 0.0208 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974277 | 976299 | -2022 | -2022000 | -2.022 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48306 | 39755 | 8551 | -8551000 | -8.551 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13211 | 11005 | 2206 | -2206000 | -2.206 | 998471 | 998471 | 0 | 0 | 0
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28821 | 20804 | 8017 | -8017000 | -8.017 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10102 | 9468 | 634 | 63400 | 0.0634 | 44301 | 41877 | 2424 | 242400 | 0.2424
SUDARSHAN PARK
59 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 964902 | 966433 | -1531 | -76550 | -0.07655 | 1517 | 1517 | 0 | 0 | 0
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 18409 | 18929 | -520 | -208000 | -0.208 | 21169 | 21169 | 0 | 0 | 0
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996728 | 996292 | 436 | 174400 | 0.1744 | 34063 | 34063 | 0 | 0 | 0
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000000 | -2 | -2000 | -0.002 | 23 | 24 | -1 | -1000 | -0.001
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 981123 | 982279 | -1156 | -924800 | -0.9248 | 999017 | 999017 | 0 | 0 | 0
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 280144 | 272563 | 7581 | 758100 | 0.7581 | 7998 | 7998 | 0 | 0 | 0
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4588 | 4666 | -78 | -78000 | -0.078 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 9941 | 9492 | 449 | 33675 | 0.033675 | 14524 | 14524 | 0 | 0 | 0
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4715 | 4492 | 223 | 22300 | 0.0223 | 5818 | 5818 | 0 | 0 | 0
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3545 | 3684 | -139 | -69500 | -0.0695 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4034 | 3930 | 104 | 104000 | 0.104 | 4062 | 4062 | 0 | 0 | 0
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996317 | 996599 | -282 | -282000 | -0.282 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3633 | 3617 | 16 | 16000 | 0.016 | 6439 | 6439 | 0 | 0 | 0
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 698 | 627 | 71 | 71000 | 0.071 | 379 | 379 | 0 | 0 | 0
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 49634 | 50269 | -635 | -63500 | -0.0635 | 44737 | 44737 | 0 | 0 | 0
74 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2058 | 1757 | 301 | 301000 | 0.301 | 296 | 296 | 0 | 0 | 0
75 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1870 | 1690 | 180 | 180000 | 0.18 | 5888 | 5888 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -59.9127 |  |  |  |  | 7.8716
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 190057 | 187967 | 2090 | -209000 | -0.209 | 913602 | 913602 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998105 | 998105 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151054 | 151245 | -191 | 191000 | 0.191 | 54270 | 54270 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997896 | 998263 | -367 | 73400 | 0.0734 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000193 | 999781 | 412 | -412000 | -0.412 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999732 | 999770 | -38 | 38000 | 0.038 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3918 | 4446 | -528 | 84480 | 0.08448 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907432 | 907368 | 64 | -64000 | -0.064 | 62169 | 62169 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996601 | 997340 | -739 | 739000 | 0.739 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96087 | 94648 | 1439 | -143900 | -0.1439 | 71752 | 71740 | 12 | -1200 | -0.0012
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 104544 | 103752 | 792 | -79200 | -0.0792 | 72466 | 72466 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 30411 | 31613 | -1202 | 120200 | 0.1202 | 33191 | 33196 | -5 | 500 | 0.0005
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999090 | 999095 | -5 | -2500 | -0.0025 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999868 | -6 | -1500 | -0.0015 | 999849 | 999850 | -1 | -250 | -0.00025
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 420451 | 414196 | 6255 | -625500 | -0.6255 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 6285 | 4930 | 1355 | -135500 | -0.1355 | 30039 | 26603 | 3436 | -343600 | -0.3436
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 997557 | 997250 | 307 | -127914.62 | -0.12791 | 999092 | 999090 | 2 | -833.32 | -0.00083332
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9027 | 9051 | -24 | 2400 | 0.0024 | 37568 | 37580 | -12 | 1200 | 0.0012
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11844 | 11967 | -123 | 12300 | 0.0123 | 77802 | 77834 | -32 | 3200 | 0.0032
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1330 | 1286 | 44 | -4400 | -0.0044 | 18688 | 18480 | 208 | -20800 | -0.0208
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 322 | 289 | 33 | -43989 | -0.043989 | 229 | 220 | 9 | -11997 | -0.011997
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 999996 | 999996 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999563 | 999646 | -83 | 8300 | 0.0083 | 17096 | 16842 | 254 | -25400 | -0.0254
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999888 | 101 | -40400 | -0.0404 | 999719 | 999907 | -188 | 75200 | 0.0752
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.62072 |  |  |  |  | -0.32398
DECEMBER -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -59.9127 |  |  |  |  | 7.8716
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.62072 |  |  |  |  | -0.32398
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.070925 |  |  |  |  | 0.0315
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0575 |  |  |  |  | -0.0085
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -60.6619 |  |  |  |  | 7.5707
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -60.6619 | (REACTIVE MUs) |  |  |  | 7.5707 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.848 | (REACTIVE MUs) |  |  |  | -1.3426 | (REACTIVE MUs)
[9 empty] | TOTAL | -58.8138 | (REACTIVE MUs) |  |  |  | 6.228 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2390 | 1973 | 417 | 111201.39 | 0.1112 | 524 | 524 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 75612 | 73890 | 1722 | 172200 | 0.1722 | 144004 | 144004 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 970131 | 971091 | -960 | -192000 | -0.192 | 994945 | 994945 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 45511 | 44452 | 1059 | 211800 | 0.2118 | 118468 | 118468 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 17833 | 17470 | 363 | 290400 | 0.2904 | 13864 | 13864 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15421 | 15291 | 130 | 260000 | 0.26 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 972640 | 973515 | -875 | -700000 | -0.7 | 986568 | 986568 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 979392 | 981568 | -2176 | -1740800 | -1.7408 | 987337 | 987337 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 987505 | 989152 | -1647 | -1317600 | -1.3176 | 993925 | 993925 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 976922 | 978153 | -1231 | -984800 | -0.9848 | 994513 | 994513 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 998490 | 998876 | -386 | -19300 | -0.0193 | 8633 | 8921 | -288 | -14400 | -0.0144
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 991193 | 992093 | -900 | -67500 | -0.0675 | 14339 | 14442 | -103 | -7725 | -0.007725
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 160 | 157 | 3 | 1500 | 0.0015 | 2260 | 2233 | 27 | 13500 | 0.0135
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999131 | 999102 | 29 | 10875 | 0.010875 | 2707 | 2628 | 79 | 29625 | 0.029625
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988574 | 988767 | -193 | -19300 | -0.0193 | 331127 | 331213 | -86 | -8600 | -0.0086
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 97 | 65 | 32 | 2400 | 0.0024 | 9966 | 9613 | 353 | 26475 | 0.026475
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2867 | 2653 | 214 | 21400 | 0.0214 | 265449 | 265455 | -6 | -600 | -0.0006
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 87655 | 86791 | 864 | 86400 | 0.0864 | 739309 | 739165 | 144 | 14400 | 0.0144
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998694 | 999121 | -427 | -427000 | -0.427 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996180 | 996963 | -783 | -783000 | -0.783 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994864 | 995459 | -595 | -595000 | -0.595 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5580 | 5883 | -303 | -303000 | -0.303 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -2.108 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999732 | 999770 | -38 | -38000 | -0.038 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3918 | 4446 | -528 | -84480 | -0.08448 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907432 | 907368 | 64 | 64000 | 0.064 | 62169 | 62169 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996601 | 997340 | -739 | -739000 | -0.739 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999090 | 999095 | -5 | 2500 | 0.0025 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999868 | -6 | 1500 | 0.0015 | 999849 | 999850 | -1 | 250 | 0.00025
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
DECEMBER -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928279 | 929316 | -1037 | 1037000 | 1.037 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 965665 | 967645 | -1980 | 990000 | 0.99 | 998214 | 998214 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996731 | 996457 | 274 | -548000 | -0.548 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993425 | 993827 | -402 | 402000 | 0.402 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 420451 | 414196 | 6255 | 625500 | 0.6255 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 6285 | 4930 | 1355 | 135500 | 0.1355 | 30039 | 26603 | 3436 | 343600 | 0.3436
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96087 | 94648 | 1439 | 143900 | 0.1439 | 71752 | 71740 | 12 | 1200 | 0.0012
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 104544 | 103752 | 792 | 79200 | 0.0792 | 72466 | 72466 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 30411 | 31613 | -1202 | -120200 | -0.1202 | 33191 | 33196 | -5 | -500 | -0.0005
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 190057 | 187967 | 2090 | 209000 | 0.209 | 913602 | 913602 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 280144 | 272563 | 7581 | -758100 | -0.7581 | 7998 | 7998 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4588 | 4666 | -78 | 78000 | 0.078 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 9941 | 9492 | 449 | -33675 | -0.033675 | 14524 | 14524 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4715 | 4492 | 223 | -22300 | -0.0223 | 5818 | 5818 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.8767 |  |  |  |  | 0.39722
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.8767 |  |  |  |  | 0.39722
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.21218 |  |  |  |  | -0.15415
| TOTAL ENERGY TO NDMC | [8 empty] | -3.6645 |  |  |  |  | 0.24307

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 1605 | 921 | 684 | 136800 | 0.1368 | 21528 | 21441 | 87 | 17400 | 0.0174
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1721 | 1624 | 97 | 97000 | 0.097 | 42423 | 42396 | 27 | 27000 | 0.027
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4173 | 4148 | 25 | 25000 | 0.025 | 52278 | 52263 | 15 | 15000 | 0.015
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999992 | 999996 | -4 | -1600 | -0.0016 | 403 | 387 | 16 | 6400 | 0.0064
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6473 | 6498 | -25 | -25000 | -0.025 | 12075 | 12075 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 195 | 36 | 159 | 63600 | 0.0636 | 999060 | 999039 | 21 | 8400 | 0.0084
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997896 | 998263 | -367 | -73400 | -0.0734 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000193 | 999781 | 412 | 412000 | 0.412 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6344 |  |  |  |  | 0.0742
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59300 | 59272 | 28 | 2800 | 0.0028 | 91769 | 91703 | 66 | 6600 | 0.0066
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78130 | 78089 | 41 | 4100 | 0.0041 | 16636 | 16634 | 2 | 200 | 0.0002
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 64880 | 64374 | 506 | 50600 | 0.0506 | 112841 | 112827 | 14 | 1400 | 0.0014
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1309 | 1305 | 4 | 300 | 0.0003
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10280 | 10279 | 1 | 100 | 0.0001 | 3986 | 3981 | 5 | 500 | 0.0005
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0575 |  |  |  |  | 0.0085
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0575 |  |  |  |  | 0.0085
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6344 |  |  |  |  | 0.0742
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.6919 |  |  |  |  | 0.0827
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.6919 | (REACTIVE MUs) |  |  |  | 0.0827 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.046806 | (REACTIVE MUs) |  |  |  | -0.034005 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.73871 | (REACTIVE MUs) |  |  |  | 0.048695 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 995026 | 997786 | -2760 | -276000 | -0.276 | 2002 | 2002 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 48177 | 44900 | 3277 | 327700 | 0.3277 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 8673 | 8825 | -152 | -76000 | -0.076 | 2082 | 2082 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999734 | 999500 | 234 | 219375 | 0.21937 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 989956 | 991776 | -1820 | -455000 | -0.455 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 980613 | 980991 | -378 | 189000 | 0.189 | 976341 | 976404 | -63 | 31500 | 0.0315
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.070925 |  |  |  |  | 0.0315
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 989219 | 988719 | 500 | 100000 | 0.1 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 895096 | 898445 | -3349 | -1255875 | -1.2559 | 996596 | 996596 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.1559 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 304014 | 302154 | 1860 | 372000 | 0.372 | 284329 | 284329 | 0 | 0 | 0 | Data till 26/12
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 285007 | 273439 | 11568 | 1156800 | 1.1568 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 211398 | 193347 | 18051 | 1128187.5 | 1.1282 | 985547 | 985547 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1629 | 1300 | 329 | 263200 | 0.2632 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 983534 | 985219 | -1685 | -168500 | -0.1685 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999857 | 999520 | 337 | 50550 | 0.05055 | 984823 | 984435 | 388 | 58200 | 0.0582
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998638 | 998736 | -98 | 245000 | 0.245 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 3.0472 |  |  |  |  | 0.0582
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.070925 |  |  |  |  | 0.0315
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.1559 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.0472 |  |  |  |  | 0.0582

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 13911 | 8267 | 5644 | 5644000 | 5.644 | 999997 | 999997 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 10318 | 9251 | 1067 | 5335000 | 5.335 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 10.979 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.979 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.2728 |  |  |  |  | -3.3407
[7 empty] | NDMC = |  |  | -2.108 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -6.3808 |  |  |  |  | -3.3407
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 4.5982 |  |  |  |  | -3.3407
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.4115 | % |  |  | 1.4904 |  |  |  |  | -1.0828
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.19 | % |  |  | 1.848 |  |  |  |  | -1.3426
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.7662 | % |  |  | 1.0009 |  |  |  |  | -0.72714
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6144 | % |  |  | 0.21218 |  |  |  |  | -0.15415
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0179 | % |  |  | 0.046806 |  |  |  |  | -0.034005
Note :Sharing taken from wk-39 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2017 TO 1st JANUARY-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -26.8079 |  | -0.84667
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -58.8138 | + | 6.228
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.403 |  | -3.7188
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.6645 | + | 0.24307
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.73871 | + | 0.048695
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2018 | INTIAL READING 01/12/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 12397 | 12054 | 343 | 257250 | 0.25725 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852054 | 852247 | -193 | -144750 | -0.14475 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 527 | 345 | 182 | 910000 | 0.91 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 921469 | 922645 | -1176 | -1176000 | -1.176
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973277 | 973026 | 251 | 251000 | 0.251 | 998352 | 998360 | -8 | -8000 | -0.008
[8 empty] | NET REACTIVE ENERGY |  | 1.161 |  |  | NET REACTIVE ENERGY |  | -1.184