## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974960 | 976929 | -1969 | 1969000 | 1.969 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35545 | 34838 | 707 | -707000 | -0.707 | 1627 | 1576 | 51 | -51000 | -0.051
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938616 | 941066 | -2450 | 2450000 | 2.45 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999138 | 999290 | -152 | 152000 | 0.152 | 996083 | 996116 | -33 | 33000 | 0.033
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 878152 | 879958 | -1806 | 1806000 | 1.806 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25959 | 25989 | -30 | 30000 | 0.03 | 16437 | 16448 | -11 | 11000 | 0.011
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1621 | 1678 | -57 | 57000 | 0.057 | 998446 | 998458 | -12 | 12000 | 0.012
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999830 | 999988 | -158 | 158000 | 0.158 | 999518 | 999530 | -12 | 12000 | 0.012
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 972285 | 973525 | -1240 | 620000 | 0.62 | 847907 | 847918 | -11 | 5500 | 0.0055
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1227 | 1319 | -92 | 92000 | 0.092 | 998908 | 998910 | -2 | 2000 | 0.002
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15597 | 14768 | 829 | -829000 | -0.829 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2447 | 2386 | 61 | -61000 | -0.061 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 864027 | 864941 | -914 | -914000 | -0.914 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986904 | 990277 | -3373 | -3373000 | -3.373 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980039 | 981237 | -1198 | 1198000 | 1.198 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 999303 | 1000025 | -722 | 361000 | 0.361 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29304 | 28863 | 441 | -441000 | -0.441 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990628 | 991059 | -431 | -431000 | -0.431
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 679 | 680 | -1 | -1000 | -0.001 | 22621 | 22777 | -156 | -156000 | -0.156
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1111 | 1096 | 15 | 7500 | 0.0075 | 7528 | 7285 | 243 | 121500 | 0.1215
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 139482 | 138691 | 791 | 79100 | 0.0791 | 310573 | 309901 | 672 | 67200 | 0.0672
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995820 | 995831 | -11 | -11000 | -0.011 | 984591 | 984674 | -83 | -83000 | -0.083
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 24 | 0 | 0 | 0 | 998834 | 998857 | -23 | -23000 | -0.023
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 51503 | 50840 | 663 | 66300 | 0.0663 | 121231 | 121218 | 13 | 1300 | 0.0013
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998674 | 999676 | -1002 | -1002000 | -1.002 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 584746 | 585783 | -1037 | -1037000 | -1.037 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999851 | 999485 | 366 | 97601.22 | 0.097601 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7279 | 7199 | 80 | 40000 | 0.04 | 1767 | 1746 | 21 | 10500 | 0.0105
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1595 | 1257 | 338 | -338000 | -0.338 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 22513 | 18308 | 4205 | -2102500 | -2.1025 | 14971 | 14971 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21949 | 21941 | 8 | -8000 | -0.008 | 998532 | 998532 | 0 | 0 | 0 | Data till 03/09/18
[10 empty] | -0.01 |  |  |  |  | 0 | Assessment
|  | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 678 | 0 | 678 | -678000 | -0.678 | 999970 | 1000000 | -30 | 30000 | 0.03 | w.e.f 08-09-18
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24984 | 23365 | 1619 | -3238000 | -3.238 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42027 | 40267 | 1760 | -1760000 | -1.76 | 998777 | 998777 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81836 | 78953 | 2883 | -2883000 | -2.883 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22092 | 21967 | 125 | -125000 | -0.125 | 999268 | 999270 | -2 | 2000 | 0.002
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11923 | 11764 | 159 | -159000 | -0.159 | 916 | 914 | 2 | -2000 | -0.002
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 402 | 969 | -567 | 567000 | 0.567 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15883 | 15377 | 506 | -506000 | -0.506 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1919 | 1903 | 16 | 16000 | 0.016 | 28604 | 28552 | 52 | 52000 | 0.052
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 13737 | 12607 | 1130 | 113000 | 0.113 | 26590 | 29913 | -3323 | -332300 | -0.3323
| NDPL(+) continue | [14 empty] | SEPTEMBER-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12016 | 12016 | 0 | 0 | 0 | 78939 | 78939 | 0 | 0 | 0
|  | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 17 | 0 | 17 | 1700 | 0.0017 | 5 | 0 | 5 | 500 | 0.0005 | w.e.f 25-09-18
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1967 | 1910 | 57 | 5700 | 0.0057 | 26101 | 25599 | 502 | 50200 | 0.0502
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 410 | 387 | 23 | 30659 | 0.030659 | 366 | 361 | 5 | 6665 | 0.006665
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 799 | 327 | 472 | 47200 | 0.0472 | 1375 | 1252 | 123 | 12300 | 0.0123
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 1028 | 569 | 459 | 45900 | 0.0459 | 21753 | 21402 | 351 | 35100 | 0.0351
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1425 | 1420 | 5 | 833.3 | 0.0008333 | 6669 | 5976 | 693 | 115495.38 | 0.1155
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999890 | 999832 | 58 | 29000 | 0.029 | 1186 | 1083 | 103 | 51500 | 0.0515
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1627 | 1472 | 155 | 103333.85 | 0.10333 | 155 | 151 | 4 | 2666.68 | 0.0026667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4606 | 4459 | 147 | 98000 | 0.098 | 1459 | 1455 | 4 | 2666.6667 | 0.0026667
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997498 | 997502 | -4 | -400 | -0.0004 | 3835 | 3864 | -29 | -2900 | -0.0029
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6378 | 5754 | 624 | 62400 | 0.0624 | 10957 | 10941 | 16 | 1600 | 0.0016
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 4514 | 3960 | 554 | 55400 | 0.0554 | 363 | 355 | 8 | 800 | 0.0008
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 24458 | 24264 | 194 | 19400 | 0.0194 | 6140 | 6134 | 6 | 600 | 0.0006
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 30285 | 27025 | 3260 | 326000 | 0.326 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25768 | 25619 | 149 | 14900 | 0.0149 | 51561 | 51555 | 6 | 600 | 0.0006
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995619 | 995619 | 0 | 0 | 0 | 83 | 85 | -2 | 800 | 0.0008
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 995985 | 996334 | -349 | -279200 | -0.2792 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999940 | 999995 | -55 | -110000 | -0.11 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 999426 | 995796 | 3630 | 363000 | 0.363 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 1000281 | 998593 | 1688 | 422000 | 0.422 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2533 | 2363 | 170 | 170000 | 0.17 | 1742 | 1742 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 252 | 146 | 106 | 79500 | 0.0795 | 2642 | 2008 | 634 | 475500 | 0.4755
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -8.8187 |  |  |  |  | 0.035794
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 11004 | 10693 | 311 | -31100 | -0.0311 | 103037 | 101894 | 1143 | -114300 | -0.1143
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 27 | 32 | -5 | 4000 | 0.004 | 8908 | 8549 | 359 | -287200 | -0.2872
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1406 | 1268 | 138 | -138000 | -0.138 | 606 | 597 | 9 | -9000 | -0.009
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 3389 | 2737 | 652 | -260800 | -0.2608 | 486 | 461 | 25 | -10000 | -0.01
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999806 | 999830 | -24 | 4500 | 0.0045 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 972115 | 973823 | -1708 | 1366400 | 1.3664 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 996947 | 998025 | -1078 | 673750 | 0.67375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999612 | 999566 | 46 | -28750 | -0.02875 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999703 | 999613 | 90 | -18000 | -0.018 | 10283 | 7344 | 2939 | -587800 | -0.5878
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999014 | 999020 | -6 | 1125 | 0.001125 | 4993 | 4396 | 597 | -111937.5 | -0.11194
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998961 | 999013 | -52 | 9750 | 0.00975 | 3561 | 3258 | 303 | -56812.5 | -0.056813
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 197 | 110 | 87 | -21750 | -0.02175 | 5358 | 4824 | 534 | -133500 | -0.1335
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999977 | 999900 | 77 | -7700 | -0.0077 | 16134 | 13134 | 3000 | -300000 | -0.3
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.5534 |  |  |  |  | -1.6105
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -8.8187 |  |  |  |  | 0.035794
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.5534 |  |  |  |  | -1.6105
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.74082 |  |  |  |  | 0.08985
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -6.5244 |  |  |  |  | -1.4849
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.5244 | (REACTIVE MUs) |  |  |  | -1.4849 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.89957 | (REACTIVE MUs) |  |  |  | -1.1688 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.6249 | (REACTIVE MUs) |  |  |  | -2.6537 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 17215 | 11141 | 6074 | 607400 | 0.6074 | 993540 | 993306 | 234 | 23400 | 0.0234
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8521 | 8285 | 236 | 70800 | 0.0708 | 3873 | 3903 | -30 | -9000 | -0.009
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 33058 | 29757 | 3301 | 247575 | 0.24757 | 343455 | 339689 | 3766 | 282450 | 0.28245
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998400 | 998258 | 142 | 42600 | 0.0426 | 5954 | 5951 | 3 | 900 | 0.0009
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1767 | 1735 | 32 | 42665.6 | 0.042666 | 3587 | 3557 | 30 | 39999 | 0.039999
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 39654 | 36381 | 3273 | 327300 | 0.3273 | 155764 | 155563 | 201 | 20100 | 0.0201
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 997464 | 985293 | 12171 | 912825 | 0.91282 | 44985 | 43980 | 1005 | 75375 | 0.075375
[5 empty] | 75 | 19363 | 18016 | 1347 | 101025 | 0.10103
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985839 | 986030 | -191 | -191000 | -0.191 | 2295 | 2292 | 3 | 3000 | 0.003
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 999892 | 1000003 | -111 | -55500 | -0.0555 | 564 | 563 | 1 | 500 | 0.0005
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999359 | 999507 | -148 | -148000 | -0.148 | 1522 | 1515 | 7 | 7000 | 0.007
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992202 | 992074 | 128 | 128000 | 0.128 | 1473 | 1472 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993498 | 993398 | 100 | 100000 | 0.1 | 6231 | 6146 | 85 | 85000 | 0.085
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997086 | 997239 | -153 | -153000 | -0.153 | 998571 | 998523 | 48 | 48000 | 0.048
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999837 | 999997 | -160 | -160000 | -0.16 | 999975 | 999977 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 998950 | 999064 | -114 | -91200 | -0.0912 | 4977 | 4946 | 31 | 24800 | 0.0248
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999396 | 999090 | 306 | 306000 | 0.306 | 33439 | 33449 | -10 | -10000 | -0.01
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1933 | 1993 | -60 | -60000 | -0.06 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3473 | 3741 | -268 | -268000 | -0.268 | 17363 | 17367 | -4 | -4000 | -0.004
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 978791 | 980048 | -1257 | -1571250 | -1.5713 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 943918 | 947381 | -3463 | -3809300 | -3.8093
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 962496 | 963301 | -805 | -805000 | -0.805 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -2.3763 |  |  |  |  | -3.8093
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993874 | 995203 | -1329 | 1329000 | 1.329 | 999979 | 999979 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991377 | 992606 | -1229 | 1229000 | 1.229 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999844 | 999838 | 6 | 6000 | 0.006 | 9138 | 8433 | 705 | 705000 | 0.705
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37783 | 34418 | 3365 | -3365000 | -3.365 | 835 | 850 | -15 | 15000 | 0.015
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17923 | 17933 | -10 | 10000 | 0.01 | 999263 | 999663 | -400 | 400000 | 0.4
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989022 | 989316 | -294 | 294000 | 0.294 | 990752 | 990793 | -41 | 41000 | 0.041
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993540 | 993808 | -268 | 268000 | 0.268 | 998399 | 998466 | -67 | 67000 | 0.067
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996762 | 997411 | -649 | 649000 | 0.649 | 985887 | 985897 | -10 | 10000 | 0.01
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998391 | 998013 | 378 | -378000 | -0.378 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999517 | 999161 | 356 | -712000 | -0.712 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1406 | 1268 | 138 | 138000 | 0.138 | 606 | 597 | 9 | 9000 | 0.009
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 3389 | 2737 | 652 | 260800 | 0.2608 | 486 | 461 | 25 | 10000 | 0.01
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 999896 | 1000032 | -136 | -18088 | -0.018088 | 13678 | 13870 | -192 | -25536 | -0.025536
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982376 | 983385 | -1009 | 1009000 | 1.009 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995731 | 996741 | -1010 | 1010000 | 1.01 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.113 |  |  |  |  | -1.9913
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.113 |  |  |  |  | -1.9913
SEPTEMBER-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998483 | 999600 | -1117 | 1117000 | 1.117 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997819 | 998293 | -474 | 474000 | 0.474 | 965182 | 965247 | -65 | 65000 | 0.065
[5 empty] | -1000 | 999737 | 999814 | -77 | 77000 | 0.077 | 998116 | 998116 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995268 | 996216 | -948 | 948000 | 0.948 | 995831 | 995834 | -3 | 3000 | 0.003
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 981294 | 982356 | -1062 | 2124000 | 2.124 | 971220 | 971222 | -2 | 4000 | 0.004
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2018 | 1863 | 155 | -155000 | -0.155 | 998809 | 998812 | -3 | 3000 | 0.003
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994958 | 995266 | -308 | 308000 | 0.308 | 997784 | 997785 | -1 | 1000 | 0.001
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3140 | 3401 | -261 | 261000 | 0.261 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991698 | 991981 | -283 | 283000 | 0.283 | 937188 | 937191 | -3 | 3000 | 0.003
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959237 | 960095 | -858 | 858000 | 0.858 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994954 | 995910 | -956 | 956000 | 0.956 | 989820 | 989820 | 0 | 0 | 0
[5 empty] | -1000 | 3047 | 3064 | -17 | 17000 | 0.017
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959491 | 959807 | -316 | 316000 | 0.316 | 827885 | 827891 | -6 | 6000 | 0.006
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23701 | 24212 | -511 | 511000 | 0.511 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12321 | 10713 | 1608 | -1608000 | -1.608 | 136 | 135 | 1 | -1000 | -0.001
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985293 | 986728 | -1435 | 1435000 | 1.435 | 919565 | 919565 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | meter faulty
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.922 |  |  |  |  | 0.084
| (B) NET ENERGY TO EAST | [8 empty] | 7.922 |  |  |  |  | 0.084
SEPTEMBER-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999851 | 999485 | 366 | -97601.22 | -0.097601 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7279 | 7199 | 80 | -40000 | -0.04 | 1767 | 1746 | 21 | -10500 | -0.0105
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3838 | 3870 | -32 | 8533.12 | 0.0085331 | 2198 | 2201 | -3 | 799.98 | 0.00079998
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79831 | 79457 | 374 | -37400 | -0.0374 | 149368 | 149307 | 61 | -6100 | -0.0061
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 999679 | 999826 | -147 | 29400 | 0.0294 | 998987 | 998986 | 1 | -200 | -0.0002
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 51928 | 50491 | 1437 | -287400 | -0.2874 | 124527 | 124435 | 92 | -18400 | -0.0184
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 19818 | 19464 | 354 | -283200 | -0.2832 | 14513 | 14499 | 14 | -11200 | -0.0112
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1816 | 1009 | 807 | -645600 | -0.6456 | 697 | 680 | 17 | -13600 | -0.0136
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 969298 | 969729 | -431 | 344800 | 0.3448 | 985969 | 985977 | -8 | 6400 | 0.0064
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 972480 | 973790 | -1310 | 1048000 | 1.048 | 986612 | 986629 | -17 | 13600 | 0.0136
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 981858 | 982718 | -860 | 688000 | 0.688 | 992706 | 992736 | -30 | 24000 | 0.024
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 972415 | 973042 | -627 | 501600 | 0.5016 | 994427 | 994436 | -9 | 7200 | 0.0072
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966152 | 967264 | -1112 | 1112000 | 1.112 | 31712 | 31720 | -8 | 8000 | 0.008
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1919 | 1903 | 16 | -16000 | -0.016 | 28604 | 28552 | 52 | -52000 | -0.052
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 13737 | 12607 | 1130 | -113000 | -0.113 | 26590 | 29913 | -3323 | 332300 | 0.3323
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1425 | 1420 | 5 | -833.3 | -0.0008333 | 6669 | 5976 | 693 | -115495.38 | -0.1155
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999890 | 999832 | 58 | -29000 | -0.029 | 1186 | 1083 | 103 | -51500 | -0.0515
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1627 | 1472 | 155 | -103333.85 | -0.10333 | 155 | 151 | 4 | -2666.68 | -0.0026667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4606 | 4459 | 147 | -98000 | -0.098 | 1459 | 1455 | 4 | -2666.6667 | -0.0026667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 30285 | 27025 | 3260 | -326000 | -0.326 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25768 | 25619 | 149 | -14900 | -0.0149 | 51561 | 51555 | 6 | -600 | -0.0006
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997498 | 997502 | -4 | 400 | 0.0004 | 3835 | 3864 | -29 | 2900 | 0.0029
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6378 | 5754 | 624 | -62400 | -0.0624 | 10957 | 10941 | 16 | -1600 | -0.0016
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 4514 | 3960 | 554 | -55400 | -0.0554 | 363 | 355 | 8 | -800 | -0.0008
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 24458 | 24264 | 194 | -19400 | -0.0194 | 6140 | 6134 | 6 | -600 | -0.0006
[10 empty] | 1.5033 |  |  |  |  | 0.10727
SEPTEMBER-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.113 |  |  |  |  | -1.9913
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.5033 |  |  |  |  | 0.10727
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.845 |  |  |  |  | 0.0086375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.7712 |  |  |  |  | -1.8754
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.922 |  |  |  |  | 0.084
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 9.6932 |  |  |  |  | -1.7914
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 9.6932 | (REACTIVE MUs) |  |  |  | -1.7914 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.66556 | (REACTIVE MUs) |  |  |  | -0.86478 | (REACTIVE MUs)
[9 empty] | TOTAL | 10.3588 | (REACTIVE MUs) |  |  |  | -2.6562 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999505 | 999510 | -5 | -25000 | -0.025 | 998905 | 998912 | -7 | -35000 | -0.035
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984391 | 984582 | -191 | -254666.03 | -0.25467 | 670303 | 670307 | -4 | -5333.32 | -0.0053333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 997965 | 998327 | -362 | -72400 | -0.0724 | 1002552 | 1002340 | 212 | 42400 | 0.0424
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 95 | 17 | 78 | 103999.74 | 0.104 | 999631 | 999599 | 32 | 42666.56 | 0.042667
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18802 | 18853 | -51 | -5100 | -0.0051 | 22638 | 22637 | 1 | 100 | 0.0001
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 715199 | 719936 | -4737 | -355275 | -0.35528 | 980886 | 980917 | -31 | -2325 | -0.002325
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 1000317 | 999354 | 963 | 72225 | 0.072225 | 18415 | 17538 | 877 | 65775 | 0.065775
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997326 | 997487 | -161 | -144900 | -0.1449 | 995158 | 995113 | 45 | 40500 | 0.0405
10 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3737 | 3763 | -26 | 26000 | 0.026 | 997137 | 997231 | -94 | 94000 | 0.094
12 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 29 | 168 | -139 | 278000 | 0.278 | 998597 | 998806 | -209 | 418000 | 0.418
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10507 | 10628 | -121 | 121000 | 0.121 | 997890 | 998313 | -423 | 423000 | 0.423
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967873 | 967945 | -72 | 72000 | 0.072 | 992302 | 993705 | -1403 | 1403000 | 1.403
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31586 | 31582 | 4 | -4000 | -0.004 | 996620 | 996928 | -308 | 308000 | 0.308
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19336 | 19336 | 0 | 0 | 0 | 21037 | 18658 | 2379 | -1189500 | -1.1895
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7788 | 7788 | 0 | 0 | 0 | 997421 | 998138 | -717 | 1434000 | 1.434
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996405 | 996415 | -10 | 10000 | 0.01 | 846093 | 846915 | -822 | 822000 | 0.822
[5 empty] | -1000 | [5 empty] | 850018 | 850319 | -301 | 301000 | 0.301
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 1757 | 32 | 1725 | -1380000 | -1.38 | 998996 | 998583 | 413 | -330400 | -0.3304
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2896 | 3047 | -151 | 151000 | 0.151 | 963292 | 963377 | -85 | 85000 | 0.085
[5 empty] | -1000 | [5 empty] | 980559 | 980650 | -91 | 91000 | 0.091
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 100 | 220 | -120 | 120000 | 0.12 | 996046 | 996354 | -308 | 308000 | 0.308
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982495 | 982738 | -243 | 243000 | 0.243 | 987240 | 987524 | -284 | 284000 | 0.284
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 370 | 304 | 66 | -66000 | -0.066 | 998733 | 998815 | -82 | 82000 | 0.082
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 14 | -3 | 3000 | 0.003 | 999999 | 999999 | 0 | 0 | 0
[5 empty] | 1000 | 14 | 0 | 14 | 14000 | 0.014 | 999999 | 1000000 | -1 | -1000 | -0.001 | mode corrected on 14/9
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24477 | 21986 | 2491 | -2491000 | -2.491 | 999999 | 999999 | 0 | 0 | 0
28 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 617 | 8 | 609 | -2029997.97 | -2.03 | 544 | 1 | 543 | -1809998.19 | -1.81
[5 empty] | 3333.33 | 8 | 5 | 3 | 9999.99 | 0.01 | 1 | 1 | 0 | 0 | 0 | mode corrected on 14/9
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 27 | 32 | -5 | -4000 | -0.004 | 8908 | 8549 | 359 | 287200 | 0.2872
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978124 | 978250 | -126 | 126000 | 0.126 | 969291 | 970295 | -1004 | 1004000 | 1.004
31 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
32 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980156 | 980156 | 0 | 0 | 0 | 994405 | 995206 | -801 | 801000 | 0.801
TUGLAKABAD
33 | 66KV I/C-1 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 985225 | 985225 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993737 | 994269 | -532 | 532000 | 0.532 | 922342 | 922734 | -392 | 392000 | 0.392
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11014 | 10430 | 584 | -584000 | -0.584 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997354 | 997811 | -457 | 457000 | 0.457 | 996219 | 996219 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999365 | 999716 | -351 | 351000 | 0.351 | 999746 | 999755 | -9 | 9000 | 0.009
BRPL(+) continue | [14 empty] | SEPTEMBER-2018
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10492 | 10347 | 145 | -145000 | -0.145 | 999885 | 999892 | -7 | 7000 | 0.007
41 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 17017 | 16035 | 982 | -491000 | -0.491 | 997315 | 997956 | -641 | 320500 | 0.3205
| Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
42 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2541 | 2392 | 149 | -149000 | -0.149 | 999354 | 999359 | -5 | 5000 | 0.005
43 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993955 | 994346 | -391 | 391000 | 0.391 | 926352 | 926377 | -25 | 25000 | 0.025
44 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2734 | 2564 | 170 | -170000 | -0.17 | 9364 | 9778 | -414 | 414000 | 0.414
45 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1525 | 1692 | -167 | 334000 | 0.334 | 996535 | 996635 | -100 | 200000 | 0.2
RIDGE VALLEY
46 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2137 | 1698 | 439 | -439000 | -0.439 | 997817 | 997876 | -59 | 59000 | 0.059
47 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7856 | 8022 | -166 | 332000 | 0.332 | 999440 | 999440 | 0 | 0 | 0
DIAL
48 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6634 | 6558 | 76 | -152000 | -0.152 | 2310 | 2311 | -1 | 2000 | 0.002
49 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3375 | 3352 | 23 | -46000 | -0.046 | 1276 | 1277 | -1 | 2000 | 0.002
50 | MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917438 | 0 | 0 | 0 | 981058 | 981356 | -298 | 298000 | 0.298
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 8 | 0 | 0 | 0 | 996520 | 996821 | -301 | 301000 | 0.301
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 468 | 468 | 0 | 0 | 0 | 989917 | 991581 | -1664 | 1664000 | 1.664
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996857 | 996782 | 75 | 60000 | 0.06 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 981691 | 982352 | -661 | -528800 | -0.5288 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1515 | 1451 | 64 | 51200 | 0.0512 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 999863 | 1000234 | -371 | -296800 | -0.2968 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966152 | 967264 | -1112 | -1112000 | -1.112 | 31712 | 31720 | -8 | -8000 | -0.008
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3814 | 1499 | 2315 | -2315000 | -2.315 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18145 | 16941 | 1204 | -1204000 | -1.204 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50151 | 49090 | 1061 | -1061000 | -1.061 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 11004 | 10693 | 311 | 31100 | 0.0311 | 103037 | 101894 | 1143 | 114300 | 0.1143
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999806 | 999830 | -24 | -4500 | -0.0045 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8626 | 8114 | 512 | 204800 | 0.2048 | 993849 | 993838 | 11 | 4400 | 0.0044
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 997008 | 996455 | 553 | 221200 | 0.2212 | 70239 | 70236 | 3 | 1200 | 0.0012
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 972115 | 973823 | -1708 | -1366400 | -1.3664 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 344746 | 344184 | 562 | 56200 | 0.0562 | 1001980 | 998990 | 2990 | 299000 | 0.299
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4723 | 4640 | 83 | 83000 | 0.083 | 1921 | 1444 | 477 | 477000 | 0.477
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10285 | 10275 | 10 | 750 | 0.00075 | 17344 | 17012 | 332 | 24900 | 0.0249
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4884 | 4868 | 16 | 1600 | 0.0016 | 9615 | 9309 | 306 | 30600 | 0.0306
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6214 | 5099 | 1115 | 557500 | 0.5575 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4075 | 3478 | 597 | 597000 | 0.597 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994850 | 995103 | -253 | -253000 | -0.253 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4107 | 3947 | 160 | 160000 | 0.16 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3474 | 452 | 3022 | 483520 | 0.48352 | 999701 | 999701 | 0 | 0 | 0 | w.e.f 17/05/18
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178237 | 167725 | 10512 | 1051200 | 1.0512 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 804 | 202 | 602 | 602000 | 0.602 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2992 | 2557 | 435 | 435000 | 0.435 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999703 | 999613 | 90 | 18000 | 0.018 | 10283 | 7344 | 2939 | 587800 | 0.5878
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999014 | 999020 | -6 | -1125 | -0.001125 | 4993 | 4396 | 597 | 111937.5 | 0.11194
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998961 | 999013 | -52 | -9750 | -0.00975 | 3561 | 3258 | 303 | 56812.5 | 0.056813
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 197 | 110 | 87 | 21750 | 0.02175 | 5358 | 4824 | 534 | 133500 | 0.1335
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999977 | 999900 | 77 | 7700 | 0.0077 | 16134 | 13134 | 3000 | 300000 | 0.3
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.77 |  |  |  |  | 10.795
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -300 | 9744 | 5565 | 4179 | -1253700 | -1.2537 | 276 | 276 | 0 | 0 | 0 | w.e.f 31/05/18
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999896 | 1000032 | -136 | 18132.88 | 0.018133 | 13678 | 13870 | -192 | 25599.36 | 0.025599
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997664 | 997570 | 94 | -18800 | -0.0188 | 4084 | 3585 | 499 | -99800 | -0.0998
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1030 | 1021 | 9 | -9000 | -0.009 | 998679 | 998670 | 9 | -9000 | -0.009
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999162 | 999097 | 65 | -65000 | -0.065 | 1869 | 1831 | 38 | -38000 | -0.038
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5685 | 5605 | 80 | -12800 | -0.0128 | 10774 | 10455 | 319 | -51040 | -0.05104
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 533 | 427 | 106 | -21200 | -0.0212 | 2791 | 2345 | 446 | -89200 | -0.0892
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994115 | 994187 | -72 | 72000 | 0.072 | 999640 | 999645 | -5 | 5000 | 0.005
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 98811 | 97770 | 1041 | -104100 | -0.1041 | 74098 | 74098 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 108838 | 107471 | 1367 | -136700 | -0.1367 | 77493 | 77493 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28253 | 28118 | 135 | -13500 | -0.0135 | 61720 | 59172 | 2548 | -254800 | -0.2548
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 436221 | 435982 | 239 | -23900 | -0.0239 | 46706 | 46864 | -158 | 15800 | 0.0158 | data till 28-09-18
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/05/18
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 04/05/18
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12016 | 12016 | 0 | 0 | 0 | 78939 | 78939 | 0 | 0 | 0
|  | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 17 | 0 | 17 | -1700 | -0.0017 | 5 | 0 | 5 | -500 | -0.0005 | w.e.f 25-09-18
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1967 | 1910 | 57 | -5700 | -0.0057 | 26101 | 25599 | 502 | -50200 | -0.0502
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 410 | 387 | 23 | -30659 | -0.030659 | 366 | 361 | 5 | -6665 | -0.006665
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 799 | 327 | 472 | -47200 | -0.0472 | 1375 | 1252 | 123 | -12300 | -0.0123
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 1028 | 569 | 459 | -45900 | -0.0459 | 21753 | 21402 | 351 | -35100 | -0.0351
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995619 | 995619 | 0 | 0 | 0 | 83 | 85 | -2 | -800 | -0.0008
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999987 | 999736 | 251 | -100400 | -0.1004 | 999893 | 999807 | 86 | -34400 | -0.0344
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2533 | 2363 | 170 | -170000 | -0.17 | 1742 | 1742 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 252 | 146 | 106 | -79500 | -0.0795 | 2642 | 2008 | 634 | -475500 | -0.4755
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.0496 |  |  |  |  | -1.1109
SEPTEMBER-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -8.77 |  |  |  |  | 10.795
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.0496 |  |  |  |  | -1.1109
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.25072 |  |  |  |  | 0.022662
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.17432 |  |  |  |  | -0.0618
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -11.2446 |  |  |  |  | 9.645
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.2446 | (REACTIVE MUs) |  |  |  | 9.645 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2021 | (REACTIVE MUs) |  |  |  | -1.5619 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.0426 | (REACTIVE MUs) |  |  |  | 8.0831 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3838 | 3870 | -32 | -8533.44 | -0.0085334 | 2198 | 2201 | -3 | -800.01 | -0.00080001
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79831 | 79457 | 374 | 37400 | 0.0374 | 149368 | 149307 | 61 | 6100 | 0.0061
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 999679 | 999826 | -147 | -29400 | -0.0294 | 998987 | 998986 | 1 | 200 | 0.0002
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 51928 | 50491 | 1437 | 287400 | 0.2874 | 124527 | 124435 | 92 | 18400 | 0.0184
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 19818 | 19464 | 354 | 283200 | 0.2832 | 14513 | 14499 | 14 | 11200 | 0.0112
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1816 | 1009 | 807 | 645600 | 0.6456 | 697 | 680 | 17 | 13600 | 0.0136
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 969298 | 969729 | -431 | -344800 | -0.3448 | 985969 | 985977 | -8 | -6400 | -0.0064
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 972480 | 973790 | -1310 | -1048000 | -1.048 | 986612 | 986629 | -17 | -13600 | -0.0136
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 981858 | 982718 | -860 | -688000 | -0.688 | 992706 | 992736 | -30 | -24000 | -0.024
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 972415 | 973042 | -627 | -501600 | -0.5016 | 994427 | 994436 | -9 | -7200 | -0.0072
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997005 | 997433 | -428 | -21400 | -0.0214 | 19306 | 19155 | 151 | 7550 | 0.00755
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989199 | 989266 | -67 | -5025 | -0.005025 | 22824 | 22748 | 76 | 5700 | 0.0057
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 160 | 162 | -2 | -1000 | -0.001 | 5213 | 5122 | 91 | 45500 | 0.0455
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999332 | 999237 | 95 | 35625 | 0.035625 | 7701 | 7542 | 159 | 59625 | 0.059625
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 987876 | 988057 | -181 | -18100 | -0.0181 | 340370 | 339964 | 406 | 40600 | 0.0406
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 1287 | 454 | 833 | 62475 | 0.062475 | 36178 | 35204 | 974 | 73050 | 0.07305
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 990 | 153 | 837 | 83700 | 0.0837 | 1265 | 1122 | 143 | 14300 | 0.0143
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998374 | 998019 | 355 | 355000 | 0.355 | 102116 | 102116 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999565 | 999688 | -123 | -123000 | -0.123 | 17 | 17 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989211 | 989971 | -760 | -760000 | -0.76 | 143923 | 143923 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6193 | 5913 | 280 | 280000 | 0.28 | 59497 | 59497 | 0 | 0 | 0
[10 empty] | -0.248 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999162 | 999097 | 65 | 65000 | 0.065 | 1869 | 1831 | 38 | 38000 | 0.038
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5685 | 5605 | 80 | 12800 | 0.0128 | 10774 | 10455 | 319 | 51040 | 0.05104
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 533 | 427 | 106 | 21200 | 0.0212 | 2791 | 2345 | 446 | 89200 | 0.0892
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994115 | 994187 | -72 | -72000 | -0.072 | 999640 | 999645 | -5 | -5000 | -0.005
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
SEPTEMBER-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999844 | 999923 | -79 | 79000 | 0.079 | 994506 | 995062 | -556 | 556000 | 0.556 | w.e.f 07/05/18
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961481 | 961634 | -153 | 76500 | 0.0765 | 986930 | 988065 | -1135 | 567500 | 0.5675
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998503 | 998705 | -202 | 404000 | 0.404 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988172 | 988618 | -446 | 446000 | 0.446 | 997199 | 997199 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 436221 | 435982 | 239 | 23900 | 0.0239 | 46706 | 46864 | -158 | -15800 | -0.0158 | data till 28-09-18
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 98811 | 97770 | 1041 | 104100 | 0.1041 | 74098 | 74098 | 0 | 0 | 0
37 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 108838 | 107471 | 1367 | 136700 | 0.1367 | 77493 | 77493 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28253 | 28118 | 135 | 13500 | 0.0135 | 61720 | 59172 | 2548 | 254800 | 0.2548
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 9744 | 5565 | 4179 | 417900 | 0.4179 | 276 | 276 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 344746 | 344184 | 562 | -56200 | -0.0562 | 1001980 | 998990 | 2990 | -299000 | -0.299
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4723 | 4640 | 83 | -83000 | -0.083 | 1921 | 1444 | 477 | -477000 | -0.477
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10285 | 10275 | 10 | -750 | -0.00075 | 17344 | 17012 | 332 | -24900 | -0.0249
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4884 | 4868 | 16 | -1600 | -0.0016 | 9615 | 9309 | 306 | -30600 | -0.0306
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.10859 |  |  |  |  | 0.94806
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.10859 |  |  |  |  | 0.94806
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.1358 |  |  |  |  | -0.17644
| TOTAL ENERGY TO NDMC | [8 empty] | 0.24439 |  |  |  |  | 0.77162

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3505 | 3392 | 113 | 22600 | 0.0226 | 31367 | 29682 | 1685 | 337000 | 0.337
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4247 | 4249 | -2 | -2000 | -0.002 | 52477 | 52484 | -7 | -7000 | -0.007
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 155 | 151 | 4 | 1600 | 0.0016 | 12771 | 12034 | 737 | 294800 | 0.2948
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999987 | 1000000 | -13 | -10400 | -0.0104 | 353 | 320 | 33 | 26400 | 0.0264
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 293 | 1022 | -729 | -291600 | -0.2916 | 1002699 | 999474 | 3225 | 1290000 | 1.29
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997664 | 997570 | 94 | 18800 | 0.0188 | 4084 | 3585 | 499 | 99800 | 0.0998
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1030 | 1021 | 9 | 9000 | 0.009 | 998679 | 998670 | 9 | 9000 | 0.009
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.252 |  |  |  |  | 2.05
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 62565 | 61098 | 1467 | 146700 | 0.1467 | 95734 | 95540 | 194 | 19400 | 0.0194
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78238 | 78238 | 0 | 0 | 0 | 18233 | 18220 | 13 | 1300 | 0.0013
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 66177 | 65912 | 265 | 26500 | 0.0265 | 121863 | 121503 | 360 | 36000 | 0.036
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 632 | 15 | 1125 | 0.001125 | 1646 | 1578 | 68 | 5100 | 0.0051
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4260 | 4260 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.17432 |  |  |  |  | 0.0618
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.17432 |  |  |  |  | 0.0618
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.252 |  |  |  |  | 2.05
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.077675 |  |  |  |  | 2.1118
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.077675 | (REACTIVE MUs) |  |  |  | 2.1118 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.020074 | (REACTIVE MUs) |  |  |  | -0.026082 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.057601 | (REACTIVE MUs) |  |  |  | 2.0857 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 996947 | 998025 | -1078 | -673750 | -0.67375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999612 | 999566 | 46 | 28750 | 0.02875 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999987 | 999736 | 251 | 100400 | 0.1004 | 999893 | 999807 | 86 | 34400 | 0.0344
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.5446 |  |  |  |  | 0.0344

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 977695 | 977622 | 73 | 7300 | 0.0073 | 2000 | 1979 | 21 | 2100 | 0.0021
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 75606 | 72885 | 2721 | 272100 | 0.2721 | 5721 | 5736 | -15 | -1500 | -0.0015
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 11894 | 11635 | 259 | 129500 | 0.1295 | 2766 | 2715 | 51 | 25500 | 0.0255
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999612 | 999826 | -214 | -200625 | -0.20062 | 106 | 107 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | 500 | 998451 | 999412 | -961 | -480500 | -0.4805 | 999839 | 999845 | -6 | -3000 | -0.003 | w.e.f 21/06/18
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978475 | 978518 | -43 | 21500 | 0.0215 | 976366 | 976367 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.25072 |  |  |  |  | 0.022662
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986510 | 986910 | -400 | -80000 | -0.08 | 1000023 | 999947 | 76 | 15200 | 0.0152
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997285 | 998101 | -816 | -765000 | -0.765 | 999929 | 999936 | -7 | -6562.5 | -0.0065625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.845 |  |  |  |  | 0.0086375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 984 | 938 | 46 | 57500 | 0.0575 | 90 | 78 | 12 | 15000 | 0.015
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 330115 | 326450 | 3665 | 366500 | 0.3665 | 999475 | 999210 | 265 | 26500 | 0.0265
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 255311 | 254545 | 766 | 47875 | 0.047875 | 94061 | 93645 | 416 | 26000 | 0.026
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2779 | 2578 | 201 | 160800 | 0.1608 | 1936 | 1935 | 1 | 800 | 0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 976239 | 976993 | -754 | -75400 | -0.0754 | 999175 | 999183 | -8 | -800 | -0.0008
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 385 | 178 | 207 | 31050 | 0.03105 | 987034 | 986885 | 149 | 22350 | 0.02235
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998172 | 998233 | -61 | 152500 | 0.1525 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.74082 |  |  |  |  | 0.08985
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.25072 |  |  |  |  | 0.022662
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.845 |  |  |  |  | 0.0086375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.74082 |  |  |  |  | 0.08985

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 40987 | 38126 | 2861 | 2861000 | 2.861 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 15381 | 14842 | 539 | 2695000 | 2.695 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.556 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.556 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.3763 |  |  |  |  | -3.8093
[7 empty] | NDMC = |  |  | -0.248 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -2.6242 |  |  |  |  | -3.8093
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.9318 |  |  |  |  | -3.8093
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.6836 | % |  |  | 0.89957 |  |  |  |  | -1.1688
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.0015 | % |  |  | 1.2021 |  |  |  |  | -1.5619
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7019 | % |  |  | 0.66556 |  |  |  |  | -0.86478
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6319 | % |  |  | 0.1358 |  |  |  |  | -0.17644
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6847 | % |  |  | 0.020074 |  |  |  |  | -0.026082
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2963 | % |  |  | 0.0086868 |  |  |  |  | -0.011287
Note :Sharing taken from wk-27 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2018 TO 30th SEPTEMBER-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.6249 |  | -2.6537
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -10.0426 | + | 8.0831
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 10.3588 |  | -2.6562
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.24439 | + | 0.77162
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.057601 | + | 2.0857
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.5446 | + | 0.0344
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2018 | INTIAL READING 01/09/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 18894 | 17064 | 1830 | 1372500 | 1.3725 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 7886 | 6501 | 1385 | 2077500 | 2.0775 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 842740 | 844467 | -1727 | -1295250 | -1.2953 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 2.1547 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1304 | 1185 | 119 | 595000 | 0.595 | 12856 | 12832 | 24 | 120000 | 0.12
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 896885 | 902711 | -5826 | -5826000 | -5.826
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973841 | 973639 | 202 | 202000 | 0.202 | 999326 | 999385 | -59 | -59000 | -0.059
[8 empty] | NET REACTIVE ENERGY |  | 0.797 |  |  | NET REACTIVE ENERGY |  | -5.765