## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998029 | 998026 | 3 | -3000 | -0.003 | 999972 | 999989 | -17 | 17000 | 0.017
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201 | 201 | 0 | 0 | 0 | 999283 | 999173 | 110 | -110000 | -0.11
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12500 | 12491 | 9 | -9000 | -0.009 | 996372 | 996384 | -12 | 12000 | 0.012
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976178 | 976178 | 0 | 0 | 0 | 977534 | 977671 | -137 | 137000 | 0.137
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918611 | 918623 | -12 | 12000 | 0.012 | 945978 | 946538 | -560 | 560000 | 0.56
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18602 | 18601 | 1 | -1000 | -0.001 | 17144 | 17160 | -16 | 16000 | 0.016
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19253 | 19252 | 1 | -1000 | -0.001 | 13137 | 13155 | -18 | 18000 | 0.018
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17111 | 17103 | 8 | -10000 | -0.01 | 996475 | 996508 | -33 | 41250 | 0.04125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13311 | 13297 | 14 | -14000 | -0.014 | 986514 | 986567 | -53 | 53000 | 0.053
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30985 | 30985 | 0 | 0 | 0 | 9460 | 9558 | -98 | 98000 | 0.098
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996649 | 996652 | -3 | 3000 | 0.003 | 4047 | 4074 | -27 | 27000 | 0.027
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996603 | 996578 | 25 | -25000 | -0.025 | 999713 | 999715 | -2 | 2000 | 0.002
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 924528 | 925620 | -1092 | -1092000 | -1.092 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995672 | 995672 | 0 | 0 | 0 | 16913 | 16933 | -20 | 20000 | 0.02
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1132 | 1110 | 22 | -22000 | -0.022 | 19629 | 19630 | -1 | 1000 | 0.001
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 84 | 82 | 2 | -2000 | -0.002 | 19941 | 20012 | -71 | 71000 | 0.071
NARAINA
17 | O/G REWARI LINE 1 | 5128404 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999956 | 999956 | 0 | 0 | 0 | 999918 | 1000043 | -125 | -125000 | -0.125 | Check Meter used, Roll Over
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 999670 | 1000000 | -330 | -66000 | -0.066 | installed on dated 23/05/13 ,Roll Over
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29931 | 29878 | 53 | 53000 | 0.053
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2335 | 2335 | 0 | 0 | 0 | 141186 | 139216 | 1970 | 197000 | 0.197
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4776 | 4776 | 0 | 0 | 0 | 215656 | 212965 | 2691 | 269100 | 0.2691
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 3626 | 1184 | 2442 | 2442000 | 2.442
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999940 | 0 | 0 | 0 | 6446 | 6851 | -405 | -405000 | -0.405
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647820 | 647820 | 0 | 0 | 0 | 800098 | 800177 | -79 | -79000 | -0.079
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655851 | 655851 | 0 | 0 | 0 | 832917 | 833096 | -179 | -179000 | -0.179
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992279 | 992266 | 13 | 13000 | 0.013 | 998330 | 998292 | 38 | 38000 | 0.038
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1052 | 1052 | 0 | 0 | 0 | 479 | 194 | 285 | 142500 | 0.1425
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13792 | 13789 | 3 | -3000 | -0.003 | 982054 | 982100 | -46 | 46000 | 0.046
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999870 | 999999 | -129 | 129000 | 0.129 | 999951 | 999997 | -46 | 46000 | 0.046
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992489 | 992483 | 6 | -6000 | -0.006 | 927896 | 927934 | -38 | 38000 | 0.038
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999866 | 999755 | 111 | -111000 | -0.111 | 999929 | 999946 | -17 | 17000 | 0.017
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32897 | 32116 | 781 | -781000 | -0.781 | 999946 | 999925 | 21 | -21000 | -0.021
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1335 | 1335 | 0 | 0 | 0 | 19341 | 18685 | 656 | 656000 | 0.656
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 158 | 0 | 0 | 0 | 2565 | 2818 | -253 | -253000 | -0.253
| NDPL(+) continue | [14 empty] | MAY-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1281 | 1282 | -1 | -1000 | -0.001 | 59855 | 59776 | 79 | 79000 | 0.079
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 802 | 534 | 268 | 26800 | 0.0268 | 77486 | 77611 | -125 | -12500 | -0.0125
35 | 20MVA Tx-2 | Assessment for the period from 21/5/13 to 31/5/13 is on pro-rata basis | [7 empty] | 0.01474 |  |  |  |  | -0.006875
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9213 | 9193 | 20 | 2000 | 0.002 | 28489 | 28136 | 353 | 35300 | 0.0353
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10014 | 9951 | 63 | 6300 | 0.0063 | 43730 | 40940 | 2790 | 279000 | 0.279
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15066 | 14515 | 551 | 55100 | 0.0551 | 51353 | 51059 | 294 | 29400 | 0.0294
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 39318 | 39055 | 263 | 26300 | 0.0263 | 13085 | 12964 | 121 | 12100 | 0.0121
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16656 | 16657 | -1 | -100 | -0.0001 | 12385 | 12324 | 61 | 6100 | 0.0061
45 | PHILIPS | 4902527 | Assessment (Average of last three month energy i.e. Apr13,March13,Feb13) | [6 empty] | -0.00453 |  |  |  |  | 0.00073 | Meter faulty
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5308 | 5308 | 0 | 0 | 0 | 27017 | 26345 | 672 | 336000 | 0.336
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3469 | 0 | 0 | 0 | 24565 | 24143 | 422 | 211000 | 0.211
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4389 | 4336 | 53 | 26500 | 0.0265 | 14135 | 14087 | 48 | 24000 | 0.024
49 | SADAR S/S | 4902532 | Assessment on pro-rata base for the period 01/5/13 to 16/05/13 | [6 empty] | 0.022258 | reference energy is taken from march 2013 bill |  |  |  | 0.00024194
49 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 108 | 72000 | 0.072 | installed on 16/05/13
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996225 | 996414 | -189 | -18900 | -0.0189 | 5939 | 5951 | -12 | -1200 | -0.0012
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8171 | 8178 | -7 | -700 | -0.0007 | 14943 | 14941 | 2 | 200 | 0.0002
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 20351 | 19646 | 705 | 70500 | 0.0705 | 50956 | 50681 | 275 | 27500 | 0.0275
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2451 | 2484 | -33 | -3300 | -0.0033 | 999982 | 999986 | -4 | -400 | -0.0004
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999000 | 999020 | -20 | -2000 | -0.002 | 198 | 203 | -5 | -500 | -0.0005
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8505 | 8463 | 42 | 4200 | 0.0042 | 71405 | 70545 | 860 | 86000 | 0.086
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7584 | 7552 | 32 | 3200 | 0.0032 | 61582 | 60890 | 692 | 69200 | 0.0692
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8844 | 8808 | 36 | 3600 | 0.0036 | 88927 | 87972 | 955 | 95500 | 0.0955
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 127983 | 127875 | 108 | 10800 | 0.0108 | 28374 | 28987 | -613 | -61300 | -0.0613
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19547 | 19547 | 0 | 0 | 0 | 38992 | 38658 | 334 | 33400 | 0.0334
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994128 | 994181 | -53 | -42400 | -0.0424 | 344 | 345 | -1 | -800 | -0.0008
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 997400 | 997563 | -163 | -130400 | -0.1304 | 999998 | 999999 | -1 | -800 | -0.0008
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.854 |  |  |  |  | 5.0921
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 11047 | 9780 | 1267 | -126700 | -0.1267 | 12847 | 12739 | 108 | -10800 | -0.0108
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8119 | 8118 | 1 | -1000 | -0.001 | 6840 | 6853 | -13 | 13000 | 0.013
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4121 | 4121 | 0 | 0 | 0 | 3155 | 2465 | 690 | -138000 | -0.138
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14175 | 14175 | 0 | 0 | 0 | 28367 | 27661 | 706 | -706000 | -0.706
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 31353 | 31724 | -371 | 37100 | 0.0371 | 143396 | 143397 | -1 | 100 | 0.0001 | Check Meter used
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956392 | 957088 | -696 | 696000 | 0.696 | 992480 | 992480 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.6054 |  |  |  |  | -0.8417
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.854 |  |  |  |  | 5.0921
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.6054 |  |  |  |  | -0.8417
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.5062 |  |  |  |  | -0.38539
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.25752 |  |  |  |  | 3.8651
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.25752 | (REACTIVE MUs) |  |  |  | 3.8651 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.021322 | (REACTIVE MUs) |  |  |  | -0.27785 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.27884 | (REACTIVE MUs) |  |  |  | 3.5872 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988083 | 988083 | 0 | 0 | 0 | 58977 | 59298 | -321 | -32100 | -0.0321
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16112 | 16112 | 0 | 0 | 0 | 12884 | 13286 | -402 | -40200 | -0.0402
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21436 | 21436 | 0 | 0 | 0 | 19268 | 20110 | -842 | -84200 | -0.0842
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1001188 | 999992 | 1196 | 119600 | 0.1196 | Roll Over
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9323 | 9323 | 0 | 0 | 0 | 119610 | 113872 | 5738 | 573800 | 0.5738
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1279 | 1279 | 0 | 0 | 0 | 67052 | 68390 | -1338 | -133800 | -0.1338
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998201 | 998209 | -8 | -8000 | -0.008 | 406 | 372 | 34 | 34000 | 0.034
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999692 | 999690 | 2 | 2000 | 0.002 | 2299 | 2219 | 80 | 80000 | 0.08
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 778 | 780 | -2 | -2000 | -0.002 | 1332 | 1481 | -149 | -149000 | -0.149
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 62 | 65 | -3 | -3000 | -0.003 | 2807 | 2867 | -60 | -60000 | -0.06
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998838 | 998829 | 9 | 9000 | 0.009 | 3240 | 3106 | 134 | 134000 | 0.134
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 490 | 490 | 0 | 0 | 0 | 833 | 145 | 688 | 688000 | 0.688
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 197 | 0 | 0 | 0 | 15710 | 15179 | 531 | 531000 | 0.531
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 503 | 0 | 0 | 0 | 36367 | 35903 | 464 | 464000 | 0.464
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 266 | 266 | 0 | 0 | 0 | 21000 | 19561 | 1439 | 1439000 | 1.439
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 600 | 0 | 0 | 0 | 6995 | 6448 | 547 | 547000 | 0.547
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 40612 | 39831 | 781 | 78100 | 0.0781 | 637 | 636 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998625 | 998625 | 0 | 0 | 0 | 11142 | 10846 | 296 | 296000 | 0.296
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 777569 | 780948 | -3379 | -3716900 | -3.7169
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 822880 | 825984 | -3104 | -3414400 | -3.4144
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989456 | 989456 | 0 | 0 | 0 | 9385 | 9576 | -191 | -191000 | -0.191
| KASHMIRI GATE | [8 empty] | 0.0761 |  |  |  |  | -3.3182
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962706 | 962707 | -1 | 1000 | 0.001 | 973361 | 974362 | -1001 | 1001000 | 1.001
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976600 | 976597 | 3 | -3000 | -0.003 | 971663 | 973047 | -1384 | 1384000 | 1.384
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 1693 | 1479 | 214 | 214000 | 0.214
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25972 | 25895 | 77 | -77000 | -0.077 | 973486 | 973427 | 59 | -59000 | -0.059
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9704 | 9701 | 3 | -3000 | -0.003 | 968812 | 969285 | -473 | 473000 | 0.473
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997766 | 997746 | 20 | -20000 | -0.02 | 998026 | 998569 | -543 | 543000 | 0.543
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982365 | 982263 | 102 | -102000 | -0.102 | 993281 | 993604 | -323 | 323000 | 0.323
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4121 | 4121 | 0 | 0 | 0 | 3155 | 2465 | 690 | 138000 | 0.138
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14175 | 14175 | 0 | 0 | 0 | 28367 | 27661 | 706 | 706000 | 0.706
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111430 | 112292 | -862 | -86200 | -0.0862 | 1615 | 1623 | -8 | -800 | -0.0008
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 76605 | 69365 | 7240 | 724000 | 0.724 | 690 | 131 | 559 | 55900 | 0.0559
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.5099 |  |  |  |  | 1.863
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.5099 |  |  |  |  | 1.863
MAY-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994854 | 994854 | 0 | 0 | 0 | 928957 | 930046 | -1089 | 1089000 | 1.089
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14031 | 14031 | 0 | 0 | 0 | 948020 | 948998 | -978 | 978000 | 0.978
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997230 | 0 | 0 | 0 | 992888 | 993995 | -1107 | 1107000 | 1.107
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925801 | 926318 | -517 | 517000 | 0.517 | 993056 | 993112 | -56 | 56000 | 0.056
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915754 | 916296 | -542 | 542000 | 0.542 | 991394 | 991447 | -53 | 53000 | 0.053
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 562 | 562 | 0 | 0 | 0 | 992003 | 991892 | 111 | -111000 | -0.111
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998631 | 0 | 0 | 0 | 987511 | 987392 | 119 | -238000 | -0.238
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998967 | 998967 | 0 | 0 | 0 | 967175 | 968165 | -990 | 990000 | 0.99
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9445 | 9445 | 0 | 0 | 0 | 940411 | 946581 | -6170 | 6170000 | 6.17
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962700 | 962696 | 4 | -4000 | -0.004 | 876348 | 877670 | -1322 | 1322000 | 1.322
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21683 | 21668 | 15 | -15000 | -0.015 | 31380 | 31365 | 15 | -15000 | -0.015
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20364 | 20360 | 4 | -4000 | -0.004 | 40799 | 40230 | 569 | -569000 | -0.569
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.036 |  |  |  |  | 10.832
| (B) NET ENERGY TO EAST | [8 empty] | 1.036 |  |  |  |  | 10.832
MAY-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992279 | 992266 | 13 | -13000 | -0.013 | 998330 | 998292 | 38 | -38000 | -0.038
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1052 | 1052 | 0 | 0 | 0 | 479 | 194 | 285 | -142500 | -0.1425
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39502 | 39463 | 39 | -7800 | -0.0078 | 68632 | 66544 | 2088 | -417600 | -0.4176
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 68568 | 68470 | 98 | -9800 | -0.0098 | 132572 | 128291 | 4281 | -428100 | -0.4281
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984760 | 984769 | -9 | 1800 | 0.0018 | 3407 | 4028 | -621 | 124200 | 0.1242
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 63892 | 63704 | 188 | -37600 | -0.0376 | 85007 | 83314 | 1693 | -338600 | -0.3386
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 685 | 515 | 170 | -136000 | -0.136 | 321 | 30 | 291 | -232800 | -0.2328
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13109 | 13100 | 9 | -18000 | -0.018 | 770 | 490 | 280 | -560000 | -0.56
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985966 | 985974 | -8 | 6400 | 0.0064 | 995197 | 996112 | -915 | 732000 | 0.732
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995857 | 995859 | -2 | 1600 | 0.0016 | 998012 | 998587 | -575 | 460000 | 0.46
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999516 | 999520 | -4 | 3200 | 0.0032 | 998944 | 999369 | -425 | 340000 | 0.34
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996374 | 996376 | -2 | 2000 | 0.002 | 37234 | 37502 | -268 | 268000 | 0.268
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995932 | 995935 | -3 | 3999.99 | 0.004 | 999789 | 999946 | -157 | 209332.81 | 0.20933
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1335 | 1335 | 0 | 0 | 0 | 19341 | 18685 | 656 | -656000 | -0.656
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 158 | 158 | 0 | 0 | 0 | 2565 | 2818 | -253 | 253000 | 0.253
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1281 | 1282 | -1 | 1000 | 0.001 | 59855 | 59776 | 79 | -79000 | -0.079
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5308 | 5308 | 0 | 0 | 0 | 27017 | 26345 | 672 | -336000 | -0.336
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3469 | 0 | 0 | 0 | 24565 | 24143 | 422 | -211000 | -0.211
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4389 | 4336 | 53 | -26500 | -0.0265 | 14135 | 14087 | 48 | -24000 | -0.024
20 | SADAR S/S | 4902532 | Assessment on pro-rata base for the period 01/5/13 to 16/05/13 | [6 empty] | -0.022258 | reference energy is taken from march 2013 |  |  |  | -0.00024194
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 108 | -72000 | -0.072 | installed on 16/05/13
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 127983 | 127875 | 108 | -10800 | -0.0108 | 28374 | 28987 | -613 | 61300 | 0.0613
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19547 | 19547 | 0 | 0 | 0 | 38992 | 38658 | 334 | -33400 | -0.0334
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996225 | 996414 | -189 | 18900 | 0.0189 | 5939 | 5951 | -12 | 1200 | 0.0012
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8171 | 8178 | -7 | 700 | 0.0007 | 14943 | 14941 | 2 | -200 | -0.0002
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 20351 | 19646 | 705 | -70500 | -0.0705 | 50956 | 50681 | 275 | -27500 | -0.0275
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2451 | 2484 | -33 | 3300 | 0.0033 | 999982 | 999986 | -4 | 400 | 0.0004
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999000 | 999020 | -20 | 2000 | 0.002 | 198 | 203 | -5 | 500 | 0.0005
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8505 | 8463 | 42 | -4200 | -0.0042 | 71405 | 70545 | 860 | -86000 | -0.086
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7584 | 7552 | 32 | -3200 | -0.0032 | 61582 | 60890 | 692 | -69200 | -0.0692
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8844 | 8808 | 36 | -3600 | -0.0036 | 88927 | 87972 | 955 | -95500 | -0.0955
[10 empty] | -0.31836 |  |  |  |  | -1.3977
MAY-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.5099 |  |  |  |  | 1.863
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.31836 |  |  |  |  | -1.3977
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.0227 |  |  |  |  | -0.0005
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.83116 |  |  |  |  | 0.46479
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.036 |  |  |  |  | 10.832
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.20484 |  |  |  |  | 11.2968
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.20484 | (REACTIVE MUs) |  |  |  | 11.2968 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.018177 | (REACTIVE MUs) |  |  |  | -0.23688 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.22302 | (REACTIVE MUs) |  |  |  | 11.0599 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998134 | 998134 | 0 | 0 | 0 | 9101 | 9218 | -117 | -468000 | -0.468
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988425 | 988422 | 3 | 3999.99 | 0.004 | 674066 | 674315 | -249 | -331999.17 | -0.332
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6778 | 6778 | 0 | 0 | 0 | 63208 | 62247 | 961 | 961000 | 0.961
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11343 | 11343 | 0 | 0 | 0 | 999321 | 999590 | -269 | -269000 | -0.269
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8847 | 8847 | 0 | 0 | 0 | 118606 | 116232 | 2374 | 237400 | 0.2374
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 28693 | 28694 | -1 | -100 | -0.0001 | 244074 | 244074 | 0 | 0 | 0
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7992 | 7992 | 0 | 0 | 0 | 393983 | 394561 | -578 | -57800 | -0.0578
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999230 | 999230 | 0 | 0 | 0 | 999437 | 999610 | -173 | -155700 | -0.1557
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990594 | 990584 | 10 | -10000 | -0.01 | 948746 | 949528 | -782 | 782000 | 0.782
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988229 | 988220 | 9 | -9000 | -0.009 | 953447 | 954086 | -639 | 639000 | 0.639
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984123 | 984142 | -19 | 19000 | 0.019 | 936765 | 938240 | -1475 | 1475000 | 1.475
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996438 | 996186 | 252 | -252000 | -0.252 | 953577 | 954294 | -717 | 717000 | 0.717
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998514 | 998411 | 103 | -103000 | -0.103 | 986020 | 987133 | -1113 | 1113000 | 1.113
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14119 | 14111 | 8 | -8000 | -0.008 | 988121 | 988500 | -379 | 379000 | 0.379
NAJAFGARH
16 | Tx.1 | 4865009 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43925 | 43624 | 301 | -301000 | -0.301 | 16539 | 16731 | -192 | 192000 | 0.192 | Check meter used
16 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 0 | 6 | -6000 | -0.006 | 999963 | 1000000 | -37 | 37000 | 0.037 | installed on dated 29/05/13,Roll Over
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8820 | 8542 | 278 | -278000 | -0.278 | 6920 | 8196 | -1276 | 1276000 | 1.276
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24743 | 24394 | 349 | -349000 | -0.349 | 6885 | 7208 | -323 | 323000 | 0.323
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33569 | 33093 | 476 | -476000 | -0.476 | 43979 | 44151 | -172 | 172000 | 0.172
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8119 | 8118 | 1 | 1000 | 0.001 | 6840 | 6853 | -13 | -13000 | -0.013
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918585 | 918861 | -276 | 276000 | 0.276 | 898758 | 901305 | -2547 | 2547000 | 2.547
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963618 | 963670 | -52 | 52000 | 0.052 | 863192 | 864289 | -1097 | 1097000 | 1.097
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31 | 30 | 1 | -1000 | -0.001 | 977332 | 978720 | -1388 | 1388000 | 1.388
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 548 | 493 | 55 | -55000 | -0.055 | 964955 | 965986 | -1031 | 1031000 | 1.031
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999534 | 999751 | -217 | 217000 | 0.217 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999197 | 999197 | 0 | 0 | 0 | 893039 | 893496 | -457 | 457000 | 0.457
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 873232 | 873792 | -560 | 560000 | 0.56
BRPL(+) continue | [14 empty] | MAY-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997488 | 997397 | 91 | -91000 | -0.091 | 973024 | 973171 | -147 | 147000 | 0.147
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998798 | 998761 | 37 | -37000 | -0.037 | 989441 | 989661 | -220 | 220000 | 0.22
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993920 | 993544 | 376 | -752000 | -0.752 | 970883 | 970903 | -20 | 40000 | 0.04
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997136 | 997136 | 0 | 0 | 0 | 922552 | 925321 | -2769 | 2769000 | 2.769
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996619 | 996619 | 0 | 0 | 0 | 934772 | 936059 | -1287 | 1287000 | 1.287
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997045 | 997045 | 0 | 0 | 0 | 927410 | 930457 | -3047 | 3047000 | 3.047
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 994558 | 996290 | -1732 | 1154665.512 | 1.1547 | 990071 | 991422 | -1351 | 900665.766 | 0.90067
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 972805 | 973264 | -459 | 305999.694 | 0.306 | 971784 | 971811 | -27 | 17999.982 | 0.018
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1093 | 1093 | 0 | 0 | 0 | 1360 | 1308 | 52 | -104000 | -0.104
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997969 | 997969 | 0 | 0 | 0 | 544 | 499 | 45 | -90000 | -0.09
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955727 | 955919 | -192 | 192000 | 0.192 | 996893 | 997444 | -551 | 551000 | 0.551
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964460 | 964732 | -272 | 272000 | 0.272 | 997542 | 997913 | -371 | 371000 | 0.371
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994783 | 994971 | -188 | -150400 | -0.1504 | 1240 | 1239 | 1 | 800 | 0.0008
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 13011 | 12900 | 111 | 88800 | 0.0888 | 856 | 833 | 23 | 18400 | 0.0184
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 972388 | 973398 | -1010 | -808000 | -0.808 | 999698 | 999697 | 1 | 800 | 0.0008
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996374 | 996376 | -2 | -2000 | -0.002 | 37234 | 37502 | -268 | -268000 | -0.268
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995932 | 995935 | -3 | -3999.99 | -0.004 | 999789 | 999946 | -157 | -209332.81 | -0.20933
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8273 | 8259 | 14 | -14000 | -0.014 | 978107 | 978904 | -797 | 797000 | 0.797
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999249 | 999248 | 1 | -1000 | -0.001 | 986317 | 986343 | -26 | 26000 | 0.026
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 11047 | 9780 | 1267 | 126700 | 0.1267 | 12847 | 12739 | 108 | 10800 | 0.0108
SUDARSHAN PARK
51 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 31353 | 31724 | -371 | -37100 | -0.0371 | 143396 | 143397 | -1 | -100 | -0.0001 | Check meter used
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956392 | 957088 | -696 | -696000 | -0.696 | 992480 | 992480 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1405 | 1405 | 0 | 0 | 0 | 8203 | 7317 | 886 | 88600 | 0.0886
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8390 | 8390 | 0 | 0 | 0 | 15908 | 15058 | 850 | 85000 | 0.085
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.7314 |  |  |  |  | 23.7945
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111430 | 112292 | -862 | 86200 | 0.0862 | 1615 | 1623 | -8 | 800 | 0.0008
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 76605 | 69365 | 7240 | -724000 | -0.724 | 690 | 131 | 559 | -55900 | -0.0559
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998548 | 998490 | 58 | -5800 | -0.0058 | 1000002 | 999959 | 43 | -4300 | -0.0043 | ROLL OVER
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997204 | 997076 | 128 | -12800 | -0.0128 | 999935 | 999920 | 15 | -1500 | -0.0015
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 875 | 783 | 92 | -184000 | -0.184 | 72605 | 72541 | 64 | -128000 | -0.128
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1601 | 548 | 1053 | -1053000 | -1.053 | 15 | 0 | 15 | -15000 | -0.015
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890230 | 887048 | 3182 | -318200 | -0.3182 | 54462 | 54409 | 53 | -5300 | -0.0053
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 56080 | 55913 | 167 | -16700 | -0.0167 | 55062 | 54129 | 933 | -93300 | -0.0933
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 46703 | 46546 | 157 | -15700 | -0.0157 | 55220 | 54656 | 564 | -56400 | -0.0564
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 82787 | 82208 | 579 | -115800 | -0.1158 | 107300 | 105465 | 1835 | -367000 | -0.367
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4351 | 4364 | -13 | -6500 | -0.0065 | 20406 | 21267 | -861 | -430500 | -0.4305
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 4121 | 4362 | -241 | -20083.3333 | -0.020083 | 986977 | 987091 | -114 | -9500 | -0.0095
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 996903 | 999010 | -2107 | -351166.6667 | -0.35117 | 994294 | 994401 | -107 | -17833.3333 | -0.017833
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 279077 | 276519 | 2558 | -255800 | -0.2558 | 41021 | 39707 | 1314 | -131400 | -0.1314
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1287 | 1234 | 53 | -5300 | -0.0053 | 16367 | 15687 | 680 | -68000 | -0.068
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 802 | 534 | 268 | -26800 | -0.0268 | 77486 | 77611 | -125 | 12500 | 0.0125
18 | 20 MVA TX.-2(Delv.) | Assessment for the period 21/5/13 to 31/5/13 is on pro-rata basis | [7 empty] | -0.01474 |  |  |  |  | 0.006875
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9213 | 9193 | 20 | -2000 | -0.002 | 28489 | 28136 | 353 | -35300 | -0.0353
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10014 | 9951 | 63 | -6300 | -0.0063 | 43730 | 40940 | 2790 | -279000 | -0.279
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15066 | 14515 | 551 | -55100 | -0.0551 | 51353 | 51059 | 294 | -29400 | -0.0294
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 39318 | 39055 | 263 | -26300 | -0.0263 | 13085 | 12964 | 121 | -12100 | -0.0121
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16656 | 16657 | -1 | 100 | 0.0001 | 12385 | 12324 | 61 | -6100 | -0.0061
28 | PHILIPS | 4902527 | Assessment (Average of last three month energy i.e. Apr13,March13,Feb13) | [6 empty] | 0.00453 |  |  |  |  | -0.00073
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.1253 |  |  |  |  | -1.7264
MAY-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.7314 |  |  |  |  | 23.7945
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.1253 |  |  |  |  | -1.7264
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.067613 |  |  |  |  | 1.3521
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.172 |  |  |  |  | -0.3251
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.9611 |  |  |  |  | 23.0951
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.9611 | (REACTIVE MUs) |  |  |  | 23.0951 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.032147 | (REACTIVE MUs) |  |  |  | -0.41892 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9289 | (REACTIVE MUs) |  |  |  | 22.6762 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39502 | 39463 | 39 | 7800 | 0.0078 | 68632 | 66544 | 2088 | 417600 | 0.4176
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 68568 | 68470 | 98 | 9800 | 0.0098 | 132572 | 128291 | 4281 | 428100 | 0.4281
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984760 | 984769 | -9 | -1800 | -0.0018 | 3407 | 4028 | -621 | -124200 | -0.1242
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 63892 | 63704 | 188 | 37600 | 0.0376 | 85007 | 83314 | 1693 | 338600 | 0.3386
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 685 | 515 | 170 | 136000 | 0.136 | 321 | 30 | 291 | 232800 | 0.2328
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13109 | 13100 | 9 | 18000 | 0.018 | 770 | 490 | 280 | 560000 | 0.56
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985966 | 985974 | -8 | -6400 | -0.0064 | 995197 | 996112 | -915 | -732000 | -0.732
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995857 | 995859 | -2 | -1600 | -0.0016 | 998012 | 998587 | -575 | -460000 | -0.46
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999516 | 999520 | -4 | -3200 | -0.0032 | 998944 | 999369 | -425 | -340000 | -0.34
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999001 | 999001 | 0 | 0 | 0 | 345478 | 339172 | 6306 | 630600 | 0.6306
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6445 | 6445 | 0 | 0 | 0 | 470261 | 466608 | 3653 | 365300 | 0.3653
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12186 | 12186 | 0 | 0 | 0 | 312079 | 293575 | 18504 | 1850400 | 1.8504
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5297 | 5297 | 0 | 0 | 0 | 338842 | 337191 | 1651 | 165100 | 0.1651
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997731 | 997731 | 0 | 0 | 0 | 277195 | 273003 | 4192 | 419200 | 0.4192
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 590 | 590 | 0 | 0 | 0 | 177815 | 173463 | 4352 | 435200 | 0.4352
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13447 | 13447 | 0 | 0 | 0 | 262290 | 259422 | 2868 | 286800 | 0.2868
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 49013 | 48990 | 23 | 2300 | 0.0023 | 688973 | 683368 | 5605 | 560500 | 0.5605 | 4865132 installed on 01/05/13
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 63496 | 63431 | 65 | 71500 | 0.0715
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3411 | 3411 | 0 | 0 | 0 | 36475 | 35838 | 637 | 637000 | 0.637
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 136684 | 137704 | -1020 | -1122000 | -1.122
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9120 | 9120 | 0 | 0 | 0 | 51435 | 50752 | 683 | 683000 | 0.683
[10 empty] | 0 |  |  |  |  | 0.2695
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 875 | 783 | 92 | 184000 | 0.184 | 72605 | 72541 | 64 | 128000 | 0.128
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1601 | 548 | 1053 | 1053000 | 1.053 | 15 | 0 | 15 | 15000 | 0.015
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890230 | 887048 | 3182 | 318200 | 0.3182 | 54462 | 54409 | 53 | 5300 | 0.0053
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4351 | 4364 | -13 | 6500 | 0.0065 | 20406 | 21267 | -861 | 430500 | 0.4305
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 4121 | 4362 | -241 | 20083.3333 | 0.020083 | 986977 | 987091 | -114 | 9500 | 0.0095
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 996903 | 999010 | -2107 | 351166.6667 | 0.35117 | 994294 | 994401 | -107 | 17833.3333 | 0.017833
MAY-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984707 | 984707 | 0 | 0 | 0 | 997561 | 999802 | -2241 | 2241000 | 2.241
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996691 | 997087 | -396 | 396000 | 0.396 | 998363 | 999829 | -1466 | 1466000 | 1.466
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 279077 | 276519 | 2558 | 255800 | 0.2558 | 41021 | 39707 | 1314 | 131400 | 0.1314
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1287 | 1234 | 53 | 5300 | 0.0053 | 16367 | 15687 | 680 | 68000 | 0.068
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 56080 | 55913 | 167 | 16700 | 0.0167 | 55062 | 54129 | 933 | 93300 | 0.0933
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 46703 | 46546 | 157 | 15700 | 0.0157 | 55220 | 54656 | 564 | 56400 | 0.0564
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 82787 | 82208 | 579 | 115800 | 0.1158 | 107300 | 105465 | 1835 | 367000 | 0.367
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1405 | 1405 | 0 | 0 | 0 | 8203 | 7317 | 886 | -88600 | -0.0886
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8390 | 8390 | 0 | 0 | 0 | 15908 | 15058 | 850 | -85000 | -0.085
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.9368 |  |  |  |  | 10.1591
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.9368 |  |  |  |  | 10.1591
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0038707 |  |  |  |  | -0.050441
| TOTAL ENERGY TO NDMC | [8 empty] | 2.9406 |  |  |  |  | 10.1087

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 19509 | 19104 | 405 | 405000 | 0.405
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 23144 | 22864 | 280 | 280000 | 0.28
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1275 | 0 | 0 | 0 | 31775 | 31449 | 326 | 326000 | 0.326
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 930 | 0 | 0 | 0 | 15841 | 15559 | 282 | 282000 | 0.282
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3117 | 3117 | 0 | 0 | 0 | 8803 | 8392 | 411 | 411000 | 0.411
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998548 | 998490 | 58 | 5800 | 0.0058 | 1000002 | 999959 | 43 | 4300 | 0.0043 | Roll Over
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997204 | 997076 | 128 | 12800 | 0.0128 | 999935 | 999920 | 15 | 1500 | 0.0015
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0186 |  |  |  |  | 1.7098
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 41426 | 40797 | 629 | 62900 | 0.0629 | 68122 | 66969 | 1153 | 115300 | 0.1153
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 69921 | 69805 | 116 | 11600 | 0.0116 | 10736 | 10466 | 270 | 27000 | 0.027
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 37062 | 36087 | 975 | 97500 | 0.0975 | 54276 | 53305 | 971 | 97100 | 0.0971
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80310 | 80310 | 0 | 0 | 0 | 55498 | 54641 | 857 | 85700 | 0.0857
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 4683 | 4443 | 240 | 24000 | 0.024 | 734 | 643 | 91 | 9100 | 0.0091
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.172 |  |  |  |  | 0.3251
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.172 |  |  |  |  | 0.3251
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0186 |  |  |  |  | 1.7098
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1906 |  |  |  |  | 2.0349
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1906 | (REACTIVE MUs) |  |  |  | 2.0349 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00058384 | (REACTIVE MUs) |  |  |  | -0.0076083 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19118 | (REACTIVE MUs) |  |  |  | 2.0273 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 64372 | 68000 | -3628 | -362800 | -0.3628 | 79760 | 79793 | -33 | -3300 | -0.0033
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 997508 | 999649 | -2141 | -214100 | -0.2141 | 999418 | 999422 | -4 | -400 | -0.0004
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 214648 | 203281 | 11367 | 1136700 | 1.1367 | 96714 | 96666 | 48 | 4800 | 0.0048
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 25814 | 26339 | -525 | -492187.5 | -0.49219 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991123 | 991123 | 0 | 0 | 0 | 927482 | 929239 | -1757 | 878500 | 0.8785
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989837 | 989837 | 0 | 0 | 0 | 984070 | 985015 | -945 | 472500 | 0.4725
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 32 | 32 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.067613 |  |  |  |  | 1.3521
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 940937 | 941737 | -800 | -160000 | -0.16 | 991776 | 991778 | -2 | -400 | -0.0004
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 807469 | 816096 | -8627 | -862700 | -0.8627 | 928117 | 928118 | -1 | -100 | -0.0001
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.0227 |  |  |  |  | -0.0005
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 207968 | 203663 | 4305 | 861000 | 0.861 | 263347 | 263341 | 6 | 1200 | 0.0012
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 90659 | 89877 | 782 | 156400 | 0.1564 | 41164 | 41166 | -2 | -400 | -0.0004
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 141856 | 140406 | 1450 | 145000 | 0.145 | 71743 | 71746 | -3 | -300 | -0.0003
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988804 | 988600 | 204 | 204000 | 0.204 | 998305 | 998304 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 971556 | 972421 | -865 | -86500 | -0.0865 | 7274 | 7271 | 3 | 300 | 0.0003
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999441 | 999441 | 0 | 0 | 0 | 1033 | 1446 | -413 | -387187.5 | -0.38719
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989622 | 989984 | -362 | 226250 | 0.22625 | 995560 | 995560 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 32 | 32 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.5062 |  |  |  |  | -0.38539
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.067613 |  |  |  |  | 1.3521
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.0227 |  |  |  |  | -0.0005
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.5062 |  |  |  |  | -0.38539

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7978 | 7978 | 0 | 0 | 0 | 1206 | 353 | 853 | 1706000 | 1.706
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11311 | 11311 | 0 | 0 | 0 | 1955 | 1243 | 712 | 1424000 | 1.424
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | 3.13
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994817 | 994817 | 0 | 0 | 0 | 41383 | 42456 | -1073 | -1073000 | -1.073
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996681 | 996681 | 0 | 0 | 0 | 998000 | 999223 | -1223 | -1223000 | -1.223
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -1.073
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0 |  |  |  |  | 2.057
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0761 |  |  |  |  | -3.3182
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 0.2695
MES =
[7 empty] | 2)TOTAL |  |  | 0.0761 |  |  |  |  | -3.0487
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.0761 |  |  |  |  | -0.9917
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.0179 | % |  |  | 0.021322 |  |  |  |  | -0.27785
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.2427 | % |  |  | 0.032147 |  |  |  |  | -0.41892
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8859 | % |  |  | 0.018177 |  |  |  |  | -0.23688
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0863 | % |  |  | 0.0038707 |  |  |  |  | -0.050441
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7672 | % |  |  | 0.00058384 |  |  |  |  | -0.0076083
Note :Sharing taken from wk-07 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2013 TO 31st MAY-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.27884 | + | 3.5872
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.9289 | + | 22.6762
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.22302 | + | 11.0599
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.9406 | + | 10.1087
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19118 | + | 2.0273
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2013 | INTIAL READING 01/05/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 963427 | 964049 | -622 | -933000 | -0.933 | 981073 | 981080 | -7 | -10500 | -0.0105
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999844 | 999844 | 0 | 0 | 0 | 997739 | 998126 | -387 | -580500 | -0.5805
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 918284 | 918283 | 1 | 1500 | 0.0015 | 967785 | 968097 | -312 | -468000 | -0.468
[8 empty] | NET REACTIVE ENERGY |  | -0.9315 |  |  | NET REACTIVE ENERGY |  | -1.059
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997239 | 997239 | 0 | 0 | 0 | 30976 | 31058 | -82 | -410000 | -0.41
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999594 | 999594 | 0 | 0 | 0 | 2450 | 2553 | -103 | -103000 | -0.103
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -0.513