## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-10
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RPH
1 | CIVIL LINE-3 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| GOPAL PUR | [8 empty] | 0 |  |  |  |  | 0
2 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23486 | 23486 | 0 | 0 | 0 | 977437 | 979853 | -2416 | 2416000 | 2.416
3 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998652 | 998647 | 5 | -5000 | -0.005 | 987170 | 987931 | -761 | 761000 | 0.761
4 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20253 | 20205 | 48 | -48000 | -0.048 | 1786 | 1778 | 8 | -8000 | -0.008
SUBZI MANDI
5 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974227 | 974227 | 0 | 0 | 0 | 995424 | 996342 | -918 | 918000 | 0.918
6 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929562 | 929605 | -43 | 43000 | 0.043 | 981564 | 984165 | -2601 | 2601000 | 2.601
ROHINI
7 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14809 | 14370 | 439 | -439000 | -0.439 | 5935 | 6036 | -101 | 101000 | 0.101
8 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15699 | 15248 | 451 | -451000 | -0.451 | 3521 | 3629 | -108 | 108000 | 0.108
9 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6687 | 6705 | -18 | 18000 | 0.018 | 994698 | 994948 | -250 | 250000 | 0.25
10 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4888 | 4968 | -80 | 80000 | 0.08 | 988001 | 988235 | -234 | 234000 | 0.234
SHALIMAR BAGH
11 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33029 | 32512 | 517 | -517000 | -0.517 | 8904 | 8984 | -80 | 80000 | 0.08
12 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4920 | 5072 | -152 | 152000 | 0.152 | 3021 | 3173 | -152 | 152000 | 0.152
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988579 | 989786 | -1207 | -1207000 | -1.207 | 921540 | 921540 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 178 | 320 | -142 | 142000 | 0.142 | 7476 | 7585 | -109 | 109000 | 0.109
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999334 | 999955 | -621 | 621000 | 0.621 | 13309 | 13398 | -89 | 89000 | 0.089
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1308 | 1420 | -112 | 112000 | 0.112 | 15408 | 15397 | 11 | -11000 | -0.011
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 132 | 131 | 1 | 1000 | 0.001 | 30981 | 30905 | 76 | 76000 | 0.076
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 281 | 270 | 11 | 11000 | 0.011 | 23625 | 23456 | 169 | 169000 | 0.169
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 554 | 554 | 0 | 0 | 0 | 81548 | 78315 | 3233 | 323300 | 0.3233
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1430 | 1430 | 0 | 0 | 0 | 126780 | 126780 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997119 | 997133 | -14 | -14000 | -0.014 | 2743 | 2562 | 181 | 181000 | 0.181
KASHMIRI GATE
22 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659525 | 659525 | 0 | 0 | 0 | 888778 | 897267 | -8489 | -424450 | -0.42445
23 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666476 | 666476 | 0 | 0 | 0 | 918230 | 925517 | -7287 | -364350 | -0.36435
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993449 | 993450 | -1 | -1000 | -0.001 | 998782 | 998691 | 91 | 91000 | 0.091
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 358 | 75 | 283 | -283000 | -0.283 | 978845 | 978831 | 14 | -14000 | -0.014
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996433 | 996874 | -441 | 441000 | 0.441 | 951469 | 951549 | -80 | 80000 | 0.08
BAWANA
28 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998138 | 998272 | -134 | 134000 | 0.134 | 969802 | 970510 | -708 | 708000 | 0.708
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
29 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 187 | 184 | 3 | 3000 | 0.003 | 11022 | 10681 | 341 | 341000 | 0.341
30 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998815 | 998811 | 4 | 4000 | 0.004 | 2825 | 2843 | -18 | -18000 | -0.018
| NDPL(+) continue | [14 empty] | APRIL-10
DMS
31 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 5 | 1 | 1000 | 0.001 | 42552 | 42036 | 516 | 516000 | 0.516
REWARI LINE
32 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7101 | 6938 | 163 | 16300 | 0.0163 | 24407 | 22824 | 1583 | 158300 | 0.1583
VISHAL
33 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | 100 | 3309 | 3257 | 52 | 5200 | 0.0052 | 13061 | 12367 | 694 | 69400 | 0.0694
34 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 6020 | 5971 | 49 | 4900 | 0.0049 | 18429 | 17935 | 494 | 49400 | 0.0494
35 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 7340 | 7108 | 232 | 23200 | 0.0232 | 27563 | 25987 | 1576 | 157600 | 0.1576
S.B.MILL
36 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 21584 | 20639 | 945 | 94500 | 0.0945 | 7185 | 7110 | 75 | 7500 | 0.0075
37 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 746 | 732 | 14 | 1400 | 0.0014 | 160 | 156 | 4 | 400 | 0.0004
38 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
39 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 8468 | 8284 | 184 | 18400 | 0.0184 | 6344 | 6198 | 146 | 14600 | 0.0146
42 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998159 | 998240 | -81 | -8100 | -0.0081 | 39 | 42 | -3 | -300 | -0.0003
B.G.ROAD
| CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 100 | 3063 | 3063 | 0 | 0 | 0 | 22611 | 21565 | 1046 | 104600 | 0.1046
43 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3063 | 3063 | 0 | 0 | 0 | 22909 | 22611 | 298 | 149000 | 0.149
| DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 100 | 2846 | 2846 | 0 | 0 | 0 | 15000 | 15000 | 0 | 0 | 0
44 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2846 | 2846 | 0 | 0 | 0 | 15280 | 15000 | 280 | 140000 | 0.14
| DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 100 | 2855 | 2855 | 0 | 0 | 0 | 10588 | 9162 | 1426 | 142600 | 0.1426
45 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2855 | 2855 | 0 | 0 | 0 | 10811 | 10588 | 223 | 111500 | 0.1115
| SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 100 | 2938 | 2938 | 0 | 0 | 0 | 11946 | 11317 | 629 | 62900 | 0.0629
46 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2938 | 2938 | 0 | 0 | 0 | 12124 | 11946 | 178 | 89000 | 0.089
D.M.S.
47 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999759 | -20 | -2000 | -0.002 | 3720 | 3688 | 32 | 3200 | 0.0032
48 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 703 | 684 | 19 | 1900 | 0.0019 | 8370 | 8059 | 311 | 31100 | 0.0311
49 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 1512 | 1475 | 37 | 3700 | 0.0037 | 35426 | 34698 | 728 | 72800 | 0.0728
50 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 3672 | 3258 | 414 | 41400 | 0.0414 | 13778 | 13318 | 460 | 46000 | 0.046
51 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 328 | 328 | 0 | 0 | 0
52 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
53 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 17 | 17 | 0 | 0 | 0 | 43477 | 41530 | 1947 | 194700 | 0.1947
54 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 48 | 47 | 1 | 100 | 0.0001 | 41633 | 39533 | 2100 | 210000 | 0.21
55 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 57 | 57 | 0 | 0 | 0 | 58812 | 56455 | 2357 | 235700 | 0.2357
KASHMIRI GATE
56 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 60189 | 60189 | 0 | 0 | 0 | 24188 | 23429 | 759 | 75900 | 0.0759
57 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 4799 | 4799 | 0 | 0 | 0 | 17260 | 13809 | 3451 | 345100 | 0.3451
58 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999917 | 999917 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
59 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 288 | 275 | 13 | -1300 | -0.0013 | 810 | 793 | 17 | -1700 | -0.0017
60 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999550 | 999550 | 0 | 0 | 0 | 999136 | 999148 | -12 | -1200 | -0.0012
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.0024 |  |  |  |  | 11.9326
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-10
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 2865 | 2838 | 27 | -2700 | -0.0027 | 5544 | 5520 | 24 | -2400 | -0.0024
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3231 | 3216 | 15 | -15000 | -0.015 | 2923 | 2536 | 387 | -387000 | -0.387
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3589 | 3570 | 19 | -19000 | -0.019 | 3093 | 2711 | 382 | -382000 | -0.382
4 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9841 | 9835 | 6 | -6000 | -0.006 | 2940 | 2091 | 849 | -849000 | -0.849
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9405 | 9387 | 18 | -18000 | -0.018 | 5664 | 5454 | 210 | -210000 | -0.21
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 26831 | 26520 | 311 | -31100 | -0.0311 | 119400 | 117128 | 2272 | -227200 | -0.2272
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993141 | 994255 | -1114 | 1114000 | 1.114 | 995385 | 995402 | -17 | 17000 | 0.017
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.0222 |  |  |  |  | -2.0406
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.0024 |  |  |  |  | 11.9326
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.0222 |  |  |  |  | -2.0406
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.5972 |  |  |  |  | 0.5295
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.617 |  |  |  |  | 10.4215
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.617 | (REACTIVE MUs) |  |  |  | 10.4215 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0087524 | (REACTIVE MUs) |  |  |  | -4.7929 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.62575 | (REACTIVE MUs) |  |  |  | 5.6286 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-10
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 7 | 7 | 0 | 0 | 0 | 71454 | 70787 | 667 | 66700 | 0.0667
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 999993 | 999993 | 0 | 0 | 0 | 990861 | 990177 | 684 | 68400 | 0.0684
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 235 | 236 | -1 | -100 | -0.0001 | 11616 | 4928 | 6688 | 668800 | 0.6688
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999987 | 999987 | 0 | 0 | 0 | 996070 | 995773 | 297 | 29700 | 0.0297
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 28 | 27 | 1 | 100 | 0.0001 | 56865 | 55205 | 1660 | 166000 | 0.166
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 12 | 11 | 1 | 100 | 0.0001 | 54454 | 58950 | -4496 | -449600 | -0.4496
RPH
8 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999948 | 999950 | -2 | -2000 | -0.002 | 2720 | 2616 | 104 | 104000 | 0.104
9 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 87 | 108 | -21 | -21000 | -0.021 | 1723 | 1740 | -17 | -17000 | -0.017
10 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 214 | 224 | -10 | -10000 | -0.01 | 1642 | 1671 | -29 | -29000 | -0.029
11 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 225 | 228 | -3 | -3000 | -0.003 | 1077 | 975 | 102 | 102000 | 0.102
12 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 285 | 284 | 1 | 1000 | 0.001 | 999319 | 999364 | -45 | -45000 | -0.045
13 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 11744 | 11755 | -11 | -11000 | -0.011
14 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 111 | 110 | 1 | 1000 | 0.001 | 28083 | 27604 | 479 | 479000 | 0.479
15 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 3750 | 3544 | 206 | 206000 | 0.206
16 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 272 | 271 | 1 | 1000 | 0.001 | 3399 | 3244 | 155 | 155000 | 0.155
17 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 25646 | 25047 | 599 | 59900 | 0.0599 | 296 | 291 | 5 | 500 | 0.0005
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999003 | 999009 | -6 | -6000 | -0.006 | 3225 | 3085 | 140 | 140000 | 0.14
| GT | [8 empty] | 0.0209 |  |  |  |  | 1.0845
19 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 910530 | 912886 | -2356 | -2591600 | -2.5916
20 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 929536 | 931282 | -1746 | -1920600 | -1.9206
KASHMIRI GATE
21 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970431 | 970432 | -1 | 1000 | 0.001 | 985529 | 986123 | -594 | 594000 | 0.594
22 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992684 | 992684 | 0 | 0 | 0 | 990574 | 991319 | -745 | 745000 | 0.745
23 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999917 | 999917 | 0 | 0 | 0
NARAINA
24 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 108 | 108 | 0 | 0 | 0 | 38448 | 37105 | 1343 | 1343000 | 1.343
PARK STREET
25 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 297 | 292 | 5 | -5000 | -0.005 | 983400 | 984175 | -775 | 775000 | 0.775
26 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1606 | 1577 | 29 | -29000 | -0.029 | 988009 | 988939 | -930 | 930000 | 0.93
27 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | TX.-2(33KV) | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 609 | 604 | 5 | -5000 | -0.005 | 994446 | 994572 | -126 | 126000 | 0.126
IMPORTS
SUBZI MANDI
29 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9841 | 9835 | 6 | 6000 | 0.006 | 2940 | 2091 | 849 | 849000 | 0.849
30 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9405 | 9387 | 18 | 18000 | 0.018 | 5664 | 5454 | 210 | 210000 | 0.21
RIDGE VALLEY
31 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 38048 | 27720 | 10328 | 1032800 | 1.0328 | 1633 | 1634 | -1 | -100 | -0.0001
32 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 992261 | 981520 | 10741 | 1074100 | 1.0741 | 999327 | 999315 | 12 | 1200 | 0.0012
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.1139 |  |  |  |  | 2.6954
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.1139 |  |  |  |  | 2.6954
APRIL-10
BYPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 992547 | 997275 | -4728 | 4728000 | 4.728
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 993074 | 997029 | -3955 | 3955000 | 3.955
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 987602 | 992020 | -4418 | 4418000 | 4.418
PPG
4 | Tx.1 (66 KV) | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27393 | 27613 | -220 | 220000 | 0.22 | 1273 | 1335 | -62 | 62000 | 0.062
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981406 | 981639 | -233 | 233000 | 0.233 | 991072 | 991134 | -62 | 62000 | 0.062
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1657 | 1657 | 0 | 0 | 0 | 993771 | 994855 | -1084 | 1084000 | 1.084
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1050 | 1050 | 0 | 0 | 0 | 986827 | 988291 | -1464 | 1464000 | 1.464
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999922 | 999922 | 0 | 0 | 0 | 988941 | 991290 | -2349 | 2349000 | 2.349
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13779 | 13777 | 2 | -2000 | -0.002 | 987340 | 989669 | -2329 | 2329000 | 2.329
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973517 | 973517 | 0 | 0 | 0 | 959851 | 964933 | -5082 | 5082000 | 5.082
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21009 | 21009 | 0 | 0 | 0 | 8316 | 8708 | -392 | 392000 | 0.392
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14235 | 14235 | 0 | 0 | 0 | 17730 | 18035 | -305 | 305000 | 0.305
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.451 |  |  |  |  | 26.23
| (B) NET ENERGY TO EAST | [8 empty] | 0.451 |  |  |  |  | 26.23
APRIL-10
BYPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993449 | 993450 | -1 | 1000 | 0.001 | 998782 | 998691 | 91 | -91000 | -0.091
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 1386 | 1381 | 5 | -500 | -0.0005 | 43785 | 42472 | 1313 | -131300 | -0.1313
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1139 | 1108 | 31 | -3100 | -0.0031 | 93529 | 88903 | 4626 | -462600 | -0.4626
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999809 | 999819 | -10 | 1000 | 0.001 | 5787 | 4515 | 1272 | -127200 | -0.1272
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 2639 | 2567 | 72 | -7200 | -0.0072 | 49883 | 46484 | 3399 | -339900 | -0.3399
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19999 | 17870 | 2129 | -2129000 | -2.129 | 194 | 194 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999977 | 999978 | -1 | 1000 | 0.001 | 33454 | 33091 | 363 | -363000 | -0.363
9 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999910 | 999911 | -1 | 1000 | 0.001 | 21585 | 21402 | 183 | -183000 | -0.183
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 187 | 184 | 3 | -3000 | -0.003 | 11022 | 10681 | 341 | -341000 | -0.341
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998815 | 998811 | 4 | -4000 | -0.004 | 2825 | 2843 | -18 | 18000 | 0.018
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 5 | 1 | -1000 | -0.001 | 42552 | 42036 | 516 | -516000 | -0.516
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
| CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -100 | 3063 | 3063 | 0 | 0 | 0 | 22611 | 21565 | 1046 | -104600 | -0.1046
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3063 | 3063 | 0 | 0 | 0 | 22909 | 22611 | 298 | -149000 | -0.149
| DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -100 | 2846 | 2846 | 0 | 0 | 0 | 15000 | 15000 | 0 | 0 | 0
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2846 | 2846 | 0 | 0 | 0 | 15280 | 15000 | 280 | -140000 | -0.14
| DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -100 | 2855 | 2855 | 0 | 0 | 0 | 10588 | 9162 | 1426 | -142600 | -0.1426
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2855 | 2855 | 0 | 0 | 0 | 10811 | 10588 | 223 | -111500 | -0.1115
| SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -100 | 2938 | 2938 | 0 | 0 | 0 | 11946 | 11317 | 629 | -62900 | -0.0629
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2938 | 2938 | 0 | 0 | 0 | 12124 | 11946 | 178 | -89000 | -0.089
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 60189 | 60189 | 0 | 0 | 0 | 24188 | 23429 | 759 | -75900 | -0.0759
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 4799 | 4799 | 0 | 0 | 0 | 17260 | 13809 | 3451 | -345100 | -0.3451
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999739 | 999759 | -20 | 2000 | 0.002 | 3720 | 3688 | 32 | -3200 | -0.0032
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 703 | 684 | 19 | -1900 | -0.0019 | 8370 | 8059 | 311 | -31100 | -0.0311
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 1512 | 1475 | 37 | -3700 | -0.0037 | 35426 | 34698 | 728 | -72800 | -0.0728
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 3672 | 3258 | 414 | -41400 | -0.0414 | 13778 | 13318 | 460 | -46000 | -0.046
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999989 | 999989 | 0 | 0 | 0 | 328 | 328 | 0 | 0 | 0
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 17 | 17 | 0 | 0 | 0 | 43477 | 41530 | 1947 | -194700 | -0.1947
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 48 | 47 | 1 | -100 | -0.0001 | 41633 | 39533 | 2100 | -210000 | -0.21
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 57 | 57 | 0 | 0 | 0 | 58812 | 56455 | 2357 | -235700 | -0.2357
[10 empty] | -2.1889 |  |  |  |  | -4.5511
APRIL-10
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.1139 |  |  |  |  | 2.6954
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.1889 |  |  |  |  | -4.5511
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1589 |  |  |  |  | -0.045
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.2339 |  |  |  |  | -1.9007
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.451 |  |  |  |  | 26.23
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.2171 |  |  |  |  | 24.3293
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2171 | (REACTIVE MUs) |  |  |  | 24.3293 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0074963 | (REACTIVE MUs) |  |  |  | -4.105 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.2246 | (REACTIVE MUs) |  |  |  | 20.2243 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-10
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 999998 | 0 | 0 | 0 | 11210 | 10039 | 1171 | 1171000 | 1.171
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 999926 | 999962 | -36 | -3600 | -0.0036 | 680396 | 683708 | -3312 | -331200 | -0.3312
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 999993 | 0 | 0 | 0 | 40347 | 38431 | 1916 | 1916000 | 1.916
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 0 | 0 | 0 | 0 | 0 | 1000256 | 998673 | 1583 | 474900 | 0.4749 | ROLL OVER
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 996224 | 996224 | 0 | 0 | 0 | 986853 | 986080 | 773 | 154600 | 0.1546
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 28 | 28 | 0 | 0 | 0 | 64885 | 57724 | 7161 | 716100 | 0.7161
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000248 | 999986 | 262 | 26200 | 0.0262 | 267514 | 263573 | 3941 | 394100 | 0.3941 | ROLL OVER
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999979 | 999979 | 0 | 0 | 0 | 307069 | 296746 | 10323 | 1032300 | 1.0323
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 999996 | 0 | 0 | 0 | 7437 | 8999 | -1562 | -1562000 | -1.562
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998548 | 998557 | -9 | 9000 | 0.009 | 979038 | 980431 | -1393 | 1393000 | 1.393
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997777 | 997789 | -12 | 12000 | 0.012 | 980199 | 981486 | -1287 | 1287000 | 1.287
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997973 | 997984 | -11 | 11000 | 0.011 | 976611 | 977836 | -1225 | 1225000 | 1.225
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998414 | 998167 | 247 | -247000 | -0.247 | 978436 | 978977 | -541 | 541000 | 0.541
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2331 | 2241 | 90 | -90000 | -0.09 | 31978 | 32053 | -75 | 75000 | 0.075
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999829 | 999735 | 94 | -94000 | -0.094 | 984054 | 984321 | -267 | 267000 | 0.267
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34057 | 33830 | 227 | -227000 | -0.227 | 22403 | 22457 | -54 | 54000 | 0.054
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5118 | 5091 | 27 | -27000 | -0.027 | 14973 | 15667 | -694 | 694000 | 0.694
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21443 | 21184 | 259 | -259000 | -0.259 | 10862 | 10978 | -116 | 116000 | 0.116
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8018 | 7963 | 55 | -55000 | -0.055 | 31551 | 31496 | 55 | -55000 | -0.055
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3231 | 3216 | 15 | 15000 | 0.015 | 2923 | 2536 | 387 | 387000 | 0.387
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3589 | 3570 | 19 | 19000 | 0.019 | 3093 | 2711 | 382 | 382000 | 0.382
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988762 | 988766 | -4 | 4000 | 0.004 | 926039 | 927746 | -1707 | 1707000 | 1.707
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998716 | 998716 | 0 | 0 | 0 | 912185 | 912316 | -131 | 131000 | 0.131
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 669 | 175 | 494 | -494000 | -0.494
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 995087 | 995743 | -656 | 656000 | 0.656
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996158 | 996158 | 0 | 0 | 0 | 971276 | 974628 | -3352 | 3352000 | 3.352
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 979843 | 982693 | -2850 | 2850000 | 2.85
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 975740 | 978373 | -2633 | 2633000 | 2.633
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 974788 | 977553 | -2765 | 2765000 | 2.765
BRPL(+) continue | [15 empty] | APRIL-10
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 584 | 577 | 7 | -7000 | -0.007 | 987490 | 989118 | -1628 | 1628000 | 1.628
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1799 | 1695 | 104 | -104000 | -0.104 | 3245 | 4842 | -1597 | 1597000 | 1.597
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989139 | 989081 | 58 | -58000 | -0.058 | 982202 | 982386 | -184 | 184000 | 0.184
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999701 | 999696 | 5 | -5000 | -0.005 | 965648 | 969879 | -4231 | 4231000 | 4.231
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2802 | 2118 | 684 | -684000 | -0.684 | 976093 | 978276 | -2183 | 2183000 | 2.183
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999876 | 999865 | 11 | -11000 | -0.011 | 982784 | 986081 | -3297 | 3297000 | 3.297
PARK STREET
36 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999977 | 999978 | -1 | -1000 | -0.001 | 33454 | 33091 | 363 | 363000 | 0.363
37 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999911 | -1 | -1000 | -0.001 | 21585 | 21402 | 183 | 183000 | 0.183
SARITA VIHAR
38 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 709 | 709 | 0 | 0 | 0 | 985331 | 990788 | -5457 | 5457000 | 5.457
39 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 310 | 310 | 0 | 0 | 0 | 982469 | 982821 | -352 | 352000 | 0.352
NARAINA
40 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 2865 | 2838 | 27 | 2700 | 0.0027 | 5544 | 5520 | 24 | 2400 | 0.0024
SUDARSHAN PARK
41 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 26831 | 26520 | 311 | 31100 | 0.0311 | 119400 | 117128 | 2272 | 227200 | 0.2272
REWARI LINE
43 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
44 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993141 | 994255 | -1114 | -1114000 | -1.114 | 995385 | 995402 | -17 | -17000 | -0.017
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.8576 |  |  |  |  | 43.6194
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-10
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 996592 | 996592 | 0 | 0 | 0 | 883083 | 883011 | 72 | 7200 | 0.0072
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 38048 | 27720 | 10328 | -1032800 | -1.0328 | 1633 | 1634 | -1 | 100 | 0.0001
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 992261 | 981520 | 10741 | -1074100 | -1.0741 | 999327 | 999315 | 12 | -1200 | -0.0012
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 368 | 368 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 222 | 223 | -1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 595311 | 585163 | 10148 | -1014800 | -1.0148 | 42360 | 42360 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999942 | 999923 | 19 | -19000 | -0.019 | 279 | 218 | 61 | -61000 | -0.061
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 552230 | 533448 | 18782 | -1878200 | -1.8782 | 37353 | 37303 | 50 | -5000 | -0.005
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 3379 | 3356 | 23 | -2300 | -0.0023 | 41170 | 40472 | 698 | -69800 | -0.0698
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6498 | 6480 | 18 | -1800 | -0.0018 | 38300 | 37698 | 602 | -60200 | -0.0602
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 27750 | 27741 | 9 | -900 | -0.0009 | 81655 | 80888 | 767 | -76700 | -0.0767
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 1187 | 1187 | 0 | 0 | 0 | 581520 | 564067 | 17453 | -1745300 | -1.7453
13 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 60172 | 58521 | 1651 | -165100 | -0.1651 | 109725 | 103909 | 5816 | -581600 | -0.5816
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145818 | 144507 | 1311 | 131100 | 0.1311 | 24460 | 23999 | 461 | 46100 | 0.0461
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 590 | 526 | 64 | -6400 | -0.0064 | 10392 | 9781 | 611 | -61100 | -0.0611
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7101 | 6938 | 163 | -16300 | -0.0163 | 24407 | 22824 | 1583 | -158300 | -0.1583
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | -100 | 3309 | 3257 | 52 | -5200 | -0.0052 | 13061 | 12367 | 694 | -69400 | -0.0694
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 6020 | 5971 | 49 | -4900 | -0.0049 | 18429 | 17935 | 494 | -49400 | -0.0494
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 7340 | 7108 | 232 | -23200 | -0.0232 | 27563 | 25987 | 1576 | -157600 | -0.1576
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 21584 | 20639 | 945 | -94500 | -0.0945 | 7185 | 7110 | 75 | -7500 | -0.0075
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 746 | 732 | 14 | -1400 | -0.0014 | 160 | 156 | 4 | -400 | -0.0004
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 8468 | 8284 | 184 | -18400 | -0.0184 | 6344 | 6198 | 146 | -14600 | -0.0146
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998159 | 998240 | -81 | 8100 | 0.0081 | 39 | 42 | -3 | 300 | 0.0003
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 288 | 275 | 13 | 1300 | 0.0013 | 810 | 793 | 17 | 1700 | 0.0017
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999550 | 999550 | 0 | 0 | 0 | 999136 | 999148 | -12 | 1200 | 0.0012
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.2187 |  |  |  |  | -3.0625
APRIL-10
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.8576 |  |  |  |  | 43.6194
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.2187 |  |  |  |  | -3.0625
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.4794 |  |  |  |  | 1.99
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.05615 |  |  |  |  | -0.2858
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -7.6531 |  |  |  |  | 42.2611
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.6531 | (REACTIVE MUs) |  |  |  | 42.2611 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.012939 | (REACTIVE MUs) |  |  |  | -7.0855 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.6401 | (REACTIVE MUs) |  |  |  | 35.1756 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-10
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 1386 | 1381 | 5 | 500 | 0.0005 | 43785 | 42472 | 1313 | 131300 | 0.1313
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1139 | 1108 | 31 | 3100 | 0.0031 | 93529 | 88903 | 4626 | 462600 | 0.4626
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999809 | 999819 | -10 | -1000 | -0.001 | 5787 | 4515 | 1272 | 127200 | 0.1272
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 2639 | 2567 | 72 | 7200 | 0.0072 | 49883 | 46484 | 3399 | 339900 | 0.3399
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 19999 | 17870 | 2129 | 2129000 | 2.129 | 194 | 194 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 238711 | 232271 | 6440 | 644000 | 0.644
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 12 | 12 | 0 | 0 | 0 | 362065 | 349191 | 12874 | 1287400 | 1.2874
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 65 | 65 | 0 | 0 | 0 | 154940 | 142832 | 12108 | 1210800 | 1.2108
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 16 | 16 | 0 | 0 | 0 | 270914 | 261230 | 9684 | 968400 | 0.9684
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 3 | 3 | 0 | 0 | 0 | 168619 | 162006 | 6613 | 661300 | 0.6613
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 42 | 42 | 0 | 0 | 0 | 120402 | 116823 | 3579 | 357900 | 0.3579
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 153697 | 146111 | 7586 | 758600 | 0.7586
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 20 | 20 | 0 | 0 | 0 | 195200 | 192154 | 3046 | 304600 | 0.3046
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 25336 | 22747 | 2589 | 2847900 | 2.8479
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4687 | 4686 | 1 | 1000 | 0.001 | 35989 | 35973 | 16 | 16000 | 0.016
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 95714 | 92892 | 2822 | 3104200 | 3.1042
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6124 | 6097 | 27 | 27000 | 0.027 | 47933 | 47921 | 12 | 12000 | 0.012
[10 empty] | 0.028 |  |  |  |  | 5.9801
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 595311 | 585163 | 10148 | 1014800 | 1.0148 | 42360 | 42360 | 0 | 0 | 0
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999942 | 999923 | 19 | 19000 | 0.019 | 279 | 218 | 61 | 61000 | 0.061
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 552230 | 533448 | 18782 | 1878200 | 1.8782 | 37353 | 37303 | 50 | 5000 | 0.005
A.I.I.M.S.
21 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 1187 | 1187 | 0 | 0 | 0 | 581520 | 564067 | 17453 | 1745300 | 1.7453
22 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 60172 | 58521 | 1651 | 165100 | 0.1651 | 109725 | 103909 | 5816 | 581600 | 0.5816
| NDMC(+) Continue… | [14 empty] | APRIL-10
KIDWAI NAGAR
23 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145818 | 144507 | 1311 | -131100 | -0.1311 | 24460 | 23999 | 461 | -46100 | -0.0461
EXHIBITION I
24 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 590 | 526 | 64 | 6400 | 0.0064 | 10392 | 9781 | 611 | 61100 | 0.0611
25 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
26 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 3379 | 3356 | 23 | 2300 | 0.0023 | 41170 | 40472 | 698 | 69800 | 0.0698
27 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6498 | 6480 | 18 | 1800 | 0.0018 | 38300 | 37698 | 602 | 60200 | 0.0602
28 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 27750 | 27741 | 9 | 900 | 0.0009 | 81655 | 80888 | 767 | 76700 | 0.0767
TILAK MARG
29 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 996592 | 996592 | 0 | 0 | 0 | 883083 | 883011 | 72 | -7200 | -0.0072
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.1242 |  |  |  |  | 15.8415
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.1242 |  |  |  |  | 15.8415
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0016656 |  |  |  |  | -0.91209
| TOTAL ENERGY TO NDMC | [8 empty] | 5.1259 |  |  |  |  | 14.9294

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-10
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 210 | 210 | 0 | 0 | 0 | 9425 | 8922 | 503 | 503000 | 0.503
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 122 | 122 | 0 | 0 | 0 | 12565 | 12258 | 307 | 307000 | 0.307
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 18256 | 17702 | 554 | 554000 | 0.554
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 9586 | 9113 | 473 | 473000 | 0.473
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 255 | 229 | 26 | 26000 | 0.026 | 3853 | 3782 | 71 | 71000 | 0.071
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 368 | 368 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 222 | 222 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.026 |  |  |  |  | 1.908
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3020 | 3020 | 0 | 0 | 0 | 30998 | 30997 | 1 | 100 | 0.0001
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 18625 | 18549 | 76 | 7600 | 0.0076 | 44648 | 43942 | 706 | 70600 | 0.0706
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 60803 | 60369 | 434 | 43400 | 0.0434 | 4385 | 4292 | 93 | 9300 | 0.0093
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 9309 | 9297 | 12 | 1200 | 0.0012 | 28709 | 27404 | 1305 | 130500 | 0.1305
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999917 | 999916 | 1 | 100 | 0.0001 | 12240 | 11900 | 340 | 34000 | 0.034
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 63568 | 63445 | 123 | 12300 | 0.0123 | 17078 | 16578 | 500 | 50000 | 0.05
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 203 | 203 | 0 | 0 | 0 | 39 | 39 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0646 |  |  |  |  | 0.2945
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 2816 | 2647 | 169 | 8450 | 0.00845 | 12528 | 12354 | 174 | 8700 | 0.0087
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.00845 |  |  |  |  | 0.0087
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.05615 |  |  |  |  | 0.2858
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.026 |  |  |  |  | 1.908
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.08215 |  |  |  |  | 2.1938
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.08215 | (REACTIVE MUs) |  |  |  | 2.1938 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00024669 | (REACTIVE MUs) |  |  |  | -0.13509 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.082397 | (REACTIVE MUs) |  |  |  | 2.0587 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-10
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55121 | 53447 | 1674 | 167400 | 0.1674 | 60555 | 58891 | 1664 | 166400 | 0.1664
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7102 | 7492 | -390 | -39000 | -0.039 | 1053 | 1280 | -227 | -22700 | -0.0227
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 118807 | 117117 | 1690 | 169000 | 0.169 | 64648 | 63650 | 998 | 99800 | 0.0998
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9060 | 9008 | 52 | 52000 | 0.052 | 14851 | 14729 | 122 | 122000 | 0.122
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994844 | 994844 | 0 | 0 | 0 | 977097 | 980239 | -3142 | 1571000 | 1.571
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 996458 | 996718 | -260 | 130000 | 0.13 | 992769 | 992876 | -107 | 53500 | 0.0535
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999990 | 999990 | 0 | 0 | 0 | 999907 | 999907 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.4794 |  |  |  |  | 1.99
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 967637 | 968396 | -759 | -75900 | -0.0759 | 992968 | 992653 | 315 | 31500 | 0.0315
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 961545 | 962375 | -830 | -83000 | -0.083 | 940666 | 941431 | -765 | -76500 | -0.0765
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1589 |  |  |  |  | -0.045
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 100 | 121273 | 117306 | 3967 | 396700 | 0.3967 | 214505 | 211691 | 2814 | 281400 | 0.2814
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22077 | 21271 | 806 | 161200 | 0.1612 | 33967 | 33752 | 215 | 43000 | 0.043
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 13383 | 11934 | 1449 | 144900 | 0.1449 | 58838 | 58454 | 384 | 38400 | 0.0384
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993744 | 993889 | -145 | -145000 | -0.145 | 997498 | 997372 | 126 | 126000 | 0.126
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 990361 | 990437 | -76 | -7600 | -0.0076 | 8994 | 8972 | 22 | 2200 | 0.0022
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 997132 | 997226 | -94 | 47000 | 0.047 | 996646 | 996723 | -77 | 38500 | 0.0385
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999990 | 999990 | 0 | 0 | 0 | 999907 | 999907 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.5972 |  |  |  |  | 0.5295
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.4794 |  |  |  |  | 1.99
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1589 |  |  |  |  | -0.045
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.5972 |  |  |  |  | 0.5295

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-10
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (lag) | 2000 | 5395 | 5424 | -29 | -58000 | -0.058 | 999727 | 999731 | -4 | -8000 | -0.008
2 | IBT-2 | 4902498 | ELSTER | kvarh (lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.058 |  |  | NET REACTIVE ENERGY |  | -0.008
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 45779 | 34905 | 10874 | 10874000 | 10.874
4 | IBT-2 | 4902506 | ELSTER | kvarh (lag) | 1000 | 991591 | 991613 | -22 | -22000 | -0.022 | 991716 | 992616 | -900 | -900000 | -0.9
[8 empty] | NET REACTIVE ENERGY |  | -0.022 |  |  | NET REACTIVE ENERGY |  | 9.974
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.08 |  |  |  |  | 9.966
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0209 |  |  |  |  | 1.0845
[7 empty] | NDMC = |  |  | 0.028 |  |  |  |  | 5.9801
MES =
[7 empty] | 2)TOTAL |  |  | 0.0489 |  |  |  |  | 7.0646
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.0311 |  |  |  |  | 17.0306
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.1427 | % |  |  | -0.0087524 |  |  |  |  | 4.7929
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6048 | % |  |  | -0.012939 |  |  |  |  | 7.0855
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1037 | % |  |  | -0.0074963 |  |  |  |  | 4.105
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3556 | % |  |  | -0.0016656 |  |  |  |  | 0.91209
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7932 | % |  |  | -0.00024669 |  |  |  |  | 0.13509
Note :Sharing taken from wk-5 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REVISED* REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2010 TO 30th APRIL-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.62575 | + | 5.6286
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.6401 | + | 35.1756
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.2246 | + | 20.2243
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.1259 | + | 14.9294
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.082397 | + | 2.0587
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
* | As per the CERC order dated 16 july 2010

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/10 | INTIAL READING 01/04/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 991715 | 991712 | 3 | 4500 | 0.0045 | 985937 | 986859 | -922 | -1383000 | -1.383
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 992956 | 992957 | -1 | -1500 | -0.0015 | 990570 | 990612 | -42 | -63000 | -0.063
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 955374 | 955380 | -6 | -9000 | -0.009 | 978185 | 979605 | -1420 | -2130000 | -2.13
[8 empty] | NET REACTIVE ENERGY |  | -0.006 |  |  | NET REACTIVE ENERGY |  | -3.576
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 999997 | 999997 | 0 | 0 | 0 | 38089 |  | 38089 | 38089000 | 38.089
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 72 | 72 | 0 | 0 | 0 | 12462 |  | 12462 | 12462000 | 12.462
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 113 | 136 | -23 | -23000 | -0.023 | 994798 |  | 994798 | 994798000 | 994.798
[8 empty] | NET REACTIVE ENERGY |  | -0.023 |  |  | NET REACTIVE ENERGY |  | 1045.349