## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RPH
1 | CIVIL LINE-3 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| GOPAL PUR | [8 empty] | 0 |  |  |  |  | 0
2 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23588 | 23588 | 0 | 0 | 0 | 979100 | 979695 | -595 | 595000 | 0.595
3 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998813 | 998679 | 134 | -134000 | -0.134 | 995314 | 993936 | 1378 | -1378000 | -1.378
4 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20309 | 20372 | -63 | 63000 | 0.063 | 1304 | 1824 | -520 | 520000 | 0.52
SUBZI MANDI
5 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974221 | 974221 | 0 | 0 | 0 | 990591 | 992195 | -1604 | 1604000 | 1.604
6 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929333 | 929415 | -82 | 82000 | 0.082 | 969299 | 974858 | -5559 | 5559000 | 5.559
ROHINI
7 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14827 | 14827 | 0 | 0 | 0 | 8972 | 8685 | 287 | -287000 | -0.287
8 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15719 | 15718 | 1 | -1000 | -0.001 | 6268 | 6055 | 213 | -213000 | -0.213
9 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7511 | 7058 | 453 | -453000 | -0.453 | 995871 | 995913 | -42 | 42000 | 0.042
10 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5510 | 5141 | 369 | -369000 | -0.369 | 988370 | 988614 | -244 | 244000 | 0.244
SHALIMAR BAGH
11 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33264 | 33257 | 7 | -7000 | -0.007 | 10057 | 9818 | 239 | -239000 | -0.239
12 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5480 | 5010 | 470 | -470000 | -0.47 | 4243 | 3942 | 301 | -301000 | -0.301
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986730 | 987493 | -763 | -763000 | -0.763 | 920627 | 920848 | -221 | -221000 | -0.221
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150 | 171 | -21 | 21000 | 0.021 | 15178 | 12548 | 2630 | -2630000 | -2.63
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999150 | 999311 | -161 | 161000 | 0.161 | 18048 | 15916 | 2132 | -2132000 | -2.132
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1237 | 1316 | -79 | 79000 | 0.079 | 19934 | 18342 | 1592 | -1592000 | -1.592
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 131 | 131 | 0 | 0 | 0 | 32600 | 31481 | 1119 | 1119000 | 1.119
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 286 | 286 | 0 | 0 | 0 | 25872 | 24643 | 1229 | 1229000 | 1.229
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 559 | 554 | 5 | 500 | 0.0005 | 90851 | 86166 | 4685 | 468500 | 0.4685
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1430 | 1430 | 0 | 0 | 0 | 135454 | 126903 | 8551 | 855100 | 0.8551
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997097 | 997104 | -7 | -7000 | -0.007 | 999780 | 1000708 | -928 | -928000 | -0.928
KASHMIRI GATE
22 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659482 | 659511 | -29 | -1450 | -0.00145 | 812971 | 836492 | -23521 | -1176050 | -1.1761
23 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666406 | 666421 | -15 | -750 | -0.00075 | 865480 | 884347 | -18867 | -943350 | -0.94335
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993413 | 993433 | -20 | -20000 | -0.02 | 998651 | 998678 | -27 | -27000 | -0.027
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 994882 | 994899 | -17 | -1700 | -0.0017 | 11552 | 11593 | -41 | -4100 | -0.0041
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 655 | 577 | 78 | -78000 | -0.078 | 979449 | 979499 | -50 | 50000 | 0.05
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996663 | 996537 | 126 | -126000 | -0.126 | 951271 | 951184 | 87 | -87000 | -0.087
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997974 | 998045 | -71 | 71000 | 0.071 | 961365 | 965137 | -3772 | 3772000 | 3.772
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
30 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 216 | 199 | 17 | 17000 | 0.017 | 12154 | 11694 | 460 | 460000 | 0.46
31 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998869 | 998841 | 28 | 28000 | 0.028 | 3085 | 3091 | -6 | -6000 | -0.006
| NDPL(+) continue | [14 empty] | JULY 2010
DMS
32 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12 | 12 | 0 | 0 | 0 | 47396 | 46106 | 1290 | 1290000 | 1.29
REWARI LINE
33 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7148 | 7123 | 25 | 2500 | 0.0025 | 39714 | 29806 | 9908 | 990800 | 0.9908
VISHAL
34 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | 100 | 4407 | 3568 | 839 | 83900 | 0.0839 | 15436 | 14982 | 454 | 45400 | 0.0454
35 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 6993 | 6576 | 417 | 41700 | 0.0417 | 23593 | 22947 | 646 | 64600 | 0.0646
36 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10322 | 9673 | 649 | 64900 | 0.0649 | 30961 | 30368 | 593 | 59300 | 0.0593
S.B.MILL
37 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 22919 | 22849 | 70 | 7000 | 0.007 | 8252 | 7885 | 367 | 36700 | 0.0367
38 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 759 | 758 | 1 | 100 | 0.0001 | 182 | 177 | 5 | 500 | 0.0005
39 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
40 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 8777 | 8717 | 60 | 6000 | 0.006 | 7972 | 7423 | 549 | 54900 | 0.0549
43 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998059 | 998080 | -21 | -2100 | -0.0021 | 999970 | 1000007 | -37 | -3700 | -0.0037 | ROLL OVER
B.G.ROAD
44 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3060 | 3063 | -3 | -1500 | -0.0015 | 24657 | 24105 | 552 | 276000 | 0.276
45 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2848 | 2847 | 1 | 500 | 0.0005 | 16836 | 16367 | 469 | 234500 | 0.2345
46 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2855 | 2855 | 0 | 0 | 0 | 11564 | 11234 | 330 | 165000 | 0.165
47 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2938 | 2938 | 0 | 0 | 0 | 12978 | 12667 | 311 | 155500 | 0.1555
D.M.S.
48 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999712 | 999726 | -14 | -1400 | -0.0014 | 4412 | 3922 | 490 | 49000 | 0.049
49 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 735 | 717 | 18 | 1800 | 0.0018 | 10692 | 9825 | 867 | 86700 | 0.0867
50 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 1675 | 1614 | 61 | 6100 | 0.0061 | 41946 | 39506 | 2440 | 244000 | 0.244
51 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 4300 | 4064 | 236 | 23600 | 0.0236 | 18124 | 16707 | 1417 | 141700 | 0.1417
52 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999982 | 999988 | -6 | -600 | -0.0006 | 289 | 312 | -23 | -2300 | -0.0023
53 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
54 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 39 | 20 | 19 | 1900 | 0.0019 | 49608 | 48323 | 1285 | 128500 | 0.1285
55 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 95 | 68 | 27 | 2700 | 0.0027 | 46519 | 45409 | 1110 | 111000 | 0.111
56 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 112 | 81 | 31 | 3100 | 0.0031 | 64538 | 63153 | 1385 | 138500 | 0.1385
KASHMIRI GATE
57 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 62063 | 60837 | 1226 | 122600 | 0.1226 | 25638 | 24446 | 1192 | 119200 | 0.1192
58 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 5523 | 5134 | 389 | 38900 | 0.0389 | 23313 | 21772 | 1541 | 154100 | 0.1541
59 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999924 | 999924 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
60 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
61 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999508 | 999543 | -35 | -3500 | -0.0035 | 999135 | 999136 | -1 | -100 | -0.0001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.5112 |  |  |  |  | 8.8929
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3380 | 3215 | 165 | -16500 | -0.0165 | 6900 | 6711 | 189 | -18900 | -0.0189
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3247 | 3239 | 8 | -8000 | -0.008 | 3238 | 3203 | 35 | -35000 | -0.035
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3615 | 3602 | 13 | -13000 | -0.013 | 3508 | 3412 | 96 | -96000 | -0.096
4 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9864 | 9851 | 13 | -13000 | -0.013 | 5878 | 4984 | 894 | -894000 | -0.894
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9488 | 9462 | 26 | -26000 | -0.026 | 8876 | 7496 | 1380 | -1380000 | -1.38
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 27611 | 27497 | 114 | -11400 | -0.0114 | 144979 | 137748 | 7231 | -723100 | -0.7231
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991396 | 991944 | -548 | 548000 | 0.548 | 994247 | 994653 | -406 | 406000 | 0.406
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4601 |  |  |  |  | -2.741
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.5112 |  |  |  |  | 8.8929
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4601 |  |  |  |  | -2.741
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0533 |  |  |  |  | 1.1516
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.9978 |  |  |  |  | 7.3035
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.9978 | (REACTIVE MUs) |  |  |  | 7.3035 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1016 | (REACTIVE MUs) |  |  |  | -2.7745 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.8962 | (REACTIVE MUs) |  |  |  | 4.529 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 999301 | 999327 | -26 | -2600 | -0.0026 | 63724 | 64163 | -439 | -43900 | -0.0439
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 186 | 186 | 0 | 0 | 0 | 994885 | 992565 | 2320 | 232000 | 0.232
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 9551 | 7711 | 1840 | 184000 | 0.184 | 23346 | 17037 | 6309 | 630900 | 0.6309
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 429 | 522 | -93 | -9300 | -0.0093 | 996533 | 996491 | 42 | 4200 | 0.0042
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 3373 | 1091 | 2282 | 228200 | 0.2282 | 58557 | 57720 | 837 | 83700 | 0.0837
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999735 | 999760 | -25 | -2500 | -0.0025 | 45630 | 48149 | -2519 | -251900 | -0.2519
RPH
8 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999942 | 999942 | 0 | 0 | 0 | 2440 | 2529 | -89 | -89000 | -0.089
9 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 81 | 81 | 0 | 0 | 0 | 836 | 1174 | -338 | -338000 | -0.338
10 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 237 | 0 | 0 | 0 | 2597 | 2468 | 129 | 129000 | 0.129
11 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 220 | 220 | 0 | 0 | 0 | 1390 | 1272 | 118 | 118000 | 0.118
12 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 290 | 290 | 0 | 0 | 0 | 998581 | 998663 | -82 | -82000 | -0.082
13 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12650 | 12509 | 141 | 141000 | 0.141
14 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 111 | 111 | 0 | 0 | 0 | 30923 | 29764 | 1159 | 1159000 | 1.159
15 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 4464 | 3817 | 647 | 647000 | 0.647
16 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 273 | 273 | 0 | 0 | 0 | 4211 | 3939 | 272 | 272000 | 0.272
17 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26433 | 26327 | 106 | 10600 | 0.0106 | 416 | 398 | 18 | 1800 | 0.0018
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998973 | 998976 | -3 | -3000 | -0.003 | 3559 | 3543 | 16 | 16000 | 0.016
| GT | [8 empty] | 0.0076 |  |  |  |  | 1.9748
19 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 900802 | 904302 | -3500 | -3850000 | -3.85
20 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 923458 | 925829 | -2371 | -2608100 | -2.6081
KASHMIRI GATE
21 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970198 | 970384 | -186 | 186000 | 0.186 | 981229 | 982080 | -851 | 851000 | 0.851
22 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992373 | 992573 | -200 | 200000 | 0.2 | 988381 | 989351 | -970 | 970000 | 0.97
23 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999924 | 999924 | 0 | 0 | 0
NARAINA
24 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 111 | 110 | 1 | 1000 | 0.001 | 45100 | 42842 | 2258 | 2258000 | 2.258
PARK STREET
25 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 314 | 312 | 2 | -2000 | -0.002 | 981958 | 982835 | -877 | 877000 | 0.877
26 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1765 | 1691 | 74 | -74000 | -0.074 | 989213 | 988917 | 296 | -296000 | -0.296
27 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18 | 10 | 8 | -8000 | -0.008 | 999790 | 1000655 | -865 | 865000 | 0.865
IMPORTS
SUBZI MANDI
29 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9864 | 9851 | 13 | 13000 | 0.013 | 5878 | 4981 | 897 | 897000 | 0.897
30 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9488 | 9462 | 26 | 26000 | 0.026 | 8876 | 7496 | 1380 | 1380000 | 1.38
RIDGE VALLEY
31 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 56949 | 55239 | 1710 | 171000 | 0.171 | 1640 | 1626 | 14 | 1400 | 0.0014
32 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 17416 | 5242 | 12174 | 1217400 | 1.2174 | 999416 | 999411 | 5 | 500 | 0.0005
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.1358 |  |  |  |  | 3.9756
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.1358 |  |  |  |  | 3.9756
JULY 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 981071 | 986751 | -5680 | 5680000 | 5.68
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 983411 | 988453 | -5042 | 5042000 | 5.042
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 975568 | 981287 | -5719 | 5719000 | 5.719
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990535 | 990676 | -141 | 141000 | 0.141 | 993802 | 993513 | 289 | -289000 | -0.289
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981040 | 981184 | -144 | 144000 | 0.144 | 992077 | 991787 | 290 | -290000 | -0.29
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1658 | 1658 | 0 | 0 | 0 | 997433 | 996769 | 664 | -664000 | -0.664
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 1051 | 0 | 0 | 0 | 986703 | 986709 | -6 | 6000 | 0.006
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999922 | 999922 | 0 | 0 | 0 | 989111 | 989840 | -729 | 729000 | 0.729
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13800 | 13780 | 20 | -20000 | -0.02 | 976907 | 980525 | -3618 | 3618000 | 3.618
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973525 | 973517 | 8 | -8000 | -0.008 | 944190 | 949526 | -5336 | 5336000 | 5.336
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21027 | 21016 | 11 | -11000 | -0.011 | 19235 | 15595 | 3640 | -3640000 | -3.64
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14343 | 14303 | 40 | -40000 | -0.04 | 27610 | 23823 | 3787 | -3787000 | -3.787
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
15 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 10128 | 10128 | 0 | 0 | 0 | Installed on dated 28/07/09
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.206 |  |  |  |  | 17.46
| (B) NET ENERGY TO EAST | [8 empty] | 0.206 |  |  |  |  | 17.46
JULY 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993413 | 993433 | -20 | 20000 | 0.02 | 998651 | 998678 | -27 | 27000 | 0.027
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 994882 | 994899 | -17 | 1700 | 0.0017 | 11552 | 11593 | -41 | 4100 | 0.0041
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 1410 | 1395 | 15 | -1500 | -0.0015 | 46607 | 44340 | 2267 | -226700 | -0.2267
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1229 | 1169 | 60 | -6000 | -0.006 | 106602 | 101793 | 4809 | -480900 | -0.4809
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999797 | 999794 | 3 | -300 | -0.0003 | 5628 | 3792 | 1836 | -183600 | -0.1836
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 3011 | 2901 | 110 | -11000 | -0.011 | 67888 | 59336 | 8552 | -855200 | -0.8552
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25671 | 23602 | 2069 | -2069000 | -2.069 | 232 | 225 | 7 | -7000 | -0.007
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999978 | 999978 | 0 | 0 | 0 | 36203 | 35439 | 764 | -764000 | -0.764
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 1000001 | 999998 | 3 | -3999.99 | -0.004 | 496 | 202 | 294 | -391999.02 | -0.392
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 216 | 199 | 17 | -17000 | -0.017 | 12154 | 11694 | 460 | -460000 | -0.46
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998869 | 998841 | 28 | -28000 | -0.028 | 3085 | 3091 | -6 | 6000 | 0.006
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12 | 12 | 0 | 0 | 0 | 47396 | 46106 | 1290 | -1290000 | -1.29
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3063 | 3063 | 0 | 0 | 0 | 24657 | 24105 | 552 | -276000 | -0.276
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2848 | 2847 | 1 | -500 | -0.0005 | 16836 | 16367 | 469 | -234500 | -0.2345
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2855 | 2855 | 0 | 0 | 0 | 11564 | 11234 | 330 | -165000 | -0.165
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2938 | 2938 | 0 | 0 | 0 | 12978 | 12667 | 311 | -155500 | -0.1555
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 62063 | 60837 | 1226 | -122600 | -0.1226 | 25638 | 24446 | 1192 | -119200 | -0.1192
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 5523 | 5134 | 389 | -38900 | -0.0389 | 23313 | 21772 | 1541 | -154100 | -0.1541
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999712 | 999726 | -14 | 1400 | 0.0014 | 4412 | 3922 | 490 | -49000 | -0.049
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 735 | 717 | 18 | -1800 | -0.0018 | 10692 | 9825 | 867 | -86700 | -0.0867
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 1675 | 1614 | 61 | -6100 | -0.0061 | 41946 | 39506 | 2440 | -244000 | -0.244
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 4300 | 4064 | 236 | -23600 | -0.0236 | 18124 | 16707 | 1417 | -141700 | -0.1417
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999982 | 999988 | -6 | 600 | 0.0006 | 289 | 312 | -23 | 2300 | 0.0023
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 39 | 20 | 19 | -1900 | -0.0019 | 49608 | 48323 | 1285 | -128500 | -0.1285
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 95 | 68 | 27 | -2700 | -0.0027 | 46519 | 45409 | 1110 | -111000 | -0.111
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 112 | 81 | 31 | -3100 | -0.0031 | 64538 | 63153 | 1385 | -138500 | -0.1385
[10 empty] | -2.3143 |  |  |  |  | -6.6237
JULY 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.1358 |  |  |  |  | 3.9756
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.3143 |  |  |  |  | -6.6237
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0195 |  |  |  |  | -0.2392
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.198 |  |  |  |  | -2.8873
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.206 |  |  |  |  | 17.46
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.008 |  |  |  |  | 14.5727
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.008 | (REACTIVE MUs) |  |  |  | 14.5727 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.086009 | (REACTIVE MUs) |  |  |  | -2.3486 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.094009 | (REACTIVE MUs) |  |  |  | 12.2241 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [15 empty] | JULY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999982 | 999983 | -1 | -1000 | -0.001 | 12157 | 12260 | -103 | -103000 | -0.103
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 14612 | 14540 | 72 | 7200 | 0.0072 | 682513 | 680195 | 2318 | 231800 | 0.2318
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1268 | 360 | 908 | 908000 | 0.908 | 42796 | 42320 | 476 | 476000 | 0.476
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 4399 | 2214 | 2185 | 655500 | 0.6555 | 289 | 234 | 55 | 16500 | 0.0165
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 999493 | 997821 | 1672 | 334400 | 0.3344 | 986856 | 986858 | -2 | -400 | -0.0004
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2384 | 2384 | 0 | 0 | 0 | 75075 | 69461 | 5614 | 561400 | 0.5614
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 13913 | 13033 | 880 | 88000 | 0.088 | 269529 | 267661 | 1868 | 186800 | 0.1868
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 35 | 35 | 0 | 0 | 0 | 312078 | 310014 | 2064 | 206400 | 0.2064
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999978 | 0 | 0 | 0 | 8622 | 7394 | 1228 | 1228000 | 1.228
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998538 | 998546 | -8 | 8000 | 0.008 | 972292 | 974823 | -2531 | 2531000 | 2.531
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997763 | 997773 | -10 | 10000 | 0.01 | 973513 | 976046 | -2533 | 2533000 | 2.533
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997908 | 997948 | -40 | 40000 | 0.04 | 966097 | 970264 | -4167 | 4167000 | 4.167
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998446 | 998438 | 8 | -8000 | -0.008 | 973716 | 976817 | -3101 | 3101000 | 3.101
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2347 | 2343 | 4 | -4000 | -0.004 | 31463 | 31128 | 335 | -335000 | -0.335
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000020 | 999921 | 99 | -99000 | -0.099 | 979972 | 981411 | -1439 | 1439000 | 1.439 | ROLL OVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34730 | 34619 | 111 | -111000 | -0.111 | 26308 | 24976 | 1332 | -1332000 | -1.332
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5282 | 5238 | 44 | -44000 | -0.044 | 14590 | 14918 | -328 | 328000 | 0.328
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22156 | 22043 | 113 | -113000 | -0.113 | 13744 | 12859 | 885 | -885000 | -0.885
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8269 | 8238 | 31 | -31000 | -0.031 | 38517 | 36267 | 2250 | -2250000 | -2.25
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3247 | 3239 | 8 | 8000 | 0.008 | 3238 | 3203 | 35 | 35000 | 0.035
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3615 | 3602 | 13 | 13000 | 0.013 | 3508 | 3412 | 96 | 96000 | 0.096
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988622 | 988627 | -5 | 5000 | 0.005 | 914938 | 918670 | -3732 | 3732000 | 3.732
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998712 | 998717 | -5 | 5000 | 0.005 | 899829 | 902523 | -2694 | 2694000 | 2.694
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 12334 | 9305 | 3029 | -3029000 | -3.029
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 7118 | 3779 | 3339 | -3339000 | -3.339
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996157 | 996158 | -1 | 1000 | 0.001 | 964130 | 966656 | -2526 | 2526000 | 2.526
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 975756 | 976657 | -901 | 901000 | 0.901
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 973857 | 975179 | -1322 | 1322000 | 1.322
BRPL(+) continue | [15 empty] | JULY 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 589 | 589 | 0 | 0 | 0 | 987677 | 989430 | -1753 | 1753000 | 1.753
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1802 | 1802 | 0 | 0 | 0 | 4557 | 5386 | -829 | 829000 | 0.829
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989406 | 989395 | 11 | -11000 | -0.011 | 984639 | 984455 | 184 | -184000 | -0.184
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999703 | 999703 | 0 | 0 | 0 | 953809 | 956763 | -2954 | 2954000 | 2.954
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3753 | 3515 | 238 | -238000 | -0.238 | 975186 | 975905 | -719 | 719000 | 0.719
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 999879 | 0 | 0 | 0 | 970866 | 976511 | -5645 | 5645000 | 5.645
PARK STREET
36 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999978 | 0 | 0 | 0 | 36203 | 35439 | 764 | 764000 | 0.764
37 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000001 | 999998 | 3 | 3999.99 | 0.004 | 496 | 202 | 294 | 391999.02 | 0.392
SARITA VIHAR
38 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 750 | 750 | 0 | 0 | 0 | 985622 | 986419 | -797 | 797000 | 0.797
39 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 326 | 325 | 1 | -1000 | -0.001 | 989508 | 987883 | 1625 | -1625000 | -1.625
NARAINA
40 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3380 | 3215 | 165 | 16500 | 0.0165 | 6900 | 6711 | 189 | 18900 | 0.0189
SUDARSHAN PARK
41 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 27611 | 27497 | 114 | 11400 | 0.0114 | 144979 | 137748 | 7231 | 723100 | 0.7231
REWARI LINE
43 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
44 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991396 | 991944 | -548 | -548000 | -0.548 | 994247 | 994653 | -406 | -406000 | -0.406
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.906 |  |  |  |  | 29.4185
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 996201 | 996202 | -1 | -100 | -0.0001 | 868202 | 869703 | -1501 | -150100 | -0.1501
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 56949 | 55239 | 1710 | -171000 | -0.171 | 1640 | 1626 | 14 | -1400 | -0.0014
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 17416 | 5242 | 12174 | -1217400 | -1.2174 | 999416 | 999411 | 5 | -500 | -0.0005
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 513 | 79 | 434 | -43400 | -0.0434 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 637555 | 619984 | 17571 | -1757100 | -1.7571 | 42996 | 42745 | 251 | -25100 | -0.0251
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 252 | 279 | -27 | 27000 | 0.027 | 558 | 519 | 39 | -39000 | -0.039
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 598080 | 577240 | 20840 | -2084000 | -2.084 | 37993 | 37683 | 310 | -31000 | -0.031
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 3458 | 3426 | 32 | -3200 | -0.0032 | 46729 | 45331 | 1398 | -139800 | -0.1398
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6658 | 6609 | 49 | -4900 | -0.0049 | 44519 | 42638 | 1881 | -188100 | -0.1881
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 28007 | 27977 | 30 | -3000 | -0.003 | 96598 | 90600 | 5998 | -599800 | -0.5998
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 4400 | 3281 | 1119 | -111900 | -0.1119 | 605406 | 598169 | 7237 | -723700 | -0.7237
13 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 64587 | 64446 | 141 | -14100 | -0.0141 | 134826 | 122397 | 12429 | -1242900 | -1.2429
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145866 | 145880 | -14 | -1400 | -0.0014 | 24342 | 24436 | -94 | -9400 | -0.0094
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 739 | 729 | 10 | -1000 | -0.001 | 10651 | 10571 | 80 | -8000 | -0.008
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7148 | 7129 | 19 | -1900 | -0.0019 | 39714 | 29806 | 9908 | -990800 | -0.9908
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | -100 | 4407 | 3568 | 839 | -83900 | -0.0839 | 15436 | 14982 | 454 | -45400 | -0.0454
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 6993 | 6576 | 417 | -41700 | -0.0417 | 23593 | 22947 | 646 | -64600 | -0.0646
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10322 | 9673 | 649 | -64900 | -0.0649 | 30961 | 30368 | 593 | -59300 | -0.0593
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 22919 | 22849 | 70 | -7000 | -0.007 | 8252 | 7885 | 367 | -36700 | -0.0367
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 759 | 758 | 1 | -100 | -0.0001 | 182 | 177 | 5 | -500 | -0.0005
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 8777 | 8717 | 60 | -6000 | -0.006 | 7972 | 7423 | 549 | -54900 | -0.0549
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998059 | 998080 | -21 | 2100 | 0.0021 | 999970 | 1000007 | -37 | 3700 | 0.0037 | ROLL OVER
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999508 | 999543 | -35 | 3500 | 0.0035 | 999135 | 999136 | -1 | 100 | 0.0001
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.5854 |  |  |  |  | -4.4072
JULY 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.906 |  |  |  |  | 29.4185
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.5854 |  |  |  |  | -4.4072
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.23 |  |  |  |  | 2.6962
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.14765 |  |  |  |  | -0.3848
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.5971 |  |  |  |  | 27.3227
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.5971 | (REACTIVE MUs) |  |  |  | 27.3227 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.14725 | (REACTIVE MUs) |  |  |  | -4.021 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.4498 | (REACTIVE MUs) |  |  |  | 23.3017 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 1410 | 1395 | 15 | 1500 | 0.0015 | 46607 | 44340 | 2267 | 226700 | 0.2267
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1229 | 1169 | 60 | 6000 | 0.006 | 106602 | 101793 | 4809 | 480900 | 0.4809
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999797 | 999794 | 3 | 300 | 0.0003 | 5628 | 3792 | 1836 | 183600 | 0.1836
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 3011 | 2901 | 110 | 11000 | 0.011 | 67888 | 59336 | 8552 | 855200 | 0.8552
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25671 | 23602 | 2069 | 2069000 | 2.069 | 232 | 225 | 7 | 7000 | 0.007
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 19 | 19 | 0 | 0 | 0 | 260838 | 254420 | 6418 | 641800 | 0.6418
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 114 | 114 | 0 | 0 | 0 | 383308 | 379944 | 3364 | 336400 | 0.3364
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 349 | 345 | 4 | 400 | 0.0004 | 164889 | 161334 | 3555 | 355500 | 0.3555
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 170 | 170 | 0 | 0 | 0 | 285015 | 280018 | 4997 | 499700 | 0.4997
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 73 | 73 | 0 | 0 | 0 | 186350 | 182274 | 4076 | 407600 | 0.4076
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 71 | 74 | -3 | -300 | -0.0003 | 122959 | 123609 | -650 | -65000 | -0.065
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 279 | 276 | 3 | 300 | 0.0003 | 165402 | 162162 | 3240 | 324000 | 0.324
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 306 | 289 | 17 | 1700 | 0.0017 | 206012 | 201856 | 4156 | 415600 | 0.4156
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 36153 | 33291 | 2862 | 3148200 | 3.1482
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4635 | 4489 | 146 | 146000 | 0.146 | 35996 | 36001 | -5 | -5000 | -0.005
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 104767 | 101855 | 2912 | 3203200 | 3.2032
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6924 | 6717 | 207 | 207000 | 0.207 | 48027 | 48016 | 11 | 11000 | 0.011
[10 empty] | 0.353 |  |  |  |  | 6.3574
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 637555 | 619984 | 17571 | 1757100 | 1.7571 | 42996 | 42745 | 251 | 25100 | 0.0251
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 252 | 279 | -27 | -27000 | -0.027 | 558 | 519 | 39 | 39000 | 0.039
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 598080 | 577240 | 20840 | 2084000 | 2.084 | 37993 | 37683 | 310 | 31000 | 0.031
A.I.I.M.S.
21 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 4400 | 3281 | 1119 | 111900 | 0.1119 | 605406 | 598169 | 7237 | 723700 | 0.7237
22 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 64587 | 64446 | 141 | 14100 | 0.0141 | 134826 | 122397 | 12429 | 1242900 | 1.2429
| NDMC(+) Continue… | [14 empty] | JULY 2010
KIDWAI NAGAR
23 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145866 | 145880 | -14 | 1400 | 0.0014 | 24342 | 24436 | -94 | 9400 | 0.0094
EXHIBITION I
24 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 739 | 729 | 10 | 1000 | 0.001 | 10651 | 10571 | 80 | 8000 | 0.008
25 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
26 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 3458 | 3426 | 32 | 3200 | 0.0032 | 46729 | 45331 | 1398 | 139800 | 0.1398
27 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6658 | 6609 | 49 | 4900 | 0.0049 | 44519 | 42638 | 1881 | 188100 | 0.1881
28 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 28007 | 27977 | 30 | 3000 | 0.003 | 96598 | 90600 | 5998 | 599800 | 0.5998
TILAK MARG
29 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 996201 | 996202 | -1 | 100 | 0.0001 | 868202 | 869703 | -1501 | 150100 | 0.1501
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.3966 |  |  |  |  | 14.1833
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.3966 |  |  |  |  | 14.1833
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.018883 |  |  |  |  | -0.51563
| TOTAL ENERGY TO NDMC | [8 empty] | 6.4155 |  |  |  |  | 13.6677

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 214 | 210 | 4 | 4000 | 0.004 | 10980 | 10726 | 254 | 254000 | 0.254
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 123 | 123 | 0 | 0 | 0 | 15074 | 14021 | 1053 | 1053000 | 1.053
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 21553 | 20461 | 1092 | 1092000 | 1.092
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 11269 | 10637 | 632 | 632000 | 0.632
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 390 | 354 | 36 | 36000 | 0.036 | 5409 | 4734 | 675 | 675000 | 0.675
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 513 | 79 | 434 | 43400 | 0.0434 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0834 |  |  |  |  | 3.706
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3020 | 3021 | -1 | -100 | -0.0001 | 31380 | 31348 | 32 | 3200 | 0.0032
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 19334 | 18802 | 532 | 53200 | 0.0532 | 49484 | 47893 | 1591 | 159100 | 0.1591
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61110 | 61087 | 23 | 2300 | 0.0023 | 4732 | 4705 | 27 | 2700 | 0.0027
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 9962 | 9350 | 612 | 61200 | 0.0612 | 33374 | 32379 | 995 | 99500 | 0.0995
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999915 | 999925 | -10 | -1000 | -0.001 | 13305 | 13063 | 242 | 24200 | 0.0242
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 64431 | 64117 | 314 | 31400 | 0.0314 | 22304 | 20598 | 1706 | 170600 | 0.1706
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 209 | 48 | 4800 | 0.0048 | 835 | 798 | 37 | 3700 | 0.0037
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1518 |  |  |  |  | 0.463
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 3018 | 2935 | 83 | 4150 | 0.00415 | 17432 | 15868 | 1564 | 78200 | 0.0782
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.00415 |  |  |  |  | 0.0782
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.14765 |  |  |  |  | 0.3848
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0834 |  |  |  |  | 3.706
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.23105 |  |  |  |  | 4.0908
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.23105 | (REACTIVE MUs) |  |  |  | 4.0908 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0026545 | (REACTIVE MUs) |  |  |  | -0.072485 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.2337 | (REACTIVE MUs) |  |  |  | 4.0183 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 57700 | 56916 | 784 | 78400 | 0.0784 | 74728 | 70499 | 4229 | 422900 | 0.4229
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6522 | 6666 | -144 | -14400 | -0.0144 | 999516 | 1000075 | -559 | -55900 | -0.0559
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 122828 | 122078 | 750 | 75000 | 0.075 | 84002 | 81452 | 2550 | 255000 | 0.255
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8938 | 8896 | 42 | 42000 | 0.042 | 16430 | 15886 | 544 | 544000 | 0.544
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994819 | 994820 | -1 | 500 | 0.0005 | 967667 | 970429 | -2762 | 1381000 | 1.381
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 996082 | 996179 | -97 | 48500 | 0.0485 | 991774 | 992073 | -299 | 149500 | 0.1495
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999905 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.23 |  |  |  |  | 2.6962
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
| O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 966999 | 967152 | -153 | -15300 | -0.0153 | 990850 | 991269 | -419 | -41900 | -0.0419
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 966999 | 966999 | 0 | 0 | 0 | 990955 | 990850 | 105 | 21000 | 0.021 | CT ratio Changed
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 960250 | 960445 | -195 | -19500 | -0.0195 | 933262 | 935864 | -2602 | -260200 | -0.2602
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0195 |  |  |  |  | -0.2392
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
| O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 100 | 128016 | 126295 | 1721 | 172100 | 0.1721 | 241924 | 236617 | 5307 | 530700 | 0.5307
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 128341 | 128016 | 325 | 65000 | 0.065 | 245103 | 241924 | 3179 | 635800 | 0.6358 | CT ratio Changed
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22424 | 22190 | 234 | 46800 | 0.0468 | 37752 | 36431 | 1321 | 264200 | 0.2642
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 13923 | 13489 | 434 | 43400 | 0.0434 | 65700 | 63337 | 2363 | 236300 | 0.2363
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993517 | 993625 | -108 | -108000 | -0.108 | 997447 | 997486 | -39 | -39000 | -0.039
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 990081 | 990150 | -69 | -6900 | -0.0069 | 8036 | 8351 | -315 | -31500 | -0.0315
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 996998 | 997024 | -26 | 13000 | 0.013 | 995985 | 996156 | -171 | 85500 | 0.0855
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999905 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | 0.0533 |  |  |  |  | 1.1516
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.23 |  |  |  |  | 2.6962
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0195 |  |  |  |  | -0.2392
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0533 |  |  |  |  | 1.1516

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 4526 | 4883 | -357 | -714000 | -0.714 | 999840 | 999835 | 5 | 10000 | 0.01
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.714 |  |  | NET REACTIVE ENERGY |  | 0.01
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 39794 | 38262 | 1532 | 1532000 | 1.532
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991575 | 991578 | -3 | -3000 | -0.003 | 987047 | 987189 | -142 | -142000 | -0.142
[8 empty] | NET REACTIVE ENERGY |  | -0.003 |  |  | NET REACTIVE ENERGY |  | 1.39
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.717 |  |  |  |  | 1.4
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0076 |  |  |  |  | 1.9748
[7 empty] | NDMC = |  |  | 0.353 |  |  |  |  | 6.3574
MES =
[7 empty] | 2)TOTAL |  |  | 0.3606 |  |  |  |  | 8.3322
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.3564 |  |  |  |  | 9.7322
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5084 | % |  |  | -0.1016 |  |  |  |  | 2.7745
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.316 | % |  |  | -0.14725 |  |  |  |  | 4.021
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1326 | % |  |  | -0.086009 |  |  |  |  | 2.3486
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2982 | % |  |  | -0.018883 |  |  |  |  | 0.51563
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7448 | % |  |  | -0.0026545 |  |  |  |  | 0.072485
Note :Sharing taken from wk-11 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2010 TO 31th JULY-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.8962 | + | 4.529
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.4498 | + | 23.3017
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.094009 | + | 12.2241
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.4155 | + | 13.6677
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.2337 | + | 4.0183
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/10 | INTIAL READING 01/07/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 991520 | 991617 | -97 | -145500 | -0.1455 | 982132 | 982927 | -795 | -1192500 | -1.1925
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 992734 | 992816 | -82 | -123000 | -0.123 | 987596 | 988364 | -768 | -1152000 | -1.152
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 955027 | 955139 | -112 | -168000 | -0.168 | 972102 | 973501 | -1399 | -2098500 | -2.0985
[8 empty] | NET REACTIVE ENERGY |  | -0.4365 |  |  | NET REACTIVE ENERGY |  | -4.443
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 998792 | 999336 | -544 | -544000 | -0.544 | 38445 | 38741 | -296 | -296000 | -0.296
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 207 | 205 | 2 | 2000 | 0.002 | 14390 | 14441 | -51 | -51000 | -0.051
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 992694 | 994846 | -2152 | -2152000 | -2.152 | 992933 | 993590 | -657 | -657000 | -0.657
[8 empty] | NET REACTIVE ENERGY |  | -2.694 |  |  | NET REACTIVE ENERGY |  | -1.004