## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RPH
1 | CIVIL LINE-3 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
| GOPAL PUR | [8 empty] | 0 |  |  |  |  | 0
2 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23588 | 23498 | 90 | -90000 | -0.09 | 979695 | 975166 | 4529 | -4529000 | -4.529
3 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998679 | 998663 | 16 | -16000 | -0.016 | 993936 | 990217 | 3719 | -3719000 | -3.719
4 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20372 | 20369 | 3 | -3000 | -0.003 | 1824 | 1436 | 388 | -388000 | -0.388
SUBZI MANDI
5 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974221 | 974221 | 0 | 0 | 0 | 992195 | 993917 | -1722 | 1722000 | 1.722
6 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929415 | 929464 | -49 | 49000 | 0.049 | 974858 | 979134 | -4276 | 4276000 | 4.276
ROHINI
7 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14827 | 14813 | 14 | -14000 | -0.014 | 8685 | 7299 | 1386 | -1386000 | -1.386
8 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15718 | 15703 | 15 | -15000 | -0.015 | 6055 | 4781 | 1274 | -1274000 | -1.274
9 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7058 | 6709 | 349 | -349000 | -0.349 | 995913 | 994749 | 1164 | -1164000 | -1.164
10 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5141 | 4887 | 254 | -254000 | -0.254 | 988614 | 987846 | 768 | -768000 | -0.768
SHALIMAR BAGH
11 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33257 | 33229 | 28 | -28000 | -0.028 | 9818 | 9189 | 629 | -629000 | -0.629
12 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5010 | 4939 | 71 | -71000 | -0.071 | 3942 | 3167 | 775 | -775000 | -0.775
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987493 | 988145 | -652 | -652000 | -0.652 | 920848 | 921376 | -528 | -528000 | -0.528
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 171 | 178 | -7 | 7000 | 0.007 | 12548 | 10280 | 2268 | -2268000 | -2.268
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999311 | 999263 | 48 | -48000 | -0.048 | 15916 | 14254 | 1662 | -1662000 | -1.662
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1316 | 1306 | 10 | -10000 | -0.01 | 18342 | 17074 | 1268 | -1268000 | -1.268
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 131 | 130 | 1 | 1000 | 0.001 | 31481 | 31117 | 364 | 364000 | 0.364
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 286 | 283 | 3 | 3000 | 0.003 | 24643 | 23799 | 844 | 844000 | 0.844
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 554 | 554 | 0 | 0 | 0 | 86166 | 83954 | 2212 | 221200 | 0.2212
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1430 | 1430 | 0 | 0 | 0 | 126903 | 126780 | 123 | 12300 | 0.0123
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997104 | 997111 | -7 | -7000 | -0.007 | 708 | 1995 | -1287 | -1287000 | -1.287
KASHMIRI GATE
22 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659511 | 659525 | -14 | -700 | -0.0007 | 836492 | 870046 | -33554 | -1677700 | -1.6777
23 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 666421 | 666476 | -55 | -2750 | -0.00275 | 884347 | 896907 | -12560 | -628000 | -0.628
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993433 | 993452 | -19 | -19000 | -0.019 | 998678 | 998726 | -48 | -48000 | -0.048
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 577 | 395 | 182 | -182000 | -0.182 | 979499 | 979054 | 445 | -445000 | -0.445
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996537 | 996368 | 169 | -169000 | -0.169 | 951184 | 950870 | 314 | -314000 | -0.314
BAWANA
28 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998045 | 998101 | -56 | 56000 | 0.056 | 965137 | 967113 | -1976 | 1976000 | 1.976
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
29 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 199 | 191 | 8 | 8000 | 0.008 | 11694 | 11339 | 355 | 355000 | 0.355
30 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998841 | 998825 | 16 | 16000 | 0.016 | 3091 | 2970 | 121 | 121000 | 0.121
| NDPL(+) continue | [14 empty] | JUNE 2010
DMS
31 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12 | 7 | 5 | 5000 | 0.005 | 46106 | 44030 | 2076 | 2076000 | 2.076
REWARI LINE
32 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7123 | 7125 | -2 | -200 | -0.0002 | 29806 | 24542 | 5264 | 526400 | 0.5264
VISHAL
33 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | 100 | 3568 | 3466 | 102 | 10200 | 0.0102 | 14982 | 14081 | 901 | 90100 | 0.0901
34 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 6576 | 6252 | 324 | 32400 | 0.0324 | 22947 | 19907 | 3040 | 304000 | 0.304
35 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9673 | 8441 | 1232 | 123200 | 0.1232 | 30368 | 29280 | 1088 | 108800 | 0.1088
S.B.MILL
36 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 22849 | 22002 | 847 | 84700 | 0.0847 | 7885 | 7572 | 313 | 31300 | 0.0313
37 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 758 | 747 | 11 | 1100 | 0.0011 | 177 | 165 | 12 | 1200 | 0.0012
38 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
39 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 8717 | 8538 | 179 | 17900 | 0.0179 | 7423 | 6936 | 487 | 48700 | 0.0487
42 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998080 | 998154 | -74 | -7400 | -0.0074 | 7 | 40 | -33 | -3300 | -0.0033
B.G.ROAD
43 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3063 | 3063 | 0 | 0 | 0 | 24105 | 23474 | 631 | 315500 | 0.3155
44 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2847 | 2847 | 0 | 0 | 0 | 16367 | 15847 | 520 | 260000 | 0.26
45 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2855 | 2855 | 0 | 0 | 0 | 11234 | 10898 | 336 | 168000 | 0.168
46 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2938 | 2938 | 0 | 0 | 0 | 12667 | 12431 | 236 | 118000 | 0.118
D.M.S.
47 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999726 | 999734 | -8 | -800 | -0.0008 | 3922 | 3846 | 76 | 7600 | 0.0076
48 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 717 | 711 | 6 | 600 | 0.0006 | 9825 | 9153 | 672 | 67200 | 0.0672
49 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 1614 | 1540 | 74 | 7400 | 0.0074 | 39506 | 37056 | 2450 | 245000 | 0.245
50 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 4064 | 3764 | 300 | 30000 | 0.03 | 16707 | 15559 | 1148 | 114800 | 0.1148
51 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999988 | 999989 | -1 | -100 | -0.0001 | 312 | 328 | -16 | -1600 | -0.0016
52 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
53 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 20 | 17 | 3 | 300 | 0.0003 | 48323 | 46770 | 1553 | 155300 | 0.1553
54 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 68 | 55 | 13 | 1300 | 0.0013 | 45409 | 43632 | 1777 | 177700 | 0.1777
55 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 81 | 67 | 14 | 1400 | 0.0014 | 63153 | 61159 | 1994 | 199400 | 0.1994
KASHMIRI GATE
56 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 60837 | 60274 | 563 | 56300 | 0.0563 | 24446 | 24350 | 96 | 9600 | 0.0096
57 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 5134 | 4836 | 298 | 29800 | 0.0298 | 21772 | 19848 | 1924 | 192400 | 0.1924
58 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999924 | 999923 | 1 | -300 | -0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
59 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 835 | 836 | -1 | 100 | 0.0001
60 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999543 | 999550 | -7 | -700 | -0.0007 | 999136 | 999136 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.398 |  |  |  |  | -9.6543
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3215 | 2937 | 278 | -27800 | -0.0278 | 6711 | 5788 | 923 | -92300 | -0.0923
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3239 | 3240 | -1 | 1000 | 0.001 | 3203 | 3217 | -14 | 14000 | 0.014
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3602 | 3600 | 2 | -2000 | -0.002 | 3412 | 3393 | 19 | -19000 | -0.019
4 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9851 | 9846 | 5 | -5000 | -0.005 | 4984 | 3583 | 1401 | -1401000 | -1.401
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9462 | 9443 | 19 | -19000 | -0.019 | 7496 | 6250 | 1246 | -1246000 | -1.246
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 27497 | 27098 | 399 | -39900 | -0.0399 | 137748 | 131715 | 6033 | -603300 | -0.6033
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991944 | 992523 | -579 | 579000 | 0.579 | 994653 | 995181 | -528 | 528000 | 0.528
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4863 |  |  |  |  | -2.8196
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.398 |  |  |  |  | -9.6543
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4863 |  |  |  |  | -2.8196
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.2965 |  |  |  |  | 1.4959
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.61525 |  |  |  |  | -10.978
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.61525 | (REACTIVE MUs) |  |  |  | -10.978 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.040368 | (REACTIVE MUs) |  |  |  | -3.4128 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.57488 | (REACTIVE MUs) |  |  |  | -14.3908 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 999327 | 999665 | -338 | -33800 | -0.0338 | 64163 | 69797 | -5634 | -563400 | -0.5634
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 186 | 78 | 108 | 10800 | 0.0108 | 992565 | 991735 | 830 | 83000 | 0.083
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 7711 | 2037 | 5674 | 567400 | 0.5674 | 17037 | 12332 | 4705 | 470500 | 0.4705
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000522 | 999996 | 526 | 52600 | 0.0526 | 996491 | 996510 | -19 | -1900 | -0.0019 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001091 | 999732 | 1359 | 135900 | 0.1359 | 57720 | 57798 | -78 | -7800 | -0.0078 | ROLL OVER
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999760 | 999880 | -120 | -12000 | -0.012 | 48149 | 51416 | -3267 | -326700 | -0.3267
RPH
8 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999942 | 999945 | -3 | -3000 | -0.003 | 2529 | 2763 | -234 | -234000 | -0.234
9 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 81 | 81 | 0 | 0 | 0 | 1174 | 1546 | -372 | -372000 | -0.372
10 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 229 | 8 | 8000 | 0.008 | 2468 | 1950 | 518 | 518000 | 0.518
11 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 220 | 220 | 0 | 0 | 0 | 1272 | 1297 | -25 | -25000 | -0.025
12 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 290 | 290 | 0 | 0 | 0 | 998663 | 999205 | -542 | -542000 | -0.542
13 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12509 | 11712 | 797 | 797000 | 0.797
14 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 111 | 111 | 0 | 0 | 0 | 29764 | 28497 | 1267 | 1267000 | 1.267
15 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 3817 | 3822 | -5 | -5000 | -0.005
16 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 273 | 273 | 0 | 0 | 0 | 3939 | 3594 | 345 | 345000 | 0.345
17 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26327 | 26043 | 284 | 28400 | 0.0284 | 398 | 323 | 75 | 7500 | 0.0075
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998976 | 998987 | -11 | -11000 | -0.011 | 3543 | 3595 | -52 | -52000 | -0.052
| GT | [8 empty] | 0.0224 |  |  |  |  | 1.7045
19 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 904302 | 907390 | -3088 | -3396800 | -3.3968
20 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 925829 | 928162 | -2333 | -2566300 | -2.5663
KASHMIRI GATE
21 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970384 | 970419 | -35 | 35000 | 0.035 | 982080 | 983225 | -1145 | 1145000 | 1.145
22 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992573 | 992658 | -85 | 85000 | 0.085 | 989351 | 990155 | -804 | 804000 | 0.804
23 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999924 | 999923 | 1 | 300 | 0.0003
NARAINA
24 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 110 | 108 | 2 | 2000 | 0.002 | 42842 | 40397 | 2445 | 2445000 | 2.445
PARK STREET
25 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 312 | 305 | 7 | -7000 | -0.007 | 982835 | 982733 | 102 | -102000 | -0.102
26 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1691 | 1681 | 10 | -10000 | -0.01 | 988917 | 988024 | 893 | -893000 | -0.893
27 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10 | 0 | 10 | -10000 | -0.01 | 655 | 15 | 640 | -640000 | -0.64
IMPORTS
SUBZI MANDI
29 | O/G BG Rd.1 | 4864840 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9851 | 9846 | 5 | 5000 | 0.005 | 4981 | 3583 | 1398 | 1398000 | 1.398
30 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9462 | 9443 | 19 | 19000 | 0.019 | 7496 | 6250 | 1246 | 1246000 | 1.246
RIDGE VALLEY
31 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 55239 | 50912 | 4327 | 432700 | 0.4327 | 1626 | 1667 | -41 | -4100 | -0.0041
32 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 1005242 | 999753 | 5489 | 548900 | 0.5489 | 999411 | 999395 | 16 | 1600 | 0.0016
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.8439 |  |  |  |  | 0.7959
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.8439 |  |  |  |  | 0.7959
JUNE 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 986751 | 989902 | -3151 | 3151000 | 3.151
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 988453 | 991003 | -2550 | 2550000 | 2.55
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15936 | 15936 | 0 | 0 | 0 | 981287 | 984738 | -3451 | 3451000 | 3.451
PPG
4 | Tx.1 (66 KV) | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27090 | 27243 | -153 | 153000 | 0.153 | 1476 | 1350 | 126 | -126000 | -0.126 | from 1/6/10 to 22/6/10
| Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990676 | 990582 | 94 | -94000 | -0.094 | 993513 | 993034 | 479 | -479000 | -0.479 | from 22/6/10 to 1/7/10
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981184 | 981239 | -55 | 55000 | 0.055 | 991787 | 991147 | 640 | -640000 | -0.64
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1658 | 1657 | 1 | -1000 | -0.001 | 996769 | 994968 | 1801 | -1801000 | -1.801
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 1050 | 1 | -1000 | -0.001 | 986709 | 986894 | -185 | 185000 | 0.185
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999922 | 999922 | 0 | 0 | 0 | 989840 | 989063 | 777 | -777000 | -0.777
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13780 | 13781 | -1 | 1000 | 0.001 | 980525 | 983626 | -3101 | 3101000 | 3.101
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973517 | 973517 | 0 | 0 | 0 | 949526 | 954708 | -5182 | 5182000 | 5.182
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21016 | 21009 | 7 | -7000 | -0.007 | 15595 | 11568 | 4027 | -4027000 | -4.027
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14303 | 14258 | 45 | -45000 | -0.045 | 23823 | 20720 | 3103 | -3103000 | -3.103
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.061 |  |  |  |  | 6.667
| (B) NET ENERGY TO EAST | [8 empty] | 0.061 |  |  |  |  | 6.667
JUNE 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993433 | 993452 | -19 | 19000 | 0.019 | 998678 | 998726 | -48 | 48000 | 0.048
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 1395 | 1338 | 57 | -5700 | -0.0057 | 44340 | 44213 | 127 | -12700 | -0.0127
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 1169 | 1130 | 39 | -3900 | -0.0039 | 101793 | 97333 | 4460 | -446000 | -0.446
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999794 | 999807 | -13 | 1300 | 0.0013 | 3792 | 6797 | -3005 | 300500 | 0.3005
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 2901 | 2719 | 182 | -18200 | -0.0182 | 59336 | 53110 | 6226 | -622600 | -0.6226
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23602 | 21845 | 1757 | -1757000 | -1.757 | 225 | 194 | 31 | -31000 | -0.031
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999978 | 999978 | 0 | 0 | 0 | 35439 | 34451 | 988 | -988000 | -0.988
9 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999917 | 999910 | 7 | -7000 | -0.007 | 22206 | 22064 | 142 | -142000 | -0.142
|  | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999998 | 1000000 | -2 | 2666.66 | 0.0026667 | 202 | 0 | 202 | -269332.66 | -0.26933 | ROLL OVER
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 199 | 191 | 8 | -8000 | -0.008 | 11694 | 11339 | 355 | -355000 | -0.355
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998841 | 998825 | 16 | -16000 | -0.016 | 3091 | 2970 | 121 | -121000 | -0.121
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12 | 7 | 5 | -5000 | -0.005 | 46106 | 44030 | 2076 | -2076000 | -2.076
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3063 | 3063 | 0 | 0 | 0 | 24105 | 23474 | 631 | -315500 | -0.3155
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2847 | 2847 | 0 | 0 | 0 | 16367 | 15847 | 520 | -260000 | -0.26
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2855 | 2855 | 0 | 0 | 0 | 11234 | 10898 | 336 | -168000 | -0.168
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2938 | 2938 | 0 | 0 | 0 | 12667 | 12431 | 236 | -118000 | -0.118
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 60837 | 60274 | 563 | -56300 | -0.0563 | 24446 | 24350 | 96 | -9600 | -0.0096
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 5134 | 4836 | 298 | -29800 | -0.0298 | 21772 | 19848 | 1924 | -192400 | -0.1924
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999726 | 999734 | -8 | 800 | 0.0008 | 3922 | 3846 | 76 | -7600 | -0.0076
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 717 | 711 | 6 | -600 | -0.0006 | 9825 | 9153 | 672 | -67200 | -0.0672
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 1614 | 1540 | 74 | -7400 | -0.0074 | 39506 | 37056 | 2450 | -245000 | -0.245
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 4064 | 3764 | 300 | -30000 | -0.03 | 16707 | 15559 | 1148 | -114800 | -0.1148
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999988 | 999989 | -1 | 100 | 0.0001 | 312 | 328 | -16 | 1600 | 0.0016
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 20 | 17 | 3 | -300 | -0.0003 | 48323 | 46770 | 1553 | -155300 | -0.1553
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 68 | 55 | 13 | -1300 | -0.0013 | 45409 | 43632 | 1777 | -177700 | -0.1777
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 81 | 67 | 14 | -1400 | -0.0014 | 63153 | 61159 | 1994 | -199400 | -0.1994
[10 empty] | -1.924 |  |  |  |  | -6.744
JUNE 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.8439 |  |  |  |  | 0.7959
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.924 |  |  |  |  | -6.744
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1302 |  |  |  |  | -0.3981
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.21033 |  |  |  |  | -6.3462
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.061 |  |  |  |  | 6.667
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.14933 |  |  |  |  | 0.32077
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.14933 | (REACTIVE MUs) |  |  |  | 0.32077 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.034172 | (REACTIVE MUs) |  |  |  | -2.8889 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.11516 | (REACTIVE MUs) |  |  |  | -2.5682 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999983 | 999981 | 2 | 2000 | 0.002 | 12260 | 11358 | 902 | 902000 | 0.902
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 14540 | 7717 | 6823 | 682300 | 0.6823 | 680195 | 681741 | -1546 | -154600 | -0.1546
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 360 | 327 | 33 | 33000 | 0.033 | 42320 | 41013 | 1307 | 1307000 | 1.307
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 300 | 2214 | 614 | 1600 | 480000 | 0.48 | 234 | 328 | -94 | -28200 | -0.0282
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 997821 | 996580 | 1241 | 248200 | 0.2482 | 986858 | 987156 | -298 | -59600 | -0.0596
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2384 | 545 | 1839 | 183900 | 0.1839 | 69461 | 66467 | 2994 | 299400 | 0.2994
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 13033 | 7582 | 5451 | 545100 | 0.5451 | 267661 | 268486 | -825 | -82500 | -0.0825
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000035 | 999993 | 42 | 4200 | 0.0042 | 310014 | 309363 | 651 | 65100 | 0.0651 | Roll Over
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999978 | 0 | 0 | 0 | 7394 | 7003 | 391 | 391000 | 0.391
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998546 | 998549 | -3 | 3000 | 0.003 | 974823 | 977446 | -2623 | 2623000 | 2.623
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997773 | 997777 | -4 | 4000 | 0.004 | 976046 | 978618 | -2572 | 2572000 | 2.572
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997948 | 997962 | -14 | 14000 | 0.014 | 970264 | 973507 | -3243 | 3243000 | 3.243
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998438 | 998432 | 6 | -6000 | -0.006 | 976817 | 977591 | -774 | 774000 | 0.774
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2343 | 2337 | 6 | -6000 | -0.006 | 31128 | 30854 | 274 | -274000 | -0.274
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999866 | 55 | -55000 | -0.055 | 981411 | 983367 | -1956 | 1956000 | 1.956
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34619 | 34401 | 218 | -218000 | -0.218 | 24976 | 22852 | 2124 | -2124000 | -2.124
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5238 | 5200 | 38 | -38000 | -0.038 | 14918 | 14925 | -7 | 7000 | 0.007
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22043 | 21821 | 222 | -222000 | -0.222 | 12859 | 11124 | 1735 | -1735000 | -1.735
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8238 | 8157 | 81 | -81000 | -0.081 | 36267 | 33688 | 2579 | -2579000 | -2.579
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3239 | 3240 | -1 | -1000 | -0.001 | 3203 | 3217 | -14 | -14000 | -0.014
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3602 | 3600 | 2 | 2000 | 0.002 | 3412 | 3393 | 19 | 19000 | 0.019
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988627 | 988689 | -62 | 62000 | 0.062 | 918670 | 921763 | -3093 | 3093000 | 3.093
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998717 | 998717 | 0 | 0 | 0 | 902523 | 906093 | -3570 | 3570000 | 3.57
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 9305 | 4748 | 4557 | -4557000 | -4.557
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 1003779 | 999224 | 4555 | -4555000 | -4.555 | ROLL OVER
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996158 | 996158 | 0 | 0 | 0 | 966656 | 968809 | -2153 | 2153000 | 2.153
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977658 | -515 | 515000 | 0.515
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 976657 | 975966 | 691 | -691000 | -0.691
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 975179 | 974743 | 436 | -436000 | -0.436
BRPL(+) continue | [15 empty] | JUNE 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 589 | 588 | 1 | -1000 | -0.001 | 989430 | 988205 | 1225 | -1225000 | -1.225
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1802 | 1802 | 0 | 0 | 0 | 5386 | 4111 | 1275 | -1275000 | -1.275
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989395 | 989189 | 206 | -206000 | -0.206 | 984455 | 982764 | 1691 | -1691000 | -1.691
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999703 | 999703 | 0 | 0 | 0 | 956763 | 960841 | -4078 | 4078000 | 4.078
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3515 | 2965 | 550 | -550000 | -0.55 | 975905 | 975621 | 284 | -284000 | -0.284
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999879 | 999879 | 0 | 0 | 0 | 976511 | 979241 | -2730 | 2730000 | 2.73
PARK STREET
36 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 999978 | 0 | 0 | 0 | 35439 | 34451 | 988 | 988000 | 0.988
37 | 66KV R VALLEY-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999917 | 999910 | 7 | 7000 | 0.007 | 22206 | 22064 | 142 | 142000 | 0.142
|  | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999998 | 1000000 | -2 | -2666.66 | -0.0026667 | 202 | 0 | 202 | 269332.66 | 0.26933 | ROLL OVER
SARITA VIHAR
38 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 750 | 750 | 0 | 0 | 0 | 986419 | 985669 | 750 | -750000 | -0.75
39 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 325 | 310 | 15 | -15000 | -0.015 | 987883 | 985452 | 2431 | -2431000 | -2.431
NARAINA
40 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3215 | 2937 | 278 | 27800 | 0.0278 | 6711 | 5788 | 923 | 92300 | 0.0923
SUDARSHAN PARK
41 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 27497 | 27098 | 399 | 39900 | 0.0399 | 137748 | 131715 | 6033 | 603300 | 0.6033
REWARI LINE
43 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
44 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991944 | 992523 | -579 | -579000 | -0.579 | 994653 | 995181 | -528 | -528000 | -0.528
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.35773 |  |  |  |  | 6.9185
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 996202 | 996354 | -152 | -15200 | -0.0152 | 869703 | 877183 | -7480 | -748000 | -0.748
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 55239 | 50912 | 4327 | -432700 | -0.4327 | 1626 | 1667 | -41 | 4100 | 0.0041
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 1005242 | 999753 | 5489 | -548900 | -0.5489 | 999411 | 999395 | 16 | -1600 | -0.0016 | ROLL OVER
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 365 | -94 | 9400 | 0.0094 | 999997 | 999997 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 79 | 215 | -136 | 13600 | 0.0136 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 619984 | 607417 | 12567 | -1256700 | -1.2567 | 42745 | 42428 | 317 | -31700 | -0.0317
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 279 | 82 | 197 | -197000 | -0.197 | 519 | 453 | 66 | -66000 | -0.066
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 577240 | 563096 | 14144 | -1414400 | -1.4144 | 37683 | 37421 | 262 | -26200 | -0.0262
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 3426 | 3403 | 23 | -2300 | -0.0023 | 45331 | 42739 | 2592 | -259200 | -0.2592
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6609 | 6537 | 72 | -7200 | -0.0072 | 42638 | 40006 | 2632 | -263200 | -0.2632
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 27977 | 27893 | 84 | -8400 | -0.0084 | 90600 | 85992 | 4608 | -460800 | -0.4608
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 3281 | 1566 | 1715 | -171500 | -0.1715 | 598169 | 590885 | 7284 | -728400 | -0.7284
13 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 64446 | 62477 | 1969 | -196900 | -0.1969 | 122397 | 114446 | 7951 | -795100 | -0.7951
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145880 | 145888 | -8 | -800 | -0.0008 | 24436 | 24470 | -34 | -3400 | -0.0034
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 729 | 709 | 20 | -2000 | -0.002 | 10571 | 10432 | 139 | -13900 | -0.0139
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7129 | 7125 | 4 | -400 | -0.0004 | 29806 | 24542 | 5264 | -526400 | -0.5264
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902518 | ELSTER | Kvarh(Lead/Lag) | -100 | 3568 | 3466 | 102 | -10200 | -0.0102 | 14982 | 14081 | 901 | -90100 | -0.0901
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 6576 | 6252 | 324 | -32400 | -0.0324 | 22947 | 19907 | 3040 | -304000 | -0.304
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9673 | 8441 | 1232 | -123200 | -0.1232 | 30368 | 29280 | 1088 | -108800 | -0.1088
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 22849 | 22002 | 847 | -84700 | -0.0847 | 7885 | 7572 | 313 | -31300 | -0.0313
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 758 | 747 | 11 | -1100 | -0.0011 | 177 | 165 | 12 | -1200 | -0.0012
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 8717 | 8538 | 179 | -17900 | -0.0179 | 7423 | 6936 | 487 | -48700 | -0.0487
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998080 | 998154 | -74 | 7400 | 0.0074 | 7 | 40 | -33 | 3300 | 0.0033
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 835 | 836 | -1 | -100 | -0.0001
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999543 | 999550 | -7 | 700 | 0.0007 | 999136 | 999136 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.4928 |  |  |  |  | -4.5007
JUNE 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.35773 |  |  |  |  | 6.9185
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.4928 |  |  |  |  | -4.5007
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.2651 |  |  |  |  | 3.5593
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.05305 |  |  |  |  | -0.61825
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.923 |  |  |  |  | 5.3589
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.923 | (REACTIVE MUs) |  |  |  | 5.3589 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.058503 | (REACTIVE MUs) |  |  |  | -4.946 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.8645 | (REACTIVE MUs) |  |  |  | 0.4129 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 1395 | 1338 | 57 | 5700 | 0.0057 | 44340 | 44213 | 127 | 12700 | 0.0127
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 1169 | 1130 | 39 | 3900 | 0.0039 | 101793 | 97333 | 4460 | 446000 | 0.446
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999794 | 999807 | -13 | -1300 | -0.0013 | 3792 | 6797 | -3005 | -300500 | -0.3005
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 2901 | 2719 | 182 | 18200 | 0.0182 | 59336 | 53110 | 6226 | 622600 | 0.6226
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 23602 | 21845 | 1757 | 1757000 | 1.757 | 225 | 194 | 31 | 31000 | 0.031
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 19 | 2 | 17 | 1700 | 0.0017 | 254420 | 245794 | 8626 | 862600 | 0.8626
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 114 | 51 | 63 | 6300 | 0.0063 | 379944 | 370364 | 9580 | 958000 | 0.958
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 345 | 198 | 147 | 14700 | 0.0147 | 161334 | 157890 | 3444 | 344400 | 0.3444
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 170 | 62 | 108 | 10800 | 0.0108 | 280018 | 275555 | 4463 | 446300 | 0.4463
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 73 | 37 | 36 | 3600 | 0.0036 | 182274 | 175700 | 6574 | 657400 | 0.6574
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 74 | 116 | -42 | -4200 | -0.0042 | 123609 | 124235 | -626 | -62600 | -0.0626
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 276 | 96 | 180 | 18000 | 0.018 | 162162 | 158330 | 3832 | 383200 | 0.3832
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 289 | 109 | 180 | 18000 | 0.018 | 201856 | 196684 | 5172 | 517200 | 0.5172
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 33291 | 29183 | 4108 | 4518800 | 4.5188
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4489 | 4683 | -194 | -194000 | -0.194 | 36001 | 35991 | 10 | 10000 | 0.01
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 101855 | 98707 | 3148 | 3462800 | 3.4628
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6717 | 6342 | 375 | 375000 | 0.375 | 48016 | 47964 | 52 | 52000 | 0.052
[10 empty] | 0.181 |  |  |  |  | 8.0436
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 619984 | 607417 | 12567 | 1256700 | 1.2567 | 42745 | 42428 | 317 | 31700 | 0.0317
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 279 | 82 | 197 | 197000 | 0.197 | 519 | 453 | 66 | 66000 | 0.066
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 577240 | 563096 | 14144 | 1414400 | 1.4144 | 37683 | 37421 | 262 | 26200 | 0.0262
A.I.I.M.S.
21 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 3281 | 1566 | 1715 | 171500 | 0.1715 | 598169 | 590885 | 7284 | 728400 | 0.7284
22 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 64446 | 62477 | 1969 | 196900 | 0.1969 | 122397 | 114446 | 7951 | 795100 | 0.7951
| NDMC(+) Continue… | [14 empty] | JUNE 2010
KIDWAI NAGAR
23 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145880 | 145888 | -8 | 800 | 0.0008 | 24436 | 24470 | -34 | 3400 | 0.0034
EXHIBITION I
24 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 729 | 709 | 20 | 2000 | 0.002 | 10571 | 10432 | 139 | 13900 | 0.0139
25 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
26 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 3426 | 3403 | 23 | 2300 | 0.0023 | 45331 | 42739 | 2592 | 259200 | 0.2592
27 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6609 | 6537 | 72 | 7200 | 0.0072 | 42638 | 40006 | 2632 | 263200 | 0.2632
28 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 27977 | 27893 | 84 | 8400 | 0.0084 | 90600 | 85992 | 4608 | 460800 | 0.4608
TILAK MARG
29 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 996202 | 996354 | -152 | 15200 | 0.0152 | 869703 | 877183 | -7480 | 748000 | 0.748
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.3058 |  |  |  |  | 16.3578
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.3058 |  |  |  |  | 16.3578
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0075023 |  |  |  |  | -0.63425
| TOTAL ENERGY TO NDMC | [8 empty] | 5.3133 |  |  |  |  | 15.7235

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 210 | 210 | 0 | 0 | 0 | 10726 | 10199 | 527 | 527000 | 0.527
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 123 | 122 | 1 | 1000 | 0.001 | 14021 | 13103 | 918 | 918000 | 0.918
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 40 | 0 | 0 | 0 | 20461 | 19515 | 946 | 946000 | 0.946
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 10637 | 10166 | 471 | 471000 | 0.471
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 354 | 278 | 76 | 76000 | 0.076 | 4734 | 4166 | 568 | 568000 | 0.568
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 365 | -94 | -9400 | -0.0094 | 999997 | 999997 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 215 | -136 | -13600 | -0.0136 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.054 |  |  |  |  | 3.43
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3021 | 3021 | 0 | 0 | 0 | 31348 | 31258 | 90 | 9000 | 0.009
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 18802 | 18735 | 67 | 6700 | 0.0067 | 47893 | 45826 | 2067 | 206700 | 0.2067
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61087 | 61083 | 4 | 400 | 0.0004 | 4705 | 4691 | 14 | 1400 | 0.0014
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 9350 | 9316 | 34 | 3400 | 0.0034 | 32379 | 30392 | 1987 | 198700 | 0.1987
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999925 | 999918 | 7 | 700 | 0.0007 | 13063 | 12542 | 521 | 52100 | 0.0521
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 64117 | 63658 | 459 | 45900 | 0.0459 | 20598 | 18429 | 2169 | 216900 | 0.2169
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 209 | 203 | 6 | 600 | 0.0006 | 798 | 758 | 40 | 4000 | 0.004
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0577 |  |  |  |  | 0.6888
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 2935 | 2842 | 93 | 4650 | 0.00465 | 15868 | 14457 | 1411 | 70550 | 0.07055
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.00465 |  |  |  |  | 0.07055
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.05305 |  |  |  |  | 0.61825
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.054 |  |  |  |  | 3.43
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.10705 |  |  |  |  | 4.0483
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.10705 | (REACTIVE MUs) |  |  |  | 4.0483 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0010546 | (REACTIVE MUs) |  |  |  | -0.089161 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.1081 | (REACTIVE MUs) |  |  |  | 3.9591 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 56916 | 55587 | 1329 | 132900 | 0.1329 | 70499 | 65826 | 4673 | 467300 | 0.4673
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6666 | 6999 | -333 | -33300 | -0.0333 | 75 | 838 | -763 | -76300 | -0.0763
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 122078 | 119740 | 2338 | 233800 | 0.2338 | 81452 | 73609 | 7843 | 784300 | 0.7843
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8896 | 9075 | -179 | -179000 | -0.179 | 15886 | 15202 | 684 | 684000 | 0.684
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994820 | 994835 | -15 | 7500 | 0.0075 | 970429 | 973489 | -3060 | 1530000 | 1.53
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 996179 | 996386 | -207 | 103500 | 0.1035 | 992073 | 992413 | -340 | 170000 | 0.17
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999990 | -1 | -300 | -0.0003 | 999905 | 999905 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.2651 |  |  |  |  | 3.5593
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 967152 | 967686 | -534 | -53400 | -0.0534 | 991269 | 992715 | -1446 | -144600 | -0.1446
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 960445 | 961213 | -768 | -76800 | -0.0768 | 935864 | 938399 | -2535 | -253500 | -0.2535
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1302 |  |  |  |  | -0.3981
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 100 | 126295 | 122746 | 3549 | 354900 | 0.3549 | 236617 | 227314 | 9303 | 930300 | 0.9303
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 22190 | 22176 | 14 | 2800 | 0.0028 | 36431 | 35232 | 1199 | 239800 | 0.2398
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 13489 | 13520 | -31 | -3100 | -0.0031 | 63337 | 61146 | 2191 | 219100 | 0.2191
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993625 | 993707 | -82 | -82000 | -0.082 | 997486 | 997454 | 32 | 32000 | 0.032
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 990150 | 990304 | -154 | -15400 | -0.0154 | 8351 | 8684 | -333 | -33300 | -0.0333
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 997024 | 997102 | -78 | 39000 | 0.039 | 996156 | 996372 | -216 | 108000 | 0.108
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999990 | -1 | 300 | 0.0003 | 999905 | 999905 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.2965 |  |  |  |  | 1.4959
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.2651 |  |  |  |  | 3.5593
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1302 |  |  |  |  | -0.3981
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.2965 |  |  |  |  | 1.4959

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 4883 | 5055 | -172 | -344000 | -0.344 | 999835 | 999731 | 104 | 208000 | 0.208
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 1000 | 3600 | 3600 | 0 | 0 | 0 | 999611 | 999611 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.344 |  |  | NET REACTIVE ENERGY |  | 0.208
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 38262 | 35282 | 2980 | 2980000 | 2.98
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991578 | 991579 | -1 | -1000 | -0.001 | 987189 | 988154 | -965 | -965000 | -0.965
[8 empty] | NET REACTIVE ENERGY |  | -0.001 |  |  | NET REACTIVE ENERGY |  | 2.015
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.345 |  |  |  |  | 2.223
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0224 |  |  |  |  | 1.7045
[7 empty] | NDMC = |  |  | 0.181 |  |  |  |  | 8.0436
MES =
[7 empty] | 2)TOTAL |  |  | 0.2034 |  |  |  |  | 9.7481
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.1416 |  |  |  |  | 11.9711
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5084 | % |  |  | -0.040368 |  |  |  |  | 3.4128
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.316 | % |  |  | -0.058503 |  |  |  |  | 4.946
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1326 | % |  |  | -0.034172 |  |  |  |  | 2.8889
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2982 | % |  |  | -0.0075023 |  |  |  |  | 0.63425
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7448 | % |  |  | -0.0010546 |  |  |  |  | 0.089161
Note :Sharing taken from wk-11 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2010 TO 30th JUNE-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.57488 |  | -14.3908
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.8645 | + | 0.4129
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.11516 |  | -2.5682
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.3133 | + | 15.7235
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.1081 | + | 3.9591
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/10 | INTIAL READING 01/06/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 991617 | 991700 | -83 | -124500 | -0.1245 | 982927 | 984826 | -1899 | -2848500 | -2.8485
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 992816 | 992895 | -79 | -118500 | -0.1185 | 988364 | 989921 | -1557 | -2335500 | -2.3355
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 955139 | 955338 | -199 | -298500 | -0.2985 | 973501 | 976582 | -3081 | -4621500 | -4.6215
[8 empty] | NET REACTIVE ENERGY |  | -0.5415 |  |  | NET REACTIVE ENERGY |  | -9.8055
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 999336 | 999927 | -591 | -591000 | -0.591 | 38741 | 38426 | 315 | 315000 | 0.315
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 205 | 187 | 18 | 18000 | 0.018 | 14441 | 13391 | 1050 | 1050000 | 1.05
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 994846 | 997466 | -2620 | -2620000 | -2.62 | 993590 | 994116 | -526 | -526000 | -0.526
[8 empty] | NET REACTIVE ENERGY |  | -3.193 |  |  | NET REACTIVE ENERGY |  | 0.839