## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15621 | 15613 | 8 | -8000 | -0.008 | 978380 | 978406 | -26 | 26000 | 0.026
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000007 | 999996 | 11 | -11000 | -0.011 | 999693 | 999697 | -4 | 4000 | 0.004 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17003 | 16999 | 4 | -4000 | -0.004 | 996656 | 997127 | -471 | 471000 | 0.471
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974210 | 974210 | 0 | 0 | 0 | 977787 | 978067 | -280 | 280000 | 0.28
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921658 | 921655 | 3 | -3000 | -0.003 | 949051 | 949700 | -649 | 649000 | 0.649
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18697 | 18697 | 0 | 0 | 0 | 17083 | 16472 | 611 | -611000 | -0.611
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19612 | 19612 | 0 | 0 | 0 | 13098 | 12595 | 503 | -503000 | -0.503
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16661 | 16638 | 23 | -28750 | -0.02875 | 996490 | 996535 | -45 | 56250 | 0.05625
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15430 | 15390 | 40 | -40000 | -0.04 | 986571 | 986720 | -149 | 149000 | 0.149
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33359 | 33353 | 6 | -6000 | -0.006 | 9700 | 9760 | -60 | 60000 | 0.06
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999861 | 999850 | 11 | -11000 | -0.011 | 4096 | 4141 | -45 | 45000 | 0.045
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997215 | 997224 | -9 | 9000 | 0.009 | 999649 | 999511 | 138 | -138000 | -0.138
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947544 | 947634 | -90 | -90000 | -0.09 | 920539 | 920550 | -11 | -11000 | -0.011
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997190 | 997190 | 0 | 0 | 0 | 17070 | 17038 | 32 | -32000 | -0.032
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999614 | 999614 | 0 | 0 | 0 | 19630 | 19545 | 85 | -85000 | -0.085
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 757 | 753 | 4 | -4000 | -0.004 | 20835 | 20688 | 147 | -147000 | -0.147
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999545 | 0 | 0 | 0 | 27179 | 27123 | 56 | 56000 | 0.056
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 218 | 0 | 0 | 0 | 27518 | 27055 | 463 | 463000 | 0.463
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2338 | 2338 | 0 | 0 | 0 | 129696 | 125852 | 3844 | 384400 | 0.3844
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4214 | 4214 | 0 | 0 | 0 | 188737 | 180051 | 8686 | 868600 | 0.8686
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 998028 | 997964 | 64 | 64000 | 0.064
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 3491 | 2702 | 789 | 789000 | 0.789
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652730 | 652730 | 0 | 0 | 0 | 800478 | 801333 | -855 | -855000 | -0.855
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659799 | 659799 | 0 | 0 | 0 | 833590 | 833773 | -183 | -183000 | -0.183
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991634 | 991634 | 0 | 0 | 0 | 998356 | 998462 | -106 | -106000 | -0.106
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 112 | 112 | 0 | 0 | 0 | 999952 | 999892 | 60 | 30000 | 0.03
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8262 | 8237 | 25 | -25000 | -0.025 | 981918 | 981888 | 30 | -30000 | -0.03
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 98 | 101 | -3 | 3000 | 0.003 | 948336 | 948533 | -197 | 197000 | 0.197
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991578 | 991578 | 0 | 0 | 0 | 930140 | 932342 | -2202 | 2202000 | 2.202
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999499 | 999485 | 14 | -14000 | -0.014 | 999984 | 1000000 | -16 | 16000 | 0.016 | ROLL OVER
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14157 | 12624 | 1533 | -1533000 | -1.533 | 999947 | 999970 | -23 | 23000 | 0.023
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 748 | 746 | 2 | 2000 | 0.002 | 17070 | 16564 | 506 | 506000 | 0.506
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999668 | 999666 | 2 | 2000 | 0.002 | 3195 | 3231 | -36 | -36000 | -0.036
| NDPL(+) continue | [14 empty] | JUNE-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1363 | 1363 | 0 | 0 | 0 | 58732 | 57042 | 1690 | 1690000 | 1.69
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14240 | 14240 | 0 | 0 | 0 | 65217 | 65011 | 206 | 20600 | 0.0206
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8860 | 8860 | 0 | 0 | 0 | 19115 | 16927 | 2188 | 218800 | 0.2188
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9691 | 9691 | 0 | 0 | 0 | 33348 | 32330 | 1018 | 101800 | 0.1018
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13767 | 13769 | -2 | -200 | -0.0002 | 43021 | 41706 | 1315 | 131500 | 0.1315
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 33703 | 33529 | 174 | 17400 | 0.0174 | 11964 | 11611 | 353 | 35300 | 0.0353
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16281 | 16042 | 239 | 23900 | 0.0239 | 11720 | 11567 | 153 | 15300 | 0.0153
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997133 | 997137 | -4 | -400 | -0.0004 | 1510 | 1403 | 107 | 10700 | 0.0107
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5132 | 0 | 0 | 0 | 24178 | 23443 | 735 | 367500 | 0.3675
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3313 | 0 | 0 | 0 | 22166 | 21301 | 865 | 432500 | 0.4325
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3427 | 3366 | 61 | 30500 | 0.0305 | 14024 | 14020 | 4 | 2000 | 0.002
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3548 | 3357 | 191 | 95500 | 0.0955 | 16616 | 16592 | 24 | 12000 | 0.012
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999033 | 999037 | -4 | -400 | -0.0004 | 6014 | 5879 | 135 | 13500 | 0.0135
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3962 | 3917 | 45 | 4500 | 0.0045 | 14854 | 14025 | 829 | 82900 | 0.0829
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 10473 | 10274 | 199 | 19900 | 0.0199 | 50576 | 49063 | 1513 | 151300 | 0.1513
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 7976 | 7988 | -12 | -1200 | -0.0012 | 18968 | 18984 | -16 | -1600 | -0.0016
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999375 | 999383 | -8 | -800 | -0.0008 | 221 | 243 | -22 | -2200 | -0.0022
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 6383 | 4666 | 1717 | 171700 | 0.1717 | 64848 | 64097 | 751 | 75100 | 0.0751
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 6149 | 5711 | 438 | 43800 | 0.0438 | 55138 | 54305 | 833 | 83300 | 0.0833
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 7185 | 6696 | 489 | 48900 | 0.0489 | 79832 | 78796 | 1036 | 103600 | 0.1036
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 115941 | 115939 | 2 | 200 | 0.0002 | 26632 | 28381 | -1749 | -174900 | -0.1749
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16587 | 16587 | 0 | 0 | 0 | 36272 | 34256 | 2016 | 201600 | 0.2016
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1295 | 1336 | -41 | -32800 | -0.0328 | 295 | 65 | 230 | 184000 | 0.184
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.3412 |  |  |  |  | 8.3568
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 7549 | 6890 | 659 | -65900 | -0.0659 | 11289 | 10664 | 625 | -62500 | -0.0625
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6389 | 6387 | 2 | -2000 | -0.002 | 6534 | 5164 | 1370 | -1370000 | -1.37
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13350 | 13350 | 0 | 0 | 0 | 25939 | 25521 | 418 | -418000 | -0.418
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38206 | 38270 | -64 | 6400 | 0.0064 | 147033 | 147052 | -19 | 1900 | 0.0019
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973399 | 973532 | -133 | 133000 | 0.133 | 992550 | 992660 | -110 | 110000 | 0.11
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999531 | 3 | 6000 | 0.006 | 999983 | 999998 | -15 | -30000 | -0.03
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.0775 |  |  |  |  | -1.7686
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.3412 |  |  |  |  | 8.3568
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.0775 |  |  |  |  | -1.7686
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0707 |  |  |  |  | 0.55914
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.193 |  |  |  |  | 7.1474
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.193 | (REACTIVE MUs) |  |  |  | 7.1474 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0162 | (REACTIVE MUs) |  |  |  | -0.63014 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.2093 | (REACTIVE MUs) |  |  |  | 6.5172 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988676 | 988676 | 0 | 0 | 0 | 71470 | 77035 | -5565 | -556500 | -0.5565
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17348 | 17257 | 91 | 9100 | 0.0091 | 4583 | 5572 | -989 | -98900 | -0.0989
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23337 | 23384 | -47 | -4700 | -0.0047 | 23123 | 30716 | -7593 | -759300 | -0.7593
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998668 | 998674 | -6 | -600 | -0.0006 | 8199 | 7959 | 240 | 24000 | 0.024
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8902 | 8902 | 0 | 0 | 0 | 77684 | 78002 | -318 | -31800 | -0.0318
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 714 | 714 | 0 | 0 | 0 | 48479 | 50325 | -1846 | -184600 | -0.1846
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999574 | 999574 | 0 | 0 | 0 | 999755 | 999767 | -12 | -12000 | -0.012
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999791 | 999791 | 0 | 0 | 0 | 2292 | 2344 | -52 | -52000 | -0.052
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 396 | 396 | 0 | 0 | 0 | 1762 | 1710 | 52 | 52000 | 0.052
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 83 | 83 | 0 | 0 | 0 | 3094 | 3220 | -126 | -126000 | -0.126
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999699 | 999703 | -4 | -4000 | -0.004 | 3251 | 2859 | 392 | 392000 | 0.392
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 476 | 476 | 0 | 0 | 0 | 724 | 1045 | -321 | -321000 | -0.321
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 156 | 156 | 0 | 0 | 0 | 14955 | 15022 | -67 | -67000 | -0.067
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 299 | 300 | -1 | -1000 | -0.001 | 35043 | 34821 | 222 | 222000 | 0.222
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 256 | 256 | 0 | 0 | 0 | 13623 | 12835 | 788 | 788000 | 0.788
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 251 | 251 | 0 | 0 | 0 | 4993 | 5629 | -636 | -636000 | -0.636
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 32437 | 32338 | 99 | 9900 | 0.0099 | 620 | 549 | 71 | 7100 | 0.0071
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998535 | 998535 | 0 | 0 | 0 | 8922 | 8512 | 410 | 410000 | 0.41
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 814485 | 817023 | -2538 | -2791800 | -2.7918
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 856856 | 859355 | -2499 | -2748900 | -2.7489
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991968 | 991969 | -1 | -1000 | -0.001 | 9919 | 10042 | -123 | -123000 | -0.123
| KASHMIRI GATE | [8 empty] | 0.0039 |  |  |  |  | -5.0066
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964880 | 964880 | 0 | 0 | 0 | 976162 | 977591 | -1429 | 1429000 | 1.429
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981038 | 981038 | 0 | 0 | 0 | 979748 | 982821 | -3073 | 3073000 | 3.073
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 60416 | 58796 | 1620 | 1620000 | 1.62
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10492 | 10486 | 6 | -6000 | -0.006 | 973474 | 974314 | -840 | 840000 | 0.84
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7059 | 7048 | 11 | -11000 | -0.011 | 975542 | 976277 | -735 | 735000 | 0.735
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 523 | 79 | 444 | -444000 | -0.444 | 999983 | 999968 | 15 | -15000 | -0.015
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989534 | 989453 | 81 | -81000 | -0.081 | 995500 | 995751 | -251 | 251000 | 0.251
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13350 | 13350 | 0 | 0 | 0 | 25939 | 25521 | 418 | 418000 | 0.418
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97242 | 97413 | -171 | -17100 | -0.0171 | 1653 | 1704 | -51 | -5100 | -0.0051
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 63206 | 62006 | 1200 | 120000 | 0.12 | 999901 | 999676 | 225 | 22500 | 0.0225
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.4314 |  |  |  |  | 1.7547
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.4314 |  |  |  |  | 1.7547
JUNE-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996818 | 996818 | 0 | 0 | 0 | 936858 | 937719 | -861 | 861000 | 0.861
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15159 | 15159 | 0 | 0 | 0 | 955821 | 956363 | -542 | 542000 | 0.542
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12904 | 12904 | 0 | 0 | 0 | 943033 | 944152 | -1119 | 1119000 | 1.119
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947984 | 947983 | 1 | -1000 | -0.001 | 993438 | 993712 | -274 | 274000 | 0.274
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938419 | 938404 | 15 | -15000 | -0.015 | 991753 | 992009 | -256 | 256000 | 0.256
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138 | 129 | 9 | -9000 | -0.009 | 993753 | 993116 | 637 | -637000 | -0.637
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 981867 | 982918 | -1051 | 1051000 | 1.051
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998631 | 0 | 0 | 0 | 989399 | 989312 | 87 | -174000 | -0.174
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12586 | 12553 | 33 | -33000 | -0.033 | 956264 | 956470 | -206 | 206000 | 0.206
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966045 | 966045 | 0 | 0 | 0 | 886440 | 893280 | -6840 | 6840000 | 6.84
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21441 | 21429 | 12 | -12000 | -0.012 | 31409 | 30359 | 1050 | -1050000 | -1.05
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19325 | 19323 | 2 | -2000 | -0.002 | 38879 | 36988 | 1891 | -1891000 | -1.891
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.072 |  |  |  |  | 7.397
| (B) NET ENERGY TO EAST | [8 empty] | -0.072 |  |  |  |  | 7.397
JUNE-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991634 | 991634 | 0 | 0 | 0 | 998356 | 998462 | -106 | 106000 | 0.106
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 112 | 112 | 0 | 0 | 0 | 999952 | 999892 | 60 | -30000 | -0.03
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 27794 | 27275 | 519 | -103800 | -0.1038 | 63541 | 62596 | 945 | -189000 | -0.189
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 48995 | 46676 | 2319 | -231900 | -0.2319 | 123008 | 121609 | 1399 | -139900 | -0.1399
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 987862 | 987970 | -108 | 21600 | 0.0216 | 4167 | 4288 | -121 | 24200 | 0.0242
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 50272 | 49134 | 1138 | -227600 | -0.2276 | 81053 | 80375 | 678 | -135600 | -0.1356
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69072 | 68842 | 230 | -230000 | -0.23 | 591 | 249 | 342 | -342000 | -0.342
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11131 | 10280 | 851 | -851000 | -0.851 | 369 | 63 | 306 | -306000 | -0.306
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 993428 | 993430 | -2 | 1600 | 0.0016 | 997938 | 998305 | -367 | 293600 | 0.2936
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3684 | 3685 | -1 | 800 | 0.0008 | 341 | 193 | 148 | -118400 | -0.1184
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996831 | 996833 | -2 | 2000 | 0.002 | 37914 | 38096 | -182 | 182000 | 0.182
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996782 | 996787 | -5 | 6666.65 | 0.0066666 | 344 | 502 | -158 | 210666.14 | 0.21067
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 748 | 746 | 2 | -2000 | -0.002 | 17070 | 16564 | 506 | -506000 | -0.506
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999668 | 999666 | 2 | -2000 | -0.002 | 3195 | 3231 | -36 | 36000 | 0.036
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1363 | 1363 | 0 | 0 | 0 | 58732 | 57042 | 1690 | -1690000 | -1.69
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5132 | 0 | 0 | 0 | 24178 | 23443 | 735 | -367500 | -0.3675
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3313 | 0 | 0 | 0 | 22166 | 21301 | 865 | -432500 | -0.4325
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3427 | 3366 | 61 | -30500 | -0.0305 | 14024 | 14020 | 4 | -2000 | -0.002
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3548 | 3357 | 191 | -95500 | -0.0955 | 16616 | 16592 | 24 | -12000 | -0.012
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 115941 | 115939 | 2 | -200 | -0.0002 | 26632 | 28381 | -1749 | 174900 | 0.1749
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16587 | 16587 | 0 | 0 | 0 | 36272 | 34256 | 2016 | -201600 | -0.2016
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999033 | 999037 | -4 | 400 | 0.0004 | 6014 | 5879 | 135 | -13500 | -0.0135
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3962 | 3917 | 45 | -4500 | -0.0045 | 14854 | 14025 | 829 | -82900 | -0.0829
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 10473 | 10274 | 199 | -19900 | -0.0199 | 50576 | 49063 | 1513 | -151300 | -0.1513
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 7976 | 7988 | -12 | 1200 | 0.0012 | 18968 | 18984 | -16 | 1600 | 0.0016
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999375 | 999383 | -8 | 800 | 0.0008 | 221 | 243 | -22 | 2200 | 0.0022
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 6383 | 4666 | 1717 | -171700 | -0.1717 | 64848 | 64097 | 751 | -75100 | -0.0751
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 6149 | 5711 | 438 | -43800 | -0.0438 | 55138 | 54305 | 833 | -83300 | -0.0833
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 7185 | 6696 | 489 | -48900 | -0.0489 | 79832 | 78796 | 1036 | -103600 | -0.1036
[10 empty] | -2.0282 |  |  |  |  | -3.951
JUNE-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.4314 |  |  |  |  | 1.7547
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.0282 |  |  |  |  | -3.951
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0649 |  |  |  |  | -0.0717
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.5245 |  |  |  |  | -2.268
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.072 |  |  |  |  | 7.397
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -2.5965 |  |  |  |  | 5.129
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.5965 | (REACTIVE MUs) |  |  |  | 5.129 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.014091 | (REACTIVE MUs) |  |  |  | -0.54809 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.6106 | (REACTIVE MUs) |  |  |  | 4.5809 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998207 | 998208 | -1 | -1000 | -0.001 | 10564 | 10616 | -52 | -52000 | -0.052
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990402 | 990404 | -2 | -2666.66 | -0.0026667 | 676661 | 677212 | -551 | -734664.83 | -0.73466
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6702 | 6702 | 0 | 0 | 0 | 52121 | 49306 | 2815 | 2815000 | 2.815
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10885 | 10906 | -21 | -21000 | -0.021 | 555 | 728 | -173 | -173000 | -0.173
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7509 | 7509 | 0 | 0 | 0 | 97316 | 91041 | 6275 | 627500 | 0.6275
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 39815 | 39903 | -88 | -8800 | -0.0088 | 260904 | 267832 | -6928 | -692800 | -0.6928
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8482 | 8476 | 6 | 600 | 0.0006 | 373222 | 359514 | 13708 | 1370800 | 1.3708
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999966 | 999965 | 1 | 900 | 0.0009 | 342 | 131 | 211 | 189900 | 0.1899 | CT RATIO CHANGE
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992883 | 992879 | 4 | -4000 | -0.004 | 958376 | 959855 | -1479 | 1479000 | 1.479
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991195 | 991191 | 4 | -4000 | -0.004 | 961141 | 962621 | -1480 | 1480000 | 1.48
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987623 | 987616 | 7 | -7000 | -0.007 | 945247 | 946663 | -1416 | 1416000 | 1.416
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998242 | 998238 | 4 | -4000 | -0.004 | 961282 | 962721 | -1439 | 1439000 | 1.439
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996016 | 996016 | 0 | 0 | 0 | 989473 | 992636 | -3163 | 3163000 | 3.163
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6833 | 6833 | 0 | 0 | 0 | 993784 | 995603 | -1819 | 1819000 | 1.819
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41701 | 41699 | 2 | -2000 | -0.002 | 23534 | 25341 | -1807 | 1807000 | 1.807
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4844 | 4816 | 28 | -28000 | -0.028 | 9268 | 10063 | -795 | 795000 | 0.795
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25208 | 25204 | 4 | -4000 | -0.004 | 9363 | 11437 | -2074 | 2074000 | 2.074
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19052 | 19004 | 48 | -48000 | -0.048 | 43628 | 42531 | 1097 | -1097000 | -1.097
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6389 | 6387 | 2 | 2000 | 0.002 | 6534 | 5164 | 1370 | 1370000 | 1.37
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943882 | 944351 | -469 | 469000 | 0.469 | 905193 | 906402 | -1209 | 1209000 | 1.209
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982302 | 982529 | -227 | 227000 | 0.227 | 867165 | 868688 | -1523 | 1523000 | 1.523
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 340 | 336 | 4 | -4000 | -0.004 | 989274 | 990540 | -1266 | 1266000 | 1.266
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 454 | 451 | 3 | -3000 | -0.003 | 971492 | 973684 | -2192 | 2192000 | 2.192
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1679 | 1653 | 26 | -26000 | -0.026 | 957381 | 957889 | -508 | 508000 | 0.508
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 900546 | 903332 | -2786 | 2786000 | 2.786
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 883220 | 888279 | -5059 | 5059000 | 5.059
BRPL(+) continue | [14 empty] | JUNE-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999035 | 998910 | 125 | -125000 | -0.125 | 974481 | 974601 | -120 | 120000 | 0.12
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 147 | 91 | 56 | -56000 | -0.056 | 991592 | 991621 | -29 | 29000 | 0.029
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990718 | 990716 | 2 | -4000 | -0.004 | 972633 | 972945 | -312 | 624000 | 0.624
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997524 | 997520 | 4 | -4000 | -0.004 | 930512 | 930951 | -439 | 439000 | 0.439
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1611 | 1508 | 103 | -103000 | -0.103 | 940913 | 942435 | -1522 | 1522000 | 1.522
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997432 | 997413 | 19 | -19000 | -0.019 | 937157 | 937612 | -455 | 455000 | 0.455
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997544 | 997548 | -4 | 2666.664 | 0.0026667 | 997324 | 1000150 | -2826 | 1883998.116 | 1.884 | ROLL OVER
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973223 | 973274 | -51 | 33999.966 | 0.034 | 972347 | 975752 | -3405 | 2269997.73 | 2.27
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 555 | 555 | 0 | 0 | 0 | 1214 | 1214 | 0 | 0 | 0
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997336 | 997336 | 0 | 0 | 0 | 451 | 458 | -7 | 14000 | 0.014
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978171 | 978489 | -318 | 318000 | 0.318 | 998479 | 999915 | -1436 | 1436000 | 1.436
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978114 | 978403 | -289 | 289000 | 0.289 | 999747 | 999997 | -250 | 250000 | 0.25
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999442 | 999585 | -143 | -114400 | -0.1144 | 853 | 636 | 217 | 173600 | 0.1736
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3372 | 3544 | -172 | -137600 | -0.1376 | 576 | 338 | 238 | 190400 | 0.1904
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 989612 | 989700 | -88 | -70400 | -0.0704 | 999755 | 999870 | -115 | -92000 | -0.092
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999531 | 3 | -6000 | -0.006 | 999983 | 999998 | -15 | 30000 | 0.03
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996831 | 996833 | -2 | -2000 | -0.002 | 37914 | 38096 | -182 | -182000 | -0.182
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996782 | 996787 | -5 | -6666.65 | -0.0066666 | 344 | 502 | -158 | -210666.14 | -0.21067
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4121 | 3861 | 260 | -260000 | -0.26 | 981643 | 981872 | -229 | 229000 | 0.229
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999095 | 999095 | 0 | 0 | 0 | 987373 | 989386 | -2013 | 2013000 | 2.013
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 7549 | 6890 | 659 | 65900 | 0.0659 | 11289 | 10664 | 625 | 62500 | 0.0625
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38206 | 38270 | -64 | -6400 | -0.0064 | 147033 | 147052 | -19 | -1900 | -0.0019
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973399 | 973532 | -133 | -133000 | -0.133 | 992550 | 992660 | -110 | -110000 | -0.11
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1429 | 1428 | 1 | 100 | 0.0001 | 5968 | 5353 | 615 | 61500 | 0.0615
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8202 | 8202 | 0 | 0 | 0 | 12777 | 12641 | 136 | 13600 | 0.0136
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.19423 |  |  |  |  | 44.8588
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 4346 | 4207 | 139 | -13900 | -0.0139 | 872054 | 861937 | 10117 | -1011700 | -1.0117
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97242 | 97413 | -171 | 17100 | 0.0171 | 1653 | 1704 | -51 | 5100 | 0.0051
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 63206 | 62006 | 1200 | -120000 | -0.12 | 999901 | 999676 | 225 | -22500 | -0.0225
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999146 | 999176 | -30 | 3000 | 0.003 | 999930 | 999970 | -40 | 4000 | 0.004
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 999016 | 999062 | -46 | 4600 | 0.0046 | 999957 | 999995 | -38 | 3800 | 0.0038
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 633 | 636 | -3 | 3000 | 0.003 | 72582 | 72589 | -7 | 7000 | 0.007
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7445 | 7453 | -8 | 8000 | 0.008 | 2185 | 2118 | 67 | -67000 | -0.067
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 849211 | 848169 | 1042 | -104200 | -0.1042 | 51235 | 46552 | 4683 | -468300 | -0.4683
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 38130 | 37790 | 340 | -34000 | -0.034 | 52081 | 51558 | 523 | -52300 | -0.0523
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 29213 | 29125 | 88 | -8800 | -0.0088 | 54086 | 53452 | 634 | -63400 | -0.0634
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 66890 | 66334 | 556 | -111200 | -0.1112 | 104130 | 103652 | 478 | -95600 | -0.0956
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865123 | ELSTER | Kvarh(Lead/Lag) | -100 | 55961 | 53940 | 2021 | -202100 | -0.2021 | 13923 | 12599 | 1324 | -132400 | -0.1324 | Check Meter data
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 36580 | 36266 | 314 | -31400 | -0.0314 | 659261 | 648527 | 10734 | -1073400 | -1.0734
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 111299 | 111299 | 0 | 0 | 0 | 231508 | 231508 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 224684 | 223588 | 1096 | -109600 | -0.1096 | 37557 | 36323 | 1234 | -123400 | -0.1234
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 885 | 867 | 18 | -1800 | -0.0018 | 14079 | 13619 | 460 | -46000 | -0.046
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14240 | 14240 | 0 | 0 | 0 | 65217 | 65011 | 206 | -20600 | -0.0206
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8860 | 8860 | 0 | 0 | 0 | 19115 | 16927 | 2188 | -218800 | -0.2188
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9691 | 9691 | 0 | 0 | 0 | 33348 | 32330 | 1018 | -101800 | -0.1018
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13767 | 13769 | -2 | 200 | 0.0002 | 43021 | 41706 | 1315 | -131500 | -0.1315
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 33703 | 33529 | 174 | -17400 | -0.0174 | 11964 | 11611 | 353 | -35300 | -0.0353
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16281 | 16042 | 239 | -23900 | -0.0239 | 11720 | 11567 | 153 | -15300 | -0.0153
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997133 | 997137 | -4 | 400 | 0.0004 | 1510 | 1403 | 107 | -10700 | -0.0107
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.742 |  |  |  |  | -3.6701
JUNE-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.19423 |  |  |  |  | 44.8588
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.742 |  |  |  |  | -3.6701
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.088025 |  |  |  |  | 1.8293
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1089 |  |  |  |  | -0.8298
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.74469 |  |  |  |  | 42.1881
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.74469 | (REACTIVE MUs) |  |  |  | 42.1881 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.025429 | (REACTIVE MUs) |  |  |  | -0.98913 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.77012 | (REACTIVE MUs) |  |  |  | 41.199 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 27794 | 27275 | 519 | 103800 | 0.1038 | 63541 | 62596 | 945 | 189000 | 0.189
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 48995 | 46676 | 2319 | 231900 | 0.2319 | 123008 | 121609 | 1399 | 139900 | 0.1399
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 987862 | 987970 | -108 | -21600 | -0.0216 | 4167 | 4288 | -121 | -24200 | -0.0242
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 50272 | 49134 | 1138 | 227600 | 0.2276 | 81053 | 80375 | 678 | 135600 | 0.1356
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 69072 | 68842 | 230 | 230000 | 0.23 | 591 | 249 | 342 | 342000 | 0.342
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11131 | 10280 | 851 | 851000 | 0.851 | 369 | 63 | 306 | 306000 | 0.306
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 993428 | 993430 | -2 | -1600 | -0.0016 | 997938 | 998305 | -367 | -293600 | -0.2936
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3684 | 3685 | -1 | -800 | -0.0008 | 341 | 193 | 148 | 118400 | 0.1184
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998401 | 998401 | 0 | 0 | 0 | 307450 | 297245 | 10205 | 1020500 | 1.0205
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 437173 | 426720 | 10453 | 1045300 | 1.0453
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11134 | 11134 | 0 | 0 | 0 | 234940 | 230424 | 4516 | 451600 | 0.4516
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5320 | 5319 | 1 | 100 | 0.0001 | 313832 | 302030 | 11802 | 1180200 | 1.1802
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998700 | 998700 | 0 | 0 | 0 | 246813 | 240239 | 6574 | 657400 | 0.6574
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 265 | 259 | 6 | 600 | 0.0006 | 143954 | 136021 | 7933 | 793300 | 0.7933
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12999 | 12999 | 0 | 0 | 0 | 213089 | 205362 | 7727 | 772700 | 0.7727
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13556 | 13531 | 25 | 2500 | 0.0025 | 250585 | 241248 | 9337 | 933700 | 0.9337
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 59485 | 59540 | -55 | -60500 | -0.0605
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4826 | 4826 | 0 | 0 | 0 | 36532 | 36471 | 61 | 61000 | 0.061
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 134121 | 132218 | 1903 | 2093300 | 2.0933
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9194 | 9189 | 5 | 5000 | 0.005 | 48759 | 48402 | 357 | 357000 | 0.357
[10 empty] | 0.005 |  |  |  |  | 2.4508
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 633 | 636 | -3 | -3000 | -0.003 | 72582 | 72589 | -7 | -7000 | -0.007
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7445 | 7453 | -8 | -8000 | -0.008 | 2185 | 2118 | 67 | 67000 | 0.067
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 849211 | 848169 | 1042 | 104200 | 0.1042 | 51235 | 46552 | 4683 | 468300 | 0.4683
24 | A.I.I.M.S.
25 | TX-I | 4865123 | ELSTER | Kvarh(Lag) | 100 | 55961 | 53940 | 2021 | 202100 | 0.2021 | 13923 | 12599 | 1324 | 132400 | 0.1324 | Check Meter data
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 36580 | 36266 | 314 | 31400 | 0.0314 | 659261 | 648527 | 10734 | 1073400 | 1.0734
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 111299 | 111299 | 0 | 0 | 0 | 231508 | 231508 | 0 | 0 | 0
JUNE-2012
NDMC(+) Continue…
TRAUMA CENTRE
28 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000001 | 999999 | 2 | -2000 | -0.002 | 2 | 0 | 2 | -2000 | -0.002 | Loaded on 21/06/12,Meter mode in delieverd mode from 21/06/12 to 22/06/12, ROLL OVER
28 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 1000001 | -8 | -8000 | -0.008 | 999974 | 1000002 | -28 | -28000 | -0.028 | Conn.Mode corrected ,ROLL OVER
KIDWAI NAGAR
29 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 224684 | 223588 | 1096 | 109600 | 0.1096 | 37557 | 36323 | 1234 | 123400 | 0.1234
EXHIBITION I
30 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 885 | 867 | 18 | 1800 | 0.0018 | 14079 | 13619 | 460 | 46000 | 0.046
31 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
32 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 38130 | 37790 | 340 | 34000 | 0.034 | 52081 | 51558 | 523 | 52300 | 0.0523
33 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 29213 | 29125 | 88 | 8800 | 0.0088 | 54086 | 53452 | 634 | 63400 | 0.0634
34 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 66890 | 66334 | 556 | 111200 | 0.1112 | 104130 | 103652 | 478 | 95600 | 0.0956
TILAK MARG
35 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 4346 | 4207 | 139 | 13900 | 0.0139 | 872054 | 861937 | 10117 | 1011700 | 1.0117
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1429 | 1428 | 1 | -100 | -0.0001 | 5968 | 5353 | 615 | -61500 | -0.0615
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8202 | 8202 | 0 | 0 | 0 | 12777 | 12641 | 136 | -13600 | -0.0136
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.2244 |  |  |  |  | 13.24
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.2244 |  |  |  |  | 13.24
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.0029464 |  |  |  |  | -0.1146
| TOTAL ENERGY TO NDMC | [8 empty] | 2.2215 |  |  |  |  | 13.1254

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 645 | 0 | 0 | 0 | 15699 | 14770 | 929 | 929000 | 0.929
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 20024 | 19169 | 855 | 855000 | 0.855
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 825 | 0 | 0 | 0 | 29165 | 27735 | 1430 | 1430000 | 1.43
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 464 | 0 | 0 | 0 | 14543 | 13999 | 544 | 544000 | 0.544
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2205 | 2205 | 0 | 0 | 0 | 7436 | 6911 | 525 | 525000 | 0.525
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999146 | 999176 | -30 | -3000 | -0.003 | 999930 | 999970 | -40 | -4000 | -0.004
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 999016 | 999062 | -46 | -4600 | -0.0046 | 999957 | 999995 | -38 | -3800 | -0.0038
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0076 |  |  |  |  | 4.2752
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 33238 | 32967 | 271 | 27100 | 0.0271
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 30480 | 29679 | 801 | 80100 | 0.0801 | 61860 | 60710 | 1150 | 115000 | 0.115
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66776 | 66776 | 0 | 0 | 0 | 9022 | 7947 | 1075 | 107500 | 0.1075
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 20992 | 20781 | 211 | 21100 | 0.0211 | 50995 | 49245 | 1750 | 175000 | 0.175
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 76815 | 76815 | 0 | 0 | 0 | 48225 | 44544 | 3681 | 368100 | 0.3681
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2970 | 2893 | 77 | 7700 | 0.0077 | 5475 | 5104 | 371 | 37100 | 0.0371
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1089 |  |  |  |  | 0.8298
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1089 |  |  |  |  | 0.8298
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0076 |  |  |  |  | 4.2752
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1013 |  |  |  |  | 5.105
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1013 | (REACTIVE MUs) |  |  |  | 5.105 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.00043279 | (REACTIVE MUs) |  |  |  | -0.016834 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.10087 | (REACTIVE MUs) |  |  |  | 5.0882 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 58359 | 57142 | 1217 | 121700 | 0.1217 | 78018 | 77706 | 312 | 31200 | 0.0312
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 10712 | 11120 | -408 | -40800 | -0.0408 | 999851 | 999910 | -59 | -5900 | -0.0059
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 173569 | 173569 | 0 | 0 | 0 | 95770 | 92337 | 3433 | 343300 | 0.3433
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 18009 | 18279 | -270 | -253125 | -0.25312 | 17970 | 17982 | -12 | -11250 | -0.01125
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992776 | 992776 | 0 | 0 | 0 | 938309 | 941209 | -2900 | 1450000 | 1.45
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 993880 | 994043 | -163 | 81500 | 0.0815 | 986194 | 986206 | -12 | 6000 | 0.006
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999996 | 999987 | 9 | 2700 | 0.0027 | 999939 | 999886 | 53 | 15900 | 0.0159
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.088025 |  |  |  |  | 1.8293
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 950423 | 950423 | 0 | 0 | 0 | 991627 | 991908 | -281 | -56200 | -0.0562
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 864395 | 865044 | -649 | -64900 | -0.0649 | 928341 | 928496 | -155 | -15500 | -0.0155
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0649 |  |  |  |  | -0.0717
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 175319 | 175319 | 0 | 0 | 0 | 261808 | 258947 | 2861 | 572200 | 0.5722
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 66426 | 66426 | 0 | 0 | 0 | 40848 | 40189 | 659 | 131800 | 0.1318
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 96402 | 96402 | 0 | 0 | 0 | 71140 | 69889 | 1251 | 125100 | 0.1251
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987584 | 987584 | 0 | 0 | 0 | 998126 | 997870 | 256 | 256000 | 0.256
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 981001 | 981192 | -191 | -19100 | -0.0191 | 7295 | 7330 | -35 | -3500 | -0.0035
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 9 | 0 | 0 | 0 | 2237 | 2790 | -553 | -518437.5 | -0.51844
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991727 | 991875 | -148 | 92500 | 0.0925 | 995687 | 995706 | -19 | 11875 | 0.011875
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999996 | 999987 | 9 | -2700 | -0.0027 | 999939 | 999886 | 53 | -15900 | -0.0159
| TOTAL NDPL | [8 empty] | 0.0707 |  |  |  |  | 0.55914
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.088025 |  |  |  |  | 1.8293
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0649 |  |  |  |  | -0.0717
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0707 |  |  |  |  | 0.55914

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6208 | 6208 | 0 | 0 | 0 | 1000064 | 999986 | 78 | 156000 | 0.156 | ROLL OVER
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9520 | 9512 | 8 | 16000 | 0.016 | 392 | 138 | 254 | 508000 | 0.508
[7 empty] | NET REACTIVE ENERGY |  |  | 0.016 |  | NET REACTIVE ENERGY |  |  | 0.664
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999495 | 999579 | -84 | -84000 | -0.084 | 43434 | 43616 | -182 | -182000 | -0.182
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985471 | 985471 | 0 | 0 | 0 | 984963 | 985188 | -225 | -225000 | -0.225
[7 empty] | NET REACTIVE ENERGY |  |  | -0.084 |  | NET REACTIVE ENERGY |  |  | -0.407
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.068 |  |  |  |  | 0.257
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0039 |  |  |  |  | -5.0066
[7 empty] | NDMC = |  |  | 0.005 |  |  |  |  | 2.4508
MES =
[7 empty] | 2)TOTAL |  |  | 0.0089 |  |  |  |  | -2.5558
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.0591 |  |  |  |  | -2.2988
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.4118 | % |  |  | -0.0162 |  |  |  |  | -0.63014
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.0279 | % |  |  | -0.025429 |  |  |  |  | -0.98913
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8426 | % |  |  | -0.014091 |  |  |  |  | -0.54809
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9854 | % |  |  | -0.0029464 |  |  |  |  | -0.1146
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7323 | % |  |  | -0.00043279 |  |  |  |  | -0.016834
Note :Sharing taken from wk-10 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2012 TO 30th JUNE-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.2093 | + | 6.5172
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.77012 | + | 41.199
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.6106 | + | 4.5809
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.2215 | + | 13.1254
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.10087 | + | 5.0882
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/12 | INTIAL READING 01/06/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 971682 | 972869 | -1187 | -1780500 | -1.7805 | 981169 | 981175 | -6 | -9000 | -0.009
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | #N/A | 975428 | #N/A | #N/A | #N/A | #N/A | 986547 | #N/A | #N/A | #N/A | Meter faulty
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999971 | #N/A | #N/A | #N/A | #N/A | 999597 | #N/A | #N/A | #N/A | #N/A | Meter installed on 15/06/12
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 929120 | 929399 | -279 | -418500 | -0.4185 | 969143 | 970073 | -930 | -1395000 | -1.395
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997237 | 997237 | 0 | 0 | 0 | 35560 | 36357 | -797 | -3985000 | -3.985
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999434 | 999434 | 0 | 0 | 0 | 7325 | 8259 | -934 | -934000 | -0.934
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970322 | 970042 | 280 | 280000 | 0.28 | 989870 | 989604 | 266 | 266000 | 0.266
[8 empty] | NET REACTIVE ENERGY |  | 0.28 |  |  | NET REACTIVE ENERGY |  | -4.653